## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1055-2_1_3_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_1055-2_1_3_node_175 | 0.4 | n |  | TRUE
2 | bus_LV_1055-2_1_3_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_1055-2_1_3_node_159 | 0.4 | n |  | TRUE
4 | bus_LV_1055-2_1_3_node_153 | 0.4 | n |  | TRUE
5 | bus_LV_1055-2_1_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1055-2_1_3_node_196 | 0.4 | n |  | TRUE
7 | bus_LV_1055-2_1_3_node_194 | 0.4 | n |  | TRUE
8 | bus_LV_1055-2_1_3_node_149 | 0.4 | n |  | TRUE
9 | bus_LV_1055-2_1_3_node_143 | 0.4 | n |  | TRUE
10 | bus_LV_1055-2_1_3_node_144 | 0.4 | n |  | TRUE
11 | bus_LV_1055-2_1_3_node_145 | 0.4 | n |  | TRUE
12 | bus_LV_1055-2_1_3_node_146 | 0.4 | n |  | TRUE
13 | bus_LV_1055-2_1_3_node_147 | 0.4 | n |  | TRUE
14 | bus_LV_1055-2_1_3_node_148 | 0.4 | n |  | TRUE
15 | bus_LV_1055-2_1_3_node_150 | 0.4 | n |  | TRUE
16 | bus_LV_1055-2_1_3_node_151 | 0.4 | n |  | TRUE
17 | bus_LV_1055-2_1_3_node_171 | 0.4 | n |  | TRUE
18 | bus_LV_1055-2_1_3_node_198 | 0.4 | n |  | TRUE
19 | bus_LV_1055-2_1_3_node_195 | 0.4 | n |  | TRUE
20 | bus_LV_1055-2_1_3_node_204 | 0.4 | n |  | TRUE
21 | bus_LV_1055-2_1_3_node_152 | 0.4 | n |  | TRUE
22 | bus_LV_1055-2_1_3_node_155 | 0.4 | n |  | TRUE
23 | bus_LV_1055-2_1_3_node_156 | 0.4 | n |  | TRUE
24 | bus_LV_1055-2_1_3_node_157 | 0.4 | n |  | TRUE
25 | bus_LV_1055-2_1_3_node_158 | 0.4 | n |  | TRUE
26 | bus_LV_1055-2_1_3_node_160 | 0.4 | n |  | TRUE
27 | bus_LV_1055-2_1_3_node_161 | 0.4 | n |  | TRUE
28 | bus_LV_1055-2_1_3_node_162 | 0.4 | n |  | TRUE
29 | bus_LV_1055-2_1_3_node_163 | 0.4 | n |  | TRUE
30 | bus_LV_1055-2_1_3_node_164 | 0.4 | n |  | TRUE
31 | bus_LV_1055-2_1_3_node_165 | 0.4 | n |  | TRUE
32 | bus_LV_1055-2_1_3_node_166 | 0.4 | n |  | TRUE
33 | bus_LV_1055-2_1_3_node_167 | 0.4 | n |  | TRUE
34 | bus_LV_1055-2_1_3_node_168 | 0.4 | n |  | TRUE
35 | bus_LV_1055-2_1_3_node_178 | 0.4 | n |  | TRUE
36 | bus_LV_1055-2_1_3_node_193 | 0.4 | n |  | TRUE
37 | bus_LV_1055-2_1_3_node_169 | 0.4 | n |  | TRUE
38 | bus_LV_1055-2_1_3_node_170 | 0.4 | n |  | TRUE
39 | bus_LV_1055-2_1_3_node_172 | 0.4 | n |  | TRUE
40 | bus_LV_1055-2_1_3_node_173 | 0.4 | n |  | TRUE
41 | bus_LV_1055-2_1_3_node_174 | 0.4 | n |  | TRUE
42 | bus_LV_1055-2_1_3_node_181 | 0.4 | n |  | TRUE
43 | bus_LV_1055-2_1_3_node_176 | 0.4 | n |  | TRUE
44 | bus_LV_1055-2_1_3_node_177 | 0.4 | n |  | TRUE
45 | bus_LV_1055-2_1_3_node_179 | 0.4 | n |  | TRUE
46 | bus_LV_1055-2_1_3_node_180 | 0.4 | n |  | TRUE
47 | bus_LV_1055-2_1_3_node_192 | 0.4 | n |  | TRUE
48 | bus_LV_1055-2_1_3_node_182 | 0.4 | n |  | TRUE
49 | bus_LV_1055-2_1_3_node_183 | 0.4 | n |  | TRUE
50 | bus_LV_1055-2_1_3_node_109 | 0.4 | n |  | TRUE
51 | bus_LV_1055-2_1_3_node_185 | 0.4 | n |  | TRUE
52 | bus_LV_1055-2_1_3_node_184 | 0.4 | n |  | TRUE
53 | bus_LV_1055-2_1_3_node_186 | 0.4 | n |  | TRUE
54 | bus_LV_1055-2_1_3_node_187 | 0.4 | n |  | TRUE
55 | bus_LV_1055-2_1_3_node_188 | 0.4 | n |  | TRUE
56 | bus_LV_1055-2_1_3_node_189 | 0.4 | n |  | TRUE
57 | bus_LV_1055-2_1_3_node_190 | 0.4 | n |  | TRUE
58 | bus_LV_1055-2_1_3_node_191 | 0.4 | n |  | TRUE
59 | bus_LV_1055-2_1_3_node_197 | 0.4 | n |  | TRUE
60 | bus_LV_1055-2_1_3_node_199 | 0.4 | n |  | TRUE
61 | bus_LV_1055-2_1_3_node_207 | 0.4 | n |  | TRUE
62 | bus_LV_1055-2_1_3_node_203 | 0.4 | n |  | TRUE
63 | bus_LV_1055-2_1_3_node_206 | 0.4 | n |  | TRUE
64 | bus_LV_1055-2_1_3_node_205 | 0.4 | n |  | TRUE
65 | bus_LV_1055-2_1_3_node_208 | 0.4 | n |  | TRUE
66 | bus_LV_1055-2_1_3_node_209 | 0.4 | n |  | TRUE
67 | bus_LV_1055-2_1_3_node_210 | 0.4 | n |  | TRUE
68 | bus_MV_0_0_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1055-2_1_3_load_175 | 1 | 0.0014151 | 0.00035467 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1055-2_1_3_load_159 | 3 | 0.00042337 | 0.00010611 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1055-2_1_3_load_196 | 6 | 0.001602 | 0.00040151 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1055-2_1_3_load_194 | 7 | 0.00072773 | 0.00018239 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1055-2_1_3_load_149 | 8 | 0.0043203 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1055-2_1_3_load_143 | 9 | 0.0022257 | 0.0005578 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1055-2_1_3_load_144 | 10 | 0.0044486 | 0.0011149 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1055-2_1_3_load_145 | 11 | 0.00056155 | 0.00014074 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1055-2_1_3_load_148 | 14 | 0.0043227 | 0.0010834 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1055-2_1_3_load_151 | 16 | 0.0024417 | 0.00061195 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1055-2_1_3_load_171 | 17 | 0.0043434 | 0.0010886 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1055-2_1_3_load_198 | 18 | 0.00072373 | 0.00018138 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1055-2_1_3_load_204 | 20 | 0.00066082 | 0.00016562 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1055-2_1_3_load_152 | 21 | 0.0064079 | 0.001606 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1055-2_1_3_load_155 | 22 | 0.0042373 | 0.001062 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1055-2_1_3_load_156 | 23 | 0.0041118 | 0.0010305 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1055-2_1_3_load_157 | 24 | 0.0038003 | 0.00095244 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1055-2_1_3_load_158 | 25 | 0.00039727 | 9.9566e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1055-2_1_3_load_160 | 26 | 0.0040499 | 0.001015 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1055-2_1_3_load_161 | 27 | 0.0040117 | 0.0010054 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1055-2_1_3_load_163 | 29 | 0.0038877 | 0.00097435 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1055-2_1_3_load_164 | 30 | 0.0038299 | 0.00095986 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1055-2_1_3_load_165 | 31 | 0.0039802 | 0.00099753 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1055-2_1_3_load_166 | 32 | 0.0046541 | 0.0011664 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1055-2_1_3_load_167 | 33 | 0.0041903 | 0.0010502 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1055-2_1_3_load_168 | 34 | 0.0041322 | 0.0010356 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1055-2_1_3_load_193 | 36 | 0.013088 | 0.0032802 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1055-2_1_3_load_169 | 37 | 0.0044602 | 0.0011178 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1055-2_1_3_load_170 | 38 | 0.004527 | 0.0011346 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1055-2_1_3_load_173 | 40 | 0.0042059 | 0.0010541 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1055-2_1_3_load_174 | 41 | 0.0071531 | 0.0017927 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1055-2_1_3_load_181 | 42 | 0.0053835 | 0.0013492 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1055-2_1_3_load_176 | 43 | 0.0035282 | 0.00088426 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1055-2_1_3_load_177 | 44 | 0.0049833 | 0.0012489 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1055-2_1_3_load_179 | 45 | 0.0030053 | 0.0007532 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1055-2_1_3_load_180 | 46 | 0.0068235 | 0.0017101 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1055-2_1_3_load_192 | 47 | 0.0029098 | 0.00072927 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1055-2_1_3_load_185 | 51 | 0.0016322 | 0.00040907 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1055-2_1_3_load_184 | 52 | 0.0016114 | 0.00040386 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1055-2_1_3_load_186 | 53 | 0.0016947 | 0.00042474 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1055-2_1_3_load_187 | 54 | 0.001551 | 0.00038871 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1055-2_1_3_load_188 | 55 | 0.00082585 | 0.00020698 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1055-2_1_3_load_190 | 57 | 0.0042246 | 0.0010588 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1055-2_1_3_load_191 | 58 | 0.0039256 | 0.00098386 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1055-2_1_3_load_197 | 59 | 0.0025271 | 0.00063335 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1055-2_1_3_load_199 | 60 | 0.0026967 | 0.00067585 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1055-2_1_3_load_203 | 62 | 0.0049879 | 0.0012501 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1055-2_1_3_load_206 | 63 | 0.004811 | 0.0012058 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1055-2_1_3_load_205 | 64 | 0.0024686 | 0.0006187 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1055-2_1_3_load_208 | 65 | 0.00074737 | 0.00018731 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1055-2_1_3_load_210 | 67 | 0.0014701 | 0.00036845 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1055-2_1_3_line_0 |  | 0 | 1 | 0.023429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1055-2_1_3_line_1 |  | 0 | 2 | 0.21605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1055-2_1_3_line_2 |  | 0 | 3 | 0.084169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1055-2_1_3_line_3 |  | 0 | 4 | 0.064015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1055-2_1_3_line_4 |  | 2 | 8 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1055-2_1_3_line_5 |  | 3 | 25 | 0.00093589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1055-2_1_3_line_6 |  | 4 | 21 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1055-2_1_3_line_7 |  | 5 | 6 | 0.069192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1055-2_1_3_line_8 |  | 5 | 7 | 0.055201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1055-2_1_3_line_9 |  | 7 | 19 | 0.014067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1055-2_1_3_line_10 |  | 8 | 12 | 0.012878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1055-2_1_3_line_11 |  | 9 | 10 | 0.010436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1055-2_1_3_line_12 |  | 9 | 11 | 0.032574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1055-2_1_3_line_13 |  | 10 | 12 | 0.019932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1055-2_1_3_line_14 |  | 11 | 13 | 0.017317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1055-2_1_3_line_15 |  | 12 | 14 | 0.034717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1055-2_1_3_line_16 |  | 13 | 15 | 0.012787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1055-2_1_3_line_17 |  | 13 | 16 | 0.037199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1055-2_1_3_line_18 |  | 14 | 17 | 0.014987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1055-2_1_3_line_19 |  | 15 | 18 | 0.02109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1055-2_1_3_line_20 |  | 15 | 19 | 0.025879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1055-2_1_3_line_21 |  | 16 | 20 | 0.021711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1055-2_1_3_line_22 |  | 17 | 37 | 0.010175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1055-2_1_3_line_23 |  | 18 | 61 | 0.011723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1055-2_1_3_line_24 |  | 19 | 59 | 0.029283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1055-2_1_3_line_25 |  | 20 | 64 | 0.0015095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1055-2_1_3_line_26 |  | 22 | 23 | 0.043818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1055-2_1_3_line_27 |  | 22 | 24 | 0.04021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1055-2_1_3_line_28 |  | 24 | 25 | 0.051231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1055-2_1_3_line_29 |  | 26 | 27 | 0.0094704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1055-2_1_3_line_30 |  | 26 | 28 | 0.018622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1055-2_1_3_line_31 |  | 27 | 29 | 0.0016547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1055-2_1_3_line_32 |  | 28 | 30 | 0.02163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1055-2_1_3_line_33 |  | 28 | 31 | 0.0060687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1055-2_1_3_line_34 |  | 29 | 32 | 0.014908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1055-2_1_3_line_35 |  | 30 | 33 | 0.012719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1055-2_1_3_line_36 |  | 31 | 34 | 0.0040934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1055-2_1_3_line_37 |  | 32 | 35 | 0.016873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1055-2_1_3_line_38 |  | 34 | 36 | 0.022035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1055-2_1_3_line_39 |  | 35 | 45 | 0.029845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1055-2_1_3_line_40 |  | 35 | 43 | 0.0040813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1055-2_1_3_line_41 |  | 37 | 38 | 0.024011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1055-2_1_3_line_42 |  | 38 | 39 | 0.018562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1055-2_1_3_line_43 |  | 39 | 40 | 0.015892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1055-2_1_3_line_44 |  | 39 | 41 | 0.0078894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1055-2_1_3_line_45 |  | 41 | 42 | 0.0067995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1055-2_1_3_line_46 |  | 42 | 48 | 0.036856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1055-2_1_3_line_47 |  | 43 | 44 | 0.039396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1055-2_1_3_line_48 |  | 45 | 46 | 0.0059813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1055-2_1_3_line_49 |  | 46 | 47 | 0.014471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1055-2_1_3_line_50 |  | 47 | 50 | 0.014256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1055-2_1_3_line_51 |  | 48 | 49 | 0.019298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1055-2_1_3_line_52 |  | 49 | 50 | 0.003007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1055-2_1_3_line_53 |  | 49 | 51 | 0.028044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1055-2_1_3_line_54 |  | 51 | 52 | 0.0064733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1055-2_1_3_line_55 |  | 52 | 53 | 0.0065753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1055-2_1_3_line_56 |  | 53 | 54 | 0.0062968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1055-2_1_3_line_57 |  | 54 | 55 | 0.032212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1055-2_1_3_line_58 |  | 55 | 56 | 0.0080849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1055-2_1_3_line_59 |  | 56 | 57 | 0.0272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1055-2_1_3_line_60 |  | 57 | 58 | 0.00043551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1055-2_1_3_line_61 |  | 59 | 60 | 0.000555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1055-2_1_3_line_62 |  | 61 | 65 | 0.020811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1055-2_1_3_line_63 |  | 62 | 63 | 0.0070078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1055-2_1_3_line_64 |  | 63 | 64 | 0.035643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1055-2_1_3_line_65 |  | 65 | 66 | 0.010718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1055-2_1_3_line_66 |  | 66 | 67 | 0.044759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1055-2_1_3_trafo_183 | 0.63 MVA 20/0.4 kV | 68 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2672941.591 | 1220214.0335 | 2672950.2167 | 1220212.3269 | 2672954.6115 | 1220226.2876
1 | 2672941.591 | 1220214.0335 | 2672931.3315 | 1220174.4378 | 2672923.0552 | 1220144.5171 | 2672929.4854 | 1220142.4056 | 2672930.1166 | 1220130.5167 | 2672932.9227 | 1220112.0502 | 2672940.1738 | 1220099.92 | 2672951.6442 | 1220098.2927 | 2672960.9772 | 1220100.1749 | 2672972.3705 | 1220105.4623 | 2672981.4065 | 1220105.573 | 2672991.2784 | 1220103.1146 | 2673003.2837 | 1220097.4691 | 2673013.9344 | 1220093.3859 | 2673015.2444 | 1220097.9382 | 2673018.0972 | 1220107.8685
2 | 2672941.591 | 1220214.0335 | 2672946.583 | 1220233.3071 | 2672958.5971 | 1220282.0302 | 2672962.6466 | 1220295.5117
3 | 2672941.591 | 1220214.0335 | 2672882.572 | 1220238.8273
4 | 2673018.0972 | 1220107.8685 | 2673038.4114 | 1220104.1665
5 | 2672962.9158 | 1220296.408 | 2672962.6466 | 1220295.5117
6 | 2672882.572 | 1220238.8273 | 2672877.8178 | 1220255.694
7 | 2673121.9262 | 1220070.084 | 2673126.6919 | 1220062.6377 | 2673130.4425 | 1220055.0566 | 2673131.9771 | 1220041.3221 | 2673133.074 | 1220035.4206 | 2673141.6126 | 1220018.5812 | 2673142.9316 | 1220013.1383 | 2673140.5281 | 1220008.6503 | 2673138.4667 | 1220007.2019
8 | 2673138.4667 | 1220007.2019 | 2673143.5852 | 1220006.8756 | 2673165.8403 | 1220026.1168 | 2673160.6759 | 1220032.035 | 2673156.1117 | 1220043.9913
9 | 2673151.0948 | 1220057.1337 | 2673156.1117 | 1220043.9913
10 | 2673051.0805 | 1220101.8578 | 2673038.4114 | 1220104.1665
11 | 2673070.5763 | 1220097.7123 | 2673080.7846 | 1220095.5417
12 | 2673112.4998 | 1220088.1158 | 2673086.0314 | 1220094.426 | 2673080.7846 | 1220095.5417
13 | 2673051.0805 | 1220101.8578 | 2673070.5763 | 1220097.7123
14 | 2673129.3351 | 1220084.0618 | 2673124.6618 | 1220085.2163 | 2673112.4998 | 1220088.1158
15 | 2673051.0805 | 1220101.8578 | 2673060.4641 | 1220134.2494 | 2673060.8077 | 1220135.1817
16 | 2673129.3351 | 1220084.0618 | 2673130.8648 | 1220083.6914 | 2673141.8589 | 1220081.3137
17 | 2673129.3351 | 1220084.0618 | 2673131.0552 | 1220089.1973 | 2673138.9725 | 1220119.9784
18 | 2673060.8077 | 1220135.1817 | 2673065.9901 | 1220149.2445
19 | 2673141.8589 | 1220081.3137 | 2673149.6563 | 1220084.0445 | 2673154.4237 | 1220085.7264 | 2673158.8863 | 1220086.9042 | 2673161.8374 | 1220088.0265
20 | 2673151.0948 | 1220057.1337 | 2673141.8589 | 1220081.3137
21 | 2673138.9725 | 1220119.9784 | 2673140.0863 | 1220124.3087 | 2673145.8207 | 1220140.5671
22 | 2673065.9901 | 1220149.2445 | 2673069.5085 | 1220158.7919
23 | 2673172.8706 | 1220091.8902 | 2673171.5448 | 1220091.7183 | 2673161.8374 | 1220088.0265
24 | 2673151.0948 | 1220057.1337 | 2673153.9914 | 1220058.5368 | 2673157.9419 | 1220060.0085 | 2673171.5858 | 1220063.6784 | 2673176.194 | 1220065.3583 | 2673178.8301 | 1220066.3469
25 | 2673146.3227 | 1220141.9907 | 2673145.8207 | 1220140.5671
26 | 2673047.7095 | 1220397.6031 | 2673040.4889 | 1220391.8491 | 2673013.491 | 1220370.2338
27 | 2672984.8074 | 1220342.2134 | 2672988.0812 | 1220346.5998 | 2673006.2327 | 1220364.4226 | 2673013.491 | 1220370.2338
28 | 2672984.8074 | 1220342.2134 | 2672975.7114 | 1220330.0264 | 2672966.6385 | 1220308.8015 | 2672962.9158 | 1220296.408
29 | 2673082.517 | 1220328.6682 | 2673073.8603 | 1220332.5088
30 | 2673056.8385 | 1220340.0604 | 2673073.8603 | 1220332.5088
31 | 2673082.517 | 1220328.6682 | 2673084.0295 | 1220327.9972 | 2673084.0295 | 1220327.9972
32 | 2673056.8385 | 1220340.0604 | 2673048.2245 | 1220320.2194
33 | 2673056.8385 | 1220340.0604 | 2673059.2559 | 1220345.6269
34 | 2673094.4349 | 1220317.9412 | 2673089.6953 | 1220320.1505 | 2673084.0295 | 1220327.9972
35 | 2673048.2245 | 1220320.2194 | 2673043.1592 | 1220308.5523
36 | 2673059.2559 | 1220345.6269 | 2673060.8865 | 1220349.3815
37 | 2673109.728 | 1220310.8125 | 2673094.4349 | 1220317.9412
38 | 2673069.6637 | 1220369.5924 | 2673060.8865 | 1220349.3815
39 | 2673109.728 | 1220310.8125 | 2673102.6344 | 1220298.9844 | 2673095.3049 | 1220284.7023
40 | 2673109.728 | 1220310.8125 | 2673111.8267 | 1220314.3128
41 | 2673079.3759 | 1220180.6631 | 2673071.3178 | 1220163.7015 | 2673069.5085 | 1220158.7919
42 | 2673087.8281 | 1220197.1813 | 2673083.0863 | 1220188.473 | 2673079.3759 | 1220180.6631
43 | 2673087.8281 | 1220197.1813 | 2673098.2174 | 1220190.2709 | 2673101.5541 | 1220189.5467
44 | 2673087.8281 | 1220197.1813 | 2673089.7359 | 1220202.4859 | 2673090.4251 | 1220204.63
45 | 2673092.506 | 1220211.1032 | 2673090.4251 | 1220204.63
46 | 2673067.514 | 1220234.99 | 2673082.8851 | 1220226.5063 | 2673091.7117 | 1220218.3204 | 2673092.506 | 1220211.1032 | 2673092.506 | 1220211.1032
47 | 2673132.7543 | 1220347.6639 | 2673126.8001 | 1220339.2738 | 2673124.1604 | 1220334.883 | 2673111.8267 | 1220314.3128
48 | 2673095.3049 | 1220284.7023 | 2673092.574 | 1220279.3809
49 | 2673085.9669 | 1220266.5064 | 2673092.574 | 1220279.3809
50 | 2673078.4143 | 1220254.4474 | 2673083.7374 | 1220262.1621 | 2673085.9669 | 1220266.5064
51 | 2673076.7071 | 1220251.9693 | 2673067.514 | 1220234.99
52 | 2673078.4143 | 1220254.4474 | 2673076.7071 | 1220251.9693
53 | 2673076.7071 | 1220251.9693 | 2673064.5923 | 1220257.9023 | 2673050.4735 | 1220261.4374
54 | 2673050.4735 | 1220261.4374 | 2673044.194 | 1220263.0096
55 | 2673037.8317 | 1220264.6691 | 2673042.2836 | 1220263.4879 | 2673044.194 | 1220263.0096
56 | 2673031.7455 | 1220266.284 | 2673037.8317 | 1220264.6691
57 | 2673031.7455 | 1220266.284 | 2673027.2638 | 1220267.4731 | 2673018.3401 | 1220269.9764 | 2673011.8804 | 1220273.8887 | 2673010.8177 | 1220278.8678 | 2673011.7736 | 1220284.4498
58 | 2673016.0219 | 1220291.3285 | 2673011.7736 | 1220284.4498
59 | 2673016.0219 | 1220291.3285 | 2673023.1731 | 1220300.3331 | 2673033.4449 | 1220312.2077
60 | 2673033.7298 | 1220312.5371 | 2673033.4449 | 1220312.2077
61 | 2673179.3535 | 1220066.5313 | 2673178.8301 | 1220066.3469 | 2673178.8301 | 1220066.3469
62 | 2673172.8706 | 1220091.8902 | 2673174.7933 | 1220092.2696 | 2673192.6539 | 1220098.3004
63 | 2673158.6064 | 1220175.4489 | 2673161.0627 | 1220182.0121
64 | 2673146.3227 | 1220141.9907 | 2673150.22 | 1220153.0406 | 2673158.6064 | 1220175.4489
65 | 2673203.0252 | 1220100.5774 | 2673198.8162 | 1220100.3811 | 2673192.6539 | 1220098.3004
66 | 2673203.0252 | 1220100.5774 | 2673202.8428 | 1220106.1565 | 2673203.6686 | 1220113.6715 | 2673212.0708 | 1220141.8819 | 2673212.2501 | 1220144.0564

## bus_geodata
| x | y | coords
0 | 2672941.591 | 1220214.0335
1 | 2672954.6115 | 1220226.2876
2 | 2673018.0972 | 1220107.8685
3 | 2672962.6466 | 1220295.5117
4 | 2672882.572 | 1220238.8273
5 | 2673138.4667 | 1220007.2019
6 | 2673121.9262 | 1220070.084
7 | 2673156.1117 | 1220043.9913
8 | 2673038.4114 | 1220104.1665
9 | 2673080.7846 | 1220095.5417
10 | 2673070.5763 | 1220097.7123
11 | 2673112.4998 | 1220088.1158
12 | 2673051.0805 | 1220101.8578
13 | 2673129.3351 | 1220084.0618
14 | 2673060.8077 | 1220135.1817
15 | 2673141.8589 | 1220081.3137
16 | 2673138.9725 | 1220119.9784
17 | 2673065.9901 | 1220149.2445
18 | 2673161.8374 | 1220088.0265
19 | 2673151.0948 | 1220057.1337
20 | 2673145.8207 | 1220140.5671
21 | 2672877.8178 | 1220255.694
22 | 2673013.491 | 1220370.2338
23 | 2673047.7095 | 1220397.6031
24 | 2672984.8074 | 1220342.2134
25 | 2672962.9158 | 1220296.408
26 | 2673073.8603 | 1220332.5088
27 | 2673082.517 | 1220328.6682
28 | 2673056.8385 | 1220340.0604
29 | 2673084.0295 | 1220327.9972
30 | 2673048.2245 | 1220320.2194
31 | 2673059.2559 | 1220345.6269
32 | 2673094.4349 | 1220317.9412
33 | 2673043.1592 | 1220308.5523
34 | 2673060.8865 | 1220349.3815
35 | 2673109.728 | 1220310.8125
36 | 2673069.6637 | 1220369.5924
37 | 2673069.5085 | 1220158.7919
38 | 2673079.3759 | 1220180.6631
39 | 2673087.8281 | 1220197.1813
40 | 2673101.5541 | 1220189.5467
41 | 2673090.4251 | 1220204.63
42 | 2673092.506 | 1220211.1032
43 | 2673111.8267 | 1220314.3128
44 | 2673132.7543 | 1220347.6639
45 | 2673095.3049 | 1220284.7023
46 | 2673092.574 | 1220279.3809
47 | 2673085.9669 | 1220266.5064
48 | 2673067.514 | 1220234.99
49 | 2673076.7071 | 1220251.9693
50 | 2673078.4143 | 1220254.4474
51 | 2673050.4735 | 1220261.4374
52 | 2673044.194 | 1220263.0096
53 | 2673037.8317 | 1220264.6691
54 | 2673031.7455 | 1220266.284
55 | 2673011.7736 | 1220284.4498
56 | 2673016.0219 | 1220291.3285
57 | 2673033.4449 | 1220312.2077
58 | 2673033.7298 | 1220312.5371
59 | 2673178.8301 | 1220066.3469
60 | 2673179.3535 | 1220066.5313
61 | 2673172.8706 | 1220091.8902
62 | 2673161.0627 | 1220182.0121
63 | 2673158.6064 | 1220175.4489
64 | 2673146.3227 | 1220141.9907
65 | 2673192.6539 | 1220098.3004
66 | 2673203.0252 | 1220100.5774
67 | 2673212.2501 | 1220144.0564
68 | 2673078.4143 | 1220254.4474

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98303 | -0.32695 | 0 | 0
1 | 0.98299 | -0.32755 | 0.0014151 | 0.00035467
2 | 0.98717 | -0.24621 | 0 | 0
3 | 0.98202 | -0.34667 | 0.00042337 | 0.00010611
4 | 0.98265 | -0.33436 | 0 | 0
5 | 0.98537 | -0.28145 | 0 | 0
6 | 0.98527 | -0.28344 | 0.001602 | 0.00040151
7 | 0.98545 | -0.27986 | 0.00072773 | 0.00018239
8 | 0.98757 | -0.23853 | 0.0043203 | 0.0010828
9 | 0.98699 | -0.24989 | 0.0022257 | 0.0005578
10 | 0.98726 | -0.24454 | 0.0044486 | 0.0011149
11 | 0.9862 | -0.26532 | 0.00056155 | 0.00014074
12 | 0.98787 | -0.23275 | 0 | 0
13 | 0.98578 | -0.27335 | 0 | 0
14 | 0.98973 | -0.1967 | 0.0043227 | 0.0010834
15 | 0.98566 | -0.27576 | 0 | 0
16 | 0.98526 | -0.28361 | 0.0024417 | 0.00061195
17 | 0.99059 | -0.18003 | 0.0043434 | 0.0010886
18 | 0.9856 | -0.27688 | 0.00072373 | 0.00018138
19 | 0.98548 | -0.27927 | 0 | 0
20 | 0.985 | -0.28866 | 0.00066082 | 0.00016562
21 | 0.98254 | -0.33638 | 0.0064079 | 0.001606
22 | 0.98112 | -0.36422 | 0.0042373 | 0.001062
23 | 0.98095 | -0.36749 | 0.0041118 | 0.0010305
24 | 0.98143 | -0.35814 | 0.0038003 | 0.00095244
25 | 0.98201 | -0.34688 | 0.00039727 | 9.9566e-05
26 | 0.9947 | -0.1019 | 0.0040499 | 0.001015
27 | 0.99499 | -0.096349 | 0.0040117 | 0.0010054
28 | 0.9942 | -0.11149 | 0 | 0
29 | 0.99504 | -0.095263 | 0.0038877 | 0.00097435
30 | 0.99404 | -0.11455 | 0.0038299 | 0.00095986
31 | 0.99409 | -0.11376 | 0.0039802 | 0.00099753
32 | 0.9956 | -0.084464 | 0.0046541 | 0.0011664
33 | 0.994 | -0.11549 | 0.0041903 | 0.0010502
34 | 0.99402 | -0.115 | 0.0041322 | 0.0010356
35 | 0.99631 | -0.070877 | 0 | 0
36 | 0.99376 | -0.12009 | 0.013088 | 0.0032802
37 | 0.99122 | -0.16794 | 0.0044602 | 0.0011178
38 | 0.9928 | -0.13759 | 0.004527 | 0.0011346
39 | 0.99409 | -0.1127 | 0 | 0
40 | 0.99403 | -0.11388 | 0.0042059 | 0.0010541
41 | 0.99468 | -0.10156 | 0.0071531 | 0.0017927
42 | 0.99522 | -0.091115 | 0.0053835 | 0.0013492
43 | 0.99628 | -0.071487 | 0.0035282 | 0.00088426
44 | 0.9961 | -0.074936 | 0.0049833 | 0.0012489
45 | 0.99779 | -0.042442 | 0.0030053 | 0.0007532
46 | 0.9981 | -0.036438 | 0.0068235 | 0.0017101
47 | 0.99894 | -0.020205 | 0.0029098 | 0.00072927
48 | 0.99836 | -0.031215 | 0 | 0
49 | 1 | 0 | -0.17818 | -0.044758
50 | 0.99982 | -0.0035164 | 0 | 0
51 | 0.99961 | -0.0075641 | 0.0016322 | 0.00040907
52 | 0.99953 | -0.0091265 | 0.0016114 | 0.00040386
53 | 0.99945 | -0.010529 | 0.0016947 | 0.00042474
54 | 0.99939 | -0.011686 | 0.001551 | 0.00038871
55 | 0.99913 | -0.016734 | 0.00082585 | 0.00020698
56 | 0.99907 | -0.017884 | 0 | 0
57 | 0.99887 | -0.021756 | 0.0042246 | 0.0010588
58 | 0.99887 | -0.021786 | 0.0039256 | 0.00098386
59 | 0.98534 | -0.28202 | 0.0025271 | 0.00063335
60 | 0.98534 | -0.28204 | 0.0026967 | 0.00067585
61 | 0.98558 | -0.27734 | 0 | 0
62 | 0.98463 | -0.29589 | 0.0049879 | 0.0012501
63 | 0.98466 | -0.29527 | 0.004811 | 0.0012058
64 | 0.98498 | -0.28899 | 0.0024686 | 0.0006187
65 | 0.98554 | -0.27817 | 0.00074737 | 0.00018731
66 | 0.98552 | -0.27845 | 0 | 0
67 | 0.98546 | -0.27964 | 0.0014701 | 0.00036845
68 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0014152 | 0.00035439 | -0.0014151 | -0.00035467 | 4.0315e-08 | -2.7121e-07 | 0.0021421 | 0.0021422 | 0.0021422 | 0.98303 | -0.32695 | 0.98299 | -0.32755 | 0.58851
1 | -0.020818 | -0.005223 | 0.020898 | 0.0052718 | 8.0462e-05 | 4.8745e-05 | 0.031514 | 0.031513 | 0.031514 | 0.98303 | -0.32695 | 0.98717 | -0.24621 | 8.6578
2 | 0.012992 | 0.0032619 | -0.01298 | -0.0032551 | 1.221e-05 | 6.7485e-06 | 0.019668 | 0.019669 | 0.019669 | 0.98303 | -0.32695 | 0.98202 | -0.34667 | 5.4035
3 | 0.0064108 | 0.0016068 | -0.0064085 | -0.0016061 | 2.2607e-06 | 6.3558e-07 | 0.0097041 | 0.0097044 | 0.0097044 | 0.98303 | -0.32695 | 0.98265 | -0.33436 | 2.666
4 | -0.020898 | -0.0052718 | 0.020906 | 0.0052764 | 7.6898e-06 | 4.6574e-06 | 0.031513 | 0.031513 | 0.031513 | 0.98717 | -0.24621 | 0.98757 | -0.23853 | 8.6575
5 | 0.012556 | 0.003149 | -0.012556 | -0.0031489 | 1.2706e-07 | 6.9476e-08 | 0.019027 | 0.019027 | 0.019027 | 0.98202 | -0.34667 | 0.98201 | -0.34688 | 5.2272
6 | 0.0064085 | 0.0016061 | -0.0064079 | -0.001606 | 6.1887e-07 | 1.7411e-07 | 0.0097044 | 0.0097045 | 0.0097045 | 0.98265 | -0.33436 | 0.98254 | -0.33638 | 2.6661
7 | 0.0016022 | 0.00040072 | -0.001602 | -0.00040151 | 1.5187e-07 | -7.8409e-07 | 0.0024192 | 0.0024195 | 0.0024195 | 0.98537 | -0.28145 | 0.98527 | -0.28344 | 0.6647
8 | -0.0016022 | -0.00040072 | 0.0016023 | 0.0004001 | 1.2114e-07 | -6.2569e-07 | 0.0024192 | 0.0024189 | 0.0024192 | 0.98537 | -0.28145 | 0.98545 | -0.27986 | 0.66461
9 | -0.00233 | -0.00058248 | 0.0023301 | 0.00058235 | 6.528e-08 | -1.3745e-07 | 0.0035178 | 0.0035177 | 0.0035178 | 0.98545 | -0.27986 | 0.98548 | -0.27927 | 0.96643
10 | -0.025226 | -0.0063592 | 0.025233 | 0.0063635 | 6.9817e-06 | 4.3035e-06 | 0.038023 | 0.038023 | 0.038023 | 0.98757 | -0.23853 | 0.98787 | -0.23275 | 10.4458
11 | -0.028699 | -0.0072051 | 0.028707 | 0.0072097 | 7.3283e-06 | 4.5567e-06 | 0.043272 | 0.043272 | 0.043272 | 0.98699 | -0.24989 | 0.98726 | -0.24454 | 11.888
12 | 0.026474 | 0.0066473 | -0.026454 | -0.0066353 | 1.9464e-05 | 1.2041e-05 | 0.039917 | 0.039917 | 0.039917 | 0.98699 | -0.24989 | 0.9862 | -0.26532 | 10.9662
13 | -0.033155 | -0.0083246 | 0.033174 | 0.0083363 | 1.8669e-05 | 1.1693e-05 | 0.049977 | 0.049977 | 0.049977 | 0.98726 | -0.24454 | 0.98787 | -0.23275 | 13.73
14 | 0.025893 | 0.0064945 | -0.025883 | -0.0064884 | 9.9123e-06 | 6.123e-06 | 0.03907 | 0.03907 | 0.03907 | 0.9862 | -0.26532 | 0.98578 | -0.27335 | 10.7335
15 | -0.058407 | -0.0147 | 0.058508 | 0.014764 | 0.00010082 | 6.4078e-05 | 0.088 | 0.088 | 0.088 | 0.98787 | -0.23275 | 0.98973 | -0.1967 | 24.1758
16 | 0.010499 | 0.0026287 | -0.010497 | -0.0026281 | 1.2041e-06 | 6.0764e-07 | 0.015847 | 0.015847 | 0.015847 | 0.98578 | -0.27335 | 0.98566 | -0.27576 | 4.3535
17 | 0.015384 | 0.0038597 | -0.015376 | -0.0038554 | 7.5233e-06 | 4.3409e-06 | 0.023223 | 0.023223 | 0.023223 | 0.98578 | -0.27335 | 0.98526 | -0.28361 | 6.3801
18 | -0.062831 | -0.015847 | 0.062881 | 0.015879 | 5.0189e-05 | 3.1928e-05 | 0.094499 | 0.094499 | 0.094499 | 0.98973 | -0.1967 | 0.99059 | -0.18003 | 25.9612
19 | 0.0029416 | 0.00073601 | -0.0029415 | -0.00073618 | 1.5594e-07 | -1.6899e-07 | 0.0044404 | 0.0044405 | 0.0044405 | 0.98566 | -0.27576 | 0.9856 | -0.27688 | 1.2199
20 | 0.0075558 | 0.0018921 | -0.0075546 | -0.0018916 | 1.2626e-06 | 4.7828e-07 | 0.011406 | 0.011406 | 0.011406 | 0.98566 | -0.27576 | 0.98548 | -0.27927 | 3.1336
21 | 0.012935 | 0.0032434 | -0.012932 | -0.0032417 | 3.1073e-06 | 1.7122e-06 | 0.019536 | 0.019536 | 0.019536 | 0.98526 | -0.28361 | 0.985 | -0.28866 | 5.367
22 | -0.067224 | -0.016968 | 0.067263 | 0.016993 | 3.8941e-05 | 2.4791e-05 | 0.10102 | 0.10102 | 0.10102 | 0.99059 | -0.18003 | 0.99122 | -0.16794 | 27.7536
23 | 0.0022177 | 0.00055479 | -0.0022177 | -0.00055491 | 4.9272e-08 | -1.1786e-07 | 0.0033479 | 0.0033479 | 0.0033479 | 0.9856 | -0.27688 | 0.98558 | -0.27734 | 0.91976
24 | 0.0052245 | 0.0013093 | -0.0052238 | -0.0013092 | 6.8337e-07 | 6.431e-08 | 0.0078886 | 0.0078887 | 0.0078887 | 0.98548 | -0.27927 | 0.98534 | -0.28202 | 2.1672
25 | 0.012271 | 0.0030761 | -0.012271 | -0.003076 | 1.9452e-07 | 1.0528e-07 | 0.018538 | 0.018538 | 0.018538 | 0.985 | -0.28866 | 0.98498 | -0.28899 | 5.0927
26 | 0.0041125 | 0.0010304 | -0.0041118 | -0.0010305 | 6.3923e-07 | -1.4415e-07 | 0.0062371 | 0.0062373 | 0.0062373 | 0.98112 | -0.36422 | 0.98095 | -0.36749 | 1.7135
27 | -0.0083498 | -0.0020924 | 0.0083522 | 0.0020934 | 2.4181e-06 | 1.0396e-06 | 0.012664 | 0.012663 | 0.012664 | 0.98112 | -0.36422 | 0.98143 | -0.35814 | 3.479
28 | -0.012153 | -0.0030458 | 0.012159 | 0.0030494 | 6.5221e-06 | 3.5264e-06 | 0.018425 | 0.018425 | 0.018425 | 0.98143 | -0.35814 | 0.98201 | -0.34688 | 5.0619
29 | -0.033292 | -0.0083509 | 0.033301 | 0.0083564 | 8.8096e-06 | 5.5152e-06 | 0.049806 | 0.049806 | 0.049806 | 0.9947 | -0.1019 | 0.99499 | -0.096349 | 13.6829
30 | 0.029242 | 0.0073359 | -0.029229 | -0.0073276 | 1.3364e-05 | 8.3117e-06 | 0.043747 | 0.043747 | 0.043747 | 0.9947 | -0.1019 | 0.9942 | -0.11149 | 12.0185
31 | -0.037313 | -0.0093619 | 0.037314 | 0.0093631 | 1.9324e-06 | 1.2152e-06 | 0.055805 | 0.055805 | 0.055805 | 0.99499 | -0.096349 | 0.99504 | -0.095263 | 15.3311
32 | 0.0080215 | 0.0020105 | -0.0080203 | -0.00201 | 1.1692e-06 | 4.6782e-07 | 0.012006 | 0.012006 | 0.012006 | 0.9942 | -0.11149 | 0.99404 | -0.11455 | 3.2983
33 | 0.021207 | 0.0053172 | -0.021205 | -0.0053158 | 2.2929e-06 | 1.3888e-06 | 0.031742 | 0.031742 | 0.031742 | 0.9942 | -0.11149 | 0.99409 | -0.11376 | 8.7202
34 | -0.041202 | -0.010337 | 0.041223 | 0.010351 | 2.1226e-05 | 1.3391e-05 | 0.061619 | 0.061619 | 0.061619 | 0.99504 | -0.095263 | 0.9956 | -0.084464 | 16.9283
35 | 0.0041905 | 0.0010501 | -0.0041903 | -0.0010502 | 1.8768e-07 | -4.4762e-08 | 0.0062728 | 0.0062729 | 0.0062729 | 0.99404 | -0.11455 | 0.994 | -0.11549 | 1.7233
36 | 0.017225 | 0.0043182 | -0.017224 | -0.0043176 | 1.0205e-06 | 6.0004e-07 | 0.025784 | 0.025784 | 0.025784 | 0.99409 | -0.11376 | 0.99402 | -0.115 | 7.0834
37 | -0.045877 | -0.011517 | 0.045907 | 0.011536 | 2.9754e-05 | 1.8823e-05 | 0.068575 | 0.068575 | 0.068575 | 0.9956 | -0.084464 | 0.99631 | -0.070877 | 18.8392
38 | 0.013092 | 0.003282 | -0.013088 | -0.0032802 | 3.1736e-06 | 1.7456e-06 | 0.019598 | 0.019598 | 0.019598 | 0.99402 | -0.115 | 0.99376 | -0.12009 | 5.3841
39 | -0.05442 | -0.013669 | 0.054494 | 0.013716 | 7.3954e-05 | 4.6941e-05 | 0.081288 | 0.081288 | 0.081288 | 0.99631 | -0.070877 | 0.99779 | -0.042442 | 22.332
40 | 0.0085126 | 0.0021333 | -0.0085123 | -0.0021332 | 2.4739e-07 | 1.0518e-07 | 0.012714 | 0.012714 | 0.012714 | 0.99631 | -0.070877 | 0.99628 | -0.071487 | 3.4928
41 | -0.071724 | -0.01811 | 0.071828 | 0.018177 | 0.00010448 | 6.6555e-05 | 0.10772 | 0.10772 | 0.10772 | 0.99122 | -0.16794 | 0.9928 | -0.13759 | 29.5931
42 | -0.076355 | -0.019311 | 0.076446 | 0.01937 | 9.1263e-05 | 5.8168e-05 | 0.1145 | 0.1145 | 0.1145 | 0.9928 | -0.13759 | 0.99409 | -0.1127 | 31.4571
43 | 0.0042061 | 0.001054 | -0.0042059 | -0.0010541 | 2.3622e-07 | -5.4839e-08 | 0.0062959 | 0.0062959 | 0.0062959 | 0.99409 | -0.1127 | 0.99403 | -0.11388 | 1.7297
44 | -0.080652 | -0.020424 | 0.080696 | 0.020451 | 4.3172e-05 | 2.7528e-05 | 0.1208 | 0.1208 | 0.1208 | 0.99409 | -0.1127 | 0.99468 | -0.10156 | 33.1867
45 | -0.087849 | -0.022244 | 0.087893 | 0.022272 | 4.4092e-05 | 2.8131e-05 | 0.1315 | 0.1315 | 0.1315 | 0.99468 | -0.10156 | 0.99522 | -0.091115 | 36.1265
46 | -0.093276 | -0.023621 | 0.093545 | 0.023793 | 0.00026915 | 0.00017177 | 0.13955 | 0.13955 | 0.13955 | 0.99522 | -0.091115 | 0.99836 | -0.031215 | 38.3378
47 | 0.0049841 | 0.0012489 | -0.0049833 | -0.0012489 | 8.1868e-07 | 1.1046e-08 | 0.0074441 | 0.0074443 | 0.0074443 | 0.99628 | -0.071487 | 0.9961 | -0.074936 | 2.0451
48 | -0.057499 | -0.01447 | 0.057516 | 0.01448 | 1.6501e-05 | 1.0482e-05 | 0.08577 | 0.08577 | 0.08577 | 0.99779 | -0.042442 | 0.9981 | -0.036438 | 23.5632
49 | -0.064339 | -0.01619 | 0.064389 | 0.016222 | 4.9952e-05 | 3.178e-05 | 0.095943 | 0.095943 | 0.095943 | 0.9981 | -0.036438 | 0.99894 | -0.020205 | 26.358
50 | -0.067299 | -0.016951 | 0.067353 | 0.016985 | 5.3757e-05 | 3.4218e-05 | 0.10028 | 0.10028 | 0.10028 | 0.99894 | -0.020205 | 0.99982 | -0.0035164 | 27.5487
51 | -0.093545 | -0.023793 | 0.093686 | 0.023883 | 0.00014093 | 8.9941e-05 | 0.13955 | 0.13955 | 0.13955 | 0.99836 | -0.031215 | 1 | 0 | 38.3377
52 | 0.067364 | 0.016993 | -0.067353 | -0.016985 | 1.1339e-05 | 7.2174e-06 | 0.10028 | 0.10028 | 0.10028 | 1 | 0 | 0.99982 | -0.0035164 | 27.5487
53 | 0.015478 | 0.0038822 | -0.015472 | -0.003879 | 5.5788e-06 | 3.2026e-06 | 0.023032 | 0.023032 | 0.023032 | 1 | 0 | 0.99961 | -0.0075641 | 6.3275
54 | 0.01384 | 0.00347 | -0.013839 | -0.0034694 | 1.0304e-06 | 5.7458e-07 | 0.020602 | 0.020602 | 0.020602 | 0.99961 | -0.0075641 | 0.99953 | -0.0091265 | 5.66
55 | 0.012227 | 0.0030655 | -0.012227 | -0.0030651 | 8.1707e-07 | 4.3675e-07 | 0.018203 | 0.018204 | 0.018204 | 0.99953 | -0.0091265 | 0.99945 | -0.010529 | 5.001
56 | 0.010532 | 0.0026404 | -0.010531 | -0.0026401 | 5.8058e-07 | 2.8906e-07 | 0.01568 | 0.01568 | 0.01568 | 0.99945 | -0.010529 | 0.99939 | -0.011686 | 4.3078
57 | 0.0089802 | 0.0022514 | -0.0089781 | -0.0022504 | 2.1596e-06 | 9.6021e-07 | 0.013371 | 0.013371 | 0.013371 | 0.99939 | -0.011686 | 0.99913 | -0.016734 | 3.6734
58 | 0.0081522 | 0.0020434 | -0.0081518 | -0.0020433 | 4.4693e-07 | 1.8016e-07 | 0.012141 | 0.012141 | 0.012141 | 0.99913 | -0.016734 | 0.99907 | -0.017884 | 3.3355
59 | 0.0081518 | 0.0020433 | -0.0081503 | -0.0020426 | 1.5036e-06 | 6.062e-07 | 0.012141 | 0.012141 | 0.012141 | 0.99907 | -0.017884 | 0.99887 | -0.021756 | 3.3356
60 | 0.0039256 | 0.00098386 | -0.0039256 | -0.00098386 | 5.5855e-09 | -2.1258e-09 | 0.005848 | 0.005848 | 0.005848 | 0.99887 | -0.021756 | 0.99887 | -0.021786 | 1.6066
61 | 0.0026967 | 0.00067584 | -0.0026967 | -0.00067585 | 3.4518e-09 | -4.8604e-09 | 0.0040724 | 0.0040724 | 0.0040724 | 0.98534 | -0.28202 | 0.98534 | -0.28204 | 1.1188
62 | 0.0022177 | 0.00055491 | -0.0022176 | -0.00055512 | 8.7477e-08 | -2.0921e-07 | 0.0033479 | 0.003348 | 0.003348 | 0.98558 | -0.27734 | 0.98554 | -0.27817 | 0.91979
63 | -0.0049879 | -0.0012501 | 0.0049881 | 0.0012501 | 1.4932e-07 | 6.43e-09 | 0.007538 | 0.0075379 | 0.007538 | 0.98463 | -0.29589 | 0.98466 | -0.29527 | 2.0709
64 | -0.0097991 | -0.0024558 | 0.009802 | 0.0024573 | 2.931e-06 | 1.4223e-06 | 0.014808 | 0.014808 | 0.014808 | 0.98466 | -0.29527 | 0.98498 | -0.28899 | 4.0682
65 | 0.0014702 | 0.00036781 | -0.0014702 | -0.00036794 | 1.9801e-08 | -1.239e-07 | 0.0022196 | 0.0022197 | 0.0022197 | 0.98554 | -0.27817 | 0.98552 | -0.27845 | 0.6098
66 | 0.0014702 | 0.00036794 | -0.0014701 | -0.00036845 | 8.2705e-08 | -5.1736e-07 | 0.0022197 | 0.0022199 | 0.0022199 | 0.98552 | -0.27845 | 0.98546 | -0.27964 | 0.60985

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.17818 | 0.044758

## res_load
| p_mw | q_mvar
0 | 0.0014151 | 0.00035467
1 | 0.00042337 | 0.00010611
2 | 0.001602 | 0.00040151
3 | 0.00072773 | 0.00018239
4 | 0.0043203 | 0.0010828
5 | 0.0022257 | 0.0005578
6 | 0.0044486 | 0.0011149
7 | 0.00056155 | 0.00014074
8 | 0.0043227 | 0.0010834
9 | 0.0024417 | 0.00061195
10 | 0.0043434 | 0.0010886
11 | 0.00072373 | 0.00018138
12 | 0.00066082 | 0.00016562
13 | 0.0064079 | 0.001606
14 | 0.0042373 | 0.001062
15 | 0.0041118 | 0.0010305
16 | 0.0038003 | 0.00095244
17 | 0.00039727 | 9.9566e-05
18 | 0.0040499 | 0.001015
19 | 0.0040117 | 0.0010054
20 | 0.0038877 | 0.00097435
21 | 0.0038299 | 0.00095986
22 | 0.0039802 | 0.00099753
23 | 0.0046541 | 0.0011664
24 | 0.0041903 | 0.0010502
25 | 0.0041322 | 0.0010356
26 | 0.013088 | 0.0032802
27 | 0.0044602 | 0.0011178
28 | 0.004527 | 0.0011346
29 | 0.0042059 | 0.0010541
30 | 0.0071531 | 0.0017927
31 | 0.0053835 | 0.0013492
32 | 0.0035282 | 0.00088426
33 | 0.0049833 | 0.0012489
34 | 0.0030053 | 0.0007532
35 | 0.0068235 | 0.0017101
36 | 0.0029098 | 0.00072927
37 | 0.0016322 | 0.00040907
38 | 0.0016114 | 0.00040386
39 | 0.0016947 | 0.00042474
40 | 0.001551 | 0.00038871
41 | 0.00082585 | 0.00020698
42 | 0.0042246 | 0.0010588
43 | 0.0039256 | 0.00098386
44 | 0.0025271 | 0.00063335
45 | 0.0026967 | 0.00067585
46 | 0.0049879 | 0.0012501
47 | 0.004811 | 0.0012058
48 | 0.0024686 | 0.0006187
49 | 0.00074737 | 0.00018731
50 | 0.0014701 | 0.00036845

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1