## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1062-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1062-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1062-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1062-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1062-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1062-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1062-4_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1062-4_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_1062-4_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_1062-4_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1062-4_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1062-4_0_4_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_1062-4_0_4_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1062-4_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1062-4_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1062-4_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1062-4_0_4_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_1062-4_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1062-4_0_4_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_1062-4_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1062-4_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1062-4_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1062-4_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1062-4_0_4_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_1062-4_0_4_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_1062-4_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1062-4_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1062-4_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1062-4_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1062-4_0_4_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_1062-4_0_4_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_1062-4_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1062-4_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1062-4_0_4_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_1062-4_0_4_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_1062-4_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1062-4_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_1062-4_0_4_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_1062-4_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1062-4_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_1062-4_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1062-4_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1062-4_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_1062-4_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_1062-4_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1062-4_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_1062-4_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1062-4_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_1062-4_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_1062-4_0_4_node_50 | 0.4 | n |  | TRUE
50 | bus_MV_2_0_node_298 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1062-4_0_4_load_0 | 0 | 0.012651 | 0.0031706 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1062-4_0_4_load_1 | 1 | 0.0061727 | 0.001547 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1062-4_0_4_load_5 | 5 | 0.0076777 | 0.0019242 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1062-4_0_4_load_19 | 8 | 0.018133 | 0.0045446 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1062-4_0_4_load_40 | 11 | 0.0043255 | 0.0010841 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1062-4_0_4_load_24 | 12 | 0.0024779 | 0.00062103 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1062-4_0_4_load_54 | 16 | 0.045329 | 0.011361 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1062-4_0_4_load_30 | 18 | 0.01797 | 0.0045038 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1062-4_0_4_load_20 | 19 | 0.0075797 | 0.0018997 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1062-4_0_4_load_26 | 22 | 0.0098651 | 0.0024724 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1062-4_0_4_load_41 | 23 | 0.0044122 | 0.0011058 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1062-4_0_4_load_52 | 24 | 0.0007861 | 0.00019701 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1062-4_0_4_load_25 | 25 | 0.0082421 | 0.0020657 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1062-4_0_4_load_22 | 26 | 0.011054 | 0.0027705 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1062-4_0_4_load_31 | 27 | 0.0021277 | 0.00053326 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1062-4_0_4_load_32 | 28 | 0.0056085 | 0.0014056 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1062-4_0_4_load_53 | 29 | 0.0060998 | 0.0015288 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1062-4_0_4_load_45 | 30 | 0.0045652 | 0.0011441 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1062-4_0_4_load_21 | 31 | 0.040238 | 0.010085 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1062-4_0_4_load_37 | 33 | 0.0055123 | 0.0013815 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1062-4_0_4_load_42 | 34 | 0.0026299 | 0.00065911 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1062-4_0_4_load_43 | 36 | 0.0059732 | 0.001497 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1062-4_0_4_load_46 | 37 | 0.0085019 | 0.0021308 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1062-4_0_4_load_38 | 38 | 0.0030357 | 0.00076083 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1062-4_0_4_load_23 | 39 | 0.0037044 | 0.00092841 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1062-4_0_4_load_36 | 40 | 0.01096 | 0.0027469 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1062-4_0_4_load_44 | 42 | 0.0047573 | 0.0011923 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1062-4_0_4_load_39 | 44 | 0.020809 | 0.0052153 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1062-4_0_4_load_35 | 45 | 0.0054748 | 0.0013721 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1062-4_0_4_load_48 | 46 | 0.0071402 | 0.0017895 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1062-4_0_4_load_47 | 47 | 0.0051374 | 0.0012876 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1062-4_0_4_load_49 | 48 | 0.0013592 | 0.00034066 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1062-4_0_4_load_50 | 49 | 0.024152 | 0.006053 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1062-4_0_4_line_0 |  | 0 | 1 | 0.01893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1062-4_0_4_line_1 |  | 0 | 2 | 0.024757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1062-4_0_4_line_2 |  | 1 | 3 | 0.026248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1062-4_0_4_line_3 |  | 2 | 4 | 0.025188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1062-4_0_4_line_4 |  | 2 | 5 | 0.020546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1062-4_0_4_line_5 |  | 3 | 6 | 0.057931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1062-4_0_4_line_6 |  | 3 | 7 | 0.011346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1062-4_0_4_line_7 |  | 4 | 8 | 0.020981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1062-4_0_4_line_8 |  | 5 | 9 | 0.016921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1062-4_0_4_line_9 |  | 6 | 24 | 0.0067908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1062-4_0_4_line_10 |  | 7 | 25 | 0.0046954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1062-4_0_4_line_11 |  | 7 | 26 | 0.013455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1062-4_0_4_line_12 |  | 8 | 27 | 0.0053433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1062-4_0_4_line_13 |  | 9 | 10 | 0.0095502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1062-4_0_4_line_14 |  | 10 | 11 | 0.0058697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1062-4_0_4_line_15 |  | 10 | 12 | 0.012305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1062-4_0_4_line_16 |  | 11 | 13 | 0.0075165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1062-4_0_4_line_17 |  | 13 | 14 | 0.014415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1062-4_0_4_line_18 |  | 13 | 15 | 0.18381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1062-4_0_4_line_19 |  | 14 | 23 | 0.0091273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1062-4_0_4_line_20 |  | 15 | 16 | 0.0040121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1062-4_0_4_line_21 |  | 17 | 18 | 0.014137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1062-4_0_4_line_22 |  | 17 | 19 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1062-4_0_4_line_23 |  | 18 | 28 | 0.023984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1062-4_0_4_line_24 |  | 20 | 21 | 0.0084858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1062-4_0_4_line_25 |  | 20 | 22 | 0.004323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1062-4_0_4_line_26 |  | 21 | 23 | 0.017311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1062-4_0_4_line_27 |  | 24 | 29 | 0.042923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1062-4_0_4_line_28 |  | 25 | 30 | 0.024017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1062-4_0_4_line_29 |  | 26 | 31 | 0.0051684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1062-4_0_4_line_30 |  | 27 | 38 | 0.013017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1062-4_0_4_line_31 |  | 28 | 43 | 0.019955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1062-4_0_4_line_32 |  | 30 | 37 | 0.0030217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1062-4_0_4_line_33 |  | 31 | 39 | 0.036094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1062-4_0_4_line_34 |  | 32 | 33 | 0.011946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1062-4_0_4_line_35 |  | 32 | 34 | 0.020958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1062-4_0_4_line_36 |  | 33 | 41 | 0.034045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1062-4_0_4_line_37 |  | 34 | 35 | 0.01638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1062-4_0_4_line_38 |  | 35 | 36 | 0.0586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1062-4_0_4_line_39 |  | 36 | 42 | 0.0071944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1062-4_0_4_line_40 |  | 38 | 44 | 0.029731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1062-4_0_4_line_41 |  | 40 | 41 | 0.013219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1062-4_0_4_line_42 |  | 41 | 43 | 0.003159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1062-4_0_4_line_43 |  | 42 | 46 | 0.026998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1062-4_0_4_line_44 |  | 43 | 45 | 0.014209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1062-4_0_4_line_45 |  | 44 | 45 | 0.037816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1062-4_0_4_line_46 |  | 46 | 47 | 0.008731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1062-4_0_4_line_47 |  | 47 | 48 | 0.020894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1062-4_0_4_line_48 |  | 48 | 49 | 0.0050208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1062-4_0_4_trafo_4 | 0.63 MVA 20/0.4 kV | 50 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2656401.7133 | 1209785.9671 | 2656382.8423 | 1209784.4685
1 | 2656426.3921 | 1209787.927 | 2656401.7133 | 1209785.9671
2 | 2656357.0637 | 1209780.0452 | 2656362.4415 | 1209780.4295 | 2656376.6519 | 1209783.9769 | 2656382.8423 | 1209784.4685
3 | 2656424.4369 | 1209813.0346 | 2656426.3921 | 1209787.927
4 | 2656426.3921 | 1209787.927 | 2656446.9145 | 1209788.9015
5 | 2656328.6434 | 1209810.7397 | 2656332.0529 | 1209778.0746 | 2656357.0637 | 1209780.0452
6 | 2656357.0637 | 1209780.0452 | 2656357.4254 | 1209775.557 | 2656357.9762 | 1209768.7359
7 | 2656424.4369 | 1209813.0346 | 2656424.3868 | 1209819.1378 | 2656425.7935 | 1209823.0979 | 2656433.9005 | 1209830.0426
8 | 2656463.8168 | 1209789.7041 | 2656446.9145 | 1209788.9015
9 | 2656328.6434 | 1209810.7397 | 2656331.3971 | 1209816.9472 | 2656331.3971 | 1209816.9472
10 | 2656357.9762 | 1209768.7359 | 2656353.2892 | 1209769.0151
11 | 2656357.9762 | 1209768.7359 | 2656363.5289 | 1209769.1108 | 2656371.183 | 1209771.026
12 | 2656437.9584 | 1209833.5188 | 2656433.9005 | 1209830.0426
13 | 2656463.8168 | 1209789.7041 | 2656464.124 | 1209784.5484 | 2656464.3783 | 1209780.1704
14 | 2656464.3783 | 1209780.1704 | 2656470.2344 | 1209780.5701
15 | 2656464.3783 | 1209780.1704 | 2656452.1015 | 1209779.3313
16 | 2656476.6448 | 1209778.6855 | 2656474.967 | 1209780.8932 | 2656470.2344 | 1209780.5701
17 | 2656476.6448 | 1209778.6855 | 2656481.6317 | 1209779.4109 | 2656487.1194 | 1209780.2189 | 2656486.879 | 1209781.5285 | 2656487.2773 | 1209782.8108 | 2656488.2442 | 1209783.4426
18 | 2656376.2503 | 1209655.9411 | 2656380.0124 | 1209658.3892 | 2656433.7708 | 1209705.3363 | 2656448.6035 | 1209717.0279 | 2656463.9947 | 1209728.3358 | 2656490.3195 | 1209744.0831 | 2656491.978 | 1209747.134 | 2656492.274 | 1209750.3832 | 2656488.0343 | 1209761.4608 | 2656482.5095 | 1209770.992 | 2656476.6448 | 1209778.6855
19 | 2656488.2442 | 1209783.4426 | 2656494.6928 | 1209784.7266 | 2656497.2177 | 1209785.099
20 | 2656376.2503 | 1209655.9411 | 2656372.889 | 1209653.7505
21 | 2656494.4902 | 1209823.7813 | 2656494.3582 | 1209837.9177
22 | 2656494.4902 | 1209823.7813 | 2656479.1715 | 1209822.769
23 | 2656494.1342 | 1209861.9009 | 2656494.3582 | 1209837.9177
24 | 2656513.0937 | 1209796.0186 | 2656513.7673 | 1209791.5112 | 2656514.3438 | 1209787.6254
25 | 2656513.0937 | 1209796.0186 | 2656517.3507 | 1209796.7716
26 | 2656514.3438 | 1209787.6254 | 2656497.2177 | 1209785.099
27 | 2656331.3971 | 1209816.9472 | 2656329.6956 | 1209845.0035 | 2656325.9373 | 1209859.3345
28 | 2656329.3199 | 1209769.102 | 2656331.5581 | 1209769.2981 | 2656339.9294 | 1209769.8107 | 2656353.2892 | 1209769.0151
29 | 2656376.1969 | 1209772.2805 | 2656371.183 | 1209771.026
30 | 2656445.2372 | 1209843.5346 | 2656444.2581 | 1209838.9152 | 2656437.9584 | 1209833.5188
31 | 2656493.9479 | 1209881.8553 | 2656494.1342 | 1209861.9009
32 | 2656329.3199 | 1209769.102 | 2656326.3098 | 1209768.8383
33 | 2656376.1969 | 1209772.2805 | 2656383.1079 | 1209774.0097 | 2656400.3753 | 1209775.7961 | 2656411.9582 | 1209776.5877
34 | 2656491.1729 | 1209930.9028 | 2656492.2816 | 1209919.0086
35 | 2656491.1729 | 1209930.9028 | 2656488.8839 | 1209951.7352
36 | 2656494.0168 | 1209885.0134 | 2656493.7359 | 1209892.2039 | 2656492.7633 | 1209913.841 | 2656492.2816 | 1209919.0086
37 | 2656488.1918 | 1209968.0079 | 2656487.736 | 1209965.5688 | 2656487.6962 | 1209962.5444 | 2656488.8839 | 1209951.7352
38 | 2656488.1918 | 1209968.0079 | 2656480.4029 | 1209967.823 | 2656431.2391 | 1209954.9986
39 | 2656424.2625 | 1209953.243 | 2656427.4209 | 1209954.0026 | 2656431.2391 | 1209954.9986
40 | 2656445.2372 | 1209843.5346 | 2656445.8661 | 1209846.5016 | 2656442.6814 | 1209873.0096 | 2656442.6814 | 1209873.0096
41 | 2656494.0168 | 1209885.0134 | 2656507.1888 | 1209886.1242
42 | 2656493.9479 | 1209881.8553 | 2656494.0168 | 1209885.0134
43 | 2656398.0124 | 1209946.9301 | 2656424.2625 | 1209953.243
44 | 2656493.9479 | 1209881.8553 | 2656479.9463 | 1209879.4394
45 | 2656479.9463 | 1209879.4394 | 2656442.6814 | 1209873.0096
46 | 2656389.5235 | 1209944.8886 | 2656398.0124 | 1209946.9301
47 | 2656389.5235 | 1209944.8886 | 2656387.0472 | 1209944.2931 | 2656377.2962 | 1209942.6222 | 2656368.884 | 1209941.7789
48 | 2656363.8883 | 1209941.2777 | 2656364.4406 | 1209941.3334 | 2656368.884 | 1209941.7789

## bus_geodata
| x | y | coords
0 | 2656401.7133 | 1209785.9671
1 | 2656382.8423 | 1209784.4685
2 | 2656426.3921 | 1209787.927
3 | 2656357.0637 | 1209780.0452
4 | 2656424.4369 | 1209813.0346
5 | 2656446.9145 | 1209788.9015
6 | 2656328.6434 | 1209810.7397
7 | 2656357.9762 | 1209768.7359
8 | 2656433.9005 | 1209830.0426
9 | 2656463.8168 | 1209789.7041
10 | 2656464.3783 | 1209780.1704
11 | 2656470.2344 | 1209780.5701
12 | 2656452.1015 | 1209779.3313
13 | 2656476.6448 | 1209778.6855
14 | 2656488.2442 | 1209783.4426
15 | 2656376.2503 | 1209655.9411
16 | 2656372.889 | 1209653.7505
17 | 2656494.4902 | 1209823.7813
18 | 2656494.3582 | 1209837.9177
19 | 2656479.1715 | 1209822.769
20 | 2656513.0937 | 1209796.0186
21 | 2656514.3438 | 1209787.6254
22 | 2656517.3507 | 1209796.7716
23 | 2656497.2177 | 1209785.099
24 | 2656331.3971 | 1209816.9472
25 | 2656353.2892 | 1209769.0151
26 | 2656371.183 | 1209771.026
27 | 2656437.9584 | 1209833.5188
28 | 2656494.1342 | 1209861.9009
29 | 2656325.9373 | 1209859.3345
30 | 2656329.3199 | 1209769.102
31 | 2656376.1969 | 1209772.2805
32 | 2656491.1729 | 1209930.9028
33 | 2656492.2816 | 1209919.0086
34 | 2656488.8839 | 1209951.7352
35 | 2656488.1918 | 1209968.0079
36 | 2656431.2391 | 1209954.9986
37 | 2656326.3098 | 1209768.8383
38 | 2656445.2372 | 1209843.5346
39 | 2656411.9582 | 1209776.5877
40 | 2656507.1888 | 1209886.1242
41 | 2656494.0168 | 1209885.0134
42 | 2656424.2625 | 1209953.243
43 | 2656493.9479 | 1209881.8553
44 | 2656442.6814 | 1209873.0096
45 | 2656479.9463 | 1209879.4394
46 | 2656398.0124 | 1209946.9301
47 | 2656389.5235 | 1209944.8886
48 | 2656368.884 | 1209941.7789
49 | 2656363.8883 | 1209941.2777
50 | 2656426.3921 | 1209787.927

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99566 | -0.083043 | 0.012651 | 0.0031706
1 | 0.99411 | -0.11284 | 0.0061727 | 0.001547
2 | 0.99797 | -0.038739 | 0 | 0
3 | 0.99211 | -0.15143 | 0 | 0
4 | 1 | 0 | -0.32938 | -0.083398
5 | 0.99657 | -0.065418 | 0.0076777 | 0.0019242
6 | 0.99175 | -0.1585 | 0 | 0
7 | 0.99132 | -0.16677 | 0 | 0
8 | 0.99857 | -0.027168 | 0.018133 | 0.0045446
9 | 0.99554 | -0.085162 | 0 | 0
10 | 0.99496 | -0.096324 | 0 | 0
11 | 0.99462 | -0.10293 | 0.0043255 | 0.0010841
12 | 0.99493 | -0.096861 | 0.0024779 | 0.00062103
13 | 0.9942 | -0.11083 | 0 | 0
14 | 0.99402 | -0.11446 | 0 | 0
15 | 0.98654 | -0.2589 | 0 | 0
16 | 0.98638 | -0.26216 | 0.045329 | 0.011361
17 | 0.9868 | -0.25305 | 0 | 0
18 | 0.9869 | -0.25113 | 0.01797 | 0.0045038
19 | 0.9867 | -0.25513 | 0.0075797 | 0.0018997
20 | 0.99367 | -0.12125 | 0 | 0
21 | 0.99374 | -0.11978 | 0 | 0
22 | 0.99363 | -0.12201 | 0.0098651 | 0.0024724
23 | 0.9939 | -0.11676 | 0.0044122 | 0.0011058
24 | 0.9917 | -0.15932 | 0.0007861 | 0.00019701
25 | 0.99123 | -0.16855 | 0.0082421 | 0.0020657
26 | 0.99064 | -0.1799 | 0.011054 | 0.0027705
27 | 0.99793 | -0.03934 | 0.0021277 | 0.00053326
28 | 0.98746 | -0.24017 | 0.0056085 | 0.0014056
29 | 0.99146 | -0.16397 | 0.0060998 | 0.0015288
30 | 0.99094 | -0.17411 | 0.0045652 | 0.0011441
31 | 0.99043 | -0.18394 | 0.040238 | 0.010085
32 | 0.98549 | -0.27836 | 0 | 0
33 | 0.98605 | -0.2674 | 0.0055123 | 0.0013815
34 | 0.9845 | -0.29762 | 0.0026299 | 0.00065911
35 | 0.98376 | -0.31192 | 0 | 0
36 | 0.98113 | -0.36327 | 0.0059732 | 0.001497
37 | 0.99092 | -0.17457 | 0.0085019 | 0.0021308
38 | 0.99639 | -0.068572 | 0.0030357 | 0.00076083
39 | 0.99031 | -0.18632 | 0.0037044 | 0.00092841
40 | 0.98771 | -0.23547 | 0.01096 | 0.0027469
41 | 0.98784 | -0.23288 | 0 | 0
42 | 0.98084 | -0.36881 | 0.0047573 | 0.0011923
43 | 0.98804 | -0.22906 | 0 | 0
44 | 0.99297 | -0.13408 | 0.020809 | 0.0052153
45 | 0.98933 | -0.20404 | 0.0054748 | 0.0013721
46 | 0.9799 | -0.38732 | 0.0071402 | 0.0017895
47 | 0.97965 | -0.39217 | 0.0051374 | 0.0012876
48 | 0.97916 | -0.40186 | 0.0013592 | 0.00034066
49 | 0.97905 | -0.40406 | 0.024152 | 0.006053
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.089754 | 0.022643 | -0.089627 | -0.022562 | 0.00012783 | 8.1566e-05 | 0.13419 | 0.13419 | 0.13419 | 0.99566 | -0.083043 | 0.99411 | -0.11284 | 36.8657
1 | -0.10241 | -0.025814 | 0.10262 | 0.025953 | 0.0002176 | 0.00013894 | 0.1531 | 0.1531 | 0.1531 | 0.99566 | -0.083043 | 0.99797 | -0.038739 | 42.0597
2 | 0.083454 | 0.021015 | -0.0833 | -0.020917 | 0.00015368 | 9.8013e-05 | 0.12495 | 0.12495 | 0.12495 | 0.99411 | -0.11284 | 0.99211 | -0.15143 | 34.3274
3 | -0.17728 | -0.044884 | 0.17761 | 0.045095 | 0.0003304 | 0.0002108 | 0.2645 | 0.2645 | 0.2645 | 0.99797 | -0.038739 | 1 | 0 | 36.3321
4 | 0.074661 | 0.018931 | -0.074566 | -0.01887 | 9.5615e-05 | 6.0925e-05 | 0.1114 | 0.1114 | 0.1114 | 0.99797 | -0.038739 | 0.99657 | -0.065418 | 30.6046
5 | 0.0068898 | 0.0017269 | -0.0068875 | -0.0017262 | 2.3199e-06 | 7.3695e-07 | 0.010334 | 0.010334 | 0.010334 | 0.99211 | -0.15143 | 0.99175 | -0.1585 | 2.839
6 | 0.07641 | 0.01919 | -0.076354 | -0.019154 | 5.5896e-05 | 3.5627e-05 | 0.11462 | 0.11462 | 0.11462 | 0.99211 | -0.15143 | 0.99132 | -0.16677 | 31.4884
7 | 0.15012 | 0.038303 | -0.14992 | -0.038178 | 0.00019672 | 0.00012535 | 0.22362 | 0.22362 | 0.22362 | 1 | 0 | 0.99857 | -0.027168 | 30.7172
8 | 0.066888 | 0.016946 | -0.066824 | -0.016906 | 6.3375e-05 | 4.034e-05 | 0.099937 | 0.099937 | 0.099937 | 0.99657 | -0.065418 | 0.99554 | -0.085162 | 27.4552
9 | 0.0068875 | 0.0017262 | -0.0068873 | -0.0017261 | 2.7195e-07 | 8.6428e-08 | 0.010334 | 0.010334 | 0.010334 | 0.99175 | -0.1585 | 0.9917 | -0.15932 | 2.839
10 | 0.021315 | 0.0053437 | -0.021313 | -0.0053426 | 1.8024e-06 | 1.093e-06 | 0.031995 | 0.031995 | 0.031995 | 0.99132 | -0.16677 | 0.99123 | -0.16855 | 8.7898
11 | 0.05504 | 0.01381 | -0.055005 | -0.013789 | 3.4445e-05 | 2.1872e-05 | 0.082623 | 0.082623 | 0.082623 | 0.99132 | -0.16677 | 0.99064 | -0.1799 | 22.6987
12 | 0.13179 | 0.033633 | -0.13171 | -0.033583 | 7.7448e-05 | 4.9497e-05 | 0.1966 | 0.1966 | 0.1966 | 0.99857 | -0.027168 | 0.99793 | -0.03934 | 54.0112
13 | 0.066824 | 0.016906 | -0.066789 | -0.016883 | 3.5768e-05 | 2.2768e-05 | 0.099937 | 0.099937 | 0.099937 | 0.99554 | -0.085162 | 0.99496 | -0.096324 | 27.4552
14 | 0.064311 | 0.016262 | -0.06429 | -0.016249 | 2.0384e-05 | 1.2969e-05 | 0.096231 | 0.096231 | 0.096231 | 0.99496 | -0.096324 | 0.99462 | -0.10293 | 26.4371
15 | 0.002478 | 0.00062091 | -0.0024779 | -0.00062103 | 6.3377e-08 | -1.1925e-07 | 0.0037059 | 0.003706 | 0.003706 | 0.99496 | -0.096324 | 0.99493 | -0.096861 | 1.0181
16 | 0.059965 | 0.015165 | -0.059942 | -0.015151 | 2.271e-05 | 1.4437e-05 | 0.08976 | 0.08976 | 0.08976 | 0.99462 | -0.10293 | 0.9942 | -0.11083 | 24.6593
17 | 0.014284 | 0.0035817 | -0.014281 | -0.0035803 | 2.4708e-06 | 1.3944e-06 | 0.021379 | 0.021379 | 0.021379 | 0.9942 | -0.11083 | 0.99402 | -0.11446 | 5.8734
18 | 0.045658 | 0.011569 | -0.045336 | -0.011365 | 0.00032231 | 0.00020391 | 0.068381 | 0.068382 | 0.068382 | 0.9942 | -0.11083 | 0.98654 | -0.2589 | 18.7862
19 | 0.014281 | 0.0035803 | -0.01428 | -0.0035794 | 1.5644e-06 | 8.8294e-07 | 0.021379 | 0.021379 | 0.021379 | 0.99402 | -0.11446 | 0.9939 | -0.11676 | 5.8734
20 | 0.045336 | 0.011365 | -0.045329 | -0.011361 | 7.0352e-06 | 4.4513e-06 | 0.068382 | 0.068382 | 0.068382 | 0.98654 | -0.2589 | 0.98638 | -0.26216 | 18.7862
21 | -0.0075804 | -0.0018999 | 0.0075811 | 0.0019002 | 6.9268e-07 | 2.6269e-07 | 0.011431 | 0.011431 | 0.011431 | 0.9868 | -0.25305 | 0.9869 | -0.25113 | 3.1403
22 | 0.0075804 | 0.0018999 | -0.0075797 | -0.0018997 | 7.5222e-07 | 2.8532e-07 | 0.011431 | 0.011431 | 0.011431 | 0.9868 | -0.25305 | 0.9867 | -0.25513 | 3.1403
23 | -0.025552 | -0.006404 | 0.025565 | 0.0064123 | 1.3349e-05 | 8.237e-06 | 0.038526 | 0.038526 | 0.038526 | 0.9869 | -0.25113 | 0.98746 | -0.24017 | 10.584
24 | -0.0098655 | -0.0024726 | 0.0098662 | 0.0024729 | 6.9453e-07 | 3.3457e-07 | 0.014774 | 0.014774 | 0.014774 | 0.99367 | -0.12125 | 0.99374 | -0.11978 | 4.0587
25 | 0.0098655 | 0.0024726 | -0.0098651 | -0.0024724 | 3.5383e-07 | 1.7045e-07 | 0.014774 | 0.014774 | 0.014774 | 0.99367 | -0.12125 | 0.99363 | -0.12201 | 4.0587
26 | -0.0098662 | -0.0024729 | 0.0098676 | 0.0024736 | 1.4169e-06 | 6.8249e-07 | 0.014774 | 0.014773 | 0.014774 | 0.99374 | -0.11978 | 0.9939 | -0.11676 | 4.0587
27 | 0.0061012 | 0.0015291 | -0.0060998 | -0.0015288 | 1.349e-06 | 3.0967e-07 | 0.0091546 | 0.0091547 | 0.0091547 | 0.9917 | -0.15932 | 0.99146 | -0.16397 | 2.515
28 | 0.013071 | 0.0032769 | -0.013067 | -0.003275 | 3.4677e-06 | 1.9098e-06 | 0.019622 | 0.019622 | 0.019622 | 0.99123 | -0.16855 | 0.99094 | -0.17411 | 5.3907
29 | 0.043951 | 0.011018 | -0.043943 | -0.011013 | 8.4475e-06 | 5.3398e-06 | 0.066019 | 0.066019 | 0.066019 | 0.99064 | -0.1799 | 0.99043 | -0.18394 | 18.1371
30 | 0.12958 | 0.03305 | -0.1294 | -0.032933 | 0.00018263 | 0.00011672 | 0.19343 | 0.19343 | 0.19343 | 0.99793 | -0.03934 | 0.99639 | -0.068572 | 53.1396
31 | -0.031173 | -0.0078179 | 0.03119 | 0.0078282 | 1.6514e-05 | 1.0314e-05 | 0.046977 | 0.046977 | 0.046977 | 0.98746 | -0.24017 | 0.98804 | -0.22906 | 12.9058
32 | 0.0085021 | 0.0021309 | -0.0085019 | -0.0021308 | 1.8469e-07 | 7.9277e-08 | 0.012767 | 0.012767 | 0.012767 | 0.99094 | -0.17411 | 0.99092 | -0.17457 | 3.5074
33 | 0.0037048 | 0.00092822 | -0.0037044 | -0.00092841 | 4.1933e-07 | -1.9607e-07 | 0.005566 | 0.0055662 | 0.0055662 | 0.99043 | -0.18394 | 0.99031 | -0.18632 | 1.5292
34 | -0.051415 | -0.012987 | 0.051442 | 0.013005 | 2.7024e-05 | 1.7143e-05 | 0.077669 | 0.077669 | 0.077669 | 0.98549 | -0.27836 | 0.98605 | -0.2674 | 21.3377
35 | 0.051415 | 0.012987 | -0.051368 | -0.012957 | 4.7411e-05 | 3.0076e-05 | 0.077669 | 0.077669 | 0.077669 | 0.98549 | -0.27836 | 0.9845 | -0.29762 | 21.3377
36 | -0.056954 | -0.014386 | 0.057049 | 0.014446 | 9.4396e-05 | 5.9979e-05 | 0.085988 | 0.085988 | 0.085988 | 0.98605 | -0.2674 | 0.98784 | -0.23288 | 23.623
37 | 0.048738 | 0.012298 | -0.048704 | -0.012277 | 3.336e-05 | 2.1142e-05 | 0.073694 | 0.073695 | 0.073695 | 0.9845 | -0.29762 | 0.98376 | -0.31192 | 20.2458
38 | 0.048704 | 0.012277 | -0.048585 | -0.012201 | 0.00011934 | 7.5638e-05 | 0.073695 | 0.073695 | 0.073695 | 0.98376 | -0.31192 | 0.98113 | -0.36327 | 20.2458
39 | 0.042612 | 0.010704 | -0.042601 | -0.010697 | 1.1271e-05 | 7.1227e-06 | 0.064636 | 0.064636 | 0.064636 | 0.98113 | -0.36327 | 0.98084 | -0.36881 | 17.757
40 | 0.12637 | 0.032173 | -0.12597 | -0.031918 | 0.00039782 | 0.00025422 | 0.18889 | 0.18889 | 0.18889 | 0.99639 | -0.068572 | 0.99297 | -0.13408 | 51.8941
41 | -0.01096 | -0.0027469 | 0.010961 | 0.0027476 | 1.3515e-06 | 6.9574e-07 | 0.016512 | 0.016512 | 0.016512 | 0.98771 | -0.23547 | 0.98784 | -0.23288 | 4.5362
42 | -0.06801 | -0.017194 | 0.068023 | 0.017202 | 1.2446e-05 | 7.9249e-06 | 0.1025 | 0.1025 | 0.1025 | 0.98784 | -0.23288 | 0.98804 | -0.22906 | 28.1591
43 | 0.037843 | 0.009505 | -0.03781 | -0.0094839 | 3.3379e-05 | 2.1022e-05 | 0.057418 | 0.057419 | 0.057419 | 0.98084 | -0.36881 | 0.9799 | -0.38732 | 15.7743
44 | -0.099213 | -0.02503 | 0.099332 | 0.025106 | 0.00011905 | 7.6009e-05 | 0.14948 | 0.14948 | 0.14948 | 0.98804 | -0.22906 | 0.98933 | -0.20404 | 41.0649
45 | 0.10516 | 0.026703 | -0.10481 | -0.026478 | 0.00035271 | 0.00022525 | 0.15771 | 0.15771 | 0.15771 | 0.99297 | -0.13408 | 0.98933 | -0.20404 | 43.3271
46 | 0.03067 | 0.0076944 | -0.030663 | -0.00769 | 7.1026e-06 | 4.4357e-06 | 0.046576 | 0.046576 | 0.046576 | 0.9799 | -0.38732 | 0.97965 | -0.39217 | 12.7956
47 | 0.025525 | 0.0064025 | -0.025513 | -0.0063952 | 1.1779e-05 | 7.2757e-06 | 0.038773 | 0.038773 | 0.038773 | 0.97965 | -0.39217 | 0.97916 | -0.40186 | 10.6518
48 | 0.024154 | 0.0060545 | -0.024152 | -0.006053 | 2.5369e-06 | 1.5605e-06 | 0.036707 | 0.036707 | 0.036707 | 0.97916 | -0.40186 | 0.97905 | -0.40406 | 10.0844

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32938 | 0.083398

## res_load
| p_mw | q_mvar
0 | 0.012651 | 0.0031706
1 | 0.0061727 | 0.001547
2 | 0.0076777 | 0.0019242
3 | 0.018133 | 0.0045446
4 | 0.0043255 | 0.0010841
5 | 0.0024779 | 0.00062103
6 | 0.045329 | 0.011361
7 | 0.01797 | 0.0045038
8 | 0.0075797 | 0.0018997
9 | 0.0098651 | 0.0024724
10 | 0.0044122 | 0.0011058
11 | 0.0007861 | 0.00019701
12 | 0.0082421 | 0.0020657
13 | 0.011054 | 0.0027705
14 | 0.0021277 | 0.00053326
15 | 0.0056085 | 0.0014056
16 | 0.0060998 | 0.0015288
17 | 0.0045652 | 0.0011441
18 | 0.040238 | 0.010085
19 | 0.0055123 | 0.0013815
20 | 0.0026299 | 0.00065911
21 | 0.0059732 | 0.001497
22 | 0.0085019 | 0.0021308
23 | 0.0030357 | 0.00076083
24 | 0.0037044 | 0.00092841
25 | 0.01096 | 0.0027469
26 | 0.0047573 | 0.0011923
27 | 0.020809 | 0.0052153
28 | 0.0054748 | 0.0013721
29 | 0.0071402 | 0.0017895
30 | 0.0051374 | 0.0012876
31 | 0.0013592 | 0.00034066
32 | 0.024152 | 0.006053

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1