## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1062-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1062-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1062-7_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1062-7_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1062-7_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1062-7_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1062-7_0_6_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_1062-7_0_6_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1062-7_0_6_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_1062-7_0_6_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_1062-7_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1062-7_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1062-7_0_6_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1062-7_0_6_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_1062-7_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1062-7_0_6_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_1062-7_0_6_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_1062-7_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1062-7_0_6_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_1062-7_0_6_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_1062-7_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1062-7_0_6_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_1062-7_0_6_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_1062-7_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1062-7_0_6_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_1062-7_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1062-7_0_6_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_1062-7_0_6_node_88 | 0.4 | n |  | TRUE
28 | bus_LV_1062-7_0_6_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_1062-7_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1062-7_0_6_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_1062-7_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1062-7_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1062-7_0_6_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_1062-7_0_6_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1062-7_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1062-7_0_6_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_1062-7_0_6_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_1062-7_0_6_node_83 | 0.4 | n |  | TRUE
39 | bus_LV_1062-7_0_6_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_1062-7_0_6_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1062-7_0_6_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_1062-7_0_6_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_1062-7_0_6_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1062-7_0_6_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_1062-7_0_6_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_1062-7_0_6_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_1062-7_0_6_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_1062-7_0_6_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_1062-7_0_6_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_1062-7_0_6_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_1062-7_0_6_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_1062-7_0_6_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_1062-7_0_6_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_1062-7_0_6_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_1062-7_0_6_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_1062-7_0_6_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_1062-7_0_6_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_1062-7_0_6_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_1062-7_0_6_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_1062-7_0_6_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_1062-7_0_6_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_1062-7_0_6_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_1062-7_0_6_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_1062-7_0_6_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_1062-7_0_6_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_1062-7_0_6_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_1062-7_0_6_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_1062-7_0_6_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_1062-7_0_6_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_1062-7_0_6_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_1062-7_0_6_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_1062-7_0_6_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_1062-7_0_6_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_1062-7_0_6_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_1062-7_0_6_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_1062-7_0_6_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_1062-7_0_6_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_1062-7_0_6_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_1062-7_0_6_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_1062-7_0_6_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_1062-7_0_6_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_1062-7_0_6_node_76 | 0.4 | n |  | TRUE
83 | bus_MV_2_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1062-7_0_6_load_0 | 0 | 0.0020229 | 0.00050699 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1062-7_0_6_load_1 | 1 | 0.0014179 | 0.00035537 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1062-7_0_6_load_3 | 3 | 0.0015827 | 0.00039665 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1062-7_0_6_load_4 | 4 | 0.0018036 | 0.00045203 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1062-7_0_6_load_29 | 7 | 0.00045429 | 0.00011386 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1062-7_0_6_load_68 | 9 | 0.0026033 | 0.00065244 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1062-7_0_6_load_40 | 13 | 0.004458 | 0.0011173 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1062-7_0_6_load_80 | 15 | 0.0058217 | 0.0014591 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1062-7_0_6_load_73 | 16 | 0.0021242 | 0.00053237 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1062-7_0_6_load_72 | 18 | 0.0022303 | 0.00055896 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1062-7_0_6_load_69 | 19 | 0.0030911 | 0.0007747 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1062-7_0_6_load_79 | 21 | 0.0033074 | 0.0008289 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1062-7_0_6_load_49 | 22 | 0.006015 | 0.0015075 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1062-7_0_6_load_84 | 26 | 0.0056999 | 0.0014285 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1062-7_0_6_load_88 | 27 | 0.0047328 | 0.0011861 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1062-7_0_6_load_61 | 28 | 0.032168 | 0.008062 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1062-7_0_6_load_62 | 30 | 0.03535 | 0.0088595 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1062-7_0_6_load_86 | 33 | 0.00773 | 0.0019373 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1062-7_0_6_load_30 | 34 | 0.010595 | 0.0026553 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1062-7_0_6_load_87 | 37 | 0.086765 | 0.021745 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1062-7_0_6_load_67 | 39 | 0.0014688 | 0.00036813 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1062-7_0_6_load_41 | 40 | 0.0034529 | 0.00086539 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1062-7_0_6_load_81 | 41 | 0.0037304 | 0.00093492 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1062-7_0_6_load_70 | 42 | 0.0077903 | 0.0019524 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1062-7_0_6_load_39 | 43 | 0.0015021 | 0.00037647 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1062-7_0_6_load_50 | 44 | 0.0067538 | 0.0016927 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1062-7_0_6_load_55 | 45 | 0.0041736 | 0.001046 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1062-7_0_6_load_56 | 46 | 0.0053265 | 0.0013349 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1062-7_0_6_load_85 | 47 | 0.036539 | 0.0091574 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1062-7_0_6_load_82 | 49 | 0.015964 | 0.004001 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1062-7_0_6_load_60 | 50 | 0.029002 | 0.0072686 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1062-7_0_6_load_26 | 51 | 0.0019021 | 0.00047672 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1062-7_0_6_load_31 | 52 | 0.0020156 | 0.00050515 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1062-7_0_6_load_65 | 53 | 0.0003476 | 8.7117e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1062-7_0_6_load_64 | 54 | 0.004303 | 0.0010784 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1062-7_0_6_load_32 | 55 | 0.0017585 | 0.00044071 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1062-7_0_6_load_33 | 56 | 0.023271 | 0.0058321 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1062-7_0_6_load_34 | 57 | 0.032459 | 0.0081349 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1062-7_0_6_load_35 | 58 | 0.082401 | 0.020652 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1062-7_0_6_load_36 | 59 | 0.047145 | 0.011816 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1062-7_0_6_load_37 | 62 | 0.0038042 | 0.00095342 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1062-7_0_6_load_38 | 63 | 0.0015024 | 0.00037653 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1062-7_0_6_load_42 | 64 | 0.0022741 | 0.00056995 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1062-7_0_6_load_48 | 65 | 0.0031222 | 0.00078249 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1062-7_0_6_load_43 | 67 | 0.0023591 | 0.00059126 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1062-7_0_6_load_44 | 68 | 0.0021539 | 0.00053982 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1062-7_0_6_load_45 | 69 | 0.0034464 | 0.00086375 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1062-7_0_6_load_47 | 70 | 0.00057321 | 0.00014366 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1062-7_0_6_load_51 | 71 | 0.0036656 | 0.00091869 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1062-7_0_6_load_57 | 72 | 0.0073932 | 0.0018529 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1062-7_0_6_load_75 | 73 | 0.0034955 | 0.00087605 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1062-7_0_6_load_74 | 74 | 0.0013845 | 0.00034698 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1062-7_0_6_load_52 | 75 | 0.0036924 | 0.00092541 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1062-7_0_6_load_78 | 78 | 0.0013842 | 0.0003469 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1062-7_0_6_load_77 | 79 | 0.0075322 | 0.0018878 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1062-7_0_6_load_63 | 80 | 0.0031194 | 0.0007818 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1062-7_0_6_load_71 | 81 | 0.009019 | 0.0022604 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1062-7_0_6_load_76 | 82 | 0.0036656 | 0.00091869 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1062-7_0_6_line_0 |  | 0 | 1 | 0.027519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_1062-7_0_6_line_1 |  | 0 | 2 | 0.017357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1062-7_0_6_line_2 |  | 1 | 3 | 0.029436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1062-7_0_6_line_3 |  | 2 | 4 | 0.071634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1062-7_0_6_line_4 |  | 2 | 5 | 0.076635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1062-7_0_6_line_5 |  | 3 | 6 | 0.036615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1062-7_0_6_line_6 |  | 4 | 7 | 0.015136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1062-7_0_6_line_7 |  | 5 | 8 | 0.047617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1062-7_0_6_line_8 |  | 5 | 9 | 0.005777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1062-7_0_6_line_9 |  | 6 | 28 | 0.06422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1062-7_0_6_line_10 |  | 6 | 17 | 0.034706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1062-7_0_6_line_11 |  | 7 | 23 | 0.033718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1062-7_0_6_line_12 |  | 8 | 38 | 0.060148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1062-7_0_6_line_13 |  | 8 | 26 | 0.017725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1062-7_0_6_line_14 |  | 9 | 39 | 0.022034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1062-7_0_6_line_15 |  | 10 | 11 | 0.061711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1062-7_0_6_line_16 |  | 10 | 12 | 0.033001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1062-7_0_6_line_17 |  | 10 | 13 | 0.034695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1062-7_0_6_line_18 |  | 11 | 22 | 0.05153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1062-7_0_6_line_19 |  | 12 | 27 | 0.013311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1062-7_0_6_line_20 |  | 12 | 25 | 0.01614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1062-7_0_6_line_21 |  | 13 | 40 | 0.0064947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1062-7_0_6_line_22 |  | 14 | 15 | 0.028419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1062-7_0_6_line_23 |  | 14 | 16 | 0.0037796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1062-7_0_6_line_24 |  | 15 | 41 | 0.019656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1062-7_0_6_line_25 |  | 16 | 17 | 0.013317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1062-7_0_6_line_26 |  | 17 | 18 | 0.017687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1062-7_0_6_line_27 |  | 17 | 19 | 0.046977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1062-7_0_6_line_28 |  | 18 | 20 | 0.01617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1062-7_0_6_line_29 |  | 19 | 42 | 0.02535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1062-7_0_6_line_30 |  | 20 | 21 | 0.015654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1062-7_0_6_line_31 |  | 21 | 43 | 0.060787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1062-7_0_6_line_32 |  | 22 | 44 | 0.015808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1062-7_0_6_line_33 |  | 23 | 24 | 0.10063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1062-7_0_6_line_34 |  | 24 | 47 | 0.018992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1062-7_0_6_line_35 |  | 24 | 48 | 0.008612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1062-7_0_6_line_36 |  | 25 | 26 | 0.0075647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1062-7_0_6_line_37 |  | 28 | 29 | 0.025158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1062-7_0_6_line_38 |  | 29 | 30 | 0.028718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1062-7_0_6_line_39 |  | 30 | 50 | 0.066007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1062-7_0_6_line_40 |  | 31 | 32 | 0.06575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1062-7_0_6_line_41 |  | 31 | 33 | 0.044025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1062-7_0_6_line_42 |  | 32 | 34 | 0.036942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1062-7_0_6_line_43 |  | 34 | 52 | 0.027649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1062-7_0_6_line_44 |  | 35 | 36 | 0.017172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1062-7_0_6_line_45 |  | 35 | 37 | 0.01789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1062-7_0_6_line_46 |  | 36 | 53 | 0.012815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1062-7_0_6_line_47 |  | 36 | 54 | 0.04919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1062-7_0_6_line_48 |  | 38 | 49 | 0.0072728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1062-7_0_6_line_49 |  | 40 | 64 | 0.026243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1062-7_0_6_line_50 |  | 41 | 55 | 0.0067952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1062-7_0_6_line_51 |  | 42 | 81 | 0.009644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1062-7_0_6_line_52 |  | 43 | 63 | 0.0054491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1062-7_0_6_line_53 |  | 45 | 46 | 0.0067456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1062-7_0_6_line_54 |  | 46 | 72 | 0.016108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1062-7_0_6_line_55 |  | 48 | 51 | 0.0084895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1062-7_0_6_line_56 |  | 50 | 60 | 0.030915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_1062-7_0_6_line_57 |  | 52 | 55 | 0.011988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1062-7_0_6_line_58 |  | 54 | 61 | 0.038102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1062-7_0_6_line_59 |  | 56 | 57 | 0.035986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1062-7_0_6_line_60 |  | 56 | 58 | 0.01066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1062-7_0_6_line_61 |  | 57 | 59 | 0.038516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1062-7_0_6_line_62 |  | 59 | 60 | 0.040751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_1062-7_0_6_line_63 |  | 60 | 61 | 0.086008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_1062-7_0_6_line_64 |  | 61 | 80 | 0.033182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1062-7_0_6_line_65 |  | 62 | 63 | 0.011623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1062-7_0_6_line_66 |  | 64 | 65 | 0.016829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1062-7_0_6_line_67 |  | 65 | 66 | 0.033518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1062-7_0_6_line_68 |  | 66 | 71 | 0.0024236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1062-7_0_6_line_69 |  | 66 | 68 | 0.012694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1062-7_0_6_line_70 |  | 67 | 68 | 0.0067005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1062-7_0_6_line_71 |  | 67 | 69 | 0.005136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1062-7_0_6_line_72 |  | 69 | 70 | 0.029152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1062-7_0_6_line_73 |  | 70 | 72 | 0.0012579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1062-7_0_6_line_74 |  | 71 | 73 | 0.035033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1062-7_0_6_line_75 |  | 73 | 74 | 0.012127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1062-7_0_6_line_76 |  | 74 | 82 | 0.021007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1062-7_0_6_line_77 |  | 75 | 76 | 0.062616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1062-7_0_6_line_78 |  | 76 | 77 | 0.035963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1062-7_0_6_line_79 |  | 77 | 78 | 0.039283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1062-7_0_6_line_80 |  | 78 | 79 | 0.0013178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1062-7_0_6_line_81 |  | 79 | 82 | 0.0068024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1062-7_0_6_trafo_61 | 0.63 MVA 20/0.4 kV | 83 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2656571.9485 | 1210159.8281 | 2656558.2218 | 1210160.5972 | 2656544.4629 | 1210161.156
1 | 2656589.278 | 1210158.8572 | 2656571.9485 | 1210159.8281
2 | 2656515.0457 | 1210162.1889 | 2656525.5962 | 1210161.9223 | 2656544.4629 | 1210161.156
3 | 2656589.278 | 1210158.8572 | 2656582.6096 | 1210087.5343
4 | 2656589.278 | 1210158.8572 | 2656590.2787 | 1210171.9411 | 2656591.2061 | 1210171.9277 | 2656594.0112 | 1210171.8654 | 2656598.6178 | 1210171.7757 | 2656601.9626 | 1210171.7073 | 2656603.1179 | 1210182.1134 | 2656600.4459 | 1210192.9835 | 2656600.9433 | 1210199.8367 | 2656601.539 | 1210202.733 | 2656602.2023 | 1210208.1314 | 2656602.1707 | 1210211.4553 | 2656601.9954 | 1210213.9107 | 2656602.7803 | 1210217.6982 | 2656603.7803 | 1210222.844
5 | 2656478.8674 | 1210164.5483 | 2656480.2077 | 1210163.4714 | 2656482.3857 | 1210163.014 | 2656515.0457 | 1210162.1889
6 | 2656582.6096 | 1210087.5343 | 2656582.0119 | 1210081.1418 | 2656582.0945 | 1210072.4263
7 | 2656601.9782 | 1210262.1838 | 2656597.6116 | 1210239.3843 | 2656594.759 | 1210230.8411 | 2656593.0648 | 1210227.5675 | 2656593.6906 | 1210227.2955 | 2656597.8731 | 1210225.4452 | 2656602.8874 | 1210223.2358 | 2656603.7803 | 1210222.844
8 | 2656603.7803 | 1210222.844 | 2656604.9725 | 1210228.4967
9 | 2656478.8674 | 1210164.5483 | 2656468.9791 | 1210159.763 | 2656464.9066 | 1210157.2229 | 2656462.5628 | 1210153.5097 | 2656458.405 | 1210131.8685 | 2656457.1089 | 1210129.0879 | 2656455.5469 | 1210127.0942 | 2656453.5721 | 1210126.1527 | 2656439.3599 | 1210125.7333
10 | 2656477.5908 | 1210199.0457 | 2656477.59 | 1210195.1211 | 2656477.5338 | 1210191.4184 | 2656477.3785 | 1210181.3331 | 2656477.3551 | 1210177.375 | 2656477.9981 | 1210166.4634 | 2656478.8674 | 1210164.5483
11 | 2656586.2729 | 1210038.9681 | 2656582.0945 | 1210072.4263
12 | 2656553.9261 | 1210251.3553 | 2656554.5337 | 1210252.9953 | 2656556.8613 | 1210256.8086 | 2656558.6757 | 1210258.6268 | 2656562.575 | 1210260.9874 | 2656564.2224 | 1210261.9814 | 2656567.5247 | 1210268.7945 | 2656570.5885 | 1210271.1027 | 2656574.0849 | 1210271.8697 | 2656577.8539 | 1210271.9388 | 2656581.867 | 1210271.1207 | 2656586.7717 | 1210269.2439 | 2656591.7902 | 1210266.5899 | 2656601.9782 | 1210262.1838
13 | 2656601.9782 | 1210262.1838 | 2656601.2302 | 1210268.1359 | 2656601.8243 | 1210279.8468
14 | 2656608.8121 | 1210250.1892 | 2656608.3583 | 1210248.2026 | 2656605.3004 | 1210230.0517 | 2656604.9725 | 1210228.4967
15 | 2656635.5254 | 1210384.6865 | 2656628.5975 | 1210355.5033 | 2656618.9968 | 1210325.2719
16 | 2656607.8048 | 1210296.9154 | 2656610.2822 | 1210296.1496 | 2656613.7982 | 1210309.2574 | 2656616.4565 | 1210317.4542 | 2656618.9968 | 1210325.2719
17 | 2656618.9968 | 1210325.2719 | 2656616.3746 | 1210326.0808 | 2656584.5407 | 1210328.8172
18 | 2656635.5254 | 1210384.6865 | 2656584.13 | 1210388.4017
19 | 2656608.1452 | 1210309.9042 | 2656609.0962 | 1210308.2011 | 2656607.8048 | 1210296.9154
20 | 2656607.0249 | 1210282.9997 | 2656610.2822 | 1210296.1496 | 2656607.8048 | 1210296.9154
21 | 2656584.5407 | 1210328.8172 | 2656578.0699 | 1210329.3734
22 | 2656460.513 | 1210198.2393 | 2656432.1252 | 1210196.9013
23 | 2656460.513 | 1210198.2393 | 2656464.2884 | 1210198.4175
24 | 2656412.491 | 1210195.9759 | 2656432.1252 | 1210196.9013
25 | 2656477.5908 | 1210199.0457 | 2656464.2884 | 1210198.4175
26 | 2656477.5908 | 1210199.0457 | 2656495.2542 | 1210199.9564
27 | 2656477.5908 | 1210199.0457 | 2656477.5686 | 1210246.0224
28 | 2656511.4031 | 1210200.789 | 2656495.2542 | 1210199.9564
29 | 2656477.5686 | 1210246.0224 | 2656477.5566 | 1210271.3726
30 | 2656511.4031 | 1210200.789 | 2656511.1106 | 1210216.4398
31 | 2656511.1106 | 1210216.4398 | 2656510.0775 | 1210271.73 | 2656511.2973 | 1210276.9446 | 2656511.3916 | 1210277.0361
32 | 2656568.3634 | 1210389.5414 | 2656584.13 | 1210388.4017
33 | 2656500.1852 | 1210007.356 | 2656498.0334 | 1210017.0859 | 2656539.288 | 1210026.8045 | 2656586.2729 | 1210038.9681
34 | 2656500.1852 | 1210007.356 | 2656481.6987 | 1210003.0049
35 | 2656502.0358 | 1209998.9463 | 2656500.1852 | 1210007.356
36 | 2656607.0249 | 1210282.9997 | 2656604.484 | 1210283.2535 | 2656603.5042 | 1210283.1887 | 2656602.7637 | 1210282.7369 | 2656601.9533 | 1210281.6397 | 2656601.8576 | 1210280.5048 | 2656601.8243 | 1210279.8468
37 | 2656414.2132 | 1210124.9911 | 2656439.3599 | 1210125.7333
38 | 2656414.2132 | 1210124.9911 | 2656414.3234 | 1210118.1547 | 2656414.0503 | 1210111.6705 | 2656412.8899 | 1210104.1772 | 2656410.7779 | 1210096.6603
39 | 2656410.7779 | 1210096.6603 | 2656410.5002 | 1210095.6718 | 2656393.2513 | 1210048.614 | 2656391.7385 | 1210043.0186 | 2656391.0126 | 1210036.9859 | 2656390.8064 | 1210034.0046
40 | 2656329.2084 | 1210192.0507 | 2656329.3319 | 1210188.6276 | 2656386.268 | 1210190.7886 | 2656387.3848 | 1210190.8325 | 2656387.6452 | 1210186.6102
41 | 2656387.6452 | 1210186.6102 | 2656388.3092 | 1210175.8545 | 2656389.1455 | 1210169.3919 | 2656391.5192 | 1210161.0982 | 2656392.5256 | 1210155.1375 | 2656392.3951 | 1210143.0778
42 | 2656329.2084 | 1210192.0507 | 2656366.1095 | 1210193.7899
43 | 2656366.1095 | 1210193.7899 | 2656393.7282 | 1210195.0916
44 | 2656330.0072 | 1210083.2932 | 2656312.786 | 1210083.1529
45 | 2656330.0072 | 1210083.2932 | 2656347.8941 | 1210083.6085
46 | 2656312.786 | 1210083.1529 | 2656313.0362 | 1210095.9656
47 | 2656312.786 | 1210083.1529 | 2656311.8342 | 1210033.9717
48 | 2656553.9261 | 1210251.3553 | 2656553.858 | 1210248.9198 | 2656552.9225 | 1210244.1748
49 | 2656551.9231 | 1210331.6209 | 2656578.0699 | 1210329.3734
50 | 2656412.491 | 1210195.9759 | 2656405.7033 | 1210195.656
51 | 2656477.552 | 1210281.0166 | 2656477.5566 | 1210271.3726
52 | 2656515.3027 | 1210280.8303 | 2656511.3916 | 1210277.0361
53 | 2656498.2509 | 1210413.8151 | 2656498.5566 | 1210407.0765
54 | 2656499.2866 | 1210390.9851 | 2656498.5566 | 1210407.0765
55 | 2656502.0358 | 1209998.9463 | 2656502.5485 | 1209996.9722 | 2656504.0597 | 1209990.7018
56 | 2656389.9254 | 1210003.2555 | 2656390.9571 | 1210006.6784 | 2656390.8937 | 1210010.1688 | 2656390.5178 | 1210029.8325 | 2656390.8064 | 1210034.0046
57 | 2656393.7282 | 1210195.0916 | 2656405.7033 | 1210195.656
58 | 2656307.782 | 1209996.4872 | 2656309.0289 | 1209998.8671 | 2656310.2644 | 1210002.4475 | 2656311.3351 | 1210008.1833 | 2656311.8342 | 1210033.9717
59 | 2656467.9744 | 1210016.6252 | 2656476.8691 | 1210018.3642 | 2656478.9886 | 1210019.2737 | 2656480.6512 | 1210021.0794 | 2656481.5258 | 1210023.4335 | 2656481.9467 | 1210026.3392 | 2656481.241 | 1210043.0387
60 | 2656480.7909 | 1210053.6891 | 2656481.241 | 1210043.0387
61 | 2656430.1741 | 1210009.2347 | 2656467.9744 | 1210016.6252
62 | 2656389.9254 | 1210003.2555 | 2656406.6562 | 1210004.6366 | 2656430.1741 | 1210009.2347
63 | 2656307.782 | 1209996.4872 | 2656316.0384 | 1209993.8413 | 2656325.7063 | 1209989.8079 | 2656333.5652 | 1209988.2033 | 2656339.0555 | 1209987.9216 | 2656383.5263 | 1209999.1704 | 2656387.7339 | 1210001.1113 | 2656389.9254 | 1210003.2555
64 | 2656307.782 | 1209996.4872 | 2656303.9988 | 1209993.0717 | 2656300.6903 | 1209990.8948 | 2656297.5814 | 1209989.3201 | 2656291.3102 | 1209987.7822 | 2656277.1284 | 1209987.9131
65 | 2656522.0785 | 1210289.9874 | 2656522.0802 | 1210289.9656 | 2656520.2667 | 1210285.6459 | 2656515.3027 | 1210280.8303
66 | 2656535.1561 | 1210333.0622 | 2656551.9231 | 1210331.6209
67 | 2656501.7765 | 1210336.101 | 2656515.0282 | 1210334.7924 | 2656535.1561 | 1210333.0622
68 | 2656501.7765 | 1210336.101 | 2656499.3638 | 1210336.3311
69 | 2656501.7765 | 1210336.101 | 2656501.2012 | 1210348.7819
70 | 2656501.2012 | 1210348.7819 | 2656500.8975 | 1210355.4755
71 | 2656500.6648 | 1210360.6062 | 2656500.8975 | 1210355.4755
72 | 2656499.3436 | 1210389.7285 | 2656500.6648 | 1210360.6062
73 | 2656499.2866 | 1210390.9851 | 2656499.3436 | 1210389.7285
74 | 2656499.3638 | 1210336.3311 | 2656464.4891 | 1210339.6561
75 | 2656452.4131 | 1210340.7694 | 2656461.5737 | 1210339.934 | 2656464.4891 | 1210339.6561
76 | 2656452.4131 | 1210340.7694 | 2656431.4927 | 1210342.6772
77 | 2656352.941 | 1210341.2305 | 2656353.3119 | 1210338.9771 | 2656352.4643 | 1210331.3535 | 2656347.635 | 1210321.2352 | 2656343.7804 | 1210310.9148 | 2656342.0966 | 1210304.9176 | 2656340.5309 | 1210296.8758 | 2656340.0989 | 1210280.8701
78 | 2656384.1662 | 1210344.8275 | 2656364.2118 | 1210345.2616 | 2656352.2798 | 1210345.2489 | 2656352.941 | 1210341.2305
79 | 2656384.1662 | 1210344.8275 | 2656398.0361 | 1210344.8475 | 2656419.8208 | 1210343.7415 | 2656423.4061 | 1210343.4146
80 | 2656423.4061 | 1210343.4146 | 2656424.7184 | 1210343.2949
81 | 2656424.7184 | 1210343.2949 | 2656431.4927 | 1210342.6772

## bus_geodata
| x | y | coords
0 | 2656571.9485 | 1210159.8281
1 | 2656544.4629 | 1210161.156
2 | 2656589.278 | 1210158.8572
3 | 2656515.0457 | 1210162.1889
4 | 2656582.6096 | 1210087.5343
5 | 2656603.7803 | 1210222.8441
6 | 2656478.8674 | 1210164.5483
7 | 2656582.0945 | 1210072.4263
8 | 2656601.9782 | 1210262.1838
9 | 2656604.9725 | 1210228.4967
10 | 2656618.9968 | 1210325.2719
11 | 2656635.5254 | 1210384.6865
12 | 2656607.8048 | 1210296.9154
13 | 2656584.5407 | 1210328.8172
14 | 2656460.513 | 1210198.2393
15 | 2656432.1252 | 1210196.9013
16 | 2656464.2884 | 1210198.4175
17 | 2656477.5908 | 1210199.0457
18 | 2656495.2542 | 1210199.9564
19 | 2656477.5686 | 1210246.0224
20 | 2656511.4031 | 1210200.789
21 | 2656511.1106 | 1210216.4398
22 | 2656584.13 | 1210388.4017
23 | 2656586.2729 | 1210038.9681
24 | 2656500.1852 | 1210007.356
25 | 2656607.0249 | 1210282.9997
26 | 2656601.8242 | 1210279.8468
27 | 2656608.1452 | 1210309.9042
28 | 2656439.3599 | 1210125.7333
29 | 2656414.2132 | 1210124.9911
30 | 2656410.7779 | 1210096.6603
31 | 2656387.6452 | 1210186.6102
32 | 2656329.2084 | 1210192.0507
33 | 2656392.3951 | 1210143.0778
34 | 2656366.1095 | 1210193.7899
35 | 2656330.0072 | 1210083.2932
36 | 2656312.786 | 1210083.1529
37 | 2656347.8941 | 1210083.6085
38 | 2656553.9261 | 1210251.3553
39 | 2656608.8121 | 1210250.1892
40 | 2656578.0699 | 1210329.3734
41 | 2656412.491 | 1210195.9759
42 | 2656477.5566 | 1210271.3726
43 | 2656511.3916 | 1210277.0361
44 | 2656568.3634 | 1210389.5414
45 | 2656498.2509 | 1210413.8151
46 | 2656498.5566 | 1210407.0765
47 | 2656481.6987 | 1210003.0049
48 | 2656502.0358 | 1209998.9463
49 | 2656552.9225 | 1210244.1748
50 | 2656390.8064 | 1210034.0046
51 | 2656504.0597 | 1209990.7018
52 | 2656393.7282 | 1210195.0916
53 | 2656313.0362 | 1210095.9656
54 | 2656311.8342 | 1210033.9717
55 | 2656405.7033 | 1210195.656
56 | 2656481.241 | 1210043.0387
57 | 2656467.9744 | 1210016.6252
58 | 2656480.7909 | 1210053.6891
59 | 2656430.1741 | 1210009.2347
60 | 2656389.9254 | 1210003.2555
61 | 2656307.782 | 1209996.4872
62 | 2656522.0785 | 1210289.9874
63 | 2656515.3027 | 1210280.8303
64 | 2656551.9231 | 1210331.6209
65 | 2656535.1561 | 1210333.0622
66 | 2656501.7765 | 1210336.101
67 | 2656500.8975 | 1210355.4755
68 | 2656501.2012 | 1210348.7819
69 | 2656500.6648 | 1210360.6062
70 | 2656499.3436 | 1210389.7285
71 | 2656499.3638 | 1210336.3311
72 | 2656499.2866 | 1210390.9851
73 | 2656464.4891 | 1210339.6561
74 | 2656452.4131 | 1210340.7694
75 | 2656340.0989 | 1210280.8701
76 | 2656352.941 | 1210341.2305
77 | 2656384.1662 | 1210344.8275
78 | 2656423.4061 | 1210343.4146
79 | 2656424.7184 | 1210343.2949
80 | 2656277.1284 | 1209987.9131
81 | 2656477.552 | 1210281.0166
82 | 2656431.4927 | 1210342.6772
83 | 2656414.2132 | 1210124.9911

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99131 | -0.16518 | 0.0020229 | 0.00050699
1 | 0.99258 | -0.14088 | 0.0014179 | 0.00035537
2 | 0.99052 | -0.18033 | 0 | 0
3 | 0.99395 | -0.11471 | 0.0015827 | 0.00039665
4 | 0.98782 | -0.23228 | 0.0018036 | 0.00045203
5 | 0.98798 | -0.22893 | 0 | 0
6 | 0.99568 | -0.081918 | 0 | 0
7 | 0.98728 | -0.2428 | 0.00045429 | 0.00011386
8 | 0.98571 | -0.27271 | 0 | 0
9 | 0.98796 | -0.22935 | 0.0026033 | 0.00065244
10 | 0.98015 | -0.38058 | 0 | 0
11 | 0.97942 | -0.39489 | 0 | 0
12 | 0.98249 | -0.33498 | 0 | 0
13 | 0.9781 | -0.42068 | 0.004458 | 0.0011173
14 | 0.99306 | -0.13236 | 0 | 0
15 | 0.99224 | -0.14827 | 0.0058217 | 0.0014591
16 | 0.99317 | -0.13024 | 0.0021242 | 0.00053237
17 | 0.99358 | -0.1223 | 0 | 0
18 | 0.99338 | -0.12615 | 0.0022303 | 0.00055896
19 | 0.99273 | -0.13882 | 0.0030911 | 0.0007747
20 | 0.99324 | -0.12904 | 0 | 0
21 | 0.99309 | -0.13184 | 0.0033074 | 0.0008289
22 | 0.97881 | -0.40685 | 0.006015 | 0.0015075
23 | 0.98608 | -0.26601 | 0 | 0
24 | 0.98251 | -0.33561 | 0 | 0
25 | 0.98371 | -0.31138 | 0 | 0
26 | 0.98428 | -0.30034 | 0.0056999 | 0.0014285
27 | 0.98244 | -0.33612 | 0.0047328 | 0.0011861
28 | 1 | 0 | -0.57503 | -0.14782
29 | 0.99732 | -0.050443 | 0 | 0
30 | 0.99426 | -0.10836 | 0.03535 | 0.0088595
31 | 0.99022 | -0.18735 | 0 | 0
32 | 0.99069 | -0.17832 | 0 | 0
33 | 0.98991 | -0.1934 | 0.00773 | 0.0019373
34 | 0.99095 | -0.17324 | 0.010595 | 0.0026553
35 | 0.9728 | -0.52287 | 0 | 0
36 | 0.97419 | -0.49546 | 0 | 0
37 | 0.97135 | -0.5515 | 0.086765 | 0.021745
38 | 0.98483 | -0.28996 | 0 | 0
39 | 0.98793 | -0.22993 | 0.0014688 | 0.00036813
40 | 0.97774 | -0.42767 | 0.0034529 | 0.00086539
41 | 0.99178 | -0.15727 | 0.0037304 | 0.00093492
42 | 0.99234 | -0.14636 | 0.0077903 | 0.0019524
43 | 0.99271 | -0.13916 | 0.0015021 | 0.00037647
44 | 0.97871 | -0.4088 | 0.0067538 | 0.0016927
45 | 0.97276 | -0.52555 | 0.0041736 | 0.001046
46 | 0.97279 | -0.52503 | 0.0053265 | 0.0013349
47 | 0.98187 | -0.34814 | 0.036539 | 0.0091574
48 | 0.98249 | -0.3359 | 0 | 0
49 | 0.98472 | -0.29204 | 0.015964 | 0.004001
50 | 0.98793 | -0.22893 | 0.029002 | 0.0072686
51 | 0.98248 | -0.33619 | 0.0019021 | 0.00047672
52 | 0.99142 | -0.16425 | 0.0020156 | 0.00050515
53 | 0.97419 | -0.49555 | 0.0003476 | 8.7117e-05
54 | 0.9782 | -0.41709 | 0.004303 | 0.0010784
55 | 0.99164 | -0.15993 | 0.0017585 | 0.00044071
56 | 0.97323 | -0.51501 | 0.023271 | 0.0058321
57 | 0.97678 | -0.44529 | 0.032459 | 0.0081349
58 | 0.97241 | -0.53119 | 0.082401 | 0.020652
59 | 0.98173 | -0.34859 | 0.047145 | 0.011816
60 | 0.98525 | -0.28057 | 0 | 0
61 | 0.98145 | -0.35385 | 0 | 0
62 | 0.99265 | -0.14046 | 0.0038042 | 0.00095342
63 | 0.99269 | -0.13967 | 0.0015024 | 0.00037653
64 | 0.97638 | -0.45434 | 0.0022741 | 0.00056995
65 | 0.97554 | -0.47078 | 0.0031222 | 0.00078249
66 | 0.97397 | -0.50168 | 0 | 0
67 | 0.97352 | -0.51048 | 0.0023591 | 0.00059126
68 | 0.97367 | -0.50761 | 0.0021539 | 0.00053982
69 | 0.97342 | -0.51245 | 0.0034464 | 0.00086375
70 | 0.97295 | -0.52182 | 0.00057321 | 0.00014366
71 | 0.97391 | -0.50278 | 0.0036656 | 0.00091869
72 | 0.97293 | -0.52221 | 0.0073932 | 0.0018529
73 | 0.97322 | -0.51641 | 0.0034955 | 0.00087605
74 | 0.97302 | -0.52036 | 0.0013845 | 0.00034698
75 | 0.97214 | -0.53775 | 0.0036924 | 0.00092541
76 | 0.97236 | -0.53348 | 0 | 0
77 | 0.97248 | -0.53103 | 0 | 0
78 | 0.97262 | -0.52836 | 0.0013842 | 0.0003469
79 | 0.97263 | -0.52823 | 0.0075322 | 0.0018878
80 | 0.98135 | -0.35572 | 0.0031194 | 0.0007818
81 | 0.99226 | -0.1479 | 0.009019 | 0.0022604
82 | 0.97271 | -0.52665 | 0.0036656 | 0.00091869
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15124 | -0.038558 | 0.15142 | 0.038671 | 0.00017764 | 0.00011263 | 0.22725 | 0.22725 | 0.22725 | 0.99131 | -0.16518 | 0.99258 | -0.14088 | 20.8105
1 | 0.14921 | 0.038051 | -0.14911 | -0.037982 | 0.00010907 | 6.9134e-05 | 0.22421 | 0.22421 | 0.22421 | 0.99131 | -0.16518 | 0.99052 | -0.18033 | 20.5325
2 | -0.15283 | -0.039026 | 0.15303 | 0.039149 | 0.00019359 | 0.00012276 | 0.22938 | 0.22938 | 0.22938 | 0.99258 | -0.14088 | 0.99395 | -0.11471 | 21.0051
3 | 0.041013 | 0.010398 | -0.040911 | -0.010334 | 0.00010212 | 6.4435e-05 | 0.061655 | 0.061656 | 0.061656 | 0.99052 | -0.18033 | 0.98782 | -0.23228 | 16.9384
4 | 0.10809 | 0.027584 | -0.10784 | -0.027425 | 0.00025314 | 0.00015906 | 0.16256 | 0.16256 | 0.16256 | 0.99052 | -0.18033 | 0.98798 | -0.22893 | 14.8865
5 | -0.15461 | -0.039546 | 0.15486 | 0.039702 | 0.00024581 | 0.00015589 | 0.23175 | 0.23174 | 0.23175 | 0.99395 | -0.11471 | 0.99568 | -0.081918 | 21.2221
6 | 0.039108 | 0.0098817 | -0.039088 | -0.0098693 | 1.9718e-05 | 1.2426e-05 | 0.058939 | 0.058939 | 0.058939 | 0.98782 | -0.23228 | 0.98728 | -0.2428 | 16.192
7 | 0.10377 | 0.026405 | -0.10355 | -0.026266 | 0.00021847 | 0.0001386 | 0.15643 | 0.15643 | 0.15643 | 0.98798 | -0.22893 | 0.98571 | -0.27271 | 21.4873
8 | 0.0040722 | 0.0010203 | -0.0040721 | -0.0010203 | 8.1489e-08 | -2.1825e-08 | 0.0061331 | 0.0061331 | 0.0061331 | 0.98798 | -0.22893 | 0.98796 | -0.22935 | 1.6849
9 | -0.22111 | -0.05639 | 0.22199 | 0.056949 | 0.00087836 | 0.00055964 | 0.33079 | 0.33079 | 0.33079 | 0.99568 | -0.081918 | 1 | 0 | 30.2919
10 | 0.066253 | 0.016688 | -0.066125 | -0.016607 | 0.00012767 | 8.1258e-05 | 0.099043 | 0.099043 | 0.099043 | 0.99568 | -0.081918 | 0.99358 | -0.1223 | 27.2097
11 | 0.038634 | 0.0097554 | -0.038591 | -0.0097284 | 4.2909e-05 | 2.7031e-05 | 0.058254 | 0.058254 | 0.058254 | 0.98728 | -0.2428 | 0.98608 | -0.26601 | 16.0039
12 | 0.015979 | 0.0040095 | -0.015966 | -0.0040019 | 1.3126e-05 | 7.6344e-06 | 0.024123 | 0.024123 | 0.024123 | 0.98571 | -0.27271 | 0.98483 | -0.28996 | 6.6273
13 | 0.08757 | 0.022257 | -0.087453 | -0.022182 | 0.00011635 | 7.4238e-05 | 0.1323 | 0.1323 | 0.1323 | 0.98571 | -0.27271 | 0.98428 | -0.30034 | 36.3475
14 | 0.0014689 | 0.00036787 | -0.0014688 | -0.00036813 | 4.044e-08 | -2.5626e-07 | 0.0022123 | 0.0022124 | 0.0022124 | 0.98796 | -0.22935 | 0.98793 | -0.22993 | 0.60779
15 | 0.012785 | 0.0032092 | -0.012777 | -0.0032044 | 8.7205e-06 | 4.8039e-06 | 0.019412 | 0.019412 | 0.019412 | 0.98015 | -0.38058 | 0.97942 | -0.39489 | 5.333
16 | -0.076716 | -0.019374 | 0.076884 | 0.019481 | 0.00016802 | 0.00010712 | 0.11652 | 0.11652 | 0.11652 | 0.98015 | -0.38058 | 0.98249 | -0.33498 | 32.011
17 | 0.063931 | 0.016165 | -0.063808 | -0.016086 | 0.00012269 | 7.8086e-05 | 0.097108 | 0.097108 | 0.097108 | 0.98015 | -0.38058 | 0.9781 | -0.42068 | 26.678
18 | 0.012777 | 0.0032044 | -0.012769 | -0.0032004 | 7.2819e-06 | 4.0123e-06 | 0.019412 | 0.019412 | 0.019412 | 0.97942 | -0.39489 | 0.97881 | -0.40685 | 5.3331
19 | 0.004733 | 0.0011861 | -0.0047328 | -0.0011861 | 2.565e-07 | -4.4032e-09 | 0.0071683 | 0.0071684 | 0.0071684 | 0.98249 | -0.33498 | 0.98244 | -0.33612 | 1.9693
20 | -0.081617 | -0.020667 | 0.08171 | 0.020726 | 9.2597e-05 | 5.9058e-05 | 0.12369 | 0.12369 | 0.12369 | 0.98249 | -0.33498 | 0.98371 | -0.31138 | 33.9802
21 | 0.05935 | 0.014969 | -0.05933 | -0.014957 | 1.9871e-05 | 1.2636e-05 | 0.090326 | 0.090326 | 0.090326 | 0.9781 | -0.42068 | 0.97774 | -0.42767 | 24.8148
22 | 0.031708 | 0.0079662 | -0.031684 | -0.0079511 | 2.4065e-05 | 1.5034e-05 | 0.047519 | 0.047519 | 0.047519 | 0.99306 | -0.13236 | 0.99224 | -0.14827 | 13.0547
23 | -0.031708 | -0.0079662 | 0.031712 | 0.0079682 | 3.2004e-06 | 1.9994e-06 | 0.047519 | 0.047519 | 0.047519 | 0.99306 | -0.13236 | 0.99317 | -0.13024 | 13.0547
24 | 0.025863 | 0.0064921 | -0.025852 | -0.0064852 | 1.109e-05 | 6.8439e-06 | 0.038789 | 0.038789 | 0.038789 | 0.99224 | -0.14827 | 0.99178 | -0.15727 | 10.6563
25 | -0.033836 | -0.0085005 | 0.033849 | 0.0085086 | 1.2838e-05 | 8.0438e-06 | 0.050702 | 0.050702 | 0.050702 | 0.99317 | -0.13024 | 0.99358 | -0.1223 | 13.929
26 | 0.012354 | 0.0030975 | -0.012352 | -0.0030963 | 2.2705e-06 | 1.2241e-06 | 0.018502 | 0.018502 | 0.018502 | 0.99358 | -0.1223 | 0.99338 | -0.12615 | 5.083
27 | 0.019923 | 0.0050008 | -0.019907 | -0.0049914 | 1.5686e-05 | 9.4309e-06 | 0.02984 | 0.02984 | 0.02984 | 0.99358 | -0.1223 | 0.99273 | -0.13882 | 8.1978
28 | 0.010121 | 0.0025373 | -0.01012 | -0.0025367 | 1.3939e-06 | 6.8278e-07 | 0.015161 | 0.015161 | 0.015161 | 0.99338 | -0.12615 | 0.99324 | -0.12904 | 4.1652
29 | 0.016816 | 0.0042167 | -0.01681 | -0.0042131 | 6.0401e-06 | 3.538e-06 | 0.025207 | 0.025207 | 0.025207 | 0.99273 | -0.13882 | 0.99234 | -0.14636 | 6.9249
30 | 0.01012 | 0.0025367 | -0.010119 | -0.002536 | 1.3494e-06 | 6.6102e-07 | 0.015161 | 0.015162 | 0.015162 | 0.99324 | -0.12904 | 0.99309 | -0.13184 | 4.1653
31 | 0.0068113 | 0.0017071 | -0.0068089 | -0.0017064 | 2.3744e-06 | 7.3341e-07 | 0.010206 | 0.010206 | 0.010206 | 0.99309 | -0.13184 | 0.99271 | -0.13916 | 2.8039
32 | 0.0067545 | 0.0016929 | -0.0067538 | -0.0016927 | 6.2504e-07 | 2.0135e-07 | 0.010268 | 0.010268 | 0.010268 | 0.97881 | -0.40685 | 0.97871 | -0.4088 | 2.821
33 | 0.038591 | 0.0097284 | -0.038463 | -0.0096477 | 0.00012807 | 8.0683e-05 | 0.058254 | 0.058255 | 0.058255 | 0.98608 | -0.26601 | 0.98251 | -0.33561 | 16.0041
34 | 0.03656 | 0.0091712 | -0.036539 | -0.0091574 | 2.1838e-05 | 1.3736e-05 | 0.055374 | 0.055374 | 0.055374 | 0.98251 | -0.33561 | 0.98187 | -0.34814 | 15.2126
35 | 0.0019022 | 0.00047654 | -0.0019022 | -0.00047663 | 2.6802e-08 | -9.1911e-08 | 0.0028808 | 0.0028809 | 0.0028809 | 0.98251 | -0.33561 | 0.98249 | -0.3359 | 0.79144
36 | -0.08171 | -0.020726 | 0.081753 | 0.020754 | 4.3399e-05 | 2.7679e-05 | 0.12369 | 0.12369 | 0.12369 | 0.98371 | -0.31138 | 0.98428 | -0.30034 | 33.9802
37 | 0.35139 | 0.090872 | -0.35053 | -0.090321 | 0.00086307 | 0.00055137 | 0.52388 | 0.52388 | 0.52388 | 1 | 0 | 0.99732 | -0.050443 | 47.9744
38 | 0.35053 | 0.090321 | -0.34955 | -0.089691 | 0.0009852 | 0.00062941 | 0.52388 | 0.52388 | 0.52388 | 0.99732 | -0.050443 | 0.99426 | -0.10836 | 47.9744
39 | 0.3142 | 0.080832 | -0.31237 | -0.079663 | 0.0018302 | 0.0011688 | 0.47098 | 0.47098 | 0.47098 | 0.99426 | -0.10836 | 0.98793 | -0.22893 | 43.1298
40 | -0.0077323 | -0.0019382 | 0.0077356 | 0.0019395 | 3.3288e-06 | 1.2842e-06 | 0.011619 | 0.011619 | 0.011619 | 0.99022 | -0.18735 | 0.99069 | -0.17832 | 3.1922
41 | 0.0077323 | 0.0019382 | -0.00773 | -0.0019373 | 2.229e-06 | 8.6039e-07 | 0.011619 | 0.01162 | 0.01162 | 0.99022 | -0.18735 | 0.98991 | -0.1934 | 3.1922
42 | -0.0077356 | -0.0019395 | 0.0077375 | 0.0019402 | 1.8702e-06 | 7.2115e-07 | 0.011619 | 0.011619 | 0.011619 | 0.99069 | -0.17832 | 0.99095 | -0.17324 | 3.1921
43 | -0.018332 | -0.0045955 | 0.01834 | 0.0046002 | 7.8573e-06 | 4.6723e-06 | 0.027528 | 0.027528 | 0.027528 | 0.99095 | -0.17324 | 0.99142 | -0.16425 | 7.5627
44 | -0.086883 | -0.021821 | 0.086997 | 0.021893 | 0.00011376 | 7.2594e-05 | 0.13291 | 0.13291 | 0.13291 | 0.9728 | -0.52287 | 0.97419 | -0.49546 | 36.515
45 | 0.086883 | 0.021821 | -0.086765 | -0.021745 | 0.00011852 | 7.5628e-05 | 0.13291 | 0.13291 | 0.13291 | 0.9728 | -0.52287 | 0.97135 | -0.5515 | 36.515
46 | 0.0003476 | 8.6959e-05 | -0.0003476 | -8.7117e-05 | 1.3546e-09 | -1.5869e-07 | 0.00053088 | 0.00053094 | 0.00053094 | 0.97419 | -0.49546 | 0.97419 | -0.49555 | 0.14586
47 | -0.087345 | -0.02198 | 0.087673 | 0.02219 | 0.00032849 | 0.00020962 | 0.13345 | 0.13345 | 0.13345 | 0.97419 | -0.49546 | 0.9782 | -0.41709 | 36.6608
48 | 0.015966 | 0.0040019 | -0.015964 | -0.004001 | 1.5871e-06 | 9.2322e-07 | 0.024123 | 0.024123 | 0.024123 | 0.98483 | -0.28996 | 0.98472 | -0.29204 | 6.6273
49 | 0.055877 | 0.014091 | -0.055806 | -0.014046 | 7.1222e-05 | 4.5253e-05 | 0.085071 | 0.085071 | 0.085071 | 0.97774 | -0.42767 | 0.97638 | -0.45434 | 23.3712
50 | 0.022121 | 0.0055503 | -0.022118 | -0.0055486 | 2.8074e-06 | 1.709e-06 | 0.033192 | 0.033192 | 0.033192 | 0.99178 | -0.15727 | 0.99164 | -0.15993 | 9.1187
51 | 0.0090197 | 0.0022607 | -0.009019 | -0.0022604 | 6.6156e-07 | 2.9882e-07 | 0.013525 | 0.013525 | 0.013525 | 0.99234 | -0.14636 | 0.99226 | -0.1479 | 3.7157
52 | 0.0053068 | 0.0013299 | -0.0053067 | -0.0013299 | 1.293e-07 | 1.2302e-08 | 0.0079546 | 0.0079546 | 0.0079546 | 0.99271 | -0.13916 | 0.99269 | -0.13967 | 2.1853
53 | -0.0041736 | -0.001046 | 0.0041737 | 0.001046 | 1.031e-07 | -1.7759e-08 | 0.0063842 | 0.0063842 | 0.0063842 | 0.97276 | -0.52555 | 0.97279 | -0.52503 | 1.7539
54 | -0.0095002 | -0.0023809 | 0.0095015 | 0.0023815 | 1.2756e-06 | 6.1637e-07 | 0.014532 | 0.014532 | 0.014532 | 0.97279 | -0.52503 | 0.97293 | -0.52221 | 3.9923
55 | 0.0019022 | 0.00047663 | -0.0019021 | -0.00047672 | 2.6422e-08 | -9.06e-08 | 0.0028809 | 0.0028809 | 0.0028809 | 0.98249 | -0.3359 | 0.98248 | -0.33619 | 0.79145
56 | 0.28336 | 0.072394 | -0.28266 | -0.071944 | 0.00070557 | 0.00045038 | 0.4273 | 0.4273 | 0.4273 | 0.98793 | -0.22893 | 0.98525 | -0.28057 | 39.1296
57 | -0.020356 | -0.0051053 | 0.02036 | 0.0051079 | 4.1967e-06 | 2.5313e-06 | 0.030553 | 0.030553 | 0.030553 | 0.99142 | -0.16425 | 0.99164 | -0.15993 | 8.3938
58 | -0.091976 | -0.023268 | 0.092256 | 0.023447 | 0.00028001 | 0.00017873 | 0.13999 | 0.13999 | 0.13999 | 0.9782 | -0.41709 | 0.98145 | -0.35385 | 38.459
59 | -0.10573 | -0.026524 | 0.10609 | 0.02675 | 0.00035272 | 0.00022529 | 0.16167 | 0.16167 | 0.16167 | 0.97323 | -0.51501 | 0.97678 | -0.44529 | 44.4152
60 | 0.082464 | 0.020692 | -0.082401 | -0.020652 | 6.3556e-05 | 4.0544e-05 | 0.12609 | 0.12609 | 0.12609 | 0.97323 | -0.51501 | 0.97241 | -0.53119 | 34.6407
61 | -0.13855 | -0.034884 | 0.13919 | 0.035296 | 0.00064376 | 0.00041152 | 0.21112 | 0.21112 | 0.21112 | 0.97678 | -0.44529 | 0.98173 | -0.34859 | 57.9996
62 | -0.18634 | -0.047112 | 0.18695 | 0.047501 | 0.00061011 | 0.00038944 | 0.28258 | 0.28258 | 0.28258 | 0.98173 | -0.34859 | 0.98525 | -0.28057 | 38.8154
63 | 0.095713 | 0.024443 | -0.095376 | -0.024229 | 0.00033775 | 0.00021398 | 0.14472 | 0.14472 | 0.14472 | 0.98525 | -0.28057 | 0.98145 | -0.35385 | 19.8792
64 | 0.0031197 | 0.00078156 | -0.0031194 | -0.0007818 | 2.7838e-07 | -2.4112e-07 | 0.0047298 | 0.00473 | 0.00473 | 0.98145 | -0.35385 | 0.98135 | -0.35572 | 1.2994
65 | -0.0038042 | -0.00095342 | 0.0038043 | 0.00095336 | 1.4174e-07 | -5.9542e-08 | 0.0057026 | 0.0057026 | 0.0057026 | 0.99265 | -0.14046 | 0.99269 | -0.13967 | 1.5667
66 | 0.053532 | 0.013476 | -0.05349 | -0.013449 | 4.2026e-05 | 2.6686e-05 | 0.081605 | 0.081605 | 0.081605 | 0.97638 | -0.45434 | 0.97554 | -0.47078 | 22.419
67 | 0.050368 | 0.012667 | -0.050294 | -0.01262 | 7.422e-05 | 4.7083e-05 | 0.076843 | 0.076843 | 0.076843 | 0.97554 | -0.47078 | 0.97397 | -0.50168 | 21.1108
68 | 0.024846 | 0.0062344 | -0.024845 | -0.0062335 | 1.3098e-06 | 8.0808e-07 | 0.037962 | 0.037962 | 0.037962 | 0.97397 | -0.50168 | 0.97391 | -0.50278 | 10.4291
69 | 0.025448 | 0.0063854 | -0.025441 | -0.0063809 | 7.1963e-06 | 4.4477e-06 | 0.038881 | 0.038881 | 0.038881 | 0.97397 | -0.50168 | 0.97367 | -0.50761 | 10.6817
70 | -0.023283 | -0.0058391 | 0.023287 | 0.0058411 | 3.1826e-06 | 1.9536e-06 | 0.03559 | 0.03559 | 0.03559 | 0.97352 | -0.51048 | 0.97367 | -0.50761 | 9.7774
71 | 0.020924 | 0.0052479 | -0.020922 | -0.0052467 | 1.9702e-06 | 1.1971e-06 | 0.031984 | 0.031984 | 0.031984 | 0.97352 | -0.51048 | 0.97342 | -0.51245 | 8.7868
72 | 0.017476 | 0.0043829 | -0.017468 | -0.0043783 | 7.8025e-06 | 4.6314e-06 | 0.026716 | 0.026716 | 0.026716 | 0.97342 | -0.51245 | 0.97295 | -0.52182 | 7.3395
73 | 0.016895 | 0.0042346 | -0.016895 | -0.0042344 | 3.1494e-07 | 1.8594e-07 | 0.025839 | 0.025839 | 0.025839 | 0.97295 | -0.52182 | 0.97293 | -0.52221 | 7.0986
74 | 0.021179 | 0.0053149 | -0.021165 | -0.0053065 | 1.3758e-05 | 8.3695e-06 | 0.032361 | 0.032361 | 0.032361 | 0.97391 | -0.50278 | 0.97322 | -0.51641 | 8.8905
75 | 0.01767 | 0.0044304 | -0.017666 | -0.0044285 | 3.3194e-06 | 1.9738e-06 | 0.027017 | 0.027017 | 0.027017 | 0.97322 | -0.51641 | 0.97302 | -0.52036 | 7.4222
76 | 0.016282 | 0.0040815 | -0.016277 | -0.0040786 | 4.8842e-06 | 2.865e-06 | 0.0249 | 0.0249 | 0.0249 | 0.97302 | -0.52036 | 0.97271 | -0.52665 | 6.8406
77 | -0.0036924 | -0.00092541 | 0.0036932 | 0.00092511 | 7.5002e-07 | -2.9651e-07 | 0.0056518 | 0.0056515 | 0.0056518 | 0.97214 | -0.53775 | 0.97236 | -0.53348 | 1.5527
78 | -0.0036932 | -0.00092511 | 0.0036936 | 0.00092494 | 4.3074e-07 | -1.7048e-07 | 0.0056515 | 0.0056514 | 0.0056515 | 0.97236 | -0.53348 | 0.97248 | -0.53103 | 1.5526
79 | -0.0036936 | -0.00092494 | 0.0036941 | 0.00092475 | 4.7046e-07 | -1.8636e-07 | 0.0056514 | 0.0056512 | 0.0056514 | 0.97248 | -0.53103 | 0.97262 | -0.52836 | 1.5526
80 | -0.0050782 | -0.0012717 | 0.0050783 | 0.0012717 | 2.9825e-08 | 2.7335e-09 | 0.0077688 | 0.0077688 | 0.0077688 | 0.97262 | -0.52836 | 0.97263 | -0.52823 | 2.1343
81 | -0.01261 | -0.0031594 | 0.012611 | 0.0031599 | 9.4943e-07 | 5.232e-07 | 0.019292 | 0.019292 | 0.019292 | 0.97263 | -0.52823 | 0.97271 | -0.52665 | 5.3001

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.6072 | 0.15588

## res_load
| p_mw | q_mvar
0 | 0.0020229 | 0.00050699
1 | 0.0014179 | 0.00035537
2 | 0.0015827 | 0.00039665
3 | 0.0018036 | 0.00045203
4 | 0.00045429 | 0.00011386
5 | 0.0026033 | 0.00065244
6 | 0.004458 | 0.0011173
7 | 0.0058217 | 0.0014591
8 | 0.0021242 | 0.00053237
9 | 0.0022303 | 0.00055896
10 | 0.0030911 | 0.0007747
11 | 0.0033074 | 0.0008289
12 | 0.006015 | 0.0015075
13 | 0.0056999 | 0.0014285
14 | 0.0047328 | 0.0011861
15 | 0.032168 | 0.008062
16 | 0.03535 | 0.0088595
17 | 0.00773 | 0.0019373
18 | 0.010595 | 0.0026553
19 | 0.086765 | 0.021745
20 | 0.0014688 | 0.00036813
21 | 0.0034529 | 0.00086539
22 | 0.0037304 | 0.00093492
23 | 0.0077903 | 0.0019524
24 | 0.0015021 | 0.00037647
25 | 0.0067538 | 0.0016927
26 | 0.0041736 | 0.001046
27 | 0.0053265 | 0.0013349
28 | 0.036539 | 0.0091574
29 | 0.015964 | 0.004001
30 | 0.029002 | 0.0072686
31 | 0.0019021 | 0.00047672
32 | 0.0020156 | 0.00050515
33 | 0.0003476 | 8.7117e-05
34 | 0.004303 | 0.0010784
35 | 0.0017585 | 0.00044071
36 | 0.023271 | 0.0058321
37 | 0.032459 | 0.0081349
38 | 0.082401 | 0.020652
39 | 0.047145 | 0.011816
40 | 0.0038042 | 0.00095342
41 | 0.0015024 | 0.00037653
42 | 0.0022741 | 0.00056995
43 | 0.0031222 | 0.00078249
44 | 0.0023591 | 0.00059126
45 | 0.0021539 | 0.00053982
46 | 0.0034464 | 0.00086375
47 | 0.00057321 | 0.00014366
48 | 0.0036656 | 0.00091869
49 | 0.0073932 | 0.0018529
50 | 0.0034955 | 0.00087605
51 | 0.0013845 | 0.00034698
52 | 0.0036924 | 0.00092541
53 | 0.0013842 | 0.0003469
54 | 0.0075322 | 0.0018878
55 | 0.0031194 | 0.0007818
56 | 0.009019 | 0.0022604
57 | 0.0036656 | 0.00091869

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1