## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1062-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1062-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1062-9_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1062-9_0_4_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1062-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1062-9_0_4_node_81 | 0.4 | n |  | TRUE
6 | bus_LV_1062-9_0_4_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_1062-9_0_4_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_1062-9_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1062-9_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1062-9_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1062-9_0_4_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_1062-9_0_4_node_83 | 0.4 | n |  | TRUE
13 | bus_LV_1062-9_0_4_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_1062-9_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1062-9_0_4_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_1062-9_0_4_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_1062-9_0_4_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_1062-9_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_1062-9_0_4_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_1062-9_0_4_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_1062-9_0_4_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_1062-9_0_4_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_1062-9_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_1062-9_0_4_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_1062-9_0_4_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_1062-9_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_1062-9_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1062-9_0_4_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_1062-9_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_1062-9_0_4_node_79 | 0.4 | n |  | TRUE
31 | bus_LV_1062-9_0_4_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_1062-9_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1062-9_0_4_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_1062-9_0_4_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_1062-9_0_4_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_1062-9_0_4_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_1062-9_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1062-9_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1062-9_0_4_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_1062-9_0_4_node_8 | 0.4 | n |  | TRUE
41 | bus_LV_1062-9_0_4_node_13 | 0.4 | n |  | TRUE
42 | bus_LV_1062-9_0_4_node_14 | 0.4 | n |  | TRUE
43 | bus_LV_1062-9_0_4_node_15 | 0.4 | n |  | TRUE
44 | bus_LV_1062-9_0_4_node_16 | 0.4 | n |  | TRUE
45 | bus_LV_1062-9_0_4_node_17 | 0.4 | n |  | TRUE
46 | bus_LV_1062-9_0_4_node_18 | 0.4 | n |  | TRUE
47 | bus_LV_1062-9_0_4_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_1062-9_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_1062-9_0_4_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_1062-9_0_4_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_1062-9_0_4_node_19 | 0.4 | n |  | TRUE
52 | bus_LV_1062-9_0_4_node_20 | 0.4 | n |  | TRUE
53 | bus_LV_1062-9_0_4_node_21 | 0.4 | n |  | TRUE
54 | bus_LV_1062-9_0_4_node_22 | 0.4 | n |  | TRUE
55 | bus_LV_1062-9_0_4_node_24 | 0.4 | n |  | TRUE
56 | bus_LV_1062-9_0_4_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_1062-9_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_1062-9_0_4_node_26 | 0.4 | n |  | TRUE
59 | bus_LV_1062-9_0_4_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_1062-9_0_4_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_1062-9_0_4_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_1062-9_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_1062-9_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_1062-9_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_1062-9_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_1062-9_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_1062-9_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_1062-9_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_1062-9_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1062-9_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_1062-9_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_1062-9_0_4_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_1062-9_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_1062-9_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_MV_2_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1062-9_0_4_load_0 | 0 | 0.0080217 | 0.0020104 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1062-9_0_4_load_81 | 5 | 0.026422 | 0.0066219 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1062-9_0_4_load_43 | 7 | 0.0084917 | 0.0021282 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1062-9_0_4_load_68 | 11 | 0.005387 | 0.0013501 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1062-9_0_4_load_83 | 12 | 0.01559 | 0.0039072 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1062-9_0_4_load_77 | 13 | 0.011225 | 0.0028132 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1062-9_0_4_load_9 | 14 | 0.011074 | 0.0027754 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1062-9_0_4_load_49 | 17 | 0.0084496 | 0.0021177 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1062-9_0_4_load_76 | 19 | 0.0064082 | 0.0016061 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1062-9_0_4_load_46 | 21 | 0.0054117 | 0.0013563 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1062-9_0_4_load_45 | 22 | 0.0087893 | 0.0022028 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1062-9_0_4_load_80 | 25 | 0.020283 | 0.0050834 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1062-9_0_4_load_10 | 28 | 0.007619 | 0.0019095 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1062-9_0_4_load_78 | 31 | 0.0046722 | 0.001171 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1062-9_0_4_load_73 | 33 | 0.016919 | 0.0042403 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1062-9_0_4_load_56 | 34 | 0.0093808 | 0.0023511 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1062-9_0_4_load_62 | 36 | 0.0050692 | 0.0012705 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1062-9_0_4_load_29 | 37 | 0.0037787 | 0.00094703 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1062-9_0_4_load_25 | 38 | 0.0060071 | 0.0015055 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1062-9_0_4_load_8 | 40 | 0.0056882 | 0.0014256 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1062-9_0_4_load_13 | 41 | 0.0077347 | 0.0019385 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1062-9_0_4_load_14 | 42 | 0.0069249 | 0.0017355 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1062-9_0_4_load_16 | 44 | 0.0051623 | 0.0012938 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1062-9_0_4_load_17 | 45 | 0.0061118 | 0.0015318 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1062-9_0_4_load_18 | 46 | 0.012041 | 0.0030177 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1062-9_0_4_load_48 | 49 | 0.0039358 | 0.00098641 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1062-9_0_4_load_72 | 50 | 0.011047 | 0.0027687 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1062-9_0_4_load_19 | 51 | 0.0066673 | 0.001671 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1062-9_0_4_load_20 | 52 | 0.010225 | 0.0025627 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1062-9_0_4_load_22 | 54 | 0.0034649 | 0.0008684 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1062-9_0_4_load_82 | 56 | 0.0082402 | 0.0020652 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1062-9_0_4_load_26 | 58 | 0.010622 | 0.0026621 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1062-9_0_4_load_28 | 59 | 0.010627 | 0.0026635 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1062-9_0_4_load_63 | 60 | 0.018836 | 0.0047207 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1062-9_0_4_load_57 | 62 | 0.003181 | 0.00079723 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1062-9_0_4_load_58 | 63 | 0.0096779 | 0.0024255 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1062-9_0_4_load_64 | 64 | 0.0078416 | 0.0019653 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1062-9_0_4_load_60 | 65 | 0.012585 | 0.0031541 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1062-9_0_4_load_50 | 67 | 0.0041387 | 0.0010373 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1062-9_0_4_load_51 | 68 | 0.016823 | 0.0042163 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1062-9_0_4_load_59 | 69 | 0.012242 | 0.0030681 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1062-9_0_4_load_61 | 70 | 0.012462 | 0.0031233 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1062-9_0_4_load_65 | 71 | 0.0093807 | 0.002351 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1062-9_0_4_load_67 | 72 | 0.0094868 | 0.0023776 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1062-9_0_4_load_69 | 73 | 0.010497 | 0.0026309 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1062-9_0_4_load_74 | 74 | 0.0093771 | 0.0023501 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1062-9_0_4_line_0 |  | 0 | 1 | 0.029722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1062-9_0_4_line_1 |  | 1 | 2 | 0.042492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1062-9_0_4_line_2 |  | 2 | 3 | 0.029575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1062-9_0_4_line_3 |  | 2 | 4 | 0.036515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1062-9_0_4_line_4 |  | 2 | 5 | 0.016614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1062-9_0_4_line_5 |  | 3 | 12 | 0.015921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1062-9_0_4_line_6 |  | 4 | 6 | 0.021829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1062-9_0_4_line_7 |  | 4 | 7 | 0.02185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1062-9_0_4_line_8 |  | 6 | 13 | 0.02858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1062-9_0_4_line_9 |  | 7 | 8 | 0.035099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1062-9_0_4_line_10 |  | 8 | 9 | 0.003858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1062-9_0_4_line_11 |  | 9 | 14 | 0.019423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1062-9_0_4_line_12 |  | 9 | 10 | 0.02713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1062-9_0_4_line_13 |  | 10 | 11 | 0.012401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1062-9_0_4_line_14 |  | 11 | 39 | 0.027994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1062-9_0_4_line_15 |  | 13 | 16 | 0.027724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1062-9_0_4_line_16 |  | 14 | 40 | 0.028061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1062-9_0_4_line_17 |  | 15 | 16 | 0.004639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1062-9_0_4_line_18 |  | 15 | 17 | 0.025403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1062-9_0_4_line_19 |  | 16 | 47 | 0.019298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1062-9_0_4_line_20 |  | 17 | 48 | 0.017819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1062-9_0_4_line_21 |  | 18 | 19 | 0.046034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1062-9_0_4_line_22 |  | 18 | 20 | 0.008755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1062-9_0_4_line_23 |  | 20 | 21 | 0.024148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1062-9_0_4_line_24 |  | 20 | 22 | 0.0082777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1062-9_0_4_line_25 |  | 21 | 63 | 0.021969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1062-9_0_4_line_26 |  | 22 | 23 | 0.093511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1062-9_0_4_line_27 |  | 23 | 24 | 0.035631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1062-9_0_4_line_28 |  | 24 | 25 | 0.047596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1062-9_0_4_line_29 |  | 24 | 26 | 0.007556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1062-9_0_4_line_30 |  | 26 | 27 | 0.021679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1062-9_0_4_line_31 |  | 26 | 28 | 0.01441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1062-9_0_4_line_32 |  | 27 | 33 | 0.025027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1062-9_0_4_line_33 |  | 27 | 34 | 0.060881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1062-9_0_4_line_34 |  | 28 | 40 | 0.033189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1062-9_0_4_line_35 |  | 29 | 30 | 0.005096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1062-9_0_4_line_36 |  | 29 | 31 | 0.020551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1062-9_0_4_line_37 |  | 29 | 32 | 0.0077637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1062-9_0_4_line_38 |  | 30 | 60 | 0.023047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1062-9_0_4_line_39 |  | 31 | 35 | 0.018829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1062-9_0_4_line_40 |  | 32 | 37 | 0.012159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1062-9_0_4_line_41 |  | 32 | 38 | 0.011637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1062-9_0_4_line_42 |  | 33 | 61 | 0.015142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1062-9_0_4_line_43 |  | 34 | 59 | 0.035013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1062-9_0_4_line_44 |  | 35 | 36 | 0.049652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1062-9_0_4_line_45 |  | 36 | 65 | 0.063968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1062-9_0_4_line_46 |  | 38 | 58 | 0.014898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1062-9_0_4_line_47 |  | 39 | 73 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1062-9_0_4_line_48 |  | 39 | 71 | 0.025008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1062-9_0_4_line_49 |  | 41 | 42 | 0.0024478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1062-9_0_4_line_50 |  | 41 | 43 | 0.022096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1062-9_0_4_line_51 |  | 42 | 44 | 0.025811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1062-9_0_4_line_52 |  | 43 | 45 | 0.0050546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1062-9_0_4_line_53 |  | 43 | 46 | 0.022611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1062-9_0_4_line_54 |  | 46 | 47 | 0.017667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1062-9_0_4_line_55 |  | 47 | 50 | 0.019065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1062-9_0_4_line_56 |  | 48 | 49 | 0.0069458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1062-9_0_4_line_57 |  | 49 | 64 | 0.021527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1062-9_0_4_line_58 |  | 50 | 54 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1062-9_0_4_line_59 |  | 51 | 52 | 0.0093215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1062-9_0_4_line_60 |  | 51 | 53 | 0.014464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1062-9_0_4_line_61 |  | 52 | 54 | 0.016774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1062-9_0_4_line_62 |  | 53 | 55 | 0.037344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1062-9_0_4_line_63 |  | 55 | 56 | 0.021834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1062-9_0_4_line_64 |  | 56 | 57 | 0.0046045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1062-9_0_4_line_65 |  | 57 | 66 | 0.009068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1062-9_0_4_line_66 |  | 58 | 59 | 0.034821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1062-9_0_4_line_67 |  | 60 | 70 | 0.030494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1062-9_0_4_line_68 |  | 61 | 74 | 0.046781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1062-9_0_4_line_69 |  | 62 | 63 | 0.031545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1062-9_0_4_line_70 |  | 65 | 69 | 0.047341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1062-9_0_4_line_71 |  | 66 | 67 | 0.018866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1062-9_0_4_line_72 |  | 67 | 68 | 0.00035706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1062-9_0_4_line_73 |  | 71 | 72 | 0.031845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1062-9_0_4_trafo_69 | 0.63 MVA 20/0.4 kV | 75 | 73 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2656595.7796 | 1210061.5606 | 2656594.4488 | 1210065.6393 | 2656597.882 | 1210075.4889 | 2656603.2583 | 1210084.0005 | 2656603.6821 | 1210088.9161
1 | 2656597.9495 | 1210019.5005 | 2656596.0072 | 1210028.7543 | 2656595.0005 | 1210035.5265 | 2656594.4199 | 1210055.0661 | 2656595.7796 | 1210061.5606
2 | 2656586.2729 | 1210038.9681 | 2656589.6544 | 1210039.8451 | 2656590.3898 | 1210034.4266 | 2656592.0083 | 1210027.2599 | 2656594.0236 | 1210018.3181 | 2656597.9495 | 1210019.5005
3 | 2656588.4612 | 1209994.9625 | 2656596.1374 | 1209996.6029 | 2656598.959 | 1209997.2078 | 2656594.0236 | 1210018.3181 | 2656597.9495 | 1210019.5005
4 | 2656597.9495 | 1210019.5005 | 2656610.1742 | 1210023.1741 | 2656613.4844 | 1210025.1385
5 | 2656586.2729 | 1210038.9681 | 2656570.86 | 1210034.978
6 | 2656588.4612 | 1209994.9625 | 2656567.0559 | 1209990.3791
7 | 2656588.4612 | 1209994.9625 | 2656589.1773 | 1209991.5784 | 2656589.3761 | 1209990.6575 | 2656591.6721 | 1209989.7899 | 2656594.9747 | 1209987.7644 | 2656598.1812 | 1209983.8591 | 2656599.6433 | 1209977.9705
8 | 2656567.0559 | 1209990.3791 | 2656573.5198 | 1209962.5395
9 | 2656610.7379 | 1209948.546 | 2656607.8716 | 1209947.8406 | 2656606.9768 | 1209947.6209 | 2656604.7224 | 1209957.7278 | 2656600.7258 | 1209973.6105 | 2656599.6433 | 1209977.9705
10 | 2656610.7379 | 1209948.546 | 2656613.4677 | 1209949.2278 | 2656614.4913 | 1209949.4821
11 | 2656614.4913 | 1209949.4821 | 2656619.0216 | 1209930.5949
12 | 2656608.2516 | 1209975.8832 | 2656614.4913 | 1209949.4821
13 | 2656608.2516 | 1209975.8832 | 2656620.2054 | 1209979.1846
14 | 2656640.4753 | 1209972.1644 | 2656635.307 | 1209983.3554 | 2656620.2054 | 1209979.1846
15 | 2656579.7901 | 1209935.5337 | 2656573.5198 | 1209962.5395
16 | 2656625.5666 | 1209903.3077 | 2656619.0216 | 1209930.5949
17 | 2656584.3976 | 1209936.1777 | 2656579.7901 | 1209935.5337
18 | 2656584.3976 | 1209936.1777 | 2656592.9156 | 1209912.2451
19 | 2656560.508 | 1209933.8611 | 2656579.7901 | 1209935.5337
20 | 2656598.8906 | 1209895.4575 | 2656592.9156 | 1209912.2451
21 | 2656745.4726 | 1209854.3577 | 2656760.2797 | 1209860.6578 | 2656787.8657 | 1209872.2998
22 | 2656745.4726 | 1209854.3577 | 2656744.0062 | 1209858.3017 | 2656742.3697 | 1209862.5442
23 | 2656742.3697 | 1209862.5442 | 2656764.6555 | 1209871.8439
24 | 2656742.3697 | 1209862.5442 | 2656734.7593 | 1209859.288
25 | 2656784.9297 | 1209880.3041 | 2656764.6555 | 1209871.8439
26 | 2656649.7296 | 1209824.4083 | 2656656.9828 | 1209826.5896 | 2656670.2645 | 1209831.8521 | 2656671.7239 | 1209835.0456 | 2656692.0344 | 1209843.7103 | 2656709.5925 | 1209850.8591 | 2656713.4299 | 1209850.1618 | 2656734.7593 | 1209859.288
27 | 2656643.6639 | 1209854.0574 | 2656641.8434 | 1209852.8727 | 2656640.2451 | 1209850.6896 | 2656639.3343 | 1209847.3567 | 2656640.224 | 1209841.7062 | 2656643.7989 | 1209828.6323 | 2656645.2548 | 1209825.7889 | 2656646.9682 | 1209824.6489 | 2656649.7296 | 1209824.4083
28 | 2656643.6639 | 1209854.0574 | 2656659.9064 | 1209862.083 | 2656672.5839 | 1209870.1415 | 2656683.7066 | 1209879.3763
29 | 2656641.702 | 1209861.3542 | 2656641.9698 | 1209860.3673 | 2656642.734 | 1209857.5395 | 2656643.5063 | 1209854.6451 | 2656643.6639 | 1209854.0574
30 | 2656661.5204 | 1209869.814 | 2656646.8165 | 1209862.2366 | 2656641.702 | 1209861.3542
31 | 2656641.702 | 1209861.3542 | 2656639.1463 | 1209861.5523 | 2656636.1204 | 1209863.2468 | 2656634.5923 | 1209865.6782 | 2656633.3078 | 1209871.0337
32 | 2656661.5204 | 1209869.814 | 2656656.3108 | 1209894.2926
33 | 2656661.5204 | 1209869.814 | 2656670.0214 | 1209875.0534 | 2656682.6158 | 1209885.4458 | 2656692.9642 | 1209897.0288 | 2656700.4913 | 1209907.9735 | 2656703.2599 | 1209913.0141
34 | 2656625.5666 | 1209903.3077 | 2656633.3078 | 1209871.0337
35 | 2656735.0561 | 1210005.7937 | 2656732.8858 | 1210006.2289 | 2656729.9957 | 1210006.4349
36 | 2656729.9957 | 1210006.4349 | 2656731.0261 | 1210026.9603
37 | 2656722.2398 | 1210006.7836 | 2656725.8135 | 1210006.6286 | 2656729.9957 | 1210006.4349
38 | 2656735.0561 | 1210005.7937 | 2656737.1275 | 1210005.3687 | 2656755.3881 | 1209995.1363
39 | 2656731.9702 | 1210045.7661 | 2656731.0261 | 1210026.9603
40 | 2656722.2398 | 1210006.7836 | 2656723.0073 | 1210018.9184
41 | 2656722.2398 | 1210006.7836 | 2656722.0151 | 1210003.2349 | 2656721.2919 | 1209995.1858
42 | 2656653.159 | 1209909.1026 | 2656656.3108 | 1209894.2926
43 | 2656714.5929 | 1209945.9794 | 2656713.8017 | 1209942.1759 | 2656710.5783 | 1209930.2604 | 2656706.3414 | 1209918.6243 | 2656703.2599 | 1209913.0141
44 | 2656731.9702 | 1210045.7661 | 2656735.3678 | 1210046.5433 | 2656780.5247 | 1210056.1456
45 | 2656780.5247 | 1210056.1456 | 2656811.4465 | 1210062.7209 | 2656828.5965 | 1210063.1622 | 2656832.4336 | 1210060.0969 | 2656834.6092 | 1210050.042
46 | 2656719.9588 | 1209980.3474 | 2656721.2919 | 1209995.1858
47 | 2656640.4753 | 1209972.1644 | 2656643.3504 | 1209961.143
48 | 2656640.4753 | 1209972.1644 | 2656651.6693 | 1209982.7325 | 2656653.94 | 1209992.074
49 | 2656539.0645 | 1209888.8121 | 2656536.6254 | 1209888.6065
50 | 2656560.2564 | 1209893.857 | 2656551.3484 | 1209889.848 | 2656539.0645 | 1209888.8121
51 | 2656510.9059 | 1209886.4376 | 2656536.6254 | 1209888.6065
52 | 2656560.2564 | 1209893.857 | 2656565.303 | 1209894.1426
53 | 2656560.2564 | 1209893.857 | 2656561.7009 | 1209897.8286 | 2656561.0926 | 1209916.2033
54 | 2656560.508 | 1209933.8611 | 2656561.0926 | 1209916.2033
55 | 2656560.508 | 1209933.8611 | 2656541.4643 | 1209934.7682
56 | 2656598.8906 | 1209895.4575 | 2656601.2203 | 1209888.914
57 | 2656608.4408 | 1209868.6341 | 2656601.2203 | 1209888.914
58 | 2656541.4643 | 1209934.7682 | 2656538.1217 | 1209934.9275 | 2656531.3979 | 1209935.2112
59 | 2656505.4929 | 1209932.9421 | 2656514.7212 | 1209934.2563
60 | 2656491.1729 | 1209930.9028 | 2656505.4929 | 1209932.9421
61 | 2656514.7212 | 1209934.2563 | 2656523.7052 | 1209935.5357 | 2656531.3979 | 1209935.2112
62 | 2656488.1918 | 1209968.0079 | 2656487.736 | 1209965.5688 | 2656487.6962 | 1209962.5444 | 2656491.1729 | 1209930.9028
63 | 2656488.1918 | 1209968.0079 | 2656489.4936 | 1209970.1882 | 2656491.1629 | 1209972.094 | 2656493.6456 | 1209973.9853 | 2656496.4911 | 1209975.2797 | 2656499.2342 | 1209976.1617 | 2656506.7447 | 1209977.5215
64 | 2656511.2596 | 1209978.4213 | 2656508.9538 | 1209977.9214 | 2656506.7447 | 1209977.5215
65 | 2656508.1842 | 1209986.9529 | 2656509.2688 | 1209983.9836 | 2656511.2596 | 1209978.4213
66 | 2656714.5929 | 1209945.9794 | 2656716.9926 | 1209957.5154 | 2656719.0459 | 1209970.187 | 2656719.9588 | 1209980.3474
67 | 2656755.3881 | 1209995.1363 | 2656781.9906 | 1209980.2294
68 | 2656653.159 | 1209909.1026 | 2656668.3465 | 1209941.7552 | 2656671.9987 | 1209951.8862
69 | 2656813.8969 | 1209892.785 | 2656802.7606 | 1209887.7447 | 2656784.9297 | 1209880.3041
70 | 2656838.305 | 1210002.8901 | 2656837.4167 | 1210026.88 | 2656834.779 | 1210049.2572 | 2656834.6092 | 1210050.042
71 | 2656508.1842 | 1209986.9529 | 2656506.1718 | 1209996.4061 | 2656515.0973 | 1209998.6394
72 | 2656515.4437 | 1209998.7261 | 2656515.0973 | 1209998.6394
73 | 2656659.8798 | 1210023.3569 | 2656654.4782 | 1209994.2883 | 2656653.94 | 1209992.074

## bus_geodata
| x | y | coords
0 | 2656603.6821 | 1210088.9161
1 | 2656595.7796 | 1210061.5606
2 | 2656597.9495 | 1210019.5005
3 | 2656586.2729 | 1210038.9681
4 | 2656588.4612 | 1209994.9625
5 | 2656613.4844 | 1210025.1385
6 | 2656567.0559 | 1209990.3791
7 | 2656599.6433 | 1209977.9705
8 | 2656610.7379 | 1209948.546
9 | 2656614.4913 | 1209949.4821
10 | 2656608.2516 | 1209975.8832
11 | 2656620.2054 | 1209979.1846
12 | 2656570.86 | 1210034.978
13 | 2656573.5198 | 1209962.5395
14 | 2656619.0216 | 1209930.5949
15 | 2656584.3976 | 1209936.1777
16 | 2656579.7901 | 1209935.5337
17 | 2656592.9156 | 1209912.2451
18 | 2656745.4726 | 1209854.3577
19 | 2656787.8657 | 1209872.2998
20 | 2656742.3697 | 1209862.5442
21 | 2656764.6555 | 1209871.8439
22 | 2656734.7593 | 1209859.288
23 | 2656649.7296 | 1209824.4083
24 | 2656643.6639 | 1209854.0574
25 | 2656683.7066 | 1209879.3763
26 | 2656641.702 | 1209861.3542
27 | 2656661.5204 | 1209869.814
28 | 2656633.3078 | 1209871.0336
29 | 2656729.9957 | 1210006.4349
30 | 2656735.0561 | 1210005.7937
31 | 2656731.0261 | 1210026.9603
32 | 2656722.2398 | 1210006.7836
33 | 2656656.3108 | 1209894.2926
34 | 2656703.2599 | 1209913.0141
35 | 2656731.9702 | 1210045.7661
36 | 2656780.5247 | 1210056.1456
37 | 2656723.0073 | 1210018.9184
38 | 2656721.2919 | 1209995.1858
39 | 2656640.4753 | 1209972.1644
40 | 2656625.5666 | 1209903.3077
41 | 2656539.0645 | 1209888.8121
42 | 2656536.6254 | 1209888.6065
43 | 2656560.2564 | 1209893.857
44 | 2656510.9059 | 1209886.4376
45 | 2656565.303 | 1209894.1426
46 | 2656561.0926 | 1209916.2033
47 | 2656560.508 | 1209933.8611
48 | 2656598.8906 | 1209895.4575
49 | 2656601.2203 | 1209888.914
50 | 2656541.4643 | 1209934.7682
51 | 2656505.4929 | 1209932.9421
52 | 2656514.7212 | 1209934.2563
53 | 2656491.1729 | 1209930.9028
54 | 2656531.3979 | 1209935.2112
55 | 2656488.1918 | 1209968.0079
56 | 2656506.7447 | 1209977.5215
57 | 2656511.2596 | 1209978.4213
58 | 2656719.9588 | 1209980.3474
59 | 2656714.5929 | 1209945.9794
60 | 2656755.3881 | 1209995.1363
61 | 2656653.159 | 1209909.1026
62 | 2656813.8969 | 1209892.785
63 | 2656784.9297 | 1209880.3041
64 | 2656608.4408 | 1209868.6341
65 | 2656834.6092 | 1210050.042
66 | 2656508.1842 | 1209986.9529
67 | 2656515.0973 | 1209998.6394
68 | 2656515.4437 | 1209998.7261
69 | 2656838.305 | 1210002.8901
70 | 2656781.9906 | 1209980.2294
71 | 2656653.94 | 1209992.074
72 | 2656659.8798 | 1210023.3569
73 | 2656643.3504 | 1209961.143
74 | 2656671.9987 | 1209951.8862
75 | 2656640.4753 | 1209972.1644

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98687 | -0.25072 | 0.0080217 | 0.0020104
1 | 0.98709 | -0.24645 | 0 | 0
2 | 0.98741 | -0.24036 | 0 | 0
3 | 0.98698 | -0.2486 | 0 | 0
4 | 0.98908 | -0.20775 | 0 | 0
5 | 0.987 | -0.24821 | 0.026422 | 0.0066219
6 | 0.98645 | -0.25846 | 0 | 0
7 | 0.99091 | -0.17276 | 0.0084917 | 0.0021282
8 | 0.99244 | -0.14343 | 0 | 0
9 | 0.99261 | -0.14022 | 0 | 0
10 | 0.99512 | -0.092423 | 0 | 0
11 | 0.99626 | -0.070657 | 0.005387 | 0.0013501
12 | 0.98675 | -0.25305 | 0.01559 | 0.0039072
13 | 0.983 | -0.32527 | 0.011225 | 0.0028132
14 | 0.99166 | -0.15834 | 0.011074 | 0.0027754
15 | 0.97985 | -0.38658 | 0 | 0
16 | 0.97993 | -0.38487 | 0 | 0
17 | 0.97937 | -0.39591 | 0.0084496 | 0.0021177
18 | 0.98345 | -0.31731 | 0 | 0
19 | 0.98317 | -0.32263 | 0.0064082 | 0.0016061
20 | 0.9835 | -0.3163 | 0 | 0
21 | 0.98309 | -0.32425 | 0.0054117 | 0.0013563
22 | 0.98369 | -0.31262 | 0.0087893 | 0.0022028
23 | 0.98657 | -0.2564 | 0 | 0
24 | 0.98767 | -0.23507 | 0 | 0
25 | 0.98679 | -0.25233 | 0.020283 | 0.0050834
26 | 0.98805 | -0.22781 | 0 | 0
27 | 0.98716 | -0.24493 | 0 | 0
28 | 0.98888 | -0.21184 | 0.007619 | 0.0019095
29 | 0.97592 | -0.46353 | 0 | 0
30 | 0.97577 | -0.46645 | 0 | 0
31 | 0.97525 | -0.47654 | 0.0046722 | 0.001171
32 | 0.97639 | -0.45417 | 0 | 0
33 | 0.98655 | -0.25671 | 0.016919 | 0.0042403
34 | 0.98415 | -0.30298 | 0.0093808 | 0.0023511
35 | 0.97473 | -0.48686 | 0 | 0
36 | 0.97334 | -0.51414 | 0.0050692 | 0.0012705
37 | 0.97635 | -0.45501 | 0.0037787 | 0.00094703
38 | 0.97715 | -0.43937 | 0.0060071 | 0.0015055
39 | 0.99888 | -0.021047 | 0 | 0
40 | 0.99037 | -0.1832 | 0.0056882 | 0.0014256
41 | 0.97659 | -0.4504 | 0.0077347 | 0.0019385
42 | 0.97656 | -0.45094 | 0.0069249 | 0.0017355
43 | 0.977 | -0.4424 | 0 | 0
44 | 0.97644 | -0.45338 | 0.0051623 | 0.0012938
45 | 0.97697 | -0.44296 | 0.0061118 | 0.0015318
46 | 0.97754 | -0.4317 | 0.012041 | 0.0030177
47 | 0.97817 | -0.41947 | 0 | 0
48 | 0.97918 | -0.39972 | 0 | 0
49 | 0.9791 | -0.40121 | 0.0039358 | 0.00098641
50 | 0.97709 | -0.44054 | 0.011047 | 0.0027687
51 | 0.9756 | -0.46993 | 0.0066673 | 0.001671
52 | 0.97591 | -0.4638 | 0.010225 | 0.0025627
53 | 0.9752 | -0.47766 | 0 | 0
54 | 0.97663 | -0.44966 | 0.0034649 | 0.0008684
55 | 0.97419 | -0.49767 | 0 | 0
56 | 0.97359 | -0.50939 | 0.0082402 | 0.0020652
57 | 0.9735 | -0.51117 | 0 | 0
58 | 0.9782 | -0.41881 | 0.010622 | 0.0026621
59 | 0.98099 | -0.36424 | 0.010627 | 0.0026635
60 | 0.9751 | -0.47966 | 0.018836 | 0.0047207
61 | 0.98642 | -0.25926 | 0 | 0
62 | 0.98274 | -0.33116 | 0.003181 | 0.00079723
63 | 0.98283 | -0.32935 | 0.0096779 | 0.0024255
64 | 0.97895 | -0.40428 | 0.0078416 | 0.0019653
65 | 0.97186 | -0.5434 | 0.012585 | 0.0031541
66 | 0.97332 | -0.51466 | 0 | 0
67 | 0.97296 | -0.52194 | 0.0041387 | 0.0010373
68 | 0.97295 | -0.52205 | 0.016823 | 0.0042163
69 | 0.97132 | -0.5541 | 0.012242 | 0.0030681
70 | 0.97474 | -0.48663 | 0.012462 | 0.0031233
71 | 0.99846 | -0.029294 | 0.0093807 | 0.002351
72 | 0.99818 | -0.034578 | 0.0094868 | 0.0023776
73 | 1 | 0 | -0.43244 | -0.11076
74 | 0.98602 | -0.26712 | 0.0093771 | 0.0023501
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0080217 | -0.0020104 | 0.0080233 | 0.0020111 | 1.6305e-06 | 6.637e-07 | 0.012095 | 0.012095 | 0.012095 | 0.98687 | -0.25072 | 0.98709 | -0.24645 | 3.3228
1 | -0.0080233 | -0.0020111 | 0.0080257 | 0.002012 | 2.331e-06 | 9.4851e-07 | 0.012095 | 0.012095 | 0.012095 | 0.98709 | -0.24645 | 0.98741 | -0.24036 | 3.3228
2 | 0.015599 | 0.0039126 | -0.015593 | -0.0039091 | 6.1295e-06 | 3.5448e-06 | 0.023509 | 0.023509 | 0.023509 | 0.98741 | -0.24036 | 0.98698 | -0.2486 | 6.4586
3 | -0.050057 | -0.012553 | 0.050134 | 0.012602 | 7.7925e-05 | 4.9404e-05 | 0.075438 | 0.075437 | 0.075438 | 0.98741 | -0.24036 | 0.98908 | -0.20775 | 20.7246
4 | 0.026432 | 0.006628 | -0.026422 | -0.0066219 | 9.8856e-06 | 6.1144e-06 | 0.039834 | 0.039834 | 0.039834 | 0.98741 | -0.24036 | 0.987 | -0.24821 | 10.9433
5 | 0.015593 | 0.0039091 | -0.01559 | -0.0039072 | 3.2997e-06 | 1.9084e-06 | 0.023509 | 0.023509 | 0.023509 | 0.98698 | -0.2486 | 0.98675 | -0.25305 | 6.4586
6 | 0.13153 | 0.033542 | -0.13121 | -0.033337 | 0.0003212 | 0.00020529 | 0.19809 | 0.19809 | 0.19809 | 0.98908 | -0.20775 | 0.98645 | -0.25846 | 54.4192
7 | -0.18166 | -0.046144 | 0.18197 | 0.04634 | 0.00030651 | 0.0001956 | 0.27352 | 0.27352 | 0.27352 | 0.98908 | -0.20775 | 0.99091 | -0.17276 | 37.5718
8 | 0.13121 | 0.033337 | -0.13079 | -0.033068 | 0.00042054 | 0.00026878 | 0.19809 | 0.19809 | 0.19809 | 0.98645 | -0.25846 | 0.983 | -0.32527 | 54.4192
9 | -0.19046 | -0.048468 | 0.19073 | 0.048639 | 0.00026967 | 0.00017077 | 0.28627 | 0.28627 | 0.28627 | 0.99091 | -0.17276 | 0.99244 | -0.14343 | 19.6617
10 | -0.19073 | -0.048639 | 0.19076 | 0.048658 | 2.9641e-05 | 1.8771e-05 | 0.28627 | 0.28627 | 0.28627 | 0.99244 | -0.14343 | 0.99261 | -0.14022 | 19.6616
11 | 0.21297 | 0.054238 | -0.21278 | -0.05412 | 0.00018596 | 0.00011801 | 0.31957 | 0.31957 | 0.31957 | 0.99261 | -0.14022 | 0.99166 | -0.15834 | 21.9484
12 | -0.40373 | -0.1029 | 0.40466 | 0.10349 | 0.00093355 | 0.00059607 | 0.60584 | 0.60584 | 0.60584 | 0.99261 | -0.14022 | 0.99512 | -0.092423 | 41.61
13 | -0.40466 | -0.10349 | 0.40509 | 0.10376 | 0.00042673 | 0.00027246 | 0.60584 | 0.60584 | 0.60584 | 0.99512 | -0.092423 | 0.99626 | -0.070657 | 41.61
14 | -0.41048 | -0.10511 | 0.41147 | 0.10575 | 0.00098903 | 0.00063152 | 0.61389 | 0.61389 | 0.61389 | 0.99626 | -0.070657 | 0.99888 | -0.021047 | 42.1626
15 | 0.11956 | 0.030255 | -0.11922 | -0.030037 | 0.00034096 | 0.00021786 | 0.18109 | 0.18109 | 0.18109 | 0.983 | -0.32527 | 0.97993 | -0.38487 | 49.7512
16 | 0.20171 | 0.051344 | -0.20147 | -0.051191 | 0.00024145 | 0.00015308 | 0.30295 | 0.30295 | 0.30295 | 0.99166 | -0.15834 | 0.99037 | -0.1832 | 20.8072
17 | -0.02024 | -0.0050769 | 0.020242 | 0.0050779 | 1.6437e-06 | 9.9354e-07 | 0.030739 | 0.030739 | 0.030739 | 0.97985 | -0.38658 | 0.97993 | -0.38487 | 8.4447
18 | 0.02024 | 0.0050769 | -0.020231 | -0.0050714 | 9.001e-06 | 5.4408e-06 | 0.030739 | 0.030739 | 0.030739 | 0.97985 | -0.38658 | 0.97937 | -0.39591 | 8.4447
19 | 0.098981 | 0.024959 | -0.098817 | -0.024855 | 0.0001636 | 0.00010446 | 0.15036 | 0.15036 | 0.15036 | 0.97993 | -0.38487 | 0.97817 | -0.41947 | 41.3066
20 | 0.011782 | 0.0029538 | -0.011779 | -0.0029526 | 2.1412e-06 | 1.1462e-06 | 0.017901 | 0.017901 | 0.017901 | 0.97937 | -0.39591 | 0.97918 | -0.39972 | 4.9178
21 | 0.0064099 | 0.0016065 | -0.0064082 | -0.0016061 | 1.6238e-06 | 4.5528e-07 | 0.0096985 | 0.0096987 | 0.0096987 | 0.98345 | -0.31731 | 0.98317 | -0.32263 | 2.6645
22 | -0.0064099 | -0.0016065 | 0.0064102 | 0.0016066 | 3.0882e-07 | 8.6548e-08 | 0.0096985 | 0.0096985 | 0.0096985 | 0.98345 | -0.31731 | 0.9835 | -0.3163 | 2.6644
23 | 0.018281 | 0.0045846 | -0.018274 | -0.0045805 | 6.9281e-06 | 4.1277e-06 | 0.02766 | 0.02766 | 0.02766 | 0.9835 | -0.3163 | 0.98309 | -0.32425 | 7.5988
24 | -0.024691 | -0.0061912 | 0.024695 | 0.0061939 | 4.3322e-06 | 2.6676e-06 | 0.037358 | 0.037358 | 0.037358 | 0.9835 | -0.3163 | 0.98369 | -0.31262 | 10.2632
25 | 0.012862 | 0.0032242 | -0.012859 | -0.0032225 | 3.1225e-06 | 1.7199e-06 | 0.019469 | 0.019469 | 0.019469 | 0.98309 | -0.32425 | 0.98283 | -0.32935 | 5.3486
26 | -0.033485 | -0.0083967 | 0.033575 | 0.0084531 | 8.9973e-05 | 5.6392e-05 | 0.050654 | 0.050653 | 0.050654 | 0.98369 | -0.31262 | 0.98657 | -0.2564 | 13.9158
27 | -0.033575 | -0.0084531 | 0.033609 | 0.0084746 | 3.4283e-05 | 2.1485e-05 | 0.050653 | 0.050653 | 0.050653 | 0.98657 | -0.2564 | 0.98767 | -0.23507 | 13.9157
28 | 0.0203 | 0.0050935 | -0.020283 | -0.0050834 | 1.6697e-05 | 1.0077e-05 | 0.030586 | 0.030586 | 0.030586 | 0.98767 | -0.23507 | 0.98679 | -0.25233 | 8.4027
29 | -0.053909 | -0.013568 | 0.053927 | 0.01358 | 1.87e-05 | 1.1871e-05 | 0.081239 | 0.081239 | 0.081239 | 0.98767 | -0.23507 | 0.98805 | -0.22781 | 22.3183
30 | 0.13382 | 0.034013 | -0.13371 | -0.033944 | 0.00011025 | 6.9728e-05 | 0.2017 | 0.2017 | 0.2017 | 0.98805 | -0.22781 | 0.98716 | -0.24493 | 18.4711
31 | -0.18775 | -0.047593 | 0.18789 | 0.047685 | 0.00014421 | 9.1738e-05 | 0.28294 | 0.28294 | 0.28294 | 0.98805 | -0.22781 | 0.98888 | -0.21184 | 25.9105
32 | 0.026316 | 0.0066018 | -0.026301 | -0.0065926 | 1.4769e-05 | 9.1325e-06 | 0.03967 | 0.03967 | 0.03967 | 0.98716 | -0.24493 | 0.98655 | -0.25671 | 10.8983
33 | 0.10739 | 0.027342 | -0.10709 | -0.027152 | 0.00029971 | 0.00019026 | 0.16203 | 0.16204 | 0.16204 | 0.98716 | -0.24493 | 0.98415 | -0.30298 | 22.2576
34 | -0.19551 | -0.049595 | 0.19578 | 0.049766 | 0.00026969 | 0.0001709 | 0.29441 | 0.29441 | 0.29441 | 0.98888 | -0.21184 | 0.99037 | -0.1832 | 20.2203
35 | 0.031326 | 0.0078613 | -0.031322 | -0.0078586 | 4.3604e-06 | 2.727e-06 | 0.047768 | 0.047768 | 0.047768 | 0.97592 | -0.46353 | 0.97577 | -0.46645 | 13.123
36 | 0.034684 | 0.0087355 | -0.034663 | -0.008722 | 2.1567e-05 | 1.3546e-05 | 0.0529 | 0.0529 | 0.0529 | 0.97592 | -0.46353 | 0.97525 | -0.47654 | 14.533
37 | -0.066011 | -0.016597 | 0.06604 | 0.016616 | 2.9504e-05 | 1.8786e-05 | 0.10067 | 0.10067 | 0.10067 | 0.97592 | -0.46353 | 0.97639 | -0.45417 | 27.656
38 | 0.031322 | 0.0078586 | -0.031302 | -0.0078463 | 1.972e-05 | 1.2333e-05 | 0.047768 | 0.047768 | 0.047768 | 0.97577 | -0.46645 | 0.9751 | -0.47966 | 13.123
39 | 0.029991 | 0.007551 | -0.029976 | -0.0075418 | 1.4793e-05 | 9.2328e-06 | 0.045772 | 0.045772 | 0.045772 | 0.97525 | -0.47654 | 0.97473 | -0.48686 | 12.5746
40 | 0.0037788 | 0.00094697 | -0.0037787 | -0.00094703 | 1.5122e-07 | -5.5287e-08 | 0.0057589 | 0.005759 | 0.005759 | 0.97639 | -0.45417 | 0.97635 | -0.45501 | 1.5821
41 | -0.069819 | -0.017563 | 0.069868 | 0.017594 | 4.943e-05 | 3.1489e-05 | 0.10643 | 0.10643 | 0.10643 | 0.97639 | -0.45417 | 0.97715 | -0.43937 | 29.2381
42 | 0.0093817 | 0.0023523 | -0.0093806 | -0.0023518 | 1.137e-06 | 5.3438e-07 | 0.014151 | 0.014151 | 0.014151 | 0.98655 | -0.25671 | 0.98642 | -0.25926 | 3.8876
43 | 0.097713 | 0.024801 | -0.097426 | -0.024617 | 0.00028702 | 0.00018325 | 0.14785 | 0.14785 | 0.14785 | 0.98415 | -0.30298 | 0.98099 | -0.36424 | 40.6187
44 | 0.029976 | 0.0075418 | -0.029937 | -0.0075175 | 3.9009e-05 | 2.4348e-05 | 0.045772 | 0.045772 | 0.045772 | 0.97473 | -0.48686 | 0.97334 | -0.51414 | 12.5747
45 | 0.024868 | 0.006247 | -0.024833 | -0.0062256 | 3.4679e-05 | 2.1401e-05 | 0.038022 | 0.038023 | 0.038023 | 0.97334 | -0.51414 | 0.97186 | -0.5434 | 10.4457
46 | -0.075875 | -0.0191 | 0.07595 | 0.019147 | 7.4626e-05 | 4.7574e-05 | 0.11557 | 0.11557 | 0.11557 | 0.97715 | -0.43937 | 0.9782 | -0.41881 | 31.7512
47 | -0.43034 | -0.11048 | 0.43079 | 0.11076 | 0.00044013 | 0.00028109 | 0.64201 | 0.64201 | 0.64201 | 0.99888 | -0.021047 | 1 | 0 | 44.094
48 | 0.018877 | 0.0047342 | -0.01887 | -0.0047298 | 7.4167e-06 | 4.4195e-06 | 0.028122 | 0.028122 | 0.028122 | 0.99888 | -0.021047 | 0.99846 | -0.029294 | 7.7259
49 | 0.012088 | 0.0030296 | -0.012088 | -0.0030294 | 3.114e-07 | 1.6867e-07 | 0.018418 | 0.018418 | 0.018418 | 0.97659 | -0.4504 | 0.97656 | -0.45094 | 5.06
50 | -0.019823 | -0.0049681 | 0.01983 | 0.0049726 | 7.559e-06 | 4.5611e-06 | 0.030204 | 0.030204 | 0.030204 | 0.97659 | -0.4504 | 0.977 | -0.4424 | 8.2977
51 | 0.0051629 | 0.0012939 | -0.0051623 | -0.0012938 | 5.9901e-07 | 6.0476e-08 | 0.0078668 | 0.0078669 | 0.0078669 | 0.97656 | -0.45094 | 0.97644 | -0.45338 | 2.1612
52 | 0.0061119 | 0.0015318 | -0.0061118 | -0.0015318 | 1.6425e-07 | 4.1825e-08 | 0.0093088 | 0.0093088 | 0.0093088 | 0.977 | -0.4424 | 0.97697 | -0.44296 | 2.5574
53 | -0.025942 | -0.0065044 | 0.025956 | 0.0065126 | 1.3238e-05 | 8.1888e-06 | 0.039512 | 0.039512 | 0.039512 | 0.977 | -0.4424 | 0.97754 | -0.4317 | 10.855
54 | -0.037996 | -0.0095303 | 0.038019 | 0.0095443 | 2.2165e-05 | 1.3964e-05 | 0.057841 | 0.057841 | 0.057841 | 0.97754 | -0.4317 | 0.97817 | -0.41947 | 15.8903
55 | 0.060799 | 0.01531 | -0.060738 | -0.015272 | 6.1193e-05 | 3.8924e-05 | 0.092515 | 0.092515 | 0.092515 | 0.97817 | -0.41947 | 0.97709 | -0.44054 | 25.4163
56 | 0.011779 | 0.0029526 | -0.011779 | -0.0029522 | 8.3465e-07 | 4.4681e-07 | 0.017901 | 0.017901 | 0.017901 | 0.97918 | -0.39972 | 0.9791 | -0.40121 | 4.9178
57 | 0.0078428 | 0.0019658 | -0.0078416 | -0.0019653 | 1.1469e-06 | 4.6331e-07 | 0.011919 | 0.011919 | 0.011919 | 0.9791 | -0.40121 | 0.97895 | -0.40428 | 3.2746
58 | 0.049691 | 0.012503 | -0.049669 | -0.012489 | 2.1648e-05 | 1.3729e-05 | 0.075692 | 0.075692 | 0.075692 | 0.97709 | -0.44054 | 0.97663 | -0.44966 | 20.7944
59 | -0.035937 | -0.0090317 | 0.035947 | 0.0090383 | 1.0505e-05 | 6.6071e-06 | 0.054821 | 0.054821 | 0.054821 | 0.9756 | -0.46993 | 0.97591 | -0.4638 | 15.0608
60 | 0.02927 | 0.0073607 | -0.029259 | -0.007354 | 1.0815e-05 | 6.741e-06 | 0.044652 | 0.044652 | 0.044652 | 0.9756 | -0.46993 | 0.9752 | -0.47766 | 12.2671
61 | -0.046173 | -0.011601 | 0.046204 | 0.011621 | 3.1187e-05 | 1.975e-05 | 0.070413 | 0.070412 | 0.070413 | 0.97591 | -0.4638 | 0.97663 | -0.44966 | 19.3441
62 | 0.029259 | 0.007354 | -0.029231 | -0.0073366 | 2.7922e-05 | 1.7404e-05 | 0.044652 | 0.044653 | 0.044653 | 0.9752 | -0.47766 | 0.97419 | -0.49767 | 12.2672
63 | 0.029231 | 0.0073366 | -0.029215 | -0.0073264 | 1.6325e-05 | 1.0176e-05 | 0.044653 | 0.044653 | 0.044653 | 0.97419 | -0.49767 | 0.97359 | -0.50939 | 12.2672
64 | 0.020974 | 0.0052612 | -0.020973 | -0.0052601 | 1.7746e-06 | 1.0785e-06 | 0.032058 | 0.032058 | 0.032058 | 0.97359 | -0.50939 | 0.9735 | -0.51117 | 8.8073
65 | 0.020973 | 0.0052601 | -0.020969 | -0.005258 | 3.4948e-06 | 2.124e-06 | 0.032058 | 0.032058 | 0.032058 | 0.9735 | -0.51117 | 0.97332 | -0.51466 | 8.8073
66 | -0.086572 | -0.021809 | 0.086799 | 0.021954 | 0.0002266 | 0.00014458 | 0.13173 | 0.13173 | 0.13173 | 0.9782 | -0.41881 | 0.98099 | -0.36424 | 36.1902
67 | 0.012466 | 0.0031256 | -0.012462 | -0.0031233 | 4.1387e-06 | 2.2685e-06 | 0.019024 | 0.019024 | 0.019024 | 0.9751 | -0.47966 | 0.97474 | -0.48663 | 5.2265
68 | 0.0093806 | 0.0023518 | -0.0093771 | -0.0023501 | 3.513e-06 | 1.6514e-06 | 0.014151 | 0.014151 | 0.014151 | 0.98642 | -0.25926 | 0.98602 | -0.26712 | 3.8877
69 | -0.003181 | -0.00079723 | 0.0031812 | 0.000797 | 2.7441e-07 | -2.2409e-07 | 0.0048165 | 0.0048163 | 0.0048165 | 0.98274 | -0.33116 | 0.98283 | -0.32935 | 1.3232
70 | 0.012248 | 0.0030715 | -0.012242 | -0.0030681 | 6.2439e-06 | 3.4098e-06 | 0.018754 | 0.018754 | 0.018754 | 0.97186 | -0.5434 | 0.97132 | -0.5541 | 5.1522
71 | 0.020969 | 0.005258 | -0.020962 | -0.0052536 | 7.271e-06 | 4.419e-06 | 0.032058 | 0.032059 | 0.032059 | 0.97332 | -0.51466 | 0.97296 | -0.52194 | 8.8073
72 | 0.016823 | 0.0042163 | -0.016823 | -0.0042163 | 8.8636e-08 | 5.2293e-08 | 0.025729 | 0.025729 | 0.025729 | 0.97296 | -0.52194 | 0.97295 | -0.52205 | 7.0684
73 | 0.0094892 | 0.0023787 | -0.0094868 | -0.0023776 | 2.3884e-06 | 1.1122e-06 | 0.014142 | 0.014142 | 0.014142 | 0.99846 | -0.029294 | 0.99818 | -0.034578 | 3.8852

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44293 | 0.11339

## res_load
| p_mw | q_mvar
0 | 0.0080217 | 0.0020104
1 | 0.026422 | 0.0066219
2 | 0.0084917 | 0.0021282
3 | 0.005387 | 0.0013501
4 | 0.01559 | 0.0039072
5 | 0.011225 | 0.0028132
6 | 0.011074 | 0.0027754
7 | 0.0084496 | 0.0021177
8 | 0.0064082 | 0.0016061
9 | 0.0054117 | 0.0013563
10 | 0.0087893 | 0.0022028
11 | 0.020283 | 0.0050834
12 | 0.007619 | 0.0019095
13 | 0.0046722 | 0.001171
14 | 0.016919 | 0.0042403
15 | 0.0093808 | 0.0023511
16 | 0.0050692 | 0.0012705
17 | 0.0037787 | 0.00094703
18 | 0.0060071 | 0.0015055
19 | 0.0056882 | 0.0014256
20 | 0.0077347 | 0.0019385
21 | 0.0069249 | 0.0017355
22 | 0.0051623 | 0.0012938
23 | 0.0061118 | 0.0015318
24 | 0.012041 | 0.0030177
25 | 0.0039358 | 0.00098641
26 | 0.011047 | 0.0027687
27 | 0.0066673 | 0.001671
28 | 0.010225 | 0.0025627
29 | 0.0034649 | 0.0008684
30 | 0.0082402 | 0.0020652
31 | 0.010622 | 0.0026621
32 | 0.010627 | 0.0026635
33 | 0.018836 | 0.0047207
34 | 0.003181 | 0.00079723
35 | 0.0096779 | 0.0024255
36 | 0.0078416 | 0.0019653
37 | 0.012585 | 0.0031541
38 | 0.0041387 | 0.0010373
39 | 0.016823 | 0.0042163
40 | 0.012242 | 0.0030681
41 | 0.012462 | 0.0031233
42 | 0.0093807 | 0.002351
43 | 0.0094868 | 0.0023776
44 | 0.010497 | 0.0026309
45 | 0.0093771 | 0.0023501

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1