## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1064-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1064-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1064-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1064-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1064-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1064-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1064-1_0_2_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_1064-1_0_2_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_1064-1_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1064-1_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1064-1_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1064-1_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1064-1_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1064-1_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1064-1_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1064-1_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1064-1_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1064-1_0_2_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_1064-1_0_2_node_66 | 0.4 | n |  | TRUE
19 | bus_LV_1064-1_0_2_node_120 | 0.4 | n |  | TRUE
20 | bus_LV_1064-1_0_2_node_118 | 0.4 | n |  | TRUE
21 | bus_LV_1064-1_0_2_node_129 | 0.4 | n |  | TRUE
22 | bus_LV_1064-1_0_2_node_128 | 0.4 | n |  | TRUE
23 | bus_LV_1064-1_0_2_node_131 | 0.4 | n |  | TRUE
24 | bus_LV_1064-1_0_2_node_130 | 0.4 | n |  | TRUE
25 | bus_LV_1064-1_0_2_node_127 | 0.4 | n |  | TRUE
26 | bus_LV_1064-1_0_2_node_99 | 0.4 | n |  | TRUE
27 | bus_LV_1064-1_0_2_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1064-1_0_2_node_108 | 0.4 | n |  | TRUE
29 | bus_LV_1064-1_0_2_node_98 | 0.4 | n |  | TRUE
30 | bus_LV_1064-1_0_2_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_1064-1_0_2_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1064-1_0_2_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_1064-1_0_2_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_1064-1_0_2_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_1064-1_0_2_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_1064-1_0_2_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_1064-1_0_2_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_1064-1_0_2_node_121 | 0.4 | n |  | TRUE
39 | bus_LV_1064-1_0_2_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_1064-1_0_2_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_1064-1_0_2_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_1064-1_0_2_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_1064-1_0_2_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_1064-1_0_2_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_1064-1_0_2_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_1064-1_0_2_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_1064-1_0_2_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_1064-1_0_2_node_107 | 0.4 | n |  | TRUE
49 | bus_LV_1064-1_0_2_node_94 | 0.4 | n |  | TRUE
50 | bus_LV_1064-1_0_2_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_1064-1_0_2_node_96 | 0.4 | n |  | TRUE
52 | bus_LV_1064-1_0_2_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_1064-1_0_2_node_109 | 0.4 | n |  | TRUE
54 | bus_LV_1064-1_0_2_node_123 | 0.4 | n |  | TRUE
55 | bus_LV_1064-1_0_2_node_116 | 0.4 | n |  | TRUE
56 | bus_LV_1064-1_0_2_node_117 | 0.4 | n |  | TRUE
57 | bus_LV_1064-1_0_2_node_125 | 0.4 | n |  | TRUE
58 | bus_LV_1064-1_0_2_node_126 | 0.4 | n |  | TRUE
59 | bus_MV_0_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1064-1_0_2_load_0 | 0 | 0.022602 | 0.0056646 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1064-1_0_2_load_1 | 1 | 0.0083447 | 0.0020914 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1064-1_0_2_load_2 | 2 | 0.0049757 | 0.001247 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1064-1_0_2_load_3 | 3 | 0.0011578 | 0.00029016 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1064-1_0_2_load_4 | 4 | 0.0084269 | 0.002112 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1064-1_0_2_load_61 | 6 | 0.0009217 | 0.000231 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1064-1_0_2_load_6 | 8 | 0.0034716 | 0.00087006 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1064-1_0_2_load_7 | 9 | 0.0029432 | 0.00073763 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1064-1_0_2_load_11 | 13 | 0.0048339 | 0.0012115 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1064-1_0_2_load_12 | 14 | 0.0053103 | 0.0013309 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1064-1_0_2_load_13 | 15 | 0.0010877 | 0.00027259 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1064-1_0_2_load_120 | 19 | 0.00084166 | 0.00021094 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1064-1_0_2_load_118 | 20 | 0.0020078 | 0.0005032 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1064-1_0_2_load_129 | 21 | 0.00091859 | 0.00023022 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1064-1_0_2_load_128 | 22 | 0.00086811 | 0.00021757 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1064-1_0_2_load_131 | 23 | 0.00087039 | 0.00021814 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1064-1_0_2_load_130 | 24 | 0.00083856 | 0.00021016 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1064-1_0_2_load_127 | 25 | 0.0020672 | 0.0005181 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1064-1_0_2_load_40 | 27 | 0.0017931 | 0.00044939 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1064-1_0_2_load_108 | 28 | 0.0022344 | 0.00055998 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1064-1_0_2_load_98 | 29 | 0.0015316 | 0.00038385 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1064-1_0_2_load_41 | 30 | 0.00076529 | 0.0001918 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1064-1_0_2_load_42 | 31 | 0.00096566 | 0.00024202 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1064-1_0_2_load_43 | 32 | 0.0009825 | 0.00024624 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1064-1_0_2_load_44 | 33 | 0.00096826 | 0.00024267 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1064-1_0_2_load_74 | 34 | 0.0010873 | 0.00027251 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1064-1_0_2_load_64 | 35 | 0.0035091 | 0.00087948 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1064-1_0_2_load_67 | 36 | 0.0031826 | 0.00079765 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1064-1_0_2_load_68 | 37 | 0.0033383 | 0.00083666 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1064-1_0_2_load_121 | 38 | 0.0033246 | 0.00083322 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1064-1_0_2_load_75 | 39 | 0.00084166 | 0.00021094 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1064-1_0_2_load_76 | 40 | 0.00089189 | 0.00022353 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1064-1_0_2_load_77 | 41 | 0.00090075 | 0.00022575 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1064-1_0_2_load_79 | 43 | 0.00044912 | 0.00011256 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1064-1_0_2_load_80 | 44 | 0.0012444 | 0.00031189 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1064-1_0_2_load_81 | 45 | 0.00087559 | 0.00021944 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1064-1_0_2_load_82 | 46 | 0.00090111 | 0.00022584 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1064-1_0_2_load_83 | 47 | 0.00089247 | 0.00022367 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1064-1_0_2_load_107 | 48 | 0.0012792 | 0.0003206 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1064-1_0_2_load_94 | 49 | 0.0059549 | 0.0014924 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1064-1_0_2_load_96 | 51 | 0.0024 | 0.00060151 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1064-1_0_2_load_97 | 52 | 0.00093774 | 0.00023502 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1064-1_0_2_load_109 | 53 | 0.00090106 | 0.00022583 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1064-1_0_2_load_123 | 54 | 0.0033196 | 0.00083196 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1064-1_0_2_load_116 | 55 | 0.0019733 | 0.00049457 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1064-1_0_2_load_117 | 56 | 0.0052558 | 0.0013172 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1064-1_0_2_load_125 | 57 | 0.00089292 | 0.00022379 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1064-1_0_2_load_126 | 58 | 0.0009712 | 0.00024341 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1064-1_0_2_line_0 |  | 0 | 1 | 0.030211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1064-1_0_2_line_1 |  | 0 | 2 | 0.091035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1064-1_0_2_line_2 |  | 1 | 3 | 0.034134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1064-1_0_2_line_3 |  | 2 | 4 | 0.010837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1064-1_0_2_line_4 |  | 3 | 5 | 0.016784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1064-1_0_2_line_5 |  | 5 | 6 | 0.065525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1064-1_0_2_line_6 |  | 5 | 7 | 0.051081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1064-1_0_2_line_7 |  | 7 | 27 | 0.023357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1064-1_0_2_line_8 |  | 8 | 9 | 0.011077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1064-1_0_2_line_9 |  | 8 | 10 | 0.041269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1064-1_0_2_line_10 |  | 10 | 11 | 0.007524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1064-1_0_2_line_11 |  | 10 | 12 | 0.0037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1064-1_0_2_line_12 |  | 11 | 13 | 0.026057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1064-1_0_2_line_13 |  | 11 | 14 | 0.013037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1064-1_0_2_line_14 |  | 12 | 15 | 0.048383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1064-1_0_2_line_15 |  | 12 | 16 | 0.012135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1064-1_0_2_line_16 |  | 13 | 17 | 0.016998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1064-1_0_2_line_17 |  | 15 | 18 | 0.012844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1064-1_0_2_line_18 |  | 16 | 19 | 0.016809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1064-1_0_2_line_19 |  | 16 | 20 | 0.012014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1064-1_0_2_line_20 |  | 17 | 28 | 0.0033228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1064-1_0_2_line_21 |  | 18 | 36 | 0.033774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1064-1_0_2_line_22 |  | 18 | 35 | 0.049521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1064-1_0_2_line_23 |  | 19 | 39 | 0.00012902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1064-1_0_2_line_24 |  | 20 | 55 | 0.10398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1064-1_0_2_line_25 |  | 21 | 22 | 0.014971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1064-1_0_2_line_26 |  | 21 | 23 | 0.0083287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1064-1_0_2_line_27 |  | 22 | 26 | 0.0098125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1064-1_0_2_line_28 |  | 23 | 24 | 0.0063487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1064-1_0_2_line_29 |  | 24 | 25 | 0.0076363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1064-1_0_2_line_30 |  | 25 | 58 | 0.0046612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1064-1_0_2_line_31 |  | 26 | 47 | 0.017128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1064-1_0_2_line_32 |  | 26 | 52 | 0.018355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1064-1_0_2_line_33 |  | 27 | 29 | 0.0003152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1064-1_0_2_line_34 |  | 28 | 48 | 0.024011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1064-1_0_2_line_35 |  | 29 | 51 | 0.016483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1064-1_0_2_line_36 |  | 30 | 31 | 0.0028415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1064-1_0_2_line_37 |  | 31 | 32 | 0.0074995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1064-1_0_2_line_38 |  | 32 | 33 | 0.0046431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1064-1_0_2_line_39 |  | 33 | 34 | 0.0071538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1064-1_0_2_line_40 |  | 34 | 39 | 0.033177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1064-1_0_2_line_41 |  | 36 | 37 | 0.003101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1064-1_0_2_line_42 |  | 37 | 38 | 0.011534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1064-1_0_2_line_43 |  | 40 | 41 | 0.01634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1064-1_0_2_line_44 |  | 40 | 42 | 0.016819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1064-1_0_2_line_45 |  | 41 | 43 | 0.0024449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1064-1_0_2_line_46 |  | 42 | 44 | 0.012108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1064-1_0_2_line_47 |  | 42 | 45 | 0.01327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1064-1_0_2_line_48 |  | 44 | 46 | 0.0001037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1064-1_0_2_line_49 |  | 45 | 47 | 0.00021569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1064-1_0_2_line_50 |  | 46 | 48 | 0.018872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1064-1_0_2_line_51 |  | 49 | 50 | 0.028436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1064-1_0_2_line_52 |  | 50 | 51 | 0.053012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1064-1_0_2_line_53 |  | 50 | 52 | 0.0096282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1064-1_0_2_line_54 |  | 53 | 54 | 0.00115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1064-1_0_2_line_55 |  | 54 | 57 | 0.00045836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1064-1_0_2_line_56 |  | 55 | 56 | 0.028022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1064-1_0_2_line_57 |  | 57 | 58 | 0.018269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1064-1_0_2_trafo_129 | 0.63 MVA 20/0.4 kV | 59 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2676713.1893 | 1219817.3793 | 2676706.9622 | 1219787.8171
1 | 2676713.1893 | 1219817.3793 | 2676719.2941 | 1219846.3611 | 2676730.4619 | 1219906.754
2 | 2676706.9622 | 1219787.8171 | 2676699.9857 | 1219754.697 | 2676699.9668 | 1219754.4107
3 | 2676732.4324 | 1219917.4102 | 2676730.4619 | 1219906.754
4 | 2676699.9397 | 1219737.6519 | 2676699.5472 | 1219743.3729 | 2676699.6046 | 1219748.9328 | 2676699.9668 | 1219754.4107
5 | 2676699.9397 | 1219737.6519 | 2676764.9281 | 1219746.0206
6 | 2676699.9397 | 1219737.6519 | 2676688.3986 | 1219736.3692 | 2676668.8676 | 1219734.4277 | 2676662.6591 | 1219733.9142 | 2676657.5325 | 1219733.648 | 2676653.3426 | 1219733.7275 | 2676648.9085 | 1219733.9039
7 | 2676648.9085 | 1219733.9039 | 2676652.9483 | 1219756.9088
8 | 2676499.7004 | 1219778.5972 | 2676497.5049 | 1219767.7405
9 | 2676530.1843 | 1219785.8007 | 2676527.6183 | 1219777.6179 | 2676509.5083 | 1219783.8005 | 2676504.1807 | 1219784.4214 | 2676500.5157 | 1219782.6287 | 2676499.7004 | 1219778.5972
10 | 2676537.2009 | 1219783.0779 | 2676532.1642 | 1219785.2702 | 2676530.1843 | 1219785.8007
11 | 2676526.7735 | 1219787.2578 | 2676530.1843 | 1219785.8007
12 | 2676537.2009 | 1219783.0779 | 2676542.7636 | 1219790.1429 | 2676555.4757 | 1219801.5283
13 | 2676537.2009 | 1219783.0779 | 2676548.8815 | 1219777.2879
14 | 2676526.7735 | 1219787.2578 | 2676516.2856 | 1219790.8366 | 2676499.6969 | 1219796.1493 | 2676485.4946 | 1219798.8242 | 2676480.0639 | 1219798.7667
15 | 2676526.7735 | 1219787.2578 | 2676528.3052 | 1219794.4377 | 2676528.2436 | 1219799.229
16 | 2676568.7216 | 1219812.1797 | 2676555.9 | 1219801.9082 | 2676555.4757 | 1219801.5283
17 | 2676467.3012 | 1219797.9235 | 2676470.6837 | 1219798.6674 | 2676480.0639 | 1219798.7667
18 | 2676528.2436 | 1219799.229 | 2676518.1945 | 1219799.3667 | 2676511.4362 | 1219799.4859
19 | 2676528.2436 | 1219799.229 | 2676527.8272 | 1219811.2357
20 | 2676568.7216 | 1219812.1797 | 2676571.315 | 1219814.257
21 | 2676467.3012 | 1219797.9235 | 2676471.5072 | 1219772.3607 | 2676464.9459 | 1219768.0199
22 | 2676467.3012 | 1219797.9235 | 2676452.5524 | 1219794.6988 | 2676433.3443 | 1219785.9355 | 2676422.535 | 1219778.1674
23 | 2676511.3072 | 1219799.4882 | 2676511.4362 | 1219799.4859
24 | 2676512.1812 | 1219907.955 | 2676518.304 | 1219903.6363 | 2676523.7069 | 1219897.1459 | 2676525.3001 | 1219887.7268 | 2676524.414 | 1219879.9215 | 2676519.6134 | 1219863.1599 | 2676518.0869 | 1219853.8009 | 2676519.4605 | 1219847.8924 | 2676520.5773 | 1219843.6596 | 2676525.1453 | 1219827.1519 | 2676527.8216 | 1219811.3982 | 2676527.8272 | 1219811.2357
25 | 2676626.5357 | 1219806.6936 | 2676633.3674 | 1219820.0146
26 | 2676626.5357 | 1219806.6936 | 2676622.735 | 1219799.2827
27 | 2676637.8453 | 1219828.7459 | 2676633.3674 | 1219820.0146
28 | 2676622.735 | 1219799.2827 | 2676621.3888 | 1219796.6577 | 2676619.4039 | 1219793.8989
29 | 2676619.4039 | 1219793.8989 | 2676619.1522 | 1219793.5491 | 2676615.3838 | 1219787.4078 | 2676615.3838 | 1219787.4078
30 | 2676615.3838 | 1219787.4078 | 2676611.0769 | 1219789.1903
31 | 2676637.8453 | 1219828.7459 | 2676624.7038 | 1219839.7301
32 | 2676637.8453 | 1219828.7459 | 2676641.0804 | 1219835.0472 | 2676643.0423 | 1219834.1385 | 2676646.432 | 1219832.5588 | 2676650.0601 | 1219830.7265 | 2676651.2059 | 1219830.1012
33 | 2676652.9483 | 1219756.9088 | 2676653.0028 | 1219757.2192
34 | 2676590.0554 | 1219829.2677 | 2676571.315 | 1219814.257
35 | 2676653.0028 | 1219757.2192 | 2676654.3173 | 1219764.7048 | 2676654.291 | 1219767.3395 | 2676654.0663 | 1219771.2391 | 2676653.8434 | 1219773.5709
36 | 2676490.1839 | 1219839.9106 | 2676489.1947 | 1219837.2468
37 | 2676486.5839 | 1219830.2164 | 2676489.1947 | 1219837.2468
38 | 2676486.5839 | 1219830.2164 | 2676486.4836 | 1219829.9462 | 2676487.3671 | 1219825.682
39 | 2676488.9035 | 1219818.6964 | 2676488.409 | 1219820.6537 | 2676487.3671 | 1219825.682
40 | 2676488.9035 | 1219818.6964 | 2676491.4552 | 1219808.596 | 2676495.0291 | 1219804.4837 | 2676506.1639 | 1219799.579 | 2676511.3072 | 1219799.4882
41 | 2676464.9459 | 1219768.0199 | 2676462.3596 | 1219766.3088
42 | 2676452.7406 | 1219759.9451 | 2676462.3596 | 1219766.3088
43 | 2676625.2128 | 1219861.2252 | 2676635.7627 | 1219873.7031
44 | 2676614.3565 | 1219848.3789 | 2676615.3207 | 1219849.5254 | 2676625.2128 | 1219861.2252
45 | 2676637.3413 | 1219875.57 | 2676635.7627 | 1219873.7031
46 | 2676614.3565 | 1219848.3789 | 2676610.6714 | 1219844.0175 | 2676605.3351 | 1219840.4871
47 | 2676614.3565 | 1219848.3789 | 2676624.5383 | 1219839.8685
48 | 2676605.2486 | 1219840.4299 | 2676605.3351 | 1219840.4871
49 | 2676624.7038 | 1219839.7301 | 2676624.5383 | 1219839.8685
50 | 2676590.0554 | 1219829.2677 | 2676598.0228 | 1219835.6494 | 2676605.2486 | 1219840.4299
51 | 2676659.8658 | 1219825.9162 | 2676659.9011 | 1219826.1168 | 2676665.3296 | 1219853.8224
52 | 2676659.8658 | 1219825.9162 | 2676653.0491 | 1219788.3595 | 2676652.8615 | 1219785.8332 | 2676652.8735 | 1219783.7209 | 2676653.8434 | 1219773.5709
53 | 2676659.8658 | 1219825.9162 | 2676658.3638 | 1219826.4639 | 2676653.4678 | 1219828.9247 | 2676651.9707 | 1219829.6838 | 2676651.2059 | 1219830.1012
54 | 2676594.2568 | 1219797.3821 | 2676593.2402 | 1219797.9197
55 | 2676594.6619 | 1219797.1679 | 2676594.2568 | 1219797.3821
56 | 2676512.1812 | 1219907.955 | 2676511.1209 | 1219908.7029 | 2676504.0685 | 1219910.6914 | 2676497.6427 | 1219912.3322 | 2676490.9518 | 1219916.3045 | 2676487.4561 | 1219919.8566
57 | 2676611.0769 | 1219789.1903 | 2676604.9623 | 1219791.721 | 2676594.6619 | 1219797.1679

## bus_geodata
| x | y | coords
0 | 2676713.1893 | 1219817.3793
1 | 2676706.9622 | 1219787.8171
2 | 2676730.4619 | 1219906.754
3 | 2676699.9668 | 1219754.4107
4 | 2676732.4324 | 1219917.4102
5 | 2676699.9397 | 1219737.6519
6 | 2676764.9281 | 1219746.0206
7 | 2676648.9085 | 1219733.9039
8 | 2676499.7004 | 1219778.5972
9 | 2676497.5049 | 1219767.7405
10 | 2676530.1843 | 1219785.8007
11 | 2676537.2009 | 1219783.0779
12 | 2676526.7735 | 1219787.2578
13 | 2676555.4757 | 1219801.5283
14 | 2676548.8815 | 1219777.2879
15 | 2676480.0639 | 1219798.7667
16 | 2676528.2436 | 1219799.229
17 | 2676568.7216 | 1219812.1797
18 | 2676467.3012 | 1219797.9235
19 | 2676511.4362 | 1219799.4859
20 | 2676527.8272 | 1219811.2357
21 | 2676626.5357 | 1219806.6936
22 | 2676633.3674 | 1219820.0146
23 | 2676622.735 | 1219799.2827
24 | 2676619.4039 | 1219793.8989
25 | 2676615.3838 | 1219787.4078
26 | 2676637.8453 | 1219828.7459
27 | 2676652.9483 | 1219756.9088
28 | 2676571.315 | 1219814.257
29 | 2676653.0028 | 1219757.2192
30 | 2676490.1839 | 1219839.9106
31 | 2676489.1947 | 1219837.2468
32 | 2676486.5839 | 1219830.2164
33 | 2676487.3672 | 1219825.682
34 | 2676488.9035 | 1219818.6964
35 | 2676422.535 | 1219778.1674
36 | 2676464.9459 | 1219768.0199
37 | 2676462.3596 | 1219766.3088
38 | 2676452.7406 | 1219759.9451
39 | 2676511.3072 | 1219799.4882
40 | 2676625.2128 | 1219861.2252
41 | 2676635.7627 | 1219873.7031
42 | 2676614.3565 | 1219848.3789
43 | 2676637.3413 | 1219875.57
44 | 2676605.3351 | 1219840.4871
45 | 2676624.5383 | 1219839.8685
46 | 2676605.2486 | 1219840.4299
47 | 2676624.7038 | 1219839.7301
48 | 2676590.0554 | 1219829.2677
49 | 2676665.3296 | 1219853.8224
50 | 2676659.8658 | 1219825.9162
51 | 2676653.8434 | 1219773.5709
52 | 2676651.2059 | 1219830.1012
53 | 2676593.2402 | 1219797.9197
54 | 2676594.2568 | 1219797.3821
55 | 2676512.1812 | 1219907.955
56 | 2676487.4561 | 1219919.8566
57 | 2676594.6619 | 1219797.1679
58 | 2676611.0769 | 1219789.1903
59 | 2676637.8453 | 1219828.7459

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98627 | -0.26404 | 0.022602 | 0.0056646
1 | 0.98727 | -0.24456 | 0.0083447 | 0.0020914
2 | 0.98515 | -0.28593 | 0.0049757 | 0.001247
3 | 0.98867 | -0.21753 | 0.0011578 | 0.00029016
4 | 0.98507 | -0.28757 | 0.0084269 | 0.002112
5 | 0.98937 | -0.20392 | 0 | 0
6 | 0.98931 | -0.205 | 0.0009217 | 0.000231
7 | 0.99155 | -0.16177 | 0 | 0
8 | 0.99092 | -0.17446 | 0.0034716 | 0.00087006
9 | 0.99089 | -0.17504 | 0.0029432 | 0.00073763
10 | 0.99116 | -0.16976 | 0 | 0
11 | 0.99141 | -0.16488 | 0 | 0
12 | 0.99106 | -0.17174 | 0 | 0
13 | 0.99241 | -0.14556 | 0.0048339 | 0.0012115
14 | 0.99135 | -0.16611 | 0.0053103 | 0.0013309
15 | 0.99042 | -0.18415 | 0.0010877 | 0.00027259
16 | 0.99089 | -0.17512 | 0 | 0
17 | 0.99314 | -0.13152 | 0 | 0
18 | 0.99026 | -0.1872 | 0 | 0
19 | 0.99079 | -0.17705 | 0.00084166 | 0.00021094
20 | 0.99079 | -0.17709 | 0.0020078 | 0.0005032
21 | 1 | 0 | -0.12889 | -0.032307
22 | 0.9984 | -0.030397 | 0.00086811 | 0.00021757
23 | 0.99993 | -0.0014318 | 0.00087039 | 0.00021814
24 | 0.99987 | -0.0024269 | 0.00083856 | 0.00021016
25 | 0.99982 | -0.0035124 | 0.0020672 | 0.0005181
26 | 0.99737 | -0.050225 | 0 | 0
27 | 0.99255 | -0.14256 | 0.0017931 | 0.00044939
28 | 0.99328 | -0.12877 | 0.0022344 | 0.00055998
29 | 0.99256 | -0.1423 | 0.0015316 | 0.00038385
30 | 0.99059 | -0.18083 | 0.00076529 | 0.0001918
31 | 0.99059 | -0.1808 | 0.00096566 | 0.00024202
32 | 0.99061 | -0.18056 | 0.0009825 | 0.00024624
33 | 0.99062 | -0.18034 | 0.00096826 | 0.00024267
34 | 0.99064 | -0.17987 | 0.0010873 | 0.00027251
35 | 0.9901 | -0.19029 | 0.0035091 | 0.00087948
36 | 0.98996 | -0.19312 | 0.0031826 | 0.00079765
37 | 0.98994 | -0.19348 | 0.0033383 | 0.00083666
38 | 0.98991 | -0.19417 | 0.0033246 | 0.00083322
39 | 0.99079 | -0.17706 | 0.00084166 | 0.00021094
40 | 0.99577 | -0.080762 | 0.00089189 | 0.00022353
41 | 0.99575 | -0.08115 | 0.00090075 | 0.00022575
42 | 0.99581 | -0.080099 | 0 | 0
43 | 0.99575 | -0.081169 | 0.00044912 | 0.00011256
44 | 0.99523 | -0.09125 | 0.0012444 | 0.00031189
45 | 0.99647 | -0.06737 | 0.00087559 | 0.00021944
46 | 0.99522 | -0.091344 | 0.00090111 | 0.00022584
47 | 0.99648 | -0.06716 | 0.00089247 | 0.00022367
48 | 0.99436 | -0.10804 | 0.0012792 | 0.0003206
49 | 0.9957 | -0.082045 | 0.0059549 | 0.0014924
50 | 0.99586 | -0.079068 | 0 | 0
51 | 0.99331 | -0.12779 | 0.0024 | 0.00060151
52 | 0.99637 | -0.069238 | 0.00093774 | 0.00023502
53 | 0.9997 | -0.005688 | 0.00090106 | 0.00022583
54 | 0.99971 | -0.0056699 | 0.0033196 | 0.00083196
55 | 0.9901 | -0.19045 | 0.0019733 | 0.00049457
56 | 0.98996 | -0.19307 | 0.0052558 | 0.0013172
57 | 0.99971 | -0.0056362 | 0.00089292 | 0.00022379
58 | 0.99979 | -0.004007 | 0.0009712 | 0.00024341
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.036019 | -0.0090317 | 0.036053 | 0.0090527 | 3.3459e-05 | 2.1028e-05 | 0.054345 | 0.054345 | 0.054345 | 0.98627 | -0.26404 | 0.98727 | -0.24456 | 14.9299
1 | 0.013417 | 0.0033671 | -0.013403 | -0.0033593 | 1.3991e-05 | 7.7941e-06 | 0.020245 | 0.020245 | 0.020245 | 0.98627 | -0.26404 | 0.98515 | -0.28593 | 5.5618
2 | -0.044398 | -0.011144 | 0.044455 | 0.01118 | 5.7326e-05 | 3.6251e-05 | 0.066922 | 0.066922 | 0.066922 | 0.98727 | -0.24456 | 0.98867 | -0.21753 | 18.3851
3 | 0.0084276 | 0.0021123 | -0.0084269 | -0.002112 | 6.585e-07 | 2.8347e-07 | 0.012729 | 0.012729 | 0.012729 | 0.98515 | -0.28593 | 0.98507 | -0.28757 | 3.4971
4 | -0.045613 | -0.011471 | 0.045642 | 0.011489 | 2.9676e-05 | 1.8777e-05 | 0.068664 | 0.068664 | 0.068664 | 0.98867 | -0.21753 | 0.98937 | -0.20392 | 18.8638
5 | 0.00092174 | 0.00023019 | -0.0009217 | -0.000231 | 4.7214e-08 | -8.112e-07 | 0.001386 | 0.0013863 | 0.0013863 | 0.98937 | -0.20392 | 0.98931 | -0.205 | 0.38086
6 | -0.046564 | -0.01172 | 0.046658 | 0.011779 | 9.3996e-05 | 5.95e-05 | 0.07005 | 0.07005 | 0.07005 | 0.98937 | -0.20392 | 0.99155 | -0.16177 | 19.2446
7 | -0.046658 | -0.011779 | 0.046701 | 0.011806 | 4.298e-05 | 2.7205e-05 | 0.07005 | 0.07005 | 0.07005 | 0.99155 | -0.16177 | 0.99255 | -0.14256 | 19.2445
8 | 0.0029432 | 0.00073754 | -0.0029432 | -0.00073763 | 8.1138e-08 | -9.0757e-08 | 0.0044197 | 0.0044197 | 0.0044197 | 0.99092 | -0.17446 | 0.99089 | -0.17504 | 1.2142
9 | -0.0064148 | -0.0016076 | 0.0064163 | 0.001608 | 1.436e-06 | 3.8727e-07 | 0.0096328 | 0.0096326 | 0.0096328 | 0.99092 | -0.17446 | 0.99116 | -0.16976 | 2.6464
10 | -0.036575 | -0.0091718 | 0.036583 | 0.0091772 | 8.5074e-06 | 5.3478e-06 | 0.054911 | 0.054911 | 0.054911 | 0.99116 | -0.16976 | 0.99141 | -0.16488 | 15.0854
11 | 0.030158 | 0.0075639 | -0.030156 | -0.0075621 | 2.8446e-06 | 1.7728e-06 | 0.045278 | 0.045278 | 0.045278 | 0.99116 | -0.16976 | 0.99106 | -0.17174 | 12.4391
12 | -0.041894 | -0.010508 | 0.041933 | 0.010533 | 3.8638e-05 | 2.4392e-05 | 0.062882 | 0.062882 | 0.062882 | 0.99141 | -0.16488 | 0.99241 | -0.14556 | 17.2752
13 | 0.0053106 | 0.0013309 | -0.0053103 | -0.0013309 | 3.106e-07 | 3.0686e-08 | 0.0079707 | 0.0079708 | 0.0079708 | 0.99141 | -0.16488 | 0.99135 | -0.16611 | 2.1898
14 | 0.014456 | 0.0036265 | -0.014448 | -0.0036217 | 8.5489e-06 | 4.8483e-06 | 0.021707 | 0.021707 | 0.021707 | 0.99106 | -0.17174 | 0.99042 | -0.18415 | 5.9634
15 | 0.015699 | 0.0039356 | -0.015697 | -0.0039341 | 2.5285e-06 | 1.4619e-06 | 0.023572 | 0.023572 | 0.023572 | 0.99106 | -0.17174 | 0.99089 | -0.17512 | 6.4758
16 | -0.046766 | -0.011744 | 0.046798 | 0.011764 | 3.135e-05 | 1.9844e-05 | 0.07013 | 0.070129 | 0.07013 | 0.99241 | -0.14556 | 0.99314 | -0.13152 | 19.2664
17 | 0.01336 | 0.0033491 | -0.013358 | -0.003348 | 1.9406e-06 | 1.0767e-06 | 0.020073 | 0.020073 | 0.020073 | 0.99042 | -0.18415 | 0.99026 | -0.1872 | 5.5145
18 | 0.0064537 | 0.0016171 | -0.0064531 | -0.0016169 | 5.9205e-07 | 1.6241e-07 | 0.0096914 | 0.0096915 | 0.0096915 | 0.99089 | -0.17512 | 0.99079 | -0.17705 | 2.6625
19 | 0.0092431 | 0.0023171 | -0.0092422 | -0.0023167 | 8.6802e-07 | 4.0079e-07 | 0.013881 | 0.013881 | 0.013881 | 0.99089 | -0.17512 | 0.99079 | -0.17709 | 3.8133
20 | -0.046798 | -0.011764 | 0.046804 | 0.011768 | 6.1283e-06 | 3.8791e-06 | 0.070129 | 0.070129 | 0.070129 | 0.99314 | -0.13152 | 0.99328 | -0.12877 | 19.2663
21 | 0.0098485 | 0.0024688 | -0.0098458 | -0.0024675 | 2.7738e-06 | 1.3409e-06 | 0.014799 | 0.014799 | 0.014799 | 0.99026 | -0.1872 | 0.98996 | -0.19312 | 4.0657
22 | 0.0035097 | 0.00087917 | -0.0035091 | -0.00087948 | 5.1648e-07 | -3.0644e-07 | 0.0052736 | 0.0052739 | 0.0052739 | 0.99026 | -0.1872 | 0.9901 | -0.19029 | 1.4489
23 | 0.0056115 | 0.001406 | -0.0056115 | -0.001406 | 3.4364e-09 | 5.3744e-10 | 0.0084274 | 0.0084274 | 0.0084274 | 0.99079 | -0.17705 | 0.99079 | -0.17706 | 2.3152
24 | 0.0072344 | 0.0018135 | -0.0072298 | -0.0018119 | 4.6032e-06 | 1.6079e-06 | 0.010865 | 0.010866 | 0.010866 | 0.99079 | -0.17709 | 0.9901 | -0.19045 | 2.9851
25 | 0.11738 | 0.029835 | -0.11721 | -0.029725 | 0.00017156 | 0.0001096 | 0.17481 | 0.17481 | 0.17481 | 1 | 0 | 0.9984 | -0.030397 | 48.025
26 | 0.009863 | 0.0024721 | -0.0098623 | -0.0024718 | 6.7274e-07 | 3.213e-07 | 0.014676 | 0.014676 | 0.014676 | 1 | 0 | 0.99993 | -0.0014318 | 4.032
27 | 0.11634 | 0.029508 | -0.11623 | -0.029437 | 0.00011079 | 7.0777e-05 | 0.17352 | 0.17352 | 0.17352 | 0.9984 | -0.030397 | 0.99737 | -0.050225 | 47.6695
28 | 0.008992 | 0.0022536 | -0.0089915 | -0.0022534 | 4.2629e-07 | 1.8955e-07 | 0.013381 | 0.013381 | 0.013381 | 0.99993 | -0.0014318 | 0.99987 | -0.0024269 | 3.6762
29 | 0.008153 | 0.0020433 | -0.0081525 | -0.0020431 | 4.2157e-07 | 1.6965e-07 | 0.012133 | 0.012133 | 0.012133 | 0.99987 | -0.0024269 | 0.99982 | -0.0035124 | 3.3333
30 | 0.0060853 | 0.001525 | -0.0060852 | -0.001525 | 1.4337e-07 | 3.063e-08 | 0.0090566 | 0.0090567 | 0.0090567 | 0.99982 | -0.0035124 | 0.99979 | -0.004007 | 2.4881
31 | 0.05667 | 0.014316 | -0.056624 | -0.014286 | 4.5957e-05 | 2.9189e-05 | 0.084589 | 0.084589 | 0.084589 | 0.99737 | -0.050225 | 0.99648 | -0.06716 | 23.2386
32 | 0.05956 | 0.015121 | -0.059505 | -0.015087 | 5.4434e-05 | 3.4598e-05 | 0.088929 | 0.088929 | 0.088929 | 0.99737 | -0.050225 | 0.99637 | -0.069238 | 24.431
33 | -0.048494 | -0.012256 | 0.048495 | 0.012256 | 6.2538e-07 | 3.9617e-07 | 0.072738 | 0.072738 | 0.072738 | 0.99255 | -0.14256 | 0.99256 | -0.1423 | 19.983
34 | -0.049038 | -0.012328 | 0.049087 | 0.012359 | 4.8611e-05 | 3.08e-05 | 0.073477 | 0.073477 | 0.073477 | 0.99328 | -0.12877 | 0.99436 | -0.10804 | 20.1859
35 | -0.050026 | -0.01264 | 0.050061 | 0.012662 | 3.4801e-05 | 2.206e-05 | 0.075034 | 0.075034 | 0.075034 | 0.99256 | -0.1423 | 0.99331 | -0.12779 | 20.6138
36 | -0.00076529 | -0.0001918 | 0.0007653 | 0.00019177 | 1.4082e-09 | -3.5679e-08 | 0.0011496 | 0.0011496 | 0.0011496 | 0.99059 | -0.18083 | 0.99059 | -0.1808 | 0.31582
37 | -0.001731 | -0.00043378 | 0.001731 | 0.0004337 | 1.9013e-08 | -8.4379e-08 | 0.0026001 | 0.0026001 | 0.0026001 | 0.99059 | -0.1808 | 0.99061 | -0.18056 | 0.71432
38 | -0.0027135 | -0.00067993 | 0.0027135 | 0.00067989 | 2.8926e-08 | -4.1263e-08 | 0.0040759 | 0.0040759 | 0.0040759 | 0.99061 | -0.18056 | 0.99062 | -0.18034 | 1.1198
39 | -0.0036818 | -0.00092256 | 0.0036818 | 0.00092252 | 8.2049e-08 | -3.9592e-08 | 0.0055303 | 0.0055303 | 0.0055303 | 0.99062 | -0.18034 | 0.99064 | -0.17987 | 1.5193
40 | -0.0047692 | -0.001195 | 0.0047698 | 0.001195 | 6.3844e-07 | -1.8616e-08 | 0.0071635 | 0.0071634 | 0.0071635 | 0.99064 | -0.17987 | 0.99079 | -0.17706 | 1.968
41 | 0.0066631 | 0.0016698 | -0.006663 | -0.0016698 | 1.1665e-07 | 3.4784e-08 | 0.010015 | 0.010015 | 0.010015 | 0.98996 | -0.19312 | 0.98994 | -0.19348 | 2.7515
42 | 0.0033247 | 0.00083314 | -0.0033246 | -0.00083322 | 1.0802e-07 | -7.9147e-08 | 0.0049974 | 0.0049975 | 0.0049975 | 0.98994 | -0.19348 | 0.98991 | -0.19417 | 1.3729
43 | 0.0013499 | 0.00033808 | -0.0013499 | -0.00033828 | 2.4932e-08 | -1.966e-07 | 0.0020171 | 0.0020172 | 0.0020172 | 0.99577 | -0.080762 | 0.99575 | -0.08115 | 0.55417
44 | -0.0022418 | -0.00056161 | 0.0022419 | 0.00056144 | 7.0776e-08 | -1.7351e-07 | 0.0033499 | 0.0033498 | 0.0033499 | 0.99577 | -0.080762 | 0.99581 | -0.080099 | 0.9203
45 | 0.00044912 | 0.00011253 | -0.00044912 | -0.00011256 | 4.1297e-10 | -3.1539e-08 | 0.00067113 | 0.00067115 | 0.00067115 | 0.99575 | -0.08115 | 0.99575 | -0.081169 | 0.18438
46 | 0.05258 | 0.01326 | -0.052552 | -0.013242 | 2.805e-05 | 1.7795e-05 | 0.078599 | 0.078599 | 0.078599 | 0.99581 | -0.080099 | 0.99523 | -0.09125 | 21.5931
47 | -0.054822 | -0.013822 | 0.054855 | 0.013843 | 3.3419e-05 | 2.1215e-05 | 0.081948 | 0.081948 | 0.081948 | 0.99581 | -0.080099 | 0.99647 | -0.06737 | 22.5133
48 | 0.051308 | 0.012931 | -0.051307 | -0.01293 | 2.2899e-07 | 1.452e-07 | 0.076738 | 0.076738 | 0.076738 | 0.99523 | -0.09125 | 0.99522 | -0.091344 | 21.0819
49 | -0.055731 | -0.014062 | 0.055732 | 0.014063 | 5.6066e-07 | 3.5601e-07 | 0.083256 | 0.083256 | 0.083256 | 0.99647 | -0.06737 | 0.99648 | -0.06716 | 22.8725
50 | 0.050406 | 0.012705 | -0.050366 | -0.012679 | 4.0225e-05 | 2.5499e-05 | 0.075391 | 0.075391 | 0.075391 | 0.99522 | -0.091344 | 0.99436 | -0.10804 | 20.7118
51 | -0.0059549 | -0.0014924 | 0.0059558 | 0.0014926 | 8.4451e-07 | 1.7057e-07 | 0.0088993 | 0.0088992 | 0.0088993 | 0.9957 | -0.082045 | 0.99586 | -0.079068 | 2.4449
52 | 0.052584 | 0.013341 | -0.052461 | -0.013263 | 0.00012291 | 7.7972e-05 | 0.078629 | 0.078629 | 0.078629 | 0.99586 | -0.079068 | 0.99331 | -0.12779 | 21.6015
53 | -0.05854 | -0.014834 | 0.058568 | 0.014852 | 2.7661e-05 | 1.7578e-05 | 0.087528 | 0.087528 | 0.087528 | 0.99586 | -0.079068 | 0.99637 | -0.069238 | 24.0462
54 | -0.00090106 | -0.00022583 | 0.00090106 | 0.00022581 | 7.7557e-10 | -1.4582e-08 | 0.0013412 | 0.0013412 | 0.0013412 | 0.9997 | -0.005688 | 0.99971 | -0.0056699 | 0.36846
55 | -0.0042206 | -0.0010578 | 0.0042206 | 0.0010578 | 6.7837e-09 | -1.668e-09 | 0.0062822 | 0.0062822 | 0.0062822 | 0.99971 | -0.0056699 | 0.99971 | -0.0056362 | 1.7259
56 | 0.0052564 | 0.0013173 | -0.0052558 | -0.0013172 | 6.558e-07 | 5.9383e-08 | 0.0078999 | 0.0079 | 0.0079 | 0.9901 | -0.19045 | 0.98996 | -0.19307 | 2.1703
57 | -0.0051136 | -0.0012816 | 0.005114 | 0.0012816 | 3.9689e-07 | 1.4446e-08 | 0.0076113 | 0.0076112 | 0.0076113 | 0.99971 | -0.0056362 | 0.99979 | -0.004007 | 2.091

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.12981 | 0.032537

## res_load
| p_mw | q_mvar
0 | 0.022602 | 0.0056646
1 | 0.0083447 | 0.0020914
2 | 0.0049757 | 0.001247
3 | 0.0011578 | 0.00029016
4 | 0.0084269 | 0.002112
5 | 0.0009217 | 0.000231
6 | 0.0034716 | 0.00087006
7 | 0.0029432 | 0.00073763
8 | 0.0048339 | 0.0012115
9 | 0.0053103 | 0.0013309
10 | 0.0010877 | 0.00027259
11 | 0.00084166 | 0.00021094
12 | 0.0020078 | 0.0005032
13 | 0.00091859 | 0.00023022
14 | 0.00086811 | 0.00021757
15 | 0.00087039 | 0.00021814
16 | 0.00083856 | 0.00021016
17 | 0.0020672 | 0.0005181
18 | 0.0017931 | 0.00044939
19 | 0.0022344 | 0.00055998
20 | 0.0015316 | 0.00038385
21 | 0.00076529 | 0.0001918
22 | 0.00096566 | 0.00024202
23 | 0.0009825 | 0.00024624
24 | 0.00096826 | 0.00024267
25 | 0.0010873 | 0.00027251
26 | 0.0035091 | 0.00087948
27 | 0.0031826 | 0.00079765
28 | 0.0033383 | 0.00083666
29 | 0.0033246 | 0.00083322
30 | 0.00084166 | 0.00021094
31 | 0.00089189 | 0.00022353
32 | 0.00090075 | 0.00022575
33 | 0.00044912 | 0.00011256
34 | 0.0012444 | 0.00031189
35 | 0.00087559 | 0.00021944
36 | 0.00090111 | 0.00022584
37 | 0.00089247 | 0.00022367
38 | 0.0012792 | 0.0003206
39 | 0.0059549 | 0.0014924
40 | 0.0024 | 0.00060151
41 | 0.00093774 | 0.00023502
42 | 0.00090106 | 0.00022583
43 | 0.0033196 | 0.00083196
44 | 0.0019733 | 0.00049457
45 | 0.0052558 | 0.0013172
46 | 0.00089292 | 0.00022379
47 | 0.0009712 | 0.00024341

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1