## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1066-2_1_2_node_131 | 0.4 | n |  | TRUE
1 | bus_LV_1066-2_1_2_node_132 | 0.4 | n |  | TRUE
2 | bus_LV_1066-2_1_2_node_133 | 0.4 | n |  | TRUE
3 | bus_LV_1066-2_1_2_node_134 | 0.4 | n |  | TRUE
4 | bus_LV_1066-2_1_2_node_135 | 0.4 | n |  | TRUE
5 | bus_LV_1066-2_1_2_node_144 | 0.4 | n |  | TRUE
6 | bus_LV_1066-2_1_2_node_143 | 0.4 | n |  | TRUE
7 | bus_LV_1066-2_1_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1066-2_1_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1066-2_1_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1066-2_1_2_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1066-2_1_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1066-2_1_2_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1066-2_1_2_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_1066-2_1_2_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_1066-2_1_2_node_142 | 0.4 | n |  | TRUE
16 | bus_LV_1066-2_1_2_node_77 | 0.4 | n |  | TRUE
17 | bus_LV_1066-2_1_2_node_114 | 0.4 | n |  | TRUE
18 | bus_LV_1066-2_1_2_node_145 | 0.4 | n |  | TRUE
19 | bus_LV_1066-2_1_2_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_1066-2_1_2_node_146 | 0.4 | n |  | TRUE
21 | bus_LV_1066-2_1_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1066-2_1_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1066-2_1_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1066-2_1_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1066-2_1_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1066-2_1_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1066-2_1_2_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1066-2_1_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1066-2_1_2_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_1066-2_1_2_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1066-2_1_2_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1066-2_1_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1066-2_1_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1066-2_1_2_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_1066-2_1_2_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_1066-2_1_2_node_153 | 0.4 | n |  | TRUE
37 | bus_LV_1066-2_1_2_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_1066-2_1_2_node_161 | 0.4 | n |  | TRUE
39 | bus_LV_1066-2_1_2_node_116 | 0.4 | n |  | TRUE
40 | bus_LV_1066-2_1_2_node_162 | 0.4 | n |  | TRUE
41 | bus_LV_1066-2_1_2_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1066-2_1_2_node_170 | 0.4 | n |  | TRUE
43 | bus_LV_1066-2_1_2_node_117 | 0.4 | n |  | TRUE
44 | bus_LV_1066-2_1_2_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_1066-2_1_2_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_1066-2_1_2_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_1066-2_1_2_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_1066-2_1_2_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_1066-2_1_2_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_1066-2_1_2_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_1066-2_1_2_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_1066-2_1_2_node_102 | 0.4 | n |  | TRUE
53 | bus_LV_1066-2_1_2_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_1066-2_1_2_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_1066-2_1_2_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_1066-2_1_2_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_1066-2_1_2_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_1066-2_1_2_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_1066-2_1_2_node_92 | 0.4 | n |  | TRUE
60 | bus_LV_1066-2_1_2_node_148 | 0.4 | n |  | TRUE
61 | bus_LV_1066-2_1_2_node_113 | 0.4 | n |  | TRUE
62 | bus_LV_1066-2_1_2_node_115 | 0.4 | n |  | TRUE
63 | bus_MV_2_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1066-2_1_2_load_131 | 0 | 0.0026478 | 0.0006636 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1066-2_1_2_load_132 | 1 | 0.0013002 | 0.00032587 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1066-2_1_2_load_133 | 2 | 0.0011089 | 0.00027792 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1066-2_1_2_load_134 | 3 | 0.0025939 | 0.00065009 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1066-2_1_2_load_144 | 5 | 0.0014607 | 0.00036607 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1066-2_1_2_load_143 | 6 | 0.00085089 | 0.00021325 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1066-2_1_2_load_8 | 7 | 0.0013512 | 0.00033865 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1066-2_1_2_load_9 | 8 | 0.002339 | 0.0005862 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1066-2_1_2_load_10 | 9 | 0.010918 | 0.0027364 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1066-2_1_2_load_11 | 10 | 0.0012341 | 0.00030928 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1066-2_1_2_load_18 | 12 | 0.00088033 | 0.00022063 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1066-2_1_2_load_25 | 14 | 0.0037431 | 0.00093812 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1066-2_1_2_load_142 | 15 | 0.0029528 | 0.00074004 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1066-2_1_2_load_114 | 17 | 0.0010511 | 0.00026344 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1066-2_1_2_load_145 | 18 | 0.0018696 | 0.00046857 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1066-2_1_2_load_73 | 19 | 0.0050324 | 0.0012612 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1066-2_1_2_load_146 | 20 | 0.004828 | 0.00121 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1066-2_1_2_load_22 | 21 | 0.014257 | 0.003573 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1066-2_1_2_load_19 | 22 | 0.015855 | 0.0039736 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1066-2_1_2_load_20 | 23 | 0.042883 | 0.010747 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1066-2_1_2_load_23 | 25 | 0.0014989 | 0.00037566 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1066-2_1_2_load_24 | 26 | 0.0029881 | 0.00074889 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1066-2_1_2_load_26 | 27 | 0.0015357 | 0.00038487 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1066-2_1_2_load_27 | 28 | 0.0021731 | 0.00054464 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1066-2_1_2_load_39 | 29 | 0.0056827 | 0.0014242 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1066-2_1_2_load_32 | 30 | 0.002627 | 0.00065838 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1066-2_1_2_load_29 | 31 | 0.0019196 | 0.00048109 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1066-2_1_2_load_30 | 32 | 0.0024514 | 0.00061438 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1066-2_1_2_load_31 | 33 | 0.0037853 | 0.00094869 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1066-2_1_2_load_57 | 34 | 0.0026992 | 0.00067648 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1066-2_1_2_load_72 | 35 | 0.0061411 | 0.0015391 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1066-2_1_2_load_153 | 36 | 0.0018106 | 0.00045377 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1066-2_1_2_load_79 | 37 | 0.0011253 | 0.00028204 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1066-2_1_2_load_116 | 39 | 0.002316 | 0.00058045 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1066-2_1_2_load_162 | 40 | 0.0021181 | 0.00053085 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1066-2_1_2_load_40 | 41 | 0.0027327 | 0.00068489 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1066-2_1_2_load_170 | 42 | 0.0015621 | 0.00039149 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1066-2_1_2_load_117 | 43 | 0.0019588 | 0.00049092 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1066-2_1_2_load_58 | 44 | 0.0021414 | 0.00053668 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1066-2_1_2_load_61 | 45 | 0.0023144 | 0.00058005 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1066-2_1_2_load_59 | 46 | 0.005512 | 0.0013814 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1066-2_1_2_load_66 | 47 | 0.0019104 | 0.00047879 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1066-2_1_2_load_67 | 48 | 0.0020621 | 0.0005168 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1066-2_1_2_load_68 | 49 | 0.0024678 | 0.00061848 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1066-2_1_2_load_69 | 50 | 0.0043564 | 0.0010918 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1066-2_1_2_load_102 | 52 | 0.0021917 | 0.0005493 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1066-2_1_2_load_71 | 53 | 0.0052855 | 0.0013247 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1066-2_1_2_load_74 | 54 | 0.0031255 | 0.00078333 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1066-2_1_2_load_75 | 55 | 0.0043724 | 0.0010958 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1066-2_1_2_load_78 | 57 | 0.0021851 | 0.00054765 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1066-2_1_2_load_91 | 58 | 0.003008 | 0.00075387 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1066-2_1_2_load_92 | 59 | 0.0022787 | 0.0005711 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1066-2_1_2_load_148 | 60 | 0.002194 | 0.00054987 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1066-2_1_2_load_113 | 61 | 0.0019372 | 0.00048552 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1066-2_1_2_line_0 |  | 0 | 1 | 0.0061633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1066-2_1_2_line_1 |  | 0 | 2 | 0.03074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1066-2_1_2_line_2 |  | 1 | 3 | 0.011812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1066-2_1_2_line_3 |  | 2 | 4 | 0.0058991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1066-2_1_2_line_4 |  | 4 | 5 | 0.022749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1066-2_1_2_line_5 |  | 4 | 6 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1066-2_1_2_line_6 |  | 5 | 17 | 0.046517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1066-2_1_2_line_7 |  | 6 | 15 | 0.019789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1066-2_1_2_line_8 |  | 7 | 8 | 0.034757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1066-2_1_2_line_9 |  | 7 | 9 | 0.049034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1066-2_1_2_line_10 |  | 8 | 10 | 0.025993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1066-2_1_2_line_11 |  | 9 | 11 | 0.009062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1066-2_1_2_line_12 |  | 10 | 12 | 0.015976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1066-2_1_2_line_13 |  | 11 | 13 | 0.036123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1066-2_1_2_line_14 |  | 11 | 14 | 0.017047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1066-2_1_2_line_15 |  | 12 | 21 | 0.026019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1066-2_1_2_line_16 |  | 13 | 30 | 0.030745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1066-2_1_2_line_17 |  | 13 | 31 | 0.0042131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1066-2_1_2_line_18 |  | 14 | 26 | 0.031261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1066-2_1_2_line_19 |  | 15 | 16 | 0.033653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1066-2_1_2_line_20 |  | 16 | 55 | 0.017527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1066-2_1_2_line_21 |  | 17 | 62 | 0.017851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1066-2_1_2_line_22 |  | 17 | 52 | 0.061943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1066-2_1_2_line_23 |  | 18 | 19 | 0.03453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1066-2_1_2_line_24 |  | 18 | 20 | 0.0065233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1066-2_1_2_line_25 |  | 19 | 51 | 0.014136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1066-2_1_2_line_26 |  | 21 | 23 | 0.015431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1066-2_1_2_line_27 |  | 22 | 23 | 0.034098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1066-2_1_2_line_28 |  | 22 | 24 | 0.026572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1066-2_1_2_line_29 |  | 24 | 25 | 0.039592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1066-2_1_2_line_30 |  | 26 | 27 | 0.00016553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1066-2_1_2_line_31 |  | 27 | 28 | 0.024498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1066-2_1_2_line_32 |  | 28 | 29 | 0.02075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1066-2_1_2_line_33 |  | 29 | 41 | 0.0075575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1066-2_1_2_line_34 |  | 30 | 35 | 0.053545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1066-2_1_2_line_35 |  | 31 | 32 | 0.035957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1066-2_1_2_line_36 |  | 32 | 33 | 0.0099261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1066-2_1_2_line_37 |  | 33 | 34 | 0.0209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1066-2_1_2_line_38 |  | 34 | 44 | 0.017231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1066-2_1_2_line_39 |  | 35 | 53 | 0.041402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1066-2_1_2_line_40 |  | 36 | 37 | 0.0013586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1066-2_1_2_line_41 |  | 37 | 56 | 0.037544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1066-2_1_2_line_42 |  | 38 | 39 | 0.021817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1066-2_1_2_line_43 |  | 38 | 40 | 0.015468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1066-2_1_2_line_44 |  | 39 | 62 | 0.036851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1066-2_1_2_line_45 |  | 42 | 43 | 0.002348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1066-2_1_2_line_46 |  | 43 | 62 | 0.011253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1066-2_1_2_line_47 |  | 44 | 45 | 0.01703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1066-2_1_2_line_48 |  | 45 | 46 | 0.0058959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1066-2_1_2_line_49 |  | 47 | 48 | 0.023809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1066-2_1_2_line_50 |  | 47 | 49 | 0.010341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1066-2_1_2_line_51 |  | 48 | 50 | 0.011068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1066-2_1_2_line_52 |  | 49 | 51 | 0.014252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1066-2_1_2_line_53 |  | 50 | 52 | 0.034788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1066-2_1_2_line_54 |  | 51 | 53 | 0.026378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1066-2_1_2_line_55 |  | 52 | 61 | 0.028673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1066-2_1_2_line_56 |  | 54 | 55 | 0.028777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1066-2_1_2_line_57 |  | 54 | 56 | 0.015644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1066-2_1_2_line_58 |  | 56 | 57 | 0.013564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1066-2_1_2_line_59 |  | 57 | 58 | 0.020301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1066-2_1_2_line_60 |  | 58 | 59 | 0.0033047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1066-2_1_2_line_61 |  | 59 | 60 | 0.0056037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1066-2_1_2_trafo_32 | 0.63 MVA 20/0.4 kV | 63 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2655990.9241 | 1207865.2854 | 2655985.1262 | 1207863.1947
1 | 2655990.9241 | 1207865.2854 | 2656019.8413 | 1207875.7129
2 | 2655974.0146 | 1207859.1879 | 2655985.1262 | 1207863.1947
3 | 2656025.3906 | 1207877.714 | 2656019.8413 | 1207875.7129
4 | 2656025.3906 | 1207877.714 | 2656046.8159 | 1207885.3598
5 | 2656025.3906 | 1207877.714 | 2656021.6019 | 1207892.9563
6 | 2656046.8159 | 1207885.3598 | 2656093.2439 | 1207882.4877
7 | 2656016.8284 | 1207912.1605 | 2656021.6019 | 1207892.9563
8 | 2656135.1113 | 1207669.3383 | 2656139.6751 | 1207669.9195 | 2656166.9645 | 1207669.865 | 2656169.8221 | 1207669.6385
9 | 2656088.0155 | 1207656.6193 | 2656100.5623 | 1207658.6453 | 2656111.6654 | 1207661.6625 | 2656128.929 | 1207668.5511 | 2656135.1113 | 1207669.3383
10 | 2656169.8221 | 1207669.6385 | 2656183.3927 | 1207668.5632 | 2656195.4913 | 1207665.94
11 | 2656079.0694 | 1207655.1747 | 2656088.0155 | 1207656.6193
12 | 2656211.0794 | 1207662.4486 | 2656207.5222 | 1207663.3316 | 2656195.4913 | 1207665.94
13 | 2656079.0694 | 1207655.1747 | 2656082.9913 | 1207681.227 | 2656082.8995 | 1207690.9986
14 | 2656079.0694 | 1207655.1747 | 2656062.1604 | 1207653.0133
15 | 2656211.0794 | 1207662.4486 | 2656236.3319 | 1207656.1806
16 | 2656082.8995 | 1207690.9986 | 2656086.248 | 1207696.3443 | 2656092.845 | 1207719.8739
17 | 2656082.8995 | 1207690.9986 | 2656081.0323 | 1207694.7753
18 | 2656031.1459 | 1207649.0971 | 2656032.979 | 1207649.2831 | 2656062.1604 | 1207653.0133
19 | 2656008.7105 | 1207944.8196 | 2656016.8284 | 1207912.1605
20 | 2656008.7105 | 1207944.8196 | 2655991.6509 | 1207940.8
21 | 2656093.8733 | 1207900.3147 | 2656093.8049 | 1207888.9851 | 2656093.2439 | 1207882.4877
22 | 2656093.2439 | 1207882.4877 | 2656078.7518 | 1207822.2641
23 | 2655966.933 | 1207763.82 | 2656001.3595 | 1207766.4941
24 | 2655966.933 | 1207763.82 | 2655960.4293 | 1207763.3149
25 | 2656015.4527 | 1207767.5888 | 2656001.3595 | 1207766.4941
26 | 2656251.3086 | 1207652.4632 | 2656236.3319 | 1207656.1806
27 | 2656251.3086 | 1207652.4632 | 2656258.3565 | 1207650.7138 | 2656265.3118 | 1207647.6887 | 2656267.5339 | 1207644.2631 | 2656269.1034 | 1207632.6377 | 2656269.3703 | 1207629.2105
28 | 2656268.4722 | 1207602.803 | 2656270.3491 | 1207616.64 | 2656269.3703 | 1207629.2105
29 | 2656268.4722 | 1207602.803 | 2656270.8161 | 1207599.3674 | 2656273.4657 | 1207564.0333
30 | 2656031.1459 | 1207649.0971 | 2656030.9813 | 1207649.0804
31 | 2656006.6085 | 1207646.608 | 2656030.9813 | 1207649.0804
32 | 2655985.9644 | 1207644.5139 | 2656006.6085 | 1207646.608
33 | 2655985.9644 | 1207644.5139 | 2655978.4454 | 1207643.7512
34 | 2656092.845 | 1207719.8739 | 2656083.0535 | 1207772.5158
35 | 2656048.4813 | 1207701.1444 | 2656067.9419 | 1207702.4983 | 2656075.5778 | 1207701.4694 | 2656079.7372 | 1207697.3949 | 2656081.0323 | 1207694.7753
36 | 2656038.5792 | 1207700.4555 | 2656048.4813 | 1207701.1444
37 | 2656038.5792 | 1207700.4555 | 2656017.7293 | 1207699.005
38 | 2656000.5398 | 1207697.8091 | 2656017.7293 | 1207699.005
39 | 2656083.0535 | 1207772.5158 | 2656041.7614 | 1207769.5063
40 | 2655910.782 | 1207920.751 | 2655912.0962 | 1207921.0954
41 | 2655948.414 | 1207930.6126 | 2655912.0962 | 1207921.0954
42 | 2656110.7693 | 1207955.1282 | 2656107.5385 | 1207944.5582 | 2656102.8766 | 1207934.8553
43 | 2656110.7693 | 1207955.1282 | 2656117.4226 | 1207958.3037 | 2656123.7311 | 1207963.3771
44 | 2656093.8733 | 1207900.3147 | 2656092.2522 | 1207907.7706 | 2656093.2658 | 1207913.1833 | 2656098.9478 | 1207926.678 | 2656102.8766 | 1207934.8553
45 | 2656106.333 | 1207894.8618 | 2656104.182 | 1207895.8032
46 | 2656093.8733 | 1207900.3147 | 2656104.182 | 1207895.8032
47 | 2656000.5398 | 1207697.8091 | 2655983.5514 | 1207696.6272
48 | 2655977.6697 | 1207696.218 | 2655983.5514 | 1207696.6272
49 | 2656017.4843 | 1207791.8864 | 2656022.8368 | 1207799.0545 | 2656030.7269 | 1207804.1426 | 2656035.8486 | 1207806.0752
50 | 2656017.4843 | 1207791.8864 | 2656017.0849 | 1207791.3515 | 2656015.319 | 1207781.8404 | 2656015.319 | 1207781.8404
51 | 2656035.8486 | 1207806.0752 | 2656046.2035 | 1207809.9825
52 | 2656015.4527 | 1207767.5888 | 2656015.319 | 1207781.8404
53 | 2656046.2035 | 1207809.9825 | 2656078.7518 | 1207822.2641
54 | 2656015.4527 | 1207767.5888 | 2656041.7614 | 1207769.5063
55 | 2656078.7518 | 1207822.2641 | 2656105.5146 | 1207811.9737
56 | 2655991.6509 | 1207940.8 | 2655963.641 | 1207934.2004
57 | 2655948.414 | 1207930.6126 | 2655963.641 | 1207934.2004
58 | 2655948.414 | 1207930.6126 | 2655951.2132 | 1207917.3406
59 | 2655951.2132 | 1207917.3406 | 2655952.83 | 1207909.6749 | 2655955.2328 | 1207897.4425
60 | 2655955.8698 | 1207894.1997 | 2655955.2328 | 1207897.4425
61 | 2655956.9499 | 1207888.701 | 2655955.8698 | 1207894.1997

## bus_geodata
| x | y | coords
0 | 2655990.9241 | 1207865.2854
1 | 2655985.1262 | 1207863.1947
2 | 2656019.8413 | 1207875.7129
3 | 2655974.0146 | 1207859.1879
4 | 2656025.3906 | 1207877.714
5 | 2656046.8159 | 1207885.3598
6 | 2656021.6019 | 1207892.9563
7 | 2656135.1113 | 1207669.3383
8 | 2656169.8221 | 1207669.6385
9 | 2656088.0155 | 1207656.6193
10 | 2656195.4913 | 1207665.94
11 | 2656079.0694 | 1207655.1747
12 | 2656211.0794 | 1207662.4486
13 | 2656082.8995 | 1207690.9986
14 | 2656062.1604 | 1207653.0133
15 | 2656016.8284 | 1207912.1605
16 | 2656008.7105 | 1207944.8196
17 | 2656093.2439 | 1207882.4877
18 | 2655966.933 | 1207763.82
19 | 2656001.3595 | 1207766.4941
20 | 2655960.4293 | 1207763.3149
21 | 2656236.3319 | 1207656.1806
22 | 2656269.3703 | 1207629.2105
23 | 2656251.3086 | 1207652.4632
24 | 2656268.4722 | 1207602.803
25 | 2656273.4657 | 1207564.0333
26 | 2656031.1459 | 1207649.0971
27 | 2656030.9813 | 1207649.0804
28 | 2656006.6085 | 1207646.608
29 | 2655985.9644 | 1207644.5139
30 | 2656092.845 | 1207719.8739
31 | 2656081.0323 | 1207694.7753
32 | 2656048.4813 | 1207701.1444
33 | 2656038.5792 | 1207700.4555
34 | 2656017.7293 | 1207699.005
35 | 2656083.0535 | 1207772.5158
36 | 2655910.782 | 1207920.751
37 | 2655912.0962 | 1207921.0954
38 | 2656110.7693 | 1207955.1282
39 | 2656102.8766 | 1207934.8553
40 | 2656123.7311 | 1207963.3771
41 | 2655978.4454 | 1207643.7512
42 | 2656106.333 | 1207894.8618
43 | 2656104.182 | 1207895.8032
44 | 2656000.5398 | 1207697.8091
45 | 2655983.5514 | 1207696.6272
46 | 2655977.6697 | 1207696.218
47 | 2656017.4843 | 1207791.8864
48 | 2656035.8486 | 1207806.0752
49 | 2656015.319 | 1207781.8404
50 | 2656046.2035 | 1207809.9825
51 | 2656015.4527 | 1207767.5888
52 | 2656078.7518 | 1207822.2641
53 | 2656041.7614 | 1207769.5063
54 | 2655963.641 | 1207934.2004
55 | 2655991.6509 | 1207940.8
56 | 2655948.414 | 1207930.6126
57 | 2655951.2132 | 1207917.3406
58 | 2655955.2328 | 1207897.4425
59 | 2655955.8698 | 1207894.1997
60 | 2655956.9499 | 1207888.701
61 | 2656105.5146 | 1207811.9737
62 | 2656093.8733 | 1207900.3147
63 | 2656082.8995 | 1207690.9986

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98243 | -0.33819 | 0.0026478 | 0.0006636
1 | 0.98241 | -0.33863 | 0.0013002 | 0.00032587
2 | 0.98261 | -0.33456 | 0.0011089 | 0.00027792
3 | 0.98238 | -0.33918 | 0.0025939 | 0.00065009
4 | 0.98266 | -0.33375 | 0 | 0
5 | 0.98332 | -0.32079 | 0.0014607 | 0.00036607
6 | 0.98231 | -0.34053 | 0.00085089 | 0.00021325
7 | 0.98821 | -0.22515 | 0.0013512 | 0.00033865
8 | 0.98568 | -0.27426 | 0.002339 | 0.0005862
9 | 0.99186 | -0.15513 | 0.010918 | 0.0027364
10 | 0.98383 | -0.31005 | 0.0012341 | 0.00030928
11 | 0.99262 | -0.1405 | 0 | 0
12 | 0.98272 | -0.33176 | 0.00088033 | 0.00022063
13 | 0.99629 | -0.070412 | 0 | 0
14 | 0.99233 | -0.14618 | 0.0037431 | 0.00093812
15 | 0.98189 | -0.34877 | 0.0029528 | 0.00074004
16 | 0.98126 | -0.36101 | 0 | 0
17 | 0.98474 | -0.29314 | 0.0010511 | 0.00026344
18 | 0.9912 | -0.16816 | 0.0018696 | 0.00046857
19 | 0.99141 | -0.16405 | 0.0050324 | 0.0012612
20 | 0.99117 | -0.16871 | 0.004828 | 0.00121
21 | 0.98093 | -0.3668 | 0.014257 | 0.003573
22 | 0.97952 | -0.3944 | 0.015855 | 0.0039736
23 | 0.98007 | -0.38366 | 0.042883 | 0.010747
24 | 0.97948 | -0.39512 | 0 | 0
25 | 0.97943 | -0.3962 | 0.0014989 | 0.00037566
26 | 0.9919 | -0.15455 | 0.0029881 | 0.00074889
27 | 0.9919 | -0.15459 | 0.0015357 | 0.00038487
28 | 0.99166 | -0.15918 | 0.0021731 | 0.00054464
29 | 0.9915 | -0.16228 | 0.0056827 | 0.0014242
30 | 1 | 0 | -0.21544 | -0.054651
31 | 0.99621 | -0.071953 | 0.0019196 | 0.00048109
32 | 0.99559 | -0.0839 | 0.0024514 | 0.00061438
33 | 0.99544 | -0.086772 | 0.0037853 | 0.00094869
34 | 0.9952 | -0.091431 | 0.0026992 | 0.00067648
35 | 0.99605 | -0.075077 | 0.0061411 | 0.0015391
36 | 0.98023 | -0.38122 | 0.0018106 | 0.00045377
37 | 0.98023 | -0.38117 | 0.0011253 | 0.00028204
38 | 0.98442 | -0.29947 | 0 | 0
39 | 0.98446 | -0.29864 | 0.002316 | 0.00058045
40 | 0.98439 | -0.30006 | 0.0021181 | 0.00053085
41 | 0.99148 | -0.16265 | 0.0027327 | 0.00068489
42 | 0.98457 | -0.29648 | 0.0015621 | 0.00039149
43 | 0.98457 | -0.29641 | 0.0019588 | 0.00049092
44 | 0.99505 | -0.094454 | 0.0021414 | 0.00053668
45 | 0.99493 | -0.096801 | 0.0023144 | 0.00058005
46 | 0.9949 | -0.097373 | 0.005512 | 0.0013814
47 | 0.9903 | -0.18553 | 0.0019104 | 0.00047879
48 | 0.98914 | -0.20781 | 0.0020621 | 0.0005168
49 | 0.99082 | -0.17552 | 0.0024678 | 0.00061848
50 | 0.98863 | -0.21777 | 0.0043564 | 0.0010918
51 | 0.99157 | -0.16111 | 0 | 0
52 | 0.98714 | -0.24646 | 0.0021917 | 0.0005493
53 | 0.99323 | -0.12904 | 0.0052855 | 0.0013247
54 | 0.98052 | -0.3756 | 0.0031255 | 0.00078333
55 | 0.98094 | -0.36739 | 0.0043724 | 0.0010958
56 | 0.98034 | -0.37917 | 0 | 0
57 | 0.98021 | -0.38155 | 0.0021851 | 0.00054765
58 | 0.98007 | -0.3843 | 0.003008 | 0.00075387
59 | 0.98006 | -0.38457 | 0.0022787 | 0.0005711
60 | 0.98005 | -0.3848 | 0.002194 | 0.00054987
61 | 0.98709 | -0.24745 | 0.0019372 | 0.00048552
62 | 0.98461 | -0.2957 | 0 | 0
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0038943 | 0.00097583 | -0.0038942 | -0.00097585 | 8.0409e-08 | -2.6579e-08 | 0.0058983 | 0.0058983 | 0.0058983 | 0.98243 | -0.33819 | 0.98241 | -0.33863 | 1.6204
1 | -0.0065421 | -0.0016394 | 0.0065432 | 0.0016398 | 1.1318e-06 | 3.3503e-07 | 0.0099087 | 0.0099086 | 0.0099087 | 0.98243 | -0.33819 | 0.98261 | -0.33456 | 2.7222
2 | 0.0025939 | 0.00064998 | -0.0025939 | -0.00065009 | 6.8376e-08 | -1.058e-07 | 0.0039289 | 0.003929 | 0.003929 | 0.98241 | -0.33863 | 0.98238 | -0.33918 | 1.0794
3 | -0.0076521 | -0.0019177 | 0.0076524 | 0.0019178 | 2.9705e-07 | 1.1538e-07 | 0.011588 | 0.011588 | 0.011588 | 0.98261 | -0.33456 | 0.98266 | -0.33375 | 3.1835
4 | -0.031601 | -0.0079349 | 0.031621 | 0.0079472 | 1.9539e-05 | 1.2217e-05 | 0.047858 | 0.047858 | 0.047858 | 0.98266 | -0.33375 | 0.98332 | -0.32079 | 13.1479
5 | 0.023949 | 0.0060171 | -0.023941 | -0.0060124 | 7.7484e-06 | 4.7601e-06 | 0.036271 | 0.036271 | 0.036271 | 0.98266 | -0.33375 | 0.98231 | -0.34053 | 9.9645
6 | -0.033081 | -0.0083132 | 0.033125 | 0.0083406 | 4.3729e-05 | 2.7396e-05 | 0.050069 | 0.050068 | 0.050069 | 0.98332 | -0.32079 | 0.98474 | -0.29314 | 13.7551
7 | 0.02309 | 0.0057991 | -0.023081 | -0.0057936 | 9.0809e-06 | 5.5614e-06 | 0.034982 | 0.034982 | 0.034982 | 0.98231 | -0.34053 | 0.98189 | -0.34877 | 9.6104
8 | 0.079526 | 0.020154 | -0.079339 | -0.020035 | 0.00018715 | 0.00011933 | 0.11983 | 0.11983 | 0.11983 | 0.98821 | -0.22515 | 0.98568 | -0.27426 | 32.9196
9 | -0.080877 | -0.020493 | 0.08115 | 0.020667 | 0.00027307 | 0.00017413 | 0.12186 | 0.12186 | 0.12186 | 0.98821 | -0.22515 | 0.99186 | -0.15513 | 33.4785
10 | 0.077 | 0.019449 | -0.076868 | -0.019365 | 0.00013183 | 8.4041e-05 | 0.1163 | 0.1163 | 0.1163 | 0.98568 | -0.27426 | 0.98383 | -0.31005 | 31.9496
11 | -0.092069 | -0.023403 | 0.092134 | 0.023445 | 6.4943e-05 | 4.1446e-05 | 0.13824 | 0.13824 | 0.13824 | 0.99186 | -0.15513 | 0.99262 | -0.1405 | 37.9784
12 | 0.075634 | 0.019055 | -0.075556 | -0.019005 | 7.8446e-05 | 5.0003e-05 | 0.11443 | 0.11443 | 0.11443 | 0.98383 | -0.31005 | 0.98272 | -0.33176 | 31.4368
13 | -0.111 | -0.028178 | 0.11138 | 0.028418 | 0.00037567 | 0.00023996 | 0.16653 | 0.16653 | 0.16653 | 0.99262 | -0.1405 | 0.99629 | -0.070412 | 45.7502
14 | 0.01887 | 0.0047338 | -0.018865 | -0.0047307 | 5.1159e-06 | 3.0539e-06 | 0.02829 | 0.02829 | 0.02829 | 0.99262 | -0.1405 | 0.99233 | -0.14618 | 7.7719
15 | 0.074675 | 0.018785 | -0.074551 | -0.018705 | 0.0001248 | 7.9544e-05 | 0.1131 | 0.1131 | 0.1131 | 0.98272 | -0.33176 | 0.98093 | -0.3668 | 31.0707
16 | -0.13222 | -0.033649 | 0.13267 | 0.033936 | 0.00045046 | 0.00028789 | 0.19766 | 0.19766 | 0.19766 | 0.99629 | -0.070412 | 1 | 0 | 54.303
17 | 0.020843 | 0.0052301 | -0.020842 | -0.0052291 | 1.5313e-06 | 9.2517e-07 | 0.031133 | 0.031133 | 0.031133 | 0.99629 | -0.070412 | 0.99621 | -0.071953 | 8.5529
18 | 0.015122 | 0.0037926 | -0.015116 | -0.0037892 | 6.0284e-06 | 3.4545e-06 | 0.022677 | 0.022677 | 0.022677 | 0.99233 | -0.14618 | 0.9919 | -0.15455 | 6.2299
19 | 0.020128 | 0.0050535 | -0.020117 | -0.0050464 | 1.1745e-05 | 7.0914e-06 | 0.030507 | 0.030507 | 0.030507 | 0.98189 | -0.34877 | 0.98126 | -0.36101 | 8.3811
20 | 0.020117 | 0.0050464 | -0.02011 | -0.0050427 | 6.1169e-06 | 3.6935e-06 | 0.030507 | 0.030507 | 0.030507 | 0.98126 | -0.36101 | 0.98094 | -0.36739 | 8.3811
21 | 0.0079568 | 0.0019935 | -0.0079559 | -0.0019932 | 9.6771e-07 | 3.9226e-07 | 0.012023 | 0.012023 | 0.012023 | 0.98474 | -0.29314 | 0.98461 | -0.2957 | 3.3031
22 | -0.042133 | -0.010598 | 0.042227 | 0.010657 | 9.4194e-05 | 5.9494e-05 | 0.06368 | 0.06368 | 0.06368 | 0.98474 | -0.29314 | 0.98714 | -0.24646 | 17.4945
23 | -0.0066978 | -0.0016786 | 0.0066991 | 0.001679 | 1.3091e-06 | 3.9266e-07 | 0.010055 | 0.010055 | 0.010055 | 0.9912 | -0.16816 | 0.99141 | -0.16405 | 2.7623
24 | 0.0048282 | 0.00121 | -0.004828 | -0.00121 | 1.2851e-07 | -1.8297e-09 | 0.0072481 | 0.0072482 | 0.0072482 | 0.9912 | -0.16816 | 0.99117 | -0.16871 | 1.9913
25 | -0.011731 | -0.0029402 | 0.011733 | 0.0029411 | 1.6435e-06 | 8.695e-07 | 0.017608 | 0.017608 | 0.017608 | 0.99141 | -0.16405 | 0.99157 | -0.16111 | 4.8373
26 | 0.060294 | 0.015132 | -0.060246 | -0.015101 | 4.8416e-05 | 3.0792e-05 | 0.091471 | 0.091471 | 0.091471 | 0.98093 | -0.3668 | 0.98007 | -0.38366 | 25.1293
27 | -0.017354 | -0.0043485 | 0.017363 | 0.0043537 | 8.8865e-06 | 5.2579e-06 | 0.026362 | 0.026362 | 0.026362 | 0.97952 | -0.3944 | 0.98007 | -0.38366 | 7.2424
28 | 0.001499 | 0.00037491 | -0.001499 | -0.00037521 | 5.1664e-08 | -3.014e-07 | 0.0022769 | 0.0022771 | 0.0022771 | 0.97952 | -0.3944 | 0.97948 | -0.39512 | 0.62557
29 | 0.001499 | 0.00037521 | -0.0014989 | -0.00037566 | 7.6988e-08 | -4.4902e-07 | 0.0022771 | 0.0022772 | 0.0022772 | 0.97948 | -0.39512 | 0.97943 | -0.3962 | 0.62561
30 | 0.012128 | 0.0030403 | -0.012128 | -0.0030403 | 2.0548e-08 | 1.1014e-08 | 0.018194 | 0.018194 | 0.018194 | 0.9919 | -0.15455 | 0.9919 | -0.15459 | 4.9984
31 | 0.010592 | 0.0026554 | -0.01059 | -0.0026542 | 2.3197e-06 | 1.1685e-06 | 0.01589 | 0.015891 | 0.015891 | 0.9919 | -0.15459 | 0.99166 | -0.15918 | 4.3655
32 | 0.0084168 | 0.0021096 | -0.0084155 | -0.002109 | 1.2412e-06 | 5.267e-07 | 0.01263 | 0.01263 | 0.01263 | 0.99166 | -0.15918 | 0.9915 | -0.16228 | 3.4697
33 | 0.0027328 | 0.00068482 | -0.0027327 | -0.00068489 | 4.7671e-08 | -6.696e-08 | 0.0041013 | 0.0041013 | 0.0041013 | 0.9915 | -0.16228 | 0.99148 | -0.16265 | 1.1267
34 | 0.081116 | 0.020714 | -0.080823 | -0.020527 | 0.0002932 | 0.00018695 | 0.12084 | 0.12084 | 0.12084 | 1 | 0 | 0.99605 | -0.075077 | 33.1975
35 | 0.018922 | 0.004748 | -0.018911 | -0.0047416 | 1.0773e-05 | 6.4267e-06 | 0.028265 | 0.028266 | 0.028266 | 0.99621 | -0.071953 | 0.99559 | -0.0839 | 7.7653
36 | 0.01646 | 0.0041272 | -0.016458 | -0.0041259 | 2.2529e-06 | 1.3128e-06 | 0.024602 | 0.024602 | 0.024602 | 0.99559 | -0.0839 | 0.99544 | -0.086772 | 6.7587
37 | 0.012672 | 0.0031772 | -0.012669 | -0.0031757 | 2.8125e-06 | 1.5284e-06 | 0.018943 | 0.018943 | 0.018943 | 0.99544 | -0.086772 | 0.9952 | -0.091431 | 5.2042
38 | 0.0099703 | 0.0024992 | -0.0099689 | -0.0024985 | 1.436e-06 | 6.9519e-07 | 0.014908 | 0.014908 | 0.014908 | 0.9952 | -0.091431 | 0.99505 | -0.094454 | 4.0955
39 | 0.074682 | 0.018988 | -0.074489 | -0.018865 | 0.00019359 | 0.00012336 | 0.11166 | 0.11166 | 0.11166 | 0.99605 | -0.075077 | 0.99323 | -0.12904 | 30.6772
40 | -0.0018106 | -0.00045377 | 0.0018106 | 0.00045375 | 3.8486e-09 | -1.4663e-08 | 0.0027485 | 0.0027485 | 0.0027485 | 0.98023 | -0.38122 | 0.98023 | -0.38117 | 0.75507
41 | -0.0029359 | -0.00073579 | 0.0029362 | 0.0007355 | 2.7964e-07 | -2.9435e-07 | 0.0044568 | 0.0044566 | 0.0044568 | 0.98023 | -0.38117 | 0.98034 | -0.37917 | 1.2244
42 | -0.0021182 | -0.00053069 | 0.0021182 | 0.00053046 | 8.3865e-08 | -2.2372e-07 | 0.0032017 | 0.0032016 | 0.0032017 | 0.98442 | -0.29947 | 0.98446 | -0.29864 | 0.87959
43 | 0.0021182 | 0.00053069 | -0.0021181 | -0.00053085 | 5.946e-08 | -1.5859e-07 | 0.0032017 | 0.0032018 | 0.0032018 | 0.98442 | -0.29947 | 0.98439 | -0.30006 | 0.87961
44 | -0.0044343 | -0.0011109 | 0.0044349 | 0.0011108 | 6.2075e-07 | -7.1341e-08 | 0.0067023 | 0.0067021 | 0.0067023 | 0.98446 | -0.29864 | 0.98461 | -0.2957 | 1.8413
45 | -0.0015621 | -0.00039149 | 0.0015621 | 0.00039146 | 4.9072e-09 | -2.672e-08 | 0.0023608 | 0.0023608 | 0.0023608 | 0.98457 | -0.29648 | 0.98457 | -0.29641 | 0.64857
46 | -0.0035208 | -0.00088238 | 0.003521 | 0.00088231 | 1.1948e-07 | -6.6645e-08 | 0.0053212 | 0.0053211 | 0.0053212 | 0.98457 | -0.29641 | 0.98461 | -0.2957 | 1.4619
47 | 0.0078275 | 0.0019619 | -0.0078266 | -0.0019615 | 8.7501e-07 | 3.3883e-07 | 0.011705 | 0.011706 | 0.011706 | 0.99505 | -0.094454 | 0.99493 | -0.096801 | 3.2158
48 | 0.0055122 | 0.0013815 | -0.005512 | -0.0013814 | 1.5027e-07 | 1.9606e-08 | 0.008244 | 0.0082441 | 0.0082441 | 0.99493 | -0.096801 | 0.9949 | -0.097373 | 2.2649
49 | 0.052919 | 0.013392 | -0.052863 | -0.013356 | 5.6517e-05 | 3.5865e-05 | 0.079562 | 0.079562 | 0.079562 | 0.9903 | -0.18553 | 0.98914 | -0.20781 | 21.8578
50 | -0.05483 | -0.013871 | 0.054856 | 0.013887 | 2.6351e-05 | 1.6732e-05 | 0.082433 | 0.082433 | 0.082433 | 0.9903 | -0.18553 | 0.99082 | -0.17552 | 22.6464
51 | 0.050801 | 0.012839 | -0.050776 | -0.012824 | 2.4264e-05 | 1.5387e-05 | 0.07646 | 0.07646 | 0.07646 | 0.98914 | -0.20781 | 0.98863 | -0.21777 | 21.0056
52 | -0.057324 | -0.014506 | 0.057363 | 0.014531 | 3.9656e-05 | 2.5196e-05 | 0.086139 | 0.086139 | 0.086139 | 0.99082 | -0.17552 | 0.99157 | -0.16111 | 23.6645
53 | 0.04642 | 0.011732 | -0.046356 | -0.011692 | 6.3748e-05 | 4.0353e-05 | 0.069903 | 0.069904 | 0.069904 | 0.98863 | -0.21777 | 0.98714 | -0.24646 | 19.2043
54 | -0.069097 | -0.017472 | 0.069203 | 0.01754 | 0.00010647 | 6.78e-05 | 0.10375 | 0.10375 | 0.10375 | 0.99157 | -0.16111 | 0.99323 | -0.12904 | 28.5018
55 | 0.0019373 | 0.00048521 | -0.0019372 | -0.00048552 | 9.1695e-08 | -3.0785e-07 | 0.0029202 | 0.0029203 | 0.0029203 | 0.98714 | -0.24646 | 0.98709 | -0.24745 | 0.80229
56 | -0.015732 | -0.0039433 | 0.015738 | 0.0039469 | 6.151e-06 | 3.5735e-06 | 0.023875 | 0.023874 | 0.023875 | 0.98052 | -0.3756 | 0.98094 | -0.36739 | 6.559
57 | 0.012606 | 0.00316 | -0.012604 | -0.0031588 | 2.1472e-06 | 1.1769e-06 | 0.019131 | 0.019131 | 0.019131 | 0.98052 | -0.3756 | 0.98034 | -0.37917 | 5.2559
58 | 0.009668 | 0.0024233 | -0.0096669 | -0.0024228 | 1.0954e-06 | 5.3005e-07 | 0.014675 | 0.014675 | 0.014675 | 0.98034 | -0.37917 | 0.98021 | -0.38155 | 4.0316
59 | 0.0074818 | 0.0018752 | -0.0074808 | -0.0018748 | 9.8204e-07 | 3.7265e-07 | 0.011358 | 0.011358 | 0.011358 | 0.98021 | -0.38155 | 0.98007 | -0.3843 | 3.1203
60 | 0.0044728 | 0.0011209 | -0.0044728 | -0.0011209 | 5.7151e-08 | -5.0677e-09 | 0.0067909 | 0.0067909 | 0.0067909 | 0.98007 | -0.3843 | 0.98006 | -0.38457 | 1.8656
61 | 0.002194 | 0.00054982 | -0.002194 | -0.00054987 | 2.3319e-08 | -5.5689e-08 | 0.0033312 | 0.0033312 | 0.0033312 | 0.98006 | -0.38457 | 0.98005 | -0.3848 | 0.91517

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.21807 | 0.055309

## res_load
| p_mw | q_mvar
0 | 0.0026478 | 0.0006636
1 | 0.0013002 | 0.00032587
2 | 0.0011089 | 0.00027792
3 | 0.0025939 | 0.00065009
4 | 0.0014607 | 0.00036607
5 | 0.00085089 | 0.00021325
6 | 0.0013512 | 0.00033865
7 | 0.002339 | 0.0005862
8 | 0.010918 | 0.0027364
9 | 0.0012341 | 0.00030928
10 | 0.00088033 | 0.00022063
11 | 0.0037431 | 0.00093812
12 | 0.0029528 | 0.00074004
13 | 0.0010511 | 0.00026344
14 | 0.0018696 | 0.00046857
15 | 0.0050324 | 0.0012612
16 | 0.004828 | 0.00121
17 | 0.014257 | 0.003573
18 | 0.015855 | 0.0039736
19 | 0.042883 | 0.010747
20 | 0.0014989 | 0.00037566
21 | 0.0029881 | 0.00074889
22 | 0.0015357 | 0.00038487
23 | 0.0021731 | 0.00054464
24 | 0.0056827 | 0.0014242
25 | 0.002627 | 0.00065838
26 | 0.0019196 | 0.00048109
27 | 0.0024514 | 0.00061438
28 | 0.0037853 | 0.00094869
29 | 0.0026992 | 0.00067648
30 | 0.0061411 | 0.0015391
31 | 0.0018106 | 0.00045377
32 | 0.0011253 | 0.00028204
33 | 0.002316 | 0.00058045
34 | 0.0021181 | 0.00053085
35 | 0.0027327 | 0.00068489
36 | 0.0015621 | 0.00039149
37 | 0.0019588 | 0.00049092
38 | 0.0021414 | 0.00053668
39 | 0.0023144 | 0.00058005
40 | 0.005512 | 0.0013814
41 | 0.0019104 | 0.00047879
42 | 0.0020621 | 0.0005168
43 | 0.0024678 | 0.00061848
44 | 0.0043564 | 0.0010918
45 | 0.0021917 | 0.0005493
46 | 0.0052855 | 0.0013247
47 | 0.0031255 | 0.00078333
48 | 0.0043724 | 0.0010958
49 | 0.0021851 | 0.00054765
50 | 0.003008 | 0.00075387
51 | 0.0022787 | 0.0005711
52 | 0.002194 | 0.00054987
53 | 0.0019372 | 0.00048552

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1