## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1069-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1069-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1069-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1069-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1069-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1069-10_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1069-10_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1069-10_0_4_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_1069-10_0_4_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_1069-10_0_4_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_1069-10_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1069-10_0_4_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_1069-10_0_4_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_1069-10_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1069-10_0_4_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_1069-10_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1069-10_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1069-10_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1069-10_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1069-10_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1069-10_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1069-10_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1069-10_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1069-10_0_4_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_1069-10_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1069-10_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_1069-10_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1069-10_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_1069-10_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_1069-10_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1069-10_0_4_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_1069-10_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_1069-10_0_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_1069-10_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1069-10_0_4_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1069-10_0_4_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_1069-10_0_4_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_1069-10_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1069-10_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1069-10_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_1069-10_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1069-10_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1069-10_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1069-10_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1069-10_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_1069-10_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1069-10_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1069-10_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1069-10_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_1069-10_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1069-10_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1069-10_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1069-10_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_1069-10_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_1069-10_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_MV_1_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1069-10_0_4_load_0 | 0 | 0.028113 | 0.0070457 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1069-10_0_4_load_1 | 1 | 0.0070632 | 0.0017702 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1069-10_0_4_load_3 | 3 | 0.0060678 | 0.0015207 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1069-10_0_4_load_6 | 6 | 0.0021422 | 0.00053687 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1069-10_0_4_load_49 | 7 | 0.047416 | 0.011884 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1069-10_0_4_load_47 | 8 | 0.019697 | 0.0049365 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1069-10_0_4_load_32 | 9 | 0.0018203 | 0.00045621 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1069-10_0_4_load_7 | 10 | 0.0026092 | 0.00065394 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1069-10_0_4_load_43 | 11 | 0.0034853 | 0.0008735 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1069-10_0_4_load_8 | 13 | 0.0054948 | 0.0013771 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1069-10_0_4_load_22 | 15 | 0.0094082 | 0.0023579 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1069-10_0_4_load_9 | 16 | 0.010819 | 0.0027115 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1069-10_0_4_load_10 | 17 | 0.0088263 | 0.0022121 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1069-10_0_4_load_19 | 21 | 0.0087304 | 0.002188 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1069-10_0_4_load_25 | 22 | 0.013437 | 0.0033677 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1069-10_0_4_load_20 | 24 | 0.0034269 | 0.00085885 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1069-10_0_4_load_39 | 25 | 0.021405 | 0.0053645 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1069-10_0_4_load_18 | 26 | 0.0034527 | 0.00086532 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1069-10_0_4_load_14 | 27 | 0.0015923 | 0.00039906 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1069-10_0_4_load_15 | 28 | 0.0033663 | 0.00084368 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1069-10_0_4_load_53 | 30 | 0.0087351 | 0.0021892 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1069-10_0_4_load_31 | 31 | 0.0013973 | 0.00035021 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1069-10_0_4_load_45 | 32 | 0.0061215 | 0.0015342 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1069-10_0_4_load_54 | 35 | 0.019893 | 0.0049857 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1069-10_0_4_load_46 | 36 | 0.0046443 | 0.001164 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1069-10_0_4_load_23 | 37 | 0.0094059 | 0.0023573 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1069-10_0_4_load_26 | 38 | 0.0091852 | 0.002302 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1069-10_0_4_load_27 | 39 | 0.004607 | 0.0011546 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1069-10_0_4_load_29 | 41 | 0.0067555 | 0.0016931 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1069-10_0_4_load_30 | 42 | 0.041909 | 0.010503 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1069-10_0_4_load_40 | 43 | 0.0060802 | 0.0015238 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1069-10_0_4_load_41 | 44 | 0.010605 | 0.0026579 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1069-10_0_4_load_33 | 45 | 0.0046942 | 0.0011765 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1069-10_0_4_load_34 | 46 | 0.0034668 | 0.00086887 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1069-10_0_4_load_35 | 47 | 0.0080638 | 0.002021 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1069-10_0_4_load_36 | 48 | 0.0068387 | 0.0017139 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1069-10_0_4_load_37 | 49 | 0.0023209 | 0.00058167 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1069-10_0_4_load_42 | 50 | 0.0025353 | 0.00063541 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1069-10_0_4_load_50 | 52 | 0.010392 | 0.0026044 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1069-10_0_4_load_55 | 54 | 0.045134 | 0.011312 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1069-10_0_4_line_0 |  | 0 | 1 | 0.01908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1069-10_0_4_line_1 |  | 0 | 2 | 0.021158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1069-10_0_4_line_2 |  | 1 | 3 | 0.0088227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1069-10_0_4_line_3 |  | 2 | 4 | 0.008524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1069-10_0_4_line_4 |  | 2 | 5 | 0.082068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1069-10_0_4_line_5 |  | 3 | 6 | 0.0012506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1069-10_0_4_line_6 |  | 4 | 7 | 0.028864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1069-10_0_4_line_7 |  | 4 | 8 | 0.0021037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1069-10_0_4_line_8 |  | 5 | 9 | 0.01835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1069-10_0_4_line_9 |  | 6 | 10 | 0.008442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1069-10_0_4_line_10 |  | 7 | 11 | 0.023631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1069-10_0_4_line_11 |  | 8 | 12 | 0.0060368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1069-10_0_4_line_12 |  | 10 | 13 | 0.023025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1069-10_0_4_line_13 |  | 11 | 49 | 0.0016181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1069-10_0_4_line_14 |  | 12 | 52 | 0.0055893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1069-10_0_4_line_15 |  | 13 | 14 | 0.033361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1069-10_0_4_line_16 |  | 14 | 15 | 0.052141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1069-10_0_4_line_17 |  | 15 | 37 | 0.019203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1069-10_0_4_line_18 |  | 16 | 17 | 0.045463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1069-10_0_4_line_19 |  | 16 | 18 | 0.0264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1069-10_0_4_line_20 |  | 17 | 19 | 0.016887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1069-10_0_4_line_21 |  | 18 | 20 | 0.013818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1069-10_0_4_line_22 |  | 19 | 21 | 0.038562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1069-10_0_4_line_23 |  | 20 | 22 | 0.033072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1069-10_0_4_line_24 |  | 20 | 23 | 0.066055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1069-10_0_4_line_25 |  | 21 | 24 | 0.0029913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1069-10_0_4_line_26 |  | 23 | 25 | 0.014441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1069-10_0_4_line_27 |  | 23 | 26 | 0.044025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1069-10_0_4_line_28 |  | 24 | 33 | 0.016381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1069-10_0_4_line_29 |  | 26 | 29 | 0.021447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1069-10_0_4_line_30 |  | 27 | 28 | 0.0087212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1069-10_0_4_line_31 |  | 27 | 29 | 0.056388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1069-10_0_4_line_32 |  | 30 | 31 | 0.050966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1069-10_0_4_line_33 |  | 30 | 32 | 0.0049392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1069-10_0_4_line_34 |  | 32 | 50 | 0.0034569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1069-10_0_4_line_35 |  | 33 | 34 | 0.035055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1069-10_0_4_line_36 |  | 34 | 35 | 0.0043674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_1069-10_0_4_line_37 |  | 34 | 36 | 0.015601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1069-10_0_4_line_38 |  | 35 | 51 | 0.027929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1069-10_0_4_line_39 |  | 36 | 44 | 0.0081487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1069-10_0_4_line_40 |  | 38 | 39 | 0.0022953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1069-10_0_4_line_41 |  | 38 | 40 | 0.011645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1069-10_0_4_line_42 |  | 39 | 41 | 0.017784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1069-10_0_4_line_43 |  | 40 | 42 | 0.0021041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1069-10_0_4_line_44 |  | 42 | 43 | 0.01456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1069-10_0_4_line_45 |  | 43 | 44 | 0.017216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1069-10_0_4_line_46 |  | 45 | 46 | 0.012405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1069-10_0_4_line_47 |  | 45 | 47 | 0.016087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1069-10_0_4_line_48 |  | 46 | 48 | 0.024945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1069-10_0_4_line_49 |  | 47 | 49 | 0.039528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1069-10_0_4_line_50 |  | 48 | 50 | 0.018522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1069-10_0_4_line_51 |  | 51 | 54 | 0.022367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_1069-10_0_4_line_52 |  | 52 | 53 | 0.019217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_1069-10_0_4_line_53 |  | 53 | 54 | 0.0043832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1069-10_0_4_trafo_52 | 0.63 MVA 20/0.4 kV | 55 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2675069.9812 | 1209610.8505 | 2675065.7598 | 1209598.8997 | 2675064.4851 | 1209592.6224
1 | 2675078.6696 | 1209630.1151 | 2675071.7126 | 1209615.7519 | 2675069.9812 | 1209610.8505
2 | 2675063.0064 | 1209583.9291 | 2675063.5981 | 1209588.2547 | 2675064.4851 | 1209592.6224
3 | 2675078.6696 | 1209630.1151 | 2675070.9239 | 1209633.72
4 | 2675078.6696 | 1209630.1151 | 2675086.4218 | 1209625.999 | 2675093.2436 | 1209622.1157 | 2675109.9687 | 1209613.5318 | 2675116.85 | 1209609.7605 | 2675126.7013 | 1209604.3477 | 2675143.9684 | 1209597.394 | 2675152.464 | 1209594.6103
5 | 2675062.8369 | 1209582.69 | 2675063.0064 | 1209583.9291
6 | 2675070.9239 | 1209633.72 | 2675084.5801 | 1209659.1495
7 | 2675070.9239 | 1209633.72 | 2675068.9656 | 1209634.4883
8 | 2675152.464 | 1209594.6103 | 2675155.1858 | 1209601.2155 | 2675159.511 | 1209607.2515 | 2675162.7982 | 1209609.1185
9 | 2675062.8369 | 1209582.69 | 2675062.2894 | 1209578.6878 | 2675062.1668 | 1209574.287
10 | 2675095.7606 | 1209679.9688 | 2675084.5801 | 1209659.1495
11 | 2675063.3458 | 1209636.6932 | 2675068.9656 | 1209634.4883
12 | 2675064.1096 | 1209551.3924 | 2675064.0591 | 1209551.6263 | 2675062.669 | 1209560.6034 | 2675062.08 | 1209571.1693 | 2675062.1668 | 1209574.287
13 | 2675096.5261 | 1209681.3944 | 2675095.7606 | 1209679.9688
14 | 2675063.3458 | 1209636.6932 | 2675058.3774 | 1209639.2536
15 | 2675071.1542 | 1209518.7837 | 2675064.1096 | 1209551.3924
16 | 2675071.1542 | 1209518.7837 | 2675038.3009 | 1209531.99 | 2675021.6754 | 1209533.8842
17 | 2675002.5959 | 1209536.0579 | 2675021.6754 | 1209533.8842
18 | 2675063.9122 | 1209777.3154 | 2675041.5597 | 1209750.9025 | 2675034.6183 | 1209742.5483
19 | 2675079.9969 | 1209798.238 | 2675068.0742 | 1209782.2334 | 2675063.9122 | 1209777.3154
20 | 2675022.6963 | 1209730.7081 | 2675024.469 | 1209731.7866 | 2675030.8144 | 1209737.9703 | 2675034.6183 | 1209742.5483
21 | 2675088.249 | 1209809.3377 | 2675079.9969 | 1209798.238
22 | 2675022.6963 | 1209730.7081 | 2675002.0106 | 1209718.1958 | 2674996.1556 | 1209721.3687 | 2674989.462 | 1209717.5072
23 | 2675088.249 | 1209809.3377 | 2675114.7034 | 1209789.4896
24 | 2675088.249 | 1209809.3377 | 2675135.926 | 1209855.0555
25 | 2674986.8494 | 1209716.0507 | 2674988.7674 | 1209717.1065 | 2674989.462 | 1209717.5072
26 | 2675135.926 | 1209855.0555 | 2675125.6644 | 1209865.2164
27 | 2675135.926 | 1209855.0555 | 2675150.1196 | 1209841.0142 | 2675169.9528 | 1209827.3936
28 | 2674972.499 | 1209708.152 | 2674986.8494 | 1209716.0507
29 | 2675184.6816 | 1209812.1423 | 2675176.3506 | 1209822.9998 | 2675169.9528 | 1209827.3936
30 | 2675233.7546 | 1209786.1007 | 2675234.3035 | 1209785.5731 | 2675238.1845 | 1209778.6235
31 | 2675184.6816 | 1209812.1423 | 2675195.4116 | 1209805.7513 | 2675210.1081 | 1209800.6777 | 2675224.1082 | 1209795.373 | 2675233.7546 | 1209786.1007
32 | 2675169.5935 | 1209692.0765 | 2675200.352 | 1209651.4383
33 | 2675169.5935 | 1209692.0765 | 2675165.3337 | 1209694.5763
34 | 2675165.3337 | 1209694.5763 | 2675162.3523 | 1209696.3259
35 | 2674990.7538 | 1209678.218 | 2674986.2548 | 1209684.7879 | 2674972.499 | 1209708.152
36 | 2674990.7538 | 1209678.218 | 2674994.0257 | 1209675.3251
37 | 2674990.7538 | 1209678.218 | 2674987.0822 | 1209670.3669 | 2674984.0876 | 1209664.1135
38 | 2675017.9614 | 1209661.138 | 2674997.6721 | 1209672.1011 | 2674994.0257 | 1209675.3251
39 | 2674984.0876 | 1209664.1135 | 2674980.5682 | 1209656.7641
40 | 2674959.3419 | 1209613.9247 | 2674960.4275 | 1209615.947
41 | 2674965.9351 | 1209626.2068 | 2674960.4275 | 1209615.947
42 | 2674959.3419 | 1209613.9247 | 2674950.9304 | 1209598.2552
43 | 2674965.9351 | 1209626.2068 | 2674966.8438 | 1209628.1045
44 | 2674966.8438 | 1209628.1045 | 2674973.1323 | 1209641.2362
45 | 2674973.1323 | 1209641.2362 | 2674980.5682 | 1209656.7641
46 | 2675114.1645 | 1209724.6045 | 2675124.863 | 1209718.3262
47 | 2675114.1645 | 1209724.6045 | 2675113.3759 | 1209725.0673 | 2675105.7606 | 1209726.1722 | 2675102.1982 | 1209722.9364 | 2675101.4843 | 1209720.3684
48 | 2675124.863 | 1209718.3262 | 2675146.3775 | 1209705.7006
49 | 2675101.4843 | 1209720.3684 | 2675099.1367 | 1209711.9243 | 2675098.6047 | 1209690.782 | 2675096.5261 | 1209681.3944 | 2675096.5261 | 1209681.3944
50 | 2675146.3775 | 1209705.7006 | 2675162.3523 | 1209696.3259
51 | 2675017.9614 | 1209661.138 | 2675037.4719 | 1209650.1999
52 | 2675041.2953 | 1209648.0564 | 2675058.3774 | 1209639.2536
53 | 2675041.2953 | 1209648.0564 | 2675037.4719 | 1209650.1999

## bus_geodata
| x | y | coords
0 | 2675069.9812 | 1209610.8505
1 | 2675064.4851 | 1209592.6224
2 | 2675078.6696 | 1209630.1151
3 | 2675063.0064 | 1209583.9291
4 | 2675070.9239 | 1209633.72
5 | 2675152.464 | 1209594.6103
6 | 2675062.8369 | 1209582.69
7 | 2675084.5801 | 1209659.1495
8 | 2675068.9656 | 1209634.4883
9 | 2675162.7982 | 1209609.1185
10 | 2675062.1668 | 1209574.287
11 | 2675095.7606 | 1209679.9688
12 | 2675063.3458 | 1209636.6932
13 | 2675064.1096 | 1209551.3924
14 | 2675071.1542 | 1209518.7837
15 | 2675021.6754 | 1209533.8842
16 | 2675063.9122 | 1209777.3154
17 | 2675034.6183 | 1209742.5483
18 | 2675079.9969 | 1209798.238
19 | 2675022.6963 | 1209730.7081
20 | 2675088.249 | 1209809.3377
21 | 2674989.462 | 1209717.5072
22 | 2675114.7034 | 1209789.4896
23 | 2675135.926 | 1209855.0555
24 | 2674986.8494 | 1209716.0507
25 | 2675125.6644 | 1209865.2164
26 | 2675169.9528 | 1209827.3936
27 | 2675233.7546 | 1209786.1007
28 | 2675238.1845 | 1209778.6235
29 | 2675184.6816 | 1209812.1423
30 | 2675169.5935 | 1209692.0765
31 | 2675200.352 | 1209651.4383
32 | 2675165.3337 | 1209694.5763
33 | 2674972.499 | 1209708.152
34 | 2674990.7538 | 1209678.218
35 | 2674994.0257 | 1209675.3251
36 | 2674984.0876 | 1209664.1135
37 | 2675002.5959 | 1209536.0579
38 | 2674960.4275 | 1209615.947
39 | 2674959.3419 | 1209613.9247
40 | 2674965.9351 | 1209626.2068
41 | 2674950.9304 | 1209598.2552
42 | 2674966.8438 | 1209628.1045
43 | 2674973.1323 | 1209641.2362
44 | 2674980.5682 | 1209656.7641
45 | 2675114.1645 | 1209724.6045
46 | 2675124.863 | 1209718.3262
47 | 2675101.4843 | 1209720.3684
48 | 2675146.3775 | 1209705.7006
49 | 2675096.5261 | 1209681.3944
50 | 2675162.3523 | 1209696.3259
51 | 2675017.9614 | 1209661.138
52 | 2675058.3774 | 1209639.2536
53 | 2675041.2953 | 1209648.0564
54 | 2675037.4719 | 1209650.1999
55 | 2675046.6905 | 1209657.8749

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9952 | -0.092133 | 0.028113 | 0.0070457
1 | 0.99447 | -0.10631 | 0.0070632 | 0.0017702
2 | 0.99656 | -0.06599 | 0 | 0
3 | 0.99418 | -0.11178 | 0.0060678 | 0.0015207
4 | 0.99712 | -0.055205 | 0 | 0
5 | 0.99642 | -0.068615 | 0 | 0
6 | 0.99415 | -0.11242 | 0.0021422 | 0.00053687
7 | 0.99461 | -0.10344 | 0.047416 | 0.011884
8 | 0.99728 | -0.052123 | 0.019697 | 0.0049365
9 | 0.99639 | -0.069202 | 0.0018203 | 0.00045621
10 | 0.99394 | -0.11643 | 0.0026092 | 0.00065394
11 | 0.99358 | -0.1233 | 0.0034853 | 0.0008735
12 | 0.99779 | -0.042241 | 0 | 0
13 | 0.99343 | -0.12631 | 0.0054948 | 0.0013771
14 | 0.99286 | -0.1374 | 0 | 0
15 | 0.99196 | -0.15476 | 0.0094082 | 0.0023579
16 | 0.98587 | -0.27147 | 0.010819 | 0.0027115
17 | 0.98814 | -0.22748 | 0.0088263 | 0.0022121
18 | 0.98482 | -0.29197 | 0 | 0
19 | 0.98912 | -0.20853 | 0 | 0
20 | 0.98427 | -0.30272 | 0 | 0
21 | 0.99136 | -0.16541 | 0.0087304 | 0.002188
22 | 0.98386 | -0.31072 | 0.013437 | 0.0033677
23 | 0.98245 | -0.33823 | 0 | 0
24 | 0.99155 | -0.16161 | 0.0034269 | 0.00085885
25 | 0.98217 | -0.34381 | 0.021405 | 0.0053645
26 | 0.98211 | -0.34492 | 0.0034527 | 0.00086532
27 | 0.98175 | -0.3519 | 0.0015923 | 0.00039906
28 | 0.98173 | -0.35243 | 0.0033663 | 0.00084368
29 | 0.98201 | -0.34684 | 0 | 0
30 | 0.99017 | -0.18929 | 0.0087351 | 0.0021892
31 | 0.99011 | -0.19055 | 0.0013973 | 0.00035021
32 | 0.99022 | -0.1884 | 0.0061215 | 0.0015342
33 | 0.99269 | -0.13984 | 0 | 0
34 | 0.99511 | -0.093407 | 0 | 0
35 | 0.99543 | -0.087303 | 0.019893 | 0.0049857
36 | 0.99392 | -0.11644 | 0.0046443 | 0.001164
37 | 0.99179 | -0.15796 | 0.0094059 | 0.0023573
38 | 0.99116 | -0.16982 | 0.0091852 | 0.002302
39 | 0.99113 | -0.17028 | 0.004607 | 0.0011546
40 | 0.99138 | -0.16557 | 0 | 0
41 | 0.99102 | -0.17241 | 0.0067555 | 0.0016931
42 | 0.99141 | -0.16481 | 0.041909 | 0.010503
43 | 0.99225 | -0.14869 | 0.0060802 | 0.0015238
44 | 0.99333 | -0.12783 | 0.010605 | 0.0026579
45 | 0.9915 | -0.16346 | 0.0046942 | 0.0011765
46 | 0.99117 | -0.16986 | 0.0034668 | 0.00086887
47 | 0.992 | -0.15383 | 0.0080638 | 0.002021
48 | 0.99059 | -0.18121 | 0.0068387 | 0.0017139
49 | 0.99352 | -0.12457 | 0.0023209 | 0.00058167
50 | 0.99027 | -0.1874 | 0.0025353 | 0.00063541
51 | 0.99772 | -0.043496 | 0 | 0
52 | 0.99827 | -0.0331 | 0.010392 | 0.0026044
53 | 1 | 0 | -0.42567 | -0.10737
54 | 0.99955 | -0.0085561 | 0.045134 | 0.011312
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.042274 | 0.010625 | -0.042245 | -0.010607 | 2.8595e-05 | 1.8053e-05 | 0.063218 | 0.063218 | 0.063218 | 0.9952 | -0.092133 | 0.99447 | -0.10631 | 17.3675
1 | -0.070386 | -0.01767 | 0.070474 | 0.017726 | 8.7893e-05 | 5.5976e-05 | 0.10525 | 0.10525 | 0.10525 | 0.9952 | -0.092133 | 0.99656 | -0.06599 | 28.9153
2 | 0.035182 | 0.0088364 | -0.035173 | -0.0088306 | 9.171e-06 | 5.755e-06 | 0.052649 | 0.052649 | 0.052649 | 0.99447 | -0.10631 | 0.99418 | -0.11178 | 14.464
3 | -0.072295 | -0.018181 | 0.072332 | 0.018205 | 3.7263e-05 | 2.3737e-05 | 0.10797 | 0.10797 | 0.10797 | 0.99656 | -0.06599 | 0.99712 | -0.055205 | 29.6619
4 | 0.0018206 | 0.00045508 | -0.0018204 | -0.000456 | 2.2738e-07 | -9.236e-07 | 0.002718 | 0.0027184 | 0.0027184 | 0.99656 | -0.06599 | 0.99642 | -0.068615 | 0.7468
5 | 0.029105 | 0.0073099 | -0.029104 | -0.0073093 | 8.902e-07 | 5.5351e-07 | 0.043567 | 0.043567 | 0.043567 | 0.99418 | -0.11178 | 0.99415 | -0.11242 | 11.969
6 | 0.095447 | 0.024063 | -0.095227 | -0.023923 | 0.00021976 | 0.00014027 | 0.14249 | 0.14249 | 0.14249 | 0.99712 | -0.055205 | 0.99461 | -0.10344 | 39.1448
7 | -0.16778 | -0.042268 | 0.1678 | 0.042284 | 2.4743e-05 | 1.5781e-05 | 0.25046 | 0.25046 | 0.25046 | 0.99712 | -0.055205 | 0.99728 | -0.052123 | 34.4033
8 | 0.0018204 | 0.000456 | -0.0018203 | -0.00045621 | 5.0851e-08 | -2.0647e-07 | 0.0027184 | 0.0027184 | 0.0027184 | 0.99642 | -0.068615 | 0.99639 | -0.069202 | 0.74683
9 | 0.026962 | 0.0067725 | -0.026957 | -0.0067693 | 5.157e-06 | 3.191e-06 | 0.040361 | 0.040361 | 0.040361 | 0.99415 | -0.11242 | 0.99394 | -0.11643 | 11.0882
10 | 0.047811 | 0.012039 | -0.047765 | -0.01201 | 4.5365e-05 | 2.8727e-05 | 0.071549 | 0.071549 | 0.071549 | 0.99461 | -0.10344 | 0.99358 | -0.1233 | 19.6562
11 | -0.1875 | -0.04722 | 0.18759 | 0.047277 | 8.8643e-05 | 5.6574e-05 | 0.27985 | 0.27985 | 0.27985 | 0.99728 | -0.052123 | 0.99779 | -0.042241 | 38.4403
12 | 0.024347 | 0.0061153 | -0.024336 | -0.0061083 | 1.1474e-05 | 7.0454e-06 | 0.036455 | 0.036455 | 0.036455 | 0.99394 | -0.11643 | 0.99343 | -0.12631 | 10.0151
13 | 0.04428 | 0.011137 | -0.044277 | -0.011135 | 2.6696e-06 | 1.6876e-06 | 0.066329 | 0.066329 | 0.066329 | 0.99358 | -0.1233 | 0.99352 | -0.12457 | 18.2222
14 | -0.18759 | -0.047277 | 0.18767 | 0.047329 | 8.2072e-05 | 5.238e-05 | 0.27985 | 0.27985 | 0.27985 | 0.99779 | -0.042241 | 0.99827 | -0.0331 | 38.4403
15 | 0.018841 | 0.0047312 | -0.018831 | -0.0047252 | 9.966e-06 | 5.9466e-06 | 0.028224 | 0.028225 | 0.028225 | 0.99343 | -0.12631 | 0.99286 | -0.1374 | 7.754
16 | 0.018831 | 0.0047252 | -0.018815 | -0.0047159 | 1.5577e-05 | 9.2953e-06 | 0.028225 | 0.028225 | 0.028225 | 0.99286 | -0.1374 | 0.99196 | -0.15476 | 7.7541
17 | 0.0094073 | 0.002358 | -0.0094059 | -0.0023573 | 1.4341e-06 | 6.6994e-07 | 0.014112 | 0.014112 | 0.014112 | 0.99196 | -0.15476 | 0.99179 | -0.15796 | 3.8769
18 | -0.054203 | -0.013632 | 0.054317 | 0.013704 | 0.00011415 | 7.2477e-05 | 0.081828 | 0.081827 | 0.081828 | 0.98587 | -0.27147 | 0.98814 | -0.22748 | 22.4801
19 | 0.043384 | 0.01092 | -0.043341 | -0.010893 | 4.2471e-05 | 2.6845e-05 | 0.065498 | 0.065498 | 0.065498 | 0.98587 | -0.27147 | 0.98482 | -0.29197 | 17.9939
20 | -0.063144 | -0.015916 | 0.063201 | 0.015953 | 5.7296e-05 | 3.6453e-05 | 0.095119 | 0.095118 | 0.095119 | 0.98814 | -0.22748 | 0.98912 | -0.20853 | 26.1315
21 | 0.043341 | 0.010893 | -0.043319 | -0.010879 | 2.223e-05 | 1.4051e-05 | 0.065498 | 0.065498 | 0.065498 | 0.98482 | -0.29197 | 0.98427 | -0.30272 | 17.9939
22 | -0.063201 | -0.015953 | 0.063332 | 0.016036 | 0.00013084 | 8.3238e-05 | 0.095118 | 0.095118 | 0.095118 | 0.98912 | -0.20853 | 0.99136 | -0.16541 | 26.1314
23 | 0.013443 | 0.0033706 | -0.013437 | -0.0033677 | 5.1224e-06 | 2.8582e-06 | 0.020323 | 0.020323 | 0.020323 | 0.98427 | -0.30272 | 0.98386 | -0.31072 | 5.5833
24 | 0.029877 | 0.0075087 | -0.029826 | -0.0074772 | 5.0551e-05 | 3.1515e-05 | 0.045175 | 0.045175 | 0.045175 | 0.98427 | -0.30272 | 0.98245 | -0.33823 | 12.4108
25 | -0.072062 | -0.018224 | 0.072075 | 0.018232 | 1.3138e-05 | 8.3697e-06 | 0.10822 | 0.10822 | 0.10822 | 0.99136 | -0.16541 | 0.99155 | -0.16161 | 29.7315
26 | 0.02141 | 0.005368 | -0.021405 | -0.0053645 | 5.695e-06 | 3.462e-06 | 0.032429 | 0.032429 | 0.032429 | 0.98245 | -0.33823 | 0.98217 | -0.34381 | 8.9091
27 | 0.0084157 | 0.0021092 | -0.008413 | -0.0021081 | 2.6823e-06 | 1.1594e-06 | 0.012746 | 0.012747 | 0.012747 | 0.98245 | -0.33823 | 0.98211 | -0.34492 | 3.5018
28 | -0.075502 | -0.019091 | 0.075581 | 0.019142 | 7.8944e-05 | 5.0313e-05 | 0.11337 | 0.11337 | 0.11337 | 0.99155 | -0.16161 | 0.99269 | -0.13984 | 31.1443
29 | 0.0049603 | 0.0012428 | -0.0049599 | -0.0012427 | 4.5425e-07 | 1.936e-08 | 0.0075154 | 0.0075155 | 0.0075155 | 0.98211 | -0.34492 | 0.98201 | -0.34684 | 2.0647
30 | 0.0033664 | 0.00084363 | -0.0033663 | -0.00084368 | 8.5144e-08 | -5.5783e-08 | 0.0051024 | 0.0051024 | 0.0051024 | 0.98175 | -0.3519 | 0.98173 | -0.35243 | 1.4018
31 | -0.0049587 | -0.0012427 | 0.0049599 | 0.0012427 | 1.1944e-06 | 5.1197e-08 | 0.0075157 | 0.0075155 | 0.0075157 | 0.98175 | -0.3519 | 0.98201 | -0.34684 | 2.0648
32 | 0.0013974 | 0.00034961 | -0.0013973 | -0.00035021 | 8.4279e-08 | -6.0158e-07 | 0.0020998 | 0.0021 | 0.0021 | 0.99017 | -0.18929 | 0.99011 | -0.19055 | 0.57694
33 | -0.010133 | -0.0025388 | 0.010133 | 0.002539 | 4.2944e-07 | 2.1131e-07 | 0.015227 | 0.015227 | 0.015227 | 0.99017 | -0.18929 | 0.99022 | -0.1884 | 4.1832
34 | -0.016254 | -0.0040732 | 0.016255 | 0.0040737 | 7.734e-07 | 4.5051e-07 | 0.024426 | 0.024426 | 0.024426 | 0.99022 | -0.1884 | 0.99027 | -0.1874 | 6.7103
35 | -0.075581 | -0.019142 | 0.07575 | 0.019249 | 0.00016894 | 0.00010767 | 0.11337 | 0.11336 | 0.11337 | 0.99269 | -0.13984 | 0.99511 | -0.093407 | 31.1442
36 | -0.15979 | -0.040412 | 0.15984 | 0.040442 | 4.6805e-05 | 2.9841e-05 | 0.23907 | 0.23907 | 0.23907 | 0.99511 | -0.093407 | 0.99543 | -0.087303 | 32.8398
37 | 0.084044 | 0.021163 | -0.083952 | -0.021104 | 9.245e-05 | 5.8965e-05 | 0.12571 | 0.12571 | 0.12571 | 0.99511 | -0.093407 | 0.99392 | -0.11644 | 34.5354
38 | -0.17973 | -0.045427 | 0.18011 | 0.045669 | 0.0003784 | 0.00024145 | 0.26881 | 0.26881 | 0.26881 | 0.99543 | -0.087303 | 0.99772 | -0.043496 | 36.9245
39 | 0.079308 | 0.01994 | -0.079264 | -0.019912 | 4.3095e-05 | 2.7475e-05 | 0.11876 | 0.11876 | 0.11876 | 0.99392 | -0.11644 | 0.99333 | -0.12783 | 32.6252
40 | 0.011363 | 0.002848 | -0.011363 | -0.0028479 | 2.5051e-07 | 1.3074e-07 | 0.01706 | 0.01706 | 0.01706 | 0.99116 | -0.16982 | 0.99113 | -0.17028 | 4.6868
41 | -0.020549 | -0.0051501 | 0.020553 | 0.0051526 | 4.1557e-06 | 2.5096e-06 | 0.03085 | 0.030849 | 0.03085 | 0.99116 | -0.16982 | 0.99138 | -0.16557 | 8.4751
42 | 0.0067561 | 0.0016933 | -0.0067555 | -0.0016931 | 6.8616e-07 | 2.0997e-07 | 0.010143 | 0.010143 | 0.010143 | 0.99113 | -0.17028 | 0.99102 | -0.17241 | 2.7866
43 | -0.020553 | -0.0051526 | 0.020554 | 0.005153 | 7.5092e-07 | 4.5346e-07 | 0.030849 | 0.030849 | 0.030849 | 0.99138 | -0.16557 | 0.99141 | -0.16481 | 8.4751
44 | -0.062463 | -0.015656 | 0.062511 | 0.015687 | 4.7989e-05 | 3.0525e-05 | 0.093751 | 0.093751 | 0.093751 | 0.99141 | -0.16481 | 0.99225 | -0.14869 | 25.7558
45 | -0.068591 | -0.017211 | 0.068659 | 0.017254 | 6.8319e-05 | 4.3502e-05 | 0.10287 | 0.10287 | 0.10287 | 0.99225 | -0.14869 | 0.99333 | -0.12783 | 28.2607
46 | 0.029124 | 0.0073093 | -0.029115 | -0.0073038 | 8.8884e-06 | 5.5287e-06 | 0.043712 | 0.043712 | 0.043712 | 0.9915 | -0.16346 | 0.99117 | -0.16986 | 12.0089
47 | -0.033819 | -0.0084858 | 0.033834 | 0.0084955 | 1.5542e-05 | 9.7394e-06 | 0.050757 | 0.050757 | 0.050757 | 0.9915 | -0.16346 | 0.992 | -0.15383 | 13.9443
48 | 0.025649 | 0.0064349 | -0.025635 | -0.0064263 | 1.3871e-05 | 8.5564e-06 | 0.038508 | 0.038508 | 0.038508 | 0.99117 | -0.16986 | 0.99059 | -0.18121 | 10.5791
49 | -0.041898 | -0.010516 | 0.041956 | 0.010553 | 5.8559e-05 | 3.6966e-05 | 0.062853 | 0.062853 | 0.062853 | 0.992 | -0.15383 | 0.99352 | -0.12457 | 17.2673
50 | 0.018796 | 0.0047124 | -0.018791 | -0.0047091 | 5.5375e-06 | 3.3056e-06 | 0.028235 | 0.028235 | 0.028235 | 0.99059 | -0.18121 | 0.99027 | -0.1874 | 7.757
51 | -0.18011 | -0.045669 | 0.18042 | 0.045862 | 0.00030305 | 0.00019336 | 0.26881 | 0.26881 | 0.26881 | 0.99772 | -0.043496 | 0.99955 | -0.0085561 | 36.9245
52 | -0.19806 | -0.049934 | 0.19838 | 0.050134 | 0.00031428 | 0.00020064 | 0.29534 | 0.29533 | 0.29534 | 0.99827 | -0.0331 | 1 | 0 | 40.568
53 | 0.22564 | 0.057233 | -0.22555 | -0.057174 | 9.2784e-05 | 5.9267e-05 | 0.336 | 0.336 | 0.336 | 1 | 0 | 0.99955 | -0.0085561 | 46.1538

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42567 | 0.10737

## res_load
| p_mw | q_mvar
0 | 0.028113 | 0.0070457
1 | 0.0070632 | 0.0017702
2 | 0.0060678 | 0.0015207
3 | 0.0021422 | 0.00053687
4 | 0.047416 | 0.011884
5 | 0.019697 | 0.0049365
6 | 0.0018203 | 0.00045621
7 | 0.0026092 | 0.00065394
8 | 0.0034853 | 0.0008735
9 | 0.0054948 | 0.0013771
10 | 0.0094082 | 0.0023579
11 | 0.010819 | 0.0027115
12 | 0.0088263 | 0.0022121
13 | 0.0087304 | 0.002188
14 | 0.013437 | 0.0033677
15 | 0.0034269 | 0.00085885
16 | 0.021405 | 0.0053645
17 | 0.0034527 | 0.00086532
18 | 0.0015923 | 0.00039906
19 | 0.0033663 | 0.00084368
20 | 0.0087351 | 0.0021892
21 | 0.0013973 | 0.00035021
22 | 0.0061215 | 0.0015342
23 | 0.019893 | 0.0049857
24 | 0.0046443 | 0.001164
25 | 0.0094059 | 0.0023573
26 | 0.0091852 | 0.002302
27 | 0.004607 | 0.0011546
28 | 0.0067555 | 0.0016931
29 | 0.041909 | 0.010503
30 | 0.0060802 | 0.0015238
31 | 0.010605 | 0.0026579
32 | 0.0046942 | 0.0011765
33 | 0.0034668 | 0.00086887
34 | 0.0080638 | 0.002021
35 | 0.0068387 | 0.0017139
36 | 0.0023209 | 0.00058167
37 | 0.0025353 | 0.00063541
38 | 0.010392 | 0.0026044
39 | 0.045134 | 0.011312

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1