## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1069-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1069-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1069-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1069-11_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1069-11_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1069-11_0_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_1069-11_0_4_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_1069-11_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_1069-11_0_4_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_1069-11_0_4_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_1069-11_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1069-11_0_4_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_1069-11_0_4_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_1069-11_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_1069-11_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1069-11_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1069-11_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1069-11_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1069-11_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1069-11_0_4_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_1069-11_0_4_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_1069-11_0_4_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_1069-11_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1069-11_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1069-11_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1069-11_0_4_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_1069-11_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1069-11_0_4_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_1069-11_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_1069-11_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1069-11_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1069-11_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1069-11_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_1069-11_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_1069-11_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1069-11_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1069-11_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1069-11_0_4_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_1069-11_0_4_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_1069-11_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_1069-11_0_4_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_1069-11_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_1069-11_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1069-11_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_1069-11_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1069-11_0_4_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_1069-11_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_1069-11_0_4_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_1069-11_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_1069-11_0_4_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_1069-11_0_4_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_1069-11_0_4_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_1069-11_0_4_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_1069-11_0_4_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_1069-11_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_1069-11_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_1069-11_0_4_node_25 | 0.4 | n |  | TRUE
57 | bus_LV_1069-11_0_4_node_27 | 0.4 | n |  | TRUE
58 | bus_LV_1069-11_0_4_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_1069-11_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_1069-11_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_1069-11_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_1069-11_0_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_1069-11_0_4_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_1069-11_0_4_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_1069-11_0_4_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_1069-11_0_4_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_1069-11_0_4_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_1069-11_0_4_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_1069-11_0_4_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_1069-11_0_4_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_1069-11_0_4_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_1069-11_0_4_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_1069-11_0_4_node_48 | 0.4 | n |  | TRUE
74 | bus_MV_1_0_node_182 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1069-11_0_4_load_0 | 0 | 0.0018167 | 0.00045531 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1069-11_0_4_load_1 | 1 | 0.0017303 | 0.00043366 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1069-11_0_4_load_2 | 2 | 0.0011981 | 0.00030027 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1069-11_0_4_load_3 | 3 | 0.001737 | 0.00043535 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1069-11_0_4_load_4 | 4 | 0.0009468 | 0.00023729 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1069-11_0_4_load_35 | 6 | 0.001694 | 0.00042455 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1069-11_0_4_load_31 | 7 | 0.014522 | 0.0036396 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1069-11_0_4_load_50 | 8 | 0.0013469 | 0.00033757 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1069-11_0_4_load_42 | 9 | 0.0032357 | 0.00081095 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1069-11_0_4_load_10 | 10 | 0.00067508 | 0.00016919 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1069-11_0_4_load_57 | 11 | 0.0016365 | 0.00041015 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1069-11_0_4_load_5 | 13 | 0.0017208 | 0.00043127 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1069-11_0_4_load_6 | 14 | 0.0012091 | 0.00030302 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1069-11_0_4_load_8 | 16 | 0.00064805 | 0.00016242 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1069-11_0_4_load_9 | 17 | 0.0008565 | 0.00021466 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1069-11_0_4_load_64 | 19 | 0.00072518 | 0.00018175 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1069-11_0_4_load_65 | 20 | 0.0092443 | 0.0023168 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1069-11_0_4_load_44 | 21 | 0.0032317 | 0.00080993 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1069-11_0_4_load_12 | 22 | 0.0019833 | 0.00049705 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1069-11_0_4_load_13 | 23 | 0.0020657 | 0.00051772 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1069-11_0_4_load_15 | 24 | 0.0020756 | 0.00052019 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1069-11_0_4_load_47 | 25 | 0.018095 | 0.0045349 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1069-11_0_4_load_16 | 26 | 0.0062897 | 0.0015763 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1069-11_0_4_load_46 | 28 | 0.023246 | 0.005826 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1069-11_0_4_load_17 | 30 | 0.030103 | 0.0075444 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1069-11_0_4_load_22 | 34 | 0.0068428 | 0.001715 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1069-11_0_4_load_30 | 35 | 0.029818 | 0.0074731 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1069-11_0_4_load_29 | 36 | 0.01594 | 0.0039949 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1069-11_0_4_load_76 | 37 | 0.013945 | 0.003495 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1069-11_0_4_load_68 | 38 | 0.0019363 | 0.00048528 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1069-11_0_4_load_72 | 40 | 0.085737 | 0.021488 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1069-11_0_4_load_38 | 42 | 0.015657 | 0.0039239 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1069-11_0_4_load_45 | 44 | 0.0016489 | 0.00041326 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1069-11_0_4_load_26 | 46 | 0.0018907 | 0.00047386 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1069-11_0_4_load_59 | 47 | 0.00086537 | 0.00021688 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1069-11_0_4_load_61 | 49 | 0.0016427 | 0.00041169 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1069-11_0_4_load_73 | 51 | 0.0017086 | 0.00042821 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1069-11_0_4_load_74 | 52 | 0.0016689 | 0.00041827 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1069-11_0_4_load_75 | 53 | 0.0021049 | 0.00052753 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1069-11_0_4_load_36 | 55 | 0.0041596 | 0.0010425 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1069-11_0_4_load_25 | 56 | 0.0027332 | 0.00068501 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1069-11_0_4_load_27 | 57 | 0.0017176 | 0.00043047 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1069-11_0_4_load_32 | 58 | 0.00433 | 0.0010852 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1069-11_0_4_load_53 | 59 | 0.0022212 | 0.00055668 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1069-11_0_4_load_54 | 60 | 0.0025519 | 0.00063956 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1069-11_0_4_load_55 | 61 | 0.0024103 | 0.00060409 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1069-11_0_4_load_67 | 62 | 0.0037193 | 0.00093214 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1069-11_0_4_load_66 | 63 | 0.002358 | 0.00059097 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1069-11_0_4_load_69 | 64 | 0.0032841 | 0.00082307 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1069-11_0_4_load_71 | 66 | 0.0046104 | 0.0011555 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1069-11_0_4_load_37 | 67 | 0.08225 | 0.020614 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1069-11_0_4_load_41 | 70 | 0.042528 | 0.010659 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1069-11_0_4_load_51 | 71 | 0.015058 | 0.0037739 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1069-11_0_4_line_0 |  | 0 | 1 | 0.023206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1069-11_0_4_line_1 |  | 0 | 2 | 0.020538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1069-11_0_4_line_2 |  | 1 | 3 | 0.003788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1069-11_0_4_line_3 |  | 2 | 4 | 0.022434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1069-11_0_4_line_4 |  | 3 | 8 | 0.026408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1069-11_0_4_line_5 |  | 4 | 9 | 0.024381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1069-11_0_4_line_6 |  | 5 | 6 | 0.028549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1069-11_0_4_line_7 |  | 5 | 7 | 0.031794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1069-11_0_4_line_8 |  | 6 | 10 | 0.034136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1069-11_0_4_line_9 |  | 7 | 58 | 0.0072813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1069-11_0_4_line_10 |  | 8 | 11 | 0.0012195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1069-11_0_4_line_11 |  | 9 | 12 | 0.013401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1069-11_0_4_line_12 |  | 10 | 19 | 0.010881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1069-11_0_4_line_13 |  | 10 | 15 | 0.018824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1069-11_0_4_line_14 |  | 11 | 45 | 0.015936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1069-11_0_4_line_15 |  | 12 | 21 | 0.021115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1069-11_0_4_line_16 |  | 12 | 18 | 0.03572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1069-11_0_4_line_17 |  | 13 | 14 | 0.017113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1069-11_0_4_line_18 |  | 13 | 15 | 0.014688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1069-11_0_4_line_19 |  | 14 | 16 | 0.03115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1069-11_0_4_line_20 |  | 15 | 17 | 0.019003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1069-11_0_4_line_21 |  | 16 | 18 | 0.02134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1069-11_0_4_line_22 |  | 19 | 20 | 0.018098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1069-11_0_4_line_23 |  | 21 | 64 | 0.033362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1069-11_0_4_line_24 |  | 22 | 23 | 0.022075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1069-11_0_4_line_25 |  | 23 | 24 | 0.023973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1069-11_0_4_line_26 |  | 24 | 25 | 0.032699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1069-11_0_4_line_27 |  | 25 | 28 | 0.015939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1069-11_0_4_line_28 |  | 26 | 27 | 0.008339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1069-11_0_4_line_29 |  | 27 | 29 | 0.0506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1069-11_0_4_line_30 |  | 28 | 73 | 0.020718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1069-11_0_4_line_31 |  | 29 | 37 | 0.022536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1069-11_0_4_line_32 |  | 29 | 31 | 0.018054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1069-11_0_4_line_33 |  | 30 | 31 | 0.0075248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1069-11_0_4_line_34 |  | 30 | 32 | 0.021669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1069-11_0_4_line_35 |  | 31 | 33 | 0.02602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1069-11_0_4_line_36 |  | 32 | 34 | 0.046502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1069-11_0_4_line_37 |  | 33 | 35 | 0.029547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1069-11_0_4_line_38 |  | 33 | 36 | 0.018207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1069-11_0_4_line_39 |  | 34 | 38 | 0.053661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1069-11_0_4_line_40 |  | 35 | 39 | 0.027098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1069-11_0_4_line_41 |  | 38 | 49 | 0.019775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1069-11_0_4_line_42 |  | 39 | 40 | 0.058498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1069-11_0_4_line_43 |  | 40 | 54 | 0.01224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1069-11_0_4_line_44 |  | 41 | 42 | 0.007538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1069-11_0_4_line_45 |  | 42 | 55 | 0.01084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1069-11_0_4_line_46 |  | 43 | 44 | 0.016806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1069-11_0_4_line_47 |  | 43 | 45 | 0.035426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1069-11_0_4_line_48 |  | 43 | 46 | 0.015614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1069-11_0_4_line_49 |  | 45 | 47 | 0.016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1069-11_0_4_line_50 |  | 46 | 56 | 0.029718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1069-11_0_4_line_51 |  | 47 | 48 | 0.01823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_1069-11_0_4_line_52 |  | 48 | 49 | 0.058099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1069-11_0_4_line_53 |  | 48 | 50 | 0.018973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1069-11_0_4_line_54 |  | 50 | 51 | 0.041159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1069-11_0_4_line_55 |  | 51 | 52 | 0.010527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1069-11_0_4_line_56 |  | 52 | 53 | 0.010319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1069-11_0_4_line_57 |  | 54 | 69 | 0.006986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_1069-11_0_4_line_58 |  | 55 | 67 | 0.026148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_1069-11_0_4_line_59 |  | 56 | 57 | 0.010586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1069-11_0_4_line_60 |  | 58 | 59 | 0.068533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1069-11_0_4_line_61 |  | 59 | 60 | 0.00087608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1069-11_0_4_line_62 |  | 60 | 61 | 0.011691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1069-11_0_4_line_63 |  | 61 | 62 | 0.011396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1069-11_0_4_line_64 |  | 62 | 63 | 0.00026013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1069-11_0_4_line_65 |  | 64 | 65 | 0.011444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1069-11_0_4_line_66 |  | 65 | 66 | 0.039564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1069-11_0_4_line_67 |  | 67 | 68 | 0.037579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_1069-11_0_4_line_68 |  | 68 | 69 | 0.043614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_1069-11_0_4_line_69 |  | 68 | 70 | 0.053566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1069-11_0_4_line_70 |  | 69 | 71 | 0.017885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1069-11_0_4_line_71 |  | 71 | 72 | 0.043062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1069-11_0_4_line_72 |  | 72 | 73 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1069-11_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 74 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2674680.0924 | 1209399.0859 | 2674658.6762 | 1209390.1497
1 | 2674680.0924 | 1209399.0859 | 2674699.0468 | 1209406.9948
2 | 2674658.6762 | 1209390.1497 | 2674655.1804 | 1209388.691
3 | 2674699.0468 | 1209406.9948 | 2674719.7505 | 1209415.6337
4 | 2674630.809 | 1209378.5218 | 2674655.1804 | 1209388.691
5 | 2674742.1315 | 1209425.2472 | 2674740.9795 | 1209424.4917 | 2674719.7505 | 1209415.6337
6 | 2674737.8165 | 1209293.4918 | 2674741.6706 | 1209298.9658 | 2674744.5875 | 1209300.9591 | 2674762.0454 | 1209306.7147
7 | 2674737.8165 | 1209293.4918 | 2674743.5499 | 1209287.9157 | 2674754.5321 | 1209280.2373 | 2674760.1141 | 1209271.4671
8 | 2674762.0454 | 1209306.7147 | 2674756.6906 | 1209340.4279
9 | 2674764.0238 | 1209265.3245 | 2674764.0238 | 1209265.3245 | 2674760.1141 | 1209271.4671
10 | 2674630.809 | 1209378.5218 | 2674629.6836 | 1209378.0522
11 | 2674753.3373 | 1209432.596 | 2674742.1315 | 1209425.2472
12 | 2674767.2115 | 1209342.8781 | 2674767.006 | 1209342.7773 | 2674757.9679 | 1209340.307 | 2674756.6906 | 1209340.4279
13 | 2674740.0292 | 1209348.0539 | 2674750.6006 | 1209341.0041 | 2674756.6906 | 1209340.4279
14 | 2674614.9765 | 1209371.9155 | 2674629.6836 | 1209378.0522
15 | 2674753.3373 | 1209432.596 | 2674736.3349 | 1209445.1157
16 | 2674783.3419 | 1209414.9719 | 2674771.6032 | 1209418.1268 | 2674762.9662 | 1209422.488 | 2674753.3373 | 1209432.596
17 | 2674742.8999 | 1209362.4514 | 2674745.6255 | 1209374.6407 | 2674747.3093 | 1209378.9462
18 | 2674740.0292 | 1209348.0539 | 2674740.8314 | 1209353.2005 | 2674742.8999 | 1209362.4514
19 | 2674747.3093 | 1209378.9462 | 2674748.837 | 1209382.8528 | 2674754.4213 | 1209388.5596 | 2674770.1767 | 1209399.1263
20 | 2674740.0292 | 1209348.0539 | 2674737.9303 | 1209344.4809 | 2674735.5744 | 1209341.3939 | 2674731.9818 | 1209339.3254 | 2674726.296 | 1209337.4753 | 2674725.4788 | 1209337.2378
21 | 2674783.3419 | 1209414.9719 | 2674780.3131 | 1209407.3514 | 2674776.8557 | 1209403.6057 | 2674770.1767 | 1209399.1263
22 | 2674783.4617 | 1209350.8441 | 2674767.2115 | 1209342.8781
23 | 2674736.3349 | 1209445.1157 | 2674733.0127 | 1209447.5621 | 2674709.4731 | 1209464.9019
24 | 2674451.9296 | 1209142.6244 | 2674469.6024 | 1209140.8657 | 2674473.8674 | 1209140.2138
25 | 2674473.8674 | 1209140.2138 | 2674497.5655 | 1209136.5919
26 | 2674497.5655 | 1209136.5919 | 2674527.1007 | 1209132.0778 | 2674529.9065 | 1209131.7826
27 | 2674545.7583 | 1209130.1152 | 2674529.9065 | 1209131.7826
28 | 2674491.9181 | 1209185.639 | 2674486.5115 | 1209182.7141 | 2674484.596 | 1209181.6486
29 | 2674491.9181 | 1209185.639 | 2674497.2585 | 1209188.3851 | 2674535.5895 | 1209211.3892
30 | 2674566.3983 | 1209131.2903 | 2674556.5081 | 1209130.066 | 2674546.1843 | 1209130.0704 | 2674545.7583 | 1209130.1152
31 | 2674535.5895 | 1209211.3892 | 2674530.5869 | 1209215.685 | 2674523.4621 | 1209218.2532 | 2674515.1162 | 1209219.3831
32 | 2674535.5895 | 1209211.3892 | 2674552.0138 | 1209218.988
33 | 2674552.0138 | 1209218.988 | 2674559.2516 | 1209221.0463
34 | 2674580.3114 | 1209224.8341 | 2674574.1785 | 1209225.2911 | 2674559.2516 | 1209221.0463
35 | 2674552.0138 | 1209218.988 | 2674552.8304 | 1209209.6034 | 2674553.7895 | 1209203.4226 | 2674555.7914 | 1209199.5674 | 2674557.9217 | 1209193.9572
36 | 2674580.3114 | 1209224.8341 | 2674582.4584 | 1209236.1347 | 2674580.8966 | 1209247.956 | 2674577.9907 | 1209253.5787 | 2674571.9072 | 1209257.3829 | 2674562.3267 | 1209258.1526
37 | 2674557.9217 | 1209193.9572 | 2674587.0253 | 1209199.057
38 | 2674557.9217 | 1209193.9572 | 2674554.0683 | 1209193.2864 | 2674542.918 | 1209191.9129 | 2674539.8569 | 1209191.8747
39 | 2674562.3267 | 1209258.1526 | 2674607.8205 | 1209286.6106
40 | 2674612.5724 | 1209206.7592 | 2674605.2017 | 1209202.242 | 2674587.0253 | 1209199.057
41 | 2674607.8205 | 1209286.6106 | 2674600.443 | 1209304.9583
42 | 2674612.5724 | 1209206.7592 | 2674624.6072 | 1209200.0166 | 2674631.6724 | 1209193.712 | 2674635.9903 | 1209183.9932 | 2674637.7987 | 1209167.6611 | 2674638.4178 | 1209159.5172
43 | 2674639.3457 | 1209147.3121 | 2674638.4178 | 1209159.5172
44 | 2674643.3507 | 1209216.6725 | 2674650.5109 | 1209214.3161
45 | 2674650.5109 | 1209214.3161 | 2674656.5022 | 1209205.2824
46 | 2674626.7139 | 1209338.4856 | 2674632.0189 | 1209323.3869 | 2674632.5395 | 1209322.7763
47 | 2674614.9765 | 1209371.9155 | 2674626.7139 | 1209338.4856
48 | 2674626.7139 | 1209338.4856 | 2674641.3078 | 1209344.0359
49 | 2674614.9765 | 1209371.9155 | 2674599.4702 | 1209365.6978
50 | 2674641.3078 | 1209344.0359 | 2674669.0845 | 1209354.5999
51 | 2674582.5501 | 1209358.9131 | 2674599.4702 | 1209365.6978
52 | 2674582.5501 | 1209358.9131 | 2674585.1689 | 1209352.5307 | 2674584.0646 | 1209342.9665 | 2674588.23 | 1209335.7028 | 2674590.997 | 1209326.5872 | 2674596.6905 | 1209311.4155 | 2674600.443 | 1209304.9583
53 | 2674564.8959 | 1209351.8325 | 2674582.5501 | 1209358.9131
54 | 2674564.8959 | 1209351.8325 | 2674563.3706 | 1209356.4831 | 2674562.4188 | 1209358.428 | 2674555.9437 | 1209366.8079 | 2674554.9245 | 1209369.8971 | 2674555.1745 | 1209371.7903 | 2674556.1851 | 1209373.6486 | 2674557.1487 | 1209375.017 | 2674568.6211 | 1209383.9789
55 | 2674568.6211 | 1209383.9789 | 2674576.9172 | 1209390.4595
56 | 2674576.9172 | 1209390.4595 | 2674585.049 | 1209396.8117
57 | 2674639.8737 | 1209140.3477 | 2674639.3457 | 1209147.3121
58 | 2674669.1239 | 1209182.5352 | 2674665.4805 | 1209191.7447 | 2674656.5022 | 1209205.2824
59 | 2674678.9788 | 1209358.3629 | 2674669.0845 | 1209354.5999
60 | 2674764.0238 | 1209265.3245 | 2674832.2568 | 1209271.7319
61 | 2674832.8735 | 1209272.3542 | 2674832.2568 | 1209271.7319
62 | 2674832.8735 | 1209272.3542 | 2674841.1034 | 1209280.6584
63 | 2674841.1034 | 1209280.6584 | 2674843.4326 | 1209283.0086 | 2674849.0721 | 1209288.8052
64 | 2674849.2535 | 1209288.9916 | 2674849.0721 | 1209288.8052
65 | 2674700.2587 | 1209471.6895 | 2674709.4731 | 1209464.9019
66 | 2674673.0247 | 1209442.9195 | 2674700.2587 | 1209471.6895
67 | 2674682.9479 | 1209147.591 | 2674669.1239 | 1209182.5352
68 | 2674639.8737 | 1209140.3477 | 2674658.632 | 1209142.4725 | 2674670.6316 | 1209144.6239 | 2674682.9479 | 1209147.591
69 | 2674682.9479 | 1209147.591 | 2674696.9575 | 1209152.5361 | 2674708.826 | 1209157.2654 | 2674719.253 | 1209162.9773 | 2674731.0838 | 1209170.5457
70 | 2674639.8737 | 1209140.3477 | 2674636.9666 | 1209139.9889 | 2674622.1237 | 1209138.1582
71 | 2674579.3856 | 1209132.8869 | 2674622.1237 | 1209138.1582
72 | 2674566.3983 | 1209131.2903 | 2674575.0439 | 1209132.3545 | 2674579.3856 | 1209132.8869

## bus_geodata
| x | y | coords
0 | 2674680.0924 | 1209399.0859
1 | 2674658.6762 | 1209390.1497
2 | 2674699.0468 | 1209406.9948
3 | 2674655.1804 | 1209388.691
4 | 2674719.7505 | 1209415.6337
5 | 2674737.8165 | 1209293.4918
6 | 2674762.0454 | 1209306.7147
7 | 2674760.1141 | 1209271.4671
8 | 2674630.809 | 1209378.5218
9 | 2674742.1315 | 1209425.2472
10 | 2674756.6906 | 1209340.4279
11 | 2674629.6836 | 1209378.0522
12 | 2674753.3373 | 1209432.596
13 | 2674742.8999 | 1209362.4514
14 | 2674747.3093 | 1209378.9462
15 | 2674740.0292 | 1209348.0539
16 | 2674770.1767 | 1209399.1263
17 | 2674725.4788 | 1209337.2378
18 | 2674783.3419 | 1209414.9719
19 | 2674767.2115 | 1209342.8781
20 | 2674783.4617 | 1209350.8441
21 | 2674736.3349 | 1209445.1157
22 | 2674451.9296 | 1209142.6244
23 | 2674473.8674 | 1209140.2139
24 | 2674497.5655 | 1209136.5919
25 | 2674529.9065 | 1209131.7826
26 | 2674484.596 | 1209181.6486
27 | 2674491.9181 | 1209185.639
28 | 2674545.7583 | 1209130.1152
29 | 2674535.5895 | 1209211.3892
30 | 2674559.2516 | 1209221.0463
31 | 2674552.0138 | 1209218.988
32 | 2674580.3114 | 1209224.8341
33 | 2674557.9217 | 1209193.9572
34 | 2674562.3267 | 1209258.1526
35 | 2674587.0253 | 1209199.057
36 | 2674539.8569 | 1209191.8747
37 | 2674515.1162 | 1209219.3831
38 | 2674607.8205 | 1209286.6106
39 | 2674612.5724 | 1209206.7592
40 | 2674638.4178 | 1209159.5172
41 | 2674643.3507 | 1209216.6725
42 | 2674650.5109 | 1209214.3161
43 | 2674626.7139 | 1209338.4856
44 | 2674632.5395 | 1209322.7763
45 | 2674614.9765 | 1209371.9155
46 | 2674641.3078 | 1209344.0359
47 | 2674599.4702 | 1209365.6978
48 | 2674582.5501 | 1209358.9131
49 | 2674600.443 | 1209304.9583
50 | 2674564.8959 | 1209351.8325
51 | 2674568.6211 | 1209383.9789
52 | 2674576.9172 | 1209390.4595
53 | 2674585.049 | 1209396.8117
54 | 2674639.3457 | 1209147.3121
55 | 2674656.5022 | 1209205.2824
56 | 2674669.0845 | 1209354.5999
57 | 2674678.9788 | 1209358.3629
58 | 2674764.0238 | 1209265.3245
59 | 2674832.2568 | 1209271.7319
60 | 2674832.8735 | 1209272.3542
61 | 2674841.1034 | 1209280.6584
62 | 2674849.0721 | 1209288.8052
63 | 2674849.2535 | 1209288.9916
64 | 2674709.4731 | 1209464.9019
65 | 2674700.2587 | 1209471.6895
66 | 2674673.0247 | 1209442.9195
67 | 2674669.1239 | 1209182.5352
68 | 2674682.9479 | 1209147.591
69 | 2674639.8737 | 1209140.3477
70 | 2674731.0838 | 1209170.5457
71 | 2674622.1237 | 1209138.1582
72 | 2674579.3856 | 1209132.8869
73 | 2674566.3983 | 1209131.2903
74 | 2674584.3384 | 1209222.5719

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97485 | -0.48524 | 0.0018167 | 0.00045531
1 | 0.97522 | -0.47808 | 0.0017303 | 0.00043366
2 | 0.97454 | -0.4914 | 0.0011981 | 0.00030027
3 | 0.97528 | -0.47689 | 0.001737 | 0.00043535
4 | 0.9742 | -0.49801 | 0.0009468 | 0.00023729
5 | 0.97163 | -0.54875 | 0 | 0
6 | 0.97185 | -0.54452 | 0.001694 | 0.00042455
7 | 0.97116 | -0.55818 | 0.014522 | 0.0036396
8 | 0.97571 | -0.46833 | 0.0013469 | 0.00033757
9 | 0.97385 | -0.5051 | 0.0032357 | 0.00081095
10 | 0.97212 | -0.53919 | 0.00067508 | 0.00016919
11 | 0.97573 | -0.46793 | 0.0016365 | 0.00041015
12 | 0.97366 | -0.5088 | 0 | 0
13 | 0.97247 | -0.53227 | 0.0017208 | 0.00043127
14 | 0.97266 | -0.52856 | 0.0012091 | 0.00030302
15 | 0.97231 | -0.53533 | 0 | 0
16 | 0.97301 | -0.52164 | 0.00064805 | 0.00016242
17 | 0.9723 | -0.53564 | 0.0008565 | 0.00021466
18 | 0.97325 | -0.51683 | 0 | 0
19 | 0.97202 | -0.54119 | 0.00072518 | 0.00018175
20 | 0.97186 | -0.54428 | 0.0092443 | 0.0023168
21 | 0.97344 | -0.51312 | 0.0032317 | 0.00080993
22 | 0.98329 | -0.32096 | 0.0019833 | 0.00049705
23 | 0.98333 | -0.32017 | 0.0020657 | 0.00051772
24 | 0.98342 | -0.31842 | 0.0020756 | 0.00052019
25 | 0.98361 | -0.31481 | 0.018095 | 0.0045349
26 | 0.98053 | -0.37414 | 0.0062897 | 0.0015763
27 | 0.98058 | -0.37319 | 0 | 0
28 | 0.98396 | -0.30786 | 0.023246 | 0.005826
29 | 0.98088 | -0.36742 | 0 | 0
30 | 0.98099 | -0.36519 | 0.030103 | 0.0075444
31 | 0.98121 | -0.36081 | 0 | 0
32 | 0.98049 | -0.37486 | 0 | 0
33 | 0.98211 | -0.34329 | 0 | 0
34 | 0.97943 | -0.39564 | 0.0068428 | 0.001715
35 | 0.98324 | -0.32132 | 0.029818 | 0.0074731
36 | 0.98185 | -0.34854 | 0.01594 | 0.0039949
37 | 0.98059 | -0.37312 | 0.013945 | 0.003495
38 | 0.97828 | -0.41801 | 0.0019363 | 0.00048528
39 | 0.98447 | -0.29758 | 0 | 0
40 | 0.98711 | -0.24653 | 0.085737 | 0.021488
41 | 1 | 0 | -0.49582 | -0.12645
42 | 0.99915 | -0.016026 | 0.015657 | 0.0039239
43 | 0.97575 | -0.46774 | 0 | 0
44 | 0.97572 | -0.46825 | 0.0016489 | 0.00041326
45 | 0.97601 | -0.46256 | 0 | 0
46 | 0.97565 | -0.46955 | 0.0018907 | 0.00047386
47 | 0.97633 | -0.45631 | 0.00086537 | 0.00021688
48 | 0.97668 | -0.44944 | 0 | 0
49 | 0.97787 | -0.42609 | 0.0016427 | 0.00041169
50 | 0.97658 | -0.45134 | 0 | 0
51 | 0.97637 | -0.45546 | 0.0017086 | 0.00042821
52 | 0.97633 | -0.45619 | 0.0016689 | 0.00041827
53 | 0.97631 | -0.45659 | 0.0021049 | 0.00052753
54 | 0.9879 | -0.2312 | 0 | 0
55 | 0.99797 | -0.038378 | 0.0041596 | 0.0010425
56 | 0.97553 | -0.47197 | 0.0027332 | 0.00068501
57 | 0.97551 | -0.47231 | 0.0017176 | 0.00043047
58 | 0.97104 | -0.56055 | 0.00433 | 0.0010852
59 | 0.97019 | -0.57736 | 0.0022212 | 0.00055668
60 | 0.97018 | -0.57754 | 0.0025519 | 0.00063956
61 | 0.97009 | -0.57938 | 0.0024103 | 0.00060409
62 | 0.97002 | -0.58066 | 0.0037193 | 0.00093214
63 | 0.97002 | -0.58067 | 0.002358 | 0.00059097
64 | 0.97319 | -0.51797 | 0.0032841 | 0.00082307
65 | 0.97314 | -0.51894 | 0 | 0
66 | 0.97297 | -0.5223 | 0.0046104 | 0.0011555
67 | 0.99516 | -0.092033 | 0.08225 | 0.020614
68 | 0.99181 | -0.15598 | 0 | 0
69 | 0.98835 | -0.22246 | 0 | 0
70 | 0.98972 | -0.19643 | 0.042528 | 0.010659
71 | 0.98732 | -0.24243 | 0.015058 | 0.0037739
72 | 0.98544 | -0.27905 | 0 | 0
73 | 0.98487 | -0.29017 | 0 | 0
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.067401 | -0.016949 | 0.067424 | 0.016962 | 2.3036e-05 | 1.3585e-05 | 0.1029 | 0.1029 | 0.1029 | 0.97485 | -0.48524 | 0.97522 | -0.47808 | 7.0674
1 | 0.065584 | 0.016494 | -0.065565 | -0.016482 | 1.9304e-05 | 1.1331e-05 | 0.10013 | 0.10013 | 0.10013 | 0.97485 | -0.48524 | 0.97454 | -0.4914 | 6.8769
2 | -0.069154 | -0.017396 | 0.069158 | 0.017398 | 3.9556e-06 | 2.3425e-06 | 0.10554 | 0.10554 | 0.10554 | 0.97522 | -0.47808 | 0.97528 | -0.47689 | 7.2487
3 | 0.064367 | 0.016182 | -0.064346 | -0.01617 | 2.0322e-05 | 1.1889e-05 | 0.098299 | 0.098299 | 0.098299 | 0.97454 | -0.4914 | 0.9742 | -0.49801 | 6.7513
4 | -0.070895 | -0.017834 | 0.070924 | 0.017851 | 2.8979e-05 | 1.7228e-05 | 0.10819 | 0.10819 | 0.10819 | 0.97528 | -0.47689 | 0.97571 | -0.46833 | 7.4307
5 | 0.0634 | 0.015933 | -0.063378 | -0.01592 | 2.1441e-05 | 1.2508e-05 | 0.096853 | 0.096854 | 0.096854 | 0.9742 | -0.49801 | 0.97385 | -0.5051 | 6.652
6 | -0.032141 | -0.0080643 | 0.032148 | 0.008067 | 6.4855e-06 | 2.7361e-06 | 0.049226 | 0.049225 | 0.049226 | 0.97163 | -0.54875 | 0.97185 | -0.54452 | 3.3809
7 | 0.032141 | 0.0080643 | -0.032127 | -0.0080558 | 1.4446e-05 | 8.458e-06 | 0.049226 | 0.049226 | 0.049226 | 0.97163 | -0.54875 | 0.97116 | -0.55818 | 6.7619
8 | -0.033842 | -0.0084916 | 0.03385 | 0.0084954 | 8.5932e-06 | 3.8073e-06 | 0.051819 | 0.051819 | 0.051819 | 0.97185 | -0.54452 | 0.97212 | -0.53919 | 3.559
9 | 0.017604 | 0.0044162 | -0.017602 | -0.0044151 | 1.9869e-06 | 1.1815e-06 | 0.026975 | 0.026975 | 0.026975 | 0.97116 | -0.55818 | 0.97104 | -0.56055 | 7.4108
10 | -0.072271 | -0.018189 | 0.072272 | 0.018189 | 1.3895e-06 | 8.2837e-07 | 0.11024 | 0.11024 | 0.11024 | 0.97571 | -0.46833 | 0.97573 | -0.46793 | 7.5717
11 | 0.060142 | 0.015109 | -0.060132 | -0.015103 | 1.0612e-05 | 6.1252e-06 | 0.09191 | 0.09191 | 0.09191 | 0.97385 | -0.5051 | 0.97366 | -0.5088 | 6.3125
12 | 0.0099718 | 0.0024997 | -0.0099709 | -0.0024992 | 9.5073e-07 | 4.7357e-07 | 0.015264 | 0.015264 | 0.015264 | 0.97212 | -0.53919 | 0.97202 | -0.54119 | 4.1934
13 | -0.044497 | -0.011164 | 0.044505 | 0.011169 | 8.1879e-06 | 4.3065e-06 | 0.068116 | 0.068116 | 0.068116 | 0.97212 | -0.53919 | 0.97231 | -0.53533 | 4.6783
14 | -0.073909 | -0.0186 | 0.073928 | 0.018611 | 1.8989e-05 | 1.1357e-05 | 0.11274 | 0.11274 | 0.11274 | 0.97573 | -0.46793 | 0.97601 | -0.46256 | 7.7431
15 | 0.011131 | 0.0027904 | -0.011129 | -0.0027892 | 2.2915e-06 | 1.204e-06 | 0.017012 | 0.017012 | 0.017012 | 0.97366 | -0.5088 | 0.97344 | -0.51312 | 4.6736
16 | 0.049001 | 0.012313 | -0.048982 | -0.012303 | 1.8786e-05 | 1.0247e-05 | 0.074898 | 0.074899 | 0.074899 | 0.97366 | -0.5088 | 0.97325 | -0.51683 | 5.1441
17 | -0.047089 | -0.011818 | 0.047098 | 0.011822 | 8.3307e-06 | 4.4822e-06 | 0.072059 | 0.072059 | 0.072059 | 0.97247 | -0.53227 | 0.97266 | -0.52856 | 4.9491
18 | 0.045368 | 0.011387 | -0.045362 | -0.011383 | 6.6372e-06 | 3.519e-06 | 0.069426 | 0.069426 | 0.069426 | 0.97247 | -0.53227 | 0.97231 | -0.53533 | 4.7683
19 | -0.048307 | -0.012125 | 0.048323 | 0.012134 | 1.5952e-05 | 8.6622e-06 | 0.073908 | 0.073908 | 0.073908 | 0.97266 | -0.52856 | 0.97301 | -0.52164 | 5.0761
20 | 0.00085652 | 0.00021443 | -0.0008565 | -0.00021466 | 1.2243e-08 | -2.2785e-07 | 0.0013107 | 0.0013108 | 0.0013108 | 0.97231 | -0.53533 | 0.9723 | -0.53564 | 0.36011
21 | -0.048971 | -0.012296 | 0.048982 | 0.012303 | 1.1223e-05 | 6.1223e-06 | 0.074899 | 0.074899 | 0.074899 | 0.97301 | -0.52164 | 0.97325 | -0.51683 | 5.1442
22 | 0.0092457 | 0.0023175 | -0.0092443 | -0.0023168 | 1.3596e-06 | 6.4585e-07 | 0.014154 | 0.014154 | 0.014154 | 0.97202 | -0.54119 | 0.97186 | -0.54428 | 3.8885
23 | 0.0078973 | 0.0019793 | -0.0078955 | -0.0019785 | 1.8233e-06 | 7.5225e-07 | 0.012072 | 0.012072 | 0.012072 | 0.97344 | -0.51312 | 0.97319 | -0.51797 | 3.3165
24 | -0.0019833 | -0.00049705 | 0.0019833 | 0.00049682 | 7.4562e-08 | -2.323e-07 | 0.0030013 | 0.0030012 | 0.0030013 | 0.98329 | -0.32096 | 0.98333 | -0.32017 | 0.82452
25 | -0.004049 | -0.0010145 | 0.0040494 | 0.0010144 | 3.3749e-07 | -8.8152e-08 | 0.0061271 | 0.006127 | 0.0061271 | 0.98333 | -0.32017 | 0.98342 | -0.31842 | 1.6833
26 | -0.006125 | -0.0015346 | 0.006126 | 0.0015349 | 1.0532e-06 | 2.5906e-07 | 0.0092675 | 0.0092674 | 0.0092675 | 0.98342 | -0.31842 | 0.98361 | -0.31481 | 2.546
27 | -0.024221 | -0.0060698 | 0.024229 | 0.0060748 | 8.0249e-06 | 4.9335e-06 | 0.036641 | 0.036641 | 0.036641 | 0.98361 | -0.31481 | 0.98396 | -0.30786 | 10.0663
28 | -0.0062897 | -0.0015763 | 0.00629 | 0.0015764 | 2.849e-07 | 7.7146e-08 | 0.009545 | 0.0095449 | 0.009545 | 0.98053 | -0.37414 | 0.98058 | -0.37319 | 2.6222
29 | -0.00629 | -0.0015764 | 0.0062917 | 0.0015769 | 1.7287e-06 | 4.6786e-07 | 0.0095449 | 0.0095447 | 0.0095449 | 0.98058 | -0.37319 | 0.98088 | -0.36742 | 2.6222
30 | -0.047475 | -0.011901 | 0.047515 | 0.011926 | 4.0047e-05 | 2.5367e-05 | 0.071795 | 0.071795 | 0.071795 | 0.98396 | -0.30786 | 0.98487 | -0.29017 | 19.724
31 | 0.013949 | 0.0034971 | -0.013945 | -0.003495 | 3.7843e-06 | 2.1376e-06 | 0.021161 | 0.021161 | 0.021161 | 0.98088 | -0.36742 | 0.98059 | -0.37312 | 5.8135
32 | -0.020241 | -0.005074 | 0.020247 | 0.0050778 | 6.3833e-06 | 3.8574e-06 | 0.030706 | 0.030706 | 0.030706 | 0.98088 | -0.36742 | 0.98121 | -0.36081 | 8.4357
33 | -0.12922 | -0.032624 | 0.12925 | 0.032641 | 2.7128e-05 | 1.6982e-05 | 0.1961 | 0.1961 | 0.1961 | 0.98099 | -0.36519 | 0.98121 | -0.36081 | 13.4683
34 | 0.099121 | 0.02508 | -0.099075 | -0.025051 | 4.5975e-05 | 2.833e-05 | 0.15044 | 0.15044 | 0.15044 | 0.98099 | -0.36519 | 0.98049 | -0.37486 | 10.3323
35 | -0.1495 | -0.037719 | 0.14962 | 0.037798 | 0.00012548 | 7.8993e-05 | 0.2268 | 0.2268 | 0.2268 | 0.98121 | -0.36081 | 0.98211 | -0.34329 | 15.5772
36 | 0.099075 | 0.025051 | -0.098977 | -0.02499 | 9.8665e-05 | 6.0802e-05 | 0.15044 | 0.15044 | 0.15044 | 0.98049 | -0.37486 | 0.97943 | -0.39564 | 10.3323
37 | -0.16557 | -0.041795 | 0.16574 | 0.041905 | 0.00017446 | 0.00011016 | 0.25096 | 0.25096 | 0.25096 | 0.98211 | -0.34329 | 0.98324 | -0.32132 | 17.2363
38 | 0.015944 | 0.0039972 | -0.01594 | -0.0039949 | 3.9844e-06 | 2.3197e-06 | 0.024157 | 0.024157 | 0.024157 | 0.98211 | -0.34329 | 0.98185 | -0.34854 | 6.6366
39 | 0.092134 | 0.023275 | -0.092035 | -0.023215 | 9.8664e-05 | 6.0447e-05 | 0.14004 | 0.14004 | 0.14004 | 0.97943 | -0.39564 | 0.97828 | -0.41801 | 9.6184
40 | -0.19556 | -0.049378 | 0.19578 | 0.049519 | 0.00022271 | 0.00014116 | 0.29609 | 0.29609 | 0.29609 | 0.98324 | -0.32132 | 0.98447 | -0.29758 | 20.3356
41 | 0.090099 | 0.02273 | -0.090064 | -0.022708 | 3.4847e-05 | 2.1309e-05 | 0.1371 | 0.1371 | 0.1371 | 0.97828 | -0.41801 | 0.97787 | -0.42609 | 9.4161
42 | -0.19578 | -0.049519 | 0.19626 | 0.049824 | 0.00048078 | 0.00030472 | 0.29609 | 0.29608 | 0.29609 | 0.98447 | -0.29758 | 0.98711 | -0.24653 | 20.3356
43 | -0.282 | -0.071312 | 0.28221 | 0.071444 | 0.00020759 | 0.00013223 | 0.42533 | 0.42533 | 0.42533 | 0.98711 | -0.24653 | 0.9879 | -0.2312 | 29.2122
44 | 0.49417 | 0.12645 | -0.49379 | -0.1262 | 0.00038308 | 0.00024477 | 0.73626 | 0.73626 | 0.73626 | 1 | 0 | 0.99915 | -0.016026 | 50.5672
45 | 0.47813 | 0.12228 | -0.47762 | -0.12195 | 0.00051654 | 0.00033002 | 0.71294 | 0.71294 | 0.71294 | 0.99915 | -0.016026 | 0.99797 | -0.038378 | 48.9658
46 | 0.001649 | 0.00041308 | -0.0016489 | -0.00041326 | 3.9853e-08 | -1.8441e-07 | 0.0025146 | 0.0025147 | 0.0025147 | 0.97575 | -0.46774 | 0.97572 | -0.46825 | 0.69086
47 | -0.0079916 | -0.0020024 | 0.0079936 | 0.0020032 | 1.9731e-06 | 8.2017e-07 | 0.012187 | 0.012187 | 0.012187 | 0.97575 | -0.46774 | 0.97601 | -0.46256 | 3.3481
48 | 0.0063427 | 0.0015893 | -0.0063421 | -0.0015892 | 5.4779e-07 | 1.5558e-07 | 0.0096725 | 0.0096725 | 0.0096725 | 0.97575 | -0.46774 | 0.97565 | -0.46955 | 2.6573
49 | -0.081922 | -0.020614 | 0.081946 | 0.020629 | 2.4444e-05 | 1.4809e-05 | 0.12493 | 0.12493 | 0.12493 | 0.97601 | -0.46256 | 0.97633 | -0.45631 | 8.5801
50 | 0.0044514 | 0.0011153 | -0.0044509 | -0.0011154 | 5.1364e-07 | -4.2349e-08 | 0.0067889 | 0.006789 | 0.006789 | 0.97565 | -0.46955 | 0.97553 | -0.47197 | 1.8651
51 | -0.082811 | -0.020846 | 0.082839 | 0.020862 | 2.7238e-05 | 1.652e-05 | 0.12625 | 0.12625 | 0.12625 | 0.97633 | -0.45631 | 0.97668 | -0.44944 | 8.6707
52 | -0.088323 | -0.022237 | 0.088421 | 0.022297 | 9.8681e-05 | 6.0244e-05 | 0.1346 | 0.1346 | 0.1346 | 0.97668 | -0.44944 | 0.97787 | -0.42609 | 9.2445
53 | 0.0054841 | 0.0013741 | -0.0054836 | -0.001374 | 4.9669e-07 | 8.0469e-08 | 0.0083552 | 0.0083553 | 0.0083553 | 0.97668 | -0.44944 | 0.97658 | -0.45134 | 2.2954
54 | 0.0054836 | 0.001374 | -0.0054825 | -0.0013739 | 1.0775e-06 | 1.7475e-07 | 0.0083553 | 0.0083555 | 0.0083555 | 0.97658 | -0.45134 | 0.97637 | -0.45546 | 2.2955
55 | 0.003774 | 0.00094565 | -0.0037738 | -0.0009457 | 1.3059e-07 | -4.8076e-08 | 0.0057515 | 0.0057516 | 0.0057516 | 0.97637 | -0.45546 | 0.97633 | -0.45619 | 1.5801
56 | 0.0021049 | 0.00052743 | -0.0021049 | -0.00052753 | 3.9823e-08 | -1.0355e-07 | 0.003208 | 0.0032081 | 0.0032081 | 0.97633 | -0.45619 | 0.97631 | -0.45659 | 0.88134
57 | -0.28221 | -0.071444 | 0.28233 | 0.07152 | 0.00011848 | 7.547e-05 | 0.42533 | 0.42533 | 0.42533 | 0.9879 | -0.2312 | 0.98835 | -0.22246 | 29.2122
58 | 0.47346 | 0.1209 | -0.47223 | -0.12012 | 0.0012244 | 0.00078228 | 0.70674 | 0.70674 | 0.70674 | 0.99797 | -0.038378 | 0.99516 | -0.092033 | 48.5399
59 | 0.0017176 | 0.00043035 | -0.0017176 | -0.00043047 | 2.7248e-08 | -1.1472e-07 | 0.0026199 | 0.00262 | 0.00262 | 0.97553 | -0.47197 | 0.97551 | -0.47231 | 0.71977
60 | 0.013272 | 0.0033299 | -0.013262 | -0.0033239 | 1.0633e-05 | 5.9578e-06 | 0.02034 | 0.02034 | 0.02034 | 0.97104 | -0.56055 | 0.97019 | -0.57736 | 5.588
61 | 0.011041 | 0.0027672 | -0.011041 | -0.0027672 | 9.4205e-08 | 4.9473e-08 | 0.016934 | 0.016934 | 0.016934 | 0.97019 | -0.57736 | 0.97018 | -0.57754 | 4.6521
62 | 0.0084887 | 0.0021276 | -0.008488 | -0.0021273 | 7.432e-07 | 3.3129e-07 | 0.01302 | 0.01302 | 0.01302 | 0.97018 | -0.57754 | 0.97009 | -0.57938 | 3.5768
63 | 0.0060777 | 0.0015232 | -0.0060773 | -0.0015231 | 3.7142e-07 | 9.7016e-08 | 0.0093225 | 0.0093226 | 0.0093226 | 0.97009 | -0.57938 | 0.97002 | -0.58066 | 2.5611
64 | 0.002358 | 0.00059097 | -0.002358 | -0.00059097 | 1.276e-09 | -2.3942e-09 | 0.0036172 | 0.0036172 | 0.0036172 | 0.97002 | -0.58066 | 0.97002 | -0.58067 | 0.99373
65 | 0.0046114 | 0.0011555 | -0.0046112 | -0.0011555 | 2.1335e-07 | -5.6488e-09 | 0.0070507 | 0.0070508 | 0.0070508 | 0.97319 | -0.51797 | 0.97314 | -0.51894 | 1.937
66 | 0.0046112 | 0.0011555 | -0.0046104 | -0.0011555 | 7.3759e-07 | -1.9402e-08 | 0.0070508 | 0.007051 | 0.007051 | 0.97314 | -0.51894 | 0.97297 | -0.5223 | 1.9371
67 | 0.38998 | 0.099508 | -0.38878 | -0.098742 | 0.0012006 | 0.00076641 | 0.58376 | 0.58376 | 0.58376 | 0.99516 | -0.092033 | 0.99181 | -0.15598 | 40.0932
68 | 0.34617 | 0.088031 | -0.34507 | -0.087327 | 0.0011048 | 0.00070485 | 0.51982 | 0.51982 | 0.51982 | 0.99181 | -0.15598 | 0.98835 | -0.22246 | 35.7018
69 | 0.04261 | 0.01071 | -0.042528 | -0.010659 | 8.2123e-05 | 5.1869e-05 | 0.06394 | 0.06394 | 0.06394 | 0.99181 | -0.15598 | 0.98972 | -0.19643 | 17.5659
70 | 0.062741 | 0.015807 | -0.062681 | -0.015769 | 5.9879e-05 | 3.8093e-05 | 0.094489 | 0.094489 | 0.094489 | 0.98835 | -0.22246 | 0.98732 | -0.24243 | 25.9586
71 | 0.047623 | 0.011995 | -0.04754 | -0.011942 | 8.3236e-05 | 5.2722e-05 | 0.071795 | 0.071795 | 0.071795 | 0.98732 | -0.24243 | 0.98544 | -0.27905 | 19.7239
72 | 0.04754 | 0.011942 | -0.047515 | -0.011926 | 2.5221e-05 | 1.5975e-05 | 0.071795 | 0.071795 | 0.071795 | 0.98544 | -0.27905 | 0.98487 | -0.29017 | 19.7239

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49582 | 0.12645

## res_load
| p_mw | q_mvar
0 | 0.0018167 | 0.00045531
1 | 0.0017303 | 0.00043366
2 | 0.0011981 | 0.00030027
3 | 0.001737 | 0.00043535
4 | 0.0009468 | 0.00023729
5 | 0.001694 | 0.00042455
6 | 0.014522 | 0.0036396
7 | 0.0013469 | 0.00033757
8 | 0.0032357 | 0.00081095
9 | 0.00067508 | 0.00016919
10 | 0.0016365 | 0.00041015
11 | 0.0017208 | 0.00043127
12 | 0.0012091 | 0.00030302
13 | 0.00064805 | 0.00016242
14 | 0.0008565 | 0.00021466
15 | 0.00072518 | 0.00018175
16 | 0.0092443 | 0.0023168
17 | 0.0032317 | 0.00080993
18 | 0.0019833 | 0.00049705
19 | 0.0020657 | 0.00051772
20 | 0.0020756 | 0.00052019
21 | 0.018095 | 0.0045349
22 | 0.0062897 | 0.0015763
23 | 0.023246 | 0.005826
24 | 0.030103 | 0.0075444
25 | 0.0068428 | 0.001715
26 | 0.029818 | 0.0074731
27 | 0.01594 | 0.0039949
28 | 0.013945 | 0.003495
29 | 0.0019363 | 0.00048528
30 | 0.085737 | 0.021488
31 | 0.015657 | 0.0039239
32 | 0.0016489 | 0.00041326
33 | 0.0018907 | 0.00047386
34 | 0.00086537 | 0.00021688
35 | 0.0016427 | 0.00041169
36 | 0.0017086 | 0.00042821
37 | 0.0016689 | 0.00041827
38 | 0.0021049 | 0.00052753
39 | 0.0041596 | 0.0010425
40 | 0.0027332 | 0.00068501
41 | 0.0017176 | 0.00043047
42 | 0.00433 | 0.0010852
43 | 0.0022212 | 0.00055668
44 | 0.0025519 | 0.00063956
45 | 0.0024103 | 0.00060409
46 | 0.0037193 | 0.00093214
47 | 0.002358 | 0.00059097
48 | 0.0032841 | 0.00082307
49 | 0.0046104 | 0.0011555
50 | 0.08225 | 0.020614
51 | 0.042528 | 0.010659
52 | 0.015058 | 0.0037739

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1