## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1069-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1069-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1069-3_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1069-3_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1069-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1069-3_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1069-3_0_4_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_1069-3_0_4_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_1069-3_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1069-3_0_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_1069-3_0_4_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_1069-3_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1069-3_0_4_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_1069-3_0_4_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_1069-3_0_4_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_1069-3_0_4_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_1069-3_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1069-3_0_4_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_1069-3_0_4_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_1069-3_0_4_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_1069-3_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1069-3_0_4_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_1069-3_0_4_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_1069-3_0_4_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_1069-3_0_4_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_1069-3_0_4_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_1069-3_0_4_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_1069-3_0_4_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_1069-3_0_4_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_1069-3_0_4_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_1069-3_0_4_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_1069-3_0_4_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_1069-3_0_4_node_12 | 0.4 | n |  | TRUE
33 | bus_LV_1069-3_0_4_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_1069-3_0_4_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_1069-3_0_4_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_1069-3_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_1069-3_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_1069-3_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1069-3_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_1069-3_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_1069-3_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_1069-3_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_1069-3_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_1069-3_0_4_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_1069-3_0_4_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_1069-3_0_4_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_1069-3_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_1069-3_0_4_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_1069-3_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_1069-3_0_4_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_1069-3_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_1069-3_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_1069-3_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_1069-3_0_4_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_1069-3_0_4_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_1069-3_0_4_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_1069-3_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_1069-3_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_1069-3_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_1069-3_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_1069-3_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_1069-3_0_4_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_1069-3_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_1069-3_0_4_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_1069-3_0_4_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_1069-3_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_1069-3_0_4_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_1069-3_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_1069-3_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_1069-3_0_4_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_1069-3_0_4_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_1069-3_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_1069-3_0_4_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_1069-3_0_4_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_1069-3_0_4_node_77 | 0.4 | n |  | TRUE
76 | bus_MV_1_0_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1069-3_0_4_load_0 | 0 | 0.012456 | 0.0031217 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1069-3_0_4_load_1 | 1 | 0.0044756 | 0.0011217 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1069-3_0_4_load_3 | 2 | 0.0042686 | 0.0010698 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1069-3_0_4_load_4 | 4 | 0.040154 | 0.010064 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1069-3_0_4_load_48 | 6 | 0.0057681 | 0.0014456 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1069-3_0_4_load_37 | 7 | 0.004101 | 0.0010278 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1069-3_0_4_load_32 | 10 | 0.085115 | 0.021332 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1069-3_0_4_load_33 | 12 | 0.0069037 | 0.0017302 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1069-3_0_4_load_35 | 14 | 0.002419 | 0.00060626 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1069-3_0_4_load_43 | 15 | 0.0019721 | 0.00049426 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1069-3_0_4_load_41 | 18 | 0.019598 | 0.0049117 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1069-3_0_4_load_44 | 19 | 0.0077855 | 0.0019512 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1069-3_0_4_load_13 | 20 | 0.024488 | 0.0061374 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1069-3_0_4_load_53 | 21 | 0.0038599 | 0.00096739 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1069-3_0_4_load_7 | 22 | 0.0062461 | 0.0015654 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1069-3_0_4_load_8 | 23 | 0.0026104 | 0.00065424 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1069-3_0_4_load_9 | 24 | 0.0039277 | 0.00098438 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1069-3_0_4_load_11 | 26 | 0.018387 | 0.0046081 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1069-3_0_4_load_55 | 27 | 0.0033488 | 0.0008393 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1069-3_0_4_load_56 | 28 | 0.0024148 | 0.00060522 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1069-3_0_4_load_45 | 29 | 0.040682 | 0.010196 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1069-3_0_4_load_68 | 30 | 0.0026522 | 0.0006647 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1069-3_0_4_load_12 | 32 | 0.010575 | 0.0026504 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1069-3_0_4_load_14 | 33 | 0.0088369 | 0.0022147 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1069-3_0_4_load_39 | 36 | 0.0022526 | 0.00056456 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1069-3_0_4_load_42 | 37 | 0.0081278 | 0.002037 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1069-3_0_4_load_21 | 39 | 0.0037635 | 0.00094322 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1069-3_0_4_load_22 | 41 | 0.018071 | 0.0045289 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1069-3_0_4_load_24 | 42 | 0.0093992 | 0.0023557 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1069-3_0_4_load_64 | 44 | 0.0060283 | 0.0015108 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1069-3_0_4_load_52 | 45 | 0.0026562 | 0.00066572 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1069-3_0_4_load_26 | 48 | 0.001806 | 0.00045262 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1069-3_0_4_load_27 | 49 | 0.0023218 | 0.00058191 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1069-3_0_4_load_31 | 52 | 0.0021173 | 0.00053064 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1069-3_0_4_load_54 | 53 | 0.00357 | 0.00089473 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1069-3_0_4_load_66 | 54 | 0.0036398 | 0.00091221 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1069-3_0_4_load_34 | 56 | 0.024452 | 0.0061282 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1069-3_0_4_load_47 | 57 | 0.004281 | 0.0010729 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1069-3_0_4_load_57 | 58 | 0.0035083 | 0.00087927 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1069-3_0_4_load_58 | 59 | 0.0044554 | 0.0011166 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1069-3_0_4_load_49 | 60 | 0.013124 | 0.0032891 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1069-3_0_4_load_50 | 61 | 0.0031732 | 0.00079527 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1069-3_0_4_load_78 | 62 | 0.0025532 | 0.0006399 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1069-3_0_4_load_72 | 65 | 0.001728 | 0.00043307 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1069-3_0_4_load_69 | 66 | 0.0057447 | 0.0014398 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1069-3_0_4_load_73 | 67 | 0.0027186 | 0.00068134 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1069-3_0_4_load_59 | 68 | 0.002909 | 0.00072907 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1069-3_0_4_load_60 | 69 | 0.0028252 | 0.00070806 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1069-3_0_4_load_62 | 70 | 0.0061095 | 0.0015312 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1069-3_0_4_load_63 | 71 | 0.0017036 | 0.00042696 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1069-3_0_4_load_65 | 72 | 0.002726 | 0.00068319 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1069-3_0_4_load_75 | 73 | 0.0041047 | 0.0010287 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1069-3_0_4_load_76 | 74 | 0.0015053 | 0.00037726 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1069-3_0_4_load_77 | 75 | 0.0012527 | 0.00031396 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1069-3_0_4_line_0 |  | 0 | 1 | 0.0089571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1069-3_0_4_line_1 |  | 1 | 2 | 0.016999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1069-3_0_4_line_2 |  | 2 | 6 | 0.0074248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1069-3_0_4_line_3 |  | 3 | 4 | 0.0086488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1069-3_0_4_line_4 |  | 3 | 5 | 0.028182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1069-3_0_4_line_5 |  | 4 | 7 | 0.015937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1069-3_0_4_line_6 |  | 5 | 8 | 0.048128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1069-3_0_4_line_7 |  | 5 | 9 | 0.062472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1069-3_0_4_line_8 |  | 5 | 10 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1069-3_0_4_line_9 |  | 6 | 13 | 0.015971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1069-3_0_4_line_10 |  | 7 | 14 | 0.019189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1069-3_0_4_line_11 |  | 8 | 15 | 0.023145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1069-3_0_4_line_12 |  | 9 | 20 | 0.024334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1069-3_0_4_line_13 |  | 10 | 11 | 0.052017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1069-3_0_4_line_14 |  | 11 | 12 | 0.015219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1069-3_0_4_line_15 |  | 12 | 21 | 0.0038943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1069-3_0_4_line_16 |  | 13 | 57 | 0.049784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1069-3_0_4_line_17 |  | 13 | 29 | 0.031337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1069-3_0_4_line_18 |  | 14 | 56 | 0.017434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1069-3_0_4_line_19 |  | 15 | 37 | 0.02391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1069-3_0_4_line_20 |  | 16 | 17 | 0.021729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1069-3_0_4_line_21 |  | 16 | 18 | 0.016486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1069-3_0_4_line_22 |  | 17 | 19 | 0.028715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1069-3_0_4_line_23 |  | 19 | 38 | 0.010665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1069-3_0_4_line_24 |  | 20 | 32 | 0.012475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1069-3_0_4_line_25 |  | 21 | 51 | 0.010111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1069-3_0_4_line_26 |  | 22 | 23 | 0.025972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1069-3_0_4_line_27 |  | 22 | 24 | 0.0053342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1069-3_0_4_line_28 |  | 23 | 25 | 0.013926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1069-3_0_4_line_29 |  | 24 | 26 | 0.020909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1069-3_0_4_line_30 |  | 25 | 27 | 0.027998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1069-3_0_4_line_31 |  | 25 | 28 | 0.049196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1069-3_0_4_line_32 |  | 26 | 29 | 0.036404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1069-3_0_4_line_33 |  | 27 | 30 | 0.044539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1069-3_0_4_line_34 |  | 28 | 31 | 0.029311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1069-3_0_4_line_35 |  | 30 | 66 | 0.0089299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1069-3_0_4_line_36 |  | 31 | 67 | 0.025752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1069-3_0_4_line_37 |  | 32 | 33 | 0.012023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1069-3_0_4_line_38 |  | 33 | 34 | 0.01098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1069-3_0_4_line_39 |  | 34 | 35 | 0.001459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1069-3_0_4_line_40 |  | 35 | 36 | 0.044622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1069-3_0_4_line_41 |  | 37 | 38 | 0.016819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1069-3_0_4_line_42 |  | 39 | 40 | 0.01398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1069-3_0_4_line_43 |  | 40 | 42 | 0.02444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1069-3_0_4_line_44 |  | 40 | 43 | 0.014092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1069-3_0_4_line_45 |  | 40 | 41 | 0.015743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1069-3_0_4_line_46 |  | 43 | 44 | 0.081191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1069-3_0_4_line_47 |  | 43 | 45 | 0.036371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1069-3_0_4_line_48 |  | 44 | 46 | 0.024936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1069-3_0_4_line_49 |  | 45 | 47 | 0.015765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1069-3_0_4_line_50 |  | 46 | 71 | 0.028187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1069-3_0_4_line_51 |  | 46 | 68 | 0.0059585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1069-3_0_4_line_52 |  | 47 | 49 | 0.01212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1069-3_0_4_line_53 |  | 48 | 49 | 0.003444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1069-3_0_4_line_54 |  | 48 | 50 | 0.020419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1069-3_0_4_line_55 |  | 50 | 51 | 0.011467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_1069-3_0_4_line_56 |  | 50 | 52 | 0.013928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_1069-3_0_4_line_57 |  | 51 | 53 | 0.041206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1069-3_0_4_line_58 |  | 52 | 54 | 0.019114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_1069-3_0_4_line_59 |  | 54 | 55 | 0.011278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_1069-3_0_4_line_60 |  | 55 | 73 | 0.024843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1069-3_0_4_line_61 |  | 55 | 66 | 0.016268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_1069-3_0_4_line_62 |  | 58 | 59 | 0.021705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1069-3_0_4_line_63 |  | 59 | 64 | 0.021585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1069-3_0_4_line_64 |  | 60 | 61 | 0.027316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1069-3_0_4_line_65 |  | 60 | 62 | 0.040363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1069-3_0_4_line_66 |  | 61 | 63 | 0.094781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1069-3_0_4_line_67 |  | 63 | 64 | 0.12196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1069-3_0_4_line_68 |  | 64 | 65 | 0.013918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1069-3_0_4_line_69 |  | 65 | 67 | 0.025739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1069-3_0_4_line_70 |  | 68 | 69 | 0.020637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1069-3_0_4_line_71 |  | 69 | 70 | 0.028398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1069-3_0_4_line_72 |  | 71 | 72 | 0.0010357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1069-3_0_4_line_73 |  | 73 | 74 | 0.0062202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1069-3_0_4_line_74 |  | 74 | 75 | 0.0054889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1069-3_0_4_trafo_6 | 0.63 MVA 20/0.4 kV | 76 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2675679.1566 | 1209585.8425 | 2675674.5592 | 1209591.9165 | 2675673.8544 | 1209593.0554
1 | 2675664.9085 | 1209607.5106 | 2675673.8544 | 1209593.0554
2 | 2675661.0012 | 1209613.8242 | 2675664.9085 | 1209607.5106
3 | 2675723.6552 | 1209547.2109 | 2675717.0442 | 1209541.6347
4 | 2675723.6552 | 1209547.2109 | 2675736.9216 | 1209537.5176 | 2675747.0467 | 1209531.5534
5 | 2675717.0442 | 1209541.6347 | 2675717.0442 | 1209541.6347 | 2675701.402 | 1209538.5835
6 | 2675716.4403 | 1209510.763 | 2675738.4792 | 1209511.8322 | 2675744.4412 | 1209511.6522 | 2675745.573 | 1209523.096 | 2675745.9389 | 1209526.6029 | 2675747.0467 | 1209531.5534
7 | 2675747.0467 | 1209531.5534 | 2675745.9389 | 1209526.6029 | 2675745.573 | 1209523.096 | 2675744.4412 | 1209511.6522 | 2675751.1748 | 1209511.1707 | 2675761.7735 | 1209511.6166 | 2675774.3085 | 1209512.2317 | 2675786.6214 | 1209514.167
8 | 2675747.0467 | 1209531.5534 | 2675750.1763 | 1209534.1281 | 2675752.3707 | 1209537.9139 | 2675757.3282 | 1209547.8277
9 | 2675652.5966 | 1209627.405 | 2675661.0012 | 1209613.8242
10 | 2675682.4095 | 1209536.3698 | 2675691.0728 | 1209536.5687 | 2675701.402 | 1209538.5835
11 | 2675716.4403 | 1209510.763 | 2675693.4349 | 1209509.1702 | 2675693.3503 | 1209509.1627
12 | 2675786.6214 | 1209514.167 | 2675806.53 | 1209515.3873 | 2675810.9174 | 1209515.2874
13 | 2675780.5932 | 1209594.3523 | 2675757.3282 | 1209547.8277
14 | 2675780.5932 | 1209594.3523 | 2675788.0409 | 1209607.6248
15 | 2675789.9467 | 1209611.021 | 2675788.0409 | 1209607.6248
16 | 2675652.5966 | 1209627.405 | 2675643.7516 | 1209642.1355 | 2675641.3194 | 1209648.7088 | 2675640.2159 | 1209655.3991 | 2675640.5581 | 1209660.7846 | 2675642.0019 | 1209667.4182 | 2675644.5424 | 1209673.5388
17 | 2675652.5966 | 1209627.405 | 2675656.7491 | 1209641.6222 | 2675665.4191 | 1209655.6914
18 | 2675682.4095 | 1209536.3698 | 2675665.8283 | 1209530.9822
19 | 2675669.534 | 1209507.0499 | 2675693.3503 | 1209509.1627
20 | 2675654.6395 | 1209474.1229 | 2675656.6569 | 1209475.6939 | 2675668.9681 | 1209460.9962
21 | 2675668.9681 | 1209460.9962 | 2675673.383 | 1209465.922 | 2675682.2944 | 1209470.1685
22 | 2675654.6395 | 1209474.1229 | 2675650.1195 | 1209479.2799 | 2675653.4932 | 1209482.3913 | 2675659.9303 | 1209487.3094 | 2675659.4822 | 1209491.473 | 2675656.9303 | 1209495.7493
23 | 2675652.7812 | 1209505.5636 | 2675656.4532 | 1209496.5489 | 2675656.9303 | 1209495.7493
24 | 2675822.9962 | 1209512.2485 | 2675818.2263 | 1209513.8015 | 2675810.9174 | 1209515.2874 | 2675810.9174 | 1209515.2874
25 | 2675794.8948 | 1209619.8389 | 2675789.9467 | 1209611.021
26 | 2675698.1844 | 1209709.0865 | 2675711.5161 | 1209731.3755
27 | 2675698.1844 | 1209709.0865 | 2675695.4463 | 1209704.5087
28 | 2675718.6647 | 1209743.3272 | 2675711.5161 | 1209731.3755
29 | 2675684.5176 | 1209686.6837 | 2675693.61 | 1209701.4385 | 2675695.4463 | 1209704.5087
30 | 2675718.6647 | 1209743.3272 | 2675728.561 | 1209735.0031 | 2675738.3991 | 1209723.592
31 | 2675718.6647 | 1209743.3272 | 2675720.6222 | 1209757.9835 | 2675730.1861 | 1209767.4553 | 2675732.1618 | 1209780.0773 | 2675736.5738 | 1209786.9576
32 | 2675665.4191 | 1209655.6914 | 2675684.5176 | 1209686.6837
33 | 2675766.6757 | 1209689.1869 | 2675746.6142 | 1209714.0633 | 2675738.3991 | 1209723.592
34 | 2675747.1801 | 1209813.7558 | 2675744.058 | 1209798.6289 | 2675736.5738 | 1209786.9576
35 | 2675766.6757 | 1209689.1869 | 2675771.8378 | 1209682.786 | 2675772.2681 | 1209682.2253
36 | 2675747.1801 | 1209813.7558 | 2675722.9934 | 1209804.9134
37 | 2675834.285 | 1209508.1333 | 2675828.8747 | 1209510.3346 | 2675822.9962 | 1209512.2485
38 | 2675844.4552 | 1209503.9952 | 2675834.285 | 1209508.1333
39 | 2675844.4552 | 1209503.9952 | 2675845.6891 | 1209503.2104
40 | 2675845.6891 | 1209503.2104 | 2675828.992 | 1209476.5925 | 2675830.1406 | 1209470.5588 | 2675825.0978 | 1209465.6198
41 | 2675652.7812 | 1209505.5636 | 2675669.534 | 1209507.0499
42 | 2675863.5835 | 1209632.3084 | 2675849.7279 | 1209630.4469
43 | 2675863.5835 | 1209632.3084 | 2675839.3607 | 1209629.054
44 | 2675863.5835 | 1209632.3084 | 2675869.4105 | 1209635.5623 | 2675870.5502 | 1209636.1994 | 2675875.4988 | 1209639.7868
45 | 2675863.5835 | 1209632.3084 | 2675859.1424 | 1209636.6324 | 2675853.6037 | 1209639.3971 | 2675850.2522 | 1209639.2752
46 | 2675875.4988 | 1209639.7868 | 2675881.5256 | 1209642.8654 | 2675891.4024 | 1209647.4605 | 2675896.2562 | 1209650.7243 | 2675898.0593 | 1209653.5935 | 2675899.2722 | 1209658.0339 | 2675898.9928 | 1209663.8674 | 2675896.4016 | 1209671.5615 | 2675892.6837 | 1209679.3859 | 2675887.7922 | 1209686.8506 | 2675881.4698 | 1209695.0532 | 2675876.3335 | 1209700.9049
47 | 2675875.4988 | 1209639.7868 | 2675865.5941 | 1209651.1347 | 2675855.062 | 1209655.0367 | 2675845.0079 | 1209654.3534
48 | 2675858.0415 | 1209717.8143 | 2675873.7103 | 1209703.8935 | 2675876.3335 | 1209700.9049
49 | 2675829.9879 | 1209649.9926 | 2675840.9733 | 1209654.0792 | 2675845.0079 | 1209654.3534
50 | 2675858.0415 | 1209717.8143 | 2675858.7851 | 1209719.7138 | 2675858.5991 | 1209721.7905 | 2675857.7033 | 1209732.4526 | 2675858.2988 | 1209741.8105 | 2675858.1265 | 1209745.7919
51 | 2675858.0415 | 1209717.8143 | 2675853.2146 | 1209721.3077
52 | 2675829.9879 | 1209649.9926 | 2675824.8658 | 1209648.093 | 2675819.1915 | 1209644.6123
53 | 2675819.1915 | 1209644.6123 | 2675816.2558 | 1209642.8116
54 | 2675800.8207 | 1209629.6648 | 2675809.8181 | 1209638.8627 | 2675816.2558 | 1209642.8116
55 | 2675794.8948 | 1209619.8389 | 2675800.8207 | 1209629.6648
56 | 2675800.8207 | 1209629.6648 | 2675797.979 | 1209634.9543 | 2675796.0018 | 1209642.6268
57 | 2675794.8948 | 1209619.8389 | 2675789.2768 | 1209622.2691 | 2675782.6755 | 1209624.9092 | 2675778.3137 | 1209627.7778 | 2675773.1948 | 1209634.606 | 2675772.1115 | 1209637.3051 | 2675770.6381 | 1209648.5713
58 | 2675796.0018 | 1209642.6268 | 2675794.021 | 1209650.3137 | 2675788.2617 | 1209659.8919
59 | 2675782.4503 | 1209669.5568 | 2675788.2617 | 1209659.8919
60 | 2675782.4503 | 1209669.5568 | 2675785.9895 | 1209672.1923 | 2675799.0331 | 1209684.1988 | 2675799.7678 | 1209686.7987
61 | 2675782.4503 | 1209669.5568 | 2675780.0773 | 1209672.0504 | 2675772.2681 | 1209682.2253
62 | 2675676.8988 | 1209773.6048 | 2675673.39 | 1209764.3552 | 2675671.9514 | 1209757.3214 | 2675671.6067 | 1209752.7012
63 | 2675685.5641 | 1209793.3724 | 2675677.3399 | 1209774.7674 | 2675676.8988 | 1209773.6048
64 | 2675604.9238 | 1209779.7772 | 2675619.0114 | 1209791.8167 | 2675625.3196 | 1209797.9309
65 | 2675604.9238 | 1209779.7772 | 2675583.5662 | 1209814.0262
66 | 2675694.788 | 1209861.9772 | 2675681.8457 | 1209853.3854 | 2675670.249 | 1209843.5766 | 2675656.2551 | 1209829.7905 | 2675632.6102 | 1209804.9973 | 2675625.3196 | 1209797.9309
67 | 2675685.5641 | 1209793.3724 | 2675689.9127 | 1209804.101 | 2675694.5816 | 1209821.9381 | 2675696.8374 | 1209828.671 | 2675699.8769 | 1209834.7356 | 2675703.8308 | 1209841.8236 | 2675723.322 | 1209869.2437 | 2675705.6358 | 1209860.1136 | 2675697.004 | 1209855.668 | 2675694.788 | 1209861.9772
68 | 2675685.5641 | 1209793.3724 | 2675691.4229 | 1209792.913 | 2675696.8212 | 1209795.2052 | 2675698.8566 | 1209795.9748
69 | 2675698.8566 | 1209795.9748 | 2675707.9872 | 1209799.4273 | 2675722.9934 | 1209804.9134
70 | 2675853.2146 | 1209721.3077 | 2675838.8538 | 1209731.7014 | 2675836.7426 | 1209733.7041
71 | 2675816.4031 | 1209753.5189 | 2675826.0044 | 1209743.8903 | 2675836.7426 | 1209733.7041
72 | 2675858.0818 | 1209746.8266 | 2675858.1265 | 1209745.7919
73 | 2675797.4055 | 1209692.4149 | 2675799.481 | 1209689.0298 | 2675799.7678 | 1209686.7987 | 2675799.7678 | 1209686.7987
74 | 2675794.5364 | 1209697.0943 | 2675797.4055 | 1209692.4149

## bus_geodata
| x | y | coords
0 | 2675679.1566 | 1209585.8425
1 | 2675673.8544 | 1209593.0554
2 | 2675664.9085 | 1209607.5106
3 | 2675723.6552 | 1209547.2109
4 | 2675717.0442 | 1209541.6347
5 | 2675747.0467 | 1209531.5534
6 | 2675661.0012 | 1209613.8242
7 | 2675701.402 | 1209538.5835
8 | 2675716.4403 | 1209510.763
9 | 2675786.6214 | 1209514.167
10 | 2675757.3282 | 1209547.8277
11 | 2675780.5932 | 1209594.3523
12 | 2675788.0409 | 1209607.6248
13 | 2675652.5966 | 1209627.405
14 | 2675682.4094 | 1209536.3698
15 | 2675693.3503 | 1209509.1627
16 | 2675668.9681 | 1209460.9962
17 | 2675654.6395 | 1209474.1229
18 | 2675682.2944 | 1209470.1685
19 | 2675656.9303 | 1209495.7493
20 | 2675810.9174 | 1209515.2874
21 | 2675789.9467 | 1209611.021
22 | 2675698.1844 | 1209709.0865
23 | 2675711.5161 | 1209731.3755
24 | 2675695.4463 | 1209704.5087
25 | 2675718.6647 | 1209743.3272
26 | 2675684.5176 | 1209686.6837
27 | 2675738.3991 | 1209723.592
28 | 2675736.5738 | 1209786.9576
29 | 2675665.4191 | 1209655.6914
30 | 2675766.6757 | 1209689.1869
31 | 2675747.1801 | 1209813.7558
32 | 2675822.9962 | 1209512.2485
33 | 2675834.285 | 1209508.1333
34 | 2675844.4552 | 1209503.9952
35 | 2675845.6891 | 1209503.2104
36 | 2675825.0978 | 1209465.6198
37 | 2675669.534 | 1209507.0499
38 | 2675652.7812 | 1209505.5636
39 | 2675849.7279 | 1209630.4469
40 | 2675863.5835 | 1209632.3084
41 | 2675850.2522 | 1209639.2752
42 | 2675839.3607 | 1209629.054
43 | 2675875.4988 | 1209639.7868
44 | 2675876.3335 | 1209700.9049
45 | 2675845.0079 | 1209654.3534
46 | 2675858.0415 | 1209717.8143
47 | 2675829.9879 | 1209649.9926
48 | 2675816.2558 | 1209642.8116
49 | 2675819.1915 | 1209644.6123
50 | 2675800.8207 | 1209629.6648
51 | 2675794.8948 | 1209619.8389
52 | 2675796.0018 | 1209642.6268
53 | 2675770.6381 | 1209648.5713
54 | 2675788.2617 | 1209659.8919
55 | 2675782.4503 | 1209669.5568
56 | 2675665.8283 | 1209530.9822
57 | 2675644.5424 | 1209673.5388
58 | 2675671.6067 | 1209752.7012
59 | 2675676.8988 | 1209773.6048
60 | 2675604.9238 | 1209779.7772
61 | 2675625.3196 | 1209797.9309
62 | 2675583.5662 | 1209814.0262
63 | 2675694.788 | 1209861.9772
64 | 2675685.5641 | 1209793.3724
65 | 2675698.8566 | 1209795.9748
66 | 2675772.2681 | 1209682.2253
67 | 2675722.9934 | 1209804.9134
68 | 2675853.2146 | 1209721.3077
69 | 2675836.7426 | 1209733.7041
70 | 2675816.4031 | 1209753.5189
71 | 2675858.1265 | 1209745.7919
72 | 2675858.0818 | 1209746.8266
73 | 2675799.7678 | 1209686.7987
74 | 2675797.4055 | 1209692.4149
75 | 2675794.5364 | 1209697.0943
76 | 2675794.8948 | 1209619.8389

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97402 | -0.5008 | 0.012456 | 0.0031217
1 | 0.97413 | -0.49875 | 0.0044756 | 0.0011217
2 | 0.9744 | -0.49347 | 0.0042686 | 0.0010698
3 | 0.99107 | -0.17154 | 0 | 0
4 | 0.99051 | -0.18246 | 0.040154 | 0.010064
5 | 0.99291 | -0.13603 | 0 | 0
6 | 0.97454 | -0.49058 | 0.0057681 | 0.0014456
7 | 0.99005 | -0.19123 | 0.004101 | 0.0010278
8 | 0.99125 | -0.16798 | 0 | 0
9 | 0.99026 | -0.18715 | 0 | 0
10 | 0.99429 | -0.10937 | 0.085115 | 0.021332
11 | 1 | 0 | -0.48301 | -0.12283
12 | 0.99834 | -0.031332 | 0.0069037 | 0.0017302
13 | 0.97494 | -0.48268 | 0 | 0
14 | 0.98958 | -0.20041 | 0.002419 | 0.00060626
15 | 0.99045 | -0.18339 | 0.0019721 | 0.00049426
16 | 0.98808 | -0.22952 | 0 | 0
17 | 0.98847 | -0.22192 | 0 | 0
18 | 0.98778 | -0.23529 | 0.019598 | 0.0049117
19 | 0.98899 | -0.21189 | 0.0077855 | 0.0019512
20 | 0.98923 | -0.20713 | 0.024488 | 0.0061374
21 | 0.99793 | -0.039131 | 0.0038599 | 0.00096739
22 | 0.98051 | -0.37347 | 0.0062461 | 0.0015654
23 | 0.98294 | -0.32627 | 0.0026104 | 0.00065424
24 | 0.98004 | -0.38259 | 0.0039277 | 0.00098438
25 | 0.98427 | -0.3004 | 0 | 0
26 | 0.97829 | -0.41692 | 0.018387 | 0.0046081
27 | 0.98783 | -0.23174 | 0.0033488 | 0.0008393
28 | 0.98273 | -0.33027 | 0.0024148 | 0.00060522
29 | 0.97585 | -0.46473 | 0.040682 | 0.010196
30 | 0.99073 | -0.17616 | 0.0026522 | 0.0006647
31 | 0.98188 | -0.34682 | 0 | 0
32 | 0.98898 | -0.21195 | 0.010575 | 0.0026504
33 | 0.98886 | -0.21432 | 0.0088369 | 0.0022147
34 | 0.98884 | -0.21476 | 0 | 0
35 | 0.98884 | -0.21482 | 0 | 0
36 | 0.98874 | -0.21662 | 0.0022526 | 0.00056456
37 | 0.98968 | -0.19849 | 0.0081278 | 0.002037
38 | 0.98925 | -0.20669 | 0 | 0
39 | 0.99072 | -0.1775 | 0.0037635 | 0.00094322
40 | 0.99077 | -0.17657 | 0 | 0
41 | 0.99051 | -0.18162 | 0.018071 | 0.0045289
42 | 0.99056 | -0.18064 | 0.0093992 | 0.0023557
43 | 0.99117 | -0.16875 | 0 | 0
44 | 0.98951 | -0.20094 | 0.0060283 | 0.0015108
45 | 0.99296 | -0.13426 | 0.0026562 | 0.00066572
46 | 0.98914 | -0.20817 | 0 | 0
47 | 0.99377 | -0.11862 | 0 | 0
48 | 0.99458 | -0.10305 | 0.001806 | 0.00045262
49 | 0.99439 | -0.1066 | 0.0023218 | 0.00058191
50 | 0.9957 | -0.081368 | 0 | 0
51 | 0.99688 | -0.059068 | 0 | 0
52 | 0.99466 | -0.10112 | 0.0021173 | 0.00053064
53 | 0.99675 | -0.061648 | 0.00357 | 0.00089473
54 | 0.99325 | -0.12794 | 0.0036398 | 0.00091221
55 | 0.99244 | -0.14343 | 0 | 0
56 | 0.98919 | -0.208 | 0.024452 | 0.0061282
57 | 0.97474 | -0.48659 | 0.004281 | 0.0010729
58 | 0.97988 | -0.38598 | 0.0035083 | 0.00087927
59 | 0.97995 | -0.3846 | 0.0044554 | 0.0011166
60 | 0.97592 | -0.46375 | 0.013124 | 0.0032891
61 | 0.97631 | -0.45592 | 0.0031732 | 0.00079527
62 | 0.97582 | -0.46564 | 0.0025532 | 0.0006399
63 | 0.97797 | -0.4233 | 0 | 0
64 | 0.98011 | -0.38148 | 0 | 0
65 | 0.98046 | -0.37471 | 0.001728 | 0.00043307
66 | 0.99132 | -0.16484 | 0.0057447 | 0.0014398
67 | 0.98114 | -0.36139 | 0.0027186 | 0.00068134
68 | 0.98908 | -0.20942 | 0.002909 | 0.00072907
69 | 0.98891 | -0.21271 | 0.0028252 | 0.00070806
70 | 0.98875 | -0.2158 | 0.0061095 | 0.0015312
71 | 0.98903 | -0.21039 | 0.0017036 | 0.00042696
72 | 0.98902 | -0.21044 | 0.002726 | 0.00068319
73 | 0.99229 | -0.14645 | 0.0041047 | 0.0010287
74 | 0.99227 | -0.14676 | 0.0015053 | 0.00037726
75 | 0.99226 | -0.14688 | 0.0012527 | 0.00031396
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012456 | -0.0031217 | 0.012457 | 0.0031224 | 1.2162e-06 | 6.669e-07 | 0.019029 | 0.019029 | 0.019029 | 0.97402 | -0.5008 | 0.97413 | -0.49875 | 5.2277
1 | -0.016933 | -0.0042441 | 0.016937 | 0.0042466 | 4.2648e-06 | 2.5178e-06 | 0.025865 | 0.025865 | 0.025865 | 0.97413 | -0.49875 | 0.9744 | -0.49347 | 7.1059
2 | -0.021206 | -0.0053164 | 0.021208 | 0.0053182 | 2.92e-06 | 1.7763e-06 | 0.032384 | 0.032384 | 0.032384 | 0.9744 | -0.49347 | 0.97454 | -0.49058 | 8.8967
3 | 0.071197 | 0.01787 | -0.07116 | -0.017847 | 3.7067e-05 | 2.3612e-05 | 0.10691 | 0.10691 | 0.10691 | 0.99107 | -0.17154 | 0.99051 | -0.18246 | 29.3698
4 | -0.071197 | -0.01787 | 0.071318 | 0.017947 | 0.00012078 | 7.6936e-05 | 0.10691 | 0.10691 | 0.10691 | 0.99107 | -0.17154 | 0.99291 | -0.13603 | 29.3698
5 | 0.031006 | 0.0077831 | -0.030993 | -0.007775 | 1.2969e-05 | 8.095e-06 | 0.046583 | 0.046583 | 0.046583 | 0.99051 | -0.18246 | 0.99005 | -0.19123 | 12.7977
6 | 0.037633 | 0.0094878 | -0.037576 | -0.0094517 | 5.7449e-05 | 3.6146e-05 | 0.056419 | 0.056419 | 0.056419 | 0.99291 | -0.13603 | 0.99125 | -0.16798 | 15.4998
7 | 0.046316 | 0.011669 | -0.046203 | -0.011598 | 0.00011294 | 7.1477e-05 | 0.069434 | 0.069434 | 0.069434 | 0.99291 | -0.13603 | 0.99026 | -0.18715 | 19.0753
8 | -0.15527 | -0.039104 | 0.15547 | 0.039231 | 0.00019821 | 0.00012635 | 0.23276 | 0.23276 | 0.23276 | 0.99291 | -0.13603 | 0.99429 | -0.10937 | 31.9723
9 | -0.026977 | -0.0067638 | 0.026987 | 0.0067701 | 1.0162e-05 | 6.3045e-06 | 0.041191 | 0.041191 | 0.041191 | 0.97454 | -0.49058 | 0.97494 | -0.48268 | 11.3163
10 | 0.026892 | 0.0067472 | -0.02688 | -0.0067399 | 1.1757e-05 | 7.2776e-06 | 0.04042 | 0.04042 | 0.04042 | 0.99005 | -0.19123 | 0.98958 | -0.20041 | 11.1044
11 | 0.037576 | 0.0094517 | -0.037548 | -0.0094343 | 2.7628e-05 | 1.7384e-05 | 0.056419 | 0.056419 | 0.056419 | 0.99125 | -0.16798 | 0.99045 | -0.18339 | 15.4998
12 | 0.046203 | 0.011598 | -0.046159 | -0.01157 | 4.3994e-05 | 2.7844e-05 | 0.069434 | 0.069434 | 0.069434 | 0.99026 | -0.18715 | 0.98923 | -0.20713 | 19.0753
13 | -0.24058 | -0.060563 | 0.24184 | 0.061371 | 0.001265 | 0.00080823 | 0.36014 | 0.36014 | 0.36014 | 0.99429 | -0.10937 | 1 | 0 | 49.4694
14 | 0.23952 | 0.061459 | -0.23915 | -0.061227 | 0.00036352 | 0.00023225 | 0.35691 | 0.35691 | 0.35691 | 1 | 0 | 0.99834 | -0.031332 | 49.0265
15 | 0.23225 | 0.059497 | -0.23216 | -0.059441 | 8.773e-05 | 5.6045e-05 | 0.34662 | 0.34662 | 0.34662 | 0.99834 | -0.031332 | 0.99793 | -0.039131 | 47.6131
16 | 0.0042818 | 0.0010728 | -0.004281 | -0.0010729 | 7.9732e-07 | -1.104e-07 | 0.0065351 | 0.0065353 | 0.0065353 | 0.97494 | -0.48268 | 0.97474 | -0.48659 | 1.7954
17 | -0.031269 | -0.0078429 | 0.031295 | 0.0078597 | 2.6767e-05 | 1.674e-05 | 0.047726 | 0.047726 | 0.047726 | 0.97494 | -0.48268 | 0.97585 | -0.46473 | 13.1116
18 | 0.024461 | 0.0061337 | -0.024452 | -0.0061282 | 8.8455e-06 | 5.4372e-06 | 0.036782 | 0.036783 | 0.036783 | 0.98958 | -0.20041 | 0.98919 | -0.208 | 10.1051
19 | 0.035576 | 0.00894 | -0.03555 | -0.0089239 | 2.5622e-05 | 1.609e-05 | 0.053456 | 0.053457 | 0.053457 | 0.99045 | -0.18339 | 0.98968 | -0.19849 | 14.6859
20 | -0.019603 | -0.0049149 | 0.01961 | 0.0049192 | 7.1021e-06 | 4.2669e-06 | 0.029523 | 0.029522 | 0.029523 | 0.98808 | -0.22952 | 0.98847 | -0.22192 | 8.1106
21 | 0.019603 | 0.0049149 | -0.019598 | -0.0049117 | 5.3884e-06 | 3.2375e-06 | 0.029523 | 0.029523 | 0.029523 | 0.98808 | -0.22952 | 0.98778 | -0.23529 | 8.1106
22 | -0.01961 | -0.0049192 | 0.01962 | 0.0049248 | 9.3853e-06 | 5.6383e-06 | 0.029522 | 0.029522 | 0.029522 | 0.98847 | -0.22192 | 0.98899 | -0.21189 | 8.1106
23 | -0.027405 | -0.0068761 | 0.027412 | 0.0068803 | 6.8007e-06 | 4.2156e-06 | 0.041236 | 0.041236 | 0.041236 | 0.98899 | -0.21189 | 0.98925 | -0.20669 | 11.3286
24 | 0.021671 | 0.0054328 | -0.021666 | -0.0054297 | 4.9712e-06 | 3.0214e-06 | 0.032598 | 0.032598 | 0.032598 | 0.98923 | -0.20713 | 0.98898 | -0.21195 | 8.9556
25 | 0.2283 | 0.058473 | -0.22808 | -0.058333 | 0.00022028 | 0.00014072 | 0.34087 | 0.34087 | 0.34087 | 0.99793 | -0.039131 | 0.99688 | -0.059068 | 46.8225
26 | -0.10089 | -0.025439 | 0.10112 | 0.025585 | 0.00022849 | 0.00014591 | 0.15317 | 0.15317 | 0.15317 | 0.98051 | -0.37347 | 0.98294 | -0.32627 | 42.0791
27 | 0.094646 | 0.023874 | -0.094605 | -0.023848 | 4.13e-05 | 2.6365e-05 | 0.14369 | 0.14369 | 0.14369 | 0.98051 | -0.37347 | 0.98004 | -0.38259 | 39.475
28 | -0.10373 | -0.02624 | 0.10386 | 0.026322 | 0.00012892 | 8.2334e-05 | 0.15712 | 0.15712 | 0.15712 | 0.98294 | -0.32627 | 0.98427 | -0.3004 | 43.1647
29 | 0.090677 | 0.022863 | -0.090528 | -0.022768 | 0.00014873 | 9.4922e-05 | 0.13773 | 0.13773 | 0.13773 | 0.98004 | -0.38259 | 0.97829 | -0.41692 | 37.8367
30 | -0.13773 | -0.034882 | 0.13819 | 0.035173 | 0.00045578 | 0.00029134 | 0.20835 | 0.20835 | 0.20835 | 0.98427 | -0.3004 | 0.98783 | -0.23174 | 57.2397
31 | 0.033872 | 0.0085598 | -0.033824 | -0.0085294 | 4.8424e-05 | 3.0367e-05 | 0.051233 | 0.051233 | 0.051233 | 0.98427 | -0.3004 | 0.98273 | -0.33027 | 14.075
32 | 0.072142 | 0.01816 | -0.071977 | -0.018056 | 0.00016446 | 0.0001048 | 0.10976 | 0.10976 | 0.10976 | 0.97829 | -0.41692 | 0.97585 | -0.46473 | 30.1536
33 | -0.14154 | -0.036012 | 0.14192 | 0.036255 | 0.00038029 | 0.00024224 | 0.2134 | 0.2134 | 0.2134 | 0.98783 | -0.23174 | 0.99073 | -0.17616 | 29.3128
34 | 0.031409 | 0.0079242 | -0.031384 | -0.0079087 | 2.488e-05 | 1.5552e-05 | 0.047577 | 0.047577 | 0.047577 | 0.98273 | -0.33027 | 0.98188 | -0.34682 | 13.0706
35 | -0.14457 | -0.036919 | 0.14465 | 0.03697 | 7.912e-05 | 5.0407e-05 | 0.21738 | 0.21738 | 0.21738 | 0.99073 | -0.17616 | 0.99132 | -0.16484 | 29.8599
36 | 0.031384 | 0.0079087 | -0.031362 | -0.007895 | 2.186e-05 | 1.3665e-05 | 0.047577 | 0.047577 | 0.047577 | 0.98188 | -0.34682 | 0.98114 | -0.36139 | 13.0706
37 | 0.011091 | 0.0027794 | -0.01109 | -0.0027787 | 1.2555e-06 | 6.4927e-07 | 0.016687 | 0.016687 | 0.016687 | 0.98898 | -0.21195 | 0.98886 | -0.21432 | 4.5844
38 | 0.0022529 | 0.00056399 | -0.0022528 | -0.0005641 | 4.7315e-08 | -1.1057e-07 | 0.0033899 | 0.0033899 | 0.0033899 | 0.98886 | -0.21432 | 0.98884 | -0.21476 | 0.93129
39 | 0.0022528 | 0.0005641 | -0.0022528 | -0.00056411 | 6.2873e-09 | -1.4692e-08 | 0.0033899 | 0.0033899 | 0.0033899 | 0.98884 | -0.21476 | 0.98884 | -0.21482 | 0.93129
40 | 0.0022528 | 0.00056411 | -0.0022526 | -0.00056456 | 1.923e-07 | -4.4929e-07 | 0.0033899 | 0.0033901 | 0.0033901 | 0.98884 | -0.21482 | 0.98874 | -0.21662 | 0.93135
41 | 0.027423 | 0.0068869 | -0.027412 | -0.0068803 | 1.0725e-05 | 6.6477e-06 | 0.041236 | 0.041236 | 0.041236 | 0.98968 | -0.19849 | 0.98925 | -0.20669 | 11.3286
42 | -0.0037635 | -0.00094322 | 0.0037637 | 0.00094315 | 1.675e-07 | -7.2827e-08 | 0.0056526 | 0.0056525 | 0.0056526 | 0.99072 | -0.1775 | 0.99077 | -0.17657 | 1.5529
43 | 0.009401 | 0.0023565 | -0.0093992 | -0.0023557 | 1.8271e-06 | 8.5467e-07 | 0.014119 | 0.014119 | 0.014119 | 0.99077 | -0.17657 | 0.99056 | -0.18064 | 3.8789
44 | -0.03124 | -0.0078311 | 0.031251 | 0.0078384 | 1.1633e-05 | 7.2635e-06 | 0.046919 | 0.046918 | 0.046919 | 0.99077 | -0.17657 | 0.99117 | -0.16875 | 12.8897
45 | 0.018075 | 0.0045315 | -0.018071 | -0.0045289 | 4.3505e-06 | 2.5817e-06 | 0.027147 | 0.027147 | 0.027147 | 0.99077 | -0.17657 | 0.99051 | -0.18162 | 7.4579
46 | 0.022345 | 0.0056146 | -0.022311 | -0.0055937 | 3.4273e-05 | 2.089e-05 | 0.033551 | 0.033551 | 0.033551 | 0.99117 | -0.16875 | 0.98951 | -0.20094 | 9.2174
47 | -0.053596 | -0.013453 | 0.053684 | 0.013509 | 8.8319e-05 | 5.6054e-05 | 0.080469 | 0.080469 | 0.080469 | 0.99117 | -0.16875 | 0.99296 | -0.13426 | 22.107
48 | 0.016282 | 0.0040829 | -0.016277 | -0.0040796 | 5.6065e-06 | 3.268e-06 | 0.024486 | 0.024486 | 0.024486 | 0.98951 | -0.20094 | 0.98914 | -0.20817 | 6.727
49 | -0.056341 | -0.014175 | 0.056383 | 0.014202 | 4.2162e-05 | 2.6779e-05 | 0.08445 | 0.08445 | 0.08445 | 0.99296 | -0.13426 | 0.99377 | -0.11862 | 23.2005
50 | 0.0044301 | 0.0011101 | -0.0044296 | -0.0011101 | 4.6945e-07 | -6.1311e-08 | 0.0066643 | 0.0066644 | 0.0066644 | 0.98914 | -0.20817 | 0.98903 | -0.21039 | 1.8309
51 | 0.011847 | 0.0029695 | -0.011846 | -0.0029692 | 7.097e-07 | 3.7773e-07 | 0.017822 | 0.017822 | 0.017822 | 0.98914 | -0.20817 | 0.98908 | -0.20942 | 4.8961
52 | -0.056383 | -0.014202 | 0.056415 | 0.014222 | 3.2413e-05 | 2.0587e-05 | 0.08445 | 0.08445 | 0.08445 | 0.99377 | -0.11862 | 0.99439 | -0.1066 | 23.2005
53 | 0.058747 | 0.01481 | -0.058737 | -0.014804 | 9.9841e-06 | 6.3451e-06 | 0.087924 | 0.087924 | 0.087924 | 0.99458 | -0.10305 | 0.99439 | -0.1066 | 24.155
54 | -0.060553 | -0.015263 | 0.060616 | 0.015303 | 6.2889e-05 | 3.9984e-05 | 0.090626 | 0.090626 | 0.090626 | 0.99458 | -0.10305 | 0.9957 | -0.081368 | 24.8973
55 | -0.22427 | -0.057284 | 0.22451 | 0.057438 | 0.00024207 | 0.00015462 | 0.33554 | 0.33554 | 0.33554 | 0.9957 | -0.081368 | 0.99688 | -0.059068 | 46.0905
56 | 0.16365 | 0.041981 | -0.1635 | -0.041881 | 0.00015664 | 9.9889e-05 | 0.24491 | 0.24491 | 0.24491 | 0.9957 | -0.081368 | 0.99466 | -0.10112 | 33.642
57 | 0.0035704 | 0.00089447 | -0.00357 | -0.00089473 | 4.389e-07 | -2.5626e-07 | 0.0053294 | 0.0053296 | 0.0053296 | 0.99688 | -0.059068 | 0.99675 | -0.061648 | 1.4642
58 | 0.16138 | 0.04135 | -0.16117 | -0.041216 | 0.00020945 | 0.00013355 | 0.24175 | 0.24175 | 0.24175 | 0.99466 | -0.10112 | 0.99325 | -0.12794 | 33.2069
59 | 0.15753 | 0.040304 | -0.15741 | -0.040229 | 0.00011806 | 7.527e-05 | 0.23629 | 0.23629 | 0.23629 | 0.99325 | -0.12794 | 0.99244 | -0.14343 | 32.4579
60 | 0.0068638 | 0.0017202 | -0.0068628 | -0.0017198 | 9.8666e-07 | 3.105e-07 | 0.010291 | 0.010291 | 0.010291 | 0.99244 | -0.14343 | 0.99229 | -0.14645 | 2.8273
61 | 0.15055 | 0.038509 | -0.15039 | -0.03841 | 0.0001558 | 9.9294e-05 | 0.226 | 0.226 | 0.226 | 0.99244 | -0.14343 | 0.99132 | -0.16484 | 31.0443
62 | -0.0035083 | -0.00087927 | 0.0035086 | 0.00087915 | 2.3103e-07 | -1.2558e-07 | 0.0053277 | 0.0053276 | 0.0053277 | 0.97988 | -0.38598 | 0.97995 | -0.3846 | 1.4636
63 | -0.007964 | -0.0019958 | 0.0079652 | 0.0019963 | 1.1837e-06 | 4.856e-07 | 0.012093 | 0.012093 | 0.012093 | 0.97995 | -0.3846 | 0.98011 | -0.38148 | 3.3222
64 | -0.015677 | -0.0039287 | 0.015683 | 0.0039321 | 5.853e-06 | 3.4044e-06 | 0.023904 | 0.023903 | 0.023904 | 0.97592 | -0.46375 | 0.97631 | -0.45592 | 6.5669
65 | 0.0025535 | 0.00063954 | -0.0025532 | -0.0006399 | 2.2943e-07 | -3.5745e-07 | 0.0038932 | 0.0038934 | 0.0038934 | 0.97592 | -0.46375 | 0.97582 | -0.46564 | 1.0696
66 | -0.018856 | -0.0047273 | 0.018886 | 0.0047449 | 2.9357e-05 | 1.7601e-05 | 0.02874 | 0.028739 | 0.02874 | 0.97631 | -0.45592 | 0.97797 | -0.4233 | 7.8955
67 | -0.018886 | -0.0047449 | 0.018923 | 0.0047676 | 3.7773e-05 | 2.2641e-05 | 0.028739 | 0.028739 | 0.028739 | 0.97797 | -0.4233 | 0.98011 | -0.38148 | 7.8954
68 | -0.026889 | -0.0067639 | 0.026897 | 0.0067693 | 8.7014e-06 | 5.3934e-06 | 0.040832 | 0.040832 | 0.040832 | 0.98011 | -0.38148 | 0.98046 | -0.37471 | 11.2175
69 | -0.028625 | -0.0072023 | 0.028643 | 0.0072137 | 1.8226e-05 | 1.134e-05 | 0.043454 | 0.043454 | 0.043454 | 0.98046 | -0.37471 | 0.98114 | -0.36139 | 11.9379
70 | 0.008937 | 0.0022401 | -0.0089356 | -0.0022395 | 1.3991e-06 | 6.3058e-07 | 0.013445 | 0.013445 | 0.013445 | 0.98908 | -0.20942 | 0.98891 | -0.21271 | 3.6938
71 | 0.0061104 | 0.0015314 | -0.0061095 | -0.0015312 | 9.0029e-07 | 2.1189e-07 | 0.0091944 | 0.0091946 | 0.0091946 | 0.98891 | -0.21271 | 0.98875 | -0.2158 | 2.526
72 | 0.002726 | 0.00068318 | -0.002726 | -0.00068319 | 6.533e-09 | -9.11e-09 | 0.0041013 | 0.0041013 | 0.0041013 | 0.98903 | -0.21039 | 0.98902 | -0.21044 | 1.1267
73 | 0.0027581 | 0.0006911 | -0.002758 | -0.00069116 | 3.9901e-08 | -5.4813e-08 | 0.0041359 | 0.0041359 | 0.0041359 | 0.99229 | -0.14645 | 0.99227 | -0.14676 | 1.1362
74 | 0.0012527 | 0.00031389 | -0.0012527 | -0.00031396 | 7.264e-09 | -6.6253e-08 | 0.0018786 | 0.0018786 | 0.0018786 | 0.99227 | -0.14676 | 0.99226 | -0.14688 | 0.5161

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48301 | 0.12283

## res_load
| p_mw | q_mvar
0 | 0.012456 | 0.0031217
1 | 0.0044756 | 0.0011217
2 | 0.0042686 | 0.0010698
3 | 0.040154 | 0.010064
4 | 0.0057681 | 0.0014456
5 | 0.004101 | 0.0010278
6 | 0.085115 | 0.021332
7 | 0.0069037 | 0.0017302
8 | 0.002419 | 0.00060626
9 | 0.0019721 | 0.00049426
10 | 0.019598 | 0.0049117
11 | 0.0077855 | 0.0019512
12 | 0.024488 | 0.0061374
13 | 0.0038599 | 0.00096739
14 | 0.0062461 | 0.0015654
15 | 0.0026104 | 0.00065424
16 | 0.0039277 | 0.00098438
17 | 0.018387 | 0.0046081
18 | 0.0033488 | 0.0008393
19 | 0.0024148 | 0.00060522
20 | 0.040682 | 0.010196
21 | 0.0026522 | 0.0006647
22 | 0.010575 | 0.0026504
23 | 0.0088369 | 0.0022147
24 | 0.0022526 | 0.00056456
25 | 0.0081278 | 0.002037
26 | 0.0037635 | 0.00094322
27 | 0.018071 | 0.0045289
28 | 0.0093992 | 0.0023557
29 | 0.0060283 | 0.0015108
30 | 0.0026562 | 0.00066572
31 | 0.001806 | 0.00045262
32 | 0.0023218 | 0.00058191
33 | 0.0021173 | 0.00053064
34 | 0.00357 | 0.00089473
35 | 0.0036398 | 0.00091221
36 | 0.024452 | 0.0061282
37 | 0.004281 | 0.0010729
38 | 0.0035083 | 0.00087927
39 | 0.0044554 | 0.0011166
40 | 0.013124 | 0.0032891
41 | 0.0031732 | 0.00079527
42 | 0.0025532 | 0.0006399
43 | 0.001728 | 0.00043307
44 | 0.0057447 | 0.0014398
45 | 0.0027186 | 0.00068134
46 | 0.002909 | 0.00072907
47 | 0.0028252 | 0.00070806
48 | 0.0061095 | 0.0015312
49 | 0.0017036 | 0.00042696
50 | 0.002726 | 0.00068319
51 | 0.0041047 | 0.0010287
52 | 0.0015053 | 0.00037726
53 | 0.0012527 | 0.00031396

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1