## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1069-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1069-5_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1069-5_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1069-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1069-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1069-5_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1069-5_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1069-5_0_4_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_1069-5_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1069-5_0_4_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_1069-5_0_4_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_1069-5_0_4_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_1069-5_0_4_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_1069-5_0_4_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_1069-5_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1069-5_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1069-5_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1069-5_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1069-5_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1069-5_0_4_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_1069-5_0_4_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_1069-5_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1069-5_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_1069-5_0_4_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_1069-5_0_4_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_1069-5_0_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_1069-5_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1069-5_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1069-5_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1069-5_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1069-5_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1069-5_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1069-5_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1069-5_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1069-5_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1069-5_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1069-5_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1069-5_0_4_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_1069-5_0_4_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_1069-5_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_1069-5_0_4_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_1069-5_0_4_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_1069-5_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1069-5_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1069-5_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_1069-5_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_1069-5_0_4_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_1069-5_0_4_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_1069-5_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_1069-5_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_1069-5_0_4_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_1069-5_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1069-5_0_4_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_1069-5_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_1069-5_0_4_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_1069-5_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_1069-5_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_1069-5_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_1069-5_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_1069-5_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_1069-5_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_1069-5_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_1069-5_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_1069-5_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_1069-5_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_1069-5_0_4_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_1069-5_0_4_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_1069-5_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_1069-5_0_4_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_1069-5_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_1069-5_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_MV_1_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1069-5_0_4_load_0 | 0 | 0.0055433 | 0.0013893 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1069-5_0_4_load_2 | 1 | 0.0060427 | 0.0015145 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1069-5_0_4_load_1 | 2 | 0.0049994 | 0.001253 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1069-5_0_4_load_5 | 6 | 0.003985 | 0.00099873 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1069-5_0_4_load_35 | 7 | 0.016111 | 0.0040379 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1069-5_0_4_load_60 | 11 | 0.0048556 | 0.0012169 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1069-5_0_4_load_34 | 12 | 0.0076859 | 0.0019263 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1069-5_0_4_load_10 | 14 | 0.023987 | 0.0060117 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1069-5_0_4_load_37 | 19 | 0.0072395 | 0.0018144 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1069-5_0_4_load_71 | 20 | 0.011215 | 0.0028108 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1069-5_0_4_load_20 | 21 | 0.0042477 | 0.0010646 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1069-5_0_4_load_39 | 23 | 0.012565 | 0.0031492 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1069-5_0_4_load_38 | 25 | 0.030609 | 0.0076712 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1069-5_0_4_load_16 | 27 | 0.010221 | 0.0025616 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1069-5_0_4_load_21 | 28 | 0.0044946 | 0.0011265 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1069-5_0_4_load_17 | 30 | 0.0074676 | 0.0018716 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1069-5_0_4_load_19 | 31 | 0.0024122 | 0.00060454 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1069-5_0_4_load_26 | 32 | 0.0056597 | 0.0014185 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1069-5_0_4_load_27 | 33 | 0.0085216 | 0.0021357 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1069-5_0_4_load_24 | 34 | 0.0069624 | 0.001745 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1069-5_0_4_load_25 | 35 | 0.035696 | 0.0089463 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1069-5_0_4_load_54 | 37 | 0.0094079 | 0.0023578 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1069-5_0_4_load_73 | 38 | 0.014006 | 0.0035102 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1069-5_0_4_load_63 | 40 | 0.0058614 | 0.001469 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1069-5_0_4_load_72 | 41 | 0.019047 | 0.0047736 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1069-5_0_4_load_29 | 43 | 0.0054619 | 0.0013689 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1069-5_0_4_load_28 | 44 | 0.0027897 | 0.00069916 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1069-5_0_4_load_61 | 47 | 0.012962 | 0.0032485 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1069-5_0_4_load_58 | 48 | 0.016615 | 0.0041642 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1069-5_0_4_load_55 | 49 | 0.003785 | 0.00094862 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1069-5_0_4_load_62 | 50 | 0.010068 | 0.0025234 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1069-5_0_4_load_51 | 51 | 0.0099208 | 0.0024864 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1069-5_0_4_load_53 | 53 | 0.013978 | 0.0035031 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1069-5_0_4_load_42 | 55 | 0.025333 | 0.006349 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1069-5_0_4_load_43 | 56 | 0.056874 | 0.014254 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1069-5_0_4_load_46 | 59 | 0.0049406 | 0.0012382 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1069-5_0_4_load_47 | 60 | 0.0034585 | 0.00086678 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1069-5_0_4_load_50 | 61 | 0.010098 | 0.0025307 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1069-5_0_4_load_48 | 63 | 0.020552 | 0.0051509 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1069-5_0_4_load_59 | 64 | 0.053881 | 0.013504 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1069-5_0_4_load_65 | 65 | 0.0021539 | 0.00053982 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1069-5_0_4_load_67 | 66 | 0.00155 | 0.00038847 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1069-5_0_4_load_66 | 67 | 0.0002842 | 7.1227e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1069-5_0_4_load_68 | 68 | 0.00065358 | 0.0001638 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1069-5_0_4_load_70 | 70 | 0.0023275 | 0.00058332 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1069-5_0_4_line_0 |  | 0 | 1 | 1.5918e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1069-5_0_4_line_1 |  | 1 | 4 | 0.010262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1069-5_0_4_line_2 |  | 2 | 3 | 0.0094737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1069-5_0_4_line_3 |  | 3 | 4 | 0.012907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1069-5_0_4_line_4 |  | 3 | 5 | 0.016589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1069-5_0_4_line_5 |  | 3 | 6 | 0.016205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1069-5_0_4_line_6 |  | 5 | 7 | 0.032887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1069-5_0_4_line_7 |  | 7 | 8 | 0.018965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1069-5_0_4_line_8 |  | 8 | 9 | 0.060002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1069-5_0_4_line_9 |  | 9 | 10 | 0.006351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1069-5_0_4_line_10 |  | 9 | 11 | 0.0083393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1069-5_0_4_line_11 |  | 10 | 51 | 0.024576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1069-5_0_4_line_12 |  | 11 | 52 | 0.023192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1069-5_0_4_line_13 |  | 12 | 13 | 0.0040625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1069-5_0_4_line_14 |  | 13 | 43 | 0.019969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1069-5_0_4_line_15 |  | 13 | 33 | 0.015699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1069-5_0_4_line_16 |  | 14 | 15 | 0.017678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1069-5_0_4_line_17 |  | 14 | 16 | 0.037173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1069-5_0_4_line_18 |  | 15 | 17 | 0.040667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1069-5_0_4_line_19 |  | 16 | 18 | 0.010141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1069-5_0_4_line_20 |  | 17 | 19 | 0.024907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1069-5_0_4_line_21 |  | 18 | 20 | 0.0036702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1069-5_0_4_line_22 |  | 19 | 21 | 0.01938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1069-5_0_4_line_23 |  | 21 | 26 | 0.0055889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1069-5_0_4_line_24 |  | 22 | 23 | 0.0083704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1069-5_0_4_line_25 |  | 22 | 24 | 0.048321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1069-5_0_4_line_26 |  | 22 | 25 | 0.038531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1069-5_0_4_line_27 |  | 23 | 37 | 0.029255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1069-5_0_4_line_28 |  | 24 | 38 | 0.009414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1069-5_0_4_line_29 |  | 24 | 39 | 0.050701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1069-5_0_4_line_30 |  | 25 | 34 | 0.053345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1069-5_0_4_line_31 |  | 26 | 27 | 0.015052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1069-5_0_4_line_32 |  | 27 | 30 | 0.0022445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1069-5_0_4_line_33 |  | 28 | 29 | 0.028925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1069-5_0_4_line_34 |  | 29 | 34 | 0.016528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1069-5_0_4_line_35 |  | 29 | 35 | 0.026917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1069-5_0_4_line_36 |  | 30 | 31 | 0.028563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1069-5_0_4_line_37 |  | 31 | 32 | 0.0035908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1069-5_0_4_line_38 |  | 32 | 33 | 0.018006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1069-5_0_4_line_39 |  | 35 | 36 | 0.01555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1069-5_0_4_line_40 |  | 36 | 41 | 0.050966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1069-5_0_4_line_41 |  | 36 | 42 | 0.014357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1069-5_0_4_line_42 |  | 37 | 53 | 0.038506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1069-5_0_4_line_43 |  | 39 | 40 | 0.017039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1069-5_0_4_line_44 |  | 40 | 54 | 0.10736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1069-5_0_4_line_45 |  | 42 | 45 | 0.022909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1069-5_0_4_line_46 |  | 42 | 44 | 0.010265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1069-5_0_4_line_47 |  | 43 | 44 | 0.013677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1069-5_0_4_line_48 |  | 45 | 46 | 0.011543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1069-5_0_4_line_49 |  | 45 | 47 | 0.014639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1069-5_0_4_line_50 |  | 46 | 48 | 0.013711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1069-5_0_4_line_51 |  | 46 | 49 | 0.014271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1069-5_0_4_line_52 |  | 47 | 50 | 0.023777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1069-5_0_4_line_53 |  | 49 | 52 | 0.018295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1069-5_0_4_line_54 |  | 51 | 60 | 0.032733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1069-5_0_4_line_55 |  | 52 | 64 | 0.019235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1069-5_0_4_line_56 |  | 53 | 61 | 0.086033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_1069-5_0_4_line_57 |  | 54 | 65 | 0.101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1069-5_0_4_line_58 |  | 55 | 56 | 0.029853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1069-5_0_4_line_59 |  | 56 | 57 | 0.069742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1069-5_0_4_line_60 |  | 57 | 61 | 0.0091142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1069-5_0_4_line_61 |  | 57 | 62 | 0.007943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1069-5_0_4_line_62 |  | 58 | 59 | 0.030949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1069-5_0_4_line_63 |  | 58 | 60 | 0.020693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1069-5_0_4_line_64 |  | 62 | 63 | 0.056279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1069-5_0_4_line_65 |  | 65 | 66 | 0.049538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1069-5_0_4_line_66 |  | 66 | 67 | 0.061757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1069-5_0_4_line_67 |  | 67 | 68 | 0.012919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1069-5_0_4_line_68 |  | 68 | 69 | 0.071277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1069-5_0_4_line_69 |  | 69 | 70 | 0.083307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1069-5_0_4_trafo_25 | 0.63 MVA 20/0.4 kV | 71 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2675593.6129 | 1209420.5208 | 2675593.6116 | 1209420.5367
1 | 2675594.9825 | 1209430.2281 | 2675593.0677 | 1209427.1575 | 2675593.6116 | 1209420.5367
2 | 2675607.8846 | 1209431.2811 | 2675608.1394 | 1209428.5715 | 2675608.601 | 1209421.8352
3 | 2675594.9825 | 1209430.2281 | 2675607.8846 | 1209431.2811
4 | 2675607.8846 | 1209431.2811 | 2675606.6672 | 1209434.3677 | 2675610.3177 | 1209436.0372 | 2675612.2172 | 1209439.1076 | 2675613.0854 | 1209442.5764 | 2675612.9528 | 1209444.6427
5 | 2675607.8846 | 1209431.2811 | 2675623.6051 | 1209435.2132
6 | 2675612.9528 | 1209444.6427 | 2675618.9641 | 1209445.9752 | 2675623.0269 | 1209447.5054 | 2675626.0572 | 1209449.5229 | 2675640.3166 | 1209461.6946
7 | 2675654.6395 | 1209474.1229 | 2675650.9797 | 1209470.7966 | 2675640.3166 | 1209461.6946
8 | 2675632.2508 | 1209503.6244 | 2675652.7812 | 1209505.5636 | 2675656.4532 | 1209496.5489 | 2675659.4822 | 1209491.473 | 2675659.9303 | 1209487.3094 | 2675653.4932 | 1209482.3913 | 2675650.1195 | 1209479.2799 | 2675654.6395 | 1209474.1229
9 | 2675632.2508 | 1209503.6244 | 2675632.0183 | 1209509.9699
10 | 2675632.2508 | 1209503.6244 | 2675627.2054 | 1209503.4604 | 2675623.9147 | 1209503.5181
11 | 2675632.0183 | 1209509.9699 | 2675631.2589 | 1209521.9012 | 2675631.0228 | 1209524.3331 | 2675630.1665 | 1209527.124 | 2675627.5636 | 1209533.899
12 | 2675600.746 | 1209504.4925 | 2675616.9028 | 1209503.6411 | 2675623.9147 | 1209503.5181
13 | 2675530.3363 | 1209468.6896 | 2675534.3964 | 1209468.8306
14 | 2675530.3363 | 1209468.6896 | 2675529.3042 | 1209473.9576 | 2675530.2273 | 1209485.7101 | 2675530.6315 | 1209488.4933
15 | 2675530.3363 | 1209468.6896 | 2675514.7389 | 1209466.9092
16 | 2675371.9381 | 1209407.9934 | 2675367.6697 | 1209408.2952 | 2675361.0844 | 1209409.6685 | 2675355.0507 | 1209412.5163
17 | 2675326.1733 | 1209435.8332 | 2675335.8348 | 1209428.6395 | 2675347.0002 | 1209418.5407 | 2675354.3394 | 1209412.852 | 2675355.0507 | 1209412.5163
18 | 2675371.9381 | 1209407.9934 | 2675376.1848 | 1209408.8142 | 2675384.6584 | 1209412.6125 | 2675392.4964 | 1209417.3812 | 2675401.8319 | 1209425.1596 | 2675406.1091 | 1209428.9715
19 | 2675319.9883 | 1209427.7834 | 2675326.1733 | 1209435.8332
20 | 2675406.1091 | 1209428.9715 | 2675418.1599 | 1209437.2401 | 2675425.0041 | 1209442.441 | 2675426.483 | 1209443.272
21 | 2675319.9883 | 1209427.7834 | 2675318.2386 | 1209424.5572
22 | 2675426.483 | 1209443.272 | 2675441.5421 | 1209451.7337 | 2675443.5069 | 1209452.4919
23 | 2675448.7211 | 1209454.5039 | 2675443.5069 | 1209452.4919
24 | 2675373.2481 | 1209483.6021 | 2675372.2703 | 1209486.3804 | 2675372.0603 | 1209489.1684 | 2675372.827 | 1209491.6833
25 | 2675373.2481 | 1209483.6021 | 2675368.0739 | 1209482.1914 | 2675361.6619 | 1209481.2877 | 2675356.254 | 1209481.5306 | 2675350.3203 | 1209483.0789 | 2675344.7796 | 1209486.0108 | 2675339.7776 | 1209483.0125 | 2675327.1661 | 1209480.6185
26 | 2675373.2481 | 1209483.6021 | 2675377.5749 | 1209484.6908 | 2675395.1412 | 1209490.205 | 2675410.281 | 1209494.2009
27 | 2675397.8515 | 1209505.756 | 2675388.6337 | 1209499.2618 | 2675385.5461 | 1209497.5551 | 2675377.0175 | 1209495.1125 | 2675374.5176 | 1209493.8246 | 2675372.9654 | 1209492.1372 | 2675372.827 | 1209491.6833
28 | 2675327.1661 | 1209480.6185 | 2675334.6802 | 1209474.9208
29 | 2675327.1661 | 1209480.6185 | 2675339.7776 | 1209483.0125 | 2675344.7796 | 1209486.0108 | 2675339.5789 | 1209490.3146 | 2675334.8695 | 1209496.0476 | 2675330.802 | 1209503.312 | 2675327.5796 | 1209512.2881
30 | 2675410.281 | 1209494.2009 | 2675461.8597 | 1209507.8143
31 | 2675448.7211 | 1209454.5039 | 2675463.1529 | 1209458.78
32 | 2675465.305 | 1209459.4177 | 2675463.1529 | 1209458.78
33 | 2675477.7977 | 1209512.1858 | 2675478.969 | 1209507.9312 | 2675459.0462 | 1209493.6516
34 | 2675477.7977 | 1209512.1858 | 2675470.534 | 1209510.1037 | 2675461.8597 | 1209507.8143
35 | 2675477.7977 | 1209512.1858 | 2675485.8737 | 1209514.3448 | 2675491.6224 | 1209515.4071 | 2675500.7391 | 1209515.8227 | 2675504.307 | 1209515.4695
36 | 2675465.305 | 1209459.4177 | 2675475.4929 | 1209462.4363 | 2675492.8663 | 1209465.1689 | 2675493.2153 | 1209465.1924
37 | 2675496.7979 | 1209465.4343 | 2675493.2153 | 1209465.1924
38 | 2675496.7979 | 1209465.4343 | 2675509.0822 | 1209466.2636 | 2675514.7389 | 1209466.9092
39 | 2675519.7755 | 1209513.8845 | 2675517.0728 | 1209514.2061 | 2675504.307 | 1209515.4695
40 | 2675519.7755 | 1209513.8845 | 2675521.0155 | 1209517.4135 | 2675520.2836 | 1209519.3833 | 2675516.8217 | 1209525.032 | 2675500.8753 | 1209528.488 | 2675493.9077 | 1209531.246 | 2675484.5122 | 1209542.6455
41 | 2675519.7755 | 1209513.8845 | 2675534.0729 | 1209512.1866
42 | 2675397.8515 | 1209505.756 | 2675408.6079 | 1209513.3342 | 2675421.4579 | 1209524.5036 | 2675426.9836 | 1209530.7264
43 | 2675327.5796 | 1209512.2881 | 2675323.2621 | 1209524.3079 | 2675322.0018 | 1209528.3847
44 | 2675237.5115 | 1209580.0615 | 2675247.1546 | 1209579.7162 | 2675262.4862 | 1209579.1758 | 2675273.4766 | 1209576.2904 | 2675285.8662 | 1209571.5437 | 2675296.391 | 1209565.1946 | 2675305.2197 | 1209557.112 | 2675316.6285 | 1209540.9569 | 2675320.8211 | 1209532.2043 | 2675322.0018 | 1209528.3847
45 | 2675556.8892 | 1209509.4959 | 2675541.2138 | 1209511.3542 | 2675534.0729 | 1209512.1866
46 | 2675534.0729 | 1209512.1866 | 2675532.5974 | 1209502.0279
47 | 2675532.5974 | 1209502.0279 | 2675530.6315 | 1209488.4933
48 | 2675556.8892 | 1209509.4959 | 2675568.3919 | 1209508.1962
49 | 2675556.8892 | 1209509.4959 | 2675557.5991 | 1209517.6656 | 2675558.5309 | 1209520.9239 | 2675560.6964 | 1209523.0709
50 | 2675568.3919 | 1209508.1962 | 2675567.7348 | 1209501.2613 | 2675567.0976 | 1209494.549
51 | 2675568.3919 | 1209508.1962 | 2675582.5736 | 1209506.6061
52 | 2675566.5768 | 1209545.2634 | 2675564.6105 | 1209527.6607 | 2675563.3131 | 1209525.6652 | 2675560.6964 | 1209523.0709
53 | 2675600.746 | 1209504.4925 | 2675590.3083 | 1209505.7389 | 2675582.5736 | 1209506.6061
54 | 2675615.8245 | 1209564.4548 | 2675627.5636 | 1209533.899
55 | 2675600.746 | 1209504.4925 | 2675599.0427 | 1209485.3366
56 | 2675477.3497 | 1209599.7006 | 2675461.1995 | 1209580.3745 | 2675455.5097 | 1209571.6638 | 2675447.6738 | 1209554.1314 | 2675439.1609 | 1209544.4399 | 2675426.9836 | 1209530.7264
57 | 2675237.5115 | 1209580.0615 | 2675238.3561 | 1209585.42 | 2675248.4073 | 1209589.4826 | 2675272.0032 | 1209593.0491 | 2675302.4334 | 1209586.9402 | 2675328.776 | 1209590.9084 | 2675331.7572 | 1209589.7564
58 | 2675563.0152 | 1209656.0597 | 2675534.0521 | 1209648.8241
59 | 2675481.3228 | 1209607.8575 | 2675485.2153 | 1209609.0185 | 2675488.7588 | 1209610.7311 | 2675491.516 | 1209613.9013 | 2675496.2042 | 1209624.2672 | 2675498.2666 | 1209627.0839 | 2675512.8468 | 1209639.6541 | 2675517.4103 | 1209643.0584 | 2675523.2398 | 1209646.123 | 2675534.0521 | 1209648.8241
60 | 2675481.3228 | 1209607.8575 | 2675478.1304 | 1209600.6348 | 2675477.3497 | 1209599.7006
61 | 2675481.3228 | 1209607.8575 | 2675475.5474 | 1209610.7196 | 2675475.0505 | 1209612.1475
62 | 2675604.9418 | 1209581.8835 | 2675575.8111 | 1209571.1967
63 | 2675604.9418 | 1209581.8835 | 2675611.937 | 1209572.7552 | 2675614.0434 | 1209569.0907 | 2675615.8245 | 1209564.4548
64 | 2675475.0505 | 1209612.1475 | 2675471.4207 | 1209622.6638 | 2675473.9807 | 1209630.0119 | 2675478.7699 | 1209637.7997 | 2675488.3185 | 1209647.3264 | 2675491.6243 | 1209652.7939 | 2675497.7868 | 1209658.432
65 | 2675331.7572 | 1209589.7564 | 2675363.296 | 1209577.5691 | 2675365.9469 | 1209577.736 | 2675369.2921 | 1209580.102 | 2675369.5859 | 1209582.7184 | 2675368.3671 | 1209588.9403 | 2675368.3671 | 1209588.9403
66 | 2675365.7148 | 1209647.844 | 2675365.7148 | 1209647.844 | 2675365.4824 | 1209645.1839 | 2675359.9929 | 1209631.4392 | 2675358.6969 | 1209626.3196 | 2675358.404 | 1209619.4226 | 2675361.0341 | 1209609.1938 | 2675368.3671 | 1209588.9403
67 | 2675365.7148 | 1209647.844 | 2675365.0967 | 1209649.8375 | 2675362.3995 | 1209652.1382 | 2675355.7437 | 1209655.1029
68 | 2675296.5531 | 1209692.0546 | 2675303.1891 | 1209683.0326 | 2675318.8675 | 1209678.4831 | 2675341.4926 | 1209663.1923 | 2675349.3656 | 1209657.944 | 2675355.7437 | 1209655.1029
69 | 2675296.5531 | 1209692.0546 | 2675330.555 | 1209687.1917 | 2675368.3912 | 1209686.8914 | 2675379.4293 | 1209688.2506

## bus_geodata
| x | y | coords
0 | 2675593.6129 | 1209420.5208
1 | 2675593.6116 | 1209420.5367
2 | 2675608.601 | 1209421.8352
3 | 2675607.8846 | 1209431.2811
4 | 2675594.9825 | 1209430.2281
5 | 2675612.9528 | 1209444.6427
6 | 2675623.6051 | 1209435.2132
7 | 2675640.3166 | 1209461.6946
8 | 2675654.6395 | 1209474.1229
9 | 2675632.2508 | 1209503.6244
10 | 2675632.0183 | 1209509.9699
11 | 2675623.9147 | 1209503.5181
12 | 2675534.3964 | 1209468.8306
13 | 2675530.3363 | 1209468.6896
14 | 2675355.0507 | 1209412.5163
15 | 2675371.9381 | 1209407.9934
16 | 2675326.1733 | 1209435.8332
17 | 2675406.1091 | 1209428.9715
18 | 2675319.9883 | 1209427.7834
19 | 2675426.483 | 1209443.272
20 | 2675318.2386 | 1209424.5572
21 | 2675443.5069 | 1209452.4919
22 | 2675373.2481 | 1209483.6021
23 | 2675372.827 | 1209491.6833
24 | 2675327.1661 | 1209480.6185
25 | 2675410.281 | 1209494.2009
26 | 2675448.7211 | 1209454.5039
27 | 2675463.1529 | 1209458.78
28 | 2675459.0462 | 1209493.6516
29 | 2675477.7977 | 1209512.1858
30 | 2675465.305 | 1209459.4177
31 | 2675493.2153 | 1209465.1924
32 | 2675496.7979 | 1209465.4343
33 | 2675514.7389 | 1209466.9092
34 | 2675461.8597 | 1209507.8143
35 | 2675504.307 | 1209515.4695
36 | 2675519.7755 | 1209513.8845
37 | 2675397.8515 | 1209505.756
38 | 2675334.6802 | 1209474.9208
39 | 2675327.5796 | 1209512.2881
40 | 2675322.0018 | 1209528.3847
41 | 2675484.5122 | 1209542.6455
42 | 2675534.0729 | 1209512.1866
43 | 2675530.6315 | 1209488.4933
44 | 2675532.5974 | 1209502.0279
45 | 2675556.8892 | 1209509.4959
46 | 2675568.3919 | 1209508.1962
47 | 2675560.6964 | 1209523.0709
48 | 2675567.0976 | 1209494.549
49 | 2675582.5736 | 1209506.6061
50 | 2675566.5768 | 1209545.2634
51 | 2675627.5636 | 1209533.899
52 | 2675600.746 | 1209504.4925
53 | 2675426.9836 | 1209530.7264
54 | 2675237.5115 | 1209580.0615
55 | 2675563.0152 | 1209656.0597
56 | 2675534.0521 | 1209648.8241
57 | 2675481.3228 | 1209607.8575
58 | 2675604.9418 | 1209581.8835
59 | 2675575.8111 | 1209571.1967
60 | 2675615.8245 | 1209564.4548
61 | 2675477.3497 | 1209599.7006
62 | 2675475.0505 | 1209612.1475
63 | 2675497.7868 | 1209658.432
64 | 2675599.0427 | 1209485.3366
65 | 2675331.7572 | 1209589.7564
66 | 2675368.3671 | 1209588.9403
67 | 2675365.7148 | 1209647.844
68 | 2675355.7437 | 1209655.1029
69 | 2675296.5531 | 1209692.0546
70 | 2675379.4293 | 1209688.2506
71 | 2675519.7755 | 1209513.8845

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9843 | -0.30254 | 0.0055433 | 0.0013893
1 | 0.9843 | -0.30254 | 0.0060427 | 0.0015145
2 | 0.98451 | -0.29856 | 0.0049994 | 0.001253
3 | 0.98455 | -0.29771 | 0 | 0
4 | 0.98441 | -0.3004 | 0 | 0
5 | 0.98486 | -0.29158 | 0 | 0
6 | 0.98449 | -0.29887 | 0.003985 | 0.00099873
7 | 0.98549 | -0.27943 | 0.016111 | 0.0040379
8 | 0.98613 | -0.26695 | 0 | 0
9 | 0.98815 | -0.22758 | 0 | 0
10 | 0.98805 | -0.22965 | 0 | 0
11 | 0.98858 | -0.21939 | 0.0048556 | 0.0012169
12 | 0.99263 | -0.14103 | 0.0076859 | 0.0019263
13 | 0.99265 | -0.14048 | 0 | 0
14 | 0.98391 | -0.31001 | 0.023987 | 0.0060117
15 | 0.98448 | -0.29881 | 0 | 0
16 | 0.98352 | -0.31752 | 0 | 0
17 | 0.9858 | -0.2731 | 0 | 0
18 | 0.98342 | -0.31957 | 0 | 0
19 | 0.98661 | -0.25738 | 0.0072395 | 0.0018144
20 | 0.98338 | -0.32031 | 0.011215 | 0.0028108
21 | 0.98737 | -0.24267 | 0.0042477 | 0.0010646
22 | 0.98741 | -0.23971 | 0 | 0
23 | 0.98683 | -0.25085 | 0.012565 | 0.0031492
24 | 0.98621 | -0.26293 | 0 | 0
25 | 0.99055 | -0.17939 | 0.030609 | 0.0076712
26 | 0.98761 | -0.238 | 0 | 0
27 | 0.98826 | -0.22545 | 0.010221 | 0.0025616
28 | 0.99717 | -0.053498 | 0.0044946 | 0.0011265
29 | 0.99728 | -0.051219 | 0 | 0
30 | 0.98837 | -0.22317 | 0.0074676 | 0.0018716
31 | 0.99006 | -0.19041 | 0.0024122 | 0.00060454
32 | 0.99029 | -0.18615 | 0.0056597 | 0.0014185
33 | 0.99149 | -0.16299 | 0.0085216 | 0.0021357
34 | 0.99565 | -0.082153 | 0.0069624 | 0.001745
35 | 1 | 0 | -0.49926 | -0.12732
36 | 0.99805 | -0.037088 | 0 | 0
37 | 0.98497 | -0.28659 | 0.0094079 | 0.0023578
38 | 0.98609 | -0.2653 | 0.014006 | 0.0035102
39 | 0.98562 | -0.27462 | 0 | 0
40 | 0.98541 | -0.27854 | 0.0058614 | 0.001469
41 | 0.99717 | -0.054089 | 0.019047 | 0.0047736
42 | 0.99638 | -0.069059 | 0 | 0
43 | 0.99428 | -0.10921 | 0.0054619 | 0.0013689
44 | 0.99546 | -0.086541 | 0.0027897 | 0.00069916
45 | 0.99473 | -0.10072 | 0 | 0
46 | 0.9933 | -0.12804 | 0 | 0
47 | 0.99442 | -0.10666 | 0.012962 | 0.0032485
48 | 0.9931 | -0.13206 | 0.016615 | 0.0041642
49 | 0.99176 | -0.15771 | 0.003785 | 0.00094862
50 | 0.9942 | -0.11088 | 0.010068 | 0.0025234
51 | 0.98763 | -0.2377 | 0.0099208 | 0.0024864
52 | 0.98985 | -0.19466 | 0 | 0
53 | 0.9827 | -0.33056 | 0.013978 | 0.0035031
54 | 0.98472 | -0.29201 | 0 | 0
55 | 0.97124 | -0.55484 | 0.025333 | 0.006349
56 | 0.97195 | -0.54087 | 0.056874 | 0.014254
57 | 0.9773 | -0.43567 | 0 | 0
58 | 0.98729 | -0.24444 | 0 | 0
59 | 0.98715 | -0.24717 | 0.0049406 | 0.0012382
60 | 0.98738 | -0.24261 | 0.0034585 | 0.00086678
61 | 0.97817 | -0.4186 | 0.010098 | 0.0025307
62 | 0.97715 | -0.43865 | 0 | 0
63 | 0.97607 | -0.45979 | 0.020552 | 0.0051509
64 | 0.9889 | -0.21311 | 0.053881 | 0.013504
65 | 0.98408 | -0.30469 | 0.0021539 | 0.00053982
66 | 0.98386 | -0.30899 | 0.00155 | 0.00038847
67 | 0.98367 | -0.31263 | 0.0002842 | 7.1227e-05
68 | 0.98364 | -0.31333 | 0.00065358 | 0.0001638
69 | 0.98348 | -0.31632 | 0 | 0
70 | 0.9833 | -0.31982 | 0.0023275 | 0.00058332
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0055433 | -0.0013893 | 0.0055433 | 0.0013893 | 4.1812e-10 | 6.775e-11 | 0.00838 | 0.00838 | 0.00838 | 0.9843 | -0.30254 | 0.9843 | -0.30254 | 2.3022
1 | -0.011586 | -0.0029037 | 0.011587 | 0.0029044 | 1.1805e-06 | 6.251e-07 | 0.017515 | 0.017515 | 0.017515 | 0.9843 | -0.30254 | 0.98441 | -0.3004 | 4.8118
2 | -0.0049994 | -0.001253 | 0.0049996 | 0.001253 | 2.0284e-07 | 9.3456e-09 | 0.0075562 | 0.0075561 | 0.0075562 | 0.98451 | -0.29856 | 0.98455 | -0.29771 | 2.0759
3 | 0.011589 | 0.0029051 | -0.011587 | -0.0029044 | 1.4848e-06 | 7.8618e-07 | 0.017515 | 0.017515 | 0.017515 | 0.98455 | -0.29771 | 0.98441 | -0.3004 | 4.8118
4 | -0.020573 | -0.0051568 | 0.020579 | 0.0051604 | 6.0146e-06 | 3.6383e-06 | 0.031094 | 0.031094 | 0.031094 | 0.98455 | -0.29771 | 0.98486 | -0.29158 | 8.5424
5 | 0.0039852 | 0.00099866 | -0.003985 | -0.00099873 | 2.2045e-07 | -6.4976e-08 | 0.006023 | 0.0060231 | 0.0060231 | 0.98455 | -0.29771 | 0.98449 | -0.29887 | 1.6547
6 | -0.020579 | -0.0051604 | 0.020591 | 0.0051676 | 1.1924e-05 | 7.2124e-06 | 0.031094 | 0.031094 | 0.031094 | 0.98486 | -0.29158 | 0.98549 | -0.27943 | 8.5423
7 | -0.036703 | -0.0092055 | 0.036725 | 0.0092192 | 2.1844e-05 | 1.3738e-05 | 0.055421 | 0.055421 | 0.055421 | 0.98549 | -0.27943 | 0.98613 | -0.26695 | 15.2255
8 | -0.036725 | -0.0092192 | 0.036794 | 0.0092627 | 6.911e-05 | 4.3464e-05 | 0.055421 | 0.055421 | 0.055421 | 0.98613 | -0.26695 | 0.98815 | -0.22758 | 15.2255
9 | 0.018332 | 0.0045975 | -0.01833 | -0.0045964 | 1.815e-06 | 1.0803e-06 | 0.027606 | 0.027606 | 0.027606 | 0.98815 | -0.22758 | 0.98805 | -0.22965 | 7.5841
10 | -0.055125 | -0.01386 | 0.055147 | 0.013874 | 2.1557e-05 | 1.369e-05 | 0.083027 | 0.083027 | 0.083027 | 0.98815 | -0.22758 | 0.98858 | -0.21939 | 22.8095
11 | 0.01833 | 0.0045964 | -0.018323 | -0.0045923 | 7.0234e-06 | 4.1804e-06 | 0.027606 | 0.027606 | 0.027606 | 0.98805 | -0.22965 | 0.98763 | -0.2377 | 7.5841
12 | -0.060003 | -0.015091 | 0.060074 | 0.015136 | 7.0972e-05 | 4.5124e-05 | 0.090335 | 0.090335 | 0.090335 | 0.98858 | -0.21939 | 0.98985 | -0.19466 | 24.8174
13 | -0.0076859 | -0.0019263 | 0.0076861 | 0.0019263 | 2.0224e-07 | 7.6915e-08 | 0.011522 | 0.011522 | 0.011522 | 0.99263 | -0.14103 | 0.99265 | -0.14048 | 3.1653
14 | -0.08911 | -0.022506 | 0.089243 | 0.022591 | 0.00013374 | 8.5335e-05 | 0.13364 | 0.13364 | 0.13364 | 0.99265 | -0.14048 | 0.99428 | -0.10921 | 36.7141
15 | 0.081424 | 0.02058 | -0.081336 | -0.020524 | 8.7792e-05 | 5.5984e-05 | 0.12212 | 0.12212 | 0.12212 | 0.99265 | -0.14048 | 0.99149 | -0.16299 | 33.5488
16 | -0.035208 | -0.0088254 | 0.035227 | 0.0088372 | 1.8796e-05 | 1.1805e-05 | 0.053247 | 0.053247 | 0.053247 | 0.98391 | -0.31001 | 0.98448 | -0.29881 | 14.6283
17 | 0.011221 | 0.0028137 | -0.011217 | -0.0028116 | 4.0146e-06 | 2.0974e-06 | 0.01697 | 0.01697 | 0.01697 | 0.98391 | -0.31001 | 0.98352 | -0.31752 | 4.6622
18 | -0.035227 | -0.0088372 | 0.03527 | 0.0088644 | 4.3237e-05 | 2.7154e-05 | 0.053247 | 0.053247 | 0.053247 | 0.98448 | -0.29881 | 0.9858 | -0.2731 | 14.6283
19 | 0.011217 | 0.0028116 | -0.011216 | -0.002811 | 1.0952e-06 | 5.7226e-07 | 0.01697 | 0.01697 | 0.01697 | 0.98352 | -0.31752 | 0.98342 | -0.31957 | 4.6622
20 | -0.03527 | -0.0088644 | 0.035296 | 0.008881 | 2.6482e-05 | 1.663e-05 | 0.053247 | 0.053247 | 0.053247 | 0.9858 | -0.2731 | 0.98661 | -0.25738 | 14.6283
21 | 0.011216 | 0.002811 | -0.011215 | -0.0028108 | 3.9637e-07 | 2.0711e-07 | 0.01697 | 0.016971 | 0.016971 | 0.98342 | -0.31957 | 0.98338 | -0.32031 | 4.6622
22 | -0.042536 | -0.010695 | 0.042566 | 0.010714 | 2.9921e-05 | 1.8902e-05 | 0.064166 | 0.064165 | 0.064166 | 0.98661 | -0.25738 | 0.98737 | -0.24267 | 17.6279
23 | -0.046814 | -0.011779 | 0.046824 | 0.011785 | 1.0437e-05 | 6.608e-06 | 0.070567 | 0.070567 | 0.070567 | 0.98737 | -0.24267 | 0.98761 | -0.238 | 19.3865
24 | 0.15042 | 0.038318 | -0.15034 | -0.038267 | 8.08e-05 | 5.1498e-05 | 0.2269 | 0.2269 | 0.2269 | 0.98741 | -0.23971 | 0.98683 | -0.25085 | 31.1674
25 | 0.026889 | 0.0067513 | -0.026859 | -0.0067329 | 2.9759e-05 | 1.8429e-05 | 0.040525 | 0.040525 | 0.040525 | 0.98741 | -0.23971 | 0.98621 | -0.26293 | 11.1334
26 | -0.17731 | -0.045069 | 0.17782 | 0.045399 | 0.00051667 | 0.00032968 | 0.26742 | 0.26742 | 0.26742 | 0.98741 | -0.23971 | 0.99055 | -0.17939 | 36.734
27 | 0.13777 | 0.035117 | -0.13753 | -0.034966 | 0.0002372 | 0.00015106 | 0.20795 | 0.20795 | 0.20795 | 0.98683 | -0.25085 | 0.98497 | -0.28659 | 28.5649
28 | 0.014008 | 0.0035111 | -0.014006 | -0.0035102 | 1.5769e-06 | 8.8913e-07 | 0.021135 | 0.021135 | 0.021135 | 0.98621 | -0.26293 | 0.98609 | -0.2653 | 5.8063
29 | 0.012851 | 0.0032218 | -0.012844 | -0.0032179 | 7.1487e-06 | 3.9286e-06 | 0.01939 | 0.019391 | 0.019391 | 0.98621 | -0.26293 | 0.98562 | -0.27462 | 5.3271
30 | -0.20843 | -0.05307 | 0.20941 | 0.053698 | 0.00098243 | 0.00062737 | 0.3134 | 0.3134 | 0.3134 | 0.99055 | -0.17939 | 0.99565 | -0.082153 | 43.0499
31 | -0.046824 | -0.011785 | 0.046852 | 0.011803 | 2.8108e-05 | 1.7796e-05 | 0.070567 | 0.070567 | 0.070567 | 0.98761 | -0.238 | 0.98826 | -0.22545 | 19.3865
32 | -0.057073 | -0.014365 | 0.057079 | 0.014369 | 6.2189e-06 | 3.9513e-06 | 0.085956 | 0.085956 | 0.085956 | 0.98826 | -0.22545 | 0.98837 | -0.22317 | 23.6144
33 | -0.0044946 | -0.0011265 | 0.0044951 | 0.0011264 | 4.8792e-07 | -6.5097e-08 | 0.006707 | 0.0067069 | 0.006707 | 0.99717 | -0.053498 | 0.99728 | -0.051219 | 1.8426
34 | 0.2167 | 0.05565 | -0.21638 | -0.055443 | 0.00032493 | 0.00020752 | 0.32381 | 0.32381 | 0.32381 | 0.99728 | -0.051219 | 0.99565 | -0.082153 | 44.4792
35 | -0.2212 | -0.056777 | 0.22175 | 0.057129 | 0.00055133 | 0.00035215 | 0.33052 | 0.33051 | 0.33052 | 0.99728 | -0.051219 | 1 | 0 | 45.4004
36 | -0.064547 | -0.01624 | 0.064648 | 0.016305 | 0.00010119 | 6.4397e-05 | 0.097199 | 0.097199 | 0.097199 | 0.98837 | -0.22317 | 0.99006 | -0.19041 | 26.703
37 | -0.06706 | -0.016909 | 0.067074 | 0.016918 | 1.3688e-05 | 8.7144e-06 | 0.10082 | 0.10082 | 0.10082 | 0.99006 | -0.19041 | 0.99029 | -0.18615 | 27.699
38 | -0.072733 | -0.018336 | 0.072814 | 0.018388 | 8.0706e-05 | 5.142e-05 | 0.10933 | 0.10933 | 0.10933 | 0.99029 | -0.18615 | 0.99149 | -0.16299 | 30.0353
39 | 0.27586 | 0.07019 | -0.27537 | -0.069875 | 0.00049216 | 0.00031457 | 0.41085 | 0.41085 | 0.41085 | 1 | 0 | 0.99805 | -0.037088 | 56.4361
40 | 0.019062 | 0.0047828 | -0.019047 | -0.0047736 | 1.5439e-05 | 9.2157e-06 | 0.028422 | 0.028422 | 0.028422 | 0.99805 | -0.037088 | 0.99717 | -0.054089 | 7.8083
41 | 0.2563 | 0.065093 | -0.25591 | -0.064841 | 0.00039371 | 0.0002516 | 0.38243 | 0.38243 | 0.38243 | 0.99805 | -0.037088 | 0.99638 | -0.069059 | 52.532
42 | 0.12813 | 0.032609 | -0.12785 | -0.032436 | 0.000271 | 0.00017246 | 0.19374 | 0.19374 | 0.19374 | 0.98497 | -0.28659 | 0.9827 | -0.33056 | 26.6127
43 | 0.012844 | 0.0032179 | -0.012842 | -0.0032165 | 2.4025e-06 | 1.3205e-06 | 0.019391 | 0.019391 | 0.019391 | 0.98562 | -0.27462 | 0.98541 | -0.27854 | 5.3271
44 | 0.0069803 | 0.0017475 | -0.0069758 | -0.001746 | 4.4727e-06 | 1.4957e-06 | 0.01054 | 0.01054 | 0.01054 | 0.98541 | -0.27854 | 0.98472 | -0.29201 | 2.8957
45 | 0.15823 | 0.040064 | -0.15799 | -0.03991 | 0.00024015 | 0.0001531 | 0.23645 | 0.23645 | 0.23645 | 0.99638 | -0.069059 | 0.99473 | -0.10072 | 32.4794
46 | 0.09768 | 0.024778 | -0.097598 | -0.024725 | 8.2037e-05 | 5.237e-05 | 0.14598 | 0.14598 | 0.14598 | 0.99638 | -0.069059 | 0.99546 | -0.086541 | 40.1053
47 | -0.094705 | -0.02396 | 0.094808 | 0.024026 | 0.00010314 | 6.5834e-05 | 0.14181 | 0.14181 | 0.14181 | 0.99428 | -0.10921 | 0.99546 | -0.086541 | 38.9597
48 | 0.13495 | 0.034134 | -0.13478 | -0.034021 | 0.0001766 | 0.00011287 | 0.20199 | 0.20199 | 0.20199 | 0.99473 | -0.10072 | 0.9933 | -0.12804 | 55.4906
49 | 0.023039 | 0.0057769 | -0.023032 | -0.0057729 | 6.5206e-06 | 3.9832e-06 | 0.034465 | 0.034465 | 0.034465 | 0.99473 | -0.10072 | 0.99442 | -0.10666 | 9.4683
50 | 0.016619 | 0.0041661 | -0.016615 | -0.0041642 | 3.1868e-06 | 1.8621e-06 | 0.024896 | 0.024896 | 0.024896 | 0.9933 | -0.12804 | 0.9931 | -0.13206 | 6.8395
51 | 0.11816 | 0.029855 | -0.11799 | -0.029747 | 0.00016783 | 0.00010722 | 0.17709 | 0.17709 | 0.17709 | 0.9933 | -0.12804 | 0.99176 | -0.15771 | 48.6511
52 | 0.01007 | 0.0025243 | -0.010068 | -0.0025234 | 2.0247e-06 | 9.8743e-07 | 0.015069 | 0.015069 | 0.015069 | 0.99442 | -0.10666 | 0.9942 | -0.11088 | 4.1399
53 | 0.1142 | 0.028799 | -0.114 | -0.02867 | 0.00020158 | 0.00012877 | 0.17141 | 0.17141 | 0.17141 | 0.99176 | -0.15771 | 0.98985 | -0.19466 | 47.091
54 | 0.0084021 | 0.0021059 | -0.0084001 | -0.002105 | 1.9671e-06 | 8.4017e-07 | 0.012659 | 0.012659 | 0.012659 | 0.98763 | -0.2377 | 0.98738 | -0.24261 | 3.4778
55 | 0.053929 | 0.013534 | -0.053881 | -0.013504 | 4.7414e-05 | 3.0098e-05 | 0.081076 | 0.081076 | 0.081076 | 0.98985 | -0.19466 | 0.9889 | -0.21311 | 22.2736
56 | 0.11388 | 0.028933 | -0.1134 | -0.028628 | 0.00048042 | 0.0003053 | 0.17257 | 0.17258 | 0.17258 | 0.9827 | -0.33056 | 0.97817 | -0.4186 | 23.7055
57 | 0.0069758 | 0.001746 | -0.0069716 | -0.0017446 | 4.2081e-06 | 1.4091e-06 | 0.01054 | 0.010541 | 0.010541 | 0.98472 | -0.29201 | 0.98408 | -0.30469 | 2.8958
58 | -0.025333 | -0.006349 | 0.02535 | 0.0063594 | 1.6864e-05 | 1.0423e-05 | 0.038812 | 0.038812 | 0.038812 | 0.97124 | -0.55484 | 0.97195 | -0.54087 | 10.6626
59 | -0.082224 | -0.020613 | 0.082638 | 0.020878 | 0.00041444 | 0.00026437 | 0.12588 | 0.12588 | 0.12588 | 0.97195 | -0.54087 | 0.9773 | -0.43567 | 34.5835
60 | -0.10321 | -0.026043 | 0.1033 | 0.026097 | 8.4477e-05 | 5.3951e-05 | 0.15722 | 0.15722 | 0.15722 | 0.9773 | -0.43567 | 0.97817 | -0.4186 | 43.191
61 | 0.020576 | 0.0051652 | -0.020573 | -0.0051634 | 2.924e-06 | 1.7719e-06 | 0.031332 | 0.031332 | 0.031332 | 0.9773 | -0.43567 | 0.97715 | -0.43865 | 8.6076
62 | 0.0049412 | 0.0012382 | -0.0049406 | -0.0012382 | 6.4368e-07 | 1.6242e-08 | 0.0074472 | 0.0074473 | 0.0074473 | 0.98729 | -0.24444 | 0.98715 | -0.24717 | 2.046
63 | -0.0049412 | -0.0012382 | 0.0049416 | 0.0012382 | 4.3037e-07 | 1.0788e-08 | 0.0074472 | 0.0074471 | 0.0074472 | 0.98729 | -0.24444 | 0.98738 | -0.24261 | 2.0459
64 | 0.020573 | 0.0051634 | -0.020552 | -0.0051509 | 2.0718e-05 | 1.2555e-05 | 0.031332 | 0.031332 | 0.031332 | 0.97715 | -0.43865 | 0.97607 | -0.45979 | 8.6076
65 | 0.0048177 | 0.0012048 | -0.0048167 | -0.0012048 | 9.8561e-07 | 1.5587e-09 | 0.0072838 | 0.0072841 | 0.0072841 | 0.98408 | -0.30469 | 0.98386 | -0.30899 | 2.0011
66 | 0.0032667 | 0.00081633 | -0.0032661 | -0.00081675 | 5.6513e-07 | -4.2242e-07 | 0.0049397 | 0.00494 | 0.00494 | 0.98386 | -0.30899 | 0.98367 | -0.31263 | 1.3571
67 | 0.0029819 | 0.00074552 | -0.0029818 | -0.00074563 | 9.8543e-08 | -1.0092e-07 | 0.0045101 | 0.0045102 | 0.0045102 | 0.98367 | -0.31263 | 0.98364 | -0.31333 | 1.2391
68 | 0.0023282 | 0.00058182 | -0.0023279 | -0.00058251 | 3.3148e-07 | -6.9245e-07 | 0.0035214 | 0.0035218 | 0.0035218 | 0.98364 | -0.31333 | 0.98348 | -0.31632 | 0.96752
69 | 0.0023279 | 0.00058251 | -0.0023275 | -0.00058332 | 3.8751e-07 | -8.0892e-07 | 0.0035218 | 0.0035221 | 0.0035221 | 0.98348 | -0.31632 | 0.9833 | -0.31982 | 0.96762

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53495 | 0.13627

## res_load
| p_mw | q_mvar
0 | 0.0055433 | 0.0013893
1 | 0.0060427 | 0.0015145
2 | 0.0049994 | 0.001253
3 | 0.003985 | 0.00099873
4 | 0.016111 | 0.0040379
5 | 0.0048556 | 0.0012169
6 | 0.0076859 | 0.0019263
7 | 0.023987 | 0.0060117
8 | 0.0072395 | 0.0018144
9 | 0.011215 | 0.0028108
10 | 0.0042477 | 0.0010646
11 | 0.012565 | 0.0031492
12 | 0.030609 | 0.0076712
13 | 0.010221 | 0.0025616
14 | 0.0044946 | 0.0011265
15 | 0.0074676 | 0.0018716
16 | 0.0024122 | 0.00060454
17 | 0.0056597 | 0.0014185
18 | 0.0085216 | 0.0021357
19 | 0.0069624 | 0.001745
20 | 0.035696 | 0.0089463
21 | 0.0094079 | 0.0023578
22 | 0.014006 | 0.0035102
23 | 0.0058614 | 0.001469
24 | 0.019047 | 0.0047736
25 | 0.0054619 | 0.0013689
26 | 0.0027897 | 0.00069916
27 | 0.012962 | 0.0032485
28 | 0.016615 | 0.0041642
29 | 0.003785 | 0.00094862
30 | 0.010068 | 0.0025234
31 | 0.0099208 | 0.0024864
32 | 0.013978 | 0.0035031
33 | 0.025333 | 0.006349
34 | 0.056874 | 0.014254
35 | 0.0049406 | 0.0012382
36 | 0.0034585 | 0.00086678
37 | 0.010098 | 0.0025307
38 | 0.020552 | 0.0051509
39 | 0.053881 | 0.013504
40 | 0.0021539 | 0.00053982
41 | 0.00155 | 0.00038847
42 | 0.0002842 | 7.1227e-05
43 | 0.00065358 | 0.0001638
44 | 0.0023275 | 0.00058332

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1