## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1069-8_1_2_node_14 | 0.4 | n |  | TRUE
1 | bus_LV_1069-8_1_2_node_15 | 0.4 | n |  | TRUE
2 | bus_LV_1069-8_1_2_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_1069-8_1_2_node_19 | 0.4 | n |  | TRUE
4 | bus_LV_1069-8_1_2_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_1069-8_1_2_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_1069-8_1_2_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_1069-8_1_2_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_1069-8_1_2_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_1069-8_1_2_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_1069-8_1_2_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_1069-8_1_2_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_1069-8_1_2_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1069-8_1_2_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_1069-8_1_2_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_1069-8_1_2_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_1069-8_1_2_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_1069-8_1_2_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_1069-8_1_2_node_243 | 0.4 | n |  | TRUE
19 | bus_LV_1069-8_1_2_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_1069-8_1_2_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1069-8_1_2_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_1069-8_1_2_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1069-8_1_2_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_1069-8_1_2_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_1069-8_1_2_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_1069-8_1_2_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_1069-8_1_2_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1069-8_1_2_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_1069-8_1_2_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_1069-8_1_2_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_1069-8_1_2_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1069-8_1_2_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_1069-8_1_2_node_230 | 0.4 | n |  | TRUE
34 | bus_LV_1069-8_1_2_node_244 | 0.4 | n |  | TRUE
35 | bus_LV_1069-8_1_2_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_1069-8_1_2_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_1069-8_1_2_node_235 | 0.4 | n |  | TRUE
38 | bus_LV_1069-8_1_2_node_173 | 0.4 | n |  | TRUE
39 | bus_LV_1069-8_1_2_node_171 | 0.4 | n |  | TRUE
40 | bus_LV_1069-8_1_2_node_172 | 0.4 | n |  | TRUE
41 | bus_LV_1069-8_1_2_node_174 | 0.4 | n |  | TRUE
42 | bus_LV_1069-8_1_2_node_175 | 0.4 | n |  | TRUE
43 | bus_LV_1069-8_1_2_node_239 | 0.4 | n |  | TRUE
44 | bus_LV_1069-8_1_2_node_226 | 0.4 | n |  | TRUE
45 | bus_LV_1069-8_1_2_node_238 | 0.4 | n |  | TRUE
46 | bus_LV_1069-8_1_2_node_236 | 0.4 | n |  | TRUE
47 | bus_LV_1069-8_1_2_node_237 | 0.4 | n |  | TRUE
48 | bus_LV_1069-8_1_2_node_245 | 0.4 | n |  | TRUE
49 | bus_MV_1_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1069-8_1_2_load_14 | 0 | 0.08147 | 0.020418 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1069-8_1_2_load_19 | 3 | 0.0045862 | 0.0011494 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1069-8_1_2_load_20 | 4 | 0.0056355 | 0.0014124 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1069-8_1_2_load_18 | 5 | 0.0023252 | 0.00058275 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1069-8_1_2_load_34 | 6 | 0.0024211 | 0.00060679 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1069-8_1_2_load_50 | 7 | 0.0012569 | 0.00031501 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1069-8_1_2_load_21 | 9 | 0.0082756 | 0.0020741 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1069-8_1_2_load_24 | 12 | 0.0041837 | 0.0010485 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1069-8_1_2_load_25 | 13 | 0.0061227 | 0.0015345 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1069-8_1_2_load_26 | 14 | 0.0049945 | 0.0012517 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1069-8_1_2_load_29 | 17 | 0.0040399 | 0.0010125 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1069-8_1_2_load_243 | 18 | 0.0091642 | 0.0022968 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1069-8_1_2_load_31 | 19 | 0.0058742 | 0.0014722 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1069-8_1_2_load_36 | 20 | 0.006113 | 0.0015321 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1069-8_1_2_load_33 | 22 | 0.0060332 | 0.0015121 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1069-8_1_2_load_35 | 23 | 0.0037043 | 0.00092838 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1069-8_1_2_load_38 | 25 | 0.00091787 | 0.00023004 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1069-8_1_2_load_40 | 27 | 0.005137 | 0.0012874 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1069-8_1_2_load_41 | 28 | 0.020229 | 0.0050698 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1069-8_1_2_load_47 | 30 | 0.002066 | 0.0005178 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1069-8_1_2_load_230 | 33 | 0.0013516 | 0.00033873 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1069-8_1_2_load_244 | 34 | 0.0059073 | 0.0014805 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1069-8_1_2_load_49 | 36 | 0.0018024 | 0.00045172 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1069-8_1_2_load_235 | 37 | 0.0020518 | 0.00051422 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1069-8_1_2_load_173 | 38 | 0.0027668 | 0.00069342 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1069-8_1_2_load_171 | 39 | 0.00437 | 0.0010952 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1069-8_1_2_load_172 | 40 | 0.0026142 | 0.00065517 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1069-8_1_2_load_174 | 41 | 0.0050774 | 0.0012725 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1069-8_1_2_load_175 | 42 | 0.0023995 | 0.00060138 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1069-8_1_2_load_239 | 43 | 0.0064093 | 0.0016063 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1069-8_1_2_load_226 | 44 | 0.0010673 | 0.00026748 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1069-8_1_2_load_236 | 46 | 0.00046313 | 0.00011607 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1069-8_1_2_load_237 | 47 | 0.0031165 | 0.00078106 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1069-8_1_2_load_245 | 48 | 0.014212 | 0.0035618 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1069-8_1_2_line_0 |  | 0 | 1 | 0.053646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1069-8_1_2_line_1 |  | 1 | 2 | 0.046532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1069-8_1_2_line_2 |  | 2 | 3 | 0.01457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1069-8_1_2_line_3 |  | 2 | 4 | 0.037808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1069-8_1_2_line_4 |  | 3 | 7 | 0.024135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1069-8_1_2_line_5 |  | 4 | 8 | 0.016957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1069-8_1_2_line_6 |  | 5 | 6 | 0.0084729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1069-8_1_2_line_7 |  | 6 | 22 | 0.02206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1069-8_1_2_line_8 |  | 7 | 38 | 0.059531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1069-8_1_2_line_9 |  | 8 | 30 | 0.014298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1069-8_1_2_line_10 |  | 8 | 35 | 0.031651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1069-8_1_2_line_11 |  | 9 | 10 | 0.022374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1069-8_1_2_line_12 |  | 9 | 11 | 0.036208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1069-8_1_2_line_13 |  | 10 | 12 | 0.034828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1069-8_1_2_line_14 |  | 10 | 13 | 0.011555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1069-8_1_2_line_15 |  | 11 | 14 | 0.058598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1069-8_1_2_line_16 |  | 11 | 15 | 0.031399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1069-8_1_2_line_17 |  | 12 | 16 | 0.017381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1069-8_1_2_line_18 |  | 13 | 17 | 0.0080438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1069-8_1_2_line_19 |  | 15 | 18 | 0.074414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1069-8_1_2_line_20 |  | 16 | 19 | 0.017956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1069-8_1_2_line_21 |  | 17 | 20 | 0.015523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1069-8_1_2_line_22 |  | 19 | 21 | 0.020995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1069-8_1_2_line_23 |  | 20 | 23 | 0.023435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1069-8_1_2_line_24 |  | 21 | 22 | 0.0062618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1069-8_1_2_line_25 |  | 23 | 24 | 0.055426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1069-8_1_2_line_26 |  | 24 | 25 | 0.010161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1069-8_1_2_line_27 |  | 24 | 26 | 0.028866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1069-8_1_2_line_28 |  | 25 | 27 | 0.006834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1069-8_1_2_line_29 |  | 26 | 28 | 0.045904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1069-8_1_2_line_30 |  | 26 | 29 | 0.024434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1069-8_1_2_line_31 |  | 27 | 30 | 0.02396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1069-8_1_2_line_32 |  | 29 | 33 | 0.047255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1069-8_1_2_line_33 |  | 31 | 32 | 0.04603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1069-8_1_2_line_34 |  | 31 | 33 | 0.016837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1069-8_1_2_line_35 |  | 32 | 34 | 0.006941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1069-8_1_2_line_36 |  | 34 | 48 | 0.0048199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1069-8_1_2_line_37 |  | 35 | 36 | 0.036429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1069-8_1_2_line_38 |  | 36 | 37 | 0.022254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1069-8_1_2_line_39 |  | 37 | 46 | 0.029844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1069-8_1_2_line_40 |  | 38 | 39 | 0.071319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1069-8_1_2_line_41 |  | 39 | 40 | 0.037283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1069-8_1_2_line_42 |  | 40 | 41 | 0.018874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1069-8_1_2_line_43 |  | 41 | 42 | 0.0040032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1069-8_1_2_line_44 |  | 42 | 43 | 0.015396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1069-8_1_2_line_45 |  | 43 | 45 | 0.054429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1069-8_1_2_line_46 |  | 44 | 45 | 0.18588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1069-8_1_2_line_47 |  | 45 | 47 | 0.044088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1069-8_1_2_trafo_40 | 0.63 MVA 20/0.4 kV | 49 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2675109.9687 | 1209613.5318 | 2675104.3817 | 1209603.255 | 2675104.6405 | 1209597.1878 | 2675111.3123 | 1209592.5466 | 2675137.5166 | 1209583.4195
1 | 2675152.464 | 1209594.6103 | 2675143.9684 | 1209597.394 | 2675126.7013 | 1209604.3477 | 2675116.85 | 1209609.7605 | 2675109.9687 | 1209613.5318
2 | 2675152.464 | 1209594.6103 | 2675155.1858 | 1209601.2155 | 2675159.511 | 1209607.2515
3 | 2675152.464 | 1209594.6103 | 2675171.5405 | 1209589.4584 | 2675189.213 | 1209585.7965
4 | 2675182.2559 | 1209609.2108 | 2675174.2611 | 1209611.2287 | 2675167.0586 | 1209611.5381 | 2675159.511 | 1209607.2515 | 2675159.511 | 1209607.2515
5 | 2675205.8857 | 1209582.7202 | 2675196.0207 | 1209584.3858 | 2675189.213 | 1209585.7965
6 | 2675065.1737 | 1209546.467 | 2675064.0591 | 1209551.6263 | 2675063.5702 | 1209554.7833
7 | 2675069.832 | 1209524.9043 | 2675065.1737 | 1209546.467
8 | 2675182.2559 | 1209609.2108 | 2675186.3023 | 1209608.1895 | 2675195.0315 | 1209597.7262 | 2675202.0791 | 1209594.0349 | 2675211.273 | 1209594.351 | 2675235.2166 | 1209599.8893
9 | 2675205.8857 | 1209582.7202 | 2675204.0261 | 1209577.6825 | 2675202.3112 | 1209568.9207
10 | 2675237.5115 | 1209580.0615 | 2675231.4724 | 1209580.33 | 2675205.8857 | 1209582.7202
11 | 2675121.58 | 1209460.5258 | 2675122.3405 | 1209456.8776 | 2675126.4415 | 1209438.6871
12 | 2675146.81 | 1209409.2444 | 2675144.1117 | 1209412.2346 | 2675128.3106 | 1209432.5151 | 2675127.2519 | 1209435.0923 | 2675126.4415 | 1209438.6871
13 | 2675121.58 | 1209460.5258 | 2675117.1603 | 1209459.5585 | 2675108.5022 | 1209458.938 | 2675100.8939 | 1209460.0652 | 2675095.1615 | 1209461.9276 | 2675090.0751 | 1209465.01 | 2675088.6219 | 1209466.3208
14 | 2675121.58 | 1209460.5258 | 2675126.9051 | 1209462.6275 | 2675131.6567 | 1209466.0058
15 | 2675146.81 | 1209409.2444 | 2675170.9584 | 1209428.1493 | 2675194.3133 | 1209442.4414 | 2675194.8099 | 1209442.676
16 | 2675136.8863 | 1209387.1833 | 2675131.0097 | 1209396.871 | 2675146.81 | 1209409.2444
17 | 2675079.9405 | 1209480.8369 | 2675081.9085 | 1209474.2576 | 2675084.3007 | 1209470.2184 | 2675088.6219 | 1209466.3208
18 | 2675131.6567 | 1209466.0058 | 2675133.5277 | 1209467.3361 | 2675137.9154 | 1209471.0493
19 | 2675136.8863 | 1209387.1833 | 2675185.8771 | 1209427.2255 | 2675195.6682 | 1209432.542
20 | 2675079.9405 | 1209480.8369 | 2675076.5901 | 1209495.782 | 2675075.9829 | 1209498.3511
21 | 2675149.7644 | 1209481.0769 | 2675137.9154 | 1209471.0493
22 | 2675071.1542 | 1209518.7837 | 2675075.9829 | 1209498.3511
23 | 2675149.7644 | 1209481.0769 | 2675167.6529 | 1209496.2156
24 | 2675071.1542 | 1209518.7837 | 2675069.832 | 1209524.9043
25 | 2675209.4674 | 1209532.5781 | 2675197.528 | 1209521.4985 | 2675167.6529 | 1209496.2156
26 | 2675209.4674 | 1209532.5781 | 2675202.7987 | 1209540.2449
27 | 2675233.8558 | 1209547.4615 | 2675226.8985 | 1209545.1946 | 2675220.7984 | 1209541.8601 | 2675216.1746 | 1209538.3996 | 2675209.4674 | 1209532.5781
28 | 2675198.3137 | 1209545.4012 | 2675198.3137 | 1209545.4012 | 2675202.7987 | 1209540.2449
29 | 2675233.8558 | 1209547.4615 | 2675236.2816 | 1209554.6188 | 2675239.6791 | 1209564.3011 | 2675266.0753 | 1209554.7078
30 | 2675233.8558 | 1209547.4615 | 2675240.3692 | 1209548.1552 | 2675246.485 | 1209547.8321 | 2675251.1482 | 1209546.3566 | 2675257.4391 | 1209543.6009
31 | 2675198.3137 | 1209545.4012 | 2675198.0271 | 1209547.032 | 2675202.3112 | 1209568.9207
32 | 2675257.4391 | 1209543.6009 | 2675291.2079 | 1209530.1738 | 2675301.0752 | 1209525.5092
33 | 2675295.0195 | 1209479.9346 | 2675300.1297 | 1209479.1875 | 2675301.6937 | 1209501.021 | 2675304.6229 | 1209505.6387 | 2675314.264 | 1209515.0996
34 | 2675314.264 | 1209515.0996 | 2675307.161 | 1209521.3584 | 2675301.287 | 1209525.4091 | 2675301.0752 | 1209525.5092
35 | 2675295.0195 | 1209479.9346 | 2675288.133 | 1209480.8028
36 | 2675288.133 | 1209480.8028 | 2675283.3509 | 1209481.4058
37 | 2675237.5115 | 1209580.0615 | 2675238.3561 | 1209585.42 | 2675248.4073 | 1209589.4826 | 2675268.3436 | 1209592.4959
38 | 2675290.1936 | 1209589.3973 | 2675272.0032 | 1209593.0491 | 2675268.3436 | 1209592.4959
39 | 2675290.1936 | 1209589.3973 | 2675302.4334 | 1209586.9402 | 2675319.5994 | 1209589.5261
40 | 2675235.2166 | 1209599.8893 | 2675244.9789 | 1209602.1474 | 2675251.3406 | 1209605.2184 | 2675253.8739 | 1209610.487 | 2675253.0502 | 1209614.9239 | 2675249.3634 | 1209619.7471 | 2675227.4197 | 1209630.4439 | 2675215.475 | 1209636.5013
41 | 2675211.3446 | 1209658.8054 | 2675205.0926 | 1209656.479 | 2675200.352 | 1209651.4383 | 2675200.0197 | 1209646.442 | 2675202.8618 | 1209642.8978 | 2675215.475 | 1209636.5013
42 | 2675211.3446 | 1209658.8054 | 2675212.8553 | 1209659.3675 | 2675229.866 | 1209662.3043
43 | 2675233.8109 | 1209662.9853 | 2675229.866 | 1209662.3043
44 | 2675248.9825 | 1209665.6046 | 2675233.8109 | 1209662.9853
45 | 2675248.9825 | 1209665.6046 | 2675296.5531 | 1209692.0546
46 | 2675320.1001 | 1209876.4349 | 2675296.5531 | 1209692.0546
47 | 2675296.5531 | 1209692.0546 | 2675303.1891 | 1209683.0326 | 2675318.8675 | 1209678.4831 | 2675332.5905 | 1209669.2086

## bus_geodata
| x | y | coords
0 | 2675137.5166 | 1209583.4195
1 | 2675109.9687 | 1209613.5318
2 | 2675152.464 | 1209594.6103
3 | 2675159.511 | 1209607.2515
4 | 2675189.213 | 1209585.7965
5 | 2675063.5702 | 1209554.7833
6 | 2675065.1737 | 1209546.467
7 | 2675182.2559 | 1209609.2108
8 | 2675205.8857 | 1209582.7202
9 | 2675126.4415 | 1209438.6871
10 | 2675121.58 | 1209460.5258
11 | 2675146.81 | 1209409.2444
12 | 2675088.6219 | 1209466.3208
13 | 2675131.6567 | 1209466.0058
14 | 2675194.8099 | 1209442.676
15 | 2675136.8863 | 1209387.1833
16 | 2675079.9405 | 1209480.8369
17 | 2675137.9154 | 1209471.0493
18 | 2675195.6682 | 1209432.542
19 | 2675075.9829 | 1209498.3511
20 | 2675149.7644 | 1209481.0769
21 | 2675071.1542 | 1209518.7837
22 | 2675069.832 | 1209524.9043
23 | 2675167.6529 | 1209496.2156
24 | 2675209.4674 | 1209532.5781
25 | 2675202.7987 | 1209540.2449
26 | 2675233.8558 | 1209547.4615
27 | 2675198.3137 | 1209545.4012
28 | 2675266.0753 | 1209554.7078
29 | 2675257.4391 | 1209543.6009
30 | 2675202.3112 | 1209568.9207
31 | 2675314.264 | 1209515.0996
32 | 2675295.0195 | 1209479.9346
33 | 2675301.0752 | 1209525.5092
34 | 2675288.133 | 1209480.8028
35 | 2675237.5115 | 1209580.0615
36 | 2675268.3436 | 1209592.4959
37 | 2675290.1936 | 1209589.3973
38 | 2675235.2166 | 1209599.8893
39 | 2675215.475 | 1209636.5013
40 | 2675211.3446 | 1209658.8054
41 | 2675229.866 | 1209662.3043
42 | 2675233.8109 | 1209662.9853
43 | 2675248.9825 | 1209665.6046
44 | 2675320.1001 | 1209876.4349
45 | 2675296.5531 | 1209692.0546
46 | 2675319.5994 | 1209589.5261
47 | 2675332.5905 | 1209669.2086
48 | 2675283.3509 | 1209481.4058
49 | 2675209.4674 | 1209532.5781

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98209 | -0.34429 | 0.08147 | 0.020418
1 | 0.98613 | -0.26563 | 0 | 0
2 | 0.98963 | -0.19792 | 0 | 0
3 | 0.98918 | -0.20666 | 0.0045862 | 0.0011494
4 | 0.99365 | -0.12076 | 0.0056355 | 0.0014124
5 | 0.99072 | -0.17861 | 0.0023252 | 0.00058275
6 | 0.99074 | -0.17826 | 0.0024211 | 0.00060679
7 | 0.98853 | -0.21918 | 0.0012569 | 0.00031501
8 | 0.99554 | -0.084667 | 0 | 0
9 | 0.99185 | -0.15678 | 0.0082756 | 0.0020741
10 | 0.9923 | -0.14789 | 0 | 0
11 | 0.99138 | -0.16587 | 0 | 0
12 | 0.99164 | -0.16075 | 0.0041837 | 0.0010485
13 | 0.99276 | -0.13904 | 0.0061227 | 0.0015345
14 | 0.99111 | -0.17107 | 0.0049945 | 0.0012517
15 | 0.99111 | -0.17098 | 0 | 0
16 | 0.99138 | -0.16588 | 0 | 0
17 | 0.99313 | -0.13202 | 0.0040399 | 0.0010125
18 | 0.99049 | -0.18309 | 0.0091642 | 0.0022968
19 | 0.9911 | -0.17119 | 0.0058742 | 0.0014722
20 | 0.99388 | -0.11737 | 0.006113 | 0.0015321
21 | 0.99089 | -0.1752 | 0 | 0
22 | 0.99083 | -0.1764 | 0.0060332 | 0.0015121
23 | 0.99516 | -0.092771 | 0.0037043 | 0.00092838
24 | 0.99837 | -0.031255 | 0 | 0
25 | 0.99934 | -0.012621 | 0.00091787 | 0.00023004
26 | 0.99727 | -0.052331 | 0 | 0
27 | 1 | 0 | -0.23719 | -0.059993
28 | 0.99642 | -0.068618 | 0.020229 | 0.0050698
29 | 0.99679 | -0.061531 | 0 | 0
30 | 0.99719 | -0.053261 | 0.002066 | 0.0005178
31 | 0.99556 | -0.085303 | 0 | 0
32 | 0.99471 | -0.1016 | 0 | 0
33 | 0.99587 | -0.079348 | 0.0013516 | 0.00033873
34 | 0.99459 | -0.10406 | 0.0059073 | 0.0014805
35 | 0.99541 | -0.087073 | 0 | 0
36 | 0.99527 | -0.089841 | 0.0018024 | 0.00045172
37 | 0.99522 | -0.090826 | 0.0020518 | 0.00051422
38 | 0.98701 | -0.24878 | 0.0027668 | 0.00069342
39 | 0.98536 | -0.28082 | 0.00437 | 0.0010952
40 | 0.98465 | -0.29468 | 0.0026142 | 0.00065517
41 | 0.98434 | -0.30082 | 0.0050774 | 0.0012725
42 | 0.98429 | -0.30175 | 0.0023995 | 0.00060138
43 | 0.98414 | -0.30469 | 0.0064093 | 0.0016063
44 | 0.98375 | -0.31238 | 0.0010673 | 0.00026748
45 | 0.98393 | -0.3088 | 0 | 0
46 | 0.99521 | -0.09107 | 0.00046313 | 0.00011607
47 | 0.9838 | -0.31127 | 0.0031165 | 0.00078106
48 | 0.99452 | -0.10527 | 0.014212 | 0.0035618
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.08147 | -0.020418 | 0.081776 | 0.020614 | 0.00030652 | 0.00019549 | 0.12344 | 0.12344 | 0.12344 | 0.98209 | -0.34429 | 0.98613 | -0.26563 | 33.9116
1 | -0.081776 | -0.020614 | 0.082042 | 0.020783 | 0.00026588 | 0.00016957 | 0.12344 | 0.12344 | 0.12344 | 0.98613 | -0.26563 | 0.98963 | -0.19792 | 33.9116
2 | 0.033796 | 0.0085146 | -0.033782 | -0.0085057 | 1.4117e-05 | 8.8478e-06 | 0.050831 | 0.050831 | 0.050831 | 0.98963 | -0.19792 | 0.98918 | -0.20666 | 13.9647
3 | -0.11584 | -0.029298 | 0.11627 | 0.029573 | 0.00043058 | 0.00027508 | 0.17427 | 0.17427 | 0.17427 | 0.98963 | -0.19792 | 0.99365 | -0.12076 | 47.8762
4 | 0.029195 | 0.0073563 | -0.029178 | -0.0073455 | 1.7468e-05 | 1.087e-05 | 0.043932 | 0.043933 | 0.043933 | 0.98918 | -0.20666 | 0.98853 | -0.21918 | 12.0694
5 | -0.1219 | -0.030985 | 0.12212 | 0.031121 | 0.00021227 | 0.00013564 | 0.18271 | 0.18271 | 0.18271 | 0.99365 | -0.12076 | 0.99554 | -0.084667 | 50.1946
6 | -0.0023252 | -0.00058275 | 0.0023252 | 0.00058266 | 3.8752e-08 | -8.4306e-08 | 0.0034923 | 0.0034923 | 0.0034923 | 0.99072 | -0.17861 | 0.99074 | -0.17826 | 0.95943
7 | -0.0047463 | -0.0011895 | 0.0047468 | 0.0011894 | 4.2038e-07 | -1.5058e-08 | 0.0071286 | 0.0071285 | 0.0071286 | 0.99074 | -0.17826 | 0.99083 | -0.1764 | 1.9584
8 | 0.027921 | 0.0070305 | -0.027882 | -0.007006 | 3.9456e-05 | 2.449e-05 | 0.042041 | 0.042041 | 0.042041 | 0.98853 | -0.21918 | 0.98701 | -0.24878 | 11.5497
9 | -0.12643 | -0.032202 | 0.12663 | 0.032325 | 0.00019186 | 0.0001226 | 0.18916 | 0.18916 | 0.18916 | 0.99554 | -0.084667 | 0.99719 | -0.053261 | 51.9678
10 | 0.0043185 | 0.0010812 | -0.004318 | -0.0010813 | 4.9447e-07 | -9.5031e-08 | 0.0064544 | 0.0064545 | 0.0064545 | 0.99554 | -0.084667 | 0.99541 | -0.087073 | 1.7732
11 | -0.022449 | -0.0056295 | 0.022459 | 0.0056353 | 9.5176e-06 | 5.8023e-06 | 0.03368 | 0.03368 | 0.03368 | 0.99185 | -0.15678 | 0.9923 | -0.14789 | 9.2529
12 | 0.014174 | 0.0035554 | -0.014167 | -0.003552 | 6.1401e-06 | 3.4626e-06 | 0.021265 | 0.021265 | 0.021265 | 0.99185 | -0.15678 | 0.99138 | -0.16587 | 5.8421
13 | 0.020862 | 0.0052362 | -0.020849 | -0.0052284 | 1.2784e-05 | 7.7319e-06 | 0.031286 | 0.031286 | 0.031286 | 0.9923 | -0.14789 | 0.99164 | -0.16075 | 8.5951
14 | -0.04332 | -0.010871 | 0.043339 | 0.010883 | 1.8288e-05 | 1.1555e-05 | 0.064966 | 0.064966 | 0.064966 | 0.9923 | -0.14789 | 0.99276 | -0.13904 | 17.8479
15 | 0.0049958 | 0.0012518 | -0.0049945 | -0.0012517 | 1.2356e-06 | 3.5391e-08 | 0.0074983 | 0.0074986 | 0.0074986 | 0.99138 | -0.16587 | 0.99111 | -0.17107 | 2.0601
16 | 0.0091717 | 0.0023002 | -0.0091695 | -0.0022992 | 2.2317e-06 | 1.0235e-06 | 0.013767 | 0.013767 | 0.013767 | 0.99138 | -0.16587 | 0.99111 | -0.17098 | 3.7822
17 | 0.016665 | 0.0041799 | -0.016661 | -0.0041775 | 4.0763e-06 | 2.3847e-06 | 0.025008 | 0.025008 | 0.025008 | 0.99164 | -0.16075 | 0.99138 | -0.16588 | 6.8704
18 | -0.049461 | -0.012418 | 0.049478 | 0.012428 | 1.6582e-05 | 1.0508e-05 | 0.074143 | 0.074143 | 0.074143 | 0.99276 | -0.13904 | 0.99313 | -0.13202 | 20.369
19 | 0.0091695 | 0.0022992 | -0.0091642 | -0.0022968 | 5.2891e-06 | 2.4266e-06 | 0.013767 | 0.013767 | 0.013767 | 0.99111 | -0.17098 | 0.99049 | -0.18309 | 3.7822
20 | 0.016661 | 0.0041775 | -0.016657 | -0.0041751 | 4.2112e-06 | 2.4637e-06 | 0.025008 | 0.025008 | 0.025008 | 0.99138 | -0.16588 | 0.9911 | -0.17119 | 6.8704
21 | -0.053518 | -0.013441 | 0.053555 | 0.013464 | 3.7437e-05 | 2.3759e-05 | 0.080196 | 0.080196 | 0.080196 | 0.99313 | -0.13202 | 0.99388 | -0.11737 | 22.0319
22 | 0.010783 | 0.0027029 | -0.010781 | -0.0027018 | 2.0634e-06 | 1.0501e-06 | 0.016189 | 0.016189 | 0.016189 | 0.9911 | -0.17119 | 0.99089 | -0.1752 | 4.4475
23 | -0.059668 | -0.014996 | 0.059738 | 0.015041 | 7.0155e-05 | 4.4595e-05 | 0.089348 | 0.089348 | 0.089348 | 0.99388 | -0.11737 | 0.99516 | -0.092771 | 24.5463
24 | 0.010781 | 0.0027018 | -0.01078 | -0.0027015 | 6.1542e-07 | 3.1321e-07 | 0.016189 | 0.016189 | 0.016189 | 0.99089 | -0.1752 | 0.99083 | -0.1764 | 4.4475
25 | -0.063443 | -0.015969 | 0.06363 | 0.016088 | 0.00018714 | 0.00011904 | 0.094887 | 0.094887 | 0.094887 | 0.99516 | -0.092771 | 0.99837 | -0.031255 | 26.0679
26 | -0.10544 | -0.026607 | 0.10553 | 0.026667 | 9.4183e-05 | 6.0144e-05 | 0.15722 | 0.15722 | 0.15722 | 0.99837 | -0.031255 | 0.99934 | -0.012621 | 43.1913
27 | 0.04181 | 0.010518 | -0.041768 | -0.010492 | 4.2054e-05 | 2.6537e-05 | 0.062329 | 0.062329 | 0.062329 | 0.99837 | -0.031255 | 0.99727 | -0.052331 | 17.1235
28 | -0.10645 | -0.026897 | 0.10652 | 0.026938 | 6.4449e-05 | 4.1158e-05 | 0.15858 | 0.15858 | 0.15858 | 0.99934 | -0.012621 | 1 | 0 | 43.5667
29 | 0.020245 | 0.0050793 | -0.020229 | -0.0050698 | 1.5709e-05 | 9.4553e-06 | 0.030209 | 0.030209 | 0.030209 | 0.99727 | -0.052331 | 0.99642 | -0.068618 | 8.2992
30 | 0.021523 | 0.0054126 | -0.021514 | -0.0054069 | 9.4535e-06 | 5.7316e-06 | 0.032121 | 0.032121 | 0.032121 | 0.99727 | -0.052331 | 0.99679 | -0.061531 | 8.8244
31 | 0.12902 | 0.033055 | -0.12869 | -0.032843 | 0.00033207 | 0.00021221 | 0.19225 | 0.19225 | 0.19225 | 1 | 0 | 0.99719 | -0.053261 | 52.8147
32 | 0.021514 | 0.0054069 | -0.021495 | -0.0053958 | 1.8283e-05 | 1.1086e-05 | 0.032121 | 0.032121 | 0.032121 | 0.99679 | -0.061531 | 0.99587 | -0.079348 | 8.8245
33 | 0.020138 | 0.0050536 | -0.020122 | -0.0050442 | 1.5641e-05 | 9.412e-06 | 0.030102 | 0.030102 | 0.030102 | 0.99556 | -0.085303 | 0.99471 | -0.1016 | 8.2697
34 | -0.020138 | -0.0050536 | 0.020144 | 0.0050571 | 5.7209e-06 | 3.4424e-06 | 0.030102 | 0.030102 | 0.030102 | 0.99556 | -0.085303 | 0.99587 | -0.079348 | 8.2697
35 | 0.020122 | 0.0050442 | -0.02012 | -0.0050428 | 2.3585e-06 | 1.4194e-06 | 0.030102 | 0.030102 | 0.030102 | 0.99471 | -0.1016 | 0.99459 | -0.10406 | 8.2697
36 | 0.014213 | 0.0035623 | -0.014212 | -0.0035618 | 8.1726e-07 | 4.605e-07 | 0.021264 | 0.021264 | 0.021264 | 0.99459 | -0.10406 | 0.99452 | -0.10527 | 5.8417
37 | 0.004318 | 0.0010813 | -0.0043174 | -0.0010814 | 5.6913e-07 | -1.0923e-07 | 0.0064545 | 0.0064547 | 0.0064547 | 0.99541 | -0.087073 | 0.99527 | -0.089841 | 1.7733
38 | 0.002515 | 0.0006297 | -0.0025149 | -0.00062991 | 1.1799e-07 | -2.1368e-07 | 0.00376 | 0.0037601 | 0.0037601 | 0.99527 | -0.089841 | 0.99522 | -0.090826 | 1.033
39 | 0.00046314 | 0.00011569 | -0.00046313 | -0.00011607 | 5.3653e-09 | -3.8436e-07 | 0.00069233 | 0.00069247 | 0.00069247 | 0.99522 | -0.090826 | 0.99521 | -0.09107 | 0.19024
40 | 0.025115 | 0.0063125 | -0.025077 | -0.0062889 | 3.8355e-05 | 2.3637e-05 | 0.03787 | 0.03787 | 0.03787 | 0.98701 | -0.24878 | 0.98536 | -0.28082 | 10.4039
41 | 0.020706 | 0.0051937 | -0.020693 | -0.0051854 | 1.3672e-05 | 8.2753e-06 | 0.031271 | 0.031271 | 0.031271 | 0.98536 | -0.28082 | 0.98465 | -0.29468 | 8.5909
42 | 0.018079 | 0.0045302 | -0.018073 | -0.0045271 | 5.2829e-06 | 3.1411e-06 | 0.02732 | 0.02732 | 0.02732 | 0.98465 | -0.29468 | 0.98434 | -0.30082 | 7.5056
43 | 0.012996 | 0.0032546 | -0.012995 | -0.0032543 | 5.7935e-07 | 3.199e-07 | 0.019645 | 0.019645 | 0.019645 | 0.98434 | -0.30082 | 0.98429 | -0.30175 | 5.397
44 | 0.010596 | 0.0026529 | -0.010594 | -0.0026521 | 1.4813e-06 | 7.5235e-07 | 0.016018 | 0.016018 | 0.016018 | 0.98429 | -0.30175 | 0.98414 | -0.30469 | 4.4004
45 | 0.0041851 | 0.0010458 | -0.0041843 | -0.001046 | 8.1704e-07 | -1.6855e-07 | 0.0063268 | 0.006327 | 0.006327 | 0.98414 | -0.30469 | 0.98393 | -0.3088 | 1.7382
46 | -0.0010673 | -0.00026748 | 0.0010675 | 0.00026524 | 1.8156e-07 | -2.2442e-06 | 0.0016144 | 0.0016135 | 0.0016144 | 0.98375 | -0.31238 | 0.98393 | -0.3088 | 0.4435
47 | 0.0031168 | 0.00078074 | -0.0031165 | -0.00078106 | 3.6733e-07 | -3.248e-07 | 0.0047135 | 0.0047137 | 0.0047137 | 0.98393 | -0.3088 | 0.9838 | -0.31127 | 1.295

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24233 | 0.061281

## res_load
| p_mw | q_mvar
0 | 0.08147 | 0.020418
1 | 0.0045862 | 0.0011494
2 | 0.0056355 | 0.0014124
3 | 0.0023252 | 0.00058275
4 | 0.0024211 | 0.00060679
5 | 0.0012569 | 0.00031501
6 | 0.0082756 | 0.0020741
7 | 0.0041837 | 0.0010485
8 | 0.0061227 | 0.0015345
9 | 0.0049945 | 0.0012517
10 | 0.0040399 | 0.0010125
11 | 0.0091642 | 0.0022968
12 | 0.0058742 | 0.0014722
13 | 0.006113 | 0.0015321
14 | 0.0060332 | 0.0015121
15 | 0.0037043 | 0.00092838
16 | 0.00091787 | 0.00023004
17 | 0.005137 | 0.0012874
18 | 0.020229 | 0.0050698
19 | 0.002066 | 0.0005178
20 | 0.0013516 | 0.00033873
21 | 0.0059073 | 0.0014805
22 | 0.0018024 | 0.00045172
23 | 0.0020518 | 0.00051422
24 | 0.0027668 | 0.00069342
25 | 0.00437 | 0.0010952
26 | 0.0026142 | 0.00065517
27 | 0.0050774 | 0.0012725
28 | 0.0023995 | 0.00060138
29 | 0.0064093 | 0.0016063
30 | 0.0010673 | 0.00026748
31 | 0.00046313 | 0.00011607
32 | 0.0031165 | 0.00078106
33 | 0.014212 | 0.0035618

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1