## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_111-10_1_3_node_10 | 0.4 | n |  | TRUE
1 | bus_LV_111-10_1_3_node_52 | 0.4 | n |  | TRUE
2 | bus_LV_111-10_1_3_node_122 | 0.4 | n |  | TRUE
3 | bus_LV_111-10_1_3_node_121 | 0.4 | n |  | TRUE
4 | bus_LV_111-10_1_3_node_49 | 0.4 | n |  | TRUE
5 | bus_LV_111-10_1_3_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_111-10_1_3_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_111-10_1_3_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_111-10_1_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_111-10_1_3_node_127 | 0.4 | n |  | TRUE
10 | bus_LV_111-10_1_3_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_111-10_1_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_111-10_1_3_node_134 | 0.4 | n |  | TRUE
13 | bus_LV_111-10_1_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_111-10_1_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_111-10_1_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_111-10_1_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_111-10_1_3_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_111-10_1_3_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_111-10_1_3_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_111-10_1_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_111-10_1_3_node_125 | 0.4 | n |  | TRUE
22 | bus_LV_111-10_1_3_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_111-10_1_3_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_111-10_1_3_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_111-10_1_3_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_111-10_1_3_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_111-10_1_3_node_126 | 0.4 | n |  | TRUE
28 | bus_LV_111-10_1_3_node_124 | 0.4 | n |  | TRUE
29 | bus_LV_111-10_1_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_111-10_1_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_111-10_1_3_node_130 | 0.4 | n |  | TRUE
32 | bus_LV_111-10_1_3_node_132 | 0.4 | n |  | TRUE
33 | bus_LV_111-10_1_3_node_135 | 0.4 | n |  | TRUE
34 | bus_LV_111-10_1_3_node_131 | 0.4 | n |  | TRUE
35 | bus_LV_111-10_1_3_node_136 | 0.4 | n |  | TRUE
36 | bus_LV_111-10_1_3_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_111-10_1_3_node_123 | 0.4 | n |  | TRUE
38 | bus_LV_111-10_1_3_node_128 | 0.4 | n |  | TRUE
39 | bus_LV_111-10_1_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_111-10_1_3_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_111-10_1_3_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_111-10_1_3_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_111-10_1_3_node_133 | 0.4 | n |  | TRUE
44 | bus_LV_111-10_1_3_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_111-10_1_3_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_111-10_1_3_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_111-10_1_3_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_111-10_1_3_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_111-10_1_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_111-10_1_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_111-10_1_3_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_111-10_1_3_node_118 | 0.4 | n |  | TRUE
53 | bus_LV_111-10_1_3_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_111-10_1_3_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_111-10_1_3_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_111-10_1_3_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_111-10_1_3_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_111-10_1_3_node_119 | 0.4 | n |  | TRUE
59 | bus_LV_111-10_1_3_node_120 | 0.4 | n |  | TRUE
60 | bus_LV_111-10_1_3_node_129 | 0.4 | n |  | TRUE
61 | bus_MV_6_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_111-10_1_3_load_122 | 2 | 0.011544 | 0.0028931 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_111-10_1_3_load_121 | 3 | 0.026657 | 0.006681 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_111-10_1_3_load_64 | 6 | 0.006211 | 0.0015566 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_111-10_1_3_load_127 | 9 | 0.0066043 | 0.0016552 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_111-10_1_3_load_134 | 12 | 0.0020053 | 0.00050257 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_111-10_1_3_load_19 | 15 | 0.00089344 | 0.00022392 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_111-10_1_3_load_14 | 16 | 0.0013223 | 0.00033139 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_111-10_1_3_load_39 | 18 | 0.0052224 | 0.0013089 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_111-10_1_3_load_37 | 19 | 0.0068064 | 0.0017058 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_111-10_1_3_load_125 | 21 | 0.018257 | 0.0045757 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_111-10_1_3_load_55 | 22 | 0.0023813 | 0.0005968 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_111-10_1_3_load_56 | 23 | 0.0015049 | 0.00037716 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_111-10_1_3_load_53 | 24 | 0.0018302 | 0.00045868 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_111-10_1_3_load_71 | 25 | 0.002144 | 0.00053733 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_111-10_1_3_load_70 | 26 | 0.0037506 | 0.00093999 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_111-10_1_3_load_126 | 27 | 0.0056561 | 0.0014175 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_111-10_1_3_load_124 | 28 | 0.010031 | 0.002514 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_111-10_1_3_load_18 | 30 | 0.0012049 | 0.00030198 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_111-10_1_3_load_130 | 31 | 0.0012014 | 0.0003011 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_111-10_1_3_load_132 | 32 | 0.0011276 | 0.00028261 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_111-10_1_3_load_135 | 33 | 0.0011362 | 0.00028475 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_111-10_1_3_load_131 | 34 | 0.00068278 | 0.00017112 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_111-10_1_3_load_136 | 35 | 0.0027094 | 0.00067904 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_111-10_1_3_load_57 | 39 | 0.012768 | 0.0031999 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_111-10_1_3_load_62 | 40 | 0.0033926 | 0.00085026 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_111-10_1_3_load_83 | 41 | 0.007154 | 0.001793 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_111-10_1_3_load_84 | 42 | 0.0021924 | 0.00054948 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_111-10_1_3_load_133 | 43 | 0.0044132 | 0.0011061 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_111-10_1_3_load_72 | 45 | 0.0030122 | 0.00075494 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_111-10_1_3_load_73 | 46 | 0.021838 | 0.0054731 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_111-10_1_3_load_66 | 47 | 0.0027374 | 0.00068606 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_111-10_1_3_load_47 | 49 | 0.024768 | 0.0062075 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_111-10_1_3_load_48 | 50 | 0.0078226 | 0.0019605 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_111-10_1_3_load_118 | 52 | 0.0066008 | 0.0016543 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_111-10_1_3_load_63 | 55 | 0.011462 | 0.0028726 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_111-10_1_3_load_74 | 57 | 0.0089736 | 0.002249 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_111-10_1_3_load_119 | 58 | 0.028653 | 0.007181 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_111-10_1_3_load_120 | 59 | 0.0044778 | 0.0011222 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_111-10_1_3_load_129 | 60 | 0.011782 | 0.0029528 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_111-10_1_3_line_0 |  | 0 | 1 | 0.010684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_111-10_1_3_line_1 |  | 0 | 2 | 0.032384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_111-10_1_3_line_2 |  | 1 | 3 | 0.014851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_111-10_1_3_line_3 |  | 1 | 4 | 0.0274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_111-10_1_3_line_4 |  | 3 | 51 | 0.026306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_111-10_1_3_line_5 |  | 4 | 49 | 0.0084416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_111-10_1_3_line_6 |  | 5 | 6 | 0.0097886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_111-10_1_3_line_7 |  | 5 | 7 | 0.026689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_111-10_1_3_line_8 |  | 6 | 40 | 0.015315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_111-10_1_3_line_9 |  | 7 | 17 | 0.024219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_111-10_1_3_line_10 |  | 7 | 18 | 0.042574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_111-10_1_3_line_11 |  | 7 | 19 | 0.015387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_111-10_1_3_line_12 |  | 8 | 9 | 0.0077084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_111-10_1_3_line_13 |  | 8 | 10 | 0.031841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_111-10_1_3_line_14 |  | 9 | 38 | 0.004636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_111-10_1_3_line_15 |  | 10 | 20 | 0.020315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_111-10_1_3_line_16 |  | 10 | 21 | 0.026643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_111-10_1_3_line_17 |  | 11 | 12 | 0.0095499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_111-10_1_3_line_18 |  | 11 | 13 | 0.020569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_111-10_1_3_line_19 |  | 13 | 31 | 0.013958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_111-10_1_3_line_20 |  | 13 | 29 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_111-10_1_3_line_21 |  | 14 | 15 | 0.019045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_111-10_1_3_line_22 |  | 14 | 16 | 0.0093298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_111-10_1_3_line_23 |  | 15 | 33 | 0.00046628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_111-10_1_3_line_24 |  | 16 | 29 | 0.01918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_111-10_1_3_line_25 |  | 17 | 25 | 0.021197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_111-10_1_3_line_26 |  | 17 | 26 | 0.0086221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_111-10_1_3_line_27 |  | 18 | 36 | 0.0088548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_111-10_1_3_line_28 |  | 20 | 22 | 0.0075513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_111-10_1_3_line_29 |  | 20 | 23 | 0.023146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_111-10_1_3_line_30 |  | 20 | 24 | 0.0091521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_111-10_1_3_line_31 |  | 21 | 37 | 0.0011711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_111-10_1_3_line_32 |  | 23 | 31 | 0.010906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_111-10_1_3_line_33 |  | 27 | 28 | 0.00073991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_111-10_1_3_line_34 |  | 28 | 37 | 0.0099441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_111-10_1_3_line_35 |  | 29 | 30 | 0.022963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_111-10_1_3_line_36 |  | 30 | 32 | 0.0023677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_111-10_1_3_line_37 |  | 32 | 34 | 0.0078395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_111-10_1_3_line_38 |  | 33 | 35 | 0.0051136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_111-10_1_3_line_39 |  | 34 | 44 | 0.0069376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_111-10_1_3_line_40 |  | 36 | 39 | 0.021874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_111-10_1_3_line_41 |  | 38 | 60 | 0.019164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_111-10_1_3_line_42 |  | 38 | 59 | 0.014624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_111-10_1_3_line_43 |  | 39 | 57 | 0.0072396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_111-10_1_3_line_44 |  | 40 | 55 | 0.011485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_111-10_1_3_line_45 |  | 41 | 42 | 0.033101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_111-10_1_3_line_46 |  | 42 | 56 | 0.010618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_111-10_1_3_line_47 |  | 43 | 44 | 0.020004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_111-10_1_3_line_48 |  | 44 | 57 | 0.014065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_111-10_1_3_line_49 |  | 45 | 46 | 0.026848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_111-10_1_3_line_50 |  | 46 | 54 | 0.018228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_111-10_1_3_line_51 |  | 47 | 48 | 0.025724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_111-10_1_3_line_52 |  | 48 | 53 | 0.018695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_111-10_1_3_line_53 |  | 49 | 50 | 0.033482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_111-10_1_3_line_54 |  | 51 | 52 | 0.01245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_111-10_1_3_line_55 |  | 52 | 58 | 0.038178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_111-10_1_3_line_56 |  | 53 | 54 | 0.046516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_111-10_1_3_line_57 |  | 53 | 55 | 0.017552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_111-10_1_3_line_58 |  | 54 | 56 | 0.004482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_111-10_1_3_line_59 |  | 58 | 59 | 0.024962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_111-10_1_3_trafo_119 | 0.63 MVA 20/0.4 kV | 61 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2707128.2004 | 1243874.1921 | 2707122.1723 | 1243870.2024 | 2707119.274 | 1243868.2818
1 | 2707119.274 | 1243868.2818 | 2707138.659 | 1243842.3412
2 | 2707128.2004 | 1243874.1921 | 2707140.7707 | 1243882.0999
3 | 2707128.2004 | 1243874.1921 | 2707114.2058 | 1243897.7692
4 | 2707161.5445 | 1243897.9797 | 2707155.6192 | 1243892.068 | 2707153.9338 | 1243890.3807 | 2707140.7707 | 1243882.0999
5 | 2707114.2058 | 1243897.7692 | 2707118.993 | 1243899.735 | 2707117.7591 | 1243902.7595
6 | 2707231.944 | 1243892.0358 | 2707224.2874 | 1243898.1345
7 | 2707230.964 | 1243871.8243 | 2707227.0676 | 1243873.6887 | 2707223.7203 | 1243875.285 | 2707231.944 | 1243892.0358
8 | 2707212.4688 | 1243907.8587 | 2707214.2119 | 1243906.1598 | 2707224.2874 | 1243898.1345
9 | 2707241.6371 | 1243893.5788 | 2707230.964 | 1243871.8243
10 | 2707230.964 | 1243871.8243 | 2707212.2254 | 1243833.5963
11 | 2707230.964 | 1243871.8243 | 2707243.7133 | 1243865.7166 | 2707244.2455 | 1243866.8475
12 | 2707202.0276 | 1243832.1145 | 2707196.2567 | 1243837.2249
13 | 2707188.1458 | 1243803.441 | 2707197.6315 | 1243823.1502 | 2707202.0276 | 1243832.1145
14 | 2707192.786 | 1243840.2984 | 2707196.2567 | 1243837.2249
15 | 2707190.3721 | 1243788.5917 | 2707186.2477 | 1243790.5187 | 2707191.4263 | 1243800.9427 | 2707188.1458 | 1243803.441
16 | 2707188.1458 | 1243803.441 | 2707179.7379 | 1243809.8275 | 2707167.8109 | 1243820.6198
17 | 2707206.365 | 1243746.0804 | 2707201.4247 | 1243754.2531
18 | 2707206.365 | 1243746.0804 | 2707212.4085 | 1243750.0594 | 2707219.1055 | 1243753.8501 | 2707223.5558 | 1243757.311
19 | 2707223.5558 | 1243757.311 | 2707216.8774 | 1243769.5674
20 | 2707223.5558 | 1243757.311 | 2707238.708 | 1243769.6612
21 | 2707264.4589 | 1243758.1509 | 2707267.8495 | 1243762.5268 | 2707273.3181 | 1243774.8799
22 | 2707264.4589 | 1243758.1509 | 2707259.1736 | 1243761.9918 | 2707256.638 | 1243763.1707
23 | 2707273.3181 | 1243774.8799 | 2707273.6945 | 1243775.155
24 | 2707238.708 | 1243769.6612 | 2707243.3002 | 1243767.3646 | 2707252.1982 | 1243765.2349 | 2707256.638 | 1243763.1707
25 | 2707241.6371 | 1243893.5788 | 2707252.2928 | 1243888.2895 | 2707254.6639 | 1243888.8439 | 2707258.1755 | 1243894.7436
26 | 2707241.6371 | 1243893.5788 | 2707245.365 | 1243901.3533
27 | 2707208.328 | 1243825.6454 | 2707212.2254 | 1243833.5963
28 | 2707190.3721 | 1243788.5917 | 2707186.7636 | 1243781.9584
29 | 2707190.3721 | 1243788.5917 | 2707211.3545 | 1243778.8194
30 | 2707190.3721 | 1243788.5917 | 2707194.3468 | 1243796.8356
31 | 2707166.9425 | 1243821.4056 | 2707167.8109 | 1243820.6198
32 | 2707216.8774 | 1243769.5674 | 2707211.9997 | 1243778.5189 | 2707211.3545 | 1243778.8194
33 | 2707158.1529 | 1243815.3317 | 2707158.7616 | 1243815.7524
34 | 2707166.9425 | 1243821.4056 | 2707158.7616 | 1243815.7524
35 | 2707238.708 | 1243769.6612 | 2707236.3941 | 1243773.0443 | 2707235.8793 | 1243778.1057 | 2707237.8326 | 1243785.8805 | 2707239.8085 | 1243791.2915
36 | 2707239.8085 | 1243791.2915 | 2707240.6207 | 1243793.5155
37 | 2707243.6803 | 1243800.7067 | 2707242.4926 | 1243798.6414 | 2707240.6207 | 1243793.5155
38 | 2707273.6945 | 1243775.155 | 2707276.0636 | 1243776.8867 | 2707278.2168 | 1243777.2222
39 | 2707247.139 | 1243806.7207 | 2707243.6803 | 1243800.7067
40 | 2707208.328 | 1243825.6454 | 2707227.9893 | 1243816.0583
41 | 2707192.786 | 1243840.2984 | 2707178.4346 | 1243852.9994
42 | 2707192.786 | 1243840.2984 | 2707199.4241 | 1243853.3285
43 | 2707227.9893 | 1243816.0583 | 2707234.4965 | 1243812.8853
44 | 2707212.4688 | 1243907.8587 | 2707204.2439 | 1243915.8749
45 | 2707210 | 1243983.2158 | 2707188.0654 | 1243975.9649 | 2707178.3649 | 1243973.5406
46 | 2707168.064 | 1243970.9663 | 2707178.3649 | 1243973.5406
47 | 2707247.139 | 1243806.7207 | 2707252.5621 | 1243813.6464 | 2707260.2041 | 1243821.8453
48 | 2707247.139 | 1243806.7207 | 2707234.4965 | 1243812.8853
49 | 2707212.1974 | 1243979.9408 | 2707198.2889 | 1243975.338 | 2707186.6034 | 1243971.8412
50 | 2707169.1404 | 1243966.6156 | 2707186.6034 | 1243971.8412
51 | 2707205.5213 | 1243940.7301 | 2707230.1186 | 1243948.2605
52 | 2707191.6743 | 1243928.1256 | 2707205.5213 | 1243940.7301
53 | 2707134.7141 | 1243921.5333 | 2707127.4485 | 1243919.57 | 2707126.9607 | 1243913.9345 | 2707130.3495 | 1243908.369 | 2707117.7591 | 1243902.7595
54 | 2707161.5445 | 1243897.9797 | 2707170.0509 | 1243888.8884
55 | 2707170.0509 | 1243888.8884 | 2707174.1394 | 1243884.5188 | 2707181.3161 | 1243890.6199 | 2707196.5557 | 1243873.6954
56 | 2707191.6743 | 1243928.1256 | 2707184.007 | 1243935.782 | 2707182.4735 | 1243935.3095 | 2707171.942 | 1243957.9927 | 2707169.1404 | 1243966.6156
57 | 2707191.6743 | 1243928.1256 | 2707204.2439 | 1243915.8749
58 | 2707169.1404 | 1243966.6156 | 2707168.064 | 1243970.9663
59 | 2707196.5557 | 1243873.6954 | 2707205.0212 | 1243864.294 | 2707201.6047 | 1243857.5936 | 2707199.5385 | 1243853.5531 | 2707199.4241 | 1243853.3285

## bus_geodata
| x | y | coords
0 | 2707119.274 | 1243868.2818
1 | 2707128.2004 | 1243874.1921
2 | 2707138.659 | 1243842.3412
3 | 2707140.7707 | 1243882.0999
4 | 2707114.2058 | 1243897.7692
5 | 2707231.944 | 1243892.0358
6 | 2707224.2874 | 1243898.1345
7 | 2707230.964 | 1243871.8243
8 | 2707202.0276 | 1243832.1145
9 | 2707196.2567 | 1243837.2249
10 | 2707188.1458 | 1243803.441
11 | 2707206.365 | 1243746.0804
12 | 2707201.4247 | 1243754.2531
13 | 2707223.5558 | 1243757.311
14 | 2707264.4589 | 1243758.1509
15 | 2707273.3181 | 1243774.8799
16 | 2707256.638 | 1243763.1707
17 | 2707241.6371 | 1243893.5788
18 | 2707212.2254 | 1243833.5963
19 | 2707244.2455 | 1243866.8475
20 | 2707190.3721 | 1243788.5917
21 | 2707167.8109 | 1243820.6198
22 | 2707186.7636 | 1243781.9584
23 | 2707211.3545 | 1243778.8194
24 | 2707194.3468 | 1243796.8356
25 | 2707258.1755 | 1243894.7436
26 | 2707245.365 | 1243901.3533
27 | 2707158.1529 | 1243815.3317
28 | 2707158.7616 | 1243815.7524
29 | 2707238.708 | 1243769.6612
30 | 2707239.8085 | 1243791.2915
31 | 2707216.8774 | 1243769.5674
32 | 2707240.6207 | 1243793.5155
33 | 2707273.6945 | 1243775.155
34 | 2707243.6803 | 1243800.7067
35 | 2707278.2168 | 1243777.2222
36 | 2707208.328 | 1243825.6454
37 | 2707166.9425 | 1243821.4056
38 | 2707192.786 | 1243840.2984
39 | 2707227.9893 | 1243816.0583
40 | 2707212.4688 | 1243907.8587
41 | 2707210 | 1243983.2158
42 | 2707178.3649 | 1243973.5406
43 | 2707260.2041 | 1243821.8453
44 | 2707247.139 | 1243806.7207
45 | 2707212.1974 | 1243979.9408
46 | 2707186.6034 | 1243971.8412
47 | 2707230.1186 | 1243948.2605
48 | 2707205.5213 | 1243940.7301
49 | 2707117.7591 | 1243902.7595
50 | 2707134.7141 | 1243921.5333
51 | 2707161.5445 | 1243897.9797
52 | 2707170.0509 | 1243888.8884
53 | 2707191.6743 | 1243928.1256
54 | 2707169.1404 | 1243966.6156
55 | 2707204.2439 | 1243915.8749
56 | 2707168.064 | 1243970.9663
57 | 2707234.4965 | 1243812.8853
58 | 2707196.5557 | 1243873.6954
59 | 2707199.4241 | 1243853.3285
60 | 2707178.4346 | 1243852.9994
61 | 2707192.786 | 1243840.2984

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99409 | -0.11357 | 0 | 0
1 | 0.9942 | -0.1114 | 0 | 0
2 | 0.99375 | -0.12017 | 0.011544 | 0.0028931
3 | 0.9948 | -0.099846 | 0.026657 | 0.006681
4 | 0.99339 | -0.12716 | 0 | 0
5 | 0.97441 | -0.49235 | 0 | 0
6 | 0.97388 | -0.50278 | 0.006211 | 0.0015566
7 | 0.97585 | -0.46398 | 0 | 0
8 | 0.9959 | -0.077619 | 0 | 0
9 | 0.99645 | -0.06719 | 0.0066043 | 0.0016552
10 | 0.99363 | -0.12082 | 0 | 0
11 | 0.98858 | -0.21716 | 0 | 0
12 | 0.98856 | -0.2175 | 0.0020053 | 0.00050257
13 | 0.98862 | -0.21642 | 0 | 0
14 | 0.98645 | -0.25806 | 0 | 0
15 | 0.98637 | -0.25968 | 0.00089344 | 0.00022392
16 | 0.98649 | -0.25727 | 0.0013223 | 0.00033139
17 | 0.97572 | -0.46659 | 0 | 0
18 | 0.97866 | -0.40904 | 0.0052224 | 0.0013089
19 | 0.97575 | -0.46589 | 0.0068064 | 0.0017058
20 | 0.99249 | -0.14238 | 0 | 0
21 | 0.9928 | -0.13679 | 0.018257 | 0.0045757
22 | 0.99248 | -0.14269 | 0.0023813 | 0.0005968
23 | 0.99125 | -0.16614 | 0.0015049 | 0.00037716
24 | 0.99248 | -0.14267 | 0.0018302 | 0.00045868
25 | 0.97568 | -0.46742 | 0.002144 | 0.00053733
26 | 0.97569 | -0.46718 | 0.0037506 | 0.00093999
27 | 0.99264 | -0.13995 | 0.0056561 | 0.0014175
28 | 0.99264 | -0.13988 | 0.010031 | 0.002514
29 | 0.9866 | -0.25518 | 0 | 0
30 | 0.98435 | -0.2985 | 0.0012049 | 0.00030198
31 | 0.99009 | -0.18829 | 0.0012014 | 0.0003011
32 | 0.98412 | -0.30293 | 0.0011276 | 0.00028261
33 | 0.98637 | -0.25971 | 0.0011362 | 0.00028475
34 | 0.98337 | -0.31744 | 0.00068278 | 0.00017112
35 | 0.98635 | -0.25996 | 0.0027094 | 0.00067904
36 | 0.97929 | -0.39681 | 0 | 0
37 | 0.99278 | -0.13712 | 0 | 0
38 | 0.99679 | -0.060656 | 0 | 0
39 | 0.98084 | -0.36667 | 0.012768 | 0.0031999
40 | 0.97313 | -0.51737 | 0.0033926 | 0.00085026
41 | 0.97017 | -0.57595 | 0.007154 | 0.001793
42 | 0.97039 | -0.57157 | 0.0021924 | 0.00054948
43 | 0.98263 | -0.33181 | 0.0044132 | 0.0011061
44 | 0.98271 | -0.33021 | 0 | 0
45 | 0.97002 | -0.57884 | 0.0030122 | 0.00075494
46 | 0.9701 | -0.57734 | 0.021838 | 0.0054731
47 | 0.9719 | -0.54181 | 0.0027374 | 0.00068606
48 | 0.97196 | -0.54051 | 0 | 0
49 | 0.99314 | -0.13202 | 0.024768 | 0.0062075
50 | 0.9929 | -0.13665 | 0.0078226 | 0.0019605
51 | 0.9965 | -0.067101 | 0 | 0
52 | 0.9973 | -0.051642 | 0.0066008 | 0.0016543
53 | 0.97201 | -0.53956 | 0 | 0
54 | 0.97052 | -0.56895 | 0 | 0
55 | 0.97262 | -0.52761 | 0.011462 | 0.0028726
56 | 0.97048 | -0.56973 | 0 | 0
57 | 0.98143 | -0.35504 | 0.0089736 | 0.002249
58 | 1 | 0 | -0.25925 | -0.065841
59 | 0.99796 | -0.038565 | 0.0044778 | 0.0011222
60 | 0.99659 | -0.064618 | 0.011782 | 0.0029528
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011547 | -0.002895 | 0.011549 | 0.0028957 | 1.197e-06 | 6.2757e-07 | 0.017285 | 0.017285 | 0.017285 | 0.99409 | -0.11357 | 0.9942 | -0.1114 | 4.7487
1 | 0.011547 | 0.002895 | -0.011544 | -0.0028931 | 3.6283e-06 | 1.9024e-06 | 0.017285 | 0.017285 | 0.017285 | 0.99409 | -0.11357 | 0.99375 | -0.12017 | 4.7487
2 | -0.044173 | -0.011084 | 0.044198 | 0.0111 | 2.4346e-05 | 1.5389e-05 | 0.066119 | 0.066118 | 0.066119 | 0.9942 | -0.1114 | 0.9948 | -0.099846 | 18.1644
3 | 0.032625 | 0.0081888 | -0.0326 | -0.0081734 | 2.4503e-05 | 1.5327e-05 | 0.048833 | 0.048834 | 0.048834 | 0.9942 | -0.1114 | 0.99339 | -0.12716 | 13.4158
4 | -0.070855 | -0.017781 | 0.070966 | 0.017851 | 0.00011083 | 7.0586e-05 | 0.10599 | 0.10599 | 0.10599 | 0.9948 | -0.099846 | 0.9965 | -0.067101 | 29.1188
5 | 0.0326 | 0.0081734 | -0.032593 | -0.0081687 | 7.5491e-06 | 4.7222e-06 | 0.048834 | 0.048834 | 0.048834 | 0.99339 | -0.12716 | 0.99314 | -0.13202 | 13.4158
6 | 0.05817 | 0.014642 | -0.058141 | -0.014624 | 2.8981e-05 | 1.8426e-05 | 0.088855 | 0.088855 | 0.088855 | 0.97441 | -0.49235 | 0.97388 | -0.50278 | 24.4106
7 | -0.05817 | -0.014642 | 0.058249 | 0.014693 | 7.9016e-05 | 5.0237e-05 | 0.088855 | 0.088855 | 0.088855 | 0.97441 | -0.49235 | 0.97585 | -0.46398 | 24.4106
8 | 0.05193 | 0.013067 | -0.051894 | -0.013044 | 3.6175e-05 | 2.2961e-05 | 0.079365 | 0.079365 | 0.079365 | 0.97388 | -0.50278 | 0.97313 | -0.51737 | 21.8035
9 | 0.0058955 | 0.0014772 | -0.0058948 | -0.0014771 | 7.3396e-07 | 1.672e-07 | 0.0089896 | 0.0089897 | 0.0089897 | 0.97585 | -0.46398 | 0.97572 | -0.46659 | 2.4697
10 | -0.070952 | -0.017876 | 0.071139 | 0.017995 | 0.00018699 | 0.00011914 | 0.10822 | 0.10822 | 0.10822 | 0.97585 | -0.46398 | 0.97866 | -0.40904 | 29.7318
11 | 0.006807 | 0.0017061 | -0.0068064 | -0.0017058 | 6.2165e-07 | 2.0564e-07 | 0.01038 | 0.01038 | 0.01038 | 0.97585 | -0.46398 | 0.97575 | -0.46589 | 2.8516
12 | -0.15627 | -0.040031 | 0.15635 | 0.040081 | 7.9005e-05 | 5.0362e-05 | 0.2338 | 0.2338 | 0.2338 | 0.9959 | -0.077619 | 0.99645 | -0.06719 | 32.1153
13 | 0.15627 | 0.040031 | -0.15594 | -0.039823 | 0.00032634 | 0.00020803 | 0.2338 | 0.2338 | 0.2338 | 0.9959 | -0.077619 | 0.99363 | -0.12082 | 32.1153
14 | -0.16295 | -0.041736 | 0.16301 | 0.041769 | 5.1609e-05 | 3.2909e-05 | 0.24366 | 0.24366 | 0.24366 | 0.99645 | -0.06719 | 0.99679 | -0.060656 | 33.47
15 | 0.12197 | 0.031298 | -0.12184 | -0.031217 | 0.00012745 | 8.1045e-05 | 0.18292 | 0.18292 | 0.18292 | 0.99363 | -0.12082 | 0.99249 | -0.14238 | 25.1265
16 | 0.033972 | 0.0085248 | -0.033946 | -0.0085085 | 2.5865e-05 | 1.6208e-05 | 0.050879 | 0.050879 | 0.050879 | 0.99363 | -0.12082 | 0.9928 | -0.13679 | 13.9779
17 | 0.0020053 | 0.00050247 | -0.0020053 | -0.00050257 | 3.2627e-08 | -1.0156e-07 | 0.0030184 | 0.0030184 | 0.0030184 | 0.98858 | -0.21716 | 0.98856 | -0.2175 | 0.82923
18 | -0.0020053 | -0.00050247 | 0.0020054 | 0.00050225 | 7.027e-08 | -2.1876e-07 | 0.0030184 | 0.0030183 | 0.0030184 | 0.98858 | -0.21716 | 0.98862 | -0.21642 | 0.82922
19 | -0.11451 | -0.029218 | 0.11467 | 0.029318 | 0.00015583 | 9.955e-05 | 0.17254 | 0.17254 | 0.17254 | 0.98862 | -0.21642 | 0.99009 | -0.18829 | 47.4019
20 | 0.11251 | 0.028716 | -0.1123 | -0.028582 | 0.00021029 | 0.00013434 | 0.16952 | 0.16952 | 0.16952 | 0.98862 | -0.21642 | 0.9866 | -0.25518 | 46.5727
21 | 0.0047394 | 0.0011876 | -0.004739 | -0.0011877 | 3.6503e-07 | -9.4964e-09 | 0.0071491 | 0.0071492 | 0.0071492 | 0.98645 | -0.25806 | 0.98637 | -0.25968 | 1.9641
22 | -0.0047394 | -0.0011876 | 0.0047396 | 0.0011876 | 1.7881e-07 | -4.669e-09 | 0.0071491 | 0.0071491 | 0.0071491 | 0.98645 | -0.25806 | 0.98649 | -0.25727 | 1.964
23 | 0.0038456 | 0.00096374 | -0.0038456 | -0.00096374 | 5.8849e-09 | -2.1852e-09 | 0.0058014 | 0.0058014 | 0.0058014 | 0.98637 | -0.25968 | 0.98637 | -0.25971 | 1.5938
24 | -0.0060619 | -0.001519 | 0.0060625 | 0.0015192 | 6.0132e-07 | 1.3995e-07 | 0.0091436 | 0.0091435 | 0.0091436 | 0.98649 | -0.25727 | 0.9866 | -0.25518 | 2.512
25 | 0.0021441 | 0.00053712 | -0.002144 | -0.00053733 | 8.4985e-08 | -2.1035e-07 | 0.0032697 | 0.0032698 | 0.0032698 | 0.97572 | -0.46659 | 0.97568 | -0.46742 | 0.8983
26 | 0.0037507 | 0.00093995 | -0.0037506 | -0.00093999 | 1.0579e-07 | -3.9982e-08 | 0.00572 | 0.00572 | 0.00572 | 0.97572 | -0.46659 | 0.97569 | -0.46718 | 1.5714
27 | -0.076361 | -0.019304 | 0.076406 | 0.019333 | 4.4808e-05 | 2.8566e-05 | 0.11616 | 0.11616 | 0.11616 | 0.97866 | -0.40904 | 0.97929 | -0.39681 | 31.9132
28 | 0.0023813 | 0.00059673 | -0.0023813 | -0.0005968 | 3.6094e-08 | -7.4484e-08 | 0.0035702 | 0.0035702 | 0.0035702 | 0.99249 | -0.14238 | 0.99248 | -0.14269 | 0.98083
29 | 0.11763 | 0.030162 | -0.1175 | -0.030076 | 0.00013536 | 8.6035e-05 | 0.17661 | 0.17661 | 0.17661 | 0.99249 | -0.14238 | 0.99125 | -0.16614 | 24.2592
30 | 0.0018302 | 0.00045858 | -0.0018302 | -0.00045868 | 2.584e-08 | -1.0173e-07 | 0.0027439 | 0.002744 | 0.002744 | 0.99249 | -0.14238 | 0.99248 | -0.14267 | 0.75383
31 | 0.015689 | 0.0039329 | -0.015689 | -0.0039328 | 2.4285e-07 | 1.4028e-07 | 0.023516 | 0.023516 | 0.023516 | 0.9928 | -0.13679 | 0.99278 | -0.13712 | 6.4604
32 | 0.11599 | 0.029699 | -0.11587 | -0.029619 | 0.00012432 | 7.9422e-05 | 0.17435 | 0.17435 | 0.17435 | 0.99125 | -0.16614 | 0.99009 | -0.18829 | 47.8979
33 | -0.0056561 | -0.0014175 | 0.0056561 | 0.0014175 | 1.9947e-08 | 3.2011e-09 | 0.0084787 | 0.0084787 | 0.0084787 | 0.99264 | -0.13995 | 0.99264 | -0.13988 | 2.3293
34 | -0.015687 | -0.0039316 | 0.015689 | 0.0039328 | 2.0621e-06 | 1.1912e-06 | 0.023516 | 0.023516 | 0.023516 | 0.99264 | -0.13988 | 0.99278 | -0.13712 | 6.4604
35 | 0.10623 | 0.027063 | -0.10601 | -0.026921 | 0.0002215 | 0.00014147 | 0.16038 | 0.16038 | 0.16038 | 0.9866 | -0.25518 | 0.98435 | -0.2985 | 44.0608
36 | 0.10481 | 0.026619 | -0.10478 | -0.026605 | 2.2323e-05 | 1.4256e-05 | 0.15856 | 0.15856 | 0.15856 | 0.98435 | -0.2985 | 0.98412 | -0.30293 | 43.5604
37 | 0.10366 | 0.026322 | -0.10358 | -0.026276 | 7.233e-05 | 4.6191e-05 | 0.15685 | 0.15685 | 0.15685 | 0.98412 | -0.30293 | 0.98337 | -0.31744 | 43.092
38 | 0.0027094 | 0.00067899 | -0.0027094 | -0.00067904 | 3.2037e-08 | -4.4766e-08 | 0.0040874 | 0.0040874 | 0.0040874 | 0.98637 | -0.25971 | 0.98635 | -0.25996 | 1.1229
39 | 0.1029 | 0.026105 | -0.10284 | -0.026065 | 6.3168e-05 | 4.0339e-05 | 0.15582 | 0.15582 | 0.15582 | 0.98337 | -0.31744 | 0.98271 | -0.33021 | 42.8082
40 | -0.076406 | -0.019333 | 0.076517 | 0.019403 | 0.00011069 | 7.0565e-05 | 0.11616 | 0.11616 | 0.11616 | 0.97929 | -0.39681 | 0.98084 | -0.36667 | 31.9132
41 | 0.011784 | 0.002954 | -0.011782 | -0.0029528 | 2.2241e-06 | 1.1736e-06 | 0.017592 | 0.017592 | 0.017592 | 0.99679 | -0.060656 | 0.99659 | -0.064618 | 4.8329
42 | -0.17479 | -0.044723 | 0.17498 | 0.044843 | 0.00018714 | 0.00011939 | 0.26125 | 0.26125 | 0.26125 | 0.99679 | -0.060656 | 0.99796 | -0.038565 | 35.8864
43 | -0.089284 | -0.022603 | 0.089334 | 0.022635 | 4.987e-05 | 3.1826e-05 | 0.13553 | 0.13553 | 0.13553 | 0.98084 | -0.36667 | 0.98143 | -0.35504 | 37.2345
44 | 0.048501 | 0.012194 | -0.048478 | -0.012179 | 2.3698e-05 | 1.5024e-05 | 0.074177 | 0.074177 | 0.074177 | 0.97313 | -0.51737 | 0.97262 | -0.52761 | 20.3784
45 | -0.007154 | -0.001793 | 0.0071555 | 0.0017935 | 1.4944e-06 | 5.4761e-07 | 0.010973 | 0.010972 | 0.010973 | 0.97017 | -0.57595 | 0.97039 | -0.57157 | 3.0144
46 | -0.0093479 | -0.002343 | 0.0093487 | 0.0023434 | 8.1812e-07 | 3.9241e-07 | 0.014334 | 0.014334 | 0.014334 | 0.97039 | -0.57157 | 0.97048 | -0.56973 | 3.938
47 | -0.0044132 | -0.0011061 | 0.0044136 | 0.001106 | 3.3504e-07 | -3.9001e-08 | 0.006683 | 0.0066829 | 0.006683 | 0.98263 | -0.33181 | 0.98271 | -0.33021 | 1.836
48 | 0.098425 | 0.024959 | -0.098308 | -0.024884 | 0.00011732 | 7.4905e-05 | 0.14914 | 0.14914 | 0.14914 | 0.98271 | -0.33021 | 0.98143 | -0.35504 | 40.9722
49 | -0.0030122 | -0.00075494 | 0.0030125 | 0.00075474 | 2.1496e-07 | -1.9388e-07 | 0.0046208 | 0.0046207 | 0.0046208 | 0.97002 | -0.57884 | 0.9701 | -0.57734 | 1.2694
50 | -0.02485 | -0.0062278 | 0.02486 | 0.0062339 | 9.9315e-06 | 6.131e-06 | 0.038117 | 0.038117 | 0.038117 | 0.9701 | -0.57734 | 0.97052 | -0.56895 | 10.4718
51 | -0.0027374 | -0.00068606 | 0.0027376 | 0.00068585 | 1.6944e-07 | -2.1036e-07 | 0.0041911 | 0.004191 | 0.0041911 | 0.9719 | -0.54181 | 0.97196 | -0.54051 | 1.1514
52 | -0.0027376 | -0.00068585 | 0.0027377 | 0.00068569 | 1.2313e-07 | -1.5291e-07 | 0.004191 | 0.0041909 | 0.004191 | 0.97196 | -0.54051 | 0.97201 | -0.53956 | 1.1514
53 | 0.0078243 | 0.0019612 | -0.0078226 | -0.0019605 | 1.7256e-06 | 6.7126e-07 | 0.011723 | 0.011723 | 0.011723 | 0.99314 | -0.13202 | 0.9929 | -0.13665 | 3.2207
54 | -0.070966 | -0.017851 | 0.071018 | 0.017885 | 5.2452e-05 | 3.3407e-05 | 0.10599 | 0.10599 | 0.10599 | 0.9965 | -0.067101 | 0.9973 | -0.051642 | 29.1188
55 | -0.077619 | -0.019539 | 0.077811 | 0.019662 | 0.00019212 | 0.00012246 | 0.11584 | 0.11584 | 0.11584 | 0.9973 | -0.051642 | 1 | 0 | 31.8244
56 | 0.034257 | 0.0086076 | -0.034209 | -0.0085775 | 4.7989e-05 | 3.0137e-05 | 0.052451 | 0.052451 | 0.052451 | 0.97201 | -0.53956 | 0.97052 | -0.56895 | 14.4097
57 | -0.036995 | -0.0092933 | 0.037016 | 0.0093066 | 2.1117e-05 | 1.3297e-05 | 0.056642 | 0.056642 | 0.056642 | 0.97201 | -0.53956 | 0.97262 | -0.52761 | 15.561
58 | 0.0093491 | 0.0023435 | -0.0093487 | -0.0023434 | 3.4534e-07 | 1.6564e-07 | 0.014334 | 0.014334 | 0.014334 | 0.97052 | -0.56895 | 0.97048 | -0.56973 | 3.938
59 | 0.17979 | 0.046179 | -0.17945 | -0.045965 | 0.00033599 | 0.00021438 | 0.26793 | 0.26793 | 0.26793 | 1 | 0 | 0.99796 | -0.038565 | 36.8035

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2879 | 0.073022

## res_load
| p_mw | q_mvar
0 | 0.011544 | 0.0028931
1 | 0.026657 | 0.006681
2 | 0.006211 | 0.0015566
3 | 0.0066043 | 0.0016552
4 | 0.0020053 | 0.00050257
5 | 0.00089344 | 0.00022392
6 | 0.0013223 | 0.00033139
7 | 0.0052224 | 0.0013089
8 | 0.0068064 | 0.0017058
9 | 0.018257 | 0.0045757
10 | 0.0023813 | 0.0005968
11 | 0.0015049 | 0.00037716
12 | 0.0018302 | 0.00045868
13 | 0.002144 | 0.00053733
14 | 0.0037506 | 0.00093999
15 | 0.0056561 | 0.0014175
16 | 0.010031 | 0.002514
17 | 0.0012049 | 0.00030198
18 | 0.0012014 | 0.0003011
19 | 0.0011276 | 0.00028261
20 | 0.0011362 | 0.00028475
21 | 0.00068278 | 0.00017112
22 | 0.0027094 | 0.00067904
23 | 0.012768 | 0.0031999
24 | 0.0033926 | 0.00085026
25 | 0.007154 | 0.001793
26 | 0.0021924 | 0.00054948
27 | 0.0044132 | 0.0011061
28 | 0.0030122 | 0.00075494
29 | 0.021838 | 0.0054731
30 | 0.0027374 | 0.00068606
31 | 0.024768 | 0.0062075
32 | 0.0078226 | 0.0019605
33 | 0.0066008 | 0.0016543
34 | 0.011462 | 0.0028726
35 | 0.0089736 | 0.002249
36 | 0.028653 | 0.007181
37 | 0.0044778 | 0.0011222
38 | 0.011782 | 0.0029528

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1