## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_111-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_111-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_111-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_111-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_111-4_0_4_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_111-4_0_4_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_111-4_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_111-4_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_111-4_0_4_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_111-4_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_111-4_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_111-4_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_111-4_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_111-4_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_111-4_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_111-4_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_111-4_0_4_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_111-4_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_111-4_0_4_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_111-4_0_4_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_111-4_0_4_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_111-4_0_4_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_111-4_0_4_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_111-4_0_4_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_111-4_0_4_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_111-4_0_4_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_111-4_0_4_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_111-4_0_4_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_111-4_0_4_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_111-4_0_4_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_111-4_0_4_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_111-4_0_4_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_111-4_0_4_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_111-4_0_4_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_111-4_0_4_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_111-4_0_4_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_111-4_0_4_node_15 | 0.4 | n |  | TRUE
37 | bus_LV_111-4_0_4_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_111-4_0_4_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_111-4_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_111-4_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_111-4_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_111-4_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_111-4_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_111-4_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_111-4_0_4_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_111-4_0_4_node_20 | 0.4 | n |  | TRUE
47 | bus_LV_111-4_0_4_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_111-4_0_4_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_111-4_0_4_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_111-4_0_4_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_111-4_0_4_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_111-4_0_4_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_111-4_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_111-4_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_111-4_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_111-4_0_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_111-4_0_4_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_111-4_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_111-4_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_111-4_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_111-4_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_111-4_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_111-4_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_111-4_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_111-4_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_111-4_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_MV_7_1_node_204 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_111-4_0_4_load_0 | 0 | 0.0012562 | 0.00031484 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_111-4_0_4_load_3 | 3 | 0.00051239 | 0.00012842 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_111-4_0_4_load_16 | 4 | 0.00051543 | 0.00012918 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_111-4_0_4_load_27 | 5 | 0.00023969 | 6.0072e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_111-4_0_4_load_14 | 6 | 7.2153e-05 | 1.8083e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_111-4_0_4_load_55 | 8 | 0.0065425 | 0.0016397 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_111-4_0_4_load_26 | 9 | 0.00015668 | 3.9268e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_111-4_0_4_load_5 | 10 | 0.057645 | 0.014447 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_111-4_0_4_load_12 | 14 | 0.013231 | 0.0033161 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_111-4_0_4_load_69 | 16 | 0.018406 | 0.004613 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_111-4_0_4_load_43 | 18 | 0.010011 | 0.002509 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_111-4_0_4_load_70 | 20 | 0.066258 | 0.016606 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_111-4_0_4_load_45 | 21 | 0.008803 | 0.0022062 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_111-4_0_4_load_42 | 22 | 0.00061033 | 0.00015296 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_111-4_0_4_load_44 | 23 | 0.00016041 | 4.0203e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_111-4_0_4_load_53 | 24 | 0.023656 | 0.0059287 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_111-4_0_4_load_56 | 25 | 0.00011412 | 2.8601e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_111-4_0_4_load_67 | 28 | 0.00058562 | 0.00014677 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_111-4_0_4_load_58 | 29 | 0.00080772 | 0.00020243 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_111-4_0_4_load_60 | 30 | 0.00032508 | 8.1473e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_111-4_0_4_load_65 | 33 | 0.00018586 | 4.6582e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_111-4_0_4_load_68 | 34 | 0.00025193 | 6.3139e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_111-4_0_4_load_13 | 35 | 0.00011789 | 2.9547e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_111-4_0_4_load_17 | 37 | 0.00025297 | 6.3401e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_111-4_0_4_load_33 | 41 | 0.00347 | 0.00086967 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_111-4_0_4_load_38 | 43 | 0.00028668 | 7.1848e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_111-4_0_4_load_40 | 44 | 0.00080936 | 0.00020284 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_111-4_0_4_load_19 | 45 | 0.00013896 | 3.4826e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_111-4_0_4_load_20 | 46 | 0.00016111 | 4.0378e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_111-4_0_4_load_21 | 47 | 0.00060094 | 0.00015061 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_111-4_0_4_load_23 | 49 | 0.00035546 | 8.9087e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_111-4_0_4_load_24 | 50 | 0.00029938 | 7.5032e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_111-4_0_4_load_25 | 51 | 0.00030846 | 7.7309e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_111-4_0_4_load_28 | 52 | 0.00031855 | 7.9836e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_111-4_0_4_load_37 | 54 | 0.00017739 | 4.4458e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_111-4_0_4_load_61 | 56 | 0.00068522 | 0.00017173 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_111-4_0_4_load_35 | 58 | 0.00041563 | 0.00010417 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_111-4_0_4_load_41 | 59 | 0.00042162 | 0.00010567 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_111-4_0_4_load_46 | 60 | 0.0010018 | 0.00025109 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_111-4_0_4_load_47 | 61 | 0.00044791 | 0.00011226 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_111-4_0_4_load_62 | 62 | 0.0001971 | 4.9398e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_111-4_0_4_load_48 | 63 | 0.00032404 | 8.1213e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_111-4_0_4_load_49 | 64 | 0.00018626 | 4.6682e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_111-4_0_4_load_51 | 66 | 0.0010415 | 0.00026101 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_111-4_0_4_line_0 |  | 0 | 1 | 0.014705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_111-4_0_4_line_1 |  | 0 | 2 | 0.018531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_111-4_0_4_line_2 |  | 1 | 3 | 1.0948e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_111-4_0_4_line_3 |  | 2 | 4 | 0.29318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_111-4_0_4_line_4 |  | 3 | 7 | 0.021035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_111-4_0_4_line_5 |  | 4 | 5 | 0.012265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_111-4_0_4_line_6 |  | 4 | 6 | 0.0038149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_111-4_0_4_line_7 |  | 5 | 9 | 0.0098524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_111-4_0_4_line_8 |  | 6 | 35 | 0.0044403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_111-4_0_4_line_9 |  | 7 | 8 | 0.59285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_111-4_0_4_line_10 |  | 8 | 24 | 0.0079148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_111-4_0_4_line_11 |  | 9 | 51 | 0.0057095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_111-4_0_4_line_12 |  | 10 | 11 | 0.045829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_111-4_0_4_line_13 |  | 10 | 12 | 0.017176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_111-4_0_4_line_14 |  | 11 | 13 | 0.066307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_111-4_0_4_line_15 |  | 12 | 14 | 0.020145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_111-4_0_4_line_16 |  | 13 | 20 | 0.073534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_111-4_0_4_line_17 |  | 13 | 15 | 0.094128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_111-4_0_4_line_18 |  | 14 | 21 | 0.020519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_111-4_0_4_line_19 |  | 15 | 16 | 0.11417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_111-4_0_4_line_20 |  | 15 | 17 | 0.079363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_111-4_0_4_line_21 |  | 17 | 18 | 0.017839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_111-4_0_4_line_22 |  | 17 | 19 | 0.025845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_111-4_0_4_line_23 |  | 18 | 22 | 0.0065548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_111-4_0_4_line_24 |  | 19 | 25 | 0.044472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_111-4_0_4_line_25 |  | 19 | 26 | 0.20719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_111-4_0_4_line_26 |  | 19 | 24 | 0.081244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_111-4_0_4_line_27 |  | 22 | 23 | 0.0063698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_111-4_0_4_line_28 |  | 26 | 27 | 0.02795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_111-4_0_4_line_29 |  | 26 | 28 | 0.015117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_111-4_0_4_line_30 |  | 27 | 30 | 0.036913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_111-4_0_4_line_31 |  | 27 | 29 | 0.016866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_111-4_0_4_line_32 |  | 28 | 34 | 0.0089052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_111-4_0_4_line_33 |  | 31 | 32 | 0.002942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_111-4_0_4_line_34 |  | 31 | 33 | 0.0088868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_111-4_0_4_line_35 |  | 32 | 34 | 0.015853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_111-4_0_4_line_36 |  | 35 | 36 | 0.017889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_111-4_0_4_line_37 |  | 36 | 37 | 0.028537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_111-4_0_4_line_38 |  | 37 | 38 | 0.13951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_111-4_0_4_line_39 |  | 38 | 39 | 0.11596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_111-4_0_4_line_40 |  | 39 | 42 | 0.039071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_111-4_0_4_line_41 |  | 39 | 40 | 0.032636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_111-4_0_4_line_42 |  | 40 | 41 | 0.02016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_111-4_0_4_line_43 |  | 41 | 53 | 0.053677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_111-4_0_4_line_44 |  | 42 | 43 | 0.004467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_111-4_0_4_line_45 |  | 42 | 44 | 0.012175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_111-4_0_4_line_46 |  | 43 | 54 | 0.015914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_111-4_0_4_line_47 |  | 45 | 46 | 0.0033721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_111-4_0_4_line_48 |  | 45 | 47 | 0.0050483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_111-4_0_4_line_49 |  | 46 | 48 | 0.018535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_111-4_0_4_line_50 |  | 47 | 49 | 0.031631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_111-4_0_4_line_51 |  | 48 | 50 | 0.0095418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_111-4_0_4_line_52 |  | 49 | 51 | 0.0011232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_111-4_0_4_line_53 |  | 50 | 52 | 0.028492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_111-4_0_4_line_54 |  | 53 | 58 | 0.013542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_111-4_0_4_line_55 |  | 53 | 57 | 0.031742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_111-4_0_4_line_56 |  | 55 | 56 | 0.029741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_111-4_0_4_line_57 |  | 55 | 57 | 0.048675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_111-4_0_4_line_58 |  | 56 | 62 | 0.0051867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_111-4_0_4_line_59 |  | 57 | 60 | 0.021908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_111-4_0_4_line_60 |  | 58 | 59 | 0.015523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_111-4_0_4_line_61 |  | 60 | 61 | 0.01245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_111-4_0_4_line_62 |  | 61 | 63 | 0.015579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_111-4_0_4_line_63 |  | 63 | 64 | 0.001903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_111-4_0_4_line_64 |  | 64 | 65 | 0.044052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_111-4_0_4_line_65 |  | 65 | 66 | 0.033901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_111-4_0_4_trafo_9 | 0.63 MVA 20/0.4 kV | 67 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2705437.165 | 1244570.516 | 2705429.6111 | 1244557.9
1 | 2705420.0918 | 1244542.0013 | 2705429.6111 | 1244557.9
2 | 2705437.1712 | 1244570.525 | 2705437.165 | 1244570.516
3 | 2705147.5717 | 1244650.1004 | 2705420.0918 | 1244542.0013
4 | 2705451.4194 | 1244585.8259 | 2705441.7345 | 1244577.0691 | 2705437.1712 | 1244570.525
5 | 2705151.5316 | 1244661.6939 | 2705148.5297 | 1244652.1911 | 2705147.5717 | 1244650.1004
6 | 2705147.5717 | 1244650.1004 | 2705145.9825 | 1244646.6322
7 | 2705151.5316 | 1244661.6939 | 2705151.5782 | 1244661.8416 | 2705152.4918 | 1244671.496
8 | 2705144.1328 | 1244642.5955 | 2705145.9825 | 1244646.6322
9 | 2705451.4194 | 1244585.8259 | 2706033.9585 | 1244695.9401
10 | 2706033.9585 | 1244695.9401 | 2706041.7599 | 1244697.2752
11 | 2705152.3805 | 1244677.1981 | 2705152.5711 | 1244672.3341 | 2705152.4918 | 1244671.496
12 | 2706185.8346 | 1244814.628 | 2706186.7895 | 1244823.7634 | 2706184.9429 | 1244827.2776 | 2706152.3947 | 1244830.1422
13 | 2706135.2852 | 1244831.648 | 2706152.3947 | 1244830.1422
14 | 2706163.9657 | 1244781.933 | 2706190.6038 | 1244781.7096 | 2706190.5606 | 1244790.4491 | 2706190.4071 | 1244799.0197 | 2706192.7959 | 1244802.7877 | 2706188.7005 | 1244807.3736 | 2706184.3841 | 1244808.6862 | 2706183.4052 | 1244812.7052 | 2706185.8346 | 1244814.628
15 | 2706135.2852 | 1244831.648 | 2706136.5501 | 1244851.7532
16 | 2706210.4735 | 1244745.8592 | 2706210.2383 | 1244743.3752 | 2706208.233 | 1244740.9819 | 2706199.3493 | 1244739.8886 | 2706194.9229 | 1244740.5877 | 2706187.2373 | 1244751.9369 | 2706175.6314 | 1244764.8394 | 2706165.4998 | 1244770.5515 | 2706163.6609 | 1244773.6321 | 2706163.9657 | 1244781.933
17 | 2706118.5074 | 1244739.9977 | 2706117.5202 | 1244755.4589 | 2706114.6832 | 1244775.4573 | 2706112.6932 | 1244782.3383 | 2706131.3789 | 1244782.1946 | 2706163.9657 | 1244781.933
18 | 2706136.5501 | 1244851.7532 | 2706145.766 | 1244850.7506 | 2706152.2951 | 1244847.4204 | 2706156.214 | 1244847.4426
19 | 2706222.3003 | 1244696.5875 | 2706198.7116 | 1244700.3905 | 2706193.6479 | 1244701.6453 | 2706185.6365 | 1244705.4382 | 2706137.9545 | 1244731.5278 | 2706126.766 | 1244739.7008 | 2706118.5074 | 1244739.9977
20 | 2706109.0351 | 1244663.6902 | 2706111.8364 | 1244667.6435 | 2706118.1436 | 1244680.9446 | 2706121.1986 | 1244695.2105 | 2706121.3155 | 1244709.3682 | 2706118.4993 | 1244723.9849 | 2706119.456 | 1244727.9607 | 2706118.5074 | 1244739.9977
21 | 2706109.0351 | 1244663.6902 | 2706123.6034 | 1244653.3956
22 | 2706094.047 | 1244642.6055 | 2706098.773 | 1244649.2397 | 2706109.0351 | 1244663.6902
23 | 2706128.9565 | 1244649.6128 | 2706123.6034 | 1244653.3956
24 | 2706094.047 | 1244642.6055 | 2706098.9395 | 1244636.1324 | 2706104.9976 | 1244633.7944 | 2706112.2762 | 1244625.7627 | 2706117.8782 | 1244624.4174 | 2706130.2916 | 1244629.0892
25 | 2706151.2954 | 1244452.0458 | 2706120.4718 | 1244498.1085 | 2706115.3389 | 1244507.4463 | 2706112.3588 | 1244513.4756 | 2706106.9348 | 1244525.1433 | 2706089.5982 | 1244581.6223 | 2706085.9578 | 1244602.1734 | 2706086.82 | 1244620.3031 | 2706091.1822 | 1244635.8601 | 2706094.047 | 1244642.6055
26 | 2706094.047 | 1244642.6055 | 2706087.104 | 1244650.8879 | 2706078.609 | 1244658.8979 | 2706062.2296 | 1244692.3315 | 2706046.2932 | 1244698.0511 | 2706041.7599 | 1244697.2752
27 | 2706134.1585 | 1244645.9367 | 2706128.9565 | 1244649.6128
28 | 2706151.2954 | 1244452.0458 | 2706146.8876 | 1244455.0693 | 2706136.6484 | 1244463.3816 | 2706128.0661 | 1244467.3868
29 | 2706151.2954 | 1244452.0458 | 2706140.582 | 1244446.3163 | 2706139.9931 | 1244443.4076
30 | 2706128.0661 | 1244467.3868 | 2706121.5366 | 1244466.4915 | 2706115.457 | 1244462.8466 | 2706114.5031 | 1244445.6159 | 2706115.4833 | 1244439.7197
31 | 2706128.0661 | 1244467.3868 | 2706123.3151 | 1244473.1174 | 2706119.6705 | 1244481.806
32 | 2706139.9931 | 1244443.4076 | 2706139.3529 | 1244440.2451 | 2706139.9226 | 1244434.5952
33 | 2706154.6099 | 1244427.3412 | 2706155.1628 | 1244430.2311
34 | 2706154.6099 | 1244427.3412 | 2706163.1375 | 1244424.8401
35 | 2706155.1628 | 1244430.2311 | 2706139.9226 | 1244434.5952
36 | 2705135.5846 | 1244626.9418 | 2705140.0381 | 1244633.6593 | 2705144.1328 | 1244642.5955
37 | 2705135.5846 | 1244626.9418 | 2705129.9831 | 1244620.6042 | 2705124.0411 | 1244615.1391 | 2705112.5624 | 1244611.6219
38 | 2704995.0724 | 1244543.321 | 2705020.2681 | 1244566.1182 | 2705045.3472 | 1244587.8015 | 2705058.3635 | 1244597.5396 | 2705067.3904 | 1244601.2357 | 2705076.9724 | 1244603.8853 | 2705102.8674 | 1244609.3705 | 2705111.0213 | 1244611.1497 | 2705112.5624 | 1244611.6219
39 | 2704913.112 | 1244603.0959 | 2704922.7516 | 1244599.0854 | 2704926.3839 | 1244601.3959 | 2704938.3943 | 1244609.0477 | 2704947.3914 | 1244600.767 | 2704952.4616 | 1244592.7281 | 2704995.0724 | 1244543.321
40 | 2704911.9024 | 1244573.2177 | 2704920.0483 | 1244586.9836 | 2704920.5618 | 1244594.6988 | 2704922.7516 | 1244599.0854 | 2704913.112 | 1244603.0959
41 | 2704913.112 | 1244603.0959 | 2704910.0469 | 1244614.862 | 2704912.7924 | 1244628.8438 | 2704916.5437 | 1244633.8251
42 | 2704916.5437 | 1244633.8251 | 2704903.2726 | 1244649.0014
43 | 2704868.7862 | 1244690.125 | 2704884.7016 | 1244670.5688 | 2704890.3157 | 1244663.8183 | 2704903.2726 | 1244649.0014
44 | 2704911.9024 | 1244573.2177 | 2704909.6255 | 1244569.3746
45 | 2704911.9024 | 1244573.2177 | 2704901.098 | 1244578.8306
46 | 2704899.7469 | 1244556.9142 | 2704908.9595 | 1244568.2506 | 2704909.6255 | 1244569.3746
47 | 2705144.3296 | 1244713.8306 | 2705144.499 | 1244717.1984
48 | 2705144.6977 | 1244708.8721 | 2705144.1623 | 1244710.504 | 2705144.3296 | 1244713.8306
49 | 2705151.7833 | 1244733.7907 | 2705144.7378 | 1244721.9454 | 2705144.499 | 1244717.1984
50 | 2705152.3365 | 1244678.3204 | 2705152.1569 | 1244682.9017 | 2705149.6034 | 1244693.9207 | 2705144.6977 | 1244708.8721
51 | 2705151.7833 | 1244733.7907 | 2705144.8334 | 1244740.3287
52 | 2705152.3365 | 1244678.3204 | 2705152.3805 | 1244677.1981
53 | 2705122.892 | 1244758.1723 | 2705123.68 | 1244756.5439 | 2705141.3071 | 1244743.6461 | 2705144.8334 | 1244740.3287
54 | 2704868.7862 | 1244690.125 | 2704879.5673 | 1244698.3196
55 | 2704868.7862 | 1244690.125 | 2704866.4066 | 1244693.0519 | 2704848.6702 | 1244714.7222
56 | 2704816 | 1244679.5172 | 2704792.0502 | 1244697.1504
57 | 2704816 | 1244679.5172 | 2704823.0286 | 1244685.9464 | 2704825.7737 | 1244692.2666 | 2704827.702 | 1244696.0592 | 2704848.6702 | 1244714.7222
58 | 2704787.8735 | 1244700.2255 | 2704792.0502 | 1244697.1504
59 | 2704848.6702 | 1244714.7222 | 2704840.7339 | 1244723.7223 | 2704834.1836 | 1244731.1566
60 | 2704891.1601 | 1244698.6477 | 2704886.5205 | 1244703.6047 | 2704879.5673 | 1244698.3196
61 | 2704834.1836 | 1244731.1566 | 2704825.9533 | 1244740.4975
62 | 2704815.654 | 1244752.1866 | 2704825.9533 | 1244740.4975
63 | 2704814.3959 | 1244753.6145 | 2704815.654 | 1244752.1866
64 | 2704784.7888 | 1244786.2275 | 2704800.9674 | 1244768.8552 | 2704814.3959 | 1244753.6145
65 | 2704784.7888 | 1244786.2275 | 2704798.9346 | 1244798.765 | 2704800.0285 | 1244806.1457 | 2704797.1042 | 1244813.0929

## bus_geodata
| x | y | coords
0 | 2705429.6111 | 1244557.9
1 | 2705437.165 | 1244570.516
2 | 2705420.0918 | 1244542.0013
3 | 2705437.1712 | 1244570.525
4 | 2705147.5717 | 1244650.1004
5 | 2705151.5316 | 1244661.6939
6 | 2705145.9825 | 1244646.6322
7 | 2705451.4194 | 1244585.8259
8 | 2706033.9585 | 1244695.9401
9 | 2705152.4918 | 1244671.496
10 | 2706152.3947 | 1244830.1422
11 | 2706185.8346 | 1244814.628
12 | 2706135.2852 | 1244831.648
13 | 2706163.9657 | 1244781.933
14 | 2706136.5501 | 1244851.7532
15 | 2706118.5074 | 1244739.9977
16 | 2706222.3003 | 1244696.5875
17 | 2706109.0351 | 1244663.6902
18 | 2706123.6034 | 1244653.3956
19 | 2706094.047 | 1244642.6055
20 | 2706210.4735 | 1244745.8592
21 | 2706156.214 | 1244847.4426
22 | 2706128.9565 | 1244649.6128
23 | 2706134.1585 | 1244645.9367
24 | 2706041.7599 | 1244697.2752
25 | 2706130.2916 | 1244629.0892
26 | 2706151.2954 | 1244452.0458
27 | 2706128.0661 | 1244467.3868
28 | 2706139.9931 | 1244443.4076
29 | 2706119.6705 | 1244481.806
30 | 2706115.4833 | 1244439.7197
31 | 2706154.6099 | 1244427.3412
32 | 2706155.1628 | 1244430.2311
33 | 2706163.1375 | 1244424.8401
34 | 2706139.9226 | 1244434.5952
35 | 2705144.1328 | 1244642.5955
36 | 2705135.5846 | 1244626.9418
37 | 2705112.5624 | 1244611.6219
38 | 2704995.0724 | 1244543.321
39 | 2704913.112 | 1244603.0959
40 | 2704916.5437 | 1244633.8251
41 | 2704903.2726 | 1244649.0014
42 | 2704911.9024 | 1244573.2177
43 | 2704909.6255 | 1244569.3746
44 | 2704901.098 | 1244578.8306
45 | 2705144.3296 | 1244713.8306
46 | 2705144.499 | 1244717.1984
47 | 2705144.6977 | 1244708.8721
48 | 2705151.7833 | 1244733.7907
49 | 2705152.3365 | 1244678.3204
50 | 2705144.8334 | 1244740.3287
51 | 2705152.3805 | 1244677.1981
52 | 2705122.892 | 1244758.1723
53 | 2704868.7862 | 1244690.125
54 | 2704899.7469 | 1244556.9142
55 | 2704816 | 1244679.5172
56 | 2704792.0502 | 1244697.1504
57 | 2704848.6702 | 1244714.7222
58 | 2704879.5673 | 1244698.3196
59 | 2704891.1601 | 1244698.6477
60 | 2704834.1836 | 1244731.1566
61 | 2704825.9533 | 1244740.4975
62 | 2704787.8735 | 1244700.2255
63 | 2704815.654 | 1244752.1866
64 | 2704814.3959 | 1244753.6145
65 | 2704784.7888 | 1244786.2275
66 | 2704797.1042 | 1244813.0929
67 | 2706118.4993 | 1244723.9849

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98253 | -0.3365 | 0.0012562 | 0.00031484
1 | 0.98272 | -0.3327 | 0 | 0
2 | 0.9823 | -0.34086 | 0 | 0
3 | 0.98272 | -0.3327 | 0.00051239 | 0.00012842
4 | 0.97876 | -0.41014 | 0.00051543 | 0.00012918
5 | 0.97873 | -0.41072 | 0.00023969 | 6.0072e-05
6 | 0.97873 | -0.41083 | 7.2153e-05 | 1.8083e-05
7 | 0.98301 | -0.32708 | 0 | 0
8 | 0.99114 | -0.1699 | 0.0065425 | 0.0016397
9 | 0.97871 | -0.41114 | 0.00015668 | 3.9268e-05
10 | 0.98546 | -0.27952 | 0.057645 | 0.014447
11 | 0.98882 | -0.2142 | 0 | 0
12 | 0.98511 | -0.28632 | 0 | 0
13 | 0.99368 | -0.12048 | 0 | 0
14 | 0.9847 | -0.29429 | 0.013231 | 0.0033161
15 | 1 | 0 | -0.22642 | -0.05723
16 | 0.99809 | -0.036701 | 0.018406 | 0.004613
17 | 0.99577 | -0.080707 | 0 | 0
18 | 0.9956 | -0.084089 | 0.010011 | 0.002509
19 | 0.99465 | -0.10223 | 0 | 0
20 | 0.98922 | -0.20687 | 0.066258 | 0.016606
21 | 0.98454 | -0.29754 | 0.008803 | 0.0022062
22 | 0.99559 | -0.084178 | 0.00061033 | 0.00015296
23 | 0.99559 | -0.084196 | 0.00016041 | 4.0203e-05
24 | 0.99129 | -0.1669 | 0.023656 | 0.0059287
25 | 0.99465 | -0.10232 | 0.00011412 | 2.8601e-05
26 | 0.99424 | -0.11013 | 0 | 0
27 | 0.99422 | -0.11069 | 0 | 0
28 | 0.99423 | -0.1104 | 0.00058562 | 0.00014677
29 | 0.9942 | -0.11093 | 0.00080772 | 0.00020243
30 | 0.9942 | -0.1109 | 0.00032508 | 8.1473e-05
31 | 0.99422 | -0.11053 | 0 | 0
32 | 0.99422 | -0.11052 | 0 | 0
33 | 0.99422 | -0.11056 | 0.00018586 | 4.6582e-05
34 | 0.99423 | -0.11047 | 0.00025193 | 6.3139e-05
35 | 0.97869 | -0.41163 | 0.00011789 | 2.9547e-05
36 | 0.97853 | -0.4148 | 0 | 0
37 | 0.97827 | -0.41986 | 0.00025297 | 6.3401e-05
38 | 0.97704 | -0.44399 | 0 | 0
39 | 0.97602 | -0.46408 | 0 | 0
40 | 0.97577 | -0.46898 | 0 | 0
41 | 0.97562 | -0.47201 | 0.00347 | 0.00086967
42 | 0.97597 | -0.465 | 0 | 0
43 | 0.97597 | -0.46503 | 0.00028668 | 7.1848e-05
44 | 0.97597 | -0.46518 | 0.00080936 | 0.00020284
45 | 0.97865 | -0.41236 | 0.00013896 | 3.4826e-05
46 | 0.97865 | -0.41241 | 0.00016111 | 4.0378e-05
47 | 0.97865 | -0.41228 | 0.00060094 | 0.00015061
48 | 0.97864 | -0.41262 | 0 | 0
49 | 0.9787 | -0.4114 | 0.00035546 | 8.9087e-05
50 | 0.97863 | -0.41273 | 0.00029938 | 7.5032e-05
51 | 0.9787 | -0.41136 | 0.00030846 | 7.7309e-05
52 | 0.97862 | -0.41289 | 0.00031855 | 7.9836e-05
53 | 0.97538 | -0.47666 | 0 | 0
54 | 0.97597 | -0.46509 | 0.00017739 | 4.4458e-05
55 | 0.97523 | -0.47971 | 0 | 0
56 | 0.9752 | -0.48019 | 0.00068522 | 0.00017173
57 | 0.97527 | -0.47892 | 0 | 0
58 | 0.97537 | -0.47687 | 0.00041563 | 0.00010417
59 | 0.97537 | -0.47699 | 0.00042162 | 0.00010567
60 | 0.97521 | -0.48013 | 0.0010018 | 0.00025109
61 | 0.97518 | -0.48059 | 0.00044791 | 0.00011226
62 | 0.9752 | -0.48021 | 0.0001971 | 4.9398e-05
63 | 0.97516 | -0.48103 | 0.00032404 | 8.1213e-05
64 | 0.97516 | -0.48108 | 0.00018626 | 4.6682e-05
65 | 0.97512 | -0.48192 | 0 | 0
66 | 0.97508 | -0.48257 | 0.0010415 | 0.00026101
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014334 | -0.0036068 | 0.014337 | 0.0036083 | 2.5999e-06 | 1.4777e-06 | 0.021714 | 0.021714 | 0.021714 | 0.98253 | -0.3365 | 0.98272 | -0.3327 | 5.9653
1 | 0.013078 | 0.003292 | -0.013075 | -0.0032905 | 2.7274e-06 | 1.5109e-06 | 0.019811 | 0.019811 | 0.019811 | 0.98253 | -0.3365 | 0.9823 | -0.34086 | 5.4427
2 | -0.014337 | -0.0036083 | 0.014337 | 0.0036083 | 1.9348e-09 | 1.0958e-09 | 0.021714 | 0.021714 | 0.021714 | 0.98272 | -0.3327 | 0.98272 | -0.3327 | 5.9653
3 | 0.013075 | 0.0032905 | -0.013032 | -0.0032666 | 4.3154e-05 | 2.392e-05 | 0.019811 | 0.019813 | 0.019813 | 0.9823 | -0.34086 | 0.97876 | -0.41014 | 5.443
4 | -0.014849 | -0.0037367 | 0.014853 | 0.003739 | 3.9896e-06 | 2.2867e-06 | 0.02249 | 0.022489 | 0.02249 | 0.98272 | -0.3327 | 0.98301 | -0.32708 | 6.1784
5 | 0.0025795 | 0.00064498 | -0.0025794 | -0.00064509 | 7.0717e-08 | -1.0889e-07 | 0.003921 | 0.0039211 | 0.0039211 | 0.97876 | -0.41014 | 0.97873 | -0.41072 | 1.0772
6 | 0.009937 | 0.0024924 | -0.0099367 | -0.0024922 | 3.2653e-07 | 1.6104e-07 | 0.015108 | 0.015108 | 0.015108 | 0.97876 | -0.41014 | 0.97873 | -0.41083 | 4.1506
7 | 0.0023397 | 0.00058502 | -0.0023397 | -0.00058512 | 4.6738e-08 | -9.3902e-08 | 0.0035567 | 0.0035567 | 0.0035567 | 0.97873 | -0.41072 | 0.97871 | -0.41114 | 0.97712
8 | 0.0098645 | 0.0024742 | -0.0098642 | -0.002474 | 3.7457e-07 | 1.8392e-07 | 0.014998 | 0.014998 | 0.014998 | 0.97873 | -0.41083 | 0.97869 | -0.41163 | 4.1204
9 | -0.014853 | -0.003739 | 0.014965 | 0.0038034 | 0.00011243 | 6.4378e-05 | 0.022489 | 0.022487 | 0.022489 | 0.98301 | -0.32708 | 0.99114 | -0.1699 | 6.1784
10 | -0.021508 | -0.0054431 | 0.021511 | 0.005445 | 3.0983e-06 | 1.8809e-06 | 0.032309 | 0.032309 | 0.032309 | 0.99114 | -0.1699 | 0.99129 | -0.1669 | 8.8761
11 | 0.002183 | 0.00054585 | -0.002183 | -0.0005459 | 2.3579e-08 | -5.6659e-08 | 0.0033185 | 0.0033185 | 0.0033185 | 0.97871 | -0.41114 | 0.9787 | -0.41136 | 0.91169
12 | -0.079696 | -0.01998 | 0.079945 | 0.020138 | 0.00024888 | 0.0001587 | 0.12034 | 0.12034 | 0.12034 | 0.98546 | -0.27952 | 0.98882 | -0.2142 | 33.0606
13 | 0.022051 | 0.0055324 | -0.022044 | -0.0055281 | 7.1418e-06 | 4.352e-06 | 0.033299 | 0.033299 | 0.033299 | 0.98546 | -0.27952 | 0.98511 | -0.28632 | 9.1481
14 | -0.079945 | -0.020138 | 0.080305 | 0.020368 | 0.00036009 | 0.0002296 | 0.12034 | 0.12034 | 0.12034 | 0.98882 | -0.2142 | 0.99368 | -0.12048 | 33.0606
15 | 0.022044 | 0.0055281 | -0.022036 | -0.005523 | 8.3765e-06 | 5.1046e-06 | 0.033299 | 0.033299 | 0.033299 | 0.98511 | -0.28632 | 0.9847 | -0.29429 | 9.1481
16 | 0.066532 | 0.01678 | -0.066258 | -0.016606 | 0.00027392 | 0.00017436 | 0.099667 | 0.099667 | 0.099667 | 0.99368 | -0.12048 | 0.98922 | -0.20687 | 27.3812
17 | -0.14684 | -0.037148 | 0.14769 | 0.037692 | 0.00085427 | 0.00054428 | 0.22001 | 0.22001 | 0.22001 | 0.99368 | -0.12048 | 1 | 0 | 30.2208
18 | 0.0088043 | 0.0022068 | -0.008803 | -0.0022062 | 1.362e-06 | 6.1072e-07 | 0.013305 | 0.013305 | 0.013305 | 0.9847 | -0.29429 | 0.98454 | -0.29754 | 3.6551
19 | 0.018438 | 0.0046321 | -0.018406 | -0.004613 | 3.2239e-05 | 1.9138e-05 | 0.02744 | 0.027441 | 0.027441 | 1 | 0 | 0.99809 | -0.036701 | 7.5387
20 | 0.058638 | 0.014905 | -0.058411 | -0.014761 | 0.00022696 | 0.00014422 | 0.087328 | 0.087329 | 0.087329 | 1 | 0 | 0.99577 | -0.080707 | 23.9914
21 | 0.010784 | 0.0027029 | -0.010782 | -0.002702 | 1.7371e-06 | 8.7973e-07 | 0.016114 | 0.016115 | 0.016115 | 0.99577 | -0.080707 | 0.9956 | -0.084089 | 4.4271
22 | 0.047627 | 0.012058 | -0.047578 | -0.012027 | 4.9152e-05 | 3.1121e-05 | 0.071214 | 0.071214 | 0.071214 | 0.99577 | -0.080707 | 0.99465 | -0.10223 | 19.5644
23 | 0.00077075 | 0.000193 | -0.00077074 | -0.00019308 | 3.2616e-09 | -8.3151e-08 | 0.0011519 | 0.0011519 | 0.0011519 | 0.9956 | -0.084089 | 0.99559 | -0.084178 | 0.31646
24 | 0.00011412 | 2.8024e-05 | -0.00011412 | -2.8601e-05 | 4.8549e-10 | -5.769e-07 | 0.00017052 | 0.00017072 | 0.00017072 | 0.99465 | -0.10223 | 0.99465 | -0.10232 | 0.046902
25 | 0.0021571 | 0.00053654 | -0.0021563 | -0.00053871 | 8.0864e-07 | -2.1706e-06 | 0.0032256 | 0.0032265 | 0.0032265 | 0.99465 | -0.10223 | 0.99424 | -0.11013 | 0.88641
26 | 0.045307 | 0.011462 | -0.045167 | -0.011374 | 0.00014013 | 8.863e-05 | 0.067818 | 0.067819 | 0.067819 | 0.99465 | -0.10223 | 0.99129 | -0.1669 | 18.6315
27 | 0.00016041 | 4.012e-05 | -0.00016041 | -4.0203e-05 | 1.3731e-10 | -8.2745e-08 | 0.00023972 | 0.00023975 | 0.00023975 | 0.99559 | -0.084178 | 0.99559 | -0.084196 | 0.065866
28 | 0.0011328 | 0.00028287 | -0.0011328 | -0.00028322 | 3.0118e-08 | -3.4319e-07 | 0.0016951 | 0.0016952 | 0.0016952 | 0.99424 | -0.11013 | 0.99422 | -0.11069 | 0.46572
29 | 0.0010234 | 0.00025583 | -0.0010234 | -0.00025602 | 1.3296e-08 | -1.8753e-07 | 0.0015315 | 0.0015315 | 0.0015315 | 0.99424 | -0.11013 | 0.99423 | -0.1104 | 0.42075
30 | 0.00032509 | 8.0997e-05 | -0.00032508 | -8.1473e-05 | 3.2758e-09 | -4.7659e-07 | 0.00048638 | 0.00048655 | 0.00048655 | 0.99422 | -0.11069 | 0.9942 | -0.1109 | 0.13367
31 | 0.00080773 | 0.00020222 | -0.00080772 | -0.00020243 | 9.2428e-09 | -2.128e-07 | 0.0012088 | 0.0012089 | 0.0012089 | 0.99422 | -0.11069 | 0.9942 | -0.11093 | 0.33212
32 | 0.00043779 | 0.00010925 | -0.00043779 | -0.00010936 | 1.433e-09 | -1.1457e-07 | 0.00065506 | 0.0006551 | 0.0006551 | 0.99423 | -0.1104 | 0.99423 | -0.11047 | 0.17997
33 | -0.00018586 | -4.6467e-05 | 0.00018586 | 4.6429e-05 | 8.5326e-11 | -3.8098e-08 | 0.00027813 | 0.00027812 | 0.00027813 | 0.99422 | -0.11053 | 0.99422 | -0.11052 | 0.076411
34 | 0.00018586 | 4.6467e-05 | -0.00018586 | -4.6582e-05 | 2.5784e-10 | -1.1508e-07 | 0.00027813 | 0.00027818 | 0.00027818 | 0.99422 | -0.11053 | 0.99422 | -0.11056 | 0.076422
35 | -0.00018586 | -4.6429e-05 | 0.00018586 | 4.6223e-05 | 4.5971e-10 | -2.0529e-07 | 0.00027812 | 0.00027805 | 0.00027812 | 0.99422 | -0.11052 | 0.99423 | -0.11047 | 0.076407
36 | 0.0097463 | 0.0024444 | -0.0097448 | -0.0024437 | 1.4732e-06 | 7.1811e-07 | 0.014819 | 0.014819 | 0.014819 | 0.97869 | -0.41163 | 0.97853 | -0.4148 | 4.0712
37 | 0.0097448 | 0.0024437 | -0.0097425 | -0.0024426 | 2.3501e-06 | 1.1457e-06 | 0.014819 | 0.014819 | 0.014819 | 0.97853 | -0.4148 | 0.97827 | -0.41986 | 4.0712
38 | 0.0094895 | 0.0023792 | -0.0094786 | -0.0023739 | 1.0901e-05 | 5.2272e-06 | 0.014435 | 0.014435 | 0.014435 | 0.97827 | -0.41986 | 0.97704 | -0.44399 | 3.9657
39 | 0.0094786 | 0.0023739 | -0.0094695 | -0.0023696 | 9.0616e-06 | 4.3486e-06 | 0.014435 | 0.014436 | 0.014436 | 0.97704 | -0.44399 | 0.97602 | -0.46408 | 3.9658
40 | 0.0012735 | 0.00031829 | -0.0012734 | -0.00031875 | 5.5217e-08 | -4.5294e-07 | 0.0019412 | 0.0019414 | 0.0019414 | 0.97602 | -0.46408 | 0.97597 | -0.465 | 0.53335
41 | 0.008196 | 0.0020513 | -0.0081941 | -0.0020505 | 1.9106e-06 | 8.1501e-07 | 0.012494 | 0.012495 | 0.012495 | 0.97602 | -0.46408 | 0.97577 | -0.46898 | 3.4326
42 | 0.0081941 | 0.0020505 | -0.0081929 | -0.00205 | 1.1803e-06 | 5.0358e-07 | 0.012495 | 0.012495 | 0.012495 | 0.97577 | -0.46898 | 0.97562 | -0.47201 | 3.4326
43 | 0.0047229 | 0.0011803 | -0.0047219 | -0.0011803 | 1.0442e-06 | -1.8606e-09 | 0.0072022 | 0.0072025 | 0.0072025 | 0.97562 | -0.47201 | 0.97538 | -0.47666 | 1.9787
44 | 0.00046407 | 0.00011605 | -0.00046406 | -0.00011611 | 8.3837e-10 | -5.5285e-08 | 0.00070744 | 0.00070746 | 0.00070746 | 0.97597 | -0.465 | 0.97597 | -0.46503 | 0.19436
45 | 0.00080936 | 0.0002027 | -0.00080936 | -0.00020284 | 6.9522e-09 | -1.477e-07 | 0.0012339 | 0.001234 | 0.001234 | 0.97597 | -0.465 | 0.97597 | -0.46518 | 0.33901
46 | 0.00017739 | 4.4259e-05 | -0.00017739 | -4.4458e-05 | 4.3642e-10 | -1.9859e-07 | 0.00027039 | 0.00027046 | 0.00027046 | 0.97597 | -0.46503 | 0.97597 | -0.46509 | 0.074301
47 | 0.00077905 | 0.0001945 | -0.00077905 | -0.00019454 | 1.7735e-09 | -4.1235e-08 | 0.0011843 | 0.0011843 | 0.0011843 | 0.97865 | -0.41236 | 0.97865 | -0.41241 | 0.32535
48 | -0.00091801 | -0.00022933 | 0.00091802 | 0.00022927 | 3.6869e-09 | -6.1073e-08 | 0.0013956 | 0.0013955 | 0.0013956 | 0.97865 | -0.41236 | 0.97865 | -0.41228 | 0.38339
49 | 0.00061794 | 0.00015416 | -0.00061794 | -0.00015439 | 6.1333e-09 | -2.2897e-07 | 0.00093932 | 0.0009394 | 0.0009394 | 0.97865 | -0.41241 | 0.97864 | -0.41262 | 0.25808
50 | -0.001519 | -0.00037988 | 0.001519 | 0.00037952 | 6.325e-08 | -3.5699e-07 | 0.0023092 | 0.0023091 | 0.0023092 | 0.97865 | -0.41228 | 0.9787 | -0.4114 | 0.63441
51 | 0.00061794 | 0.00015439 | -0.00061793 | -0.00015451 | 3.1578e-09 | -1.1787e-07 | 0.0009394 | 0.00093944 | 0.00093944 | 0.97864 | -0.41262 | 0.97863 | -0.41273 | 0.25809
52 | -0.0018745 | -0.00046861 | 0.0018745 | 0.0004686 | 3.4202e-09 | -1.1926e-08 | 0.0028495 | 0.0028495 | 0.0028495 | 0.9787 | -0.4114 | 0.9787 | -0.41136 | 0.78284
53 | 0.00031855 | 7.9479e-05 | -0.00031855 | -7.9836e-05 | 2.506e-09 | -3.5639e-07 | 0.00048423 | 0.00048436 | 0.00048436 | 0.97863 | -0.41273 | 0.97862 | -0.41289 | 0.13307
54 | 0.00083726 | 0.00020948 | -0.00083725 | -0.00020964 | 8.2839e-09 | -1.6372e-07 | 0.0012772 | 0.0012772 | 0.0012772 | 0.97538 | -0.47666 | 0.97537 | -0.47687 | 0.35089
55 | 0.0038846 | 0.00097083 | -0.0038842 | -0.00097096 | 4.1792e-07 | -1.2867e-07 | 0.0059253 | 0.0059254 | 0.0059254 | 0.97538 | -0.47666 | 0.97527 | -0.47892 | 1.6279
56 | 0.00088234 | 0.00022071 | -0.00088232 | -0.00022106 | 2.0212e-08 | -3.5814e-07 | 0.0013461 | 0.0013463 | 0.0013463 | 0.97523 | -0.47971 | 0.9752 | -0.48019 | 0.36985
57 | -0.00088234 | -0.00022071 | 0.00088237 | 0.00022012 | 3.307e-08 | -5.862e-07 | 0.0013461 | 0.0013459 | 0.0013461 | 0.97523 | -0.47971 | 0.97527 | -0.47892 | 0.36981
58 | 0.0001971 | 4.9333e-05 | -0.0001971 | -4.9398e-05 | 1.7591e-10 | -6.46e-08 | 0.00030072 | 0.00030074 | 0.00030074 | 0.9752 | -0.48019 | 0.9752 | -0.48021 | 0.082622
59 | 0.0030018 | 0.00075084 | -0.0030017 | -0.000751 | 1.723e-07 | -1.6309e-07 | 0.0045795 | 0.0045796 | 0.0045796 | 0.97527 | -0.47892 | 0.97521 | -0.48013 | 1.2581
60 | 0.00042163 | 0.00010548 | -0.00042162 | -0.00010567 | 2.4082e-09 | -1.9221e-07 | 0.00064316 | 0.00064323 | 0.00064323 | 0.97537 | -0.47687 | 0.97537 | -0.47699 | 0.17671
61 | 0.0019998 | 0.00049992 | -0.0019998 | -0.00050004 | 4.3458e-08 | -1.2751e-07 | 0.003051 | 0.003051 | 0.003051 | 0.97521 | -0.48013 | 0.97518 | -0.48059 | 0.83819
62 | 0.0015519 | 0.00038779 | -0.0015518 | -0.00038796 | 3.2749e-08 | -1.7341e-07 | 0.0023676 | 0.0023676 | 0.0023676 | 0.97518 | -0.48059 | 0.97516 | -0.48103 | 0.65045
63 | 0.0012278 | 0.00030675 | -0.0012278 | -0.00030677 | 2.504e-09 | -2.2139e-08 | 0.0018732 | 0.0018732 | 0.0018732 | 0.97516 | -0.48103 | 0.97516 | -0.48108 | 0.51461
64 | 0.0010415 | 0.00026009 | -0.0010415 | -0.00026061 | 4.1713e-08 | -5.2285e-07 | 0.001589 | 0.0015892 | 0.0015892 | 0.97516 | -0.48108 | 0.97512 | -0.48192 | 0.43658
65 | 0.0010415 | 0.00026061 | -0.0010415 | -0.00026101 | 3.2109e-08 | -4.0234e-07 | 0.0015892 | 0.0015893 | 0.0015893 | 0.97512 | -0.48192 | 0.97508 | -0.48257 | 0.43662

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22642 | 0.05723

## res_load
| p_mw | q_mvar
0 | 0.0012562 | 0.00031484
1 | 0.00051239 | 0.00012842
2 | 0.00051543 | 0.00012918
3 | 0.00023969 | 6.0072e-05
4 | 7.2153e-05 | 1.8083e-05
5 | 0.0065425 | 0.0016397
6 | 0.00015668 | 3.9268e-05
7 | 0.057645 | 0.014447
8 | 0.013231 | 0.0033161
9 | 0.018406 | 0.004613
10 | 0.010011 | 0.002509
11 | 0.066258 | 0.016606
12 | 0.008803 | 0.0022062
13 | 0.00061033 | 0.00015296
14 | 0.00016041 | 4.0203e-05
15 | 0.023656 | 0.0059287
16 | 0.00011412 | 2.8601e-05
17 | 0.00058562 | 0.00014677
18 | 0.00080772 | 0.00020243
19 | 0.00032508 | 8.1473e-05
20 | 0.00018586 | 4.6582e-05
21 | 0.00025193 | 6.3139e-05
22 | 0.00011789 | 2.9547e-05
23 | 0.00025297 | 6.3401e-05
24 | 0.00347 | 0.00086967
25 | 0.00028668 | 7.1848e-05
26 | 0.00080936 | 0.00020284
27 | 0.00013896 | 3.4826e-05
28 | 0.00016111 | 4.0378e-05
29 | 0.00060094 | 0.00015061
30 | 0.00035546 | 8.9087e-05
31 | 0.00029938 | 7.5032e-05
32 | 0.00030846 | 7.7309e-05
33 | 0.00031855 | 7.9836e-05
34 | 0.00017739 | 4.4458e-05
35 | 0.00068522 | 0.00017173
36 | 0.00041563 | 0.00010417
37 | 0.00042162 | 0.00010567
38 | 0.0010018 | 0.00025109
39 | 0.00044791 | 0.00011226
40 | 0.0001971 | 4.9398e-05
41 | 0.00032404 | 8.1213e-05
42 | 0.00018626 | 4.6682e-05
43 | 0.0010415 | 0.00026101

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1