## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_117-10_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_117-10_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_117-10_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_117-10_0_6_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_117-10_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_117-10_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_117-10_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_117-10_0_6_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_117-10_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_117-10_0_6_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_117-10_0_6_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_117-10_0_6_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_117-10_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_117-10_0_6_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_117-10_0_6_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_117-10_0_6_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_117-10_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_117-10_0_6_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_117-10_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_117-10_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_117-10_0_6_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_117-10_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_117-10_0_6_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_117-10_0_6_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_117-10_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_117-10_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_117-10_0_6_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_117-10_0_6_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_117-10_0_6_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_117-10_0_6_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_117-10_0_6_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_117-10_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_117-10_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_117-10_0_6_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_117-10_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_117-10_0_6_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_117-10_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_117-10_0_6_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_117-10_0_6_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_117-10_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_117-10_0_6_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_117-10_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_117-10_0_6_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_117-10_0_6_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_117-10_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_117-10_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_117-10_0_6_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_117-10_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_117-10_0_6_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_117-10_0_6_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_117-10_0_6_node_43 | 0.4 | n |  | TRUE
51 | bus_MV_8_0_node_147 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_117-10_0_6_load_0 | 0 | 0.027592 | 0.0069153 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_117-10_0_6_load_18 | 3 | 0.011588 | 0.0029043 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_117-10_0_6_load_3 | 5 | 0.0049851 | 0.0012494 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_117-10_0_6_load_4 | 6 | 0.016651 | 0.0041731 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_117-10_0_6_load_37 | 11 | 0.014709 | 0.0036865 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_117-10_0_6_load_49 | 14 | 0.0098868 | 0.0024779 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_117-10_0_6_load_47 | 15 | 0.0077949 | 0.0019536 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_117-10_0_6_load_19 | 20 | 0.0013073 | 0.00032764 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_117-10_0_6_load_44 | 22 | 0.0020794 | 0.00052116 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_117-10_0_6_load_22 | 23 | 0.0065476 | 0.001641 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_117-10_0_6_load_17 | 25 | 0.025535 | 0.0063998 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_117-10_0_6_load_27 | 26 | 0.0016194 | 0.00040585 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_117-10_0_6_load_36 | 27 | 0.040379 | 0.01012 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_117-10_0_6_load_51 | 28 | 0.036848 | 0.0092349 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_117-10_0_6_load_46 | 30 | 0.038641 | 0.0096844 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_117-10_0_6_load_25 | 31 | 0.023057 | 0.0057787 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_117-10_0_6_load_20 | 34 | 0.071504 | 0.017921 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_117-10_0_6_load_21 | 35 | 0.050926 | 0.012763 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_117-10_0_6_load_40 | 37 | 0.011557 | 0.0028964 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_117-10_0_6_load_52 | 38 | 0.026655 | 0.0066804 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_117-10_0_6_load_26 | 40 | 0.062233 | 0.015597 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_117-10_0_6_load_30 | 42 | 0.020216 | 0.0050666 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_117-10_0_6_load_31 | 43 | 0.00033374 | 8.3643e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_117-10_0_6_load_33 | 45 | 0.0009341 | 0.00023411 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_117-10_0_6_load_34 | 46 | 0.00024698 | 6.19e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_117-10_0_6_load_41 | 47 | 0.0011924 | 0.00029883 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_117-10_0_6_load_42 | 48 | 0.0012774 | 0.00032015 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_117-10_0_6_load_43 | 50 | 0.0010615 | 0.00026603 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_117-10_0_6_line_0 |  | 0 | 1 | 0.079366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_117-10_0_6_line_1 |  | 1 | 2 | 0.069622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_117-10_0_6_line_2 |  | 2 | 3 | 0.038569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_117-10_0_6_line_3 |  | 3 | 4 | 0.010824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_117-10_0_6_line_4 |  | 4 | 7 | 0.026878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_117-10_0_6_line_5 |  | 4 | 6 | 0.012063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_117-10_0_6_line_6 |  | 5 | 6 | 0.010048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_117-10_0_6_line_7 |  | 7 | 25 | 0.041504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_117-10_0_6_line_8 |  | 7 | 24 | 0.086797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_117-10_0_6_line_9 |  | 8 | 9 | 0.028786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_117-10_0_6_line_10 |  | 8 | 10 | 0.019948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_117-10_0_6_line_11 |  | 8 | 11 | 0.031872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_117-10_0_6_line_12 |  | 9 | 15 | 0.032992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_117-10_0_6_line_13 |  | 10 | 26 | 0.01108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_117-10_0_6_line_14 |  | 11 | 27 | 0.037042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_117-10_0_6_line_15 |  | 12 | 13 | 0.038244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_117-10_0_6_line_16 |  | 12 | 14 | 0.11191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_117-10_0_6_line_17 |  | 13 | 28 | 0.032852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_117-10_0_6_line_18 |  | 13 | 29 | 0.018636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_117-10_0_6_line_19 |  | 14 | 24 | 0.055597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_117-10_0_6_line_20 |  | 16 | 17 | 0.033045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_117-10_0_6_line_21 |  | 16 | 18 | 0.31155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_117-10_0_6_line_22 |  | 17 | 30 | 0.014876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_117-10_0_6_line_23 |  | 18 | 19 | 0.071524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_117-10_0_6_line_24 |  | 19 | 20 | 0.011302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_117-10_0_6_line_25 |  | 21 | 22 | 0.061569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_117-10_0_6_line_26 |  | 21 | 23 | 0.048163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_117-10_0_6_line_27 |  | 22 | 33 | 0.049344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_117-10_0_6_line_28 |  | 23 | 34 | 0.062669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_117-10_0_6_line_29 |  | 26 | 40 | 0.01025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_117-10_0_6_line_30 |  | 27 | 39 | 0.039062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_117-10_0_6_line_31 |  | 29 | 38 | 0.06428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_117-10_0_6_line_32 |  | 29 | 36 | 0.036897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_117-10_0_6_line_33 |  | 30 | 49 | 0.099371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_117-10_0_6_line_34 |  | 31 | 32 | 0.050128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_117-10_0_6_line_35 |  | 32 | 36 | 0.033042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_117-10_0_6_line_36 |  | 32 | 35 | 0.010031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_117-10_0_6_line_37 |  | 33 | 46 | 0.06935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_117-10_0_6_line_38 |  | 34 | 35 | 0.081213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_117-10_0_6_line_39 |  | 36 | 37 | 0.037531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_117-10_0_6_line_40 |  | 37 | 39 | 0.045187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_117-10_0_6_line_41 |  | 39 | 49 | 0.004246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_117-10_0_6_line_42 |  | 40 | 41 | 0.036528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_117-10_0_6_line_43 |  | 41 | 42 | 0.011353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_117-10_0_6_line_44 |  | 43 | 44 | 0.032318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_117-10_0_6_line_45 |  | 44 | 45 | 0.04119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_117-10_0_6_line_46 |  | 44 | 46 | 0.0050216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_117-10_0_6_line_47 |  | 45 | 47 | 0.0008529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_117-10_0_6_line_48 |  | 47 | 48 | 0.041178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_117-10_0_6_line_49 |  | 48 | 50 | 0.0030768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_117-10_0_6_trafo_50 | 0.63 MVA 20/0.4 kV | 51 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2705119.487 | 1240414.4448 | 2705116.8072 | 1240427.8077 | 2705117.8065 | 1240493.5374
1 | 2705119.487 | 1240414.4448 | 2705120.1056 | 1240411.5424 | 2705123.0732 | 1240398.5849 | 2705123.8209 | 1240394.8063 | 2705126.677 | 1240380.4568 | 2705127.366 | 1240376.9997 | 2705130.0391 | 1240363.5922 | 2705134.2392 | 1240358.7628 | 2705137.2756 | 1240347.8971
2 | 2705137.2756 | 1240347.8971 | 2705142.2615 | 1240335.0087 | 2705145.121 | 1240329.0103 | 2705150.4218 | 1240311.6991
3 | 2705153.5908 | 1240301.3499 | 2705150.4218 | 1240311.6991
4 | 2705153.5908 | 1240301.3499 | 2705145.0238 | 1240288.8329 | 2705140.4272 | 1240278.0432
5 | 2705153.5908 | 1240301.3499 | 2705157.4058 | 1240304.5978 | 2705162.8906 | 1240309.0314
6 | 2705170.7236 | 1240315.325 | 2705168.4044 | 1240313.4884 | 2705162.8906 | 1240309.0314
7 | 2705140.4272 | 1240278.0432 | 2705134.6091 | 1240280.6978 | 2705124.5626 | 1240286.7913 | 2705121.7518 | 1240296.449 | 2705115.9622 | 1240302.6179 | 2705111.3013 | 1240303.9234
8 | 2705140.4272 | 1240278.0432 | 2705134.4002 | 1240263.8921 | 2705130.6185 | 1240249.8032 | 2705146.7059 | 1240244.7063 | 2705144.5241 | 1240238.0736 | 2705147.4134 | 1240235.0892 | 2705148.416 | 1240230.1587 | 2705148.7815 | 1240221.0581 | 2705148.9478 | 1240217.2247 | 2705151.9179 | 1240215.6539 | 2705154.5456 | 1240208.6506
9 | 2705464.8685 | 1240126.9915 | 2705459.0521 | 1240132.0922 | 2705453.4664 | 1240136.9745 | 2705447.9976 | 1240141.2363 | 2705442.3279 | 1240144.894
10 | 2705460.5476 | 1240111.3582 | 2705468.6809 | 1240119.32 | 2705464.8685 | 1240126.9915
11 | 2705464.8685 | 1240126.9915 | 2705459.6255 | 1240126.6426 | 2705453.8198 | 1240124.3265 | 2705441.1914 | 1240108.347
12 | 2705442.3279 | 1240144.894 | 2705439.626 | 1240146.2581 | 2705422.1148 | 1240153.1303 | 2705412.5967 | 1240158.9455
13 | 2705460.5476 | 1240111.3582 | 2705464.5492 | 1240104.9577 | 2705466.6074 | 1240102.0878
14 | 2705417.4066 | 1240080.0063 | 2705418.6396 | 1240080.9571 | 2705431.8049 | 1240096.4695 | 2705441.1914 | 1240108.347
15 | 2705312.5581 | 1240123.8967 | 2705317.4048 | 1240138.9054 | 2705319.6997 | 1240146.83 | 2705319.9088 | 1240152.0934 | 2705318.0147 | 1240156.1073 | 2705314.5146 | 1240158.9808
16 | 2705314.5146 | 1240158.9808 | 2705207.6423 | 1240192.1642
17 | 2705312.5581 | 1240123.8967 | 2705343.843 | 1240113.8699
18 | 2705312.5581 | 1240123.8967 | 2705306.8295 | 1240106.1591
19 | 2705154.5456 | 1240208.6506 | 2705207.6423 | 1240192.1642
20 | 2705412.1404 | 1239983.9998 | 2705411.5698 | 1239985.8912 | 2705409.3502 | 1239988.2091 | 2705405.332 | 1239991.2846 | 2705403.8752 | 1239993.238 | 2705400.6053 | 1239993.7915 | 2705396.7623 | 1240010.4251
21 | 2705503.9744 | 1239908.7393 | 2705504.8127 | 1239904.5621 | 2705505.9776 | 1239893.4964 | 2705526.6384 | 1239895.4429 | 2705546.4034 | 1239897.5736 | 2705547.3528 | 1239897.7795 | 2705549.1794 | 1239898.8462 | 2705551.7612 | 1239900.8381 | 2705546.9419 | 1239908.9698 | 2705540.6034 | 1239962.1094 | 2705532.7892 | 1239993.6061 | 2705537.1175 | 1239994.3614 | 2705537.2824 | 1239993.597 | 2705538.8371 | 1239990.3889 | 2705545.322 | 1239990.2485 | 2705546.0781 | 1239990.2619 | 2705546.0146 | 1239986.6024 | 2705539.6931 | 1239987.7687 | 2705513.0419 | 1239985.8269 | 2705468.5387 | 1239983.5121 | 2705430.2446 | 1239983.3764 | 2705412.1404 | 1239983.9998
22 | 2705396.7623 | 1240010.4251 | 2705382.4162 | 1240006.4913
23 | 2705503.9744 | 1239908.7393 | 2705456.6949 | 1239905.1299 | 2705432.4565 | 1239903.1757
24 | 2705432.4565 | 1239903.1757 | 2705431.3836 | 1239914.427
25 | 2705087.1946 | 1240111.9387 | 2705028.5867 | 1240130.8017
26 | 2705087.1946 | 1240111.9387 | 2705090.3284 | 1240110.949 | 2705133.1368 | 1240097.4837
27 | 2704981.6152 | 1240145.9195 | 2705028.5867 | 1240130.8017
28 | 2705133.1368 | 1240097.4837 | 2705139.1223 | 1240095.6009 | 2705192.6324 | 1240078.769 | 2705192.9182 | 1240078.6812
29 | 2705466.6074 | 1240102.0878 | 2705468.6832 | 1240099.1933 | 2705472.2426 | 1240093.5308
30 | 2705382.219 | 1240066.0879 | 2705393.3838 | 1240066.4864 | 2705405.7534 | 1240071.0206 | 2705417.4066 | 1240080.0063
31 | 2705368.2468 | 1240086.6225 | 2705306.8295 | 1240106.1591
32 | 2705300.0106 | 1240070.1547 | 2705300.0441 | 1240077.2163 | 2705301.0835 | 1240086.8422 | 2705302.1255 | 1240090.3523 | 2705306.8295 | 1240106.1591
33 | 2705380.3046 | 1240062.2954 | 2705359.8585 | 1240053.826 | 2705357.7687 | 1240049.2631 | 2705350.7657 | 1240017.6811 | 2705351.9278 | 1240011.0187 | 2705354.5481 | 1240007.0066 | 2705358.3573 | 1240005.473 | 2705378.2904 | 1240005.36 | 2705382.4162 | 1240006.4913
34 | 2705277.5812 | 1240046.4274 | 2705279.3031 | 1240040.609 | 2705304.4564 | 1240020.395 | 2705314.3646 | 1240014.0028
35 | 2705277.5812 | 1240046.4274 | 2705284.1491 | 1240050.1245 | 2705300.0106 | 1240070.1547
36 | 2705277.5812 | 1240046.4274 | 2705271.9159 | 1240047.2721 | 2705268.2735 | 1240049.5634
37 | 2704981.6152 | 1240145.9195 | 2705003.2373 | 1240211.8129
38 | 2705192.9182 | 1240078.6812 | 2705221.2664 | 1240069.9696 | 2705240.973 | 1240064.27 | 2705259.9678 | 1240054.7883 | 2705268.2735 | 1240049.5634
39 | 2705300.0106 | 1240070.1547 | 2705320.2443 | 1240072.6933 | 2705337.2901 | 1240070.9119
40 | 2705382.219 | 1240066.0879 | 2705366.7198 | 1240067.8364 | 2705337.2901 | 1240070.9119
41 | 2705380.3046 | 1240062.2954 | 2705382.219 | 1240066.0879
42 | 2705465.0969 | 1240063.9356 | 2705477.9042 | 1240077.4625 | 2705478.4989 | 1240083.5778 | 2705472.2426 | 1240093.5308
43 | 2705465.0969 | 1240063.9356 | 2705470.6793 | 1240054.0501
44 | 2705004.8029 | 1240216.5842 | 2705014.0966 | 1240247.5374
45 | 2705004.8029 | 1240216.5842 | 2704965.6757 | 1240229.4571
46 | 2705004.8029 | 1240216.5842 | 2705003.2373 | 1240211.8129
47 | 2704964.8655 | 1240229.7237 | 2704965.6757 | 1240229.4571
48 | 2704964.8655 | 1240229.7237 | 2704936.5825 | 1240239.0288 | 2704928.4826 | 1240247.0558
49 | 2704926.2971 | 1240249.2216 | 2704928.4826 | 1240247.0558

## bus_geodata
| x | y | coords
0 | 2705117.8065 | 1240493.5374
1 | 2705119.487 | 1240414.4448
2 | 2705137.2756 | 1240347.8971
3 | 2705150.4218 | 1240311.6991
4 | 2705153.5908 | 1240301.3499
5 | 2705170.7236 | 1240315.325
6 | 2705162.8906 | 1240309.0314
7 | 2705140.4272 | 1240278.0432
8 | 2705464.8685 | 1240126.9915
9 | 2705442.3279 | 1240144.894
10 | 2705460.5476 | 1240111.3582
11 | 2705441.1914 | 1240108.347
12 | 2705314.5146 | 1240158.9808
13 | 2705312.5581 | 1240123.8967
14 | 2705207.6423 | 1240192.1642
15 | 2705412.5967 | 1240158.9455
16 | 2705412.1404 | 1239983.9998
17 | 2705396.7623 | 1240010.4251
18 | 2705503.9744 | 1239908.7393
19 | 2705432.4565 | 1239903.1757
20 | 2705431.3836 | 1239914.427
21 | 2705087.1946 | 1240111.9387
22 | 2705028.5867 | 1240130.8017
23 | 2705133.1367 | 1240097.4837
24 | 2705154.5456 | 1240208.6506
25 | 2705111.3013 | 1240303.9234
26 | 2705466.6074 | 1240102.0878
27 | 2705417.4066 | 1240080.0063
28 | 2705343.843 | 1240113.8699
29 | 2705306.8295 | 1240106.1591
30 | 2705382.4162 | 1240006.4913
31 | 2705314.3646 | 1240014.0028
32 | 2705277.5812 | 1240046.4274
33 | 2704981.6152 | 1240145.9195
34 | 2705192.9182 | 1240078.6812
35 | 2705268.2735 | 1240049.5634
36 | 2705300.0106 | 1240070.1547
37 | 2705337.2901 | 1240070.9119
38 | 2705368.2468 | 1240086.6225
39 | 2705382.219 | 1240066.0879
40 | 2705472.2426 | 1240093.5308
41 | 2705465.0969 | 1240063.9356
42 | 2705470.6793 | 1240054.0501
43 | 2705014.0966 | 1240247.5374
44 | 2705004.8029 | 1240216.5842
45 | 2704965.6757 | 1240229.4571
46 | 2705003.2373 | 1240211.8129
47 | 2704964.8655 | 1240229.7237
48 | 2704928.4826 | 1240247.0558
49 | 2705380.3046 | 1240062.2954
50 | 2704926.2971 | 1240249.2216
51 | 2705306.8295 | 1240106.1591

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97003 | -0.57756 | 0.027592 | 0.0069153
1 | 0.97208 | -0.53708 | 0 | 0
2 | 0.97388 | -0.5017 | 0 | 0
3 | 0.97487 | -0.48216 | 0.011588 | 0.0029043
4 | 0.97527 | -0.47439 | 0 | 0
5 | 0.97498 | -0.48009 | 0.0049851 | 0.0012494
6 | 0.97503 | -0.47917 | 0.016651 | 0.0041731
7 | 0.97679 | -0.44448 | 0 | 0
8 | 0.9798 | -0.38834 | 0 | 0
9 | 0.97959 | -0.39242 | 0 | 0
10 | 0.97824 | -0.41884 | 0 | 0
11 | 0.98252 | -0.33533 | 0.014709 | 0.0036865
12 | 0.99828 | -0.032136 | 0 | 0
13 | 1 | 0 | -0.52679 | -0.13461
14 | 0.98825 | -0.22243 | 0.0098868 | 0.0024779
15 | 0.97935 | -0.39709 | 0.0077949 | 0.0019536
16 | 0.98497 | -0.28825 | 0 | 0
17 | 0.98501 | -0.28747 | 0 | 0
18 | 0.9846 | -0.29562 | 0 | 0
19 | 0.98451 | -0.2973 | 0 | 0
20 | 0.9845 | -0.29757 | 0.0013073 | 0.00032764
21 | 0.98258 | -0.33529 | 0 | 0
22 | 0.98217 | -0.34322 | 0.0020794 | 0.00052116
23 | 0.9829 | -0.32909 | 0.0065476 | 0.001641
24 | 0.98378 | -0.30852 | 0 | 0
25 | 0.97581 | -0.46386 | 0.025535 | 0.0063998
26 | 0.97738 | -0.43582 | 0.0016194 | 0.00040585
27 | 0.98618 | -0.26432 | 0.040379 | 0.01012
28 | 0.9989 | -0.021122 | 0.036848 | 0.0092349
29 | 0.9978 | -0.041704 | 0 | 0
30 | 0.98503 | -0.28712 | 0.038641 | 0.0096844
31 | 0.99026 | -0.18608 | 0.023057 | 0.0057787
32 | 0.99132 | -0.16556 | 0 | 0
33 | 0.98194 | -0.34773 | 0 | 0
34 | 0.98369 | -0.31362 | 0.071504 | 0.017921
35 | 0.99007 | -0.18981 | 0.050926 | 0.012763
36 | 0.99374 | -0.11903 | 0 | 0
37 | 0.99144 | -0.16296 | 0.011557 | 0.0028964
38 | 0.99624 | -0.071747 | 0.026655 | 0.0066804
39 | 0.98884 | -0.21302 | 0 | 0
40 | 0.97659 | -0.45125 | 0.062233 | 0.015597
41 | 0.97591 | -0.46476 | 0 | 0
42 | 0.97569 | -0.46896 | 0.020216 | 0.0050666
43 | 0.98159 | -0.35469 | 0.00033374 | 8.3643e-05
44 | 0.9816 | -0.3545 | 0 | 0
45 | 0.98143 | -0.35783 | 0.0009341 | 0.00023411
46 | 0.98162 | -0.35406 | 0.00024698 | 6.19e-05
47 | 0.98143 | -0.35788 | 0.0011924 | 0.00029883
48 | 0.98134 | -0.35962 | 0.0012774 | 0.00032015
49 | 0.98868 | -0.21604 | 0 | 0
50 | 0.98133 | -0.35968 | 0.0010615 | 0.00026603
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.027592 | -0.0069153 | 0.027646 | 0.0069485 | 5.332e-05 | 3.3143e-05 | 0.042326 | 0.042326 | 0.042326 | 0.97003 | -0.57756 | 0.97208 | -0.53708 | 11.6281
1 | -0.027646 | -0.0069485 | 0.027693 | 0.0069775 | 4.6773e-05 | 2.907e-05 | 0.042326 | 0.042326 | 0.042326 | 0.97208 | -0.53708 | 0.97388 | -0.5017 | 11.628
2 | -0.027693 | -0.0069775 | 0.027719 | 0.0069936 | 2.591e-05 | 1.6102e-05 | 0.042326 | 0.042326 | 0.042326 | 0.97388 | -0.5017 | 0.97487 | -0.48216 | 11.628
3 | -0.039307 | -0.0098979 | 0.039321 | 0.0099072 | 1.4618e-05 | 9.2207e-06 | 0.060014 | 0.060014 | 0.060014 | 0.97487 | -0.48216 | 0.97527 | -0.47439 | 16.4872
4 | -0.060962 | -0.015333 | 0.06105 | 0.015388 | 8.7237e-05 | 5.5496e-05 | 0.093033 | 0.093033 | 0.093033 | 0.97527 | -0.47439 | 0.97679 | -0.44448 | 25.5585
5 | 0.021641 | 0.0054255 | -0.021636 | -0.0054225 | 4.932e-06 | 3.006e-06 | 0.033019 | 0.033019 | 0.033019 | 0.97527 | -0.47439 | 0.97503 | -0.47917 | 9.0713
6 | -0.0049851 | -0.0012494 | 0.0049853 | 0.0012494 | 2.1812e-07 | 1.4276e-08 | 0.0076082 | 0.0076082 | 0.0076082 | 0.97498 | -0.48009 | 0.97503 | -0.47917 | 2.0902
7 | 0.025559 | 0.0064144 | -0.025535 | -0.0063998 | 2.3599e-05 | 1.4584e-05 | 0.038939 | 0.038939 | 0.038939 | 0.97679 | -0.44448 | 0.97581 | -0.46386 | 10.6976
8 | -0.086609 | -0.021803 | 0.087176 | 0.022164 | 0.00056689 | 0.00036171 | 0.13197 | 0.13197 | 0.13197 | 0.97679 | -0.44448 | 0.98378 | -0.30852 | 36.256
9 | 0.0077982 | 0.0019549 | -0.0077967 | -0.0019543 | 1.5141e-06 | 6.0656e-07 | 0.011843 | 0.011843 | 0.011843 | 0.9798 | -0.38834 | 0.97959 | -0.39242 | 3.2537
10 | 0.084337 | 0.02124 | -0.084214 | -0.021162 | 0.00012279 | 7.8336e-05 | 0.12812 | 0.12812 | 0.12812 | 0.9798 | -0.38834 | 0.97824 | -0.41884 | 35.1978
11 | -0.092135 | -0.023195 | 0.09237 | 0.023345 | 0.00023414 | 0.00014945 | 0.13996 | 0.13996 | 0.13996 | 0.9798 | -0.38834 | 0.98252 | -0.33533 | 38.4514
12 | 0.0077967 | 0.0019543 | -0.0077949 | -0.0019536 | 1.7354e-06 | 6.954e-07 | 0.011843 | 0.011843 | 0.011843 | 0.97959 | -0.39242 | 0.97935 | -0.39709 | 3.2537
13 | 0.084214 | 0.021162 | -0.084146 | -0.021119 | 6.8204e-05 | 4.3511e-05 | 0.12812 | 0.12812 | 0.12812 | 0.97824 | -0.41884 | 0.97738 | -0.43582 | 35.1978
14 | -0.10708 | -0.027031 | 0.10744 | 0.027265 | 0.00036563 | 0.00023353 | 0.16224 | 0.16224 | 0.16224 | 0.98252 | -0.33533 | 0.98618 | -0.26432 | 44.5714
15 | -0.098331 | -0.025452 | 0.098485 | 0.02555 | 0.00015465 | 9.7975e-05 | 0.14686 | 0.14686 | 0.14686 | 0.99828 | -0.032136 | 1 | 0 | 20.1727
16 | 0.098331 | 0.025452 | -0.097425 | -0.024874 | 0.00090505 | 0.00057779 | 0.14686 | 0.14686 | 0.14686 | 0.99828 | -0.032136 | 0.98825 | -0.22243 | 40.3455
17 | 0.036885 | 0.0092582 | -0.036848 | -0.0092349 | 3.7118e-05 | 2.3325e-05 | 0.05489 | 0.05489 | 0.05489 | 1 | 0 | 0.9989 | -0.021122 | 15.0797
18 | 0.38977 | 0.099799 | -0.38898 | -0.099296 | 0.00078561 | 0.00050206 | 0.58073 | 0.58073 | 0.58073 | 1 | 0 | 0.9978 | -0.041704 | 53.1801
19 | 0.087539 | 0.022396 | -0.087176 | -0.022164 | 0.00036311 | 0.00023168 | 0.13197 | 0.13197 | 0.13197 | 0.98825 | -0.22243 | 0.98378 | -0.30852 | 36.2559
20 | -0.0013079 | -0.000323 | 0.0013079 | 0.00032261 | 4.8291e-08 | -3.8971e-07 | 0.0019742 | 0.001974 | 0.0019742 | 0.98497 | -0.28825 | 0.98501 | -0.28747 | 0.54235
21 | 0.0013079 | 0.000323 | -0.0013074 | -0.00032667 | 4.5565e-07 | -3.6723e-06 | 0.0019742 | 0.0019756 | 0.0019756 | 0.98497 | -0.28825 | 0.9846 | -0.29562 | 0.54274
22 | -0.0013079 | -0.00032261 | 0.001308 | 0.00032243 | 2.1737e-08 | -1.7544e-07 | 0.001974 | 0.0019739 | 0.001974 | 0.98501 | -0.28747 | 0.98503 | -0.28712 | 0.54231
23 | 0.0013074 | 0.00032667 | -0.0013073 | -0.00032751 | 1.047e-07 | -8.4258e-07 | 0.0019756 | 0.0019759 | 0.0019759 | 0.9846 | -0.29562 | 0.98451 | -0.2973 | 0.54282
24 | 0.0013073 | 0.00032751 | -0.0013073 | -0.00032764 | 1.6548e-08 | -1.3313e-07 | 0.0019759 | 0.0019759 | 0.0019759 | 0.98451 | -0.2973 | 0.9845 | -0.29757 | 0.54284
25 | 0.0071318 | 0.001786 | -0.0071291 | -0.0017851 | 2.693e-06 | 9.4402e-07 | 0.0108 | 0.0108 | 0.0108 | 0.98258 | -0.33529 | 0.98217 | -0.34322 | 2.9671
26 | -0.0071318 | -0.001786 | 0.0071339 | 0.0017868 | 2.1065e-06 | 7.3795e-07 | 0.0108 | 0.0108 | 0.0108 | 0.98258 | -0.33529 | 0.9829 | -0.32909 | 2.967
27 | 0.0050497 | 0.0012639 | -0.0050486 | -0.0012638 | 1.0829e-06 | 6.8694e-08 | 0.0076498 | 0.00765 | 0.00765 | 0.98217 | -0.34322 | 0.98194 | -0.34773 | 2.1016
28 | -0.013681 | -0.0034277 | 0.013692 | 0.0034334 | 1.0081e-05 | 5.6572e-06 | 0.020712 | 0.020712 | 0.020712 | 0.9829 | -0.32909 | 0.98369 | -0.31362 | 5.6901
29 | 0.082527 | 0.020713 | -0.082466 | -0.020674 | 6.069e-05 | 3.8713e-05 | 0.12565 | 0.12565 | 0.12565 | 0.97738 | -0.43582 | 0.97659 | -0.45125 | 34.5205
30 | -0.14782 | -0.037385 | 0.14819 | 0.037617 | 0.00036476 | 0.00023245 | 0.22317 | 0.22317 | 0.22317 | 0.98618 | -0.26432 | 0.98884 | -0.21302 | 30.6547
31 | 0.026693 | 0.006704 | -0.026655 | -0.0066804 | 3.8207e-05 | 2.3614e-05 | 0.039812 | 0.039813 | 0.039813 | 0.9978 | -0.041704 | 0.99624 | -0.071747 | 10.9375
32 | 0.36229 | 0.092592 | -0.36094 | -0.09173 | 0.0013495 | 0.00086221 | 0.54091 | 0.54092 | 0.54092 | 0.9978 | -0.041704 | 0.99374 | -0.11903 | 49.5344
33 | -0.039949 | -0.010007 | 0.040085 | 0.010092 | 0.00013571 | 8.5582e-05 | 0.060347 | 0.060346 | 0.060347 | 0.98503 | -0.28712 | 0.98868 | -0.21604 | 16.5788
34 | -0.023057 | -0.0057787 | 0.02308 | 0.0057925 | 2.2566e-05 | 1.3796e-05 | 0.034647 | 0.034647 | 0.034647 | 0.99026 | -0.18608 | 0.99132 | -0.16556 | 9.5184
35 | -0.15987 | -0.040334 | 0.16022 | 0.040561 | 0.00035703 | 0.00022765 | 0.24006 | 0.24006 | 0.24006 | 0.99132 | -0.16556 | 0.99374 | -0.11903 | 32.9753
36 | 0.13679 | 0.034541 | -0.13663 | -0.03444 | 0.00015872 | 0.00010145 | 0.20541 | 0.20541 | 0.20541 | 0.99132 | -0.16556 | 0.99007 | -0.18981 | 56.4322
37 | 0.0050486 | 0.0012638 | -0.0050471 | -0.0012637 | 1.522e-06 | 9.7107e-08 | 0.00765 | 0.0076503 | 0.0076503 | 0.98194 | -0.34773 | 0.98162 | -0.35406 | 2.1017
38 | -0.085195 | -0.021354 | 0.085701 | 0.021677 | 0.00050582 | 0.00032269 | 0.12888 | 0.12887 | 0.12888 | 0.98369 | -0.31362 | 0.99007 | -0.18981 | 35.4053
39 | 0.20071 | 0.051169 | -0.20029 | -0.050899 | 0.00042464 | 0.00027031 | 0.30086 | 0.30086 | 0.30086 | 0.99374 | -0.11903 | 0.99144 | -0.16296 | 27.5509
40 | 0.18873 | 0.048002 | -0.18828 | -0.047713 | 0.00045401 | 0.00028883 | 0.28351 | 0.28351 | 0.28351 | 0.99144 | -0.16296 | 0.98884 | -0.21302 | 25.9626
41 | 0.040091 | 0.010096 | -0.040085 | -0.010092 | 5.7984e-06 | 3.6565e-06 | 0.060346 | 0.060346 | 0.060346 | 0.98884 | -0.21302 | 0.98868 | -0.21604 | 16.5786
42 | 0.020233 | 0.005077 | -0.02022 | -0.0050691 | 1.3021e-05 | 7.8767e-06 | 0.030831 | 0.030831 | 0.030831 | 0.97659 | -0.45125 | 0.97591 | -0.46476 | 8.4702
43 | 0.02022 | 0.0050691 | -0.020216 | -0.0050666 | 4.0468e-06 | 2.4482e-06 | 0.030831 | 0.030831 | 0.030831 | 0.97591 | -0.46476 | 0.97569 | -0.46896 | 8.4702
44 | -0.00033374 | -8.3643e-05 | 0.00033374 | 8.3237e-05 | 3.1012e-09 | -4.0654e-07 | 0.00050592 | 0.00050578 | 0.00050592 | 0.98159 | -0.35469 | 0.9816 | -0.3545 | 0.13899
45 | 0.0044662 | 0.0011186 | -0.0044655 | -0.0011187 | 7.08e-07 | -6.7473e-08 | 0.0067701 | 0.0067703 | 0.0067703 | 0.9816 | -0.3545 | 0.98143 | -0.35783 | 1.86
46 | -0.0048 | -0.0012018 | 0.0048001 | 0.0012018 | 9.9689e-08 | 3.2189e-10 | 0.0072759 | 0.0072759 | 0.0072759 | 0.9816 | -0.3545 | 0.98162 | -0.35406 | 1.9989
47 | 0.0035314 | 0.00088457 | -0.0035314 | -0.00088457 | 9.1686e-09 | -4.9099e-09 | 0.0053541 | 0.0053541 | 0.0053541 | 0.98143 | -0.35783 | 0.98143 | -0.35788 | 1.4709
48 | 0.0023391 | 0.00058574 | -0.0023389 | -0.00058614 | 1.9421e-07 | -3.9601e-07 | 0.0035463 | 0.0035464 | 0.0035464 | 0.98143 | -0.35788 | 0.98134 | -0.35962 | 0.9743
49 | 0.0010615 | 0.00026599 | -0.0010615 | -0.00026603 | 2.989e-09 | -3.696e-08 | 0.0016095 | 0.0016095 | 0.0016095 | 0.98134 | -0.35962 | 0.98133 | -0.35968 | 0.44217

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52679 | 0.13461

## res_load
| p_mw | q_mvar
0 | 0.027592 | 0.0069153
1 | 0.011588 | 0.0029043
2 | 0.0049851 | 0.0012494
3 | 0.016651 | 0.0041731
4 | 0.014709 | 0.0036865
5 | 0.0098868 | 0.0024779
6 | 0.0077949 | 0.0019536
7 | 0.0013073 | 0.00032764
8 | 0.0020794 | 0.00052116
9 | 0.0065476 | 0.001641
10 | 0.025535 | 0.0063998
11 | 0.0016194 | 0.00040585
12 | 0.040379 | 0.01012
13 | 0.036848 | 0.0092349
14 | 0.038641 | 0.0096844
15 | 0.023057 | 0.0057787
16 | 0.071504 | 0.017921
17 | 0.050926 | 0.012763
18 | 0.011557 | 0.0028964
19 | 0.026655 | 0.0066804
20 | 0.062233 | 0.015597
21 | 0.020216 | 0.0050666
22 | 0.00033374 | 8.3643e-05
23 | 0.0009341 | 0.00023411
24 | 0.00024698 | 6.19e-05
25 | 0.0011924 | 0.00029883
26 | 0.0012774 | 0.00032015
27 | 0.0010615 | 0.00026603

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1