## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_117-11_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_117-11_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_117-11_0_5_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_117-11_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_117-11_0_5_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_117-11_0_5_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_117-11_0_5_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_117-11_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_117-11_0_5_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_117-11_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_117-11_0_5_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_117-11_0_5_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_117-11_0_5_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_117-11_0_5_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_117-11_0_5_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_117-11_0_5_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_117-11_0_5_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_117-11_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_117-11_0_5_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_117-11_0_5_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_117-11_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_117-11_0_5_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_117-11_0_5_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_117-11_0_5_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_117-11_0_5_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_117-11_0_5_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_117-11_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_117-11_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_117-11_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_117-11_0_5_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_117-11_0_5_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_117-11_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_117-11_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_117-11_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_117-11_0_5_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_117-11_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_117-11_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_117-11_0_5_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_117-11_0_5_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_117-11_0_5_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_117-11_0_5_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_117-11_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_117-11_0_5_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_117-11_0_5_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_117-11_0_5_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_117-11_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_117-11_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_117-11_0_5_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_117-11_0_5_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_117-11_0_5_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_117-11_0_5_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_117-11_0_5_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_117-11_0_5_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_117-11_0_5_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_117-11_0_5_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_117-11_0_5_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_117-11_0_5_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_117-11_0_5_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_117-11_0_5_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_117-11_0_5_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_117-11_0_5_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_117-11_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_117-11_0_5_node_54 | 0.4 | n |  | TRUE
63 | bus_MV_8_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_117-11_0_5_load_0 | 0 | 0.0035458 | 0.00088866 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_117-11_0_5_load_40 | 4 | 0.0083052 | 0.0020815 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_117-11_0_5_load_39 | 6 | 0.0208 | 0.0052131 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_117-11_0_5_load_44 | 8 | 0.0038382 | 0.00096195 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_117-11_0_5_load_63 | 11 | 0.016708 | 0.0041875 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_117-11_0_5_load_43 | 12 | 0.038502 | 0.0096496 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_117-11_0_5_load_51 | 13 | 0.0003104 | 7.7793e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_117-11_0_5_load_45 | 15 | 0.013644 | 0.0034194 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_117-11_0_5_load_58 | 16 | 0.0036067 | 0.00090391 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_117-11_0_5_load_55 | 19 | 0.0003436 | 8.6113e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_117-11_0_5_load_8 | 21 | 0.0038178 | 0.00095683 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_117-11_0_5_load_9 | 22 | 0.0037411 | 0.0009376 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_117-11_0_5_load_10 | 23 | 0.0078585 | 0.0019695 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_117-11_0_5_load_19 | 26 | 0.0059322 | 0.0014867 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_117-11_0_5_load_22 | 27 | 0.041973 | 0.010519 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_117-11_0_5_load_64 | 29 | 0.00021155 | 5.302e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_117-11_0_5_load_16 | 31 | 0.011692 | 0.0029304 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_117-11_0_5_load_21 | 32 | 0.052092 | 0.013055 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_117-11_0_5_load_23 | 34 | 0.0042571 | 0.0010669 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_117-11_0_5_load_24 | 35 | 0.0042776 | 0.0010721 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_117-11_0_5_load_38 | 40 | 0.026942 | 0.0067523 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_117-11_0_5_load_62 | 43 | 0.0036066 | 0.00090391 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_117-11_0_5_load_59 | 44 | 0.0024886 | 0.00062371 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_117-11_0_5_load_57 | 47 | 0.0037599 | 0.00094232 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_117-11_0_5_load_60 | 48 | 0.0035897 | 0.00089967 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_117-11_0_5_load_65 | 49 | 0.00073521 | 0.00018426 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_117-11_0_5_load_66 | 52 | 0.0034075 | 0.00085399 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_117-11_0_5_load_61 | 54 | 0.0040343 | 0.0010111 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_117-11_0_5_load_56 | 55 | 0.0035824 | 0.00089782 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_117-11_0_5_load_46 | 57 | 0.0034636 | 0.00086807 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_117-11_0_5_load_50 | 59 | 0.00098047 | 0.00024573 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_117-11_0_5_load_52 | 60 | 0.04613 | 0.011561 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_117-11_0_5_load_53 | 61 | 0.00034504 | 8.6475e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_117-11_0_5_load_54 | 62 | 0.091212 | 0.02286 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_117-11_0_5_line_0 |  | 0 | 1 | 0.026532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_117-11_0_5_line_1 |  | 1 | 2 | 0.058845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_117-11_0_5_line_2 |  | 2 | 7 | 0.047029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_117-11_0_5_line_3 |  | 2 | 8 | 0.014394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_117-11_0_5_line_4 |  | 3 | 4 | 0.022062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_117-11_0_5_line_5 |  | 3 | 5 | 0.11348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_117-11_0_5_line_6 |  | 3 | 6 | 0.061481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_117-11_0_5_line_7 |  | 4 | 13 | 0.001783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_117-11_0_5_line_8 |  | 5 | 14 | 0.022537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_117-11_0_5_line_9 |  | 5 | 15 | 0.021914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_117-11_0_5_line_10 |  | 6 | 7 | 0.0053889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_117-11_0_5_line_11 |  | 8 | 12 | 0.029114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_117-11_0_5_line_12 |  | 9 | 10 | 0.006513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_117-11_0_5_line_13 |  | 9 | 11 | 0.087272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_117-11_0_5_line_14 |  | 10 | 17 | 0.02394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_117-11_0_5_line_15 |  | 13 | 56 | 0.047573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_117-11_0_5_line_16 |  | 14 | 16 | 0.027292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_117-11_0_5_line_17 |  | 15 | 39 | 0.023796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_117-11_0_5_line_18 |  | 16 | 44 | 0.012991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_117-11_0_5_line_19 |  | 17 | 27 | 0.050324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_117-11_0_5_line_20 |  | 18 | 19 | 0.009938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_117-11_0_5_line_21 |  | 18 | 20 | 0.02945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_117-11_0_5_line_22 |  | 19 | 33 | 0.03835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_117-11_0_5_line_23 |  | 20 | 31 | 0.019814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_117-11_0_5_line_24 |  | 20 | 25 | 0.008978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_117-11_0_5_line_25 |  | 21 | 22 | 0.024785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_117-11_0_5_line_26 |  | 22 | 23 | 0.042269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_117-11_0_5_line_27 |  | 23 | 24 | 0.053739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_117-11_0_5_line_28 |  | 24 | 25 | 0.027797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_117-11_0_5_line_29 |  | 25 | 26 | 0.049646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_117-11_0_5_line_30 |  | 26 | 30 | 0.040473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_117-11_0_5_line_31 |  | 27 | 32 | 0.065539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_117-11_0_5_line_32 |  | 28 | 29 | 0.003658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_117-11_0_5_line_33 |  | 28 | 30 | 0.010086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_117-11_0_5_line_34 |  | 30 | 32 | 0.046712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_117-11_0_5_line_35 |  | 33 | 41 | 0.032396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_117-11_0_5_line_36 |  | 34 | 35 | 0.004648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_117-11_0_5_line_37 |  | 34 | 36 | 0.022036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_117-11_0_5_line_38 |  | 35 | 37 | 0.031656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_117-11_0_5_line_39 |  | 36 | 38 | 0.050089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_117-11_0_5_line_40 |  | 37 | 39 | 0.021652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_117-11_0_5_line_41 |  | 37 | 40 | 0.0084859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_117-11_0_5_line_42 |  | 38 | 55 | 0.026957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_117-11_0_5_line_43 |  | 41 | 49 | 0.016122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_117-11_0_5_line_44 |  | 41 | 50 | 0.05759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_117-11_0_5_line_45 |  | 42 | 43 | 0.01825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_117-11_0_5_line_46 |  | 42 | 44 | 0.004992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_117-11_0_5_line_47 |  | 43 | 50 | 0.018714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_117-11_0_5_line_48 |  | 45 | 46 | 0.042338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_117-11_0_5_line_49 |  | 45 | 47 | 0.016964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_117-11_0_5_line_50 |  | 46 | 48 | 0.0081713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_117-11_0_5_line_51 |  | 47 | 55 | 0.0076121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_117-11_0_5_line_52 |  | 48 | 53 | 0.017069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_117-11_0_5_line_53 |  | 51 | 52 | 0.031797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_117-11_0_5_line_54 |  | 51 | 53 | 0.05579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_117-11_0_5_line_55 |  | 53 | 54 | 0.007984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_117-11_0_5_line_56 |  | 56 | 60 | 0.052202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_117-11_0_5_line_57 |  | 56 | 61 | 0.063989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_117-11_0_5_line_58 |  | 56 | 58 | 0.011773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_117-11_0_5_line_59 |  | 57 | 58 | 0.012707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_117-11_0_5_line_60 |  | 58 | 59 | 0.028442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_117-11_0_5_line_61 |  | 60 | 62 | 0.0057932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_117-11_0_5_trafo_52 | 0.63 MVA 20/0.4 kV | 63 | 60 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2705403.3386 | 1240176.2815 | 2705397.727 | 1240202.2131
1 | 2705403.3386 | 1240176.2815 | 2705434.7402 | 1240166.665 | 2705438.0699 | 1240167.0021 | 2705441.2762 | 1240168.3157 | 2705445.3301 | 1240163.6507 | 2705448.0596 | 1240160.7303 | 2705456.9593 | 1240162.1672
2 | 2705456.9593 | 1240162.1672 | 2705464.5775 | 1240162.9365 | 2705466.6991 | 1240158.8932 | 2705468.6522 | 1240156.2481 | 2705471.7001 | 1240153.7114 | 2705474.4814 | 1240152.5599 | 2705476.7736 | 1240146.5849 | 2705480.7343 | 1240146.3106 | 2705494.8849 | 1240145.5281
3 | 2705456.9593 | 1240162.1672 | 2705456.3183 | 1240165.0358 | 2705453.7481 | 1240176.1981
4 | 2705561.4595 | 1240139.2621 | 2705563.3961 | 1240151.9953 | 2705566.9735 | 1240160.4524
5 | 2705561.4595 | 1240139.2621 | 2705666.148 | 1240129.1831 | 2705665.1225 | 1240120.9363
6 | 2705561.4595 | 1240139.2621 | 2705530.1493 | 1240142.4413 | 2705500.2533 | 1240145.0582
7 | 2705567.6682 | 1240162.0946 | 2705566.9735 | 1240160.4524
8 | 2705665.1225 | 1240120.9363 | 2705666.148 | 1240129.1831 | 2705680.3027 | 1240127.7562
9 | 2705665.1225 | 1240120.9363 | 2705667.2719 | 1240116.1931 | 2705679.6911 | 1240114.9576 | 2705683.8964 | 1240114.538
10 | 2705494.8849 | 1240145.5281 | 2705500.2533 | 1240145.0582
11 | 2705447.2152 | 1240204.5699 | 2705453.7481 | 1240176.1981
12 | 2705485.9405 | 1240468.6088 | 2705480.015 | 1240471.3501
13 | 2705480.015 | 1240471.3501 | 2705477.0937 | 1240462.9472 | 2705473.2024 | 1240461.4547 | 2705424.1975 | 1240481.1329 | 2705420.5433 | 1240481.1903 | 2705416.9329 | 1240478.791 | 2705412.4559 | 1240466.1502
14 | 2705483.3879 | 1240447.9807 | 2705489.5782 | 1240466.9277 | 2705485.9405 | 1240468.6088
15 | 2705586.202 | 1240205.9093 | 2705567.6682 | 1240162.0946
16 | 2705680.3027 | 1240127.7562 | 2705680.2608 | 1240142.8449 | 2705683.5686 | 1240154.5914
17 | 2705707.5754 | 1240112.1852 | 2705700.5893 | 1240112.8724 | 2705683.8964 | 1240114.538
18 | 2705683.5686 | 1240154.5914 | 2705683.6754 | 1240154.9707 | 2705683.0516 | 1240167.5521
19 | 2705483.3879 | 1240447.9807 | 2705478.2521 | 1240432.2551 | 2705477.6345 | 1240427.8518 | 2705481.7139 | 1240424.2993 | 2705504.0586 | 1240415.7485
20 | 2705662.1572 | 1240287.0013 | 2705669.7694 | 1240280.6124
21 | 2705679.9824 | 1240310.4813 | 2705670.7632 | 1240298.1187 | 2705665.8771 | 1240291.749 | 2705662.1572 | 1240287.0013
22 | 2705699.1443 | 1240255.9578 | 2705669.7694 | 1240280.6124
23 | 2705679.9824 | 1240310.4813 | 2705680.4207 | 1240304.9848 | 2705685.2498 | 1240299.2663 | 2705690.6703 | 1240295.1353
24 | 2705679.9824 | 1240310.4813 | 2705679.2042 | 1240315.5269 | 2705677.8988 | 1240319.1731
25 | 2705790.3986 | 1240268.2206 | 2705770.715 | 1240283.2828
26 | 2705770.715 | 1240283.2828 | 2705758.4546 | 1240292.6648 | 2705737.1076 | 1240308.9186
27 | 2705694.4197 | 1240341.5624 | 2705711.8199 | 1240328.1729 | 2705737.1076 | 1240308.9186
28 | 2705694.4197 | 1240341.5624 | 2705677.8988 | 1240319.1731
29 | 2705677.8988 | 1240319.1731 | 2705668.635 | 1240318.6634 | 2705651.0776 | 1240321.7645 | 2705633.0142 | 1240335.2446
30 | 2705600.578 | 1240359.4509 | 2705633.0142 | 1240335.2446
31 | 2705562.5018 | 1240386.4967 | 2705544.5551 | 1240397.7066 | 2705529.6242 | 1240405.3916 | 2705512.1749 | 1240412.6426 | 2705504.0586 | 1240415.7485
32 | 2705606.4983 | 1240367.6292 | 2705603.5625 | 1240369.8231
33 | 2705600.578 | 1240359.4509 | 2705606.4983 | 1240367.6292
34 | 2705600.578 | 1240359.4509 | 2705566.0014 | 1240384.3108 | 2705562.5018 | 1240386.4967
35 | 2705699.1443 | 1240255.9578 | 2705715.9158 | 1240244.7588 | 2705718.0497 | 1240237.9137 | 2705715.8237 | 1240233.3706
36 | 2705742.1739 | 1240087.8974 | 2705737.5388 | 1240088.2429
37 | 2705764.176 | 1240086.7067 | 2705747.635 | 1240087.4905 | 2705742.1739 | 1240087.8974
38 | 2705705.9708 | 1240090.5954 | 2705737.5388 | 1240088.2429
39 | 2705748.9286 | 1240121.4287 | 2705765.6477 | 1240119.981 | 2705764.176 | 1240086.7067
40 | 2705705.9708 | 1240090.5954 | 2705707.5754 | 1240112.1852
41 | 2705705.9708 | 1240090.5954 | 2705705.8636 | 1240084.2997 | 2705706.0026 | 1240082.1148
42 | 2705748.9286 | 1240121.4287 | 2705749.4784 | 1240148.3804
43 | 2705715.8237 | 1240233.3706 | 2705713.6914 | 1240235.0339 | 2705700.2465 | 1240235.695
44 | 2705682.7972 | 1240209.364 | 2705689.7309 | 1240211.6113 | 2705704.5326 | 1240209.0951 | 2705715.7215 | 1240209.3946 | 2705716.9589 | 1240220.6031 | 2705715.8237 | 1240233.3706
45 | 2705683.1053 | 1240172.5408 | 2705683.6713 | 1240190.7818
46 | 2705683.1053 | 1240172.5408 | 2705682.9907 | 1240168.7803 | 2705683.0516 | 1240167.5521
47 | 2705682.7972 | 1240209.364 | 2705682.961 | 1240207.3876 | 2705684.0375 | 1240202.5808 | 2705683.6713 | 1240190.7818
48 | 2705746.2246 | 1240171.7085 | 2705760.3384 | 1240170.8704 | 2705758.4744 | 1240174.8736 | 2705754.3061 | 1240183.3949 | 2705751.2971 | 1240186.288 | 2705748.3958 | 1240189.0829 | 2705746.5751 | 1240194.8994
49 | 2705746.2246 | 1240171.7085 | 2705745.6948 | 1240154.7526
50 | 2705746.5751 | 1240194.8994 | 2705750.7971 | 1240194.819 | 2705751.5469 | 1240197.7346 | 2705751.572 | 1240198.6723
51 | 2705749.4784 | 1240148.3804 | 2705749.5018 | 1240149.5274 | 2705745.6948 | 1240154.7526
52 | 2705752.0278 | 1240215.735 | 2705751.572 | 1240198.6723
53 | 2705786.5405 | 1240208.5553 | 2705788.8756 | 1240212.4889 | 2705792.7848 | 1240212.5586 | 2705804.8034 | 1240207.4799 | 2705805.9626 | 1240204.3982 | 2705805.4824 | 1240197.3953
54 | 2705752.0278 | 1240215.735 | 2705752.3235 | 1240221.6337 | 2705755.2588 | 1240228.3912 | 2705784.6873 | 1240219.1639 | 2705783.2223 | 1240214.7899 | 2705786.5405 | 1240208.5553
55 | 2705752.0278 | 1240215.735 | 2705749.1711 | 1240218.5752 | 2705745.2494 | 1240219.2058
56 | 2705586.202 | 1240205.9093 | 2705537.2552 | 1240224.0555
57 | 2705619.7336 | 1240258.9247 | 2705601.285 | 1240241.5497 | 2705586.202 | 1240205.9093
58 | 2705586.202 | 1240205.9093 | 2705597.9537 | 1240204.7619
59 | 2705597.9537 | 1240204.7619 | 2705610.6008 | 1240203.532
60 | 2705597.9537 | 1240204.7619 | 2705608.9001 | 1240231.0132
61 | 2705531.8233 | 1240226.0692 | 2705537.2552 | 1240224.0555

## bus_geodata
| x | y | coords
0 | 2705397.727 | 1240202.2131
1 | 2705403.3386 | 1240176.2815
2 | 2705456.9593 | 1240162.1672
3 | 2705561.4595 | 1240139.2621
4 | 2705566.9735 | 1240160.4524
5 | 2705665.1225 | 1240120.9363
6 | 2705500.2533 | 1240145.0582
7 | 2705494.8849 | 1240145.5281
8 | 2705453.7481 | 1240176.1981
9 | 2705480.015 | 1240471.3501
10 | 2705485.9405 | 1240468.6088
11 | 2705412.4559 | 1240466.1502
12 | 2705447.2152 | 1240204.5699
13 | 2705567.6682 | 1240162.0946
14 | 2705680.3027 | 1240127.7562
15 | 2705683.8964 | 1240114.538
16 | 2705683.5686 | 1240154.5914
17 | 2705483.3879 | 1240447.9807
18 | 2705662.1572 | 1240287.0013
19 | 2705669.7694 | 1240280.6124
20 | 2705679.9824 | 1240310.4813
21 | 2705790.3986 | 1240268.2206
22 | 2705770.715 | 1240283.2828
23 | 2705737.1076 | 1240308.9186
24 | 2705694.4197 | 1240341.5624
25 | 2705677.8988 | 1240319.1731
26 | 2705633.0142 | 1240335.2446
27 | 2705504.0586 | 1240415.7485
28 | 2705606.4983 | 1240367.6292
29 | 2705603.5625 | 1240369.8231
30 | 2705600.578 | 1240359.4509
31 | 2705690.6703 | 1240295.1353
32 | 2705562.5018 | 1240386.4967
33 | 2705699.1443 | 1240255.9578
34 | 2705742.1739 | 1240087.8974
35 | 2705737.5388 | 1240088.2429
36 | 2705764.176 | 1240086.7067
37 | 2705705.9708 | 1240090.5954
38 | 2705748.9286 | 1240121.4287
39 | 2705707.5754 | 1240112.1852
40 | 2705706.0026 | 1240082.1148
41 | 2705715.8237 | 1240233.3706
42 | 2705683.1053 | 1240172.5408
43 | 2705683.6713 | 1240190.7818
44 | 2705683.0516 | 1240167.5521
45 | 2705746.2246 | 1240171.7085
46 | 2705746.5751 | 1240194.8994
47 | 2705745.6948 | 1240154.7526
48 | 2705751.572 | 1240198.6723
49 | 2705700.2465 | 1240235.695
50 | 2705682.7972 | 1240209.364
51 | 2705786.5405 | 1240208.5553
52 | 2705805.4824 | 1240197.3953
53 | 2705752.0278 | 1240215.735
54 | 2705745.2494 | 1240219.2058
55 | 2705749.4784 | 1240148.3804
56 | 2705586.202 | 1240205.9093
57 | 2705610.6008 | 1240203.532
58 | 2705597.9537 | 1240204.7619
59 | 2705608.9001 | 1240231.0132
60 | 2705537.2552 | 1240224.0555
61 | 2705619.7336 | 1240258.9247
62 | 2705531.8233 | 1240226.0692
63 | 2705537.2552 | 1240224.0555

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98518 | -0.28352 | 0.0035458 | 0.00088866
1 | 0.98526 | -0.28183 | 0 | 0
2 | 0.98546 | -0.27808 | 0 | 0
3 | 0.99145 | -0.16202 | 0 | 0
4 | 0.99293 | -0.13379 | 0.0083052 | 0.0020815
5 | 0.98558 | -0.27457 | 0 | 0
6 | 0.98767 | -0.23501 | 0.0208 | 0.0052131
7 | 0.98745 | -0.23943 | 0 | 0
8 | 0.9849 | -0.28903 | 0.0038382 | 0.00096195
9 | 0.97113 | -0.55671 | 0 | 0
10 | 0.97116 | -0.55621 | 0 | 0
11 | 0.97068 | -0.5657 | 0.016708 | 0.0041875
12 | 0.98386 | -0.30919 | 0.038502 | 0.0096496
13 | 0.99305 | -0.13145 | 0.0003104 | 7.7793e-05
14 | 0.98477 | -0.29024 | 0 | 0
15 | 0.98421 | -0.30115 | 0.013644 | 0.0034194
16 | 0.98378 | -0.30926 | 0.0036067 | 0.00090391
17 | 0.97125 | -0.55436 | 0 | 0
18 | 0.97722 | -0.43685 | 0 | 0
19 | 0.97755 | -0.43032 | 0.0003436 | 8.6113e-05
20 | 0.97623 | -0.45623 | 0 | 0
21 | 0.9744 | -0.4923 | 0.0038178 | 0.00095683
22 | 0.97449 | -0.49056 | 0.0037411 | 0.0009376
23 | 0.97478 | -0.4847 | 0.0078585 | 0.0019695
24 | 0.97555 | -0.46951 | 0 | 0
25 | 0.97595 | -0.46166 | 0 | 0
26 | 0.9746 | -0.48826 | 0.0059322 | 0.0014867
27 | 0.97145 | -0.55047 | 0.041973 | 0.010519
28 | 0.97355 | -0.50894 | 0 | 0
29 | 0.97355 | -0.50895 | 0.00021155 | 5.302e-05
30 | 0.97355 | -0.5089 | 0 | 0
31 | 0.97602 | -0.46047 | 0.011692 | 0.0029304
32 | 0.97234 | -0.53272 | 0.052092 | 0.013055
33 | 0.97884 | -0.40509 | 0 | 0
34 | 0.98106 | -0.36262 | 0.0042571 | 0.0010669
35 | 0.98116 | -0.36071 | 0.0042776 | 0.0010721
36 | 0.98069 | -0.36996 | 0 | 0
37 | 0.98195 | -0.3453 | 0 | 0
38 | 0.97984 | -0.38666 | 0 | 0
39 | 0.98303 | -0.32424 | 0 | 0
40 | 0.98174 | -0.34943 | 0.026942 | 0.0067523
41 | 0.97993 | -0.38384 | 0 | 0
42 | 0.98315 | -0.32146 | 0 | 0
43 | 0.98252 | -0.33371 | 0.0036066 | 0.00090391
44 | 0.98332 | -0.31811 | 0.0024886 | 0.00062371
45 | 0.9791 | -0.40111 | 0 | 0
46 | 0.97867 | -0.40961 | 0 | 0
47 | 0.97927 | -0.3977 | 0.0037599 | 0.00094232
48 | 0.97858 | -0.41125 | 0.0035897 | 0.00089967
49 | 0.97992 | -0.38405 | 0.00073521 | 0.00018426
50 | 0.98188 | -0.34598 | 0 | 0
51 | 0.97829 | -0.41702 | 0 | 0
52 | 0.97819 | -0.419 | 0.0034075 | 0.00085399
53 | 0.97847 | -0.41356 | 0 | 0
54 | 0.97844 | -0.41415 | 0.0040343 | 0.0010111
55 | 0.97938 | -0.39566 | 0.0035824 | 0.00089782
56 | 0.99634 | -0.069068 | 0 | 0
57 | 0.99625 | -0.07076 | 0.0034636 | 0.00086807
58 | 0.99629 | -0.069987 | 0 | 0
59 | 0.99626 | -0.070477 | 0.00098047 | 0.00024573
60 | 1 | 0 | -0.40135 | -0.10249
61 | 0.99632 | -0.069457 | 0.00034504 | 8.6475e-05
62 | 0.99952 | -0.0092142 | 0.091212 | 0.02286
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0035458 | -0.00088866 | 0.0035461 | 0.0008885 | 2.8536e-07 | -1.5523e-07 | 0.0053556 | 0.0053554 | 0.0053556 | 0.98518 | -0.28352 | 0.98526 | -0.28183 | 1.4713
1 | -0.0035461 | -0.0008885 | 0.0035467 | 0.00088816 | 6.3287e-07 | -3.4454e-07 | 0.0053554 | 0.0053552 | 0.0053554 | 0.98526 | -0.28183 | 0.98546 | -0.27808 | 1.4713
2 | -0.045946 | -0.011537 | 0.046031 | 0.011591 | 8.4905e-05 | 5.3739e-05 | 0.069385 | 0.069385 | 0.069385 | 0.98546 | -0.27808 | 0.98745 | -0.23943 | 19.0619
3 | 0.0424 | 0.010649 | -0.042377 | -0.010635 | 2.213e-05 | 1.398e-05 | 0.06403 | 0.06403 | 0.06403 | 0.98546 | -0.27808 | 0.9849 | -0.28903 | 17.5908
4 | -0.29266 | -0.074731 | 0.29306 | 0.074986 | 0.00039995 | 0.00025483 | 0.43974 | 0.43974 | 0.43974 | 0.99145 | -0.16202 | 0.99293 | -0.13379 | 30.2018
5 | 0.22559 | 0.057773 | -0.22436 | -0.056996 | 0.0012228 | 0.00077675 | 0.33902 | 0.33902 | 0.33902 | 0.99145 | -0.16202 | 0.98558 | -0.27457 | 23.2842
6 | 0.067075 | 0.016959 | -0.066841 | -0.01681 | 0.0002339 | 0.00014891 | 0.10072 | 0.10072 | 0.10072 | 0.99145 | -0.16202 | 0.98767 | -0.23501 | 27.6711
7 | -0.30137 | -0.077068 | 0.3014 | 0.07709 | 3.4179e-05 | 2.1782e-05 | 0.45218 | 0.45218 | 0.45218 | 0.99293 | -0.13379 | 0.99305 | -0.13145 | 31.0565
8 | 0.1566 | 0.039915 | -0.15649 | -0.03984 | 0.00011835 | 7.4598e-05 | 0.23668 | 0.23668 | 0.23668 | 0.98558 | -0.27457 | 0.98477 | -0.29024 | 16.2554
9 | 0.067761 | 0.017081 | -0.067674 | -0.017026 | 8.6068e-05 | 5.4805e-05 | 0.10234 | 0.10234 | 0.10234 | 0.98558 | -0.27457 | 0.98421 | -0.30115 | 28.1152
10 | 0.046041 | 0.011597 | -0.046031 | -0.011591 | 9.7289e-06 | 6.1575e-06 | 0.069385 | 0.069385 | 0.069385 | 0.98767 | -0.23501 | 0.98745 | -0.23943 | 19.0619
11 | 0.038539 | 0.0096729 | -0.038502 | -0.0096496 | 3.7021e-05 | 2.3324e-05 | 0.058231 | 0.058232 | 0.058232 | 0.9849 | -0.28903 | 0.98386 | -0.30919 | 15.9977
12 | -0.016715 | -0.0041888 | 0.016716 | 0.0041888 | 4.0054e-07 | -6.6e-08 | 0.025612 | 0.025612 | 0.025612 | 0.97113 | -0.55671 | 0.97116 | -0.55621 | 1.7591
13 | 0.016715 | 0.0041888 | -0.016708 | -0.0041875 | 7.1564e-06 | 1.3422e-06 | 0.025612 | 0.025613 | 0.025613 | 0.97113 | -0.55671 | 0.97068 | -0.5657 | 2.3455
14 | -0.016716 | -0.0041888 | 0.016717 | 0.0041885 | 1.4722e-06 | -2.4276e-07 | 0.025612 | 0.025612 | 0.025612 | 0.97116 | -0.55621 | 0.97125 | -0.55436 | 1.7591
15 | -0.30171 | -0.077167 | 0.30263 | 0.07775 | 0.00091381 | 0.00058237 | 0.45265 | 0.45265 | 0.45265 | 0.99305 | -0.13145 | 0.99634 | -0.069068 | 31.0885
16 | 0.15649 | 0.03984 | -0.15634 | -0.03975 | 0.00014333 | 9.0342e-05 | 0.23668 | 0.23668 | 0.23668 | 0.98477 | -0.29024 | 0.98378 | -0.30926 | 16.2555
17 | 0.054031 | 0.013607 | -0.053971 | -0.013569 | 5.9579e-05 | 3.7829e-05 | 0.081712 | 0.081712 | 0.081712 | 0.98421 | -0.30115 | 0.98303 | -0.32424 | 22.4483
18 | 0.15274 | 0.038846 | -0.15267 | -0.038805 | 6.5115e-05 | 4.1014e-05 | 0.23122 | 0.23122 | 0.23122 | 0.98378 | -0.30926 | 0.98332 | -0.31811 | 15.8808
19 | -0.016717 | -0.0041885 | 0.01672 | 0.004188 | 3.0946e-06 | -5.1116e-07 | 0.025612 | 0.025611 | 0.025612 | 0.97125 | -0.55436 | 0.97145 | -0.55047 | 1.759
20 | -0.14466 | -0.036482 | 0.14471 | 0.036511 | 4.5241e-05 | 2.8456e-05 | 0.22036 | 0.22036 | 0.22036 | 0.97722 | -0.43685 | 0.97755 | -0.43032 | 15.1346
21 | 0.14466 | 0.036482 | -0.14453 | -0.036398 | 0.00013407 | 8.4329e-05 | 0.22036 | 0.22036 | 0.22036 | 0.97722 | -0.43685 | 0.97623 | -0.45623 | 15.1347
22 | -0.14505 | -0.036597 | 0.14523 | 0.036707 | 0.00017541 | 0.00011034 | 0.22088 | 0.22088 | 0.22088 | 0.97755 | -0.43032 | 0.97884 | -0.40509 | 15.1705
23 | 0.011695 | 0.0029316 | -0.011692 | -0.0029304 | 2.361e-06 | 1.2634e-06 | 0.017826 | 0.017826 | 0.017826 | 0.97623 | -0.45623 | 0.97602 | -0.46047 | 4.8972
24 | 0.13283 | 0.033466 | -0.1328 | -0.033445 | 3.4526e-05 | 2.1648e-05 | 0.20253 | 0.20254 | 0.20254 | 0.97623 | -0.45623 | 0.97595 | -0.46166 | 13.9104
25 | -0.0038178 | -0.00095683 | 0.0038181 | 0.00095672 | 3.1592e-07 | -1.0657e-07 | 0.0058302 | 0.0058301 | 0.0058302 | 0.9744 | -0.4923 | 0.97449 | -0.49056 | 1.6017
26 | -0.0075592 | -0.0018943 | 0.0075613 | 0.0018951 | 2.1118e-06 | 8.2478e-07 | 0.011543 | 0.011542 | 0.011543 | 0.97449 | -0.49056 | 0.97478 | -0.4847 | 3.171
27 | -0.01542 | -0.0038647 | 0.015431 | 0.0038712 | 1.1165e-05 | 6.4754e-06 | 0.023539 | 0.023538 | 0.023539 | 0.97478 | -0.4847 | 0.97555 | -0.46951 | 6.4666
28 | -0.015431 | -0.0038712 | 0.015437 | 0.0038745 | 5.7753e-06 | 3.349e-06 | 0.023538 | 0.023538 | 0.023538 | 0.97555 | -0.46951 | 0.97595 | -0.46166 | 6.4666
29 | 0.11736 | 0.02957 | -0.11721 | -0.029477 | 0.00014912 | 9.2961e-05 | 0.179 | 0.179 | 0.179 | 0.97595 | -0.46166 | 0.9746 | -0.48826 | 12.2938
30 | 0.11128 | 0.027991 | -0.11117 | -0.027922 | 0.00010958 | 6.8116e-05 | 0.16994 | 0.16994 | 0.16994 | 0.9746 | -0.48826 | 0.97355 | -0.5089 | 11.6718
31 | -0.058693 | -0.014707 | 0.058743 | 0.014736 | 4.966e-05 | 2.8534e-05 | 0.089902 | 0.089901 | 0.089902 | 0.97145 | -0.55047 | 0.97234 | -0.53272 | 6.1746
32 | 0.00021155 | 5.2974e-05 | -0.00021155 | -5.302e-05 | 1.4342e-10 | -4.5393e-08 | 0.00032333 | 0.00032334 | 0.00032334 | 0.97355 | -0.50894 | 0.97355 | -0.50895 | 0.088831
33 | -0.00021155 | -5.2974e-05 | 0.00021155 | 5.2849e-05 | 3.9534e-10 | -1.2516e-07 | 0.00032333 | 0.00032328 | 0.00032333 | 0.97355 | -0.50894 | 0.97355 | -0.5089 | 0.088826
34 | 0.11096 | 0.02787 | -0.11083 | -0.027791 | 0.00012599 | 7.8315e-05 | 0.16962 | 0.16962 | 0.16962 | 0.97355 | -0.5089 | 0.97234 | -0.53272 | 11.6497
35 | -0.14523 | -0.036707 | 0.14538 | 0.0368 | 0.00014818 | 9.3203e-05 | 0.22088 | 0.22088 | 0.22088 | 0.97884 | -0.40509 | 0.97993 | -0.38384 | 15.1705
36 | -0.02267 | -0.0056934 | 0.022672 | 0.0056947 | 2.0612e-06 | 1.2605e-06 | 0.034389 | 0.034389 | 0.034389 | 0.98106 | -0.36262 | 0.98116 | -0.36071 | 9.4475
37 | 0.018413 | 0.0046265 | -0.018407 | -0.0046226 | 6.4471e-06 | 3.848e-06 | 0.027932 | 0.027932 | 0.027932 | 0.98106 | -0.36262 | 0.98069 | -0.36996 | 7.6737
38 | -0.02695 | -0.0067667 | 0.02697 | 0.006779 | 1.9834e-05 | 1.2294e-05 | 0.040876 | 0.040876 | 0.040876 | 0.98116 | -0.36071 | 0.98195 | -0.3453 | 11.2297
39 | 0.018407 | 0.0046226 | -0.018392 | -0.0046139 | 1.4655e-05 | 8.7477e-06 | 0.027932 | 0.027932 | 0.027932 | 0.98069 | -0.36996 | 0.97984 | -0.38666 | 7.6737
40 | -0.053917 | -0.013535 | 0.053971 | 0.013569 | 5.4212e-05 | 3.4422e-05 | 0.081712 | 0.081712 | 0.081712 | 0.98195 | -0.3453 | 0.98303 | -0.32424 | 22.4483
41 | 0.026947 | 0.0067556 | -0.026942 | -0.0067523 | 5.3065e-06 | 3.2889e-06 | 0.040836 | 0.040836 | 0.040836 | 0.98195 | -0.3453 | 0.98174 | -0.34943 | 11.2186
42 | 0.018392 | 0.0046139 | -0.018384 | -0.0046092 | 7.8872e-06 | 4.7084e-06 | 0.027932 | 0.027932 | 0.027932 | 0.97984 | -0.38666 | 0.97938 | -0.39566 | 7.6738
43 | 0.00073521 | 0.00018406 | -0.00073521 | -0.00018426 | 7.5348e-09 | -1.9828e-07 | 0.0011163 | 0.0011164 | 0.0011164 | 0.97993 | -0.38384 | 0.97992 | -0.38405 | 0.30671
44 | -0.14611 | -0.036985 | 0.14638 | 0.037152 | 0.00026608 | 0.00016739 | 0.222 | 0.222 | 0.222 | 0.97993 | -0.38384 | 0.98188 | -0.34598 | 15.2471
45 | 0.15016 | 0.038166 | -0.15007 | -0.03811 | 8.8518e-05 | 5.5727e-05 | 0.22746 | 0.22746 | 0.22746 | 0.98315 | -0.32146 | 0.98252 | -0.33371 | 15.6222
46 | -0.15016 | -0.038166 | 0.15018 | 0.038181 | 2.4213e-05 | 1.5243e-05 | 0.22746 | 0.22746 | 0.22746 | 0.98315 | -0.32146 | 0.98332 | -0.31811 | 15.6222
47 | 0.14646 | 0.037206 | -0.14638 | -0.037152 | 8.6462e-05 | 5.4388e-05 | 0.222 | 0.222 | 0.222 | 0.98252 | -0.33371 | 0.98188 | -0.34598 | 15.2471
48 | 0.011039 | 0.0027673 | -0.011034 | -0.0027649 | 4.4686e-06 | 2.3277e-06 | 0.016777 | 0.016777 | 0.016777 | 0.9791 | -0.40111 | 0.97867 | -0.40961 | 4.609
49 | -0.011039 | -0.0027673 | 0.01104 | 0.0027682 | 1.7905e-06 | 9.3251e-07 | 0.016777 | 0.016776 | 0.016777 | 0.9791 | -0.40111 | 0.97927 | -0.3977 | 4.6089
50 | 0.011034 | 0.0027649 | -0.011033 | -0.0027645 | 8.6245e-07 | 4.493e-07 | 0.016777 | 0.016777 | 0.016777 | 0.97867 | -0.40961 | 0.97858 | -0.41125 | 4.609
51 | -0.0148 | -0.0037105 | 0.014802 | 0.0037113 | 1.4438e-06 | 8.2824e-07 | 0.02249 | 0.02249 | 0.02249 | 0.97927 | -0.3977 | 0.97938 | -0.39566 | 6.1785
52 | 0.0074436 | 0.0018648 | -0.0074427 | -0.0018645 | 8.1997e-07 | 3.1036e-07 | 0.011318 | 0.011318 | 0.011318 | 0.97858 | -0.41125 | 0.97847 | -0.41356 | 3.1094
53 | 0.0034078 | 0.0008538 | -0.0034075 | -0.00085399 | 3.2036e-07 | -1.9417e-07 | 0.0051833 | 0.0051834 | 0.0051834 | 0.97829 | -0.41702 | 0.97819 | -0.419 | 1.424
54 | -0.0034078 | -0.0008538 | 0.0034083 | 0.00085345 | 5.6205e-07 | -3.4091e-07 | 0.0051833 | 0.005183 | 0.0051833 | 0.97829 | -0.41702 | 0.97847 | -0.41356 | 1.424
55 | 0.0040344 | 0.0010111 | -0.0040343 | -0.0010111 | 1.127e-07 | -2.8149e-08 | 0.0061353 | 0.0061354 | 0.0061354 | 0.97847 | -0.41356 | 0.97844 | -0.41415 | 1.6855
56 | -0.30742 | -0.078949 | 0.30845 | 0.079608 | 0.0010347 | 0.00065945 | 0.4598 | 0.4598 | 0.4598 | 0.99634 | -0.069068 | 1 | 0 | 31.5797
57 | 0.00034505 | 8.5646e-05 | -0.00034504 | -8.6475e-05 | 6.3687e-09 | -8.2926e-07 | 0.00051503 | 0.00051533 | 0.00051533 | 0.99634 | -0.069068 | 0.99632 | -0.069457 | 0.14157
58 | 0.0044444 | 0.0011133 | -0.0044443 | -0.0011134 | 1.9451e-07 | -2.8832e-08 | 0.0066375 | 0.0066376 | 0.0066376 | 0.99634 | -0.069068 | 0.99629 | -0.069987 | 1.8235
59 | -0.0034636 | -0.00086807 | 0.0034638 | 0.00086798 | 1.2753e-07 | -8.3844e-08 | 0.0051733 | 0.0051733 | 0.0051733 | 0.99625 | -0.07076 | 0.99629 | -0.069987 | 1.4212
60 | 0.0009805 | 0.00024537 | -0.00098047 | -0.00024573 | 2.2871e-08 | -3.5573e-07 | 0.0014643 | 0.0014644 | 0.0014644 | 0.99629 | -0.069987 | 0.99626 | -0.070477 | 0.40232
61 | 0.091252 | 0.022885 | -0.091212 | -0.02286 | 4.0057e-05 | 2.5561e-05 | 0.13579 | 0.13579 | 0.13579 | 1 | 0 | 0.99952 | -0.0092142 | 37.3049

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44748 | 0.11405

## res_load
| p_mw | q_mvar
0 | 0.0035458 | 0.00088866
1 | 0.0083052 | 0.0020815
2 | 0.0208 | 0.0052131
3 | 0.0038382 | 0.00096195
4 | 0.016708 | 0.0041875
5 | 0.038502 | 0.0096496
6 | 0.0003104 | 7.7793e-05
7 | 0.013644 | 0.0034194
8 | 0.0036067 | 0.00090391
9 | 0.0003436 | 8.6113e-05
10 | 0.0038178 | 0.00095683
11 | 0.0037411 | 0.0009376
12 | 0.0078585 | 0.0019695
13 | 0.0059322 | 0.0014867
14 | 0.041973 | 0.010519
15 | 0.00021155 | 5.302e-05
16 | 0.011692 | 0.0029304
17 | 0.052092 | 0.013055
18 | 0.0042571 | 0.0010669
19 | 0.0042776 | 0.0010721
20 | 0.026942 | 0.0067523
21 | 0.0036066 | 0.00090391
22 | 0.0024886 | 0.00062371
23 | 0.0037599 | 0.00094232
24 | 0.0035897 | 0.00089967
25 | 0.00073521 | 0.00018426
26 | 0.0034075 | 0.00085399
27 | 0.0040343 | 0.0010111
28 | 0.0035824 | 0.00089782
29 | 0.0034636 | 0.00086807
30 | 0.00098047 | 0.00024573
31 | 0.04613 | 0.011561
32 | 0.00034504 | 8.6475e-05
33 | 0.091212 | 0.02286

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1