## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_117-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_117-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_117-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_117-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_117-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_117-12_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_117-12_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_117-12_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_117-12_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_117-12_0_3_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_117-12_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_117-12_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_117-12_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_117-12_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_117-12_0_3_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_117-12_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_117-12_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_117-12_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_117-12_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_117-12_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_117-12_0_3_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_117-12_0_3_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_117-12_0_3_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_117-12_0_3_node_78 | 0.4 | n |  | TRUE
24 | bus_LV_117-12_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_117-12_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_117-12_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_117-12_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_117-12_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_117-12_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_117-12_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_117-12_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_117-12_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_117-12_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_117-12_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_117-12_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_117-12_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_117-12_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_117-12_0_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_117-12_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_117-12_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_117-12_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_117-12_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_117-12_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_117-12_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_117-12_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_117-12_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_117-12_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_117-12_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_117-12_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_117-12_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_117-12_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_117-12_0_3_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_117-12_0_3_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_117-12_0_3_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_117-12_0_3_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_117-12_0_3_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_117-12_0_3_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_117-12_0_3_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_117-12_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_117-12_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_117-12_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_117-12_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_117-12_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_117-12_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_117-12_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_117-12_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_117-12_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_117-12_0_3_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_117-12_0_3_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_117-12_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_117-12_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_117-12_0_3_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_117-12_0_3_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_117-12_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_117-12_0_3_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_117-12_0_3_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_117-12_0_3_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_117-12_0_3_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_117-12_0_3_node_89 | 0.4 | n |  | TRUE
80 | bus_LV_117-12_0_3_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_117-12_0_3_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_117-12_0_3_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_117-12_0_3_node_91 | 0.4 | n |  | TRUE
84 | bus_LV_117-12_0_3_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_117-12_0_3_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_117-12_0_3_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_117-12_0_3_node_90 | 0.4 | n |  | TRUE
88 | bus_MV_8_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_117-12_0_3_load_0 | 0 | 0.0012141 | 0.00030427 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_117-12_0_3_load_1 | 1 | 0.00031301 | 7.8447e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_117-12_0_3_load_3 | 3 | 0.0010265 | 0.00025726 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_117-12_0_3_load_4 | 4 | 0.0012456 | 0.00031217 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_117-12_0_3_load_6 | 6 | 0.00086619 | 0.00021709 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_117-12_0_3_load_12 | 7 | 0.0011402 | 0.00028576 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_117-12_0_3_load_11 | 8 | 0.00094775 | 0.00023753 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_117-12_0_3_load_83 | 9 | 0.00079795 | 0.00019999 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_117-12_0_3_load_13 | 11 | 0.0015193 | 0.00038076 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_117-12_0_3_load_17 | 12 | 0.0014157 | 0.00035482 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_117-12_0_3_load_84 | 14 | 0.00079741 | 0.00019985 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_117-12_0_3_load_7 | 15 | 0.00096382 | 0.00024156 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_117-12_0_3_load_8 | 16 | 0.0030903 | 0.00077449 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_117-12_0_3_load_9 | 17 | 0.001575 | 0.00039474 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_117-12_0_3_load_15 | 18 | 0.0013384 | 0.00033543 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_117-12_0_3_load_16 | 19 | 0.0007459 | 0.00018694 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_117-12_0_3_load_79 | 20 | 0.0010622 | 0.00026621 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_117-12_0_3_load_60 | 21 | 0.0007458 | 0.00018692 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_117-12_0_3_load_58 | 22 | 0.0018626 | 0.00046681 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_117-12_0_3_load_78 | 23 | 0.00258 | 0.00064662 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_117-12_0_3_load_18 | 24 | 0.0020727 | 0.00051948 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_117-12_0_3_load_19 | 25 | 0.0010921 | 0.0002737 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_117-12_0_3_load_20 | 26 | 0.0020313 | 0.00050909 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_117-12_0_3_load_22 | 27 | 0.002706 | 0.00067818 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_117-12_0_3_load_23 | 28 | 0.0028215 | 0.00070713 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_117-12_0_3_load_30 | 30 | 0.0047173 | 0.0011823 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_117-12_0_3_load_31 | 31 | 0.0038456 | 0.00096379 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_117-12_0_3_load_32 | 32 | 0.0040454 | 0.0010139 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_117-12_0_3_load_25 | 34 | 0.0028424 | 0.00071237 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_117-12_0_3_load_26 | 35 | 0.0048443 | 0.0012141 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_117-12_0_3_load_27 | 36 | 0.008326 | 0.0020867 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_117-12_0_3_load_28 | 37 | 0.0045292 | 0.0011351 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_117-12_0_3_load_45 | 38 | 0.0054729 | 0.0013716 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_117-12_0_3_load_29 | 39 | 0.0010924 | 0.00027378 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_117-12_0_3_load_36 | 40 | 0.00062263 | 0.00015605 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_117-12_0_3_load_38 | 43 | 0.012582 | 0.0031533 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_117-12_0_3_load_35 | 44 | 0.0022267 | 0.00055806 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_117-12_0_3_load_40 | 46 | 0.0043362 | 0.0010867 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_117-12_0_3_load_41 | 47 | 0.0066859 | 0.0016756 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_117-12_0_3_load_49 | 48 | 0.0024262 | 0.00060807 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_117-12_0_3_load_52 | 49 | 0.0019733 | 0.00049456 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_117-12_0_3_load_43 | 50 | 0.0032774 | 0.00082138 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_117-12_0_3_load_44 | 51 | 0.0084591 | 0.00212 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_117-12_0_3_load_69 | 52 | 0.014028 | 0.0035158 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_117-12_0_3_load_65 | 54 | 0.002015 | 0.00050502 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_117-12_0_3_load_61 | 55 | 0.0011994 | 0.00030059 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_117-12_0_3_load_74 | 56 | 0.002178 | 0.00054585 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_117-12_0_3_load_71 | 57 | 0.0032464 | 0.00081363 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_117-12_0_3_load_63 | 58 | 0.0015828 | 0.00039668 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_117-12_0_3_load_47 | 59 | 0.0024476 | 0.00061343 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_117-12_0_3_load_51 | 62 | 0.0035155 | 0.00088107 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_117-12_0_3_load_54 | 63 | 0.062008 | 0.015541 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_117-12_0_3_load_56 | 65 | 0.0015772 | 0.00039529 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_117-12_0_3_load_57 | 66 | 0.001715 | 0.00042982 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_117-12_0_3_load_59 | 67 | 0.0012825 | 0.00032141 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_117-12_0_3_load_62 | 68 | 0.0022645 | 0.00056753 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_117-12_0_3_load_64 | 69 | 0.0015094 | 0.00037828 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_117-12_0_3_load_66 | 70 | 0.0014933 | 0.00037425 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_117-12_0_3_load_67 | 71 | 0.0018602 | 0.00046622 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_117-12_0_3_load_77 | 72 | 0.0016789 | 0.00042078 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_117-12_0_3_load_70 | 73 | 0.0021491 | 0.0005386 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_117-12_0_3_load_73 | 75 | 0.0029968 | 0.00075106 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_117-12_0_3_load_76 | 76 | 0.0030493 | 0.00076422 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_117-12_0_3_load_80 | 77 | 0.00096008 | 0.00024062 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_117-12_0_3_load_89 | 79 | 0.00080719 | 0.0002023 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_117-12_0_3_load_92 | 82 | 0.0026506 | 0.00066431 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_117-12_0_3_load_91 | 83 | 0.00059631 | 0.00014945 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_117-12_0_3_load_85 | 84 | 0.0022738 | 0.00056986 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_117-12_0_3_load_86 | 85 | 0.00075248 | 0.00018859 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_117-12_0_3_load_87 | 86 | 0.0018678 | 0.00046812 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_117-12_0_3_load_90 | 87 | 0.00092219 | 0.00023112 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_117-12_0_3_line_0 |  | 0 | 1 | 0.0019657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_117-12_0_3_line_1 |  | 0 | 2 | 0.025836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_117-12_0_3_line_2 |  | 1 | 3 | 0.0022429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_117-12_0_3_line_3 |  | 2 | 4 | 0.014427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_117-12_0_3_line_4 |  | 2 | 5 | 0.014035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_117-12_0_3_line_5 |  | 3 | 6 | 0.006653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_117-12_0_3_line_6 |  | 4 | 7 | 0.0029478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_117-12_0_3_line_7 |  | 5 | 8 | 0.016491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_117-12_0_3_line_8 |  | 6 | 9 | 0.020927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_117-12_0_3_line_9 |  | 7 | 10 | 0.021041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_117-12_0_3_line_10 |  | 8 | 13 | 0.03184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_117-12_0_3_line_11 |  | 9 | 14 | 0.0010874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_117-12_0_3_line_12 |  | 10 | 18 | 0.007681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_117-12_0_3_line_13 |  | 10 | 19 | 0.0067832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_117-12_0_3_line_14 |  | 11 | 12 | 0.018471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_117-12_0_3_line_15 |  | 12 | 20 | 0.0010152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_117-12_0_3_line_16 |  | 13 | 17 | 0.019711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_117-12_0_3_line_17 |  | 14 | 84 | 0.016937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_117-12_0_3_line_18 |  | 15 | 16 | 0.048497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_117-12_0_3_line_19 |  | 15 | 17 | 0.1051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_117-12_0_3_line_20 |  | 19 | 21 | 0.0045587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_117-12_0_3_line_21 |  | 20 | 23 | 0.019078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_117-12_0_3_line_22 |  | 21 | 22 | 0.013332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_117-12_0_3_line_23 |  | 22 | 65 | 0.011459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_117-12_0_3_line_24 |  | 23 | 72 | 0.0014737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_117-12_0_3_line_25 |  | 24 | 25 | 0.020657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_117-12_0_3_line_26 |  | 24 | 26 | 0.0047463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_117-12_0_3_line_27 |  | 26 | 27 | 0.023623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_117-12_0_3_line_28 |  | 27 | 28 | 0.039433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_117-12_0_3_line_29 |  | 28 | 29 | 0.01674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_117-12_0_3_line_30 |  | 29 | 30 | 0.03834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_117-12_0_3_line_31 |  | 29 | 31 | 0.044074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_117-12_0_3_line_32 |  | 30 | 32 | 0.026846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_117-12_0_3_line_33 |  | 31 | 33 | 0.0029848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_117-12_0_3_line_34 |  | 32 | 41 | 0.021479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_117-12_0_3_line_35 |  | 33 | 42 | 0.03649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_117-12_0_3_line_36 |  | 33 | 43 | 0.019505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_117-12_0_3_line_37 |  | 34 | 35 | 0.026413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_117-12_0_3_line_38 |  | 34 | 36 | 0.0076072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_117-12_0_3_line_39 |  | 35 | 37 | 0.020905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_117-12_0_3_line_40 |  | 36 | 38 | 0.053288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_117-12_0_3_line_41 |  | 37 | 39 | 0.025399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_117-12_0_3_line_42 |  | 39 | 40 | 0.01162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_117-12_0_3_line_43 |  | 40 | 41 | 0.027736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_117-12_0_3_line_44 |  | 41 | 44 | 0.015122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_117-12_0_3_line_45 |  | 42 | 45 | 0.032592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_117-12_0_3_line_46 |  | 42 | 46 | 0.03342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_117-12_0_3_line_47 |  | 43 | 47 | 0.017375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_117-12_0_3_line_48 |  | 44 | 48 | 0.02474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_117-12_0_3_line_49 |  | 45 | 50 | 0.025505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_117-12_0_3_line_50 |  | 45 | 51 | 0.037917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_117-12_0_3_line_51 |  | 47 | 52 | 0.028442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_117-12_0_3_line_52 |  | 48 | 49 | 0.031044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_117-12_0_3_line_53 |  | 49 | 64 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_117-12_0_3_line_54 |  | 50 | 53 | 0.018405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_117-12_0_3_line_55 |  | 51 | 54 | 0.027091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_117-12_0_3_line_56 |  | 52 | 55 | 0.028214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_117-12_0_3_line_57 |  | 53 | 56 | 0.016714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_117-12_0_3_line_58 |  | 53 | 57 | 0.054709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_117-12_0_3_line_59 |  | 54 | 58 | 0.0011246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_117-12_0_3_line_60 |  | 55 | 67 | 0.024957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_117-12_0_3_line_61 |  | 57 | 73 | 0.0049888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_117-12_0_3_line_62 |  | 58 | 68 | 0.020405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_117-12_0_3_line_63 |  | 59 | 60 | 0.030206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_117-12_0_3_line_64 |  | 60 | 61 | 0.033225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_117-12_0_3_line_65 |  | 61 | 62 | 0.04991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_117-12_0_3_line_66 |  | 61 | 63 | 0.075669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_117-12_0_3_line_67 |  | 62 | 64 | 0.0056123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_117-12_0_3_line_68 |  | 65 | 66 | 0.016209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_117-12_0_3_line_69 |  | 66 | 67 | 0.034415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_117-12_0_3_line_70 |  | 68 | 69 | 0.016445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_117-12_0_3_line_71 |  | 69 | 70 | 0.0014945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_117-12_0_3_line_72 |  | 70 | 71 | 0.0064517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_117-12_0_3_line_73 |  | 71 | 72 | 0.020575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_117-12_0_3_line_74 |  | 73 | 74 | 0.021169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_117-12_0_3_line_75 |  | 74 | 75 | 0.043605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_117-12_0_3_line_76 |  | 75 | 76 | 0.057249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_117-12_0_3_line_77 |  | 77 | 78 | 0.021778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_117-12_0_3_line_78 |  | 77 | 79 | 0.18847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_117-12_0_3_line_79 |  | 78 | 80 | 0.018687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_117-12_0_3_line_80 |  | 79 | 81 | 0.009048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_117-12_0_3_line_81 |  | 80 | 82 | 0.13897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_117-12_0_3_line_82 |  | 81 | 87 | 0.014758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_117-12_0_3_line_83 |  | 81 | 86 | 0.012423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_117-12_0_3_line_84 |  | 82 | 83 | 0.02832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_117-12_0_3_line_85 |  | 84 | 85 | 0.014924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_117-12_0_3_line_86 |  | 85 | 86 | 0.0052059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_117-12_0_3_trafo_59 | 0.63 MVA 20/0.4 kV | 88 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2705707.6343 | 1240621.215 | 2705707.6343 | 1240621.215 | 2705705.849 | 1240620.3924
1 | 2705733.2101 | 1240617.5565 | 2705707.6343 | 1240621.215
2 | 2705703.812 | 1240619.4536 | 2705705.849 | 1240620.3924
3 | 2705733.2101 | 1240617.5565 | 2705729.1294 | 1240603.719
4 | 2705744.659 | 1240625.7223 | 2705733.2101 | 1240617.5565
5 | 2705697.7697 | 1240616.6692 | 2705697.7697 | 1240616.6692 | 2705703.812 | 1240619.4536
6 | 2705729.1294 | 1240603.719 | 2705728.2956 | 1240600.8917
7 | 2705744.659 | 1240625.7223 | 2705742.7334 | 1240642.1008
8 | 2705697.7697 | 1240616.6692 | 2705681.5692 | 1240603.4226
9 | 2705723.3968 | 1240580.4307 | 2705727.9323 | 1240599.6597 | 2705728.2956 | 1240600.8917
10 | 2705748.0224 | 1240673.3638 | 2705746.8627 | 1240657.8088 | 2705742.7334 | 1240642.1008
11 | 2705681.5692 | 1240603.4226 | 2705680.7274 | 1240602.7343
12 | 2705723.3968 | 1240580.4307 | 2705730.6506 | 1240577.8467
13 | 2705723.3968 | 1240580.4307 | 2705722.7558 | 1240573.6779
14 | 2705770.4314 | 1240593.4463 | 2705771.533 | 1240592.0972 | 2705783.8979 | 1240580.8284
15 | 2705784.6482 | 1240580.1446 | 2705783.8979 | 1240580.8284
16 | 2705748.0224 | 1240673.3638 | 2705764.806 | 1240683.699
17 | 2705667.6157 | 1240592.0132 | 2705667.6157 | 1240592.0132 | 2705680.7274 | 1240602.7343
18 | 2705892.62 | 1240741.6833 | 2705895.8829 | 1240734.7249 | 2705896.1435 | 1240731.5604 | 2705895.059 | 1240728.3386 | 2705892.6479 | 1240725.7158 | 2705889.3583 | 1240724.0002 | 2705886.1748 | 1240723.1205 | 2705882.8597 | 1240722.8389 | 2705862.5306 | 1240722.3872
19 | 2705764.806 | 1240683.699 | 2705862.5306 | 1240722.3872
20 | 2705722.325 | 1240569.1395 | 2705722.7558 | 1240573.6779
21 | 2705798.7491 | 1240567.2936 | 2705784.6482 | 1240580.1446
22 | 2705722.325 | 1240569.1395 | 2705722.2761 | 1240568.6238 | 2705723.5093 | 1240555.8691
23 | 2705725.8148 | 1240544.6445 | 2705723.5093 | 1240555.8691 | 2705723.5093 | 1240555.8691
24 | 2705798.7491 | 1240567.2936 | 2705799.8384 | 1240566.301
25 | 2705845.9643 | 1240343.646 | 2705861.3559 | 1240329.8687
26 | 2705842.4279 | 1240346.8115 | 2705845.9643 | 1240343.646
27 | 2705842.4279 | 1240346.8115 | 2705829.0999 | 1240358.7416 | 2705825.6687 | 1240363.3377
28 | 2705825.6687 | 1240363.3377 | 2705805.4975 | 1240390.3566 | 2705801.2839 | 1240394.2179
29 | 2705794.0292 | 1240409.1335 | 2705797.7218 | 1240403.1057 | 2705799.8176 | 1240399.6738 | 2705801.2839 | 1240394.2179 | 2705801.2839 | 1240394.2179
30 | 2705794.0292 | 1240409.1335 | 2705790.8111 | 1240408.4868 | 2705774.6513 | 1240405.3297 | 2705764.3229 | 1240404.3005 | 2705756.1224 | 1240404.7458
31 | 2705794.0292 | 1240409.1335 | 2705830.3778 | 1240423.6259 | 2705835.259 | 1240424.4064
32 | 2705756.1224 | 1240404.7458 | 2705754.1477 | 1240404.853 | 2705735.3636 | 1240407.198 | 2705729.7394 | 1240409.1053
33 | 2705838.2064 | 1240424.8776 | 2705835.259 | 1240424.4064
34 | 2705710.375 | 1240418.1727 | 2705721.1264 | 1240412.026 | 2705729.7394 | 1240409.1053
35 | 2705874.6286 | 1240427.6069 | 2705856.6839 | 1240427.4201 | 2705838.2064 | 1240424.8776
36 | 2705838.2064 | 1240424.8776 | 2705837.6506 | 1240431.4394 | 2705830.7994 | 1240442.3925
37 | 2705767.5973 | 1240341.2837 | 2705746.1907 | 1240356.757
38 | 2705773.7625 | 1240336.8273 | 2705767.5973 | 1240341.2837
39 | 2705729.2486 | 1240369.0032 | 2705746.1907 | 1240356.757
40 | 2705773.7625 | 1240336.8273 | 2705770.2256 | 1240283.6573
41 | 2705708.6641 | 1240383.8822 | 2705729.2486 | 1240369.0032
42 | 2705701.2289 | 1240392.8123 | 2705708.6641 | 1240383.8822 | 2705708.6641 | 1240383.8822
43 | 2705710.375 | 1240418.1727 | 2705701.4696 | 1240402.6465 | 2705701.2289 | 1240392.8123 | 2705701.2289 | 1240392.8123
44 | 2705710.375 | 1240418.1727 | 2705697.5654 | 1240426.2103
45 | 2705874.6286 | 1240427.6069 | 2705873.8505 | 1240460.185
46 | 2705874.6286 | 1240427.6069 | 2705892.1887 | 1240422.6496 | 2705905.7845 | 1240415.9119
47 | 2705815.4413 | 1240450.5182 | 2705830.7994 | 1240442.3925
48 | 2705676.6093 | 1240439.3595 | 2705697.5654 | 1240426.2103
49 | 2705873.8505 | 1240460.185 | 2705888.7688 | 1240465.0882 | 2705897.3207 | 1240469.8778
50 | 2705873.8505 | 1240460.185 | 2705864.9212 | 1240481.2088 | 2705859.0357 | 1240495.0885
51 | 2705791.8378 | 1240466.2383 | 2705806.3201 | 1240455.344 | 2705815.4413 | 1240450.5182
52 | 2705676.6093 | 1240439.3595 | 2705671.9467 | 1240442.2851 | 2705654.3059 | 1240448.3981 | 2705647.4544 | 1240448.892
53 | 2705633.5252 | 1240449.8961 | 2705647.4544 | 1240448.892
54 | 2705906.1722 | 1240485.4256 | 2705903.5417 | 1240476.4383 | 2705897.3207 | 1240469.8778
55 | 2705845.5108 | 1240518.3006 | 2705853.6383 | 1240507.8172 | 2705859.0357 | 1240495.0885
56 | 2705791.8378 | 1240466.2383 | 2705783.5053 | 1240472.5064 | 2705770.7525 | 1240484.9052
57 | 2705906.1722 | 1240485.4256 | 2705918.1331 | 1240473.7505
58 | 2705906.1722 | 1240485.4256 | 2705905.6034 | 1240495.679 | 2705897.4693 | 1240530.6166 | 2705896.874 | 1240535.9991 | 2705897.1217 | 1240539.1421
59 | 2705845.5108 | 1240518.3006 | 2705844.8217 | 1240519.1894
60 | 2705770.7525 | 1240484.9052 | 2705752.8583 | 1240502.3027
61 | 2705897.9854 | 1240544.0289 | 2705897.3304 | 1240541.7895 | 2705897.1217 | 1240539.1421
62 | 2705832.3195 | 1240535.3157 | 2705844.8217 | 1240519.1894
63 | 2705618.2815 | 1240401.2316 | 2705631.9295 | 1240390.8441 | 2705642.0315 | 1240382.5755
64 | 2705590.3819 | 1240419.3938 | 2705618.2815 | 1240401.2316
65 | 2705590.3819 | 1240419.3938 | 2705599.9925 | 1240434.8323 | 2705615.3037 | 1240445.2906 | 2705628.0841 | 1240448.5209
66 | 2705590.3819 | 1240419.3938 | 2705522.3579 | 1240452.538
67 | 2705633.5252 | 1240449.8961 | 2705628.0841 | 1240448.5209
68 | 2705725.8148 | 1240544.6445 | 2705726.3334 | 1240542.1198 | 2705732.721 | 1240530.0778
69 | 2705732.721 | 1240530.0778 | 2705733.6431 | 1240528.3393 | 2705748.9468 | 1240506.1057 | 2705752.8583 | 1240502.3027
70 | 2705832.3195 | 1240535.3157 | 2705828.6643 | 1240540.0304 | 2705820.9187 | 1240547.0893
71 | 2705819.8141 | 1240548.096 | 2705820.9187 | 1240547.0893
72 | 2705819.8141 | 1240548.096 | 2705815.0456 | 1240552.4418
73 | 2705815.0456 | 1240552.4418 | 2705799.8384 | 1240566.301
74 | 2705913.4443 | 1240556.3883 | 2705908.4429 | 1240555.2315 | 2705904.1026 | 1240553.0524 | 2705900.8468 | 1240550.2922 | 2705898.478 | 1240545.713 | 2705897.9854 | 1240544.0289
75 | 2705913.4443 | 1240556.3883 | 2705918.1638 | 1240556.3836 | 2705923.3641 | 1240555.2978 | 2705928.1406 | 1240552.9478 | 2705936.0091 | 1240547.2949 | 2705944.3791 | 1240540.6614 | 2705949.5851 | 1240534.7441
76 | 2705949.5851 | 1240534.7441 | 2705988.8323 | 1240576.4224
77 | 2705561.2024 | 1240799.7706 | 2705544.518 | 1240785.7741
78 | 2705640.5666 | 1240623.612 | 2705544.518 | 1240785.7741
79 | 2705561.2024 | 1240799.7706 | 2705551.4955 | 1240807.6263 | 2705546.7951 | 1240811.6681
80 | 2705646.1094 | 1240616.4495 | 2705640.5666 | 1240623.612
81 | 2705546.7951 | 1240811.6681 | 2705452.3549 | 1240913.6124
82 | 2705646.1094 | 1240616.4495 | 2705655.7189 | 1240627.6737
83 | 2705646.1094 | 1240616.4495 | 2705654.3166 | 1240607.1241
84 | 2705433.0751 | 1240934.356 | 2705452.3549 | 1240913.6124
85 | 2705657.756 | 1240603.2162 | 2705667.6157 | 1240592.0132
86 | 2705657.756 | 1240603.2162 | 2705654.3166 | 1240607.1241

## bus_geodata
| x | y | coords
0 | 2705707.6343 | 1240621.215
1 | 2705705.849 | 1240620.3924
2 | 2705733.2101 | 1240617.5565
3 | 2705703.812 | 1240619.4536
4 | 2705729.1294 | 1240603.719
5 | 2705744.659 | 1240625.7223
6 | 2705697.7697 | 1240616.6692
7 | 2705728.2956 | 1240600.8917
8 | 2705742.7334 | 1240642.1008
9 | 2705681.5692 | 1240603.4226
10 | 2705723.3968 | 1240580.4307
11 | 2705770.4314 | 1240593.4463
12 | 2705783.8979 | 1240580.8284
13 | 2705748.0224 | 1240673.3638
14 | 2705680.7274 | 1240602.7343
15 | 2705862.5306 | 1240722.3872
16 | 2705892.62 | 1240741.6833
17 | 2705764.806 | 1240683.699
18 | 2705730.6506 | 1240577.8467
19 | 2705722.7558 | 1240573.6779
20 | 2705784.6482 | 1240580.1446
21 | 2705722.325 | 1240569.1395
22 | 2705723.5093 | 1240555.8691
23 | 2705798.7491 | 1240567.2937
24 | 2705845.9643 | 1240343.646
25 | 2705861.3559 | 1240329.8687
26 | 2705842.4279 | 1240346.8115
27 | 2705825.6687 | 1240363.3377
28 | 2705801.2839 | 1240394.2179
29 | 2705794.0292 | 1240409.1335
30 | 2705756.1224 | 1240404.7458
31 | 2705835.259 | 1240424.4064
32 | 2705729.7394 | 1240409.1053
33 | 2705838.2064 | 1240424.8776
34 | 2705767.5973 | 1240341.2837
35 | 2705746.1907 | 1240356.757
36 | 2705773.7625 | 1240336.8273
37 | 2705729.2486 | 1240369.0032
38 | 2705770.2256 | 1240283.6573
39 | 2705708.6641 | 1240383.8822
40 | 2705701.2289 | 1240392.8123
41 | 2705710.375 | 1240418.1727
42 | 2705874.6286 | 1240427.6069
43 | 2705830.7994 | 1240442.3925
44 | 2705697.5654 | 1240426.2103
45 | 2705873.8505 | 1240460.185
46 | 2705905.7845 | 1240415.9119
47 | 2705815.4413 | 1240450.5182
48 | 2705676.6093 | 1240439.3595
49 | 2705647.4544 | 1240448.892
50 | 2705897.3207 | 1240469.8778
51 | 2705859.0357 | 1240495.0885
52 | 2705791.8378 | 1240466.2383
53 | 2705906.1722 | 1240485.4256
54 | 2705845.5108 | 1240518.3006
55 | 2705770.7525 | 1240484.9052
56 | 2705918.1331 | 1240473.7505
57 | 2705897.1217 | 1240539.1421
58 | 2705844.8217 | 1240519.1894
59 | 2705642.0315 | 1240382.5755
60 | 2705618.2815 | 1240401.2316
61 | 2705590.3819 | 1240419.3938
62 | 2705628.0841 | 1240448.5209
63 | 2705522.3579 | 1240452.538
64 | 2705633.5252 | 1240449.8961
65 | 2705725.8148 | 1240544.6445
66 | 2705732.721 | 1240530.0778
67 | 2705752.8583 | 1240502.3027
68 | 2705832.3195 | 1240535.3157
69 | 2705820.9187 | 1240547.0893
70 | 2705819.8141 | 1240548.096
71 | 2705815.0456 | 1240552.4418
72 | 2705799.8384 | 1240566.301
73 | 2705897.9854 | 1240544.0289
74 | 2705913.4443 | 1240556.3883
75 | 2705949.5851 | 1240534.7441
76 | 2705988.8323 | 1240576.4224
77 | 2705544.518 | 1240785.7741
78 | 2705561.2024 | 1240799.7706
79 | 2705640.5666 | 1240623.612
80 | 2705546.7951 | 1240811.6681
81 | 2705646.1094 | 1240616.4495
82 | 2705452.3549 | 1240913.6124
83 | 2705433.0751 | 1240934.356
84 | 2705667.6157 | 1240592.0132
85 | 2705657.756 | 1240603.2162
86 | 2705654.3166 | 1240607.1241
87 | 2705655.7189 | 1240627.6737
88 | 2705723.3968 | 1240580.4307

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99639 | -0.069399 | 0.0012141 | 0.00030427
1 | 0.99637 | -0.069904 | 0.00031301 | 7.8447e-05
2 | 0.99677 | -0.062206 | 0 | 0
3 | 0.99634 | -0.070469 | 0.0010265 | 0.00025726
4 | 0.99706 | -0.056527 | 0.0012456 | 0.00031217
5 | 0.99668 | -0.063828 | 0 | 0
6 | 0.99626 | -0.072023 | 0.00086619 | 0.00021709
7 | 0.99712 | -0.055302 | 0.0011402 | 0.00028576
8 | 0.99658 | -0.065733 | 0.00094775 | 0.00023753
9 | 0.99602 | -0.076597 | 0.00079795 | 0.00019999
10 | 0.9976 | -0.046146 | 0 | 0
11 | 0.984 | -0.30662 | 0.0015193 | 0.00038076
12 | 0.98402 | -0.30612 | 0.0014157 | 0.00035482
13 | 0.99642 | -0.068882 | 0 | 0
14 | 0.99601 | -0.076819 | 0.00079741 | 0.00019985
15 | 0.99593 | -0.078323 | 0.00096382 | 0.00024156
16 | 0.99579 | -0.080957 | 0.0030903 | 0.00077449
17 | 0.99632 | -0.070832 | 0.001575 | 0.00039474
18 | 0.99759 | -0.046326 | 0.0013384 | 0.00033543
19 | 0.99776 | -0.043037 | 0.0007459 | 0.00018694
20 | 0.98403 | -0.30606 | 0.0010622 | 0.00026621
21 | 0.99787 | -0.040889 | 0.0007458 | 0.00018692
22 | 0.99821 | -0.034435 | 0.0018626 | 0.00046681
23 | 0.9841 | -0.30469 | 0.00258 | 0.00064662
24 | 0.98599 | -0.26721 | 0.0020727 | 0.00051948
25 | 0.98597 | -0.26762 | 0.0010921 | 0.0002737
26 | 0.98601 | -0.26694 | 0.0020313 | 0.00050909
27 | 0.98612 | -0.26474 | 0.002706 | 0.00067818
28 | 0.9864 | -0.25916 | 0.0028215 | 0.00070713
29 | 0.98657 | -0.25594 | 0 | 0
30 | 0.98459 | -0.29416 | 0.0047173 | 0.0011823
31 | 0.98907 | -0.20798 | 0.0038456 | 0.00096379
32 | 0.98326 | -0.31987 | 0.0040454 | 0.0010139
33 | 0.98924 | -0.20464 | 0 | 0
34 | 0.9798 | -0.38741 | 0.0028424 | 0.00071237
35 | 0.9802 | -0.37943 | 0.0048443 | 0.0012141
36 | 0.9797 | -0.38932 | 0.008326 | 0.0020867
37 | 0.98062 | -0.37129 | 0.0045292 | 0.0011351
38 | 0.97943 | -0.39461 | 0.0054729 | 0.0013716
39 | 0.98123 | -0.35932 | 0.0010924 | 0.00027378
40 | 0.98152 | -0.35361 | 0.00062263 | 0.00015605
41 | 0.98223 | -0.33971 | 0 | 0
42 | 0.98761 | -0.23634 | 0 | 0
43 | 0.99082 | -0.1744 | 0.012582 | 0.0031533
44 | 0.98171 | -0.3499 | 0.0022267 | 0.00055806
45 | 0.98628 | -0.2622 | 0 | 0
46 | 0.98747 | -0.23893 | 0.0043362 | 0.0010867
47 | 0.99232 | -0.14561 | 0.0066859 | 0.0016756
48 | 0.98087 | -0.36611 | 0.0024262 | 0.00060807
49 | 0.97884 | -0.40553 | 0.0019733 | 0.00049456
50 | 0.98588 | -0.26993 | 0.0032774 | 0.00082138
51 | 0.98532 | -0.28087 | 0.0084591 | 0.00212
52 | 0.99488 | -0.09699 | 0.014028 | 0.0035158
53 | 0.98565 | -0.27443 | 0 | 0
54 | 0.98484 | -0.2901 | 0.002015 | 0.00050502
55 | 0.99759 | -0.04554 | 0.0011994 | 0.00030059
56 | 0.98562 | -0.27508 | 0.002178 | 0.00054585
57 | 0.98507 | -0.28567 | 0.0032464 | 0.00081363
58 | 0.98483 | -0.29045 | 0.0015828 | 0.00039668
59 | 0.97444 | -0.49148 | 0.0024476 | 0.00061343
60 | 0.97451 | -0.49012 | 0 | 0
61 | 0.97459 | -0.48863 | 0 | 0
62 | 0.9776 | -0.42977 | 0.0035155 | 0.00088107
63 | 0.9702 | -0.57512 | 0.062008 | 0.015541
64 | 0.97795 | -0.42282 | 0 | 0
65 | 0.99851 | -0.028518 | 0.0015772 | 0.00039529
66 | 0.99897 | -0.019708 | 0.001715 | 0.00042982
67 | 1 | 0 | -0.2471 | -0.062972
68 | 0.98454 | -0.29609 | 0.0022645 | 0.00056753
69 | 0.98434 | -0.29997 | 0.0015094 | 0.00037828
70 | 0.98432 | -0.30028 | 0.0014933 | 0.00037425
71 | 0.98426 | -0.30146 | 0.0018602 | 0.00046622
72 | 0.98411 | -0.30452 | 0.0016789 | 0.00042078
73 | 0.98504 | -0.28641 | 0.0021491 | 0.0005386
74 | 0.98492 | -0.28871 | 0 | 0
75 | 0.98467 | -0.29345 | 0.0029968 | 0.00075106
76 | 0.98451 | -0.29659 | 0.0030493 | 0.00076422
77 | 0.99486 | -0.099097 | 0.00096008 | 0.00024062
78 | 0.99479 | -0.10034 | 0 | 0
79 | 0.99558 | -0.085111 | 0.00080719 | 0.0002023
80 | 0.99474 | -0.10142 | 0 | 0
81 | 0.99562 | -0.084311 | 0 | 0
82 | 0.99433 | -0.10937 | 0.0026506 | 0.00066431
83 | 0.99431 | -0.10967 | 0.00059631 | 0.00014945
84 | 0.99584 | -0.080047 | 0.0022738 | 0.00056986
85 | 0.99572 | -0.082295 | 0.00075248 | 0.00018859
86 | 0.99569 | -0.083011 | 0.0018678 | 0.00046812
87 | 0.99561 | -0.08455 | 0.00092219 | 0.00023112
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.014644 | 0.0036684 | -0.014644 | -0.0036682 | 3.5252e-07 | 2.0001e-07 | 0.021869 | 0.021869 | 0.021869 | 0.99639 | -0.069399 | 0.99637 | -0.069904 | 6.0079
1 | -0.015858 | -0.0039727 | 0.015863 | 0.0039758 | 5.4335e-06 | 3.1408e-06 | 0.023682 | 0.023682 | 0.023682 | 0.99639 | -0.069399 | 0.99677 | -0.062206 | 6.506
2 | 0.014331 | 0.0035897 | -0.01433 | -0.0035895 | 3.8523e-07 | 2.1734e-07 | 0.021401 | 0.021401 | 0.021401 | 0.99637 | -0.069904 | 0.99634 | -0.070469 | 5.8794
3 | -0.022445 | -0.0056238 | 0.022451 | 0.0056275 | 6.0734e-06 | 3.6989e-06 | 0.033506 | 0.033506 | 0.033506 | 0.99677 | -0.062206 | 0.99706 | -0.056527 | 9.2049
4 | 0.0065812 | 0.001648 | -0.0065807 | -0.0016479 | 5.0797e-07 | 1.4218e-07 | 0.0098242 | 0.0098242 | 0.0098242 | 0.99677 | -0.062206 | 0.99668 | -0.063828 | 2.699
5 | 0.013304 | 0.0033323 | -0.013303 | -0.0033317 | 9.8484e-07 | 5.4366e-07 | 0.019868 | 0.019868 | 0.019868 | 0.99634 | -0.070469 | 0.99626 | -0.072023 | 5.4583
6 | -0.023696 | -0.0059397 | 0.023698 | 0.0059405 | 1.3825e-06 | 8.4634e-07 | 0.035365 | 0.035365 | 0.035365 | 0.99706 | -0.056527 | 0.99712 | -0.055302 | 9.7155
7 | 0.0065807 | 0.0016479 | -0.0065801 | -0.0016477 | 5.9688e-07 | 1.671e-07 | 0.0098242 | 0.0098243 | 0.0098243 | 0.99668 | -0.063828 | 0.99658 | -0.065733 | 2.699
8 | 0.012436 | 0.0031146 | -0.012434 | -0.0031132 | 2.7075e-06 | 1.4604e-06 | 0.018574 | 0.018575 | 0.018575 | 0.99626 | -0.072023 | 0.99602 | -0.076597 | 5.1029
9 | -0.024838 | -0.0062263 | 0.024849 | 0.0062329 | 1.0841e-05 | 6.6634e-06 | 0.037066 | 0.037066 | 0.037066 | 0.99712 | -0.055302 | 0.9976 | -0.046146 | 10.183
10 | 0.0056323 | 0.0014102 | -0.0056315 | -0.00141 | 8.4435e-07 | 1.2558e-07 | 0.0084092 | 0.0084094 | 0.0084094 | 0.99658 | -0.065733 | 0.99642 | -0.068882 | 2.3103
11 | 0.011636 | 0.0029132 | -0.011636 | -0.0029131 | 1.2321e-07 | 6.4703e-08 | 0.017382 | 0.017382 | 0.017382 | 0.99602 | -0.076597 | 0.99601 | -0.076819 | 4.7754
12 | 0.0013384 | 0.00033534 | -0.0013384 | -0.00033543 | 1.1479e-08 | -9.2938e-08 | 0.0019963 | 0.0019964 | 0.0019964 | 0.9976 | -0.046146 | 0.99759 | -0.046326 | 0.54845
13 | -0.026187 | -0.0065683 | 0.026191 | 0.0065707 | 3.8813e-06 | 2.3955e-06 | 0.039062 | 0.039062 | 0.039062 | 0.9976 | -0.046146 | 0.99776 | -0.043037 | 10.7314
14 | -0.0015193 | -0.00038076 | 0.0015193 | 0.00038055 | 3.656e-08 | -2.1124e-07 | 0.0022974 | 0.0022974 | 0.0022974 | 0.984 | -0.30662 | 0.98402 | -0.30612 | 0.63117
15 | -0.002935 | -0.00073537 | 0.002935 | 0.00073536 | 7.4987e-09 | -8.097e-09 | 0.0044382 | 0.0044382 | 0.0044382 | 0.98402 | -0.30612 | 0.98403 | -0.30606 | 1.2193
16 | 0.0056315 | 0.00141 | -0.0056309 | -0.00141 | 5.2271e-07 | 7.782e-08 | 0.0084094 | 0.0084094 | 0.0084094 | 0.99642 | -0.068882 | 0.99632 | -0.070832 | 2.3103
17 | 0.010838 | 0.0027133 | -0.010837 | -0.0027124 | 1.665e-06 | 8.4522e-07 | 0.016191 | 0.016191 | 0.016191 | 0.99601 | -0.076819 | 0.99584 | -0.080047 | 4.4481
18 | 0.0030906 | 0.00077411 | -0.0030903 | -0.00077449 | 3.8778e-07 | -3.8281e-07 | 0.0046175 | 0.0046178 | 0.0046178 | 0.99593 | -0.078323 | 0.99579 | -0.080957 | 1.2686
19 | -0.0040545 | -0.0010157 | 0.0040559 | 0.0010152 | 1.4462e-06 | -4.4269e-07 | 0.0060576 | 0.0060571 | 0.0060576 | 0.99593 | -0.078323 | 0.99632 | -0.070832 | 1.6642
20 | -0.026937 | -0.0067576 | 0.02694 | 0.0067593 | 2.7592e-06 | 1.7063e-06 | 0.040175 | 0.040175 | 0.040175 | 0.99776 | -0.043037 | 0.99787 | -0.040889 | 11.037
21 | -0.0039972 | -0.0010016 | 0.0039975 | 0.0010015 | 2.6138e-07 | -7.5096e-08 | 0.0060444 | 0.0060443 | 0.0060444 | 0.98403 | -0.30606 | 0.9841 | -0.30469 | 1.6606
22 | -0.027685 | -0.0069462 | 0.027694 | 0.0069515 | 8.5223e-06 | 5.28e-06 | 0.041287 | 0.041287 | 0.041287 | 0.99787 | -0.040889 | 0.99821 | -0.034435 | 11.3425
23 | -0.029556 | -0.0074183 | 0.029565 | 0.0074235 | 8.3431e-06 | 5.1898e-06 | 0.044063 | 0.044063 | 0.044063 | 0.99821 | -0.034435 | 0.99851 | -0.028518 | 12.1053
24 | -0.0065775 | -0.0016481 | 0.0065776 | 0.0016481 | 5.4663e-08 | 1.626e-08 | 0.0099455 | 0.0099455 | 0.0099455 | 0.9841 | -0.30469 | 0.98411 | -0.30452 | 2.7323
25 | 0.0010921 | 0.00027345 | -0.0010921 | -0.0002737 | 2.1041e-08 | -2.5e-07 | 0.001648 | 0.0016481 | 0.0016481 | 0.98599 | -0.26721 | 0.98597 | -0.26762 | 0.45278
26 | -0.0031648 | -0.00079292 | 0.0031649 | 0.00079289 | 4.0601e-08 | -3.4552e-08 | 0.0047761 | 0.0047761 | 0.0047761 | 0.98599 | -0.26721 | 0.98601 | -0.26694 | 1.3121
27 | -0.0051962 | -0.001302 | 0.0051967 | 0.001302 | 5.4472e-07 | 4.7282e-08 | 0.0078416 | 0.0078415 | 0.0078416 | 0.98601 | -0.26694 | 0.98612 | -0.26474 | 2.1543
28 | -0.0079027 | -0.0019802 | 0.0079048 | 0.0019811 | 2.1027e-06 | 8.4252e-07 | 0.011925 | 0.011925 | 0.011925 | 0.98612 | -0.26474 | 0.9864 | -0.25916 | 3.276
29 | -0.010726 | -0.0026882 | 0.010728 | 0.002689 | 1.6435e-06 | 8.3814e-07 | 0.016181 | 0.016181 | 0.016181 | 0.9864 | -0.25916 | 0.98657 | -0.25594 | 4.4453
30 | 0.11233 | 0.028629 | -0.11213 | -0.028498 | 0.00020678 | 0.00013136 | 0.1696 | 0.1696 | 0.1696 | 0.98657 | -0.25594 | 0.98459 | -0.29416 | 23.2967
31 | -0.12306 | -0.031318 | 0.12335 | 0.0315 | 0.00028522 | 0.00018141 | 0.18578 | 0.18578 | 0.18578 | 0.98657 | -0.25594 | 0.98907 | -0.20798 | 25.5193
32 | 0.10741 | 0.027315 | -0.10728 | -0.027231 | 0.00013287 | 8.4357e-05 | 0.16247 | 0.16247 | 0.16247 | 0.98459 | -0.29416 | 0.98326 | -0.31987 | 22.3174
33 | -0.12719 | -0.032463 | 0.12721 | 0.032476 | 2.0537e-05 | 1.3067e-05 | 0.19157 | 0.19157 | 0.19157 | 0.98907 | -0.20798 | 0.98924 | -0.20464 | 26.3139
34 | 0.10323 | 0.026217 | -0.10313 | -0.026155 | 9.8448e-05 | 6.2462e-05 | 0.15635 | 0.15635 | 0.15635 | 0.98326 | -0.31987 | 0.98223 | -0.33971 | 21.4765
35 | 0.048863 | 0.012313 | -0.048789 | -0.012266 | 7.397e-05 | 4.6873e-05 | 0.073523 | 0.073523 | 0.073523 | 0.98924 | -0.20464 | 0.98761 | -0.23634 | 20.1988
36 | -0.17608 | -0.04479 | 0.17633 | 0.044954 | 0.00025699 | 0.00016397 | 0.26509 | 0.26509 | 0.26509 | 0.98924 | -0.20464 | 0.99082 | -0.1744 | 36.4132
37 | -0.016644 | -0.0041716 | 0.01665 | 0.0041753 | 6.3286e-06 | 3.7175e-06 | 0.025277 | 0.025277 | 0.025277 | 0.9798 | -0.38741 | 0.9802 | -0.37943 | 6.9443
38 | 0.013802 | 0.0034592 | -0.0138 | -0.0034585 | 1.2533e-06 | 7.0632e-07 | 0.02096 | 0.02096 | 0.02096 | 0.9798 | -0.38741 | 0.9797 | -0.38932 | 5.7584
39 | -0.021494 | -0.0053894 | 0.021503 | 0.0053945 | 8.3471e-06 | 5.0785e-06 | 0.032631 | 0.032631 | 0.032631 | 0.9802 | -0.37943 | 0.98062 | -0.37129 | 8.9646
40 | 0.0054743 | 0.0013719 | -0.0054729 | -0.0013716 | 1.3815e-06 | 2.1334e-07 | 0.0083146 | 0.0083148 | 0.0083148 | 0.9797 | -0.38932 | 0.97943 | -0.39461 | 2.2843
41 | -0.026032 | -0.0065296 | 0.026047 | 0.0065388 | 1.4863e-05 | 9.192e-06 | 0.039504 | 0.039504 | 0.039504 | 0.98062 | -0.37129 | 0.98123 | -0.35932 | 10.8527
42 | -0.027139 | -0.0068126 | 0.027147 | 0.0068172 | 7.3824e-06 | 4.5779e-06 | 0.04116 | 0.04116 | 0.04116 | 0.98123 | -0.35932 | 0.98152 | -0.35361 | 11.3077
43 | -0.027769 | -0.0069732 | 0.027788 | 0.0069847 | 1.8438e-05 | 1.145e-05 | 0.042104 | 0.042104 | 0.042104 | 0.98152 | -0.35361 | 0.98223 | -0.33971 | 11.567
44 | 0.075345 | 0.01917 | -0.075308 | -0.019147 | 3.7008e-05 | 2.3303e-05 | 0.11425 | 0.11425 | 0.11425 | 0.98223 | -0.33971 | 0.98171 | -0.3499 | 15.693
45 | 0.044452 | 0.01118 | -0.044397 | -0.011145 | 5.4847e-05 | 3.4686e-05 | 0.066989 | 0.06699 | 0.06699 | 0.98761 | -0.23634 | 0.98628 | -0.2622 | 18.4037
46 | 0.0043367 | 0.0010867 | -0.0043362 | -0.0010867 | 5.3507e-07 | -8.5148e-08 | 0.006534 | 0.0065342 | 0.0065342 | 0.98761 | -0.23634 | 0.98747 | -0.23893 | 1.7951
47 | -0.18891 | -0.048107 | 0.18918 | 0.048275 | 0.00026273 | 0.0001677 | 0.28398 | 0.28398 | 0.28398 | 0.99082 | -0.1744 | 0.99232 | -0.14561 | 39.0087
48 | 0.073081 | 0.018589 | -0.073024 | -0.018553 | 5.702e-05 | 3.5868e-05 | 0.11087 | 0.11087 | 0.11087 | 0.98171 | -0.3499 | 0.98087 | -0.36611 | 15.2295
49 | 0.016915 | 0.0042433 | -0.016909 | -0.0042396 | 6.2298e-06 | 3.6617e-06 | 0.025521 | 0.025522 | 0.025522 | 0.98628 | -0.2622 | 0.98588 | -0.26993 | 7.0114
50 | 0.027482 | 0.0069019 | -0.027458 | -0.0068867 | 2.4451e-05 | 1.5165e-05 | 0.041468 | 0.041468 | 0.041468 | 0.98628 | -0.2622 | 0.98532 | -0.28087 | 11.3924
51 | -0.19586 | -0.04995 | 0.19632 | 0.050245 | 0.00046097 | 0.00029429 | 0.29401 | 0.29401 | 0.29401 | 0.99232 | -0.14561 | 0.99488 | -0.09699 | 40.3858
52 | 0.070598 | 0.017945 | -0.070464 | -0.01786 | 0.00013376 | 8.5213e-05 | 0.10719 | 0.10719 | 0.10719 | 0.98087 | -0.36611 | 0.97884 | -0.40553 | 29.4478
53 | 0.06849 | 0.017365 | -0.068434 | -0.017329 | 5.6851e-05 | 3.6209e-05 | 0.10419 | 0.10419 | 0.10419 | 0.97884 | -0.40553 | 0.97795 | -0.42282 | 28.6237
54 | 0.013631 | 0.0034182 | -0.013628 | -0.0034166 | 2.9218e-06 | 1.6353e-06 | 0.020575 | 0.020575 | 0.020575 | 0.98588 | -0.26993 | 0.98565 | -0.27443 | 5.6525
55 | 0.018999 | 0.0047667 | -0.01899 | -0.0047617 | 8.3641e-06 | 5.0082e-06 | 0.028694 | 0.028694 | 0.028694 | 0.98532 | -0.28087 | 0.98484 | -0.2901 | 7.8829
56 | -0.21035 | -0.05376 | 0.21088 | 0.054096 | 0.00052487 | 0.00033518 | 0.31499 | 0.31499 | 0.31499 | 0.99488 | -0.09699 | 0.99759 | -0.04554 | 43.2678
57 | 0.002178 | 0.00054568 | -0.002178 | -0.00054585 | 6.7768e-08 | -1.6965e-07 | 0.0032881 | 0.0032882 | 0.0032882 | 0.98565 | -0.27443 | 0.98562 | -0.27508 | 0.90334
58 | 0.01145 | 0.0028709 | -0.011444 | -0.0028677 | 6.131e-06 | 3.227e-06 | 0.017287 | 0.017287 | 0.017287 | 0.98565 | -0.27443 | 0.98507 | -0.28567 | 4.7492
59 | 0.016975 | 0.0042566 | -0.016975 | -0.0042565 | 2.7745e-07 | 1.6326e-07 | 0.025649 | 0.025649 | 0.025649 | 0.98484 | -0.2901 | 0.98483 | -0.29045 | 7.0465
60 | -0.21208 | -0.054396 | 0.21255 | 0.054696 | 0.00046958 | 0.00029988 | 0.31678 | 0.31678 | 0.31678 | 0.99759 | -0.04554 | 1 | 0 | 43.5135
61 | 0.0081979 | 0.002054 | -0.0081976 | -0.0020539 | 2.8688e-07 | 1.2009e-07 | 0.012383 | 0.012383 | 0.012383 | 0.98507 | -0.28567 | 0.98504 | -0.28641 | 3.402
62 | 0.015392 | 0.0038598 | -0.015388 | -0.0038574 | 4.1391e-06 | 2.3894e-06 | 0.023258 | 0.023258 | 0.023258 | 0.98483 | -0.29045 | 0.98454 | -0.29609 | 6.3895
63 | -0.0024476 | -0.00061343 | 0.0024478 | 0.00061316 | 1.5823e-07 | -2.7504e-07 | 0.0037376 | 0.0037375 | 0.0037376 | 0.97444 | -0.49148 | 0.97451 | -0.49012 | 1.0268
64 | -0.0024478 | -0.00061316 | 0.002448 | 0.00061286 | 1.7404e-07 | -3.026e-07 | 0.0037375 | 0.0037374 | 0.0037375 | 0.97451 | -0.49012 | 0.97459 | -0.48863 | 1.0268
65 | -0.064712 | -0.016317 | 0.064895 | 0.016433 | 0.00018284 | 0.0001164 | 0.098839 | 0.098839 | 0.098839 | 0.97459 | -0.48863 | 0.9776 | -0.42977 | 27.1537
66 | 0.062264 | 0.015704 | -0.062008 | -0.015541 | 0.00025664 | 0.00016331 | 0.095102 | 0.095102 | 0.095102 | 0.97459 | -0.48863 | 0.9702 | -0.57512 | 26.127
67 | -0.068411 | -0.017314 | 0.068434 | 0.017329 | 2.2847e-05 | 1.4551e-05 | 0.10419 | 0.10419 | 0.10419 | 0.9776 | -0.42977 | 0.97795 | -0.42282 | 28.6237
68 | -0.031142 | -0.0078188 | 0.031155 | 0.007827 | 1.3094e-05 | 8.168e-06 | 0.046414 | 0.046414 | 0.046414 | 0.99851 | -0.028518 | 0.99897 | -0.019708 | 12.751
69 | -0.03287 | -0.0082568 | 0.032901 | 0.0082762 | 3.0946e-05 | 1.9354e-05 | 0.048968 | 0.048968 | 0.048968 | 0.99897 | -0.019708 | 1 | 0 | 13.4528
70 | 0.013124 | 0.0032899 | -0.013121 | -0.0032885 | 2.4263e-06 | 1.3438e-06 | 0.019835 | 0.019835 | 0.019835 | 0.98454 | -0.29609 | 0.98434 | -0.29997 | 5.4493
71 | 0.011612 | 0.0029103 | -0.011612 | -0.0029102 | 1.7269e-07 | 9.1523e-08 | 0.017554 | 0.017554 | 0.017554 | 0.98434 | -0.29997 | 0.98432 | -0.30028 | 4.8224
72 | 0.010118 | 0.0025359 | -0.010118 | -0.0025356 | 5.6608e-07 | 2.8029e-07 | 0.015296 | 0.015296 | 0.015296 | 0.98432 | -0.30028 | 0.98426 | -0.30146 | 4.2023
73 | 0.0082577 | 0.0020694 | -0.0082565 | -0.0020689 | 1.2025e-06 | 5.0814e-07 | 0.012484 | 0.012484 | 0.012484 | 0.98426 | -0.30146 | 0.98411 | -0.30452 | 3.4297
74 | 0.0060485 | 0.0015153 | -0.0060479 | -0.0015152 | 6.627e-07 | 1.547e-07 | 0.0091368 | 0.0091369 | 0.0091369 | 0.98504 | -0.28641 | 0.98492 | -0.28871 | 2.5101
75 | 0.0060479 | 0.0015152 | -0.0060465 | -0.0015148 | 1.3651e-06 | 3.1889e-07 | 0.0091369 | 0.0091371 | 0.0091371 | 0.98492 | -0.28871 | 0.98467 | -0.29345 | 2.5102
76 | 0.0030497 | 0.00076378 | -0.0030493 | -0.00076422 | 4.5597e-07 | -4.3628e-07 | 0.0046085 | 0.0046087 | 0.0046087 | 0.98467 | -0.29345 | 0.98451 | -0.29659 | 1.2661
77 | 0.0032485 | 0.00081209 | -0.0032483 | -0.00081225 | 1.9275e-07 | -1.594e-07 | 0.0048581 | 0.0048582 | 0.0048582 | 0.99486 | -0.099097 | 0.99479 | -0.10034 | 1.3347
78 | -0.0042086 | -0.0010527 | 0.0042114 | 0.001052 | 2.7996e-06 | -6.573e-07 | 0.0062941 | 0.0062933 | 0.0062941 | 0.99486 | -0.099097 | 0.99558 | -0.085111 | 1.7292
79 | 0.0032483 | 0.00081225 | -0.0032482 | -0.00081238 | 1.654e-07 | -1.3674e-07 | 0.0048582 | 0.0048583 | 0.0048583 | 0.99479 | -0.10034 | 0.99474 | -0.10142 | 1.3347
80 | -0.0050186 | -0.0012544 | 0.0050188 | 0.0012544 | 1.9084e-07 | 4.4774e-09 | 0.0074997 | 0.0074997 | 0.0074997 | 0.99558 | -0.085111 | 0.99562 | -0.084311 | 2.0604
81 | 0.0032482 | 0.00081238 | -0.003247 | -0.0008134 | 1.2302e-06 | -1.0159e-06 | 0.0048583 | 0.004859 | 0.004859 | 0.99474 | -0.10142 | 0.99433 | -0.10937 | 1.3349
82 | 0.0009222 | 0.00023094 | -0.00092219 | -0.00023112 | 1.0513e-08 | -1.8519e-07 | 0.0013782 | 0.0013783 | 0.0013783 | 0.99562 | -0.084311 | 0.99561 | -0.08455 | 0.37865
83 | -0.005941 | -0.0014853 | 0.0059414 | 0.0014854 | 3.6717e-07 | 7.3424e-08 | 0.0088779 | 0.0088779 | 0.0088779 | 0.99562 | -0.084311 | 0.99569 | -0.083011 | 2.439
84 | 0.00059632 | 0.00014909 | -0.00059631 | -0.00014945 | 8.4562e-09 | -3.6191e-07 | 0.00089227 | 0.0008924 | 0.0008924 | 0.99433 | -0.10937 | 0.99431 | -0.10967 | 0.24516
85 | 0.0085629 | 0.0021426 | -0.0085619 | -0.0021422 | 9.1602e-07 | 3.9211e-07 | 0.012794 | 0.012794 | 0.012794 | 0.99584 | -0.080047 | 0.99572 | -0.082295 | 3.5148
86 | 0.0078095 | 0.0019536 | -0.0078092 | -0.0019535 | 2.6583e-07 | 1.0242e-07 | 0.011669 | 0.011669 | 0.011669 | 0.99572 | -0.082295 | 0.99569 | -0.083011 | 3.2058

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24838 | 0.063294

## res_load
| p_mw | q_mvar
0 | 0.0012141 | 0.00030427
1 | 0.00031301 | 7.8447e-05
2 | 0.0010265 | 0.00025726
3 | 0.0012456 | 0.00031217
4 | 0.00086619 | 0.00021709
5 | 0.0011402 | 0.00028576
6 | 0.00094775 | 0.00023753
7 | 0.00079795 | 0.00019999
8 | 0.0015193 | 0.00038076
9 | 0.0014157 | 0.00035482
10 | 0.00079741 | 0.00019985
11 | 0.00096382 | 0.00024156
12 | 0.0030903 | 0.00077449
13 | 0.001575 | 0.00039474
14 | 0.0013384 | 0.00033543
15 | 0.0007459 | 0.00018694
16 | 0.0010622 | 0.00026621
17 | 0.0007458 | 0.00018692
18 | 0.0018626 | 0.00046681
19 | 0.00258 | 0.00064662
20 | 0.0020727 | 0.00051948
21 | 0.0010921 | 0.0002737
22 | 0.0020313 | 0.00050909
23 | 0.002706 | 0.00067818
24 | 0.0028215 | 0.00070713
25 | 0.0047173 | 0.0011823
26 | 0.0038456 | 0.00096379
27 | 0.0040454 | 0.0010139
28 | 0.0028424 | 0.00071237
29 | 0.0048443 | 0.0012141
30 | 0.008326 | 0.0020867
31 | 0.0045292 | 0.0011351
32 | 0.0054729 | 0.0013716
33 | 0.0010924 | 0.00027378
34 | 0.00062263 | 0.00015605
35 | 0.012582 | 0.0031533
36 | 0.0022267 | 0.00055806
37 | 0.0043362 | 0.0010867
38 | 0.0066859 | 0.0016756
39 | 0.0024262 | 0.00060807
40 | 0.0019733 | 0.00049456
41 | 0.0032774 | 0.00082138
42 | 0.0084591 | 0.00212
43 | 0.014028 | 0.0035158
44 | 0.002015 | 0.00050502
45 | 0.0011994 | 0.00030059
46 | 0.002178 | 0.00054585
47 | 0.0032464 | 0.00081363
48 | 0.0015828 | 0.00039668
49 | 0.0024476 | 0.00061343
50 | 0.0035155 | 0.00088107
51 | 0.062008 | 0.015541
52 | 0.0015772 | 0.00039529
53 | 0.001715 | 0.00042982
54 | 0.0012825 | 0.00032141
55 | 0.0022645 | 0.00056753
56 | 0.0015094 | 0.00037828
57 | 0.0014933 | 0.00037425
58 | 0.0018602 | 0.00046622
59 | 0.0016789 | 0.00042078
60 | 0.0021491 | 0.0005386
61 | 0.0029968 | 0.00075106
62 | 0.0030493 | 0.00076422
63 | 0.00096008 | 0.00024062
64 | 0.00080719 | 0.0002023
65 | 0.0026506 | 0.00066431
66 | 0.00059631 | 0.00014945
67 | 0.0022738 | 0.00056986
68 | 0.00075248 | 0.00018859
69 | 0.0018678 | 0.00046812
70 | 0.00092219 | 0.00023112

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1