## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_117-14_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_117-14_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_117-14_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_117-14_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_117-14_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_117-14_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_117-14_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_117-14_0_6_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_117-14_0_6_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_117-14_0_6_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_117-14_0_6_node_82 | 0.4 | n |  | TRUE
11 | bus_LV_117-14_0_6_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_117-14_0_6_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_117-14_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_117-14_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_117-14_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_117-14_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_117-14_0_6_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_117-14_0_6_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_117-14_0_6_node_80 | 0.4 | n |  | TRUE
20 | bus_LV_117-14_0_6_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_117-14_0_6_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_117-14_0_6_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_117-14_0_6_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_117-14_0_6_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_117-14_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_117-14_0_6_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_117-14_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_117-14_0_6_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_117-14_0_6_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_117-14_0_6_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_117-14_0_6_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_117-14_0_6_node_77 | 0.4 | n |  | TRUE
33 | bus_LV_117-14_0_6_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_117-14_0_6_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_117-14_0_6_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_117-14_0_6_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_117-14_0_6_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_117-14_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_117-14_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_117-14_0_6_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_117-14_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_117-14_0_6_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_117-14_0_6_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_117-14_0_6_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_117-14_0_6_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_117-14_0_6_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_117-14_0_6_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_117-14_0_6_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_117-14_0_6_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_117-14_0_6_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_117-14_0_6_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_117-14_0_6_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_117-14_0_6_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_117-14_0_6_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_117-14_0_6_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_117-14_0_6_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_117-14_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_117-14_0_6_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_117-14_0_6_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_117-14_0_6_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_117-14_0_6_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_117-14_0_6_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_117-14_0_6_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_117-14_0_6_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_117-14_0_6_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_117-14_0_6_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_117-14_0_6_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_117-14_0_6_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_117-14_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_117-14_0_6_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_117-14_0_6_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_117-14_0_6_node_57 | 0.4 | n |  | TRUE
73 | bus_MV_8_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_117-14_0_6_load_0 | 0 | 0.0012854 | 0.00032215 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_117-14_0_6_load_7 | 6 | 0.0051625 | 0.0012938 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_117-14_0_6_load_79 | 7 | 0.0040993 | 0.0010274 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_117-14_0_6_load_75 | 8 | 0.0023796 | 0.00059638 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_117-14_0_6_load_74 | 9 | 0.014557 | 0.0036483 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_117-14_0_6_load_82 | 10 | 0.0097738 | 0.0024495 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_117-14_0_6_load_8 | 13 | 0.0045629 | 0.0011436 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_117-14_0_6_load_13 | 16 | 0.011589 | 0.0029044 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_117-14_0_6_load_70 | 17 | 0.097066 | 0.024327 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_117-14_0_6_load_80 | 19 | 0.0084364 | 0.0021144 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_117-14_0_6_load_73 | 20 | 0.056489 | 0.014157 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_117-14_0_6_load_50 | 21 | 0.0024326 | 0.00060967 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_117-14_0_6_load_48 | 22 | 0.0077444 | 0.0019409 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_117-14_0_6_load_55 | 24 | 0.0019595 | 0.0004911 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_117-14_0_6_load_81 | 26 | 0.0043741 | 0.0010963 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_117-14_0_6_load_16 | 27 | 0.014088 | 0.0035308 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_117-14_0_6_load_71 | 29 | 0.006782 | 0.0016997 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_117-14_0_6_load_15 | 30 | 0.022404 | 0.0056149 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_117-14_0_6_load_77 | 32 | 0.0017547 | 0.00043976 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_117-14_0_6_load_78 | 33 | 0.004597 | 0.0011521 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_117-14_0_6_load_76 | 34 | 0.0044625 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_117-14_0_6_load_20 | 35 | 0.0064548 | 0.0016177 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_117-14_0_6_load_23 | 38 | 0.0019016 | 0.0004766 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_117-14_0_6_load_27 | 39 | 0.0095306 | 0.0023886 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_117-14_0_6_load_24 | 40 | 0.0050821 | 0.0012737 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_117-14_0_6_load_28 | 41 | 0.0029819 | 0.00074734 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_117-14_0_6_load_30 | 42 | 0.0067232 | 0.001685 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_117-14_0_6_load_25 | 43 | 0.0030745 | 0.00077054 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_117-14_0_6_load_26 | 45 | 0.0092558 | 0.0023197 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_117-14_0_6_load_31 | 46 | 0.0039152 | 0.00098123 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_117-14_0_6_load_33 | 48 | 0.0031273 | 0.00078376 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_117-14_0_6_load_64 | 49 | 0.0047411 | 0.0011882 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_117-14_0_6_load_68 | 50 | 0.0052496 | 0.0013157 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_117-14_0_6_load_67 | 52 | 0.0079051 | 0.0019812 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_117-14_0_6_load_34 | 54 | 0.0099581 | 0.0024957 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_117-14_0_6_load_35 | 55 | 0.016219 | 0.0040649 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_117-14_0_6_load_37 | 56 | 0.0020271 | 0.00050805 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_117-14_0_6_load_47 | 58 | 0.002481 | 0.00062179 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_117-14_0_6_load_43 | 59 | 0.01138 | 0.002852 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_117-14_0_6_load_39 | 60 | 0.0018559 | 0.00046514 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_117-14_0_6_load_40 | 61 | 0.0056131 | 0.0014068 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_117-14_0_6_load_42 | 63 | 0.0044393 | 0.0011126 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_117-14_0_6_load_44 | 64 | 0.0036249 | 0.0009085 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_117-14_0_6_load_69 | 65 | 0.0029528 | 0.00074004 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_117-14_0_6_load_63 | 67 | 0.0026144 | 0.00065524 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_117-14_0_6_load_60 | 70 | 0.0080736 | 0.0020234 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_117-14_0_6_load_56 | 71 | 0.0080012 | 0.0020053 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_117-14_0_6_load_57 | 72 | 0.001547 | 0.00038771 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_117-14_0_6_line_0 |  | 0 | 1 | 0.10068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_117-14_0_6_line_1 |  | 0 | 2 | 0.030465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_117-14_0_6_line_2 |  | 1 | 3 | 0.026763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_117-14_0_6_line_3 |  | 1 | 4 | 0.064039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_117-14_0_6_line_4 |  | 2 | 5 | 0.03479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_117-14_0_6_line_5 |  | 2 | 6 | 0.047501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_117-14_0_6_line_6 |  | 3 | 7 | 0.073529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_117-14_0_6_line_7 |  | 4 | 8 | 0.010585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_117-14_0_6_line_8 |  | 4 | 9 | 0.074072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_117-14_0_6_line_9 |  | 5 | 10 | 0.006141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_117-14_0_6_line_10 |  | 5 | 11 | 0.024554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_117-14_0_6_line_11 |  | 6 | 12 | 0.034975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_117-14_0_6_line_12 |  | 7 | 18 | 0.02579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_117-14_0_6_line_13 |  | 8 | 19 | 0.0099778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_117-14_0_6_line_14 |  | 9 | 20 | 0.0005543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_117-14_0_6_line_15 |  | 11 | 21 | 0.0083512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_117-14_0_6_line_16 |  | 11 | 22 | 0.042638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_117-14_0_6_line_17 |  | 12 | 23 | 0.013159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_117-14_0_6_line_18 |  | 12 | 24 | 0.031287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_117-14_0_6_line_19 |  | 12 | 13 | 0.035807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_117-14_0_6_line_20 |  | 14 | 15 | 0.079782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_117-14_0_6_line_21 |  | 14 | 16 | 0.013919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_117-14_0_6_line_22 |  | 15 | 17 | 0.0023347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_117-14_0_6_line_23 |  | 16 | 28 | 0.061726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_117-14_0_6_line_24 |  | 17 | 29 | 0.00078545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_117-14_0_6_line_25 |  | 18 | 32 | 0.022867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_117-14_0_6_line_26 |  | 20 | 31 | 0.070707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_117-14_0_6_line_27 |  | 23 | 66 | 0.013061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_117-14_0_6_line_28 |  | 23 | 67 | 0.034991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_117-14_0_6_line_29 |  | 25 | 26 | 0.022366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_117-14_0_6_line_30 |  | 25 | 27 | 0.020925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_117-14_0_6_line_31 |  | 27 | 28 | 0.033673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_117-14_0_6_line_32 |  | 28 | 30 | 0.027416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_117-14_0_6_line_33 |  | 30 | 31 | 0.013321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_117-14_0_6_line_34 |  | 32 | 34 | 0.027101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_117-14_0_6_line_35 |  | 33 | 34 | 0.025903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_117-14_0_6_line_36 |  | 35 | 36 | 0.01808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_117-14_0_6_line_37 |  | 36 | 37 | 0.038992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_117-14_0_6_line_38 |  | 36 | 38 | 0.0026082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_117-14_0_6_line_39 |  | 37 | 39 | 0.014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_117-14_0_6_line_40 |  | 37 | 40 | 0.0075321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_117-14_0_6_line_41 |  | 38 | 41 | 0.013165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_117-14_0_6_line_42 |  | 39 | 42 | 0.014737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_117-14_0_6_line_43 |  | 40 | 43 | 0.048494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_117-14_0_6_line_44 |  | 41 | 44 | 0.001657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_117-14_0_6_line_45 |  | 42 | 46 | 0.0071218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_117-14_0_6_line_46 |  | 43 | 45 | 0.0089525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_117-14_0_6_line_47 |  | 44 | 47 | 0.058636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_117-14_0_6_line_48 |  | 44 | 48 | 0.016066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_117-14_0_6_line_49 |  | 47 | 49 | 0.023076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_117-14_0_6_line_50 |  | 48 | 50 | 0.012782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_117-14_0_6_line_51 |  | 49 | 51 | 0.011844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_117-14_0_6_line_52 |  | 50 | 53 | 0.018059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_117-14_0_6_line_53 |  | 51 | 52 | 0.0085788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_117-14_0_6_line_54 |  | 53 | 65 | 0.0045347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_117-14_0_6_line_55 |  | 53 | 64 | 0.03298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_117-14_0_6_line_56 |  | 54 | 55 | 0.0086785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_117-14_0_6_line_57 |  | 55 | 56 | 0.030695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_117-14_0_6_line_58 |  | 56 | 57 | 0.0031136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_117-14_0_6_line_59 |  | 57 | 58 | 0.062309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_117-14_0_6_line_60 |  | 57 | 59 | 0.043364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_117-14_0_6_line_61 |  | 59 | 62 | 0.021805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_117-14_0_6_line_62 |  | 60 | 61 | 0.0022932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_117-14_0_6_line_63 |  | 61 | 62 | 0.034741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_117-14_0_6_line_64 |  | 62 | 63 | 0.017238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_117-14_0_6_line_65 |  | 63 | 64 | 0.0085456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_117-14_0_6_line_66 |  | 65 | 66 | 0.019485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_117-14_0_6_line_67 |  | 67 | 69 | 0.029235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_117-14_0_6_line_68 |  | 68 | 69 | 0.019331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_117-14_0_6_line_69 |  | 68 | 70 | 0.019119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_117-14_0_6_line_70 |  | 69 | 72 | 0.0094958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_117-14_0_6_line_71 |  | 71 | 72 | 0.018785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_117-14_0_6_trafo_0 | 0.63 MVA 20/0.4 kV | 73 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2705934.4185 | 1239811.2279 | 2705960.005 | 1239775.8347 | 2705986.9615 | 1239739.1429 | 2705993.7386 | 1239729.8796
1 | 2706011.7268 | 1239705.2921 | 2705993.7386 | 1239729.8796
2 | 2705924.2087 | 1239825.1009 | 2705922.1596 | 1239822.9405 | 2705920.9754 | 1239820.2061 | 2705920.7938 | 1239817.245 | 2705921.6314 | 1239814.3911 | 2705923.3988 | 1239811.9985 | 2705925.8716 | 1239810.3414 | 2705928.7664 | 1239809.6258 | 2705931.7338 | 1239809.9234 | 2705934.4185 | 1239811.2279
3 | 2705934.4185 | 1239811.2279 | 2705936.314 | 1239813.0965 | 2705937.5503 | 1239815.4537 | 2705938.0027 | 1239818.0749 | 2705937.6305 | 1239820.7037 | 2705936.4681 | 1239823.107 | 2705952.1858 | 1239834.1627 | 2705956.4786 | 1239837.3307 | 2705978.2458 | 1239851.8749
4 | 2706011.7268 | 1239705.2921 | 2706001.2266 | 1239697.721 | 2706013.7841 | 1239682.0219 | 2706012.6822 | 1239680.6122
5 | 2706011.7268 | 1239705.2921 | 2706038.8686 | 1239666.309
6 | 2705924.2087 | 1239825.1009 | 2705905.1335 | 1239853.3937 | 2705893.2124 | 1239875.009 | 2705886.6306 | 1239888.1775
7 | 2705978.2458 | 1239851.8749 | 2705980.6199 | 1239848.548 | 2705983.5312 | 1239844.3634 | 2705984.3584 | 1239843.2332
8 | 2705978.2458 | 1239851.8749 | 2705987.3279 | 1239857.9417 | 2705987.9216 | 1239866.2032 | 2706005.7829 | 1239880.0439 | 2706031.3822 | 1239899.6939
9 | 2706016.5199 | 1239675.8104 | 2706012.6822 | 1239680.6122
10 | 2705997.4643 | 1239698.2987 | 2705998.6311 | 1239694.8057 | 2706010.3788 | 1239680.4043 | 2706012.6822 | 1239680.6122
11 | 2706061.6259 | 1239640.2995 | 2706055.7597 | 1239643.8975 | 2706054.4011 | 1239645.4188 | 2706048.3249 | 1239652.7271 | 2706038.8686 | 1239666.309
12 | 2705875.6853 | 1239911.5137 | 2705879.281 | 1239902.8822 | 2705886.6306 | 1239888.1775
13 | 2705990.2515 | 1239835.1816 | 2705984.3584 | 1239843.2332
14 | 2706031.8219 | 1239900.0314 | 2706031.3822 | 1239899.6939
15 | 2705997.4643 | 1239698.2987 | 2705992.3003 | 1239704.8619
16 | 2705997.4643 | 1239698.2987 | 2705986.1872 | 1239690.18 | 2705968.5945 | 1239712.909
17 | 2706061.6259 | 1239640.2995 | 2706055.5563 | 1239628.6153
18 | 2706061.6259 | 1239640.2995 | 2706075.9401 | 1239668.1201
19 | 2706061.6259 | 1239640.2995 | 2706056.6627 | 1239640.3553 | 2706052.3312 | 1239641.4566 | 2706048.9334 | 1239646.1884 | 2706038.3679 | 1239660.8889 | 2706036.9406 | 1239662.8749
20 | 2706131.6873 | 1239809.0602 | 2706149.649 | 1239824.471 | 2706158.4526 | 1239829.6102 | 2706179.469 | 1239870.4399
21 | 2706179.469 | 1239870.4399 | 2706167.1963 | 1239877.0073
22 | 2706131.6873 | 1239809.0602 | 2706129.9156 | 1239807.5397
23 | 2706112.7727 | 1239906.1308 | 2706167.1963 | 1239877.0073
24 | 2706129.9156 | 1239807.5397 | 2706129.3195 | 1239807.0281
25 | 2705875.6853 | 1239911.5137 | 2705878.963 | 1239913.9184 | 2705894.124 | 1239925.0382
26 | 2706090.1342 | 1239939.9192 | 2706051.5683 | 1239915.1888 | 2706031.8219 | 1239900.0314
27 | 2706049.5837 | 1239616.9996 | 2706050.5269 | 1239618.829 | 2706053.2828 | 1239624.1935 | 2706055.5563 | 1239628.6153
28 | 2706055.5563 | 1239628.6153 | 2706070.7166 | 1239617.9778 | 2706076.3499 | 1239619.791 | 2706080.7485 | 1239629.384
29 | 2706148.9252 | 1239946.9421 | 2706128.9376 | 1239956.9787
30 | 2706148.9252 | 1239946.9421 | 2706134.1639 | 1239932.111
31 | 2706112.7727 | 1239906.1308 | 2706131.4709 | 1239929.4053 | 2706134.1639 | 1239932.111
32 | 2706112.7727 | 1239906.1308 | 2706106.3486 | 1239917.6694 | 2706097.9798 | 1239929.1534
33 | 2706090.1342 | 1239939.9192 | 2706097.9798 | 1239929.1534
34 | 2705915.9771 | 1239941.0664 | 2705894.124 | 1239925.0382
35 | 2705915.9771 | 1239941.0664 | 2705936.8643 | 1239956.386
36 | 2706009.3162 | 1239538.3529 | 2706006.914 | 1239533.5062 | 2706001.2712 | 1239522.1614
37 | 2706009.3162 | 1239538.3529 | 2705977.4752 | 1239552.8402 | 2705973.3907 | 1239553.2454
38 | 2706009.3162 | 1239538.3529 | 2706010.5063 | 1239540.6737
39 | 2705973.3907 | 1239553.2454 | 2705961.4471 | 1239562.0345
40 | 2705973.3907 | 1239553.2454 | 2705966.515 | 1239550.17
41 | 2706010.5063 | 1239540.6737 | 2706016.5132 | 1239552.388
42 | 2705949.5771 | 1239570.7694 | 2705961.4471 | 1239562.0345
43 | 2705966.515 | 1239550.17 | 2705922.2477 | 1239530.3703
44 | 2706017.2693 | 1239553.8625 | 2706016.5132 | 1239552.388
45 | 2705943.841 | 1239574.9905 | 2705949.5771 | 1239570.7694
46 | 2705922.2477 | 1239530.3703 | 2705921.6012 | 1239530.0811 | 2705915.1858 | 1239524.9033
47 | 2706070.9504 | 1239530.8477 | 2706060.1758 | 1239532.69 | 2706017.2693 | 1239553.8625
48 | 2706017.2693 | 1239553.8625 | 2706024.5869 | 1239568.1649
49 | 2706070.9504 | 1239530.8477 | 2706072.748 | 1239553.8533
50 | 2706024.5869 | 1239568.1649 | 2706030.4088 | 1239579.544
51 | 2706082.716 | 1239556.9337 | 2706081.3689 | 1239554.0074 | 2706072.748 | 1239553.8533
52 | 2706038.6342 | 1239595.6208 | 2706030.4088 | 1239579.544
53 | 2706082.716 | 1239556.9337 | 2706083.8424 | 1239565.4382
54 | 2706038.6342 | 1239595.6208 | 2706040.6992 | 1239599.6581
55 | 2706038.6342 | 1239595.6208 | 2706012.1375 | 1239609.4918 | 2706009.4881 | 1239611.0475
56 | 2705895.0202 | 1239622.1724 | 2705902.1121 | 1239627.1746
57 | 2705927.1951 | 1239644.8665 | 2705902.1121 | 1239627.1746
58 | 2705929.7395 | 1239646.6612 | 2705927.1951 | 1239644.8665
59 | 2705929.7395 | 1239646.6612 | 2705885.6391 | 1239690.6795
60 | 2705929.7395 | 1239646.6612 | 2705939.0696 | 1239649.0294 | 2705947.3345 | 1239648.7767 | 2705957.8845 | 1239645.0955 | 2705969.5146 | 1239636.7828
61 | 2705987.2541 | 1239624.1033 | 2705969.5146 | 1239636.7828
62 | 2705954.8468 | 1239606.1791 | 2705956.8535 | 1239607.289
63 | 2705987.2541 | 1239624.1033 | 2705956.8535 | 1239607.289
64 | 2705987.2541 | 1239624.1033 | 2706002.119 | 1239615.3746
65 | 2706002.119 | 1239615.3746 | 2706009.4881 | 1239611.0475
66 | 2706049.5837 | 1239616.9996 | 2706048.8747 | 1239615.6192 | 2706047.1639 | 1239612.2972 | 2706040.6992 | 1239599.6581
67 | 2706097.6134 | 1239643.5004 | 2706088.9963 | 1239647.3717 | 2706080.7485 | 1239629.384
68 | 2706090.5371 | 1239625.5045 | 2706097.6134 | 1239643.5004
69 | 2706090.5371 | 1239625.5045 | 2706108.546 | 1239619.0836
70 | 2706097.6134 | 1239643.5004 | 2706101.7724 | 1239652.0369
71 | 2706119.0682 | 1239644.7061 | 2706101.7724 | 1239652.0369

## bus_geodata
| x | y | coords
0 | 2705993.7386 | 1239729.8796
1 | 2705934.4185 | 1239811.2279
2 | 2706011.7268 | 1239705.2921
3 | 2705924.2087 | 1239825.1009
4 | 2705978.2458 | 1239851.8749
5 | 2706012.6822 | 1239680.6122
6 | 2706038.8686 | 1239666.309
7 | 2705886.6306 | 1239888.1775
8 | 2705984.3584 | 1239843.2332
9 | 2706031.3822 | 1239899.6939
10 | 2706016.5199 | 1239675.8104
11 | 2705997.4643 | 1239698.2987
12 | 2706061.6259 | 1239640.2994
13 | 2706036.9406 | 1239662.8749
14 | 2706179.469 | 1239870.4399
15 | 2706131.6873 | 1239809.0602
16 | 2706167.1963 | 1239877.0073
17 | 2706129.9156 | 1239807.5397
18 | 2705875.6853 | 1239911.5137
19 | 2705990.2515 | 1239835.1816
20 | 2706031.8219 | 1239900.0314
21 | 2705992.3003 | 1239704.8619
22 | 2705968.5945 | 1239712.909
23 | 2706055.5563 | 1239628.6153
24 | 2706075.9401 | 1239668.1201
25 | 2706148.9252 | 1239946.9421
26 | 2706128.9376 | 1239956.9787
27 | 2706134.1639 | 1239932.111
28 | 2706112.7727 | 1239906.1308
29 | 2706129.3195 | 1239807.0281
30 | 2706097.9798 | 1239929.1534
31 | 2706090.1342 | 1239939.9192
32 | 2705894.124 | 1239925.0382
33 | 2705936.8643 | 1239956.386
34 | 2705915.9771 | 1239941.0664
35 | 2706001.2712 | 1239522.1614
36 | 2706009.3162 | 1239538.3529
37 | 2705973.3907 | 1239553.2454
38 | 2706010.5063 | 1239540.6737
39 | 2705961.4471 | 1239562.0345
40 | 2705966.515 | 1239550.17
41 | 2706016.5132 | 1239552.388
42 | 2705949.5771 | 1239570.7694
43 | 2705922.2477 | 1239530.3703
44 | 2706017.2693 | 1239553.8625
45 | 2705915.1858 | 1239524.9033
46 | 2705943.841 | 1239574.9905
47 | 2706070.9504 | 1239530.8477
48 | 2706024.5869 | 1239568.1649
49 | 2706072.748 | 1239553.8533
50 | 2706030.4088 | 1239579.544
51 | 2706082.716 | 1239556.9337
52 | 2706083.8423 | 1239565.4382
53 | 2706038.6342 | 1239595.6208
54 | 2705895.0202 | 1239622.1724
55 | 2705902.1121 | 1239627.1746
56 | 2705927.1951 | 1239644.8665
57 | 2705929.7395 | 1239646.6612
58 | 2705885.6391 | 1239690.6795
59 | 2705969.5146 | 1239636.7828
60 | 2705954.8468 | 1239606.1791
61 | 2705956.8535 | 1239607.289
62 | 2705987.2541 | 1239624.1033
63 | 2706002.119 | 1239615.3746
64 | 2706009.4881 | 1239611.0475
65 | 2706040.6992 | 1239599.6581
66 | 2706049.5837 | 1239616.9996
67 | 2706080.7485 | 1239629.384
68 | 2706090.5371 | 1239625.5045
69 | 2706097.6133 | 1239643.5004
70 | 2706108.546 | 1239619.0836
71 | 2706119.0682 | 1239644.7061
72 | 2706101.7724 | 1239652.0369
73 | 2706011.7268 | 1239705.2921

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.44486 | -0.11406
1 | 0.9921 | -0.14924 | 0 | 0
2 | 0.9983 | -0.03234 | 0 | 0
3 | 0.99173 | -0.15632 | 0 | 0
4 | 0.98737 | -0.23971 | 0 | 0
5 | 0.99767 | -0.044489 | 0 | 0
6 | 0.99593 | -0.077431 | 0.0051625 | 0.0012938
7 | 0.99073 | -0.17577 | 0.0040993 | 0.0010274
8 | 0.98726 | -0.24176 | 0.0023796 | 0.00059638
9 | 0.98215 | -0.34062 | 0.014557 | 0.0036483
10 | 0.99761 | -0.04554 | 0.0097738 | 0.0024495
11 | 0.99744 | -0.048867 | 0 | 0
12 | 0.99339 | -0.12589 | 0 | 0
13 | 0.99324 | -0.12877 | 0.0045629 | 0.0011436
14 | 0.97421 | -0.49543 | 0 | 0
15 | 0.97034 | -0.57181 | 0 | 0
16 | 0.97466 | -0.48659 | 0.011589 | 0.0029044
17 | 0.97011 | -0.5763 | 0.097066 | 0.024327
18 | 0.99048 | -0.18073 | 0 | 0
19 | 0.98719 | -0.24327 | 0.0084364 | 0.0021144
20 | 0.98211 | -0.34133 | 0.056489 | 0.014157
21 | 0.99742 | -0.049222 | 0.0024326 | 0.00060967
22 | 0.99714 | -0.054654 | 0.0077444 | 0.0019409
23 | 0.99248 | -0.14342 | 0 | 0
24 | 0.99334 | -0.12697 | 0.0019595 | 0.0004911
25 | 0.97622 | -0.45614 | 0 | 0
26 | 0.97613 | -0.45793 | 0.0043741 | 0.0010963
27 | 0.9763 | -0.45447 | 0.014088 | 0.0035308
28 | 0.97688 | -0.44311 | 0 | 0
29 | 0.97011 | -0.5764 | 0.006782 | 0.0016997
30 | 0.97803 | -0.42078 | 0.022404 | 0.0056149
31 | 0.97867 | -0.40814 | 0 | 0
32 | 0.99025 | -0.18512 | 0.0017547 | 0.00043976
33 | 0.98991 | -0.19161 | 0.004597 | 0.0011521
34 | 0.99002 | -0.18949 | 0.0044625 | 0.0011184
35 | 0.98434 | -0.30083 | 0.0064548 | 0.0016177
36 | 0.98445 | -0.29873 | 0 | 0
37 | 0.9831 | -0.32513 | 0 | 0
38 | 0.98456 | -0.29667 | 0.0019016 | 0.0004766
39 | 0.98282 | -0.33052 | 0.0095306 | 0.0023886
40 | 0.98298 | -0.32749 | 0.0050821 | 0.0012737
41 | 0.98512 | -0.2858 | 0.0029819 | 0.00074734
42 | 0.98268 | -0.33335 | 0.0067232 | 0.001685
43 | 0.98243 | -0.33829 | 0.0030745 | 0.00077054
44 | 0.98519 | -0.28434 | 0 | 0
45 | 0.98235 | -0.33978 | 0.0092558 | 0.0023197
46 | 0.98265 | -0.33386 | 0.0039152 | 0.00098123
47 | 0.98451 | -0.29767 | 0 | 0
48 | 0.9861 | -0.2666 | 0.0031273 | 0.00078376
49 | 0.98424 | -0.30292 | 0.0047411 | 0.0011882
50 | 0.98687 | -0.25178 | 0.0052496 | 0.0013157
51 | 0.98415 | -0.30461 | 0 | 0
52 | 0.98409 | -0.30583 | 0.0079051 | 0.0019812
53 | 0.98803 | -0.2292 | 0 | 0
54 | 0.98209 | -0.3449 | 0.0099581 | 0.0024957
55 | 0.98217 | -0.34334 | 0.016219 | 0.0040649
56 | 0.98291 | -0.32883 | 0.0020271 | 0.00050805
57 | 0.98299 | -0.32725 | 0 | 0
58 | 0.98285 | -0.33004 | 0.002481 | 0.00062179
59 | 0.98422 | -0.30327 | 0.01138 | 0.002852
60 | 0.98482 | -0.29152 | 0.0018559 | 0.00046514
61 | 0.98483 | -0.29144 | 0.0056131 | 0.0014068
62 | 0.98507 | -0.28678 | 0 | 0
63 | 0.98585 | -0.27145 | 0.0044393 | 0.0011126
64 | 0.98628 | -0.26318 | 0.0036249 | 0.0009085
65 | 0.98856 | -0.21888 | 0.0029528 | 0.00074004
66 | 0.99091 | -0.17363 | 0 | 0
67 | 0.99183 | -0.15596 | 0.0026144 | 0.00065524
68 | 0.99122 | -0.16786 | 0 | 0
69 | 0.99136 | -0.16509 | 0 | 0
70 | 0.99108 | -0.1706 | 0.0080736 | 0.0020234
71 | 0.99114 | -0.16937 | 0.0080012 | 0.0020053
72 | 0.99128 | -0.1667 | 0.001547 | 0.00038771
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.2586 | 0.066937 | -0.25673 | -0.065744 | 0.0018708 | 0.0011934 | 0.38555 | 0.38555 | 0.38555 | 1 | 0 | 0.9921 | -0.14924 | 35.3072
1 | 0.18461 | 0.047127 | -0.18432 | -0.046944 | 0.00028801 | 0.00018313 | 0.27501 | 0.27501 | 0.27501 | 1 | 0 | 0.9983 | -0.03234 | 25.1842
2 | 0.014939 | 0.0037517 | -0.014934 | -0.0037488 | 5.0402e-06 | 2.8802e-06 | 0.02241 | 0.02241 | 0.02241 | 0.9921 | -0.14924 | 0.99173 | -0.15632 | 6.1566
3 | 0.24179 | 0.061992 | -0.24073 | -0.061319 | 0.0010556 | 0.00067314 | 0.36314 | 0.36315 | 0.36315 | 0.9921 | -0.14924 | 0.98737 | -0.23971 | 33.2551
4 | 0.019967 | 0.0050091 | -0.019956 | -0.0050021 | 1.1558e-05 | 6.9423e-06 | 0.029764 | 0.029764 | 0.029764 | 0.9983 | -0.03234 | 0.99767 | -0.044489 | 8.1769
5 | 0.16436 | 0.041935 | -0.164 | -0.041708 | 0.00035713 | 0.0002267 | 0.24525 | 0.24525 | 0.24525 | 0.9983 | -0.03234 | 0.99593 | -0.077431 | 22.4586
6 | 0.014934 | 0.0037488 | -0.014921 | -0.0037409 | 1.3848e-05 | 7.9147e-06 | 0.02241 | 0.02241 | 0.02241 | 0.99173 | -0.15632 | 0.99073 | -0.17577 | 6.1567
7 | 0.010818 | 0.0027115 | -0.010817 | -0.002711 | 1.055e-06 | 5.3985e-07 | 0.016303 | 0.016303 | 0.016303 | 0.98737 | -0.23971 | 0.98726 | -0.24176 | 4.4788
8 | 0.22991 | 0.058607 | -0.2288 | -0.057897 | 0.0011139 | 0.00071005 | 0.34684 | 0.34684 | 0.34684 | 0.98737 | -0.23971 | 0.98215 | -0.34062 | 31.7623
9 | 0.0097743 | 0.0024498 | -0.0097738 | -0.0024495 | 4.8943e-07 | 2.3305e-07 | 0.014578 | 0.014578 | 0.014578 | 0.99767 | -0.044489 | 0.99761 | -0.04554 | 4.0051
10 | 0.010181 | 0.0025524 | -0.010179 | -0.0025513 | 2.1234e-06 | 1.0384e-06 | 0.015186 | 0.015186 | 0.015186 | 0.99767 | -0.044489 | 0.99744 | -0.048867 | 4.1719
11 | 0.15884 | 0.040414 | -0.15847 | -0.040178 | 0.00037001 | 0.0002359 | 0.23753 | 0.23754 | 0.23754 | 0.99593 | -0.077431 | 0.99339 | -0.12589 | 32.6285
12 | 0.010821 | 0.0027135 | -0.010819 | -0.0027122 | 2.5549e-06 | 1.3031e-06 | 0.016253 | 0.016254 | 0.016254 | 0.99073 | -0.17577 | 0.99048 | -0.18073 | 4.4653
13 | 0.008437 | 0.0021146 | -0.0084364 | -0.0021144 | 6.0505e-07 | 2.5966e-07 | 0.012716 | 0.012716 | 0.012716 | 0.98726 | -0.24176 | 0.98719 | -0.24327 | 3.4935
14 | 0.21424 | 0.054249 | -0.21423 | -0.054244 | 7.309e-06 | 4.6567e-06 | 0.32479 | 0.32479 | 0.32479 | 0.98215 | -0.34062 | 0.98211 | -0.34133 | 29.7426
15 | 0.0024327 | 0.00060959 | -0.0024326 | -0.00060967 | 4.1246e-08 | -8.2601e-08 | 0.0036291 | 0.0036292 | 0.0036292 | 0.99744 | -0.048867 | 0.99742 | -0.049222 | 0.99702
16 | 0.0077465 | 0.0019417 | -0.0077444 | -0.0019409 | 2.1355e-06 | 8.1036e-07 | 0.011557 | 0.011557 | 0.011557 | 0.99744 | -0.048867 | 0.99714 | -0.054654 | 3.175
17 | 0.15194 | 0.038544 | -0.15182 | -0.038462 | 0.000128 | 8.1577e-05 | 0.22776 | 0.22776 | 0.22776 | 0.99339 | -0.12589 | 0.99248 | -0.14342 | 31.2863
18 | 0.0019596 | 0.00049076 | -0.0019595 | -0.0004911 | 1.0109e-07 | -3.4034e-07 | 0.0029352 | 0.0029354 | 0.0029354 | 0.99339 | -0.12589 | 0.99334 | -0.12697 | 0.80642
19 | 0.0045635 | 0.0011435 | -0.0045629 | -0.0011436 | 6.2745e-07 | -6.1945e-08 | 0.0068357 | 0.0068358 | 0.0068358 | 0.99339 | -0.12589 | 0.99324 | -0.12877 | 1.878
20 | 0.10425 | 0.026282 | -0.10387 | -0.026041 | 0.00037955 | 0.00024093 | 0.15929 | 0.15929 | 0.15929 | 0.97421 | -0.49543 | 0.97034 | -0.57181 | 21.8802
21 | -0.10425 | -0.026282 | 0.10429 | 0.02631 | 4.4146e-05 | 2.7733e-05 | 0.15929 | 0.15929 | 0.15929 | 0.97421 | -0.49543 | 0.97466 | -0.48659 | 14.5867
22 | 0.10387 | 0.026041 | -0.10385 | -0.026027 | 2.2214e-05 | 1.4188e-05 | 0.15929 | 0.15929 | 0.15929 | 0.97034 | -0.57181 | 0.97011 | -0.5763 | 43.7603
23 | -0.11588 | -0.029214 | 0.11612 | 0.029366 | 0.00024167 | 0.00015235 | 0.17698 | 0.17698 | 0.17698 | 0.97466 | -0.48659 | 0.97688 | -0.44311 | 16.2069
24 | 0.0067821 | 0.0016998 | -0.006782 | -0.0016997 | 3.1874e-08 | 1.0702e-08 | 0.010403 | 0.010403 | 0.010403 | 0.97011 | -0.5763 | 0.97011 | -0.5764 | 2.8579
25 | 0.010819 | 0.0027122 | -0.010816 | -0.0027111 | 2.2654e-06 | 1.1556e-06 | 0.016254 | 0.016254 | 0.016254 | 0.99048 | -0.18073 | 0.99025 | -0.18512 | 4.4653
26 | 0.15775 | 0.040087 | -0.15724 | -0.039766 | 0.00050571 | 0.00032098 | 0.2392 | 0.2392 | 0.2392 | 0.98211 | -0.34133 | 0.97867 | -0.40814 | 21.9051
27 | 0.13156 | 0.033377 | -0.13137 | -0.033255 | 0.00019083 | 0.00012196 | 0.19739 | 0.19739 | 0.19739 | 0.99248 | -0.14342 | 0.99091 | -0.17363 | 54.2271
28 | 0.02026 | 0.0050851 | -0.020248 | -0.0050778 | 1.2109e-05 | 7.298e-06 | 0.030378 | 0.030378 | 0.030378 | 0.99248 | -0.14342 | 0.99183 | -0.15596 | 8.3457
29 | 0.0043745 | 0.0010962 | -0.0043741 | -0.0010963 | 3.729e-07 | -4.0955e-08 | 0.0066678 | 0.0066679 | 0.0066679 | 0.97622 | -0.45614 | 0.97613 | -0.45793 | 1.8318
30 | -0.0043745 | -0.0010962 | 0.0043748 | 0.0010962 | 3.4886e-07 | -3.837e-08 | 0.0066678 | 0.0066677 | 0.0066678 | 0.97622 | -0.45614 | 0.9763 | -0.45447 | 1.8318
31 | -0.018463 | -0.004627 | 0.018473 | 0.004633 | 9.9989e-06 | 5.978e-06 | 0.02814 | 0.02814 | 0.02814 | 0.9763 | -0.45447 | 0.97688 | -0.44311 | 7.7308
32 | -0.1346 | -0.033999 | 0.13474 | 0.03409 | 0.00014419 | 9.1248e-05 | 0.20512 | 0.20512 | 0.20512 | 0.97688 | -0.44311 | 0.97803 | -0.42078 | 18.7837
33 | -0.15714 | -0.039705 | 0.15724 | 0.039766 | 9.5277e-05 | 6.0476e-05 | 0.2392 | 0.2392 | 0.2392 | 0.97803 | -0.42078 | 0.97867 | -0.40814 | 21.9051
34 | 0.0090618 | 0.0022713 | -0.0090599 | -0.0022705 | 1.8844e-06 | 8.5747e-07 | 0.013617 | 0.013617 | 0.013617 | 0.99025 | -0.18512 | 0.99002 | -0.18949 | 3.741
35 | -0.004597 | -0.0011521 | 0.0045974 | 0.0011521 | 4.638e-07 | -3.621e-08 | 0.00691 | 0.0069099 | 0.00691 | 0.98991 | -0.19161 | 0.99002 | -0.18949 | 1.8984
36 | -0.0064548 | -0.0016177 | 0.0064554 | 0.0016179 | 6.4552e-07 | 1.8328e-07 | 0.0097576 | 0.0097575 | 0.0097576 | 0.98434 | -0.30083 | 0.98445 | -0.29873 | 2.6807
37 | 0.037644 | 0.0094573 | -0.037597 | -0.0094275 | 4.7354e-05 | 2.9812e-05 | 0.056908 | 0.056908 | 0.056908 | 0.98445 | -0.29873 | 0.9831 | -0.32513 | 15.6342
38 | -0.0441 | -0.011075 | 0.044104 | 0.011078 | 4.3468e-06 | 2.7488e-06 | 0.066666 | 0.066666 | 0.066666 | 0.98445 | -0.29873 | 0.98456 | -0.29667 | 18.3148
39 | 0.020176 | 0.0050586 | -0.02017 | -0.0050555 | 5.1861e-06 | 3.1311e-06 | 0.030539 | 0.030539 | 0.030539 | 0.9831 | -0.32513 | 0.98282 | -0.33052 | 8.3897
40 | 0.017421 | 0.0043689 | -0.017419 | -0.0043677 | 1.9641e-06 | 1.1615e-06 | 0.02637 | 0.02637 | 0.02637 | 0.9831 | -0.32513 | 0.98298 | -0.32749 | 7.2445
41 | -0.046006 | -0.011555 | 0.04603 | 0.01157 | 2.3873e-05 | 1.5111e-05 | 0.06954 | 0.06954 | 0.06954 | 0.98456 | -0.29667 | 0.98512 | -0.2858 | 19.1043
42 | 0.01064 | 0.0026669 | -0.010638 | -0.0026662 | 1.4342e-06 | 7.3113e-07 | 0.016109 | 0.016109 | 0.016109 | 0.98282 | -0.33052 | 0.98268 | -0.33335 | 4.4256
43 | 0.012337 | 0.003094 | -0.012331 | -0.0030906 | 6.3434e-06 | 3.4454e-06 | 0.018677 | 0.018677 | 0.018677 | 0.98298 | -0.32749 | 0.98243 | -0.33829 | 5.131
44 | -0.049012 | -0.012317 | 0.049015 | 0.012319 | 3.4067e-06 | 2.1592e-06 | 0.074044 | 0.074044 | 0.074044 | 0.98512 | -0.2858 | 0.98519 | -0.28434 | 20.3417
45 | 0.0039153 | 0.0009812 | -0.0039152 | -0.00098123 | 9.3872e-08 | -3.0145e-08 | 0.0059286 | 0.0059287 | 0.0059287 | 0.98268 | -0.33335 | 0.98265 | -0.33386 | 1.6288
46 | 0.0092565 | 0.00232 | -0.0092558 | -0.0023197 | 6.5991e-07 | 3.0899e-07 | 0.01402 | 0.01402 | 0.01402 | 0.98243 | -0.33829 | 0.98235 | -0.33978 | 3.8517
47 | 0.012658 | 0.003176 | -0.01265 | -0.0031716 | 8.0388e-06 | 4.3987e-06 | 0.01912 | 0.019121 | 0.019121 | 0.98519 | -0.28434 | 0.98451 | -0.29767 | 5.2529
48 | -0.061673 | -0.015495 | 0.061726 | 0.015528 | 5.2291e-05 | 3.3262e-05 | 0.093164 | 0.093164 | 0.093164 | 0.98519 | -0.28434 | 0.9861 | -0.2666 | 25.5946
49 | 0.01265 | 0.0031716 | -0.012647 | -0.0031699 | 3.1637e-06 | 1.7314e-06 | 0.019121 | 0.019121 | 0.019121 | 0.98451 | -0.29767 | 0.98424 | -0.30292 | 5.2529
50 | -0.064853 | -0.016312 | 0.064899 | 0.016341 | 4.5925e-05 | 2.9229e-05 | 0.097883 | 0.097883 | 0.097883 | 0.9861 | -0.2666 | 0.98687 | -0.25178 | 26.891
51 | 0.0079062 | 0.0019816 | -0.0079055 | -0.0019814 | 6.3456e-07 | 2.5561e-07 | 0.011953 | 0.011953 | 0.011953 | 0.98424 | -0.30292 | 0.98415 | -0.30461 | 3.2838
52 | -0.070148 | -0.017657 | 0.070224 | 0.017705 | 7.5802e-05 | 4.8282e-05 | 0.1058 | 0.1058 | 0.1058 | 0.98687 | -0.25178 | 0.98803 | -0.2292 | 29.0655
53 | 0.0079055 | 0.0019814 | -0.0079051 | -0.0019812 | 4.5963e-07 | 1.8516e-07 | 0.011953 | 0.011953 | 0.011953 | 0.98415 | -0.30461 | 0.98409 | -0.30583 | 3.2838
54 | -0.12807 | -0.032293 | 0.12813 | 0.032333 | 6.3305e-05 | 4.0457e-05 | 0.19294 | 0.19294 | 0.19294 | 0.98803 | -0.2292 | 0.98856 | -0.21888 | 53.0061
55 | 0.057841 | 0.014588 | -0.057747 | -0.014528 | 9.392e-05 | 5.9687e-05 | 0.087144 | 0.087144 | 0.087144 | 0.98803 | -0.2292 | 0.98628 | -0.26318 | 23.9406
56 | -0.0099581 | -0.0024957 | 0.0099588 | 0.0024961 | 7.4087e-07 | 3.6433e-07 | 0.015088 | 0.015088 | 0.015088 | 0.98209 | -0.3449 | 0.98217 | -0.34334 | 4.1451
57 | -0.026178 | -0.006561 | 0.026196 | 0.0065722 | 1.8105e-05 | 1.1199e-05 | 0.03966 | 0.03966 | 0.03966 | 0.98217 | -0.34334 | 0.98291 | -0.32883 | 10.8957
58 | -0.028223 | -0.0070802 | 0.028225 | 0.0070815 | 2.1318e-06 | 1.3249e-06 | 0.042729 | 0.042729 | 0.042729 | 0.98291 | -0.32883 | 0.98299 | -0.32725 | 11.7388
59 | 0.0024813 | 0.00062121 | -0.002481 | -0.00062179 | 3.2964e-07 | -5.788e-07 | 0.0037559 | 0.0037562 | 0.0037562 | 0.98299 | -0.32725 | 0.98285 | -0.33004 | 1.0319
60 | -0.030707 | -0.0077027 | 0.030742 | 0.0077247 | 3.5138e-05 | 2.1938e-05 | 0.046485 | 0.046485 | 0.046485 | 0.98299 | -0.32725 | 0.98422 | -0.30327 | 12.7706
61 | -0.042121 | -0.010577 | 0.042154 | 0.010598 | 3.3168e-05 | 2.095e-05 | 0.063689 | 0.063689 | 0.063689 | 0.98422 | -0.30327 | 0.98507 | -0.28678 | 17.497
62 | -0.0018559 | -0.00046514 | 0.0018559 | 0.00046512 | 6.7624e-09 | -2.4851e-08 | 0.0028042 | 0.0028042 | 0.0028042 | 0.98482 | -0.29152 | 0.98483 | -0.29144 | 0.77039
63 | -0.0074691 | -0.0018719 | 0.0074707 | 0.0018725 | 1.6592e-06 | 6.1972e-07 | 0.011285 | 0.011285 | 0.011285 | 0.98483 | -0.29144 | 0.98507 | -0.28678 | 3.1004
64 | -0.049625 | -0.01247 | 0.049661 | 0.012493 | 3.6337e-05 | 2.3036e-05 | 0.074974 | 0.074974 | 0.074974 | 0.98507 | -0.28678 | 0.98585 | -0.27145 | 20.5973
65 | -0.054101 | -0.013606 | 0.054122 | 0.013619 | 2.1377e-05 | 1.3572e-05 | 0.081675 | 0.081675 | 0.081675 | 0.98585 | -0.27145 | 0.98628 | -0.26318 | 22.4381
66 | -0.13108 | -0.033073 | 0.13137 | 0.033255 | 0.00028469 | 0.00018195 | 0.19739 | 0.19739 | 0.19739 | 0.98856 | -0.21888 | 0.99091 | -0.17363 | 54.2271
67 | 0.017633 | 0.0044226 | -0.017626 | -0.0044181 | 7.6733e-06 | 4.5338e-06 | 0.026456 | 0.026456 | 0.026456 | 0.99183 | -0.15596 | 0.99136 | -0.16509 | 7.2681
68 | -0.0080747 | -0.0020239 | 0.0080758 | 0.0020243 | 1.0652e-06 | 4.3249e-07 | 0.012122 | 0.012122 | 0.012122 | 0.99122 | -0.16786 | 0.99136 | -0.16509 | 3.3302
69 | 0.0080747 | 0.0020239 | -0.0080736 | -0.0020234 | 1.0535e-06 | 4.2784e-07 | 0.012122 | 0.012122 | 0.012122 | 0.99122 | -0.16786 | 0.99108 | -0.1706 | 3.3302
70 | 0.0095499 | 0.0023937 | -0.0095492 | -0.0023934 | 7.3168e-07 | 3.4585e-07 | 0.014334 | 0.014334 | 0.014334 | 0.99136 | -0.16509 | 0.99128 | -0.1667 | 3.938
71 | -0.0080012 | -0.0020053 | 0.0080022 | 0.0020057 | 1.0165e-06 | 4.0841e-07 | 0.012012 | 0.012012 | 0.012012 | 0.99114 | -0.16937 | 0.99128 | -0.1667 | 3.3001

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44614 | 0.11439

## res_load
| p_mw | q_mvar
0 | 0.0012854 | 0.00032215
1 | 0.0051625 | 0.0012938
2 | 0.0040993 | 0.0010274
3 | 0.0023796 | 0.00059638
4 | 0.014557 | 0.0036483
5 | 0.0097738 | 0.0024495
6 | 0.0045629 | 0.0011436
7 | 0.011589 | 0.0029044
8 | 0.097066 | 0.024327
9 | 0.0084364 | 0.0021144
10 | 0.056489 | 0.014157
11 | 0.0024326 | 0.00060967
12 | 0.0077444 | 0.0019409
13 | 0.0019595 | 0.0004911
14 | 0.0043741 | 0.0010963
15 | 0.014088 | 0.0035308
16 | 0.006782 | 0.0016997
17 | 0.022404 | 0.0056149
18 | 0.0017547 | 0.00043976
19 | 0.004597 | 0.0011521
20 | 0.0044625 | 0.0011184
21 | 0.0064548 | 0.0016177
22 | 0.0019016 | 0.0004766
23 | 0.0095306 | 0.0023886
24 | 0.0050821 | 0.0012737
25 | 0.0029819 | 0.00074734
26 | 0.0067232 | 0.001685
27 | 0.0030745 | 0.00077054
28 | 0.0092558 | 0.0023197
29 | 0.0039152 | 0.00098123
30 | 0.0031273 | 0.00078376
31 | 0.0047411 | 0.0011882
32 | 0.0052496 | 0.0013157
33 | 0.0079051 | 0.0019812
34 | 0.0099581 | 0.0024957
35 | 0.016219 | 0.0040649
36 | 0.0020271 | 0.00050805
37 | 0.002481 | 0.00062179
38 | 0.01138 | 0.002852
39 | 0.0018559 | 0.00046514
40 | 0.0056131 | 0.0014068
41 | 0.0044393 | 0.0011126
42 | 0.0036249 | 0.0009085
43 | 0.0029528 | 0.00074004
44 | 0.0026144 | 0.00065524
45 | 0.0080736 | 0.0020234
46 | 0.0080012 | 0.0020053
47 | 0.001547 | 0.00038771

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1