## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_117-19_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_117-19_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_117-19_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_117-19_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_117-19_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_117-19_0_6_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_117-19_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_117-19_0_6_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_117-19_0_6_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_117-19_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_117-19_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_117-19_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_117-19_0_6_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_117-19_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_117-19_0_6_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_117-19_0_6_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_117-19_0_6_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_117-19_0_6_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_117-19_0_6_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_117-19_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_117-19_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_117-19_0_6_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_117-19_0_6_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_117-19_0_6_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_117-19_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_117-19_0_6_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_117-19_0_6_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_117-19_0_6_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_117-19_0_6_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_117-19_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_117-19_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_117-19_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_117-19_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_117-19_0_6_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_117-19_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_117-19_0_6_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_117-19_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_117-19_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_117-19_0_6_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_117-19_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_117-19_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_117-19_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_117-19_0_6_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_117-19_0_6_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_117-19_0_6_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_117-19_0_6_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_117-19_0_6_node_44 | 0.4 | n |  | TRUE
47 | bus_MV_8_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_117-19_0_6_load_0 | 0 | 0.014014 | 0.0035123 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_117-19_0_6_load_1 | 1 | 0.019741 | 0.0049476 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_117-19_0_6_load_2 | 2 | 0.05211 | 0.01306 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_117-19_0_6_load_3 | 3 | 0.019973 | 0.0050056 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_117-19_0_6_load_4 | 4 | 0.031928 | 0.008002 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_117-19_0_6_load_13 | 5 | 0.015519 | 0.0038894 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_117-19_0_6_load_12 | 8 | 0.084141 | 0.021088 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_117-19_0_6_load_5 | 9 | 0.012834 | 0.0032166 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_117-19_0_6_load_6 | 10 | 0.0032022 | 0.00080254 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_117-19_0_6_load_8 | 11 | 0.0011424 | 0.00028631 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_117-19_0_6_load_41 | 12 | 0.0026583 | 0.00066623 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_117-19_0_6_load_17 | 15 | 0.0024089 | 0.00060374 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_117-19_0_6_load_24 | 17 | 0.00173 | 0.00043359 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_117-19_0_6_load_15 | 18 | 0.032681 | 0.0081907 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_117-19_0_6_load_10 | 19 | 0.0063275 | 0.0015858 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_117-19_0_6_load_11 | 20 | 0.060619 | 0.015193 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_117-19_0_6_load_32 | 22 | 0.0076957 | 0.0019287 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_117-19_0_6_load_28 | 23 | 0.014781 | 0.0037044 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_117-19_0_6_load_20 | 24 | 0.0050388 | 0.0012628 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_117-19_0_6_load_50 | 28 | 0.010172 | 0.0025493 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_117-19_0_6_load_16 | 29 | 0.01375 | 0.0034462 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_117-19_0_6_load_18 | 30 | 0.0031613 | 0.00079229 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_117-19_0_6_load_19 | 31 | 0.011916 | 0.0029865 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_117-19_0_6_load_25 | 33 | 0.01149 | 0.0028795 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_117-19_0_6_load_29 | 35 | 0.0046819 | 0.0011734 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_117-19_0_6_load_31 | 37 | 0.00090326 | 0.00022638 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_117-19_0_6_load_35 | 38 | 0.0065593 | 0.0016439 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_117-19_0_6_load_38 | 39 | 0.0022797 | 0.00057135 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_117-19_0_6_load_36 | 40 | 0.0075925 | 0.0019029 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_117-19_0_6_load_37 | 41 | 0.0024396 | 0.00061143 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_117-19_0_6_load_48 | 43 | 0.015404 | 0.0038605 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_117-19_0_6_load_45 | 45 | 0.0061976 | 0.0015533 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_117-19_0_6_load_44 | 46 | 0.0094537 | 0.0023693 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_117-19_0_6_line_0 |  | 0 | 1 | 0.012156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_117-19_0_6_line_1 |  | 0 | 2 | 0.024237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_117-19_0_6_line_2 |  | 1 | 3 | 0.011775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_117-19_0_6_line_3 |  | 2 | 4 | 0.0031244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_117-19_0_6_line_4 |  | 3 | 5 | 0.013713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_117-19_0_6_line_5 |  | 4 | 6 | 0.018512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_117-19_0_6_line_6 |  | 5 | 7 | 0.026123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_117-19_0_6_line_7 |  | 5 | 8 | 0.023611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_117-19_0_6_line_8 |  | 6 | 9 | 0.036668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_117-19_0_6_line_9 |  | 7 | 21 | 0.030502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_117-19_0_6_line_10 |  | 8 | 20 | 0.019303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_117-19_0_6_line_11 |  | 9 | 10 | 0.022368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_117-19_0_6_line_12 |  | 10 | 11 | 0.00066787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_117-19_0_6_line_13 |  | 11 | 12 | 0.018446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_117-19_0_6_line_14 |  | 12 | 16 | 0.052997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_117-19_0_6_line_15 |  | 13 | 14 | 0.077393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_117-19_0_6_line_16 |  | 13 | 15 | 0.051486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_117-19_0_6_line_17 |  | 14 | 17 | 0.016335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_117-19_0_6_line_18 |  | 15 | 18 | 0.0092683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_117-19_0_6_line_19 |  | 16 | 42 | 0.032525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_117-19_0_6_line_20 |  | 18 | 29 | 0.020966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_117-19_0_6_line_21 |  | 19 | 20 | 0.0015407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_117-19_0_6_line_22 |  | 21 | 22 | 0.023446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_117-19_0_6_line_23 |  | 21 | 23 | 0.034906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_117-19_0_6_line_24 |  | 21 | 24 | 0.036352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_117-19_0_6_line_25 |  | 22 | 25 | 0.017037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_117-19_0_6_line_26 |  | 23 | 32 | 0.020794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_117-19_0_6_line_27 |  | 24 | 31 | 0.002027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_117-19_0_6_line_28 |  | 25 | 26 | 0.017775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_117-19_0_6_line_29 |  | 26 | 27 | 0.012307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_117-19_0_6_line_30 |  | 27 | 28 | 0.018615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_117-19_0_6_line_31 |  | 29 | 30 | 0.0017359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_117-19_0_6_line_32 |  | 30 | 31 | 0.019878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_117-19_0_6_line_33 |  | 32 | 35 | 0.040323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_117-19_0_6_line_34 |  | 32 | 33 | 0.016912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_117-19_0_6_line_35 |  | 33 | 34 | 0.01917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_117-19_0_6_line_36 |  | 34 | 36 | 0.010752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_117-19_0_6_line_37 |  | 34 | 37 | 0.03392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_117-19_0_6_line_38 |  | 35 | 38 | 0.0081073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_117-19_0_6_line_39 |  | 36 | 39 | 0.019408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_117-19_0_6_line_40 |  | 37 | 40 | 0.0092991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_117-19_0_6_line_41 |  | 40 | 41 | 0.0080693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_117-19_0_6_line_42 |  | 42 | 43 | 0.034555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_117-19_0_6_line_43 |  | 43 | 44 | 0.0054938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_117-19_0_6_line_44 |  | 44 | 45 | 0.004849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_117-19_0_6_line_45 |  | 45 | 46 | 0.016138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_117-19_0_6_trafo_3 | 0.63 MVA 20/0.4 kV | 47 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2706047.5353 | 1239733.9641 | 2706057.0121 | 1239741.5775
1 | 2706047.5353 | 1239733.9641 | 2706028.6405 | 1239718.7847
2 | 2706057.0121 | 1239741.5775 | 2706066.1919 | 1239748.9522
3 | 2706028.6405 | 1239718.7847 | 2706026.2048 | 1239716.8279
4 | 2706076.8826 | 1239757.5408 | 2706066.1919 | 1239748.9522
5 | 2706011.7268 | 1239705.2921 | 2706022.2955 | 1239713.6873 | 2706026.2048 | 1239716.8279
6 | 2706076.8826 | 1239757.5408 | 2706092.3762 | 1239770.5499 | 2706097.551 | 1239773.4669
7 | 2706076.8826 | 1239757.5408 | 2706062.9025 | 1239776.5686
8 | 2706011.7268 | 1239705.2921 | 2705990.0763 | 1239734.8855
9 | 2706097.551 | 1239773.4669 | 2706100.8185 | 1239774.3259 | 2706109.0253 | 1239773.5053 | 2706115.0236 | 1239771.3997 | 2706126.4611 | 1239766.3113
10 | 2706062.9025 | 1239776.5686 | 2706051.4735 | 1239792.1242
11 | 2705990.0763 | 1239734.8855 | 2705986.9615 | 1239739.1429 | 2705976.8417 | 1239752.9175
12 | 2705976.4463 | 1239753.4557 | 2705976.8417 | 1239752.9175
13 | 2705965.5252 | 1239768.321 | 2705976.4463 | 1239753.4557
14 | 2705934.4185 | 1239811.2279 | 2705960.005 | 1239775.8347 | 2705965.5252 | 1239768.321
15 | 2706061.6259 | 1239640.2995 | 2706055.5563 | 1239628.6153 | 2706070.7166 | 1239617.9778 | 2706076.3499 | 1239619.791 | 2706088.9963 | 1239647.3717 | 2706097.6134 | 1239643.5004
16 | 2706061.6259 | 1239640.2995 | 2706085.1812 | 1239686.0808
17 | 2706097.6134 | 1239643.5004 | 2706101.7724 | 1239652.0369 | 2706108.0697 | 1239649.3678
18 | 2706085.1812 | 1239686.0808 | 2706089.4215 | 1239694.3222
19 | 2705934.4185 | 1239811.2279 | 2705936.314 | 1239813.0965 | 2705937.5503 | 1239815.4537 | 2705938.0027 | 1239818.0749 | 2705937.6305 | 1239820.7037 | 2705936.4681 | 1239823.107 | 2705952.1858 | 1239834.1627
20 | 2706089.4215 | 1239694.3222 | 2706099.0136 | 1239712.9651
21 | 2706051.4735 | 1239792.1242 | 2706050.5613 | 1239793.3658
22 | 2706126.4611 | 1239766.3113 | 2706136.924 | 1239787.2934
23 | 2706126.4611 | 1239766.3113 | 2706136.2875 | 1239761.6389 | 2706157.8307 | 1239751.0029
24 | 2706126.4611 | 1239766.3113 | 2706109.8297 | 1239733.9869
25 | 2706144.527 | 1239802.5402 | 2706136.924 | 1239787.2934
26 | 2706176.4762 | 1239741.7976 | 2706157.8307 | 1239751.0029
27 | 2706109.8297 | 1239733.9869 | 2706108.9023 | 1239732.1845
28 | 2706144.527 | 1239802.5402 | 2706149.0038 | 1239800.0738 | 2706150.949 | 1239802.9664 | 2706153.9553 | 1239804.8994 | 2706159.5647 | 1239805.5002
29 | 2706165.8264 | 1239814.041 | 2706162.6382 | 1239805.3662 | 2706159.5647 | 1239805.5002
30 | 2706165.8264 | 1239814.041 | 2706172.7492 | 1239812.2634 | 2706181.4336 | 1239810.9621 | 2706184.1184 | 1239810.8774
31 | 2706099.8078 | 1239714.5086 | 2706099.0136 | 1239712.9651
32 | 2706099.8078 | 1239714.5086 | 2706108.9023 | 1239732.1845
33 | 2706176.4762 | 1239741.7976 | 2706159.6993 | 1239705.1309
34 | 2706176.4762 | 1239741.7976 | 2706193.2212 | 1239739.4288
35 | 2706212.2023 | 1239736.7437 | 2706193.2212 | 1239739.4288
36 | 2706212.2023 | 1239736.7437 | 2706222.4943 | 1239733.5364
37 | 2706212.2023 | 1239736.7437 | 2706211.7902 | 1239747.5114 | 2706209.1499 | 1239755.9818 | 2706198.9713 | 1239765.9857
38 | 2706156.3261 | 1239697.7586 | 2706159.6993 | 1239705.1309
39 | 2706222.4943 | 1239733.5364 | 2706226.1238 | 1239742.0635 | 2706234.6755 | 1239747.5125
40 | 2706198.9713 | 1239765.9857 | 2706192.3392 | 1239772.504
41 | 2706186.5841 | 1239778.1602 | 2706192.3392 | 1239772.504
42 | 2705952.1858 | 1239834.1627 | 2705973.3113 | 1239806.8175
43 | 2705977.7006 | 1239807.4418 | 2705974.285 | 1239805.5571 | 2705973.3113 | 1239806.8175
44 | 2705977.7006 | 1239807.4418 | 2705981.7315 | 1239810.1371
45 | 2705995.1471 | 1239819.1075 | 2705981.7315 | 1239810.1371

## bus_geodata
| x | y | coords
0 | 2706047.5353 | 1239733.9641
1 | 2706057.0121 | 1239741.5775
2 | 2706028.6405 | 1239718.7847
3 | 2706066.1919 | 1239748.9522
4 | 2706026.2048 | 1239716.8279
5 | 2706076.8826 | 1239757.5408
6 | 2706011.7268 | 1239705.2921
7 | 2706097.551 | 1239773.4669
8 | 2706062.9025 | 1239776.5686
9 | 2705990.0763 | 1239734.8855
10 | 2705976.8417 | 1239752.9175
11 | 2705976.4463 | 1239753.4557
12 | 2705965.5252 | 1239768.321
13 | 2706061.6259 | 1239640.2994
14 | 2706097.6133 | 1239643.5004
15 | 2706085.1812 | 1239686.0808
16 | 2705934.4185 | 1239811.2279
17 | 2706108.0697 | 1239649.3678
18 | 2706089.4215 | 1239694.3222
19 | 2706050.5613 | 1239793.3658
20 | 2706051.4735 | 1239792.1242
21 | 2706126.4611 | 1239766.3113
22 | 2706136.924 | 1239787.2934
23 | 2706157.8307 | 1239751.0029
24 | 2706109.8297 | 1239733.9869
25 | 2706144.527 | 1239802.5402
26 | 2706159.5647 | 1239805.5002
27 | 2706165.8264 | 1239814.041
28 | 2706184.1184 | 1239810.8774
29 | 2706099.0136 | 1239712.9651
30 | 2706099.8078 | 1239714.5086
31 | 2706108.9023 | 1239732.1845
32 | 2706176.4762 | 1239741.7975
33 | 2706193.2212 | 1239739.4288
34 | 2706212.2023 | 1239736.7437
35 | 2706159.6993 | 1239705.1309
36 | 2706222.4943 | 1239733.5364
37 | 2706198.9713 | 1239765.9857
38 | 2706156.3261 | 1239697.7586
39 | 2706234.6755 | 1239747.5125
40 | 2706192.3392 | 1239772.504
41 | 2706186.5841 | 1239778.1602
42 | 2705952.1858 | 1239834.1627
43 | 2705973.3113 | 1239806.8175
44 | 2705977.7006 | 1239807.4418
45 | 2705981.7315 | 1239810.1371
46 | 2705995.1471 | 1239819.1075
47 | 2706076.8826 | 1239757.5408

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99857 | -0.02736 | 0.014014 | 0.0035123
1 | 0.9994 | -0.011548 | 0.019741 | 0.0049476
2 | 0.99558 | -0.084698 | 0.05211 | 0.01306
3 | 1 | 0 | -0.47905 | -0.12074
4 | 0.99535 | -0.089249 | 0.031928 | 0.008002
5 | 0.99872 | -0.024404 | 0.015519 | 0.0038894
6 | 0.99448 | -0.10584 | 0 | 0
7 | 0.99538 | -0.088204 | 0 | 0
8 | 0.9971 | -0.055623 | 0.084141 | 0.021088
9 | 0.99277 | -0.13879 | 0.012834 | 0.0032166
10 | 0.99199 | -0.15386 | 0.0032022 | 0.00080254
11 | 0.99197 | -0.15427 | 0.0011424 | 0.00028631
12 | 0.9914 | -0.16529 | 0.0026583 | 0.00066623
13 | 0.98712 | -0.24799 | 0 | 0
14 | 0.98699 | -0.25039 | 0 | 0
15 | 0.9872 | -0.24639 | 0.0024089 | 0.00060374
16 | 0.98989 | -0.19453 | 0 | 0
17 | 0.98697 | -0.25089 | 0.00173 | 0.00043359
18 | 0.98723 | -0.2457 | 0.032681 | 0.0081907
19 | 0.99591 | -0.078476 | 0.0063275 | 0.0015858
20 | 0.99592 | -0.078305 | 0.060619 | 0.015193
21 | 0.99149 | -0.16324 | 0 | 0
22 | 0.9911 | -0.17067 | 0.0076957 | 0.0019287
23 | 0.98986 | -0.19469 | 0.014781 | 0.0037044
24 | 0.98913 | -0.20891 | 0.0050388 | 0.0012628
25 | 0.99094 | -0.17375 | 0 | 0
26 | 0.99078 | -0.17696 | 0 | 0
27 | 0.99066 | -0.17918 | 0 | 0
28 | 0.99049 | -0.18255 | 0.010172 | 0.0025493
29 | 0.98794 | -0.23191 | 0.01375 | 0.0034462
30 | 0.98802 | -0.23034 | 0.0031613 | 0.00079229
31 | 0.989 | -0.21129 | 0.011916 | 0.0029865
32 | 0.98918 | -0.208 | 0 | 0
33 | 0.98879 | -0.21545 | 0.01149 | 0.0028795
34 | 0.98856 | -0.21996 | 0 | 0
35 | 0.98876 | -0.21608 | 0.0046819 | 0.0011734
36 | 0.98854 | -0.2204 | 0 | 0
37 | 0.98822 | -0.22658 | 0.00090326 | 0.00022638
38 | 0.98871 | -0.21703 | 0.0065593 | 0.0016439
39 | 0.9885 | -0.22119 | 0.0022797 | 0.00057135
40 | 0.98813 | -0.22825 | 0.0075925 | 0.0019029
41 | 0.98812 | -0.2286 | 0.0024396 | 0.00061143
42 | 0.98896 | -0.21251 | 0 | 0
43 | 0.98798 | -0.23165 | 0.015404 | 0.0038605
44 | 0.9879 | -0.23319 | 0 | 0
45 | 0.98783 | -0.23454 | 0.0061976 | 0.0015533
46 | 0.98769 | -0.23727 | 0.0094537 | 0.0023693
47 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.1496 | -0.037747 | 0.14972 | 0.037819 | 0.00011337 | 7.2237e-05 | 0.22302 | 0.22302 | 0.22302 | 0.99857 | -0.02736 | 0.9994 | -0.011548 | 30.6347
1 | 0.13559 | 0.034235 | -0.13522 | -0.033998 | 0.00037137 | 0.00023736 | 0.20214 | 0.20214 | 0.20214 | 0.99857 | -0.02736 | 0.99558 | -0.084698 | 55.5323
2 | -0.16946 | -0.042767 | 0.16955 | 0.042827 | 9.3778e-05 | 5.9555e-05 | 0.25241 | 0.25241 | 0.25241 | 0.9994 | -0.011548 | 1 | 0 | 23.1148
3 | 0.083108 | 0.020937 | -0.08309 | -0.020926 | 1.8089e-05 | 1.1536e-05 | 0.12425 | 0.12425 | 0.12425 | 0.99558 | -0.084698 | 0.99535 | -0.089249 | 34.1354
4 | 0.30785 | 0.07791 | -0.30749 | -0.07768 | 0.00036013 | 0.00022994 | 0.45835 | 0.45835 | 0.45835 | 1 | 0 | 0.99872 | -0.024404 | 41.9737
5 | 0.051161 | 0.012924 | -0.051121 | -0.012898 | 4.0648e-05 | 2.5774e-05 | 0.076521 | 0.076521 | 0.076521 | 0.99535 | -0.089249 | 0.99448 | -0.10584 | 21.0222
6 | 0.14059 | 0.035734 | -0.14016 | -0.035459 | 0.00043052 | 0.00027519 | 0.20964 | 0.20964 | 0.20964 | 0.99872 | -0.024404 | 0.99538 | -0.088204 | 57.5929
7 | 0.15139 | 0.038056 | -0.15116 | -0.037912 | 0.00022531 | 0.00014358 | 0.22559 | 0.22559 | 0.22559 | 0.99872 | -0.024404 | 0.9971 | -0.055623 | 30.9881
8 | 0.051121 | 0.012898 | -0.05104 | -0.012847 | 8.0515e-05 | 5.1054e-05 | 0.076521 | 0.076521 | 0.076521 | 0.99448 | -0.10584 | 0.99277 | -0.13879 | 21.0223
9 | 0.14016 | 0.035459 | -0.13965 | -0.035138 | 0.00050269 | 0.00032132 | 0.20964 | 0.20964 | 0.20964 | 0.99538 | -0.088204 | 0.99149 | -0.16324 | 57.593
10 | 0.067019 | 0.016825 | -0.066947 | -0.016778 | 7.2423e-05 | 4.6099e-05 | 0.10003 | 0.10003 | 0.10003 | 0.9971 | -0.055623 | 0.99592 | -0.078305 | 27.4796
11 | 0.038206 | 0.0096305 | -0.038178 | -0.0096131 | 2.7524e-05 | 1.7327e-05 | 0.057284 | 0.057284 | 0.057284 | 0.99277 | -0.13879 | 0.99199 | -0.15386 | 15.7374
12 | 0.034976 | 0.0088106 | -0.034975 | -0.0088102 | 6.8981e-07 | 4.3285e-07 | 0.052481 | 0.052481 | 0.052481 | 0.99199 | -0.15386 | 0.99197 | -0.15427 | 14.4178
13 | 0.033833 | 0.0085238 | -0.033815 | -0.0085127 | 1.7828e-05 | 1.1172e-05 | 0.050767 | 0.050767 | 0.050767 | 0.99197 | -0.15427 | 0.9914 | -0.16529 | 13.9471
14 | 0.031157 | 0.0078464 | -0.031113 | -0.0078193 | 4.3487e-05 | 2.7149e-05 | 0.046777 | 0.046778 | 0.046778 | 0.9914 | -0.16529 | 0.98989 | -0.19453 | 12.851
15 | 0.0017303 | 0.00043255 | -0.0017301 | -0.00043341 | 1.9741e-07 | -8.6288e-07 | 0.0026079 | 0.0026083 | 0.0026083 | 0.98712 | -0.24799 | 0.98699 | -0.25039 | 0.71655
16 | -0.0017303 | -0.00043255 | 0.0017304 | 0.00043197 | 1.313e-07 | -5.7419e-07 | 0.0026079 | 0.0026077 | 0.0026079 | 0.98712 | -0.24799 | 0.9872 | -0.24639 | 0.71646
17 | 0.0017301 | 0.00043341 | -0.00173 | -0.00043359 | 4.1675e-08 | -1.8209e-07 | 0.0026083 | 0.0026083 | 0.0026083 | 0.98699 | -0.25039 | 0.98697 | -0.25089 | 0.71657
18 | -0.0041393 | -0.0010357 | 0.0041395 | 0.0010357 | 1.3527e-07 | -3.1929e-08 | 0.0062387 | 0.0062386 | 0.0062387 | 0.9872 | -0.24639 | 0.98723 | -0.2457 | 1.7139
19 | 0.031113 | 0.0078193 | -0.031087 | -0.0078026 | 2.6688e-05 | 1.6663e-05 | 0.046778 | 0.046778 | 0.046778 | 0.98989 | -0.19453 | 0.98896 | -0.21251 | 12.851
20 | -0.036821 | -0.0092264 | 0.036845 | 0.0092416 | 2.4215e-05 | 1.523e-05 | 0.055498 | 0.055498 | 0.055498 | 0.98723 | -0.2457 | 0.98794 | -0.23191 | 15.2466
21 | -0.0063275 | -0.0015858 | 0.0063275 | 0.0015858 | 5.1639e-08 | 1.3001e-08 | 0.009454 | 0.009454 | 0.009454 | 0.99591 | -0.078476 | 0.99592 | -0.078305 | 2.5972
22 | 0.01788 | 0.0044847 | -0.017873 | -0.0044809 | 6.3316e-06 | 3.75e-06 | 0.026835 | 0.026835 | 0.026835 | 0.99149 | -0.16324 | 0.9911 | -0.17067 | 7.3723
23 | 0.050846 | 0.012787 | -0.05077 | -0.012739 | 7.6256e-05 | 4.8355e-05 | 0.076325 | 0.076326 | 0.076326 | 0.99149 | -0.16324 | 0.98986 | -0.19469 | 20.9686
24 | 0.070926 | 0.017866 | -0.070772 | -0.017768 | 0.00015455 | 9.8446e-05 | 0.10648 | 0.10648 | 0.10648 | 0.99149 | -0.16324 | 0.98913 | -0.20891 | 29.2522
25 | 0.010178 | 0.0025522 | -0.010176 | -0.0025514 | 1.4919e-06 | 7.3531e-07 | 0.015281 | 0.015281 | 0.015281 | 0.9911 | -0.17067 | 0.99094 | -0.17375 | 4.1981
26 | 0.035989 | 0.0090343 | -0.035966 | -0.00902 | 2.2828e-05 | 1.4343e-05 | 0.054106 | 0.054106 | 0.054106 | 0.98986 | -0.19469 | 0.98918 | -0.208 | 14.8644
27 | 0.065733 | 0.016505 | -0.065725 | -0.0165 | 7.4345e-06 | 4.7321e-06 | 0.098898 | 0.098898 | 0.098898 | 0.98913 | -0.20891 | 0.989 | -0.21129 | 27.1697
28 | 0.010176 | 0.0025514 | -0.010175 | -0.0025507 | 1.5565e-06 | 7.6723e-07 | 0.015281 | 0.015281 | 0.015281 | 0.99094 | -0.17375 | 0.99078 | -0.17696 | 4.1982
29 | 0.010175 | 0.0025507 | -0.010174 | -0.0025501 | 1.0777e-06 | 5.3126e-07 | 0.015281 | 0.015281 | 0.015281 | 0.99078 | -0.17696 | 0.99066 | -0.17918 | 4.1982
30 | 0.010174 | 0.0025501 | -0.010172 | -0.0025493 | 1.6301e-06 | 8.0364e-07 | 0.015281 | 0.015281 | 0.015281 | 0.99066 | -0.17918 | 0.99049 | -0.18255 | 4.1982
31 | -0.050595 | -0.012688 | 0.050599 | 0.01269 | 3.7805e-06 | 2.3973e-06 | 0.076208 | 0.076208 | 0.076208 | 0.98794 | -0.23191 | 0.98802 | -0.23034 | 20.9363
32 | -0.05376 | -0.013482 | 0.053809 | 0.013513 | 4.8871e-05 | 3.1023e-05 | 0.080969 | 0.080969 | 0.080969 | 0.98802 | -0.23034 | 0.989 | -0.21129 | 22.2443
33 | 0.011246 | 0.0028196 | -0.011241 | -0.0028174 | 4.3277e-06 | 2.2523e-06 | 0.016917 | 0.016918 | 0.016918 | 0.98918 | -0.208 | 0.98876 | -0.21608 | 4.6477
34 | 0.024721 | 0.0062003 | -0.024712 | -0.0061949 | 8.7709e-06 | 5.3964e-06 | 0.037189 | 0.037189 | 0.037189 | 0.98918 | -0.208 | 0.98879 | -0.21545 | 10.2168
35 | 0.013222 | 0.0033154 | -0.01322 | -0.0033138 | 2.8464e-06 | 1.5759e-06 | 0.019899 | 0.019899 | 0.019899 | 0.98879 | -0.21545 | 0.98856 | -0.21996 | 5.4667
36 | 0.0022799 | 0.00057105 | -0.0022798 | -0.00057116 | 4.7481e-08 | -1.0746e-07 | 0.0034316 | 0.0034317 | 0.0034317 | 0.98856 | -0.21996 | 0.98854 | -0.2204 | 0.94276
37 | 0.01094 | 0.0027427 | -0.010936 | -0.002741 | 3.4492e-06 | 1.7728e-06 | 0.016467 | 0.016467 | 0.016467 | 0.98856 | -0.21996 | 0.98822 | -0.22658 | 4.524
38 | 0.0065596 | 0.001644 | -0.0065593 | -0.0016439 | 2.9628e-07 | 8.5639e-08 | 0.0098718 | 0.0098718 | 0.0098718 | 0.98876 | -0.21608 | 0.98871 | -0.21703 | 2.712
39 | 0.0022798 | 0.00057116 | -0.0022797 | -0.00057135 | 8.5708e-08 | -1.9395e-07 | 0.0034317 | 0.0034317 | 0.0034317 | 0.98854 | -0.2204 | 0.9885 | -0.22119 | 0.94279
40 | 0.010033 | 0.0025146 | -0.010032 | -0.0025142 | 7.9586e-07 | 3.9022e-07 | 0.015107 | 0.015107 | 0.015107 | 0.98822 | -0.22658 | 0.98813 | -0.22825 | 4.1503
41 | 0.0024397 | 0.00061135 | -0.0024396 | -0.00061143 | 4.0842e-08 | -7.7226e-08 | 0.0036738 | 0.0036738 | 0.0036738 | 0.98813 | -0.22825 | 0.98812 | -0.2286 | 1.0093
42 | 0.031087 | 0.0078026 | -0.031058 | -0.0077849 | 2.8355e-05 | 1.7704e-05 | 0.046778 | 0.046778 | 0.046778 | 0.98896 | -0.21251 | 0.98798 | -0.23165 | 12.8511
43 | 0.015655 | 0.0039244 | -0.015654 | -0.0039237 | 1.1453e-06 | 6.6266e-07 | 0.023578 | 0.023578 | 0.023578 | 0.98798 | -0.23165 | 0.9879 | -0.23319 | 6.4775
44 | 0.015654 | 0.0039237 | -0.015653 | -0.0039232 | 1.0109e-06 | 5.8489e-07 | 0.023578 | 0.023578 | 0.023578 | 0.9879 | -0.23319 | 0.98783 | -0.23454 | 6.4775
45 | 0.0094549 | 0.0023699 | -0.0094537 | -0.0023693 | 1.2276e-06 | 5.7911e-07 | 0.014243 | 0.014243 | 0.014243 | 0.98783 | -0.23454 | 0.98769 | -0.23727 | 3.9128

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49902 | 0.12574

## res_load
| p_mw | q_mvar
0 | 0.014014 | 0.0035123
1 | 0.019741 | 0.0049476
2 | 0.05211 | 0.01306
3 | 0.019973 | 0.0050056
4 | 0.031928 | 0.008002
5 | 0.015519 | 0.0038894
6 | 0.084141 | 0.021088
7 | 0.012834 | 0.0032166
8 | 0.0032022 | 0.00080254
9 | 0.0011424 | 0.00028631
10 | 0.0026583 | 0.00066623
11 | 0.0024089 | 0.00060374
12 | 0.00173 | 0.00043359
13 | 0.032681 | 0.0081907
14 | 0.0063275 | 0.0015858
15 | 0.060619 | 0.015193
16 | 0.0076957 | 0.0019287
17 | 0.014781 | 0.0037044
18 | 0.0050388 | 0.0012628
19 | 0.010172 | 0.0025493
20 | 0.01375 | 0.0034462
21 | 0.0031613 | 0.00079229
22 | 0.011916 | 0.0029865
23 | 0.01149 | 0.0028795
24 | 0.0046819 | 0.0011734
25 | 0.00090326 | 0.00022638
26 | 0.0065593 | 0.0016439
27 | 0.0022797 | 0.00057135
28 | 0.0075925 | 0.0019029
29 | 0.0024396 | 0.00061143
30 | 0.015404 | 0.0038605
31 | 0.0061976 | 0.0015533
32 | 0.0094537 | 0.0023693

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1