## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_117-23_1_3_node_86 | 0.4 | n |  | TRUE
1 | bus_LV_117-23_1_3_node_87 | 0.4 | n |  | TRUE
2 | bus_LV_117-23_1_3_node_88 | 0.4 | n |  | TRUE
3 | bus_LV_117-23_1_3_node_89 | 0.4 | n |  | TRUE
4 | bus_LV_117-23_1_3_node_90 | 0.4 | n |  | TRUE
5 | bus_LV_117-23_1_3_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_117-23_1_3_node_92 | 0.4 | n |  | TRUE
7 | bus_LV_117-23_1_3_node_93 | 0.4 | n |  | TRUE
8 | bus_LV_117-23_1_3_node_131 | 0.4 | n |  | TRUE
9 | bus_LV_117-23_1_3_node_122 | 0.4 | n |  | TRUE
10 | bus_LV_117-23_1_3_node_216 | 0.4 | n |  | TRUE
11 | bus_LV_117-23_1_3_node_94 | 0.4 | n |  | TRUE
12 | bus_LV_117-23_1_3_node_95 | 0.4 | n |  | TRUE
13 | bus_LV_117-23_1_3_node_96 | 0.4 | n |  | TRUE
14 | bus_LV_117-23_1_3_node_97 | 0.4 | n |  | TRUE
15 | bus_LV_117-23_1_3_node_98 | 0.4 | n |  | TRUE
16 | bus_LV_117-23_1_3_node_99 | 0.4 | n |  | TRUE
17 | bus_LV_117-23_1_3_node_100 | 0.4 | n |  | TRUE
18 | bus_LV_117-23_1_3_node_101 | 0.4 | n |  | TRUE
19 | bus_LV_117-23_1_3_node_102 | 0.4 | n |  | TRUE
20 | bus_LV_117-23_1_3_node_103 | 0.4 | n |  | TRUE
21 | bus_LV_117-23_1_3_node_134 | 0.4 | n |  | TRUE
22 | bus_LV_117-23_1_3_node_171 | 0.4 | n |  | TRUE
23 | bus_LV_117-23_1_3_node_104 | 0.4 | n |  | TRUE
24 | bus_LV_117-23_1_3_node_110 | 0.4 | n |  | TRUE
25 | bus_LV_117-23_1_3_node_105 | 0.4 | n |  | TRUE
26 | bus_LV_117-23_1_3_node_106 | 0.4 | n |  | TRUE
27 | bus_LV_117-23_1_3_node_107 | 0.4 | n |  | TRUE
28 | bus_LV_117-23_1_3_node_108 | 0.4 | n |  | TRUE
29 | bus_LV_117-23_1_3_node_109 | 0.4 | n |  | TRUE
30 | bus_LV_117-23_1_3_node_111 | 0.4 | n |  | TRUE
31 | bus_LV_117-23_1_3_node_112 | 0.4 | n |  | TRUE
32 | bus_LV_117-23_1_3_node_113 | 0.4 | n |  | TRUE
33 | bus_LV_117-23_1_3_node_114 | 0.4 | n |  | TRUE
34 | bus_LV_117-23_1_3_node_115 | 0.4 | n |  | TRUE
35 | bus_LV_117-23_1_3_node_116 | 0.4 | n |  | TRUE
36 | bus_LV_117-23_1_3_node_125 | 0.4 | n |  | TRUE
37 | bus_LV_117-23_1_3_node_127 | 0.4 | n |  | TRUE
38 | bus_LV_117-23_1_3_node_117 | 0.4 | n |  | TRUE
39 | bus_LV_117-23_1_3_node_118 | 0.4 | n |  | TRUE
40 | bus_LV_117-23_1_3_node_119 | 0.4 | n |  | TRUE
41 | bus_LV_117-23_1_3_node_120 | 0.4 | n |  | TRUE
42 | bus_LV_117-23_1_3_node_121 | 0.4 | n |  | TRUE
43 | bus_LV_117-23_1_3_node_123 | 0.4 | n |  | TRUE
44 | bus_LV_117-23_1_3_node_132 | 0.4 | n |  | TRUE
45 | bus_LV_117-23_1_3_node_124 | 0.4 | n |  | TRUE
46 | bus_LV_117-23_1_3_node_128 | 0.4 | n |  | TRUE
47 | bus_LV_117-23_1_3_node_214 | 0.4 | n |  | TRUE
48 | bus_LV_117-23_1_3_node_176 | 0.4 | n |  | TRUE
49 | bus_LV_117-23_1_3_node_133 | 0.4 | n |  | TRUE
50 | bus_LV_117-23_1_3_node_135 | 0.4 | n |  | TRUE
51 | bus_LV_117-23_1_3_node_136 | 0.4 | n |  | TRUE
52 | bus_LV_117-23_1_3_node_139 | 0.4 | n |  | TRUE
53 | bus_LV_117-23_1_3_node_140 | 0.4 | n |  | TRUE
54 | bus_LV_117-23_1_3_node_141 | 0.4 | n |  | TRUE
55 | bus_LV_117-23_1_3_node_142 | 0.4 | n |  | TRUE
56 | bus_LV_117-23_1_3_node_149 | 0.4 | n |  | TRUE
57 | bus_LV_117-23_1_3_node_143 | 0.4 | n |  | TRUE
58 | bus_LV_117-23_1_3_node_144 | 0.4 | n |  | TRUE
59 | bus_LV_117-23_1_3_node_145 | 0.4 | n |  | TRUE
60 | bus_LV_117-23_1_3_node_146 | 0.4 | n |  | TRUE
61 | bus_LV_117-23_1_3_node_147 | 0.4 | n |  | TRUE
62 | bus_LV_117-23_1_3_node_148 | 0.4 | n |  | TRUE
63 | bus_LV_117-23_1_3_node_150 | 0.4 | n |  | TRUE
64 | bus_LV_117-23_1_3_node_151 | 0.4 | n |  | TRUE
65 | bus_LV_117-23_1_3_node_152 | 0.4 | n |  | TRUE
66 | bus_LV_117-23_1_3_node_153 | 0.4 | n |  | TRUE
67 | bus_LV_117-23_1_3_node_154 | 0.4 | n |  | TRUE
68 | bus_LV_117-23_1_3_node_170 | 0.4 | n |  | TRUE
69 | bus_LV_117-23_1_3_node_169 | 0.4 | n |  | TRUE
70 | bus_LV_117-23_1_3_node_155 | 0.4 | n |  | TRUE
71 | bus_LV_117-23_1_3_node_172 | 0.4 | n |  | TRUE
72 | bus_LV_117-23_1_3_node_156 | 0.4 | n |  | TRUE
73 | bus_LV_117-23_1_3_node_157 | 0.4 | n |  | TRUE
74 | bus_LV_117-23_1_3_node_158 | 0.4 | n |  | TRUE
75 | bus_LV_117-23_1_3_node_159 | 0.4 | n |  | TRUE
76 | bus_LV_117-23_1_3_node_160 | 0.4 | n |  | TRUE
77 | bus_LV_117-23_1_3_node_161 | 0.4 | n |  | TRUE
78 | bus_LV_117-23_1_3_node_162 | 0.4 | n |  | TRUE
79 | bus_LV_117-23_1_3_node_164 | 0.4 | n |  | TRUE
80 | bus_LV_117-23_1_3_node_163 | 0.4 | n |  | TRUE
81 | bus_LV_117-23_1_3_node_165 | 0.4 | n |  | TRUE
82 | bus_LV_117-23_1_3_node_166 | 0.4 | n |  | TRUE
83 | bus_LV_117-23_1_3_node_167 | 0.4 | n |  | TRUE
84 | bus_LV_117-23_1_3_node_168 | 0.4 | n |  | TRUE
85 | bus_LV_117-23_1_3_node_218 | 0.4 | n |  | TRUE
86 | bus_LV_117-23_1_3_node_174 | 0.4 | n |  | TRUE
87 | bus_LV_117-23_1_3_node_175 | 0.4 | n |  | TRUE
88 | bus_LV_117-23_1_3_node_177 | 0.4 | n |  | TRUE
89 | bus_LV_117-23_1_3_node_178 | 0.4 | n |  | TRUE
90 | bus_LV_117-23_1_3_node_179 | 0.4 | n |  | TRUE
91 | bus_MV_8_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_117-23_1_3_load_86 | 0 | 0.00021183 | 5.309e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_117-23_1_3_load_87 | 1 | 7.8365e-05 | 1.964e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_117-23_1_3_load_88 | 2 | 0.00014907 | 3.736e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_117-23_1_3_load_90 | 4 | 0.00012946 | 3.2445e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_117-23_1_3_load_92 | 6 | 0.0020366 | 0.00051043 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_117-23_1_3_load_93 | 7 | 0.00013993 | 3.507e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_117-23_1_3_load_131 | 8 | 0.0036169 | 0.00090648 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_117-23_1_3_load_216 | 10 | 0.00015604 | 3.9108e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_117-23_1_3_load_94 | 11 | 0.003994 | 0.001001 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_117-23_1_3_load_97 | 14 | 0.0049231 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_117-23_1_3_load_100 | 17 | 0.009794 | 0.0024546 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_117-23_1_3_load_101 | 18 | 0.0014909 | 0.00037366 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_117-23_1_3_load_102 | 19 | 0.025634 | 0.0064246 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_117-23_1_3_load_134 | 21 | 0.024694 | 0.0061888 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_117-23_1_3_load_171 | 22 | 0.0010888 | 0.00027288 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_117-23_1_3_load_104 | 23 | 0.004043 | 0.0010133 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_117-23_1_3_load_110 | 24 | 0.00683 | 0.0017118 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_117-23_1_3_load_105 | 25 | 0.0040045 | 0.0010036 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_117-23_1_3_load_106 | 26 | 0.0024743 | 0.00062012 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_117-23_1_3_load_107 | 27 | 0.010901 | 0.002732 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_117-23_1_3_load_108 | 28 | 0.0074639 | 0.0018706 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_117-23_1_3_load_109 | 29 | 0.0105 | 0.0026316 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_117-23_1_3_load_113 | 32 | 0.00095198 | 0.00023859 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_117-23_1_3_load_115 | 34 | 0.0015636 | 0.00039186 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_117-23_1_3_load_116 | 35 | 0.0056974 | 0.0014279 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_117-23_1_3_load_125 | 36 | 9.8574e-05 | 2.4705e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_117-23_1_3_load_127 | 37 | 0.00074864 | 0.00018763 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_117-23_1_3_load_117 | 38 | 0.0017375 | 0.00043547 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_117-23_1_3_load_118 | 39 | 0.0010486 | 0.00026279 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_117-23_1_3_load_120 | 41 | 0.0032152 | 0.0008058 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_117-23_1_3_load_121 | 42 | 0.0016715 | 0.00041892 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_117-23_1_3_load_123 | 43 | 0.0015452 | 0.00038727 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_117-23_1_3_load_132 | 44 | 0.001823 | 0.00045688 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_117-23_1_3_load_124 | 45 | 0.00074033 | 0.00018555 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_117-23_1_3_load_128 | 46 | 0.0001378 | 3.4535e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_117-23_1_3_load_214 | 47 | 0.0003959 | 9.9222e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_117-23_1_3_load_133 | 49 | 0.0024423 | 0.00061211 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_117-23_1_3_load_135 | 50 | 0.0039733 | 0.00099579 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_117-23_1_3_load_139 | 52 | 0.0049166 | 0.0012322 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_117-23_1_3_load_140 | 53 | 0.0043283 | 0.0010848 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_117-23_1_3_load_141 | 54 | 0.0048121 | 0.001206 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_117-23_1_3_load_142 | 55 | 0.0041327 | 0.0010357 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_117-23_1_3_load_149 | 56 | 0.0026258 | 0.00065808 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_117-23_1_3_load_143 | 57 | 0.0019516 | 0.00048911 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_117-23_1_3_load_144 | 58 | 0.0036429 | 0.000913 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_117-23_1_3_load_145 | 59 | 0.0033761 | 0.00084613 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_117-23_1_3_load_146 | 60 | 0.0014717 | 0.00036883 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_117-23_1_3_load_147 | 61 | 0.0018391 | 0.00046092 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_117-23_1_3_load_150 | 63 | 0.0030482 | 0.00076394 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_117-23_1_3_load_151 | 64 | 0.0025785 | 0.00064623 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_117-23_1_3_load_153 | 66 | 0.0016137 | 0.00040444 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_117-23_1_3_load_169 | 69 | 0.00407 | 0.00102 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_117-23_1_3_load_155 | 70 | 0.00099323 | 0.00024893 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_117-23_1_3_load_172 | 71 | 0.0020096 | 0.00050366 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_117-23_1_3_load_156 | 72 | 0.011566 | 0.0028988 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_117-23_1_3_load_157 | 73 | 0.0050783 | 0.0012727 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_117-23_1_3_load_158 | 74 | 0.0050499 | 0.0012656 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_117-23_1_3_load_159 | 75 | 0.0046346 | 0.0011615 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_117-23_1_3_load_160 | 76 | 0.0054028 | 0.0013541 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_117-23_1_3_load_161 | 77 | 0.0050011 | 0.0012534 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_117-23_1_3_load_164 | 79 | 0.0057893 | 0.0014509 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_117-23_1_3_load_163 | 80 | 0.0053539 | 0.0013418 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_117-23_1_3_load_166 | 82 | 0.0028771 | 0.00072108 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_117-23_1_3_load_167 | 83 | 0.0026394 | 0.00066151 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_117-23_1_3_load_168 | 84 | 0.0030055 | 0.00075325 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_117-23_1_3_load_218 | 85 | 0.0028202 | 0.00070682 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_117-23_1_3_load_174 | 86 | 0.00985 | 0.0024686 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_117-23_1_3_load_175 | 87 | 0.0048073 | 0.0012048 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_117-23_1_3_load_177 | 88 | 0.011712 | 0.0029354 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_117-23_1_3_load_178 | 89 | 0.0042877 | 0.0010746 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_117-23_1_3_load_179 | 90 | 0.003012 | 0.00075488 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_117-23_1_3_line_0 |  | 0 | 1 | 0.028632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_117-23_1_3_line_1 |  | 0 | 2 | 0.032058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_117-23_1_3_line_2 |  | 1 | 3 | 0.14478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_117-23_1_3_line_3 |  | 2 | 4 | 0.018832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_117-23_1_3_line_4 |  | 3 | 5 | 0.033443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_117-23_1_3_line_5 |  | 3 | 6 | 0.035364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_117-23_1_3_line_6 |  | 4 | 7 | 0.018296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_117-23_1_3_line_7 |  | 5 | 8 | 0.10012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_117-23_1_3_line_8 |  | 6 | 9 | 0.054791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_117-23_1_3_line_9 |  | 7 | 10 | 0.096654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_117-23_1_3_line_10 |  | 8 | 48 | 0.036549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_117-23_1_3_line_11 |  | 9 | 29 | 0.056162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_117-23_1_3_line_12 |  | 9 | 41 | 0.014929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_117-23_1_3_line_13 |  | 10 | 47 | 0.02184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_117-23_1_3_line_14 |  | 11 | 12 | 0.019361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_117-23_1_3_line_15 |  | 11 | 13 | 0.0069737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_117-23_1_3_line_16 |  | 12 | 14 | 0.075955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_117-23_1_3_line_17 |  | 12 | 15 | 0.009701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_117-23_1_3_line_18 |  | 13 | 16 | 0.014422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_117-23_1_3_line_19 |  | 14 | 17 | 0.041552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_117-23_1_3_line_20 |  | 15 | 18 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_117-23_1_3_line_21 |  | 16 | 19 | 0.028851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_117-23_1_3_line_22 |  | 16 | 20 | 0.067997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_117-23_1_3_line_23 |  | 17 | 21 | 0.028197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_117-23_1_3_line_24 |  | 18 | 22 | 0.013262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_117-23_1_3_line_25 |  | 19 | 23 | 0.014239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_117-23_1_3_line_26 |  | 20 | 24 | 0.002518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_117-23_1_3_line_27 |  | 22 | 72 | 0.0025276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_117-23_1_3_line_28 |  | 23 | 25 | 0.0018123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_117-23_1_3_line_29 |  | 25 | 26 | 0.012715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_117-23_1_3_line_30 |  | 26 | 27 | 0.009268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_117-23_1_3_line_31 |  | 27 | 28 | 0.010215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_117-23_1_3_line_32 |  | 28 | 29 | 0.0055249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_117-23_1_3_line_33 |  | 30 | 31 | 0.011052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_117-23_1_3_line_34 |  | 30 | 32 | 0.026268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_117-23_1_3_line_35 |  | 31 | 33 | 0.00668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_117-23_1_3_line_36 |  | 31 | 34 | 0.012279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_117-23_1_3_line_37 |  | 32 | 35 | 0.024462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_117-23_1_3_line_38 |  | 33 | 36 | 0.023638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_117-23_1_3_line_39 |  | 34 | 37 | 0.033094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_117-23_1_3_line_40 |  | 35 | 38 | 0.036982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_117-23_1_3_line_41 |  | 36 | 45 | 0.025559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_117-23_1_3_line_42 |  | 38 | 39 | 0.0044991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_117-23_1_3_line_43 |  | 39 | 40 | 0.025389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_117-23_1_3_line_44 |  | 40 | 41 | 0.01169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_117-23_1_3_line_45 |  | 40 | 42 | 0.014502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_117-23_1_3_line_46 |  | 42 | 43 | 0.0089137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_117-23_1_3_line_47 |  | 43 | 44 | 0.014208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_117-23_1_3_line_48 |  | 44 | 49 | 0.0062986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_117-23_1_3_line_49 |  | 46 | 47 | 0.047042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_117-23_1_3_line_50 |  | 48 | 88 | 0.027596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_117-23_1_3_line_51 |  | 48 | 86 | 0.011131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_117-23_1_3_line_52 |  | 50 | 51 | 0.045002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_117-23_1_3_line_53 |  | 51 | 52 | 0.0092451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_117-23_1_3_line_54 |  | 51 | 53 | 0.0061516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_117-23_1_3_line_55 |  | 52 | 54 | 0.019285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_117-23_1_3_line_56 |  | 53 | 55 | 0.015581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_117-23_1_3_line_57 |  | 55 | 56 | 0.017212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_117-23_1_3_line_58 |  | 56 | 61 | 0.024269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_117-23_1_3_line_59 |  | 57 | 58 | 0.023312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_117-23_1_3_line_60 |  | 57 | 59 | 0.013044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_117-23_1_3_line_61 |  | 58 | 60 | 0.0064974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_117-23_1_3_line_62 |  | 59 | 61 | 0.017746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_117-23_1_3_line_63 |  | 60 | 62 | 0.047693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_117-23_1_3_line_64 |  | 62 | 63 | 0.030632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_117-23_1_3_line_65 |  | 62 | 64 | 0.03194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_117-23_1_3_line_66 |  | 62 | 65 | 0.093697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_117-23_1_3_line_67 |  | 63 | 66 | 0.045403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_117-23_1_3_line_68 |  | 64 | 67 | 0.015053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_117-23_1_3_line_69 |  | 65 | 68 | 0.075653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_117-23_1_3_line_70 |  | 65 | 69 | 0.049824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_117-23_1_3_line_71 |  | 66 | 70 | 0.01658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_117-23_1_3_line_72 |  | 67 | 71 | 0.018815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_117-23_1_3_line_73 |  | 68 | 85 | 0.071582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_117-23_1_3_line_74 |  | 69 | 84 | 0.023005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_117-23_1_3_line_75 |  | 70 | 72 | 0.024714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_117-23_1_3_line_76 |  | 73 | 74 | 0.023429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_117-23_1_3_line_77 |  | 73 | 75 | 0.00039683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_117-23_1_3_line_78 |  | 74 | 76 | 0.00050178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_117-23_1_3_line_79 |  | 76 | 77 | 0.022911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_117-23_1_3_line_80 |  | 77 | 78 | 0.0073042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_117-23_1_3_line_81 |  | 78 | 79 | 0.0089516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_117-23_1_3_line_82 |  | 79 | 82 | 0.0086488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_117-23_1_3_line_83 |  | 80 | 81 | 0.0041142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_117-23_1_3_line_84 |  | 81 | 83 | 0.02812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_117-23_1_3_line_85 |  | 81 | 82 | 0.0087923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_117-23_1_3_line_86 |  | 83 | 84 | 0.0022832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_117-23_1_3_line_87 |  | 86 | 87 | 0.03289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_117-23_1_3_line_88 |  | 88 | 89 | 0.0033104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_117-23_1_3_line_89 |  | 89 | 90 | 0.0079328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_117-23_1_3_trafo_134 | 0.63 MVA 20/0.4 kV | 91 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2707043.4652 | 1238807.3943 | 2707050.373 | 1238798.2659 | 2707063.837 | 1238787.5881
1 | 2707026.1523 | 1238834.2747 | 2707034.1438 | 1238819.7122 | 2707043.4652 | 1238807.3943
2 | 2707187.5312 | 1238714.8195 | 2707149.836 | 1238727.9717 | 2707134.3825 | 1238735.7545 | 2707075.1185 | 1238778.6412 | 2707063.837 | 1238787.5881
3 | 2707017.0922 | 1238850.7841 | 2707026.1523 | 1238834.2747
4 | 2707187.5312 | 1238714.8195 | 2707193.9414 | 1238726.0106 | 2707189.9683 | 1238746.1768
5 | 2707187.5312 | 1238714.8195 | 2707195.5211 | 1238700.1301 | 2707201.3335 | 1238682.4169
6 | 2707011.5664 | 1238868.1895 | 2707016.3004 | 1238852.227 | 2707017.0922 | 1238850.7841
7 | 2707189.9683 | 1238746.1768 | 2707192.003 | 1238754.9982 | 2707198.8791 | 1238762.5948 | 2707238.0829 | 1238796.1621 | 2707258.734 | 1238816.8259
8 | 2707213.3581 | 1238629.108 | 2707207.571 | 1238663.408 | 2707201.3335 | 1238682.4169
9 | 2706986.2953 | 1238961.3965 | 2706990.8458 | 1238938.0573 | 2707011.5664 | 1238868.1895
10 | 2707279.9416 | 1238845.6344 | 2707275.5434 | 1238833.6456 | 2707258.734 | 1238816.8259
11 | 2707213.3581 | 1238629.108 | 2707216.6943 | 1238596.0426 | 2707216.5179 | 1238578.17 | 2707214.7704 | 1238573.4265
12 | 2707213.3581 | 1238629.108 | 2707198.6464 | 1238626.5723
13 | 2706986.2953 | 1238961.3965 | 2706982.1158 | 1238982.8329
14 | 2707241.407 | 1238473.6493 | 2707229.5067 | 1238481.1291 | 2707224.6528 | 1238483.2707
15 | 2707218.2724 | 1238486.0857 | 2707224.6528 | 1238483.2707
16 | 2707241.407 | 1238473.6493 | 2707246.2721 | 1238483.2668 | 2707248.1773 | 1238498.0016 | 2707244.6504 | 1238529.4623 | 2707247.628 | 1238547.8849
17 | 2707246.7438 | 1238465.5394 | 2707241.407 | 1238473.6493
18 | 2707205.9624 | 1238493.636 | 2707216.3105 | 1238487.051 | 2707218.2724 | 1238486.0857
19 | 2707247.628 | 1238547.8849 | 2707254.258 | 1238588.9046
20 | 2707246.7438 | 1238465.5394 | 2707253.23 | 1238467.9361 | 2707258.7607 | 1238471.7056
21 | 2707205.9624 | 1238493.636 | 2707211.3727 | 1238504.4865 | 2707209.44 | 1238521.101
22 | 2707155.7887 | 1238539.5105 | 2707165.2433 | 1238530.4519 | 2707175.5831 | 1238520.553 | 2707205.9624 | 1238493.636
23 | 2707258.757 | 1238616.7404 | 2707254.258 | 1238588.9046
24 | 2707258.7607 | 1238471.7056 | 2707258.7607 | 1238471.7056 | 2707263.6005 | 1238473.5167 | 2707271.2619 | 1238470.9045
25 | 2707207.7948 | 1238535.2444 | 2707209.44 | 1238521.101
26 | 2707155.7887 | 1238539.5105 | 2707153.9679 | 1238541.2499
27 | 2707273.6543 | 1238470.0888 | 2707271.2619 | 1238470.9045
28 | 2707207.7948 | 1238535.2444 | 2707207.5854 | 1238537.0446
29 | 2707207.5854 | 1238537.0446 | 2707207.2525 | 1238539.9063 | 2707207.3302 | 1238549.74
30 | 2707207.3302 | 1238549.74 | 2707207.3584 | 1238553.3075 | 2707209.329 | 1238558.6565
31 | 2707212.8604 | 1238568.2421 | 2707209.329 | 1238558.6565
32 | 2707212.8604 | 1238568.2421 | 2707214.7704 | 1238573.4265
33 | 2707104.6237 | 1238601.7915 | 2707098.1967 | 1238610.7937
34 | 2707104.6237 | 1238601.7915 | 2707119.3479 | 1238605.0818 | 2707130.4744 | 1238603.9817
35 | 2707098.1967 | 1238610.7937 | 2707093.901 | 1238605.6678
36 | 2707098.1967 | 1238610.7937 | 2707091.0633 | 1238620.7884
37 | 2707151.6717 | 1238591.7715 | 2707130.4744 | 1238603.9817 | 2707130.4744 | 1238603.9817
38 | 2707093.901 | 1238605.6678 | 2707090.9141 | 1238611.4517 | 2707081.1215 | 1238625.5043
39 | 2707091.0633 | 1238620.7884 | 2707071.8382 | 1238647.7251
40 | 2707151.6717 | 1238591.7715 | 2707156.8662 | 1238588.7793 | 2707165.8354 | 1238583.5482 | 2707172.1652 | 1238584.541 | 2707175.4399 | 1238592.573 | 2707176.4466 | 1238598.0035
41 | 2707066.5087 | 1238646.4742 | 2707081.1215 | 1238625.5043
42 | 2707177.2666 | 1238602.4272 | 2707176.4466 | 1238598.0035
43 | 2707187.1259 | 1238624.5866 | 2707180.1141 | 1238617.7881 | 2707177.2666 | 1238602.4272
44 | 2707187.1259 | 1238624.5866 | 2707198.6464 | 1238626.5723
45 | 2707187.1259 | 1238624.5866 | 2707186.0767 | 1238630.3165 | 2707180.03 | 1238636.5391
46 | 2707174.3243 | 1238643.1221 | 2707174.2895 | 1238642.4466 | 2707180.03 | 1238636.5391
47 | 2707174.3243 | 1238643.1221 | 2707174.5135 | 1238646.7984 | 2707181.8883 | 1238654.3097
48 | 2707181.8883 | 1238654.3097 | 2707186.301 | 1238658.8042
49 | 2706982.1158 | 1238982.8329 | 2706937.9169 | 1238966.727
50 | 2707279.9416 | 1238845.6344 | 2707260.755 | 1238865.4695
51 | 2707279.9416 | 1238845.6344 | 2707288.4588 | 1238852.8002
52 | 2707326.2099 | 1238634.5285 | 2707307.233 | 1238630.449 | 2707297.3872 | 1238634.7856 | 2707287.1978 | 1238645.5655
53 | 2707326.2099 | 1238634.5285 | 2707323.2995 | 1238641.9261 | 2707323.5905 | 1238643.1886
54 | 2707326.2099 | 1238634.5285 | 2707328.4639 | 1238628.8046
55 | 2707327.9226 | 1238661.9808 | 2707323.5905 | 1238643.1886
56 | 2707334.1728 | 1238614.307 | 2707328.4639 | 1238628.8046
57 | 2707337.1527 | 1238597.4589 | 2707335.6229 | 1238610.6245 | 2707334.1728 | 1238614.307
58 | 2707337.1527 | 1238597.4589 | 2707339.9538 | 1238573.3518
59 | 2707346.1981 | 1238519.6119 | 2707343.5074 | 1238542.7683
60 | 2707342.002 | 1238555.7248 | 2707343.5074 | 1238542.7683
61 | 2707347.5259 | 1238513.2754 | 2707346.5462 | 1238516.6155 | 2707346.1981 | 1238519.6119
62 | 2707342.002 | 1238555.7248 | 2707339.9538 | 1238573.3518
63 | 2707372.8907 | 1238473.5583 | 2707359.1694 | 1238489.6783 | 2707350.1183 | 1238504.4373 | 2707347.5259 | 1238513.2754
64 | 2707372.8907 | 1238473.5583 | 2707360.635 | 1238479.7638 | 2707349.5219 | 1238481.7755 | 2707344.9167 | 1238478.5865
65 | 2707372.8907 | 1238473.5583 | 2707357.1004 | 1238450.9775 | 2707354.9452 | 1238447.1578
66 | 2707372.8907 | 1238473.5583 | 2707378.1124 | 1238480.1801 | 2707412.7917 | 1238517.147 | 2707437.1639 | 1238541.6736
67 | 2707344.9167 | 1238478.5865 | 2707332.9183 | 1238470.2776 | 2707323.4755 | 1238468.2054 | 2707308.4074 | 1238453.3771
68 | 2707347.5481 | 1238434.0472 | 2707354.9452 | 1238447.1578
69 | 2707437.1639 | 1238541.6736 | 2707455.5245 | 1238553.4817 | 2707498.2927 | 1238586.1588
70 | 2707437.1639 | 1238541.6736 | 2707407.4912 | 1238581.6978
71 | 2707294.6218 | 1238457.4738 | 2707300.3859 | 1238452.6205 | 2707304.3961 | 1238450.9361 | 2707308.4074 | 1238453.3771 | 2707308.4074 | 1238453.3771
72 | 2707347.5481 | 1238434.0472 | 2707338.7135 | 1238417.4352
73 | 2707498.2927 | 1238586.1588 | 2707475.5305 | 1238608.1084 | 2707465.4387 | 1238608.4705 | 2707452.9239 | 1238635.6763
74 | 2707407.4912 | 1238581.6978 | 2707405.4062 | 1238584.5103 | 2707396.3633 | 1238601.7914
75 | 2707273.6543 | 1238470.0888 | 2707277.1972 | 1238468.8809 | 2707286.7717 | 1238464.0834 | 2707294.6218 | 1238457.4738
76 | 2707357.1274 | 1238690.7346 | 2707366.3922 | 1238669.2151
77 | 2707356.9705 | 1238691.0991 | 2707357.1274 | 1238690.7346
78 | 2707366.3922 | 1238669.2151 | 2707366.5906 | 1238668.7543
79 | 2707375.6506 | 1238647.7105 | 2707366.5906 | 1238668.7543
80 | 2707378.5389 | 1238641.0017 | 2707375.6506 | 1238647.7105
81 | 2707378.5389 | 1238641.0017 | 2707382.1012 | 1238643.5792 | 2707386.5058 | 1238643.5032 | 2707386.6236 | 1238643.4114
82 | 2707391.1107 | 1238636.5477 | 2707391.1107 | 1238636.5477 | 2707389.9745 | 1238640.7972 | 2707386.6236 | 1238643.4114
83 | 2707385.6794 | 1238630.2224 | 2707381.58 | 1238630.5708
84 | 2707385.6794 | 1238630.2224 | 2707394.6618 | 1238605.043 | 2707395.3047 | 1238603.8143
85 | 2707385.6794 | 1238630.2224 | 2707389.4593 | 1238632.4814 | 2707391.1107 | 1238636.5477
86 | 2707395.3047 | 1238603.8143 | 2707396.3633 | 1238601.7914
87 | 2707288.4588 | 1238852.8002 | 2707288.8022 | 1238853.0891 | 2707312.1167 | 1238875.6474
88 | 2707260.755 | 1238865.4695 | 2707258.4535 | 1238867.8489
89 | 2707252.9381 | 1238873.5507 | 2707258.4535 | 1238867.8489

## bus_geodata
| x | y | coords
0 | 2707043.4652 | 1238807.3943
1 | 2707063.837 | 1238787.5881
2 | 2707026.1523 | 1238834.2747
3 | 2707187.5312 | 1238714.8195
4 | 2707017.0922 | 1238850.7841
5 | 2707189.9683 | 1238746.1768
6 | 2707201.3335 | 1238682.4169
7 | 2707011.5664 | 1238868.1895
8 | 2707258.734 | 1238816.8259
9 | 2707213.3581 | 1238629.108
10 | 2706986.2953 | 1238961.3965
11 | 2707224.6528 | 1238483.2707
12 | 2707241.407 | 1238473.6493
13 | 2707218.2724 | 1238486.0857
14 | 2707247.628 | 1238547.8849
15 | 2707246.7438 | 1238465.5394
16 | 2707205.9624 | 1238493.636
17 | 2707254.258 | 1238588.9046
18 | 2707258.7607 | 1238471.7056
19 | 2707209.44 | 1238521.101
20 | 2707155.7887 | 1238539.5105
21 | 2707258.757 | 1238616.7404
22 | 2707271.2619 | 1238470.9045
23 | 2707207.7948 | 1238535.2444
24 | 2707153.9679 | 1238541.2499
25 | 2707207.5854 | 1238537.0446
26 | 2707207.3302 | 1238549.74
27 | 2707209.329 | 1238558.6565
28 | 2707212.8604 | 1238568.2421
29 | 2707214.7704 | 1238573.4265
30 | 2707104.6237 | 1238601.7915
31 | 2707098.1967 | 1238610.7937
32 | 2707130.4744 | 1238603.9817
33 | 2707093.901 | 1238605.6678
34 | 2707091.0633 | 1238620.7883
35 | 2707151.6717 | 1238591.7715
36 | 2707081.1215 | 1238625.5043
37 | 2707071.8382 | 1238647.7251
38 | 2707176.4466 | 1238598.0035
39 | 2707177.2666 | 1238602.4272
40 | 2707187.1259 | 1238624.5866
41 | 2707198.6464 | 1238626.5723
42 | 2707180.03 | 1238636.5391
43 | 2707174.3243 | 1238643.1221
44 | 2707181.8883 | 1238654.3097
45 | 2707066.5087 | 1238646.4742
46 | 2706937.9169 | 1238966.727
47 | 2706982.1158 | 1238982.8329
48 | 2707279.9416 | 1238845.6344
49 | 2707186.301 | 1238658.8042
50 | 2707287.1978 | 1238645.5655
51 | 2707326.2099 | 1238634.5285
52 | 2707323.5905 | 1238643.1886
53 | 2707328.4639 | 1238628.8046
54 | 2707327.9226 | 1238661.9808
55 | 2707334.1728 | 1238614.307
56 | 2707337.1527 | 1238597.4589
57 | 2707343.5074 | 1238542.7683
58 | 2707346.1981 | 1238519.6119
59 | 2707342.002 | 1238555.7248
60 | 2707347.5259 | 1238513.2754
61 | 2707339.9538 | 1238573.3518
62 | 2707372.8907 | 1238473.5583
63 | 2707344.9167 | 1238478.5865
64 | 2707354.9452 | 1238447.1578
65 | 2707437.1639 | 1238541.6736
66 | 2707308.4074 | 1238453.3771
67 | 2707347.5481 | 1238434.0472
68 | 2707498.2927 | 1238586.1588
69 | 2707407.4912 | 1238581.6978
70 | 2707294.6218 | 1238457.4738
71 | 2707338.7135 | 1238417.4352
72 | 2707273.6543 | 1238470.0888
73 | 2707357.1274 | 1238690.7346
74 | 2707366.3922 | 1238669.2151
75 | 2707356.9705 | 1238691.0991
76 | 2707366.5906 | 1238668.7543
77 | 2707375.6506 | 1238647.7105
78 | 2707378.5389 | 1238641.0017
79 | 2707386.6236 | 1238643.4114
80 | 2707381.58 | 1238630.5708
81 | 2707385.6794 | 1238630.2224
82 | 2707391.1107 | 1238636.5477
83 | 2707395.3047 | 1238603.8143
84 | 2707396.3633 | 1238601.7914
85 | 2707452.9239 | 1238635.6763
86 | 2707288.4588 | 1238852.8002
87 | 2707312.1167 | 1238875.6474
88 | 2707260.755 | 1238865.4695
89 | 2707258.4535 | 1238867.8489
90 | 2707252.9381 | 1238873.5507
91 | 2707258.757 | 1238616.7404

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98037 | -0.37688 | 0.00021183 | 5.309e-05
1 | 0.98041 | -0.37619 | 7.8365e-05 | 1.964e-05
2 | 0.98034 | -0.37753 | 0.00014907 | 3.736e-05
3 | 0.9806 | -0.37249 | 0 | 0
4 | 0.98033 | -0.37786 | 0.00012946 | 3.2445e-05
5 | 0.97944 | -0.39513 | 0 | 0
6 | 0.98187 | -0.34771 | 0.0020366 | 0.00051043
7 | 0.98031 | -0.37814 | 0.00013993 | 3.507e-05
8 | 0.97596 | -0.46321 | 0.0036169 | 0.00090648
9 | 0.98291 | -0.32756 | 0 | 0
10 | 0.98025 | -0.37935 | 0.00015604 | 3.9108e-05
11 | 0.9876 | -0.23655 | 0.003994 | 0.001001
12 | 0.98843 | -0.22043 | 0 | 0
13 | 0.9873 | -0.2422 | 0 | 0
14 | 0.99436 | -0.10678 | 0.0049231 | 0.0012338
15 | 0.98809 | -0.22696 | 0 | 0
16 | 0.9867 | -0.25389 | 0 | 0
17 | 0.99767 | -0.043983 | 0.009794 | 0.0024546
18 | 0.98762 | -0.23614 | 0.0014909 | 0.00037366
19 | 0.98555 | -0.27614 | 0.025634 | 0.0064246
20 | 0.98627 | -0.26221 | 0 | 0
21 | 1 | 0 | -0.27409 | -0.070064
22 | 0.98716 | -0.24497 | 0.0010888 | 0.00027288
23 | 0.9851 | -0.28495 | 0.004043 | 0.0010133
24 | 0.98626 | -0.26252 | 0.00683 | 0.0017118
25 | 0.98504 | -0.28603 | 0.0040045 | 0.0010036
26 | 0.98467 | -0.29329 | 0.0024743 | 0.00062012
27 | 0.98441 | -0.29845 | 0.010901 | 0.002732
28 | 0.98415 | -0.30348 | 0.0074639 | 0.0018706
29 | 0.98402 | -0.30595 | 0.0105 | 0.0026316
30 | 0.98152 | -0.35466 | 0 | 0
31 | 0.98149 | -0.35529 | 0 | 0
32 | 0.9816 | -0.35316 | 0.00095198 | 0.00023859
33 | 0.98149 | -0.35539 | 0 | 0
34 | 0.98146 | -0.3558 | 0.0015636 | 0.00039186
35 | 0.98169 | -0.35134 | 0.0056974 | 0.0014279
36 | 0.98147 | -0.35575 | 9.8574e-05 | 2.4705e-05
37 | 0.98144 | -0.35625 | 0.00074864 | 0.00018763
38 | 0.98203 | -0.34478 | 0.0017375 | 0.00043547
39 | 0.98208 | -0.34385 | 0.0010486 | 0.00026279
40 | 0.98237 | -0.33807 | 0 | 0
41 | 0.98259 | -0.33383 | 0.0032152 | 0.0008058
42 | 0.98227 | -0.34003 | 0.0016715 | 0.00041892
43 | 0.98222 | -0.34096 | 0.0015452 | 0.00038727
44 | 0.98217 | -0.34206 | 0.001823 | 0.00045688
45 | 0.98145 | -0.35609 | 0.00074033 | 0.00018555
46 | 0.98023 | -0.37968 | 0.0001378 | 3.4535e-05
47 | 0.98024 | -0.37957 | 0.0003959 | 9.9222e-05
48 | 0.97482 | -0.48575 | 0 | 0
49 | 0.98215 | -0.34234 | 0.0024423 | 0.00061211
50 | 0.97882 | -0.40733 | 0.0039733 | 0.00099579
51 | 0.97898 | -0.40408 | 0 | 0
52 | 0.9789 | -0.40571 | 0.0049166 | 0.0012322
53 | 0.97906 | -0.40255 | 0.0043283 | 0.0010848
54 | 0.97881 | -0.4074 | 0.0048121 | 0.001206
55 | 0.97932 | -0.39744 | 0.0041327 | 0.0010357
56 | 0.97967 | -0.39051 | 0.0026258 | 0.00065808
57 | 0.98103 | -0.36393 | 0.0019516 | 0.00048911
58 | 0.98172 | -0.35044 | 0.0036429 | 0.000913
59 | 0.98067 | -0.37102 | 0.0033761 | 0.00084613
60 | 0.98193 | -0.34626 | 0.0014717 | 0.00036883
61 | 0.98023 | -0.37959 | 0.0018391 | 0.00046092
62 | 0.98357 | -0.31435 | 0 | 0
63 | 0.98446 | -0.29718 | 0.0030482 | 0.00076394
64 | 0.98344 | -0.31699 | 0.0025785 | 0.00064623
65 | 0.97906 | -0.40208 | 0 | 0
66 | 0.98581 | -0.27096 | 0.0016137 | 0.00040444
67 | 0.98341 | -0.31753 | 0 | 0
68 | 0.97886 | -0.40597 | 0 | 0
69 | 0.97679 | -0.44649 | 0.00407 | 0.00102
70 | 0.98631 | -0.26124 | 0.00099323 | 0.00024893
71 | 0.98337 | -0.31821 | 0.0020096 | 0.00050366
72 | 0.98707 | -0.24663 | 0.011566 | 0.0028988
73 | 0.97316 | -0.51801 | 0.0050783 | 0.0012727
74 | 0.97337 | -0.51382 | 0.0050499 | 0.0012656
75 | 0.97316 | -0.51804 | 0.0046346 | 0.0011615
76 | 0.97338 | -0.51368 | 0.0054028 | 0.0013541
77 | 0.97381 | -0.50519 | 0.0050011 | 0.0012534
78 | 0.97398 | -0.50181 | 0 | 0
79 | 0.97419 | -0.49767 | 0.0057893 | 0.0014509
80 | 0.97469 | -0.4877 | 0.0053539 | 0.0013418
81 | 0.97472 | -0.4873 | 0 | 0
82 | 0.97444 | -0.49276 | 0.0028771 | 0.00072108
83 | 0.97574 | -0.4671 | 0.0026394 | 0.00066151
84 | 0.97583 | -0.46535 | 0.0030055 | 0.00075325
85 | 0.97867 | -0.40964 | 0.0028202 | 0.00070682
86 | 0.97467 | -0.48875 | 0.00985 | 0.0024686
87 | 0.97452 | -0.49165 | 0.0048073 | 0.0012048
88 | 0.97433 | -0.49538 | 0.011712 | 0.0029354
89 | 0.97431 | -0.49583 | 0.0042877 | 0.0010746
90 | 0.97428 | -0.49627 | 0.003012 | 0.00075488
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0013201 | -0.00032794 | 0.0013202 | 0.00032761 | 4.3059e-08 | -3.3348e-07 | 0.0020027 | 0.0020025 | 0.0020027 | 0.98037 | -0.37688 | 0.98041 | -0.37619 | 0.55018
1 | 0.0011083 | 0.00027485 | -0.0011083 | -0.00027523 | 3.398e-08 | -3.8248e-07 | 0.0016811 | 0.0016813 | 0.0016813 | 0.98037 | -0.37688 | 0.98034 | -0.37753 | 0.46189
2 | -0.0013985 | -0.00034725 | 0.0013988 | 0.00034558 | 2.4428e-07 | -1.6697e-06 | 0.0021215 | 0.0021208 | 0.0021215 | 0.98041 | -0.37619 | 0.9806 | -0.37249 | 0.58282
3 | 0.0009592 | 0.00023787 | -0.00095919 | -0.0002381 | 1.4952e-08 | -2.2787e-07 | 0.001455 | 0.0014551 | 0.0014551 | 0.98034 | -0.37753 | 0.98033 | -0.37786 | 0.39976
4 | 0.037496 | 0.0094762 | -0.037456 | -0.0094506 | 4.0643e-05 | 2.559e-05 | 0.056928 | 0.056928 | 0.056928 | 0.9806 | -0.37249 | 0.97944 | -0.39513 | 15.6395
5 | -0.038895 | -0.0098218 | 0.038941 | 0.0098509 | 4.6239e-05 | 2.9146e-05 | 0.059048 | 0.059048 | 0.059048 | 0.9806 | -0.37249 | 0.98187 | -0.34771 | 16.2221
6 | 0.00082973 | 0.00020565 | -0.00082972 | -0.00020588 | 1.0869e-08 | -2.2371e-07 | 0.0012586 | 0.0012587 | 0.0012587 | 0.98033 | -0.37786 | 0.98031 | -0.37814 | 0.34579
7 | 0.037456 | 0.0094506 | -0.037334 | -0.009374 | 0.00012168 | 7.662e-05 | 0.056928 | 0.056928 | 0.056928 | 0.97944 | -0.39513 | 0.97596 | -0.46321 | 15.6396
8 | -0.040978 | -0.010361 | 0.041018 | 0.010385 | 3.9662e-05 | 2.3996e-05 | 0.062135 | 0.062134 | 0.062135 | 0.98187 | -0.34771 | 0.98291 | -0.32756 | 8.535
9 | 0.00068979 | 0.00017081 | -0.00068975 | -0.000172 | 3.9695e-08 | -1.1931e-06 | 0.0010463 | 0.0010467 | 0.0010467 | 0.98031 | -0.37814 | 0.98025 | -0.37935 | 0.28756
10 | 0.033717 | 0.0084675 | -0.033681 | -0.0084448 | 3.623e-05 | 2.2731e-05 | 0.051414 | 0.051414 | 0.051414 | 0.97596 | -0.46321 | 0.97482 | -0.48575 | 14.1247
11 | -0.064322 | -0.01623 | 0.064388 | 0.01627 | 6.6619e-05 | 4.0499e-05 | 0.097415 | 0.097414 | 0.097415 | 0.98291 | -0.32756 | 0.98402 | -0.30595 | 8.9208
12 | 0.023304 | 0.0058445 | -0.023297 | -0.0058402 | 6.9684e-06 | 4.2706e-06 | 0.035281 | 0.035281 | 0.035281 | 0.98291 | -0.32756 | 0.98259 | -0.33383 | 9.6926
13 | 0.0005337 | 0.00013289 | -0.0005337 | -0.00013316 | 5.3722e-09 | -2.7188e-07 | 0.00080985 | 0.00080995 | 0.00080995 | 0.98025 | -0.37935 | 0.98024 | -0.37957 | 0.22251
14 | -0.14062 | -0.035523 | 0.14073 | 0.035591 | 0.00010874 | 6.8853e-05 | 0.21197 | 0.21197 | 0.21197 | 0.9876 | -0.23655 | 0.98843 | -0.22043 | 19.4116
15 | 0.13663 | 0.034522 | -0.13659 | -0.034498 | 3.6977e-05 | 2.3397e-05 | 0.20596 | 0.20596 | 0.20596 | 0.9876 | -0.23655 | 0.9873 | -0.2422 | 18.8605
16 | -0.25495 | -0.064604 | 0.25635 | 0.065497 | 0.0014004 | 0.00089333 | 0.38406 | 0.38406 | 0.38406 | 0.98843 | -0.22043 | 0.99436 | -0.10678 | 35.1701
17 | 0.11422 | 0.029013 | -0.11418 | -0.02899 | 3.5909e-05 | 2.2609e-05 | 0.17208 | 0.17208 | 0.17208 | 0.98843 | -0.22043 | 0.98809 | -0.22696 | 15.7585
18 | 0.13659 | 0.034498 | -0.13651 | -0.03445 | 7.647e-05 | 4.8388e-05 | 0.20596 | 0.20596 | 0.20596 | 0.9873 | -0.2422 | 0.9867 | -0.25389 | 18.8606
19 | -0.26127 | -0.066731 | 0.26207 | 0.067239 | 0.00079578 | 0.00050768 | 0.39142 | 0.39142 | 0.39142 | 0.99436 | -0.10678 | 0.99767 | -0.043983 | 35.8446
20 | 0.11418 | 0.02899 | -0.11413 | -0.028958 | 5.0371e-05 | 3.1715e-05 | 0.17208 | 0.17208 | 0.17208 | 0.98809 | -0.22696 | 0.98762 | -0.23614 | 15.7585
21 | 0.12968 | 0.032737 | -0.12954 | -0.03265 | 0.00013805 | 8.725e-05 | 0.19565 | 0.19565 | 0.19565 | 0.9867 | -0.25389 | 0.98555 | -0.27614 | 17.917
22 | 0.0068328 | 0.0017127 | -0.0068301 | -0.0017118 | 2.7076e-06 | 8.6472e-07 | 0.010304 | 0.010305 | 0.010305 | 0.9867 | -0.25389 | 0.98627 | -0.26221 | 2.831
23 | -0.27186 | -0.069694 | 0.27244 | 0.070064 | 0.00058107 | 0.00037078 | 0.40603 | 0.40603 | 0.40603 | 0.99767 | -0.043983 | 1 | 0 | 37.1822
24 | 0.11264 | 0.028585 | -0.11259 | -0.028555 | 4.7817e-05 | 3.0094e-05 | 0.16984 | 0.16984 | 0.16984 | 0.98762 | -0.23614 | 0.98716 | -0.24497 | 15.5528
25 | 0.10391 | 0.026225 | -0.10387 | -0.026198 | 4.3844e-05 | 2.7516e-05 | 0.15695 | 0.15695 | 0.15695 | 0.98555 | -0.27614 | 0.9851 | -0.28495 | 14.3727
26 | 0.0068301 | 0.0017118 | -0.00683 | -0.0017118 | 1.0027e-07 | 3.2039e-08 | 0.010305 | 0.010305 | 0.010305 | 0.98627 | -0.26221 | 0.98626 | -0.26252 | 2.831
27 | 0.1115 | 0.028282 | -0.11149 | -0.028276 | 8.9383e-06 | 5.6236e-06 | 0.1682 | 0.1682 | 0.1682 | 0.98716 | -0.24497 | 0.98707 | -0.24663 | 15.4025
28 | 0.099822 | 0.025185 | -0.099817 | -0.025181 | 5.1546e-06 | 3.2297e-06 | 0.15084 | 0.15084 | 0.15084 | 0.9851 | -0.28495 | 0.98504 | -0.28603 | 13.8135
29 | 0.095812 | 0.024178 | -0.095779 | -0.024157 | 3.3322e-05 | 2.084e-05 | 0.14479 | 0.14479 | 0.14479 | 0.98504 | -0.28603 | 0.98467 | -0.29329 | 13.2595
30 | 0.093305 | 0.023537 | -0.093282 | -0.023522 | 2.305e-05 | 1.4399e-05 | 0.14105 | 0.14105 | 0.14105 | 0.98467 | -0.29329 | 0.98441 | -0.29845 | 12.9171
31 | 0.082381 | 0.02079 | -0.082361 | -0.020778 | 1.9817e-05 | 1.2294e-05 | 0.12458 | 0.12458 | 0.12458 | 0.98441 | -0.29845 | 0.98415 | -0.30348 | 11.4082
32 | 0.074897 | 0.018907 | -0.074888 | -0.018902 | 8.8642e-06 | 5.4625e-06 | 0.11329 | 0.11329 | 0.11329 | 0.98415 | -0.30348 | 0.98402 | -0.30595 | 10.3748
33 | 0.0031513 | 0.00078845 | -0.0031512 | -0.00078853 | 9.4576e-08 | -7.9152e-08 | 0.004777 | 0.004777 | 0.004777 | 0.98152 | -0.35466 | 0.98149 | -0.35529 | 1.3124
34 | -0.0031513 | -0.00078845 | 0.0031515 | 0.00078826 | 2.2478e-07 | -1.8817e-07 | 0.004777 | 0.0047769 | 0.004777 | 0.98152 | -0.35466 | 0.9816 | -0.35316 | 1.3124
35 | 0.00083894 | 0.00020956 | -0.00083893 | -0.00020965 | 4.0509e-09 | -8.183e-08 | 0.0012716 | 0.0012717 | 0.0012717 | 0.98149 | -0.35529 | 0.98149 | -0.35539 | 0.34936
36 | 0.0023123 | 0.00057896 | -0.0023122 | -0.00057908 | 5.6582e-08 | -1.1897e-07 | 0.0035054 | 0.0035054 | 0.0035054 | 0.98149 | -0.35529 | 0.98146 | -0.3558 | 0.96303
37 | -0.0041035 | -0.0010268 | 0.0041039 | 0.0010268 | 3.5489e-07 | -8.2125e-08 | 0.00622 | 0.0062199 | 0.00622 | 0.9816 | -0.35316 | 0.98169 | -0.35134 | 1.7088
38 | 0.00083893 | 0.00020965 | -0.00083892 | -0.00020993 | 1.4336e-08 | -2.8955e-07 | 0.0012717 | 0.0012718 | 0.0012718 | 0.98149 | -0.35539 | 0.98147 | -0.35575 | 0.34939
39 | 0.00074865 | 0.00018722 | -0.00074864 | -0.00018763 | 1.5986e-08 | -4.0798e-07 | 0.0011349 | 0.001135 | 0.001135 | 0.98146 | -0.3558 | 0.98144 | -0.35625 | 0.31183
40 | -0.0098012 | -0.0024547 | 0.0098043 | 0.0024561 | 3.0606e-06 | 1.491e-06 | 0.014856 | 0.014856 | 0.014856 | 0.98169 | -0.35134 | 0.98203 | -0.34478 | 4.0812
41 | 0.00074035 | 0.00018523 | -0.00074033 | -0.00018555 | 1.2074e-08 | -3.1527e-07 | 0.0011223 | 0.0011225 | 0.0011225 | 0.98147 | -0.35575 | 0.98145 | -0.35609 | 0.30837
42 | -0.011542 | -0.0028916 | 0.011542 | 0.0028919 | 5.16e-07 | 2.7332e-07 | 0.017488 | 0.017488 | 0.017488 | 0.98203 | -0.34478 | 0.98208 | -0.34385 | 4.8045
43 | -0.012591 | -0.0031547 | 0.012594 | 0.0031566 | 3.465e-06 | 1.8962e-06 | 0.019077 | 0.019077 | 0.019077 | 0.98208 | -0.34385 | 0.98237 | -0.33807 | 5.241
44 | -0.020078 | -0.005032 | 0.020082 | 0.0050344 | 4.0546e-06 | 2.4469e-06 | 0.030412 | 0.030412 | 0.030412 | 0.98237 | -0.33807 | 0.98259 | -0.33383 | 8.3549
45 | 0.0074833 | 0.0018754 | -0.0074826 | -0.0018751 | 6.9871e-07 | 2.6359e-07 | 0.011335 | 0.011335 | 0.011335 | 0.98237 | -0.33807 | 0.98227 | -0.34003 | 3.114
46 | 0.0058111 | 0.0014562 | -0.0058108 | -0.0014562 | 2.5903e-07 | 5.2953e-08 | 0.008803 | 0.008803 | 0.008803 | 0.98227 | -0.34003 | 0.98222 | -0.34096 | 2.4184
47 | 0.0042656 | 0.0010689 | -0.0042654 | -0.0010689 | 2.2249e-07 | -3.7424e-08 | 0.0064621 | 0.0064622 | 0.0064622 | 0.98222 | -0.34096 | 0.98217 | -0.34206 | 1.7753
48 | 0.0024424 | 0.00061205 | -0.0024423 | -0.00061211 | 3.234e-08 | -5.9013e-08 | 0.0037003 | 0.0037003 | 0.0037003 | 0.98217 | -0.34206 | 0.98215 | -0.34234 | 1.0166
49 | -0.0001378 | -3.4535e-05 | 0.0001378 | 3.3943e-05 | 7.711e-10 | -5.9251e-07 | 0.00020918 | 0.00020897 | 0.00020918 | 0.98023 | -0.37968 | 0.98024 | -0.37957 | 0.057467
50 | 0.019021 | 0.0047701 | -0.019012 | -0.0047649 | 8.7247e-06 | 5.2399e-06 | 0.029036 | 0.029036 | 0.029036 | 0.97482 | -0.48575 | 0.97433 | -0.49538 | 7.9769
51 | 0.01466 | 0.0036747 | -0.014658 | -0.0036735 | 2.0903e-06 | 1.199e-06 | 0.022378 | 0.022378 | 0.022378 | 0.97482 | -0.48575 | 0.97467 | -0.48875 | 6.1478
52 | -0.0039733 | -0.00099579 | 0.0039739 | 0.00099562 | 6.1569e-07 | -1.7171e-07 | 0.0060402 | 0.00604 | 0.0060402 | 0.97882 | -0.40733 | 0.97898 | -0.40408 | 1.6594
53 | 0.0097298 | 0.0024386 | -0.0097291 | -0.0024382 | 7.5827e-07 | 3.6906e-07 | 0.014789 | 0.014789 | 0.014789 | 0.97898 | -0.40408 | 0.9789 | -0.40571 | 4.0629
54 | -0.013704 | -0.0034342 | 0.013705 | 0.0034348 | 1.0008e-06 | 5.6317e-07 | 0.020829 | 0.020829 | 0.020829 | 0.97898 | -0.40408 | 0.97906 | -0.40255 | 5.7223
55 | 0.0048125 | 0.001206 | -0.0048121 | -0.001206 | 3.8702e-07 | 5.2736e-09 | 0.0073154 | 0.0073155 | 0.0073155 | 0.9789 | -0.40571 | 0.97881 | -0.4074 | 2.0098
56 | -0.018033 | -0.0045196 | 0.018037 | 0.0045222 | 4.389e-06 | 2.613e-06 | 0.027407 | 0.027407 | 0.027407 | 0.97906 | -0.40255 | 0.97932 | -0.39744 | 7.5295
57 | -0.02217 | -0.0055579 | 0.022177 | 0.0055624 | 7.3244e-06 | 4.471e-06 | 0.033687 | 0.033687 | 0.033687 | 0.97932 | -0.39744 | 0.97967 | -0.39051 | 9.2546
58 | -0.024803 | -0.0062205 | 0.024816 | 0.0062284 | 1.2918e-05 | 7.9617e-06 | 0.037675 | 0.037675 | 0.037675 | 0.97967 | -0.39051 | 0.98023 | -0.37959 | 10.3502
59 | -0.032004 | -0.0080377 | 0.032025 | 0.0080506 | 2.0605e-05 | 1.2893e-05 | 0.048549 | 0.048549 | 0.048549 | 0.98103 | -0.36393 | 0.98172 | -0.35044 | 13.3377
60 | 0.030052 | 0.0075486 | -0.030042 | -0.0075422 | 1.0166e-05 | 6.3416e-06 | 0.045589 | 0.045589 | 0.045589 | 0.98103 | -0.36393 | 0.98067 | -0.37102 | 12.5245
61 | -0.035667 | -0.0089636 | 0.035675 | 0.0089681 | 7.1236e-06 | 4.4769e-06 | 0.054071 | 0.054071 | 0.054071 | 0.98172 | -0.35044 | 0.98193 | -0.34626 | 14.8546
62 | 0.026666 | 0.0066961 | -0.026655 | -0.0066894 | 1.0897e-05 | 6.7504e-06 | 0.040466 | 0.040466 | 0.040466 | 0.98067 | -0.37102 | 0.98023 | -0.37959 | 11.1172
63 | -0.037146 | -0.0093369 | 0.037203 | 0.0093726 | 5.6691e-05 | 3.5678e-05 | 0.056301 | 0.056301 | 0.056301 | 0.98193 | -0.34626 | 0.98357 | -0.31435 | 15.4673
64 | -0.093955 | -0.023762 | 0.094033 | 0.023811 | 7.7448e-05 | 4.8399e-05 | 0.14222 | 0.14222 | 0.14222 | 0.98357 | -0.31435 | 0.98446 | -0.29718 | 13.0238
65 | 0.0045888 | 0.0011495 | -0.0045882 | -0.0011495 | 5.7723e-07 | -3.5889e-08 | 0.0069421 | 0.0069422 | 0.0069422 | 0.98357 | -0.31435 | 0.98344 | -0.31699 | 1.9072
66 | 0.052164 | 0.01324 | -0.051945 | -0.013101 | 0.00021916 | 0.00013908 | 0.078977 | 0.078977 | 0.078977 | 0.98357 | -0.31435 | 0.97906 | -0.40208 | 21.6971
67 | -0.097081 | -0.024574 | 0.097203 | 0.024651 | 0.00012235 | 7.6569e-05 | 0.14683 | 0.14683 | 0.14683 | 0.98446 | -0.29718 | 0.98581 | -0.27096 | 13.4456
68 | 0.0020097 | 0.0005033 | -0.0020097 | -0.00050346 | 5.2196e-08 | -1.5759e-07 | 0.0030407 | 0.0030408 | 0.0030408 | 0.98344 | -0.31699 | 0.98341 | -0.31753 | 0.83539
69 | 0.0028213 | 0.00070562 | -0.0028207 | -0.00070624 | 5.2152e-07 | -6.1741e-07 | 0.0042874 | 0.0042877 | 0.0042877 | 0.97906 | -0.40208 | 0.97886 | -0.40597 | 1.1779
70 | 0.049123 | 0.012395 | -0.049019 | -0.012329 | 0.00010423 | 6.6082e-05 | 0.07469 | 0.07469 | 0.07469 | 0.97906 | -0.40208 | 0.97679 | -0.44649 | 20.5193
71 | -0.098817 | -0.025055 | 0.098863 | 0.025084 | 4.6174e-05 | 2.8917e-05 | 0.14926 | 0.14926 | 0.14926 | 0.98581 | -0.27096 | 0.98631 | -0.26124 | 13.6686
72 | 0.0020097 | 0.00050346 | -0.0020096 | -0.00050366 | 6.5242e-08 | -1.9695e-07 | 0.0030408 | 0.0030409 | 0.0030409 | 0.98341 | -0.31753 | 0.98337 | -0.31821 | 0.83541
73 | 0.0028207 | 0.00070624 | -0.0028202 | -0.00070682 | 4.9353e-07 | -5.8379e-07 | 0.0042877 | 0.004288 | 0.004288 | 0.97886 | -0.40597 | 0.97867 | -0.40964 | 1.178
74 | 0.044949 | 0.011309 | -0.044909 | -0.011284 | 4.0468e-05 | 2.5612e-05 | 0.06849 | 0.06849 | 0.06849 | 0.97679 | -0.44649 | 0.97583 | -0.46535 | 18.816
75 | -0.099857 | -0.025333 | 0.099927 | 0.025377 | 7.0215e-05 | 4.3991e-05 | 0.15076 | 0.15076 | 0.15076 | 0.98631 | -0.26124 | 0.98707 | -0.24663 | 13.8058
76 | -0.0097128 | -0.0024343 | 0.0097148 | 0.0024352 | 1.9379e-06 | 9.4907e-07 | 0.014851 | 0.014851 | 0.014851 | 0.97316 | -0.51801 | 0.97337 | -0.51382 | 4.0801
77 | 0.0046346 | 0.0011615 | -0.0046346 | -0.0011615 | 7.4733e-09 | -1.4752e-10 | 0.0070865 | 0.0070865 | 0.0070865 | 0.97316 | -0.51801 | 0.97316 | -0.51804 | 1.9468
78 | -0.014765 | -0.0037008 | 0.014765 | 0.0037009 | 9.5865e-08 | 5.5116e-08 | 0.022571 | 0.022571 | 0.022571 | 0.97337 | -0.51382 | 0.97338 | -0.51368 | 6.2009
79 | -0.020168 | -0.0050549 | 0.020176 | 0.0050599 | 8.1666e-06 | 4.9417e-06 | 0.030831 | 0.03083 | 0.030831 | 0.97338 | -0.51368 | 0.97381 | -0.50519 | 8.4699
80 | -0.025177 | -0.0063133 | 0.025181 | 0.0063158 | 4.0541e-06 | 2.5038e-06 | 0.038472 | 0.038472 | 0.038472 | 0.97381 | -0.50519 | 0.97398 | -0.50181 | 10.5693
81 | -0.025181 | -0.0063158 | 0.025186 | 0.0063188 | 4.9685e-06 | 3.0684e-06 | 0.038472 | 0.038472 | 0.038472 | 0.97398 | -0.50181 | 0.97419 | -0.49767 | 10.5693
82 | -0.030975 | -0.0077698 | 0.030982 | 0.0077743 | 7.2608e-06 | 4.5392e-06 | 0.047315 | 0.047315 | 0.047315 | 0.97419 | -0.49767 | 0.97444 | -0.49276 | 12.9986
83 | -0.0053539 | -0.0013418 | 0.005354 | 0.0013418 | 1.0307e-07 | 1.4687e-08 | 0.0081736 | 0.0081736 | 0.0081736 | 0.97469 | -0.4877 | 0.97472 | -0.4873 | 2.2455
84 | -0.039222 | -0.0098428 | 0.03926 | 0.0098666 | 3.7813e-05 | 2.385e-05 | 0.059882 | 0.059882 | 0.059882 | 0.97472 | -0.4873 | 0.97574 | -0.4671 | 16.4511
85 | 0.033868 | 0.0085009 | -0.033859 | -0.0084954 | 8.8158e-06 | 5.5325e-06 | 0.051708 | 0.051709 | 0.051709 | 0.97472 | -0.4873 | 0.97444 | -0.49276 | 14.2056
86 | -0.0419 | -0.010528 | 0.041903 | 0.01053 | 3.4968e-06 | 2.2094e-06 | 0.063907 | 0.063907 | 0.063907 | 0.97574 | -0.4671 | 0.97583 | -0.46535 | 17.5569
87 | 0.0048079 | 0.0012048 | -0.0048073 | -0.0012048 | 6.6454e-07 | 1.546e-08 | 0.0073402 | 0.0073404 | 0.0073404 | 0.97467 | -0.48875 | 0.97452 | -0.49165 | 2.0166
88 | 0.0072999 | 0.0018295 | -0.0072998 | -0.0018294 | 1.543e-07 | 5.7521e-08 | 0.011149 | 0.011149 | 0.011149 | 0.97433 | -0.49538 | 0.97431 | -0.49583 | 3.0628
89 | 0.0030121 | 0.00075482 | -0.003012 | -0.00075488 | 6.2952e-08 | -5.8503e-08 | 0.0046002 | 0.0046002 | 0.0046002 | 0.97431 | -0.49583 | 0.97428 | -0.49627 | 1.2638

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.29878 | 0.076253

## res_load
| p_mw | q_mvar
0 | 0.00021183 | 5.309e-05
1 | 7.8365e-05 | 1.964e-05
2 | 0.00014907 | 3.736e-05
3 | 0.00012946 | 3.2445e-05
4 | 0.0020366 | 0.00051043
5 | 0.00013993 | 3.507e-05
6 | 0.0036169 | 0.00090648
7 | 0.00015604 | 3.9108e-05
8 | 0.003994 | 0.001001
9 | 0.0049231 | 0.0012338
10 | 0.009794 | 0.0024546
11 | 0.0014909 | 0.00037366
12 | 0.025634 | 0.0064246
13 | 0.024694 | 0.0061888
14 | 0.0010888 | 0.00027288
15 | 0.004043 | 0.0010133
16 | 0.00683 | 0.0017118
17 | 0.0040045 | 0.0010036
18 | 0.0024743 | 0.00062012
19 | 0.010901 | 0.002732
20 | 0.0074639 | 0.0018706
21 | 0.0105 | 0.0026316
22 | 0.00095198 | 0.00023859
23 | 0.0015636 | 0.00039186
24 | 0.0056974 | 0.0014279
25 | 9.8574e-05 | 2.4705e-05
26 | 0.00074864 | 0.00018763
27 | 0.0017375 | 0.00043547
28 | 0.0010486 | 0.00026279
29 | 0.0032152 | 0.0008058
30 | 0.0016715 | 0.00041892
31 | 0.0015452 | 0.00038727
32 | 0.001823 | 0.00045688
33 | 0.00074033 | 0.00018555
34 | 0.0001378 | 3.4535e-05
35 | 0.0003959 | 9.9222e-05
36 | 0.0024423 | 0.00061211
37 | 0.0039733 | 0.00099579
38 | 0.0049166 | 0.0012322
39 | 0.0043283 | 0.0010848
40 | 0.0048121 | 0.001206
41 | 0.0041327 | 0.0010357
42 | 0.0026258 | 0.00065808
43 | 0.0019516 | 0.00048911
44 | 0.0036429 | 0.000913
45 | 0.0033761 | 0.00084613
46 | 0.0014717 | 0.00036883
47 | 0.0018391 | 0.00046092
48 | 0.0030482 | 0.00076394
49 | 0.0025785 | 0.00064623
50 | 0.0016137 | 0.00040444
51 | 0.00407 | 0.00102
52 | 0.00099323 | 0.00024893
53 | 0.0020096 | 0.00050366
54 | 0.011566 | 0.0028988
55 | 0.0050783 | 0.0012727
56 | 0.0050499 | 0.0012656
57 | 0.0046346 | 0.0011615
58 | 0.0054028 | 0.0013541
59 | 0.0050011 | 0.0012534
60 | 0.0057893 | 0.0014509
61 | 0.0053539 | 0.0013418
62 | 0.0028771 | 0.00072108
63 | 0.0026394 | 0.00066151
64 | 0.0030055 | 0.00075325
65 | 0.0028202 | 0.00070682
66 | 0.00985 | 0.0024686
67 | 0.0048073 | 0.0012048
68 | 0.011712 | 0.0029354
69 | 0.0042877 | 0.0010746
70 | 0.003012 | 0.00075488

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1