## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_120-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_120-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_120-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_120-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_120-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_120-10_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_120-10_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_120-10_0_4_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_120-10_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_120-10_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_120-10_0_4_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_120-10_0_4_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_120-10_0_4_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_120-10_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_120-10_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_120-10_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_120-10_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_120-10_0_4_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_120-10_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_120-10_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_120-10_0_4_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_120-10_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_120-10_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_120-10_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_120-10_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_120-10_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_120-10_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_120-10_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_120-10_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_120-10_0_4_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_120-10_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_120-10_0_4_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_120-10_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_120-10_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_120-10_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_120-10_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_120-10_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_120-10_0_4_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_120-10_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_120-10_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_120-10_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_120-10_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_120-10_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_120-10_0_4_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_120-10_0_4_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_120-10_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_120-10_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_120-10_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_120-10_0_4_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_120-10_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_120-10_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_120-10_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_120-10_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_120-10_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_MV_10_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_120-10_0_4_load_0 | 0 | 0.0039869 | 0.00099922 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_120-10_0_4_load_1 | 1 | 0.0114 | 0.0028572 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_120-10_0_4_load_3 | 3 | 0.013218 | 0.0033127 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_120-10_0_4_load_4 | 4 | 0.013344 | 0.0033443 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_120-10_0_4_load_49 | 7 | 0.011155 | 0.0027957 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_120-10_0_4_load_10 | 8 | 0.0020676 | 0.00051819 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_120-10_0_4_load_6 | 9 | 0.011052 | 0.00277 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_120-10_0_4_load_44 | 10 | 0.023778 | 0.0059592 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_120-10_0_4_load_43 | 11 | 0.010335 | 0.0025903 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_120-10_0_4_load_7 | 13 | 0.0027668 | 0.00069342 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_120-10_0_4_load_11 | 15 | 0.0039124 | 0.00098055 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_120-10_0_4_load_39 | 17 | 0.0023182 | 0.00058099 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_120-10_0_4_load_13 | 19 | 0.0012153 | 0.00030459 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_120-10_0_4_load_15 | 21 | 0.0043965 | 0.0011019 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_120-10_0_4_load_16 | 22 | 0.0032602 | 0.00081709 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_120-10_0_4_load_17 | 23 | 0.00081256 | 0.00020365 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_120-10_0_4_load_18 | 24 | 0.00075756 | 0.00018986 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_120-10_0_4_load_19 | 25 | 0.0013606 | 0.000341 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_120-10_0_4_load_20 | 26 | 0.003134 | 0.00078545 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_120-10_0_4_load_21 | 27 | 0.00042041 | 0.00010536 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_120-10_0_4_load_27 | 28 | 0.0029509 | 0.00073957 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_120-10_0_4_load_53 | 29 | 0.00042376 | 0.00010621 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_120-10_0_4_load_26 | 30 | 0.026456 | 0.0066306 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_120-10_0_4_load_52 | 31 | 0.00052835 | 0.00013242 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_120-10_0_4_load_22 | 32 | 0.052156 | 0.013071 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_120-10_0_4_load_23 | 33 | 0.031614 | 0.0079233 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_120-10_0_4_load_24 | 34 | 0.0011936 | 0.00029915 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_120-10_0_4_load_35 | 36 | 0.045867 | 0.011495 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_120-10_0_4_load_38 | 37 | 0.00044397 | 0.00011127 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_120-10_0_4_load_34 | 39 | 0.022726 | 0.0056956 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_120-10_0_4_load_28 | 40 | 0.037622 | 0.009429 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_120-10_0_4_load_32 | 42 | 0.0022051 | 0.00055264 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_120-10_0_4_load_56 | 43 | 0.0026308 | 0.00065935 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_120-10_0_4_load_31 | 45 | 0.012749 | 0.0031952 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_120-10_0_4_load_48 | 48 | 0.012163 | 0.0030484 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_120-10_0_4_load_46 | 50 | 0.0016644 | 0.00041713 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_120-10_0_4_load_36 | 51 | 0.015065 | 0.0037756 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_120-10_0_4_load_41 | 52 | 0.002197 | 0.00055062 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_120-10_0_4_load_42 | 53 | 0.001754 | 0.00043961 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_120-10_0_4_line_0 |  | 0 | 1 | 0.0040673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_120-10_0_4_line_1 |  | 0 | 2 | 0.017061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_120-10_0_4_line_2 |  | 1 | 3 | 0.042499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_120-10_0_4_line_3 |  | 2 | 4 | 0.009132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_120-10_0_4_line_4 |  | 2 | 5 | 0.025026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_120-10_0_4_line_5 |  | 3 | 6 | 0.0026118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_120-10_0_4_line_6 |  | 5 | 7 | 0.026842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_120-10_0_4_line_7 |  | 6 | 8 | 0.022575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_120-10_0_4_line_8 |  | 6 | 9 | 0.018634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_120-10_0_4_line_9 |  | 7 | 12 | 0.031805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_120-10_0_4_line_10 |  | 8 | 17 | 0.028202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_120-10_0_4_line_11 |  | 9 | 13 | 0.0053225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_120-10_0_4_line_12 |  | 10 | 11 | 0.025639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_120-10_0_4_line_13 |  | 11 | 28 | 0.030461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_120-10_0_4_line_14 |  | 12 | 49 | 0.032737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_120-10_0_4_line_15 |  | 13 | 14 | 0.03881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_120-10_0_4_line_16 |  | 14 | 15 | 0.0026461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_120-10_0_4_line_17 |  | 14 | 16 | 0.012089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_120-10_0_4_line_18 |  | 16 | 18 | 0.03365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_120-10_0_4_line_19 |  | 16 | 19 | 0.020227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_120-10_0_4_line_20 |  | 17 | 20 | 0.025152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_120-10_0_4_line_21 |  | 18 | 21 | 0.013397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_120-10_0_4_line_22 |  | 20 | 52 | 0.039253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_120-10_0_4_line_23 |  | 20 | 53 | 0.028582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_120-10_0_4_line_24 |  | 21 | 22 | 0.0027446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_120-10_0_4_line_25 |  | 23 | 24 | 0.022778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_120-10_0_4_line_26 |  | 23 | 25 | 0.005617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_120-10_0_4_line_27 |  | 24 | 26 | 0.028571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_120-10_0_4_line_28 |  | 25 | 27 | 0.0029127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_120-10_0_4_line_29 |  | 26 | 28 | 0.0057998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_120-10_0_4_line_30 |  | 27 | 29 | 0.0095315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_120-10_0_4_line_31 |  | 28 | 30 | 0.022977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_120-10_0_4_line_32 |  | 29 | 31 | 0.011196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_120-10_0_4_line_33 |  | 30 | 34 | 0.0038435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_120-10_0_4_line_34 |  | 31 | 38 | 0.016961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_120-10_0_4_line_35 |  | 32 | 33 | 0.0024061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_120-10_0_4_line_36 |  | 32 | 34 | 0.019477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_120-10_0_4_line_37 |  | 33 | 35 | 0.013345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_120-10_0_4_line_38 |  | 35 | 36 | 0.023705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_120-10_0_4_line_39 |  | 36 | 39 | 0.015722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_120-10_0_4_line_40 |  | 37 | 38 | 0.020137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_120-10_0_4_line_41 |  | 38 | 41 | 0.028001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_120-10_0_4_line_42 |  | 39 | 51 | 0.017437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_120-10_0_4_line_43 |  | 40 | 41 | 0.014256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_120-10_0_4_line_44 |  | 41 | 42 | 0.036376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_120-10_0_4_line_45 |  | 42 | 47 | 0.050903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_120-10_0_4_line_46 |  | 43 | 44 | 0.036831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_120-10_0_4_line_47 |  | 44 | 50 | 0.031619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_120-10_0_4_line_48 |  | 45 | 46 | 0.013867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_120-10_0_4_line_49 |  | 46 | 48 | 0.010872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_120-10_0_4_line_50 |  | 46 | 49 | 0.027851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_120-10_0_4_line_51 |  | 47 | 50 | 0.024174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_120-10_0_4_line_52 |  | 49 | 51 | 0.0058597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_120-10_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 54 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2711841.848 | 1237314.0981 | 2711845.9139 | 1237314.2033
1 | 2711824.793 | 1237313.6568 | 2711841.848 | 1237314.0981
2 | 2711845.9139 | 1237314.2033 | 2711881.7652 | 1237315.1308 | 2711888.3962 | 1237315.3915
3 | 2711824.793 | 1237313.6568 | 2711825.5053 | 1237322.761
4 | 2711799.7833 | 1237312.7743 | 2711815.9808 | 1237313.4352 | 2711824.793 | 1237313.6568
5 | 2711891.006 | 1237315.4941 | 2711888.3962 | 1237315.3915
6 | 2711799.7833 | 1237312.7743 | 2711801.2628 | 1237321.0086 | 2711806.0286 | 1237330.7504 | 2711808.4783 | 1237337.9775
7 | 2711891.006 | 1237315.4941 | 2711913.5644 | 1237316.369
8 | 2711891.006 | 1237315.4941 | 2711891.2665 | 1237296.8621 | 2711891.2665 | 1237296.8621
9 | 2711812.8009 | 1237369.3527 | 2711812.4596 | 1237365.3765 | 2711812.1871 | 1237359.3555 | 2711811.3268 | 1237349.5872 | 2711809.9358 | 1237342.2775 | 2711808.4783 | 1237337.9775
10 | 2711941.7453 | 1237317.462 | 2711913.5644 | 1237316.369
11 | 2711891.2665 | 1237296.8621 | 2711894.0389 | 1237292.3187
12 | 2711852.0458 | 1237359.4419 | 2711872.7188 | 1237363.8655 | 2711877.0784 | 1237364.9721
13 | 2711906.6035 | 1237372.4661 | 2711877.0784 | 1237364.9721
14 | 2711820.8472 | 1237400.9847 | 2711815.8313 | 1237386.4455 | 2711812.8009 | 1237369.3527
15 | 2711904.2783 | 1237255.3634 | 2711900.6515 | 1237276.3338 | 2711898.7865 | 1237284.5385 | 2711894.0389 | 1237292.3187
16 | 2711904.2783 | 1237255.3634 | 2711904.4015 | 1237258.0066
17 | 2711904.2783 | 1237255.3634 | 2711905.9102 | 1237245.4752 | 2711903.8466 | 1237245.3474
18 | 2711870.1648 | 1237243.2112 | 2711903.8466 | 1237245.3474
19 | 2711903.8466 | 1237245.3474 | 2711899.6484 | 1237265.1339
20 | 2711966.8879 | 1237317.8703 | 2711953.4998 | 1237317.918 | 2711941.7453 | 1237317.462
21 | 2711870.1648 | 1237243.2112 | 2711869.4604 | 1237256.5894
22 | 2711966.8879 | 1237317.8703 | 2711983.1034 | 1237348.0664 | 2711986.2654 | 1237351.9114
23 | 2711966.8879 | 1237317.8703 | 2711995.1715 | 1237321.9874
24 | 2711869.3161 | 1237259.3302 | 2711869.4604 | 1237256.5894
25 | 2711927.8234 | 1237399.4472 | 2711937.0316 | 1237413.4607 | 2711941.3052 | 1237417.6864
26 | 2711945.2993 | 1237421.6358 | 2711941.3052 | 1237417.6864
27 | 2711927.8234 | 1237399.4472 | 2711922.7969 | 1237391.7976 | 2711910.3278 | 1237376.9122
28 | 2711947.3705 | 1237423.6838 | 2711945.2993 | 1237421.6358
29 | 2711906.6035 | 1237372.4661 | 2711910.3278 | 1237376.9122
30 | 2711947.3705 | 1237423.6838 | 2711954.1481 | 1237430.3855
31 | 2711906.6035 | 1237372.4661 | 2711902.1785 | 1237379.1769 | 2711897.954 | 1237389.3053 | 2711895.9767 | 1237392.7419
32 | 2711953.8613 | 1237441.5778 | 2711954.1481 | 1237430.3855 | 2711954.1481 | 1237430.3855
33 | 2711895.9767 | 1237392.7419 | 2711894.0598 | 1237396.0733
34 | 2711941.4964 | 1237453.1873 | 2711953.8613 | 1237441.5778
35 | 2711883.9118 | 1237415.4578 | 2711885.0333 | 1237413.3291
36 | 2711894.0598 | 1237396.0733 | 2711892.7511 | 1237398.3478 | 2711889.409 | 1237405.0234 | 2711885.0333 | 1237413.3291
37 | 2711877.6914 | 1237427.2647 | 2711883.9118 | 1237415.4578
38 | 2711877.6914 | 1237427.2647 | 2711855.673 | 1237418.4832
39 | 2711841.3847 | 1237411.9822 | 2711847.2564 | 1237415.1264 | 2711855.673 | 1237418.4832
40 | 2711941.4964 | 1237453.1873 | 2711922.8403 | 1237445.6077
41 | 2711941.4964 | 1237453.1873 | 2711914.9872 | 1237462.4283
42 | 2711841.3847 | 1237411.9822 | 2711826.0129 | 1237403.7508
43 | 2711914.9872 | 1237462.4283 | 2711901.1904 | 1237458.8411
44 | 2711914.9872 | 1237462.4283 | 2711914.1967 | 1237468.6294 | 2711919.3411 | 1237479.5461 | 2711936.01 | 1237486.4879
45 | 2711930.3952 | 1237531.8178 | 2711939.3682 | 1237511.4598 | 2711943.2811 | 1237503.8052 | 2711943.6518 | 1237497.7964 | 2711941.3497 | 1237491.4591 | 2711936.01 | 1237486.4879
46 | 2711894.3067 | 1237495.6649 | 2711871.5429 | 1237485.2724 | 2711869.7082 | 1237485.8494 | 2711864.875 | 1237494.5541
47 | 2711923.0807 | 1237508.7729 | 2711894.3067 | 1237495.6649
48 | 2711834.7334 | 1237425.0985 | 2711843.2479 | 1237436.0433
49 | 2711834.7334 | 1237425.0985 | 2711825.6146 | 1237431.0194
50 | 2711834.7334 | 1237425.0985 | 2711826.505 | 1237412.378 | 2711820.8472 | 1237400.9847
51 | 2711923.0807 | 1237508.7729 | 2711930.3952 | 1237531.8178
52 | 2711820.8472 | 1237400.9847 | 2711826.0129 | 1237403.7508

## bus_geodata
| x | y | coords
0 | 2711841.848 | 1237314.0981
1 | 2711845.9139 | 1237314.2033
2 | 2711824.793 | 1237313.6568
3 | 2711888.3962 | 1237315.3915
4 | 2711825.5053 | 1237322.761
5 | 2711799.7833 | 1237312.7743
6 | 2711891.006 | 1237315.4941
7 | 2711808.4783 | 1237337.9775
8 | 2711913.5644 | 1237316.369
9 | 2711891.2665 | 1237296.8621
10 | 2711852.0458 | 1237359.4419
11 | 2711877.0784 | 1237364.9721
12 | 2711812.8009 | 1237369.3527
13 | 2711894.0389 | 1237292.3187
14 | 2711904.2783 | 1237255.3634
15 | 2711904.4015 | 1237258.0066
16 | 2711903.8466 | 1237245.3474
17 | 2711941.7453 | 1237317.462
18 | 2711870.1648 | 1237243.2112
19 | 2711899.6484 | 1237265.1339
20 | 2711966.8879 | 1237317.8703
21 | 2711869.4604 | 1237256.5894
22 | 2711869.3161 | 1237259.3302
23 | 2711941.3052 | 1237417.6864
24 | 2711927.8234 | 1237399.4472
25 | 2711945.2993 | 1237421.6358
26 | 2711910.3278 | 1237376.9122
27 | 2711947.3705 | 1237423.6838
28 | 2711906.6035 | 1237372.4661
29 | 2711954.1481 | 1237430.3855
30 | 2711895.9767 | 1237392.7419
31 | 2711953.8613 | 1237441.5778
32 | 2711885.0333 | 1237413.3291
33 | 2711883.9118 | 1237415.4578
34 | 2711894.0598 | 1237396.0733
35 | 2711877.6914 | 1237427.2647
36 | 2711855.673 | 1237418.4832
37 | 2711922.8403 | 1237445.6077
38 | 2711941.4964 | 1237453.1873
39 | 2711841.3847 | 1237411.9822
40 | 2711901.1904 | 1237458.8411
41 | 2711914.9872 | 1237462.4283
42 | 2711936.01 | 1237486.4879
43 | 2711864.875 | 1237494.5541
44 | 2711894.3067 | 1237495.6649
45 | 2711843.2479 | 1237436.0433
46 | 2711834.7334 | 1237425.0985
47 | 2711930.3952 | 1237531.8178
48 | 2711825.6146 | 1237431.0194
49 | 2711820.8472 | 1237400.9847
50 | 2711923.0807 | 1237508.7729
51 | 2711826.0129 | 1237403.7508
52 | 2711986.2654 | 1237351.9114
53 | 2711995.1715 | 1237321.9874
54 | 2711906.6035 | 1237372.4661

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98223 | -0.3419 | 0.0039869 | 0.00099922
1 | 0.98201 | -0.34628 | 0.0114 | 0.0028572
2 | 0.98324 | -0.32233 | 0 | 0
3 | 0.98011 | -0.38335 | 0.013218 | 0.0033127
4 | 0.98312 | -0.32453 | 0.013344 | 0.0033443
5 | 0.98502 | -0.2877 | 0 | 0
6 | 0.98003 | -0.38501 | 0 | 0
7 | 0.98693 | -0.25069 | 0.011155 | 0.0027957
8 | 0.97986 | -0.38842 | 0.0020676 | 0.00051819
9 | 0.97957 | -0.39401 | 0.011052 | 0.00277
10 | 0.99623 | -0.072426 | 0.023778 | 0.0059592
11 | 0.99678 | -0.061726 | 0.010335 | 0.0025903
12 | 0.98951 | -0.2007 | 0 | 0
13 | 0.97949 | -0.39551 | 0.0027668 | 0.00069342
14 | 0.97904 | -0.40453 | 0 | 0
15 | 0.97903 | -0.40472 | 0.0039124 | 0.00098055
16 | 0.97894 | -0.40648 | 0 | 0
17 | 0.97969 | -0.39164 | 0.0023182 | 0.00058099
18 | 0.9787 | -0.41117 | 0 | 0
19 | 0.97891 | -0.40693 | 0.0012153 | 0.00030459
20 | 0.9796 | -0.39344 | 0 | 0
21 | 0.9786 | -0.41304 | 0.0043965 | 0.0011019
22 | 0.97859 | -0.4132 | 0.0032602 | 0.00081709
23 | 0.99517 | -0.092566 | 0.00081256 | 0.00020365
24 | 0.99618 | -0.073295 | 0.00075756 | 0.00018986
25 | 0.99493 | -0.097244 | 0.0013606 | 0.000341
26 | 0.99745 | -0.048797 | 0.003134 | 0.00078545
27 | 0.99481 | -0.0996 | 0.00042041 | 0.00010536
28 | 0.99773 | -0.043514 | 0.0029509 | 0.00073957
29 | 0.99441 | -0.10725 | 0.00042376 | 0.00010621
30 | 0.9996 | -0.007743 | 0.026456 | 0.0066306
31 | 0.99395 | -0.11615 | 0.00052835 | 0.00013242
32 | 0.99833 | -0.031784 | 0.052156 | 0.013071
33 | 0.99817 | -0.034986 | 0.031614 | 0.0079233
34 | 1 | 0 | -0.40029 | -0.10096
35 | 0.99736 | -0.0503 | 0 | 0
36 | 0.99594 | -0.077563 | 0.045867 | 0.011495
37 | 0.99325 | -0.12966 | 0.00044397 | 0.00011127
38 | 0.99326 | -0.1295 | 0 | 0
39 | 0.99485 | -0.098411 | 0.022726 | 0.0056956
40 | 0.99164 | -0.16085 | 0.037622 | 0.009429
41 | 0.99213 | -0.15135 | 0 | 0
42 | 0.99191 | -0.15554 | 0.0022051 | 0.00055264
43 | 0.99145 | -0.16446 | 0.0026308 | 0.00065935
44 | 0.99154 | -0.16274 | 0 | 0
45 | 0.99138 | -0.16495 | 0.012749 | 0.0031952
46 | 0.99154 | -0.16182 | 0 | 0
47 | 0.99171 | -0.15942 | 0 | 0
48 | 0.99142 | -0.16416 | 0.012163 | 0.0030484
49 | 0.99218 | -0.14952 | 0 | 0
50 | 0.99162 | -0.16126 | 0.0016644 | 0.00041713
51 | 0.99279 | -0.13781 | 0.015065 | 0.0037756
52 | 0.97952 | -0.39501 | 0.002197 | 0.00055062
53 | 0.97955 | -0.39435 | 0.001754 | 0.00043961
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.059683 | 0.015002 | -0.059671 | -0.014994 | 1.2473e-05 | 7.9314e-06 | 0.090432 | 0.090432 | 0.090432 | 0.98223 | -0.3419 | 0.98201 | -0.34628 | 24.844
1 | -0.06367 | -0.016002 | 0.06373 | 0.016039 | 5.9543e-05 | 3.7891e-05 | 0.096472 | 0.096472 | 0.096472 | 0.98223 | -0.3419 | 0.98324 | -0.32233 | 26.5033
2 | 0.048271 | 0.012137 | -0.048185 | -0.012083 | 8.5297e-05 | 5.4053e-05 | 0.073157 | 0.073158 | 0.073158 | 0.98201 | -0.34628 | 0.98011 | -0.38335 | 20.0983
3 | 0.013345 | 0.0033451 | -0.013344 | -0.0033443 | 1.3969e-06 | 7.7821e-07 | 0.020197 | 0.020197 | 0.020197 | 0.98324 | -0.32233 | 0.98312 | -0.32453 | 5.5486
4 | -0.077075 | -0.019385 | 0.077203 | 0.019466 | 0.00012774 | 8.1436e-05 | 0.11667 | 0.11667 | 0.11667 | 0.98324 | -0.32233 | 0.98502 | -0.2877 | 32.0518
5 | 0.034967 | 0.0087705 | -0.034965 | -0.0087687 | 2.7606e-06 | 1.7339e-06 | 0.05309 | 0.05309 | 0.05309 | 0.98011 | -0.38335 | 0.98003 | -0.38501 | 14.5852
6 | -0.077203 | -0.019466 | 0.07734 | 0.019553 | 0.00013701 | 8.7345e-05 | 0.11667 | 0.11667 | 0.11667 | 0.98502 | -0.2877 | 0.98693 | -0.25069 | 32.0518
7 | 0.0083397 | 0.0020895 | -0.0083384 | -0.0020889 | 1.3574e-06 | 5.843e-07 | 0.012662 | 0.012662 | 0.012662 | 0.98003 | -0.38501 | 0.97986 | -0.38842 | 3.4787
8 | 0.026625 | 0.0066793 | -0.026613 | -0.0066722 | 1.1421e-05 | 7.0746e-06 | 0.040428 | 0.040428 | 0.040428 | 0.98003 | -0.38501 | 0.97957 | -0.39401 | 11.1066
9 | -0.088495 | -0.022349 | 0.088707 | 0.022485 | 0.00021252 | 0.00013561 | 0.13349 | 0.13349 | 0.13349 | 0.98693 | -0.25069 | 0.98951 | -0.2007 | 36.6722
10 | 0.0062708 | 0.0015707 | -0.0062698 | -0.0015704 | 9.5901e-07 | 2.5859e-07 | 0.0095225 | 0.0095226 | 0.0095226 | 0.97986 | -0.38842 | 0.97969 | -0.39164 | 2.6161
11 | 0.015561 | 0.0039022 | -0.01556 | -0.0039016 | 1.1153e-06 | 6.4681e-07 | 0.023639 | 0.023639 | 0.023639 | 0.97957 | -0.39401 | 0.97949 | -0.39551 | 6.4942
12 | -0.023778 | -0.0059592 | 0.02379 | 0.0059667 | 1.2127e-05 | 7.4275e-06 | 0.035516 | 0.035515 | 0.035516 | 0.99623 | -0.072426 | 0.99678 | -0.061726 | 9.757
13 | -0.034125 | -0.008557 | 0.034155 | 0.0085755 | 2.9646e-05 | 1.8576e-05 | 0.050944 | 0.050944 | 0.050944 | 0.99678 | -0.061726 | 0.99773 | -0.043514 | 13.9957
14 | -0.088707 | -0.022485 | 0.088926 | 0.022624 | 0.00021875 | 0.00013958 | 0.13349 | 0.13349 | 0.13349 | 0.98951 | -0.2007 | 0.99218 | -0.14952 | 36.6722
15 | 0.012793 | 0.0032082 | -0.012788 | -0.0032051 | 5.4978e-06 | 3.0303e-06 | 0.019436 | 0.019436 | 0.019436 | 0.97949 | -0.39551 | 0.97904 | -0.40453 | 5.3396
16 | 0.0039125 | 0.00098054 | -0.0039124 | -0.00098055 | 3.5088e-08 | -1.0818e-08 | 0.0059465 | 0.0059465 | 0.0059465 | 0.97904 | -0.40453 | 0.97903 | -0.40472 | 1.6337
17 | 0.0088753 | 0.0022246 | -0.0088745 | -0.0022242 | 8.2496e-07 | 3.7597e-07 | 0.01349 | 0.01349 | 0.01349 | 0.97904 | -0.40453 | 0.97894 | -0.40648 | 3.7059
18 | 0.0076592 | 0.0019199 | -0.0076574 | -0.0019192 | 1.7104e-06 | 6.717e-07 | 0.011642 | 0.011642 | 0.011642 | 0.97894 | -0.40648 | 0.9787 | -0.41117 | 3.1985
19 | 0.0012153 | 0.00030435 | -0.0012153 | -0.00030459 | 2.5885e-08 | -2.3773e-07 | 0.0018473 | 0.0018474 | 0.0018474 | 0.97894 | -0.40648 | 0.97891 | -0.40693 | 0.50752
20 | 0.0039516 | 0.00098943 | -0.0039513 | -0.00098953 | 3.3974e-07 | -9.9242e-08 | 0.0060017 | 0.0060018 | 0.0060018 | 0.97969 | -0.39164 | 0.9796 | -0.39344 | 1.6488
21 | 0.0076574 | 0.0019192 | -0.0076568 | -0.0019189 | 6.8096e-07 | 2.6748e-07 | 0.011642 | 0.011643 | 0.011643 | 0.9787 | -0.41117 | 0.9786 | -0.41304 | 3.1985
22 | 0.0021972 | 0.00055024 | -0.002197 | -0.00055062 | 1.6396e-07 | -3.892e-07 | 0.0033374 | 0.0033375 | 0.0033375 | 0.9796 | -0.39344 | 0.97952 | -0.39501 | 0.91691
23 | 0.0017541 | 0.00043929 | -0.001754 | -0.00043961 | 7.6092e-08 | -3.1111e-07 | 0.0026644 | 0.0026645 | 0.0026645 | 0.9796 | -0.39344 | 0.97955 | -0.39435 | 0.73201
24 | 0.0032603 | 0.00081707 | -0.0032602 | -0.00081709 | 2.5294e-08 | -1.8294e-08 | 0.0049574 | 0.0049574 | 0.0049574 | 0.9786 | -0.41304 | 0.97859 | -0.4132 | 1.3619
25 | -0.048258 | -0.012148 | 0.048302 | 0.012176 | 4.4497e-05 | 2.8182e-05 | 0.072176 | 0.072176 | 0.072176 | 0.99517 | -0.092566 | 0.99618 | -0.073295 | 19.8285
26 | 0.047445 | 0.011944 | -0.047435 | -0.011937 | 1.0607e-05 | 6.7152e-06 | 0.070961 | 0.070961 | 0.070961 | 0.99517 | -0.092566 | 0.99493 | -0.097244 | 19.4947
27 | -0.04906 | -0.012366 | 0.049118 | 0.012402 | 5.7577e-05 | 3.6477e-05 | 0.073307 | 0.073307 | 0.073307 | 0.99618 | -0.073295 | 0.99745 | -0.048797 | 20.1393
28 | 0.046074 | 0.011596 | -0.046069 | -0.011593 | 5.1891e-06 | 3.2832e-06 | 0.068926 | 0.068926 | 0.068926 | 0.99493 | -0.097244 | 0.99481 | -0.0996 | 18.9357
29 | -0.052252 | -0.013188 | 0.052265 | 0.013196 | 1.3226e-05 | 8.3891e-06 | 0.077982 | 0.077982 | 0.077982 | 0.99745 | -0.048797 | 0.99773 | -0.043514 | 21.4237
30 | 0.045649 | 0.011488 | -0.045632 | -0.011477 | 1.6672e-05 | 1.0547e-05 | 0.068297 | 0.068297 | 0.068297 | 0.99481 | -0.0996 | 0.99441 | -0.10725 | 18.7629
31 | -0.089371 | -0.022511 | 0.089524 | 0.022609 | 0.00015317 | 9.7727e-05 | 0.13333 | 0.13333 | 0.13333 | 0.99773 | -0.043514 | 0.9996 | -0.007743 | 36.6284
32 | 0.045208 | 0.011371 | -0.045189 | -0.011359 | 1.9222e-05 | 1.2157e-05 | 0.067663 | 0.067663 | 0.067663 | 0.99441 | -0.10725 | 0.99395 | -0.11615 | 18.5887
33 | -0.11598 | -0.02924 | 0.11602 | 0.029267 | 4.2993e-05 | 2.7465e-05 | 0.17271 | 0.17271 | 0.17271 | 0.9996 | -0.007743 | 1 | 0 | 47.448
34 | 0.044661 | 0.011226 | -0.044632 | -0.011208 | 2.8443e-05 | 1.7984e-05 | 0.066872 | 0.066872 | 0.066872 | 0.99395 | -0.11615 | 0.99326 | -0.1295 | 18.3715
35 | 0.23003 | 0.058344 | -0.22999 | -0.058321 | 3.5406e-05 | 2.2565e-05 | 0.3431 | 0.3431 | 0.3431 | 0.99833 | -0.031784 | 0.99817 | -0.034986 | 31.4198
36 | -0.28219 | -0.071415 | 0.28262 | 0.07169 | 0.0004312 | 0.0002752 | 0.42084 | 0.42084 | 0.42084 | 0.99833 | -0.031784 | 1 | 0 | 38.5387
37 | 0.19838 | 0.050398 | -0.19823 | -0.050305 | 0.00014613 | 9.3002e-05 | 0.29598 | 0.29598 | 0.29598 | 0.99817 | -0.034986 | 0.99736 | -0.0503 | 27.104
38 | 0.19823 | 0.050305 | -0.19797 | -0.05014 | 0.00025957 | 0.0001652 | 0.29598 | 0.29598 | 0.29598 | 0.99736 | -0.0503 | 0.99594 | -0.077563 | 27.104
39 | 0.15211 | 0.038644 | -0.15196 | -0.038547 | 0.0001525 | 9.7191e-05 | 0.22745 | 0.22745 | 0.22745 | 0.99594 | -0.077563 | 0.99485 | -0.098411 | 31.2428
40 | -0.00044397 | -0.00011127 | 0.00044397 | 0.00011101 | 3.3402e-09 | -2.5849e-07 | 0.00066512 | 0.00066503 | 0.00066512 | 0.99325 | -0.12966 | 0.99326 | -0.1295 | 0.18273
41 | 0.044188 | 0.011097 | -0.044142 | -0.011068 | 4.6027e-05 | 2.9095e-05 | 0.066207 | 0.066207 | 0.066207 | 0.99326 | -0.1295 | 0.99213 | -0.15135 | 18.1888
42 | 0.12923 | 0.032851 | -0.12898 | -0.032695 | 0.00024472 | 0.00015639 | 0.19346 | 0.19346 | 0.19346 | 0.99485 | -0.098411 | 0.99279 | -0.13781 | 53.1474
43 | -0.037622 | -0.009429 | 0.037639 | 0.0094397 | 1.7038e-05 | 1.072e-05 | 0.056454 | 0.056454 | 0.056454 | 0.99164 | -0.16085 | 0.99213 | -0.15135 | 15.5094
44 | 0.0065031 | 0.0016286 | -0.0065018 | -0.0016283 | 1.2976e-06 | 3.6082e-07 | 0.0097531 | 0.0097533 | 0.0097533 | 0.99213 | -0.15135 | 0.99191 | -0.15554 | 2.6795
45 | 0.0042968 | 0.0010756 | -0.004296 | -0.0010758 | 7.9302e-07 | -1.4939e-07 | 0.0064454 | 0.0064456 | 0.0064456 | 0.99191 | -0.15554 | 0.99171 | -0.15942 | 1.7708
46 | -0.0026308 | -0.00065935 | 0.0026311 | 0.00065901 | 2.1532e-07 | -3.3721e-07 | 0.0039485 | 0.0039483 | 0.0039485 | 0.99145 | -0.16446 | 0.99154 | -0.16274 | 1.0847
47 | -0.0026311 | -0.00065901 | 0.0026312 | 0.00065872 | 1.8484e-07 | -2.8957e-07 | 0.0039483 | 0.0039482 | 0.0039483 | 0.99154 | -0.16274 | 0.99162 | -0.16126 | 1.0847
48 | -0.012749 | -0.0031952 | 0.012751 | 0.0031962 | 1.9041e-06 | 1.0398e-06 | 0.019135 | 0.019135 | 0.019135 | 0.99138 | -0.16495 | 0.99154 | -0.16182 | 5.257
49 | 0.012164 | 0.0030491 | -0.012163 | -0.0030484 | 1.3588e-06 | 7.2939e-07 | 0.018255 | 0.018256 | 0.018256 | 0.99154 | -0.16182 | 0.99142 | -0.16416 | 5.0153
50 | -0.024915 | -0.0062453 | 0.02493 | 0.0062543 | 1.4602e-05 | 8.9856e-06 | 0.037391 | 0.037391 | 0.037391 | 0.99154 | -0.16182 | 0.99218 | -0.14952 | 10.2722
51 | 0.004296 | 0.0010758 | -0.0042956 | -0.0010759 | 3.7663e-07 | -7.0838e-08 | 0.0064456 | 0.0064457 | 0.0064457 | 0.99171 | -0.15942 | 0.99162 | -0.16126 | 1.7708
52 | -0.11386 | -0.028878 | 0.11392 | 0.028919 | 6.4161e-05 | 4.0988e-05 | 0.17088 | 0.17088 | 0.17088 | 0.99218 | -0.14952 | 0.99279 | -0.13781 | 46.9443

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40148 | 0.10126

## res_load
| p_mw | q_mvar
0 | 0.0039869 | 0.00099922
1 | 0.0114 | 0.0028572
2 | 0.013218 | 0.0033127
3 | 0.013344 | 0.0033443
4 | 0.011155 | 0.0027957
5 | 0.0020676 | 0.00051819
6 | 0.011052 | 0.00277
7 | 0.023778 | 0.0059592
8 | 0.010335 | 0.0025903
9 | 0.0027668 | 0.00069342
10 | 0.0039124 | 0.00098055
11 | 0.0023182 | 0.00058099
12 | 0.0012153 | 0.00030459
13 | 0.0043965 | 0.0011019
14 | 0.0032602 | 0.00081709
15 | 0.00081256 | 0.00020365
16 | 0.00075756 | 0.00018986
17 | 0.0013606 | 0.000341
18 | 0.003134 | 0.00078545
19 | 0.00042041 | 0.00010536
20 | 0.0029509 | 0.00073957
21 | 0.00042376 | 0.00010621
22 | 0.026456 | 0.0066306
23 | 0.00052835 | 0.00013242
24 | 0.052156 | 0.013071
25 | 0.031614 | 0.0079233
26 | 0.0011936 | 0.00029915
27 | 0.045867 | 0.011495
28 | 0.00044397 | 0.00011127
29 | 0.022726 | 0.0056956
30 | 0.037622 | 0.009429
31 | 0.0022051 | 0.00055264
32 | 0.0026308 | 0.00065935
33 | 0.012749 | 0.0031952
34 | 0.012163 | 0.0030484
35 | 0.0016644 | 0.00041713
36 | 0.015065 | 0.0037756
37 | 0.002197 | 0.00055062
38 | 0.001754 | 0.00043961

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1