## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_120-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_120-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_120-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_120-14_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_120-14_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_120-14_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_120-14_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_120-14_0_4_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_120-14_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_120-14_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_120-14_0_4_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_120-14_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_120-14_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_120-14_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_120-14_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_120-14_0_4_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_120-14_0_4_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_120-14_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_120-14_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_120-14_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_120-14_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_120-14_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_120-14_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_120-14_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_120-14_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_120-14_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_120-14_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_120-14_0_4_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_120-14_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_120-14_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_120-14_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_120-14_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_120-14_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_120-14_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_120-14_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_120-14_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_120-14_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_120-14_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_120-14_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_120-14_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_120-14_0_4_node_38 | 0.4 | n |  | TRUE
41 | bus_MV_10_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_120-14_0_4_load_0 | 0 | 0.053482 | 0.013404 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_120-14_0_4_load_4 | 4 | 0.044522 | 0.011158 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_120-14_0_4_load_5 | 5 | 0.013699 | 0.0034333 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_120-14_0_4_load_26 | 7 | 0.02867 | 0.0071853 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_120-14_0_4_load_9 | 8 | 0.063078 | 0.015809 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_120-14_0_4_load_11 | 9 | 0.023703 | 0.0059405 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_120-14_0_4_load_6 | 11 | 0.017772 | 0.004454 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_120-14_0_4_load_7 | 12 | 0.02724 | 0.0068271 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_120-14_0_4_load_8 | 13 | 0.026729 | 0.006699 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_120-14_0_4_load_10 | 14 | 0.016992 | 0.0042587 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_120-14_0_4_load_31 | 16 | 0.020429 | 0.00512 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_120-14_0_4_load_12 | 17 | 0.01418 | 0.0035539 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_120-14_0_4_load_14 | 18 | 0.0027282 | 0.00068375 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_120-14_0_4_load_15 | 19 | 0.019917 | 0.0049917 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_120-14_0_4_load_16 | 20 | 0.02386 | 0.0059799 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_120-14_0_4_load_18 | 22 | 0.0079493 | 0.0019923 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_120-14_0_4_load_19 | 23 | 0.020962 | 0.0052535 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_120-14_0_4_load_20 | 24 | 0.0087469 | 0.0021922 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_120-14_0_4_load_21 | 25 | 0.014268 | 0.0035759 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_120-14_0_4_load_22 | 26 | 0.0017925 | 0.00044923 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_120-14_0_4_load_28 | 27 | 0.0010225 | 0.00025626 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_120-14_0_4_load_27 | 28 | 0.0096539 | 0.0024195 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_120-14_0_4_load_24 | 29 | 0.023187 | 0.0058112 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_120-14_0_4_load_23 | 30 | 0.0018451 | 0.00046243 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_120-14_0_4_load_29 | 31 | 0.015228 | 0.0038166 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_120-14_0_4_load_30 | 32 | 0.0013733 | 0.00034418 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_120-14_0_4_load_41 | 35 | 0.012702 | 0.0031834 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_120-14_0_4_load_35 | 37 | 0.0060207 | 0.0015089 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_120-14_0_4_load_36 | 38 | 0.012697 | 0.0031822 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_120-14_0_4_load_37 | 39 | 0.015015 | 0.003763 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_120-14_0_4_load_38 | 40 | 0.0037834 | 0.00094822 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_120-14_0_4_line_0 |  | 0 | 1 | 0.017805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_120-14_0_4_line_1 |  | 0 | 2 | 0.053033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_120-14_0_4_line_2 |  | 1 | 3 | 0.028607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_120-14_0_4_line_3 |  | 2 | 4 | 0.015485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_120-14_0_4_line_4 |  | 3 | 5 | 0.017391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_120-14_0_4_line_5 |  | 4 | 6 | 0.020917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_120-14_0_4_line_6 |  | 4 | 7 | 0.014019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_120-14_0_4_line_7 |  | 6 | 8 | 0.0063838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_120-14_0_4_line_8 |  | 6 | 9 | 0.036053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_120-14_0_4_line_9 |  | 7 | 10 | 0.017523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_120-14_0_4_line_10 |  | 8 | 12 | 0.0083955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_120-14_0_4_line_11 |  | 9 | 17 | 0.001722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_120-14_0_4_line_12 |  | 10 | 29 | 0.02332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_120-14_0_4_line_13 |  | 11 | 12 | 0.023793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_120-14_0_4_line_14 |  | 11 | 13 | 0.0055705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_120-14_0_4_line_15 |  | 13 | 14 | 0.011753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_120-14_0_4_line_16 |  | 14 | 15 | 0.014888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_120-14_0_4_line_17 |  | 15 | 16 | 0.021116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_120-14_0_4_line_18 |  | 17 | 18 | 0.0111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_120-14_0_4_line_19 |  | 19 | 20 | 0.0074464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_120-14_0_4_line_20 |  | 19 | 21 | 0.025535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_120-14_0_4_line_21 |  | 20 | 22 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_120-14_0_4_line_22 |  | 21 | 23 | 0.0059377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_120-14_0_4_line_23 |  | 21 | 24 | 0.0348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_120-14_0_4_line_24 |  | 22 | 25 | 0.0035449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_120-14_0_4_line_25 |  | 23 | 26 | 0.010069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_120-14_0_4_line_26 |  | 24 | 27 | 0.01783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_120-14_0_4_line_27 |  | 25 | 28 | 0.023032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_120-14_0_4_line_28 |  | 25 | 29 | 0.012043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_120-14_0_4_line_29 |  | 26 | 30 | 0.015903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_120-14_0_4_line_30 |  | 30 | 31 | 0.012058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_120-14_0_4_line_31 |  | 31 | 32 | 0.0070548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_120-14_0_4_line_32 |  | 32 | 33 | 0.0098671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_120-14_0_4_line_33 |  | 33 | 34 | 0.037582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_120-14_0_4_line_34 |  | 34 | 35 | 0.015328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_120-14_0_4_line_35 |  | 35 | 36 | 0.0096171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_120-14_0_4_line_36 |  | 36 | 40 | 0.0052109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_120-14_0_4_line_37 |  | 37 | 38 | 0.018183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_120-14_0_4_line_38 |  | 37 | 39 | 0.0077194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_120-14_0_4_line_39 |  | 38 | 40 | 0.0045041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_120-14_0_4_trafo_27 | 0.63 MVA 20/0.4 kV | 41 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2711688.6655 | 1237186.162 | 2711681.3181 | 1237190.5384 | 2711678.3635 | 1237193.1182 | 2711677.7608 | 1237195.7868 | 2711678.4343 | 1237198.2923
1 | 2711690.6985 | 1237249.8503 | 2711686.9483 | 1237229.9642 | 2711678.4343 | 1237198.2923
2 | 2711688.6655 | 1237186.162 | 2711677.2594 | 1237165.7203 | 2711675.0248 | 1237161.0079
3 | 2711690.6985 | 1237249.8503 | 2711675.2343 | 1237248.414
4 | 2711675.0248 | 1237161.0079 | 2711658.9835 | 1237167.7244
5 | 2711654.7983 | 1237244.1487 | 2711662.0961 | 1237246.0318 | 2711668.7563 | 1237248.0141 | 2711675.2343 | 1237248.414
6 | 2711675.2343 | 1237248.414 | 2711677.1343 | 1237262.304
7 | 2711654.7983 | 1237244.1487 | 2711648.4327 | 1237243.6666
8 | 2711654.7983 | 1237244.1487 | 2711655.9859 | 1237214.8146 | 2711654.8275 | 1237208.2207
9 | 2711673.8554 | 1237279.0678 | 2711677.895 | 1237267.8905 | 2711677.1437 | 1237262.372 | 2711677.1343 | 1237262.304
10 | 2711640.0428 | 1237243.6962 | 2711646.9844 | 1237243.5569 | 2711648.4327 | 1237243.6666
11 | 2711654.5296 | 1237206.5246 | 2711654.8275 | 1237208.2207
12 | 2711673.8554 | 1237279.0678 | 2711663.3242 | 1237290.1674 | 2711657.1328 | 1237295.2649
13 | 2711616.2546 | 1237244.1735 | 2711640.0428 | 1237243.6962
14 | 2711610.6851 | 1237244.2853 | 2711616.2546 | 1237244.1735
15 | 2711610.6851 | 1237244.2853 | 2711598.9345 | 1237244.5211
16 | 2711584.0497 | 1237244.8198 | 2711598.9345 | 1237244.5211
17 | 2711584.0497 | 1237244.8198 | 2711584.7794 | 1237223.7169
18 | 2711652.609 | 1237195.5916 | 2711654.5296 | 1237206.5246
19 | 2711628.9223 | 1237318.4851 | 2711634.672 | 1237313.7531
20 | 2711613.2647 | 1237338.409 | 2711624.0451 | 1237322.499 | 2711628.9223 | 1237318.4851
21 | 2711645.0983 | 1237305.1723 | 2711634.672 | 1237313.7531
22 | 2711613.2647 | 1237338.409 | 2711611.6077 | 1237344.1108
23 | 2711613.2647 | 1237338.409 | 2711579.6644 | 1237329.3504
24 | 2711647.8353 | 1237302.9196 | 2711645.0983 | 1237305.1723
25 | 2711611.6077 | 1237344.1108 | 2711608.7978 | 1237353.7803
26 | 2711579.6644 | 1237329.3504 | 2711576.2421 | 1237328.4278 | 2711571.0562 | 1237341.7387
27 | 2711647.8353 | 1237302.9196 | 2711632.4575 | 1237287.2405 | 2711631.5225 | 1237286.7199
28 | 2711647.8353 | 1237302.9196 | 2711657.1328 | 1237295.2649
29 | 2711604.3602 | 1237369.0512 | 2711608.7978 | 1237353.7803
30 | 2711604.3602 | 1237369.0512 | 2711600.9953 | 1237380.6305
31 | 2711599.0266 | 1237387.4051 | 2711600.9953 | 1237380.6305
32 | 2711596.2732 | 1237396.8802 | 2711599.0266 | 1237387.4051
33 | 2711631.0468 | 1237408.9209 | 2711623.0503 | 1237402.3543 | 2711596.2732 | 1237396.8802
34 | 2711631.0468 | 1237408.9209 | 2711643.4913 | 1237399.9716
35 | 2711651.2991 | 1237394.3567 | 2711643.4913 | 1237399.9716
36 | 2711651.2991 | 1237394.3567 | 2711655.5529 | 1237391.3469
37 | 2711674.0732 | 1237378.2427 | 2711659.2297 | 1237388.7453
38 | 2711674.0732 | 1237378.2427 | 2711680.3747 | 1237373.7841
39 | 2711655.5529 | 1237391.3469 | 2711659.2297 | 1237388.7453

## bus_geodata
| x | y | coords
0 | 2711678.4343 | 1237198.2923
1 | 2711688.6655 | 1237186.162
2 | 2711690.6985 | 1237249.8503
3 | 2711675.0248 | 1237161.0079
4 | 2711675.2343 | 1237248.414
5 | 2711658.9835 | 1237167.7244
6 | 2711654.7983 | 1237244.1487
7 | 2711677.1343 | 1237262.304
8 | 2711648.4327 | 1237243.6666
9 | 2711654.8275 | 1237208.2207
10 | 2711673.8554 | 1237279.0678
11 | 2711616.2546 | 1237244.1735
12 | 2711640.0428 | 1237243.6962
13 | 2711610.6851 | 1237244.2853
14 | 2711598.9345 | 1237244.5211
15 | 2711584.0497 | 1237244.8198
16 | 2711584.7794 | 1237223.7169
17 | 2711654.5296 | 1237206.5246
18 | 2711652.609 | 1237195.5916
19 | 2711628.9223 | 1237318.4851
20 | 2711634.672 | 1237313.7531
21 | 2711613.2647 | 1237338.409
22 | 2711645.0983 | 1237305.1723
23 | 2711611.6077 | 1237344.1108
24 | 2711579.6644 | 1237329.3504
25 | 2711647.8353 | 1237302.9196
26 | 2711608.7978 | 1237353.7803
27 | 2711571.0562 | 1237341.7387
28 | 2711631.5225 | 1237286.7199
29 | 2711657.1328 | 1237295.2649
30 | 2711604.3602 | 1237369.0512
31 | 2711600.9953 | 1237380.6305
32 | 2711599.0266 | 1237387.4051
33 | 2711596.2732 | 1237396.8802
34 | 2711631.0468 | 1237408.9209
35 | 2711643.4913 | 1237399.9716
36 | 2711651.2991 | 1237394.3567
37 | 2711674.0732 | 1237378.2427
38 | 2711659.2297 | 1237388.7453
39 | 2711680.3747 | 1237373.7841
40 | 2711655.5529 | 1237391.3469
41 | 2711619.6739 | 1237278.4823

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98716 | -0.24702 | 0.053482 | 0.013404
1 | 0.98693 | -0.25138 | 0 | 0
2 | 0.99043 | -0.1835 | 0 | 0
3 | 0.98657 | -0.2584 | 0 | 0
4 | 0.99139 | -0.16503 | 0.044522 | 0.011158
5 | 0.98635 | -0.26266 | 0.013699 | 0.0034333
6 | 0.98934 | -0.20459 | 0 | 0
7 | 0.99278 | -0.13817 | 0.02867 | 0.0071853
8 | 0.98884 | -0.21439 | 0.063078 | 0.015809
9 | 0.988 | -0.2307 | 0.023703 | 0.0059405
10 | 0.9942 | -0.11085 | 0 | 0
11 | 0.9862 | -0.26561 | 0.017772 | 0.004454
12 | 0.98799 | -0.23074 | 0.02724 | 0.0068271
13 | 0.98587 | -0.27201 | 0.026729 | 0.006699
14 | 0.98547 | -0.2799 | 0.016992 | 0.0042587
15 | 0.98519 | -0.28536 | 0 | 0
16 | 0.98479 | -0.29311 | 0.020429 | 0.00512
17 | 0.98797 | -0.23122 | 0.01418 | 0.0035539
18 | 0.98794 | -0.23176 | 0.0027282 | 0.00068375
19 | 0.99528 | -0.090123 | 0.019917 | 0.0049917
20 | 0.99611 | -0.074268 | 0.02386 | 0.0059799
21 | 0.99291 | -0.1357 | 0 | 0
22 | 0.99701 | -0.05709 | 0.0079493 | 0.0019923
23 | 0.99242 | -0.1453 | 0.020962 | 0.0052535
24 | 0.9926 | -0.14171 | 0.0087469 | 0.0021922
25 | 0.99713 | -0.054714 | 0.014268 | 0.0035759
26 | 0.99176 | -0.15786 | 0.0017925 | 0.00044923
27 | 0.99259 | -0.14203 | 0.0010225 | 0.00025626
28 | 1 | 0 | -0.55046 | -0.13956
29 | 0.99609 | -0.074602 | 0.023187 | 0.0058112
30 | 0.99076 | -0.17723 | 0.0018451 | 0.00046243
31 | 0.99002 | -0.19155 | 0.015228 | 0.0038166
32 | 0.98969 | -0.19803 | 0.0013733 | 0.00034418
33 | 0.98923 | -0.20685 | 0 | 0
34 | 0.98749 | -0.24052 | 0 | 0
35 | 0.98679 | -0.25429 | 0.012702 | 0.0031834
36 | 0.98645 | -0.26075 | 0 | 0
37 | 0.98578 | -0.27384 | 0.0060207 | 0.0015089
38 | 0.98614 | -0.26698 | 0.012697 | 0.0031822
39 | 0.98568 | -0.27592 | 0.015015 | 0.003763
40 | 0.98627 | -0.26426 | 0.0037834 | 0.00094822
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.013709 | 0.003439 | -0.013706 | -0.0034374 | 2.8516e-06 | 1.5975e-06 | 0.020666 | 0.020666 | 0.020666 | 0.98716 | -0.24702 | 0.98693 | -0.25138 | 5.6775
1 | -0.067191 | -0.016843 | 0.067395 | 0.016973 | 0.00020401 | 0.00012989 | 0.10128 | 0.10128 | 0.10128 | 0.98716 | -0.24702 | 0.99043 | -0.1835 | 27.8252
2 | 0.013706 | 0.0034374 | -0.013702 | -0.0034349 | 4.5817e-06 | 2.5669e-06 | 0.020666 | 0.020666 | 0.020666 | 0.98693 | -0.25138 | 0.98657 | -0.2584 | 5.6776
3 | -0.067395 | -0.016973 | 0.067455 | 0.017011 | 5.9569e-05 | 3.7925e-05 | 0.10128 | 0.10128 | 0.10128 | 0.99043 | -0.1835 | 0.99139 | -0.16503 | 27.8251
4 | 0.013702 | 0.0034349 | -0.013699 | -0.0034333 | 2.7853e-06 | 1.5606e-06 | 0.020666 | 0.020666 | 0.020666 | 0.98657 | -0.2584 | 0.98635 | -0.26266 | 5.6776
5 | 0.21366 | 0.053858 | -0.21325 | -0.0536 | 0.00040361 | 0.00025777 | 0.3208 | 0.3208 | 0.3208 | 0.99139 | -0.16503 | 0.98934 | -0.20459 | 44.0653
6 | -0.32563 | -0.082027 | 0.32605 | 0.082294 | 0.00041887 | 0.00026754 | 0.4889 | 0.4889 | 0.4889 | 0.99139 | -0.16503 | 0.99278 | -0.13817 | 44.7714
7 | 0.17259 | 0.04339 | -0.17251 | -0.043338 | 8.0685e-05 | 5.1475e-05 | 0.25963 | 0.25963 | 0.25963 | 0.98934 | -0.20459 | 0.98884 | -0.21439 | 35.6635
8 | 0.040663 | 0.01021 | -0.040612 | -0.010178 | 5.0581e-05 | 3.1909e-05 | 0.061165 | 0.061165 | 0.061165 | 0.98934 | -0.20459 | 0.988 | -0.2307 | 16.8037
9 | -0.35472 | -0.08948 | 0.35519 | 0.089776 | 0.00046473 | 0.00029652 | 0.53187 | 0.53187 | 0.53187 | 0.99278 | -0.13817 | 0.9942 | -0.11085 | 36.5299
10 | 0.10943 | 0.027529 | -0.10935 | -0.027475 | 8.5412e-05 | 5.4556e-05 | 0.16471 | 0.16471 | 0.16471 | 0.98884 | -0.21439 | 0.98799 | -0.23074 | 45.25
11 | 0.016909 | 0.0042378 | -0.016909 | -0.0042376 | 4.1881e-07 | 2.4598e-07 | 0.025467 | 0.025467 | 0.025467 | 0.988 | -0.2307 | 0.98797 | -0.23122 | 6.9963
12 | -0.35519 | -0.089776 | 0.3558 | 0.090171 | 0.00061848 | 0.00039462 | 0.53187 | 0.53187 | 0.53187 | 0.9942 | -0.11085 | 0.99609 | -0.074602 | 36.5298
13 | -0.081969 | -0.020561 | 0.082105 | 0.020648 | 0.00013649 | 8.705e-05 | 0.12368 | 0.12368 | 0.12368 | 0.9862 | -0.26561 | 0.98799 | -0.23074 | 33.979
14 | 0.064197 | 0.016107 | -0.064177 | -0.016094 | 1.9602e-05 | 1.2474e-05 | 0.096869 | 0.096869 | 0.096869 | 0.9862 | -0.26561 | 0.98587 | -0.27201 | 26.6124
15 | 0.037448 | 0.0093953 | -0.037434 | -0.0093865 | 1.4082e-05 | 8.8629e-06 | 0.056526 | 0.056526 | 0.056526 | 0.98587 | -0.27201 | 0.98547 | -0.2799 | 15.5291
16 | 0.020442 | 0.0051277 | -0.020436 | -0.0051245 | 5.3195e-06 | 3.2149e-06 | 0.030868 | 0.030868 | 0.030868 | 0.98547 | -0.2799 | 0.98519 | -0.28536 | 8.4802
17 | 0.020436 | 0.0051245 | -0.020429 | -0.00512 | 7.5448e-06 | 4.5599e-06 | 0.030868 | 0.030868 | 0.030868 | 0.98519 | -0.28536 | 0.98479 | -0.29311 | 8.4802
18 | 0.0027283 | 0.00068365 | -0.0027282 | -0.00068375 | 7.0287e-08 | -9.7161e-08 | 0.0041091 | 0.0041092 | 0.0041092 | 0.98797 | -0.23122 | 0.98794 | -0.23176 | 1.1289
19 | -0.12171 | -0.030733 | 0.1218 | 0.030793 | 9.2538e-05 | 5.9127e-05 | 0.18204 | 0.18204 | 0.18204 | 0.99528 | -0.090123 | 0.99611 | -0.074268 | 50.0113
20 | 0.10179 | 0.025742 | -0.10157 | -0.0256 | 0.000222 | 0.00014175 | 0.15226 | 0.15226 | 0.15226 | 0.99528 | -0.090123 | 0.99291 | -0.1357 | 41.8306
21 | -0.14566 | -0.036773 | 0.14578 | 0.036849 | 0.00011998 | 7.6433e-05 | 0.21768 | 0.21768 | 0.21768 | 0.99611 | -0.074268 | 0.99701 | -0.05709 | 29.9016
22 | 0.091795 | 0.02315 | -0.091753 | -0.023124 | 4.217e-05 | 2.6912e-05 | 0.13762 | 0.13762 | 0.13762 | 0.99291 | -0.1357 | 0.99242 | -0.1453 | 37.8073
23 | 0.0097722 | 0.0024496 | -0.0097694 | -0.0024482 | 2.799e-06 | 1.3414e-06 | 0.014645 | 0.014645 | 0.014645 | 0.99291 | -0.1357 | 0.9926 | -0.14171 | 4.0234
24 | -0.15373 | -0.038841 | 0.15375 | 0.038852 | 1.7511e-05 | 1.1022e-05 | 0.22955 | 0.22955 | 0.22955 | 0.99701 | -0.05709 | 0.99713 | -0.054714 | 15.7657
25 | 0.070791 | 0.01787 | -0.070748 | -0.017843 | 4.2579e-05 | 2.712e-05 | 0.10619 | 0.10619 | 0.10619 | 0.99242 | -0.1453 | 0.99176 | -0.15786 | 29.1728
26 | 0.0010225 | 0.00025604 | -0.0010225 | -0.00025626 | 1.5709e-08 | -2.2041e-07 | 0.0015328 | 0.0015329 | 0.0015329 | 0.9926 | -0.14171 | 0.99259 | -0.14203 | 0.42112
27 | -0.54737 | -0.13864 | 0.54881 | 0.13956 | 0.0014425 | 0.000922 | 0.81735 | 0.81735 | 0.81735 | 0.99713 | -0.054714 | 1 | 0 | 56.1368
28 | 0.37935 | 0.096213 | -0.37899 | -0.095982 | 0.00036235 | 0.00023128 | 0.56651 | 0.56651 | 0.56651 | 0.99713 | -0.054714 | 0.99609 | -0.074602 | 38.9088
29 | 0.068956 | 0.017394 | -0.068892 | -0.017353 | 6.3882e-05 | 4.0679e-05 | 0.1035 | 0.1035 | 0.1035 | 0.99176 | -0.15786 | 0.99076 | -0.17723 | 28.4339
30 | 0.067047 | 0.016891 | -0.067001 | -0.016861 | 4.588e-05 | 2.9208e-05 | 0.10073 | 0.10073 | 0.10073 | 0.99076 | -0.17723 | 0.99002 | -0.19155 | 27.6726
31 | 0.051773 | 0.013045 | -0.051757 | -0.013035 | 1.603e-05 | 1.0168e-05 | 0.07784 | 0.07784 | 0.07784 | 0.99002 | -0.19155 | 0.98969 | -0.19803 | 21.3846
32 | 0.050384 | 0.01269 | -0.050362 | -0.012677 | 2.1246e-05 | 1.3471e-05 | 0.075775 | 0.075775 | 0.075775 | 0.98969 | -0.19803 | 0.98923 | -0.20685 | 20.8174
33 | 0.050362 | 0.012677 | -0.050281 | -0.012626 | 8.0922e-05 | 5.1309e-05 | 0.075775 | 0.075776 | 0.075776 | 0.98923 | -0.20685 | 0.98749 | -0.24052 | 20.8174
34 | 0.050281 | 0.012626 | -0.050248 | -0.012605 | 3.3005e-05 | 2.0927e-05 | 0.075776 | 0.075776 | 0.075776 | 0.98749 | -0.24052 | 0.98679 | -0.25429 | 20.8175
35 | 0.037546 | 0.0094214 | -0.037535 | -0.0094141 | 1.1562e-05 | 7.2771e-06 | 0.056622 | 0.056622 | 0.056622 | 0.98679 | -0.25429 | 0.98645 | -0.26075 | 15.5555
36 | 0.037535 | 0.0094141 | -0.037529 | -0.0094101 | 6.2649e-06 | 3.943e-06 | 0.056622 | 0.056622 | 0.056622 | 0.98645 | -0.26075 | 0.98627 | -0.26426 | 15.5555
37 | -0.021037 | -0.0052728 | 0.021044 | 0.0052769 | 6.8757e-06 | 4.1685e-06 | 0.031755 | 0.031754 | 0.031755 | 0.98578 | -0.27384 | 0.98614 | -0.26698 | 8.7238
38 | 0.015016 | 0.0037638 | -0.015015 | -0.003763 | 1.4872e-06 | 8.5343e-07 | 0.022666 | 0.022667 | 0.022667 | 0.98578 | -0.27384 | 0.98568 | -0.27592 | 6.2271
39 | -0.033741 | -0.0084592 | 0.033745 | 0.0084619 | 4.3784e-06 | 2.7447e-06 | 0.050914 | 0.050914 | 0.050914 | 0.98614 | -0.26698 | 0.98627 | -0.26426 | 13.9873

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56011 | 0.14198

## res_load
| p_mw | q_mvar
0 | 0.053482 | 0.013404
1 | 0.044522 | 0.011158
2 | 0.013699 | 0.0034333
3 | 0.02867 | 0.0071853
4 | 0.063078 | 0.015809
5 | 0.023703 | 0.0059405
6 | 0.017772 | 0.004454
7 | 0.02724 | 0.0068271
8 | 0.026729 | 0.006699
9 | 0.016992 | 0.0042587
10 | 0.020429 | 0.00512
11 | 0.01418 | 0.0035539
12 | 0.0027282 | 0.00068375
13 | 0.019917 | 0.0049917
14 | 0.02386 | 0.0059799
15 | 0.0079493 | 0.0019923
16 | 0.020962 | 0.0052535
17 | 0.0087469 | 0.0021922
18 | 0.014268 | 0.0035759
19 | 0.0017925 | 0.00044923
20 | 0.0010225 | 0.00025626
21 | 0.0096539 | 0.0024195
22 | 0.023187 | 0.0058112
23 | 0.0018451 | 0.00046243
24 | 0.015228 | 0.0038166
25 | 0.0013733 | 0.00034418
26 | 0.012702 | 0.0031834
27 | 0.0060207 | 0.0015089
28 | 0.012697 | 0.0031822
29 | 0.015015 | 0.003763
30 | 0.0037834 | 0.00094822

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1