## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_120-17_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_120-17_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_120-17_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_120-17_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_120-17_0_6_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_120-17_0_6_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_120-17_0_6_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_120-17_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_120-17_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_120-17_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_120-17_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_120-17_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_120-17_0_6_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_120-17_0_6_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_120-17_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_120-17_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_120-17_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_120-17_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_120-17_0_6_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_120-17_0_6_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_120-17_0_6_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_120-17_0_6_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_120-17_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_120-17_0_6_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_120-17_0_6_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_120-17_0_6_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_120-17_0_6_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_120-17_0_6_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_120-17_0_6_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_120-17_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_120-17_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_120-17_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_120-17_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_120-17_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_120-17_0_6_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_120-17_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_120-17_0_6_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_120-17_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_120-17_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_120-17_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_120-17_0_6_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_120-17_0_6_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_120-17_0_6_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_120-17_0_6_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_120-17_0_6_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_120-17_0_6_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_120-17_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_120-17_0_6_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_120-17_0_6_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_120-17_0_6_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_120-17_0_6_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_120-17_0_6_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_120-17_0_6_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_120-17_0_6_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_120-17_0_6_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_120-17_0_6_node_56 | 0.4 | n |  | TRUE
56 | bus_MV_10_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_120-17_0_6_load_0 | 0 | 0.011566 | 0.0028988 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_120-17_0_6_load_1 | 1 | 0.0018844 | 0.00047228 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_120-17_0_6_load_2 | 2 | 0.0060234 | 0.0015096 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_120-17_0_6_load_4 | 3 | 0.0098815 | 0.0024765 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_120-17_0_6_load_15 | 5 | 0.018268 | 0.0045785 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_120-17_0_6_load_5 | 7 | 0.0016365 | 0.00041015 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_120-17_0_6_load_7 | 9 | 0.0060373 | 0.0015131 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_120-17_0_6_load_8 | 10 | 0.0054883 | 0.0013755 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_120-17_0_6_load_9 | 11 | 0.005541 | 0.0013887 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_120-17_0_6_load_53 | 13 | 0.0052757 | 0.0013222 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_120-17_0_6_load_10 | 14 | 0.0014523 | 0.00036398 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_120-17_0_6_load_11 | 15 | 0.0052979 | 0.0013278 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_120-17_0_6_load_12 | 16 | 0.0012033 | 0.00030157 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_120-17_0_6_load_13 | 17 | 0.0012123 | 0.00030384 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_120-17_0_6_load_45 | 19 | 0.0012916 | 0.0003237 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_120-17_0_6_load_29 | 21 | 0.0068574 | 0.0017186 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_120-17_0_6_load_32 | 23 | 0.0080026 | 0.0020056 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_120-17_0_6_load_31 | 24 | 0.090328 | 0.022638 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_120-17_0_6_load_55 | 25 | 0.016298 | 0.0040846 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_120-17_0_6_load_27 | 26 | 0.021862 | 0.0054791 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_120-17_0_6_load_48 | 27 | 0.0037439 | 0.00093832 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_120-17_0_6_load_25 | 28 | 0.0059756 | 0.0014976 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_120-17_0_6_load_18 | 29 | 0.068003 | 0.017043 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_120-17_0_6_load_19 | 30 | 0.058138 | 0.014571 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_120-17_0_6_load_20 | 31 | 0.01472 | 0.0036891 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_120-17_0_6_load_21 | 32 | 0.0016836 | 0.00042196 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_120-17_0_6_load_22 | 33 | 0.032317 | 0.0080994 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_120-17_0_6_load_23 | 35 | 0.029859 | 0.0074833 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_120-17_0_6_load_35 | 36 | 0.0056211 | 0.0014088 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_120-17_0_6_load_28 | 37 | 0.0038385 | 0.00096201 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_120-17_0_6_load_24 | 38 | 0.0165 | 0.0041354 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_120-17_0_6_load_26 | 39 | 0.0014591 | 0.00036567 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_120-17_0_6_load_49 | 41 | 0.0017458 | 0.00043754 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_120-17_0_6_load_36 | 46 | 0.0031803 | 0.00079706 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_120-17_0_6_load_37 | 47 | 0.0030597 | 0.00076683 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_120-17_0_6_load_39 | 49 | 0.00086614 | 0.00021708 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_120-17_0_6_load_40 | 50 | 0.003422 | 0.00085764 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_120-17_0_6_load_50 | 51 | 0.0007378 | 0.00018491 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_120-17_0_6_load_51 | 53 | 0.00073301 | 0.00018371 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_120-17_0_6_load_58 | 54 | 0.010899 | 0.0027316 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_120-17_0_6_load_56 | 55 | 0.0059387 | 0.0014884 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_120-17_0_6_line_0 |  | 0 | 1 | 0.0079049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_120-17_0_6_line_1 |  | 0 | 2 | 0.0017325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_120-17_0_6_line_2 |  | 2 | 3 | 0.014273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_120-17_0_6_line_3 |  | 3 | 4 | 0.013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_120-17_0_6_line_4 |  | 4 | 5 | 0.024071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_120-17_0_6_line_5 |  | 4 | 6 | 0.022807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_120-17_0_6_line_6 |  | 6 | 20 | 0.023801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_120-17_0_6_line_7 |  | 6 | 21 | 0.028588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_120-17_0_6_line_8 |  | 7 | 8 | 0.00037013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_120-17_0_6_line_9 |  | 8 | 9 | 0.0076427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_120-17_0_6_line_10 |  | 9 | 10 | 0.071216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_120-17_0_6_line_11 |  | 10 | 11 | 0.0048913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_120-17_0_6_line_12 |  | 11 | 12 | 0.024234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_120-17_0_6_line_13 |  | 12 | 13 | 0.010053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_120-17_0_6_line_14 |  | 13 | 42 | 0.035636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_120-17_0_6_line_15 |  | 14 | 15 | 0.0059903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_120-17_0_6_line_16 |  | 14 | 16 | 0.013244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_120-17_0_6_line_17 |  | 16 | 17 | 0.013479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_120-17_0_6_line_18 |  | 17 | 18 | 0.010788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_120-17_0_6_line_19 |  | 18 | 19 | 0.019776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_120-17_0_6_line_20 |  | 19 | 43 | 0.034724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_120-17_0_6_line_21 |  | 20 | 25 | 0.014688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_120-17_0_6_line_22 |  | 21 | 26 | 0.017776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_120-17_0_6_line_23 |  | 22 | 23 | 0.0154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_120-17_0_6_line_24 |  | 22 | 24 | 0.0039897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_120-17_0_6_line_25 |  | 23 | 27 | 0.017964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_120-17_0_6_line_26 |  | 24 | 28 | 0.0033939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_120-17_0_6_line_27 |  | 25 | 55 | 0.013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_120-17_0_6_line_28 |  | 26 | 39 | 0.011218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_120-17_0_6_line_29 |  | 27 | 41 | 0.0039598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_120-17_0_6_line_30 |  | 28 | 38 | 0.019199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_120-17_0_6_line_31 |  | 29 | 30 | 0.028724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_120-17_0_6_line_32 |  | 29 | 31 | 0.018724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_120-17_0_6_line_33 |  | 30 | 32 | 0.02345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_120-17_0_6_line_34 |  | 31 | 33 | 0.0036527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_120-17_0_6_line_35 |  | 32 | 34 | 0.0068004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_120-17_0_6_line_36 |  | 33 | 35 | 0.0094553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_120-17_0_6_line_37 |  | 34 | 36 | 0.01103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_120-17_0_6_line_38 |  | 34 | 37 | 0.018199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_120-17_0_6_line_39 |  | 35 | 38 | 0.010951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_120-17_0_6_line_40 |  | 36 | 40 | 0.010189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_120-17_0_6_line_41 |  | 37 | 39 | 0.03272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_120-17_0_6_line_42 |  | 40 | 44 | 0.024652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_120-17_0_6_line_43 |  | 40 | 45 | 0.005612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_120-17_0_6_line_44 |  | 42 | 44 | 0.046157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_120-17_0_6_line_45 |  | 43 | 52 | 0.03763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_120-17_0_6_line_46 |  | 44 | 54 | 0.0060912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_120-17_0_6_line_47 |  | 45 | 53 | 0.019751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_120-17_0_6_line_48 |  | 46 | 47 | 0.030885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_120-17_0_6_line_49 |  | 46 | 48 | 0.014493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_120-17_0_6_line_50 |  | 47 | 49 | 0.023078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_120-17_0_6_line_51 |  | 48 | 50 | 0.017321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_120-17_0_6_line_52 |  | 49 | 51 | 0.0070178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_120-17_0_6_line_53 |  | 50 | 52 | 0.011697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_120-17_0_6_line_54 |  | 51 | 53 | 0.0049845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_120-17_0_6_trafo_20 | 0.63 MVA 20/0.4 kV | 56 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2712729.6426 | 1236034.3864 | 2712725.0243 | 1236040.8019
1 | 2712729.6426 | 1236034.3864 | 2712730.6548 | 1236032.9803
2 | 2712730.6548 | 1236032.9803 | 2712735.5431 | 1236026.1899 | 2712740.0024 | 1236022.3179
3 | 2712750.4816 | 1236013.2188 | 2712740.0024 | 1236022.3179
4 | 2712764.1047 | 1236028.456 | 2712756.082 | 1236026.024 | 2712750.6492 | 1236021.9288 | 2712749.6138 | 1236017.8615 | 2712750.4816 | 1236013.2188
5 | 2712760.4216 | 1235994.8151 | 2712758.2372 | 1235994.6513 | 2712757.8474 | 1236000.4263 | 2712755.9818 | 1236004.9944 | 2712750.4816 | 1236013.2188
6 | 2712760.4216 | 1235994.8151 | 2712768.268 | 1235995.3756 | 2712774.1529 | 1235996.3881 | 2712781.2382 | 1235997.9683 | 2712783.8389 | 1235998.9295
7 | 2712760.4216 | 1235994.8151 | 2712768.4856 | 1235982.325 | 2712778.6562 | 1235973.115
8 | 2712797.6654 | 1235758.8475 | 2712797.5194 | 1235758.5073
9 | 2712797.6654 | 1235758.8475 | 2712800.2615 | 1235766.0358
10 | 2712856.0951 | 1235809.8122 | 2712843.3005 | 1235797.6223 | 2712818.1986 | 1235781.7331 | 2712800.2615 | 1235766.0358 | 2712800.2615 | 1235766.0358
11 | 2712856.0951 | 1235809.8122 | 2712859.6364 | 1235813.1862
12 | 2712877.1818 | 1235829.9024 | 2712859.6364 | 1235813.1862
13 | 2712877.1818 | 1235829.9024 | 2712884.1777 | 1235837.1222
14 | 2712905.73 | 1235865.1615 | 2712897.5011 | 1235850.8717 | 2712884.1777 | 1235837.1222
15 | 2712880.3823 | 1235954.7263 | 2712874.3946 | 1235954.9016
16 | 2712893.6205 | 1235954.3388 | 2712880.3823 | 1235954.7263
17 | 2712893.6205 | 1235954.3388 | 2712907.0941 | 1235953.9444
18 | 2712917.877 | 1235953.6287 | 2712907.0941 | 1235953.9444
19 | 2712917.877 | 1235953.6287 | 2712913.5555 | 1235972.9273
20 | 2712913.8152 | 1236007.594 | 2712913.104 | 1235974.9437 | 2712913.5555 | 1235972.9273
21 | 2712783.8389 | 1235998.9295 | 2712785.5272 | 1235997.7162 | 2712788.9546 | 1235996.6026 | 2712795.8214 | 1235996.9332 | 2712797.9366 | 1235997.1858
22 | 2712792.2997 | 1235961.7279 | 2712781.7638 | 1235970.3009 | 2712778.6562 | 1235973.115
23 | 2712722.9542 | 1235979.203 | 2712710.4468 | 1235988.1873
24 | 2712722.9542 | 1235979.203 | 2712725.9955 | 1235976.6207
25 | 2712710.4468 | 1235988.1873 | 2712700.377 | 1235995.4208 | 2712695.4013 | 1235997.9133
26 | 2712725.9955 | 1235976.6207 | 2712728.5826 | 1235974.424
27 | 2712797.9366 | 1235997.1858 | 2712798.8121 | 1235997.2903 | 2712801.5907 | 1235998.4551 | 2712803.924 | 1236000.3453 | 2712805.9966 | 1236002.8088 | 2712807.4881 | 1236004.7831 | 2712807.909 | 1236006.0271
28 | 2712792.2997 | 1235961.7279 | 2712801.0008 | 1235954.6478
29 | 2712695.4013 | 1235997.9133 | 2712691.8609 | 1235999.6868
30 | 2712743.1077 | 1235961.8717 | 2712738.4412 | 1235966.0531 | 2712728.5826 | 1235974.424
31 | 2712804.8165 | 1235926.3762 | 2712788.8116 | 1235932.8163 | 2712778.8549 | 1235938.5138
32 | 2712762.6033 | 1235947.8133 | 2712778.8549 | 1235938.5138
33 | 2712826.7913 | 1235918.1959 | 2712809.3686 | 1235924.5445 | 2712804.8165 | 1235926.3762
34 | 2712762.6033 | 1235947.8133 | 2712759.433 | 1235949.6275 | 2712759.433 | 1235949.6275
35 | 2712833.1807 | 1235915.8677 | 2712826.7913 | 1235918.1959
36 | 2712759.433 | 1235949.6275 | 2712751.8688 | 1235955.3007
37 | 2712833.1807 | 1235915.8677 | 2712843.0107 | 1235910.8636
38 | 2712833.1807 | 1235915.8677 | 2712825.0548 | 1235930.4026 | 2712824.0362 | 1235931.5665
39 | 2712743.1077 | 1235961.8717 | 2712743.1077 | 1235961.8717 | 2712751.8688 | 1235955.3007
40 | 2712852.0907 | 1235906.2415 | 2712843.0107 | 1235910.8636
41 | 2712824.0362 | 1235931.5665 | 2712810.8488 | 1235946.6345 | 2712801.0008 | 1235954.6478
42 | 2712852.0907 | 1235906.2415 | 2712872.3504 | 1235892.1152
43 | 2712854.2326 | 1235911.4307 | 2712852.0907 | 1235906.2415
44 | 2712872.3504 | 1235892.1152 | 2712895.8652 | 1235876.394 | 2712907.5619 | 1235868.3433 | 2712905.73 | 1235865.1615
45 | 2712876.6914 | 1236010.9579 | 2712896.0117 | 1236010.7916 | 2712902.9336 | 1236007.8208 | 2712913.8152 | 1236007.594
46 | 2712872.3504 | 1235892.1152 | 2712876.0047 | 1235896.9885
47 | 2712854.2326 | 1235911.4307 | 2712856.1791 | 1235916.1491 | 2712856.7873 | 1235919.5967 | 2712857.0007 | 1235922.7032 | 2712856.9265 | 1235926.6049 | 2712856.465 | 1235930.7083
48 | 2712849.2399 | 1235996.2759 | 2712852.5736 | 1235965.5718
49 | 2712847.6755 | 1236010.6843 | 2712849.2399 | 1235996.2759
50 | 2712855.1234 | 1235942.6354 | 2712854.1483 | 1235951.3049 | 2712853.2636 | 1235959.2166 | 2712852.5736 | 1235965.5718
51 | 2712847.6755 | 1236010.6843 | 2712864.9953 | 1236010.8476
52 | 2712855.1234 | 1235942.6354 | 2712855.9078 | 1235935.6616
53 | 2712876.6914 | 1236010.9579 | 2712864.9953 | 1236010.8476
54 | 2712856.465 | 1235930.7083 | 2712855.9078 | 1235935.6616

## bus_geodata
| x | y | coords
0 | 2712729.6426 | 1236034.3864
1 | 2712725.0243 | 1236040.8019
2 | 2712730.6548 | 1236032.9803
3 | 2712740.0024 | 1236022.3179
4 | 2712750.4816 | 1236013.2188
5 | 2712764.1047 | 1236028.456
6 | 2712760.4216 | 1235994.8151
7 | 2712797.5194 | 1235758.5073
8 | 2712797.6654 | 1235758.8475
9 | 2712800.2615 | 1235766.0358
10 | 2712856.0951 | 1235809.8122
11 | 2712859.6364 | 1235813.1862
12 | 2712877.1818 | 1235829.9024
13 | 2712884.1778 | 1235837.1222
14 | 2712880.3823 | 1235954.7263
15 | 2712874.3946 | 1235954.9016
16 | 2712893.6205 | 1235954.3388
17 | 2712907.0941 | 1235953.9444
18 | 2712917.877 | 1235953.6287
19 | 2712913.5555 | 1235972.9273
20 | 2712783.8389 | 1235998.9295
21 | 2712778.6562 | 1235973.115
22 | 2712722.9542 | 1235979.203
23 | 2712710.4468 | 1235988.1873
24 | 2712725.9955 | 1235976.6207
25 | 2712797.9366 | 1235997.1858
26 | 2712792.2997 | 1235961.7279
27 | 2712695.4013 | 1235997.9133
28 | 2712728.5826 | 1235974.424
29 | 2712778.8549 | 1235938.5138
30 | 2712804.8165 | 1235926.3762
31 | 2712762.6033 | 1235947.8133
32 | 2712826.7913 | 1235918.1959
33 | 2712759.433 | 1235949.6275
34 | 2712833.1807 | 1235915.8677
35 | 2712751.8688 | 1235955.3007
36 | 2712843.0107 | 1235910.8636
37 | 2712824.0362 | 1235931.5665
38 | 2712743.1077 | 1235961.8717
39 | 2712801.0008 | 1235954.6477
40 | 2712852.0907 | 1235906.2415
41 | 2712691.8609 | 1235999.6868
42 | 2712905.73 | 1235865.1615
43 | 2712913.8152 | 1236007.594
44 | 2712872.3504 | 1235892.1152
45 | 2712854.2326 | 1235911.4307
46 | 2712849.2399 | 1235996.2759
47 | 2712852.5736 | 1235965.5718
48 | 2712847.6755 | 1236010.6843
49 | 2712855.1234 | 1235942.6354
50 | 2712864.9953 | 1236010.8476
51 | 2712855.9078 | 1235935.6616
52 | 2712876.6914 | 1236010.9579
53 | 2712856.465 | 1235930.7083
54 | 2712876.0047 | 1235896.9885
55 | 2712807.909 | 1236006.0271
56 | 2712722.9542 | 1235979.203

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98408 | -0.30676 | 0.011566 | 0.0028988
1 | 0.98407 | -0.30703 | 0.0018844 | 0.00047228
2 | 0.9841 | -0.30634 | 0.0060234 | 0.0015096
3 | 0.98436 | -0.30134 | 0.0098815 | 0.0024765
4 | 0.98473 | -0.29402 | 0 | 0
5 | 0.98433 | -0.30192 | 0.018268 | 0.0045785
6 | 0.98573 | -0.27451 | 0 | 0
7 | 0.98969 | -0.19831 | 0.0016365 | 0.00041015
8 | 0.98969 | -0.1983 | 0 | 0
9 | 0.9897 | -0.19808 | 0.0060373 | 0.0015131
10 | 0.9902 | -0.18836 | 0.0054883 | 0.0013755
11 | 0.99026 | -0.18721 | 0.005541 | 0.0013887
12 | 0.99067 | -0.17916 | 0 | 0
13 | 0.99085 | -0.17582 | 0.0052757 | 0.0013222
14 | 0.99012 | -0.18991 | 0.0014523 | 0.00036398
15 | 0.99009 | -0.19047 | 0.0052979 | 0.0013278
16 | 0.9902 | -0.18832 | 0.0012033 | 0.00030157
17 | 0.9903 | -0.18641 | 0.0012123 | 0.00030384
18 | 0.99039 | -0.18465 | 0 | 0
19 | 0.99056 | -0.18143 | 0.0012916 | 0.0003237
20 | 0.98525 | -0.28401 | 0 | 0
21 | 0.98757 | -0.23875 | 0.0068574 | 0.0017186
22 | 0.99557 | -0.085172 | 0 | 0
23 | 0.99538 | -0.088827 | 0.0080026 | 0.0020056
24 | 0.99562 | -0.084226 | 0.090328 | 0.022638
25 | 0.98495 | -0.28988 | 0.016298 | 0.0040846
26 | 0.98883 | -0.21441 | 0.021862 | 0.0054791
27 | 0.99529 | -0.090562 | 0.0037439 | 0.00093832
28 | 0.99594 | -0.078032 | 0.0059756 | 0.0014976
29 | 0.99832 | -0.032111 | 0.068003 | 0.017043
30 | 0.99633 | -0.070143 | 0.058138 | 0.014571
31 | 1 | 0 | -0.48745 | -0.12278
32 | 0.99512 | -0.093303 | 0.0016836 | 0.00042196
33 | 0.99979 | -0.0040006 | 0.032317 | 0.0080994
34 | 0.9946 | -0.10329 | 0 | 0
35 | 0.99912 | -0.016882 | 0.029859 | 0.0074833
36 | 0.99396 | -0.11554 | 0.0056211 | 0.0014088
37 | 0.99286 | -0.13666 | 0.0038385 | 0.00096201
38 | 0.99786 | -0.041062 | 0.0165 | 0.0041354
39 | 0.98985 | -0.19472 | 0.0014591 | 0.00036567
40 | 0.99343 | -0.12585 | 0 | 0
41 | 0.99529 | -0.090684 | 0.0017458 | 0.00043754
42 | 0.99163 | -0.16066 | 0 | 0
43 | 0.99089 | -0.17498 | 0 | 0
44 | 0.99264 | -0.14105 | 0 | 0
45 | 0.99331 | -0.12808 | 0 | 0
46 | 0.99177 | -0.158 | 0.0031803 | 0.00079706
47 | 0.99225 | -0.14866 | 0.0030597 | 0.00076683
48 | 0.99158 | -0.16156 | 0 | 0
49 | 0.99267 | -0.14044 | 0.00086614 | 0.00021708
50 | 0.99136 | -0.16583 | 0.003422 | 0.00085764
51 | 0.99281 | -0.13784 | 0.0007378 | 0.00018491
52 | 0.99125 | -0.168 | 0 | 0
53 | 0.99291 | -0.13592 | 0.00073301 | 0.00018371
54 | 0.99258 | -0.14223 | 0.010899 | 0.0027316
55 | 0.98487 | -0.29136 | 0.0059387 | 0.0014884
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0018844 | 0.0004722 | -0.0018844 | -0.00047228 | 2.4068e-08 | -8.5026e-08 | 0.0028494 | 0.0028495 | 0.0028495 | 0.98408 | -0.30676 | 0.98407 | -0.30703 | 0.78282
1 | -0.013451 | -0.003371 | 0.013451 | 0.0033711 | 2.6875e-07 | 1.4999e-07 | 0.020339 | 0.020339 | 0.020339 | 0.98408 | -0.30676 | 0.9841 | -0.30634 | 5.5875
2 | -0.019474 | -0.0048807 | 0.019479 | 0.0048835 | 4.6408e-06 | 2.7887e-06 | 0.029446 | 0.029446 | 0.029446 | 0.9841 | -0.30634 | 0.98436 | -0.30134 | 8.0896
3 | -0.029361 | -0.0073601 | 0.029371 | 0.0073664 | 1.0252e-05 | 6.3849e-06 | 0.044384 | 0.044384 | 0.044384 | 0.98436 | -0.30134 | 0.98473 | -0.29402 | 12.1933
4 | 0.018275 | 0.0045826 | -0.018268 | -0.0045785 | 6.8842e-06 | 4.0998e-06 | 0.027616 | 0.027616 | 0.027616 | 0.98473 | -0.29402 | 0.98433 | -0.30192 | 7.5869
5 | -0.047646 | -0.011949 | 0.04769 | 0.011977 | 4.4337e-05 | 2.8085e-05 | 0.072 | 0.072 | 0.072 | 0.98473 | -0.29402 | 0.98573 | -0.27451 | 19.7802
6 | 0.022253 | 0.005583 | -0.022243 | -0.0055769 | 1.0073e-05 | 6.1436e-06 | 0.033595 | 0.033595 | 0.033595 | 0.98573 | -0.27451 | 0.98525 | -0.28401 | 9.2293
7 | -0.069944 | -0.01756 | 0.070063 | 0.017636 | 0.00011954 | 7.6138e-05 | 0.10559 | 0.10559 | 0.10559 | 0.98573 | -0.27451 | 0.98757 | -0.23875 | 29.0095
8 | -0.0016365 | -0.00041015 | 0.0016365 | 0.00041015 | 8.4006e-10 | -4.2182e-09 | 0.0024605 | 0.0024605 | 0.0024605 | 0.98969 | -0.19831 | 0.98969 | -0.1983 | 0.67597
9 | -0.0016365 | -0.00041015 | 0.0016365 | 0.00041006 | 1.7351e-08 | -8.7106e-08 | 0.0024605 | 0.0024605 | 0.0024605 | 0.98969 | -0.1983 | 0.9897 | -0.19808 | 0.67597
10 | -0.0076739 | -0.0019232 | 0.0076774 | 0.0019245 | 3.5549e-06 | 1.3595e-06 | 0.011538 | 0.011537 | 0.011538 | 0.9897 | -0.19808 | 0.9902 | -0.18836 | 3.1697
11 | -0.013166 | -0.0033 | 0.013166 | 0.0033004 | 7.1798e-07 | 3.9659e-07 | 0.019785 | 0.019785 | 0.019785 | 0.9902 | -0.18836 | 0.99026 | -0.18721 | 5.4354
12 | -0.018707 | -0.0046891 | 0.018715 | 0.0046934 | 7.1813e-06 | 4.2841e-06 | 0.028111 | 0.028111 | 0.028111 | 0.99026 | -0.18721 | 0.99067 | -0.17916 | 7.7228
13 | -0.018715 | -0.0046934 | 0.018718 | 0.0046952 | 2.9791e-06 | 1.7772e-06 | 0.028111 | 0.028111 | 0.028111 | 0.99067 | -0.17916 | 0.99085 | -0.17582 | 7.7228
14 | -0.023993 | -0.0060174 | 0.024011 | 0.006028 | 1.7351e-05 | 1.0645e-05 | 0.036034 | 0.036033 | 0.036034 | 0.99085 | -0.17582 | 0.99163 | -0.16066 | 9.8994
15 | 0.005298 | 0.0013278 | -0.0052979 | -0.0013278 | 1.4241e-07 | 1.4102e-08 | 0.0079622 | 0.0079622 | 0.0079622 | 0.99012 | -0.18991 | 0.99009 | -0.19047 | 2.1874
16 | -0.0067503 | -0.0016918 | 0.0067508 | 0.0016919 | 5.1112e-07 | 1.5677e-07 | 0.010145 | 0.010145 | 0.010145 | 0.99012 | -0.18991 | 0.9902 | -0.18832 | 2.787
17 | -0.0079541 | -0.0019935 | 0.0079548 | 0.0019938 | 7.2218e-07 | 2.8878e-07 | 0.011953 | 0.011953 | 0.011953 | 0.9902 | -0.18832 | 0.9903 | -0.18641 | 3.2838
18 | -0.0091672 | -0.0022976 | 0.0091679 | 0.002298 | 7.6754e-07 | 3.5242e-07 | 0.013774 | 0.013774 | 0.013774 | 0.9903 | -0.18641 | 0.99039 | -0.18465 | 3.7842
19 | -0.0091679 | -0.002298 | 0.0091693 | 0.0022986 | 1.4071e-06 | 6.4601e-07 | 0.013774 | 0.013774 | 0.013774 | 0.99039 | -0.18465 | 0.99056 | -0.18143 | 3.7842
20 | -0.010461 | -0.0026223 | 0.010464 | 0.0026239 | 3.2156e-06 | 1.6109e-06 | 0.015715 | 0.015714 | 0.015715 | 0.99056 | -0.18143 | 0.99089 | -0.17498 | 4.3172
21 | 0.022243 | 0.0055769 | -0.022237 | -0.0055731 | 6.2163e-06 | 3.7914e-06 | 0.033595 | 0.033595 | 0.033595 | 0.98525 | -0.28401 | 0.98495 | -0.28988 | 9.2293
22 | -0.076921 | -0.019355 | 0.07701 | 0.019412 | 8.9582e-05 | 5.7105e-05 | 0.11593 | 0.11593 | 0.11593 | 0.98757 | -0.23875 | 0.98883 | -0.21441 | 31.8479
23 | 0.013495 | 0.0033828 | -0.013493 | -0.0033815 | 2.3495e-06 | 1.3035e-06 | 0.020171 | 0.020171 | 0.020171 | 0.99557 | -0.085172 | 0.99538 | -0.088827 | 5.5414
24 | -0.013495 | -0.0033828 | 0.013496 | 0.0033832 | 6.0871e-07 | 3.3769e-07 | 0.020171 | 0.020171 | 0.020171 | 0.99557 | -0.085172 | 0.99562 | -0.084226 | 5.5414
25 | 0.0054902 | 0.0013759 | -0.0054898 | -0.0013758 | 4.5378e-07 | 5.694e-08 | 0.0082074 | 0.0082075 | 0.0082075 | 0.99538 | -0.088827 | 0.99529 | -0.090562 | 2.2548
26 | -0.10382 | -0.026021 | 0.10385 | 0.026041 | 3.0644e-05 | 1.9568e-05 | 0.15517 | 0.15517 | 0.15517 | 0.99562 | -0.084226 | 0.99594 | -0.078032 | 42.6294
27 | 0.0059392 | 0.0014885 | -0.0059387 | -0.0014884 | 4.1979e-07 | 9.1712e-08 | 0.0089726 | 0.0089727 | 0.0089727 | 0.98495 | -0.28988 | 0.98487 | -0.29136 | 2.465
28 | -0.098872 | -0.024891 | 0.098965 | 0.024951 | 9.3173e-05 | 5.9486e-05 | 0.14882 | 0.14882 | 0.14882 | 0.98883 | -0.21441 | 0.98985 | -0.19472 | 40.8859
29 | 0.0017458 | 0.0004375 | -0.0017458 | -0.00043754 | 1.0116e-08 | -4.4987e-08 | 0.0026101 | 0.0026101 | 0.0026101 | 0.99529 | -0.090562 | 0.99529 | -0.090684 | 0.71706
30 | -0.10983 | -0.027539 | 0.11002 | 0.027662 | 0.00019387 | 0.00012383 | 0.1641 | 0.1641 | 0.1641 | 0.99594 | -0.078032 | 0.99786 | -0.041062 | 45.0821
31 | 0.22837 | 0.057888 | -0.22795 | -0.057623 | 0.00041656 | 0.00026547 | 0.34062 | 0.34062 | 0.34062 | 0.99832 | -0.032111 | 0.99633 | -0.070143 | 31.192
32 | -0.29637 | -0.074931 | 0.29683 | 0.075223 | 0.0004572 | 0.00029187 | 0.44198 | 0.44198 | 0.44198 | 0.99832 | -0.032111 | 1 | 0 | 40.4739
33 | 0.16981 | 0.043052 | -0.16962 | -0.042932 | 0.0001888 | 0.00011992 | 0.25379 | 0.25379 | 0.25379 | 0.99633 | -0.070143 | 0.99512 | -0.093303 | 23.2406
34 | 0.18898 | 0.047558 | -0.18894 | -0.047535 | 3.6123e-05 | 2.2975e-05 | 0.28127 | 0.28127 | 0.28127 | 1 | 0 | 0.99979 | -0.0040006 | 25.7575
35 | 0.16794 | 0.04251 | -0.16786 | -0.042459 | 8.0504e-05 | 5.1346e-05 | 0.25127 | 0.25127 | 0.25127 | 0.99512 | -0.093303 | 0.9946 | -0.10329 | 34.5152
36 | 0.15663 | 0.039436 | -0.15653 | -0.039375 | 9.6391e-05 | 6.1442e-05 | 0.23317 | 0.23317 | 0.23317 | 0.99979 | -0.0040006 | 0.99912 | -0.016882 | 32.0293
37 | 0.063148 | 0.015895 | -0.063111 | -0.015871 | 3.6939e-05 | 2.3498e-05 | 0.0945 | 0.0945 | 0.0945 | 0.9946 | -0.10329 | 0.99396 | -0.11554 | 25.9616
38 | 0.10471 | 0.026564 | -0.10454 | -0.026457 | 0.00016773 | 0.00010711 | 0.15677 | 0.15677 | 0.15677 | 0.9946 | -0.10329 | 0.99286 | -0.13666 | 43.0688
39 | 0.12667 | 0.031891 | -0.12652 | -0.031798 | 0.00014624 | 9.3451e-05 | 0.1887 | 0.1887 | 0.1887 | 0.99912 | -0.016882 | 0.99786 | -0.041062 | 51.8419
40 | 0.05749 | 0.014463 | -0.057462 | -0.014445 | 2.8314e-05 | 1.7989e-05 | 0.086085 | 0.086085 | 0.086085 | 0.99396 | -0.11554 | 0.99343 | -0.12585 | 23.6497
41 | 0.1007 | 0.025495 | -0.10042 | -0.025316 | 0.00027983 | 0.00017867 | 0.15102 | 0.15102 | 0.15102 | 0.99286 | -0.13666 | 0.98985 | -0.19472 | 41.4884
42 | 0.034958 | 0.0087896 | -0.034933 | -0.0087737 | 2.5356e-05 | 1.5909e-05 | 0.052372 | 0.052372 | 0.052372 | 0.99343 | -0.12585 | 0.99264 | -0.14105 | 14.388
43 | 0.022504 | 0.005655 | -0.022501 | -0.0056535 | 2.3919e-06 | 1.4581e-06 | 0.033713 | 0.033713 | 0.033713 | 0.99343 | -0.12585 | 0.99331 | -0.12808 | 9.2618
44 | -0.024011 | -0.006028 | 0.024033 | 0.0060418 | 2.2474e-05 | 1.3787e-05 | 0.036033 | 0.036033 | 0.036033 | 0.99163 | -0.16066 | 0.99264 | -0.14105 | 9.8993
45 | -0.010464 | -0.0026239 | 0.010468 | 0.0026257 | 3.4846e-06 | 1.7453e-06 | 0.015714 | 0.015714 | 0.015714 | 0.99089 | -0.17498 | 0.99125 | -0.168 | 4.3172
46 | 0.0109 | 0.0027319 | -0.010899 | -0.0027316 | 6.098e-07 | 3.1154e-07 | 0.016339 | 0.016339 | 0.016339 | 0.99264 | -0.14105 | 0.99258 | -0.14223 | 4.4888
47 | 0.022501 | 0.0056535 | -0.022493 | -0.0056484 | 8.4178e-06 | 5.1319e-06 | 0.033713 | 0.033713 | 0.033713 | 0.99331 | -0.12808 | 0.99291 | -0.13592 | 9.2618
48 | -0.017076 | -0.0042838 | 0.017084 | 0.0042883 | 7.6033e-06 | 4.4673e-06 | 0.025622 | 0.025622 | 0.025622 | 0.99177 | -0.158 | 0.99225 | -0.14866 | 7.039
49 | 0.013896 | 0.0034868 | -0.013894 | -0.0034854 | 2.3628e-06 | 1.3252e-06 | 0.02085 | 0.020851 | 0.020851 | 0.99177 | -0.158 | 0.99158 | -0.16156 | 5.7282
50 | -0.020144 | -0.0050551 | 0.020151 | 0.0050599 | 7.8983e-06 | 4.7567e-06 | 0.03021 | 0.03021 | 0.03021 | 0.99225 | -0.14866 | 0.99267 | -0.14044 | 8.2996
51 | 0.013894 | 0.0034854 | -0.013891 | -0.0034839 | 2.8238e-06 | 1.5838e-06 | 0.020851 | 0.020851 | 0.020851 | 0.99158 | -0.16156 | 0.99136 | -0.16583 | 5.7282
52 | -0.021018 | -0.005277 | 0.02102 | 0.0052785 | 2.6127e-06 | 1.5814e-06 | 0.031509 | 0.031509 | 0.031509 | 0.99267 | -0.14044 | 0.99281 | -0.13784 | 8.6562
53 | 0.010469 | 0.0026262 | -0.010468 | -0.0026257 | 1.0831e-06 | 5.424e-07 | 0.015714 | 0.015714 | 0.015714 | 0.99136 | -0.16583 | 0.99125 | -0.168 | 4.3171
54 | -0.021758 | -0.0054635 | 0.02176 | 0.0054647 | 1.9882e-06 | 1.208e-06 | 0.032614 | 0.032614 | 0.032614 | 0.99281 | -0.13784 | 0.99291 | -0.13592 | 8.96

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50217 | 0.12647

## res_load
| p_mw | q_mvar
0 | 0.011566 | 0.0028988
1 | 0.0018844 | 0.00047228
2 | 0.0060234 | 0.0015096
3 | 0.0098815 | 0.0024765
4 | 0.018268 | 0.0045785
5 | 0.0016365 | 0.00041015
6 | 0.0060373 | 0.0015131
7 | 0.0054883 | 0.0013755
8 | 0.005541 | 0.0013887
9 | 0.0052757 | 0.0013222
10 | 0.0014523 | 0.00036398
11 | 0.0052979 | 0.0013278
12 | 0.0012033 | 0.00030157
13 | 0.0012123 | 0.00030384
14 | 0.0012916 | 0.0003237
15 | 0.0068574 | 0.0017186
16 | 0.0080026 | 0.0020056
17 | 0.090328 | 0.022638
18 | 0.016298 | 0.0040846
19 | 0.021862 | 0.0054791
20 | 0.0037439 | 0.00093832
21 | 0.0059756 | 0.0014976
22 | 0.068003 | 0.017043
23 | 0.058138 | 0.014571
24 | 0.01472 | 0.0036891
25 | 0.0016836 | 0.00042196
26 | 0.032317 | 0.0080994
27 | 0.029859 | 0.0074833
28 | 0.0056211 | 0.0014088
29 | 0.0038385 | 0.00096201
30 | 0.0165 | 0.0041354
31 | 0.0014591 | 0.00036567
32 | 0.0017458 | 0.00043754
33 | 0.0031803 | 0.00079706
34 | 0.0030597 | 0.00076683
35 | 0.00086614 | 0.00021708
36 | 0.003422 | 0.00085764
37 | 0.0007378 | 0.00018491
38 | 0.00073301 | 0.00018371
39 | 0.010899 | 0.0027316
40 | 0.0059387 | 0.0014884

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1