## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_120-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_120-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_120-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_120-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_120-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_120-4_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_120-4_0_5_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_120-4_0_5_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_120-4_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_120-4_0_5_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_120-4_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_120-4_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_120-4_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_120-4_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_120-4_0_5_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_120-4_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_120-4_0_5_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_120-4_0_5_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_120-4_0_5_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_120-4_0_5_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_120-4_0_5_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_120-4_0_5_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_120-4_0_5_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_120-4_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_120-4_0_5_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_120-4_0_5_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_120-4_0_5_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_120-4_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_120-4_0_5_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_120-4_0_5_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_120-4_0_5_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_120-4_0_5_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_120-4_0_5_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_120-4_0_5_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_120-4_0_5_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_120-4_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_120-4_0_5_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_120-4_0_5_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_120-4_0_5_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_120-4_0_5_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_120-4_0_5_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_120-4_0_5_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_120-4_0_5_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_120-4_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_120-4_0_5_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_120-4_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_120-4_0_5_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_120-4_0_5_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_120-4_0_5_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_120-4_0_5_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_120-4_0_5_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_120-4_0_5_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_120-4_0_5_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_120-4_0_5_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_120-4_0_5_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_120-4_0_5_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_120-4_0_5_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_120-4_0_5_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_120-4_0_5_node_92 | 0.4 | n |  | TRUE
59 | bus_LV_120-4_0_5_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_120-4_0_5_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_120-4_0_5_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_120-4_0_5_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_120-4_0_5_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_120-4_0_5_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_120-4_0_5_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_120-4_0_5_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_120-4_0_5_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_120-4_0_5_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_120-4_0_5_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_120-4_0_5_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_120-4_0_5_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_120-4_0_5_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_120-4_0_5_node_91 | 0.4 | n |  | TRUE
74 | bus_LV_120-4_0_5_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_120-4_0_5_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_120-4_0_5_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_120-4_0_5_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_120-4_0_5_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_120-4_0_5_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_120-4_0_5_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_120-4_0_5_node_95 | 0.4 | n |  | TRUE
82 | bus_LV_120-4_0_5_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_120-4_0_5_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_120-4_0_5_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_120-4_0_5_node_96 | 0.4 | n |  | TRUE
86 | bus_LV_120-4_0_5_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_120-4_0_5_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_120-4_0_5_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_120-4_0_5_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_120-4_0_5_node_90 | 0.4 | n |  | TRUE
91 | bus_MV_10_0_node_287 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_120-4_0_5_load_0 | 0 | 0.013526 | 0.00339 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_120-4_0_5_load_1 | 1 | 0.0003694 | 9.2579e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_120-4_0_5_load_3 | 3 | 0.00033134 | 8.3042e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_120-4_0_5_load_6 | 5 | 0.0017787 | 0.00044578 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_120-4_0_5_load_17 | 6 | 0.0047966 | 0.0012021 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_120-4_0_5_load_15 | 7 | 0.021972 | 0.0055068 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_120-4_0_5_load_7 | 8 | 0.00091369 | 0.00022899 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_120-4_0_5_load_9 | 10 | 0.0062857 | 0.0015753 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_120-4_0_5_load_10 | 11 | 0.0039031 | 0.00097822 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_120-4_0_5_load_12 | 13 | 0.0030578 | 0.00076636 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_120-4_0_5_load_14 | 15 | 0.0055587 | 0.0013931 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_120-4_0_5_load_44 | 17 | 0.0050913 | 0.001276 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_120-4_0_5_load_38 | 18 | 0.0095091 | 0.0023832 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_120-4_0_5_load_21 | 19 | 0.0011397 | 0.00028563 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_120-4_0_5_load_40 | 20 | 0.0046848 | 0.0011741 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_120-4_0_5_load_37 | 22 | 0.0035674 | 0.00089407 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_120-4_0_5_load_19 | 23 | 0.002348 | 0.00058847 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_120-4_0_5_load_35 | 25 | 0.002654 | 0.00066516 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_120-4_0_5_load_24 | 27 | 0.0076133 | 0.0019081 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_120-4_0_5_load_25 | 28 | 0.0051426 | 0.0012889 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_120-4_0_5_load_29 | 31 | 0.0044303 | 0.0011103 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_120-4_0_5_load_47 | 32 | 0.0018764 | 0.00047027 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_120-4_0_5_load_39 | 34 | 0.0016787 | 0.00042073 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_120-4_0_5_load_41 | 35 | 0.0066998 | 0.0016791 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_120-4_0_5_load_51 | 36 | 0.0013879 | 0.00034785 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_120-4_0_5_load_61 | 38 | 0.0042492 | 0.001065 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_120-4_0_5_load_45 | 39 | 0.004847 | 0.0012148 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_120-4_0_5_load_42 | 40 | 0.015698 | 0.0039342 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_120-4_0_5_load_30 | 41 | 0.0055062 | 0.00138 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_120-4_0_5_load_31 | 42 | 0.0028719 | 0.00071977 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_120-4_0_5_load_32 | 43 | 0.0024501 | 0.00061406 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_120-4_0_5_load_34 | 44 | 0.004903 | 0.0012288 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_120-4_0_5_load_46 | 46 | 0.0032575 | 0.0008164 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_120-4_0_5_load_49 | 47 | 0.0020094 | 0.00050361 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_120-4_0_5_load_50 | 48 | 0.0056565 | 0.0014177 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_120-4_0_5_load_82 | 50 | 0.0062937 | 0.0015773 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_120-4_0_5_load_52 | 52 | 0.0027801 | 0.00069675 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_120-4_0_5_load_53 | 53 | 0.0052888 | 0.0013255 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_120-4_0_5_load_54 | 54 | 0.0031881 | 0.00079901 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_120-4_0_5_load_60 | 57 | 0.0024351 | 0.00061029 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_120-4_0_5_load_58 | 59 | 0.0029589 | 0.00074157 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_120-4_0_5_load_93 | 60 | 0.0043465 | 0.0010893 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_120-4_0_5_load_75 | 64 | 0.004896 | 0.0012271 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_120-4_0_5_load_83 | 65 | 0.0049722 | 0.0012461 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_120-4_0_5_load_57 | 66 | 0.0028788 | 0.0007215 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_120-4_0_5_load_59 | 67 | 0.0024244 | 0.00060762 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_120-4_0_5_load_67 | 68 | 0.018326 | 0.0045929 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_120-4_0_5_load_64 | 69 | 0.030119 | 0.0075485 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_120-4_0_5_load_68 | 71 | 0.0040044 | 0.0010036 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_120-4_0_5_load_69 | 72 | 0.0009476 | 0.00023749 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_120-4_0_5_load_89 | 75 | 0.029068 | 0.0072852 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_120-4_0_5_load_70 | 76 | 0.0035284 | 0.0008843 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_120-4_0_5_load_74 | 80 | 0.010396 | 0.0026054 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_120-4_0_5_load_88 | 82 | 0.023759 | 0.0059546 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_120-4_0_5_load_86 | 83 | 0.0034094 | 0.00085447 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_120-4_0_5_load_96 | 85 | 0.0025006 | 0.00062671 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_120-4_0_5_load_87 | 86 | 0.0050316 | 0.001261 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_120-4_0_5_load_85 | 87 | 0.0090201 | 0.0022607 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_120-4_0_5_load_79 | 88 | 0.021954 | 0.0055023 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_120-4_0_5_load_90 | 90 | 0.0039327 | 0.00098562 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_120-4_0_5_line_0 |  | 0 | 1 | 0.035401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_120-4_0_5_line_1 |  | 0 | 2 | 0.049906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_120-4_0_5_line_2 |  | 1 | 3 | 0.0053697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_120-4_0_5_line_3 |  | 2 | 4 | 0.051204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_120-4_0_5_line_4 |  | 3 | 5 | 0.022455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_120-4_0_5_line_5 |  | 4 | 6 | 0.013833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_120-4_0_5_line_6 |  | 4 | 7 | 0.028799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_120-4_0_5_line_7 |  | 5 | 8 | 0.010017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_120-4_0_5_line_8 |  | 7 | 9 | 0.030379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_120-4_0_5_line_9 |  | 9 | 23 | 0.03891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_120-4_0_5_line_10 |  | 10 | 11 | 0.007669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_120-4_0_5_line_11 |  | 10 | 12 | 0.0026865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_120-4_0_5_line_12 |  | 11 | 13 | 0.0089287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_120-4_0_5_line_13 |  | 12 | 14 | 0.023042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_120-4_0_5_line_14 |  | 12 | 15 | 0.018575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_120-4_0_5_line_15 |  | 13 | 16 | 0.094911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_120-4_0_5_line_16 |  | 14 | 17 | 0.039219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_120-4_0_5_line_17 |  | 15 | 18 | 0.0091927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_120-4_0_5_line_18 |  | 16 | 19 | 0.0050094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_120-4_0_5_line_19 |  | 18 | 22 | 0.0082464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_120-4_0_5_line_20 |  | 20 | 21 | 0.036994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_120-4_0_5_line_21 |  | 21 | 34 | 0.017471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_120-4_0_5_line_22 |  | 21 | 22 | 0.033496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_120-4_0_5_line_23 |  | 21 | 29 | 0.013083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_120-4_0_5_line_24 |  | 23 | 24 | 0.021491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_120-4_0_5_line_25 |  | 24 | 26 | 0.019907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_120-4_0_5_line_26 |  | 24 | 25 | 0.025155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_120-4_0_5_line_27 |  | 26 | 45 | 0.012292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_120-4_0_5_line_28 |  | 26 | 42 | 0.010776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_120-4_0_5_line_29 |  | 27 | 28 | 0.0032085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_120-4_0_5_line_30 |  | 27 | 29 | 0.014856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_120-4_0_5_line_31 |  | 28 | 30 | 0.040385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_120-4_0_5_line_32 |  | 29 | 31 | 0.03924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_120-4_0_5_line_33 |  | 30 | 32 | 0.020629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_120-4_0_5_line_34 |  | 30 | 33 | 0.007197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_120-4_0_5_line_35 |  | 31 | 35 | 0.0033368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_120-4_0_5_line_36 |  | 32 | 36 | 0.047295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_120-4_0_5_line_37 |  | 33 | 37 | 0.035547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_120-4_0_5_line_38 |  | 33 | 38 | 0.016533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_120-4_0_5_line_39 |  | 34 | 39 | 0.0072459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_120-4_0_5_line_40 |  | 35 | 40 | 0.029556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_120-4_0_5_line_41 |  | 37 | 49 | 0.036602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_120-4_0_5_line_42 |  | 37 | 50 | 0.028598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_120-4_0_5_line_43 |  | 38 | 51 | 0.0089399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_120-4_0_5_line_44 |  | 39 | 46 | 0.0071159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_120-4_0_5_line_45 |  | 41 | 42 | 0.0067564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_120-4_0_5_line_46 |  | 41 | 43 | 0.012823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_120-4_0_5_line_47 |  | 43 | 44 | 0.01487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_120-4_0_5_line_48 |  | 45 | 46 | 0.0072768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_120-4_0_5_line_49 |  | 45 | 47 | 0.041894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_120-4_0_5_line_50 |  | 47 | 48 | 0.0016858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_120-4_0_5_line_51 |  | 49 | 68 | 0.020696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_120-4_0_5_line_52 |  | 49 | 69 | 0.033471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_120-4_0_5_line_53 |  | 50 | 63 | 0.013417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_120-4_0_5_line_54 |  | 51 | 55 | 0.03798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_120-4_0_5_line_55 |  | 52 | 53 | 0.020823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_120-4_0_5_line_56 |  | 52 | 54 | 0.025076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_120-4_0_5_line_57 |  | 53 | 55 | 0.0063364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_120-4_0_5_line_58 |  | 54 | 56 | 0.013102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_120-4_0_5_line_59 |  | 55 | 57 | 0.012844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_120-4_0_5_line_60 |  | 56 | 58 | 0.005036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_120-4_0_5_line_61 |  | 57 | 59 | 0.023466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_120-4_0_5_line_62 |  | 58 | 60 | 0.040365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_120-4_0_5_line_63 |  | 59 | 66 | 0.0073377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_120-4_0_5_line_64 |  | 61 | 62 | 0.038692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_120-4_0_5_line_65 |  | 61 | 63 | 0.042206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_120-4_0_5_line_66 |  | 61 | 64 | 0.029644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_120-4_0_5_line_67 |  | 62 | 87 | 0.031118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_120-4_0_5_line_68 |  | 63 | 65 | 0.028376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_120-4_0_5_line_69 |  | 66 | 67 | 0.016978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_120-4_0_5_line_70 |  | 69 | 70 | 0.011411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_120-4_0_5_line_71 |  | 70 | 71 | 0.017142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_120-4_0_5_line_72 |  | 70 | 72 | 0.026398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_120-4_0_5_line_73 |  | 73 | 74 | 0.002932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_120-4_0_5_line_74 |  | 73 | 75 | 0.022119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_120-4_0_5_line_75 |  | 74 | 82 | 0.018176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_120-4_0_5_line_76 |  | 74 | 89 | 0.006079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_120-4_0_5_line_77 |  | 75 | 90 | 0.025422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_120-4_0_5_line_78 |  | 76 | 77 | 0.0070738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_120-4_0_5_line_79 |  | 76 | 78 | 0.020467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_120-4_0_5_line_80 |  | 77 | 79 | 0.041385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_120-4_0_5_line_81 |  | 77 | 80 | 0.03876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_120-4_0_5_line_82 |  | 78 | 81 | 0.11507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_120-4_0_5_line_83 |  | 79 | 82 | 0.034295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_120-4_0_5_line_84 |  | 79 | 83 | 0.022863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_120-4_0_5_line_85 |  | 80 | 84 | 0.028958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_120-4_0_5_line_86 |  | 81 | 85 | 0.032829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_120-4_0_5_line_87 |  | 83 | 86 | 0.0047736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_120-4_0_5_line_88 |  | 84 | 87 | 0.0093384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_120-4_0_5_line_89 |  | 88 | 89 | 0.024613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_120-4_0_5_trafo_63 | 0.63 MVA 20/0.4 kV | 91 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2711761.8092 | 1236862.8286 | 2711767.6746 | 1236855.3545 | 2711773.9201 | 1236845.2196 | 2711775.8964 | 1236839.5412 | 2711774.9242 | 1236831.6179
1 | 2711716.6864 | 1236880.3261 | 2711730.7612 | 1236877.622 | 2711744.5355 | 1236873.6002 | 2711755.2205 | 1236870.4543 | 2711759.2301 | 1236866.1152 | 2711761.8092 | 1236862.8286
2 | 2711774.9242 | 1236831.6179 | 2711774.6956 | 1236829.7553 | 2711773.7501 | 1236826.3926
3 | 2711666.2587 | 1236890.0078 | 2711691.8636 | 1236885.0964 | 2711716.6864 | 1236880.3261
4 | 2711767.672 | 1236804.7762 | 2711773.7501 | 1236826.3926
5 | 2711666.2587 | 1236890.0078 | 2711663.2378 | 1236876.5086
6 | 2711666.2587 | 1236890.0078 | 2711672.2625 | 1236918.1737
7 | 2711767.672 | 1236804.7762 | 2711766.6518 | 1236801.1482 | 2711763.0646 | 1236796.0323
8 | 2711678.5957 | 1236947.8852 | 2711672.2625 | 1236918.1737
9 | 2711678.5957 | 1236947.8852 | 2711705.4907 | 1236941.9751 | 2711716.8642 | 1236942.023
10 | 2711809.5563 | 1237049.4325 | 2711816.9705 | 1237051.3926
11 | 2711806.959 | 1237048.7459 | 2711809.5563 | 1237049.4325
12 | 2711825.4742 | 1237054.0479 | 2711822.9915 | 1237052.9843 | 2711816.9705 | 1237051.3926
13 | 2711784.2124 | 1237049.7964 | 2711801.5747 | 1237047.3212 | 2711806.959 | 1237048.7459
14 | 2711806.959 | 1237048.7459 | 2711809.0099 | 1237031.0706 | 2711808.8431 | 1237030.3072
15 | 2711825.4742 | 1237054.0479 | 2711882.118 | 1237130.2029
16 | 2711784.2124 | 1237049.7964 | 2711790.4778 | 1237062.7022 | 2711791.4257 | 1237070.2371 | 2711789.0901 | 1237087.3622
17 | 2711808.8431 | 1237030.3072 | 2711806.8814 | 1237021.3263
18 | 2711882.118 | 1237130.2029 | 2711881.6795 | 1237135.1931
19 | 2711805.1217 | 1237013.2698 | 2711806.8814 | 1237021.3263
20 | 2711797.9737 | 1236980.5453 | 2711789.6107 | 1236987.7936 | 2711784.2571 | 1236993.1749 | 2711779.8 | 1236999.1735 | 2711776.6798 | 1237005.72 | 2711775.7508 | 1237009.2093
21 | 2711797.9737 | 1236980.5453 | 2711793.7656 | 1236971.3144 | 2711787.2907 | 1236967.887
22 | 2711797.9737 | 1236980.5453 | 2711805.1217 | 1237013.2698
23 | 2711797.9737 | 1236980.5453 | 2711808.7991 | 1236973.1544
24 | 2711737.06 | 1236948.6741 | 2711720.709 | 1236942.0392 | 2711716.8642 | 1236942.023
25 | 2711737.06 | 1236948.6741 | 2711755.9979 | 1236954.9798
26 | 2711737.06 | 1236948.6741 | 2711725.1414 | 1236970.8266
27 | 2711755.9979 | 1236954.9798 | 2711767.6932 | 1236958.8696
28 | 2711755.9979 | 1236954.9798 | 2711749.7474 | 1236963.7583
29 | 2711822.1013 | 1236961.1305 | 2711819.9694 | 1236963.5284
30 | 2711808.7991 | 1236973.1544 | 2711815.4617 | 1236968.5984 | 2711819.9694 | 1236963.5284
31 | 2711851.5507 | 1236933.8394 | 2711848.3876 | 1236935.4255 | 2711833.6937 | 1236948.0922 | 2711822.1013 | 1236961.1305
32 | 2711808.7991 | 1236973.1544 | 2711836.5728 | 1237000.8738
33 | 2711851.5507 | 1236933.8394 | 2711841.0859 | 1236916.0617
34 | 2711858.7667 | 1236933.6529 | 2711851.5507 | 1236933.8394
35 | 2711838.9346 | 1237003.231 | 2711836.5728 | 1237000.8738
36 | 2711823.2485 | 1236879.2076 | 2711818.5832 | 1236883.6459 | 2711818.4643 | 1236889.9597 | 2711841.0859 | 1236916.0617 | 2711841.0859 | 1236916.0617
37 | 2711858.7667 | 1236933.6529 | 2711861.1311 | 1236929.8722 | 2711872.1397 | 1236922.0067 | 2711885.4205 | 1236910.4366
38 | 2711858.7667 | 1236933.6529 | 2711859.3949 | 1236939.2691 | 2711861.4122 | 1236943.466 | 2711864.8749 | 1236948.6389
39 | 2711780.8866 | 1236964.497 | 2711787.2907 | 1236967.887
40 | 2711865.1177 | 1237015.5036 | 2711849.6107 | 1237011.4862 | 2711841.618 | 1237005.9091 | 2711838.9346 | 1237003.231
41 | 2711909.002 | 1236882.392 | 2711885.4205 | 1236910.4366
42 | 2711885.4205 | 1236910.4366 | 2711891.7488 | 1236913.9808 | 2711912.8681 | 1236910.883
43 | 2711869.8478 | 1236956.0681 | 2711864.8749 | 1236948.6389
44 | 2711780.8866 | 1236964.497 | 2711774.5974 | 1236961.168
45 | 2711745.8285 | 1236969.2621 | 2711749.7474 | 1236963.7583
46 | 2711745.8285 | 1236969.2621 | 2711738.3906 | 1236979.708
47 | 2711730.2732 | 1236992.1541 | 2711734.3716 | 1236985.3524 | 2711738.3906 | 1236979.708
48 | 2711767.6932 | 1236958.8696 | 2711774.5974 | 1236961.168
49 | 2711767.6932 | 1236958.8696 | 2711753.4153 | 1236934.5818 | 2711752.1712 | 1236930.3106 | 2711752.4383 | 1236926.9797 | 2711754.9088 | 1236921.5887
50 | 2711755.6111 | 1236920.0562 | 2711754.9088 | 1236921.5887
51 | 2711909.002 | 1236882.392 | 2711924.6602 | 1236868.8591
52 | 2711909.002 | 1236882.392 | 2711893.2417 | 1236852.8633
53 | 2711926.1431 | 1236908.9359 | 2711912.8681 | 1236910.883
54 | 2711869.8478 | 1236956.0681 | 2711907.9075 | 1236954.4948
55 | 2711933.27 | 1236947.5872 | 2711912.6191 | 1236950.258
56 | 2711933.27 | 1236947.5872 | 2711936.7068 | 1236947.1428 | 2711958.0569 | 1236943.7961
57 | 2711907.9075 | 1236954.4948 | 2711912.6191 | 1236950.258
58 | 2711971.0664 | 1236942.3199 | 2711963.5548 | 1236942.9343 | 2711958.0569 | 1236943.7961
59 | 2711907.9075 | 1236954.4948 | 2711913.2443 | 1236958.0426 | 2711916.1727 | 1236963.7737
60 | 2711976.0869 | 1236941.7696 | 2711971.0664 | 1236942.3199
61 | 2711916.1727 | 1236963.7737 | 2711926.8501 | 1236984.6702
62 | 2711976.0869 | 1236941.7696 | 2711989.8569 | 1236979.7135
63 | 2711930.1889 | 1236991.2044 | 2711926.8501 | 1236984.6702
64 | 2712005.4212 | 1236893.6403 | 2711987.4949 | 1236899.9073 | 2711967.8925 | 1236902.7511
65 | 2711926.1431 | 1236908.9359 | 2711952.8193 | 1236905.0132 | 2711955.2037 | 1236904.5912 | 2711967.8925 | 1236902.7511
66 | 2711967.8925 | 1236902.7511 | 2711975.7499 | 1236921.9254 | 2711983.9733 | 1236918.4639
67 | 2712005.4212 | 1236893.6403 | 2712015.4057 | 1236889.125 | 2712022.2542 | 1236883.9501 | 2712028.3673 | 1236874.1191
68 | 2711926.1431 | 1236908.9359 | 2711933.2055 | 1236926.1269 | 2711942.5632 | 1236923.2487
69 | 2711937.9141 | 1237006.3232 | 2711930.1889 | 1236991.2044
70 | 2711887.8686 | 1236842.7961 | 2711893.2417 | 1236852.8633
71 | 2711887.8686 | 1236842.7961 | 2711885.7701 | 1236834.8726 | 2711889.7883 | 1236826.8753
72 | 2711887.8686 | 1236842.7961 | 2711877.5471 | 1236836.6858 | 2711868.8912 | 1236825.1733
73 | 2711959.8251 | 1236840.1387 | 2711962.4169 | 1236838.7531
74 | 2711959.8251 | 1236840.1387 | 2711950.829 | 1236819.9312
75 | 2711962.4169 | 1236838.7531 | 2711974.3136 | 1236832.3723 | 2711978.7435 | 1236830.8748
76 | 2711962.4169 | 1236838.7531 | 2711968.4129 | 1236839.8559
77 | 2711940.4898 | 1236796.7068 | 2711950.829 | 1236819.9312
78 | 2712050.1771 | 1236805.5817 | 2712056.6722 | 1236802.7796
79 | 2712075.4646 | 1236794.6724 | 2712056.6722 | 1236802.7796
80 | 2712050.1771 | 1236805.5817 | 2712011.2327 | 1236819.8918
81 | 2712050.1771 | 1236805.5817 | 2712056.0148 | 1236820.6815 | 2712055.1412 | 1236829.2718 | 2712048.0445 | 1236841.2662
82 | 2712075.4646 | 1236794.6724 | 2712134.3299 | 1236695.7943
83 | 2712011.2327 | 1236819.8918 | 2711978.7435 | 1236830.8748
84 | 2712011.2327 | 1236819.8918 | 2712011.3343 | 1236797.0294
85 | 2712033.2985 | 1236866.1888 | 2712048.0445 | 1236841.2662
86 | 2712134.3299 | 1236695.7943 | 2712127.211 | 1236690.4223 | 2712104.3798 | 1236683.0523
87 | 2712011.3343 | 1236797.0294 | 2712011.3555 | 1236792.2559
88 | 2712033.2985 | 1236866.1888 | 2712028.3673 | 1236874.1191
89 | 2711968.4129 | 1236839.8559 | 2711964.693 | 1236864.1863

## bus_geodata
| x | y | coords
0 | 2711761.8092 | 1236862.8286
1 | 2711774.9242 | 1236831.6179
2 | 2711716.6864 | 1236880.3261
3 | 2711773.7501 | 1236826.3926
4 | 2711666.2587 | 1236890.0078
5 | 2711767.672 | 1236804.7762
6 | 2711663.2378 | 1236876.5086
7 | 2711672.2625 | 1236918.1737
8 | 2711763.0646 | 1236796.0323
9 | 2711678.5957 | 1236947.8852
10 | 2711809.5563 | 1237049.4325
11 | 2711816.9705 | 1237051.3926
12 | 2711806.959 | 1237048.7459
13 | 2711825.4742 | 1237054.0479
14 | 2711784.2124 | 1237049.7964
15 | 2711808.8431 | 1237030.3072
16 | 2711882.118 | 1237130.2029
17 | 2711789.0901 | 1237087.3622
18 | 2711806.8814 | 1237021.3263
19 | 2711881.6795 | 1237135.1931
20 | 2711775.7508 | 1237009.2093
21 | 2711797.9737 | 1236980.5453
22 | 2711805.1217 | 1237013.2698
23 | 2711716.8642 | 1236942.023
24 | 2711737.06 | 1236948.6741
25 | 2711725.1414 | 1236970.8266
26 | 2711755.9979 | 1236954.9798
27 | 2711819.9694 | 1236963.5284
28 | 2711822.1013 | 1236961.1305
29 | 2711808.7991 | 1236973.1544
30 | 2711851.5507 | 1236933.8394
31 | 2711836.5728 | 1237000.8738
32 | 2711841.0859 | 1236916.0617
33 | 2711858.7667 | 1236933.6529
34 | 2711787.2907 | 1236967.887
35 | 2711838.9346 | 1237003.231
36 | 2711823.2485 | 1236879.2076
37 | 2711885.4205 | 1236910.4366
38 | 2711864.8749 | 1236948.6389
39 | 2711780.8866 | 1236964.497
40 | 2711865.1177 | 1237015.5036
41 | 2711745.8285 | 1236969.2621
42 | 2711749.7474 | 1236963.7583
43 | 2711738.3906 | 1236979.708
44 | 2711730.2732 | 1236992.1541
45 | 2711767.6932 | 1236958.8696
46 | 2711774.5974 | 1236961.168
47 | 2711754.9088 | 1236921.5887
48 | 2711755.6111 | 1236920.0562
49 | 2711909.002 | 1236882.392
50 | 2711912.8681 | 1236910.883
51 | 2711869.8478 | 1236956.0681
52 | 2711933.27 | 1236947.5872
53 | 2711912.6191 | 1236950.258
54 | 2711958.0569 | 1236943.7961
55 | 2711907.9075 | 1236954.4948
56 | 2711971.0664 | 1236942.3199
57 | 2711916.1727 | 1236963.7737
58 | 2711976.0869 | 1236941.7696
59 | 2711926.8501 | 1236984.6702
60 | 2711989.8569 | 1236979.7135
61 | 2711967.8925 | 1236902.7511
62 | 2712005.4212 | 1236893.6403
63 | 2711926.1431 | 1236908.9359
64 | 2711983.9733 | 1236918.4639
65 | 2711942.5632 | 1236923.2487
66 | 2711930.1889 | 1236991.2044
67 | 2711937.9141 | 1237006.3232
68 | 2711924.6602 | 1236868.8591
69 | 2711893.2417 | 1236852.8633
70 | 2711887.8686 | 1236842.7961
71 | 2711889.7883 | 1236826.8753
72 | 2711868.8912 | 1236825.1733
73 | 2711959.8251 | 1236840.1387
74 | 2711962.4169 | 1236838.7531
75 | 2711950.829 | 1236819.9312
76 | 2712056.6722 | 1236802.7796
77 | 2712050.1771 | 1236805.5817
78 | 2712075.4646 | 1236794.6724
79 | 2712011.2327 | 1236819.8918
80 | 2712048.0445 | 1236841.2662
81 | 2712134.3299 | 1236695.7943
82 | 2711978.7435 | 1236830.8748
83 | 2712011.3343 | 1236797.0294
84 | 2712033.2985 | 1236866.1888
85 | 2712104.3798 | 1236683.0523
86 | 2712011.3555 | 1236792.2559
87 | 2712028.3673 | 1236874.1191
88 | 2711964.693 | 1236864.1863
89 | 2711968.4129 | 1236839.8559
90 | 2711940.4898 | 1236796.7068
91 | 2711858.7667 | 1236933.6529

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98006 | -0.38486 | 0.013526 | 0.00339
1 | 0.97995 | -0.38705 | 0.0003694 | 9.2579e-05
2 | 0.98084 | -0.36955 | 0 | 0
3 | 0.97994 | -0.38734 | 0.00033134 | 8.3042e-05
4 | 0.98165 | -0.35386 | 0 | 0
5 | 0.97988 | -0.38844 | 0.0017787 | 0.00044578
6 | 0.98158 | -0.35507 | 0.0047966 | 0.0012021
7 | 0.98222 | -0.34256 | 0.021972 | 0.0055068
8 | 0.97987 | -0.3886 | 0.00091369 | 0.00022899
9 | 0.98345 | -0.3186 | 0 | 0
10 | 0.98838 | -0.223 | 0.0062857 | 0.0015753
11 | 0.98833 | -0.22411 | 0.0039031 | 0.00097822
12 | 0.98842 | -0.22231 | 0 | 0
13 | 0.98829 | -0.22478 | 0.0030578 | 0.00076636
14 | 0.98831 | -0.22441 | 0 | 0
15 | 0.98875 | -0.21586 | 0.0055587 | 0.0013931
16 | 0.98819 | -0.22672 | 0 | 0
17 | 0.98813 | -0.22797 | 0.0050913 | 0.001276
18 | 0.98896 | -0.21176 | 0.0095091 | 0.0023832
19 | 0.98819 | -0.22682 | 0.0011397 | 0.00028563
20 | 0.99024 | -0.18704 | 0.0046848 | 0.0011741
21 | 0.99039 | -0.18396 | 0 | 0
22 | 0.98922 | -0.20668 | 0.0035674 | 0.00089407
23 | 0.98502 | -0.28801 | 0.002348 | 0.00058847
24 | 0.98594 | -0.27025 | 0 | 0
25 | 0.98587 | -0.27145 | 0.002654 | 0.00066516
26 | 0.98683 | -0.25289 | 0 | 0
27 | 0.99293 | -0.1351 | 0.0076133 | 0.0019081
28 | 0.99316 | -0.13059 | 0.0051426 | 0.0012889
29 | 0.9919 | -0.15502 | 0 | 0
30 | 0.99621 | -0.072153 | 0 | 0
31 | 0.99093 | -0.17369 | 0.0044303 | 0.0011103
32 | 0.99615 | -0.073336 | 0.0018764 | 0.00047027
33 | 0.99677 | -0.06157 | 0 | 0
34 | 0.98908 | -0.20942 | 0.0016787 | 0.00042073
35 | 0.99086 | -0.17502 | 0.0066998 | 0.0016791
36 | 0.99609 | -0.07449 | 0.0013879 | 0.00034785
37 | 1 | 0 | -0.38701 | -0.098552
38 | 0.99631 | -0.070436 | 0.0042492 | 0.001065
39 | 0.98854 | -0.21978 | 0.004847 | 0.0012148
40 | 0.99044 | -0.18326 | 0.015698 | 0.0039342
41 | 0.9866 | -0.25748 | 0.0055062 | 0.00138
42 | 0.98668 | -0.25592 | 0.0028719 | 0.00071977
43 | 0.98651 | -0.25917 | 0.0024501 | 0.00061406
44 | 0.98644 | -0.26047 | 0.004903 | 0.0012288
45 | 0.98756 | -0.23872 | 0 | 0
46 | 0.98805 | -0.22935 | 0.0032575 | 0.0008164
47 | 0.98727 | -0.24446 | 0.0020094 | 0.00050361
48 | 0.98726 | -0.24463 | 0.0056565 | 0.0014177
49 | 0.99822 | -0.034128 | 0 | 0
50 | 0.99829 | -0.032152 | 0.0062937 | 0.0015773
51 | 0.99609 | -0.074567 | 0 | 0
52 | 0.9949 | -0.097657 | 0.0027801 | 0.00069675
53 | 0.99509 | -0.093875 | 0.0052888 | 0.0013255
54 | 0.99472 | -0.10099 | 0.0031881 | 0.00079901
55 | 0.99518 | -0.092134 | 0 | 0
56 | 0.99467 | -0.10199 | 0 | 0
57 | 0.99506 | -0.094553 | 0.0024351 | 0.00061029
58 | 0.99465 | -0.10238 | 0 | 0
59 | 0.99488 | -0.097967 | 0.0029589 | 0.00074157
60 | 0.99449 | -0.10547 | 0.0043465 | 0.0010893
61 | 0.99213 | -0.14836 | 0 | 0
62 | 0.98806 | -0.22583 | 0 | 0
63 | 0.99675 | -0.060938 | 0 | 0
64 | 0.992 | -0.15093 | 0.004896 | 0.0012271
65 | 0.99663 | -0.063414 | 0.0049722 | 0.0012461
66 | 0.99485 | -0.098652 | 0.0028788 | 0.0007215
67 | 0.99481 | -0.099377 | 0.0024244 | 0.00060762
68 | 0.99788 | -0.040764 | 0.018326 | 0.0045929
69 | 0.99716 | -0.054684 | 0.030119 | 0.0075485
70 | 0.9971 | -0.055675 | 0 | 0
71 | 0.99704 | -0.056879 | 0.0040044 | 0.0010036
72 | 0.99708 | -0.056114 | 0.0009476 | 0.00023749
73 | 0.9708 | -0.56174 | 0 | 0
74 | 0.97089 | -0.55995 | 0 | 0
75 | 0.97012 | -0.57525 | 0.029068 | 0.0072852
76 | 0.97768 | -0.42658 | 0.0035284 | 0.0008843
77 | 0.97772 | -0.42581 | 0 | 0
78 | 0.97763 | -0.42752 | 0 | 0
79 | 0.97435 | -0.4918 | 0 | 0
80 | 0.98109 | -0.36017 | 0.010396 | 0.0026054
81 | 0.97737 | -0.43277 | 0 | 0
82 | 0.97183 | -0.54149 | 0.023759 | 0.0059546
83 | 0.97417 | -0.49535 | 0.0034094 | 0.00085447
84 | 0.98389 | -0.306 | 0 | 0
85 | 0.97729 | -0.43427 | 0.0025006 | 0.00062671
86 | 0.97415 | -0.49579 | 0.0050316 | 0.001261
87 | 0.9848 | -0.2886 | 0.0090201 | 0.0022607
88 | 0.97026 | -0.57241 | 0.021954 | 0.0055023
89 | 0.97077 | -0.56242 | 0 | 0
90 | 0.97003 | -0.5771 | 0.0039327 | 0.00098562
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0033937 | 0.00084982 | -0.0033933 | -0.00085004 | 3.5242e-07 | -2.205e-07 | 0.0051523 | 0.0051524 | 0.0051524 | 0.98006 | -0.38486 | 0.97995 | -0.38705 | 1.4155
1 | -0.01692 | -0.0042398 | 0.016932 | 0.0042471 | 1.235e-05 | 7.2748e-06 | 0.025689 | 0.025689 | 0.025689 | 0.98006 | -0.38486 | 0.98084 | -0.36955 | 7.0575
2 | 0.0030239 | 0.00075746 | -0.0030239 | -0.0007575 | 4.2452e-08 | -4.048e-08 | 0.0045915 | 0.0045916 | 0.0045916 | 0.97995 | -0.38705 | 0.97994 | -0.38734 | 1.2614
3 | -0.016932 | -0.0042471 | 0.016945 | 0.0042546 | 1.2671e-05 | 7.4629e-06 | 0.025689 | 0.025689 | 0.025689 | 0.98084 | -0.36955 | 0.98165 | -0.35386 | 7.0574
4 | 0.0026925 | 0.00067446 | -0.0026924 | -0.00067465 | 1.4075e-07 | -1.9279e-07 | 0.0040884 | 0.0040885 | 0.0040885 | 0.97994 | -0.38734 | 0.97988 | -0.38844 | 1.1232
5 | 0.0047969 | 0.0012021 | -0.0047966 | -0.0012021 | 2.7427e-07 | 6.6238e-10 | 0.0072713 | 0.0072713 | 0.0072713 | 0.98165 | -0.35386 | 0.98158 | -0.35507 | 1.9976
6 | -0.021742 | -0.0054567 | 0.021754 | 0.0054639 | 1.1732e-05 | 7.1443e-06 | 0.03296 | 0.03296 | 0.03296 | 0.98165 | -0.35386 | 0.98222 | -0.34256 | 9.0549
7 | 0.00091369 | 0.00022887 | -0.00091369 | -0.00022899 | 7.2315e-09 | -1.2155e-07 | 0.0013875 | 0.0013875 | 0.0013875 | 0.97988 | -0.38844 | 0.97987 | -0.3886 | 0.38118
8 | -0.043726 | -0.010971 | 0.043776 | 0.011002 | 4.9996e-05 | 3.1612e-05 | 0.066247 | 0.066247 | 0.066247 | 0.98222 | -0.34256 | 0.98345 | -0.3186 | 18.1997
9 | -0.043776 | -0.011002 | 0.04384 | 0.011043 | 6.4036e-05 | 4.0488e-05 | 0.066247 | 0.066246 | 0.066247 | 0.98345 | -0.3186 | 0.98502 | -0.28801 | 18.1996
10 | 0.0081013 | 0.0020291 | -0.0081009 | -0.002029 | 4.2777e-07 | 1.7549e-07 | 0.012196 | 0.012196 | 0.012196 | 0.98838 | -0.223 | 0.98833 | -0.22411 | 3.3506
11 | -0.014387 | -0.0036045 | 0.014387 | 0.0036048 | 4.7261e-07 | 2.6804e-07 | 0.021659 | 0.021659 | 0.021659 | 0.98838 | -0.223 | 0.98842 | -0.22231 | 5.9503
12 | 0.0041977 | 0.0010508 | -0.0041976 | -0.0010508 | 1.3372e-07 | -2.8833e-08 | 0.0063196 | 0.0063196 | 0.0063196 | 0.98833 | -0.22411 | 0.98829 | -0.22478 | 1.7362
13 | 0.0050926 | 0.0012761 | -0.0050921 | -0.001276 | 5.0789e-07 | 2.9746e-08 | 0.0076666 | 0.0076667 | 0.0076667 | 0.98842 | -0.22231 | 0.98831 | -0.22441 | 2.1062
14 | -0.01948 | -0.0048808 | 0.019486 | 0.0048844 | 5.9906e-06 | 3.5958e-06 | 0.029326 | 0.029326 | 0.029326 | 0.98842 | -0.22231 | 0.98875 | -0.21586 | 8.0566
15 | 0.0011398 | 0.00028442 | -0.0011397 | -0.00028557 | 1.0479e-07 | -1.149e-06 | 0.0017157 | 0.0017161 | 0.0017161 | 0.98829 | -0.22478 | 0.98819 | -0.22672 | 0.47146
16 | 0.0050921 | 0.001276 | -0.0050913 | -0.001276 | 8.6449e-07 | 5.0798e-08 | 0.0076667 | 0.0076669 | 0.0076669 | 0.98831 | -0.22441 | 0.98813 | -0.22797 | 2.1063
17 | -0.025045 | -0.0062776 | 0.02505 | 0.0062806 | 4.8973e-06 | 3.0163e-06 | 0.037691 | 0.037691 | 0.037691 | 0.98875 | -0.21586 | 0.98896 | -0.21176 | 10.3547
18 | 0.0011397 | 0.00028557 | -0.0011397 | -0.00028563 | 5.5324e-09 | -6.0636e-08 | 0.0017161 | 0.0017161 | 0.0017161 | 0.98819 | -0.22672 | 0.98819 | -0.22682 | 0.47147
19 | -0.034559 | -0.0086638 | 0.034567 | 0.008669 | 8.3615e-06 | 5.2455e-06 | 0.051999 | 0.051999 | 0.051999 | 0.98896 | -0.21176 | 0.98922 | -0.20668 | 14.2854
20 | -0.0046848 | -0.0011741 | 0.0046855 | 0.0011741 | 6.875e-07 | -3.5977e-08 | 0.0070398 | 0.0070397 | 0.0070398 | 0.99024 | -0.18704 | 0.99039 | -0.18396 | 1.934
21 | 0.08236 | 0.020826 | -0.08226 | -0.020762 | 0.00010043 | 6.4048e-05 | 0.12381 | 0.12381 | 0.12381 | 0.99039 | -0.18396 | 0.98908 | -0.20942 | 34.0131
22 | 0.038176 | 0.0095891 | -0.038135 | -0.0095631 | 4.1335e-05 | 2.6024e-05 | 0.057365 | 0.057365 | 0.057365 | 0.99039 | -0.18396 | 0.98922 | -0.20668 | 15.7596
23 | -0.12522 | -0.031589 | 0.1254 | 0.0317 | 0.00017379 | 0.00011106 | 0.18821 | 0.18821 | 0.18821 | 0.99039 | -0.18396 | 0.9919 | -0.15502 | 51.7066
24 | -0.046188 | -0.011631 | 0.046227 | 0.011656 | 3.9257e-05 | 2.485e-05 | 0.069794 | 0.069793 | 0.069794 | 0.98502 | -0.28801 | 0.98594 | -0.27025 | 19.174
25 | -0.048881 | -0.012321 | 0.048922 | 0.012347 | 4.0657e-05 | 2.5767e-05 | 0.073799 | 0.073799 | 0.073799 | 0.98594 | -0.27025 | 0.98683 | -0.25289 | 20.2745
26 | 0.0026542 | 0.00066493 | -0.002654 | -0.00066516 | 1.5136e-07 | -2.2391e-07 | 0.0040057 | 0.0040058 | 0.0040058 | 0.98594 | -0.27025 | 0.98587 | -0.27145 | 1.1005
27 | -0.064657 | -0.016291 | 0.064701 | 0.016319 | 4.3843e-05 | 2.7902e-05 | 0.097526 | 0.097526 | 0.097526 | 0.98683 | -0.25289 | 0.98756 | -0.23872 | 26.7929
28 | 0.015735 | 0.0039447 | -0.015733 | -0.0039433 | 2.2751e-06 | 1.3184e-06 | 0.023727 | 0.023727 | 0.023727 | 0.98683 | -0.25289 | 0.98668 | -0.25592 | 6.5185
29 | -0.16001 | -0.040444 | 0.16005 | 0.040466 | 3.4628e-05 | 2.2079e-05 | 0.23992 | 0.23992 | 0.23992 | 0.99293 | -0.1351 | 0.99316 | -0.13059 | 32.9558
30 | 0.1524 | 0.038536 | -0.15225 | -0.038443 | 0.00014544 | 9.27e-05 | 0.22851 | 0.22851 | 0.22851 | 0.99293 | -0.1351 | 0.9919 | -0.15502 | 31.3886
31 | -0.16519 | -0.041755 | 0.16565 | 0.042051 | 0.0004643 | 0.00029611 | 0.24762 | 0.24762 | 0.24762 | 0.99316 | -0.13059 | 0.99621 | -0.072153 | 34.0142
32 | 0.026859 | 0.0067429 | -0.026835 | -0.0067281 | 2.3895e-05 | 1.4787e-05 | 0.040297 | 0.040298 | 0.040298 | 0.9919 | -0.15502 | 0.99093 | -0.17369 | 11.0708
33 | 0.0032646 | 0.0008174 | -0.0032644 | -0.00081755 | 1.8392e-07 | -1.5087e-07 | 0.004876 | 0.0048761 | 0.0048761 | 0.99621 | -0.072153 | 0.99615 | -0.073336 | 1.3396
34 | -0.16892 | -0.042868 | 0.16901 | 0.042923 | 8.6034e-05 | 5.4874e-05 | 0.2525 | 0.2525 | 0.2525 | 0.99621 | -0.072153 | 0.99677 | -0.06157 | 34.6839
35 | 0.022405 | 0.0056177 | -0.022404 | -0.0056169 | 1.4165e-06 | 8.6355e-07 | 0.033645 | 0.033645 | 0.033645 | 0.99093 | -0.17369 | 0.99086 | -0.17502 | 9.2431
36 | 0.001388 | 0.00034728 | -0.0013879 | -0.00034785 | 7.6235e-08 | -5.6688e-07 | 0.0020732 | 0.0020734 | 0.0020734 | 0.99615 | -0.073336 | 0.99609 | -0.07449 | 0.56961
37 | -0.1996 | -0.050607 | 0.2002 | 0.050986 | 0.00059261 | 0.00037834 | 0.29818 | 0.29818 | 0.29818 | 0.99677 | -0.06157 | 1 | 0 | 40.9591
38 | 0.030598 | 0.0076844 | -0.030585 | -0.0076763 | 1.2939e-05 | 8.0655e-06 | 0.045684 | 0.045684 | 0.045684 | 0.99677 | -0.06157 | 0.99631 | -0.070436 | 12.5505
39 | 0.080581 | 0.020341 | -0.080541 | -0.020315 | 3.9969e-05 | 2.5487e-05 | 0.12128 | 0.12128 | 0.12128 | 0.98908 | -0.20942 | 0.98854 | -0.21978 | 33.3192
40 | 0.015704 | 0.0039377 | -0.015698 | -0.0039342 | 6.1646e-06 | 3.5648e-06 | 0.023584 | 0.023584 | 0.023584 | 0.99086 | -0.17502 | 0.99044 | -0.18326 | 6.479
41 | 0.053524 | 0.013462 | -0.053437 | -0.013407 | 8.7105e-05 | 5.5268e-05 | 0.079662 | 0.079662 | 0.079662 | 1 | 0 | 0.99822 | -0.034128 | 21.8852
42 | 0.13164 | 0.034104 | -0.13143 | -0.033973 | 0.00020658 | 0.00013146 | 0.19628 | 0.19628 | 0.19628 | 1 | 0 | 0.99829 | -0.032152 | 26.9616
43 | 0.026336 | 0.0066113 | -0.026331 | -0.0066081 | 5.1877e-06 | 3.2037e-06 | 0.039337 | 0.039337 | 0.039337 | 0.99631 | -0.070436 | 0.99609 | -0.074567 | 10.807
44 | 0.075694 | 0.019101 | -0.075659 | -0.019079 | 3.4671e-05 | 2.2098e-05 | 0.11399 | 0.11399 | 0.11399 | 0.98854 | -0.21978 | 0.98805 | -0.22935 | 31.3148
45 | -0.01286 | -0.0032231 | 0.012861 | 0.0032236 | 9.5318e-07 | 5.2375e-07 | 0.019396 | 0.019396 | 0.019396 | 0.9866 | -0.25748 | 0.98668 | -0.25592 | 5.3286
46 | 0.007354 | 0.0018431 | -0.0073534 | -0.0018429 | 5.9159e-07 | 2.1488e-07 | 0.011092 | 0.011092 | 0.011092 | 0.9866 | -0.25748 | 0.98651 | -0.25917 | 3.0471
47 | 0.0049033 | 0.0012288 | -0.004903 | -0.0012288 | 3.0502e-07 | 5.3697e-09 | 0.0073959 | 0.007396 | 0.007396 | 0.98651 | -0.25917 | 0.98644 | -0.26047 | 2.0319
48 | -0.072369 | -0.018241 | 0.072402 | 0.018262 | 3.2469e-05 | 2.0687e-05 | 0.10908 | 0.10908 | 0.10908 | 0.98756 | -0.23872 | 0.98805 | -0.22935 | 29.9671
49 | 0.0076681 | 0.0019221 | -0.007666 | -0.0019213 | 2.0973e-06 | 8.064e-07 | 0.011554 | 0.011554 | 0.011554 | 0.98756 | -0.23872 | 0.98727 | -0.24446 | 3.1742
50 | 0.0056566 | 0.0014177 | -0.0056565 | -0.0014177 | 4.595e-08 | 7.8516e-09 | 0.0085256 | 0.0085256 | 0.0085256 | 0.98727 | -0.24446 | 0.98726 | -0.24463 | 2.3422
51 | 0.018332 | 0.0045963 | -0.018326 | -0.0045929 | 5.7956e-06 | 3.4387e-06 | 0.027327 | 0.027327 | 0.027327 | 0.99822 | -0.034128 | 0.99788 | -0.040764 | 7.5074
52 | 0.035106 | 0.0088108 | -0.035071 | -0.0087892 | 3.4379e-05 | 2.1566e-05 | 0.052335 | 0.052336 | 0.052336 | 0.99822 | -0.034128 | 0.99716 | -0.054684 | 14.3779
53 | 0.12514 | 0.032396 | -0.12496 | -0.032283 | 0.00017575 | 0.00011231 | 0.1869 | 0.1869 | 0.1869 | 0.99829 | -0.032152 | 0.99675 | -0.060938 | 51.346
54 | 0.026331 | 0.0066081 | -0.026309 | -0.0065945 | 2.2039e-05 | 1.3611e-05 | 0.039337 | 0.039338 | 0.039338 | 0.99609 | -0.074567 | 0.99518 | -0.092134 | 10.807
55 | -0.010317 | -0.0025854 | 0.010319 | 0.0025863 | 1.8591e-06 | 9.194e-07 | 0.01543 | 0.01543 | 0.01543 | 0.9949 | -0.097657 | 0.99509 | -0.093875 | 4.2391
56 | 0.0075367 | 0.0018886 | -0.0075355 | -0.0018882 | 1.1948e-06 | 4.3913e-07 | 0.011272 | 0.011272 | 0.011272 | 0.9949 | -0.097657 | 0.99472 | -0.10099 | 3.0968
57 | -0.015607 | -0.0039118 | 0.015609 | 0.0039125 | 1.2943e-06 | 7.4601e-07 | 0.023339 | 0.023339 | 0.023339 | 0.99509 | -0.093875 | 0.99518 | -0.092134 | 6.4117
58 | 0.0043474 | 0.0010892 | -0.0043472 | -0.0010892 | 2.0779e-07 | -3.7085e-08 | 0.0065032 | 0.0065032 | 0.0065032 | 0.99472 | -0.10099 | 0.99467 | -0.10199 | 1.7866
59 | 0.0107 | 0.002682 | -0.010699 | -0.0026814 | 1.2329e-06 | 6.2219e-07 | 0.015999 | 0.015999 | 0.015999 | 0.99518 | -0.092134 | 0.99506 | -0.094553 | 4.3953
60 | 0.0043472 | 0.0010892 | -0.0043471 | -0.0010892 | 7.9869e-08 | -1.4249e-08 | 0.0065032 | 0.0065033 | 0.0065033 | 0.99467 | -0.10199 | 0.99465 | -0.10238 | 1.7866
61 | 0.0082637 | 0.0020711 | -0.0082624 | -0.0020705 | 1.3438e-06 | 5.5529e-07 | 0.012358 | 0.012358 | 0.012358 | 0.99506 | -0.094553 | 0.99488 | -0.097967 | 3.395
62 | 0.0043471 | 0.0010892 | -0.0043465 | -0.0010893 | 6.402e-07 | -1.141e-07 | 0.0065033 | 0.0065035 | 0.0065035 | 0.99465 | -0.10238 | 0.99449 | -0.10547 | 1.7867
63 | 0.0053035 | 0.001329 | -0.0053033 | -0.0013289 | 1.7313e-07 | 1.5526e-08 | 0.0079322 | 0.0079322 | 0.0079322 | 0.99488 | -0.097967 | 0.99485 | -0.098652 | 2.1792
64 | 0.11459 | 0.029484 | -0.11416 | -0.02921 | 0.00042991 | 0.00027465 | 0.17213 | 0.17213 | 0.17213 | 0.99213 | -0.14836 | 0.98806 | -0.22583 | 47.2892
65 | -0.11948 | -0.030711 | 0.11999 | 0.031037 | 0.00050982 | 0.00032574 | 0.17948 | 0.17948 | 0.17948 | 0.99213 | -0.14836 | 0.99675 | -0.060938 | 49.3067
66 | 0.0048966 | 0.0012271 | -0.004896 | -0.0012271 | 5.9958e-07 | 9.7111e-10 | 0.007344 | 0.0073442 | 0.0073442 | 0.99213 | -0.14836 | 0.992 | -0.15093 | 2.0176
67 | 0.11416 | 0.02921 | -0.11381 | -0.028989 | 0.00034576 | 0.00022089 | 0.17213 | 0.17213 | 0.17213 | 0.98806 | -0.22583 | 0.9848 | -0.2886 | 47.2892
68 | 0.0049728 | 0.0012462 | -0.0049722 | -0.0012461 | 5.8643e-07 | 5.5058e-09 | 0.0074236 | 0.0074237 | 0.0074237 | 0.99675 | -0.060938 | 0.99663 | -0.063414 | 2.0395
69 | 0.0024245 | 0.00060745 | -0.0024244 | -0.00060762 | 8.3727e-08 | -1.6686e-07 | 0.0036263 | 0.0036264 | 0.0036264 | 0.99485 | -0.098652 | 0.99481 | -0.099377 | 0.99627
70 | 0.0049525 | 0.0012407 | -0.0049523 | -0.0012407 | 2.3372e-07 | 7.288e-10 | 0.0073903 | 0.0073903 | 0.0073903 | 0.99716 | -0.054684 | 0.9971 | -0.055675 | 2.0303
71 | 0.0040047 | 0.0010035 | -0.0040044 | -0.0010036 | 2.2959e-07 | -7.6637e-08 | 0.0059763 | 0.0059763 | 0.0059763 | 0.9971 | -0.055675 | 0.99704 | -0.056879 | 1.6419
72 | 0.00094762 | 0.00023716 | -0.0009476 | -0.00023749 | 1.9796e-08 | -3.3164e-07 | 0.0014141 | 0.0014142 | 0.0014142 | 0.9971 | -0.055675 | 0.99708 | -0.056114 | 0.38851
73 | -0.033023 | -0.0082841 | 0.033025 | 0.0082858 | 2.8172e-06 | 1.7667e-06 | 0.050619 | 0.050619 | 0.050619 | 0.9708 | -0.56174 | 0.97089 | -0.55995 | 13.9062
74 | 0.033023 | 0.0082841 | -0.033001 | -0.0082707 | 2.1253e-05 | 1.3329e-05 | 0.050619 | 0.050619 | 0.050619 | 0.9708 | -0.56174 | 0.97012 | -0.57525 | 13.9063
75 | -0.054993 | -0.013796 | 0.055041 | 0.013827 | 4.8424e-05 | 3.0766e-05 | 0.084288 | 0.084288 | 0.084288 | 0.97089 | -0.55995 | 0.97183 | -0.54149 | 23.1561
76 | 0.021967 | 0.0055102 | -0.021965 | -0.0055087 | 2.5842e-06 | 1.5787e-06 | 0.033669 | 0.033669 | 0.033669 | 0.97089 | -0.55995 | 0.97077 | -0.56242 | 9.2498
77 | 0.003933 | 0.00098553 | -0.0039327 | -0.00098562 | 3.4694e-07 | -9.1812e-08 | 0.0060326 | 0.0060327 | 0.0060327 | 0.97012 | -0.57525 | 0.97003 | -0.5771 | 1.6573
78 | -0.0060299 | -0.0015095 | 0.0060301 | 0.0015095 | 2.2339e-07 | 5.426e-08 | 0.0091768 | 0.0091768 | 0.0091768 | 0.97768 | -0.42658 | 0.97772 | -0.42581 | 2.5211
79 | 0.0025015 | 0.00062518 | -0.0025014 | -0.00062537 | 1.1122e-07 | -1.8546e-07 | 0.0038066 | 0.0038067 | 0.0038067 | 0.97768 | -0.42658 | 0.97763 | -0.42752 | 1.0458
80 | 0.087707 | 0.022194 | -0.08743 | -0.022017 | 0.00027684 | 0.00017666 | 0.13356 | 0.13356 | 0.13356 | 0.97772 | -0.42581 | 0.97435 | -0.4918 | 36.6924
81 | -0.093737 | -0.023703 | 0.094033 | 0.023892 | 0.00029613 | 0.00018904 | 0.14274 | 0.14274 | 0.14274 | 0.97772 | -0.42581 | 0.98109 | -0.36017 | 39.2134
82 | 0.0025014 | 0.00062537 | -0.0025008 | -0.00062641 | 6.2542e-07 | -1.0422e-06 | 0.0038067 | 0.0038072 | 0.0038072 | 0.97763 | -0.42752 | 0.97737 | -0.43277 | 1.0459
83 | 0.078988 | 0.019901 | -0.0788 | -0.019781 | 0.00018726 | 0.00011942 | 0.12067 | 0.12067 | 0.12067 | 0.97435 | -0.4918 | 0.97183 | -0.54149 | 33.1502
84 | 0.0084425 | 0.0021162 | -0.0084411 | -0.0021155 | 1.4253e-06 | 6.2748e-07 | 0.012893 | 0.012894 | 0.012894 | 0.97435 | -0.4918 | 0.97417 | -0.49535 | 3.5422
85 | -0.10443 | -0.026498 | 0.1047 | 0.026672 | 0.00027282 | 0.00017424 | 0.1585 | 0.1585 | 0.1585 | 0.98109 | -0.36017 | 0.98389 | -0.306 | 43.545
86 | 0.0025008 | 0.00062641 | -0.0025006 | -0.00062671 | 1.7845e-07 | -2.9717e-07 | 0.0038072 | 0.0038074 | 0.0038074 | 0.97737 | -0.43277 | 0.97729 | -0.43427 | 1.046
87 | 0.0050317 | 0.0012611 | -0.0050316 | -0.001261 | 1.0575e-07 | 8.2454e-09 | 0.0076858 | 0.0076858 | 0.0076858 | 0.97417 | -0.49535 | 0.97415 | -0.49579 | 2.1115
88 | -0.1047 | -0.026672 | 0.10479 | 0.026728 | 8.798e-05 | 5.6188e-05 | 0.1585 | 0.1585 | 0.1585 | 0.98389 | -0.306 | 0.9848 | -0.2886 | 43.5449
89 | -0.021954 | -0.0055023 | 0.021965 | 0.0055087 | 1.0463e-05 | 6.3924e-06 | 0.033669 | 0.033669 | 0.033669 | 0.97026 | -0.57241 | 0.97077 | -0.56242 | 9.2499

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38701 | 0.098552

## res_load
| p_mw | q_mvar
0 | 0.013526 | 0.00339
1 | 0.0003694 | 9.2579e-05
2 | 0.00033134 | 8.3042e-05
3 | 0.0017787 | 0.00044578
4 | 0.0047966 | 0.0012021
5 | 0.021972 | 0.0055068
6 | 0.00091369 | 0.00022899
7 | 0.0062857 | 0.0015753
8 | 0.0039031 | 0.00097822
9 | 0.0030578 | 0.00076636
10 | 0.0055587 | 0.0013931
11 | 0.0050913 | 0.001276
12 | 0.0095091 | 0.0023832
13 | 0.0011397 | 0.00028563
14 | 0.0046848 | 0.0011741
15 | 0.0035674 | 0.00089407
16 | 0.002348 | 0.00058847
17 | 0.002654 | 0.00066516
18 | 0.0076133 | 0.0019081
19 | 0.0051426 | 0.0012889
20 | 0.0044303 | 0.0011103
21 | 0.0018764 | 0.00047027
22 | 0.0016787 | 0.00042073
23 | 0.0066998 | 0.0016791
24 | 0.0013879 | 0.00034785
25 | 0.0042492 | 0.001065
26 | 0.004847 | 0.0012148
27 | 0.015698 | 0.0039342
28 | 0.0055062 | 0.00138
29 | 0.0028719 | 0.00071977
30 | 0.0024501 | 0.00061406
31 | 0.004903 | 0.0012288
32 | 0.0032575 | 0.0008164
33 | 0.0020094 | 0.00050361
34 | 0.0056565 | 0.0014177
35 | 0.0062937 | 0.0015773
36 | 0.0027801 | 0.00069675
37 | 0.0052888 | 0.0013255
38 | 0.0031881 | 0.00079901
39 | 0.0024351 | 0.00061029
40 | 0.0029589 | 0.00074157
41 | 0.0043465 | 0.0010893
42 | 0.004896 | 0.0012271
43 | 0.0049722 | 0.0012461
44 | 0.0028788 | 0.0007215
45 | 0.0024244 | 0.00060762
46 | 0.018326 | 0.0045929
47 | 0.030119 | 0.0075485
48 | 0.0040044 | 0.0010036
49 | 0.0009476 | 0.00023749
50 | 0.029068 | 0.0072852
51 | 0.0035284 | 0.0008843
52 | 0.010396 | 0.0026054
53 | 0.023759 | 0.0059546
54 | 0.0034094 | 0.00085447
55 | 0.0025006 | 0.00062671
56 | 0.0050316 | 0.001261
57 | 0.0090201 | 0.0022607
58 | 0.021954 | 0.0055023
59 | 0.0039327 | 0.00098562

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1