## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_120-6_1_3_node_398 | 0.4 | n |  | TRUE
1 | bus_LV_120-6_1_3_node_399 | 0.4 | n |  | TRUE
2 | bus_LV_120-6_1_3_node_400 | 0.4 | n |  | TRUE
3 | bus_LV_120-6_1_3_node_157 | 0.4 | n |  | TRUE
4 | bus_LV_120-6_1_3_node_176 | 0.4 | n |  | TRUE
5 | bus_LV_120-6_1_3_node_148 | 0.4 | n |  | TRUE
6 | bus_LV_120-6_1_3_node_149 | 0.4 | n |  | TRUE
7 | bus_LV_120-6_1_3_node_150 | 0.4 | n |  | TRUE
8 | bus_LV_120-6_1_3_node_151 | 0.4 | n |  | TRUE
9 | bus_LV_120-6_1_3_node_152 | 0.4 | n |  | TRUE
10 | bus_LV_120-6_1_3_node_153 | 0.4 | n |  | TRUE
11 | bus_LV_120-6_1_3_node_158 | 0.4 | n |  | TRUE
12 | bus_LV_120-6_1_3_node_159 | 0.4 | n |  | TRUE
13 | bus_LV_120-6_1_3_node_160 | 0.4 | n |  | TRUE
14 | bus_LV_120-6_1_3_node_161 | 0.4 | n |  | TRUE
15 | bus_LV_120-6_1_3_node_154 | 0.4 | n |  | TRUE
16 | bus_LV_120-6_1_3_node_155 | 0.4 | n |  | TRUE
17 | bus_LV_120-6_1_3_node_166 | 0.4 | n |  | TRUE
18 | bus_LV_120-6_1_3_node_167 | 0.4 | n |  | TRUE
19 | bus_LV_120-6_1_3_node_156 | 0.4 | n |  | TRUE
20 | bus_LV_120-6_1_3_node_724 | 0.4 | n |  | TRUE
21 | bus_LV_120-6_1_3_node_723 | 0.4 | n |  | TRUE
22 | bus_LV_120-6_1_3_node_403 | 0.4 | n |  | TRUE
23 | bus_LV_120-6_1_3_node_172 | 0.4 | n |  | TRUE
24 | bus_LV_120-6_1_3_node_212 | 0.4 | n |  | TRUE
25 | bus_LV_120-6_1_3_node_671 | 0.4 | n |  | TRUE
26 | bus_LV_120-6_1_3_node_168 | 0.4 | n |  | TRUE
27 | bus_LV_120-6_1_3_node_169 | 0.4 | n |  | TRUE
28 | bus_LV_120-6_1_3_node_170 | 0.4 | n |  | TRUE
29 | bus_LV_120-6_1_3_node_171 | 0.4 | n |  | TRUE
30 | bus_LV_120-6_1_3_node_203 | 0.4 | n |  | TRUE
31 | bus_LV_120-6_1_3_node_200 | 0.4 | n |  | TRUE
32 | bus_LV_120-6_1_3_node_211 | 0.4 | n |  | TRUE
33 | bus_LV_120-6_1_3_node_173 | 0.4 | n |  | TRUE
34 | bus_LV_120-6_1_3_node_174 | 0.4 | n |  | TRUE
35 | bus_LV_120-6_1_3_node_175 | 0.4 | n |  | TRUE
36 | bus_LV_120-6_1_3_node_721 | 0.4 | n |  | TRUE
37 | bus_LV_120-6_1_3_node_217 | 0.4 | n |  | TRUE
38 | bus_LV_120-6_1_3_node_199 | 0.4 | n |  | TRUE
39 | bus_LV_120-6_1_3_node_201 | 0.4 | n |  | TRUE
40 | bus_LV_120-6_1_3_node_202 | 0.4 | n |  | TRUE
41 | bus_LV_120-6_1_3_node_204 | 0.4 | n |  | TRUE
42 | bus_LV_120-6_1_3_node_218 | 0.4 | n |  | TRUE
43 | bus_LV_120-6_1_3_node_715 | 0.4 | n |  | TRUE
44 | bus_LV_120-6_1_3_node_718 | 0.4 | n |  | TRUE
45 | bus_LV_120-6_1_3_node_716 | 0.4 | n |  | TRUE
46 | bus_LV_120-6_1_3_node_717 | 0.4 | n |  | TRUE
47 | bus_LV_120-6_1_3_node_719 | 0.4 | n |  | TRUE
48 | bus_LV_120-6_1_3_node_213 | 0.4 | n |  | TRUE
49 | bus_LV_120-6_1_3_node_214 | 0.4 | n |  | TRUE
50 | bus_LV_120-6_1_3_node_215 | 0.4 | n |  | TRUE
51 | bus_LV_120-6_1_3_node_216 | 0.4 | n |  | TRUE
52 | bus_LV_120-6_1_3_node_729 | 0.4 | n |  | TRUE
53 | bus_LV_120-6_1_3_node_734 | 0.4 | n |  | TRUE
54 | bus_LV_120-6_1_3_node_727 | 0.4 | n |  | TRUE
55 | bus_LV_120-6_1_3_node_728 | 0.4 | n |  | TRUE
56 | bus_LV_120-6_1_3_node_730 | 0.4 | n |  | TRUE
57 | bus_LV_120-6_1_3_node_731 | 0.4 | n |  | TRUE
58 | bus_LV_120-6_1_3_node_732 | 0.4 | n |  | TRUE
59 | bus_LV_120-6_1_3_node_733 | 0.4 | n |  | TRUE
60 | bus_LV_120-6_1_3_node_735 | 0.4 | n |  | TRUE
61 | bus_MV_10_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_120-6_1_3_load_398 | 0 | 0.0015521 | 0.00038899 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_120-6_1_3_load_399 | 1 | 0.00080683 | 0.00020221 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_120-6_1_3_load_176 | 4 | 0.0047596 | 0.0011929 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_120-6_1_3_load_148 | 5 | 0.0005408 | 0.00013554 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_120-6_1_3_load_152 | 9 | 0.0061931 | 0.0015521 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_120-6_1_3_load_158 | 11 | 0.00077906 | 0.00019525 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_120-6_1_3_load_161 | 14 | 0.0069687 | 0.0017465 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_120-6_1_3_load_166 | 17 | 0.017574 | 0.0044044 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_120-6_1_3_load_167 | 18 | 0.0060681 | 0.0015208 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_120-6_1_3_load_723 | 21 | 0.0036124 | 0.00090535 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_120-6_1_3_load_403 | 22 | 0.0012381 | 0.0003103 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_120-6_1_3_load_172 | 23 | 0.000801 | 0.00020075 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_120-6_1_3_load_212 | 24 | 0.0060713 | 0.0015216 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_120-6_1_3_load_671 | 25 | 0.00087645 | 0.00021966 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_120-6_1_3_load_168 | 26 | 0.010339 | 0.0025911 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_120-6_1_3_load_171 | 29 | 0.0017031 | 0.00042685 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_120-6_1_3_load_200 | 31 | 0.00065403 | 0.00016391 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_120-6_1_3_load_211 | 32 | 0.003173 | 0.00079523 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_120-6_1_3_load_174 | 34 | 0.0092162 | 0.0023098 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_120-6_1_3_load_175 | 35 | 0.00086815 | 0.00021758 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_120-6_1_3_load_721 | 36 | 0.00055913 | 0.00014013 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_120-6_1_3_load_217 | 37 | 0.00073938 | 0.00018531 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_120-6_1_3_load_199 | 38 | 0.0083019 | 0.0020807 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_120-6_1_3_load_201 | 39 | 0.0058969 | 0.0014779 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_120-6_1_3_load_202 | 40 | 0.0019621 | 0.00049175 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_120-6_1_3_load_204 | 41 | 0.00092411 | 0.0002316 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_120-6_1_3_load_715 | 43 | 0.00054357 | 0.00013623 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_120-6_1_3_load_716 | 45 | 0.016926 | 0.004242 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_120-6_1_3_load_717 | 46 | 0.00092297 | 0.00023132 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_120-6_1_3_load_719 | 47 | 0.0030547 | 0.00076559 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_120-6_1_3_load_215 | 50 | 0.0049334 | 0.0012364 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_120-6_1_3_load_216 | 51 | 0.040291 | 0.010098 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_120-6_1_3_load_729 | 52 | 0.00057874 | 0.00014505 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_120-6_1_3_load_734 | 53 | 0.00089131 | 0.00022338 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_120-6_1_3_load_727 | 54 | 0.0010256 | 0.00025703 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_120-6_1_3_load_728 | 55 | 0.00093745 | 0.00023495 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_120-6_1_3_load_730 | 56 | 0.0042269 | 0.0010594 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_120-6_1_3_load_732 | 58 | 0.0043484 | 0.0010898 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_120-6_1_3_load_733 | 59 | 0.0037923 | 0.00095044 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_120-6_1_3_load_735 | 60 | 0.0055542 | 0.001392 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_120-6_1_3_line_0 |  | 0 | 1 | 0.041809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_120-6_1_3_line_1 |  | 0 | 2 | 0.19631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_120-6_1_3_line_2 |  | 2 | 3 | 0.013195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_120-6_1_3_line_3 |  | 2 | 4 | 0.017699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_120-6_1_3_line_4 |  | 3 | 22 | 0.010006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_120-6_1_3_line_5 |  | 4 | 35 | 0.040101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_120-6_1_3_line_6 |  | 5 | 6 | 0.0035459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_120-6_1_3_line_7 |  | 5 | 7 | 0.058844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_120-6_1_3_line_8 |  | 6 | 8 | 0.012844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_120-6_1_3_line_9 |  | 6 | 9 | 0.053262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_120-6_1_3_line_10 |  | 7 | 10 | 0.006138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_120-6_1_3_line_11 |  | 8 | 11 | 0.017203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_120-6_1_3_line_12 |  | 9 | 12 | 0.025328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_120-6_1_3_line_13 |  | 10 | 13 | 0.007122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_120-6_1_3_line_14 |  | 10 | 14 | 0.024524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_120-6_1_3_line_15 |  | 11 | 23 | 0.016112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_120-6_1_3_line_16 |  | 12 | 24 | 0.0032469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_120-6_1_3_line_17 |  | 13 | 17 | 0.053694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_120-6_1_3_line_18 |  | 15 | 16 | 0.022045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_120-6_1_3_line_19 |  | 15 | 17 | 0.033925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_120-6_1_3_line_20 |  | 16 | 18 | 0.022466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_120-6_1_3_line_21 |  | 18 | 26 | 0.033953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_120-6_1_3_line_22 |  | 19 | 20 | 0.060623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_120-6_1_3_line_23 |  | 19 | 21 | 0.0286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_120-6_1_3_line_24 |  | 20 | 53 | 0.031405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_120-6_1_3_line_25 |  | 21 | 32 | 0.049568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_120-6_1_3_line_26 |  | 22 | 25 | 0.0259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_120-6_1_3_line_27 |  | 23 | 33 | 0.010932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_120-6_1_3_line_28 |  | 24 | 48 | 0.016261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_120-6_1_3_line_29 |  | 26 | 27 | 0.070807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_120-6_1_3_line_30 |  | 27 | 28 | 0.026325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_120-6_1_3_line_31 |  | 27 | 29 | 0.016138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_120-6_1_3_line_32 |  | 28 | 30 | 0.033595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_120-6_1_3_line_33 |  | 28 | 31 | 0.013922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_120-6_1_3_line_34 |  | 29 | 32 | 0.028455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_120-6_1_3_line_35 |  | 30 | 37 | 0.0075992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_120-6_1_3_line_36 |  | 30 | 42 | 0.007724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_120-6_1_3_line_37 |  | 31 | 38 | 0.031396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_120-6_1_3_line_38 |  | 33 | 34 | 0.029613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_120-6_1_3_line_39 |  | 33 | 35 | 0.010216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_120-6_1_3_line_40 |  | 36 | 37 | 0.023594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_120-6_1_3_line_41 |  | 38 | 39 | 0.030726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_120-6_1_3_line_42 |  | 39 | 40 | 0.025419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_120-6_1_3_line_43 |  | 40 | 41 | 0.028155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_120-6_1_3_line_44 |  | 41 | 43 | 0.015508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_120-6_1_3_line_45 |  | 42 | 52 | 0.025978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_120-6_1_3_line_46 |  | 43 | 44 | 0.062955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_120-6_1_3_line_47 |  | 44 | 45 | 0.035801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_120-6_1_3_line_48 |  | 45 | 46 | 0.058167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_120-6_1_3_line_49 |  | 46 | 47 | 0.018578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_120-6_1_3_line_50 |  | 48 | 49 | 0.015856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_120-6_1_3_line_51 |  | 48 | 50 | 0.021542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_120-6_1_3_line_52 |  | 49 | 51 | 0.013805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_120-6_1_3_line_53 |  | 52 | 54 | 0.0038347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_120-6_1_3_line_54 |  | 53 | 58 | 0.025606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_120-6_1_3_line_55 |  | 54 | 55 | 0.0014962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_120-6_1_3_line_56 |  | 56 | 57 | 0.022375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_120-6_1_3_line_57 |  | 57 | 58 | 0.008833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_120-6_1_3_line_58 |  | 57 | 59 | 0.02562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_120-6_1_3_line_59 |  | 59 | 60 | 0.0047016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_120-6_1_3_trafo_202 | 0.63 MVA 20/0.4 kV | 61 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2711904.6397 | 1237814.4027 | 2711908.6472 | 1237815.9099 | 2711923.3428 | 1237815.8868 | 2711946.1228 | 1237814.3432
1 | 2711915.1367 | 1237631.8759 | 2711914.5307 | 1237639.5372 | 2711904.1319 | 1237665.6952 | 2711897.8748 | 1237692.5319 | 2711884.5014 | 1237763.2913 | 2711883.4864 | 1237777.7947 | 2711884.3949 | 1237790.2105 | 2711886.294 | 1237799.0533 | 2711891.8182 | 1237807.8754 | 2711898.1579 | 1237811.9648 | 2711904.6397 | 1237814.4027
2 | 2711915.1367 | 1237631.8759 | 2711926.1375 | 1237639.2112
3 | 2711915.1367 | 1237631.8759 | 2711912.0048 | 1237622.1981 | 2711906.5738 | 1237616.9863
4 | 2711926.1375 | 1237639.2112 | 2711934.1207 | 1237645.2442 | 2711934.1207 | 1237645.2442
5 | 2711877.6403 | 1237589.2205 | 2711906.5738 | 1237616.9863
6 | 2711829.0609 | 1237542.6065 | 2711826.0672 | 1237540.7062
7 | 2711777.8287 | 1237507.2921 | 2711781.9566 | 1237511.5176 | 2711789.4499 | 1237517.4633 | 2711826.0672 | 1237540.7062
8 | 2711829.0609 | 1237542.6065 | 2711838.3448 | 1237551.5105
9 | 2711829.0609 | 1237542.6065 | 2711817.1053 | 1237563.4423 | 2711809.3494 | 1237591.5295 | 2711809.3491 | 1237591.6313
10 | 2711777.8287 | 1237507.2921 | 2711773.9776 | 1237512.079
11 | 2711838.3448 | 1237551.5105 | 2711850.7569 | 1237563.4219
12 | 2711809.2789 | 1237616.9594 | 2711809.3491 | 1237591.6313
13 | 2711773.9776 | 1237512.079 | 2711769.5066 | 1237517.6325
14 | 2711773.9776 | 1237512.079 | 2711752.4673 | 1237500.2995
15 | 2711850.7569 | 1237563.4219 | 2711862.3815 | 1237574.5775
16 | 2711809.2789 | 1237616.9594 | 2711808.3738 | 1237620.0775
17 | 2711769.5066 | 1237517.6325 | 2711764.6946 | 1237523.6134 | 2711734.019 | 1237505.3774 | 2711728.0111 | 1237513.7821
18 | 2711711.3966 | 1237477.0073 | 2711731.972 | 1237485.0785
19 | 2711731.972 | 1237485.0785 | 2711731.4837 | 1237496.545 | 2711723.0312 | 1237510.9974 | 2711728.0111 | 1237513.7821
20 | 2711711.3966 | 1237477.0073 | 2711704.3268 | 1237498.3325
21 | 2711704.3268 | 1237498.3325 | 2711702.8201 | 1237502.8775 | 2711699.7763 | 1237505.7781 | 2711697.1438 | 1237506.1289 | 2711686.0583 | 1237504.0744 | 2711675.7735 | 1237500.089
22 | 2711631.0468 | 1237408.9209 | 2711623.0503 | 1237402.3543 | 2711596.2732 | 1237396.8802 | 2711592.2116 | 1237406.8228 | 2711589.7997 | 1237418.7869
23 | 2711631.0468 | 1237408.9209 | 2711623.9797 | 1237417.3169 | 2711621.2419 | 1237422.4584 | 2711618.8715 | 1237427.7847 | 2711617.2776 | 1237433.5384
24 | 2711589.7997 | 1237418.7869 | 2711587.9054 | 1237428.1699 | 2711590.3511 | 1237444.1951 | 2711591.1056 | 1237449.7664
25 | 2711612.5216 | 1237482.2375 | 2711611.1288 | 1237476.1328 | 2711611.0967 | 1237461.3428 | 2711613.7324 | 1237446.3361 | 2711617.2776 | 1237433.5384
26 | 2711934.1207 | 1237645.2442 | 2711950.1511 | 1237665.5874
27 | 2711870.2693 | 1237582.147 | 2711862.3815 | 1237574.5775
28 | 2711803.8408 | 1237635.694 | 2711808.3738 | 1237620.0775
29 | 2711625.2443 | 1237524.703 | 2711636.9397 | 1237524.1001 | 2711644.0862 | 1237520.3315 | 2711645.9892 | 1237519.3331 | 2711647.2003 | 1237519.7229 | 2711652.1343 | 1237521.328 | 2711652.9408 | 1237519.4861 | 2711647.7716 | 1237517.5096 | 2711647.1827 | 1237515.8306 | 2711674.3807 | 1237502.5203 | 2711675.7735 | 1237500.089 | 2711675.7735 | 1237500.089
30 | 2711625.2443 | 1237524.703 | 2711625.1238 | 1237530.7055 | 2711624.8588 | 1237538.3621 | 2711624.931 | 1237551.0179
31 | 2711625.2443 | 1237524.703 | 2711624.4767 | 1237516.4265 | 2711622.5116 | 1237510.2625 | 2711622.0133 | 1237509.0006
32 | 2711626.0428 | 1237584.4429 | 2711624.2349 | 1237573.9451 | 2711624.8023 | 1237556.6532 | 2711624.931 | 1237551.0179
33 | 2711624.931 | 1237551.0179 | 2711631.7834 | 1237551.6138 | 2711638.2792 | 1237554.3363
34 | 2711612.5216 | 1237482.2375 | 2711613.9952 | 1237488.6966 | 2711622.0133 | 1237509.0006
35 | 2711626.0428 | 1237584.4429 | 2711629.2073 | 1237591.3519
36 | 2711626.0428 | 1237584.4429 | 2711623.7775 | 1237591.8283
37 | 2711666.3039 | 1237568.4761 | 2711640.4779 | 1237555.2578 | 2711638.2792 | 1237554.3363
38 | 2711870.2693 | 1237582.147 | 2711859.7885 | 1237609.8492
39 | 2711870.2693 | 1237582.147 | 2711877.6403 | 1237589.2205
40 | 2711642.1124 | 1237610.9757 | 2711640.4289 | 1237608.9548 | 2711631.8942 | 1237597.2184 | 2711629.2073 | 1237591.3519
41 | 2711693.3507 | 1237583.0293 | 2711684.1224 | 1237577.5959 | 2711666.3039 | 1237568.4761
42 | 2711693.3507 | 1237583.0293 | 2711693.3507 | 1237583.0293 | 2711697.8012 | 1237587.8056 | 2711703.3605 | 1237594.382 | 2711707.1178 | 1237601.8141 | 2711707.5491 | 1237603.7177
43 | 2711707.5491 | 1237603.7177 | 2711710.8907 | 1237618.4649 | 2711711.0184 | 1237631.498
44 | 2711711.0184 | 1237631.498 | 2711711.1524 | 1237645.1686 | 2711710.7017 | 1237646.9493
45 | 2711623.7775 | 1237591.8283 | 2711622.9956 | 1237594.3712 | 2711624.3418 | 1237597.6324 | 2711623.1141 | 1237598.1319 | 2711621.799 | 1237594.8268 | 2711620.7531 | 1237593.7063 | 2711616.9484 | 1237592.8119 | 2711614.7681 | 1237592.4595 | 2711608.6253 | 1237591.5545 | 2711607.5848 | 1237591.4313
46 | 2711700.3529 | 1237708.7489 | 2711700.6148 | 1237702.8715 | 2711701.3977 | 1237684.594 | 2711707.5471 | 1237659.412 | 2711710.7017 | 1237646.9493
47 | 2711700.3529 | 1237708.7489 | 2711703.3128 | 1237720.7474 | 2711710.1652 | 1237743.166
48 | 2711710.1652 | 1237743.166 | 2711712.6864 | 1237751.4145 | 2711730.1913 | 1237783.8583 | 2711737.5584 | 1237786.4434 | 2711740.2524 | 1237790.4994
49 | 2711740.2524 | 1237790.4994 | 2711750.5308 | 1237805.9746
50 | 2711803.8408 | 1237635.694 | 2711799.4221 | 1237650.9228
51 | 2711786.3847 | 1237645.6511 | 2711786.2962 | 1237643.1141 | 2711803.8408 | 1237635.694
52 | 2711795.5779 | 1237664.1832 | 2711799.4221 | 1237650.9228
53 | 2711603.8075 | 1237591.8197 | 2711603.8075 | 1237591.8197 | 2711605.6169 | 1237591.3756 | 2711607.0623 | 1237591.3694 | 2711607.5848 | 1237591.4313
54 | 2711591.1056 | 1237449.7664 | 2711594.5416 | 1237475.1409
55 | 2711603.8075 | 1237591.8197 | 2711602.4125 | 1237592.3606
56 | 2711595.7268 | 1237483.894 | 2711602.3871 | 1237505.2543
57 | 2711595.7268 | 1237483.894 | 2711594.5416 | 1237475.1409
58 | 2711595.7268 | 1237483.894 | 2711570.1695 | 1237485.684
59 | 2711565.4793 | 1237486.0125 | 2711570.1695 | 1237485.684

## bus_geodata
| x | y | coords
0 | 2711904.6397 | 1237814.4027
1 | 2711946.1228 | 1237814.3432
2 | 2711915.1367 | 1237631.8759
3 | 2711926.1375 | 1237639.2112
4 | 2711906.5738 | 1237616.9863
5 | 2711826.0672 | 1237540.7062
6 | 2711829.0609 | 1237542.6065
7 | 2711777.8287 | 1237507.2921
8 | 2711838.3448 | 1237551.5105
9 | 2711809.3491 | 1237591.6313
10 | 2711773.9776 | 1237512.079
11 | 2711850.7569 | 1237563.4219
12 | 2711809.2789 | 1237616.9594
13 | 2711769.5066 | 1237517.6325
14 | 2711752.4673 | 1237500.2995
15 | 2711731.972 | 1237485.0785
16 | 2711711.3966 | 1237477.0073
17 | 2711728.0111 | 1237513.7821
18 | 2711704.3268 | 1237498.3325
19 | 2711631.0468 | 1237408.9209
20 | 2711589.7997 | 1237418.7869
21 | 2711617.2776 | 1237433.5384
22 | 2711934.1207 | 1237645.2442
23 | 2711862.3815 | 1237574.5775
24 | 2711808.3738 | 1237620.0775
25 | 2711950.1511 | 1237665.5874
26 | 2711675.7735 | 1237500.089
27 | 2711625.2443 | 1237524.703
28 | 2711624.931 | 1237551.0179
29 | 2711622.0133 | 1237509.0006
30 | 2711626.0428 | 1237584.4429
31 | 2711638.2792 | 1237554.3363
32 | 2711612.5216 | 1237482.2375
33 | 2711870.2693 | 1237582.147
34 | 2711859.7885 | 1237609.8492
35 | 2711877.6403 | 1237589.2205
36 | 2711642.1124 | 1237610.9757
37 | 2711629.2073 | 1237591.3519
38 | 2711666.3039 | 1237568.4761
39 | 2711693.3507 | 1237583.0293
40 | 2711707.5491 | 1237603.7177
41 | 2711711.0184 | 1237631.498
42 | 2711623.7775 | 1237591.8283
43 | 2711710.7017 | 1237646.9493
44 | 2711700.3529 | 1237708.7489
45 | 2711710.1652 | 1237743.166
46 | 2711740.2524 | 1237790.4994
47 | 2711750.5308 | 1237805.9746
48 | 2711803.8408 | 1237635.694
49 | 2711799.4221 | 1237650.9228
50 | 2711786.3847 | 1237645.6511
51 | 2711795.5779 | 1237664.1832
52 | 2711607.5848 | 1237591.4313
53 | 2711591.1056 | 1237449.7664
54 | 2711603.8075 | 1237591.8197
55 | 2711602.4125 | 1237592.3606
56 | 2711602.3871 | 1237505.2543
57 | 2711595.7268 | 1237483.894
58 | 2711594.5416 | 1237475.1409
59 | 2711570.1695 | 1237485.684
60 | 2711565.4793 | 1237486.0125
61 | 2711624.931 | 1237551.0179

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9742 | -0.49629 | 0.0015521 | 0.00038899
1 | 0.97417 | -0.49691 | 0.00080683 | 0.00020221
2 | 0.97463 | -0.48778 | 0 | 0
3 | 0.97461 | -0.48829 | 0 | 0
4 | 0.97471 | -0.48632 | 0.0047596 | 0.0011929
5 | 0.97649 | -0.45124 | 0.0005408 | 0.00013554
6 | 0.97623 | -0.45632 | 0 | 0
7 | 0.97865 | -0.40887 | 0 | 0
8 | 0.97598 | -0.46123 | 0 | 0
9 | 0.97337 | -0.51249 | 0.0061931 | 0.0015521
10 | 0.97888 | -0.40446 | 0 | 0
11 | 0.97564 | -0.46782 | 0.00077906 | 0.00019525
12 | 0.97215 | -0.53642 | 0 | 0
13 | 0.97917 | -0.3989 | 0 | 0
14 | 0.97872 | -0.40757 | 0.0069687 | 0.0017465
15 | 0.98295 | -0.32533 | 0 | 0
16 | 0.98402 | -0.30478 | 0 | 0
17 | 0.98132 | -0.35706 | 0.017574 | 0.0044044
18 | 0.9851 | -0.28387 | 0.0060681 | 0.0015208
19 | 0.98819 | -0.22503 | 0 | 0
20 | 0.98714 | -0.24542 | 0 | 0
21 | 0.98868 | -0.21543 | 0.0036124 | 0.00090535
22 | 0.97459 | -0.48868 | 0.0012381 | 0.0003103
23 | 0.97534 | -0.47376 | 0.000801 | 0.00020075
24 | 0.972 | -0.53949 | 0.0060713 | 0.0015216
25 | 0.97457 | -0.48909 | 0.00087645 | 0.00021966
26 | 0.98683 | -0.25052 | 0.010339 | 0.0025911
27 | 0.99078 | -0.17484 | 0 | 0
28 | 0.99258 | -0.14049 | 0 | 0
29 | 0.99037 | -0.18267 | 0.0017031 | 0.00042685
30 | 0.99246 | -0.14278 | 0 | 0
31 | 0.99355 | -0.12191 | 0.00065403 | 0.00016391
32 | 0.98971 | -0.19563 | 0.003173 | 0.00079523
33 | 0.97515 | -0.47763 | 0 | 0
34 | 0.97489 | -0.48263 | 0.0092162 | 0.0023098
35 | 0.97505 | -0.47952 | 0.00086815 | 0.00021758
36 | 0.99244 | -0.14319 | 0.00055913 | 0.00014013
37 | 0.99245 | -0.14295 | 0.00073938 | 0.00018531
38 | 0.99577 | -0.079948 | 0.0083019 | 0.0020807
39 | 0.99805 | -0.03683 | 0.0058969 | 0.0014779
40 | 1 | 0 | -0.19309 | -0.049198
41 | 0.99943 | -0.010988 | 0.00092411 | 0.0002316
42 | 0.99244 | -0.14313 | 0 | 0
43 | 0.99912 | -0.016795 | 0.00054357 | 0.00013623
44 | 0.99793 | -0.039805 | 0 | 0
45 | 0.99725 | -0.052913 | 0.016926 | 0.004242
46 | 0.99704 | -0.05697 | 0.00092297 | 0.00023132
47 | 0.99699 | -0.057966 | 0.0030547 | 0.00076559
48 | 0.97131 | -0.55307 | 0 | 0
49 | 0.97071 | -0.56488 | 0 | 0
50 | 0.97121 | -0.55503 | 0.0049334 | 0.0012364
51 | 0.97019 | -0.57517 | 0.040291 | 0.010098
52 | 0.99238 | -0.1443 | 0.00057874 | 0.00014505
53 | 0.9866 | -0.25599 | 0.00089131 | 0.00022338
54 | 0.99238 | -0.14443 | 0.0010256 | 0.00025703
55 | 0.99237 | -0.14445 | 0.00093745 | 0.00023495
56 | 0.98598 | -0.26806 | 0.0042269 | 0.0010594
57 | 0.98606 | -0.26636 | 0 | 0
58 | 0.98617 | -0.26422 | 0.0043484 | 0.0010898
59 | 0.98584 | -0.27066 | 0.0037923 | 0.00095044
60 | 0.98582 | -0.27113 | 0.0055542 | 0.001392
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00080685 | 0.0002017 | -0.00080683 | -0.00020221 | 2.3809e-08 | -5.0532e-07 | 0.0012322 | 0.0012324 | 0.0012324 | 0.9742 | -0.49629 | 0.97417 | -0.49691 | 0.33857
1 | -0.0023589 | -0.00059069 | 0.0023599 | 0.00058886 | 9.5539e-07 | -1.8339e-06 | 0.0036029 | 0.003602 | 0.0036029 | 0.9742 | -0.49629 | 0.97463 | -0.48778 | 0.98981
2 | 0.0021147 | 0.00052942 | -0.0021146 | -0.00052955 | 5.1572e-08 | -1.3143e-07 | 0.0032284 | 0.0032284 | 0.0032284 | 0.97463 | -0.48778 | 0.97461 | -0.48829 | 0.88693
3 | -0.0044746 | -0.0011183 | 0.0044749 | 0.0011183 | 3.0965e-07 | -2.241e-08 | 0.0068304 | 0.0068303 | 0.0068304 | 0.97463 | -0.48778 | 0.97471 | -0.48632 | 1.8765
4 | 0.0021146 | 0.00052955 | -0.0021146 | -0.00052965 | 3.9111e-08 | -9.9661e-08 | 0.0032284 | 0.0032285 | 0.0032285 | 0.97461 | -0.48829 | 0.97459 | -0.48868 | 0.88694
5 | -0.0092344 | -0.0023111 | 0.0092374 | 0.0023125 | 2.9881e-06 | 1.4124e-06 | 0.014096 | 0.014096 | 0.014096 | 0.97471 | -0.48632 | 0.97505 | -0.47952 | 3.8726
6 | 0.078728 | 0.019856 | -0.078708 | -0.019844 | 1.9152e-05 | 1.2213e-05 | 0.12001 | 0.12001 | 0.12001 | 0.97649 | -0.45124 | 0.97623 | -0.45632 | 32.9708
7 | -0.079268 | -0.019992 | 0.079429 | 0.020094 | 0.0001611 | 0.00010163 | 0.12084 | 0.12084 | 0.12084 | 0.97649 | -0.45124 | 0.97865 | -0.40887 | 16.5986
8 | 0.020926 | 0.0052499 | -0.020921 | -0.005247 | 4.9007e-06 | 2.9759e-06 | 0.031898 | 0.031898 | 0.031898 | 0.97623 | -0.45632 | 0.97598 | -0.46123 | 8.7632
9 | 0.057783 | 0.014594 | -0.057628 | -0.014496 | 0.00015508 | 9.8589e-05 | 0.088116 | 0.088116 | 0.088116 | 0.97623 | -0.45632 | 0.97337 | -0.51249 | 24.2077
10 | -0.079429 | -0.020094 | 0.079446 | 0.020104 | 1.6805e-05 | 1.0601e-05 | 0.12084 | 0.12084 | 0.12084 | 0.97865 | -0.40887 | 0.97888 | -0.40446 | 16.5985
11 | 0.020921 | 0.005247 | -0.020914 | -0.005243 | 6.5639e-06 | 3.986e-06 | 0.031898 | 0.031898 | 0.031898 | 0.97598 | -0.46123 | 0.97564 | -0.46782 | 8.7632
12 | 0.051434 | 0.012943 | -0.051376 | -0.012906 | 5.8751e-05 | 3.7286e-05 | 0.078649 | 0.078649 | 0.078649 | 0.97337 | -0.51249 | 0.97215 | -0.53642 | 21.6068
13 | -0.086416 | -0.021851 | 0.086439 | 0.021866 | 2.3068e-05 | 1.4584e-05 | 0.13143 | 0.13143 | 0.13143 | 0.97888 | -0.40446 | 0.97917 | -0.3989 | 18.0539
14 | 0.0069698 | 0.0017469 | -0.0069687 | -0.0017465 | 1.0324e-06 | 3.5246e-07 | 0.010595 | 0.010595 | 0.010595 | 0.97888 | -0.40446 | 0.97872 | -0.40757 | 2.9107
15 | 0.020135 | 0.0050477 | -0.020129 | -0.0050443 | 5.698e-06 | 3.4456e-06 | 0.03071 | 0.03071 | 0.03071 | 0.97564 | -0.46782 | 0.97534 | -0.47376 | 8.4368
16 | 0.051376 | 0.012906 | -0.051368 | -0.012901 | 7.5315e-06 | 4.7799e-06 | 0.078649 | 0.078649 | 0.078649 | 0.97215 | -0.53642 | 0.972 | -0.53949 | 21.6068
17 | -0.086439 | -0.021866 | 0.086613 | 0.021976 | 0.00017391 | 0.00010995 | 0.13143 | 0.13143 | 0.13143 | 0.97917 | -0.3989 | 0.98132 | -0.35706 | 18.0539
18 | -0.10435 | -0.026481 | 0.10445 | 0.026546 | 0.00010329 | 6.5547e-05 | 0.15808 | 0.15808 | 0.15808 | 0.98295 | -0.32533 | 0.98402 | -0.30478 | 21.7142
19 | 0.10435 | 0.026481 | -0.10419 | -0.02638 | 0.00015896 | 0.00010087 | 0.15808 | 0.15808 | 0.15808 | 0.98295 | -0.32533 | 0.98132 | -0.35706 | 21.7142
20 | -0.10445 | -0.026546 | 0.10455 | 0.026613 | 0.00010527 | 6.6798e-05 | 0.15808 | 0.15808 | 0.15808 | 0.98402 | -0.30478 | 0.9851 | -0.28387 | 21.7142
21 | -0.11062 | -0.028134 | 0.1108 | 0.028247 | 0.00017807 | 0.0001131 | 0.16724 | 0.16724 | 0.16724 | 0.9851 | -0.28387 | 0.98683 | -0.25052 | 22.9732
22 | 0.018852 | 0.0047374 | -0.018833 | -0.0047265 | 1.8325e-05 | 1.0952e-05 | 0.028391 | 0.028392 | 0.028392 | 0.98819 | -0.22503 | 0.98714 | -0.24542 | 7.7999
23 | -0.018852 | -0.0047374 | 0.01886 | 0.0047426 | 8.645e-06 | 5.1662e-06 | 0.028391 | 0.028391 | 0.028391 | 0.98819 | -0.22503 | 0.98868 | -0.21543 | 7.7999
24 | 0.018833 | 0.0047265 | -0.018824 | -0.0047208 | 9.4933e-06 | 5.6745e-06 | 0.028392 | 0.028392 | 0.028392 | 0.98714 | -0.24542 | 0.9866 | -0.25599 | 7.8
25 | -0.022473 | -0.0056479 | 0.022494 | 0.0056609 | 2.1271e-05 | 1.2977e-05 | 0.033828 | 0.033828 | 0.033828 | 0.98868 | -0.21543 | 0.98971 | -0.19563 | 9.2934
26 | 0.00087647 | 0.00021935 | -0.00087645 | -0.00021966 | 1.7392e-08 | -3.116e-07 | 0.0013381 | 0.0013382 | 0.0013382 | 0.97459 | -0.48868 | 0.97457 | -0.48909 | 0.36764
27 | 0.019328 | 0.0048435 | -0.019325 | -0.0048414 | 3.5648e-06 | 2.145e-06 | 0.029488 | 0.029488 | 0.029488 | 0.97534 | -0.47376 | 0.97515 | -0.47763 | 8.1011
28 | 0.045297 | 0.01138 | -0.045268 | -0.011361 | 2.9331e-05 | 1.857e-05 | 0.069354 | 0.069354 | 0.069354 | 0.972 | -0.53949 | 0.97131 | -0.55307 | 19.0534
29 | -0.12114 | -0.030838 | 0.12158 | 0.03112 | 0.0004438 | 0.00028221 | 0.18283 | 0.18283 | 0.18283 | 0.98683 | -0.25052 | 0.99078 | -0.17484 | 25.1145
30 | -0.14898 | -0.03802 | 0.14923 | 0.038177 | 0.00024764 | 0.00015781 | 0.22399 | 0.22399 | 0.22399 | 0.99078 | -0.17484 | 0.99258 | -0.14049 | 30.7679
31 | 0.027396 | 0.0068992 | -0.027386 | -0.0068928 | 1.0251e-05 | 6.3532e-06 | 0.041157 | 0.041157 | 0.041157 | 0.99078 | -0.17484 | 0.99037 | -0.18267 | 11.307
32 | 0.0038409 | 0.00096152 | -0.0038405 | -0.00096169 | 4.1765e-07 | -1.6688e-07 | 0.0057577 | 0.0057578 | 0.0057578 | 0.99258 | -0.14049 | 0.99246 | -0.14278 | 1.5818
33 | -0.15307 | -0.039139 | 0.15321 | 0.039227 | 0.00013778 | 8.782e-05 | 0.22975 | 0.22975 | 0.22975 | 0.99258 | -0.14049 | 0.99355 | -0.12191 | 31.5587
34 | 0.025683 | 0.006466 | -0.025667 | -0.0064562 | 1.5897e-05 | 9.8085e-06 | 0.038598 | 0.038599 | 0.038599 | 0.99037 | -0.18267 | 0.98971 | -0.19563 | 10.604
35 | 0.0012985 | 0.00032504 | -0.0012985 | -0.00032514 | 1.08e-08 | -9.1286e-08 | 0.0019468 | 0.0019468 | 0.0019468 | 0.99246 | -0.14278 | 0.99245 | -0.14295 | 0.53484
36 | 0.002542 | 0.00063665 | -0.0025419 | -0.00063672 | 4.2069e-08 | -7.2885e-08 | 0.0038111 | 0.0038111 | 0.0038111 | 0.99246 | -0.14278 | 0.99244 | -0.14313 | 1.047
37 | -0.15386 | -0.039391 | 0.15417 | 0.03959 | 0.00031338 | 0.00019975 | 0.23073 | 0.23073 | 0.23073 | 0.99355 | -0.12191 | 0.99577 | -0.079948 | 31.6933
38 | 0.0092184 | 0.0023108 | -0.0092162 | -0.0023098 | 2.1974e-06 | 1.037e-06 | 0.014067 | 0.014067 | 0.014067 | 0.97515 | -0.47763 | 0.97489 | -0.48263 | 3.8646
39 | 0.010106 | 0.0025306 | -0.010106 | -0.0025301 | 9.1105e-07 | 4.5564e-07 | 0.015421 | 0.015421 | 0.015421 | 0.97515 | -0.47763 | 0.97505 | -0.47952 | 4.2366
40 | -0.00055913 | -0.00014013 | 0.00055913 | 0.00013983 | 6.2174e-09 | -3.009e-07 | 0.00083833 | 0.00083822 | 0.00083833 | 0.99244 | -0.14319 | 0.99245 | -0.14295 | 0.23031
41 | -0.16247 | -0.041671 | 0.16282 | 0.041888 | 0.00034056 | 0.00021715 | 0.24313 | 0.24313 | 0.24313 | 0.99577 | -0.079948 | 0.99805 | -0.03683 | 33.3973
42 | -0.16871 | -0.043366 | 0.16901 | 0.043559 | 0.00030249 | 0.00019293 | 0.25192 | 0.25192 | 0.25192 | 0.99805 | -0.03683 | 1 | 0 | 34.6049
43 | 0.022426 | 0.0056388 | -0.022414 | -0.0056317 | 1.1761e-05 | 7.1582e-06 | 0.033376 | 0.033376 | 0.033376 | 1 | 0 | 0.99943 | -0.010988 | 9.1694
44 | 0.02149 | 0.0054001 | -0.021484 | -0.0053965 | 5.9554e-06 | 3.6083e-06 | 0.032001 | 0.032001 | 0.032001 | 0.99943 | -0.010988 | 0.99912 | -0.016795 | 8.7914
45 | 0.0025419 | 0.00063672 | -0.0025418 | -0.00063696 | 1.415e-07 | -2.451e-07 | 0.0038111 | 0.0038112 | 0.0038112 | 0.99244 | -0.14313 | 0.99238 | -0.1443 | 1.047
46 | 0.02094 | 0.0052602 | -0.020917 | -0.0052464 | 2.2968e-05 | 1.3876e-05 | 0.031191 | 0.031191 | 0.031191 | 0.99912 | -0.016795 | 0.99793 | -0.039805 | 8.5691
47 | 0.020917 | 0.0052464 | -0.020904 | -0.0052385 | 1.3062e-05 | 7.892e-06 | 0.031191 | 0.031192 | 0.031192 | 0.99793 | -0.039805 | 0.99725 | -0.052913 | 8.5691
48 | 0.0039786 | 0.00099649 | -0.0039778 | -0.00099675 | 7.6871e-07 | -2.6678e-07 | 0.0059363 | 0.0059366 | 0.0059366 | 0.99725 | -0.052913 | 0.99704 | -0.05697 | 1.6309
49 | 0.0030549 | 0.00076544 | -0.0030547 | -0.00076559 | 1.4481e-07 | -1.4959e-07 | 0.0045591 | 0.0045592 | 0.0045592 | 0.99704 | -0.05697 | 0.99699 | -0.057966 | 1.2525
50 | 0.040334 | 0.010125 | -0.040311 | -0.01011 | 2.2706e-05 | 1.4336e-05 | 0.061796 | 0.061796 | 0.061796 | 0.97131 | -0.55307 | 0.97071 | -0.56488 | 16.9769
51 | 0.0049339 | 0.0012365 | -0.0049334 | -0.0012364 | 4.6152e-07 | 2.8768e-08 | 0.0075585 | 0.0075586 | 0.0075586 | 0.97131 | -0.55307 | 0.97121 | -0.55503 | 2.0765
52 | 0.040311 | 0.01011 | -0.040291 | -0.010098 | 1.9769e-05 | 1.2482e-05 | 0.061796 | 0.061796 | 0.061796 | 0.97071 | -0.56488 | 0.97019 | -0.57517 | 16.9769
53 | 0.001963 | 0.00049192 | -0.001963 | -0.00049196 | 1.2459e-08 | -4.1571e-08 | 0.0029434 | 0.0029434 | 0.0029434 | 0.99238 | -0.1443 | 0.99238 | -0.14443 | 0.80864
54 | 0.017933 | 0.0044974 | -0.017926 | -0.0044932 | 7.0248e-06 | 4.169e-06 | 0.027048 | 0.027048 | 0.027048 | 0.9866 | -0.25599 | 0.98617 | -0.26422 | 7.4307
55 | 0.00093745 | 0.00023493 | -0.00093745 | -0.00023495 | 1.1086e-09 | -1.8621e-08 | 0.0014057 | 0.0014057 | 0.0014057 | 0.99238 | -0.14443 | 0.99237 | -0.14445 | 0.38617
56 | -0.0042269 | -0.0010594 | 0.0042272 | 0.0010593 | 3.4143e-07 | -6.6877e-08 | 0.0063791 | 0.006379 | 0.0063791 | 0.98598 | -0.26806 | 0.98606 | -0.26636 | 1.7525
57 | -0.013576 | -0.0034027 | 0.013577 | 0.0034034 | 1.3902e-06 | 7.7703e-07 | 0.020487 | 0.020486 | 0.020487 | 0.98606 | -0.26636 | 0.98617 | -0.26422 | 5.6282
58 | 0.0093485 | 0.0023434 | -0.0093466 | -0.0023425 | 1.9121e-06 | 8.9702e-07 | 0.014108 | 0.014108 | 0.014108 | 0.98606 | -0.26636 | 0.98584 | -0.27066 | 3.8757
59 | 0.0055543 | 0.001392 | -0.0055542 | -0.001392 | 1.2392e-07 | 1.9362e-08 | 0.0083836 | 0.0083836 | 0.0083836 | 0.98584 | -0.27066 | 0.98582 | -0.27113 | 2.3032

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.19505 | 0.04969

## res_load
| p_mw | q_mvar
0 | 0.0015521 | 0.00038899
1 | 0.00080683 | 0.00020221
2 | 0.0047596 | 0.0011929
3 | 0.0005408 | 0.00013554
4 | 0.0061931 | 0.0015521
5 | 0.00077906 | 0.00019525
6 | 0.0069687 | 0.0017465
7 | 0.017574 | 0.0044044
8 | 0.0060681 | 0.0015208
9 | 0.0036124 | 0.00090535
10 | 0.0012381 | 0.0003103
11 | 0.000801 | 0.00020075
12 | 0.0060713 | 0.0015216
13 | 0.00087645 | 0.00021966
14 | 0.010339 | 0.0025911
15 | 0.0017031 | 0.00042685
16 | 0.00065403 | 0.00016391
17 | 0.003173 | 0.00079523
18 | 0.0092162 | 0.0023098
19 | 0.00086815 | 0.00021758
20 | 0.00055913 | 0.00014013
21 | 0.00073938 | 0.00018531
22 | 0.0083019 | 0.0020807
23 | 0.0058969 | 0.0014779
24 | 0.0019621 | 0.00049175
25 | 0.00092411 | 0.0002316
26 | 0.00054357 | 0.00013623
27 | 0.016926 | 0.004242
28 | 0.00092297 | 0.00023132
29 | 0.0030547 | 0.00076559
30 | 0.0049334 | 0.0012364
31 | 0.040291 | 0.010098
32 | 0.00057874 | 0.00014505
33 | 0.00089131 | 0.00022338
34 | 0.0010256 | 0.00025703
35 | 0.00093745 | 0.00023495
36 | 0.0042269 | 0.0010594
37 | 0.0043484 | 0.0010898
38 | 0.0037923 | 0.00095044
39 | 0.0055542 | 0.001392

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1