## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1206-3_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1206-3_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1206-3_0_8_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1206-3_0_8_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_1206-3_0_8_node_83 | 0.4 | n |  | TRUE
5 | bus_LV_1206-3_0_8_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_1206-3_0_8_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1206-3_0_8_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_1206-3_0_8_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_1206-3_0_8_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1206-3_0_8_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1206-3_0_8_node_73 | 0.4 | n |  | TRUE
12 | bus_LV_1206-3_0_8_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_1206-3_0_8_node_4 | 0.4 | n |  | TRUE
14 | bus_LV_1206-3_0_8_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1206-3_0_8_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1206-3_0_8_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1206-3_0_8_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_1206-3_0_8_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1206-3_0_8_node_93 | 0.4 | n |  | TRUE
20 | bus_LV_1206-3_0_8_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1206-3_0_8_node_94 | 0.4 | n |  | TRUE
22 | bus_LV_1206-3_0_8_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1206-3_0_8_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1206-3_0_8_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1206-3_0_8_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1206-3_0_8_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1206-3_0_8_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_1206-3_0_8_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1206-3_0_8_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1206-3_0_8_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_1206-3_0_8_node_90 | 0.4 | n |  | TRUE
32 | bus_LV_1206-3_0_8_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_1206-3_0_8_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_1206-3_0_8_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_1206-3_0_8_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_1206-3_0_8_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1206-3_0_8_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1206-3_0_8_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1206-3_0_8_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_1206-3_0_8_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1206-3_0_8_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1206-3_0_8_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_1206-3_0_8_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_1206-3_0_8_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_1206-3_0_8_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_1206-3_0_8_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_1206-3_0_8_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_1206-3_0_8_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_1206-3_0_8_node_96 | 0.4 | n |  | TRUE
50 | bus_LV_1206-3_0_8_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_1206-3_0_8_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_1206-3_0_8_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_1206-3_0_8_node_98 | 0.4 | n |  | TRUE
54 | bus_LV_1206-3_0_8_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_1206-3_0_8_node_97 | 0.4 | n |  | TRUE
56 | bus_LV_1206-3_0_8_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_1206-3_0_8_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_1206-3_0_8_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_1206-3_0_8_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_1206-3_0_8_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_1206-3_0_8_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_1206-3_0_8_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_1206-3_0_8_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_1206-3_0_8_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_1206-3_0_8_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_1206-3_0_8_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_1206-3_0_8_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_1206-3_0_8_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_1206-3_0_8_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_1206-3_0_8_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_1206-3_0_8_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_1206-3_0_8_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_1206-3_0_8_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_1206-3_0_8_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_1206-3_0_8_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_1206-3_0_8_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_1206-3_0_8_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_1206-3_0_8_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_1206-3_0_8_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_1206-3_0_8_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_1206-3_0_8_node_45 | 0.4 | n |  | TRUE
82 | bus_LV_1206-3_0_8_node_46 | 0.4 | n |  | TRUE
83 | bus_LV_1206-3_0_8_node_47 | 0.4 | n |  | TRUE
84 | bus_LV_1206-3_0_8_node_49 | 0.4 | n |  | TRUE
85 | bus_LV_1206-3_0_8_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_1206-3_0_8_node_52 | 0.4 | n |  | TRUE
87 | bus_LV_1206-3_0_8_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_1206-3_0_8_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_1206-3_0_8_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_1206-3_0_8_node_59 | 0.4 | n |  | TRUE
91 | bus_LV_1206-3_0_8_node_60 | 0.4 | n |  | TRUE
92 | bus_LV_1206-3_0_8_node_62 | 0.4 | n |  | TRUE
93 | bus_LV_1206-3_0_8_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_1206-3_0_8_node_92 | 0.4 | n |  | TRUE
95 | bus_MV_11_0_node_182 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1206-3_0_8_load_0 | 0 | 0.0078774 | 0.0019743 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1206-3_0_8_load_1 | 1 | 0.017025 | 0.0042669 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1206-3_0_8_load_83 | 4 | 0.0056495 | 0.0014159 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1206-3_0_8_load_11 | 6 | 0.0054267 | 0.0013601 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1206-3_0_8_load_24 | 7 | 0.015823 | 0.0039657 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1206-3_0_8_load_19 | 8 | 0.0078346 | 0.0019635 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1206-3_0_8_load_12 | 9 | 0.0045301 | 0.0011353 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1206-3_0_8_load_16 | 12 | 0.0042245 | 0.0010588 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1206-3_0_8_load_4 | 13 | 0.0043032 | 0.0010785 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1206-3_0_8_load_7 | 15 | 0.0057908 | 0.0014513 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1206-3_0_8_load_8 | 16 | 0.0097118 | 0.002434 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1206-3_0_8_load_72 | 17 | 0.0096644 | 0.0024221 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1206-3_0_8_load_9 | 18 | 0.0046115 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1206-3_0_8_load_93 | 19 | 0.0095829 | 0.0024017 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1206-3_0_8_load_10 | 20 | 0.0053032 | 0.0013291 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1206-3_0_8_load_94 | 21 | 0.076754 | 0.019236 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1206-3_0_8_load_13 | 22 | 0.048176 | 0.012074 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1206-3_0_8_load_14 | 23 | 0.0065692 | 0.0016464 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1206-3_0_8_load_15 | 24 | 0.005487 | 0.0013752 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1206-3_0_8_load_17 | 25 | 0.0034629 | 0.00086788 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1206-3_0_8_load_44 | 26 | 0.0050412 | 0.0012634 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1206-3_0_8_load_64 | 27 | 0.0052432 | 0.0013141 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1206-3_0_8_load_20 | 28 | 0.019946 | 0.004999 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1206-3_0_8_load_82 | 30 | 0.0038265 | 0.00095902 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1206-3_0_8_load_90 | 31 | 0.010016 | 0.0025103 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1206-3_0_8_load_61 | 33 | 0.0043045 | 0.0010788 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1206-3_0_8_load_76 | 34 | 0.0046312 | 0.0011607 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1206-3_0_8_load_89 | 35 | 0.011351 | 0.0028449 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1206-3_0_8_load_25 | 36 | 0.0091915 | 0.0023036 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1206-3_0_8_load_26 | 37 | 0.012401 | 0.0031079 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1206-3_0_8_load_28 | 38 | 0.0022455 | 0.00056277 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1206-3_0_8_load_30 | 41 | 0.0022087 | 0.00055356 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1206-3_0_8_load_53 | 43 | 0.0068952 | 0.0017281 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1206-3_0_8_load_50 | 44 | 0.0031227 | 0.00078262 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1206-3_0_8_load_71 | 45 | 0.018086 | 0.0045327 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1206-3_0_8_load_54 | 46 | 0.0020186 | 0.0005059 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1206-3_0_8_load_31 | 48 | 0.0048897 | 0.0012255 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1206-3_0_8_load_96 | 49 | 0.0024381 | 0.00061106 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1206-3_0_8_load_32 | 50 | 0.0054513 | 0.0013662 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1206-3_0_8_load_81 | 54 | 0.003099 | 0.00077669 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1206-3_0_8_load_97 | 55 | 0.0024344 | 0.00061013 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1206-3_0_8_load_84 | 56 | 0.0088425 | 0.0022161 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1206-3_0_8_load_88 | 57 | 0.0032594 | 0.00081689 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1206-3_0_8_load_66 | 58 | 0.007925 | 0.0019862 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1206-3_0_8_load_87 | 59 | 0.0084235 | 0.0021111 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1206-3_0_8_load_35 | 60 | 0.0044678 | 0.0011197 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1206-3_0_8_load_36 | 61 | 0.0070962 | 0.0017785 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1206-3_0_8_load_37 | 62 | 0.012363 | 0.0030983 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1206-3_0_8_load_39 | 64 | 0.0038547 | 0.00096607 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1206-3_0_8_load_69 | 65 | 0.012877 | 0.0032272 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1206-3_0_8_load_70 | 66 | 0.0049024 | 0.0012287 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1206-3_0_8_load_74 | 67 | 0.0040216 | 0.0010079 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1206-3_0_8_load_75 | 68 | 0.0068375 | 0.0017136 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1206-3_0_8_load_40 | 69 | 0.006308 | 0.0015809 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1206-3_0_8_load_41 | 70 | 0.0051215 | 0.0012836 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1206-3_0_8_load_42 | 71 | 0.0055397 | 0.0013884 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1206-3_0_8_load_43 | 72 | 0.018752 | 0.0046996 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1206-3_0_8_load_56 | 74 | 0.0031015 | 0.0007773 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1206-3_0_8_load_77 | 75 | 0.015868 | 0.0039769 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1206-3_0_8_load_57 | 76 | 0.0031018 | 0.00077738 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1206-3_0_8_load_58 | 77 | 0.0024361 | 0.00061055 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1206-3_0_8_load_65 | 80 | 0.0044598 | 0.0011177 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1206-3_0_8_load_45 | 81 | 0.0023745 | 0.00059511 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1206-3_0_8_load_46 | 82 | 0.0034118 | 0.00085507 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1206-3_0_8_load_49 | 84 | 0.0070993 | 0.0017792 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1206-3_0_8_load_52 | 86 | 0.003803 | 0.00095313 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1206-3_0_8_load_68 | 87 | 0.0036422 | 0.00091282 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1206-3_0_8_load_59 | 90 | 0.0050266 | 0.0012598 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1206-3_0_8_load_60 | 91 | 0.0028987 | 0.00072648 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1206-3_0_8_load_62 | 92 | 0.0026874 | 0.00067353 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1206-3_0_8_load_91 | 93 | 0.0054662 | 0.0013699 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_1206-3_0_8_load_92 | 94 | 0.012285 | 0.003079 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1206-3_0_8_line_0 |  | 0 | 1 | 0.0046408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1206-3_0_8_line_1 |  | 1 | 2 | 0.0097549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1206-3_0_8_line_2 |  | 2 | 6 | 0.016742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1206-3_0_8_line_3 |  | 3 | 4 | 0.011125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1206-3_0_8_line_4 |  | 3 | 5 | 0.013549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1206-3_0_8_line_5 |  | 4 | 32 | 0.011572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1206-3_0_8_line_6 |  | 5 | 7 | 0.027158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1206-3_0_8_line_7 |  | 5 | 8 | 0.011412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1206-3_0_8_line_8 |  | 6 | 9 | 0.017194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1206-3_0_8_line_9 |  | 7 | 31 | 0.015957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1206-3_0_8_line_10 |  | 8 | 28 | 0.0044389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1206-3_0_8_line_11 |  | 9 | 22 | 0.0039198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1206-3_0_8_line_12 |  | 10 | 11 | 0.034392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1206-3_0_8_line_13 |  | 10 | 12 | 0.010583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1206-3_0_8_line_14 |  | 11 | 17 | 0.025217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1206-3_0_8_line_15 |  | 12 | 23 | 0.0018337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1206-3_0_8_line_16 |  | 13 | 14 | 0.052278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1206-3_0_8_line_17 |  | 14 | 15 | 0.017583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1206-3_0_8_line_18 |  | 14 | 16 | 0.040582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1206-3_0_8_line_19 |  | 15 | 18 | 0.031973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1206-3_0_8_line_20 |  | 16 | 19 | 0.00078914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1206-3_0_8_line_21 |  | 17 | 72 | 0.006737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1206-3_0_8_line_22 |  | 18 | 20 | 0.0097126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1206-3_0_8_line_23 |  | 19 | 21 | 0.020385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1206-3_0_8_line_24 |  | 20 | 22 | 0.0030826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1206-3_0_8_line_25 |  | 21 | 79 | 0.076868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1206-3_0_8_line_26 |  | 23 | 24 | 0.011764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1206-3_0_8_line_27 |  | 24 | 25 | 0.0061415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1206-3_0_8_line_28 |  | 25 | 26 | 0.0083874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1206-3_0_8_line_29 |  | 26 | 27 | 0.014592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1206-3_0_8_line_30 |  | 27 | 80 | 0.018448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1206-3_0_8_line_31 |  | 28 | 29 | 0.0062729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1206-3_0_8_line_32 |  | 29 | 30 | 0.01262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1206-3_0_8_line_33 |  | 30 | 34 | 0.0043091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1206-3_0_8_line_34 |  | 31 | 35 | 0.016666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1206-3_0_8_line_35 |  | 32 | 33 | 0.0087343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1206-3_0_8_line_36 |  | 33 | 90 | 0.010097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1206-3_0_8_line_37 |  | 34 | 68 | 0.021769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1206-3_0_8_line_38 |  | 35 | 89 | 0.014478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1206-3_0_8_line_39 |  | 36 | 37 | 0.01427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1206-3_0_8_line_40 |  | 37 | 38 | 0.013123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1206-3_0_8_line_41 |  | 38 | 42 | 0.023219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1206-3_0_8_line_42 |  | 39 | 40 | 0.0131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1206-3_0_8_line_43 |  | 39 | 41 | 0.01946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1206-3_0_8_line_44 |  | 40 | 43 | 0.012609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1206-3_0_8_line_45 |  | 41 | 44 | 0.0013033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1206-3_0_8_line_46 |  | 42 | 45 | 0.025187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1206-3_0_8_line_47 |  | 42 | 46 | 0.0093248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1206-3_0_8_line_48 |  | 43 | 46 | 0.013458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1206-3_0_8_line_49 |  | 44 | 47 | 0.024692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1206-3_0_8_line_50 |  | 45 | 87 | 0.0007264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1206-3_0_8_line_51 |  | 47 | 86 | 0.015392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1206-3_0_8_line_52 |  | 48 | 49 | 0.033079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1206-3_0_8_line_53 |  | 49 | 55 | 0.025225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1206-3_0_8_line_54 |  | 50 | 51 | 0.0087558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1206-3_0_8_line_55 |  | 51 | 56 | 0.01841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_1206-3_0_8_line_56 |  | 51 | 57 | 0.013166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1206-3_0_8_line_57 |  | 52 | 53 | 0.006119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1206-3_0_8_line_58 |  | 52 | 54 | 0.015736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1206-3_0_8_line_59 |  | 53 | 55 | 0.0045498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1206-3_0_8_line_60 |  | 54 | 77 | 0.0038424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1206-3_0_8_line_61 |  | 56 | 58 | 0.010474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_1206-3_0_8_line_62 |  | 57 | 59 | 0.0088348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_1206-3_0_8_line_63 |  | 58 | 80 | 0.023441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_1206-3_0_8_line_64 |  | 59 | 66 | 0.0023363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_1206-3_0_8_line_65 |  | 60 | 61 | 0.018328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_1206-3_0_8_line_66 |  | 60 | 62 | 0.0098218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_1206-3_0_8_line_67 |  | 61 | 63 | 0.034265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_1206-3_0_8_line_68 |  | 62 | 64 | 0.008795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_1206-3_0_8_line_69 |  | 63 | 65 | 0.029895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1206-3_0_8_line_70 |  | 63 | 66 | 0.020552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_1206-3_0_8_line_71 |  | 64 | 67 | 0.01668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_1206-3_0_8_line_72 |  | 67 | 68 | 0.0020978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_1206-3_0_8_line_73 |  | 69 | 70 | 0.002575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1206-3_0_8_line_74 |  | 69 | 71 | 0.0081148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1206-3_0_8_line_75 |  | 70 | 72 | 0.016971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_1206-3_0_8_line_76 |  | 70 | 73 | 0.063146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_1206-3_0_8_line_77 |  | 71 | 74 | 0.035239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1206-3_0_8_line_78 |  | 73 | 75 | 0.012718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_1206-3_0_8_line_79 |  | 74 | 76 | 0.0073297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1206-3_0_8_line_80 |  | 75 | 78 | 0.0013177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_1206-3_0_8_line_81 |  | 76 | 77 | 0.0034847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1206-3_0_8_line_82 |  | 78 | 79 | 0.16513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_1206-3_0_8_line_83 |  | 81 | 82 | 0.013444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1206-3_0_8_line_84 |  | 81 | 83 | 0.030961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1206-3_0_8_line_85 |  | 83 | 84 | 0.023575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1206-3_0_8_line_86 |  | 84 | 85 | 0.021378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1206-3_0_8_line_87 |  | 85 | 87 | 0.024509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1206-3_0_8_line_88 |  | 86 | 88 | 0.013604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_1206-3_0_8_line_89 |  | 88 | 89 | 0.036116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_1206-3_0_8_line_90 |  | 89 | 93 | 0.014329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_1206-3_0_8_line_91 |  | 90 | 91 | 0.0015694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_1206-3_0_8_line_92 |  | 91 | 92 | 0.021929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_1206-3_0_8_line_93 |  | 93 | 94 | 0.012179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1206-3_0_8_trafo_18 | 0.63 MVA 20/0.4 kV | 95 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2692448.1623 | 1185924.6787 | 2692450.4788 | 1185920.6574
1 | 2692455.3481 | 1185912.2047 | 2692450.4788 | 1185920.6574
2 | 2692455.3481 | 1185912.2047 | 2692463.5257 | 1185897.5954
3 | 2692592.7782 | 1186019.2172 | 2692602.2496 | 1186025.053
4 | 2692592.7782 | 1186019.2172 | 2692585.7603 | 1186030.8161
5 | 2692612.102 | 1186031.1235 | 2692602.2496 | 1186025.053
6 | 2692585.7603 | 1186030.8161 | 2692572.0011 | 1186054.2311
7 | 2692585.7603 | 1186030.8161 | 2692595.4504 | 1186036.8445
8 | 2692463.5257 | 1185897.5954 | 2692471.9238 | 1185882.5919
9 | 2692563.9168 | 1186067.9887 | 2692572.0011 | 1186054.2311
10 | 2692599.2194 | 1186039.1892 | 2692595.4504 | 1186036.8445
11 | 2692471.9238 | 1185882.5919 | 2692473.8384 | 1185879.1714
12 | 2692628.136 | 1185960.1707 | 2692610.2869 | 1185989.5913
13 | 2692610.2869 | 1185989.5913 | 2692619.5546 | 1185994.7018
14 | 2692628.136 | 1185960.1707 | 2692650.1213 | 1185972.5225
15 | 2692619.5546 | 1185994.7018 | 2692621.1604 | 1185995.5873
16 | 2692505.5344 | 1185825.5355 | 2692501.0661 | 1185821.7974 | 2692454.7755 | 1185825.6702
17 | 2692505.5344 | 1185825.5355 | 2692496.5083 | 1185838.6711 | 2692495.7048 | 1185840.1066
18 | 2692505.5344 | 1185825.5355 | 2692526.5865 | 1185821.9694 | 2692545.1612 | 1185816.9913
19 | 2692495.7048 | 1185840.1066 | 2692480.088 | 1185868.0064
20 | 2692545.9234 | 1185816.787 | 2692545.1612 | 1185816.9913
21 | 2692650.1213 | 1185972.5225 | 2692655.9948 | 1185975.8223
22 | 2692480.088 | 1185868.0064 | 2692475.344 | 1185876.4816
23 | 2692545.9234 | 1185816.787 | 2692545.9234 | 1185816.787 | 2692563.2197 | 1185805.9988
24 | 2692473.8384 | 1185879.1714 | 2692475.344 | 1185876.4816
25 | 2692628.4409 | 1185765.3184 | 2692563.2197 | 1185805.9988
26 | 2692631.4623 | 1186001.2681 | 2692621.1604 | 1185995.5873
27 | 2692631.4623 | 1186001.2681 | 2692634.8895 | 1186003.158 | 2692636.5807 | 1186004.6082
28 | 2692642.9477 | 1186010.0679 | 2692636.5807 | 1186004.6082
29 | 2692655.4065 | 1186017.2328 | 2692648.0937 | 1186014.4805 | 2692642.9477 | 1186010.0679
30 | 2692655.4065 | 1186017.2328 | 2692661.9571 | 1186019.6982 | 2692673.2038 | 1186021.8405
31 | 2692604.5457 | 1186042.5028 | 2692599.2194 | 1186039.1892
32 | 2692604.5457 | 1186042.5028 | 2692606.0554 | 1186049.9976 | 2692609.0082 | 1186054.0013
33 | 2692613.1091 | 1186055.3245 | 2692609.0082 | 1186054.0013
34 | 2692555.5408 | 1186082.3964 | 2692559.1566 | 1186076.0894 | 2692563.9168 | 1186067.9887
35 | 2692612.102 | 1186031.1235 | 2692615.2807 | 1186026.4474 | 2692618.0488 | 1186027.7985
36 | 2692627.1226 | 1186032.2272 | 2692618.0488 | 1186027.7985
37 | 2692613.1091 | 1186055.3245 | 2692625.6929 | 1186059.3849 | 2692634.0227 | 1186061.2977
38 | 2692548.3402 | 1186094.9565 | 2692555.5408 | 1186082.3964
39 | 2692633.1553 | 1186106.2882 | 2692619.098 | 1186103.8334 | 2692619.098 | 1186103.8334
40 | 2692633.1553 | 1186106.2882 | 2692637.1907 | 1186106.9929 | 2692642.3344 | 1186114.4105
41 | 2692627.3755 | 1186132.1682 | 2692642.3344 | 1186114.4105
42 | 2692600.85 | 1186126.0098 | 2692598.8486 | 1186138.9538
43 | 2692600.85 | 1186126.0098 | 2692581.7026 | 1186122.5352
44 | 2692598.8486 | 1186138.9538 | 2692611.1544 | 1186141.703
45 | 2692580.4202 | 1186122.3025 | 2692581.7026 | 1186122.5352
46 | 2692627.3755 | 1186132.1682 | 2692650.4993 | 1186142.1507
47 | 2692627.3755 | 1186132.1682 | 2692623.8684 | 1186140.8084
48 | 2692611.1544 | 1186141.703 | 2692618.4716 | 1186143.3377 | 2692623.8684 | 1186140.8084
49 | 2692559.2438 | 1186130.681 | 2692572.0508 | 1186120.7837 | 2692580.4202 | 1186122.3025
50 | 2692650.4993 | 1186142.1507 | 2692651.1662 | 1186142.4386
51 | 2692559.2438 | 1186130.681 | 2692546.7031 | 1186132.2326 | 2692544.104 | 1186131.318
52 | 2692772.6595 | 1186006.3807 | 2692741.9432 | 1185994.1041
53 | 2692741.9432 | 1185994.1041 | 2692753.6725 | 1185986.2851 | 2692747.428 | 1185977.0733
54 | 2692723.4629 | 1186030.212 | 2692731.9503 | 1186032.3632
55 | 2692723.4629 | 1186030.212 | 2692718.7386 | 1186025.7694 | 2692708.7248 | 1186024.3135 | 2692706.9193 | 1186024.2856
56 | 2692723.4629 | 1186030.212 | 2692723.1024 | 1186043.3726
57 | 2692741.5892 | 1185968.1421 | 2692743.4648 | 1185971.2286 | 2692744.8751 | 1185973.3073
58 | 2692741.5892 | 1185968.1421 | 2692727.6108 | 1185975.3678
59 | 2692744.8751 | 1185973.3073 | 2692747.428 | 1185977.0733
60 | 2692724.1975 | 1185977.1323 | 2692727.6108 | 1185975.3678
61 | 2692696.4461 | 1186024.1234 | 2692706.9193 | 1186024.2856
62 | 2692722.7139 | 1186052.197 | 2692722.9536 | 1186048.8049 | 2692723.1024 | 1186043.3726
63 | 2692696.4461 | 1186024.1234 | 2692684.193 | 1186023.9337 | 2692673.2038 | 1186021.8405
64 | 2692722.7139 | 1186052.197 | 2692722.5493 | 1186054.5275
65 | 2692670.6785 | 1186068.6642 | 2692688.5788 | 1186064.7286
66 | 2692670.6785 | 1186068.6642 | 2692670.6785 | 1186068.6642 | 2692661.0258 | 1186066.8492
67 | 2692720.7315 | 1186074.9982 | 2692691.9378 | 1186063.9901 | 2692688.5788 | 1186064.7286
68 | 2692661.0258 | 1186066.8492 | 2692652.3822 | 1186065.224
69 | 2692720.7315 | 1186074.9982 | 2692712.8891 | 1186092.021 | 2692705.2444 | 1186100.1412
70 | 2692720.7315 | 1186074.9982 | 2692722.1814 | 1186059.7332 | 2692722.5493 | 1186054.5275
71 | 2692636.0673 | 1186061.7672 | 2692645.4207 | 1186063.915 | 2692652.3822 | 1186065.224
72 | 2692636.0673 | 1186061.7672 | 2692634.0227 | 1186061.2977
73 | 2692673.0358 | 1185985.3962 | 2692670.7908 | 1185984.1349
74 | 2692680.1105 | 1185989.3708 | 2692673.0358 | 1185985.3962
75 | 2692670.7908 | 1185984.1349 | 2692655.9948 | 1185975.8223
76 | 2692670.7908 | 1185984.1349 | 2692700.3272 | 1185928.3226
77 | 2692680.1105 | 1185989.3708 | 2692714.5907 | 1185982.0983
78 | 2692700.3272 | 1185928.3226 | 2692691.3657 | 1185919.2983
79 | 2692714.5907 | 1185982.0983 | 2692721.1019 | 1185978.7325
80 | 2692690.4372 | 1185918.3633 | 2692691.3657 | 1185919.2983
81 | 2692724.1975 | 1185977.1323 | 2692721.1019 | 1185978.7325
82 | 2692690.4372 | 1185918.3633 | 2692628.4409 | 1185765.3184
83 | 2692634.5994 | 1186174.0268 | 2692632.1252 | 1186172.4562 | 2692622.7806 | 1186167.6397
84 | 2692657.8989 | 1186194.1352 | 2692643.9381 | 1186179.9547 | 2692634.5994 | 1186174.0268
85 | 2692657.8989 | 1186194.1352 | 2692664.8318 | 1186171.6026
86 | 2692673.6678 | 1186152.1524 | 2692665.3245 | 1186170.0013 | 2692664.8318 | 1186171.6026
87 | 2692673.6678 | 1186152.1524 | 2692651.1662 | 1186142.4386
88 | 2692531.271 | 1186126.8019 | 2692544.104 | 1186131.318
89 | 2692531.271 | 1186126.8019 | 2692548.3402 | 1186094.9565
90 | 2692548.3402 | 1186094.9565 | 2692561.3718 | 1186100.9141
91 | 2692627.1226 | 1186032.2272 | 2692628.533 | 1186032.9156
92 | 2692648.2396 | 1186042.5339 | 2692628.533 | 1186032.9156
93 | 2692572.4698 | 1186100.5995 | 2692566.5136 | 1186103.2648 | 2692561.3718 | 1186100.9141

## bus_geodata
| x | y | coords
0 | 2692448.1623 | 1185924.6787
1 | 2692450.4788 | 1185920.6574
2 | 2692455.3481 | 1185912.2047
3 | 2692592.7782 | 1186019.2172
4 | 2692602.2496 | 1186025.053
5 | 2692585.7603 | 1186030.8161
6 | 2692463.5257 | 1185897.5954
7 | 2692572.0011 | 1186054.2311
8 | 2692595.4504 | 1186036.8445
9 | 2692471.9238 | 1185882.5919
10 | 2692610.2869 | 1185989.5913
11 | 2692628.136 | 1185960.1707
12 | 2692619.5546 | 1185994.7018
13 | 2692454.7755 | 1185825.6702
14 | 2692505.5344 | 1185825.5355
15 | 2692495.7048 | 1185840.1066
16 | 2692545.1612 | 1185816.9913
17 | 2692650.1213 | 1185972.5225
18 | 2692480.088 | 1185868.0064
19 | 2692545.9234 | 1185816.787
20 | 2692475.344 | 1185876.4816
21 | 2692563.2197 | 1185805.9988
22 | 2692473.8384 | 1185879.1714
23 | 2692621.1604 | 1185995.5873
24 | 2692631.4623 | 1186001.2681
25 | 2692636.5807 | 1186004.6082
26 | 2692642.9477 | 1186010.0679
27 | 2692655.4065 | 1186017.2328
28 | 2692599.2194 | 1186039.1892
29 | 2692604.5457 | 1186042.5028
30 | 2692609.0082 | 1186054.0013
31 | 2692563.9168 | 1186067.9887
32 | 2692612.102 | 1186031.1235
33 | 2692618.0488 | 1186027.7985
34 | 2692613.1091 | 1186055.3245
35 | 2692555.5408 | 1186082.3964
36 | 2692619.098 | 1186103.8334
37 | 2692633.1553 | 1186106.2882
38 | 2692642.3344 | 1186114.4105
39 | 2692600.85 | 1186126.0098
40 | 2692598.8486 | 1186138.9538
41 | 2692581.7026 | 1186122.5352
42 | 2692627.3755 | 1186132.1682
43 | 2692611.1544 | 1186141.703
44 | 2692580.4203 | 1186122.3024
45 | 2692650.4993 | 1186142.1507
46 | 2692623.8684 | 1186140.8084
47 | 2692559.2438 | 1186130.681
48 | 2692772.6595 | 1186006.3807
49 | 2692741.9432 | 1185994.1041
50 | 2692731.9503 | 1186032.3632
51 | 2692723.4629 | 1186030.212
52 | 2692741.5892 | 1185968.1421
53 | 2692744.8751 | 1185973.3073
54 | 2692727.6108 | 1185975.3678
55 | 2692747.428 | 1185977.0733
56 | 2692706.9193 | 1186024.2856
57 | 2692723.1024 | 1186043.3726
58 | 2692696.4461 | 1186024.1234
59 | 2692722.7139 | 1186052.197
60 | 2692670.6785 | 1186068.6642
61 | 2692688.5788 | 1186064.7286
62 | 2692661.0258 | 1186066.8492
63 | 2692720.7315 | 1186074.9982
64 | 2692652.3822 | 1186065.224
65 | 2692705.2444 | 1186100.1412
66 | 2692722.5493 | 1186054.5275
67 | 2692636.0673 | 1186061.7672
68 | 2692634.0227 | 1186061.2977
69 | 2692673.0358 | 1185985.3962
70 | 2692670.7908 | 1185984.1349
71 | 2692680.1105 | 1185989.3708
72 | 2692655.9948 | 1185975.8223
73 | 2692700.3272 | 1185928.3226
74 | 2692714.5907 | 1185982.0983
75 | 2692691.3657 | 1185919.2983
76 | 2692721.1019 | 1185978.7325
77 | 2692724.1975 | 1185977.1323
78 | 2692690.4372 | 1185918.3633
79 | 2692628.4409 | 1185765.3184
80 | 2692673.2038 | 1186021.8405
81 | 2692634.5994 | 1186174.0268
82 | 2692622.7806 | 1186167.6397
83 | 2692657.8989 | 1186194.1352
84 | 2692664.8318 | 1186171.6026
85 | 2692673.6678 | 1186152.1524
86 | 2692544.104 | 1186131.318
87 | 2692651.1662 | 1186142.4386
88 | 2692531.271 | 1186126.8019
89 | 2692548.3402 | 1186094.9565
90 | 2692627.1226 | 1186032.2272
91 | 2692628.533 | 1186032.9156
92 | 2692648.2396 | 1186042.5339
93 | 2692561.3718 | 1186100.9141
94 | 2692572.4698 | 1186100.5995
95 | 2692628.136 | 1185960.1707

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97038 | -0.57184 | 0.0078774 | 0.0019743
1 | 0.97041 | -0.57117 | 0.017025 | 0.0042669
2 | 0.97064 | -0.56667 | 0 | 0
3 | 0.98201 | -0.34492 | 0 | 0
4 | 0.9818 | -0.34906 | 0.0056495 | 0.0014159
5 | 0.98226 | -0.33988 | 0 | 0
6 | 0.97103 | -0.55896 | 0.0054267 | 0.0013601
7 | 0.98144 | -0.35602 | 0.015823 | 0.0039657
8 | 0.98267 | -0.33205 | 0.0078346 | 0.0019635
9 | 0.97151 | -0.54933 | 0.0045301 | 0.0011353
10 | 1 | 0 | -0.6065 | -0.15541
11 | 0.99776 | -0.042342 | 0 | 0
12 | 0.99923 | -0.014451 | 0.0042245 | 0.0010588
13 | 0.97687 | -0.44402 | 0.0043032 | 0.0010785
14 | 0.97708 | -0.43991 | 0 | 0
15 | 0.97546 | -0.47166 | 0.0057908 | 0.0014513
16 | 0.97903 | -0.40181 | 0.0097118 | 0.002434
17 | 0.99611 | -0.07351 | 0.0096644 | 0.0024221
18 | 0.97268 | -0.52626 | 0.0046115 | 0.0011558
19 | 0.97905 | -0.40141 | 0.0095829 | 0.0024017
20 | 0.97188 | -0.54208 | 0.0053032 | 0.0013291
21 | 0.97963 | -0.39008 | 0.076754 | 0.019236
22 | 0.97164 | -0.5468 | 0.048176 | 0.012074
23 | 0.9991 | -0.016923 | 0.0065692 | 0.0016464
24 | 0.99828 | -0.032462 | 0.005487 | 0.0013752
25 | 0.99786 | -0.040436 | 0.0034629 | 0.00086788
26 | 0.99729 | -0.051211 | 0.0050412 | 0.0012634
27 | 0.99632 | -0.069662 | 0.0052432 | 0.0013141
28 | 0.98283 | -0.32885 | 0.019946 | 0.004999
29 | 0.98309 | -0.32376 | 0 | 0
30 | 0.98362 | -0.31354 | 0.0038265 | 0.00095902
31 | 0.98101 | -0.36437 | 0.010016 | 0.0025103
32 | 0.98164 | -0.35218 | 0 | 0
33 | 0.98152 | -0.35453 | 0.0043045 | 0.0010788
34 | 0.9838 | -0.30997 | 0.0046312 | 0.0011607
35 | 0.9806 | -0.37235 | 0.011351 | 0.0028449
36 | 0.97128 | -0.55506 | 0.0091915 | 0.0023036
37 | 0.9714 | -0.55263 | 0.012401 | 0.0031079
38 | 0.97167 | -0.5474 | 0.0022455 | 0.00056277
39 | 0.97507 | -0.48036 | 0 | 0
40 | 0.97424 | -0.49655 | 0 | 0
41 | 0.97629 | -0.45635 | 0.0022087 | 0.00055356
42 | 0.97218 | -0.53719 | 0 | 0
43 | 0.97345 | -0.51216 | 0.0068952 | 0.0017281
44 | 0.97638 | -0.45469 | 0.0031227 | 0.00078262
45 | 0.97137 | -0.55328 | 0.018086 | 0.0045327
46 | 0.97269 | -0.52714 | 0.0020186 | 0.0005059
47 | 0.97805 | -0.42193 | 0 | 0
48 | 0.99295 | -0.13412 | 0.0048897 | 0.0012255
49 | 0.9931 | -0.13126 | 0.0024381 | 0.00061106
50 | 0.99179 | -0.1561 | 0.0054513 | 0.0013662
51 | 0.99183 | -0.15525 | 0 | 0
52 | 0.99336 | -0.12615 | 0 | 0
53 | 0.99331 | -0.12721 | 0 | 0
54 | 0.9935 | -0.12344 | 0.003099 | 0.00077669
55 | 0.99327 | -0.12799 | 0.0024344 | 0.00061013
56 | 0.99295 | -0.13392 | 0.0088425 | 0.0022161
57 | 0.99105 | -0.17021 | 0.0032594 | 0.00081689
58 | 0.9936 | -0.1214 | 0.007925 | 0.0019862
59 | 0.99053 | -0.18014 | 0.0084235 | 0.0021111
60 | 0.98652 | -0.25731 | 0.0044678 | 0.0011197
61 | 0.98746 | -0.23929 | 0.0070962 | 0.0017785
62 | 0.98603 | -0.26678 | 0.012363 | 0.0030983
63 | 0.98926 | -0.2046 | 0 | 0
64 | 0.98562 | -0.27479 | 0.0038547 | 0.00096607
65 | 0.98891 | -0.21146 | 0.012877 | 0.0032272
66 | 0.9904 | -0.18268 | 0.0049024 | 0.0012287
67 | 0.98485 | -0.2897 | 0.0040216 | 0.0010079
68 | 0.98475 | -0.29154 | 0.0068375 | 0.0017136
69 | 0.99461 | -0.10201 | 0.006308 | 0.0015809
70 | 0.99469 | -0.10049 | 0.0051215 | 0.0012836
71 | 0.99441 | -0.10588 | 0.0055397 | 0.0013884
72 | 0.99569 | -0.081567 | 0.018752 | 0.0046996
73 | 0.99153 | -0.16048 | 0 | 0
74 | 0.99372 | -0.11924 | 0.0031015 | 0.0007773
75 | 0.9909 | -0.17261 | 0.015868 | 0.0039769
76 | 0.9936 | -0.12162 | 0.0031018 | 0.00077738
77 | 0.99355 | -0.12256 | 0.0024361 | 0.00061055
78 | 0.99084 | -0.17377 | 0 | 0
79 | 0.98319 | -0.32084 | 0 | 0
80 | 0.99511 | -0.092614 | 0.0044598 | 0.0011177
81 | 0.97051 | -0.57027 | 0.0023745 | 0.00059511
82 | 0.97047 | -0.57112 | 0.0034118 | 0.00085507
83 | 0.97068 | -0.56696 | 0 | 0
84 | 0.9708 | -0.56443 | 0.0070993 | 0.0017792
85 | 0.97106 | -0.55934 | 0 | 0
86 | 0.9791 | -0.40156 | 0.003803 | 0.00095313
87 | 0.97136 | -0.5535 | 0.0036422 | 0.00091282
88 | 0.97942 | -0.39525 | 0 | 0
89 | 0.98028 | -0.37853 | 0 | 0
90 | 0.98142 | -0.35647 | 0.0050266 | 0.0012598
91 | 0.98141 | -0.35663 | 0.0028987 | 0.00072648
92 | 0.98135 | -0.3577 | 0.0026874 | 0.00067353
93 | 0.98004 | -0.38315 | 0.0054662 | 0.0013699
94 | 0.9799 | -0.38586 | 0.012285 | 0.003079
95 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0078774 | -0.0019743 | 0.0078777 | 0.0019744 | 2.5394e-07 | 1.0519e-07 | 0.01208 | 0.01208 | 0.01208 | 0.97038 | -0.57184 | 0.97041 | -0.57117 | 3.3186
1 | -0.024903 | -0.0062413 | 0.024908 | 0.0062446 | 5.3341e-06 | 3.2933e-06 | 0.038186 | 0.038186 | 0.038186 | 0.97041 | -0.57117 | 0.97064 | -0.56667 | 10.4906
2 | -0.024908 | -0.0062446 | 0.024917 | 0.0062502 | 9.1548e-06 | 5.652e-06 | 0.038186 | 0.038186 | 0.038186 | 0.97064 | -0.56667 | 0.97103 | -0.55896 | 10.4906
3 | 0.020576 | 0.0051595 | -0.020572 | -0.0051571 | 4.0556e-06 | 2.4549e-06 | 0.031179 | 0.031179 | 0.031179 | 0.98201 | -0.34492 | 0.9818 | -0.34906 | 8.5657
4 | -0.020576 | -0.0051595 | 0.020581 | 0.0051625 | 4.9393e-06 | 2.9897e-06 | 0.031179 | 0.031179 | 0.031179 | 0.98201 | -0.34492 | 0.98226 | -0.33988 | 8.5657
5 | 0.014922 | 0.0037412 | -0.01492 | -0.0037399 | 2.2198e-06 | 1.2744e-06 | 0.022617 | 0.022617 | 0.022617 | 0.9818 | -0.34906 | 0.98164 | -0.35218 | 6.2134
6 | 0.13225 | 0.033448 | -0.13214 | -0.033384 | 0.0001023 | 6.4098e-05 | 0.20045 | 0.20045 | 0.20045 | 0.98226 | -0.33988 | 0.98144 | -0.35602 | 13.767
7 | -0.15283 | -0.03861 | 0.15288 | 0.038647 | 5.7401e-05 | 3.6158e-05 | 0.23163 | 0.23163 | 0.23163 | 0.98226 | -0.33988 | 0.98267 | -0.33205 | 15.9084
8 | -0.030344 | -0.0076103 | 0.030358 | 0.007619 | 1.3943e-05 | 8.7105e-06 | 0.046502 | 0.046502 | 0.046502 | 0.97103 | -0.55896 | 0.97151 | -0.54933 | 12.7752
9 | 0.11632 | 0.029418 | -0.11627 | -0.029389 | 4.658e-05 | 2.9005e-05 | 0.17646 | 0.17646 | 0.17646 | 0.98144 | -0.35602 | 0.98101 | -0.36437 | 12.1193
10 | -0.16072 | -0.04061 | 0.16074 | 0.040626 | 2.4672e-05 | 1.5565e-05 | 0.24349 | 0.24349 | 0.24349 | 0.98267 | -0.33205 | 0.98283 | -0.32885 | 16.7232
11 | -0.034888 | -0.0087543 | 0.034892 | 0.008757 | 4.1979e-06 | 2.6381e-06 | 0.05344 | 0.05344 | 0.05344 | 0.97151 | -0.54933 | 0.97164 | -0.5468 | 14.6813
12 | 0.28688 | 0.073831 | -0.28629 | -0.073456 | 0.00058944 | 0.00037544 | 0.42757 | 0.42757 | 0.42757 | 1 | 0 | 0.99776 | -0.042342 | 29.366
13 | 0.31797 | 0.081578 | -0.31775 | -0.081436 | 0.00022275 | 0.00014201 | 0.47382 | 0.47382 | 0.47382 | 1 | 0 | 0.99923 | -0.014451 | 32.5424
14 | 0.28629 | 0.073456 | -0.28586 | -0.073181 | 0.0004322 | 0.00027529 | 0.42757 | 0.42757 | 0.42757 | 0.99776 | -0.042342 | 0.99611 | -0.07351 | 29.366
15 | 0.31353 | 0.080377 | -0.31349 | -0.080353 | 3.7577e-05 | 2.3953e-05 | 0.46753 | 0.46753 | 0.46753 | 0.99923 | -0.014451 | 0.9991 | -0.016923 | 32.1104
16 | -0.0043032 | -0.0010785 | 0.004304 | 0.0010784 | 8.4227e-07 | -1.1557e-07 | 0.0065548 | 0.0065545 | 0.0065548 | 0.97687 | -0.44402 | 0.97708 | -0.43991 | 1.8008
17 | 0.099253 | 0.025073 | -0.099103 | -0.024977 | 0.00015079 | 9.6288e-05 | 0.15123 | 0.15123 | 0.15123 | 0.97708 | -0.43991 | 0.97546 | -0.47166 | 41.5459
18 | -0.10356 | -0.026152 | 0.10375 | 0.026272 | 0.00018943 | 0.00012022 | 0.15778 | 0.15778 | 0.15778 | 0.97708 | -0.43991 | 0.97903 | -0.40181 | 21.6733
19 | 0.093312 | 0.023526 | -0.093069 | -0.02337 | 0.00024311 | 0.00015519 | 0.14239 | 0.14239 | 0.14239 | 0.97546 | -0.47166 | 0.97268 | -0.52626 | 39.1192
20 | -0.11346 | -0.028706 | 0.11346 | 0.028707 | 2.2025e-06 | 1.3699e-06 | 0.17254 | 0.17254 | 0.17254 | 0.97903 | -0.40181 | 0.97905 | -0.40141 | 11.8504
21 | 0.27619 | 0.070759 | -0.27609 | -0.07069 | 0.0001078 | 6.8641e-05 | 0.41313 | 0.41313 | 0.41313 | 0.99611 | -0.07351 | 0.99569 | -0.081567 | 28.3745
22 | 0.088457 | 0.022215 | -0.088391 | -0.022172 | 6.6713e-05 | 4.2576e-05 | 0.13534 | 0.13534 | 0.13534 | 0.97268 | -0.52626 | 0.97188 | -0.54208 | 37.1811
23 | -0.12304 | -0.031109 | 0.12311 | 0.031151 | 6.6905e-05 | 4.1793e-05 | 0.18711 | 0.18711 | 0.18711 | 0.97905 | -0.40141 | 0.97963 | -0.39008 | 12.8507
24 | 0.083087 | 0.020843 | -0.083069 | -0.020831 | 1.8709e-05 | 1.1936e-05 | 0.12722 | 0.12722 | 0.12722 | 0.97188 | -0.54208 | 0.97164 | -0.5468 | 34.9504
25 | -0.19987 | -0.050387 | 0.20053 | 0.050809 | 0.00066464 | 0.00042148 | 0.30369 | 0.30369 | 0.30369 | 0.97963 | -0.39008 | 0.98319 | -0.32084 | 20.858
26 | 0.30692 | 0.078707 | -0.30669 | -0.07856 | 0.00023109 | 0.00014728 | 0.45774 | 0.45774 | 0.45774 | 0.9991 | -0.016923 | 0.99828 | -0.032462 | 31.4384
27 | 0.3012 | 0.077185 | -0.30108 | -0.07711 | 0.00011637 | 7.4154e-05 | 0.44956 | 0.44956 | 0.44956 | 0.99828 | -0.032462 | 0.99786 | -0.040436 | 30.8767
28 | 0.29762 | 0.076243 | -0.29747 | -0.076144 | 0.00015529 | 9.8948e-05 | 0.4444 | 0.4444 | 0.4444 | 0.99786 | -0.040436 | 0.99729 | -0.051211 | 30.5221
29 | 0.29242 | 0.07488 | -0.29216 | -0.074714 | 0.00026111 | 0.00016635 | 0.43688 | 0.43688 | 0.43688 | 0.99729 | -0.051211 | 0.99632 | -0.069662 | 30.0055
30 | 0.28692 | 0.0734 | -0.2866 | -0.073197 | 0.00031837 | 0.0002028 | 0.42905 | 0.42905 | 0.42905 | 0.99632 | -0.069662 | 0.99511 | -0.092614 | 29.4677
31 | -0.18069 | -0.045625 | 0.18073 | 0.045653 | 4.405e-05 | 2.7874e-05 | 0.27369 | 0.27369 | 0.27369 | 0.98283 | -0.32885 | 0.98309 | -0.32376 | 18.7973
32 | -0.18073 | -0.045653 | 0.18082 | 0.045709 | 8.8623e-05 | 5.6079e-05 | 0.27369 | 0.27369 | 0.27369 | 0.98309 | -0.32376 | 0.98362 | -0.31354 | 18.7973
33 | -0.18465 | -0.046668 | 0.18468 | 0.046688 | 3.1554e-05 | 1.9976e-05 | 0.27948 | 0.27948 | 0.27948 | 0.98362 | -0.31354 | 0.9838 | -0.30997 | 19.1949
34 | 0.10626 | 0.026879 | -0.10622 | -0.026854 | 4.0633e-05 | 2.5164e-05 | 0.16126 | 0.16127 | 0.16127 | 0.98101 | -0.36437 | 0.9806 | -0.37235 | 11.0759
35 | 0.01492 | 0.0037399 | -0.014918 | -0.0037389 | 1.6754e-06 | 9.6186e-07 | 0.022617 | 0.022617 | 0.022617 | 0.98164 | -0.35218 | 0.98152 | -0.35453 | 6.2134
36 | 0.010614 | 0.0026601 | -0.010613 | -0.0026596 | 9.8037e-07 | 4.9984e-07 | 0.016091 | 0.016091 | 0.016091 | 0.98152 | -0.35453 | 0.98142 | -0.35647 | 4.4206
37 | -0.18931 | -0.047848 | 0.18948 | 0.047955 | 0.0001675 | 0.00010609 | 0.28648 | 0.28648 | 0.28648 | 0.9838 | -0.30997 | 0.98475 | -0.29154 | 19.6759
38 | 0.094866 | 0.024009 | -0.094838 | -0.023992 | 2.816e-05 | 1.7292e-05 | 0.14404 | 0.14404 | 0.14404 | 0.9806 | -0.37235 | 0.98028 | -0.37853 | 9.8929
39 | -0.0091915 | -0.0023036 | 0.0091925 | 0.0023041 | 1.0611e-06 | 5.0246e-07 | 0.014081 | 0.014081 | 0.014081 | 0.97128 | -0.55506 | 0.9714 | -0.55263 | 3.8685
40 | -0.021593 | -0.005412 | 0.021598 | 0.0054152 | 5.3841e-06 | 3.2833e-06 | 0.033077 | 0.033077 | 0.033077 | 0.9714 | -0.55263 | 0.97167 | -0.5474 | 9.087
41 | -0.023844 | -0.005978 | 0.023856 | 0.0059852 | 1.161e-05 | 7.1425e-06 | 0.036516 | 0.036515 | 0.036516 | 0.97167 | -0.5474 | 0.97218 | -0.53719 | 10.0317
42 | 0.067592 | 0.017026 | -0.06754 | -0.016992 | 5.23e-05 | 3.3309e-05 | 0.10318 | 0.10318 | 0.10318 | 0.97507 | -0.48036 | 0.97424 | -0.49655 | 28.3464
43 | -0.067592 | -0.017026 | 0.06767 | 0.017075 | 7.7691e-05 | 4.9479e-05 | 0.10318 | 0.10318 | 0.10318 | 0.97507 | -0.48036 | 0.97629 | -0.45635 | 28.3463
44 | 0.06754 | 0.016992 | -0.067489 | -0.01696 | 5.034e-05 | 3.2061e-05 | 0.10318 | 0.10318 | 0.10318 | 0.97424 | -0.49655 | 0.97345 | -0.51216 | 28.3464
45 | -0.069878 | -0.017629 | 0.069884 | 0.017632 | 5.5485e-06 | 3.5347e-06 | 0.10655 | 0.10655 | 0.10655 | 0.97629 | -0.45635 | 0.97638 | -0.45469 | 29.2712
46 | 0.034649 | 0.0086958 | -0.034622 | -0.0086791 | 2.6569e-05 | 1.6692e-05 | 0.053038 | 0.053038 | 0.053038 | 0.97218 | -0.53719 | 0.97137 | -0.55328 | 14.5708
47 | -0.058504 | -0.014681 | 0.058532 | 0.014699 | 2.8043e-05 | 1.7832e-05 | 0.089553 | 0.089553 | 0.089553 | 0.97218 | -0.53719 | 0.97269 | -0.52714 | 24.6025
48 | 0.060594 | 0.015232 | -0.060551 | -0.015205 | 4.3312e-05 | 2.7553e-05 | 0.092641 | 0.092641 | 0.092641 | 0.97345 | -0.51216 | 0.97269 | -0.52714 | 25.4508
49 | -0.073007 | -0.018415 | 0.073121 | 0.018488 | 0.00011472 | 7.3109e-05 | 0.11131 | 0.11131 | 0.11131 | 0.97638 | -0.45469 | 0.97805 | -0.42193 | 30.5786
50 | 0.016536 | 0.0041464 | -0.016536 | -0.0041463 | 1.7481e-07 | 1.0288e-07 | 0.025332 | 0.025332 | 0.025332 | 0.97137 | -0.55328 | 0.97136 | -0.5535 | 6.9595
51 | -0.073121 | -0.018488 | 0.073193 | 0.018534 | 7.1508e-05 | 4.5572e-05 | 0.11131 | 0.11131 | 0.11131 | 0.97805 | -0.42193 | 0.9791 | -0.40156 | 30.5786
52 | -0.0048897 | -0.0012255 | 0.0048904 | 0.0012255 | 6.6603e-07 | -1.6766e-09 | 0.0073276 | 0.0073274 | 0.0073276 | 0.99295 | -0.13412 | 0.9931 | -0.13126 | 2.0131
53 | -0.0073285 | -0.0018365 | 0.0073296 | 0.0018369 | 1.1406e-06 | 4.0352e-07 | 0.010981 | 0.010981 | 0.010981 | 0.9931 | -0.13126 | 0.99327 | -0.12799 | 3.0167
54 | -0.0054513 | -0.0013662 | 0.0054515 | 0.0013662 | 2.1963e-07 | 2.757e-08 | 0.0081787 | 0.0081787 | 0.0081787 | 0.99179 | -0.1561 | 0.99183 | -0.15525 | 2.2469
55 | -0.26454 | -0.067348 | 0.26482 | 0.067522 | 0.00027238 | 0.00017337 | 0.39726 | 0.39726 | 0.39726 | 0.99183 | -0.15525 | 0.99295 | -0.13392 | 27.2845
56 | 0.25909 | 0.065982 | -0.25891 | -0.065863 | 0.00018685 | 0.00011891 | 0.38908 | 0.38908 | 0.38908 | 0.99183 | -0.15525 | 0.99105 | -0.17021 | 26.7228
57 | 0.0097649 | 0.0024475 | -0.0097645 | -0.0024472 | 4.9097e-07 | 2.3501e-07 | 0.014628 | 0.014628 | 0.014628 | 0.99336 | -0.12615 | 0.99331 | -0.12721 | 4.0186
58 | -0.0097649 | -0.0024475 | 0.0097662 | 0.0024481 | 1.2626e-06 | 6.0431e-07 | 0.014628 | 0.014627 | 0.014628 | 0.99336 | -0.12615 | 0.9935 | -0.12344 | 4.0186
59 | 0.0097645 | 0.0024472 | -0.0097641 | -0.0024471 | 3.6506e-07 | 1.7475e-07 | 0.014628 | 0.014628 | 0.014628 | 0.99331 | -0.12721 | 0.99327 | -0.12799 | 4.0186
60 | -0.012865 | -0.0032248 | 0.012866 | 0.0032251 | 5.3499e-07 | 2.9264e-07 | 0.019269 | 0.019269 | 0.019269 | 0.9935 | -0.12344 | 0.99355 | -0.12256 | 5.2937
61 | -0.27366 | -0.069738 | 0.27383 | 0.069843 | 0.00016548 | 0.00010537 | 0.41051 | 0.41051 | 0.41051 | 0.99295 | -0.13392 | 0.9936 | -0.1214 | 28.1946
62 | 0.25565 | 0.065046 | -0.25552 | -0.064969 | 0.00012225 | 7.7787e-05 | 0.38419 | 0.38419 | 0.38419 | 0.99105 | -0.17021 | 0.99053 | -0.18014 | 26.3867
63 | -0.28175 | -0.07183 | 0.28214 | 0.072079 | 0.00039207 | 0.00024971 | 0.42238 | 0.42238 | 0.42238 | 0.9936 | -0.1214 | 0.99511 | -0.092614 | 29.0097
64 | 0.2471 | 0.062857 | -0.24707 | -0.062838 | 3.0235e-05 | 1.923e-05 | 0.37154 | 0.37154 | 0.37154 | 0.99053 | -0.18014 | 0.9904 | -0.18268 | 25.5176
65 | -0.22136 | -0.056075 | 0.22155 | 0.056196 | 0.0001918 | 0.00012181 | 0.3341 | 0.3341 | 0.3341 | 0.98652 | -0.25731 | 0.98746 | -0.23929 | 22.9467
66 | 0.21689 | 0.054955 | -0.2168 | -0.054892 | 9.8679e-05 | 6.2653e-05 | 0.32736 | 0.32736 | 0.32736 | 0.98652 | -0.25731 | 0.98603 | -0.26678 | 22.4838
67 | -0.22865 | -0.057975 | 0.22903 | 0.058218 | 0.0003819 | 0.00024266 | 0.3448 | 0.3448 | 0.3448 | 0.98746 | -0.23929 | 0.98926 | -0.2046 | 23.6811
68 | 0.20443 | 0.051794 | -0.20435 | -0.051744 | 7.8579e-05 | 4.9842e-05 | 0.30871 | 0.30871 | 0.30871 | 0.98603 | -0.26678 | 0.98562 | -0.27479 | 21.2025
69 | 0.012881 | 0.0032295 | -0.012877 | -0.0032272 | 4.2087e-06 | 2.3099e-06 | 0.019376 | 0.019376 | 0.019376 | 0.98926 | -0.2046 | 0.98891 | -0.21146 | 5.323
70 | -0.24191 | -0.061447 | 0.24217 | 0.06161 | 0.00025553 | 0.00016248 | 0.36417 | 0.36417 | 0.36417 | 0.98926 | -0.2046 | 0.9904 | -0.18268 | 25.0118
71 | 0.2005 | 0.050778 | -0.20036 | -0.050687 | 0.00014346 | 9.0968e-05 | 0.30289 | 0.30289 | 0.30289 | 0.98562 | -0.27479 | 0.98485 | -0.2897 | 20.8028
72 | 0.19633 | 0.049679 | -0.19632 | -0.049668 | 1.7326e-05 | 1.0982e-05 | 0.29681 | 0.29681 | 0.29681 | 0.98485 | -0.2897 | 0.98475 | -0.29154 | 20.3855
73 | -0.033374 | -0.0083726 | 0.033377 | 0.0083741 | 2.4077e-06 | 1.5075e-06 | 0.049934 | 0.049933 | 0.049934 | 0.99461 | -0.10201 | 0.99469 | -0.10049 | 13.718
74 | 0.027066 | 0.0067917 | -0.027061 | -0.0067886 | 4.9904e-06 | 3.0886e-06 | 0.040496 | 0.040496 | 0.040496 | 0.99461 | -0.10201 | 0.99441 | -0.10588 | 11.1253
75 | -0.2571 | -0.06584 | 0.25733 | 0.06599 | 0.00023597 | 0.00015014 | 0.38511 | 0.38511 | 0.38511 | 0.99469 | -0.10049 | 0.99569 | -0.081567 | 26.4498
76 | 0.2186 | 0.056182 | -0.21796 | -0.055779 | 0.00063501 | 0.00040314 | 0.32752 | 0.32752 | 0.32752 | 0.99469 | -0.10049 | 0.99153 | -0.16048 | 22.4943
77 | 0.021522 | 0.0054002 | -0.021508 | -0.0053919 | 1.3707e-05 | 8.3158e-06 | 0.032207 | 0.032207 | 0.032207 | 0.99441 | -0.10588 | 0.99372 | -0.11924 | 8.8481
78 | 0.21796 | 0.055779 | -0.21784 | -0.055698 | 0.0001279 | 8.1198e-05 | 0.32752 | 0.32752 | 0.32752 | 0.99153 | -0.16048 | 0.9909 | -0.17261 | 22.4943
79 | 0.018406 | 0.0046146 | -0.018404 | -0.0046134 | 2.0882e-06 | 1.2415e-06 | 0.027563 | 0.027563 | 0.027563 | 0.99372 | -0.11924 | 0.9936 | -0.12162 | 7.5722
80 | 0.20197 | 0.051721 | -0.20196 | -0.051714 | 1.1393e-05 | 7.2237e-06 | 0.30369 | 0.30369 | 0.30369 | 0.9909 | -0.17261 | 0.99084 | -0.17377 | 20.8577
81 | 0.015303 | 0.003836 | -0.015302 | -0.0038356 | 6.8634e-07 | 3.9412e-07 | 0.022918 | 0.022918 | 0.022918 | 0.9936 | -0.12162 | 0.99355 | -0.12256 | 6.296
82 | 0.20196 | 0.051714 | -0.20053 | -0.050809 | 0.0014277 | 0.0009053 | 0.30369 | 0.30369 | 0.30369 | 0.99084 | -0.17377 | 0.98319 | -0.32084 | 20.8579
83 | 0.0034119 | 0.00085499 | -0.0034118 | -0.00085507 | 1.3796e-07 | -7.7819e-08 | 0.0052312 | 0.0052313 | 0.0052313 | 0.97051 | -0.57027 | 0.97047 | -0.57112 | 1.4372
84 | -0.0057864 | -0.0014501 | 0.0057873 | 0.0014503 | 9.1383e-07 | 2.0221e-07 | 0.0088719 | 0.0088717 | 0.0088719 | 0.97051 | -0.57027 | 0.97068 | -0.56696 | 2.4373
85 | -0.0057873 | -0.0014503 | 0.005788 | 0.0014505 | 6.9581e-07 | 1.5387e-07 | 0.0088717 | 0.0088716 | 0.0088717 | 0.97068 | -0.56696 | 0.9708 | -0.56443 | 2.4373
86 | -0.012887 | -0.0032297 | 0.01289 | 0.0032314 | 3.128e-06 | 1.7375e-06 | 0.019753 | 0.019753 | 0.019753 | 0.9708 | -0.56443 | 0.97106 | -0.55934 | 5.4267
87 | -0.01289 | -0.0032314 | 0.012894 | 0.0032334 | 3.5861e-06 | 1.9918e-06 | 0.019753 | 0.019753 | 0.019753 | 0.97106 | -0.55934 | 0.97136 | -0.5535 | 5.4267
88 | -0.076996 | -0.019487 | 0.077019 | 0.019501 | 2.3313e-05 | 1.4407e-05 | 0.11709 | 0.11709 | 0.11709 | 0.9791 | -0.40156 | 0.97942 | -0.39525 | 10.7221
89 | -0.077019 | -0.019501 | 0.077081 | 0.019539 | 6.1889e-05 | 3.8244e-05 | 0.11709 | 0.11709 | 0.11709 | 0.97942 | -0.39525 | 0.98028 | -0.37853 | 10.7221
90 | 0.017757 | 0.0044522 | -0.017753 | -0.0044498 | 3.9041e-06 | 2.318e-06 | 0.026955 | 0.026955 | 0.026955 | 0.98028 | -0.37853 | 0.98004 | -0.38315 | 7.4053
91 | 0.0055863 | 0.0013998 | -0.0055863 | -0.0013998 | 4.2219e-08 | 7.1892e-09 | 0.0084698 | 0.0084698 | 0.0084698 | 0.98142 | -0.35647 | 0.98141 | -0.35663 | 2.3269
92 | 0.0026876 | 0.00067334 | -0.0026874 | -0.00067353 | 1.3654e-07 | -1.8969e-07 | 0.0040748 | 0.0040749 | 0.0040749 | 0.98141 | -0.35663 | 0.98135 | -0.3577 | 1.1195
93 | 0.012287 | 0.0030799 | -0.012285 | -0.003079 | 1.5895e-06 | 8.6386e-07 | 0.018656 | 0.018656 | 0.018656 | 0.98004 | -0.38315 | 0.9799 | -0.38586 | 5.1252

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.6065 | 0.15541

## res_load
| p_mw | q_mvar
0 | 0.0078774 | 0.0019743
1 | 0.017025 | 0.0042669
2 | 0.0056495 | 0.0014159
3 | 0.0054267 | 0.0013601
4 | 0.015823 | 0.0039657
5 | 0.0078346 | 0.0019635
6 | 0.0045301 | 0.0011353
7 | 0.0042245 | 0.0010588
8 | 0.0043032 | 0.0010785
9 | 0.0057908 | 0.0014513
10 | 0.0097118 | 0.002434
11 | 0.0096644 | 0.0024221
12 | 0.0046115 | 0.0011558
13 | 0.0095829 | 0.0024017
14 | 0.0053032 | 0.0013291
15 | 0.076754 | 0.019236
16 | 0.048176 | 0.012074
17 | 0.0065692 | 0.0016464
18 | 0.005487 | 0.0013752
19 | 0.0034629 | 0.00086788
20 | 0.0050412 | 0.0012634
21 | 0.0052432 | 0.0013141
22 | 0.019946 | 0.004999
23 | 0.0038265 | 0.00095902
24 | 0.010016 | 0.0025103
25 | 0.0043045 | 0.0010788
26 | 0.0046312 | 0.0011607
27 | 0.011351 | 0.0028449
28 | 0.0091915 | 0.0023036
29 | 0.012401 | 0.0031079
30 | 0.0022455 | 0.00056277
31 | 0.0022087 | 0.00055356
32 | 0.0068952 | 0.0017281
33 | 0.0031227 | 0.00078262
34 | 0.018086 | 0.0045327
35 | 0.0020186 | 0.0005059
36 | 0.0048897 | 0.0012255
37 | 0.0024381 | 0.00061106
38 | 0.0054513 | 0.0013662
39 | 0.003099 | 0.00077669
40 | 0.0024344 | 0.00061013
41 | 0.0088425 | 0.0022161
42 | 0.0032594 | 0.00081689
43 | 0.007925 | 0.0019862
44 | 0.0084235 | 0.0021111
45 | 0.0044678 | 0.0011197
46 | 0.0070962 | 0.0017785
47 | 0.012363 | 0.0030983
48 | 0.0038547 | 0.00096607
49 | 0.012877 | 0.0032272
50 | 0.0049024 | 0.0012287
51 | 0.0040216 | 0.0010079
52 | 0.0068375 | 0.0017136
53 | 0.006308 | 0.0015809
54 | 0.0051215 | 0.0012836
55 | 0.0055397 | 0.0013884
56 | 0.018752 | 0.0046996
57 | 0.0031015 | 0.0007773
58 | 0.015868 | 0.0039769
59 | 0.0031018 | 0.00077738
60 | 0.0024361 | 0.00061055
61 | 0.0044598 | 0.0011177
62 | 0.0023745 | 0.00059511
63 | 0.0034118 | 0.00085507
64 | 0.0070993 | 0.0017792
65 | 0.003803 | 0.00095313
66 | 0.0036422 | 0.00091282
67 | 0.0050266 | 0.0012598
68 | 0.0028987 | 0.00072648
69 | 0.0026874 | 0.00067353
70 | 0.0054662 | 0.0013699
71 | 0.012285 | 0.003079

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1