## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1206-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1206-8_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1206-8_0_3_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1206-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1206-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1206-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1206-8_0_3_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_1206-8_0_3_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_1206-8_0_3_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_1206-8_0_3_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_1206-8_0_3_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_1206-8_0_3_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_1206-8_0_3_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_1206-8_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1206-8_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1206-8_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1206-8_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1206-8_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1206-8_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1206-8_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1206-8_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1206-8_0_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1206-8_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1206-8_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1206-8_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1206-8_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1206-8_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_1206-8_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1206-8_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1206-8_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1206-8_0_3_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_1206-8_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1206-8_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1206-8_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1206-8_0_3_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_1206-8_0_3_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_1206-8_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1206-8_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1206-8_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1206-8_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1206-8_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1206-8_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_1206-8_0_3_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_1206-8_0_3_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_1206-8_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1206-8_0_3_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_1206-8_0_3_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_1206-8_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_1206-8_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_1206-8_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_1206-8_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_1206-8_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_1206-8_0_3_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_1206-8_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_1206-8_0_3_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_1206-8_0_3_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_1206-8_0_3_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_1206-8_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_1206-8_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_1206-8_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_1206-8_0_3_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_1206-8_0_3_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_1206-8_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_1206-8_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_1206-8_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_1206-8_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_1206-8_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_1206-8_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_1206-8_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_1206-8_0_3_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_1206-8_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_1206-8_0_3_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_1206-8_0_3_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_1206-8_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_1206-8_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_MV_11_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1206-8_0_3_load_0 | 0 | 0.0045268 | 0.0011345 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1206-8_0_3_load_1 | 2 | 0.0056561 | 0.0014175 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1206-8_0_3_load_3 | 3 | 0.0053499 | 0.0013408 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1206-8_0_3_load_5 | 5 | 0.0054294 | 0.0013607 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1206-8_0_3_load_45 | 7 | 0.0053786 | 0.001348 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1206-8_0_3_load_49 | 8 | 0.0049737 | 0.0012465 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1206-8_0_3_load_43 | 9 | 0.0074462 | 0.0018662 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1206-8_0_3_load_44 | 10 | 0.0084311 | 0.002113 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1206-8_0_3_load_46 | 11 | 0.0062933 | 0.0015773 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1206-8_0_3_load_35 | 12 | 0.0068993 | 0.0017291 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1206-8_0_3_load_6 | 13 | 0.0023324 | 0.00058456 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1206-8_0_3_load_7 | 14 | 0.0038651 | 0.00096868 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1206-8_0_3_load_9 | 16 | 0.003587 | 0.000899 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1206-8_0_3_load_10 | 17 | 0.004066 | 0.001019 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1206-8_0_3_load_11 | 18 | 0.0038646 | 0.00096857 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1206-8_0_3_load_20 | 19 | 0.0044738 | 0.0011212 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1206-8_0_3_load_17 | 20 | 0.0030594 | 0.00076676 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1206-8_0_3_load_22 | 21 | 0.0021758 | 0.0005453 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1206-8_0_3_load_21 | 22 | 0.003995 | 0.0010012 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1206-8_0_3_load_18 | 23 | 0.0055329 | 0.0013867 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1206-8_0_3_load_23 | 24 | 0.004955 | 0.0012418 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1206-8_0_3_load_12 | 25 | 0.0030155 | 0.00075575 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1206-8_0_3_load_15 | 27 | 0.0012119 | 0.00030373 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1206-8_0_3_load_24 | 29 | 0.0037192 | 0.00093211 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1206-8_0_3_load_52 | 30 | 0.0024445 | 0.00061266 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1206-8_0_3_load_19 | 31 | 0.025723 | 0.0064468 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1206-8_0_3_load_31 | 32 | 0.0062121 | 0.0015569 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1206-8_0_3_load_30 | 33 | 0.0052366 | 0.0013124 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1206-8_0_3_load_78 | 34 | 0.0021507 | 0.00053903 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1206-8_0_3_load_41 | 35 | 0.0015206 | 0.00038109 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1206-8_0_3_load_25 | 36 | 0.011798 | 0.0029568 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1206-8_0_3_load_26 | 37 | 0.0077601 | 0.0019449 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1206-8_0_3_load_28 | 39 | 0.0092485 | 0.0023179 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1206-8_0_3_load_48 | 41 | 0.0050793 | 0.001273 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1206-8_0_3_load_77 | 43 | 0.0092495 | 0.0023181 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1206-8_0_3_load_47 | 44 | 0.0049096 | 0.0012305 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1206-8_0_3_load_67 | 45 | 0.010054 | 0.0025197 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1206-8_0_3_load_76 | 46 | 0.0084655 | 0.0021217 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1206-8_0_3_load_32 | 47 | 0.005347 | 0.0013401 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1206-8_0_3_load_33 | 48 | 0.0045278 | 0.0011348 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1206-8_0_3_load_34 | 49 | 0.006594 | 0.0016526 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1206-8_0_3_load_54 | 52 | 0.0037867 | 0.00094905 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1206-8_0_3_load_38 | 53 | 0.004796 | 0.001202 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1206-8_0_3_load_55 | 54 | 0.0046525 | 0.001166 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1206-8_0_3_load_37 | 55 | 0.0045074 | 0.0011297 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1206-8_0_3_load_39 | 56 | 0.0046047 | 0.0011541 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1206-8_0_3_load_50 | 57 | 0.006484 | 0.001625 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1206-8_0_3_load_66 | 60 | 0.0012226 | 0.00030642 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1206-8_0_3_load_65 | 62 | 0.00095908 | 0.00024037 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1206-8_0_3_load_51 | 63 | 0.00565 | 0.001416 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1206-8_0_3_load_63 | 64 | 0.0020964 | 0.0005254 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1206-8_0_3_load_58 | 65 | 0.00068392 | 0.00017141 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1206-8_0_3_load_57 | 66 | 0.00045667 | 0.00011445 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1206-8_0_3_load_59 | 67 | 0.0021621 | 0.00054186 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1206-8_0_3_load_64 | 69 | 0.0029582 | 0.0007414 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1206-8_0_3_load_68 | 70 | 0.0074854 | 0.001876 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1206-8_0_3_load_75 | 71 | 0.0081681 | 0.0020471 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1206-8_0_3_load_71 | 73 | 0.0095891 | 0.0024033 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1206-8_0_3_load_72 | 74 | 0.01037 | 0.0025989 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1206-8_0_3_line_0 |  | 0 | 1 | 0.0054658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1206-8_0_3_line_1 |  | 1 | 4 | 0.012079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1206-8_0_3_line_2 |  | 1 | 5 | 0.039992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1206-8_0_3_line_3 |  | 2 | 3 | 0.028726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1206-8_0_3_line_4 |  | 3 | 6 | 0.033492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1206-8_0_3_line_5 |  | 4 | 7 | 0.032179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1206-8_0_3_line_6 |  | 5 | 8 | 0.036079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1206-8_0_3_line_7 |  | 6 | 9 | 0.014463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1206-8_0_3_line_8 |  | 6 | 10 | 0.013032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1206-8_0_3_line_9 |  | 7 | 11 | 0.012251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1206-8_0_3_line_10 |  | 8 | 12 | 0.0038614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1206-8_0_3_line_11 |  | 9 | 57 | 0.014756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1206-8_0_3_line_12 |  | 10 | 58 | 0.046233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1206-8_0_3_line_13 |  | 11 | 44 | 0.022853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1206-8_0_3_line_14 |  | 13 | 14 | 0.0098204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1206-8_0_3_line_15 |  | 13 | 15 | 0.0029324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1206-8_0_3_line_16 |  | 14 | 16 | 0.0085198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1206-8_0_3_line_17 |  | 15 | 17 | 0.010312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1206-8_0_3_line_18 |  | 15 | 18 | 0.020285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1206-8_0_3_line_19 |  | 16 | 19 | 0.012875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1206-8_0_3_line_20 |  | 17 | 20 | 0.011443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1206-8_0_3_line_21 |  | 18 | 21 | 0.013643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1206-8_0_3_line_22 |  | 19 | 22 | 0.0038801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1206-8_0_3_line_23 |  | 20 | 23 | 0.022389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1206-8_0_3_line_24 |  | 21 | 24 | 0.0053107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1206-8_0_3_line_25 |  | 22 | 29 | 0.00052316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1206-8_0_3_line_26 |  | 23 | 31 | 0.009943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1206-8_0_3_line_27 |  | 24 | 34 | 0.0033625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1206-8_0_3_line_28 |  | 25 | 26 | 0.016061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1206-8_0_3_line_29 |  | 26 | 27 | 0.0027253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1206-8_0_3_line_30 |  | 26 | 28 | 0.053134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1206-8_0_3_line_31 |  | 27 | 29 | 0.023203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1206-8_0_3_line_32 |  | 28 | 30 | 0.024281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1206-8_0_3_line_33 |  | 31 | 32 | 0.0062364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1206-8_0_3_line_34 |  | 32 | 33 | 0.0023917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1206-8_0_3_line_35 |  | 33 | 38 | 0.012733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1206-8_0_3_line_36 |  | 34 | 35 | 0.027305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1206-8_0_3_line_37 |  | 35 | 56 | 0.016491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1206-8_0_3_line_38 |  | 36 | 37 | 0.018069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1206-8_0_3_line_39 |  | 36 | 38 | 0.0073988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1206-8_0_3_line_40 |  | 37 | 39 | 0.0094706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1206-8_0_3_line_41 |  | 38 | 40 | 0.032511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1206-8_0_3_line_42 |  | 39 | 41 | 0.030824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1206-8_0_3_line_43 |  | 40 | 42 | 0.021586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1206-8_0_3_line_44 |  | 40 | 43 | 0.022442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1206-8_0_3_line_45 |  | 41 | 44 | 0.0010684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1206-8_0_3_line_46 |  | 42 | 45 | 0.019917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1206-8_0_3_line_47 |  | 43 | 46 | 0.012413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1206-8_0_3_line_48 |  | 45 | 70 | 0.032364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1206-8_0_3_line_49 |  | 46 | 72 | 0.0074578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1206-8_0_3_line_50 |  | 47 | 48 | 0.023557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1206-8_0_3_line_51 |  | 47 | 49 | 0.0035474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1206-8_0_3_line_52 |  | 49 | 50 | 0.015191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1206-8_0_3_line_53 |  | 50 | 51 | 0.010612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1206-8_0_3_line_54 |  | 50 | 52 | 0.047951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1206-8_0_3_line_55 |  | 51 | 53 | 0.012993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1206-8_0_3_line_56 |  | 52 | 54 | 0.01837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1206-8_0_3_line_57 |  | 53 | 55 | 0.018686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1206-8_0_3_line_58 |  | 54 | 58 | 0.016491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1206-8_0_3_line_59 |  | 55 | 56 | 0.008376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1206-8_0_3_line_60 |  | 57 | 63 | 0.0021284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1206-8_0_3_line_61 |  | 58 | 64 | 0.20456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1206-8_0_3_line_62 |  | 59 | 60 | 0.018084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1206-8_0_3_line_63 |  | 59 | 61 | 0.029557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1206-8_0_3_line_64 |  | 60 | 62 | 0.040579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1206-8_0_3_line_65 |  | 61 | 64 | 0.015446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1206-8_0_3_line_66 |  | 61 | 65 | 0.028508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1206-8_0_3_line_67 |  | 65 | 66 | 0.0019656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1206-8_0_3_line_68 |  | 66 | 67 | 0.034083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1206-8_0_3_line_69 |  | 67 | 68 | 0.056847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1206-8_0_3_line_70 |  | 68 | 69 | 0.019832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1206-8_0_3_line_71 |  | 71 | 72 | 0.020585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1206-8_0_3_line_72 |  | 72 | 74 | 0.017526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1206-8_0_3_line_73 |  | 73 | 74 | 0.0032459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1206-8_0_3_trafo_26 | 0.63 MVA 20/0.4 kV | 75 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2692113.6909 | 1186672.7466 | 2692109.7768 | 1186676.5617
1 | 2692113.6909 | 1186672.7466 | 2692122.255 | 1186664.2063
2 | 2692113.6909 | 1186672.7466 | 2692100.449 | 1186710.4823
3 | 2692051.2284 | 1186733.628 | 2692071.7992 | 1186713.578
4 | 2692027.2445 | 1186757.0048 | 2692051.2284 | 1186733.628
5 | 2692122.255 | 1186664.2063 | 2692120.6258 | 1186683.7936 | 2692120.2657 | 1186696.3124
6 | 2692100.449 | 1186710.4823 | 2692088.5025 | 1186744.5264
7 | 2692027.2445 | 1186757.0048 | 2692039.7047 | 1186764.3471
8 | 2692027.2445 | 1186757.0048 | 2692017.712 | 1186765.8906
9 | 2692120.2657 | 1186696.3124 | 2692119.9134 | 1186708.5586
10 | 2692088.5025 | 1186744.5264 | 2692087.2239 | 1186748.17
11 | 2692039.7047 | 1186764.3471 | 2692052.4174 | 1186771.8382
12 | 2691983.3633 | 1186796.8228 | 2691998.25 | 1186784.0322 | 2692017.712 | 1186765.8906
13 | 2692119.9134 | 1186708.5586 | 2692119.8381 | 1186711.1767 | 2692124.0176 | 1186730.9744
14 | 2692164.7049 | 1186869.9687 | 2692168.3025 | 1186876.8829 | 2692169.6344 | 1186878.41
15 | 2692163.3513 | 1186867.3674 | 2692164.7049 | 1186869.9687
16 | 2692175.2346 | 1186884.8307 | 2692169.6344 | 1186878.41
17 | 2692163.3513 | 1186867.3674 | 2692160.1567 | 1186861.2365 | 2692159.3723 | 1186857.9291
18 | 2692163.3513 | 1186867.3674 | 2692144.5836 | 1186875.0641
19 | 2692175.2346 | 1186884.8307 | 2692183.6972 | 1186894.5332
20 | 2692156.7316 | 1186846.7947 | 2692159.3723 | 1186857.9291
21 | 2692144.5836 | 1186875.0641 | 2692140.3048 | 1186876.8188 | 2692133.7851 | 1186873.0273 | 2692132.4059 | 1186873.5546
22 | 2692183.6972 | 1186894.5332 | 2692186.2477 | 1186897.4573
23 | 2692156.7316 | 1186846.7947 | 2692151.5651 | 1186825.0102
24 | 2692132.4059 | 1186873.5546 | 2692127.4454 | 1186875.4511
25 | 2692186.5915 | 1186897.8516 | 2692186.2477 | 1186897.4573
26 | 2692149.2706 | 1186815.3356 | 2692151.5651 | 1186825.0102
27 | 2692124.3046 | 1186876.6519 | 2692127.4454 | 1186875.4511
28 | 2692195.1159 | 1186921.6351 | 2692185.8444 | 1186934.75
29 | 2692195.1159 | 1186921.6351 | 2692195.2513 | 1186918.9131
30 | 2692195.1159 | 1186921.6351 | 2692199.1474 | 1186933.8716 | 2692200.8459 | 1186940.5242 | 2692216.8486 | 1186943.4724 | 2692233.4672 | 1186947.553
31 | 2692195.2513 | 1186918.9131 | 2692195.4033 | 1186915.858 | 2692188.2266 | 1186899.7262 | 2692186.5915 | 1186897.8516
32 | 2692233.4672 | 1186947.553 | 2692223.3018 | 1186969.604
33 | 2692149.2706 | 1186815.3356 | 2692147.8314 | 1186809.2675
34 | 2692147.8314 | 1186809.2675 | 2692147.2795 | 1186806.9404
35 | 2692144.3411 | 1186794.5509 | 2692147.2795 | 1186806.9404
36 | 2692101.8713 | 1186875.1421 | 2692107.0848 | 1186877.9198 | 2692108.7477 | 1186882.426 | 2692118.4939 | 1186878.8736 | 2692124.3046 | 1186876.6519
37 | 2692101.8713 | 1186875.1421 | 2692087.3171 | 1186867.388
38 | 2692135.9827 | 1186770.494 | 2692141.9129 | 1186787.562
39 | 2692144.3411 | 1186794.5509 | 2692141.9129 | 1186787.562
40 | 2692135.9827 | 1186770.494 | 2692132.8745 | 1186761.548
41 | 2692144.3411 | 1186794.5509 | 2692176.1226 | 1186787.2908
42 | 2692124.2383 | 1186732.0198 | 2692126.7518 | 1186743.926 | 2692132.8745 | 1186761.548
43 | 2692176.1226 | 1186787.2908 | 2692192.4225 | 1186793.2676 | 2692194.4556 | 1186797.0235
44 | 2692176.1226 | 1186787.2908 | 2692183.6488 | 1186766.1479
45 | 2692124.2383 | 1186732.0198 | 2692124.0176 | 1186730.9744
46 | 2692194.4556 | 1186797.0235 | 2692213.3337 | 1186790.6749
47 | 2692187.8114 | 1186754.4542 | 2692183.6488 | 1186766.1479
48 | 2692213.3337 | 1186790.6749 | 2692224.4875 | 1186786.9239 | 2692228.8427 | 1186766.793
49 | 2692190.3125 | 1186747.4283 | 2692187.8114 | 1186754.4542
50 | 2692061.6805 | 1186820.8786 | 2692062.0368 | 1186819.946 | 2692069.5065 | 1186798.6598
51 | 2692061.6805 | 1186820.8786 | 2692060.4143 | 1186824.1923
52 | 2692054.9921 | 1186838.3828 | 2692060.4143 | 1186824.1923
53 | 2692051.9664 | 1186848.5539 | 2692054.9921 | 1186838.3828
54 | 2692054.9921 | 1186838.3828 | 2692013.5164 | 1186814.318
55 | 2692051.9664 | 1186848.5539 | 2692063.433 | 1186854.6631
56 | 2692013.5164 | 1186814.318 | 2691997.6275 | 1186805.0991
57 | 2692079.9248 | 1186863.4495 | 2692063.433 | 1186854.6631
58 | 2691983.3633 | 1186796.8228 | 2691997.6275 | 1186805.0991
59 | 2692079.9248 | 1186863.4495 | 2692087.3171 | 1186867.388
60 | 2692054.2512 | 1186772.9187 | 2692052.4174 | 1186771.8382
61 | 2691983.3633 | 1186796.8228 | 2691857.6336 | 1186635.4621
62 | 2691886.5984 | 1186600.9802 | 2691871.4391 | 1186591.1198
63 | 2691867.5689 | 1186623.636 | 2691886.5984 | 1186600.9802
64 | 2691834.7385 | 1186573.9404 | 2691867.1491 | 1186588.3294 | 2691871.4391 | 1186591.1198
65 | 2691867.5689 | 1186623.636 | 2691857.6336 | 1186635.4621
66 | 2691867.5689 | 1186623.636 | 2691843.411 | 1186608.5005
67 | 2691841.4618 | 1186608.2473 | 2691843.411 | 1186608.5005 | 2691843.411 | 1186608.5005
68 | 2691841.4618 | 1186608.2473 | 2691836.5182 | 1186607.6053 | 2691831.8639 | 1186608.5457 | 2691828.0425 | 1186621.3508 | 2691820.4145 | 1186629.2574
69 | 2691765.7963 | 1186628.5904 | 2691809.8731 | 1186634.7141 | 2691816.7749 | 1186633.0299 | 2691820.4145 | 1186629.2574
70 | 2691765.7963 | 1186628.5904 | 2691768.9878 | 1186609.0168
71 | 2692190.3125 | 1186747.4283 | 2692209.8726 | 1186741.0136
72 | 2692190.3125 | 1186747.4283 | 2692187.5646 | 1186730.1195
73 | 2692190.4493 | 1186728.6314 | 2692187.5646 | 1186730.1195

## bus_geodata
| x | y | coords
0 | 2692109.7768 | 1186676.5617
1 | 2692113.6909 | 1186672.7466
2 | 2692071.7992 | 1186713.578
3 | 2692051.2284 | 1186733.628
4 | 2692122.255 | 1186664.2062
5 | 2692100.449 | 1186710.4823
6 | 2692027.2445 | 1186757.0048
7 | 2692120.2657 | 1186696.3124
8 | 2692088.5025 | 1186744.5264
9 | 2692039.7047 | 1186764.3471
10 | 2692017.712 | 1186765.8906
11 | 2692119.9134 | 1186708.5586
12 | 2692087.2239 | 1186748.17
13 | 2692164.7049 | 1186869.9687
14 | 2692169.6344 | 1186878.41
15 | 2692163.3513 | 1186867.3674
16 | 2692175.2346 | 1186884.8307
17 | 2692159.3723 | 1186857.9291
18 | 2692144.5836 | 1186875.0641
19 | 2692183.6972 | 1186894.5332
20 | 2692156.7316 | 1186846.7947
21 | 2692132.4059 | 1186873.5546
22 | 2692186.2477 | 1186897.4573
23 | 2692151.5651 | 1186825.0102
24 | 2692127.4454 | 1186875.4511
25 | 2692185.8444 | 1186934.75
26 | 2692195.1159 | 1186921.6351
27 | 2692195.2513 | 1186918.9131
28 | 2692233.4672 | 1186947.553
29 | 2692186.5915 | 1186897.8516
30 | 2692223.3018 | 1186969.604
31 | 2692149.2706 | 1186815.3356
32 | 2692147.8314 | 1186809.2675
33 | 2692147.2795 | 1186806.9404
34 | 2692124.3046 | 1186876.6519
35 | 2692101.8713 | 1186875.1421
36 | 2692141.9129 | 1186787.562
37 | 2692135.9827 | 1186770.494
38 | 2692144.3411 | 1186794.5509
39 | 2692132.8745 | 1186761.548
40 | 2692176.1226 | 1186787.2908
41 | 2692124.2383 | 1186732.0198
42 | 2692194.4556 | 1186797.0235
43 | 2692183.6488 | 1186766.1479
44 | 2692124.0176 | 1186730.9744
45 | 2692213.3337 | 1186790.6749
46 | 2692187.8114 | 1186754.4542
47 | 2692061.6805 | 1186820.8786
48 | 2692069.5065 | 1186798.6598
49 | 2692060.4143 | 1186824.1923
50 | 2692054.9921 | 1186838.3828
51 | 2692051.9664 | 1186848.5539
52 | 2692013.5164 | 1186814.318
53 | 2692063.433 | 1186854.6631
54 | 2691997.6275 | 1186805.099
55 | 2692079.9248 | 1186863.4495
56 | 2692087.3171 | 1186867.388
57 | 2692052.4174 | 1186771.8382
58 | 2691983.3633 | 1186796.8228
59 | 2691886.5984 | 1186600.9802
60 | 2691871.4391 | 1186591.1199
61 | 2691867.5689 | 1186623.636
62 | 2691834.7385 | 1186573.9404
63 | 2692054.2512 | 1186772.9187
64 | 2691857.6336 | 1186635.4621
65 | 2691843.411 | 1186608.5005
66 | 2691841.4618 | 1186608.2473
67 | 2691820.4145 | 1186629.2574
68 | 2691765.7963 | 1186628.5904
69 | 2691768.9878 | 1186609.0168
70 | 2692228.8427 | 1186766.793
71 | 2692209.8726 | 1186741.0136
72 | 2692190.3125 | 1186747.4283
73 | 2692190.4493 | 1186728.6314
74 | 2692187.5646 | 1186730.1195
75 | 2692144.3411 | 1186794.5509

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99639 | -0.069471 | 0.0045268 | 0.0011345
1 | 0.99641 | -0.069036 | 0 | 0
2 | 0.9709 | -0.56211 | 0.0056561 | 0.0014175
3 | 0.97105 | -0.5591 | 0.0053499 | 0.0013408
4 | 0.99665 | -0.064408 | 0 | 0
5 | 0.99578 | -0.081193 | 0.0054294 | 0.0013607
6 | 0.9714 | -0.55229 | 0 | 0
7 | 0.99729 | -0.052088 | 0.0053786 | 0.001348
8 | 0.99539 | -0.088726 | 0.0049737 | 0.0012465
9 | 0.97113 | -0.55752 | 0.0074462 | 0.0018662
10 | 0.97177 | -0.54493 | 0.0084311 | 0.002113
11 | 0.99759 | -0.046247 | 0.0062933 | 0.0015773
12 | 0.99536 | -0.089195 | 0.0068993 | 0.0017291
13 | 0.98895 | -0.21052 | 0.0023324 | 0.00058456
14 | 0.98872 | -0.21512 | 0.0038651 | 0.00096868
15 | 0.98903 | -0.20902 | 0 | 0
16 | 0.98854 | -0.21854 | 0.003587 | 0.000899
17 | 0.99029 | -0.18485 | 0.004066 | 0.001019
18 | 0.98709 | -0.24635 | 0.0038646 | 0.00096857
19 | 0.98832 | -0.22287 | 0.0044738 | 0.0011212
20 | 0.99173 | -0.15727 | 0.0030594 | 0.00076676
21 | 0.98583 | -0.27059 | 0.0021758 | 0.0005453
22 | 0.98827 | -0.22386 | 0.003995 | 0.0010012
23 | 0.99461 | -0.10235 | 0.0055329 | 0.0013867
24 | 0.98535 | -0.27983 | 0.004955 | 0.0012418
25 | 0.98806 | -0.22786 | 0.0030155 | 0.00075575
26 | 0.98811 | -0.22699 | 0 | 0
27 | 0.98812 | -0.22673 | 0.0012119 | 0.00030373
28 | 0.98799 | -0.22931 | 0 | 0
29 | 0.98826 | -0.22396 | 0.0037192 | 0.00093211
30 | 0.98793 | -0.23037 | 0.0024445 | 0.00061266
31 | 0.99528 | -0.089708 | 0.025723 | 0.0064468
32 | 0.99577 | -0.08038 | 0.0062121 | 0.0015569
33 | 0.99596 | -0.076675 | 0.0052366 | 0.0013124
34 | 0.98506 | -0.28539 | 0.0021507 | 0.00053903
35 | 0.98277 | -0.3296 | 0.0015206 | 0.00038109
36 | 0.99787 | -0.040513 | 0.011798 | 0.0029568
37 | 1 | 0 | -0.31449 | -0.079715
38 | 0.99703 | -0.056387 | 0 | 0
39 | 0.99955 | -0.0087105 | 0.0092485 | 0.0023179
40 | 0.99515 | -0.092588 | 0 | 0
41 | 0.99833 | -0.032128 | 0.0050793 | 0.001273
42 | 0.99481 | -0.099254 | 0 | 0
43 | 0.99421 | -0.11071 | 0.0092495 | 0.0023181
44 | 0.99829 | -0.032846 | 0.0049096 | 0.0012305
45 | 0.99449 | -0.10541 | 0.010054 | 0.0025197
46 | 0.9938 | -0.11873 | 0.0084655 | 0.0021217
47 | 0.97748 | -0.43273 | 0.005347 | 0.0013401
48 | 0.97738 | -0.43468 | 0.0045278 | 0.0011348
49 | 0.97751 | -0.4321 | 0.006594 | 0.0016526
50 | 0.97774 | -0.42753 | 0 | 0
51 | 0.97848 | -0.41313 | 0 | 0
52 | 0.97515 | -0.47839 | 0.0037867 | 0.00094905
53 | 0.97938 | -0.39553 | 0.004796 | 0.001202
54 | 0.97422 | -0.49666 | 0.0046525 | 0.001166
55 | 0.98076 | -0.36865 | 0.0045074 | 0.0011297
56 | 0.98142 | -0.35594 | 0.0046047 | 0.0011541
57 | 0.97097 | -0.56083 | 0.006484 | 0.001625
58 | 0.97345 | -0.51169 | 0 | 0
59 | 0.97126 | -0.55507 | 0 | 0
60 | 0.97122 | -0.5558 | 0.0012226 | 0.00030642
61 | 0.97132 | -0.55388 | 0 | 0
62 | 0.97119 | -0.55652 | 0.00095908 | 0.00024037
63 | 0.97096 | -0.56105 | 0.00565 | 0.001416
64 | 0.97144 | -0.55147 | 0.0020964 | 0.0005254
65 | 0.97115 | -0.55718 | 0.00068392 | 0.00017141
66 | 0.97114 | -0.55738 | 0.00045667 | 0.00011445
67 | 0.97098 | -0.56061 | 0.0021621 | 0.00054186
68 | 0.97082 | -0.56372 | 0 | 0
69 | 0.97077 | -0.5648 | 0.0029582 | 0.0007414
70 | 0.99427 | -0.10968 | 0.0074854 | 0.001876
71 | 0.99345 | -0.1254 | 0.0081681 | 0.0020471
72 | 0.99361 | -0.12243 | 0 | 0
73 | 0.99326 | -0.12916 | 0.0095891 | 0.0024033
74 | 0.99329 | -0.12861 | 0.01037 | 0.0025989
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0045268 | -0.0011345 | 0.0045269 | 0.0011345 | 9.3674e-08 | -1.124e-08 | 0.0067604 | 0.0067603 | 0.0067604 | 0.99639 | -0.069471 | 0.99641 | -0.069036 | 1.8572
1 | -0.021844 | -0.0054791 | 0.021849 | 0.005482 | 4.8206e-06 | 2.9278e-06 | 0.032623 | 0.032623 | 0.032623 | 0.99641 | -0.069036 | 0.99665 | -0.064408 | 8.9623
2 | 0.017317 | 0.0043446 | -0.017307 | -0.0043387 | 1.0031e-05 | 5.8992e-06 | 0.025862 | 0.025863 | 0.025863 | 0.99641 | -0.069036 | 0.99578 | -0.081193 | 7.1051
3 | -0.0056561 | -0.0014175 | 0.0056569 | 0.0014177 | 8.0945e-07 | 1.6274e-07 | 0.0086686 | 0.0086684 | 0.0086686 | 0.9709 | -0.56211 | 0.97105 | -0.5591 | 2.3815
4 | -0.011007 | -0.0027585 | 0.01101 | 0.0027604 | 3.5728e-06 | 1.8722e-06 | 0.016866 | 0.016866 | 0.016866 | 0.97105 | -0.5591 | 0.9714 | -0.55229 | 4.6336
5 | -0.021849 | -0.005482 | 0.021861 | 0.0054898 | 1.2842e-05 | 7.7994e-06 | 0.032623 | 0.032622 | 0.032623 | 0.99665 | -0.064408 | 0.99729 | -0.052088 | 8.9623
6 | 0.011877 | 0.002978 | -0.011873 | -0.0029757 | 4.2624e-06 | 2.2588e-06 | 0.017749 | 0.017749 | 0.017749 | 0.99578 | -0.081193 | 0.99539 | -0.088726 | 4.8762
7 | 0.019587 | 0.0049113 | -0.019582 | -0.0049083 | 4.8827e-06 | 2.9459e-06 | 0.030005 | 0.030005 | 0.030005 | 0.9714 | -0.55229 | 0.97113 | -0.55752 | 8.2431
8 | -0.030597 | -0.0076717 | 0.030608 | 0.0076784 | 1.0736e-05 | 6.7097e-06 | 0.046871 | 0.046871 | 0.046871 | 0.9714 | -0.55229 | 0.97177 | -0.54493 | 12.8767
9 | -0.02724 | -0.0068379 | 0.027248 | 0.0068426 | 7.5907e-06 | 4.6982e-06 | 0.040648 | 0.040648 | 0.040648 | 0.99729 | -0.052088 | 0.99759 | -0.046247 | 11.1669
10 | 0.0068995 | 0.0017292 | -0.0068993 | -0.0017291 | 1.5404e-07 | 4.8396e-08 | 0.010314 | 0.010314 | 0.010314 | 0.99539 | -0.088726 | 0.99536 | -0.089195 | 2.8335
11 | 0.012136 | 0.0030421 | -0.012134 | -0.0030411 | 1.9134e-06 | 1.042e-06 | 0.018595 | 0.018596 | 0.018596 | 0.97113 | -0.55752 | 0.97097 | -0.56083 | 5.1087
12 | -0.039039 | -0.0097914 | 0.039101 | 0.0098305 | 6.196e-05 | 3.9081e-05 | 0.059781 | 0.059781 | 0.059781 | 0.97177 | -0.54493 | 0.97345 | -0.51169 | 16.4234
13 | -0.033541 | -0.0084198 | 0.033562 | 0.0084332 | 2.1455e-05 | 1.3432e-05 | 0.050035 | 0.050035 | 0.050035 | 0.99759 | -0.046247 | 0.99829 | -0.032846 | 13.7458
14 | 0.026327 | 0.0066023 | -0.026322 | -0.0065988 | 5.7793e-06 | 3.5728e-06 | 0.039615 | 0.039615 | 0.039615 | 0.98895 | -0.21052 | 0.98872 | -0.21512 | 10.8832
15 | -0.02866 | -0.0071869 | 0.028662 | 0.0071882 | 2.045e-06 | 1.2712e-06 | 0.043124 | 0.043124 | 0.043124 | 0.98895 | -0.21052 | 0.98903 | -0.20902 | 11.8473
16 | 0.022457 | 0.0056301 | -0.022453 | -0.0056279 | 3.6496e-06 | 2.2265e-06 | 0.033798 | 0.033798 | 0.033798 | 0.98872 | -0.21512 | 0.98854 | -0.21854 | 9.2851
17 | -0.13299 | -0.033824 | 0.13314 | 0.033923 | 0.00015508 | 9.9122e-05 | 0.20026 | 0.20026 | 0.20026 | 0.98903 | -0.20902 | 0.99029 | -0.18485 | 55.0156
18 | 0.10432 | 0.026636 | -0.10414 | -0.026516 | 0.00018782 | 0.00011994 | 0.15713 | 0.15713 | 0.15713 | 0.98903 | -0.20902 | 0.98709 | -0.24635 | 43.1684
19 | 0.018866 | 0.0047289 | -0.018862 | -0.0047265 | 3.8936e-06 | 2.3269e-06 | 0.028398 | 0.028399 | 0.028399 | 0.98854 | -0.21854 | 0.98832 | -0.22287 | 7.8018
20 | -0.13721 | -0.034942 | 0.13739 | 0.035059 | 0.00018275 | 0.00011681 | 0.20637 | 0.20637 | 0.20637 | 0.99029 | -0.18485 | 0.99173 | -0.15727 | 56.694
21 | 0.10027 | 0.025547 | -0.10015 | -0.025472 | 0.00011713 | 7.4789e-05 | 0.15131 | 0.15131 | 0.15131 | 0.98709 | -0.24635 | 0.98583 | -0.27059 | 41.568
22 | 0.014388 | 0.0036053 | -0.014388 | -0.0036049 | 6.8282e-07 | 3.8728e-07 | 0.021663 | 0.021663 | 0.021663 | 0.98832 | -0.22287 | 0.98827 | -0.22386 | 5.9513
23 | -0.14045 | -0.035826 | 0.14082 | 0.036064 | 0.00037363 | 0.00023884 | 0.21096 | 0.21096 | 0.21096 | 0.99173 | -0.15727 | 0.99461 | -0.10235 | 57.9551
24 | 0.097979 | 0.024927 | -0.097935 | -0.024899 | 4.3636e-05 | 2.7859e-05 | 0.14802 | 0.14802 | 0.14802 | 0.98583 | -0.27059 | 0.98535 | -0.27983 | 40.6657
25 | 0.010393 | 0.0026037 | -0.010393 | -0.0026037 | 4.8036e-08 | 2.4039e-08 | 0.015648 | 0.015648 | 0.015648 | 0.98827 | -0.22386 | 0.98826 | -0.22396 | 4.2988
26 | -0.14636 | -0.037451 | 0.14645 | 0.037508 | 8.9605e-05 | 5.7089e-05 | 0.21923 | 0.21923 | 0.21923 | 0.99461 | -0.10235 | 0.99528 | -0.089708 | 30.1146
27 | 0.09298 | 0.023657 | -0.092955 | -0.023642 | 2.4905e-05 | 1.5897e-05 | 0.14054 | 0.14054 | 0.14054 | 0.98535 | -0.27983 | 0.98506 | -0.28539 | 38.6101
28 | -0.0030155 | -0.00075575 | 0.0030156 | 0.00075562 | 1.2421e-07 | -1.2622e-07 | 0.0045413 | 0.0045412 | 0.0045413 | 0.98806 | -0.22786 | 0.98811 | -0.22699 | 1.2476
29 | -0.0054605 | -0.0013675 | 0.0054606 | 0.0013675 | 6.9102e-08 | 9.3155e-09 | 0.0082228 | 0.0082228 | 0.0082228 | 0.98811 | -0.22699 | 0.98812 | -0.22673 | 2.259
30 | 0.0024449 | 0.00061192 | -0.0024447 | -0.00061243 | 2.7008e-07 | -5.0766e-07 | 0.0036816 | 0.0036818 | 0.0036818 | 0.98811 | -0.22699 | 0.98799 | -0.22931 | 1.0115
31 | -0.0066725 | -0.0016713 | 0.0066734 | 0.0016715 | 8.7842e-07 | 2.6494e-07 | 0.010048 | 0.010048 | 0.010048 | 0.98812 | -0.22673 | 0.98826 | -0.22396 | 2.7604
32 | 0.0024447 | 0.00061243 | -0.0024445 | -0.00061266 | 1.2344e-07 | -2.3193e-07 | 0.0036818 | 0.0036819 | 0.0036819 | 0.98799 | -0.22931 | 0.98793 | -0.23037 | 1.0115
33 | -0.17217 | -0.043955 | 0.17225 | 0.044005 | 7.7649e-05 | 4.9533e-05 | 0.25769 | 0.25769 | 0.25769 | 0.99528 | -0.089708 | 0.99577 | -0.08038 | 35.3972
34 | -0.17846 | -0.045561 | 0.17849 | 0.045582 | 3.1963e-05 | 2.0394e-05 | 0.26697 | 0.26697 | 0.26697 | 0.99577 | -0.08038 | 0.99596 | -0.076675 | 36.6723
35 | -0.18373 | -0.046894 | 0.18391 | 0.047009 | 0.00018029 | 0.00011505 | 0.2748 | 0.2748 | 0.2748 | 0.99596 | -0.076675 | 0.99703 | -0.056387 | 37.7469
36 | 0.090805 | 0.023103 | -0.090612 | -0.022979 | 0.000193 | 0.00012317 | 0.13729 | 0.13729 | 0.13729 | 0.98506 | -0.28539 | 0.98277 | -0.3296 | 37.7176
37 | 0.089091 | 0.022598 | -0.088978 | -0.022526 | 0.00011269 | 7.1912e-05 | 0.13499 | 0.13499 | 0.13499 | 0.98277 | -0.3296 | 0.98142 | -0.35594 | 37.0851
38 | -0.25946 | -0.06609 | 0.25997 | 0.066415 | 0.00050816 | 0.00032475 | 0.38729 | 0.38729 | 0.38729 | 0.99787 | -0.040513 | 1 | 0 | 53.1989
39 | 0.24767 | 0.063133 | -0.24748 | -0.063012 | 0.0001896 | 0.00012115 | 0.3697 | 0.3697 | 0.3697 | 0.99787 | -0.040513 | 0.99703 | -0.056387 | 50.7824
40 | 0.052872 | 0.0133 | -0.05285 | -0.013286 | 2.1992e-05 | 1.3951e-05 | 0.078691 | 0.078692 | 0.078692 | 1 | 0 | 0.99955 | -0.0087105 | 21.6185
41 | 0.063569 | 0.016003 | -0.063459 | -0.015933 | 0.00010979 | 6.9845e-05 | 0.094898 | 0.094899 | 0.094899 | 0.99703 | -0.056387 | 0.99515 | -0.092588 | 26.071
42 | 0.043601 | 0.010968 | -0.043553 | -0.010938 | 4.8722e-05 | 3.0778e-05 | 0.064923 | 0.064923 | 0.064923 | 0.99955 | -0.0087105 | 0.99833 | -0.032128 | 17.8361
43 | 0.017551 | 0.0044026 | -0.017546 | -0.0043993 | 5.5758e-06 | 3.2881e-06 | 0.026245 | 0.026245 | 0.026245 | 0.99515 | -0.092588 | 0.99481 | -0.099254 | 7.2103
44 | 0.045908 | 0.01153 | -0.045868 | -0.011505 | 3.9667e-05 | 2.5095e-05 | 0.068653 | 0.068653 | 0.068653 | 0.99515 | -0.092588 | 0.99421 | -0.11071 | 18.8608
45 | 0.038473 | 0.0096645 | -0.038472 | -0.0096637 | 1.3179e-06 | 8.295e-07 | 0.057353 | 0.057353 | 0.057353 | 0.99833 | -0.032128 | 0.99829 | -0.032846 | 15.7563
46 | 0.017546 | 0.0043993 | -0.017541 | -0.0043963 | 5.1447e-06 | 3.0341e-06 | 0.026245 | 0.026245 | 0.026245 | 0.99481 | -0.099254 | 0.99449 | -0.10541 | 7.2103
47 | 0.036619 | 0.009187 | -0.036605 | -0.0091782 | 1.3983e-05 | 8.7884e-06 | 0.05481 | 0.05481 | 0.05481 | 0.99421 | -0.11071 | 0.9938 | -0.11873 | 15.0577
48 | 0.0074869 | 0.0018766 | -0.0074854 | -0.001876 | 1.5231e-06 | 5.5496e-07 | 0.011202 | 0.011203 | 0.011203 | 0.99449 | -0.10541 | 0.99427 | -0.10968 | 3.0776
49 | 0.028139 | 0.0070565 | -0.028134 | -0.0070534 | 4.965e-06 | 3.081e-06 | 0.042134 | 0.042135 | 0.042135 | 0.9938 | -0.11873 | 0.99361 | -0.12243 | 11.5754
50 | 0.0045282 | 0.0011347 | -0.0045278 | -0.0011348 | 4.1977e-07 | -2.6607e-08 | 0.0068933 | 0.0068934 | 0.0068934 | 0.97748 | -0.43273 | 0.97738 | -0.43468 | 1.8938
51 | -0.0098752 | -0.0024748 | 0.0098755 | 0.002475 | 3.0063e-07 | 1.4794e-07 | 0.015033 | 0.015033 | 0.015033 | 0.97748 | -0.43273 | 0.97751 | -0.4321 | 4.1299
52 | -0.016469 | -0.0041276 | 0.016473 | 0.0041297 | 3.5806e-06 | 2.1011e-06 | 0.025071 | 0.025071 | 0.025071 | 0.97751 | -0.4321 | 0.97774 | -0.42753 | 6.8875
53 | -0.074801 | -0.018869 | 0.074853 | 0.018902 | 5.1611e-05 | 3.2898e-05 | 0.11388 | 0.11388 | 0.11388 | 0.97774 | -0.42753 | 0.97848 | -0.41313 | 31.2865
54 | 0.058328 | 0.014739 | -0.058186 | -0.014649 | 0.00014183 | 9.0174e-05 | 0.088812 | 0.088813 | 0.088813 | 0.97774 | -0.42753 | 0.97515 | -0.47839 | 24.3991
55 | -0.074853 | -0.018902 | 0.074916 | 0.018942 | 6.3189e-05 | 4.0278e-05 | 0.11388 | 0.11388 | 0.11388 | 0.97848 | -0.41313 | 0.97938 | -0.39553 | 31.2865
56 | 0.054399 | 0.0137 | -0.054352 | -0.01367 | 4.7495e-05 | 3.0168e-05 | 0.083034 | 0.083034 | 0.083034 | 0.97515 | -0.47839 | 0.97422 | -0.49666 | 22.8116
57 | -0.079712 | -0.020144 | 0.079815 | 0.02021 | 0.00010288 | 6.561e-05 | 0.12117 | 0.12117 | 0.12117 | 0.97938 | -0.39553 | 0.98076 | -0.36865 | 33.2883
58 | 0.049699 | 0.012504 | -0.049664 | -0.012481 | 3.5653e-05 | 2.2612e-05 | 0.075928 | 0.075928 | 0.075928 | 0.97422 | -0.49666 | 0.97345 | -0.51169 | 20.8594
59 | -0.084322 | -0.021339 | 0.084374 | 0.021372 | 5.1468e-05 | 3.2834e-05 | 0.12801 | 0.12801 | 0.12801 | 0.98076 | -0.36865 | 0.98142 | -0.35594 | 35.1671
60 | 0.00565 | 0.001416 | -0.00565 | -0.001416 | 5.9841e-08 | 1.1973e-08 | 0.0086588 | 0.0086588 | 0.0086588 | 0.97097 | -0.56083 | 0.97096 | -0.56105 | 2.3788
61 | 0.010563 | 0.0026509 | -0.010543 | -0.0026406 | 2.0002e-05 | 1.0263e-05 | 0.016147 | 0.016148 | 0.016148 | 0.97345 | -0.51169 | 0.97144 | -0.55147 | 4.4363
62 | 0.0021818 | 0.00054613 | -0.0021817 | -0.00054631 | 7.5763e-08 | -1.7531e-07 | 0.0033424 | 0.0033425 | 0.0033425 | 0.97126 | -0.55507 | 0.97122 | -0.5558 | 0.91827
63 | -0.0021818 | -0.00054613 | 0.0021819 | 0.00054585 | 1.2382e-07 | -2.8658e-07 | 0.0033424 | 0.0033423 | 0.0033424 | 0.97126 | -0.55507 | 0.97132 | -0.55388 | 0.91824
64 | 0.00095911 | 0.00023989 | -0.00095908 | -0.00024037 | 3.2855e-08 | -4.8112e-07 | 0.0014693 | 0.0014695 | 0.0014695 | 0.97122 | -0.5558 | 0.97119 | -0.55652 | 0.4037
65 | -0.0084452 | -0.0021148 | 0.0084462 | 0.0021152 | 9.694e-07 | 4.2921e-07 | 0.012937 | 0.012937 | 0.012937 | 0.97132 | -0.55388 | 0.97144 | -0.55147 | 3.5541
66 | 0.0062633 | 0.0015689 | -0.0062623 | -0.0015686 | 9.8416e-07 | 2.7707e-07 | 0.0095948 | 0.0095949 | 0.0095949 | 0.97132 | -0.55388 | 0.97115 | -0.55718 | 2.636
67 | 0.0055784 | 0.0013972 | -0.0055783 | -0.0013972 | 5.3845e-08 | 1.014e-08 | 0.008547 | 0.008547 | 0.008547 | 0.97115 | -0.55718 | 0.97114 | -0.55738 | 2.3481
68 | 0.0051217 | 0.0012828 | -0.0051209 | -0.0012827 | 7.8707e-07 | 8.2085e-08 | 0.0078473 | 0.0078474 | 0.0078474 | 0.97114 | -0.55738 | 0.97098 | -0.56061 | 2.1559
69 | 0.0029588 | 0.00074083 | -0.0029584 | -0.00074125 | 4.3827e-07 | -4.2252e-07 | 0.0045341 | 0.0045343 | 0.0045343 | 0.97098 | -0.56061 | 0.97082 | -0.56372 | 1.2457
70 | 0.0029584 | 0.00074125 | -0.0029582 | -0.0007414 | 1.5291e-07 | -1.4735e-07 | 0.0045343 | 0.0045344 | 0.0045344 | 0.97082 | -0.56372 | 0.97077 | -0.5648 | 1.2457
71 | -0.0081681 | -0.0020471 | 0.0081693 | 0.0020476 | 1.1554e-06 | 4.729e-07 | 0.012234 | 0.012234 | 0.012234 | 0.99345 | -0.1254 | 0.99361 | -0.12243 | 3.3611
72 | 0.019965 | 0.0050058 | -0.019959 | -0.0050023 | 5.8756e-06 | 3.5335e-06 | 0.0299 | 0.0299 | 0.0299 | 0.99361 | -0.12243 | 0.99329 | -0.12861 | 8.2144
73 | -0.0095891 | -0.0024033 | 0.0095893 | 0.0024034 | 2.5119e-07 | 1.1875e-07 | 0.014366 | 0.014366 | 0.014366 | 0.99326 | -0.12916 | 0.99329 | -0.12861 | 3.9466

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32225 | 0.08166

## res_load
| p_mw | q_mvar
0 | 0.0045268 | 0.0011345
1 | 0.0056561 | 0.0014175
2 | 0.0053499 | 0.0013408
3 | 0.0054294 | 0.0013607
4 | 0.0053786 | 0.001348
5 | 0.0049737 | 0.0012465
6 | 0.0074462 | 0.0018662
7 | 0.0084311 | 0.002113
8 | 0.0062933 | 0.0015773
9 | 0.0068993 | 0.0017291
10 | 0.0023324 | 0.00058456
11 | 0.0038651 | 0.00096868
12 | 0.003587 | 0.000899
13 | 0.004066 | 0.001019
14 | 0.0038646 | 0.00096857
15 | 0.0044738 | 0.0011212
16 | 0.0030594 | 0.00076676
17 | 0.0021758 | 0.0005453
18 | 0.003995 | 0.0010012
19 | 0.0055329 | 0.0013867
20 | 0.004955 | 0.0012418
21 | 0.0030155 | 0.00075575
22 | 0.0012119 | 0.00030373
23 | 0.0037192 | 0.00093211
24 | 0.0024445 | 0.00061266
25 | 0.025723 | 0.0064468
26 | 0.0062121 | 0.0015569
27 | 0.0052366 | 0.0013124
28 | 0.0021507 | 0.00053903
29 | 0.0015206 | 0.00038109
30 | 0.011798 | 0.0029568
31 | 0.0077601 | 0.0019449
32 | 0.0092485 | 0.0023179
33 | 0.0050793 | 0.001273
34 | 0.0092495 | 0.0023181
35 | 0.0049096 | 0.0012305
36 | 0.010054 | 0.0025197
37 | 0.0084655 | 0.0021217
38 | 0.005347 | 0.0013401
39 | 0.0045278 | 0.0011348
40 | 0.006594 | 0.0016526
41 | 0.0037867 | 0.00094905
42 | 0.004796 | 0.001202
43 | 0.0046525 | 0.001166
44 | 0.0045074 | 0.0011297
45 | 0.0046047 | 0.0011541
46 | 0.006484 | 0.001625
47 | 0.0012226 | 0.00030642
48 | 0.00095908 | 0.00024037
49 | 0.00565 | 0.001416
50 | 0.0020964 | 0.0005254
51 | 0.00068392 | 0.00017141
52 | 0.00045667 | 0.00011445
53 | 0.0021621 | 0.00054186
54 | 0.0029582 | 0.0007414
55 | 0.0074854 | 0.001876
56 | 0.0081681 | 0.0020471
57 | 0.0095891 | 0.0024033
58 | 0.01037 | 0.0025989

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1