## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1206-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1206-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1206-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1206-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1206-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1206-9_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1206-9_0_4_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_1206-9_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1206-9_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1206-9_0_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1206-9_0_4_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_1206-9_0_4_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_1206-9_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1206-9_0_4_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_1206-9_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1206-9_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1206-9_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1206-9_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1206-9_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1206-9_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1206-9_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1206-9_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1206-9_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1206-9_0_4_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1206-9_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1206-9_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1206-9_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1206-9_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1206-9_0_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1206-9_0_4_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_1206-9_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1206-9_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1206-9_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1206-9_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1206-9_0_4_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_1206-9_0_4_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_1206-9_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1206-9_0_4_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_1206-9_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_1206-9_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1206-9_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1206-9_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1206-9_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1206-9_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1206-9_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1206-9_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1206-9_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1206-9_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1206-9_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1206-9_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_1206-9_0_4_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_1206-9_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_1206-9_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_1206-9_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_1206-9_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_1206-9_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_1206-9_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_1206-9_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_1206-9_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_1206-9_0_4_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_1206-9_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_MV_11_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1206-9_0_4_load_0 | 0 | 0.0058527 | 0.0014668 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1206-9_0_4_load_1 | 1 | 0.0115 | 0.0028821 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1206-9_0_4_load_3 | 3 | 0.0074366 | 0.0018638 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1206-9_0_4_load_4 | 4 | 0.012204 | 0.0030585 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1206-9_0_4_load_6 | 5 | 0.017575 | 0.0044047 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1206-9_0_4_load_53 | 6 | 0.008654 | 0.0021689 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1206-9_0_4_load_16 | 9 | 0.025006 | 0.006267 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1206-9_0_4_load_60 | 11 | 0.016162 | 0.0040507 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1206-9_0_4_load_19 | 13 | 0.0029033 | 0.00072765 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1206-9_0_4_load_7 | 15 | 0.002343 | 0.00058721 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1206-9_0_4_load_8 | 16 | 0.0020971 | 0.00052558 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1206-9_0_4_load_10 | 17 | 0.0026276 | 0.00065853 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1206-9_0_4_load_11 | 18 | 0.0028441 | 0.00071281 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1206-9_0_4_load_12 | 19 | 0.0028424 | 0.00071238 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1206-9_0_4_load_14 | 21 | 0.0033147 | 0.00083075 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1206-9_0_4_load_22 | 22 | 0.0038683 | 0.00096948 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1206-9_0_4_load_21 | 25 | 0.0031528 | 0.00079016 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1206-9_0_4_load_24 | 27 | 0.0041996 | 0.0010525 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1206-9_0_4_load_30 | 28 | 0.0027952 | 0.00070055 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1206-9_0_4_load_61 | 29 | 0.020115 | 0.0050414 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1206-9_0_4_load_23 | 30 | 0.0047935 | 0.0012014 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1206-9_0_4_load_25 | 31 | 0.0031966 | 0.00080115 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1206-9_0_4_load_27 | 32 | 0.0052256 | 0.0013097 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1206-9_0_4_load_31 | 33 | 0.004476 | 0.0011218 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1206-9_0_4_load_46 | 34 | 0.0053958 | 0.0013523 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1206-9_0_4_load_43 | 35 | 0.0070176 | 0.0017588 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1206-9_0_4_load_55 | 37 | 0.0045141 | 0.0011313 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1206-9_0_4_load_44 | 38 | 0.014388 | 0.0036061 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1206-9_0_4_load_33 | 39 | 0.0046727 | 0.0011711 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1206-9_0_4_load_34 | 40 | 0.013212 | 0.0033113 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1206-9_0_4_load_35 | 41 | 0.0078533 | 0.0019682 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1206-9_0_4_load_42 | 42 | 0.0065775 | 0.0016485 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1206-9_0_4_load_36 | 44 | 0.015335 | 0.0038433 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1206-9_0_4_load_39 | 46 | 0.0092183 | 0.0023103 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1206-9_0_4_load_40 | 47 | 0.0034136 | 0.00085554 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1206-9_0_4_load_41 | 48 | 0.010417 | 0.0026108 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1206-9_0_4_load_45 | 49 | 0.015384 | 0.0038557 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1206-9_0_4_load_56 | 50 | 0.0091643 | 0.0022968 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1206-9_0_4_load_47 | 51 | 0.0067015 | 0.0016795 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1206-9_0_4_load_51 | 55 | 0.0070844 | 0.0017755 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1206-9_0_4_load_52 | 56 | 0.0088675 | 0.0022224 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1206-9_0_4_load_57 | 58 | 0.0052434 | 0.0013141 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1206-9_0_4_load_62 | 59 | 0.0076427 | 0.0019154 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1206-9_0_4_load_58 | 60 | 0.0068151 | 0.001708 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1206-9_0_4_line_0 |  | 0 | 1 | 0.012059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1206-9_0_4_line_1 |  | 0 | 2 | 0.011693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1206-9_0_4_line_2 |  | 1 | 3 | 0.0070695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1206-9_0_4_line_3 |  | 2 | 4 | 0.017941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1206-9_0_4_line_4 |  | 3 | 5 | 0.02133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1206-9_0_4_line_5 |  | 4 | 6 | 0.017071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1206-9_0_4_line_6 |  | 5 | 8 | 0.012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1206-9_0_4_line_7 |  | 6 | 10 | 0.010844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1206-9_0_4_line_8 |  | 7 | 8 | 0.053486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1206-9_0_4_line_9 |  | 7 | 9 | 0.051436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1206-9_0_4_line_10 |  | 8 | 11 | 0.013935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1206-9_0_4_line_11 |  | 9 | 14 | 0.022525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1206-9_0_4_line_12 |  | 10 | 56 | 0.0081579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1206-9_0_4_line_13 |  | 11 | 29 | 0.027514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1206-9_0_4_line_14 |  | 12 | 13 | 0.05761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1206-9_0_4_line_15 |  | 12 | 14 | 0.016517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1206-9_0_4_line_16 |  | 14 | 16 | 0.024396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1206-9_0_4_line_17 |  | 15 | 16 | 0.00082372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1206-9_0_4_line_18 |  | 17 | 18 | 0.0082077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1206-9_0_4_line_19 |  | 17 | 19 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1206-9_0_4_line_20 |  | 18 | 20 | 0.018245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1206-9_0_4_line_21 |  | 19 | 21 | 0.020659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1206-9_0_4_line_22 |  | 20 | 22 | 0.022109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1206-9_0_4_line_23 |  | 20 | 23 | 0.009496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1206-9_0_4_line_24 |  | 21 | 24 | 0.087231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1206-9_0_4_line_25 |  | 22 | 25 | 0.03072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1206-9_0_4_line_26 |  | 23 | 26 | 0.053838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1206-9_0_4_line_27 |  | 23 | 27 | 0.014112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1206-9_0_4_line_28 |  | 24 | 28 | 0.049778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1206-9_0_4_line_29 |  | 25 | 30 | 0.0085174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1206-9_0_4_line_30 |  | 26 | 34 | 0.009862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1206-9_0_4_line_31 |  | 26 | 35 | 0.037397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1206-9_0_4_line_32 |  | 27 | 31 | 0.024111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1206-9_0_4_line_33 |  | 31 | 32 | 0.008632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1206-9_0_4_line_34 |  | 32 | 33 | 0.017471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1206-9_0_4_line_35 |  | 33 | 36 | 0.023868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1206-9_0_4_line_36 |  | 34 | 37 | 0.043663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1206-9_0_4_line_37 |  | 35 | 38 | 0.0031406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1206-9_0_4_line_38 |  | 36 | 39 | 0.011667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1206-9_0_4_line_39 |  | 37 | 50 | 0.020205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1206-9_0_4_line_40 |  | 38 | 49 | 0.010661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1206-9_0_4_line_41 |  | 39 | 40 | 0.020752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1206-9_0_4_line_42 |  | 40 | 41 | 0.0020164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1206-9_0_4_line_43 |  | 41 | 42 | 0.023958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1206-9_0_4_line_44 |  | 42 | 43 | 0.018612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1206-9_0_4_line_45 |  | 43 | 46 | 0.035378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1206-9_0_4_line_46 |  | 43 | 45 | 0.002954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1206-9_0_4_line_47 |  | 44 | 45 | 0.018429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1206-9_0_4_line_48 |  | 46 | 47 | 0.030365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1206-9_0_4_line_49 |  | 47 | 48 | 0.027761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1206-9_0_4_line_50 |  | 50 | 55 | 0.0064292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1206-9_0_4_line_51 |  | 51 | 52 | 0.010739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_1206-9_0_4_line_52 |  | 51 | 53 | 0.0071879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1206-9_0_4_line_53 |  | 52 | 54 | 0.049196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1206-9_0_4_line_54 |  | 52 | 55 | 0.037946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1206-9_0_4_line_55 |  | 53 | 56 | 0.010891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_1206-9_0_4_line_56 |  | 54 | 57 | 0.038892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1206-9_0_4_line_57 |  | 54 | 58 | 0.061391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1206-9_0_4_line_58 |  | 57 | 59 | 0.096956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1206-9_0_4_line_59 |  | 58 | 60 | 0.0089052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1206-9_0_4_trafo_43 | 0.63 MVA 20/0.4 kV | 61 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2692427.7943 | 1186602.7906 | 2692416.1368 | 1186599.7042
1 | 2692439.0978 | 1186605.7833 | 2692427.7943 | 1186602.7906
2 | 2692416.1368 | 1186599.7042 | 2692409.3028 | 1186597.8949
3 | 2692439.0978 | 1186605.7833 | 2692440.5292 | 1186599.0789 | 2692443.3198 | 1186588.3507
4 | 2692409.3028 | 1186597.8949 | 2692388.6833 | 1186592.4358
5 | 2692447.6173 | 1186571.8299 | 2692443.3198 | 1186588.3507
6 | 2692376.9337 | 1186589.325 | 2692388.6833 | 1186592.4358
7 | 2692450.0192 | 1186561.2568 | 2692448.0906 | 1186570.0104 | 2692447.6173 | 1186571.8299
8 | 2692376.9337 | 1186589.325 | 2692374.1051 | 1186598.0536 | 2692392.7243 | 1186602.6103 | 2692388.1406 | 1186621.2181 | 2692386.7079 | 1186627.0219
9 | 2692386.7079 | 1186627.0219 | 2692385.5844 | 1186631.5852 | 2692381.9936 | 1186646.1836 | 2692351.2007 | 1186638.6432
10 | 2692376.9337 | 1186589.325 | 2692374.3451 | 1186582.9922 | 2692367.4118 | 1186581.4916
11 | 2692329.3219 | 1186633.2856 | 2692351.2007 | 1186638.6432
12 | 2692450.0192 | 1186561.2568 | 2692451.5451 | 1186553.2429
13 | 2692351.3446 | 1186567.9544 | 2692350.1728 | 1186577.7606 | 2692367.4118 | 1186581.4916
14 | 2692313.2345 | 1186629.3463 | 2692304.6811 | 1186628.2582 | 2692293.7948 | 1186676.0215
15 | 2692313.2345 | 1186629.3463 | 2692329.3219 | 1186633.2856
16 | 2692329.3219 | 1186633.2856 | 2692323.7159 | 1186657.0288
17 | 2692323.5266 | 1186657.8305 | 2692323.7159 | 1186657.0288
18 | 2692263.792 | 1186448.1004 | 2692271.7575 | 1186450.0799
19 | 2692246.1067 | 1186443.7055 | 2692263.792 | 1186448.1004
20 | 2692289.4642 | 1186454.4801 | 2692271.7575 | 1186450.0799
21 | 2692246.1067 | 1186443.7055 | 2692242.2908 | 1186464.0093
22 | 2692289.4642 | 1186454.4801 | 2692283.9579 | 1186475.8924
23 | 2692289.4642 | 1186454.4801 | 2692297.7408 | 1186459.1772
24 | 2692225.1533 | 1186549.5167 | 2692229.6135 | 1186531.4628 | 2692242.2908 | 1186464.0093
25 | 2692276.3069 | 1186505.6446 | 2692283.9579 | 1186475.8924
26 | 2692297.7408 | 1186459.1772 | 2692304.9901 | 1186462.202 | 2692337.3897 | 1186471.396 | 2692348.8383 | 1186476.2756
27 | 2692297.7408 | 1186459.1772 | 2692301.2662 | 1186445.5124
28 | 2692225.1533 | 1186549.5167 | 2692274.1537 | 1186559.044
29 | 2692274.1856 | 1186513.8936 | 2692276.3069 | 1186505.6446
30 | 2692348.8383 | 1186476.2756 | 2692357.759 | 1186480.4803
31 | 2692348.8383 | 1186476.2756 | 2692341.942 | 1186497.8719 | 2692347.1167 | 1186511.6588
32 | 2692307.4244 | 1186422.2028 | 2692305.7033 | 1186428.3137 | 2692301.2662 | 1186445.5124
33 | 2692309.7644 | 1186413.894 | 2692307.4244 | 1186422.2028
34 | 2692314.5006 | 1186397.0772 | 2692309.7644 | 1186413.894
35 | 2692320.9709 | 1186374.1034 | 2692314.5006 | 1186397.0772
36 | 2692357.759 | 1186480.4803 | 2692384.8572 | 1186493.2528 | 2692397.205 | 1186499.1998
37 | 2692347.1167 | 1186511.6588 | 2692348.2203 | 1186514.5991
38 | 2692320.9709 | 1186374.1034 | 2692309.907 | 1186370.4001
39 | 2692397.205 | 1186499.1998 | 2692415.4083 | 1186507.967
40 | 2692348.6667 | 1186524.7089 | 2692350.1226 | 1186519.6674 | 2692348.2203 | 1186514.5991
41 | 2692309.907 | 1186370.4001 | 2692302.5512 | 1186367.9379 | 2692290.0391 | 1186364.428
42 | 2692290.0391 | 1186364.428 | 2692288.0976 | 1186363.8833
43 | 2692265.0299 | 1186357.4123 | 2692288.0976 | 1186363.8833
44 | 2692247.1093 | 1186352.3852 | 2692265.0299 | 1186357.4123
45 | 2692247.1093 | 1186352.3852 | 2692258.6488 | 1186318.9418
46 | 2692246.6446 | 1186355.3021 | 2692247.1093 | 1186352.3852
47 | 2692246.6446 | 1186355.3021 | 2692241.0541 | 1186372.8624
48 | 2692258.6488 | 1186318.9418 | 2692264.804 | 1186301.1029 | 2692275.5639 | 1186305.1449
49 | 2692301.5519 | 1186314.9075 | 2692275.5639 | 1186305.1449
50 | 2692415.4083 | 1186507.967 | 2692420.893 | 1186510.6086 | 2692421.2053 | 1186510.7468
51 | 2692456.412 | 1186524.8435 | 2692454.9332 | 1186534.6157 | 2692454.7896 | 1186535.4586
52 | 2692453.5821 | 1186542.5444 | 2692454.7896 | 1186535.4586
53 | 2692456.412 | 1186524.8435 | 2692458.3187 | 1186507.6286 | 2692460.3438 | 1186475.8286
54 | 2692456.412 | 1186524.8435 | 2692437.6747 | 1186518.0389 | 2692421.2053 | 1186510.7468
55 | 2692453.5821 | 1186542.5444 | 2692451.5451 | 1186553.2429
56 | 2692462.1494 | 1186436.9873 | 2692460.3438 | 1186475.8286
57 | 2692460.3438 | 1186475.8286 | 2692421.6075 | 1186475.6974 | 2692399.3368 | 1186471.5468
58 | 2692368.1453 | 1186433.3126 | 2692377.6754 | 1186432.4479 | 2692385.7637 | 1186426.1019 | 2692434.8376 | 1186435.8651 | 2692462.1494 | 1186436.9873
59 | 2692390.5824 | 1186469.9152 | 2692399.3368 | 1186471.5468

## bus_geodata
| x | y | coords
0 | 2692427.7943 | 1186602.7906
1 | 2692416.1368 | 1186599.7042
2 | 2692439.0978 | 1186605.7833
3 | 2692409.3028 | 1186597.8949
4 | 2692443.3198 | 1186588.3507
5 | 2692388.6833 | 1186592.4358
6 | 2692447.6173 | 1186571.8299
7 | 2692386.7079 | 1186627.0219
8 | 2692376.9337 | 1186589.325
9 | 2692351.2007 | 1186638.6432
10 | 2692450.0192 | 1186561.2568
11 | 2692367.4118 | 1186581.4916
12 | 2692313.2345 | 1186629.3463
13 | 2692293.7948 | 1186676.0215
14 | 2692329.3219 | 1186633.2856
15 | 2692323.5266 | 1186657.8305
16 | 2692323.7159 | 1186657.0288
17 | 2692263.792 | 1186448.1004
18 | 2692271.7575 | 1186450.0799
19 | 2692246.1067 | 1186443.7055
20 | 2692289.4642 | 1186454.4801
21 | 2692242.2908 | 1186464.0093
22 | 2692283.9579 | 1186475.8924
23 | 2692297.7408 | 1186459.1772
24 | 2692225.1533 | 1186549.5167
25 | 2692276.3069 | 1186505.6446
26 | 2692348.8383 | 1186476.2756
27 | 2692301.2662 | 1186445.5124
28 | 2692274.1537 | 1186559.044
29 | 2692351.3446 | 1186567.9544
30 | 2692274.1856 | 1186513.8936
31 | 2692307.4244 | 1186422.2028
32 | 2692309.7644 | 1186413.894
33 | 2692314.5006 | 1186397.0772
34 | 2692357.759 | 1186480.4803
35 | 2692347.1167 | 1186511.6588
36 | 2692320.9709 | 1186374.1034
37 | 2692397.205 | 1186499.1998
38 | 2692348.2203 | 1186514.5991
39 | 2692309.907 | 1186370.4001
40 | 2692290.0391 | 1186364.428
41 | 2692288.0976 | 1186363.8833
42 | 2692265.0299 | 1186357.4123
43 | 2692247.1093 | 1186352.3852
44 | 2692241.0541 | 1186372.8624
45 | 2692246.6446 | 1186355.3021
46 | 2692258.6488 | 1186318.9418
47 | 2692275.5639 | 1186305.1449
48 | 2692301.5519 | 1186314.9075
49 | 2692348.6667 | 1186524.7089
50 | 2692415.4083 | 1186507.967
51 | 2692454.7896 | 1186535.4586
52 | 2692456.412 | 1186524.8435
53 | 2692453.5821 | 1186542.5444
54 | 2692460.3438 | 1186475.8286
55 | 2692421.2053 | 1186510.7468
56 | 2692451.5451 | 1186553.2429
57 | 2692462.1494 | 1186436.9873
58 | 2692399.3368 | 1186471.5468
59 | 2692368.1453 | 1186433.3126
60 | 2692390.5824 | 1186469.9152
61 | 2692348.8383 | 1186476.2756

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98105 | -0.36338 | 0.0058527 | 0.0014668
1 | 0.97987 | -0.38637 | 0.0115 | 0.0028821
2 | 0.98225 | -0.3399 | 0 | 0
3 | 0.97926 | -0.3984 | 0.0074366 | 0.0018638
4 | 0.98411 | -0.304 | 0.012204 | 0.0030585
5 | 0.97755 | -0.43188 | 0.017575 | 0.0044047
6 | 0.98606 | -0.26622 | 0.008654 | 0.0021689
7 | 0.97516 | -0.47877 | 0 | 0
8 | 0.97677 | -0.4471 | 0 | 0
9 | 0.97361 | -0.50932 | 0.025006 | 0.006267
10 | 0.98738 | -0.24062 | 0 | 0
11 | 0.9763 | -0.45634 | 0.016162 | 0.0040507
12 | 0.97341 | -0.51325 | 0 | 0
13 | 0.97325 | -0.51633 | 0.0029033 | 0.00072765
14 | 0.97346 | -0.51236 | 0 | 0
15 | 0.97335 | -0.51439 | 0.002343 | 0.00058721
16 | 0.97335 | -0.51436 | 0.0020971 | 0.00052558
17 | 0.99024 | -0.18622 | 0.0026276 | 0.00065853
18 | 0.99033 | -0.18453 | 0.0028441 | 0.00071281
19 | 0.99009 | -0.18912 | 0.0028424 | 0.00071238
20 | 0.99057 | -0.17985 | 0 | 0
21 | 0.98998 | -0.19137 | 0.0033147 | 0.00083075
22 | 0.99033 | -0.18449 | 0.0038683 | 0.00096948
23 | 0.9908 | -0.17542 | 0 | 0
24 | 0.98975 | -0.19571 | 0 | 0
25 | 0.99011 | -0.18883 | 0.0031528 | 0.00079016
26 | 0.99646 | -0.067019 | 0 | 0
27 | 0.98965 | -0.19745 | 0.0041996 | 0.0010525
28 | 0.98963 | -0.19818 | 0.0027952 | 0.00070055
29 | 0.97579 | -0.46647 | 0.020115 | 0.0050414
30 | 0.99007 | -0.18956 | 0.0047935 | 0.0012014
31 | 0.98779 | -0.23339 | 0.0031966 | 0.00080115
32 | 0.98715 | -0.2458 | 0.0052256 | 0.0013097
33 | 0.98593 | -0.26932 | 0.004476 | 0.0011218
34 | 0.99587 | -0.07818 | 0.0053958 | 0.0013523
35 | 1 | 0 | -0.34372 | -0.087651
36 | 0.98437 | -0.29962 | 0 | 0
37 | 0.99334 | -0.12637 | 0.0045141 | 0.0011313
38 | 0.99992 | -0.0016299 | 0.014388 | 0.0036061
39 | 0.98361 | -0.31447 | 0.0046727 | 0.0011711
40 | 0.98235 | -0.33919 | 0.013212 | 0.0033113
41 | 0.98225 | -0.34112 | 0.0078533 | 0.0019682
42 | 0.98125 | -0.3606 | 0.0065775 | 0.0016485
43 | 0.98059 | -0.37354 | 0 | 0
44 | 0.98029 | -0.37949 | 0.015335 | 0.0038433
45 | 0.98055 | -0.37436 | 0 | 0
46 | 0.97983 | -0.38833 | 0.0092183 | 0.0023103
47 | 0.97945 | -0.39596 | 0.0034136 | 0.00085554
48 | 0.97918 | -0.40122 | 0.010417 | 0.0026108
49 | 0.99977 | -0.0044894 | 0.015384 | 0.0038557
50 | 0.9922 | -0.14821 | 0.0091643 | 0.0022968
51 | 0.98941 | -0.20174 | 0.0067015 | 0.0016795
52 | 0.9899 | -0.19235 | 0 | 0
53 | 0.98909 | -0.20775 | 0 | 0
54 | 0.98901 | -0.20961 | 0 | 0
55 | 0.99185 | -0.15482 | 0.0070844 | 0.0017755
56 | 0.98838 | -0.22141 | 0.0088675 | 0.0022224
57 | 0.98873 | -0.21492 | 0 | 0
58 | 0.98833 | -0.22282 | 0.0052434 | 0.0013141
59 | 0.98805 | -0.22814 | 0.0076427 | 0.0019154
60 | 0.98827 | -0.2239 | 0.0068151 | 0.001708
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.10562 | 0.026655 | -0.1055 | -0.026581 | 0.00011615 | 7.4187e-05 | 0.16027 | 0.16027 | 0.16027 | 0.98105 | -0.36338 | 0.97987 | -0.38637 | 44.0294
1 | -0.11147 | -0.028122 | 0.1116 | 0.028202 | 0.00012545 | 8.014e-05 | 0.16914 | 0.16914 | 0.16914 | 0.98105 | -0.36338 | 0.98225 | -0.3399 | 46.4682
2 | 0.094005 | 0.023699 | -0.093951 | -0.023664 | 5.4063e-05 | 3.4511e-05 | 0.1428 | 0.1428 | 0.1428 | 0.97987 | -0.38637 | 0.97926 | -0.3984 | 39.2318
3 | -0.1116 | -0.028202 | 0.11179 | 0.028325 | 0.00019248 | 0.00012296 | 0.16914 | 0.16914 | 0.16914 | 0.98225 | -0.3399 | 0.98411 | -0.304 | 46.4682
4 | 0.086514 | 0.0218 | -0.086376 | -0.021712 | 0.00013832 | 8.8259e-05 | 0.1315 | 0.1315 | 0.1315 | 0.97926 | -0.3984 | 0.97755 | -0.43188 | 36.1274
5 | -0.12399 | -0.031383 | 0.12422 | 0.031527 | 0.00022528 | 0.00014396 | 0.1876 | 0.1876 | 0.1876 | 0.98411 | -0.304 | 0.98606 | -0.26622 | 51.5375
6 | 0.068801 | 0.017307 | -0.068751 | -0.017275 | 5.0013e-05 | 3.1856e-05 | 0.10475 | 0.10475 | 0.10475 | 0.97755 | -0.43188 | 0.97677 | -0.4471 | 28.7778
7 | -0.13287 | -0.033696 | 0.13304 | 0.033801 | 0.00016372 | 0.00010464 | 0.20066 | 0.20066 | 0.20066 | 0.98606 | -0.26622 | 0.98738 | -0.24062 | 55.1252
8 | -0.032398 | -0.0081367 | 0.032447 | 0.0081675 | 4.9033e-05 | 3.0712e-05 | 0.049443 | 0.049443 | 0.049443 | 0.97516 | -0.47877 | 0.97677 | -0.4471 | 13.5833
9 | 0.032398 | 0.0081367 | -0.032351 | -0.0081072 | 4.7153e-05 | 2.9537e-05 | 0.049443 | 0.049443 | 0.049443 | 0.97516 | -0.47877 | 0.97361 | -0.50932 | 13.5834
10 | 0.036303 | 0.009108 | -0.036287 | -0.0090979 | 1.5985e-05 | 1.0056e-05 | 0.055308 | 0.055308 | 0.055308 | 0.97677 | -0.4471 | 0.9763 | -0.45634 | 15.1946
11 | 0.0073455 | 0.0018402 | -0.0073444 | -0.0018398 | 1.0646e-06 | 4.0124e-07 | 0.011226 | 0.011226 | 0.011226 | 0.97361 | -0.50932 | 0.97346 | -0.51236 | 3.0842
12 | -0.13304 | -0.033801 | 0.13316 | 0.03388 | 0.00012317 | 7.8725e-05 | 0.20066 | 0.20066 | 0.20066 | 0.98738 | -0.24062 | 0.98838 | -0.22141 | 55.1252
13 | 0.020125 | 0.0050472 | -0.020115 | -0.0050414 | 9.7083e-06 | 5.8694e-06 | 0.030674 | 0.030675 | 0.030675 | 0.9763 | -0.45634 | 0.97579 | -0.46647 | 8.4271
14 | 0.0029038 | 0.0007272 | -0.0029033 | -0.00072765 | 4.2566e-07 | -4.4361e-07 | 0.0044387 | 0.0044389 | 0.0044389 | 0.97341 | -0.51325 | 0.97325 | -0.51633 | 1.2195
15 | -0.0029038 | -0.0007272 | 0.0029039 | 0.00072708 | 1.2203e-07 | -1.2723e-07 | 0.0044387 | 0.0044386 | 0.0044387 | 0.97341 | -0.51325 | 0.97346 | -0.51236 | 1.2194
16 | 0.0044405 | 0.0011128 | -0.0044401 | -0.0011128 | 4.2151e-07 | -3.3496e-08 | 0.0067877 | 0.0067878 | 0.0067878 | 0.97346 | -0.51236 | 0.97335 | -0.51436 | 1.8648
17 | -0.002343 | -0.00058721 | 0.002343 | 0.00058721 | 3.963e-09 | -7.7021e-09 | 0.0035819 | 0.0035819 | 0.0035819 | 0.97335 | -0.51439 | 0.97335 | -0.51436 | 0.98403
18 | -0.011583 | -0.0029017 | 0.011584 | 0.0029022 | 9.3237e-07 | 4.9112e-07 | 0.017405 | 0.017405 | 0.017405 | 0.99024 | -0.18622 | 0.99033 | -0.18453 | 4.7815
19 | 0.0089552 | 0.0022432 | -0.008954 | -0.0022427 | 1.2374e-06 | 5.5755e-07 | 0.013456 | 0.013456 | 0.013456 | 0.99024 | -0.18622 | 0.99009 | -0.18912 | 3.6968
20 | -0.014428 | -0.003615 | 0.014431 | 0.0036169 | 3.2153e-06 | 1.823e-06 | 0.021678 | 0.021678 | 0.021678 | 0.99033 | -0.18453 | 0.99057 | -0.17985 | 5.9556
21 | 0.0061115 | 0.0015303 | -0.0061109 | -0.0015301 | 6.5353e-07 | 1.526e-07 | 0.0091846 | 0.0091847 | 0.0091847 | 0.99009 | -0.18912 | 0.98998 | -0.19137 | 2.5233
22 | 0.011819 | 0.002963 | -0.011816 | -0.0029617 | 2.6135e-06 | 1.3881e-06 | 0.017755 | 0.017755 | 0.017755 | 0.99057 | -0.17985 | 0.99033 | -0.18449 | 4.8777
23 | -0.02625 | -0.0065799 | 0.026256 | 0.0065833 | 5.5371e-06 | 3.4215e-06 | 0.039433 | 0.039433 | 0.039433 | 0.99057 | -0.17985 | 0.9908 | -0.17542 | 10.8332
24 | 0.0027962 | 0.00069937 | -0.0027956 | -0.00070013 | 5.7774e-07 | -7.5158e-07 | 0.0042024 | 0.0042027 | 0.0042027 | 0.98998 | -0.19137 | 0.98975 | -0.19571 | 1.1546
25 | 0.0079481 | 0.0019922 | -0.0079464 | -0.0019915 | 1.643e-06 | 6.5636e-07 | 0.011942 | 0.011943 | 0.011943 | 0.99033 | -0.18449 | 0.99011 | -0.18883 | 3.2809
26 | -0.11476 | -0.029033 | 0.11536 | 0.029417 | 0.00060034 | 0.00038352 | 0.17244 | 0.17244 | 0.17244 | 0.9908 | -0.17542 | 0.99646 | -0.067019 | 47.3739
27 | 0.0885 | 0.02245 | -0.088406 | -0.02239 | 9.3623e-05 | 5.9737e-05 | 0.13301 | 0.13301 | 0.13301 | 0.9908 | -0.17542 | 0.98965 | -0.19745 | 36.5408
28 | 0.0027956 | 0.00070013 | -0.0027952 | -0.00070055 | 3.2973e-07 | -4.2863e-07 | 0.0042027 | 0.004203 | 0.004203 | 0.98975 | -0.19571 | 0.98963 | -0.19818 | 1.1547
29 | 0.0047937 | 0.0012014 | -0.0047935 | -0.0012014 | 1.6578e-07 | -3.4411e-09 | 0.0072043 | 0.0072043 | 0.0072043 | 0.99011 | -0.18883 | 0.99007 | -0.18956 | 1.9792
30 | 0.19593 | 0.050123 | -0.19582 | -0.050056 | 0.00010579 | 6.732e-05 | 0.29294 | 0.29294 | 0.29294 | 0.99646 | -0.067019 | 0.99587 | -0.07818 | 26.8263
31 | -0.31128 | -0.07954 | 0.3123 | 0.080186 | 0.0010124 | 0.00064649 | 0.46538 | 0.46538 | 0.46538 | 0.99646 | -0.067019 | 1 | 0 | 42.6175
32 | 0.084206 | 0.021338 | -0.084061 | -0.021245 | 0.00014513 | 9.2573e-05 | 0.12669 | 0.12669 | 0.12669 | 0.98965 | -0.19745 | 0.98779 | -0.23339 | 34.806
33 | 0.080865 | 0.020444 | -0.080817 | -0.020413 | 4.8084e-05 | 3.0663e-05 | 0.12188 | 0.12188 | 0.12188 | 0.98779 | -0.23339 | 0.98715 | -0.2458 | 33.4831
34 | 0.075591 | 0.019104 | -0.075506 | -0.019049 | 8.5147e-05 | 5.4271e-05 | 0.114 | 0.114 | 0.114 | 0.98715 | -0.2458 | 0.98593 | -0.26932 | 31.3192
35 | 0.07103 | 0.017928 | -0.070927 | -0.017862 | 0.00010294 | 6.5581e-05 | 0.10725 | 0.10725 | 0.10725 | 0.98593 | -0.26932 | 0.98437 | -0.29962 | 29.4633
36 | 0.19043 | 0.048703 | -0.18998 | -0.048422 | 0.00044294 | 0.00028178 | 0.28488 | 0.28488 | 0.28488 | 0.99587 | -0.07818 | 0.99334 | -0.12637 | 26.088
37 | 0.029777 | 0.0074643 | -0.029775 | -0.0074629 | 2.3122e-06 | 1.4386e-06 | 0.044309 | 0.044309 | 0.044309 | 1 | 0 | 0.99992 | -0.0016299 | 12.1728
38 | 0.070927 | 0.017862 | -0.070877 | -0.01783 | 5.0323e-05 | 3.2058e-05 | 0.10725 | 0.10725 | 0.10725 | 0.98437 | -0.29962 | 0.98361 | -0.31447 | 29.4633
39 | 0.18547 | 0.04729 | -0.18527 | -0.047166 | 0.00019535 | 0.00012424 | 0.27812 | 0.27812 | 0.27812 | 0.99334 | -0.12637 | 0.9922 | -0.14821 | 25.4688
40 | 0.015386 | 0.0038569 | -0.015384 | -0.0038557 | 2.096e-06 | 1.2016e-06 | 0.022897 | 0.022897 | 0.022897 | 0.99992 | -0.0016299 | 0.99977 | -0.0044894 | 6.2905
41 | 0.066204 | 0.016659 | -0.066126 | -0.016609 | 7.8097e-05 | 4.9719e-05 | 0.10018 | 0.10018 | 0.10018 | 0.98361 | -0.31447 | 0.98235 | -0.33919 | 27.5214
42 | 0.052914 | 0.013298 | -0.052909 | -0.013295 | 4.8592e-06 | 3.0844e-06 | 0.080164 | 0.080164 | 0.080164 | 0.98235 | -0.33919 | 0.98225 | -0.34112 | 22.0232
43 | 0.045055 | 0.011327 | -0.045014 | -0.0113 | 4.1871e-05 | 2.6495e-05 | 0.068267 | 0.068267 | 0.068267 | 0.98225 | -0.34112 | 0.98125 | -0.3606 | 18.7548
44 | 0.038436 | 0.0096516 | -0.038412 | -0.0096366 | 2.3717e-05 | 1.4944e-05 | 0.058293 | 0.058293 | 0.058293 | 0.98125 | -0.3606 | 0.98059 | -0.37354 | 16.0146
45 | 0.023073 | 0.0057908 | -0.023057 | -0.0057808 | 1.6266e-05 | 9.9646e-06 | 0.035016 | 0.035016 | 0.035016 | 0.98059 | -0.37354 | 0.97983 | -0.38833 | 9.6197
46 | 0.015339 | 0.0038458 | -0.015339 | -0.0038455 | 6.0023e-07 | 3.4688e-07 | 0.023278 | 0.023278 | 0.023278 | 0.98059 | -0.37354 | 0.98055 | -0.37436 | 6.3949
47 | -0.015335 | -0.0038433 | 0.015339 | 0.0038455 | 3.7446e-06 | 2.1641e-06 | 0.023278 | 0.023278 | 0.023278 | 0.98029 | -0.37949 | 0.98055 | -0.37436 | 6.395
48 | 0.013838 | 0.0034705 | -0.013833 | -0.0034677 | 5.0295e-06 | 2.8366e-06 | 0.021016 | 0.021017 | 0.021017 | 0.97983 | -0.38833 | 0.97945 | -0.39596 | 5.7738
49 | 0.01042 | 0.0026121 | -0.010417 | -0.0026108 | 2.6089e-06 | 1.3204e-06 | 0.01583 | 0.015831 | 0.015831 | 0.97945 | -0.39596 | 0.97918 | -0.40122 | 4.3491
50 | 0.17611 | 0.044869 | -0.17605 | -0.044833 | 5.6171e-05 | 3.57e-05 | 0.26438 | 0.26438 | 0.26438 | 0.9922 | -0.14821 | 0.99185 | -0.15482 | 24.2103
51 | -0.14886 | -0.037867 | 0.14893 | 0.03791 | 6.7403e-05 | 4.2724e-05 | 0.22408 | 0.22408 | 0.22408 | 0.98941 | -0.20174 | 0.9899 | -0.19235 | 20.5205
52 | 0.14216 | 0.036188 | -0.14212 | -0.036162 | 4.1149e-05 | 2.6059e-05 | 0.21401 | 0.21401 | 0.21401 | 0.98941 | -0.20174 | 0.98909 | -0.20775 | 19.5976
53 | 0.019732 | 0.0049541 | -0.019716 | -0.0049444 | 1.6235e-05 | 9.7582e-06 | 0.029665 | 0.029665 | 0.029665 | 0.9899 | -0.19235 | 0.98901 | -0.20961 | 8.1497
54 | -0.16866 | -0.042864 | 0.16897 | 0.043058 | 0.00030541 | 0.000194 | 0.25375 | 0.25375 | 0.25375 | 0.9899 | -0.19235 | 0.99185 | -0.15482 | 23.237
55 | 0.14212 | 0.036162 | -0.14203 | -0.036102 | 9.3521e-05 | 5.9574e-05 | 0.21401 | 0.21401 | 0.21401 | 0.98909 | -0.20775 | 0.98838 | -0.22141 | 29.3964
56 | 0.0076495 | 0.001918 | -0.0076476 | -0.0019173 | 1.932e-06 | 7.3753e-07 | 0.011509 | 0.01151 | 0.01151 | 0.98901 | -0.20961 | 0.98873 | -0.21492 | 3.162
57 | 0.012066 | 0.0030263 | -0.012059 | -0.0030223 | 7.5884e-06 | 4.0693e-06 | 0.018155 | 0.018156 | 0.018156 | 0.98901 | -0.20961 | 0.98833 | -0.22282 | 4.9878
58 | 0.0076476 | 0.0019173 | -0.0076427 | -0.0019154 | 4.8166e-06 | 1.84e-06 | 0.01151 | 0.01151 | 0.01151 | 0.98873 | -0.21492 | 0.98805 | -0.22814 | 3.1621
59 | 0.0068154 | 0.0017081 | -0.0068151 | -0.001708 | 3.5162e-07 | 1.1092e-07 | 0.010261 | 0.010261 | 0.010261 | 0.98833 | -0.22282 | 0.98827 | -0.2239 | 2.819

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35074 | 0.08941

## res_load
| p_mw | q_mvar
0 | 0.0058527 | 0.0014668
1 | 0.0115 | 0.0028821
2 | 0.0074366 | 0.0018638
3 | 0.012204 | 0.0030585
4 | 0.017575 | 0.0044047
5 | 0.008654 | 0.0021689
6 | 0.025006 | 0.006267
7 | 0.016162 | 0.0040507
8 | 0.0029033 | 0.00072765
9 | 0.002343 | 0.00058721
10 | 0.0020971 | 0.00052558
11 | 0.0026276 | 0.00065853
12 | 0.0028441 | 0.00071281
13 | 0.0028424 | 0.00071238
14 | 0.0033147 | 0.00083075
15 | 0.0038683 | 0.00096948
16 | 0.0031528 | 0.00079016
17 | 0.0041996 | 0.0010525
18 | 0.0027952 | 0.00070055
19 | 0.020115 | 0.0050414
20 | 0.0047935 | 0.0012014
21 | 0.0031966 | 0.00080115
22 | 0.0052256 | 0.0013097
23 | 0.004476 | 0.0011218
24 | 0.0053958 | 0.0013523
25 | 0.0070176 | 0.0017588
26 | 0.0045141 | 0.0011313
27 | 0.014388 | 0.0036061
28 | 0.0046727 | 0.0011711
29 | 0.013212 | 0.0033113
30 | 0.0078533 | 0.0019682
31 | 0.0065775 | 0.0016485
32 | 0.015335 | 0.0038433
33 | 0.0092183 | 0.0023103
34 | 0.0034136 | 0.00085554
35 | 0.010417 | 0.0026108
36 | 0.015384 | 0.0038557
37 | 0.0091643 | 0.0022968
38 | 0.0067015 | 0.0016795
39 | 0.0070844 | 0.0017755
40 | 0.0088675 | 0.0022224
41 | 0.0052434 | 0.0013141
42 | 0.0076427 | 0.0019154
43 | 0.0068151 | 0.001708

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1