## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1214-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1214-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1214-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1214-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1214-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1214-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1214-1_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1214-1_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1214-1_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1214-1_0_2_node_125 | 0.4 | n |  | TRUE
10 | bus_LV_1214-1_0_2_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_1214-1_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1214-1_0_2_node_126 | 0.4 | n |  | TRUE
13 | bus_LV_1214-1_0_2_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_1214-1_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1214-1_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1214-1_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1214-1_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1214-1_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1214-1_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1214-1_0_2_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_1214-1_0_2_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_1214-1_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1214-1_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1214-1_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1214-1_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1214-1_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1214-1_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1214-1_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1214-1_0_2_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_1214-1_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1214-1_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1214-1_0_2_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_1214-1_0_2_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_1214-1_0_2_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_1214-1_0_2_node_123 | 0.4 | n |  | TRUE
36 | bus_LV_1214-1_0_2_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_1214-1_0_2_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_1214-1_0_2_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1214-1_0_2_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_1214-1_0_2_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_1214-1_0_2_node_131 | 0.4 | n |  | TRUE
42 | bus_LV_1214-1_0_2_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1214-1_0_2_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_1214-1_0_2_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_1214-1_0_2_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1214-1_0_2_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_1214-1_0_2_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_1214-1_0_2_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_1214-1_0_2_node_132 | 0.4 | n |  | TRUE
50 | bus_LV_1214-1_0_2_node_143 | 0.4 | n |  | TRUE
51 | bus_LV_1214-1_0_2_node_133 | 0.4 | n |  | TRUE
52 | bus_LV_1214-1_0_2_node_137 | 0.4 | n |  | TRUE
53 | bus_LV_1214-1_0_2_node_135 | 0.4 | n |  | TRUE
54 | bus_LV_1214-1_0_2_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_1214-1_0_2_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_1214-1_0_2_node_136 | 0.4 | n |  | TRUE
57 | bus_LV_1214-1_0_2_node_139 | 0.4 | n |  | TRUE
58 | bus_LV_1214-1_0_2_node_130 | 0.4 | n |  | TRUE
59 | bus_LV_1214-1_0_2_node_138 | 0.4 | n |  | TRUE
60 | bus_LV_1214-1_0_2_node_124 | 0.4 | n |  | TRUE
61 | bus_LV_1214-1_0_2_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_1214-1_0_2_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_1214-1_0_2_node_128 | 0.4 | n |  | TRUE
64 | bus_LV_1214-1_0_2_node_129 | 0.4 | n |  | TRUE
65 | bus_LV_1214-1_0_2_node_127 | 0.4 | n |  | TRUE
66 | bus_LV_1214-1_0_2_node_134 | 0.4 | n |  | TRUE
67 | bus_LV_1214-1_0_2_node_140 | 0.4 | n |  | TRUE
68 | bus_MV_12_0_node_2 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1214-1_0_2_load_0 | 0 | 0.00071286 | 0.00017866 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1214-1_0_2_load_1 | 1 | 0.003189 | 0.00079923 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1214-1_0_2_load_3 | 3 | 0.0013295 | 0.0003332 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1214-1_0_2_load_4 | 4 | 0.00020666 | 5.1794e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1214-1_0_2_load_5 | 5 | 0.0031055 | 0.0007783 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1214-1_0_2_load_6 | 6 | 0.00060318 | 0.00015117 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1214-1_0_2_load_7 | 7 | 0.00015491 | 3.8823e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1214-1_0_2_load_8 | 8 | 0.0071896 | 0.0018019 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1214-1_0_2_load_125 | 9 | 0.0028303 | 0.00070934 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1214-1_0_2_load_68 | 10 | 0.00038845 | 9.7355e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1214-1_0_2_load_14 | 11 | 0.00034224 | 8.5774e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1214-1_0_2_load_126 | 12 | 0.00082648 | 0.00020714 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1214-1_0_2_load_12 | 14 | 0.0041353 | 0.0010364 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1214-1_0_2_load_9 | 15 | 0.0032213 | 0.00080734 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1214-1_0_2_load_10 | 16 | 0.0066521 | 0.0016672 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1214-1_0_2_load_11 | 17 | 0.00070362 | 0.00017634 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1214-1_0_2_load_13 | 18 | 0.00054968 | 0.00013776 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1214-1_0_2_load_15 | 19 | 0.00031953 | 8.0081e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1214-1_0_2_load_62 | 20 | 0.0022215 | 0.00055675 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1214-1_0_2_load_61 | 21 | 0.001695 | 0.00042482 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1214-1_0_2_load_16 | 22 | 0.00040858 | 0.0001024 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1214-1_0_2_load_17 | 23 | 0.00020256 | 5.0766e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1214-1_0_2_load_18 | 24 | 0.00035347 | 8.8588e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1214-1_0_2_load_25 | 28 | 0.00074287 | 0.00018618 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1214-1_0_2_load_53 | 29 | 0.00016158 | 4.0497e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1214-1_0_2_load_47 | 33 | 0.00017329 | 4.343e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1214-1_0_2_load_123 | 35 | 0.00022993 | 5.7627e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1214-1_0_2_load_54 | 36 | 0.00045983 | 0.00011524 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1214-1_0_2_load_42 | 40 | 0.0016183 | 0.00040558 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1214-1_0_2_load_131 | 41 | 0.01195 | 0.0029949 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1214-1_0_2_load_41 | 42 | 0.00065269 | 0.00016358 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1214-1_0_2_load_63 | 43 | 0.00012688 | 3.1799e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1214-1_0_2_load_64 | 44 | 0.00022023 | 5.5196e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1214-1_0_2_load_43 | 45 | 0.00093066 | 0.00023325 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1214-1_0_2_load_44 | 46 | 0.011727 | 0.0029391 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1214-1_0_2_load_46 | 47 | 0.0007816 | 0.00019589 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1214-1_0_2_load_57 | 48 | 0.00364 | 0.00091226 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1214-1_0_2_load_143 | 50 | 0.0025159 | 0.00063054 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1214-1_0_2_load_137 | 52 | 0.0064039 | 0.001605 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1214-1_0_2_load_135 | 53 | 0.0095927 | 0.0024042 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1214-1_0_2_load_66 | 54 | 0.0024097 | 0.00060392 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1214-1_0_2_load_139 | 57 | 0.0017965 | 0.00045026 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1214-1_0_2_load_138 | 59 | 0.0035165 | 0.00088133 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1214-1_0_2_load_124 | 60 | 0.00029275 | 7.3371e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1214-1_0_2_load_67 | 61 | 0.002533 | 0.00063484 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1214-1_0_2_load_69 | 62 | 0.0015355 | 0.00038484 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1214-1_0_2_load_129 | 64 | 0.0095958 | 0.0024049 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1214-1_0_2_load_127 | 65 | 0.00075653 | 0.00018961 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1214-1_0_2_load_134 | 66 | 0.0059281 | 0.0014857 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1214-1_0_2_load_140 | 67 | 0.0032645 | 0.00081816 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1214-1_0_2_line_0 |  | 0 | 1 | 0.048745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1214-1_0_2_line_1 |  | 0 | 2 | 0.0069792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1214-1_0_2_line_2 |  | 1 | 3 | 0.032625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1214-1_0_2_line_3 |  | 2 | 4 | 0.017659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1214-1_0_2_line_4 |  | 2 | 5 | 0.022426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1214-1_0_2_line_5 |  | 3 | 6 | 0.0039369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1214-1_0_2_line_6 |  | 4 | 7 | 0.017966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1214-1_0_2_line_7 |  | 5 | 8 | 0.046057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1214-1_0_2_line_8 |  | 6 | 9 | 0.025957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1214-1_0_2_line_9 |  | 7 | 10 | 0.042924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1214-1_0_2_line_10 |  | 8 | 11 | 0.015042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1214-1_0_2_line_11 |  | 9 | 12 | 0.020753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1214-1_0_2_line_12 |  | 10 | 13 | 0.12382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1214-1_0_2_line_13 |  | 11 | 14 | 0.034278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1214-1_0_2_line_14 |  | 12 | 65 | 0.024966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1214-1_0_2_line_15 |  | 13 | 26 | 0.070297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1214-1_0_2_line_16 |  | 14 | 16 | 0.016348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1214-1_0_2_line_17 |  | 15 | 16 | 0.012594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1214-1_0_2_line_18 |  | 15 | 17 | 0.0043563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1214-1_0_2_line_19 |  | 17 | 18 | 0.072258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1214-1_0_2_line_20 |  | 18 | 19 | 0.026318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1214-1_0_2_line_21 |  | 19 | 20 | 0.035572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1214-1_0_2_line_22 |  | 20 | 21 | 0.029709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1214-1_0_2_line_23 |  | 22 | 23 | 0.0050175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1214-1_0_2_line_24 |  | 22 | 24 | 0.072754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1214-1_0_2_line_25 |  | 23 | 25 | 0.041381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1214-1_0_2_line_26 |  | 24 | 26 | 0.0056939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1214-1_0_2_line_27 |  | 25 | 27 | 0.08568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1214-1_0_2_line_28 |  | 26 | 28 | 0.063603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1214-1_0_2_line_29 |  | 27 | 29 | 0.095224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1214-1_0_2_line_30 |  | 27 | 30 | 0.29271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1214-1_0_2_line_31 |  | 28 | 34 | 0.049198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1214-1_0_2_line_32 |  | 29 | 35 | 0.014394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1214-1_0_2_line_33 |  | 30 | 31 | 0.22951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1214-1_0_2_line_34 |  | 31 | 32 | 0.098721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1214-1_0_2_line_35 |  | 31 | 33 | 0.025162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1214-1_0_2_line_36 |  | 32 | 36 | 0.074844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1214-1_0_2_line_37 |  | 34 | 37 | 0.21655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1214-1_0_2_line_38 |  | 35 | 60 | 0.0066999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1214-1_0_2_line_39 |  | 37 | 44 | 0.10813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1214-1_0_2_line_40 |  | 38 | 39 | 0.17594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1214-1_0_2_line_41 |  | 38 | 40 | 0.15357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1214-1_0_2_line_42 |  | 39 | 41 | 0.054215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1214-1_0_2_line_43 |  | 40 | 42 | 0.088301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1214-1_0_2_line_44 |  | 42 | 45 | 0.056179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1214-1_0_2_line_45 |  | 43 | 44 | 0.018271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1214-1_0_2_line_46 |  | 45 | 46 | 0.011309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1214-1_0_2_line_47 |  | 46 | 47 | 0.01692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1214-1_0_2_line_48 |  | 47 | 48 | 0.033738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1214-1_0_2_line_49 |  | 48 | 54 | 0.027152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1214-1_0_2_line_50 |  | 49 | 50 | 0.18505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1214-1_0_2_line_51 |  | 49 | 51 | 0.32311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1214-1_0_2_line_52 |  | 51 | 52 | 0.023255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1214-1_0_2_line_53 |  | 51 | 53 | 0.053066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1214-1_0_2_line_54 |  | 52 | 67 | 0.021906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1214-1_0_2_line_55 |  | 53 | 66 | 0.1266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1214-1_0_2_line_56 |  | 54 | 61 | 0.0084573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1214-1_0_2_line_57 |  | 55 | 56 | 0.022609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1214-1_0_2_line_58 |  | 55 | 57 | 0.015686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1214-1_0_2_line_59 |  | 56 | 58 | 0.00531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1214-1_0_2_line_60 |  | 57 | 59 | 0.0078463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1214-1_0_2_line_61 |  | 58 | 66 | 0.047474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1214-1_0_2_line_62 |  | 58 | 64 | 0.030512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1214-1_0_2_line_63 |  | 61 | 62 | 0.027095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1214-1_0_2_line_64 |  | 62 | 63 | 0.044235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1214-1_0_2_line_65 |  | 63 | 64 | 0.040144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1214-1_0_2_line_66 |  | 63 | 65 | 0.020187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1214-1_0_2_trafo_46 | 0.63 MVA 20/0.4 kV | 68 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2689713.5829 | 1193784.9127 | 2689718.0211 | 1193780.1352 | 2689746.9147 | 1193749.3454
1 | 2689708.8328 | 1193790.026 | 2689713.5829 | 1193784.9127
2 | 2689746.9147 | 1193749.3454 | 2689769.2401 | 1193725.5549
3 | 2689708.8328 | 1193790.026 | 2689696.9846 | 1193803.1209
4 | 2689708.8328 | 1193790.026 | 2689687.9582 | 1193781.831
5 | 2689771.9341 | 1193722.6841 | 2689769.2401 | 1193725.5549
6 | 2689684.9307 | 1193816.4431 | 2689696.9846 | 1193803.1209
7 | 2689687.9582 | 1193781.831 | 2689645.087 | 1193765.0004
8 | 2689771.9341 | 1193722.6841 | 2689789.6963 | 1193703.7561
9 | 2689684.9307 | 1193816.4431 | 2689676.5666 | 1193825.6873 | 2689662.6595 | 1193838.6761 | 2689655.4132 | 1193847.5129
10 | 2689645.087 | 1193765.0004 | 2689631.0851 | 1193759.5035
11 | 2689789.6963 | 1193703.7561 | 2689803.8977 | 1193688.6228
12 | 2689602.6941 | 1193959.3548 | 2689637.3288 | 1193880.5233 | 2689647.4181 | 1193859.839 | 2689654.5538 | 1193848.5609 | 2689655.4132 | 1193847.5129
13 | 2689599.1779 | 1193746.9772 | 2689631.0851 | 1193759.5035
14 | 2689803.8977 | 1193688.6228 | 2689820.9818 | 1193670.4174
15 | 2689575.9348 | 1194024.3734 | 2689579.1455 | 1194016.6166 | 2689601.1251 | 1193963.345 | 2689602.6941 | 1193959.3548
16 | 2689583.9082 | 1193741.1401 | 2689592.3187 | 1193744.2844 | 2689599.1779 | 1193746.9772
17 | 2689572.1116 | 1193736.7299 | 2689583.9082 | 1193741.1401
18 | 2689568.0312 | 1193735.2044 | 2689572.1116 | 1193736.7299
19 | 2689568.0312 | 1193735.2044 | 2689551.4861 | 1193729.019 | 2689500.4898 | 1193709.5277
20 | 2689475.9061 | 1193700.1315 | 2689500.4898 | 1193709.5277
21 | 2689475.9061 | 1193700.1315 | 2689442.6782 | 1193687.4315
22 | 2689414.927 | 1193676.8247 | 2689442.6782 | 1193687.4315
23 | 2689541.9181 | 1194095.0625 | 2689539.7424 | 1194099.5838
24 | 2689541.9181 | 1194095.0625 | 2689573.4658 | 1194029.5042
25 | 2689505.9206 | 1194109.858 | 2689513.4982 | 1194109.2488 | 2689527.1516 | 1194111.6101 | 2689532.549 | 1194112.0467 | 2689535.0751 | 1194109.2827 | 2689539.7424 | 1194099.5838
26 | 2689575.9348 | 1194024.3734 | 2689573.4658 | 1194029.5042
27 | 2689505.9206 | 1194109.858 | 2689463.6006 | 1194169.1963 | 2689456.0668 | 1194179.6236
28 | 2689575.9348 | 1194024.3734 | 2689634.1487 | 1194049.9961
29 | 2689456.0668 | 1194179.6236 | 2689474.271 | 1194192.6264 | 2689508.512 | 1194213.2183 | 2689526.1857 | 1194220.4096 | 2689539.1808 | 1194219.8926 | 2689539.99 | 1194219.9474
30 | 2689214.3712 | 1194289.1514 | 2689226.6908 | 1194294.0493 | 2689244.6737 | 1194294.3177 | 2689277.4559 | 1194289.0923 | 2689311.1461 | 1194278.1882 | 2689321.3115 | 1194278.8181 | 2689332.9761 | 1194256.6448 | 2689356.8701 | 1194223.9919 | 2689368.6961 | 1194212.45 | 2689392.2357 | 1194203.5293 | 2689416.3728 | 1194188.8028 | 2689432.8944 | 1194177.7427 | 2689439.9353 | 1194171.733 | 2689448.4697 | 1194174.9182 | 2689456.0668 | 1194179.6236
31 | 2689679.1783 | 1194069.8157 | 2689634.1487 | 1194049.9961
32 | 2689554.2459 | 1194221.6804 | 2689548.881 | 1194220.5493 | 2689539.99 | 1194219.9474
33 | 2689214.3712 | 1194289.1514 | 2689226.6908 | 1194294.0493 | 2689244.6737 | 1194294.3177 | 2689277.4559 | 1194289.0923 | 2689311.1461 | 1194278.1882 | 2689321.3115 | 1194278.8181 | 2689342.0184 | 1194301.3306 | 2689347.3748 | 1194304.4903 | 2689366.3468 | 1194307.9314 | 2689406.085 | 1194321.7339 | 2689413.3946 | 1194331.3827 | 2689416.6727 | 1194339.9927
34 | 2689353.4049 | 1194383.9533 | 2689371.3493 | 1194384.2326 | 2689396.6338 | 1194383.9547 | 2689407.1851 | 1194380.1766 | 2689409.9304 | 1194377.0156 | 2689412.0786 | 1194374.535 | 2689415.7391 | 1194370.3092 | 2689418.1203 | 1194360.9166 | 2689419.8873 | 1194351.3146 | 2689416.6727 | 1194339.9927
35 | 2689416.6727 | 1194339.9927 | 2689424.7625 | 1194342.3151 | 2689433.6924 | 1194345.0281 | 2689440.2328 | 1194348.517
36 | 2689353.4049 | 1194383.9533 | 2689345.0234 | 1194383.817 | 2689336.3592 | 1194387.8012 | 2689331.4166 | 1194394.1871 | 2689328.5022 | 1194401.0146 | 2689329.017 | 1194407.8822 | 2689338.1375 | 1194441.1952
37 | 2689647.9356 | 1194043.4195 | 2689656.142 | 1194033.4139 | 2689664.5645 | 1194029.8378 | 2689670.4736 | 1194028.6812 | 2689676.6641 | 1194029.0853 | 2689684.6909 | 1194031.0624 | 2689692.433 | 1194031.1786 | 2689700.4829 | 1194031.6106 | 2689708.8407 | 1194032.3475 | 2689714.1016 | 1194032.7378 | 2689719.992 | 1194032.8261 | 2689726.7951 | 1194033.5508 | 2689737.3218 | 1194034.009 | 2689742.9395 | 1194034.4936 | 2689732.9377 | 1194064.0736 | 2689718.9168 | 1194096.862 | 2689715.1176 | 1194091.0013 | 2689679.1783 | 1194069.8157
38 | 2689560.8017 | 1194223.0627 | 2689554.2459 | 1194221.6804
39 | 2689647.9356 | 1194043.4195 | 2689606.3736 | 1194022.5503 | 2689571.6979 | 1194005.4868 | 2689551.0622 | 1193995.3921
40 | 2689559.0512 | 1193343.4753 | 2689440.0779 | 1193425.3146 | 2689416.9735 | 1193447.2389
41 | 2689416.9735 | 1193447.2389 | 2689554.9442 | 1193514.6746
42 | 2689559.0512 | 1193343.4753 | 2689601.9409 | 1193376.7941
43 | 2689633.4966 | 1193554.9997 | 2689565.254 | 1193519.7138 | 2689554.9442 | 1193514.6746
44 | 2689683.5213 | 1193580.5628 | 2689668.668 | 1193573.1856 | 2689633.4966 | 1193554.9997
45 | 2689534.6495 | 1193987.3633 | 2689551.0622 | 1193995.3921
46 | 2689683.5213 | 1193580.5628 | 2689693.6499 | 1193585.5934
47 | 2689708.8039 | 1193593.1199 | 2689693.6499 | 1193585.5934
48 | 2689708.8039 | 1193593.1199 | 2689739.02 | 1193608.1274
49 | 2689739.02 | 1193608.1274 | 2689763.3376 | 1193620.2053
50 | 2689848.1288 | 1193392.3065 | 2689880.7717 | 1193372.3729 | 2689909.5419 | 1193343.8536 | 2689910.2992 | 1193340.1293 | 2689907.0994 | 1193334.9445 | 2689899.702 | 1193328.0623 | 2689899.5716 | 1193321.5229 | 2689920.6178 | 1193292.654 | 2689936.6567 | 1193269.3135 | 2689938.3725 | 1193264.2027 | 2689938.0656 | 1193253.6913
51 | 2689751.543 | 1193426.7124 | 2689727.9787 | 1193352.2003 | 2689727.3155 | 1193345.5973 | 2689728.0913 | 1193332.5006 | 2689736.2087 | 1193332.5668 | 2689753.637 | 1193325.7905 | 2689837.4809 | 1193289.2253 | 2689864.5781 | 1193277.7026 | 2689885.7833 | 1193268.682 | 2689902.4964 | 1193262.8627 | 2689938.0656 | 1193253.6913
52 | 2689751.543 | 1193426.7124 | 2689773.21 | 1193418.2652
53 | 2689751.543 | 1193426.7124 | 2689758.0851 | 1193447.4126 | 2689762.348 | 1193461.5078 | 2689771.2498 | 1193475.5559
54 | 2689793.6201 | 1193410.3081 | 2689773.21 | 1193418.2652
55 | 2689852.6858 | 1193572.4166 | 2689835.1068 | 1193550.7788 | 2689773.7855 | 1193479.5575 | 2689771.2498 | 1193475.5559
56 | 2689763.3376 | 1193620.2053 | 2689770.9121 | 1193623.9674
57 | 2689904.6565 | 1193586.1571 | 2689889.0282 | 1193602.5328
58 | 2689904.6565 | 1193586.1571 | 2689900.4108 | 1193579.5669 | 2689893.1691 | 1193576.545
59 | 2689885.613 | 1193606.6063 | 2689889.0282 | 1193602.5328
60 | 2689893.1691 | 1193576.545 | 2689885.4846 | 1193578.1306
61 | 2689885.613 | 1193606.6063 | 2689865.1467 | 1193585.8078 | 2689853.2857 | 1193573.155 | 2689852.6858 | 1193572.4166
62 | 2689885.613 | 1193606.6063 | 2689863.6683 | 1193627.8054
63 | 2689770.9121 | 1193623.9674 | 2689795.1785 | 1193636.0198
64 | 2689834.7959 | 1193655.6967 | 2689795.1785 | 1193636.0198
65 | 2689834.7959 | 1193655.6967 | 2689863.6683 | 1193627.8054
66 | 2689834.7959 | 1193655.6967 | 2689820.9818 | 1193670.4174

## bus_geodata
| x | y | coords
0 | 2689713.5829 | 1193784.9127
1 | 2689746.9147 | 1193749.3455
2 | 2689708.8328 | 1193790.026
3 | 2689769.2401 | 1193725.5549
4 | 2689696.9846 | 1193803.1209
5 | 2689687.9582 | 1193781.831
6 | 2689771.9341 | 1193722.6841
7 | 2689684.9307 | 1193816.4431
8 | 2689645.087 | 1193765.0004
9 | 2689789.6963 | 1193703.7561
10 | 2689655.4132 | 1193847.5129
11 | 2689631.0851 | 1193759.5035
12 | 2689803.8977 | 1193688.6227
13 | 2689602.6941 | 1193959.3548
14 | 2689599.1779 | 1193746.9772
15 | 2689572.1116 | 1193736.7299
16 | 2689583.9082 | 1193741.1401
17 | 2689568.0312 | 1193735.2044
18 | 2689500.4898 | 1193709.5277
19 | 2689475.9061 | 1193700.1315
20 | 2689442.6782 | 1193687.4315
21 | 2689414.927 | 1193676.8247
22 | 2689541.9181 | 1194095.0625
23 | 2689539.7424 | 1194099.5838
24 | 2689573.4658 | 1194029.5042
25 | 2689505.9206 | 1194109.858
26 | 2689575.9348 | 1194024.3734
27 | 2689456.0668 | 1194179.6236
28 | 2689634.1487 | 1194049.9961
29 | 2689539.99 | 1194219.9474
30 | 2689214.3712 | 1194289.1514
31 | 2689416.6727 | 1194339.9927
32 | 2689353.4049 | 1194383.9533
33 | 2689440.2328 | 1194348.517
34 | 2689679.1783 | 1194069.8157
35 | 2689554.2459 | 1194221.6804
36 | 2689338.1375 | 1194441.1952
37 | 2689647.9356 | 1194043.4195
38 | 2689416.9735 | 1193447.2389
39 | 2689559.0512 | 1193343.4753
40 | 2689554.9442 | 1193514.6746
41 | 2689601.9409 | 1193376.7941
42 | 2689633.4966 | 1193554.9997
43 | 2689534.6495 | 1193987.3633
44 | 2689551.0622 | 1193995.3921
45 | 2689683.5213 | 1193580.5628
46 | 2689693.6499 | 1193585.5934
47 | 2689708.8039 | 1193593.1199
48 | 2689739.02 | 1193608.1274
49 | 2689938.0656 | 1193253.6913
50 | 2689848.1288 | 1193392.3065
51 | 2689751.543 | 1193426.7124
52 | 2689773.21 | 1193418.2652
53 | 2689771.2498 | 1193475.5559
54 | 2689763.3376 | 1193620.2053
55 | 2689904.6565 | 1193586.1571
56 | 2689889.0282 | 1193602.5328
57 | 2689893.1691 | 1193576.545
58 | 2689885.613 | 1193606.6063
59 | 2689885.4846 | 1193578.1306
60 | 2689560.8017 | 1194223.0627
61 | 2689770.9121 | 1193623.9674
62 | 2689795.1785 | 1193636.0198
63 | 2689834.7959 | 1193655.6967
64 | 2689863.6683 | 1193627.8054
65 | 2689820.9818 | 1193670.4174
66 | 2689852.6858 | 1193572.4166
67 | 2689793.6201 | 1193410.3081
68 | 2689834.7959 | 1193655.6967

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98163 | -0.35339 | 0.00071286 | 0.00017866
1 | 0.98321 | -0.32255 | 0.003189 | 0.00079923
2 | 0.98141 | -0.35773 | 0 | 0
3 | 0.98436 | -0.30009 | 0.0013295 | 0.0003332
4 | 0.98134 | -0.35906 | 0.00020666 | 5.1794e-05
5 | 0.98078 | -0.36997 | 0.0031055 | 0.0007783
6 | 0.9845 | -0.29729 | 0.00060318 | 0.00015117
7 | 0.98127 | -0.36036 | 0.00015491 | 3.8823e-05
8 | 0.97963 | -0.39256 | 0.0071896 | 0.0018019
9 | 0.98546 | -0.27856 | 0.0028303 | 0.00070934
10 | 0.98112 | -0.36332 | 0.00038845 | 9.7355e-05
11 | 0.97935 | -0.39798 | 0.00034224 | 8.5774e-05
12 | 0.98629 | -0.26256 | 0.00082648 | 0.00020714
13 | 0.98074 | -0.371 | 0 | 0
14 | 0.97873 | -0.41014 | 0.0041353 | 0.0010364
15 | 0.9784 | -0.41671 | 0.0032213 | 0.00080734
16 | 0.9785 | -0.41471 | 0.0066521 | 0.0016672
17 | 0.97837 | -0.41715 | 0.00070362 | 0.00017634
18 | 0.97805 | -0.42345 | 0.00054968 | 0.00013776
19 | 0.97795 | -0.42548 | 0.00031953 | 8.0081e-05
20 | 0.97782 | -0.42803 | 0.0022215 | 0.00055675
21 | 0.97777 | -0.42894 | 0.001695 | 0.00042482
22 | 0.98038 | -0.37819 | 0.00040858 | 0.0001024
23 | 0.98037 | -0.37833 | 0.00020256 | 5.0766e-05
24 | 0.98051 | -0.3756 | 0.00035347 | 8.8588e-05
25 | 0.98032 | -0.37934 | 0 | 0
26 | 0.98052 | -0.37536 | 0 | 0
27 | 0.98022 | -0.38143 | 0 | 0
28 | 0.98046 | -0.37663 | 0.00074287 | 0.00018618
29 | 0.98016 | -0.38262 | 0.00016158 | 4.0497e-05
30 | 0.98005 | -0.38489 | 0 | 0
31 | 0.97991 | -0.38757 | 0 | 0
32 | 0.97987 | -0.3884 | 0 | 0
33 | 0.97991 | -0.38765 | 0.00017329 | 4.343e-05
34 | 0.98044 | -0.37696 | 0 | 0
35 | 0.98015 | -0.38276 | 0.00022993 | 5.7627e-05
36 | 0.97984 | -0.38903 | 0.00045983 | 0.00011524
37 | 0.98037 | -0.37835 | 0 | 0
38 | 0.99593 | -0.078096 | 0 | 0
39 | 0.99401 | -0.11513 | 0 | 0
40 | 0.99761 | -0.045876 | 0.0016183 | 0.00040558
41 | 0.99342 | -0.12656 | 0.01195 | 0.0029949
42 | 0.9987 | -0.024895 | 0.00065269 | 0.00016358
43 | 0.98034 | -0.37908 | 0.00012688 | 3.1799e-05
44 | 0.98034 | -0.37903 | 0.00022023 | 5.5196e-05
45 | 0.99943 | -0.010928 | 0.00093066 | 0.00023325
46 | 0.99959 | -0.0079354 | 0.011727 | 0.0029391
47 | 1 | 0 | -0.12737 | -0.032084
48 | 0.99697 | -0.057415 | 0.00364 | 0.00091226
49 | 0.98051 | -0.3755 | 0 | 0
50 | 0.98008 | -0.38395 | 0.0025159 | 0.00063054
51 | 0.98126 | -0.36071 | 0 | 0
52 | 0.98106 | -0.36478 | 0.0064039 | 0.001605
53 | 0.98186 | -0.34899 | 0.0095927 | 0.0024042
54 | 0.99462 | -0.10213 | 0.0024097 | 0.00060392
55 | 0.98549 | -0.27824 | 0 | 0
56 | 0.9856 | -0.27609 | 0 | 0
57 | 0.98541 | -0.27974 | 0.0017965 | 0.00045026
58 | 0.98562 | -0.27558 | 0 | 0
59 | 0.98538 | -0.28023 | 0.0035165 | 0.00088133
60 | 0.98015 | -0.38279 | 0.00029275 | 7.3371e-05
61 | 0.99391 | -0.11575 | 0.002533 | 0.00063484
62 | 0.99169 | -0.15827 | 0.0015355 | 0.00038484
63 | 0.98813 | -0.2269 | 0 | 0
64 | 0.98655 | -0.25751 | 0.0095958 | 0.0024049
65 | 0.9873 | -0.24298 | 0.00075653 | 0.00018961
66 | 0.98441 | -0.29923 | 0.0059281 | 0.0014857
67 | 0.98099 | -0.36607 | 0.0032645 | 0.00081816
68 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.035051 | -0.0087896 | 0.035102 | 0.008822 | 5.1607e-05 | 3.2411e-05 | 0.053134 | 0.053134 | 0.053134 | 0.98163 | -0.35339 | 0.98321 | -0.32255 | 14.5973
1 | 0.034338 | 0.0086109 | -0.034331 | -0.0086065 | 7.0916e-06 | 4.4504e-06 | 0.052054 | 0.052054 | 0.052054 | 0.98163 | -0.35339 | 0.98141 | -0.35773 | 14.3005
2 | -0.038291 | -0.0096212 | 0.038333 | 0.0096471 | 4.1101e-05 | 2.589e-05 | 0.05796 | 0.05796 | 0.05796 | 0.98321 | -0.32255 | 0.98436 | -0.30009 | 15.9232
3 | 0.0041257 | 0.0010131 | -0.0041255 | -0.0010131 | 2.5853e-07 | -5.7671e-08 | 0.0062481 | 0.0062481 | 0.0062481 | 0.98141 | -0.35773 | 0.98134 | -0.35906 | 1.7165
4 | 0.030205 | 0.0075934 | -0.030188 | -0.0075824 | 1.7645e-05 | 1.1009e-05 | 0.045806 | 0.045806 | 0.045806 | 0.98141 | -0.35773 | 0.98078 | -0.36997 | 12.584
5 | -0.039662 | -0.0099803 | 0.039667 | 0.0099837 | 5.3095e-06 | 3.348e-06 | 0.05997 | 0.05997 | 0.05997 | 0.98436 | -0.30009 | 0.9845 | -0.29729 | 16.4753
6 | 0.0039188 | 0.00096133 | -0.0039186 | -0.00096141 | 2.373e-07 | -7.5099e-08 | 0.0059348 | 0.0059349 | 0.0059349 | 0.98134 | -0.35906 | 0.98127 | -0.36036 | 1.6305
7 | 0.027082 | 0.0068041 | -0.027053 | -0.006786 | 2.9167e-05 | 1.8086e-05 | 0.041094 | 0.041094 | 0.041094 | 0.98078 | -0.36997 | 0.97963 | -0.39256 | 11.2897
8 | -0.040271 | -0.010135 | 0.040307 | 0.010158 | 3.6079e-05 | 2.276e-05 | 0.060882 | 0.060881 | 0.060882 | 0.9845 | -0.29729 | 0.98546 | -0.27856 | 16.7257
9 | 0.0037637 | 0.00092258 | -0.0037631 | -0.00092279 | 5.2298e-07 | -2.0745e-07 | 0.0057 | 0.0057001 | 0.0057001 | 0.98127 | -0.36036 | 0.98112 | -0.36332 | 1.566
10 | 0.019863 | 0.0049841 | -0.019858 | -0.004981 | 5.1358e-06 | 3.0976e-06 | 0.030174 | 0.030174 | 0.030174 | 0.97963 | -0.39256 | 0.97935 | -0.39798 | 8.2895
11 | -0.043137 | -0.010867 | 0.04317 | 0.010888 | 3.3038e-05 | 2.088e-05 | 0.065155 | 0.065155 | 0.065155 | 0.98546 | -0.27856 | 0.98629 | -0.26256 | 17.8998
12 | 0.0033747 | 0.00082544 | -0.0033735 | -0.00082622 | 1.2131e-06 | -7.8671e-07 | 0.005111 | 0.0051116 | 0.0051116 | 0.98112 | -0.36332 | 0.98074 | -0.371 | 1.4043
13 | 0.019516 | 0.0048953 | -0.019505 | -0.0048885 | 1.1303e-05 | 6.8032e-06 | 0.029654 | 0.029654 | 0.029654 | 0.97935 | -0.39798 | 0.97873 | -0.41014 | 8.1467
14 | -0.043996 | -0.011095 | 0.044038 | 0.011121 | 4.128e-05 | 2.61e-05 | 0.066402 | 0.066402 | 0.066402 | 0.98629 | -0.26256 | 0.9873 | -0.24298 | 18.2423
15 | 0.0033735 | 0.00082622 | -0.0033728 | -0.00082667 | 6.8881e-07 | -4.4603e-07 | 0.0051116 | 0.0051119 | 0.0051119 | 0.98074 | -0.371 | 0.98052 | -0.37536 | 1.4044
16 | 0.015369 | 0.0038521 | -0.015366 | -0.0038501 | 3.3473e-06 | 1.9369e-06 | 0.023367 | 0.023367 | 0.023367 | 0.97873 | -0.41014 | 0.9785 | -0.41471 | 6.4195
17 | -0.0087132 | -0.0021826 | 0.008714 | 0.002183 | 8.2928e-07 | 3.7256e-07 | 0.013251 | 0.013251 | 0.013251 | 0.9784 | -0.41671 | 0.9785 | -0.41471 | 3.6404
18 | 0.0054919 | 0.0013753 | -0.0054917 | -0.0013752 | 1.1395e-07 | 1.8223e-08 | 0.008352 | 0.008352 | 0.008352 | 0.9784 | -0.41671 | 0.97837 | -0.41715 | 2.2945
19 | 0.0047881 | 0.0011989 | -0.0047867 | -0.0011989 | 1.4369e-06 | 1.2494e-08 | 0.0072819 | 0.0072822 | 0.0072822 | 0.97837 | -0.41715 | 0.97805 | -0.42345 | 2.0006
20 | 0.004237 | 0.0010611 | -0.0042366 | -0.0010612 | 4.1008e-07 | -6.7802e-08 | 0.0064459 | 0.0064461 | 0.0064461 | 0.97805 | -0.42345 | 0.97795 | -0.42548 | 1.7709
21 | 0.0039171 | 0.00098111 | -0.0039166 | -0.00098125 | 4.7384e-07 | -1.4301e-07 | 0.0059599 | 0.00596 | 0.00596 | 0.97795 | -0.42548 | 0.97782 | -0.42803 | 1.6374
22 | 0.0016951 | 0.00042449 | -0.001695 | -0.00042482 | 7.4131e-08 | -3.252e-07 | 0.0025795 | 0.0025796 | 0.0025796 | 0.97782 | -0.42803 | 0.97777 | -0.42894 | 0.70868
23 | 0.0015204 | 0.00036901 | -0.0015204 | -0.00036907 | 9.983e-09 | -5.6879e-08 | 0.0023034 | 0.0023034 | 0.0023034 | 0.98038 | -0.37819 | 0.98037 | -0.37833 | 0.63281
24 | -0.001929 | -0.00047141 | 0.0019292 | 0.00047064 | 2.3316e-07 | -7.6829e-07 | 0.0029235 | 0.0029232 | 0.0029235 | 0.98038 | -0.37819 | 0.98051 | -0.3756 | 0.80317
25 | 0.0013178 | 0.0003183 | -0.0013178 | -0.00031878 | 6.1829e-08 | -4.8219e-07 | 0.001996 | 0.0019962 | 0.0019962 | 0.98037 | -0.37833 | 0.98032 | -0.37934 | 0.5484
26 | -0.0022827 | -0.00055923 | 0.0022827 | 0.00055917 | 2.5556e-08 | -5.5461e-08 | 0.0034596 | 0.0034596 | 0.0034596 | 0.98051 | -0.3756 | 0.98052 | -0.37536 | 0.95045
27 | 0.0013178 | 0.00031878 | -0.0013176 | -0.00031978 | 1.2805e-07 | -9.9819e-07 | 0.0019962 | 0.0019965 | 0.0019965 | 0.98032 | -0.37934 | 0.98022 | -0.38143 | 0.5485
28 | 0.0010901 | 0.0002675 | -0.00109 | -0.00026826 | 6.5125e-08 | -7.6051e-07 | 0.0016523 | 0.0016526 | 0.0016526 | 0.98052 | -0.37536 | 0.98046 | -0.37663 | 0.454
29 | 0.00068431 | 0.00017006 | -0.00068427 | -0.00017123 | 3.8513e-08 | -1.1756e-06 | 0.0010383 | 0.0010387 | 0.0010387 | 0.98022 | -0.38143 | 0.98016 | -0.38262 | 0.28536
30 | 0.00063333 | 0.00014973 | -0.00063323 | -0.00015335 | 1.0093e-07 | -3.6245e-06 | 0.00095828 | 0.00095955 | 0.00095955 | 0.98022 | -0.38143 | 0.98005 | -0.38489 | 0.26361
31 | 0.00034715 | 8.2074e-05 | -0.00034715 | -8.2692e-05 | 5.09e-09 | -6.172e-07 | 0.00052514 | 0.00052536 | 0.00052536 | 0.98046 | -0.37663 | 0.98044 | -0.37696 | 0.14433
32 | 0.00052269 | 0.00013073 | -0.00052269 | -0.00013091 | 3.3983e-09 | -1.7925e-07 | 0.00079342 | 0.00079348 | 0.00079348 | 0.98016 | -0.38262 | 0.98015 | -0.38276 | 0.21799
33 | 0.00063323 | 0.00015335 | -0.00063315 | -0.00015619 | 7.9326e-08 | -2.8409e-06 | 0.00095955 | 0.00096056 | 0.00096056 | 0.98005 | -0.38489 | 0.97991 | -0.38757 | 0.26389
34 | 0.00045986 | 0.00011308 | -0.00045984 | -0.00011431 | 1.8023e-08 | -1.2321e-06 | 0.00069753 | 0.00069797 | 0.00069797 | 0.97991 | -0.38757 | 0.97987 | -0.3884 | 0.19175
35 | 0.00017329 | 4.3114e-05 | -0.00017329 | -4.343e-05 | 6.531e-10 | -3.1656e-07 | 0.00026303 | 0.00026314 | 0.00026314 | 0.97991 | -0.38757 | 0.97991 | -0.38765 | 0.072292
36 | 0.00045984 | 0.00011431 | -0.00045983 | -0.00011524 | 1.3679e-08 | -9.3398e-07 | 0.00069797 | 0.0006983 | 0.0006983 | 0.97987 | -0.3884 | 0.97984 | -0.38903 | 0.19184
37 | 0.00034715 | 8.2692e-05 | -0.00034712 | -8.5408e-05 | 2.2453e-08 | -2.7164e-06 | 0.00052536 | 0.0005263 | 0.0005263 | 0.98044 | -0.37696 | 0.98037 | -0.37835 | 0.14459
38 | 0.00029275 | 7.3287e-05 | -0.00029275 | -7.3371e-05 | 4.9626e-10 | -8.4126e-08 | 0.00044441 | 0.00044444 | 0.00044444 | 0.98015 | -0.38276 | 0.98015 | -0.38279 | 0.1221
39 | 0.00034712 | 8.5408e-05 | -0.00034711 | -8.6764e-05 | 1.1242e-08 | -1.3562e-06 | 0.0005263 | 0.00052678 | 0.00052678 | 0.98037 | -0.37835 | 0.98034 | -0.37903 | 0.14472
40 | 0.011977 | 0.0030096 | -0.011956 | -0.0029983 | 2.1136e-05 | 1.1242e-05 | 0.017898 | 0.017899 | 0.017899 | 0.99593 | -0.078096 | 0.99401 | -0.11513 | 4.9173
41 | -0.011977 | -0.0030096 | 0.011996 | 0.0030194 | 1.8447e-05 | 9.8044e-06 | 0.017898 | 0.017897 | 0.017898 | 0.99593 | -0.078096 | 0.99761 | -0.045876 | 4.917
42 | 0.011956 | 0.0029983 | -0.01195 | -0.0029949 | 6.5134e-06 | 3.4662e-06 | 0.017899 | 0.017899 | 0.017899 | 0.99401 | -0.11513 | 0.99342 | -0.12656 | 4.9173
43 | -0.013614 | -0.003425 | 0.013628 | 0.0034326 | 1.366e-05 | 7.5883e-06 | 0.020311 | 0.020311 | 0.020311 | 0.99761 | -0.045876 | 0.9987 | -0.024895 | 5.58
44 | -0.01428 | -0.0035961 | 0.01429 | 0.0036015 | 9.5428e-06 | 5.3717e-06 | 0.021283 | 0.021283 | 0.021283 | 0.9987 | -0.024895 | 0.99943 | -0.010928 | 5.847
45 | -0.00012688 | -3.1799e-05 | 0.00012688 | 3.1568e-05 | 2.5401e-10 | -2.3021e-07 | 0.00019258 | 0.0001925 | 0.00019258 | 0.98034 | -0.37908 | 0.98034 | -0.37903 | 0.052908
46 | -0.015221 | -0.0038348 | 0.015223 | 0.003836 | 2.1792e-06 | 1.2465e-06 | 0.022669 | 0.022668 | 0.022669 | 0.99943 | -0.010928 | 0.99959 | -0.0079354 | 6.2276
47 | -0.02695 | -0.0067751 | 0.02696 | 0.0067814 | 1.0216e-05 | 6.3165e-06 | 0.040126 | 0.040126 | 0.040126 | 0.99959 | -0.0079354 | 1 | 0 | 11.0236
48 | 0.098759 | 0.025302 | -0.098486 | -0.025127 | 0.00027395 | 0.00017489 | 0.14715 | 0.14715 | 0.14715 | 1 | 0 | 0.99697 | -0.057415 | 40.4261
49 | 0.094846 | 0.024215 | -0.094641 | -0.024085 | 0.0002045 | 0.00013052 | 0.14172 | 0.14172 | 0.14172 | 0.99697 | -0.057415 | 0.99462 | -0.10213 | 38.9337
50 | 0.0025169 | 0.00062885 | -0.0025159 | -0.00063054 | 1.0123e-06 | -1.6852e-06 | 0.0038189 | 0.0038197 | 0.0038197 | 0.98051 | -0.3755 | 0.98008 | -0.38395 | 1.0494
51 | -0.0025169 | -0.00062885 | 0.0025186 | 0.0006259 | 1.7664e-06 | -2.948e-06 | 0.0038189 | 0.0038174 | 0.0038189 | 0.98051 | -0.3755 | 0.98126 | -0.36071 | 1.0491
52 | 0.0096704 | 0.0024239 | -0.0096686 | -0.002423 | 1.8754e-06 | 9.0656e-07 | 0.014665 | 0.014665 | 0.014665 | 0.98126 | -0.36071 | 0.98106 | -0.36478 | 4.0288
53 | -0.012189 | -0.0030498 | 0.012196 | 0.0030535 | 6.7974e-06 | 3.6796e-06 | 0.018482 | 0.018482 | 0.018482 | 0.98126 | -0.36071 | 0.98186 | -0.34899 | 5.0775
54 | 0.0032647 | 0.00081801 | -0.0032645 | -0.00081816 | 2.0142e-07 | -1.4768e-07 | 0.0049516 | 0.0049517 | 0.0049517 | 0.98106 | -0.36478 | 0.98099 | -0.36607 | 1.3604
55 | -0.021789 | -0.0054576 | 0.02184 | 0.0054891 | 5.176e-05 | 3.1521e-05 | 0.03302 | 0.033019 | 0.03302 | 0.98186 | -0.34899 | 0.98441 | -0.29923 | 9.0713
56 | 0.092231 | 0.023481 | -0.092171 | -0.023442 | 6.0497e-05 | 3.8609e-05 | 0.13811 | 0.13811 | 0.13811 | 0.99462 | -0.10213 | 0.99391 | -0.11575 | 37.9433
57 | -0.0053136 | -0.0013316 | 0.0053141 | 0.0013316 | 5.4574e-07 | 6.1175e-08 | 0.0080231 | 0.008023 | 0.0080231 | 0.98549 | -0.27824 | 0.9856 | -0.27609 | 2.2041
58 | 0.0053136 | 0.0013316 | -0.0053132 | -0.0013315 | 3.7865e-07 | 4.2487e-08 | 0.0080231 | 0.0080231 | 0.0080231 | 0.98549 | -0.27824 | 0.98541 | -0.27974 | 2.2042
59 | -0.0053141 | -0.0013316 | 0.0053142 | 0.0013317 | 1.2817e-07 | 1.4357e-08 | 0.008023 | 0.0080229 | 0.008023 | 0.9856 | -0.27609 | 0.98562 | -0.27558 | 2.2041
60 | 0.0035166 | 0.00088128 | -0.0035165 | -0.00088133 | 8.2972e-08 | -4.6852e-08 | 0.0053103 | 0.0053103 | 0.0053103 | 0.98541 | -0.27974 | 0.98538 | -0.28023 | 1.4589
61 | 0.0278 | 0.0069943 | -0.027768 | -0.0069749 | 3.1374e-05 | 1.9475e-05 | 0.04198 | 0.04198 | 0.04198 | 0.98562 | -0.27558 | 0.98441 | -0.29923 | 11.5329
62 | -0.033114 | -0.008326 | 0.033143 | 0.0083439 | 2.8608e-05 | 1.792e-05 | 0.050003 | 0.050002 | 0.050003 | 0.98562 | -0.27558 | 0.98655 | -0.25751 | 13.737
63 | 0.089638 | 0.022807 | -0.089455 | -0.02269 | 0.00018332 | 0.00011697 | 0.13432 | 0.13432 | 0.13432 | 0.99391 | -0.11575 | 0.99169 | -0.15827 | 36.9015
64 | 0.087919 | 0.022305 | -0.08763 | -0.022121 | 0.00028911 | 0.00018446 | 0.13202 | 0.13202 | 0.13202 | 0.99169 | -0.15827 | 0.98813 | -0.2269 | 36.2686
65 | 0.042801 | 0.010788 | -0.042739 | -0.010749 | 6.2581e-05 | 3.9539e-05 | 0.064476 | 0.064476 | 0.064476 | 0.98813 | -0.2269 | 0.98655 | -0.25751 | 17.7132
66 | 0.044829 | 0.011333 | -0.044794 | -0.011311 | 3.4535e-05 | 2.1844e-05 | 0.067542 | 0.067542 | 0.067542 | 0.98813 | -0.2269 | 0.9873 | -0.24298 | 18.5555

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.12815 | 0.03228

## res_load
| p_mw | q_mvar
0 | 0.00071286 | 0.00017866
1 | 0.003189 | 0.00079923
2 | 0.0013295 | 0.0003332
3 | 0.00020666 | 5.1794e-05
4 | 0.0031055 | 0.0007783
5 | 0.00060318 | 0.00015117
6 | 0.00015491 | 3.8823e-05
7 | 0.0071896 | 0.0018019
8 | 0.0028303 | 0.00070934
9 | 0.00038845 | 9.7355e-05
10 | 0.00034224 | 8.5774e-05
11 | 0.00082648 | 0.00020714
12 | 0.0041353 | 0.0010364
13 | 0.0032213 | 0.00080734
14 | 0.0066521 | 0.0016672
15 | 0.00070362 | 0.00017634
16 | 0.00054968 | 0.00013776
17 | 0.00031953 | 8.0081e-05
18 | 0.0022215 | 0.00055675
19 | 0.001695 | 0.00042482
20 | 0.00040858 | 0.0001024
21 | 0.00020256 | 5.0766e-05
22 | 0.00035347 | 8.8588e-05
23 | 0.00074287 | 0.00018618
24 | 0.00016158 | 4.0497e-05
25 | 0.00017329 | 4.343e-05
26 | 0.00022993 | 5.7627e-05
27 | 0.00045983 | 0.00011524
28 | 0.0016183 | 0.00040558
29 | 0.01195 | 0.0029949
30 | 0.00065269 | 0.00016358
31 | 0.00012688 | 3.1799e-05
32 | 0.00022023 | 5.5196e-05
33 | 0.00093066 | 0.00023325
34 | 0.011727 | 0.0029391
35 | 0.0007816 | 0.00019589
36 | 0.00364 | 0.00091226
37 | 0.0025159 | 0.00063054
38 | 0.0064039 | 0.001605
39 | 0.0095927 | 0.0024042
40 | 0.0024097 | 0.00060392
41 | 0.0017965 | 0.00045026
42 | 0.0035165 | 0.00088133
43 | 0.00029275 | 7.3371e-05
44 | 0.002533 | 0.00063484
45 | 0.0015355 | 0.00038484
46 | 0.0095958 | 0.0024049
47 | 0.00075653 | 0.00018961
48 | 0.0059281 | 0.0014857
49 | 0.0032645 | 0.00081816

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1