## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1214-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1214-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1214-4_0_3_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_1214-4_0_3_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_1214-4_0_3_node_119 | 0.4 | n |  | TRUE
5 | bus_LV_1214-4_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1214-4_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1214-4_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_1214-4_0_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1214-4_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1214-4_0_3_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_1214-4_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_1214-4_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_1214-4_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1214-4_0_3_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_1214-4_0_3_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_1214-4_0_3_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_1214-4_0_3_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_1214-4_0_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_1214-4_0_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_1214-4_0_3_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_1214-4_0_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_1214-4_0_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_1214-4_0_3_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1214-4_0_3_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_1214-4_0_3_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_1214-4_0_3_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_1214-4_0_3_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_1214-4_0_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_1214-4_0_3_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_1214-4_0_3_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_1214-4_0_3_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_1214-4_0_3_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_1214-4_0_3_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_1214-4_0_3_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_1214-4_0_3_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_1214-4_0_3_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_1214-4_0_3_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_1214-4_0_3_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_1214-4_0_3_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_1214-4_0_3_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_1214-4_0_3_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_1214-4_0_3_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_1214-4_0_3_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_1214-4_0_3_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_1214-4_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_1214-4_0_3_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_1214-4_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_1214-4_0_3_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_1214-4_0_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_1214-4_0_3_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_1214-4_0_3_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_1214-4_0_3_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_1214-4_0_3_node_117 | 0.4 | n |  | TRUE
54 | bus_LV_1214-4_0_3_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_1214-4_0_3_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_1214-4_0_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_1214-4_0_3_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_1214-4_0_3_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_1214-4_0_3_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_1214-4_0_3_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_1214-4_0_3_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_1214-4_0_3_node_86 | 0.4 | n |  | TRUE
63 | bus_LV_1214-4_0_3_node_116 | 0.4 | n |  | TRUE
64 | bus_LV_1214-4_0_3_node_118 | 0.4 | n |  | TRUE
65 | bus_MV_12_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1214-4_0_3_load_0 | 0 | 0.00465 | 0.0011654 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1214-4_0_3_load_129 | 3 | 0.0032346 | 0.00081066 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1214-4_0_3_load_119 | 4 | 0.0027811 | 0.00069702 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1214-4_0_3_load_13 | 5 | 0.0039884 | 0.00099959 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1214-4_0_3_load_14 | 6 | 0.0054984 | 0.001378 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1214-4_0_3_load_15 | 7 | 0.0097547 | 0.0024448 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1214-4_0_3_load_75 | 10 | 0.0079558 | 0.0019939 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1214-4_0_3_load_19 | 11 | 0.0043568 | 0.0010919 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1214-4_0_3_load_20 | 12 | 0.0026553 | 0.00066547 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1214-4_0_3_load_21 | 13 | 0.0033553 | 0.00084092 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1214-4_0_3_load_22 | 14 | 0.0032804 | 0.00082213 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1214-4_0_3_load_23 | 15 | 0.0032945 | 0.00082567 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1214-4_0_3_load_33 | 16 | 0.0042991 | 0.0010775 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1214-4_0_3_load_72 | 17 | 0.0040984 | 0.0010271 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1214-4_0_3_load_24 | 18 | 0.0029511 | 0.00073961 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1214-4_0_3_load_25 | 19 | 0.0074593 | 0.0018695 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1214-4_0_3_load_40 | 20 | 0.0052028 | 0.0013039 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1214-4_0_3_load_31 | 21 | 0.006195 | 0.0015526 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1214-4_0_3_load_32 | 22 | 0.0063995 | 0.0016039 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1214-4_0_3_load_34 | 23 | 0.0037662 | 0.00094391 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1214-4_0_3_load_37 | 24 | 0.003835 | 0.00096113 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1214-4_0_3_load_38 | 25 | 0.0029743 | 0.00074543 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1214-4_0_3_load_39 | 26 | 0.0030995 | 0.00077681 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1214-4_0_3_load_41 | 27 | 0.00612 | 0.0015338 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1214-4_0_3_load_44 | 30 | 0.0030109 | 0.00075461 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1214-4_0_3_load_45 | 31 | 0.005238 | 0.0013128 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1214-4_0_3_load_52 | 32 | 0.0030112 | 0.00075467 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1214-4_0_3_load_46 | 33 | 0.0084942 | 0.0021288 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1214-4_0_3_load_47 | 34 | 0.0050913 | 0.001276 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1214-4_0_3_load_48 | 35 | 0.003603 | 0.00090299 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1214-4_0_3_load_49 | 36 | 0.0034002 | 0.00085218 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1214-4_0_3_load_50 | 37 | 0.0036022 | 0.00090279 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1214-4_0_3_load_51 | 38 | 0.0030168 | 0.00075608 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1214-4_0_3_load_64 | 39 | 0.0048794 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1214-4_0_3_load_53 | 40 | 0.0066557 | 0.0016681 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1214-4_0_3_load_54 | 41 | 0.0043996 | 0.0011027 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1214-4_0_3_load_55 | 42 | 0.0073362 | 0.0018386 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1214-4_0_3_load_56 | 43 | 0.0056076 | 0.0014054 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1214-4_0_3_load_63 | 44 | 0.0084272 | 0.0021121 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1214-4_0_3_load_57 | 45 | 0.0029536 | 0.00074025 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1214-4_0_3_load_58 | 46 | 0.0029933 | 0.0007502 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1214-4_0_3_load_87 | 48 | 0.0032497 | 0.00081446 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1214-4_0_3_load_60 | 49 | 0.0055527 | 0.0013916 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1214-4_0_3_load_61 | 50 | 0.0043851 | 0.001099 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1214-4_0_3_load_62 | 51 | 0.0029524 | 0.00073993 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1214-4_0_3_load_65 | 54 | 0.0035072 | 0.000879 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1214-4_0_3_load_66 | 55 | 0.0035043 | 0.00087825 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1214-4_0_3_load_67 | 56 | 0.0049893 | 0.0012504 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1214-4_0_3_load_69 | 57 | 0.0079669 | 0.0019967 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1214-4_0_3_load_70 | 58 | 0.0072199 | 0.0018095 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1214-4_0_3_load_73 | 60 | 0.0040553 | 0.0010164 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1214-4_0_3_load_74 | 61 | 0.0028096 | 0.00070415 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1214-4_0_3_load_86 | 62 | 0.0034278 | 0.00085908 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1214-4_0_3_load_116 | 63 | 0.0022729 | 0.00056964 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1214-4_0_3_load_118 | 64 | 0.0017089 | 0.00042829 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1214-4_0_3_line_0 |  | 0 | 1 | 0.051266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1214-4_0_3_line_1 |  | 1 | 2 | 0.14333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1214-4_0_3_line_2 |  | 2 | 7 | 0.027062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1214-4_0_3_line_3 |  | 3 | 4 | 0.031587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1214-4_0_3_line_4 |  | 4 | 53 | 0.011598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1214-4_0_3_line_5 |  | 5 | 6 | 0.028466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1214-4_0_3_line_6 |  | 5 | 7 | 0.015447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1214-4_0_3_line_7 |  | 6 | 8 | 0.060834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1214-4_0_3_line_8 |  | 8 | 9 | 0.032074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1214-4_0_3_line_9 |  | 9 | 10 | 0.045843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1214-4_0_3_line_10 |  | 10 | 61 | 0.035225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1214-4_0_3_line_11 |  | 11 | 12 | 0.0010239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1214-4_0_3_line_12 |  | 11 | 13 | 0.0014564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1214-4_0_3_line_13 |  | 12 | 14 | 0.013958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1214-4_0_3_line_14 |  | 13 | 15 | 8.7894e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1214-4_0_3_line_15 |  | 14 | 16 | 0.032657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1214-4_0_3_line_16 |  | 14 | 17 | 0.030701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1214-4_0_3_line_17 |  | 15 | 18 | 0.0080669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1214-4_0_3_line_18 |  | 16 | 21 | 0.0035694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1214-4_0_3_line_19 |  | 17 | 59 | 0.034008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1214-4_0_3_line_20 |  | 19 | 20 | 0.039406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1214-4_0_3_line_21 |  | 20 | 25 | 0.01039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1214-4_0_3_line_22 |  | 21 | 22 | 0.009907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1214-4_0_3_line_23 |  | 22 | 23 | 0.0090066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1214-4_0_3_line_24 |  | 24 | 25 | 0.0011326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1214-4_0_3_line_25 |  | 24 | 26 | 0.0065855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1214-4_0_3_line_26 |  | 26 | 27 | 0.0049477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1214-4_0_3_line_27 |  | 27 | 28 | 0.015859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1214-4_0_3_line_28 |  | 28 | 29 | 0.021826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1214-4_0_3_line_29 |  | 28 | 30 | 0.0038792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1214-4_0_3_line_30 |  | 29 | 31 | 0.019073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1214-4_0_3_line_31 |  | 30 | 32 | 4.1701e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1214-4_0_3_line_32 |  | 31 | 33 | 0.020745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1214-4_0_3_line_33 |  | 32 | 38 | 0.024864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1214-4_0_3_line_34 |  | 34 | 35 | 0.02031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1214-4_0_3_line_35 |  | 34 | 36 | 0.0054367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1214-4_0_3_line_36 |  | 35 | 37 | 0.00011517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1214-4_0_3_line_37 |  | 36 | 38 | 0.0001285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1214-4_0_3_line_38 |  | 37 | 39 | 0.0054854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1214-4_0_3_line_39 |  | 39 | 54 | 0.019932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1214-4_0_3_line_40 |  | 40 | 41 | 0.022582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1214-4_0_3_line_41 |  | 41 | 42 | 0.019558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1214-4_0_3_line_42 |  | 42 | 43 | 0.019134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1214-4_0_3_line_43 |  | 43 | 44 | 0.026545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1214-4_0_3_line_44 |  | 44 | 50 | 0.028059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1214-4_0_3_line_45 |  | 45 | 46 | 0.023789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1214-4_0_3_line_46 |  | 45 | 47 | 0.0073218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1214-4_0_3_line_47 |  | 45 | 48 | 0.067165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1214-4_0_3_line_48 |  | 46 | 49 | 0.016739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1214-4_0_3_line_49 |  | 47 | 50 | 0.038836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1214-4_0_3_line_50 |  | 47 | 51 | 0.0037788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1214-4_0_3_line_51 |  | 48 | 62 | 0.0096121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1214-4_0_3_line_52 |  | 49 | 52 | 0.039093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1214-4_0_3_line_53 |  | 51 | 53 | 0.021646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1214-4_0_3_line_54 |  | 52 | 57 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1214-4_0_3_line_55 |  | 52 | 58 | 0.0089723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_1214-4_0_3_line_56 |  | 53 | 63 | 0.029698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1214-4_0_3_line_57 |  | 54 | 55 | 2.7588e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1214-4_0_3_line_58 |  | 55 | 56 | 0.022453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1214-4_0_3_line_59 |  | 56 | 57 | 0.0092362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1214-4_0_3_line_60 |  | 58 | 59 | 0.026888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_1214-4_0_3_line_61 |  | 59 | 60 | 0.0037884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1214-4_0_3_line_62 |  | 60 | 61 | 0.038802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1214-4_0_3_line_63 |  | 63 | 64 | 0.092332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1214-4_0_3_trafo_72 | 0.63 MVA 20/0.4 kV | 65 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2689507.8825 | 1193099.3097 | 2689490.196 | 1193118.2127 | 2689467.6366 | 1193129.8382
1 | 2689446.5636 | 1192969.7548 | 2689507.8825 | 1193099.3097
2 | 2689446.5636 | 1192969.7548 | 2689462.4309 | 1192963.4213 | 2689471.2596 | 1192958.7725
3 | 2689226.2819 | 1192748.6267 | 2689241.9324 | 1192747.5139 | 2689251.6774 | 1192747.8817 | 2689257.6412 | 1192749.3647
4 | 2689268.8961 | 1192752.1635 | 2689257.6412 | 1192749.3647
5 | 2689501.5456 | 1192927.5314 | 2689497.3693 | 1192933.8137 | 2689490.6918 | 1192942.4416 | 2689483.5566 | 1192949.4646
6 | 2689471.2596 | 1192958.7725 | 2689481.8017 | 1192951.192 | 2689483.5566 | 1192949.4646
7 | 2689541.376 | 1192881.5498 | 2689501.5456 | 1192927.5314
8 | 2689541.376 | 1192881.5498 | 2689514.1805 | 1192864.421
9 | 2689514.1805 | 1192864.421 | 2689476.0574 | 1192838.9611
10 | 2689446.3401 | 1192820.1056 | 2689453.6303 | 1192823.9898 | 2689459.8727 | 1192828.1525 | 2689476.0574 | 1192838.9611
11 | 2689464.1467 | 1192749.9011 | 2689463.416 | 1192750.6183
12 | 2689464.1467 | 1192749.9011 | 2689465.1861 | 1192748.881
13 | 2689463.416 | 1192750.6183 | 2689454.0722 | 1192759.7889 | 2689453.6722 | 1192760.5571
14 | 2689465.1861 | 1192748.881 | 2689465.2488 | 1192748.8194
15 | 2689472.3553 | 1192779.8365 | 2689452.315 | 1192769.7245 | 2689450.7521 | 1192766.1656 | 2689453.6722 | 1192760.5571
16 | 2689425.3855 | 1192772.4905 | 2689453.6722 | 1192760.5571
17 | 2689465.2488 | 1192748.8194 | 2689471.0061 | 1192743.1689
18 | 2689475.542 | 1192781.4444 | 2689472.3553 | 1192779.8365
19 | 2689407.9868 | 1192801.6825 | 2689409.9362 | 1192797.2421 | 2689425.3855 | 1192772.4905
20 | 2689467.8886 | 1192696.765 | 2689502.9812 | 1192714.6915
21 | 2689467.8886 | 1192696.765 | 2689459.2433 | 1192691.0019
22 | 2689475.542 | 1192781.4444 | 2689484.3869 | 1192785.9074
23 | 2689492.4278 | 1192789.9647 | 2689484.3869 | 1192785.9074
24 | 2689458.3009 | 1192690.3736 | 2689459.2433 | 1192691.0019
25 | 2689452.8213 | 1192686.7209 | 2689458.3009 | 1192690.3736
26 | 2689452.8213 | 1192686.7209 | 2689448.7045 | 1192683.9765
27 | 2689435.5086 | 1192675.1799 | 2689448.7045 | 1192683.9765
28 | 2689447.6728 | 1192657.039 | 2689435.5086 | 1192675.1799
29 | 2689435.5086 | 1192675.1799 | 2689433.3607 | 1192678.4102
30 | 2689447.6728 | 1192657.039 | 2689463.6502 | 1192667.456
31 | 2689433.3376 | 1192678.4449 | 2689433.3607 | 1192678.4102
32 | 2689463.6502 | 1192667.456 | 2689481.0282 | 1192678.786
33 | 2689433.3376 | 1192678.4449 | 2689419.5704 | 1192699.1495
34 | 2689416.4889 | 1192703.7837 | 2689405.2435 | 1192720.6957
35 | 2689419.4992 | 1192699.2565 | 2689416.4889 | 1192703.7837
36 | 2689405.1797 | 1192720.7916 | 2689405.2435 | 1192720.6957
37 | 2689419.4992 | 1192699.2565 | 2689419.5704 | 1192699.1495
38 | 2689402.1425 | 1192725.3594 | 2689405.1797 | 1192720.7916
39 | 2689402.1425 | 1192725.3594 | 2689391.106 | 1192741.9572
40 | 2689385.4538 | 1192639.9462 | 2689373.0816 | 1192658.8371
41 | 2689373.0816 | 1192658.8371 | 2689362.3659 | 1192675.1986
42 | 2689362.3659 | 1192675.1986 | 2689362.2579 | 1192675.3635 | 2689350.4223 | 1192690.1463
43 | 2689350.4223 | 1192690.1463 | 2689333.8317 | 1192710.8681
44 | 2689316.2688 | 1192732.7507 | 2689322.1023 | 1192725.5182 | 2689333.8317 | 1192710.8681
45 | 2689298.4704 | 1192766.1849 | 2689303.1492 | 1192768.4627 | 2689313.074 | 1192772.102 | 2689320.8093 | 1192774.1972
46 | 2689291.8873 | 1192762.98 | 2689298.4704 | 1192766.1849
47 | 2689298.4704 | 1192766.1849 | 2689281.6747 | 1192831.2155
48 | 2689337.023 | 1192778.3498 | 2689330.5375 | 1192776.8323 | 2689320.8093 | 1192774.1972
49 | 2689291.8873 | 1192762.98 | 2689316.2688 | 1192732.7507
50 | 2689291.8873 | 1192762.98 | 2689288.5098 | 1192761.2853
51 | 2689281.6747 | 1192831.2155 | 2689279.0148 | 1192840.4523
52 | 2689374.9729 | 1192787.6804 | 2689369.0616 | 1192785.8465 | 2689337.023 | 1192778.3498
53 | 2689268.8961 | 1192752.1635 | 2689276.7687 | 1192755.3941 | 2689288.5098 | 1192761.2853
54 | 2689374.9729 | 1192787.6804 | 2689376.2422 | 1192784.3639 | 2689376.0465 | 1192782.1596 | 2689373.8365 | 1192772.4093 | 2689374.1137 | 1192768.6688
55 | 2689374.9729 | 1192787.6804 | 2689383.233 | 1192791.1837
56 | 2689268.8961 | 1192752.1635 | 2689265.6845 | 1192742.5984 | 2689258.8357 | 1192724.2257
57 | 2689391.0907 | 1192741.9801 | 2689391.106 | 1192741.9572
58 | 2689391.0907 | 1192741.9801 | 2689378.6586 | 1192760.6769
59 | 2689378.6586 | 1192760.6769 | 2689375.5349 | 1192765.3746 | 2689374.123 | 1192768.5444 | 2689374.1137 | 1192768.6688
60 | 2689407.9868 | 1192801.6825 | 2689383.233 | 1192791.1837
61 | 2689407.9868 | 1192801.6825 | 2689411.4746 | 1192803.1612
62 | 2689411.4746 | 1192803.1612 | 2689426.4709 | 1192809.5192 | 2689446.3401 | 1192820.1056
63 | 2689258.8357 | 1192724.2257 | 2689226.5481 | 1192637.7234

## bus_geodata
| x | y | coords
0 | 2689467.6366 | 1193129.8382
1 | 2689507.8825 | 1193099.3097
2 | 2689446.5636 | 1192969.7548
3 | 2689226.2819 | 1192748.6267
4 | 2689257.6412 | 1192749.3647
5 | 2689483.5566 | 1192949.4646
6 | 2689501.5456 | 1192927.5314
7 | 2689471.2596 | 1192958.7725
8 | 2689541.376 | 1192881.5498
9 | 2689514.1805 | 1192864.421
10 | 2689476.0574 | 1192838.9611
11 | 2689464.1467 | 1192749.9011
12 | 2689463.416 | 1192750.6183
13 | 2689465.1861 | 1192748.881
14 | 2689453.6722 | 1192760.5571
15 | 2689465.2488 | 1192748.8194
16 | 2689472.3553 | 1192779.8365
17 | 2689425.3855 | 1192772.4905
18 | 2689471.0061 | 1192743.1689
19 | 2689502.9812 | 1192714.6915
20 | 2689467.8886 | 1192696.765
21 | 2689475.542 | 1192781.4444
22 | 2689484.3869 | 1192785.9074
23 | 2689492.4278 | 1192789.9647
24 | 2689458.3009 | 1192690.3736
25 | 2689459.2433 | 1192691.0019
26 | 2689452.8213 | 1192686.7209
27 | 2689448.7045 | 1192683.9765
28 | 2689435.5086 | 1192675.1799
29 | 2689447.6728 | 1192657.039
30 | 2689433.3607 | 1192678.4102
31 | 2689463.6502 | 1192667.456
32 | 2689433.3376 | 1192678.4449
33 | 2689481.0282 | 1192678.786
34 | 2689416.4889 | 1192703.7837
35 | 2689405.2435 | 1192720.6957
36 | 2689419.4992 | 1192699.2565
37 | 2689405.1797 | 1192720.7916
38 | 2689419.5704 | 1192699.1495
39 | 2689402.1425 | 1192725.3594
40 | 2689385.4538 | 1192639.9462
41 | 2689373.0816 | 1192658.8371
42 | 2689362.3659 | 1192675.1986
43 | 2689350.4223 | 1192690.1463
44 | 2689333.8317 | 1192710.8681
45 | 2689298.4704 | 1192766.1849
46 | 2689320.8093 | 1192774.1972
47 | 2689291.8873 | 1192762.98
48 | 2689281.6747 | 1192831.2155
49 | 2689337.023 | 1192778.3498
50 | 2689316.2688 | 1192732.7507
51 | 2689288.5098 | 1192761.2853
52 | 2689374.9729 | 1192787.6804
53 | 2689268.8961 | 1192752.1635
54 | 2689391.106 | 1192741.9572
55 | 2689391.0907 | 1192741.9801
56 | 2689378.6586 | 1192760.6769
57 | 2689374.1137 | 1192768.6688
58 | 2689383.233 | 1192791.1837
59 | 2689407.9868 | 1192801.6825
60 | 2689411.4746 | 1192803.1612
61 | 2689446.3401 | 1192820.1056
62 | 2689279.0148 | 1192840.4523
63 | 2689258.8357 | 1192724.2257
64 | 2689226.5481 | 1192637.7234
65 | 2689407.9868 | 1192801.6825

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98974 | -0.19742 | 0.00465 | 0.0011654
1 | 0.98995 | -0.19318 | 0 | 0
2 | 0.99057 | -0.18132 | 0 | 0
3 | 0.98863 | -0.21831 | 0.0032346 | 0.00081066
4 | 0.98873 | -0.21649 | 0.0027811 | 0.00069702
5 | 0.99088 | -0.17513 | 0.0039884 | 0.00099959
6 | 0.99136 | -0.16583 | 0.0054984 | 0.001378
7 | 0.99068 | -0.17908 | 0.0097547 | 0.0024448
8 | 0.99269 | -0.14008 | 0 | 0
9 | 0.99339 | -0.12653 | 0 | 0
10 | 0.9944 | -0.1072 | 0.0079558 | 0.0019939
11 | 0.99865 | -0.026028 | 0.0043568 | 0.0010919
12 | 0.99866 | -0.025778 | 0.0026553 | 0.00066547
13 | 0.99863 | -0.026272 | 0.0033553 | 0.00084092
14 | 0.99887 | -0.021726 | 0.0032804 | 0.00082213
15 | 0.99863 | -0.026282 | 0.0032945 | 0.00082567
16 | 0.99826 | -0.03352 | 0.0042991 | 0.0010775
17 | 1 | 0 | -0.2503 | -0.063165
18 | 0.99861 | -0.026698 | 0.0029511 | 0.00073961
19 | 0.98469 | -0.29488 | 0.0074593 | 0.0018695
20 | 0.98496 | -0.28959 | 0.0052028 | 0.0013039
21 | 0.9982 | -0.034542 | 0.006195 | 0.0015526
22 | 0.99811 | -0.036304 | 0.0063995 | 0.0016039
23 | 0.99808 | -0.036897 | 0.0037662 | 0.00094391
24 | 0.9851 | -0.28691 | 0.003835 | 0.00096113
25 | 0.98508 | -0.28723 | 0.0029743 | 0.00074543
26 | 0.98522 | -0.28461 | 0.0030995 | 0.00077681
27 | 0.98532 | -0.2826 | 0.00612 | 0.0015338
28 | 0.98574 | -0.27444 | 0 | 0
29 | 0.98546 | -0.27982 | 0 | 0
30 | 0.98589 | -0.27149 | 0.0030109 | 0.00075461
31 | 0.98522 | -0.28452 | 0.005238 | 0.0013128
32 | 0.98589 | -0.27145 | 0.0030112 | 0.00075467
33 | 0.98506 | -0.28768 | 0.0084942 | 0.0021288
34 | 0.98728 | -0.24442 | 0.0050913 | 0.001276
35 | 0.9884 | -0.22267 | 0.003603 | 0.00090299
36 | 0.987 | -0.24976 | 0.0034002 | 0.00085218
37 | 0.98841 | -0.22254 | 0.0036022 | 0.00090279
38 | 0.987 | -0.24988 | 0.0030168 | 0.00075608
39 | 0.98875 | -0.21597 | 0.0048794 | 0.0012229
40 | 0.98564 | -0.27658 | 0.0066557 | 0.0016681
41 | 0.98577 | -0.27389 | 0.0043996 | 0.0011027
42 | 0.98597 | -0.27001 | 0.0073362 | 0.0018386
43 | 0.9863 | -0.2637 | 0.0056076 | 0.0014054
44 | 0.98688 | -0.25229 | 0.0084272 | 0.0021121
45 | 0.98937 | -0.20402 | 0.0029536 | 0.00074025
46 | 0.99067 | -0.17889 | 0.0029933 | 0.0007502
47 | 0.98903 | -0.21051 | 0 | 0
48 | 0.98896 | -0.21201 | 0.0032497 | 0.00081446
49 | 0.99162 | -0.16036 | 0.0055527 | 0.0013916
50 | 0.98772 | -0.23602 | 0.0043851 | 0.001099
51 | 0.98899 | -0.21139 | 0.0029524 | 0.00073993
52 | 0.99406 | -0.11339 | 0 | 0
53 | 0.98879 | -0.21525 | 0 | 0
54 | 0.99007 | -0.1904 | 0.0035072 | 0.000879
55 | 0.99007 | -0.19036 | 0.0035043 | 0.00087825
56 | 0.9917 | -0.15886 | 0.0049893 | 0.0012504
57 | 0.99241 | -0.14511 | 0.0079669 | 0.0019967
58 | 0.99472 | -0.10074 | 0.0072199 | 0.0018095
59 | 0.99679 | -0.061226 | 0 | 0
60 | 0.99665 | -0.0638 | 0.0040553 | 0.0010164
61 | 0.99542 | -0.087435 | 0.0028096 | 0.00070415
62 | 0.98893 | -0.2126 | 0.0034278 | 0.00085908
63 | 0.98868 | -0.21736 | 0.0022729 | 0.00056964
64 | 0.98854 | -0.22017 | 0.0017089 | 0.00042829
65 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00465 | -0.0011654 | 0.004651 | 0.0011654 | 9.3958e-07 | -5.7649e-08 | 0.0069911 | 0.0069909 | 0.0069911 | 0.98974 | -0.19742 | 0.98995 | -0.19318 | 1.9206
1 | -0.004651 | -0.0011654 | 0.0046536 | 0.0011652 | 2.6266e-06 | -1.6294e-07 | 0.0069909 | 0.0069902 | 0.0069909 | 0.98995 | -0.19318 | 0.99057 | -0.18132 | 1.9206
2 | -0.0046536 | -0.0011652 | 0.0046541 | 0.0011652 | 4.9587e-07 | -3.1054e-08 | 0.0069902 | 0.0069901 | 0.0069902 | 0.99057 | -0.18132 | 0.99068 | -0.17908 | 1.9204
3 | -0.0032346 | -0.00081066 | 0.0032349 | 0.00081044 | 2.8075e-07 | -2.254e-07 | 0.0048685 | 0.0048683 | 0.0048685 | 0.98863 | -0.21831 | 0.98873 | -0.21649 | 1.3375
4 | -0.006016 | -0.0015075 | 0.0060164 | 0.0015075 | 3.5651e-07 | 7.9414e-08 | 0.0090539 | 0.0090538 | 0.0090539 | 0.98873 | -0.21649 | 0.98879 | -0.21525 | 2.4873
5 | -0.0184 | -0.004611 | 0.018408 | 0.0046159 | 8.1498e-06 | 4.849e-06 | 0.027631 | 0.027631 | 0.027631 | 0.99088 | -0.17513 | 0.99136 | -0.16583 | 7.591
6 | 0.014411 | 0.0036114 | -0.014409 | -0.0036099 | 2.7131e-06 | 1.5374e-06 | 0.021642 | 0.021642 | 0.021642 | 0.99088 | -0.17513 | 0.99068 | -0.17908 | 5.9455
7 | -0.023906 | -0.0059939 | 0.023936 | 0.0060119 | 2.9375e-05 | 1.8014e-05 | 0.035884 | 0.035884 | 0.035884 | 0.99136 | -0.16583 | 0.99269 | -0.14008 | 9.8582
8 | -0.023936 | -0.0060119 | 0.023951 | 0.0060214 | 1.5487e-05 | 9.497e-06 | 0.035884 | 0.035884 | 0.035884 | 0.99269 | -0.14008 | 0.99339 | -0.12653 | 9.8582
9 | -0.023951 | -0.0060214 | 0.023973 | 0.006035 | 2.2136e-05 | 1.3573e-05 | 0.035884 | 0.035883 | 0.035884 | 0.99339 | -0.12653 | 0.9944 | -0.1072 | 9.8581
10 | -0.031929 | -0.0080289 | 0.031959 | 0.0080478 | 3.0167e-05 | 1.8849e-05 | 0.047788 | 0.047788 | 0.047788 | 0.9944 | -0.1072 | 0.99542 | -0.087435 | 13.1287
11 | -0.013958 | -0.0034981 | 0.013958 | 0.0034982 | 1.6608e-07 | 9.2894e-08 | 0.020798 | 0.020798 | 0.020798 | 0.99865 | -0.026028 | 0.99866 | -0.025778 | 5.7136
12 | 0.009601 | 0.0024062 | -0.0096009 | -0.0024061 | 1.1177e-07 | 5.2479e-08 | 0.014306 | 0.014306 | 0.014306 | 0.99865 | -0.026028 | 0.99863 | -0.026272 | 3.9302
13 | -0.016613 | -0.0041637 | 0.016617 | 0.0041656 | 3.2074e-06 | 1.8701e-06 | 0.024754 | 0.024754 | 0.024754 | 0.99866 | -0.025778 | 0.99887 | -0.021726 | 6.8006
14 | 0.0062456 | 0.0015652 | -0.0062456 | -0.0015652 | 2.854e-09 | 6.7706e-10 | 0.0093062 | 0.0093062 | 0.0093062 | 0.99863 | -0.026272 | 0.99863 | -0.026282 | 2.5567
15 | 0.020673 | 0.0051857 | -0.020662 | -0.0051787 | 1.1616e-05 | 7.0072e-06 | 0.030798 | 0.030799 | 0.030799 | 0.99887 | -0.021726 | 0.99826 | -0.03352 | 8.4611
16 | -0.04057 | -0.010173 | 0.040612 | 0.0102 | 4.2055e-05 | 2.6513e-05 | 0.060439 | 0.060439 | 0.060439 | 0.99887 | -0.021726 | 1 | 0 | 16.6042
17 | 0.0029511 | 0.00073954 | -0.0029511 | -0.00073961 | 5.8494e-08 | -6.8104e-08 | 0.0043973 | 0.0043973 | 0.0043973 | 0.99863 | -0.026282 | 0.99861 | -0.026698 | 1.2081
18 | 0.016362 | 0.0041012 | -0.016362 | -0.0041007 | 7.9628e-07 | 4.6296e-07 | 0.02439 | 0.02439 | 0.02439 | 0.99826 | -0.03352 | 0.9982 | -0.034542 | 6.7006
19 | 0.20804 | 0.052965 | -0.20743 | -0.052574 | 0.00061223 | 0.00039094 | 0.30986 | 0.30986 | 0.30986 | 1 | 0 | 0.99679 | -0.061226 | 42.5633
20 | -0.0074593 | -0.0018695 | 0.0074612 | 0.0018702 | 1.8776e-06 | 7.0025e-07 | 0.011272 | 0.011272 | 0.011272 | 0.98469 | -0.29488 | 0.98496 | -0.28959 | 3.0967
21 | -0.012664 | -0.0031741 | 0.012665 | 0.0031749 | 1.4262e-06 | 7.805e-07 | 0.019132 | 0.019132 | 0.019132 | 0.98496 | -0.28959 | 0.98508 | -0.28723 | 5.2561
22 | 0.010167 | 0.0025481 | -0.010166 | -0.0025477 | 8.5333e-07 | 4.1663e-07 | 0.015155 | 0.015156 | 0.015156 | 0.9982 | -0.034542 | 0.99811 | -0.036304 | 4.1636
23 | 0.0037663 | 0.00094386 | -0.0037662 | -0.00094391 | 1.0648e-07 | -4.956e-08 | 0.005615 | 0.005615 | 0.005615 | 0.99811 | -0.036304 | 0.99808 | -0.036897 | 1.5426
24 | 0.01564 | 0.0039205 | -0.01564 | -0.0039203 | 2.3706e-07 | 1.373e-07 | 0.023625 | 0.023625 | 0.023625 | 0.9851 | -0.28691 | 0.98508 | -0.28723 | 6.4903
25 | -0.019475 | -0.0048816 | 0.019477 | 0.0048829 | 2.1371e-06 | 1.2839e-06 | 0.029418 | 0.029418 | 0.029418 | 0.9851 | -0.28691 | 0.98522 | -0.28461 | 8.0818
26 | -0.022577 | -0.0056597 | 0.022579 | 0.005661 | 2.1573e-06 | 1.3177e-06 | 0.034099 | 0.034099 | 0.034099 | 0.98522 | -0.28461 | 0.98532 | -0.2826 | 9.3678
27 | -0.028699 | -0.0071948 | 0.02871 | 0.0072018 | 1.1172e-05 | 6.9477e-06 | 0.043341 | 0.043341 | 0.043341 | 0.98532 | -0.2826 | 0.98574 | -0.27444 | 11.9069
28 | 0.01374 | 0.0034459 | -0.013737 | -0.0034439 | 3.5214e-06 | 1.9755e-06 | 0.020742 | 0.020742 | 0.020742 | 0.98574 | -0.27444 | 0.98546 | -0.27982 | 5.6984
29 | -0.04245 | -0.010648 | 0.042456 | 0.010651 | 5.974e-06 | 3.7739e-06 | 0.064083 | 0.064083 | 0.064083 | 0.98574 | -0.27444 | 0.98589 | -0.27149 | 17.6053
30 | 0.013737 | 0.0034439 | -0.013733 | -0.0034422 | 3.0773e-06 | 1.7265e-06 | 0.020742 | 0.020742 | 0.020742 | 0.98546 | -0.27982 | 0.98522 | -0.28452 | 5.6984
31 | -0.045467 | -0.011406 | 0.045467 | 0.011406 | 7.3652e-08 | 4.6606e-08 | 0.068628 | 0.068628 | 0.068628 | 0.98589 | -0.27149 | 0.98589 | -0.27145 | 18.8538
32 | 0.0084954 | 0.0021294 | -0.0084942 | -0.0021288 | 1.2808e-06 | 5.5557e-07 | 0.012831 | 0.012831 | 0.012831 | 0.98522 | -0.28452 | 0.98506 | -0.28768 | 3.525
33 | -0.048478 | -0.012161 | 0.048528 | 0.012192 | 4.9923e-05 | 3.1633e-05 | 0.073172 | 0.073172 | 0.073172 | 0.98589 | -0.27145 | 0.987 | -0.24988 | 20.1023
34 | -0.060051 | -0.015086 | 0.060113 | 0.015125 | 6.2405e-05 | 3.9679e-05 | 0.09052 | 0.09052 | 0.09052 | 0.98728 | -0.24442 | 0.9884 | -0.22267 | 24.8682
35 | 0.054959 | 0.01381 | -0.054945 | -0.013801 | 1.3993e-05 | 8.8861e-06 | 0.082847 | 0.082847 | 0.082847 | 0.98728 | -0.24442 | 0.987 | -0.24976 | 22.7601
36 | -0.063716 | -0.016028 | 0.063716 | 0.016029 | 3.9756e-07 | 2.5296e-07 | 0.095944 | 0.095944 | 0.095944 | 0.9884 | -0.22267 | 0.98841 | -0.22254 | 26.3583
37 | 0.051545 | 0.012949 | -0.051545 | -0.012948 | 2.9108e-07 | 1.8465e-07 | 0.077721 | 0.077721 | 0.077721 | 0.987 | -0.24976 | 0.987 | -0.24988 | 21.3518
38 | -0.067319 | -0.016931 | 0.06734 | 0.016945 | 2.1136e-05 | 1.3457e-05 | 0.10137 | 0.10137 | 0.10137 | 0.98841 | -0.22254 | 0.98875 | -0.21597 | 27.8482
39 | -0.072219 | -0.018168 | 0.072307 | 0.018224 | 8.8334e-05 | 5.6278e-05 | 0.10871 | 0.10871 | 0.10871 | 0.98875 | -0.21597 | 0.99007 | -0.1904 | 29.8655
40 | -0.0066557 | -0.0016681 | 0.0066565 | 0.0016683 | 8.5497e-07 | 2.5933e-07 | 0.010048 | 0.010048 | 0.010048 | 0.98564 | -0.27658 | 0.98577 | -0.27389 | 2.7605
41 | -0.011056 | -0.002771 | 0.011058 | 0.002772 | 2.0428e-06 | 1.058e-06 | 0.016689 | 0.016689 | 0.016689 | 0.98577 | -0.27389 | 0.98597 | -0.27001 | 4.5849
42 | -0.018394 | -0.0046107 | 0.0184 | 0.0046139 | 5.5297e-06 | 3.2949e-06 | 0.027761 | 0.027761 | 0.027761 | 0.98597 | -0.27001 | 0.9863 | -0.2637 | 7.6266
43 | -0.024007 | -0.0060193 | 0.024021 | 0.0060274 | 1.306e-05 | 8.0191e-06 | 0.036221 | 0.036221 | 0.036221 | 0.9863 | -0.2637 | 0.98688 | -0.25229 | 9.9507
44 | -0.032448 | -0.0081394 | 0.032473 | 0.0081552 | 2.5188e-05 | 1.5762e-05 | 0.048927 | 0.048927 | 0.048927 | 0.98688 | -0.25229 | 0.98772 | -0.23602 | 13.4415
45 | -0.059506 | -0.014952 | 0.059577 | 0.014998 | 7.1475e-05 | 4.5438e-05 | 0.089511 | 0.089511 | 0.089511 | 0.98937 | -0.20402 | 0.99067 | -0.17889 | 24.5909
46 | 0.049872 | 0.012538 | -0.049856 | -0.012528 | 1.5453e-05 | 9.7961e-06 | 0.075021 | 0.075021 | 0.075021 | 0.98937 | -0.20402 | 0.98903 | -0.21051 | 20.6103
47 | 0.0066802 | 0.0016742 | -0.0066776 | -0.0016735 | 2.5425e-06 | 7.6504e-07 | 0.010047 | 0.010047 | 0.010047 | 0.98937 | -0.20402 | 0.98896 | -0.21201 | 2.7603
48 | -0.06257 | -0.015748 | 0.062626 | 0.015783 | 5.5474e-05 | 3.5288e-05 | 0.094007 | 0.094007 | 0.094007 | 0.99067 | -0.17889 | 0.99162 | -0.16036 | 25.826
49 | 0.036903 | 0.0092824 | -0.036858 | -0.0092542 | 4.4913e-05 | 2.8247e-05 | 0.055533 | 0.055533 | 0.055533 | 0.98903 | -0.21051 | 0.98772 | -0.23602 | 15.2564
50 | 0.012953 | 0.0032454 | -0.012953 | -0.0032451 | 5.3819e-07 | 2.9595e-07 | 0.019488 | 0.019488 | 0.019488 | 0.98903 | -0.21051 | 0.98899 | -0.21139 | 5.354
51 | 0.0034279 | 0.00085902 | -0.0034278 | -0.00085908 | 9.5887e-08 | -6.1963e-08 | 0.0051577 | 0.0051577 | 0.0051577 | 0.98896 | -0.21201 | 0.98893 | -0.2126 | 1.417
52 | -0.068179 | -0.017175 | 0.068332 | 0.017272 | 0.00015354 | 9.7758e-05 | 0.10234 | 0.10234 | 0.10234 | 0.99162 | -0.16036 | 0.99406 | -0.11339 | 28.1151
53 | 0.010001 | 0.0025052 | -0.0099988 | -0.0025043 | 1.8377e-06 | 8.9842e-07 | 0.015046 | 0.015046 | 0.015046 | 0.98899 | -0.21139 | 0.98879 | -0.21525 | 4.1336
54 | 0.092591 | 0.02343 | -0.092451 | -0.02334 | 0.00014073 | 8.9812e-05 | 0.13868 | 0.13868 | 0.13868 | 0.99406 | -0.11339 | 0.99241 | -0.14511 | 38.0989
55 | -0.16092 | -0.040703 | 0.16102 | 0.040765 | 9.7725e-05 | 6.2311e-05 | 0.24102 | 0.24102 | 0.24102 | 0.99406 | -0.11339 | 0.99472 | -0.10074 | 33.107
56 | 0.0039824 | 0.00099677 | -0.003982 | -0.00099689 | 3.9994e-07 | -1.2492e-07 | 0.0059926 | 0.0059927 | 0.0059927 | 0.98879 | -0.21525 | 0.98868 | -0.21736 | 1.6464
57 | -0.075815 | -0.019103 | 0.075815 | 0.019103 | 1.3441e-07 | 8.5663e-08 | 0.11398 | 0.11398 | 0.11398 | 0.99007 | -0.1904 | 0.99007 | -0.19036 | 31.3136
58 | -0.079319 | -0.019981 | 0.079439 | 0.020058 | 0.00011973 | 7.6338e-05 | 0.11925 | 0.11925 | 0.11925 | 0.99007 | -0.19036 | 0.9917 | -0.15886 | 32.7605
59 | -0.084428 | -0.021308 | 0.084484 | 0.021344 | 5.5631e-05 | 3.5484e-05 | 0.12673 | 0.12673 | 0.12673 | 0.9917 | -0.15886 | 0.99241 | -0.14511 | 34.8172
60 | -0.16824 | -0.042574 | 0.16856 | 0.042778 | 0.0003197 | 0.00020391 | 0.25182 | 0.25182 | 0.25182 | 0.99472 | -0.10074 | 0.99679 | -0.061226 | 34.5905
61 | 0.038868 | 0.0097959 | -0.038864 | -0.0097929 | 4.7861e-06 | 3.0137e-06 | 0.058043 | 0.058043 | 0.058043 | 0.99679 | -0.061226 | 0.99665 | -0.0638 | 15.9458
62 | 0.034808 | 0.0087766 | -0.034769 | -0.0087519 | 3.9327e-05 | 2.4664e-05 | 0.051988 | 0.051988 | 0.051988 | 0.99665 | -0.0638 | 0.99542 | -0.087435 | 14.2825
63 | 0.0017091 | 0.00042725 | -0.0017089 | -0.00042829 | 2.2907e-07 | -1.0373e-06 | 0.0025719 | 0.0025723 | 0.0025723 | 0.98868 | -0.21736 | 0.98854 | -0.22017 | 0.70669

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2544 | 0.064192

## res_load
| p_mw | q_mvar
0 | 0.00465 | 0.0011654
1 | 0.0032346 | 0.00081066
2 | 0.0027811 | 0.00069702
3 | 0.0039884 | 0.00099959
4 | 0.0054984 | 0.001378
5 | 0.0097547 | 0.0024448
6 | 0.0079558 | 0.0019939
7 | 0.0043568 | 0.0010919
8 | 0.0026553 | 0.00066547
9 | 0.0033553 | 0.00084092
10 | 0.0032804 | 0.00082213
11 | 0.0032945 | 0.00082567
12 | 0.0042991 | 0.0010775
13 | 0.0040984 | 0.0010271
14 | 0.0029511 | 0.00073961
15 | 0.0074593 | 0.0018695
16 | 0.0052028 | 0.0013039
17 | 0.006195 | 0.0015526
18 | 0.0063995 | 0.0016039
19 | 0.0037662 | 0.00094391
20 | 0.003835 | 0.00096113
21 | 0.0029743 | 0.00074543
22 | 0.0030995 | 0.00077681
23 | 0.00612 | 0.0015338
24 | 0.0030109 | 0.00075461
25 | 0.005238 | 0.0013128
26 | 0.0030112 | 0.00075467
27 | 0.0084942 | 0.0021288
28 | 0.0050913 | 0.001276
29 | 0.003603 | 0.00090299
30 | 0.0034002 | 0.00085218
31 | 0.0036022 | 0.00090279
32 | 0.0030168 | 0.00075608
33 | 0.0048794 | 0.0012229
34 | 0.0066557 | 0.0016681
35 | 0.0043996 | 0.0011027
36 | 0.0073362 | 0.0018386
37 | 0.0056076 | 0.0014054
38 | 0.0084272 | 0.0021121
39 | 0.0029536 | 0.00074025
40 | 0.0029933 | 0.0007502
41 | 0.0032497 | 0.00081446
42 | 0.0055527 | 0.0013916
43 | 0.0043851 | 0.001099
44 | 0.0029524 | 0.00073993
45 | 0.0035072 | 0.000879
46 | 0.0035043 | 0.00087825
47 | 0.0049893 | 0.0012504
48 | 0.0079669 | 0.0019967
49 | 0.0072199 | 0.0018095
50 | 0.0040553 | 0.0010164
51 | 0.0028096 | 0.00070415
52 | 0.0034278 | 0.00085908
53 | 0.0022729 | 0.00056964
54 | 0.0017089 | 0.00042829

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1