## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1214-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1214-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1214-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1214-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1214-5_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1214-5_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1214-5_0_5_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_1214-5_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1214-5_0_5_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_1214-5_0_5_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_1214-5_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1214-5_0_5_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_1214-5_0_5_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_1214-5_0_5_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_1214-5_0_5_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_1214-5_0_5_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_1214-5_0_5_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1214-5_0_5_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_1214-5_0_5_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_1214-5_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1214-5_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1214-5_0_5_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_1214-5_0_5_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_1214-5_0_5_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_1214-5_0_5_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_1214-5_0_5_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_1214-5_0_5_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_1214-5_0_5_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_1214-5_0_5_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_1214-5_0_5_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_1214-5_0_5_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_1214-5_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1214-5_0_5_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_1214-5_0_5_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_1214-5_0_5_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_1214-5_0_5_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_1214-5_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_1214-5_0_5_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1214-5_0_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1214-5_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1214-5_0_5_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1214-5_0_5_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1214-5_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1214-5_0_5_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1214-5_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1214-5_0_5_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_1214-5_0_5_node_42 | 0.4 | n |  | TRUE
47 | bus_MV_12_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1214-5_0_5_load_0 | 0 | 0.02417 | 0.0060577 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1214-5_0_5_load_7 | 5 | 0.0025443 | 0.00063767 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1214-5_0_5_load_31 | 6 | 0.0088875 | 0.0022274 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1214-5_0_5_load_40 | 9 | 0.016412 | 0.0041133 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1214-5_0_5_load_47 | 11 | 0.021547 | 0.0054002 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1214-5_0_5_load_29 | 15 | 0.0020009 | 0.00050148 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1214-5_0_5_load_28 | 18 | 0.0028963 | 0.00072588 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1214-5_0_5_load_18 | 20 | 0.0043952 | 0.0011015 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1214-5_0_5_load_41 | 21 | 0.0060666 | 0.0015204 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1214-5_0_5_load_45 | 22 | 0.025391 | 0.0063636 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1214-5_0_5_load_44 | 23 | 0.0016213 | 0.00040633 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1214-5_0_5_load_8 | 24 | 0.057341 | 0.014371 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1214-5_0_5_load_11 | 27 | 0.067694 | 0.016966 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1214-5_0_5_load_39 | 30 | 0.0015214 | 0.00038129 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1214-5_0_5_load_23 | 31 | 0.0011028 | 0.0002764 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1214-5_0_5_load_14 | 32 | 0.001258 | 0.00031529 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1214-5_0_5_load_15 | 33 | 0.027075 | 0.0067857 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1214-5_0_5_load_16 | 34 | 0.0018777 | 0.00047059 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1214-5_0_5_load_17 | 35 | 0.014042 | 0.0035192 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1214-5_0_5_load_35 | 37 | 0.0014138 | 0.00035433 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1214-5_0_5_load_33 | 38 | 0.00196 | 0.00049122 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1214-5_0_5_load_25 | 39 | 0.0013413 | 0.00033615 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1214-5_0_5_load_37 | 40 | 0.0014669 | 0.00036765 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1214-5_0_5_load_38 | 41 | 0.00084508 | 0.0002118 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1214-5_0_5_load_30 | 42 | 0.0011797 | 0.00029565 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1214-5_0_5_load_36 | 43 | 0.00084503 | 0.00021178 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1214-5_0_5_load_32 | 44 | 0.0097667 | 0.0024478 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1214-5_0_5_load_34 | 45 | 0.0014545 | 0.00036454 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1214-5_0_5_load_42 | 46 | 0.005667 | 0.0014203 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1214-5_0_5_line_0 |  | 0 | 1 | 0.050356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1214-5_0_5_line_1 |  | 0 | 2 | 0.0042045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1214-5_0_5_line_2 |  | 1 | 3 | 0.050393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1214-5_0_5_line_3 |  | 1 | 4 | 0.041071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1214-5_0_5_line_4 |  | 2 | 5 | 0.02547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1214-5_0_5_line_5 |  | 3 | 6 | 0.015043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1214-5_0_5_line_6 |  | 4 | 11 | 0.016485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1214-5_0_5_line_7 |  | 4 | 12 | 0.00804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1214-5_0_5_line_8 |  | 5 | 13 | 0.037611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1214-5_0_5_line_9 |  | 6 | 10 | 0.0014574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1214-5_0_5_line_10 |  | 7 | 8 | 0.019209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1214-5_0_5_line_11 |  | 7 | 9 | 0.089341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1214-5_0_5_line_12 |  | 8 | 20 | 0.025772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1214-5_0_5_line_13 |  | 8 | 10 | 0.036159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1214-5_0_5_line_14 |  | 9 | 21 | 0.022619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1214-5_0_5_line_15 |  | 12 | 22 | 0.018249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1214-5_0_5_line_16 |  | 13 | 23 | 0.01019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1214-5_0_5_line_17 |  | 14 | 15 | 0.022323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1214-5_0_5_line_18 |  | 14 | 16 | 0.029004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1214-5_0_5_line_19 |  | 15 | 42 | 0.065526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1214-5_0_5_line_20 |  | 15 | 18 | 0.059354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1214-5_0_5_line_21 |  | 16 | 39 | 0.032785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1214-5_0_5_line_22 |  | 16 | 31 | 0.013108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1214-5_0_5_line_23 |  | 17 | 18 | 0.059683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1214-5_0_5_line_24 |  | 17 | 19 | 0.008173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1214-5_0_5_line_25 |  | 19 | 20 | 0.05771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1214-5_0_5_line_26 |  | 19 | 36 | 0.04378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1214-5_0_5_line_27 |  | 21 | 46 | 0.0090566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1214-5_0_5_line_28 |  | 24 | 25 | 0.022842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1214-5_0_5_line_29 |  | 24 | 26 | 0.12584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1214-5_0_5_line_30 |  | 25 | 27 | 0.03197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1214-5_0_5_line_31 |  | 26 | 28 | 0.025733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1214-5_0_5_line_32 |  | 26 | 29 | 0.0077585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1214-5_0_5_line_33 |  | 28 | 30 | 0.01582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1214-5_0_5_line_34 |  | 29 | 31 | 0.029631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1214-5_0_5_line_35 |  | 32 | 33 | 0.10525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1214-5_0_5_line_36 |  | 32 | 34 | 0.13689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1214-5_0_5_line_37 |  | 33 | 35 | 0.00046919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1214-5_0_5_line_38 |  | 35 | 36 | 0.0038293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1214-5_0_5_line_39 |  | 36 | 37 | 0.051464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1214-5_0_5_line_40 |  | 37 | 38 | 0.021011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1214-5_0_5_line_41 |  | 38 | 44 | 0.027102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1214-5_0_5_line_42 |  | 39 | 40 | 0.007439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1214-5_0_5_line_43 |  | 40 | 41 | 0.0275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1214-5_0_5_line_44 |  | 42 | 43 | 0.029651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1214-5_0_5_line_45 |  | 44 | 45 | 0.0064445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1214-5_0_5_trafo_0 | 0.63 MVA 20/0.4 kV | 47 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2688932.0175 | 1193349.5497 | 2688918.6732 | 1193342.1578 | 2688912.833 | 1193338.1352 | 2688896.4667 | 1193326.8626 | 2688889.7657 | 1193322.2476
1 | 2688886.3029 | 1193319.8628 | 2688889.7657 | 1193322.2476
2 | 2688976.0947 | 1193373.976 | 2688963.4083 | 1193366.9496 | 2688932.0175 | 1193349.5497
3 | 2688946.2787 | 1193324.5013 | 2688947.4628 | 1193328.944 | 2688952.5618 | 1193334.1119 | 2688946.4776 | 1193339.8251 | 2688944.4073 | 1193347.8217 | 2688936.9941 | 1193348.0783 | 2688932.0175 | 1193349.5497
4 | 2688886.3029 | 1193319.8628 | 2688887.4369 | 1193294.4178
5 | 2688976.0947 | 1193373.976 | 2688985.6288 | 1193362.3397
6 | 2688944.1877 | 1193308.2599 | 2688944.2472 | 1193316.0435 | 2688946.2787 | 1193324.5013
7 | 2688939.4476 | 1193320.9864 | 2688943.0212 | 1193324.1638 | 2688946.2787 | 1193324.5013
8 | 2688905.9171 | 1193271.1009 | 2688894.8735 | 1193271.4815 | 2688889.2212 | 1193274.2994 | 2688888.0756 | 1193280.086 | 2688887.4369 | 1193294.4178
9 | 2688986.5525 | 1193361.2123 | 2688985.6288 | 1193362.3397
10 | 2689022.5869 | 1193319.1104 | 2689016.1714 | 1193326.0861 | 2689010.0215 | 1193333.655
11 | 2689022.5869 | 1193319.1104 | 2689079.7636 | 1193250.4617
12 | 2689010.0215 | 1193333.655 | 2689028.586 | 1193351.5312
13 | 2689010.0215 | 1193333.655 | 2688986.5525 | 1193361.2123
14 | 2689079.7636 | 1193250.4617 | 2689085.6812 | 1193243.3567 | 2689093.4145 | 1193232.4476
15 | 2688939.4476 | 1193320.9864 | 2688926.3035 | 1193308.3275
16 | 2688905.9171 | 1193271.1009 | 2688902.1626 | 1193261.628
17 | 2688932.2337 | 1193425.7347 | 2688938.0984 | 1193429.6466 | 2688937.4869 | 1193436.931 | 2688944.6529 | 1193440.4731
18 | 2688913.2845 | 1193447.7338 | 2688932.2337 | 1193425.7347
19 | 2688944.6529 | 1193440.4731 | 2688940.7555 | 1193464.7084 | 2688944.6804 | 1193477.0635 | 2688940.6643 | 1193488.2665 | 2688936.1386 | 1193503.733
20 | 2688944.6529 | 1193440.4731 | 2688989.6849 | 1193460.1107 | 2688999.8263 | 1193461.429
21 | 2688913.2845 | 1193447.7338 | 2688921.8662 | 1193455.5107 | 2688921.5911 | 1193461.7106 | 2688916.216 | 1193475.7118
22 | 2688913.2845 | 1193447.7338 | 2688902.2138 | 1193440.7152
23 | 2689017.2558 | 1193405.8418 | 2689005.3623 | 1193457.1976 | 2688999.8263 | 1193461.429
24 | 2689017.2558 | 1193405.8418 | 2689025.4345 | 1193406.3861
25 | 2689025.4345 | 1193406.3861 | 2689030.4802 | 1193384.4027 | 2689033.5586 | 1193356.3195 | 2689028.586 | 1193351.5312
26 | 2689025.4345 | 1193406.3861 | 2689033.8562 | 1193407.501 | 2689045.7698 | 1193409.0792 | 2689068.8477 | 1193412.9029
27 | 2689098.2816 | 1193224.8174 | 2689095.3209 | 1193229.7583 | 2689093.4145 | 1193232.4476
28 | 2688735.2006 | 1193359.6344 | 2688756.1649 | 1193368.7038
29 | 2688870.5632 | 1193420.8154 | 2688851.7906 | 1193409.9074 | 2688805.0867 | 1193389.8681 | 2688756.1649 | 1193368.7038
30 | 2688735.2006 | 1193359.6344 | 2688732.5892 | 1193355.8265 | 2688727.3215 | 1193348.1436 | 2688735.698 | 1193332.1694
31 | 2688863.9286 | 1193442.5529 | 2688873.6241 | 1193422.5842 | 2688870.5632 | 1193420.8154
32 | 2688870.5632 | 1193420.8154 | 2688873.6241 | 1193422.5842 | 2688877.1884 | 1193424.8497
33 | 2688863.9286 | 1193442.5529 | 2688857.0163 | 1193456.7829
34 | 2688877.1884 | 1193424.8497 | 2688902.2138 | 1193440.7152
35 | 2689177.6824 | 1193424.1486 | 2689100.0887 | 1193417.8045 | 2689085.3187 | 1193416.5949 | 2689073.0421 | 1193413.8431
36 | 2689177.6824 | 1193424.1486 | 2689314.0611 | 1193435.9962
37 | 2689073.0421 | 1193413.8431 | 2689072.5843 | 1193413.7405
38 | 2689068.8477 | 1193412.9029 | 2689072.5843 | 1193413.7405
39 | 2689068.8477 | 1193412.9029 | 2689062.1189 | 1193442.9663 | 2689064.7457 | 1193451.3552 | 2689072.3609 | 1193454.9264 | 2689075.749 | 1193455.6056
40 | 2689075.749 | 1193455.6056 | 2689096.3501 | 1193459.7359
41 | 2689096.3501 | 1193459.7359 | 2689122.9232 | 1193465.0635
42 | 2688916.216 | 1193475.7118 | 2688913.5498 | 1193482.6567
43 | 2688903.6938 | 1193508.3298 | 2688913.5498 | 1193482.6567
44 | 2688927.8114 | 1193532.1909 | 2688936.1386 | 1193503.733
45 | 2689121.418 | 1193471.3297 | 2689122.9232 | 1193465.0635 | 2689122.9232 | 1193465.0635

## bus_geodata
| x | y | coords
0 | 2688889.7657 | 1193322.2476
1 | 2688932.0175 | 1193349.5497
2 | 2688886.3029 | 1193319.8628
3 | 2688976.0947 | 1193373.976
4 | 2688946.2787 | 1193324.5013
5 | 2688887.4369 | 1193294.4178
6 | 2688985.6288 | 1193362.3397
7 | 2689022.5869 | 1193319.1104
8 | 2689010.0215 | 1193333.655
9 | 2689079.7636 | 1193250.4617
10 | 2688986.5525 | 1193361.2123
11 | 2688944.1877 | 1193308.2599
12 | 2688939.4476 | 1193320.9864
13 | 2688905.9171 | 1193271.1009
14 | 2688932.2337 | 1193425.7347
15 | 2688944.6529 | 1193440.4731
16 | 2688913.2845 | 1193447.7338
17 | 2689017.2558 | 1193405.8418
18 | 2688999.8263 | 1193461.429
19 | 2689025.4345 | 1193406.3861
20 | 2689028.586 | 1193351.5312
21 | 2689093.4145 | 1193232.4476
22 | 2688926.3035 | 1193308.3275
23 | 2688902.1626 | 1193261.628
24 | 2688756.1649 | 1193368.7038
25 | 2688735.2006 | 1193359.6344
26 | 2688870.5632 | 1193420.8154
27 | 2688735.698 | 1193332.1694
28 | 2688863.9286 | 1193442.5529
29 | 2688877.1884 | 1193424.8497
30 | 2688857.0163 | 1193456.7829
31 | 2688902.2138 | 1193440.7152
32 | 2689177.6824 | 1193424.1486
33 | 2689073.0421 | 1193413.8431
34 | 2689314.0611 | 1193435.9962
35 | 2689072.5843 | 1193413.7405
36 | 2689068.8477 | 1193412.9029
37 | 2689075.749 | 1193455.6056
38 | 2689096.3501 | 1193459.7359
39 | 2688916.216 | 1193475.7118
40 | 2688913.5498 | 1193482.6567
41 | 2688903.6938 | 1193508.3298
42 | 2688936.1386 | 1193503.733
43 | 2688927.8114 | 1193532.1909
44 | 2689122.9232 | 1193465.0635
45 | 2689121.418 | 1193471.3297
46 | 2689098.2816 | 1193224.8174
47 | 2688886.3029 | 1193319.8628

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.29611 | -0.075647
1 | 0.99668 | -0.062863 | 0 | 0
2 | 0.99998 | -0.00030546 | 0 | 0
3 | 0.99389 | -0.11575 | 0 | 0
4 | 0.99492 | -0.096749 | 0 | 0
5 | 0.99989 | -0.0021558 | 0.0025443 | 0.00063767
6 | 0.99306 | -0.1316 | 0.0088875 | 0.0022274
7 | 0.99056 | -0.17945 | 0 | 0
8 | 0.99106 | -0.16985 | 0 | 0
9 | 0.98825 | -0.22423 | 0.016412 | 0.0041133
10 | 0.99298 | -0.13308 | 0 | 0
11 | 0.99459 | -0.10301 | 0.021547 | 0.0054002
12 | 0.99473 | -0.10034 | 0 | 0
13 | 0.99983 | -0.0032196 | 0 | 0
14 | 0.98247 | -0.33508 | 0 | 0
15 | 0.98315 | -0.32186 | 0.0020009 | 0.00050148
16 | 0.98158 | -0.3523 | 0 | 0
17 | 0.98695 | -0.24871 | 0 | 0
18 | 0.98502 | -0.2857 | 0.0028963 | 0.00072588
19 | 0.98721 | -0.24366 | 0 | 0
20 | 0.98985 | -0.19293 | 0.0043952 | 0.0011015
21 | 0.98801 | -0.22897 | 0.0060666 | 0.0015204
22 | 0.99431 | -0.10851 | 0.025391 | 0.0063636
23 | 0.99982 | -0.0035076 | 0.0016213 | 0.00040633
24 | 0.9752 | -0.47696 | 0.057341 | 0.014371
25 | 0.97376 | -0.50534 | 0 | 0
26 | 0.98009 | -0.38131 | 0 | 0
27 | 0.97174 | -0.5452 | 0.067694 | 0.016966
28 | 0.98005 | -0.38202 | 0 | 0
29 | 0.98032 | -0.37686 | 0 | 0
30 | 0.98003 | -0.38246 | 0.0015214 | 0.00038129
31 | 0.98119 | -0.35987 | 0.0011028 | 0.0002764
32 | 0.98436 | -0.2991 | 0.001258 | 0.00031529
33 | 0.98467 | -0.29316 | 0.027075 | 0.0067857
34 | 0.98413 | -0.30373 | 0.0018777 | 0.00047059
35 | 0.98468 | -0.2929 | 0.014042 | 0.0035192
36 | 0.98484 | -0.28986 | 0 | 0
37 | 0.98414 | -0.30336 | 0.0014138 | 0.00035433
38 | 0.98389 | -0.30835 | 0.00196 | 0.00049122
39 | 0.98147 | -0.35446 | 0.0013413 | 0.00033615
40 | 0.98146 | -0.35477 | 0.0014669 | 0.00036765
41 | 0.98143 | -0.35519 | 0.00084508 | 0.0002118
42 | 0.98303 | -0.32425 | 0.0011797 | 0.00029565
43 | 0.98301 | -0.3247 | 0.00084503 | 0.00021178
44 | 0.98361 | -0.31383 | 0.0097667 | 0.0024478
45 | 0.9836 | -0.314 | 0.0014545 | 0.00036454
46 | 0.98796 | -0.22988 | 0.005667 | 0.0014203
47 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.2903 | 0.074604 | -0.28941 | -0.074041 | 0.00088357 | 0.00056285 | 0.43262 | 0.43262 | 0.43262 | 1 | 0 | 0.99668 | -0.062863 | 29.7132
1 | 0.0041661 | 0.0010433 | -0.0041661 | -0.0010433 | 6.0589e-08 | -1.6383e-08 | 0.006199 | 0.006199 | 0.006199 | 1 | 0 | 0.99998 | -0.00030546 | 1.703
2 | 0.24238 | 0.062216 | -0.24176 | -0.061822 | 0.00062044 | 0.00039446 | 0.36239 | 0.36239 | 0.36239 | 0.99668 | -0.062863 | 0.99389 | -0.11575 | 24.8895
3 | 0.047035 | 0.011825 | -0.046959 | -0.011776 | 7.5976e-05 | 4.809e-05 | 0.070235 | 0.070235 | 0.070235 | 0.99668 | -0.062863 | 0.99492 | -0.096749 | 19.2953
4 | 0.0041661 | 0.0010433 | -0.0041657 | -0.0010434 | 3.6704e-07 | -9.9202e-08 | 0.006199 | 0.0061991 | 0.0061991 | 0.99998 | -0.00030546 | 0.99989 | -0.0021558 | 1.7031
5 | 0.24176 | 0.061822 | -0.24157 | -0.061704 | 0.00018521 | 0.00011776 | 0.36239 | 0.36239 | 0.36239 | 0.99389 | -0.11575 | 0.99306 | -0.1316 | 24.8896
6 | 0.021553 | 0.0054041 | -0.021547 | -0.0054002 | 6.4241e-06 | 3.8974e-06 | 0.032236 | 0.032237 | 0.032237 | 0.99492 | -0.096749 | 0.99459 | -0.10301 | 8.8562
7 | 0.025405 | 0.0063724 | -0.025401 | -0.0063697 | 4.3533e-06 | 2.6818e-06 | 0.037999 | 0.037999 | 0.037999 | 0.99492 | -0.096749 | 0.99473 | -0.10034 | 10.4392
8 | 0.0016214 | 0.00040576 | -0.0016213 | -0.00040621 | 8.2106e-08 | -4.4074e-07 | 0.0024127 | 0.0024128 | 0.0024128 | 0.99989 | -0.0021558 | 0.99983 | -0.0032196 | 0.66287
9 | 0.23269 | 0.059477 | -0.23267 | -0.059466 | 1.6649e-05 | 1.058e-05 | 0.34907 | 0.34907 | 0.34907 | 0.99306 | -0.1316 | 0.99298 | -0.13308 | 23.9749
10 | -0.028209 | -0.0070928 | 0.028222 | 0.0071008 | 1.294e-05 | 8.0341e-06 | 0.042383 | 0.042383 | 0.042383 | 0.99056 | -0.17945 | 0.99106 | -0.16985 | 11.6438
11 | 0.028209 | 0.0070928 | -0.028149 | -0.0070554 | 6.0184e-05 | 3.737e-05 | 0.042383 | 0.042384 | 0.042384 | 0.99056 | -0.17945 | 0.98825 | -0.22423 | 11.6439
12 | 0.20403 | 0.052103 | -0.20381 | -0.051959 | 0.00022726 | 0.00014412 | 0.30669 | 0.30669 | 0.30669 | 0.99106 | -0.16985 | 0.98985 | -0.19293 | 21.0641
13 | -0.23226 | -0.059204 | 0.23267 | 0.059466 | 0.00041307 | 0.0002625 | 0.34908 | 0.34907 | 0.34908 | 0.99106 | -0.16985 | 0.99298 | -0.13308 | 23.975
14 | 0.011737 | 0.0029422 | -0.011734 | -0.0029408 | 2.649e-06 | 1.4056e-06 | 0.017672 | 0.017672 | 0.017672 | 0.98825 | -0.22423 | 0.98801 | -0.22897 | 4.855
15 | 0.025401 | 0.0063697 | -0.025391 | -0.0063636 | 9.881e-06 | 6.087e-06 | 0.037999 | 0.037999 | 0.037999 | 0.99473 | -0.10034 | 0.99431 | -0.10851 | 10.4392
16 | 0.0016213 | 0.00040621 | -0.0016213 | -0.00040633 | 2.2247e-08 | -1.194e-07 | 0.0024128 | 0.0024129 | 0.0024129 | 0.99983 | -0.0032196 | 0.99982 | -0.0035076 | 0.66288
17 | -0.1324 | -0.033593 | 0.13248 | 0.033645 | 8.4273e-05 | 5.2803e-05 | 0.20067 | 0.20067 | 0.20067 | 0.98247 | -0.33508 | 0.98315 | -0.32186 | 13.7823
18 | 0.1324 | 0.033593 | -0.13229 | -0.033524 | 0.0001095 | 6.8609e-05 | 0.20067 | 0.20067 | 0.20067 | 0.98247 | -0.33508 | 0.98158 | -0.3523 | 13.7823
19 | 0.0020249 | 0.00050639 | -0.0020247 | -0.00050707 | 2.3077e-07 | -6.8314e-07 | 0.0030644 | 0.0030647 | 0.0030647 | 0.98315 | -0.32186 | 0.98303 | -0.32425 | 0.84195
20 | -0.13651 | -0.034653 | 0.13674 | 0.034803 | 0.00023788 | 0.00014923 | 0.20676 | 0.20676 | 0.20676 | 0.98315 | -0.32186 | 0.98502 | -0.2857 | 14.2007
21 | 0.0036537 | 0.00091502 | -0.0036533 | -0.00091519 | 3.7715e-07 | -1.73e-07 | 0.0055386 | 0.0055387 | 0.0055387 | 0.98158 | -0.3523 | 0.98147 | -0.35446 | 1.5216
22 | 0.12863 | 0.032609 | -0.12859 | -0.03258 | 4.6791e-05 | 2.9284e-05 | 0.19513 | 0.19513 | 0.19513 | 0.98158 | -0.3523 | 0.98119 | -0.35987 | 13.4019
23 | 0.13989 | 0.035685 | -0.13964 | -0.035528 | 0.00024943 | 0.00015659 | 0.21114 | 0.21114 | 0.21114 | 0.98695 | -0.24871 | 0.98502 | -0.2857 | 14.5011
24 | -0.13989 | -0.035685 | 0.13992 | 0.035706 | 3.4157e-05 | 2.1442e-05 | 0.21114 | 0.21114 | 0.21114 | 0.98695 | -0.24871 | 0.98721 | -0.24366 | 14.5011
25 | -0.19892 | -0.050548 | 0.19941 | 0.050857 | 0.00048721 | 0.00030885 | 0.30009 | 0.30009 | 0.30009 | 0.98721 | -0.24366 | 0.98985 | -0.19293 | 20.6104
26 | 0.059001 | 0.014842 | -0.058871 | -0.014759 | 0.0001299 | 8.2579e-05 | 0.088952 | 0.088952 | 0.088952 | 0.98721 | -0.24366 | 0.98484 | -0.28986 | 24.4374
27 | 0.0056673 | 0.0014203 | -0.005667 | -0.0014203 | 2.4743e-07 | 4.2374e-08 | 0.0085354 | 0.0085354 | 0.0085354 | 0.98801 | -0.22897 | 0.98796 | -0.22988 | 2.3449
28 | 0.067915 | 0.017106 | -0.067823 | -0.017048 | 9.2041e-05 | 5.8621e-05 | 0.10366 | 0.10366 | 0.10366 | 0.9752 | -0.47696 | 0.97376 | -0.50534 | 28.4778
29 | -0.12526 | -0.031477 | 0.12583 | 0.03184 | 0.00057474 | 0.0003631 | 0.19115 | 0.19115 | 0.19115 | 0.9752 | -0.47696 | 0.98009 | -0.38131 | 17.5048
30 | 0.067823 | 0.017048 | -0.067694 | -0.016966 | 0.00012882 | 8.2049e-05 | 0.10366 | 0.10366 | 0.10366 | 0.97376 | -0.50534 | 0.97174 | -0.5452 | 28.4778
31 | 0.0015214 | 0.00038082 | -0.0015214 | -0.00038111 | 5.1484e-08 | -2.9133e-07 | 0.0023097 | 0.0023099 | 0.0023099 | 0.98009 | -0.38131 | 0.98005 | -0.38202 | 0.63458
32 | -0.12735 | -0.032221 | 0.12738 | 0.032238 | 2.7223e-05 | 1.7031e-05 | 0.19346 | 0.19346 | 0.19346 | 0.98009 | -0.38131 | 0.98032 | -0.37686 | 13.2871
33 | 0.0015214 | 0.00038111 | -0.0015214 | -0.00038129 | 3.1654e-08 | -1.7909e-07 | 0.0023099 | 0.0023099 | 0.0023099 | 0.98005 | -0.38202 | 0.98003 | -0.38246 | 0.6346
34 | -0.12738 | -0.032238 | 0.12748 | 0.032303 | 0.00010397 | 6.5043e-05 | 0.19346 | 0.19346 | 0.19346 | 0.98032 | -0.37686 | 0.98119 | -0.35987 | 13.2871
35 | -0.0031361 | -0.00078441 | 0.003137 | 0.00078364 | 8.8677e-07 | -7.7088e-07 | 0.0047402 | 0.0047397 | 0.0047402 | 0.98436 | -0.2991 | 0.98467 | -0.29316 | 1.3022
36 | 0.0018781 | 0.00046912 | -0.0018777 | -0.00047059 | 4.1369e-07 | -1.475e-06 | 0.0028385 | 0.0028391 | 0.0028391 | 0.98436 | -0.2991 | 0.98413 | -0.30373 | 0.77997
37 | -0.030212 | -0.0075693 | 0.030213 | 0.0075696 | 3.6675e-07 | 2.2875e-07 | 0.045655 | 0.045655 | 0.045655 | 0.98467 | -0.29316 | 0.98468 | -0.2929 | 12.5427
38 | -0.044254 | -0.011089 | 0.044261 | 0.011093 | 6.422e-06 | 4.0614e-06 | 0.066875 | 0.066875 | 0.066875 | 0.98468 | -0.2929 | 0.98484 | -0.28986 | 18.3722
39 | 0.014611 | 0.0036664 | -0.014601 | -0.0036611 | 9.4065e-06 | 5.3657e-06 | 0.022077 | 0.022077 | 0.022077 | 0.98484 | -0.28986 | 0.98414 | -0.30336 | 6.0652
40 | 0.013187 | 0.0033067 | -0.013184 | -0.003305 | 3.1327e-06 | 1.738e-06 | 0.01994 | 0.01994 | 0.01994 | 0.98414 | -0.30336 | 0.98389 | -0.30835 | 5.478
41 | 0.011224 | 0.0028138 | -0.011221 | -0.0028122 | 2.9287e-06 | 1.5303e-06 | 0.016976 | 0.016976 | 0.016976 | 0.98389 | -0.30835 | 0.98361 | -0.31383 | 4.6636
42 | 0.0023121 | 0.00057904 | -0.002312 | -0.00057911 | 3.4275e-08 | -7.2074e-08 | 0.0035052 | 0.0035052 | 0.0035052 | 0.98147 | -0.35446 | 0.98146 | -0.35477 | 0.96298
43 | 0.0008451 | 0.00021146 | -0.00084508 | -0.0002118 | 1.6928e-08 | -3.3668e-07 | 0.0012812 | 0.0012813 | 0.0012813 | 0.98146 | -0.35477 | 0.98143 | -0.35519 | 0.352
44 | 0.00084505 | 0.00021142 | -0.00084503 | -0.00021178 | 1.8192e-08 | -3.6426e-07 | 0.001279 | 0.0012792 | 0.0012792 | 0.98303 | -0.32425 | 0.98301 | -0.3247 | 0.35142
45 | 0.0014545 | 0.00036446 | -0.0014545 | -0.00036454 | 1.1701e-08 | -7.4308e-08 | 0.0022004 | 0.0022004 | 0.0022004 | 0.98361 | -0.31383 | 0.9836 | -0.314 | 0.60451

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32028 | 0.081705

## res_load
| p_mw | q_mvar
0 | 0.02417 | 0.0060577
1 | 0.0025443 | 0.00063767
2 | 0.0088875 | 0.0022274
3 | 0.016412 | 0.0041133
4 | 0.021547 | 0.0054002
5 | 0.0020009 | 0.00050148
6 | 0.0028963 | 0.00072588
7 | 0.0043952 | 0.0011015
8 | 0.0060666 | 0.0015204
9 | 0.025391 | 0.0063636
10 | 0.0016213 | 0.00040633
11 | 0.057341 | 0.014371
12 | 0.067694 | 0.016966
13 | 0.0015214 | 0.00038129
14 | 0.0011028 | 0.0002764
15 | 0.001258 | 0.00031529
16 | 0.027075 | 0.0067857
17 | 0.0018777 | 0.00047059
18 | 0.014042 | 0.0035192
19 | 0.0014138 | 0.00035433
20 | 0.00196 | 0.00049122
21 | 0.0013413 | 0.00033615
22 | 0.0014669 | 0.00036765
23 | 0.00084508 | 0.0002118
24 | 0.0011797 | 0.00029565
25 | 0.00084503 | 0.00021178
26 | 0.0097667 | 0.0024478
27 | 0.0014545 | 0.00036454
28 | 0.005667 | 0.0014203

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1