## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1214-6_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1214-6_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1214-6_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1214-6_0_7_node_75 | 0.4 | n |  | TRUE
4 | bus_LV_1214-6_0_7_node_72 | 0.4 | n |  | TRUE
5 | bus_LV_1214-6_0_7_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1214-6_0_7_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_1214-6_0_7_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1214-6_0_7_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1214-6_0_7_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1214-6_0_7_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1214-6_0_7_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1214-6_0_7_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1214-6_0_7_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1214-6_0_7_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1214-6_0_7_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1214-6_0_7_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_1214-6_0_7_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1214-6_0_7_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1214-6_0_7_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_1214-6_0_7_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1214-6_0_7_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_1214-6_0_7_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_1214-6_0_7_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_1214-6_0_7_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_1214-6_0_7_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_1214-6_0_7_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_1214-6_0_7_node_73 | 0.4 | n |  | TRUE
28 | bus_LV_1214-6_0_7_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1214-6_0_7_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1214-6_0_7_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_1214-6_0_7_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_1214-6_0_7_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1214-6_0_7_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1214-6_0_7_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_1214-6_0_7_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_1214-6_0_7_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_1214-6_0_7_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1214-6_0_7_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1214-6_0_7_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1214-6_0_7_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_1214-6_0_7_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_1214-6_0_7_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1214-6_0_7_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1214-6_0_7_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1214-6_0_7_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1214-6_0_7_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_1214-6_0_7_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_1214-6_0_7_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_1214-6_0_7_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_1214-6_0_7_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_1214-6_0_7_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_1214-6_0_7_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_1214-6_0_7_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_1214-6_0_7_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_1214-6_0_7_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_1214-6_0_7_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_1214-6_0_7_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_1214-6_0_7_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_1214-6_0_7_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_1214-6_0_7_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_1214-6_0_7_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_1214-6_0_7_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_1214-6_0_7_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_1214-6_0_7_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_1214-6_0_7_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_1214-6_0_7_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_1214-6_0_7_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_1214-6_0_7_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_1214-6_0_7_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_1214-6_0_7_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_1214-6_0_7_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_1214-6_0_7_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_1214-6_0_7_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_1214-6_0_7_node_71 | 0.4 | n |  | TRUE
75 | bus_MV_12_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1214-6_0_7_load_0 | 0 | 0.0046226 | 0.0011585 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1214-6_0_7_load_1 | 1 | 0.0046226 | 0.0011585 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1214-6_0_7_load_3 | 2 | 0.0027298 | 0.00068414 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1214-6_0_7_load_16 | 5 | 0.0037959 | 0.00095133 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1214-6_0_7_load_5 | 7 | 0.064907 | 0.016267 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1214-6_0_7_load_6 | 8 | 0.056452 | 0.014148 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1214-6_0_7_load_7 | 9 | 0.067104 | 0.016818 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1214-6_0_7_load_9 | 11 | 0.0066475 | 0.001666 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1214-6_0_7_load_14 | 13 | 0.055333 | 0.013868 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1214-6_0_7_load_20 | 14 | 0.0062412 | 0.0015642 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1214-6_0_7_load_12 | 15 | 0.0064327 | 0.0016122 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1214-6_0_7_load_11 | 17 | 0.0060248 | 0.0015099 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1214-6_0_7_load_57 | 19 | 0.014643 | 0.00367 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1214-6_0_7_load_53 | 21 | 0.0077341 | 0.0019383 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1214-6_0_7_load_56 | 23 | 0.0067676 | 0.0016961 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1214-6_0_7_load_52 | 24 | 0.0053769 | 0.0013476 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1214-6_0_7_load_50 | 25 | 0.0063275 | 0.0015858 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1214-6_0_7_load_74 | 26 | 0.0049029 | 0.0012288 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1214-6_0_7_load_73 | 27 | 0.0086167 | 0.0021595 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1214-6_0_7_load_19 | 29 | 0.0032113 | 0.00080484 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1214-6_0_7_load_77 | 30 | 0.0086778 | 0.0021749 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1214-6_0_7_load_46 | 31 | 0.0158 | 0.0039598 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1214-6_0_7_load_23 | 33 | 0.0074701 | 0.0018722 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1214-6_0_7_load_43 | 34 | 0.0051165 | 0.0012823 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1214-6_0_7_load_42 | 35 | 0.006297 | 0.0015782 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1214-6_0_7_load_44 | 36 | 0.003431 | 0.0008599 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1214-6_0_7_load_41 | 37 | 0.0051488 | 0.0012904 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1214-6_0_7_load_24 | 38 | 0.0080866 | 0.0020267 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1214-6_0_7_load_25 | 39 | 0.0066523 | 0.0016672 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1214-6_0_7_load_26 | 40 | 0.0059634 | 0.0014946 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1214-6_0_7_load_27 | 41 | 0.0072313 | 0.0018123 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1214-6_0_7_load_28 | 42 | 0.0037475 | 0.0009392 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1214-6_0_7_load_29 | 43 | 0.0025745 | 0.00064524 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1214-6_0_7_load_36 | 44 | 0.0048153 | 0.0012068 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1214-6_0_7_load_30 | 45 | 0.0025779 | 0.00064609 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1214-6_0_7_load_37 | 46 | 0.0056996 | 0.0014285 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1214-6_0_7_load_34 | 47 | 0.0025364 | 0.00063567 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1214-6_0_7_load_32 | 48 | 0.0025337 | 0.000635 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1214-6_0_7_load_31 | 49 | 0.0048968 | 0.0012272 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1214-6_0_7_load_33 | 50 | 0.0025146 | 0.00063021 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1214-6_0_7_load_35 | 51 | 0.0022636 | 0.00056731 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1214-6_0_7_load_76 | 52 | 0.0069985 | 0.001754 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1214-6_0_7_load_38 | 53 | 0.0042095 | 0.001055 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1214-6_0_7_load_39 | 54 | 0.0044253 | 0.0011091 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1214-6_0_7_load_40 | 55 | 0.0077059 | 0.0019313 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1214-6_0_7_load_45 | 56 | 0.0037197 | 0.00093226 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1214-6_0_7_load_47 | 57 | 0.0057578 | 0.001443 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1214-6_0_7_load_48 | 58 | 0.0069016 | 0.0017297 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1214-6_0_7_load_49 | 59 | 0.0062151 | 0.0015577 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1214-6_0_7_load_51 | 60 | 0.0047824 | 0.0011986 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1214-6_0_7_load_64 | 61 | 0.008046 | 0.0020165 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1214-6_0_7_load_62 | 62 | 0.0051044 | 0.0012793 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1214-6_0_7_load_58 | 63 | 0.0058069 | 0.0014553 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1214-6_0_7_load_59 | 64 | 0.0076465 | 0.0019164 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1214-6_0_7_load_60 | 65 | 0.0040584 | 0.0010171 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1214-6_0_7_load_61 | 66 | 0.0040195 | 0.0010074 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1214-6_0_7_load_63 | 67 | 0.0040228 | 0.0010082 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1214-6_0_7_load_65 | 68 | 0.0037453 | 0.00093866 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1214-6_0_7_load_66 | 69 | 0.0030846 | 0.00077307 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1214-6_0_7_load_67 | 70 | 0.0037451 | 0.00093862 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1214-6_0_7_load_68 | 71 | 0.0030839 | 0.00077291 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1214-6_0_7_load_70 | 72 | 0.0034528 | 0.00086534 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1214-6_0_7_load_69 | 73 | 0.0027298 | 0.00068414 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1214-6_0_7_load_71 | 74 | 0.0025712 | 0.00064441 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1214-6_0_7_line_0 |  | 0 | 1 | 0.0035608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1214-6_0_7_line_1 |  | 1 | 2 | 0.052988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1214-6_0_7_line_2 |  | 2 | 3 | 0.007016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1214-6_0_7_line_3 |  | 3 | 4 | 0.008693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1214-6_0_7_line_4 |  | 4 | 27 | 0.036543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1214-6_0_7_line_5 |  | 4 | 74 | 0.014088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1214-6_0_7_line_6 |  | 5 | 6 | 0.081938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1214-6_0_7_line_7 |  | 6 | 28 | 0.097904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1214-6_0_7_line_8 |  | 6 | 29 | 0.12916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1214-6_0_7_line_9 |  | 7 | 8 | 0.020053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_1214-6_0_7_line_10 |  | 7 | 9 | 0.067376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_1214-6_0_7_line_11 |  | 8 | 10 | 0.045848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_1214-6_0_7_line_12 |  | 9 | 11 | 0.0017579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_1214-6_0_7_line_13 |  | 10 | 12 | 0.022406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1214-6_0_7_line_14 |  | 11 | 13 | 0.00076667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_1214-6_0_7_line_15 |  | 12 | 14 | 0.031295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1214-6_0_7_line_16 |  | 13 | 15 | 0.048025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_1214-6_0_7_line_17 |  | 14 | 16 | 0.033875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_1214-6_0_7_line_18 |  | 15 | 19 | 0.045305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1214-6_0_7_line_19 |  | 15 | 17 | 0.020697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1214-6_0_7_line_20 |  | 16 | 32 | 0.077275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1214-6_0_7_line_21 |  | 16 | 33 | 0.010516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1214-6_0_7_line_22 |  | 17 | 18 | 0.1081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_1214-6_0_7_line_23 |  | 18 | 20 | 0.10015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_1214-6_0_7_line_24 |  | 19 | 23 | 0.019624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1214-6_0_7_line_25 |  | 20 | 24 | 0.040191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_1214-6_0_7_line_26 |  | 21 | 22 | 0.016166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1214-6_0_7_line_27 |  | 22 | 23 | 0.01293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1214-6_0_7_line_28 |  | 24 | 25 | 0.0054775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1214-6_0_7_line_29 |  | 25 | 58 | 0.012075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1214-6_0_7_line_30 |  | 26 | 27 | 0.0037205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1214-6_0_7_line_31 |  | 28 | 30 | 0.063566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1214-6_0_7_line_32 |  | 29 | 31 | 0.0094299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1214-6_0_7_line_33 |  | 31 | 32 | 0.0091413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1214-6_0_7_line_34 |  | 32 | 34 | 0.012974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1214-6_0_7_line_35 |  | 33 | 35 | 0.0053911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1214-6_0_7_line_36 |  | 34 | 36 | 0.019718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1214-6_0_7_line_37 |  | 35 | 37 | 0.0026327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1214-6_0_7_line_38 |  | 36 | 56 | 0.010285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1214-6_0_7_line_39 |  | 37 | 55 | 0.016057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1214-6_0_7_line_40 |  | 38 | 39 | 0.0058149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1214-6_0_7_line_41 |  | 38 | 40 | 0.0089181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1214-6_0_7_line_42 |  | 39 | 41 | 0.012707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1214-6_0_7_line_43 |  | 40 | 42 | 0.0015396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1214-6_0_7_line_44 |  | 41 | 43 | 0.015331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1214-6_0_7_line_45 |  | 42 | 44 | 0.035695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1214-6_0_7_line_46 |  | 43 | 45 | 0.0040551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1214-6_0_7_line_47 |  | 44 | 46 | 0.0078389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1214-6_0_7_line_48 |  | 45 | 47 | 0.013007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1214-6_0_7_line_49 |  | 46 | 53 | 0.02042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1214-6_0_7_line_50 |  | 47 | 48 | 0.0062237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1214-6_0_7_line_51 |  | 48 | 49 | 0.0010327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1214-6_0_7_line_52 |  | 49 | 50 | 0.012054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1214-6_0_7_line_53 |  | 50 | 51 | 0.00073908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1214-6_0_7_line_54 |  | 51 | 52 | 0.0011363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1214-6_0_7_line_55 |  | 53 | 54 | 6.8799e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1214-6_0_7_line_56 |  | 54 | 55 | 0.0040701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1214-6_0_7_line_57 |  | 56 | 57 | 0.00017063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1214-6_0_7_line_58 |  | 58 | 59 | 0.0045055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_1214-6_0_7_line_59 |  | 59 | 60 | 0.018931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_1214-6_0_7_line_60 |  | 60 | 61 | 0.010271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_1214-6_0_7_line_61 |  | 61 | 62 | 0.011053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1214-6_0_7_line_62 |  | 62 | 65 | 0.016274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1214-6_0_7_line_63 |  | 63 | 64 | 0.0054797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1214-6_0_7_line_64 |  | 63 | 65 | 0.0099422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1214-6_0_7_line_65 |  | 64 | 66 | 0.010268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1214-6_0_7_line_66 |  | 66 | 67 | 0.0071929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1214-6_0_7_line_67 |  | 67 | 68 | 0.0175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1214-6_0_7_line_68 |  | 68 | 69 | 0.0041482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1214-6_0_7_line_69 |  | 69 | 70 | 0.0042131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1214-6_0_7_line_70 |  | 70 | 71 | 0.0031365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1214-6_0_7_line_71 |  | 71 | 72 | 0.014529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1214-6_0_7_line_72 |  | 72 | 73 | 0.0044712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1214-6_0_7_line_73 |  | 73 | 74 | 0.0032096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1214-6_0_7_trafo_21 | 0.63 MVA 20/0.4 kV | 75 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2689619.0853 | 1193151.376 | 2689622.0513 | 1193149.4056
1 | 2689665.6708 | 1193119.3747 | 2689657.6151 | 1193125.7791 | 2689622.0513 | 1193149.4056
2 | 2689671.1627 | 1193115.0086 | 2689665.6708 | 1193119.3747
3 | 2689671.1627 | 1193115.0086 | 2689677.9752 | 1193109.585
4 | 2689677.9752 | 1193109.585 | 2689701.9155 | 1193090.5316 | 2689706.5986 | 1193086.8678
5 | 2689677.9752 | 1193109.585 | 2689688.2778 | 1193119.1941
6 | 2689728.0913 | 1193332.5006 | 2689722.5896 | 1193330.3389 | 2689717.5037 | 1193326.8827 | 2689675.4791 | 1193281.635 | 2689669.4013 | 1193276.2424
7 | 2689751.543 | 1193426.7124 | 2689727.9787 | 1193352.2003 | 2689727.3155 | 1193345.5973 | 2689728.0913 | 1193332.5006
8 | 2689728.0913 | 1193332.5006 | 2689736.2087 | 1193332.5668 | 2689753.637 | 1193325.7905 | 2689837.4809 | 1193289.2253 | 2689847.4878 | 1193284.97
9 | 2689983.4804 | 1193162.1795 | 2689993.3964 | 1193179.6088
10 | 2689983.4804 | 1193162.1795 | 2689966.1983 | 1193131.8031 | 2689946.0384 | 1193106.4039
11 | 2690017.8147 | 1193218.3679 | 2690007.419 | 1193203.5465 | 2689999.893 | 1193191.0254 | 2689993.4541 | 1193179.7102 | 2689993.3964 | 1193179.6088
12 | 2689946.0384 | 1193106.4039 | 2689944.9455 | 1193105.027
13 | 2689997.8999 | 1193228.7417 | 2690007.7405 | 1193223.7198 | 2690017.8147 | 1193218.3679
14 | 2689944.4689 | 1193104.4265 | 2689944.9455 | 1193105.027
15 | 2689997.8999 | 1193228.7417 | 2689970.1083 | 1193243.1289
16 | 2689944.4689 | 1193104.4265 | 2689941.3154 | 1193100.4535 | 2689908.4859 | 1193072.7562
17 | 2689938.0656 | 1193253.6913 | 2689962.8587 | 1193246.8819 | 2689970.1083 | 1193243.1289
18 | 2689908.4859 | 1193072.7562 | 2689928.6509 | 1193032.1863
19 | 2689892.5294 | 1193059.5799 | 2689896.4205 | 1193062.577 | 2689908.4859 | 1193072.7562
20 | 2689938.0656 | 1193253.6913 | 2689902.4964 | 1193262.8627 | 2689885.7833 | 1193268.682 | 2689864.5781 | 1193277.7026
21 | 2689938.0656 | 1193253.6913 | 2689938.3725 | 1193264.2027 | 2689938.3725 | 1193264.2027
22 | 2689805.671 | 1192995.2826 | 2689809.7401 | 1192997.9343 | 2689842.5534 | 1193021.086 | 2689892.5294 | 1193059.5799
23 | 2689743.2303 | 1193058.186 | 2689754.6298 | 1193049.3625 | 2689762.9233 | 1193042.7938 | 2689772.2179 | 1193031.4927 | 2689794.6789 | 1192989.1471 | 2689805.671 | 1192995.2826
24 | 2689928.6509 | 1193032.1863 | 2689941.2026 | 1193017.1007
25 | 2689743.2303 | 1193058.186 | 2689747.0414 | 1193062.7906 | 2689774.004 | 1193075.0139 | 2689776.4534 | 1193078.9198
26 | 2689949.4727 | 1193007.1611 | 2689960.8219 | 1192995.6483
27 | 2689949.4727 | 1193007.1611 | 2689941.2026 | 1193017.1007
28 | 2689775.9142 | 1193084.3707 | 2689776.4534 | 1193078.9198
29 | 2689771.5004 | 1193095.6106 | 2689775.9142 | 1193084.3707 | 2689775.9142 | 1193084.3707
30 | 2689709.5289 | 1193084.5753 | 2689706.5986 | 1193086.8678
31 | 2689810.9132 | 1193403.5662 | 2689751.543 | 1193426.7124
32 | 2689847.4878 | 1193284.97 | 2689856.1657 | 1193281.2799
33 | 2689864.5781 | 1193277.7026 | 2689856.1657 | 1193281.2799
34 | 2689864.5781 | 1193277.7026 | 2689869.7492 | 1193289.602
35 | 2689936.6567 | 1193269.3135 | 2689936.6567 | 1193269.3135 | 2689938.3725 | 1193264.2027
36 | 2689869.7492 | 1193289.602 | 2689877.6081 | 1193307.6862
37 | 2689936.6567 | 1193269.3135 | 2689935.1657 | 1193271.4833
38 | 2689881.7071 | 1193317.1186 | 2689877.6081 | 1193307.6862
39 | 2689926.0716 | 1193284.7174 | 2689935.1657 | 1193271.4833
40 | 2689900.6843 | 1193352.634 | 2689904.814 | 1193348.5403
41 | 2689909.9924 | 1193341.638 | 2689909.5419 | 1193343.8536 | 2689904.814 | 1193348.5403
42 | 2689900.6843 | 1193352.634 | 2689891.6598 | 1193361.5798
43 | 2689909.9924 | 1193341.638 | 2689910.2992 | 1193340.1293
44 | 2689880.7717 | 1193372.3729 | 2689891.6598 | 1193361.5798
45 | 2689907.205 | 1193311.0523 | 2689899.5716 | 1193321.5229 | 2689899.702 | 1193328.0623 | 2689907.0994 | 1193334.9445 | 2689910.2992 | 1193340.1293 | 2689910.2992 | 1193340.1293
46 | 2689877.3108 | 1193374.4863 | 2689880.7717 | 1193372.3729 | 2689880.7717 | 1193372.3729
47 | 2689907.205 | 1193311.0523 | 2689911.8229 | 1193304.718
48 | 2689877.3108 | 1193374.4863 | 2689866.2097 | 1193381.2653
49 | 2689923.7276 | 1193288.1285 | 2689920.6178 | 1193292.654 | 2689911.8229 | 1193304.718
50 | 2689860.898 | 1193384.5089 | 2689866.2097 | 1193381.2653
51 | 2689860.0167 | 1193385.0471 | 2689860.898 | 1193384.5089
52 | 2689860.0167 | 1193385.0471 | 2689849.7294 | 1193391.3291
53 | 2689849.0986 | 1193391.7143 | 2689849.7294 | 1193391.3291
54 | 2689848.1288 | 1193392.3065 | 2689849.0986 | 1193391.7143
55 | 2689923.7276 | 1193288.1285 | 2689923.7666 | 1193288.0718
56 | 2689926.0716 | 1193284.7174 | 2689923.7666 | 1193288.0718
57 | 2689881.7751 | 1193317.2751 | 2689881.7071 | 1193317.1186
58 | 2689771.5004 | 1193095.6106 | 2689769.8536 | 1193099.8044
59 | 2689762.9339 | 1193117.4257 | 2689769.8536 | 1193099.8044
60 | 2689759.1798 | 1193126.9858 | 2689762.9339 | 1193117.4257
61 | 2689759.1798 | 1193126.9858 | 2689755.1398 | 1193137.2738
62 | 2689749.1915 | 1193152.4216 | 2689755.1398 | 1193137.2738
63 | 2689745.5575 | 1193161.6758 | 2689745.5575 | 1193161.6758 | 2689740.2902 | 1193163.1866
64 | 2689745.5575 | 1193161.6758 | 2689749.1915 | 1193152.4216
65 | 2689740.2902 | 1193163.1866 | 2689740.2902 | 1193163.1866 | 2689731.9011 | 1193159.881 | 2689730.9859 | 1193159.0274
66 | 2689725.7258 | 1193154.1213 | 2689730.9859 | 1193159.0274
67 | 2689725.7258 | 1193154.1213 | 2689712.9279 | 1193142.1849
68 | 2689709.8944 | 1193139.3556 | 2689712.9279 | 1193142.1849
69 | 2689709.8944 | 1193139.3556 | 2689706.8134 | 1193136.482
70 | 2689706.8134 | 1193136.482 | 2689704.5197 | 1193134.3427
71 | 2689693.8947 | 1193124.4329 | 2689704.5197 | 1193134.3427
72 | 2689690.625 | 1193121.3832 | 2689693.8947 | 1193124.4329
73 | 2689690.625 | 1193121.3832 | 2689688.2778 | 1193119.1941

## bus_geodata
| x | y | coords
0 | 2689619.0853 | 1193151.376
1 | 2689622.0513 | 1193149.4056
2 | 2689665.6708 | 1193119.3747
3 | 2689671.1627 | 1193115.0086
4 | 2689677.9752 | 1193109.585
5 | 2689669.4013 | 1193276.2424
6 | 2689728.0913 | 1193332.5006
7 | 2689983.4804 | 1193162.1795
8 | 2689993.3964 | 1193179.6088
9 | 2689946.0384 | 1193106.4039
10 | 2690017.8147 | 1193218.3679
11 | 2689944.9455 | 1193105.027
12 | 2689997.8999 | 1193228.7417
13 | 2689944.4689 | 1193104.4265
14 | 2689970.1083 | 1193243.1289
15 | 2689908.4859 | 1193072.7562
16 | 2689938.0656 | 1193253.6913
17 | 2689892.5294 | 1193059.5799
18 | 2689805.671 | 1192995.2826
19 | 2689928.6509 | 1193032.1863
20 | 2689743.2303 | 1193058.186
21 | 2689960.8219 | 1192995.6483
22 | 2689949.4727 | 1193007.1611
23 | 2689941.2026 | 1193017.1007
24 | 2689776.4534 | 1193078.9198
25 | 2689775.9142 | 1193084.3707
26 | 2689709.5289 | 1193084.5753
27 | 2689706.5986 | 1193086.8678
28 | 2689751.543 | 1193426.7124
29 | 2689847.4878 | 1193284.97
30 | 2689810.9132 | 1193403.5662
31 | 2689856.1657 | 1193281.2799
32 | 2689864.5781 | 1193277.7026
33 | 2689938.3725 | 1193264.2027
34 | 2689869.7492 | 1193289.602
35 | 2689936.6567 | 1193269.3135
36 | 2689877.6081 | 1193307.6862
37 | 2689935.1657 | 1193271.4833
38 | 2689904.814 | 1193348.5403
39 | 2689900.6843 | 1193352.634
40 | 2689909.9924 | 1193341.638
41 | 2689891.6598 | 1193361.5798
42 | 2689910.2992 | 1193340.1293
43 | 2689880.7717 | 1193372.3729
44 | 2689907.205 | 1193311.0523
45 | 2689877.3108 | 1193374.4863
46 | 2689911.8229 | 1193304.718
47 | 2689866.2097 | 1193381.2653
48 | 2689860.898 | 1193384.5089
49 | 2689860.0167 | 1193385.0471
50 | 2689849.7294 | 1193391.3291
51 | 2689849.0986 | 1193391.7143
52 | 2689848.1288 | 1193392.3065
53 | 2689923.7276 | 1193288.1285
54 | 2689923.7666 | 1193288.0718
55 | 2689926.0716 | 1193284.7174
56 | 2689881.7071 | 1193317.1186
57 | 2689881.7751 | 1193317.2751
58 | 2689771.5004 | 1193095.6106
59 | 2689769.8536 | 1193099.8044
60 | 2689762.9339 | 1193117.4257
61 | 2689759.1798 | 1193126.9858
62 | 2689755.1398 | 1193137.2738
63 | 2689745.5575 | 1193161.6758
64 | 2689740.2902 | 1193163.1866
65 | 2689749.1915 | 1193152.4216
66 | 2689730.9859 | 1193159.0274
67 | 2689725.7258 | 1193154.1213
68 | 2689712.9279 | 1193142.1849
69 | 2689709.8944 | 1193139.3556
70 | 2689706.8134 | 1193136.482
71 | 2689704.5197 | 1193134.3427
72 | 2689693.8947 | 1193124.4329
73 | 2689690.625 | 1193121.3832
74 | 2689688.2778 | 1193119.1941
75 | 2689997.8999 | 1193228.7417

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97003 | -0.5803 | 0.0046226 | 0.0011585
1 | 0.97004 | -0.57999 | 0.0046226 | 0.0011585
2 | 0.9705 | -0.57092 | 0.0027298 | 0.00068414
3 | 0.97058 | -0.56937 | 0 | 0
4 | 0.97067 | -0.56744 | 0 | 0
5 | 0.99436 | -0.10844 | 0.0037959 | 0.00095133
6 | 0.99465 | -0.10296 | 0 | 0
7 | 0.98859 | -0.21774 | 0.064907 | 0.016267
8 | 0.9899 | -0.19261 | 0.056452 | 0.014148
9 | 0.98502 | -0.28696 | 0.067104 | 0.016818
10 | 0.99336 | -0.12624 | 0 | 0
11 | 0.98494 | -0.28835 | 0.0066475 | 0.001666
12 | 0.99504 | -0.093971 | 0 | 0
13 | 0.98491 | -0.28894 | 0.055333 | 0.013868
14 | 0.99741 | -0.049085 | 0.0062412 | 0.0015642
15 | 0.9835 | -0.31622 | 0.0064327 | 0.0016122
16 | 1 | 0 | -0.57734 | -0.14708
17 | 0.98303 | -0.32535 | 0.0060248 | 0.0015099
18 | 0.98069 | -0.37079 | 0 | 0
19 | 0.98229 | -0.34005 | 0.014643 | 0.00367
20 | 0.97852 | -0.41308 | 0 | 0
21 | 0.98182 | -0.34926 | 0.0077341 | 0.0019383
22 | 0.98193 | -0.347 | 0 | 0
23 | 0.98202 | -0.34519 | 0.0067676 | 0.0016961
24 | 0.97765 | -0.4301 | 0.0053769 | 0.0013476
25 | 0.97754 | -0.43232 | 0.0063275 | 0.0015858
26 | 0.9702 | -0.57692 | 0.0049029 | 0.0012288
27 | 0.97021 | -0.57659 | 0.0086167 | 0.0021595
28 | 0.99387 | -0.11794 | 0 | 0
29 | 0.99612 | -0.074592 | 0.0032113 | 0.00080484
30 | 0.99337 | -0.12768 | 0.0086778 | 0.0021749
31 | 0.99625 | -0.071993 | 0.0158 | 0.0039598
32 | 0.99652 | -0.066938 | 0 | 0
33 | 0.999 | -0.019146 | 0.0074701 | 0.0018722
34 | 0.9963 | -0.071043 | 0.0051165 | 0.0012823
35 | 0.99852 | -0.028272 | 0.006297 | 0.0015782
36 | 0.99607 | -0.075514 | 0.003431 | 0.0008599
37 | 0.9983 | -0.032442 | 0.0051488 | 0.0012904
38 | 0.99263 | -0.14171 | 0.0080866 | 0.0020267
39 | 0.99241 | -0.14591 | 0.0066523 | 0.0016672
40 | 0.99303 | -0.13401 | 0.0059634 | 0.0014946
41 | 0.99201 | -0.15359 | 0.0072313 | 0.0018123
42 | 0.9931 | -0.13251 | 0.0037475 | 0.0009392
43 | 0.99164 | -0.16089 | 0.0025745 | 0.00064524
44 | 0.99501 | -0.095632 | 0.0048153 | 0.0012068
45 | 0.99155 | -0.16264 | 0.0025779 | 0.00064609
46 | 0.99547 | -0.086887 | 0.0056996 | 0.0014285
47 | 0.99129 | -0.16766 | 0.0025364 | 0.00063567
48 | 0.99118 | -0.16978 | 0.0025337 | 0.000635
49 | 0.99116 | -0.17008 | 0.0048968 | 0.0012272
50 | 0.99103 | -0.1726 | 0.0025146 | 0.00063021
51 | 0.99103 | -0.17272 | 0.0022636 | 0.00056731
52 | 0.99102 | -0.17286 | 0.0069985 | 0.001754
53 | 0.99676 | -0.062102 | 0.0042095 | 0.001055
54 | 0.99676 | -0.062014 | 0.0044253 | 0.0011091
55 | 0.99705 | -0.056465 | 0.0077059 | 0.0019313
56 | 0.99598 | -0.077227 | 0.0037197 | 0.00093226
57 | 0.99598 | -0.077244 | 0.0057578 | 0.001443
58 | 0.97731 | -0.43692 | 0.0069016 | 0.0017297
59 | 0.97722 | -0.43853 | 0.0062151 | 0.0015577
60 | 0.9769 | -0.44485 | 0.0047824 | 0.0011986
61 | 0.97669 | -0.44891 | 0.008046 | 0.0020165
62 | 0.97588 | -0.46479 | 0.0051044 | 0.0012793
63 | 0.97412 | -0.49937 | 0.0058069 | 0.0014553
64 | 0.9738 | -0.50577 | 0.0076465 | 0.0019164
65 | 0.97477 | -0.4867 | 0.0040584 | 0.0010171
66 | 0.97326 | -0.51634 | 0.0040195 | 0.0010074
67 | 0.97291 | -0.52321 | 0.0040228 | 0.0010082
68 | 0.97213 | -0.53866 | 0.0037453 | 0.00093866
69 | 0.97196 | -0.54204 | 0.0030846 | 0.00077307
70 | 0.9718 | -0.54524 | 0.0037451 | 0.00093862
71 | 0.97169 | -0.5474 | 0.0030839 | 0.00077291
72 | 0.97122 | -0.55659 | 0.0034528 | 0.00086534
73 | 0.97109 | -0.55913 | 0.0027298 | 0.00068414
74 | 0.97101 | -0.5608 | 0.0025712 | 0.00064441
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0046226 | -0.0011585 | 0.0046227 | 0.0011585 | 6.7145e-08 | -9.8517e-10 | 0.0070911 | 0.0070911 | 0.0070911 | 0.97003 | -0.5803 | 0.97004 | -0.57999 | 1.9481
1 | -0.0092453 | -0.0023171 | 0.0092493 | 0.002319 | 3.9965e-06 | 1.9033e-06 | 0.014182 | 0.014182 | 0.014182 | 0.97004 | -0.57999 | 0.9705 | -0.57092 | 3.8962
2 | -0.011979 | -0.0030031 | 0.01198 | 0.0030036 | 8.8759e-07 | 4.8135e-07 | 0.018367 | 0.018367 | 0.018367 | 0.9705 | -0.57092 | 0.97058 | -0.56937 | 5.0459
3 | -0.01198 | -0.0030036 | 0.011981 | 0.0030042 | 1.0997e-06 | 5.9638e-07 | 0.018367 | 0.018367 | 0.018367 | 0.97058 | -0.56937 | 0.97067 | -0.56744 | 5.0459
4 | 0.013526 | 0.0033917 | -0.01352 | -0.0033883 | 5.8918e-06 | 3.3192e-06 | 0.020735 | 0.020735 | 0.020735 | 0.97067 | -0.56744 | 0.97021 | -0.57659 | 5.6965
5 | -0.025507 | -0.0063959 | 0.025515 | 0.0064009 | 8.0777e-06 | 4.9955e-06 | 0.039102 | 0.039102 | 0.039102 | 0.97067 | -0.56744 | 0.97101 | -0.5608 | 10.7424
6 | -0.0037959 | -0.00095133 | 0.0037969 | 0.00095091 | 9.9137e-07 | -4.2872e-07 | 0.0056803 | 0.00568 | 0.0056803 | 0.99436 | -0.10844 | 0.99465 | -0.10296 | 1.5605
7 | 0.0086881 | 0.0021793 | -0.0086819 | -0.0021766 | 6.2032e-06 | 2.7003e-06 | 0.012998 | 0.012999 | 0.012999 | 0.99465 | -0.10296 | 0.99387 | -0.11794 | 3.5711
8 | -0.012485 | -0.0031302 | 0.012502 | 0.0031394 | 1.6897e-05 | 9.1354e-06 | 0.018678 | 0.018678 | 0.018678 | 0.99465 | -0.10296 | 0.99612 | -0.074592 | 5.1314
9 | -0.3541 | -0.089607 | 0.35453 | 0.08988 | 0.00042773 | 0.00027246 | 0.5333 | 0.5333 | 0.5333 | 0.98859 | -0.21774 | 0.9899 | -0.19261 | 29.302
10 | 0.2892 | 0.07334 | -0.28824 | -0.072731 | 0.00095883 | 0.00060935 | 0.4356 | 0.4356 | 0.4356 | 0.98859 | -0.21774 | 0.98502 | -0.28696 | 23.9341
11 | -0.41098 | -0.10403 | 0.4123 | 0.10487 | 0.0013139 | 0.00083796 | 0.61815 | 0.61815 | 0.61815 | 0.9899 | -0.19261 | 0.99336 | -0.12624 | 33.9645
12 | 0.22113 | 0.055913 | -0.22112 | -0.055904 | 1.4728e-05 | 9.3141e-06 | 0.33423 | 0.33423 | 0.33423 | 0.98502 | -0.28696 | 0.98494 | -0.28835 | 18.3643
13 | -0.4123 | -0.10487 | 0.41294 | 0.10528 | 0.00064212 | 0.0004095 | 0.61815 | 0.61815 | 0.61815 | 0.99336 | -0.12624 | 0.99504 | -0.093971 | 33.9644
14 | 0.21447 | 0.054238 | -0.21446 | -0.054234 | 6.0432e-06 | 3.8188e-06 | 0.32419 | 0.32419 | 0.32419 | 0.98494 | -0.28835 | 0.98491 | -0.28894 | 17.8125
15 | -0.41294 | -0.10528 | 0.41383 | 0.10585 | 0.00089686 | 0.00057195 | 0.61815 | 0.61815 | 0.61815 | 0.99504 | -0.093971 | 0.99741 | -0.049085 | 33.9644
16 | 0.15913 | 0.040366 | -0.15892 | -0.040236 | 0.00020849 | 0.00013038 | 0.24059 | 0.24059 | 0.24059 | 0.98491 | -0.28894 | 0.9835 | -0.31622 | 13.2193
17 | -0.42008 | -0.10741 | 0.42108 | 0.10805 | 0.0010003 | 0.00063795 | 0.62746 | 0.62746 | 0.62746 | 0.99741 | -0.049085 | 1 | 0 | 34.4759
18 | 0.029183 | 0.0073277 | -0.02915 | -0.0073071 | 3.3129e-05 | 2.0628e-05 | 0.044158 | 0.044159 | 0.044159 | 0.9835 | -0.31622 | 0.98229 | -0.34005 | 12.1315
19 | 0.12331 | 0.031296 | -0.12325 | -0.031263 | 5.4109e-05 | 3.3317e-05 | 0.1867 | 0.1867 | 0.1867 | 0.9835 | -0.31622 | 0.98303 | -0.32535 | 10.2583
20 | 0.049714 | 0.012532 | -0.049555 | -0.012431 | 0.00015869 | 0.00010055 | 0.074 | 0.074 | 0.074 | 1 | 0 | 0.99652 | -0.066938 | 20.3298
21 | 0.1049 | 0.026503 | -0.1048 | -0.026441 | 9.6174e-05 | 6.1413e-05 | 0.15617 | 0.15617 | 0.15617 | 1 | 0 | 0.999 | -0.019146 | 42.9032
22 | 0.11723 | 0.029753 | -0.11697 | -0.029596 | 0.00025567 | 0.00015679 | 0.17758 | 0.17758 | 0.17758 | 0.98303 | -0.32535 | 0.98069 | -0.37079 | 9.7574
23 | 0.11697 | 0.029596 | -0.11674 | -0.029451 | 0.00023688 | 0.0001453 | 0.17758 | 0.17759 | 0.17759 | 0.98069 | -0.37079 | 0.97852 | -0.41308 | 9.7575
24 | 0.014507 | 0.0036371 | -0.014503 | -0.0036351 | 3.5541e-06 | 2.0263e-06 | 0.021976 | 0.021976 | 0.021976 | 0.98229 | -0.34005 | 0.98202 | -0.34519 | 6.0374
25 | 0.11674 | 0.029451 | -0.11664 | -0.029392 | 9.5064e-05 | 5.8319e-05 | 0.17759 | 0.17759 | 0.17759 | 0.97852 | -0.41308 | 0.97765 | -0.4301 | 9.7575
26 | -0.0077341 | -0.0019383 | 0.0077349 | 0.0019387 | 8.3294e-07 | 3.2861e-07 | 0.011722 | 0.011722 | 0.011722 | 0.98182 | -0.34926 | 0.98193 | -0.347 | 3.2202
27 | -0.0077349 | -0.0019387 | 0.0077356 | 0.0019389 | 6.662e-07 | 2.6279e-07 | 0.011722 | 0.011721 | 0.011722 | 0.98193 | -0.347 | 0.98202 | -0.34519 | 3.2202
28 | 0.11126 | 0.028045 | -0.11125 | -0.028037 | 1.1789e-05 | 7.2018e-06 | 0.1694 | 0.1694 | 0.1694 | 0.97765 | -0.4301 | 0.97754 | -0.43232 | 9.3079
29 | 0.10492 | 0.026452 | -0.1049 | -0.026438 | 2.3119e-05 | 1.4039e-05 | 0.15977 | 0.15977 | 0.15977 | 0.97754 | -0.43232 | 0.97731 | -0.43692 | 8.7787
30 | -0.0049029 | -0.0012288 | 0.004903 | 0.0012288 | 7.8892e-08 | 4.5463e-09 | 0.0075197 | 0.0075197 | 0.0075197 | 0.9702 | -0.57692 | 0.97021 | -0.57659 | 2.0659
31 | 0.0086819 | 0.0021766 | -0.0086778 | -0.0021749 | 4.0277e-06 | 1.7544e-06 | 0.012999 | 0.012999 | 0.012999 | 0.99387 | -0.11794 | 0.99337 | -0.12768 | 3.5711
32 | -0.015713 | -0.0039442 | 0.015715 | 0.0039453 | 1.9487e-06 | 1.1244e-06 | 0.023475 | 0.023475 | 0.023475 | 0.99612 | -0.074592 | 0.99625 | -0.071993 | 6.4491
33 | -0.031515 | -0.0079052 | 0.031523 | 0.0079099 | 7.5962e-06 | 4.7425e-06 | 0.047074 | 0.047074 | 0.047074 | 0.99625 | -0.071993 | 0.99652 | -0.066938 | 12.9323
34 | 0.018032 | 0.0045215 | -0.018029 | -0.0045194 | 3.5277e-06 | 2.0887e-06 | 0.026927 | 0.026927 | 0.026927 | 0.99652 | -0.066938 | 0.9963 | -0.071043 | 7.3975
35 | 0.097334 | 0.024569 | -0.097291 | -0.024542 | 4.253e-05 | 2.7148e-05 | 0.14504 | 0.14504 | 0.14504 | 0.999 | -0.019146 | 0.99852 | -0.028272 | 39.8464
36 | 0.012912 | 0.0032371 | -0.012909 | -0.0032356 | 2.75e-06 | 1.5033e-06 | 0.019285 | 0.019285 | 0.019285 | 0.9963 | -0.071043 | 0.99607 | -0.075514 | 5.2981
37 | 0.090994 | 0.022964 | -0.090976 | -0.022952 | 1.8169e-05 | 1.1594e-05 | 0.13566 | 0.13566 | 0.13566 | 0.99852 | -0.028272 | 0.9983 | -0.032442 | 37.2684
38 | 0.0094783 | 0.0023757 | -0.0094776 | -0.0023753 | 7.7325e-07 | 3.6103e-07 | 0.01416 | 0.01416 | 0.01416 | 0.99607 | -0.075514 | 0.99598 | -0.077227 | 3.89
39 | 0.085827 | 0.021662 | -0.085729 | -0.021599 | 9.8631e-05 | 6.2914e-05 | 0.12798 | 0.12798 | 0.12798 | 0.9983 | -0.032442 | 0.99705 | -0.056465 | 35.1601
40 | 0.040821 | 0.010246 | -0.040812 | -0.01024 | 8.1667e-06 | 5.1515e-06 | 0.061198 | 0.061198 | 0.061198 | 0.99263 | -0.14171 | 0.99241 | -0.14591 | 16.8127
41 | -0.048907 | -0.012272 | 0.048925 | 0.012284 | 1.7979e-05 | 1.1391e-05 | 0.07332 | 0.07332 | 0.07332 | 0.99263 | -0.14171 | 0.99303 | -0.13401 | 20.143
42 | 0.03416 | 0.0085732 | -0.034148 | -0.0085654 | 1.2503e-05 | 7.8379e-06 | 0.051224 | 0.051224 | 0.051224 | 0.99241 | -0.14591 | 0.99201 | -0.15359 | 14.0724
43 | -0.054889 | -0.013778 | 0.054892 | 0.013781 | 3.9065e-06 | 2.4803e-06 | 0.082256 | 0.082256 | 0.082256 | 0.99303 | -0.13401 | 0.9931 | -0.13251 | 22.5979
44 | 0.026916 | 0.0067531 | -0.026907 | -0.0067473 | 9.3727e-06 | 5.8007e-06 | 0.040377 | 0.040377 | 0.040377 | 0.99201 | -0.15359 | 0.99164 | -0.16089 | 11.0925
45 | -0.05864 | -0.01472 | 0.058743 | 0.014786 | 0.00010335 | 6.5684e-05 | 0.087871 | 0.087871 | 0.087871 | 0.9931 | -0.13251 | 0.99501 | -0.095632 | 24.1405
46 | 0.024332 | 0.006102 | -0.02433 | -0.0061008 | 2.0274e-06 | 1.2452e-06 | 0.036514 | 0.036514 | 0.036514 | 0.99164 | -0.16089 | 0.99155 | -0.16264 | 10.0312
47 | -0.063559 | -0.015992 | 0.063585 | 0.016009 | 2.657e-05 | 1.6903e-05 | 0.095072 | 0.095072 | 0.095072 | 0.99501 | -0.095632 | 0.99547 | -0.086887 | 26.1188
48 | 0.021752 | 0.0054547 | -0.021747 | -0.0054515 | 5.1981e-06 | 3.1591e-06 | 0.032645 | 0.032645 | 0.032645 | 0.99155 | -0.16264 | 0.99129 | -0.16766 | 8.9684
49 | -0.069285 | -0.017438 | 0.069367 | 0.01749 | 8.2177e-05 | 5.2327e-05 | 0.10359 | 0.10359 | 0.10359 | 0.99547 | -0.086887 | 0.99676 | -0.062102 | 28.4593
50 | 0.019211 | 0.0048158 | -0.019209 | -0.0048147 | 1.9409e-06 | 1.1619e-06 | 0.028838 | 0.028838 | 0.028838 | 0.99129 | -0.16766 | 0.99118 | -0.16978 | 7.9224
51 | 0.016675 | 0.0041797 | -0.016675 | -0.0041795 | 2.4269e-07 | 1.4201e-07 | 0.025034 | 0.025034 | 0.025034 | 0.99118 | -0.16978 | 0.99116 | -0.17008 | 6.8775
52 | 0.011778 | 0.0029523 | -0.011777 | -0.0029515 | 1.4133e-06 | 7.4919e-07 | 0.017683 | 0.017683 | 0.017683 | 0.99116 | -0.17008 | 0.99103 | -0.1726 | 4.8578
53 | 0.0092622 | 0.0023213 | -0.0092622 | -0.0023213 | 5.3604e-08 | 2.4783e-08 | 0.013907 | 0.013907 | 0.013907 | 0.99103 | -0.1726 | 0.99103 | -0.17272 | 3.8206
54 | 0.0069986 | 0.001754 | -0.0069985 | -0.001754 | 4.7055e-08 | 1.5473e-08 | 0.010508 | 0.010508 | 0.010508 | 0.99103 | -0.17272 | 0.99102 | -0.17286 | 2.8869
55 | -0.073576 | -0.018545 | 0.073577 | 0.018545 | 3.1147e-07 | 1.9845e-07 | 0.10988 | 0.10988 | 0.10988 | 0.99676 | -0.062102 | 0.99676 | -0.062014 | 30.1857
56 | -0.078002 | -0.019654 | 0.078023 | 0.019668 | 2.0709e-05 | 1.3201e-05 | 0.11648 | 0.11648 | 0.11648 | 0.99676 | -0.062014 | 0.99705 | -0.056465 | 32.0006
57 | 0.0057578 | 0.001443 | -0.0057578 | -0.001443 | 4.7357e-09 | 8.1021e-10 | 0.0086023 | 0.0086023 | 0.0086023 | 0.99598 | -0.077227 | 0.99598 | -0.077244 | 2.3633
58 | 0.097999 | 0.024708 | -0.097992 | -0.024703 | 7.5286e-06 | 4.5361e-06 | 0.14926 | 0.14926 | 0.14926 | 0.97731 | -0.43692 | 0.97722 | -0.43853 | 8.2013
59 | 0.091777 | 0.023146 | -0.091749 | -0.023129 | 2.775e-05 | 1.6574e-05 | 0.1398 | 0.1398 | 0.1398 | 0.97722 | -0.43853 | 0.9769 | -0.44485 | 7.6814
60 | 0.086967 | 0.021931 | -0.08695 | -0.02192 | 1.6909e-05 | 1.0307e-05 | 0.13252 | 0.13252 | 0.13252 | 0.9769 | -0.44485 | 0.97669 | -0.44891 | 9.1014
61 | 0.078904 | 0.019904 | -0.078844 | -0.019866 | 5.9942e-05 | 3.8225e-05 | 0.12026 | 0.12026 | 0.12026 | 0.97669 | -0.44891 | 0.97588 | -0.46479 | 33.0379
62 | 0.073739 | 0.018586 | -0.073662 | -0.018537 | 7.7203e-05 | 4.9207e-05 | 0.11248 | 0.11248 | 0.11248 | 0.97588 | -0.46479 | 0.97477 | -0.4867 | 30.8997
63 | 0.063755 | 0.016038 | -0.063735 | -0.016025 | 1.9498e-05 | 1.2411e-05 | 0.09741 | 0.09741 | 0.09741 | 0.97412 | -0.49937 | 0.9738 | -0.50577 | 26.7609
64 | -0.069562 | -0.017493 | 0.069604 | 0.01752 | 4.2113e-05 | 2.6828e-05 | 0.10628 | 0.10628 | 0.10628 | 0.97412 | -0.49937 | 0.97477 | -0.4867 | 29.1978
65 | 0.056089 | 0.014109 | -0.05606 | -0.014091 | 2.8298e-05 | 1.7983e-05 | 0.085725 | 0.085725 | 0.085725 | 0.9738 | -0.50577 | 0.97326 | -0.51634 | 23.5509
66 | 0.052041 | 0.013084 | -0.052024 | -0.013073 | 1.7082e-05 | 1.0843e-05 | 0.07958 | 0.07958 | 0.07958 | 0.97326 | -0.51634 | 0.97291 | -0.52321 | 21.8626
67 | 0.048001 | 0.012065 | -0.047966 | -0.012042 | 3.5383e-05 | 2.2428e-05 | 0.073427 | 0.073427 | 0.073427 | 0.97291 | -0.52321 | 0.97213 | -0.53866 | 20.1724
68 | 0.04422 | 0.011103 | -0.044213 | -0.011099 | 7.1285e-06 | 4.5108e-06 | 0.067695 | 0.067695 | 0.067695 | 0.97213 | -0.53866 | 0.97196 | -0.54204 | 18.5974
69 | 0.041129 | 0.010326 | -0.041122 | -0.010322 | 6.2651e-06 | 3.9575e-06 | 0.062972 | 0.062972 | 0.062972 | 0.97196 | -0.54204 | 0.9718 | -0.54524 | 17.3001
70 | 0.037377 | 0.0093833 | -0.037373 | -0.0093808 | 3.8534e-06 | 2.4273e-06 | 0.057238 | 0.057238 | 0.057238 | 0.9718 | -0.54524 | 0.97169 | -0.5474 | 15.7247
71 | 0.03429 | 0.0086079 | -0.034274 | -0.0085985 | 1.5026e-05 | 9.4366e-06 | 0.052515 | 0.052515 | 0.052515 | 0.97169 | -0.5474 | 0.97122 | -0.55659 | 14.4272
72 | 0.030822 | 0.0077331 | -0.030818 | -0.0077308 | 3.7394e-06 | 2.3379e-06 | 0.047225 | 0.047225 | 0.047225 | 0.97122 | -0.55659 | 0.97109 | -0.55913 | 12.974
73 | 0.028088 | 0.0070467 | -0.028086 | -0.0070453 | 2.2298e-06 | 1.3874e-06 | 0.043042 | 0.043042 | 0.043042 | 0.97109 | -0.55913 | 0.97101 | -0.5608 | 11.8248

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57734 | 0.14708

## res_load
| p_mw | q_mvar
0 | 0.0046226 | 0.0011585
1 | 0.0046226 | 0.0011585
2 | 0.0027298 | 0.00068414
3 | 0.0037959 | 0.00095133
4 | 0.064907 | 0.016267
5 | 0.056452 | 0.014148
6 | 0.067104 | 0.016818
7 | 0.0066475 | 0.001666
8 | 0.055333 | 0.013868
9 | 0.0062412 | 0.0015642
10 | 0.0064327 | 0.0016122
11 | 0.0060248 | 0.0015099
12 | 0.014643 | 0.00367
13 | 0.0077341 | 0.0019383
14 | 0.0067676 | 0.0016961
15 | 0.0053769 | 0.0013476
16 | 0.0063275 | 0.0015858
17 | 0.0049029 | 0.0012288
18 | 0.0086167 | 0.0021595
19 | 0.0032113 | 0.00080484
20 | 0.0086778 | 0.0021749
21 | 0.0158 | 0.0039598
22 | 0.0074701 | 0.0018722
23 | 0.0051165 | 0.0012823
24 | 0.006297 | 0.0015782
25 | 0.003431 | 0.0008599
26 | 0.0051488 | 0.0012904
27 | 0.0080866 | 0.0020267
28 | 0.0066523 | 0.0016672
29 | 0.0059634 | 0.0014946
30 | 0.0072313 | 0.0018123
31 | 0.0037475 | 0.0009392
32 | 0.0025745 | 0.00064524
33 | 0.0048153 | 0.0012068
34 | 0.0025779 | 0.00064609
35 | 0.0056996 | 0.0014285
36 | 0.0025364 | 0.00063567
37 | 0.0025337 | 0.000635
38 | 0.0048968 | 0.0012272
39 | 0.0025146 | 0.00063021
40 | 0.0022636 | 0.00056731
41 | 0.0069985 | 0.001754
42 | 0.0042095 | 0.001055
43 | 0.0044253 | 0.0011091
44 | 0.0077059 | 0.0019313
45 | 0.0037197 | 0.00093226
46 | 0.0057578 | 0.001443
47 | 0.0069016 | 0.0017297
48 | 0.0062151 | 0.0015577
49 | 0.0047824 | 0.0011986
50 | 0.008046 | 0.0020165
51 | 0.0051044 | 0.0012793
52 | 0.0058069 | 0.0014553
53 | 0.0076465 | 0.0019164
54 | 0.0040584 | 0.0010171
55 | 0.0040195 | 0.0010074
56 | 0.0040228 | 0.0010082
57 | 0.0037453 | 0.00093866
58 | 0.0030846 | 0.00077307
59 | 0.0037451 | 0.00093862
60 | 0.0030839 | 0.00077291
61 | 0.0034528 | 0.00086534
62 | 0.0027298 | 0.00068414
63 | 0.0025712 | 0.00064441

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1