## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1321-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1321-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1321-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1321-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1321-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1321-15_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1321-15_0_3_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_1321-15_0_3_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_1321-15_0_3_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_1321-15_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1321-15_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_1321-15_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1321-15_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_1321-15_0_3_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_1321-15_0_3_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_1321-15_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1321-15_0_3_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1321-15_0_3_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_1321-15_0_3_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_1321-15_0_3_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_1321-15_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_1321-15_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_1321-15_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_1321-15_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1321-15_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1321-15_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1321-15_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1321-15_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1321-15_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1321-15_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_1321-15_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1321-15_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1321-15_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1321-15_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1321-15_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1321-15_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1321-15_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1321-15_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1321-15_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1321-15_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_MV_15_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1321-15_0_3_load_0 | 0 | 0.0012549 | 0.0003145 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1321-15_0_3_load_1 | 1 | 0.0030151 | 0.00075565 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1321-15_0_3_load_3 | 3 | 0.0038292 | 0.00095969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1321-15_0_3_load_36 | 6 | 0.022585 | 0.0056603 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1321-15_0_3_load_35 | 7 | 0.025975 | 0.00651 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1321-15_0_3_load_33 | 8 | 0.016876 | 0.0042296 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1321-15_0_3_load_13 | 9 | 0.0035542 | 0.00089076 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1321-15_0_3_load_14 | 10 | 0.013002 | 0.0032585 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1321-15_0_3_load_12 | 11 | 0.013001 | 0.0032584 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1321-15_0_3_load_22 | 12 | 0.0073719 | 0.0018476 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1321-15_0_3_load_24 | 13 | 0.0060269 | 0.0015105 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1321-15_0_3_load_37 | 14 | 0.0026811 | 0.00067195 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1321-15_0_3_load_21 | 15 | 0.0055389 | 0.0013882 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1321-15_0_3_load_23 | 16 | 0.022543 | 0.0056498 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1321-15_0_3_load_38 | 17 | 0.013068 | 0.0032752 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1321-15_0_3_load_6 | 18 | 0.012841 | 0.0032184 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1321-15_0_3_load_7 | 19 | 0.0069656 | 0.0017457 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1321-15_0_3_load_8 | 20 | 0.0024598 | 0.00061648 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1321-15_0_3_load_9 | 21 | 0.012798 | 0.0032076 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1321-15_0_3_load_11 | 23 | 0.0091367 | 0.0022899 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1321-15_0_3_load_16 | 25 | 0.0038892 | 0.00097472 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1321-15_0_3_load_17 | 26 | 0.0047263 | 0.0011845 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1321-15_0_3_load_18 | 27 | 0.0048922 | 0.0012261 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1321-15_0_3_load_39 | 29 | 0.018615 | 0.0046654 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1321-15_0_3_load_20 | 30 | 0.0047055 | 0.0011793 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1321-15_0_3_load_30 | 31 | 0.022229 | 0.005571 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1321-15_0_3_load_31 | 32 | 0.0096566 | 0.0024202 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1321-15_0_3_load_25 | 33 | 0.0090135 | 0.002259 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1321-15_0_3_load_26 | 34 | 0.0099109 | 0.0024839 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1321-15_0_3_load_27 | 35 | 0.014476 | 0.0036281 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1321-15_0_3_load_28 | 36 | 0.018122 | 0.0045419 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1321-15_0_3_load_29 | 37 | 0.009897 | 0.0024804 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1321-15_0_3_load_32 | 38 | 0.025597 | 0.0064153 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1321-15_0_3_load_34 | 39 | 0.0042753 | 0.0010715 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1321-15_0_3_line_0 |  | 0 | 1 | 0.010473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1321-15_0_3_line_1 |  | 0 | 2 | 0.011027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1321-15_0_3_line_2 |  | 1 | 3 | 0.014838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1321-15_0_3_line_3 |  | 2 | 4 | 0.030394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1321-15_0_3_line_4 |  | 2 | 5 | 0.02324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1321-15_0_3_line_5 |  | 4 | 12 | 0.007905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1321-15_0_3_line_6 |  | 5 | 13 | 0.010853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1321-15_0_3_line_7 |  | 5 | 14 | 0.025125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1321-15_0_3_line_8 |  | 6 | 7 | 0.031897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1321-15_0_3_line_9 |  | 6 | 8 | 0.037204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1321-15_0_3_line_10 |  | 7 | 24 | 0.0080488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1321-15_0_3_line_11 |  | 8 | 39 | 0.025243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1321-15_0_3_line_12 |  | 9 | 10 | 0.0087789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1321-15_0_3_line_13 |  | 9 | 11 | 0.017003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1321-15_0_3_line_14 |  | 11 | 23 | 0.012782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1321-15_0_3_line_15 |  | 12 | 15 | 0.014014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1321-15_0_3_line_16 |  | 13 | 16 | 0.064335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1321-15_0_3_line_17 |  | 14 | 17 | 0.0061457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1321-15_0_3_line_18 |  | 17 | 39 | 0.038161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1321-15_0_3_line_19 |  | 18 | 19 | 0.0045481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1321-15_0_3_line_20 |  | 18 | 20 | 0.030934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1321-15_0_3_line_21 |  | 19 | 21 | 0.027094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1321-15_0_3_line_22 |  | 20 | 22 | 0.024497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1321-15_0_3_line_23 |  | 21 | 23 | 0.011708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1321-15_0_3_line_24 |  | 22 | 24 | 0.016666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1321-15_0_3_line_25 |  | 22 | 25 | 0.022999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1321-15_0_3_line_26 |  | 22 | 26 | 0.019374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1321-15_0_3_line_27 |  | 25 | 27 | 0.025076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1321-15_0_3_line_28 |  | 27 | 28 | 0.034218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1321-15_0_3_line_29 |  | 27 | 29 | 0.030522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1321-15_0_3_line_30 |  | 28 | 30 | 0.026285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1321-15_0_3_line_31 |  | 29 | 31 | 0.044624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1321-15_0_3_line_32 |  | 30 | 32 | 0.011085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1321-15_0_3_line_33 |  | 31 | 38 | 0.0021511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1321-15_0_3_line_34 |  | 31 | 37 | 0.035782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1321-15_0_3_line_35 |  | 33 | 34 | 0.00079392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1321-15_0_3_line_36 |  | 34 | 35 | 0.027324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1321-15_0_3_line_37 |  | 35 | 36 | 0.017437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1321-15_0_3_line_38 |  | 36 | 37 | 0.026435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1321-15_0_3_trafo_35 | 0.63 MVA 20/0.4 kV | 40 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2696137.013 | 1226094.0878 | 2696144.3832 | 1226101.5285
1 | 2696128.4348 | 1226087.2941 | 2696133.0223 | 1226090.059 | 2696137.013 | 1226094.0878
2 | 2696157.4579 | 1226108.2255 | 2696156.588 | 1226108.1638 | 2696151.9912 | 1226106.4439 | 2696144.3832 | 1226101.5285 | 2696144.3832 | 1226101.5285
3 | 2696128.4348 | 1226087.2941 | 2696124.9969 | 1226097.368 | 2696116.3175 | 1226115.1183
4 | 2696121.3328 | 1226066.0864 | 2696124.3101 | 1226069.5036 | 2696126.582 | 1226073.4098 | 2696128.0749 | 1226077.6703 | 2696128.748 | 1226082.4623 | 2696128.4348 | 1226087.2941
5 | 2696116.3175 | 1226115.1183 | 2696113.1658 | 1226119.6817 | 2696111.4742 | 1226121.3258
6 | 2696121.3328 | 1226066.0864 | 2696129.8371 | 1226059.3444
7 | 2696121.3328 | 1226066.0864 | 2696104.2342 | 1226077.0403 | 2696100.1991 | 1226079.6743
8 | 2696062.3071 | 1226140.5533 | 2696063.5489 | 1226148.1565 | 2696057.6255 | 1226152.5307 | 2696042.0845 | 1226158.9891
9 | 2696062.3071 | 1226140.5533 | 2696038.5943 | 1226111.8861
10 | 2696034.6519 | 1226162.0779 | 2696042.0845 | 1226158.9891
11 | 2696038.5943 | 1226111.8861 | 2696059.6768 | 1226101.5718 | 2696061.2442 | 1226100.7442
12 | 2696174.1849 | 1226177.9647 | 2696165.5918 | 1226179.7612
13 | 2696148.9491 | 1226183.2404 | 2696165.5918 | 1226179.7612
14 | 2696148.9491 | 1226183.2404 | 2696136.4373 | 1226185.856
15 | 2696111.4742 | 1226121.3258 | 2696104.7934 | 1226127.819 | 2696101.1101 | 1226130.735
16 | 2696129.8371 | 1226059.3444 | 2696180.251 | 1226019.3772
17 | 2696100.1991 | 1226079.6743 | 2696096.189 | 1226082.292 | 2696094.9892 | 1226082.9255
18 | 2696094.9892 | 1226082.9255 | 2696061.2442 | 1226100.7442
19 | 2696093.6974 | 1226192.3503 | 2696098.2396 | 1226192.1197
20 | 2696063.0112 | 1226191.3009 | 2696070.3879 | 1226193.1658 | 2696085.6857 | 1226192.7569 | 2696093.6974 | 1226192.3503
21 | 2696124.9772 | 1226188.2518 | 2696109.1156 | 1226191.5677 | 2696098.2396 | 1226192.1197
22 | 2696044.8016 | 1226175.3178 | 2696056.3004 | 1226187.6344 | 2696063.0112 | 1226191.3009
23 | 2696124.9772 | 1226188.2518 | 2696136.4373 | 1226185.856
24 | 2696044.8016 | 1226175.3178 | 2696034.6519 | 1226162.0779
25 | 2696044.8016 | 1226175.3178 | 2696033.9429 | 1226183.9154 | 2696026.7695 | 1226189.593
26 | 2696044.8016 | 1226175.3178 | 2696059.99 | 1226163.2899
27 | 2696026.7695 | 1226189.593 | 2696019.3906 | 1226195.4333 | 2696008.2373 | 1226206.4332
28 | 2695988.5616 | 1226234.197 | 2695996.6481 | 1226219.7949 | 2696005.647 | 1226208.9879 | 2696008.2373 | 1226206.4332
29 | 2696008.2373 | 1226206.4332 | 2695995.3698 | 1226178.7561
30 | 2695988.5616 | 1226234.197 | 2695973.4758 | 1226226.1702 | 2695964.321 | 1226227.046
31 | 2695995.3698 | 1226178.7561 | 2695992.9934 | 1226134.1956
32 | 2695953.2865 | 1226228.1016 | 2695964.321 | 1226227.046
33 | 2695994.9256 | 1226133.2503 | 2695992.9934 | 1226134.1956
34 | 2695960.8516 | 1226149.9204 | 2695992.9934 | 1226134.1956
35 | 2695896.1857 | 1226181.557 | 2695896.8989 | 1226181.2082
36 | 2695896.8989 | 1226181.2082 | 2695921.4427 | 1226169.2005
37 | 2695937.1056 | 1226161.5377 | 2695921.4427 | 1226169.2005
38 | 2695937.1056 | 1226161.5377 | 2695960.8516 | 1226149.9204

## bus_geodata
| x | y | coords
0 | 2696137.013 | 1226094.0878
1 | 2696144.3832 | 1226101.5285
2 | 2696128.4348 | 1226087.2941
3 | 2696157.4579 | 1226108.2255
4 | 2696116.3175 | 1226115.1183
5 | 2696121.3328 | 1226066.0864
6 | 2696062.3071 | 1226140.5533
7 | 2696042.0845 | 1226158.9891
8 | 2696038.5943 | 1226111.8861
9 | 2696165.5918 | 1226179.7612
10 | 2696174.1849 | 1226177.9647
11 | 2696148.9491 | 1226183.2404
12 | 2696111.4742 | 1226121.3258
13 | 2696129.8371 | 1226059.3444
14 | 2696100.1991 | 1226079.6743
15 | 2696101.1101 | 1226130.735
16 | 2696180.251 | 1226019.3772
17 | 2696094.9892 | 1226082.9255
18 | 2696093.6974 | 1226192.3503
19 | 2696098.2396 | 1226192.1197
20 | 2696063.0112 | 1226191.3009
21 | 2696124.9772 | 1226188.2518
22 | 2696044.8016 | 1226175.3178
23 | 2696136.4373 | 1226185.856
24 | 2696034.6519 | 1226162.0779
25 | 2696026.7695 | 1226189.593
26 | 2696059.99 | 1226163.2899
27 | 2696008.2373 | 1226206.4332
28 | 2695988.5616 | 1226234.197
29 | 2695995.3698 | 1226178.7561
30 | 2695964.321 | 1226227.046
31 | 2695992.9933 | 1226134.1956
32 | 2695953.2865 | 1226228.1016
33 | 2695896.1857 | 1226181.557
34 | 2695896.8989 | 1226181.2082
35 | 2695921.4427 | 1226169.2005
36 | 2695937.1056 | 1226161.5377
37 | 2695960.8516 | 1226149.9204
38 | 2695994.9256 | 1226133.2503
39 | 2696061.2442 | 1226100.7442
40 | 2696042.0845 | 1226158.9891

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98799 | -0.23096 | 0.0012549 | 0.0003145
1 | 0.98793 | -0.23224 | 0.0030151 | 0.00075565
2 | 0.98808 | -0.22937 | 0 | 0
3 | 0.98788 | -0.23326 | 0.0038292 | 0.00095969
4 | 0.98772 | -0.23638 | 0 | 0
5 | 0.98852 | -0.22065 | 0 | 0
6 | 0.99681 | -0.060834 | 0.022585 | 0.0056603
7 | 1 | 0 | -0.34358 | -0.086997
8 | 0.99386 | -0.11744 | 0.016876 | 0.0042296
9 | 0.99119 | -0.1692 | 0.0035542 | 0.00089076
10 | 0.99109 | -0.17123 | 0.013002 | 0.0032585
11 | 0.99145 | -0.16421 | 0.013001 | 0.0032584
12 | 0.98762 | -0.2382 | 0.0073719 | 0.0018476
13 | 0.98824 | -0.22618 | 0.0060269 | 0.0015105
14 | 0.98967 | -0.19846 | 0.0026811 | 0.00067195
15 | 0.98755 | -0.23959 | 0.0055389 | 0.0013882
16 | 0.98691 | -0.2521 | 0.022543 | 0.0056498
17 | 0.98996 | -0.19274 | 0.013068 | 0.0032752
18 | 0.99373 | -0.12012 | 0.012841 | 0.0032184
19 | 0.99349 | -0.12482 | 0.0069656 | 0.0017457
20 | 0.99574 | -0.081273 | 0.0024598 | 0.00061648
21 | 0.99221 | -0.14949 | 0.012798 | 0.0032076
22 | 0.9974 | -0.049561 | 0 | 0
23 | 0.9918 | -0.15751 | 0.0091367 | 0.0022899
24 | 0.99915 | -0.016112 | 0 | 0
25 | 0.9958 | -0.080035 | 0.0038892 | 0.00097472
26 | 0.99731 | -0.051166 | 0.0047263 | 0.0011845
27 | 0.9941 | -0.11251 | 0.0048922 | 0.0012261
28 | 0.99365 | -0.12119 | 0 | 0
29 | 0.99051 | -0.1816 | 0.018615 | 0.0046654
30 | 0.99331 | -0.12785 | 0.0047055 | 0.0011793
31 | 0.98601 | -0.2686 | 0.022229 | 0.005571
32 | 0.99321 | -0.12974 | 0.0096566 | 0.0024202
33 | 0.9817 | -0.35263 | 0.0090135 | 0.002259
34 | 0.98171 | -0.3525 | 0.0099109 | 0.0024839
35 | 0.98219 | -0.34315 | 0.014476 | 0.0036281
36 | 0.98273 | -0.33263 | 0.018122 | 0.0045419
37 | 0.98398 | -0.30808 | 0.009897 | 0.0024804
38 | 0.98596 | -0.26959 | 0.025597 | 0.0064153
39 | 0.99225 | -0.1485 | 0.0042753 | 0.0010715
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0068449 | 0.0017154 | -0.0068445 | -0.0017153 | 4.1739e-07 | 1.3302e-07 | 0.010309 | 0.010309 | 0.010309 | 0.98799 | -0.23096 | 0.98793 | -0.23224 | 2.8322
1 | -0.0080998 | -0.0020299 | 0.0081004 | 0.0020302 | 6.1537e-07 | 2.5261e-07 | 0.012199 | 0.012199 | 0.012199 | 0.98799 | -0.23096 | 0.98808 | -0.22937 | 3.3514
2 | 0.0038294 | 0.00095962 | -0.0038292 | -0.00095969 | 1.8511e-07 | -7.1512e-08 | 0.0057678 | 0.0057679 | 0.0057679 | 0.98793 | -0.23224 | 0.98788 | -0.23326 | 1.5846
3 | 0.012917 | 0.0032388 | -0.012912 | -0.0032364 | 4.313e-06 | 2.3711e-06 | 0.019453 | 0.019453 | 0.019453 | 0.98808 | -0.22937 | 0.98772 | -0.23638 | 5.3441
4 | -0.021017 | -0.0052689 | 0.021026 | 0.0052742 | 8.7308e-06 | 5.2899e-06 | 0.031651 | 0.031651 | 0.031651 | 0.98808 | -0.22937 | 0.98852 | -0.22065 | 8.6955
5 | 0.012912 | 0.0032364 | -0.012911 | -0.0032358 | 1.1217e-06 | 6.1675e-07 | 0.019453 | 0.019453 | 0.019453 | 0.98772 | -0.23638 | 0.98762 | -0.2382 | 5.3442
6 | 0.028605 | 0.007182 | -0.028598 | -0.0071773 | 7.5473e-06 | 4.6912e-06 | 0.043064 | 0.043064 | 0.043064 | 0.98852 | -0.22065 | 0.98824 | -0.22618 | 11.8308
7 | -0.049631 | -0.012456 | 0.049684 | 0.01249 | 5.2596e-05 | 3.3339e-05 | 0.074715 | 0.074715 | 0.074715 | 0.98852 | -0.22065 | 0.98967 | -0.19846 | 20.5262
8 | -0.10966 | -0.027712 | 0.10998 | 0.027917 | 0.00032086 | 0.00020493 | 0.16378 | 0.16378 | 0.16378 | 0.99681 | -0.060834 | 1 | 0 | 44.9949
9 | 0.087078 | 0.022052 | -0.086841 | -0.021901 | 0.00023602 | 0.00015057 | 0.13007 | 0.13007 | 0.13007 | 0.99681 | -0.060834 | 0.99386 | -0.11744 | 35.7329
10 | 0.23195 | 0.05908 | -0.23176 | -0.058965 | 0.00018012 | 0.00011507 | 0.34547 | 0.34547 | 0.34547 | 1 | 0 | 0.99915 | -0.016112 | 47.4552
11 | 0.069965 | 0.017672 | -0.069861 | -0.017605 | 0.00010397 | 6.6212e-05 | 0.1048 | 0.1048 | 0.1048 | 0.99386 | -0.11744 | 0.99225 | -0.1485 | 28.7914
12 | 0.013003 | 0.0032592 | -0.013002 | -0.0032585 | 1.2545e-06 | 6.8972e-07 | 0.019521 | 0.019521 | 0.019521 | 0.99119 | -0.1692 | 0.99109 | -0.17123 | 5.3628
13 | -0.016557 | -0.00415 | 0.016561 | 0.0041523 | 3.9393e-06 | 2.3019e-06 | 0.024856 | 0.024856 | 0.024856 | 0.99119 | -0.1692 | 0.99145 | -0.16421 | 6.8286
14 | -0.029562 | -0.0074107 | 0.029572 | 0.0074165 | 9.4362e-06 | 5.8743e-06 | 0.044369 | 0.044369 | 0.044369 | 0.99145 | -0.16421 | 0.9918 | -0.15751 | 12.1893
15 | 0.0055393 | 0.0013882 | -0.0055389 | -0.0013882 | 3.6605e-07 | 5.4951e-08 | 0.0083458 | 0.0083459 | 0.0083459 | 0.98762 | -0.2382 | 0.98755 | -0.23959 | 2.2928
16 | 0.022571 | 0.0056668 | -0.022543 | -0.0056498 | 2.7871e-05 | 1.7014e-05 | 0.033989 | 0.033989 | 0.033989 | 0.98824 | -0.22618 | 0.98691 | -0.2521 | 9.3377
17 | -0.052365 | -0.013162 | 0.052379 | 0.013171 | 1.4291e-05 | 9.0672e-06 | 0.078746 | 0.078746 | 0.078746 | 0.98967 | -0.19846 | 0.98996 | -0.19274 | 21.6336
18 | -0.065447 | -0.016446 | 0.065586 | 0.016534 | 0.00013853 | 8.8167e-05 | 0.098389 | 0.098389 | 0.098389 | 0.98996 | -0.19274 | 0.99225 | -0.1485 | 27.0301
19 | 0.058561 | 0.014716 | -0.058548 | -0.014708 | 1.3119e-05 | 8.3371e-06 | 0.087703 | 0.087703 | 0.087703 | 0.99373 | -0.12012 | 0.99349 | -0.12482 | 24.0943
20 | -0.071402 | -0.017934 | 0.071535 | 0.018019 | 0.00013264 | 8.449e-05 | 0.10693 | 0.10693 | 0.10693 | 0.99373 | -0.12012 | 0.99574 | -0.081273 | 29.377
21 | 0.051582 | 0.012962 | -0.051521 | -0.012923 | 6.0665e-05 | 3.8475e-05 | 0.07727 | 0.077271 | 0.077271 | 0.99349 | -0.12482 | 0.99221 | -0.14949 | 21.2282
22 | -0.073995 | -0.018635 | 0.074107 | 0.018707 | 0.00011239 | 7.1609e-05 | 0.11061 | 0.11061 | 0.11061 | 0.99574 | -0.081273 | 0.9974 | -0.049561 | 30.3868
23 | 0.038723 | 0.0097157 | -0.038708 | -0.0097064 | 1.4809e-05 | 9.3264e-06 | 0.058077 | 0.058077 | 0.058077 | 0.99221 | -0.14949 | 0.9918 | -0.15751 | 15.9552
24 | -0.23139 | -0.058726 | 0.23176 | 0.058965 | 0.00037296 | 0.00023826 | 0.34547 | 0.34547 | 0.34547 | 0.9974 | -0.049561 | 0.99915 | -0.016112 | 47.4552
25 | 0.15256 | 0.038835 | -0.15233 | -0.038692 | 0.0002238 | 0.00014263 | 0.22781 | 0.22781 | 0.22781 | 0.9974 | -0.049561 | 0.9958 | -0.080035 | 31.2932
26 | 0.0047267 | 0.0011845 | -0.0047263 | -0.0011845 | 3.6128e-07 | -2.1611e-08 | 0.0070517 | 0.0070518 | 0.0070518 | 0.9974 | -0.049561 | 0.99731 | -0.051166 | 1.9373
27 | 0.14845 | 0.037718 | -0.14821 | -0.03757 | 0.00023172 | 0.00014765 | 0.222 | 0.222 | 0.222 | 0.9958 | -0.080035 | 0.9941 | -0.11251 | 30.495
28 | 0.014373 | 0.0036058 | -0.014368 | -0.0036025 | 5.9405e-06 | 3.3585e-06 | 0.021516 | 0.021516 | 0.021516 | 0.9941 | -0.11251 | 0.99365 | -0.12119 | 5.9111
29 | 0.12895 | 0.032738 | -0.12852 | -0.032465 | 0.00042707 | 0.00027293 | 0.19316 | 0.19316 | 0.19316 | 0.9941 | -0.11251 | 0.99051 | -0.1816 | 53.0672
30 | 0.014368 | 0.0036025 | -0.014363 | -0.0035999 | 4.5633e-06 | 2.5801e-06 | 0.021516 | 0.021516 | 0.021516 | 0.99365 | -0.12119 | 0.99331 | -0.12785 | 5.9111
31 | 0.10991 | 0.0278 | -0.10945 | -0.027508 | 0.00045668 | 0.00029171 | 0.1652 | 0.1652 | 0.1652 | 0.99051 | -0.1816 | 0.98601 | -0.2686 | 45.3846
32 | 0.0096575 | 0.0024206 | -0.0096566 | -0.0024202 | 8.7005e-07 | 4.1336e-07 | 0.014467 | 0.014467 | 0.014467 | 0.99331 | -0.12785 | 0.99321 | -0.12974 | 3.9746
33 | 0.025598 | 0.006416 | -0.025597 | -0.0064153 | 1.2038e-06 | 7.4302e-07 | 0.038631 | 0.038631 | 0.038631 | 0.98601 | -0.2686 | 0.98596 | -0.26959 | 10.613
34 | 0.061622 | 0.015521 | -0.061506 | -0.015447 | 0.00011611 | 7.3856e-05 | 0.093023 | 0.093023 | 0.093023 | 0.98601 | -0.2686 | 0.98398 | -0.30808 | 25.5558
35 | -0.0090135 | -0.002259 | 0.0090135 | 0.002259 | 5.5571e-08 | 2.5527e-08 | 0.013662 | 0.013662 | 0.013662 | 0.9817 | -0.35263 | 0.98171 | -0.3525 | 3.7533
36 | -0.018924 | -0.0047429 | 0.018933 | 0.004748 | 8.4307e-06 | 5.05e-06 | 0.028684 | 0.028684 | 0.028684 | 0.98171 | -0.3525 | 0.98219 | -0.34315 | 7.8803
37 | -0.033409 | -0.0083761 | 0.033426 | 0.0083866 | 1.6752e-05 | 1.0501e-05 | 0.050616 | 0.050616 | 0.050616 | 0.98219 | -0.34315 | 0.98273 | -0.33263 | 13.9055
38 | -0.051548 | -0.012929 | 0.051609 | 0.012967 | 6.04e-05 | 3.832e-05 | 0.078056 | 0.078056 | 0.078056 | 0.98273 | -0.33263 | 0.98398 | -0.30808 | 21.4441

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36955 | 0.093507

## res_load
| p_mw | q_mvar
0 | 0.0012549 | 0.0003145
1 | 0.0030151 | 0.00075565
2 | 0.0038292 | 0.00095969
3 | 0.022585 | 0.0056603
4 | 0.025975 | 0.00651
5 | 0.016876 | 0.0042296
6 | 0.0035542 | 0.00089076
7 | 0.013002 | 0.0032585
8 | 0.013001 | 0.0032584
9 | 0.0073719 | 0.0018476
10 | 0.0060269 | 0.0015105
11 | 0.0026811 | 0.00067195
12 | 0.0055389 | 0.0013882
13 | 0.022543 | 0.0056498
14 | 0.013068 | 0.0032752
15 | 0.012841 | 0.0032184
16 | 0.0069656 | 0.0017457
17 | 0.0024598 | 0.00061648
18 | 0.012798 | 0.0032076
19 | 0.0091367 | 0.0022899
20 | 0.0038892 | 0.00097472
21 | 0.0047263 | 0.0011845
22 | 0.0048922 | 0.0012261
23 | 0.018615 | 0.0046654
24 | 0.0047055 | 0.0011793
25 | 0.022229 | 0.005571
26 | 0.0096566 | 0.0024202
27 | 0.0090135 | 0.002259
28 | 0.0099109 | 0.0024839
29 | 0.014476 | 0.0036281
30 | 0.018122 | 0.0045419
31 | 0.009897 | 0.0024804
32 | 0.025597 | 0.0064153
33 | 0.0042753 | 0.0010715

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1