## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1321-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1321-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1321-6_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1321-6_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1321-6_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1321-6_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1321-6_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1321-6_0_6_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_1321-6_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1321-6_0_6_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_1321-6_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1321-6_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1321-6_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1321-6_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1321-6_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1321-6_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1321-6_0_6_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1321-6_0_6_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1321-6_0_6_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1321-6_0_6_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1321-6_0_6_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_1321-6_0_6_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1321-6_0_6_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1321-6_0_6_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_1321-6_0_6_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_1321-6_0_6_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1321-6_0_6_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1321-6_0_6_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1321-6_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1321-6_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1321-6_0_6_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1321-6_0_6_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_1321-6_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1321-6_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1321-6_0_6_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1321-6_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1321-6_0_6_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1321-6_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1321-6_0_6_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1321-6_0_6_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_1321-6_0_6_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_1321-6_0_6_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1321-6_0_6_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1321-6_0_6_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_1321-6_0_6_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1321-6_0_6_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1321-6_0_6_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_1321-6_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1321-6_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1321-6_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1321-6_0_6_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1321-6_0_6_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_1321-6_0_6_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_1321-6_0_6_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_1321-6_0_6_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_1321-6_0_6_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_1321-6_0_6_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_1321-6_0_6_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_1321-6_0_6_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_1321-6_0_6_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_1321-6_0_6_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_1321-6_0_6_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_1321-6_0_6_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_1321-6_0_6_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_1321-6_0_6_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_1321-6_0_6_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_1321-6_0_6_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_1321-6_0_6_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_1321-6_0_6_node_67 | 0.4 | n |  | TRUE
69 | bus_MV_15_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1321-6_0_6_load_0 | 0 | 0.040331 | 0.010108 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1321-6_0_6_load_4 | 4 | 0.016256 | 0.0040742 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1321-6_0_6_load_5 | 5 | 0.016518 | 0.0041399 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1321-6_0_6_load_6 | 6 | 0.018641 | 0.0046718 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1321-6_0_6_load_57 | 7 | 0.023531 | 0.0058974 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1321-6_0_6_load_7 | 8 | 0.0063033 | 0.0015798 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1321-6_0_6_load_8 | 10 | 0.0042546 | 0.0010663 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1321-6_0_6_load_9 | 11 | 0.016458 | 0.0041247 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1321-6_0_6_load_10 | 12 | 0.01408 | 0.0035288 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1321-6_0_6_load_11 | 13 | 0.0089293 | 0.0022379 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1321-6_0_6_load_12 | 14 | 0.028886 | 0.0072396 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1321-6_0_6_load_18 | 18 | 0.0024036 | 0.00060241 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1321-6_0_6_load_22 | 19 | 0.0095053 | 0.0023822 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1321-6_0_6_load_17 | 21 | 0.0049801 | 0.0012481 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1321-6_0_6_load_21 | 22 | 0.016571 | 0.0041531 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1321-6_0_6_load_40 | 23 | 0.061492 | 0.015411 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1321-6_0_6_load_37 | 24 | 0.013404 | 0.0033594 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1321-6_0_6_load_36 | 25 | 0.0040485 | 0.0010146 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1321-6_0_6_load_30 | 26 | 0.0058066 | 0.0014553 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1321-6_0_6_load_31 | 27 | 0.0028142 | 0.0007053 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1321-6_0_6_load_19 | 28 | 0.0021369 | 0.00053556 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1321-6_0_6_load_20 | 29 | 0.0024166 | 0.00060566 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1321-6_0_6_load_29 | 30 | 0.0057474 | 0.0014404 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1321-6_0_6_load_47 | 31 | 0.0034856 | 0.00087357 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1321-6_0_6_load_23 | 32 | 0.0049464 | 0.0012397 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1321-6_0_6_load_24 | 33 | 0.0033852 | 0.00084842 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1321-6_0_6_load_26 | 34 | 0.0029354 | 0.00073567 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1321-6_0_6_load_25 | 35 | 0.0045199 | 0.0011328 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1321-6_0_6_load_27 | 36 | 0.0029747 | 0.00074554 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1321-6_0_6_load_28 | 37 | 0.0013614 | 0.00034119 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1321-6_0_6_load_33 | 38 | 0.0013721 | 0.00034389 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1321-6_0_6_load_53 | 40 | 0.0044467 | 0.0011144 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1321-6_0_6_load_35 | 43 | 0.002236 | 0.0005604 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1321-6_0_6_load_49 | 45 | 0.0023554 | 0.00059032 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1321-6_0_6_load_46 | 46 | 0.0076207 | 0.0019099 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1321-6_0_6_load_43 | 47 | 0.013891 | 0.0034815 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1321-6_0_6_load_44 | 48 | 0.010182 | 0.0025518 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1321-6_0_6_load_42 | 50 | 0.01034 | 0.0025914 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1321-6_0_6_load_45 | 51 | 0.0084164 | 0.0021094 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1321-6_0_6_load_54 | 52 | 0.0039951 | 0.0010013 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1321-6_0_6_load_50 | 53 | 0.0021377 | 0.00053576 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1321-6_0_6_load_51 | 54 | 0.017441 | 0.0043712 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1321-6_0_6_load_52 | 55 | 0.0034221 | 0.00085766 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1321-6_0_6_load_61 | 56 | 0.0025626 | 0.00064224 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1321-6_0_6_load_69 | 57 | 0.0054511 | 0.0013662 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1321-6_0_6_load_56 | 58 | 0.0079288 | 0.0019871 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1321-6_0_6_load_62 | 62 | 0.0073009 | 0.0018298 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1321-6_0_6_load_70 | 63 | 0.0081475 | 0.002042 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1321-6_0_6_load_63 | 65 | 0.0070791 | 0.0017742 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1321-6_0_6_load_64 | 66 | 0.0069464 | 0.0017409 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1321-6_0_6_load_65 | 67 | 0.001573 | 0.00039422 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1321-6_0_6_load_67 | 68 | 0.0029267 | 0.00073349 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1321-6_0_6_line_0 |  | 0 | 1 | 0.008107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1321-6_0_6_line_1 |  | 0 | 2 | 0.025772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1321-6_0_6_line_2 |  | 1 | 3 | 0.021388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1321-6_0_6_line_3 |  | 2 | 4 | 0.074193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1321-6_0_6_line_4 |  | 2 | 5 | 0.041579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1321-6_0_6_line_5 |  | 3 | 6 | 0.057566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1321-6_0_6_line_6 |  | 4 | 7 | 0.025854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1321-6_0_6_line_7 |  | 6 | 8 | 0.062706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1321-6_0_6_line_8 |  | 7 | 9 | 0.022496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1321-6_0_6_line_9 |  | 8 | 10 | 0.021048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1321-6_0_6_line_10 |  | 9 | 58 | 0.016317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1321-6_0_6_line_11 |  | 9 | 52 | 0.011924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1321-6_0_6_line_12 |  | 11 | 12 | 0.013426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1321-6_0_6_line_13 |  | 12 | 13 | 0.022306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1321-6_0_6_line_14 |  | 13 | 14 | 0.025223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1321-6_0_6_line_15 |  | 14 | 15 | 0.048172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1321-6_0_6_line_16 |  | 15 | 16 | 0.015486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1321-6_0_6_line_17 |  | 15 | 17 | 0.032362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1321-6_0_6_line_18 |  | 16 | 18 | 0.046979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1321-6_0_6_line_19 |  | 16 | 19 | 0.017556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1321-6_0_6_line_20 |  | 17 | 20 | 0.090128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1321-6_0_6_line_21 |  | 18 | 21 | 0.02044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1321-6_0_6_line_22 |  | 19 | 22 | 0.015387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1321-6_0_6_line_23 |  | 20 | 23 | 0.058169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1321-6_0_6_line_24 |  | 21 | 28 | 0.014782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1321-6_0_6_line_25 |  | 22 | 32 | 7.1118e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1321-6_0_6_line_26 |  | 23 | 49 | 0.028934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1321-6_0_6_line_27 |  | 24 | 25 | 0.033956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1321-6_0_6_line_28 |  | 25 | 42 | 0.062526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1321-6_0_6_line_29 |  | 26 | 27 | 0.0016956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1321-6_0_6_line_30 |  | 27 | 41 | 0.01329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1321-6_0_6_line_31 |  | 28 | 29 | 0.013664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1321-6_0_6_line_32 |  | 29 | 30 | 0.0043621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1321-6_0_6_line_33 |  | 30 | 31 | 0.0089875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1321-6_0_6_line_34 |  | 31 | 40 | 0.0075626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1321-6_0_6_line_35 |  | 32 | 33 | 0.013997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1321-6_0_6_line_36 |  | 33 | 34 | 0.016458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1321-6_0_6_line_37 |  | 34 | 35 | 0.01988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1321-6_0_6_line_38 |  | 35 | 36 | 0.018471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1321-6_0_6_line_39 |  | 36 | 37 | 0.0082281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1321-6_0_6_line_40 |  | 37 | 38 | 0.018015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1321-6_0_6_line_41 |  | 38 | 39 | 0.0022751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1321-6_0_6_line_42 |  | 39 | 45 | 0.019372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1321-6_0_6_line_43 |  | 39 | 43 | 0.0088855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1321-6_0_6_line_44 |  | 40 | 52 | 0.0094803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1321-6_0_6_line_45 |  | 41 | 42 | 0.027389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1321-6_0_6_line_46 |  | 41 | 43 | 0.051743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1321-6_0_6_line_47 |  | 42 | 44 | 0.009209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1321-6_0_6_line_48 |  | 44 | 46 | 0.028017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1321-6_0_6_line_49 |  | 44 | 47 | 0.017934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1321-6_0_6_line_50 |  | 45 | 53 | 0.0029097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1321-6_0_6_line_51 |  | 47 | 48 | 0.027829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1321-6_0_6_line_52 |  | 48 | 51 | 0.0099667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1321-6_0_6_line_53 |  | 49 | 50 | 0.009862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1321-6_0_6_line_54 |  | 53 | 54 | 0.028934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1321-6_0_6_line_55 |  | 54 | 55 | 0.003215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1321-6_0_6_line_56 |  | 55 | 56 | 0.00014318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1321-6_0_6_line_57 |  | 56 | 57 | 0.027157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1321-6_0_6_line_58 |  | 58 | 59 | 0.06457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1321-6_0_6_line_59 |  | 59 | 60 | 0.006466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1321-6_0_6_line_60 |  | 59 | 61 | 0.004438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1321-6_0_6_line_61 |  | 60 | 62 | 0.0068805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1321-6_0_6_line_62 |  | 61 | 63 | 0.071598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1321-6_0_6_line_63 |  | 61 | 64 | 0.15604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1321-6_0_6_line_64 |  | 62 | 65 | 0.053263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1321-6_0_6_line_65 |  | 64 | 66 | 0.057904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1321-6_0_6_line_66 |  | 66 | 67 | 0.017231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1321-6_0_6_line_67 |  | 67 | 68 | 0.010865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1321-6_0_6_trafo_19 | 0.63 MVA 20/0.4 kV | 69 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2696571.7607 | 1225835.1242 | 2696578.8563 | 1225831.2031
1 | 2696601.4133 | 1225818.7381 | 2696578.8563 | 1225831.2031
2 | 2696550.3281 | 1225836.0104 | 2696571.7607 | 1225835.1242
3 | 2696601.4133 | 1225818.7381 | 2696611.1785 | 1225811.2691 | 2696621.256 | 1225802.3151 | 2696653.679 | 1225766.3562
4 | 2696601.4133 | 1225818.7381 | 2696599.3995 | 1225815.7588 | 2696596.2877 | 1225809.426 | 2696593.9573 | 1225802.5944 | 2696591.1733 | 1225794.2877 | 2696590.018 | 1225779.384
5 | 2696550.3281 | 1225836.0104 | 2696544.8854 | 1225827.0824 | 2696543.2971 | 1225818.4393 | 2696545.4875 | 1225780.1802
6 | 2696670.9923 | 1225747.1548 | 2696653.679 | 1225766.3562
7 | 2696545.4875 | 1225780.1802 | 2696548.8316 | 1225721.7711 | 2696549.1549 | 1225717.5828
8 | 2696679.2135 | 1225727.5028 | 2696679.7014 | 1225730.6018 | 2696679.7102 | 1225733.7931 | 2696678.9662 | 1225736.6497 | 2696677.1634 | 1225739.3446 | 2696674.198 | 1225743.5995 | 2696670.9923 | 1225747.1548
9 | 2696550.7748 | 1225696.5974 | 2696549.1549 | 1225717.5828
10 | 2696679.2135 | 1225727.5028 | 2696693.0354 | 1225728.8839 | 2696695.0611 | 1225730.2187
11 | 2696679.2135 | 1225727.5028 | 2696677.9187 | 1225724.6019 | 2696676.1905 | 1225721.7718 | 2696672.8317 | 1225718.0479 | 2696672.5238 | 1225717.7678
12 | 2696580.1698 | 1225747.5475 | 2696577.7075 | 1225734.3493
13 | 2696577.7075 | 1225734.3493 | 2696573.6166 | 1225712.422 | 2696573.6166 | 1225712.422
14 | 2696564.6673 | 1225688.8399 | 2696573.6166 | 1225712.422
15 | 2696552.2725 | 1225642.9149 | 2696552.1495 | 1225648.1611 | 2696552.4514 | 1225656.6499 | 2696564.6673 | 1225688.8399
16 | 2696552.2725 | 1225642.9149 | 2696565.3444 | 1225651.2774
17 | 2696552.2725 | 1225642.9149 | 2696544.5275 | 1225636.6181 | 2696533.5418 | 1225625.8433 | 2696531.211 | 1225623.237 | 2696529.3254 | 1225620.2932
18 | 2696565.3444 | 1225651.2774 | 2696605.6907 | 1225675.344
19 | 2696565.3444 | 1225651.2774 | 2696568.6586 | 1225646.083 | 2696572.1135 | 1225643.4372 | 2696579.0171 | 1225642.0444
20 | 2696529.3254 | 1225620.2932 | 2696527.5982 | 1225616.9294 | 2696526.5006 | 1225613.0867 | 2696525.5713 | 1225607.2786 | 2696541.059 | 1225605.5396 | 2696559.9342 | 1225595.5053 | 2696565.7435 | 1225591.2076 | 2696587.7508 | 1225567.5923
21 | 2696623.2448 | 1225685.815 | 2696605.6907 | 1225675.344
22 | 2696579.0171 | 1225642.0444 | 2696579.5605 | 1225641.9347 | 2696594.3738 | 1225641.1803
23 | 2696587.7508 | 1225567.5923 | 2696625.4611 | 1225527.1421 | 2696626.3434 | 1225524.4141
24 | 2696635.9397 | 1225693.3875 | 2696623.2448 | 1225685.815
25 | 2696594.3738 | 1225641.1803 | 2696594.4448 | 1225641.1767
26 | 2696624.5056 | 1225499.618 | 2696632.0471 | 1225506.7789 | 2696626.3434 | 1225524.4141
27 | 2696628.3551 | 1225582.815 | 2696613.1025 | 1225580.3462 | 2696603.8522 | 1225581.7637 | 2696595.9461 | 1225586.3623
28 | 2696686.4415 | 1225603.7539 | 2696681.1621 | 1225602.9675 | 2696673.9218 | 1225598.7358 | 2696662.0124 | 1225591.1592 | 2696631.1229 | 1225583.263 | 2696628.3551 | 1225582.815
29 | 2696649.519 | 1225619.3508 | 2696651.2064 | 1225619.1844
30 | 2696664.1825 | 1225619.5147 | 2696661.1027 | 1225618.2082 | 2696651.2064 | 1225619.1844
31 | 2696635.9397 | 1225693.3875 | 2696647.6744 | 1225700.3872
32 | 2696647.6744 | 1225700.3872 | 2696651.4207 | 1225702.6219
33 | 2696659.0272 | 1225707.3967 | 2696657.113 | 1225706.0173 | 2696651.4207 | 1225702.6219
34 | 2696659.0272 | 1225707.3967 | 2696665.1628 | 1225711.8179
35 | 2696594.4448 | 1225641.1767 | 2696601.9077 | 1225640.7966 | 2696608.4285 | 1225640.5827
36 | 2696608.4285 | 1225640.5827 | 2696615.7368 | 1225640.343 | 2696624.4076 | 1225643.2521
37 | 2696641.7701 | 1225652.936 | 2696624.4088 | 1225643.2525 | 2696624.4076 | 1225643.2521
38 | 2696641.7701 | 1225652.936 | 2696644.9214 | 1225654.6937 | 2696657.9518 | 1225661.8426
39 | 2696657.9518 | 1225661.8426 | 2696665.1656 | 1225665.8003
40 | 2696665.1656 | 1225665.8003 | 2696680.9595 | 1225674.4654
41 | 2696682.9541 | 1225675.5597 | 2696680.9595 | 1225674.4654
42 | 2696682.9541 | 1225675.5597 | 2696701.3953 | 1225681.4935
43 | 2696682.9541 | 1225675.5597 | 2696679.7876 | 1225667.2575
44 | 2696672.5238 | 1225717.7678 | 2696669.1109 | 1225714.6628 | 2696665.1628 | 1225711.8179
45 | 2696664.1825 | 1225619.5147 | 2696678.358 | 1225611.2835 | 2696686.4415 | 1225603.7539
46 | 2696664.1825 | 1225619.5147 | 2696675.7374 | 1225637.2373 | 2696676.5628 | 1225643.3662 | 2696677.0566 | 1225660.0973 | 2696679.7876 | 1225667.2575
47 | 2696695.6702 | 1225604.1263 | 2696686.4415 | 1225603.7539
48 | 2696695.6702 | 1225604.1263 | 2696705.6247 | 1225590.178 | 2696714.8461 | 1225584.4022
49 | 2696695.6702 | 1225604.1263 | 2696710.96 | 1225613.4993
50 | 2696704.1652 | 1225682.3848 | 2696701.3953 | 1225681.4935
51 | 2696710.96 | 1225613.4993 | 2696716.8178 | 1225617.0903 | 2696725.6887 | 1225619.8809 | 2696737.2501 | 1225621.3837
52 | 2696747.1337 | 1225622.6685 | 2696737.2501 | 1225621.3837
53 | 2696624.5056 | 1225499.618 | 2696615.1799 | 1225496.3309
54 | 2696704.1652 | 1225682.3848 | 2696711.0872 | 1225684.6121 | 2696732.4462 | 1225688.2235
55 | 2696732.4462 | 1225688.2235 | 2696735.6162 | 1225688.7595
56 | 2696735.6162 | 1225688.7595 | 2696735.7574 | 1225688.7834
57 | 2696735.7574 | 1225688.7834 | 2696754.5255 | 1225691.9567 | 2696762.6192 | 1225692.6368
58 | 2696744.7672 | 1225771.2215 | 2696732.0395 | 1225758.9725 | 2696707.1005 | 1225738.1523 | 2696695.0611 | 1225730.2187
59 | 2696744.7672 | 1225771.2215 | 2696749.5465 | 1225766.8516
60 | 2696747.8309 | 1225774.4403 | 2696744.7672 | 1225771.2215
61 | 2696749.5465 | 1225766.8516 | 2696754.626 | 1225762.2105
62 | 2696747.8309 | 1225774.4403 | 2696728.3277 | 1225786.7432 | 2696683.0171 | 1225804.6086
63 | 2696701.2574 | 1225898.8725 | 2696702.0948 | 1225895.3947 | 2696711.5498 | 1225860.8458 | 2696717.9305 | 1225839.5898 | 2696722.7527 | 1225828.8494 | 2696735.5916 | 1225815.6041 | 2696766.1833 | 1225793.7302 | 2696747.8309 | 1225774.4403
64 | 2696743.1954 | 1225733.1465 | 2696755.3286 | 1225732.9992 | 2696769.418 | 1225748.695 | 2696754.626 | 1225762.2105
65 | 2696701.2574 | 1225898.8725 | 2696700.6902 | 1225906.2463 | 2696701.723 | 1225911.7337 | 2696710.0898 | 1225916.1283 | 2696721.9212 | 1225920.0679 | 2696743.3106 | 1225928.5348
66 | 2696743.3106 | 1225928.5348 | 2696756.3698 | 1225933.7043 | 2696759.5101 | 1225934.2417
67 | 2696759.5101 | 1225934.2417 | 2696770.2189 | 1225936.0744

## bus_geodata
| x | y | coords
0 | 2696578.8563 | 1225831.2031
1 | 2696571.7607 | 1225835.1242
2 | 2696601.4133 | 1225818.7381
3 | 2696550.3281 | 1225836.0104
4 | 2696653.679 | 1225766.3562
5 | 2696590.018 | 1225779.384
6 | 2696545.4875 | 1225780.1802
7 | 2696670.9923 | 1225747.1548
8 | 2696549.1549 | 1225717.5828
9 | 2696679.2135 | 1225727.5028
10 | 2696550.7748 | 1225696.5974
11 | 2696580.1698 | 1225747.5475
12 | 2696577.7075 | 1225734.3493
13 | 2696573.6166 | 1225712.422
14 | 2696564.6673 | 1225688.8399
15 | 2696552.2725 | 1225642.9149
16 | 2696565.3444 | 1225651.2774
17 | 2696529.3254 | 1225620.2932
18 | 2696605.6907 | 1225675.344
19 | 2696579.0171 | 1225642.0444
20 | 2696587.7508 | 1225567.5923
21 | 2696623.2448 | 1225685.815
22 | 2696594.3738 | 1225641.1803
23 | 2696626.3434 | 1225524.4141
24 | 2696595.9461 | 1225586.3623
25 | 2696628.3551 | 1225582.815
26 | 2696649.519 | 1225619.3508
27 | 2696651.2064 | 1225619.1844
28 | 2696635.9397 | 1225693.3875
29 | 2696647.6744 | 1225700.3872
30 | 2696651.4207 | 1225702.6219
31 | 2696659.0272 | 1225707.3967
32 | 2696594.4448 | 1225641.1767
33 | 2696608.4285 | 1225640.5827
34 | 2696624.4076 | 1225643.2521
35 | 2696641.7701 | 1225652.936
36 | 2696657.9518 | 1225661.8426
37 | 2696665.1656 | 1225665.8003
38 | 2696680.9595 | 1225674.4654
39 | 2696682.9541 | 1225675.5597
40 | 2696665.1628 | 1225711.8179
41 | 2696664.1825 | 1225619.5147
42 | 2696686.4415 | 1225603.7539
43 | 2696679.7876 | 1225667.2575
44 | 2696695.6702 | 1225604.1263
45 | 2696701.3953 | 1225681.4935
46 | 2696714.8461 | 1225584.4022
47 | 2696710.96 | 1225613.4993
48 | 2696737.2501 | 1225621.3837
49 | 2696624.5056 | 1225499.618
50 | 2696615.1799 | 1225496.3309
51 | 2696747.1337 | 1225622.6685
52 | 2696672.5238 | 1225717.7678
53 | 2696704.1652 | 1225682.3848
54 | 2696732.4462 | 1225688.2235
55 | 2696735.6162 | 1225688.7595
56 | 2696735.7574 | 1225688.7834
57 | 2696762.6192 | 1225692.6368
58 | 2696695.0611 | 1225730.2187
59 | 2696744.7672 | 1225771.2215
60 | 2696749.5465 | 1225766.8516
61 | 2696747.8309 | 1225774.4403
62 | 2696754.626 | 1225762.2105
63 | 2696683.0171 | 1225804.6086
64 | 2696701.2574 | 1225898.8725
65 | 2696743.1954 | 1225733.1465
66 | 2696743.3106 | 1225928.5348
67 | 2696759.5101 | 1225934.2417
68 | 2696770.2189 | 1225936.0744
69 | 2696679.2135 | 1225727.5028

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98407 | -0.30648 | 0.040331 | 0.010108
1 | 0.98385 | -0.31074 | 0 | 0
2 | 0.98572 | -0.27428 | 0 | 0
3 | 0.98327 | -0.32199 | 0 | 0
4 | 0.99161 | -0.16043 | 0.016256 | 0.0040742
5 | 0.98509 | -0.28661 | 0.016518 | 0.0041399
6 | 0.98172 | -0.35235 | 0.018641 | 0.0046718
7 | 0.99405 | -0.11365 | 0.023531 | 0.0058974
8 | 0.98111 | -0.36433 | 0.0063033 | 0.0015798
9 | 0.99665 | -0.063845 | 0 | 0
10 | 0.98102 | -0.36595 | 0.0042546 | 0.0010663
11 | 0.98685 | -0.25192 | 0.016458 | 0.0041247
12 | 0.98705 | -0.24797 | 0.01408 | 0.0035288
13 | 0.98768 | -0.23579 | 0.0089293 | 0.0022379
14 | 0.98859 | -0.21802 | 0.028886 | 0.0072396
15 | 0.99161 | -0.15947 | 0 | 0
16 | 0.99262 | -0.14025 | 0 | 0
17 | 0.98946 | -0.20077 | 0 | 0
18 | 0.99681 | -0.06037 | 0.0024036 | 0.00060241
19 | 0.99181 | -0.15573 | 0.0095053 | 0.0023822
20 | 0.98346 | -0.31673 | 0 | 0
21 | 0.99865 | -0.025538 | 0.0049801 | 0.0012481
22 | 0.99081 | -0.17481 | 0.016571 | 0.0041531
23 | 0.9796 | -0.39233 | 0.061492 | 0.015411
24 | 0.9742 | -0.49762 | 0.013404 | 0.0033594
25 | 0.97462 | -0.48926 | 0.0040485 | 0.0010146
26 | 0.97699 | -0.4427 | 0.0058066 | 0.0014553
27 | 0.977 | -0.44252 | 0.0028142 | 0.0007053
28 | 1 | 0 | -0.49316 | -0.12578
29 | 0.99922 | -0.014925 | 0.0024166 | 0.00060566
30 | 0.99897 | -0.019633 | 0.0057474 | 0.0014404
31 | 0.99847 | -0.02904 | 0.0034856 | 0.00087357
32 | 0.9908 | -0.17497 | 0.0049464 | 0.0012397
33 | 0.98926 | -0.20443 | 0.0033852 | 0.00084842
34 | 0.98751 | -0.23818 | 0.0029354 | 0.00073567
35 | 0.98544 | -0.27808 | 0.0045199 | 0.0011328
36 | 0.98359 | -0.31378 | 0.0029747 | 0.00074554
37 | 0.9828 | -0.32929 | 0.0013614 | 0.00034119
38 | 0.98107 | -0.36289 | 0.0013721 | 0.00034389
39 | 0.98085 | -0.36709 | 0 | 0
40 | 0.99807 | -0.036809 | 0.0044467 | 0.0011144
41 | 0.9771 | -0.44043 | 0 | 0
42 | 0.97564 | -0.46926 | 0 | 0
43 | 0.98029 | -0.37811 | 0.002236 | 0.0005604
44 | 0.97529 | -0.47603 | 0 | 0
45 | 0.98026 | -0.37881 | 0.0023554 | 0.00059032
46 | 0.97509 | -0.47994 | 0.0076207 | 0.0019099
47 | 0.97475 | -0.48671 | 0.013891 | 0.0034815
48 | 0.97427 | -0.49621 | 0.010182 | 0.0025518
49 | 0.97932 | -0.39777 | 0 | 0
50 | 0.97922 | -0.39962 | 0.01034 | 0.0025914
51 | 0.97419 | -0.49775 | 0.0084164 | 0.0021094
52 | 0.99757 | -0.046311 | 0.0039951 | 0.0010013
53 | 0.98017 | -0.38044 | 0.0021377 | 0.00053576
54 | 0.9794 | -0.39561 | 0.017441 | 0.0043712
55 | 0.97936 | -0.39628 | 0.0034221 | 0.00085766
56 | 0.97936 | -0.3963 | 0.0025626 | 0.00064224
57 | 0.97923 | -0.39899 | 0.0054511 | 0.0013662
58 | 0.99603 | -0.075854 | 0.0079288 | 0.0019871
59 | 0.99402 | -0.11449 | 0 | 0
60 | 0.99394 | -0.11613 | 0 | 0
61 | 0.99394 | -0.11602 | 0 | 0
62 | 0.99385 | -0.11787 | 0.0073009 | 0.0018298
63 | 0.99341 | -0.12632 | 0.0081475 | 0.002042
64 | 0.99231 | -0.1476 | 0 | 0
65 | 0.9935 | -0.12453 | 0.0070791 | 0.0017742
66 | 0.9917 | -0.15934 | 0.0069464 | 0.0017409
67 | 0.99163 | -0.16071 | 0.001573 | 0.00039422
68 | 0.9916 | -0.16128 | 0.0029267 | 0.00073349
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.029269 | 0.0073607 | -0.029263 | -0.007357 | 5.9573e-06 | 3.7097e-06 | 0.044267 | 0.044267 | 0.044267 | 0.98407 | -0.30648 | 0.98385 | -0.31074 | 12.1612
1 | -0.0696 | -0.017469 | 0.069707 | 0.017537 | 0.00010706 | 6.8192e-05 | 0.10525 | 0.10525 | 0.10525 | 0.98407 | -0.30648 | 0.98572 | -0.27428 | 28.9154
2 | 0.029263 | 0.007357 | -0.029247 | -0.0073472 | 1.5717e-05 | 9.7872e-06 | 0.044267 | 0.044267 | 0.044267 | 0.98385 | -0.31074 | 0.98327 | -0.32199 | 12.1612
3 | -0.086235 | -0.021682 | 0.086707 | 0.021983 | 0.00047167 | 0.00030092 | 0.1302 | 0.1302 | 0.1302 | 0.98572 | -0.27428 | 0.99161 | -0.16043 | 35.7702
4 | 0.016528 | 0.0041456 | -0.016518 | -0.0041399 | 9.7074e-06 | 5.6831e-06 | 0.024951 | 0.024952 | 0.024952 | 0.98572 | -0.27428 | 0.98509 | -0.28661 | 6.8548
5 | 0.029247 | 0.0073472 | -0.029205 | -0.0073209 | 4.2302e-05 | 2.6344e-05 | 0.044267 | 0.044267 | 0.044267 | 0.98327 | -0.32199 | 0.98172 | -0.35235 | 12.1613
6 | -0.10296 | -0.026057 | 0.10319 | 0.026205 | 0.00023172 | 0.00014797 | 0.1546 | 0.1546 | 0.1546 | 0.99161 | -0.16043 | 0.99405 | -0.11365 | 42.4717
7 | 0.010564 | 0.0026491 | -0.010558 | -0.002646 | 6.0296e-06 | 3.0666e-06 | 0.016013 | 0.016013 | 0.016013 | 0.98172 | -0.35235 | 0.98111 | -0.36433 | 4.3993
8 | -0.12673 | -0.032103 | 0.12703 | 0.032297 | 0.00030397 | 0.00019425 | 0.18982 | 0.18982 | 0.18982 | 0.99405 | -0.11365 | 0.99665 | -0.063845 | 52.1487
9 | 0.0042549 | 0.0010662 | -0.0042546 | -0.0010663 | 3.287e-07 | -5.5404e-08 | 0.0064533 | 0.0064534 | 0.0064534 | 0.98111 | -0.36433 | 0.98102 | -0.36595 | 1.7729
10 | 0.042023 | 0.010573 | -0.041999 | -0.010558 | 2.4098e-05 | 1.521e-05 | 0.062756 | 0.062756 | 0.062756 | 0.99665 | -0.063845 | 0.99603 | -0.075854 | 17.2407
11 | -0.16905 | -0.04287 | 0.1692 | 0.042961 | 0.00014263 | 9.0971e-05 | 0.25258 | 0.25258 | 0.25258 | 0.99665 | -0.063845 | 0.99757 | -0.046311 | 34.6946
12 | -0.016458 | -0.0041247 | 0.016461 | 0.0041266 | 3.1005e-06 | 1.8128e-06 | 0.024816 | 0.024816 | 0.024816 | 0.98685 | -0.25192 | 0.98705 | -0.24797 | 6.8176
13 | -0.030541 | -0.0076553 | 0.030559 | 0.0076664 | 1.7732e-05 | 1.1063e-05 | 0.046042 | 0.046042 | 0.046042 | 0.98705 | -0.24797 | 0.98768 | -0.23579 | 12.6489
14 | -0.039488 | -0.0099043 | 0.039521 | 0.0099254 | 3.348e-05 | 2.1104e-05 | 0.059495 | 0.059494 | 0.059495 | 0.98768 | -0.23579 | 0.98859 | -0.21802 | 16.3447
15 | -0.068408 | -0.017165 | 0.068599 | 0.017287 | 0.00019155 | 0.00012197 | 0.10297 | 0.10297 | 0.10297 | 0.98859 | -0.21802 | 0.99161 | -0.15947 | 28.2895
16 | -0.14124 | -0.035805 | 0.14137 | 0.035889 | 0.00013061 | 8.3192e-05 | 0.21209 | 0.21209 | 0.21209 | 0.99161 | -0.15947 | 0.99262 | -0.14025 | 29.1334
17 | 0.072642 | 0.018518 | -0.072497 | -0.018426 | 0.0001445 | 9.2061e-05 | 0.10912 | 0.10912 | 0.10912 | 0.99161 | -0.15947 | 0.98946 | -0.20077 | 29.9774
18 | -0.29242 | -0.074397 | 0.29355 | 0.075119 | 0.0011305 | 0.0007217 | 0.43876 | 0.43876 | 0.43876 | 0.99262 | -0.14025 | 0.99681 | -0.06037 | 40.1798
19 | 0.15105 | 0.038509 | -0.15094 | -0.038437 | 0.00011275 | 7.1482e-05 | 0.22667 | 0.22667 | 0.22667 | 0.99262 | -0.14025 | 0.99181 | -0.15573 | 20.7576
20 | 0.072497 | 0.018426 | -0.072095 | -0.01817 | 0.00040242 | 0.0002564 | 0.10912 | 0.10912 | 0.10912 | 0.98946 | -0.20077 | 0.98346 | -0.31673 | 29.9775
21 | -0.29596 | -0.075721 | 0.29646 | 0.076041 | 0.00049994 | 0.00031916 | 0.44235 | 0.44235 | 0.44235 | 0.99681 | -0.06037 | 0.99865 | -0.025538 | 40.5083
22 | 0.14143 | 0.036055 | -0.1413 | -0.035972 | 0.00013017 | 8.2911e-05 | 0.21241 | 0.21241 | 0.21241 | 0.99181 | -0.15573 | 0.99081 | -0.17481 | 29.1775
23 | 0.072095 | 0.01817 | -0.071835 | -0.018004 | 0.00025973 | 0.00016549 | 0.10912 | 0.10912 | 0.10912 | 0.98346 | -0.31673 | 0.9796 | -0.39233 | 29.9776
24 | -0.30144 | -0.077289 | 0.30181 | 0.077527 | 0.00037378 | 0.00023864 | 0.44977 | 0.44977 | 0.44977 | 0.99865 | -0.025538 | 1 | 0 | 41.1878
25 | 0.12473 | 0.031819 | -0.12473 | -0.031818 | 9.3785e-07 | 5.9931e-07 | 0.18753 | 0.18753 | 0.18753 | 0.99081 | -0.17481 | 0.9908 | -0.17497 | 51.5181
26 | 0.010343 | 0.0025932 | -0.010341 | -0.0025918 | 2.6786e-06 | 1.3501e-06 | 0.015712 | 0.015712 | 0.015712 | 0.9796 | -0.39233 | 0.97932 | -0.39777 | 4.3165
27 | -0.013404 | -0.0033594 | 0.01341 | 0.0033624 | 5.3376e-06 | 2.9931e-06 | 0.020474 | 0.020474 | 0.020474 | 0.9742 | -0.49762 | 0.97462 | -0.48926 | 5.6247
28 | -0.017458 | -0.0043771 | 0.017475 | 0.0043869 | 1.6659e-05 | 9.8815e-06 | 0.026655 | 0.026655 | 0.026655 | 0.97462 | -0.48926 | 0.97564 | -0.46926 | 7.3228
29 | -0.0058066 | -0.0014553 | 0.0058066 | 0.0014553 | 4.9731e-08 | 1.0595e-08 | 0.0088438 | 0.0088438 | 0.0088438 | 0.97699 | -0.4427 | 0.977 | -0.44252 | 2.4296
30 | -0.0086208 | -0.0021606 | 0.0086217 | 0.002161 | 8.5916e-07 | 3.8342e-07 | 0.01313 | 0.01313 | 0.01313 | 0.977 | -0.44252 | 0.9771 | -0.44043 | 3.6071
31 | 0.18969 | 0.048255 | -0.18956 | -0.048168 | 0.00013633 | 8.6711e-05 | 0.28252 | 0.28252 | 0.28252 | 1 | 0 | 0.99922 | -0.014925 | 25.8717
32 | 0.18714 | 0.047563 | -0.1871 | -0.047536 | 4.2419e-05 | 2.6977e-05 | 0.27892 | 0.27892 | 0.27892 | 0.99922 | -0.014925 | 0.99897 | -0.019633 | 25.5422
33 | 0.18135 | 0.046095 | -0.18127 | -0.046043 | 8.2117e-05 | 5.2202e-05 | 0.27036 | 0.27036 | 0.27036 | 0.99897 | -0.019633 | 0.99847 | -0.02904 | 24.7582
34 | 0.17778 | 0.045169 | -0.17772 | -0.045127 | 6.6468e-05 | 4.2243e-05 | 0.26517 | 0.26517 | 0.26517 | 0.99847 | -0.02904 | 0.99807 | -0.036809 | 24.2825
35 | 0.11979 | 0.030579 | -0.11962 | -0.03047 | 0.00017025 | 0.00010878 | 0.1801 | 0.1801 | 0.1801 | 0.9908 | -0.17497 | 0.98926 | -0.20443 | 49.4773
36 | 0.11623 | 0.029622 | -0.11604 | -0.029501 | 0.00018902 | 0.00012076 | 0.17501 | 0.17501 | 0.17501 | 0.98926 | -0.20443 | 0.98751 | -0.23818 | 48.0784
37 | 0.11311 | 0.028765 | -0.11289 | -0.028627 | 0.00021693 | 0.00013858 | 0.17058 | 0.17058 | 0.17058 | 0.98751 | -0.23818 | 0.98544 | -0.27808 | 46.8633
38 | 0.10837 | 0.027494 | -0.10818 | -0.027375 | 0.00018575 | 0.00011864 | 0.16376 | 0.16376 | 0.16376 | 0.98544 | -0.27808 | 0.98359 | -0.31378 | 44.9883
39 | 0.10521 | 0.02663 | -0.10513 | -0.02658 | 7.8258e-05 | 4.9981e-05 | 0.15926 | 0.15926 | 0.15926 | 0.98359 | -0.31378 | 0.9828 | -0.32929 | 43.752
40 | 0.10377 | 0.026238 | -0.1036 | -0.026132 | 0.00016693 | 0.00010661 | 0.1572 | 0.1572 | 0.1572 | 0.9828 | -0.32929 | 0.98107 | -0.36289 | 43.1857
41 | 0.10223 | 0.025788 | -0.10221 | -0.025775 | 2.0528e-05 | 1.3109e-05 | 0.15511 | 0.15511 | 0.15511 | 0.98107 | -0.36289 | 0.98085 | -0.36709 | 42.614
42 | 0.033413 | 0.0083898 | -0.033394 | -0.0083781 | 1.867e-05 | 1.1705e-05 | 0.050695 | 0.050695 | 0.050695 | 0.98085 | -0.36709 | 0.98026 | -0.37881 | 13.9273
43 | 0.068796 | 0.017385 | -0.06876 | -0.017362 | 3.6331e-05 | 2.314e-05 | 0.10442 | 0.10442 | 0.10442 | 0.98085 | -0.36709 | 0.98029 | -0.37811 | 28.6867
44 | 0.17327 | 0.044013 | -0.17319 | -0.043962 | 7.9209e-05 | 5.0322e-05 | 0.25854 | 0.25854 | 0.25854 | 0.99807 | -0.036809 | 0.99757 | -0.046311 | 23.6754
45 | 0.057704 | 0.014514 | -0.057625 | -0.014464 | 7.935e-05 | 5.0441e-05 | 0.087896 | 0.087896 | 0.087896 | 0.9771 | -0.44043 | 0.97564 | -0.46926 | 24.1473
46 | -0.066326 | -0.016675 | 0.066524 | 0.016801 | 0.00019804 | 0.00012609 | 0.10103 | 0.10103 | 0.10103 | 0.9771 | -0.44043 | 0.98029 | -0.37811 | 27.7544
47 | 0.04015 | 0.010077 | -0.040137 | -0.010069 | 1.2952e-05 | 8.1743e-06 | 0.061241 | 0.061242 | 0.061242 | 0.97564 | -0.46926 | 0.97529 | -0.47603 | 16.8246
48 | 0.0076221 | 0.0019105 | -0.0076207 | -0.0019099 | 1.4209e-06 | 5.5982e-07 | 0.011629 | 0.011629 | 0.011629 | 0.97529 | -0.47603 | 0.97509 | -0.47994 | 3.1949
49 | 0.032515 | 0.0081584 | -0.032499 | -0.008148 | 1.6553e-05 | 1.0371e-05 | 0.049612 | 0.049612 | 0.049612 | 0.97529 | -0.47603 | 0.97475 | -0.48671 | 13.6298
50 | 0.031039 | 0.0077878 | -0.031037 | -0.0077863 | 2.4227e-06 | 1.5138e-06 | 0.04712 | 0.04712 | 0.04712 | 0.98026 | -0.37881 | 0.98017 | -0.38044 | 12.945
51 | 0.018607 | 0.0046665 | -0.018599 | -0.0046615 | 8.4211e-06 | 5.0428e-06 | 0.028407 | 0.028407 | 0.028407 | 0.97475 | -0.48671 | 0.97427 | -0.49621 | 7.804
52 | 0.008417 | 0.0021096 | -0.0084164 | -0.0021094 | 6.1768e-07 | 2.7121e-07 | 0.012856 | 0.012856 | 0.012856 | 0.97427 | -0.49621 | 0.97419 | -0.49775 | 3.5318
53 | 0.010341 | 0.0025918 | -0.01034 | -0.0025914 | 9.1298e-07 | 4.6023e-07 | 0.015712 | 0.015712 | 0.015712 | 0.97932 | -0.39777 | 0.97922 | -0.39962 | 4.3165
54 | 0.028899 | 0.0072505 | -0.028878 | -0.0072375 | 2.0886e-05 | 1.3003e-05 | 0.043875 | 0.043875 | 0.043875 | 0.98017 | -0.38044 | 0.9794 | -0.39561 | 12.0535
55 | 0.011437 | 0.0028664 | -0.011436 | -0.0028662 | 3.6402e-07 | 1.9251e-07 | 0.017376 | 0.017376 | 0.017376 | 0.9794 | -0.39561 | 0.97936 | -0.39628 | 4.7737
56 | 0.0080143 | 0.0020085 | -0.0080143 | -0.0020085 | 7.9609e-09 | 3.2939e-09 | 0.012177 | 0.012177 | 0.012177 | 0.97936 | -0.39628 | 0.97936 | -0.3963 | 3.3453
57 | 0.0054518 | 0.0013663 | -0.0054511 | -0.0013662 | 6.9874e-07 | 1.0552e-07 | 0.0082832 | 0.0082833 | 0.0082833 | 0.97936 | -0.3963 | 0.97923 | -0.39899 | 2.2756
58 | 0.03407 | 0.0085707 | -0.034008 | -0.0085314 | 6.276e-05 | 3.9328e-05 | 0.050911 | 0.050911 | 0.050911 | 0.99603 | -0.075854 | 0.99402 | -0.11449 | 13.9866
59 | 0.014385 | 0.003606 | -0.014383 | -0.0036054 | 1.1243e-06 | 6.3577e-07 | 0.021534 | 0.021534 | 0.021534 | 0.99402 | -0.11449 | 0.99394 | -0.11613 | 5.9158
60 | 0.019623 | 0.0049253 | -0.019622 | -0.0049245 | 1.4363e-06 | 8.6172e-07 | 0.029378 | 0.029378 | 0.029378 | 0.99402 | -0.11449 | 0.99394 | -0.11602 | 8.0708
61 | 0.014383 | 0.0036054 | -0.014382 | -0.0036047 | 1.1964e-06 | 6.7654e-07 | 0.021534 | 0.021534 | 0.021534 | 0.99394 | -0.11613 | 0.99385 | -0.11787 | 5.9158
62 | 0.0081515 | 0.0020436 | -0.0081475 | -0.002042 | 3.9988e-06 | 1.6317e-06 | 0.012204 | 0.012204 | 0.012204 | 0.99394 | -0.11602 | 0.99341 | -0.12632 | 3.3528
63 | 0.01147 | 0.0028809 | -0.011453 | -0.0028719 | 1.7259e-05 | 9.0269e-06 | 0.017174 | 0.017175 | 0.017175 | 0.99394 | -0.11602 | 0.99231 | -0.1476 | 4.7183
64 | 0.0070814 | 0.0017749 | -0.0070791 | -0.0017742 | 2.2453e-06 | 7.4706e-07 | 0.010603 | 0.010603 | 0.010603 | 0.99385 | -0.11787 | 0.9935 | -0.12453 | 2.9128
65 | 0.011453 | 0.0028719 | -0.011446 | -0.0028685 | 6.405e-06 | 3.3516e-06 | 0.017175 | 0.017175 | 0.017175 | 0.99231 | -0.1476 | 0.9917 | -0.15934 | 4.7184
66 | 0.0045 | 0.0011276 | -0.0044997 | -0.0011276 | 2.9459e-07 | -3.377e-08 | 0.006752 | 0.0067521 | 0.0067521 | 0.9917 | -0.15934 | 0.99163 | -0.16071 | 1.855
67 | 0.0029268 | 0.0007334 | -0.0029267 | -0.00073349 | 7.8583e-08 | -8.9863e-08 | 0.0043918 | 0.0043918 | 0.0043918 | 0.99163 | -0.16071 | 0.9916 | -0.16128 | 1.2065

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49529 | 0.12632

## res_load
| p_mw | q_mvar
0 | 0.040331 | 0.010108
1 | 0.016256 | 0.0040742
2 | 0.016518 | 0.0041399
3 | 0.018641 | 0.0046718
4 | 0.023531 | 0.0058974
5 | 0.0063033 | 0.0015798
6 | 0.0042546 | 0.0010663
7 | 0.016458 | 0.0041247
8 | 0.01408 | 0.0035288
9 | 0.0089293 | 0.0022379
10 | 0.028886 | 0.0072396
11 | 0.0024036 | 0.00060241
12 | 0.0095053 | 0.0023822
13 | 0.0049801 | 0.0012481
14 | 0.016571 | 0.0041531
15 | 0.061492 | 0.015411
16 | 0.013404 | 0.0033594
17 | 0.0040485 | 0.0010146
18 | 0.0058066 | 0.0014553
19 | 0.0028142 | 0.0007053
20 | 0.0021369 | 0.00053556
21 | 0.0024166 | 0.00060566
22 | 0.0057474 | 0.0014404
23 | 0.0034856 | 0.00087357
24 | 0.0049464 | 0.0012397
25 | 0.0033852 | 0.00084842
26 | 0.0029354 | 0.00073567
27 | 0.0045199 | 0.0011328
28 | 0.0029747 | 0.00074554
29 | 0.0013614 | 0.00034119
30 | 0.0013721 | 0.00034389
31 | 0.0044467 | 0.0011144
32 | 0.002236 | 0.0005604
33 | 0.0023554 | 0.00059032
34 | 0.0076207 | 0.0019099
35 | 0.013891 | 0.0034815
36 | 0.010182 | 0.0025518
37 | 0.01034 | 0.0025914
38 | 0.0084164 | 0.0021094
39 | 0.0039951 | 0.0010013
40 | 0.0021377 | 0.00053576
41 | 0.017441 | 0.0043712
42 | 0.0034221 | 0.00085766
43 | 0.0025626 | 0.00064224
44 | 0.0054511 | 0.0013662
45 | 0.0079288 | 0.0019871
46 | 0.0073009 | 0.0018298
47 | 0.0081475 | 0.002042
48 | 0.0070791 | 0.0017742
49 | 0.0069464 | 0.0017409
50 | 0.001573 | 0.00039422
51 | 0.0029267 | 0.00073349

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1