## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1321-9_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1321-9_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1321-9_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1321-9_0_1_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1321-9_0_1_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1321-9_0_1_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1321-9_0_1_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1321-9_0_1_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_1321-9_0_1_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1321-9_0_1_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1321-9_0_1_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_1321-9_0_1_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1321-9_0_1_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_1321-9_0_1_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1321-9_0_1_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1321-9_0_1_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1321-9_0_1_node_89 | 0.4 | n |  | TRUE
17 | bus_LV_1321-9_0_1_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_1321-9_0_1_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1321-9_0_1_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_1321-9_0_1_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1321-9_0_1_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_1321-9_0_1_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_1321-9_0_1_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_1321-9_0_1_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1321-9_0_1_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_1321-9_0_1_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_1321-9_0_1_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_1321-9_0_1_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_1321-9_0_1_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_1321-9_0_1_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_1321-9_0_1_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1321-9_0_1_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_1321-9_0_1_node_88 | 0.4 | n |  | TRUE
34 | bus_LV_1321-9_0_1_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_1321-9_0_1_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_1321-9_0_1_node_84 | 0.4 | n |  | TRUE
37 | bus_LV_1321-9_0_1_node_90 | 0.4 | n |  | TRUE
38 | bus_MV_15_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1321-9_0_1_load_0 | 0 | 0.0025048 | 0.00062777 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1321-9_0_1_load_1 | 1 | 0.0060546 | 0.0015174 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1321-9_0_1_load_7 | 5 | 0.0010732 | 0.00026898 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1321-9_0_1_load_11 | 6 | 0.0073577 | 0.001844 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1321-9_0_1_load_48 | 7 | 0.0039004 | 0.00097753 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1321-9_0_1_load_13 | 9 | 0.0086934 | 0.0021788 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1321-9_0_1_load_42 | 12 | 0.023168 | 0.0058064 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1321-9_0_1_load_8 | 13 | 0.0054051 | 0.0013547 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1321-9_0_1_load_9 | 14 | 0.0024518 | 0.00061448 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1321-9_0_1_load_44 | 17 | 0.0030974 | 0.00077629 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1321-9_0_1_load_43 | 19 | 0.0068162 | 0.0017083 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1321-9_0_1_load_28 | 20 | 0.0039035 | 0.00097832 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1321-9_0_1_load_29 | 21 | 0.0011258 | 0.00028216 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1321-9_0_1_load_30 | 22 | 0.012822 | 0.0032134 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1321-9_0_1_load_32 | 23 | 0.0037152 | 0.00093111 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1321-9_0_1_load_34 | 25 | 0.0085799 | 0.0021503 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1321-9_0_1_load_41 | 26 | 0.0012693 | 0.00031812 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1321-9_0_1_load_46 | 29 | 0.0011639 | 0.0002917 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1321-9_0_1_load_47 | 30 | 0.0059352 | 0.0014875 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1321-9_0_1_load_51 | 32 | 0.0029256 | 0.00073322 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1321-9_0_1_load_88 | 33 | 0.0031827 | 0.00079767 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1321-9_0_1_load_80 | 34 | 0.00056686 | 0.00014207 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1321-9_0_1_load_82 | 35 | 0.00045752 | 0.00011467 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1321-9_0_1_load_84 | 36 | 0.0012487 | 0.00031294 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1321-9_0_1_load_90 | 37 | 0.0020987 | 0.00052597 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1321-9_0_1_line_0 |  | 0 | 1 | 0.018937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1321-9_0_1_line_1 |  | 0 | 2 | 0.023458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1321-9_0_1_line_2 |  | 2 | 3 | 0.074658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1321-9_0_1_line_3 |  | 2 | 4 | 0.048859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1321-9_0_1_line_4 |  | 3 | 5 | 0.021222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1321-9_0_1_line_5 |  | 4 | 6 | 0.03136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1321-9_0_1_line_6 |  | 4 | 7 | 0.010735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1321-9_0_1_line_7 |  | 5 | 12 | 0.072909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1321-9_0_1_line_8 |  | 6 | 14 | 0.0012673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1321-9_0_1_line_9 |  | 7 | 10 | 0.034973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1321-9_0_1_line_10 |  | 8 | 9 | 0.023814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1321-9_0_1_line_11 |  | 8 | 10 | 0.049006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1321-9_0_1_line_12 |  | 8 | 11 | 0.031096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1321-9_0_1_line_13 |  | 10 | 17 | 0.016309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1321-9_0_1_line_14 |  | 11 | 18 | 0.10833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1321-9_0_1_line_15 |  | 11 | 19 | 0.038395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1321-9_0_1_line_16 |  | 13 | 14 | 0.018791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1321-9_0_1_line_17 |  | 13 | 15 | 0.16089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1321-9_0_1_line_18 |  | 15 | 16 | 0.2564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1321-9_0_1_line_19 |  | 16 | 37 | 0.14528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1321-9_0_1_line_20 |  | 17 | 28 | 0.049217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1321-9_0_1_line_21 |  | 18 | 24 | 0.033767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1321-9_0_1_line_22 |  | 18 | 21 | 0.017372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1321-9_0_1_line_23 |  | 20 | 21 | 0.058933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1321-9_0_1_line_24 |  | 20 | 22 | 0.096662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1321-9_0_1_line_25 |  | 22 | 23 | 0.039992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1321-9_0_1_line_26 |  | 23 | 25 | 0.019777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1321-9_0_1_line_27 |  | 24 | 26 | 0.012431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1321-9_0_1_line_28 |  | 26 | 27 | 0.035251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1321-9_0_1_line_29 |  | 27 | 31 | 0.045984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1321-9_0_1_line_30 |  | 28 | 29 | 0.014126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1321-9_0_1_line_31 |  | 28 | 30 | 0.10679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1321-9_0_1_line_32 |  | 31 | 32 | 0.036407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1321-9_0_1_line_33 |  | 32 | 33 | 0.23757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1321-9_0_1_line_34 |  | 33 | 36 | 0.014708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1321-9_0_1_line_35 |  | 34 | 35 | 0.034711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1321-9_0_1_line_36 |  | 35 | 36 | 0.023823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1321-9_0_1_trafo_13 | 0.63 MVA 20/0.4 kV | 38 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2698401.5863 | 1227346.3662 | 2698384.4253 | 1227338.3598
1 | 2698410.7138 | 1227324.7571 | 2698401.5863 | 1227346.3662
2 | 2698468.7449 | 1227312.3971 | 2698460.637 | 1227330.5539 | 2698446.3253 | 1227336.5658 | 2698433.2588 | 1227337.4169 | 2698419.2156 | 1227332.2476 | 2698410.7138 | 1227324.7571
3 | 2698389.7044 | 1227280.6666 | 2698406.8491 | 1227317.8215 | 2698410.7138 | 1227324.7571
4 | 2698468.7449 | 1227312.3971 | 2698489.6252 | 1227316.1899
5 | 2698389.7044 | 1227280.6666 | 2698421.0229 | 1227282.2709
6 | 2698389.7044 | 1227280.6666 | 2698378.9837 | 1227280.1165
7 | 2698522.2054 | 1227377.3625 | 2698525.2803 | 1227367.4506 | 2698510.2603 | 1227347.1317 | 2698497.1287 | 1227329.4904 | 2698489.6252 | 1227316.1899
8 | 2698422.2886 | 1227282.3358 | 2698421.0229 | 1227282.2709
9 | 2698344.1296 | 1227281.8585 | 2698368.5972 | 1227279.5835 | 2698378.9837 | 1227280.1165
10 | 2698333.1492 | 1227309.1857 | 2698337.1518 | 1227317.8692 | 2698350.2863 | 1227323.4032
11 | 2698333.1492 | 1227309.1857 | 2698319.5201 | 1227304.179 | 2698327.7816 | 1227290.4612 | 2698344.1296 | 1227281.8585
12 | 2698311.8714 | 1227318.8855 | 2698319.5201 | 1227304.179 | 2698333.1492 | 1227309.1857
13 | 2698344.1296 | 1227281.8585 | 2698331.6996 | 1227271.2995
14 | 2698224.9815 | 1227289.6627 | 2698229.9948 | 1227292.2362 | 2698239.21 | 1227301.5284 | 2698287.9416 | 1227329.9093 | 2698304.1167 | 1227333.5903 | 2698311.8714 | 1227318.8855
15 | 2698311.8714 | 1227318.8855 | 2698277.3981 | 1227301.9804
16 | 2698441.0554 | 1227283.2971 | 2698422.2886 | 1227282.3358
17 | 2698595.5565 | 1227321.4926 | 2698579.0851 | 1227322.4314 | 2698566.067 | 1227320.3587 | 2698553.4742 | 1227315.491 | 2698521.0179 | 1227301.7325 | 2698460.5768 | 1227284.2971 | 2698441.0554 | 1227283.2971
18 | 2698595.5565 | 1227321.4926 | 2698755.4621 | 1227121.0658
19 | 2698614.5648 | 1227092.1859 | 2698630.8435 | 1227101.985 | 2698674.4455 | 1227113.7943 | 2698723.7985 | 1227115.6809 | 2698755.4621 | 1227121.0658
20 | 2698294.1898 | 1227239.4359 | 2698331.6996 | 1227271.2995
21 | 2698224.9815 | 1227289.6627 | 2698196.9612 | 1227270.6976
22 | 2698224.9815 | 1227289.6627 | 2698221.6056 | 1227295.3444 | 2698224.994 | 1227299.4589 | 2698229.002 | 1227303.1271
23 | 2698258.2339 | 1227351.9617 | 2698250.4532 | 1227345.8795 | 2698244.1356 | 1227334.6337 | 2698234.2881 | 1227320.4942 | 2698232.2071 | 1227306.0605 | 2698229.002 | 1227303.1271
24 | 2698345.6426 | 1227392.1714 | 2698308.7735 | 1227372.3842 | 2698278.6529 | 1227361.7567 | 2698263.7058 | 1227356.2391 | 2698258.2339 | 1227351.9617
25 | 2698345.6426 | 1227392.1714 | 2698348.1495 | 1227393.5168 | 2698361.1444 | 1227402.0267 | 2698382.562 | 1227404.9329
26 | 2698396.6535 | 1227398.7663 | 2698394.0877 | 1227406.4969 | 2698382.562 | 1227404.9329
27 | 2698196.9612 | 1227270.6976 | 2698187.356 | 1227278.5892
28 | 2698156.2709 | 1227294.6657 | 2698166.1812 | 1227291.7049 | 2698187.356 | 1227278.5892
29 | 2698110.1916 | 1227296.5849 | 2698156.2709 | 1227294.6657
30 | 2698294.1898 | 1227239.4359 | 2698280.0665 | 1227239.6962
31 | 2698294.1898 | 1227239.4359 | 2698300.9973 | 1227235.2676 | 2698344.4378 | 1227227.4798 | 2698397.7015 | 1227215.1514
32 | 2698110.1916 | 1227296.5849 | 2698074.4568 | 1227303.5464
33 | 2698074.4568 | 1227303.5464 | 2697859.877 | 1227201.5831
34 | 2697859.877 | 1227201.5831 | 2697850.2578 | 1227190.457
35 | 2697809.2925 | 1227154.7953 | 2697809.2925 | 1227154.7953 | 2697833.4174 | 1227161.8415 | 2697837.7231 | 1227170.3973
36 | 2697837.7231 | 1227170.3973 | 2697844.4201 | 1227183.7048 | 2697850.2578 | 1227190.457

## bus_geodata
| x | y | coords
0 | 2698401.5863 | 1227346.3662
1 | 2698384.4253 | 1227338.3598
2 | 2698410.7138 | 1227324.7571
3 | 2698468.7449 | 1227312.3971
4 | 2698389.7044 | 1227280.6666
5 | 2698489.6252 | 1227316.1899
6 | 2698421.0229 | 1227282.2709
7 | 2698378.9837 | 1227280.1165
8 | 2698333.1492 | 1227309.1857
9 | 2698350.2863 | 1227323.4032
10 | 2698344.1296 | 1227281.8585
11 | 2698311.8714 | 1227318.8855
12 | 2698522.2054 | 1227377.3625
13 | 2698441.0554 | 1227283.2971
14 | 2698422.2886 | 1227282.3358
15 | 2698595.5565 | 1227321.4926
16 | 2698755.4621 | 1227121.0658
17 | 2698331.6996 | 1227271.2995
18 | 2698224.9815 | 1227289.6627
19 | 2698277.3981 | 1227301.9804
20 | 2698258.2339 | 1227351.9617
21 | 2698229.002 | 1227303.1271
22 | 2698345.6426 | 1227392.1714
23 | 2698382.562 | 1227404.9329
24 | 2698196.9612 | 1227270.6976
25 | 2698396.6535 | 1227398.7663
26 | 2698187.356 | 1227278.5892
27 | 2698156.2709 | 1227294.6657
28 | 2698294.1898 | 1227239.4359
29 | 2698280.0665 | 1227239.6962
30 | 2698397.7015 | 1227215.1514
31 | 2698110.1916 | 1227296.5849
32 | 2698074.4568 | 1227303.5464
33 | 2697859.877 | 1227201.5831
34 | 2697809.2925 | 1227154.7953
35 | 2697837.7231 | 1227170.3973
36 | 2697850.2578 | 1227190.457
37 | 2698614.5648 | 1227092.1859
38 | 2698352.342 | 1227324.2693

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99082 | -0.17629 | 0.0025048 | 0.00062777
1 | 0.99072 | -0.17832 | 0.0060546 | 0.0015174
2 | 0.99101 | -0.17272 | 0 | 0
3 | 0.98934 | -0.2049 | 0 | 0
4 | 0.99248 | -0.14432 | 0 | 0
5 | 0.98887 | -0.21407 | 0.0010732 | 0.00026898
6 | 0.99198 | -0.15394 | 0.0073577 | 0.001844
7 | 0.99297 | -0.1348 | 0.0039004 | 0.00097753
8 | 0.99758 | -0.046139 | 0 | 0
9 | 1 | 0 | -0.11348 | -0.028394
10 | 0.9947 | -0.10144 | 0 | 0
11 | 0.99625 | -0.071575 | 0 | 0
12 | 0.98732 | -0.24422 | 0.023168 | 0.0058064
13 | 0.99184 | -0.15667 | 0.0054051 | 0.0013547
14 | 0.99197 | -0.15416 | 0.0024518 | 0.00061448
15 | 0.99153 | -0.1627 | 0 | 0
16 | 0.99104 | -0.17228 | 0 | 0
17 | 0.99455 | -0.10437 | 0.0030974 | 0.00077629
18 | 0.9923 | -0.14763 | 0 | 0
19 | 0.99601 | -0.076173 | 0.0068162 | 0.0017083
20 | 0.99025 | -0.18727 | 0.0039035 | 0.00097832
21 | 0.99182 | -0.15691 | 0.0011258 | 0.00028216
22 | 0.98802 | -0.23052 | 0.012822 | 0.0032134
23 | 0.98757 | -0.23931 | 0.0037152 | 0.00093111
24 | 0.992 | -0.15341 | 0 | 0
25 | 0.98741 | -0.24234 | 0.0085799 | 0.0021503
26 | 0.99189 | -0.15554 | 0.0012693 | 0.00031812
27 | 0.99162 | -0.16078 | 0 | 0
28 | 0.99423 | -0.11054 | 0 | 0
29 | 0.99421 | -0.11083 | 0.0011639 | 0.0002917
30 | 0.99365 | -0.12172 | 0.0059352 | 0.0014875
31 | 0.99127 | -0.16763 | 0 | 0
32 | 0.99099 | -0.17305 | 0.0029256 | 0.00073322
33 | 0.9898 | -0.19611 | 0.0031827 | 0.00079767
34 | 0.98973 | -0.19749 | 0.00056686 | 0.00014207
35 | 0.98975 | -0.19714 | 0.00045752 | 0.00011467
36 | 0.98977 | -0.1967 | 0.0012487 | 0.00031294
37 | 0.99076 | -0.1777 | 0.0020987 | 0.00052597
38 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0060552 | 0.0015175 | -0.0060546 | -0.0015174 | 5.8724e-07 | 1.3196e-07 | 0.0090936 | 0.0090937 | 0.0090937 | 0.99082 | -0.17629 | 0.99072 | -0.17832 | 2.4983
1 | -0.00856 | -0.0021453 | 0.0085614 | 0.0021459 | 1.4537e-06 | 6.2821e-07 | 0.012855 | 0.012855 | 0.012855 | 0.99082 | -0.17629 | 0.99101 | -0.17272 | 3.5317
2 | 0.024322 | 0.0061252 | -0.024285 | -0.0061023 | 3.7362e-05 | 2.2952e-05 | 0.036531 | 0.036531 | 0.036531 | 0.99101 | -0.17272 | 0.98934 | -0.2049 | 10.0361
3 | -0.032884 | -0.0082712 | 0.032928 | 0.0082992 | 4.4688e-05 | 2.797e-05 | 0.049386 | 0.049386 | 0.049386 | 0.99101 | -0.17272 | 0.99248 | -0.14432 | 13.5677
4 | 0.024285 | 0.0061023 | -0.024274 | -0.0060958 | 1.0621e-05 | 6.5248e-06 | 0.036531 | 0.036531 | 0.036531 | 0.98934 | -0.2049 | 0.98887 | -0.21407 | 10.0361
5 | 0.017324 | 0.0043383 | -0.017316 | -0.0043336 | 7.9332e-06 | 4.6722e-06 | 0.025973 | 0.025973 | 0.025973 | 0.99248 | -0.14432 | 0.99198 | -0.15394 | 7.1355
6 | -0.050253 | -0.012637 | 0.050276 | 0.012652 | 2.2861e-05 | 1.4492e-05 | 0.075359 | 0.075359 | 0.075359 | 0.99248 | -0.14432 | 0.99297 | -0.1348 | 20.703
7 | 0.023201 | 0.0058268 | -0.023168 | -0.0058064 | 3.3333e-05 | 2.0399e-05 | 0.034916 | 0.034917 | 0.034917 | 0.98887 | -0.21407 | 0.98732 | -0.24422 | 9.5925
8 | 0.0099587 | 0.0024896 | -0.0099586 | -0.0024895 | 1.0602e-07 | 5.1494e-08 | 0.014936 | 0.014936 | 0.014936 | 0.99198 | -0.15394 | 0.99197 | -0.15416 | 4.1034
9 | -0.054176 | -0.013629 | 0.054263 | 0.013684 | 8.6481e-05 | 5.4895e-05 | 0.081204 | 0.081204 | 0.081204 | 0.99297 | -0.1348 | 0.9947 | -0.10144 | 22.3088
10 | -0.11159 | -0.028236 | 0.11183 | 0.028394 | 0.00024768 | 0.00015821 | 0.16654 | 0.16654 | 0.16654 | 0.99758 | -0.046139 | 1 | 0 | 45.7523
11 | 0.064637 | 0.016351 | -0.064466 | -0.016242 | 0.00017102 | 0.00010881 | 0.096467 | 0.096467 | 0.096467 | 0.99758 | -0.046139 | 0.9947 | -0.10144 | 26.502
12 | 0.046948 | 0.011885 | -0.046891 | -0.011849 | 5.7256e-05 | 3.6238e-05 | 0.070071 | 0.070071 | 0.070071 | 0.99758 | -0.046139 | 0.99625 | -0.071575 | 19.2504
13 | 0.010203 | 0.0025574 | -0.010202 | -0.0025567 | 1.4249e-06 | 7.0026e-07 | 0.015264 | 0.015264 | 0.015264 | 0.9947 | -0.10144 | 0.99455 | -0.10437 | 4.1933
14 | 0.040073 | 0.01014 | -0.039928 | -0.010049 | 0.0001457 | 9.1843e-05 | 0.059888 | 0.059889 | 0.059889 | 0.99625 | -0.071575 | 0.9923 | -0.14763 | 16.453
15 | 0.0068177 | 0.0017088 | -0.0068162 | -0.0017083 | 1.493e-06 | 4.5571e-07 | 0.010183 | 0.010183 | 0.010183 | 0.99625 | -0.071575 | 0.99601 | -0.076173 | 2.7976
16 | -0.0075059 | -0.0018747 | 0.0075068 | 0.001875 | 8.932e-07 | 3.291e-07 | 0.011259 | 0.011258 | 0.011259 | 0.99184 | -0.15667 | 0.99197 | -0.15416 | 3.093
17 | 0.0021007 | 0.00052006 | -0.0021001 | -0.00052175 | 5.9856e-07 | -1.6927e-06 | 0.0031494 | 0.0031501 | 0.0031501 | 0.99184 | -0.15667 | 0.99153 | -0.1627 | 0.86542
18 | 0.0021001 | 0.00052175 | -0.0020992 | -0.00052445 | 9.5447e-07 | -2.6945e-06 | 0.0031501 | 0.0031513 | 0.0031513 | 0.99153 | -0.1627 | 0.99104 | -0.17228 | 0.86574
19 | 0.0020992 | 0.00052445 | -0.0020987 | -0.00052597 | 5.4113e-07 | -1.5251e-06 | 0.0031513 | 0.003152 | 0.003152 | 0.99104 | -0.17228 | 0.99076 | -0.1777 | 0.86592
20 | 0.0071044 | 0.0017804 | -0.0071023 | -0.0017797 | 2.0853e-06 | 6.9612e-07 | 0.010629 | 0.01063 | 0.01063 | 0.99455 | -0.10437 | 0.99423 | -0.11054 | 2.9202
21 | 0.0096674 | 0.0024233 | -0.0096648 | -0.002422 | 2.6613e-06 | 1.2671e-06 | 0.014497 | 0.014497 | 0.014497 | 0.9923 | -0.14763 | 0.992 | -0.15341 | 3.9828
22 | 0.03026 | 0.0076253 | -0.030247 | -0.0076169 | 1.3423e-05 | 8.3663e-06 | 0.045392 | 0.045392 | 0.045392 | 0.9923 | -0.14763 | 0.99182 | -0.15691 | 12.4703
23 | -0.029079 | -0.0073085 | 0.029121 | 0.0073347 | 4.2209e-05 | 2.6255e-05 | 0.043703 | 0.043703 | 0.043703 | 0.99025 | -0.18727 | 0.99182 | -0.15691 | 12.0063
24 | 0.025175 | 0.0063302 | -0.025123 | -0.0062982 | 5.1896e-05 | 3.1973e-05 | 0.037837 | 0.037838 | 0.037838 | 0.99025 | -0.18727 | 0.98802 | -0.23052 | 10.395
25 | 0.012301 | 0.0030848 | -0.012296 | -0.003082 | 5.148e-06 | 2.7828e-06 | 0.018527 | 0.018528 | 0.018528 | 0.98802 | -0.23052 | 0.98757 | -0.23931 | 5.09
26 | 0.0085812 | 0.0021509 | -0.0085799 | -0.0021503 | 1.2398e-06 | 5.4049e-07 | 0.01293 | 0.01293 | 0.01293 | 0.98757 | -0.23931 | 0.98741 | -0.24234 | 3.5522
27 | 0.0096648 | 0.002422 | -0.0096638 | -0.0024216 | 9.7976e-07 | 4.6657e-07 | 0.014497 | 0.014497 | 0.014497 | 0.992 | -0.15341 | 0.99189 | -0.15554 | 3.9828
28 | 0.0083945 | 0.0021034 | -0.0083924 | -0.0021025 | 2.0964e-06 | 8.8681e-07 | 0.012593 | 0.012593 | 0.012593 | 0.99189 | -0.15554 | 0.99162 | -0.16078 | 3.4597
29 | 0.0083924 | 0.0021025 | -0.0083896 | -0.0021014 | 2.7348e-06 | 1.1573e-06 | 0.012593 | 0.012593 | 0.012593 | 0.99162 | -0.16078 | 0.99127 | -0.16763 | 3.4597
30 | 0.0011639 | 0.00029152 | -0.0011639 | -0.0002917 | 1.6073e-08 | -1.729e-07 | 0.0017419 | 0.001742 | 0.001742 | 0.99423 | -0.11054 | 0.99421 | -0.11083 | 0.47856
31 | 0.0059384 | 0.0014882 | -0.0059352 | -0.0014875 | 3.1634e-06 | 6.4052e-07 | 0.0088877 | 0.0088882 | 0.0088882 | 0.99423 | -0.11054 | 0.99365 | -0.12172 | 2.4418
32 | 0.0083896 | 0.0021014 | -0.0083875 | -0.0021005 | 2.1652e-06 | 9.1656e-07 | 0.012593 | 0.012594 | 0.012594 | 0.99127 | -0.16763 | 0.99099 | -0.17305 | 3.4598
33 | 0.0054619 | 0.0013672 | -0.0054559 | -0.0013665 | 5.9922e-06 | 7.7781e-07 | 0.0082007 | 0.0082018 | 0.0082018 | 0.99099 | -0.17305 | 0.9898 | -0.19611 | 2.2532
34 | 0.0022731 | 0.0005688 | -0.0022731 | -0.00056894 | 6.4398e-08 | -1.4782e-07 | 0.003417 | 0.0034171 | 0.0034171 | 0.9898 | -0.19611 | 0.98977 | -0.1967 | 0.93875
35 | -0.00056686 | -0.00014207 | 0.00056687 | 0.00014163 | 9.4525e-09 | -4.4004e-07 | 0.00085224 | 0.00085209 | 0.00085224 | 0.98973 | -0.19749 | 0.98975 | -0.19714 | 0.23413
36 | -0.0010244 | -0.00025629 | 0.0010244 | 0.000256 | 2.1184e-08 | -2.9262e-07 | 0.0015399 | 0.0015398 | 0.0015399 | 0.98975 | -0.19714 | 0.98977 | -0.1967 | 0.42306

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.12218 | 0.030573

## res_load
| p_mw | q_mvar
0 | 0.0025048 | 0.00062777
1 | 0.0060546 | 0.0015174
2 | 0.0010732 | 0.00026898
3 | 0.0073577 | 0.001844
4 | 0.0039004 | 0.00097753
5 | 0.0086934 | 0.0021788
6 | 0.023168 | 0.0058064
7 | 0.0054051 | 0.0013547
8 | 0.0024518 | 0.00061448
9 | 0.0030974 | 0.00077629
10 | 0.0068162 | 0.0017083
11 | 0.0039035 | 0.00097832
12 | 0.0011258 | 0.00028216
13 | 0.012822 | 0.0032134
14 | 0.0037152 | 0.00093111
15 | 0.0085799 | 0.0021503
16 | 0.0012693 | 0.00031812
17 | 0.0011639 | 0.0002917
18 | 0.0059352 | 0.0014875
19 | 0.0029256 | 0.00073322
20 | 0.0031827 | 0.00079767
21 | 0.00056686 | 0.00014207
22 | 0.00045752 | 0.00011467
23 | 0.0012487 | 0.00031294
24 | 0.0020987 | 0.00052597

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1