## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1331-10_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1331-10_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1331-10_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1331-10_0_8_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1331-10_0_8_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1331-10_0_8_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1331-10_0_8_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1331-10_0_8_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1331-10_0_8_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1331-10_0_8_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1331-10_0_8_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1331-10_0_8_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_1331-10_0_8_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_1331-10_0_8_node_83 | 0.4 | n |  | TRUE
14 | bus_LV_1331-10_0_8_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_1331-10_0_8_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_1331-10_0_8_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1331-10_0_8_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1331-10_0_8_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1331-10_0_8_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_1331-10_0_8_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1331-10_0_8_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_1331-10_0_8_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1331-10_0_8_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1331-10_0_8_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1331-10_0_8_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_1331-10_0_8_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_1331-10_0_8_node_73 | 0.4 | n |  | TRUE
28 | bus_LV_1331-10_0_8_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1331-10_0_8_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1331-10_0_8_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1331-10_0_8_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1331-10_0_8_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1331-10_0_8_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1331-10_0_8_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1331-10_0_8_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1331-10_0_8_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1331-10_0_8_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1331-10_0_8_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_1331-10_0_8_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1331-10_0_8_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1331-10_0_8_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_1331-10_0_8_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1331-10_0_8_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1331-10_0_8_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1331-10_0_8_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_1331-10_0_8_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1331-10_0_8_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1331-10_0_8_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1331-10_0_8_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1331-10_0_8_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_1331-10_0_8_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_1331-10_0_8_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1331-10_0_8_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_1331-10_0_8_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_1331-10_0_8_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_1331-10_0_8_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_1331-10_0_8_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_1331-10_0_8_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_1331-10_0_8_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_1331-10_0_8_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_1331-10_0_8_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_1331-10_0_8_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_1331-10_0_8_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_1331-10_0_8_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_1331-10_0_8_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_1331-10_0_8_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_1331-10_0_8_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_1331-10_0_8_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_1331-10_0_8_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_1331-10_0_8_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_1331-10_0_8_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_1331-10_0_8_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_1331-10_0_8_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_1331-10_0_8_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_1331-10_0_8_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_1331-10_0_8_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_1331-10_0_8_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_1331-10_0_8_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_1331-10_0_8_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_1331-10_0_8_node_79 | 0.4 | n |  | TRUE
81 | bus_MV_4_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1331-10_0_8_load_0 | 0 | 0.084701 | 0.021228 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1331-10_0_8_load_1 | 1 | 0.0062267 | 0.0015606 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1331-10_0_8_load_2 | 2 | 0.028838 | 0.0072275 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1331-10_0_8_load_5 | 4 | 0.090402 | 0.022657 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1331-10_0_8_load_6 | 6 | 0.055674 | 0.013953 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1331-10_0_8_load_7 | 7 | 0.0065776 | 0.0016485 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1331-10_0_8_load_11 | 9 | 0.015034 | 0.0037678 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1331-10_0_8_load_61 | 11 | 0.0046169 | 0.0011571 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1331-10_0_8_load_82 | 12 | 0.012769 | 0.0032003 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1331-10_0_8_load_83 | 13 | 0.0039234 | 0.0009833 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1331-10_0_8_load_60 | 15 | 0.0082175 | 0.0020595 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1331-10_0_8_load_12 | 17 | 0.0013332 | 0.00033412 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1331-10_0_8_load_13 | 18 | 0.0031166 | 0.00078109 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1331-10_0_8_load_72 | 19 | 0.0043691 | 0.001095 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1331-10_0_8_load_14 | 20 | 0.0032566 | 0.00081619 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1331-10_0_8_load_70 | 21 | 0.00084938 | 0.00021287 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1331-10_0_8_load_17 | 22 | 0.011408 | 0.0028591 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1331-10_0_8_load_18 | 23 | 0.01686 | 0.0042255 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1331-10_0_8_load_19 | 24 | 0.041986 | 0.010523 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1331-10_0_8_load_71 | 25 | 0.0067824 | 0.0016998 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1331-10_0_8_load_74 | 26 | 0.00084535 | 0.00021186 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1331-10_0_8_load_73 | 27 | 0.0015106 | 0.00037859 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1331-10_0_8_load_21 | 28 | 0.00095004 | 0.0002381 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1331-10_0_8_load_26 | 31 | 0.0038237 | 0.00095832 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1331-10_0_8_load_24 | 32 | 0.0039495 | 0.00098983 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1331-10_0_8_load_28 | 35 | 0.0073272 | 0.0018364 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1331-10_0_8_load_30 | 36 | 0.015203 | 0.0038103 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1331-10_0_8_load_36 | 39 | 0.0066972 | 0.0016785 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1331-10_0_8_load_32 | 40 | 0.0083614 | 0.0020956 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1331-10_0_8_load_45 | 41 | 0.015203 | 0.0038101 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1331-10_0_8_load_40 | 43 | 0.018783 | 0.0047074 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1331-10_0_8_load_33 | 44 | 0.0026584 | 0.00066627 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1331-10_0_8_load_37 | 47 | 0.0060847 | 0.001525 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1331-10_0_8_load_38 | 48 | 0.0033181 | 0.0008316 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1331-10_0_8_load_39 | 49 | 0.0042445 | 0.0010638 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1331-10_0_8_load_52 | 50 | 0.0051943 | 0.0013018 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1331-10_0_8_load_47 | 52 | 0.0051433 | 0.001289 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1331-10_0_8_load_53 | 53 | 0.0025415 | 0.00063697 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1331-10_0_8_load_63 | 54 | 0.0036578 | 0.00091673 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1331-10_0_8_load_46 | 55 | 0.003731 | 0.00093507 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1331-10_0_8_load_41 | 56 | 0.027185 | 0.0068133 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1331-10_0_8_load_44 | 57 | 0.0038504 | 0.00096499 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1331-10_0_8_load_50 | 59 | 0.0083879 | 0.0021022 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1331-10_0_8_load_51 | 60 | 0.013656 | 0.0034225 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1331-10_0_8_load_54 | 61 | 0.002903 | 0.00072756 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1331-10_0_8_load_55 | 62 | 0.0020331 | 0.00050955 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1331-10_0_8_load_56 | 63 | 0.0025367 | 0.00063575 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1331-10_0_8_load_58 | 65 | 0.00058642 | 0.00014697 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1331-10_0_8_load_59 | 66 | 0.00076055 | 0.00019061 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1331-10_0_8_load_66 | 68 | 0.00212 | 0.00053133 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1331-10_0_8_load_64 | 69 | 0.0037131 | 0.00093058 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1331-10_0_8_load_67 | 70 | 0.0038501 | 0.00096494 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1331-10_0_8_load_68 | 71 | 0.0054125 | 0.0013565 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1331-10_0_8_load_69 | 72 | 0.001206 | 0.00030226 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1331-10_0_8_load_85 | 73 | 0.0034231 | 0.00085792 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1331-10_0_8_load_84 | 74 | 0.0017784 | 0.00044571 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1331-10_0_8_load_86 | 75 | 0.000289 | 7.2431e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1331-10_0_8_load_77 | 77 | 0.000133 | 3.3334e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1331-10_0_8_load_81 | 78 | 0.00021066 | 5.2797e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1331-10_0_8_load_78 | 79 | 0.00020859 | 5.2279e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1331-10_0_8_load_79 | 80 | 0.00048233 | 0.00012088 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1331-10_0_8_line_0 |  | 0 | 1 | 0.031691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1331-10_0_8_line_1 |  | 0 | 2 | 0.023513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1331-10_0_8_line_2 |  | 2 | 3 | 0.040571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1331-10_0_8_line_3 |  | 3 | 4 | 0.028027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1331-10_0_8_line_4 |  | 3 | 5 | 0.17333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1331-10_0_8_line_5 |  | 5 | 9 | 0.039762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1331-10_0_8_line_6 |  | 5 | 7 | 0.038718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1331-10_0_8_line_7 |  | 6 | 7 | 0.011108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1331-10_0_8_line_8 |  | 6 | 8 | 0.081602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1331-10_0_8_line_9 |  | 8 | 10 | 0.074556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1331-10_0_8_line_10 |  | 9 | 14 | 0.1723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1331-10_0_8_line_11 |  | 10 | 11 | 0.15964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1331-10_0_8_line_12 |  | 11 | 15 | 0.0057719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1331-10_0_8_line_13 |  | 12 | 13 | 0.16075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1331-10_0_8_line_14 |  | 13 | 74 | 0.029143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1331-10_0_8_line_15 |  | 14 | 16 | 0.10466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1331-10_0_8_line_16 |  | 15 | 60 | 0.026159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1331-10_0_8_line_17 |  | 16 | 23 | 0.072407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1331-10_0_8_line_18 |  | 16 | 24 | 0.032084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1331-10_0_8_line_19 |  | 17 | 18 | 0.074833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1331-10_0_8_line_20 |  | 17 | 19 | 0.19005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1331-10_0_8_line_21 |  | 18 | 20 | 0.083902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1331-10_0_8_line_22 |  | 19 | 21 | 0.026679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1331-10_0_8_line_23 |  | 20 | 22 | 0.019157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1331-10_0_8_line_24 |  | 21 | 25 | 0.078083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1331-10_0_8_line_25 |  | 23 | 25 | 0.020234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1331-10_0_8_line_26 |  | 24 | 26 | 0.038032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1331-10_0_8_line_27 |  | 26 | 27 | 0.067011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1331-10_0_8_line_28 |  | 27 | 75 | 0.2166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1331-10_0_8_line_29 |  | 28 | 29 | 0.0065618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1331-10_0_8_line_30 |  | 29 | 30 | 0.054043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1331-10_0_8_line_31 |  | 30 | 31 | 0.069315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1331-10_0_8_line_32 |  | 30 | 32 | 0.021505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1331-10_0_8_line_33 |  | 32 | 33 | 0.02574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1331-10_0_8_line_34 |  | 33 | 34 | 0.008804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1331-10_0_8_line_35 |  | 33 | 35 | 0.040817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1331-10_0_8_line_36 |  | 34 | 36 | 0.022312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1331-10_0_8_line_37 |  | 35 | 37 | 0.032406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1331-10_0_8_line_38 |  | 36 | 38 | 0.0069959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1331-10_0_8_line_39 |  | 37 | 39 | 0.020781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1331-10_0_8_line_40 |  | 37 | 40 | 0.014616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1331-10_0_8_line_41 |  | 38 | 41 | 0.02758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1331-10_0_8_line_42 |  | 38 | 42 | 0.026471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1331-10_0_8_line_43 |  | 39 | 43 | 0.038129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1331-10_0_8_line_44 |  | 40 | 44 | 0.021312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1331-10_0_8_line_45 |  | 41 | 58 | 0.022413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1331-10_0_8_line_46 |  | 42 | 57 | 0.02178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1331-10_0_8_line_47 |  | 42 | 56 | 0.019508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1331-10_0_8_line_48 |  | 44 | 45 | 0.021841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_1331-10_0_8_line_49 |  | 44 | 46 | 0.019673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1331-10_0_8_line_50 |  | 45 | 47 | 0.018157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1331-10_0_8_line_51 |  | 45 | 48 | 0.019522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1331-10_0_8_line_52 |  | 46 | 49 | 0.014186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1331-10_0_8_line_53 |  | 47 | 50 | 2.1331e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1331-10_0_8_line_54 |  | 48 | 51 | 0.020581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1331-10_0_8_line_55 |  | 49 | 52 | 0.0218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1331-10_0_8_line_56 |  | 50 | 53 | 0.040884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1331-10_0_8_line_57 |  | 51 | 54 | 0.011932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1331-10_0_8_line_58 |  | 52 | 55 | 0.021225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1331-10_0_8_line_59 |  | 53 | 61 | 0.032989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_1331-10_0_8_line_60 |  | 54 | 69 | 0.0076781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1331-10_0_8_line_61 |  | 58 | 59 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_1331-10_0_8_line_62 |  | 59 | 60 | 0.0055475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_1331-10_0_8_line_63 |  | 61 | 62 | 0.040604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_1331-10_0_8_line_64 |  | 62 | 63 | 0.025406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_1331-10_0_8_line_65 |  | 63 | 64 | 0.01819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_1331-10_0_8_line_66 |  | 64 | 65 | 0.0090387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_1331-10_0_8_line_67 |  | 65 | 66 | 0.013387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_1331-10_0_8_line_68 |  | 66 | 67 | 0.019213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_1331-10_0_8_line_69 |  | 67 | 68 | 0.047561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_1331-10_0_8_line_70 |  | 68 | 72 | 0.022687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_1331-10_0_8_line_71 |  | 69 | 70 | 0.0084223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1331-10_0_8_line_72 |  | 70 | 71 | 0.012836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1331-10_0_8_line_73 |  | 72 | 73 | 0.0098798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_1331-10_0_8_line_74 |  | 73 | 74 | 0.01231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_1331-10_0_8_line_75 |  | 75 | 76 | 0.079382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1331-10_0_8_line_76 |  | 76 | 77 | 0.041079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1331-10_0_8_line_77 |  | 77 | 78 | 0.29925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1331-10_0_8_line_78 |  | 78 | 80 | 0.097072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1331-10_0_8_line_79 |  | 79 | 80 | 0.00082793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1331-10_0_8_trafo_6 | 0.63 MVA 20/0.4 kV | 81 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2674270.7866 | 1213632.7175 | 2674296.1615 | 1213651.703
1 | 2674270.7866 | 1213632.7175 | 2674251.9601 | 1213618.6315
2 | 2674226.7499 | 1213649.5597 | 2674244.3216 | 1213623.2283 | 2674251.9601 | 1213618.6315
3 | 2674226.7499 | 1213649.5597 | 2674249.273 | 1213666.2402
4 | 2674226.7499 | 1213649.5597 | 2674054.258 | 1213632.5381
5 | 2674017.2984 | 1213626.0641 | 2674029.0258 | 1213633.5255 | 2674039.1807 | 1213636.0865 | 2674054.258 | 1213632.5381
6 | 2674054.258 | 1213632.5381 | 2674046.1111 | 1213603.474 | 2674047.2417 | 1213595.016
7 | 2674053.3648 | 1213585.7485 | 2674047.2417 | 1213595.016
8 | 2674050.7198 | 1213519.8891 | 2674042.5243 | 1213535.0859 | 2674037.8084 | 1213544.7447 | 2674037.5599 | 1213552.5243 | 2674041.1632 | 1213559.0398 | 2674060.7283 | 1213574.6038 | 2674053.3648 | 1213585.7485
9 | 2673989.0098 | 1213477.93 | 2674026.0219 | 1213501.0484 | 2674050.7198 | 1213519.8891
10 | 2673982.6001 | 1213794.8299 | 2674017.2984 | 1213626.0641
11 | 2673839.5036 | 1213421.964 | 2673989.0098 | 1213477.93
12 | 2673839.5036 | 1213421.964 | 2673834.6925 | 1213418.7752
13 | 2674044.9744 | 1213176.366 | 2674097.9532 | 1213328.1315
14 | 2674044.9744 | 1213176.366 | 2674039.6509 | 1213178.0455 | 2674029.4485 | 1213178.6303 | 2674019.7012 | 1213181.1109 | 2674016.6886 | 1213182.4174
15 | 2673982.6001 | 1213794.8299 | 2674018.7787 | 1213867.7808 | 2674028.2986 | 1213889.0236
16 | 2673811.5389 | 1213406.7045 | 2673829.196 | 1213415.132 | 2673834.6925 | 1213418.7752
17 | 2674028.2986 | 1213889.0236 | 2674023.9872 | 1213893.6619 | 2674007.5579 | 1213912.5478 | 2673998.999 | 1213918.5232 | 2673988.6866 | 1213920.1185 | 2673976.0066 | 1213918.4602 | 2673969.0345 | 1213916.0383
18 | 2674028.2986 | 1213889.0236 | 2674047.5465 | 1213914.6926
19 | 2673762.4188 | 1213710.4287 | 2673749.7951 | 1213706.8352 | 2673715.2443 | 1213699.7036 | 2673701.0994 | 1213698.528 | 2673688.906 | 1213697.5225
20 | 2673852.2967 | 1213877.8829 | 2673762.4188 | 1213710.4287
21 | 2673688.906 | 1213697.5225 | 2673680.6406 | 1213696.8409 | 2673670.258 | 1213696.101 | 2673665.1417 | 1213698.2726 | 2673662.5655 | 1213708.803 | 2673671.8761 | 1213746.4975 | 2673669.5948 | 1213756.2068
22 | 2673877.225 | 1213881.176 | 2673872.2966 | 1213881.2066 | 2673867.3586 | 1213883.0911 | 2673862.3139 | 1213883.162 | 2673854.8182 | 1213879.9671 | 2673852.2967 | 1213877.8829
23 | 2673669.5948 | 1213756.2068 | 2673665.2131 | 1213774.8555
24 | 2673877.225 | 1213881.176 | 2673877.675 | 1213881.1732 | 2673889.8031 | 1213884.47 | 2673927.3203 | 1213899.1442 | 2673950.2129 | 1213908.6304
25 | 2673950.2129 | 1213908.6304 | 2673963.1942 | 1213914.0096 | 2673969.0345 | 1213916.0383
26 | 2674047.5465 | 1213914.6926 | 2674061.9685 | 1213933.9257 | 2674070.2492 | 1213945.2053
27 | 2674102.1082 | 1214003.3797 | 2674091.615 | 1213974.3086 | 2674070.2492 | 1213945.2053
28 | 2674102.1082 | 1214003.3797 | 2674037.9659 | 1214210.2594
29 | 2673692.1359 | 1213411.5571 | 2673685.6305 | 1213412.4154
30 | 2673671.751 | 1213382.2978 | 2673668.2924 | 1213388.6147 | 2673664.7372 | 1213397.2207 | 2673662.059 | 1213401.8572 | 2673690.9517 | 1213409.6413 | 2673692.1359 | 1213411.5571
31 | 2673671.751 | 1213382.2978 | 2673639.3756 | 1213363.097 | 2673633.7709 | 1213359.2698 | 2673629.2538 | 1213354.1108 | 2673620.5977 | 1213338.2938
32 | 2673671.751 | 1213382.2978 | 2673677.5723 | 1213377.1998 | 2673689.7086 | 1213370.7012
33 | 2673713.9871 | 1213362.1513 | 2673689.7086 | 1213370.7012
34 | 2673713.9871 | 1213362.1513 | 2673716.5417 | 1213370.5771
35 | 2673713.9871 | 1213362.1513 | 2673724.6776 | 1213355.2346 | 2673732.4558 | 1213346.0916 | 2673736.9413 | 1213335.3735 | 2673738.0101 | 1213331.042
36 | 2673716.5417 | 1213370.5771 | 2673737.1399 | 1213379.1522
37 | 2673749.8001 | 1213301.1886 | 2673742.0039 | 1213314.8564 | 2673738.0101 | 1213331.042
38 | 2673743.5986 | 1213381.8409 | 2673737.1399 | 1213379.1522
39 | 2673749.8001 | 1213301.1886 | 2673762.0016 | 1213309.7004 | 2673766.9536 | 1213312.9147
40 | 2673749.8001 | 1213301.1886 | 2673740.7489 | 1213293.4829 | 2673738.6821 | 1213291.7004
41 | 2673743.5986 | 1213381.8409 | 2673769.0583 | 1213392.4465
42 | 2673733.3979 | 1213406.2748 | 2673743.5986 | 1213381.8409
43 | 2673766.9536 | 1213312.9147 | 2673798.936 | 1213333.6737
44 | 2673722.5436 | 1213277.7812 | 2673738.6821 | 1213291.7004
45 | 2673790.3106 | 1213396.5724 | 2673781.9162 | 1213397.8027 | 2673769.0583 | 1213392.4465
46 | 2673733.3979 | 1213406.2748 | 2673753.4489 | 1213414.779
47 | 2673733.3979 | 1213406.2748 | 2673715.4371 | 1213398.6606
48 | 2673722.5436 | 1213277.7812 | 2673730.695 | 1213257.5135
49 | 2673708.0159 | 1213264.471 | 2673722.5436 | 1213277.7812
50 | 2673730.695 | 1213257.5135 | 2673747.6532 | 1213264.0003
51 | 2673730.695 | 1213257.5135 | 2673731.3856 | 1213251.4293 | 2673728.8973 | 1213238.2638
52 | 2673708.0159 | 1213264.471 | 2673697.5214 | 1213274.0167
53 | 2673747.6732 | 1213264.008 | 2673747.6532 | 1213264.0003
54 | 2673725.0753 | 1213218.0412 | 2673728.8973 | 1213238.2638
55 | 2673681.3949 | 1213288.6853 | 2673697.5214 | 1213274.0167
56 | 2673747.6732 | 1213264.008 | 2673762.5346 | 1213269.6927 | 2673770.0898 | 1213268.7633 | 2673785.3698 | 1213260.5241
57 | 2673725.0753 | 1213218.0412 | 2673736.8186 | 1213215.9306
58 | 2673665.6939 | 1213302.9668 | 2673681.3949 | 1213288.6853
59 | 2673785.3698 | 1213260.5241 | 2673814.4063 | 1213244.8672
60 | 2673736.8186 | 1213215.9306 | 2673744.3757 | 1213214.5723
61 | 2673790.3106 | 1213396.5724 | 2673806.5324 | 1213404.3149
62 | 2673806.5324 | 1213404.3149 | 2673811.5389 | 1213406.7045
63 | 2673854.1706 | 1213242.7965 | 2673844.4152 | 1213241.3322 | 2673827.5422 | 1213240.7452 | 2673817.5986 | 1213243.1459 | 2673814.4063 | 1213244.8672
64 | 2673879.4391 | 1213244.7903 | 2673866.3749 | 1213244.6284 | 2673854.1706 | 1213242.7965
65 | 2673897.4951 | 1213243.124 | 2673886.0934 | 1213244.8728 | 2673879.4391 | 1213244.7903
66 | 2673897.4951 | 1213243.124 | 2673905.9322 | 1213239.8813
67 | 2673905.9322 | 1213239.8813 | 2673913.6929 | 1213236.8985 | 2673918.0055 | 1213234.228
68 | 2673934.3403 | 1213224.113 | 2673918.0055 | 1213234.228
69 | 2673934.3403 | 1213224.113 | 2673951.9736 | 1213213.0134 | 2673960.3137 | 1213209.4479 | 2673976.1821 | 1213201.7085
70 | 2673976.1821 | 1213201.7085 | 2673985.8343 | 1213197.0009 | 2673996.5413 | 1213191.6992
71 | 2673752.6652 | 1213213.0824 | 2673744.3757 | 1213214.5723
72 | 2673765.2992 | 1213210.8117 | 2673752.6652 | 1213213.0824
73 | 2674005.3951 | 1213187.3151 | 2674005.3951 | 1213187.3151 | 2673996.5413 | 1213191.6992
74 | 2674005.3951 | 1213187.3151 | 2674016.6886 | 1213182.4174
75 | 2674024.1963 | 1214288.4383 | 2674037.9659 | 1214210.2594
76 | 2674024.1963 | 1214288.4383 | 2674014.5434 | 1214291.4093 | 2673987.9838 | 1214307.3567
77 | 2673987.9838 | 1214307.3567 | 2673886.1337 | 1214588.7384
78 | 2673791.5875 | 1214610.739 | 2673886.1337 | 1214588.7384
79 | 2673791.5875 | 1214610.739 | 2673791.3403 | 1214609.9489

## bus_geodata
| x | y | coords
0 | 2674270.7866 | 1213632.7175
1 | 2674296.1615 | 1213651.703
2 | 2674251.9601 | 1213618.6315
3 | 2674226.7499 | 1213649.5597
4 | 2674249.273 | 1213666.2402
5 | 2674054.258 | 1213632.5381
6 | 2674053.3648 | 1213585.7485
7 | 2674047.2417 | 1213595.016
8 | 2674050.7198 | 1213519.8891
9 | 2674017.2984 | 1213626.0641
10 | 2673989.0098 | 1213477.93
11 | 2673839.5036 | 1213421.964
12 | 2674097.9532 | 1213328.1315
13 | 2674044.9744 | 1213176.366
14 | 2673982.6001 | 1213794.8299
15 | 2673834.6925 | 1213418.7752
16 | 2674028.2986 | 1213889.0236
17 | 2673762.4188 | 1213710.4287
18 | 2673688.906 | 1213697.5225
19 | 2673852.2967 | 1213877.8829
20 | 2673669.5948 | 1213756.2068
21 | 2673877.225 | 1213881.176
22 | 2673665.2131 | 1213774.8555
23 | 2673969.0345 | 1213916.0383
24 | 2674047.5465 | 1213914.6926
25 | 2673950.2129 | 1213908.6304
26 | 2674070.2492 | 1213945.2053
27 | 2674102.1082 | 1214003.3797
28 | 2673685.6305 | 1213412.4154
29 | 2673692.1359 | 1213411.5571
30 | 2673671.751 | 1213382.2978
31 | 2673620.5977 | 1213338.2938
32 | 2673689.7086 | 1213370.7012
33 | 2673713.9871 | 1213362.1513
34 | 2673716.5417 | 1213370.5771
35 | 2673738.0101 | 1213331.042
36 | 2673737.1399 | 1213379.1522
37 | 2673749.8001 | 1213301.1886
38 | 2673743.5986 | 1213381.8409
39 | 2673766.9536 | 1213312.9147
40 | 2673738.6821 | 1213291.7004
41 | 2673769.0583 | 1213392.4465
42 | 2673733.3979 | 1213406.2748
43 | 2673798.936 | 1213333.6737
44 | 2673722.5436 | 1213277.7812
45 | 2673730.695 | 1213257.5135
46 | 2673708.0159 | 1213264.471
47 | 2673747.6532 | 1213264.0003
48 | 2673728.8973 | 1213238.2638
49 | 2673697.5214 | 1213274.0167
50 | 2673747.6731 | 1213264.008
51 | 2673725.0753 | 1213218.0412
52 | 2673681.3949 | 1213288.6853
53 | 2673785.3698 | 1213260.5241
54 | 2673736.8186 | 1213215.9306
55 | 2673665.6939 | 1213302.9668
56 | 2673715.4371 | 1213398.6606
57 | 2673753.4489 | 1213414.779
58 | 2673790.3106 | 1213396.5724
59 | 2673806.5324 | 1213404.3149
60 | 2673811.5389 | 1213406.7045
61 | 2673814.4063 | 1213244.8672
62 | 2673854.1706 | 1213242.7965
63 | 2673879.4391 | 1213244.7903
64 | 2673897.4951 | 1213243.124
65 | 2673905.9322 | 1213239.8813
66 | 2673918.0055 | 1213234.228
67 | 2673934.3403 | 1213224.113
68 | 2673976.1821 | 1213201.7085
69 | 2673744.3757 | 1213214.5723
70 | 2673752.6652 | 1213213.0824
71 | 2673765.2992 | 1213210.8117
72 | 2673996.5413 | 1213191.6992
73 | 2674005.3951 | 1213187.3151
74 | 2674016.6886 | 1213182.4174
75 | 2674037.9659 | 1214210.2594
76 | 2674024.1963 | 1214288.4383
77 | 2673987.9838 | 1214307.3567
78 | 2673886.1337 | 1214588.7384
79 | 2673791.3403 | 1214609.9489
80 | 2673791.5875 | 1214610.739
81 | 2674054.258 | 1213632.5381

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97281 | -0.52322 | 0.084701 | 0.021228
1 | 0.97262 | -0.52686 | 0.0062267 | 0.0015606
2 | 0.9748 | -0.48392 | 0.028838 | 0.0072275
3 | 0.97933 | -0.39521 | 0 | 0
4 | 0.97697 | -0.44137 | 0.090402 | 0.022657
5 | 0.99629 | -0.069821 | 0 | 0
6 | 1 | 0 | -0.56899 | -0.14681
7 | 0.99916 | -0.015768 | 0.0065776 | 0.0016485
8 | 0.99564 | -0.082118 | 0 | 0
9 | 0.99529 | -0.088823 | 0.015034 | 0.0037678
10 | 0.99165 | -0.15777 | 0 | 0
11 | 0.98312 | -0.32182 | 0.0046169 | 0.0011571
12 | 0.97067 | -0.56597 | 0.012769 | 0.0032003
13 | 0.97163 | -0.547 | 0.0039234 | 0.0009833
14 | 0.99154 | -0.16011 | 0 | 0
15 | 0.98282 | -0.32768 | 0.0082175 | 0.0020595
16 | 0.98245 | -0.33555 | 0 | 0
17 | 0.97288 | -0.52277 | 0.0013332 | 0.00033412
18 | 0.97164 | -0.54731 | 0.0031166 | 0.00078109
19 | 0.97628 | -0.45608 | 0.0043691 | 0.001095
20 | 0.97049 | -0.57006 | 0.0032566 | 0.00081619
21 | 0.97686 | -0.44462 | 0.00084938 | 0.00021287
22 | 0.97029 | -0.5741 | 0.011408 | 0.0028591
23 | 0.97922 | -0.39851 | 0.01686 | 0.0042255
24 | 0.9811 | -0.36206 | 0.041986 | 0.010523
25 | 0.97864 | -0.40996 | 0.0067824 | 0.0016998
26 | 0.98097 | -0.36461 | 0.00084535 | 0.00021186
27 | 0.98079 | -0.36808 | 0.0015106 | 0.00037859
28 | 0.97668 | -0.44743 | 0.00095004 | 0.0002381
29 | 0.97669 | -0.44732 | 0 | 0
30 | 0.97674 | -0.44638 | 0 | 0
31 | 0.97649 | -0.45122 | 0.0038237 | 0.00095832
32 | 0.97683 | -0.4445 | 0.0039495 | 0.00098983
33 | 0.97704 | -0.4404 | 0 | 0
34 | 0.97732 | -0.43503 | 0 | 0
35 | 0.97586 | -0.46368 | 0.0073272 | 0.0018364
36 | 0.97801 | -0.42145 | 0.015203 | 0.0038103
37 | 0.97497 | -0.48112 | 0 | 0
38 | 0.97825 | -0.4167 | 0 | 0
39 | 0.97448 | -0.49084 | 0.0066972 | 0.0016785
40 | 0.97466 | -0.48729 | 0.0083614 | 0.0020956
41 | 0.9794 | -0.39415 | 0.015203 | 0.0038101
42 | 0.97749 | -0.43168 | 0 | 0
43 | 0.97381 | -0.50399 | 0.018783 | 0.0047074
44 | 0.97424 | -0.49547 | 0.0026584 | 0.00066627
45 | 0.9739 | -0.50228 | 0 | 0
46 | 0.974 | -0.50021 | 0 | 0
47 | 0.97369 | -0.50627 | 0.0060847 | 0.001525
48 | 0.97353 | -0.50944 | 0.0033181 | 0.0008316
49 | 0.97383 | -0.50363 | 0.0042445 | 0.0010638
50 | 0.97369 | -0.50628 | 0.0051943 | 0.0013018
51 | 0.97321 | -0.51574 | 0 | 0
52 | 0.97365 | -0.50719 | 0.0051433 | 0.001289
53 | 0.97334 | -0.51316 | 0.0025415 | 0.00063697
54 | 0.97303 | -0.51939 | 0.0036578 | 0.00091673
55 | 0.97357 | -0.50864 | 0.003731 | 0.00093507
56 | 0.977 | -0.44136 | 0.027185 | 0.0068133
57 | 0.97741 | -0.43321 | 0.0038504 | 0.00096499
58 | 0.98042 | -0.37432 | 0 | 0
59 | 0.98124 | -0.35844 | 0.0083879 | 0.0021022
60 | 0.9815 | -0.35333 | 0.013656 | 0.0034225
61 | 0.97308 | -0.51834 | 0.002903 | 0.00072756
62 | 0.97279 | -0.52416 | 0.0020331 | 0.00050955
63 | 0.97261 | -0.52757 | 0.0025367 | 0.00063575
64 | 0.9725 | -0.5298 | 0 | 0
65 | 0.97245 | -0.53091 | 0.00058642 | 0.00014697
66 | 0.97236 | -0.53251 | 0.00076055 | 0.00019061
67 | 0.97225 | -0.53475 | 0 | 0
68 | 0.97197 | -0.54029 | 0.00212 | 0.00053133
69 | 0.97294 | -0.52122 | 0.0037131 | 0.00093058
70 | 0.97286 | -0.52266 | 0.0038501 | 0.00096494
71 | 0.9728 | -0.52394 | 0.0054125 | 0.0013565
72 | 0.97185 | -0.54271 | 0.001206 | 0.00030226
73 | 0.9718 | -0.5437 | 0.0034231 | 0.00085792
74 | 0.97175 | -0.54475 | 0.0017784 | 0.00044571
75 | 0.98053 | -0.37336 | 0.000289 | 7.2431e-05
76 | 0.98045 | -0.37487 | 0 | 0
77 | 0.98042 | -0.37565 | 0.000133 | 3.3334e-05
78 | 0.98017 | -0.38059 | 0.00021066 | 5.2797e-05
79 | 0.9801 | -0.38181 | 0.00020859 | 5.2279e-05
80 | 0.9801 | -0.38181 | 0.00048233 | 0.00012088
81 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0062278 | 0.0015609 | -0.0062267 | -0.0015606 | 1.0785e-06 | 2.9683e-07 | 0.0095261 | 0.0095263 | 0.0095263 | 0.97281 | -0.52322 | 0.97262 | -0.52686 | 2.6171
1 | -0.090929 | -0.022789 | 0.0911 | 0.022898 | 0.00017057 | 0.00010887 | 0.13909 | 0.13909 | 0.13909 | 0.97281 | -0.52322 | 0.9748 | -0.48392 | 38.2105
2 | -0.11994 | -0.030125 | 0.12045 | 0.030451 | 0.0005101 | 0.00032596 | 0.18311 | 0.18311 | 0.18311 | 0.9748 | -0.48392 | 0.97933 | -0.39521 | 50.3041
3 | 0.090602 | 0.022784 | -0.090402 | -0.022657 | 0.00019926 | 0.00012718 | 0.13769 | 0.13769 | 0.13769 | 0.97933 | -0.39521 | 0.97697 | -0.44137 | 37.8271
4 | -0.21105 | -0.053235 | 0.21439 | 0.055372 | 0.0033445 | 0.0021361 | 0.3208 | 0.3208 | 0.3208 | 0.97933 | -0.39521 | 0.99629 | -0.069821 | 44.0655
5 | 0.11028 | 0.028231 | -0.11017 | -0.028168 | 0.00010138 | 6.2815e-05 | 0.16491 | 0.16492 | 0.16492 | 0.99629 | -0.069821 | 0.99529 | -0.088823 | 11.3266
6 | -0.32467 | -0.083602 | 0.32553 | 0.084148 | 0.00085631 | 0.00054602 | 0.48571 | 0.48571 | 0.48571 | 0.99629 | -0.069821 | 0.99916 | -0.015768 | 33.3592
7 | 0.33236 | 0.08596 | -0.3321 | -0.085797 | 0.00025568 | 0.00016305 | 0.4955 | 0.4955 | 0.4955 | 1 | 0 | 0.99916 | -0.015768 | 34.0319
8 | 0.23498 | 0.060854 | -0.23404 | -0.060257 | 0.00093907 | 0.00059674 | 0.35036 | 0.35036 | 0.35036 | 1 | 0 | 0.99564 | -0.082118 | 24.0632
9 | 0.23404 | 0.060257 | -0.23319 | -0.059712 | 0.000858 | 0.00054526 | 0.35036 | 0.35036 | 0.35036 | 0.99564 | -0.082118 | 0.99165 | -0.15777 | 24.0633
10 | 0.095141 | 0.0244 | -0.094813 | -0.024199 | 0.00032773 | 0.00020082 | 0.14244 | 0.14244 | 0.14244 | 0.99529 | -0.088823 | 0.99154 | -0.16011 | 9.7831
11 | 0.23319 | 0.059712 | -0.23135 | -0.058544 | 0.0018372 | 0.0011676 | 0.35036 | 0.35036 | 0.35036 | 0.99165 | -0.15777 | 0.98312 | -0.32182 | 24.0635
12 | 0.22673 | 0.057387 | -0.22667 | -0.057347 | 6.3802e-05 | 4.0541e-05 | 0.34338 | 0.34338 | 0.34338 | 0.98312 | -0.32182 | 0.98282 | -0.32768 | 23.5836
13 | -0.012769 | -0.0032003 | 0.012781 | 0.0032037 | 1.1548e-05 | 3.413e-06 | 0.019575 | 0.019574 | 0.019575 | 0.97067 | -0.56597 | 0.97163 | -0.547 | 2.6889
14 | -0.016704 | -0.004187 | 0.016706 | 0.0041867 | 1.788e-06 | -2.9964e-07 | 0.025582 | 0.025582 | 0.025582 | 0.97163 | -0.547 | 0.97175 | -0.54475 | 1.757
15 | 0.094813 | 0.024199 | -0.094017 | -0.023691 | 0.00079635 | 0.00050833 | 0.14244 | 0.14244 | 0.14244 | 0.99154 | -0.16011 | 0.98245 | -0.33555 | 39.1327
16 | 0.21845 | 0.055287 | -0.21818 | -0.055117 | 0.00026859 | 0.00017057 | 0.33094 | 0.33094 | 0.33094 | 0.98282 | -0.32768 | 0.9815 | -0.35333 | 22.7291
17 | 0.048292 | 0.012219 | -0.048146 | -0.012127 | 0.00014543 | 9.2159e-05 | 0.073184 | 0.073184 | 0.073184 | 0.98245 | -0.33555 | 0.97922 | -0.39851 | 20.1055
18 | 0.045725 | 0.011472 | -0.045667 | -0.011435 | 5.7713e-05 | 3.6531e-05 | 0.069259 | 0.069259 | 0.069259 | 0.98245 | -0.33555 | 0.9811 | -0.36206 | 19.0273
19 | 0.01782 | 0.0044791 | -0.017799 | -0.0044667 | 2.0854e-05 | 1.2419e-05 | 0.027261 | 0.027261 | 0.027261 | 0.97288 | -0.52277 | 0.97164 | -0.54731 | 7.4893
20 | -0.019153 | -0.0048133 | 0.019215 | 0.00485 | 6.118e-05 | 3.6787e-05 | 0.0293 | 0.029299 | 0.0293 | 0.97288 | -0.52277 | 0.97628 | -0.45608 | 8.0493
21 | 0.014683 | 0.0036856 | -0.014667 | -0.0036765 | 1.5912e-05 | 9.1455e-06 | 0.022488 | 0.022488 | 0.022488 | 0.97164 | -0.54731 | 0.97049 | -0.57006 | 6.1781
22 | -0.023584 | -0.005945 | 0.023597 | 0.005953 | 1.2935e-05 | 7.9449e-06 | 0.035958 | 0.035958 | 0.035958 | 0.97628 | -0.45608 | 0.97686 | -0.44462 | 9.8786
23 | 0.01141 | 0.0028603 | -0.011408 | -0.0028591 | 2.1988e-06 | 1.1706e-06 | 0.017495 | 0.017495 | 0.017495 | 0.97049 | -0.57006 | 0.97029 | -0.5741 | 4.8064
24 | -0.024446 | -0.0061659 | 0.024487 | 0.0061909 | 4.0633e-05 | 2.5026e-05 | 0.037252 | 0.037251 | 0.037252 | 0.97686 | -0.44462 | 0.97864 | -0.40996 | 10.234
25 | 0.031286 | 0.0079015 | -0.031269 | -0.0078907 | 1.7166e-05 | 1.0732e-05 | 0.047564 | 0.047564 | 0.047564 | 0.97922 | -0.39851 | 0.97864 | -0.40996 | 13.067
26 | 0.0036811 | 0.00091261 | -0.0036807 | -0.00091281 | 4.4401e-07 | -1.9604e-07 | 0.0055795 | 0.0055797 | 0.0055797 | 0.9811 | -0.36206 | 0.98097 | -0.36461 | 1.5329
27 | 0.0028353 | 0.00070094 | -0.0028349 | -0.00070149 | 4.6411e-07 | -5.4881e-07 | 0.0042974 | 0.0042977 | 0.0042977 | 0.98097 | -0.36461 | 0.98079 | -0.36808 | 1.1807
28 | 0.0013243 | 0.00032291 | -0.001324 | -0.00032543 | 3.2699e-07 | -2.5235e-06 | 0.002006 | 0.0020069 | 0.0020069 | 0.98079 | -0.36808 | 0.98053 | -0.37336 | 0.55135
29 | -0.00095004 | -0.0002381 | 0.00095005 | 0.00023802 | 5.1551e-09 | -7.882e-08 | 0.0014474 | 0.0014474 | 0.0014474 | 0.97668 | -0.44743 | 0.97669 | -0.44732 | 0.39764
30 | -0.00095005 | -0.00023802 | 0.00095009 | 0.00023737 | 4.2449e-08 | -6.492e-07 | 0.0014474 | 0.0014472 | 0.0014474 | 0.97669 | -0.44732 | 0.97674 | -0.44638 | 0.39764
31 | 0.0038246 | 0.00095802 | -0.0038237 | -0.00095832 | 8.8246e-07 | -3.0256e-07 | 0.0058265 | 0.0058268 | 0.0058268 | 0.97674 | -0.44638 | 0.97649 | -0.45122 | 1.6008
32 | -0.0047747 | -0.0011954 | 0.0047751 | 0.0011954 | 4.2664e-07 | 3.8676e-09 | 0.0072736 | 0.0072735 | 0.0072736 | 0.97674 | -0.44638 | 0.97683 | -0.4445 | 1.9982
33 | -0.0087246 | -0.0021852 | 0.0087263 | 0.002186 | 1.7048e-06 | 7.6876e-07 | 0.01329 | 0.01329 | 0.01329 | 0.97683 | -0.4445 | 0.97704 | -0.4404 | 3.651
34 | -0.13393 | -0.033707 | 0.13396 | 0.033728 | 3.4355e-05 | 2.1546e-05 | 0.20402 | 0.20402 | 0.20402 | 0.97704 | -0.4404 | 0.97732 | -0.43503 | 14.0123
35 | 0.1252 | 0.031521 | -0.12506 | -0.031434 | 0.0001392 | 8.7049e-05 | 0.19073 | 0.19073 | 0.19073 | 0.97704 | -0.4404 | 0.97586 | -0.46368 | 13.0996
36 | -0.13396 | -0.033728 | 0.13405 | 0.033783 | 8.7066e-05 | 5.4603e-05 | 0.20402 | 0.20402 | 0.20402 | 0.97732 | -0.43503 | 0.97801 | -0.42145 | 14.0123
37 | 0.11773 | 0.029597 | -0.11764 | -0.029536 | 9.7951e-05 | 6.107e-05 | 0.17956 | 0.17956 | 0.17956 | 0.97586 | -0.46368 | 0.97497 | -0.48112 | 12.3323
38 | -0.14925 | -0.037593 | 0.14929 | 0.037614 | 3.3841e-05 | 2.1307e-05 | 0.22715 | 0.22715 | 0.22715 | 0.97801 | -0.42145 | 0.97825 | -0.4167 | 15.601
39 | 0.025504 | 0.0064003 | -0.025492 | -0.006393 | 1.1809e-05 | 7.2986e-06 | 0.038927 | 0.038927 | 0.038927 | 0.97497 | -0.48112 | 0.97448 | -0.49084 | 10.6943
40 | 0.092133 | 0.023136 | -0.092106 | -0.023119 | 2.71e-05 | 1.6615e-05 | 0.14063 | 0.14063 | 0.14063 | 0.97497 | -0.48112 | 0.97466 | -0.48729 | 9.6588
41 | -0.18036 | -0.045414 | 0.18055 | 0.045537 | 0.00019471 | 0.00012323 | 0.27442 | 0.27442 | 0.27442 | 0.97825 | -0.4167 | 0.9794 | -0.39415 | 18.8473
42 | 0.031071 | 0.0077998 | -0.031048 | -0.0077859 | 2.2177e-05 | 1.3861e-05 | 0.047266 | 0.047266 | 0.047266 | 0.97825 | -0.4167 | 0.97749 | -0.43168 | 12.9852
43 | 0.018795 | 0.0047145 | -0.018783 | -0.0047074 | 1.1778e-05 | 7.0633e-06 | 0.028701 | 0.028701 | 0.028701 | 0.97448 | -0.49084 | 0.97381 | -0.50399 | 7.8849
44 | 0.083744 | 0.021024 | -0.083712 | -0.021004 | 3.2667e-05 | 1.9845e-05 | 0.12787 | 0.12787 | 0.12787 | 0.97466 | -0.48729 | 0.97424 | -0.49547 | 8.782
45 | -0.19575 | -0.049348 | 0.19594 | 0.049465 | 0.00018599 | 0.0001179 | 0.29751 | 0.29751 | 0.29751 | 0.9794 | -0.39415 | 0.98042 | -0.37432 | 20.4336
46 | 0.0038506 | 0.0009649 | -0.0038504 | -0.00096499 | 2.8064e-07 | -9.3388e-08 | 0.0058617 | 0.0058618 | 0.0058618 | 0.97749 | -0.43168 | 0.97741 | -0.43321 | 1.6104
47 | 0.027198 | 0.006821 | -0.027185 | -0.0068133 | 1.2541e-05 | 7.782e-06 | 0.041404 | 0.041405 | 0.041405 | 0.97749 | -0.43168 | 0.977 | -0.44136 | 11.3749
48 | 0.067928 | 0.017046 | -0.067906 | -0.017033 | 2.2044e-05 | 1.3021e-05 | 0.10376 | 0.10376 | 0.10376 | 0.97424 | -0.49547 | 0.9739 | -0.50228 | 7.1263
49 | 0.013126 | 0.0032913 | -0.013123 | -0.0032897 | 2.9652e-06 | 1.6528e-06 | 0.020048 | 0.020048 | 0.020048 | 0.97424 | -0.49547 | 0.974 | -0.50021 | 5.5078
50 | 0.047937 | 0.012023 | -0.047928 | -0.012018 | 9.1323e-06 | 4.9412e-06 | 0.073247 | 0.073247 | 0.073247 | 0.9739 | -0.50228 | 0.97369 | -0.50627 | 5.0307
51 | 0.019968 | 0.0050101 | -0.019962 | -0.005006 | 6.8154e-06 | 4.119e-06 | 0.030512 | 0.030512 | 0.030512 | 0.9739 | -0.50228 | 0.97353 | -0.50944 | 8.3824
52 | 0.013123 | 0.0032897 | -0.013121 | -0.0032885 | 2.1383e-06 | 1.192e-06 | 0.020048 | 0.020048 | 0.020048 | 0.974 | -0.50021 | 0.97383 | -0.50363 | 5.5078
53 | 0.041843 | 0.010493 | -0.041843 | -0.010493 | 8.197e-09 | 4.1852e-09 | 0.063948 | 0.063948 | 0.063948 | 0.97369 | -0.50627 | 0.97369 | -0.50628 | 4.392
54 | 0.016643 | 0.0041744 | -0.016638 | -0.0041714 | 4.9949e-06 | 2.9409e-06 | 0.02544 | 0.02544 | 0.02544 | 0.97353 | -0.50944 | 0.97321 | -0.51574 | 6.9891
55 | 0.008876 | 0.0022247 | -0.0088745 | -0.002224 | 1.5038e-06 | 6.9123e-07 | 0.013563 | 0.013563 | 0.013563 | 0.97383 | -0.50363 | 0.97365 | -0.50719 | 3.726
56 | 0.036649 | 0.0091914 | -0.036637 | -0.0091857 | 1.2024e-05 | 5.6622e-06 | 0.05601 | 0.056011 | 0.056011 | 0.97369 | -0.50628 | 0.97334 | -0.51316 | 3.8469
57 | 0.016638 | 0.0041714 | -0.016636 | -0.0041697 | 2.8958e-06 | 1.7051e-06 | 0.02544 | 0.02544 | 0.02544 | 0.97321 | -0.51574 | 0.97303 | -0.51939 | 6.9891
58 | 0.0037312 | 0.00093497 | -0.003731 | -0.00093507 | 2.5881e-07 | -9.831e-08 | 0.0057023 | 0.0057024 | 0.0057024 | 0.97365 | -0.50719 | 0.97357 | -0.50864 | 1.5666
59 | 0.034095 | 0.0085488 | -0.034087 | -0.008545 | 8.4031e-06 | 3.7383e-06 | 0.052125 | 0.052126 | 0.052126 | 0.97334 | -0.51316 | 0.97308 | -0.51834 | 3.5801
60 | 0.012978 | 0.003253 | -0.012977 | -0.0032524 | 1.1341e-06 | 6.3047e-07 | 0.019847 | 0.019847 | 0.019847 | 0.97303 | -0.51939 | 0.97294 | -0.52122 | 5.4524
61 | -0.19594 | -0.049465 | 0.19609 | 0.04956 | 0.00014916 | 9.4554e-05 | 0.29751 | 0.29751 | 0.29751 | 0.98042 | -0.37432 | 0.98124 | -0.35844 | 20.4336
62 | -0.20448 | -0.051662 | 0.20453 | 0.051694 | 5.0055e-05 | 3.1755e-05 | 0.31023 | 0.31023 | 0.31023 | 0.98124 | -0.35844 | 0.9815 | -0.35333 | 21.3072
63 | 0.031184 | 0.0078175 | -0.031175 | -0.007814 | 8.6565e-06 | 3.5231e-06 | 0.047687 | 0.047687 | 0.047687 | 0.97308 | -0.51834 | 0.97279 | -0.52416 | 3.2752
64 | 0.029142 | 0.0073044 | -0.029138 | -0.0073026 | 4.7331e-06 | 1.7677e-06 | 0.044577 | 0.044578 | 0.044578 | 0.97279 | -0.52416 | 0.97261 | -0.52757 | 3.0617
65 | 0.026601 | 0.0066669 | -0.026598 | -0.006666 | 2.8244e-06 | 9.0475e-07 | 0.040697 | 0.040697 | 0.040697 | 0.97261 | -0.52757 | 0.9725 | -0.5298 | 2.7951
66 | 0.026598 | 0.006666 | -0.026597 | -0.0066655 | 1.4035e-06 | 4.4967e-07 | 0.040697 | 0.040698 | 0.040698 | 0.9725 | -0.5298 | 0.97245 | -0.53091 | 2.7952
67 | 0.02601 | 0.0065186 | -0.026008 | -0.006518 | 1.988e-06 | 6.0806e-07 | 0.0398 | 0.0398 | 0.0398 | 0.97245 | -0.53091 | 0.97236 | -0.53251 | 2.7335
68 | 0.025248 | 0.0063273 | -0.025245 | -0.0063266 | 2.6889e-06 | 7.6769e-07 | 0.038637 | 0.038637 | 0.038637 | 0.97236 | -0.53251 | 0.97225 | -0.53475 | 2.6536
69 | 0.025245 | 0.0063266 | -0.025238 | -0.0063247 | 6.6564e-06 | 1.9015e-06 | 0.038637 | 0.038638 | 0.038638 | 0.97225 | -0.53475 | 0.97197 | -0.54029 | 2.6537
70 | 0.023118 | 0.0057933 | -0.023116 | -0.0057928 | 2.6642e-06 | 5.8048e-07 | 0.035392 | 0.035393 | 0.035393 | 0.97197 | -0.54029 | 0.97185 | -0.54271 | 2.4308
71 | 0.0092636 | 0.0023218 | -0.0092629 | -0.0023215 | 6.3397e-07 | 3.0115e-07 | 0.014168 | 0.014168 | 0.014168 | 0.97294 | -0.52122 | 0.97286 | -0.52266 | 3.8923
72 | 0.0054128 | 0.0013565 | -0.0054125 | -0.0013565 | 3.2994e-07 | 5.1782e-08 | 0.008279 | 0.008279 | 0.008279 | 0.97286 | -0.52266 | 0.9728 | -0.52394 | 2.2745
73 | 0.02191 | 0.0054905 | -0.021909 | -0.0054903 | 1.0423e-06 | 1.7743e-07 | 0.033546 | 0.033546 | 0.033546 | 0.97185 | -0.54271 | 0.9718 | -0.5437 | 2.304
74 | 0.018485 | 0.0046324 | -0.018485 | -0.0046324 | 9.2457e-07 | -1.8301e-08 | 0.028305 | 0.028305 | 0.028305 | 0.9718 | -0.5437 | 0.97175 | -0.54475 | 1.944
75 | 0.001035 | 0.000253 | -0.0010349 | -0.00025395 | 7.3238e-08 | -9.5433e-07 | 0.0015683 | 0.0015687 | 0.0015687 | 0.98053 | -0.37336 | 0.98045 | -0.37487 | 0.43096
76 | 0.0010349 | 0.00025395 | -0.0010348 | -0.00025445 | 3.7913e-08 | -4.9379e-07 | 0.0015687 | 0.0015689 | 0.0015689 | 0.98045 | -0.37487 | 0.98042 | -0.37565 | 0.43101
77 | 0.00090184 | 0.00022111 | -0.00090163 | -0.00022475 | 2.0991e-07 | -3.6383e-06 | 0.001367 | 0.0013684 | 0.0013684 | 0.98042 | -0.37565 | 0.98017 | -0.38059 | 0.37592
78 | 0.00069097 | 0.00017195 | -0.00069093 | -0.00017315 | 4.0038e-08 | -1.1978e-06 | 0.0010485 | 0.001049 | 0.001049 | 0.98017 | -0.38059 | 0.9801 | -0.38181 | 0.28818
79 | -0.00020859 | -5.2279e-05 | 0.00020859 | 5.2268e-05 | 3.1138e-11 | -1.0414e-08 | 0.00031669 | 0.00031669 | 0.00031669 | 0.9801 | -0.38181 | 0.9801 | -0.38181 | 0.087004

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.62467 | 0.16077

## res_load
| p_mw | q_mvar
0 | 0.084701 | 0.021228
1 | 0.0062267 | 0.0015606
2 | 0.028838 | 0.0072275
3 | 0.090402 | 0.022657
4 | 0.055674 | 0.013953
5 | 0.0065776 | 0.0016485
6 | 0.015034 | 0.0037678
7 | 0.0046169 | 0.0011571
8 | 0.012769 | 0.0032003
9 | 0.0039234 | 0.0009833
10 | 0.0082175 | 0.0020595
11 | 0.0013332 | 0.00033412
12 | 0.0031166 | 0.00078109
13 | 0.0043691 | 0.001095
14 | 0.0032566 | 0.00081619
15 | 0.00084938 | 0.00021287
16 | 0.011408 | 0.0028591
17 | 0.01686 | 0.0042255
18 | 0.041986 | 0.010523
19 | 0.0067824 | 0.0016998
20 | 0.00084535 | 0.00021186
21 | 0.0015106 | 0.00037859
22 | 0.00095004 | 0.0002381
23 | 0.0038237 | 0.00095832
24 | 0.0039495 | 0.00098983
25 | 0.0073272 | 0.0018364
26 | 0.015203 | 0.0038103
27 | 0.0066972 | 0.0016785
28 | 0.0083614 | 0.0020956
29 | 0.015203 | 0.0038101
30 | 0.018783 | 0.0047074
31 | 0.0026584 | 0.00066627
32 | 0.0060847 | 0.001525
33 | 0.0033181 | 0.0008316
34 | 0.0042445 | 0.0010638
35 | 0.0051943 | 0.0013018
36 | 0.0051433 | 0.001289
37 | 0.0025415 | 0.00063697
38 | 0.0036578 | 0.00091673
39 | 0.003731 | 0.00093507
40 | 0.027185 | 0.0068133
41 | 0.0038504 | 0.00096499
42 | 0.0083879 | 0.0021022
43 | 0.013656 | 0.0034225
44 | 0.002903 | 0.00072756
45 | 0.0020331 | 0.00050955
46 | 0.0025367 | 0.00063575
47 | 0.00058642 | 0.00014697
48 | 0.00076055 | 0.00019061
49 | 0.00212 | 0.00053133
50 | 0.0037131 | 0.00093058
51 | 0.0038501 | 0.00096494
52 | 0.0054125 | 0.0013565
53 | 0.001206 | 0.00030226
54 | 0.0034231 | 0.00085792
55 | 0.0017784 | 0.00044571
56 | 0.000289 | 7.2431e-05
57 | 0.000133 | 3.3334e-05
58 | 0.00021066 | 5.2797e-05
59 | 0.00020859 | 5.2279e-05
60 | 0.00048233 | 0.00012088

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1