## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1331-11_1_2_node_19 | 0.4 | n |  | TRUE
1 | bus_LV_1331-11_1_2_node_20 | 0.4 | n |  | TRUE
2 | bus_LV_1331-11_1_2_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_1331-11_1_2_node_41 | 0.4 | n |  | TRUE
4 | bus_LV_1331-11_1_2_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_1331-11_1_2_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_1331-11_1_2_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_1331-11_1_2_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_1331-11_1_2_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_1331-11_1_2_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_1331-11_1_2_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_1331-11_1_2_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1331-11_1_2_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_1331-11_1_2_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_1331-11_1_2_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_1331-11_1_2_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_1331-11_1_2_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_1331-11_1_2_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_1331-11_1_2_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_1331-11_1_2_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_1331-11_1_2_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_1331-11_1_2_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_1331-11_1_2_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_1331-11_1_2_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_1331-11_1_2_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1331-11_1_2_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_1331-11_1_2_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_1331-11_1_2_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_1331-11_1_2_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_1331-11_1_2_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_1331-11_1_2_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_1331-11_1_2_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_1331-11_1_2_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_1331-11_1_2_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_1331-11_1_2_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_1331-11_1_2_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_1331-11_1_2_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_1331-11_1_2_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_1331-11_1_2_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_1331-11_1_2_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_1331-11_1_2_node_65 | 0.4 | n |  | TRUE
41 | bus_MV_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1331-11_1_2_load_19 | 0 | 0.00018327 | 4.5932e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1331-11_1_2_load_20 | 1 | 0.00042734 | 0.0001071 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1331-11_1_2_load_22 | 2 | 0.0013046 | 0.00032696 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1331-11_1_2_load_41 | 3 | 0.00015326 | 3.841e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1331-11_1_2_load_28 | 6 | 0.00013841 | 3.469e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1331-11_1_2_load_24 | 7 | 0.00013378 | 3.3528e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1331-11_1_2_load_40 | 8 | 0.00028561 | 7.1582e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1331-11_1_2_load_39 | 9 | 0.00028464 | 7.1337e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1331-11_1_2_load_25 | 10 | 0.00073851 | 0.00018509 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1331-11_1_2_load_33 | 13 | 0.00041362 | 0.00010366 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1331-11_1_2_load_59 | 15 | 0.0262 | 0.0065664 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1331-11_1_2_load_34 | 16 | 0.00043703 | 0.00010953 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1331-11_1_2_load_37 | 17 | 0.00043533 | 0.0001091 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1331-11_1_2_load_55 | 19 | 0.00042716 | 0.00010706 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1331-11_1_2_load_38 | 21 | 0.00026987 | 6.7636e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1331-11_1_2_load_43 | 22 | 0.00032376 | 8.1142e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1331-11_1_2_load_45 | 24 | 0.0015544 | 0.00038958 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1331-11_1_2_load_54 | 27 | 0.0013805 | 0.00034599 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1331-11_1_2_load_48 | 28 | 0.00072898 | 0.0001827 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1331-11_1_2_load_57 | 29 | 0.0005641 | 0.00014138 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1331-11_1_2_load_58 | 31 | 0.00013743 | 3.4443e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1331-11_1_2_load_49 | 32 | 0.00055238 | 0.00013844 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1331-11_1_2_load_50 | 33 | 0.00018887 | 4.7336e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1331-11_1_2_load_52 | 34 | 0.00041344 | 0.00010362 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1331-11_1_2_load_53 | 35 | 0.0010272 | 0.00025745 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1331-11_1_2_load_61 | 36 | 0.0020745 | 0.00051991 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1331-11_1_2_load_62 | 37 | 0.00080465 | 0.00020166 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1331-11_1_2_load_63 | 38 | 0.0020943 | 0.00052487 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1331-11_1_2_load_64 | 39 | 0.0014977 | 0.00037536 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1331-11_1_2_load_65 | 40 | 0.0018191 | 0.00045591 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1331-11_1_2_line_0 |  | 0 | 1 | 0.0091894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1331-11_1_2_line_1 |  | 1 | 2 | 0.0054659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1331-11_1_2_line_2 |  | 2 | 3 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1331-11_1_2_line_3 |  | 3 | 4 | 0.025855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1331-11_1_2_line_4 |  | 4 | 21 | 0.025507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1331-11_1_2_line_5 |  | 4 | 18 | 0.012558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1331-11_1_2_line_6 |  | 5 | 6 | 0.01652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1331-11_1_2_line_7 |  | 5 | 7 | 0.022753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1331-11_1_2_line_8 |  | 6 | 13 | 0.008796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1331-11_1_2_line_9 |  | 7 | 10 | 0.0073299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1331-11_1_2_line_10 |  | 8 | 9 | 0.00068188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1331-11_1_2_line_11 |  | 9 | 21 | 0.00060409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1331-11_1_2_line_12 |  | 10 | 11 | 0.055871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1331-11_1_2_line_13 |  | 11 | 12 | 0.14695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1331-11_1_2_line_14 |  | 12 | 14 | 0.20717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1331-11_1_2_line_15 |  | 12 | 15 | 0.31788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1331-11_1_2_line_16 |  | 13 | 16 | 0.0035158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1331-11_1_2_line_17 |  | 14 | 19 | 0.26757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1331-11_1_2_line_18 |  | 15 | 20 | 0.024205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1331-11_1_2_line_19 |  | 16 | 18 | 0.089612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1331-11_1_2_line_20 |  | 17 | 18 | 0.01669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1331-11_1_2_line_21 |  | 19 | 35 | 0.0088968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1331-11_1_2_line_22 |  | 20 | 36 | 0.017797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1331-11_1_2_line_23 |  | 20 | 37 | 0.024527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1331-11_1_2_line_24 |  | 22 | 23 | 0.010886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1331-11_1_2_line_25 |  | 23 | 24 | 0.07781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1331-11_1_2_line_26 |  | 24 | 25 | 0.071332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1331-11_1_2_line_27 |  | 25 | 26 | 0.15896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1331-11_1_2_line_28 |  | 26 | 27 | 0.26392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1331-11_1_2_line_29 |  | 27 | 30 | 0.03199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1331-11_1_2_line_30 |  | 28 | 29 | 0.026571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1331-11_1_2_line_31 |  | 29 | 31 | 0.0051702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1331-11_1_2_line_32 |  | 30 | 35 | 0.007905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1331-11_1_2_line_33 |  | 30 | 32 | 0.013302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1331-11_1_2_line_34 |  | 31 | 34 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1331-11_1_2_line_35 |  | 32 | 33 | 0.13576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1331-11_1_2_line_36 |  | 33 | 34 | 0.018495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1331-11_1_2_line_37 |  | 37 | 38 | 0.010267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1331-11_1_2_line_38 |  | 38 | 39 | 0.027947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1331-11_1_2_line_39 |  | 39 | 40 | 0.06203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1331-11_1_2_trafo_65 | 0.63 MVA 20/0.4 kV | 41 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35
0 | 2676188.1744 | 1217393.2148 | 2676195.0056 | 1217399.3614
1 | 2676199.0688 | 1217403.0174 | 2676195.0056 | 1217399.3614
2 | 2676199.0688 | 1217403.0174 | 2676204.4334 | 1217407.8444 | 2676206.7824 | 1217409.5534
3 | 2676227.6902 | 1217424.7639 | 2676206.7824 | 1217409.5534
4 | 2676227.6902 | 1217424.7639 | 2676239.2717 | 1217411.3811 | 2676243.7216 | 1217404.9638
5 | 2676237.9597 | 1217432.0333 | 2676227.6902 | 1217424.7639
6 | 2676344.2774 | 1217483.7832 | 2676328.765 | 1217478.103
7 | 2676344.2774 | 1217483.7832 | 2676348.5158 | 1217501.3711 | 2676349.4177 | 1217505.945
8 | 2676328.765 | 1217478.103 | 2676320.8989 | 1217475.2227 | 2676320.5144 | 1217475.0556
9 | 2676349.4177 | 1217505.945 | 2676350.8357 | 1217513.1364
10 | 2676244.0659 | 1217404.4674 | 2676244.4544 | 1217403.9071
11 | 2676243.7216 | 1217404.9638 | 2676244.0659 | 1217404.4674
12 | 2676369.7966 | 1217565.1851 | 2676361.766 | 1217550.8841 | 2676357.2371 | 1217540.5638 | 2676355.38 | 1217535.0142 | 2676353.8192 | 1217528.2676 | 2676350.8357 | 1217513.1364
13 | 2676285.6328 | 1217685.3187 | 2676294.606 | 1217672.8477 | 2676302.926 | 1217663.9706 | 2676306.1372 | 1217660.9987 | 2676309.4734 | 1217657.1611 | 2676314.6665 | 1217650.59 | 2676319.298 | 1217644.0117 | 2676344.75 | 1217602.6886 | 2676355.4623 | 1217585.448 | 2676359.9277 | 1217579.4013 | 2676369.7966 | 1217565.1851
14 | 2676285.6328 | 1217685.3187 | 2676281.7665 | 1217687.8709 | 2676277.3539 | 1217690.4049 | 2676272.0482 | 1217692.1382 | 2676264.1276 | 1217693.5488 | 2676253.0126 | 1217694.2515 | 2676242.8267 | 1217693.5319 | 2676237.9474 | 1217692.7912 | 2676232.3667 | 1217690.5072 | 2676228.4237 | 1217687.7884 | 2676225.1216 | 1217684.8109 | 2676221.9321 | 1217680.156 | 2676212.1874 | 1217661.5637 | 2676207.6556 | 1217653.2448 | 2676189.9016 | 1217629.3357 | 2676153.8832 | 1217589.3495 | 2676148.6731 | 1217584.791 | 2676144.3118 | 1217582.1225 | 2676140.4904 | 1217580.5615 | 2676136.6005 | 1217579.6224 | 2676133.8679 | 1217579.5985
15 | 2676285.6328 | 1217685.3187 | 2676282.8398 | 1217724.3972 | 2676281.6155 | 1217767.832 | 2676281.8595 | 1217779.009 | 2676282.4622 | 1217783.5197 | 2676286.68 | 1217804.4873 | 2676287.5373 | 1217811.0469 | 2676287.8673 | 1217816.6993 | 2676287.4295 | 1217822.4307 | 2676285.8119 | 1217828.4139 | 2676281.8756 | 1217838.2143 | 2676278.6147 | 1217845.6663 | 2676276.8265 | 1217851.336 | 2676276.0767 | 1217857.1302 | 2676276.4122 | 1217862.9383 | 2676277.9048 | 1217871.4629 | 2676285.8739 | 1217897.6597 | 2676287.1167 | 1217904.9359 | 2676287.0252 | 1217910.3048 | 2676286.1047 | 1217918.1648 | 2676284.4003 | 1217924.4026 | 2676281.5948 | 1217931.2712 | 2676277.1458 | 1217939.6197 | 2676255.8828 | 1217974.6592 | 2676248.578 | 1217989.5366
16 | 2676320.5144 | 1217475.0556 | 2676317.2901 | 1217473.6538
17 | 2676133.8679 | 1217579.5985 | 2676131.6747 | 1217580.7268 | 2676129.903 | 1217582.1384 | 2676128.0149 | 1217584.3491 | 2676126.8118 | 1217587.6025 | 2676125.5064 | 1217594.1123 | 2676123.4955 | 1217621.9713 | 2676121.5905 | 1217634.4106 | 2676120.1716 | 1217641.486 | 2676118.251 | 1217648.6105 | 2676115.5398 | 1217655.2358 | 2676110.759 | 1217664.603 | 2676101.2395 | 1217681.8371 | 2676091.8294 | 1217700.0176 | 2676088.8679 | 1217704.8385 | 2676084.5217 | 1217709.9085 | 2676079.3781 | 1217713.8121 | 2676076.2611 | 1217715.3622 | 2676073.228 | 1217715.6904 | 2676069.9488 | 1217715.6707 | 2676067.382 | 1217714.5595 | 2676064.2037 | 1217711.995 | 2676061.5805 | 1217708.1591 | 2676059.4376 | 1217702.3835 | 2676057.8543 | 1217695.5922 | 2676056.9238 | 1217687.6085 | 2676056.5492 | 1217681.8667 | 2676057.4149 | 1217656.2834 | 2676057.2995 | 1217648.0766 | 2676056.5527 | 1217638.194 | 2676055.1722 | 1217629.782 | 2676053.7074 | 1217625.5939 | 2676051.7197 | 1217621.3325 | 2676049.3433 | 1217617.7887 | 2676047.57 | 1217615.7648 | 2676046.3064 | 1217614.9884
18 | 2676237.9096 | 1218011.2642 | 2676248.578 | 1217989.5366
19 | 2676237.9597 | 1217432.0333 | 2676284.8554 | 1217456.7493 | 2676302.4475 | 1217466.6364 | 2676312.5718 | 1217471.6026 | 2676317.2901 | 1217473.6538
20 | 2676237.9597 | 1217432.0333 | 2676235.179 | 1217435.1664 | 2676232.127 | 1217438.1515 | 2676225.6232 | 1217443.1977
21 | 2676037.5524 | 1217614.8647 | 2676041.9619 | 1217614.4257 | 2676044.7333 | 1217614.3833 | 2676045.9807 | 1217614.7883 | 2676046.3064 | 1217614.9884
22 | 2676237.9096 | 1218011.2642 | 2676235.0895 | 1218020.4675 | 2676231.9502 | 1218028.0113
23 | 2676237.9096 | 1218011.2642 | 2676226.2326 | 1218007.2901 | 2676215.874 | 1218004.6892 | 2676214.3706 | 1218004.5272
24 | 2675533.6758 | 1217460.4855 | 2675535.8216 | 1217457.6998 | 2675537.5005 | 1217454.6079 | 2675538.8037 | 1217450.9842
25 | 2675533.6758 | 1217460.4855 | 2675543.4375 | 1217464.7564 | 2675548.3627 | 1217466.0864 | 2675554.2137 | 1217466.8499 | 2675564.9049 | 1217467.2635 | 2675576.6092 | 1217468.6127 | 2675609.8009 | 1217474.2768
26 | 2675662.0957 | 1217513.5819 | 2675658.0082 | 1217503.6792 | 2675654.077 | 1217495.2127 | 2675650.3273 | 1217489.7949 | 2675647.1473 | 1217486.1411 | 2675643.686 | 1217483.1174 | 2675639.7892 | 1217480.911 | 2675634.4687 | 1217479.0311 | 2675626.7262 | 1217477.165 | 2675609.8009 | 1217474.2768
27 | 2675662.0957 | 1217513.5819 | 2675672.9681 | 1217549.9212 | 2675690.413 | 1217572.6464 | 2675765.1273 | 1217602.5149 | 2675771.7603 | 1217605.6457 | 2675775.7642 | 1217608.3762
28 | 2675775.7642 | 1217608.3762 | 2675786.13 | 1217608.6859 | 2675790.8628 | 1217609.6134 | 2675797.7459 | 1217612.7807 | 2675807.0325 | 1217617.9577 | 2675813.3671 | 1217622.4634 | 2675818.9806 | 1217626.96 | 2675829.4356 | 1217635.1761 | 2675834.4957 | 1217638.4203 | 2675838.7475 | 1217640.7537 | 2675847.7157 | 1217644.7037 | 2675857.605 | 1217647.8539 | 2675914.1777 | 1217663.7622 | 2675919.7787 | 1217665.0677 | 2675923.6866 | 1217665.1953 | 2675926.7881 | 1217664.8569 | 2675929.6218 | 1217664.0925 | 2675932.8974 | 1217662.611 | 2675936.4031 | 1217660.3431 | 2675939.5361 | 1217657.5367 | 2675942.7104 | 1217653.2855 | 2675945.8958 | 1217648.1561 | 2675948.7092 | 1217642.4327 | 2675954.0966 | 1217627.7474 | 2675956.7833 | 1217622.4337 | 2675959.3417 | 1217618.8529 | 2675962.0409 | 1217616.1411 | 2675965.493 | 1217613.917 | 2675969.5835 | 1217612.2236 | 2675974.0796 | 1217610.88 | 2675979.1106 | 1217610.4439 | 2675987.4215 | 1217610.5721 | 2675994.6334 | 1217611.1644 | 2675997.9778 | 1217611.6809
29 | 2676029.6862 | 1217615.6477 | 2676024.9888 | 1217615.521 | 2676019.9841 | 1217615.0791 | 2675997.9778 | 1217611.6809
30 | 2675945.6218 | 1217460.0529 | 2675935.957 | 1217435.3025
31 | 2675945.6218 | 1217460.0529 | 2675945.6218 | 1217460.0529 | 2675946.3054 | 1217463.008 | 2675946.545 | 1217465.1316
32 | 2676029.6862 | 1217615.6477 | 2676037.5524 | 1217614.8647
33 | 2676029.6862 | 1217615.6477 | 2676022.7866 | 1217604.2745
34 | 2675946.6356 | 1217476.7561 | 2675946.6396 | 1217465.9697 | 2675946.545 | 1217465.1316
35 | 2676022.7866 | 1217604.2745 | 2676022.7866 | 1217604.2745 | 2676019.0053 | 1217599.5788 | 2676016.7674 | 1217597.6713 | 2676011.5632 | 1217594.425 | 2675999.576 | 1217588.5016 | 2675996.0042 | 1217585.8322 | 2675992.5159 | 1217581.963 | 2675989.9397 | 1217578.0164 | 2675987.9166 | 1217572.954 | 2675985.4833 | 1217560.1814 | 2675984.0266 | 1217554.1589 | 2675982.5493 | 1217549.7595 | 2675979.2126 | 1217542.9347 | 2675954.6548 | 1217501.8062 | 2675951.0648 | 1217494.5313
36 | 2675946.6356 | 1217476.7561 | 2675946.6343 | 1217480.0788 | 2675947.291 | 1217483.9452 | 2675948.4926 | 1217487.952 | 2675950.7623 | 1217493.9181 | 2675951.0648 | 1217494.5313
37 | 2676204.1627 | 1218003.4269 | 2676214.3706 | 1218004.5272
38 | 2676204.1627 | 1218003.4269 | 2676201.2438 | 1218003.1123 | 2676181.014 | 1218001.9307 | 2676176.3238 | 1218001.2022
39 | 2676176.3238 | 1218001.2022 | 2676174.4609 | 1218000.9129 | 2676169.1196 | 1217999.5215 | 2676162.1179 | 1217996.1854 | 2676155.4146 | 1217990.8852 | 2676140.4321 | 1217975.2948 | 2676135.3555 | 1217971.0049 | 2676128.8131 | 1217967.3634 | 2676126.4386 | 1217966.3868

## bus_geodata
| x | y | coords
0 | 2676188.1744 | 1217393.2148
1 | 2676195.0056 | 1217399.3614
2 | 2676199.0688 | 1217403.0174
3 | 2676206.7824 | 1217409.5534
4 | 2676227.6902 | 1217424.7639
5 | 2676344.2774 | 1217483.7832
6 | 2676328.765 | 1217478.103
7 | 2676349.4177 | 1217505.945
8 | 2676244.4544 | 1217403.9071
9 | 2676244.0659 | 1217404.4674
10 | 2676350.8357 | 1217513.1364
11 | 2676369.7966 | 1217565.1851
12 | 2676285.6328 | 1217685.3187
13 | 2676320.5144 | 1217475.0556
14 | 2676133.8679 | 1217579.5985
15 | 2676248.578 | 1217989.5366
16 | 2676317.2901 | 1217473.6538
17 | 2676225.6232 | 1217443.1977
18 | 2676237.9597 | 1217432.0333
19 | 2676046.3064 | 1217614.9884
20 | 2676237.9096 | 1218011.2642
21 | 2676243.7216 | 1217404.9638
22 | 2675538.8037 | 1217450.9842
23 | 2675533.6758 | 1217460.4855
24 | 2675609.8009 | 1217474.2768
25 | 2675662.0957 | 1217513.5819
26 | 2675775.7642 | 1217608.3762
27 | 2675997.9778 | 1217611.6809
28 | 2675935.957 | 1217435.3025
29 | 2675945.6218 | 1217460.0529
30 | 2676029.6862 | 1217615.6477
31 | 2675946.545 | 1217465.1316
32 | 2676022.7866 | 1217604.2745
33 | 2675951.0648 | 1217494.5313
34 | 2675946.6356 | 1217476.7561
35 | 2676037.5524 | 1217614.8647
36 | 2676231.9502 | 1218028.0113
37 | 2676214.3706 | 1218004.5272
38 | 2676204.1627 | 1218003.4269
39 | 2676176.3238 | 1218001.2022
40 | 2676126.4386 | 1217966.3868
41 | 2676126.4386 | 1217966.3868

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98894 | -0.21358 | 0.00018327 | 4.5932e-05
1 | 0.98894 | -0.21355 | 0.00042734 | 0.0001071
2 | 0.98895 | -0.21349 | 0.0013046 | 0.00032696
3 | 0.98896 | -0.21315 | 0.00015326 | 3.841e-05
4 | 0.98901 | -0.21219 | 0 | 0
5 | 0.98943 | -0.20402 | 0 | 0
6 | 0.98937 | -0.2053 | 0.00013841 | 3.469e-05
7 | 0.98952 | -0.20227 | 0.00013378 | 3.3528e-05
8 | 0.98899 | -0.21258 | 0.00028561 | 7.1582e-05
9 | 0.98899 | -0.21258 | 0.00028464 | 7.1337e-05
10 | 0.98955 | -0.20168 | 0.00073851 | 0.00018509
11 | 0.98982 | -0.1965 | 0 | 0
12 | 0.99052 | -0.18287 | 0 | 0
13 | 0.98933 | -0.20596 | 0.00041362 | 0.00010366
14 | 0.98913 | -0.20991 | 0 | 0
15 | 0.99417 | -0.11216 | 0.0262 | 0.0065664
16 | 0.98932 | -0.2062 | 0.00043703 | 0.00010953
17 | 0.98904 | -0.21167 | 0.00043533 | 0.0001091
18 | 0.98905 | -0.21154 | 0 | 0
19 | 0.98734 | -0.24492 | 0.00042716 | 0.00010706
20 | 0.99502 | -0.095623 | 0 | 0
21 | 0.98899 | -0.21258 | 0.00026987 | 6.7636e-05
22 | 0.98627 | -0.26595 | 0.00032376 | 8.1142e-05
23 | 0.98627 | -0.26589 | 0 | 0
24 | 0.98629 | -0.26543 | 0.0015544 | 0.00038958
25 | 0.98642 | -0.26303 | 0 | 0
26 | 0.98669 | -0.25766 | 0 | 0
27 | 0.98715 | -0.24872 | 0.0013805 | 0.00034599
28 | 0.98689 | -0.25378 | 0.00072898 | 0.0001827
29 | 0.9869 | -0.25344 | 0.0005641 | 0.00014138
30 | 0.98724 | -0.24684 | 0 | 0
31 | 0.98691 | -0.25332 | 0.00013743 | 3.4443e-05
32 | 0.98721 | -0.24746 | 0.00055238 | 0.00013844
33 | 0.98696 | -0.25241 | 0.00018887 | 4.7336e-05
34 | 0.98692 | -0.25302 | 0.00041344 | 0.00010362
35 | 0.98728 | -0.24601 | 0.0010272 | 0.00025745
36 | 0.99499 | -0.096273 | 0.0020745 | 0.00051991
37 | 0.99593 | -0.078001 | 0.00080465 | 0.00020166
38 | 0.99632 | -0.07049 | 0.0020943 | 0.00052487
39 | 0.99744 | -0.049046 | 0.0014977 | 0.00037536
40 | 1 | 0 | -0.04713 | -0.011488
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00018327 | -4.5931e-05 | 0.00018327 | 4.5814e-05 | 2.62e-10 | -1.1774e-07 | 0.00027576 | 0.00027572 | 0.00027576 | 0.98894 | -0.21358 | 0.98894 | -0.21355 | 0.075758
1 | -0.00061061 | -0.00015291 | 0.00061061 | 0.00015284 | 1.73e-09 | -6.9025e-08 | 0.00091871 | 0.00091868 | 0.00091871 | 0.98894 | -0.21355 | 0.98895 | -0.21349 | 0.25239
2 | -0.0019152 | -0.00047981 | 0.0019152 | 0.0004797 | 3.1518e-08 | -1.097e-07 | 0.0028817 | 0.0028816 | 0.0028817 | 0.98895 | -0.21349 | 0.98896 | -0.21315 | 0.79166
3 | -0.0020685 | -0.00051811 | 0.0020686 | 0.00051784 | 9.3907e-08 | -2.7167e-07 | 0.0031122 | 0.0031121 | 0.0031122 | 0.98896 | -0.21315 | 0.98901 | -0.21219 | 0.855
4 | 0.00084014 | 0.00021022 | -0.00084012 | -0.00021054 | 1.5282e-08 | -3.1754e-07 | 0.0012639 | 0.001264 | 0.001264 | 0.98901 | -0.21219 | 0.98899 | -0.21258 | 0.34726
5 | -0.0029087 | -0.00072806 | 0.0029088 | 0.00072795 | 9.0178e-08 | -1.0344e-07 | 0.004376 | 0.0043759 | 0.004376 | 0.98901 | -0.21219 | 0.98905 | -0.21154 | 1.2022
6 | 0.0043345 | 0.001084 | -0.0043342 | -0.0010841 | 2.6318e-07 | -4.3721e-08 | 0.0065179 | 0.006518 | 0.006518 | 0.98943 | -0.20402 | 0.98937 | -0.2053 | 1.7906
7 | -0.0043345 | -0.001084 | 0.0043349 | 0.001084 | 3.6248e-07 | -6.0272e-08 | 0.0065179 | 0.0065178 | 0.0065179 | 0.98943 | -0.20402 | 0.98952 | -0.20227 | 1.7906
8 | 0.0041958 | 0.0010494 | -0.0041957 | -0.0010494 | 1.3133e-07 | -2.8904e-08 | 0.0063098 | 0.0063098 | 0.0063098 | 0.98937 | -0.2053 | 0.98933 | -0.20596 | 1.7335
9 | -0.0044686 | -0.0011175 | 0.0044688 | 0.0011175 | 1.2409e-07 | -1.4745e-08 | 0.006719 | 0.0067189 | 0.006719 | 0.98952 | -0.20227 | 0.98955 | -0.20168 | 1.8459
10 | -0.00028561 | -7.1581e-05 | 0.00028561 | 7.1572e-05 | 4.7137e-11 | -8.7197e-09 | 0.00042973 | 0.00042972 | 0.00042973 | 0.98899 | -0.21258 | 0.98899 | -0.21258 | 0.11806
11 | -0.00057025 | -0.00014291 | 0.00057025 | 0.0001429 | 1.6678e-10 | -7.6451e-09 | 0.00085799 | 0.00085798 | 0.00085799 | 0.98899 | -0.21258 | 0.98899 | -0.21258 | 0.23571
12 | -0.0052073 | -0.0013026 | 0.0052086 | 0.0013027 | 1.2843e-06 | 1.04e-07 | 0.0078294 | 0.0078292 | 0.0078294 | 0.98955 | -0.20168 | 0.98982 | -0.1965 | 2.1509
13 | -0.0052086 | -0.0013027 | 0.0052119 | 0.0013029 | 3.3774e-06 | 2.7143e-07 | 0.0078292 | 0.0078285 | 0.0078292 | 0.98982 | -0.1965 | 0.99052 | -0.18287 | 2.1509
14 | 0.0073229 | 0.001828 | -0.0073135 | -0.0018246 | 9.3981e-06 | 3.3519e-06 | 0.010998 | 0.010999 | 0.010999 | 0.99052 | -0.18287 | 0.98913 | -0.20991 | 3.0218
15 | -0.012535 | -0.0031309 | 0.012577 | 0.0031539 | 4.2249e-05 | 2.2932e-05 | 0.018827 | 0.018825 | 0.018827 | 0.99052 | -0.18287 | 0.99417 | -0.11216 | 5.1722
16 | 0.0037821 | 0.00094575 | -0.003782 | -0.00094577 | 4.2651e-08 | -1.7849e-08 | 0.0056877 | 0.0056877 | 0.0056877 | 0.98933 | -0.20596 | 0.98932 | -0.2062 | 1.5626
17 | 0.0073135 | 0.0018246 | -0.0073013 | -0.0018203 | 1.2141e-05 | 4.3418e-06 | 0.010999 | 0.011 | 0.011 | 0.98913 | -0.20991 | 0.98734 | -0.24492 | 3.0221
18 | -0.038777 | -0.0097203 | 0.038808 | 0.0097396 | 3.0578e-05 | 1.9256e-05 | 0.058041 | 0.058041 | 0.058041 | 0.99417 | -0.11216 | 0.99502 | -0.095623 | 15.9453
19 | 0.003345 | 0.00083624 | -0.0033442 | -0.00083684 | 8.5043e-07 | -6.0607e-07 | 0.0050304 | 0.0050308 | 0.0050308 | 0.98932 | -0.2062 | 0.98905 | -0.21154 | 1.3821
20 | -0.00043533 | -0.0001091 | 0.00043533 | 0.00010889 | 2.6845e-09 | -2.1247e-07 | 0.00065495 | 0.00065488 | 0.00065495 | 0.98904 | -0.21167 | 0.98905 | -0.21154 | 0.17993
21 | 0.0068742 | 0.0017132 | -0.0068738 | -0.0017131 | 3.5785e-07 | 1.1525e-07 | 0.010357 | 0.010357 | 0.010357 | 0.98734 | -0.24492 | 0.98728 | -0.24601 | 2.8452
22 | 0.0020745 | 0.00051972 | -0.0020745 | -0.00051991 | 6.4232e-08 | -1.9004e-07 | 0.0031023 | 0.0031024 | 0.0031024 | 0.99502 | -0.095623 | 0.99499 | -0.096273 | 0.85231
23 | -0.040883 | -0.010259 | 0.040917 | 0.010281 | 3.4385e-05 | 2.1688e-05 | 0.061143 | 0.061143 | 0.061143 | 0.99502 | -0.095623 | 0.99593 | -0.078001 | 16.7975
24 | -0.00032376 | -8.1141e-05 | 0.00032376 | 8.1003e-05 | 9.739e-10 | -1.3829e-07 | 0.00048847 | 0.00048842 | 0.00048847 | 0.98627 | -0.26595 | 0.98627 | -0.26589 | 0.13419
25 | -0.00032376 | -8.1003e-05 | 0.00032377 | 8.0014e-05 | 6.9556e-09 | -9.8854e-07 | 0.00048842 | 0.00048807 | 0.00048842 | 0.98627 | -0.26589 | 0.98629 | -0.26543 | 0.13418
26 | -0.0018782 | -0.00046959 | 0.0018784 | 0.00046882 | 2.147e-07 | -7.7305e-07 | 0.0028332 | 0.0028329 | 0.0028332 | 0.98629 | -0.26543 | 0.98642 | -0.26303 | 0.77836
27 | -0.0018784 | -0.00046882 | 0.0018789 | 0.00046709 | 4.7828e-07 | -1.7237e-06 | 0.0028329 | 0.0028322 | 0.0028329 | 0.98642 | -0.26303 | 0.98669 | -0.25766 | 0.77827
28 | -0.0018789 | -0.00046709 | 0.0018797 | 0.00046423 | 7.9353e-07 | -2.8645e-06 | 0.0028322 | 0.002831 | 0.0028322 | 0.98669 | -0.25766 | 0.98715 | -0.24872 | 0.77808
29 | -0.0032602 | -0.00081022 | 0.0032605 | 0.00080999 | 2.8944e-07 | -2.2377e-07 | 0.004912 | 0.0049118 | 0.004912 | 0.98715 | -0.24872 | 0.98724 | -0.24684 | 1.3494
30 | -0.00072898 | -0.0001827 | 0.00072899 | 0.00018237 | 1.2036e-08 | -3.3181e-07 | 0.0010991 | 0.001099 | 0.0010991 | 0.98689 | -0.25378 | 0.9869 | -0.25344 | 0.30196
31 | -0.0012931 | -0.00032374 | 0.0012931 | 0.00032368 | 7.3688e-09 | -6.1348e-08 | 0.0019495 | 0.0019495 | 0.0019495 | 0.9869 | -0.25344 | 0.98691 | -0.25332 | 0.53559
32 | -0.0058463 | -0.0014556 | 0.0058466 | 0.0014557 | 2.3e-07 | 4.6119e-08 | 0.0088085 | 0.0088085 | 0.0088085 | 0.98724 | -0.24684 | 0.98728 | -0.24601 | 2.4199
33 | 0.0025858 | 0.00064563 | -0.0025858 | -0.00064575 | 7.5744e-08 | -1.2161e-07 | 0.0038966 | 0.0038967 | 0.0038967 | 0.98724 | -0.24684 | 0.98721 | -0.24746 | 1.0705
34 | -0.0014305 | -0.00035812 | 0.0014305 | 0.00035799 | 2.0286e-08 | -1.3563e-07 | 0.0021567 | 0.0021567 | 0.0021567 | 0.98691 | -0.25332 | 0.98692 | -0.25302 | 0.59251
35 | 0.0020334 | 0.00050731 | -0.0020329 | -0.00050874 | 4.7807e-07 | -1.4294e-06 | 0.0030641 | 0.0030647 | 0.0030647 | 0.98721 | -0.24746 | 0.98696 | -0.25241 | 0.84196
36 | 0.001844 | 0.0004614 | -0.001844 | -0.0004616 | 5.36e-08 | -2.0204e-07 | 0.00278 | 0.00278 | 0.00278 | 0.98696 | -0.25241 | 0.98692 | -0.25302 | 0.76375
37 | -0.041722 | -0.010483 | 0.041737 | 0.010492 | 1.4965e-05 | 9.444e-06 | 0.062345 | 0.062345 | 0.062345 | 0.99593 | -0.078001 | 0.99632 | -0.07049 | 17.1278
38 | -0.043831 | -0.011017 | 0.043876 | 0.011045 | 4.4924e-05 | 2.8387e-05 | 0.065473 | 0.065473 | 0.065473 | 0.99632 | -0.07049 | 0.99744 | -0.049046 | 17.987
39 | -0.045373 | -0.011421 | 0.04548 | 0.011488 | 0.00010664 | 6.7435e-05 | 0.067707 | 0.067707 | 0.067707 | 0.99744 | -0.049046 | 1 | 0 | 18.6008

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.048949 | 0.011944

## res_load
| p_mw | q_mvar
0 | 0.00018327 | 4.5932e-05
1 | 0.00042734 | 0.0001071
2 | 0.0013046 | 0.00032696
3 | 0.00015326 | 3.841e-05
4 | 0.00013841 | 3.469e-05
5 | 0.00013378 | 3.3528e-05
6 | 0.00028561 | 7.1582e-05
7 | 0.00028464 | 7.1337e-05
8 | 0.00073851 | 0.00018509
9 | 0.00041362 | 0.00010366
10 | 0.0262 | 0.0065664
11 | 0.00043703 | 0.00010953
12 | 0.00043533 | 0.0001091
13 | 0.00042716 | 0.00010706
14 | 0.00026987 | 6.7636e-05
15 | 0.00032376 | 8.1142e-05
16 | 0.0015544 | 0.00038958
17 | 0.0013805 | 0.00034599
18 | 0.00072898 | 0.0001827
19 | 0.0005641 | 0.00014138
20 | 0.00013743 | 3.4443e-05
21 | 0.00055238 | 0.00013844
22 | 0.00018887 | 4.7336e-05
23 | 0.00041344 | 0.00010362
24 | 0.0010272 | 0.00025745
25 | 0.0020745 | 0.00051991
26 | 0.00080465 | 0.00020166
27 | 0.0020943 | 0.00052487
28 | 0.0014977 | 0.00037536
29 | 0.0018191 | 0.00045591

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1