## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1331-13_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1331-13_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1331-13_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1331-13_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1331-13_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1331-13_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1331-13_0_7_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_1331-13_0_7_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1331-13_0_7_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1331-13_0_7_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_1331-13_0_7_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1331-13_0_7_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1331-13_0_7_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_1331-13_0_7_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_1331-13_0_7_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1331-13_0_7_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1331-13_0_7_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_1331-13_0_7_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1331-13_0_7_node_89 | 0.4 | n |  | TRUE
19 | bus_LV_1331-13_0_7_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1331-13_0_7_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1331-13_0_7_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_1331-13_0_7_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_1331-13_0_7_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_1331-13_0_7_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1331-13_0_7_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_1331-13_0_7_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_1331-13_0_7_node_7 | 0.4 | n |  | TRUE
28 | bus_LV_1331-13_0_7_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1331-13_0_7_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_1331-13_0_7_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_1331-13_0_7_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_1331-13_0_7_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_1331-13_0_7_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1331-13_0_7_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_1331-13_0_7_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1331-13_0_7_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1331-13_0_7_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_1331-13_0_7_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1331-13_0_7_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1331-13_0_7_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1331-13_0_7_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1331-13_0_7_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_1331-13_0_7_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_1331-13_0_7_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1331-13_0_7_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_1331-13_0_7_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_1331-13_0_7_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_1331-13_0_7_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_1331-13_0_7_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1331-13_0_7_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_1331-13_0_7_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1331-13_0_7_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_1331-13_0_7_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_1331-13_0_7_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_1331-13_0_7_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_1331-13_0_7_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_1331-13_0_7_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_1331-13_0_7_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_1331-13_0_7_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_1331-13_0_7_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_1331-13_0_7_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_1331-13_0_7_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_1331-13_0_7_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_1331-13_0_7_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_1331-13_0_7_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_1331-13_0_7_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_1331-13_0_7_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_1331-13_0_7_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_1331-13_0_7_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_1331-13_0_7_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_1331-13_0_7_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_1331-13_0_7_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_1331-13_0_7_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_1331-13_0_7_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_1331-13_0_7_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_1331-13_0_7_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_1331-13_0_7_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_1331-13_0_7_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_1331-13_0_7_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_1331-13_0_7_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_1331-13_0_7_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_1331-13_0_7_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_1331-13_0_7_node_88 | 0.4 | n |  | TRUE
84 | bus_MV_4_0_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1331-13_0_7_load_0 | 0 | 0.0041371 | 0.0010369 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1331-13_0_7_load_23 | 9 | 0.047001 | 0.01178 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1331-13_0_7_load_12 | 10 | 0.02239 | 0.0056114 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1331-13_0_7_load_11 | 11 | 0.00095557 | 0.00023949 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1331-13_0_7_load_21 | 12 | 0.0058667 | 0.0014703 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1331-13_0_7_load_27 | 13 | 0.00096143 | 0.00024096 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1331-13_0_7_load_17 | 15 | 0.0028907 | 0.00072449 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1331-13_0_7_load_89 | 18 | 0.0042767 | 0.0010718 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1331-13_0_7_load_20 | 19 | 0.0072286 | 0.0018116 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1331-13_0_7_load_40 | 22 | 0.013258 | 0.0033227 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1331-13_0_7_load_66 | 23 | 0.0029144 | 0.00073041 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1331-13_0_7_load_22 | 24 | 0.00037077 | 9.2923e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1331-13_0_7_load_45 | 25 | 0.015125 | 0.0037908 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1331-13_0_7_load_41 | 26 | 0.0040704 | 0.0010201 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1331-13_0_7_load_7 | 27 | 0.0062384 | 0.0015635 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1331-13_0_7_load_18 | 28 | 0.010728 | 0.0026887 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1331-13_0_7_load_38 | 31 | 0.0044361 | 0.0011118 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1331-13_0_7_load_36 | 32 | 0.068235 | 0.017101 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1331-13_0_7_load_24 | 33 | 0.0050417 | 0.0012636 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1331-13_0_7_load_37 | 34 | 0.0074247 | 0.0018608 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1331-13_0_7_load_44 | 37 | 0.011832 | 0.0029654 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1331-13_0_7_load_28 | 40 | 0.0011124 | 0.00027879 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1331-13_0_7_load_31 | 42 | 0.00073832 | 0.00018504 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1331-13_0_7_load_64 | 43 | 0.0035906 | 0.00089988 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1331-13_0_7_load_47 | 44 | 0.050195 | 0.01258 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1331-13_0_7_load_54 | 46 | 0.0057216 | 0.001434 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1331-13_0_7_load_55 | 47 | 0.0013539 | 0.00033933 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1331-13_0_7_load_48 | 48 | 0.0019336 | 0.0004846 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1331-13_0_7_load_49 | 49 | 0.0020918 | 0.00052425 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1331-13_0_7_load_50 | 50 | 0.0020753 | 0.00052012 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1331-13_0_7_load_51 | 51 | 0.0039277 | 0.00098439 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1331-13_0_7_load_57 | 53 | 0.0048513 | 0.0012159 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1331-13_0_7_load_67 | 54 | 0.0029078 | 0.00072876 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1331-13_0_7_load_56 | 56 | 0.0090856 | 0.0022771 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1331-13_0_7_load_65 | 57 | 0.0024105 | 0.00060412 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1331-13_0_7_load_63 | 58 | 0.0041821 | 0.0010481 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1331-13_0_7_load_59 | 59 | 0.0051966 | 0.0013024 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1331-13_0_7_load_68 | 61 | 0.024601 | 0.0061655 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1331-13_0_7_load_60 | 62 | 0.0048151 | 0.0012068 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1331-13_0_7_load_58 | 63 | 0.0042294 | 0.00106 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1331-13_0_7_load_79 | 64 | 0.003095 | 0.00077568 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1331-13_0_7_load_77 | 66 | 0.0043507 | 0.0010904 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1331-13_0_7_load_71 | 67 | 0.0028359 | 0.00071075 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1331-13_0_7_load_83 | 70 | 0.0035753 | 0.00089606 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1331-13_0_7_load_72 | 71 | 0.0039832 | 0.00099828 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1331-13_0_7_load_76 | 72 | 0.003497 | 0.00087644 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1331-13_0_7_load_73 | 73 | 0.0024366 | 0.00061067 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1331-13_0_7_load_82 | 74 | 0.0044143 | 0.0011063 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1331-13_0_7_load_74 | 75 | 0.0023942 | 0.00060004 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1331-13_0_7_load_84 | 77 | 0.0039396 | 0.00098735 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1331-13_0_7_load_78 | 78 | 0.0039316 | 0.00098534 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1331-13_0_7_load_80 | 79 | 0.0063129 | 0.0015822 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1331-13_0_7_load_81 | 80 | 0.0035705 | 0.00089486 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1331-13_0_7_load_85 | 81 | 0.0024333 | 0.00060983 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1331-13_0_7_load_88 | 83 | 0.0052992 | 0.0013281 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1331-13_0_7_line_0 |  | 0 | 1 | 0.04049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_1331-13_0_7_line_1 |  | 0 | 2 | 0.035858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_1331-13_0_7_line_2 |  | 1 | 3 | 0.011996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1331-13_0_7_line_3 |  | 1 | 4 | 0.022106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_1331-13_0_7_line_4 |  | 2 | 5 | 0.088034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1331-13_0_7_line_5 |  | 3 | 10 | 0.0086165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1331-13_0_7_line_6 |  | 4 | 11 | 0.04728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_1331-13_0_7_line_7 |  | 5 | 12 | 0.024605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1331-13_0_7_line_8 |  | 5 | 13 | 0.012801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1331-13_0_7_line_9 |  | 6 | 7 | 0.094389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1331-13_0_7_line_10 |  | 6 | 8 | 0.049197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1331-13_0_7_line_11 |  | 6 | 9 | 0.088538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1331-13_0_7_line_12 |  | 7 | 18 | 0.041684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1331-13_0_7_line_13 |  | 8 | 11 | 0.025418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1331-13_0_7_line_14 |  | 8 | 27 | 0.013831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_1331-13_0_7_line_15 |  | 12 | 19 | 0.0088916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1331-13_0_7_line_16 |  | 13 | 20 | 0.039289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1331-13_0_7_line_17 |  | 14 | 15 | 0.038773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_1331-13_0_7_line_18 |  | 14 | 16 | 0.057493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_1331-13_0_7_line_19 |  | 14 | 17 | 0.033984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1331-13_0_7_line_20 |  | 15 | 28 | 0.096376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_1331-13_0_7_line_21 |  | 16 | 25 | 0.029144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1331-13_0_7_line_22 |  | 16 | 26 | 0.059548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1331-13_0_7_line_23 |  | 17 | 27 | 0.0019109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_1331-13_0_7_line_24 |  | 18 | 33 | 0.094676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1331-13_0_7_line_25 |  | 19 | 24 | 0.02265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1331-13_0_7_line_26 |  | 20 | 29 | 0.010535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1331-13_0_7_line_27 |  | 21 | 22 | 0.029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_1331-13_0_7_line_28 |  | 21 | 23 | 0.15629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1331-13_0_7_line_29 |  | 22 | 35 | 0.02095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1331-13_0_7_line_30 |  | 23 | 43 | 0.010141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_1331-13_0_7_line_31 |  | 26 | 36 | 0.017684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1331-13_0_7_line_32 |  | 28 | 35 | 0.022329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_1331-13_0_7_line_33 |  | 29 | 30 | 0.074286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1331-13_0_7_line_34 |  | 30 | 31 | 0.035909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1331-13_0_7_line_35 |  | 30 | 32 | 0.11611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1331-13_0_7_line_36 |  | 32 | 34 | 0.003482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1331-13_0_7_line_37 |  | 33 | 38 | 0.021637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1331-13_0_7_line_38 |  | 36 | 37 | 0.062957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1331-13_0_7_line_39 |  | 38 | 39 | 0.053515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1331-13_0_7_line_40 |  | 39 | 41 | 0.016727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1331-13_0_7_line_41 |  | 40 | 41 | 0.043412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1331-13_0_7_line_42 |  | 41 | 42 | 0.028696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1331-13_0_7_line_43 |  | 43 | 57 | 0.028148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_1331-13_0_7_line_44 |  | 44 | 45 | 0.064501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1331-13_0_7_line_45 |  | 45 | 46 | 0.021912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1331-13_0_7_line_46 |  | 45 | 47 | 0.023168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1331-13_0_7_line_47 |  | 47 | 60 | 0.0622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1331-13_0_7_line_48 |  | 48 | 49 | 0.022576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1331-13_0_7_line_49 |  | 48 | 50 | 0.018585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1331-13_0_7_line_50 |  | 49 | 51 | 0.0068421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1331-13_0_7_line_51 |  | 50 | 52 | 0.012112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1331-13_0_7_line_52 |  | 51 | 53 | 0.020715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1331-13_0_7_line_53 |  | 52 | 54 | 0.0042587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_1331-13_0_7_line_54 |  | 52 | 55 | 0.040195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_1331-13_0_7_line_55 |  | 53 | 56 | 0.0204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1331-13_0_7_line_56 |  | 54 | 57 | 0.014465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_1331-13_0_7_line_57 |  | 55 | 58 | 0.021315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1331-13_0_7_line_58 |  | 55 | 59 | 0.03578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_1331-13_0_7_line_59 |  | 56 | 63 | 0.013187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1331-13_0_7_line_60 |  | 58 | 64 | 0.013172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1331-13_0_7_line_61 |  | 59 | 62 | 0.042892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_1331-13_0_7_line_62 |  | 60 | 61 | 0.024581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1331-13_0_7_line_63 |  | 60 | 62 | 0.024342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_1331-13_0_7_line_64 |  | 61 | 65 | 0.035609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1331-13_0_7_line_65 |  | 64 | 66 | 0.013137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1331-13_0_7_line_66 |  | 65 | 67 | 0.013264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1331-13_0_7_line_67 |  | 66 | 78 | 0.020593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1331-13_0_7_line_68 |  | 67 | 71 | 0.0093427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1331-13_0_7_line_69 |  | 68 | 69 | 0.028141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1331-13_0_7_line_70 |  | 68 | 70 | 0.023189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1331-13_0_7_line_71 |  | 69 | 72 | 0.028669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1331-13_0_7_line_72 |  | 69 | 73 | 0.019128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1331-13_0_7_line_73 |  | 70 | 74 | 0.016278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1331-13_0_7_line_74 |  | 72 | 76 | 0.016948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1331-13_0_7_line_75 |  | 73 | 75 | 0.0021342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1331-13_0_7_line_76 |  | 74 | 80 | 0.019831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1331-13_0_7_line_77 |  | 76 | 77 | 0.021613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1331-13_0_7_line_78 |  | 77 | 81 | 0.062314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1331-13_0_7_line_79 |  | 78 | 79 | 0.017032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1331-13_0_7_line_80 |  | 79 | 80 | 0.0015666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1331-13_0_7_line_81 |  | 81 | 82 | 0.041443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1331-13_0_7_line_82 |  | 82 | 83 | 0.042011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1331-13_0_7_trafo_43 | 0.63 MVA 20/0.4 kV | 84 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2676399.1235 | 1215617.1334 | 2676374.579 | 1215584.9312
1 | 2676352.842 | 1215556.4125 | 2676374.579 | 1215584.9312
2 | 2676409.543 | 1215611.1631 | 2676404.651 | 1215613.6465 | 2676399.1235 | 1215617.1334
3 | 2676399.1235 | 1215617.1334 | 2676394.861 | 1215621.4594 | 2676382.3394 | 1215631.4721
4 | 2676352.842 | 1215556.4125 | 2676306.284 | 1215481.6239
5 | 2676409.543 | 1215611.1631 | 2676405.1658 | 1215603.7412
6 | 2676382.3394 | 1215631.4721 | 2676370.4239 | 1215641.0034 | 2676389.2396 | 1215664.8487 | 2676388.1597 | 1215666.0917
7 | 2676306.284 | 1215481.6239 | 2676300.0154 | 1215486.0465 | 2676286.1797 | 1215495.8095
8 | 2676306.284 | 1215481.6239 | 2676316.7434 | 1215474.2442
9 | 2676409.6099 | 1215711.3508 | 2676474.6078 | 1215779.795
10 | 2676409.6099 | 1215711.3508 | 2676369.4073 | 1215682.9953
11 | 2676409.6099 | 1215711.3508 | 2676397.6077 | 1215721.7371 | 2676389.9679 | 1215727.0982 | 2676381.4871 | 1215735.873 | 2676375.5026 | 1215743.6236 | 2676371.2156 | 1215751.0512 | 2676368.1561 | 1215759.284 | 2676366.6717 | 1215773.1962 | 2676368.1779 | 1215783.069
12 | 2676474.6078 | 1215779.795 | 2676487.8128 | 1215819.332
13 | 2676369.4073 | 1215682.9953 | 2676380.2217 | 1215675.2288 | 2676388.1597 | 1215666.0917
14 | 2676369.4073 | 1215682.9953 | 2676358.1683 | 1215691.0569
15 | 2676286.1797 | 1215495.8095 | 2676278.9147 | 1215500.936
16 | 2676348.8464 | 1215451.5938 | 2676316.7434 | 1215474.2442
17 | 2676329.046 | 1215712.0416 | 2676323.4305 | 1215711.7362 | 2676294.8491 | 1215694.9438
18 | 2676295.1074 | 1215758.4483 | 2676329.046 | 1215712.0416
19 | 2676329.046 | 1215712.0416 | 2676343.6245 | 1215701.4992 | 2676356.6156 | 1215692.1707
20 | 2676211.7541 | 1215646.1231 | 2676294.8491 | 1215694.9438
21 | 2676295.1074 | 1215758.4483 | 2676302.3049 | 1215764.4887 | 2676316.4366 | 1215778.282
22 | 2676295.1074 | 1215758.4483 | 2676235.8057 | 1215763.8637
23 | 2676356.6156 | 1215692.1707 | 2676358.1683 | 1215691.0569
24 | 2676463.2734 | 1215910.7723 | 2676487.8128 | 1215819.332
25 | 2676260.4083 | 1215513.9949 | 2676278.9147 | 1215500.936
26 | 2676358.6084 | 1215455.4657 | 2676353.3344 | 1215453.975 | 2676348.8464 | 1215451.5938
27 | 2676150.1632 | 1215608.3096 | 2676174.7447 | 1215623.6966
28 | 2676069.0597 | 1215741.9035 | 2676150.1632 | 1215608.3096
29 | 2676192.5022 | 1215634.812 | 2676174.7447 | 1215623.6966
30 | 2676075.5661 | 1215749.6825 | 2676069.0597 | 1215741.9035
31 | 2676218.1422 | 1215764.5901 | 2676232.1045 | 1215764.2017 | 2676235.8057 | 1215763.8637
32 | 2676192.5022 | 1215634.812 | 2676211.7541 | 1215646.1231
33 | 2676358.6084 | 1215455.4657 | 2676365.4227 | 1215456.4647 | 2676370.9331 | 1215455.5125 | 2676377.9678 | 1215453.5347 | 2676427.128 | 1215429.5936
34 | 2676427.128 | 1215429.5936 | 2676459.1249 | 1215413.2946
35 | 2676427.128 | 1215429.5936 | 2676464.5024 | 1215501.5191 | 2676468.6826 | 1215501.8396 | 2676496.3819 | 1215488.2389
36 | 2676496.3819 | 1215488.2389 | 2676499.5075 | 1215486.7042
37 | 2676474.2288 | 1215929.4313 | 2676463.2734 | 1215910.7723
38 | 2676218.1422 | 1215764.5901 | 2676225.3373 | 1215770.8195 | 2676270.7436 | 1215798.9993
39 | 2676474.2288 | 1215929.4313 | 2676527.1775 | 1215937.1934
40 | 2676543.4567 | 1215933.1554 | 2676527.1775 | 1215937.1934
41 | 2676543.4567 | 1215933.1554 | 2676548.973 | 1215921.0739 | 2676537.5376 | 1215900.9363 | 2676534.0176 | 1215894.9173
42 | 2676543.4567 | 1215933.1554 | 2676556.2083 | 1215930.6286 | 2676571.3132 | 1215926.3604
43 | 2676075.5661 | 1215749.6825 | 2676077.1635 | 1215751.5924 | 2676095.2333 | 1215769.808
44 | 2676290.2598 | 1215901.6009 | 2676309.454 | 1215914.2325 | 2676335.6882 | 1215925.0197 | 2676346.9952 | 1215931.7489
45 | 2676290.2598 | 1215901.6009 | 2676294.8949 | 1215897.8022 | 2676295.5829 | 1215891.5181 | 2676294.2178 | 1215887.2312 | 2676289.7695 | 1215884.7393
46 | 2676290.2598 | 1215901.6009 | 2676277.2135 | 1215894.5294 | 2676268.9857 | 1215893.2397
47 | 2676210.6033 | 1215882.014 | 2676221.0087 | 1215878.2779 | 2676230.4777 | 1215878.299 | 2676243.3244 | 1215884.9564 | 2676252.2248 | 1215889.6399 | 2676265.9368 | 1215892.7618 | 2676268.9857 | 1215893.2397
48 | 2676137.2856 | 1215793.34 | 2676154.3705 | 1215801.3879 | 2676157.5935 | 1215803.1852
49 | 2676137.2856 | 1215793.34 | 2676128.6536 | 1215789.2739 | 2676120.0041 | 1215786.6349
50 | 2676163.5692 | 1215806.5176 | 2676157.5935 | 1215803.1852
51 | 2676108.4194 | 1215783.1005 | 2676120.0041 | 1215786.6349
52 | 2676163.5692 | 1215806.5176 | 2676181.6608 | 1215816.6065
53 | 2676108.4194 | 1215783.1005 | 2676105.4201 | 1215780.077
54 | 2676108.4194 | 1215783.1005 | 2676138.2513 | 1215810.1321
55 | 2676199.478 | 1215826.5424 | 2676181.6608 | 1215816.6065
56 | 2676095.2333 | 1215769.808 | 2676105.4201 | 1215780.077
57 | 2676138.2513 | 1215810.1321 | 2676124.5453 | 1215824.3552 | 2676123.5379 | 1215825.5497
58 | 2676138.2513 | 1215810.1321 | 2676155.0965 | 1215825.3904 | 2676165.4394 | 1215833.3506
59 | 2676210.9952 | 1215832.9651 | 2676199.478 | 1215826.5424
60 | 2676115.046 | 1215835.6189 | 2676123.5379 | 1215825.5497
61 | 2676165.4394 | 1215833.3506 | 2676185.491 | 1215848.7827 | 2676197.5502 | 1215861.5872
62 | 2676210.6033 | 1215882.014 | 2676220.2864 | 1215904.6078
63 | 2676210.6033 | 1215882.014 | 2676200.7744 | 1215865.0107 | 2676197.5502 | 1215861.5872
64 | 2676234.2783 | 1215937.3524 | 2676227.0756 | 1215920.4494 | 2676220.2864 | 1215904.6078
65 | 2676121.4559 | 1215847.0835 | 2676119.6144 | 1215843.5824 | 2676115.046 | 1215835.6189 | 2676115.046 | 1215835.6189
66 | 2676234.2783 | 1215937.3524 | 2676241.9537 | 1215948.17
67 | 2676121.4559 | 1215847.0835 | 2676131.0427 | 1215865.3094
68 | 2676241.9537 | 1215948.17 | 2676247.36 | 1215955.7895
69 | 2676139.2801 | 1215936.4267 | 2676155.8434 | 1215933.9033 | 2676167.3052 | 1215934.25
70 | 2676167.3052 | 1215934.25 | 2676156.5103 | 1215913.7272
71 | 2676139.2801 | 1215936.4267 | 2676124.2701 | 1215936.235 | 2676113.4208 | 1215933.717 | 2676111.2564 | 1215932.4268
72 | 2676139.2801 | 1215936.4267 | 2676147.3452 | 1215953.7718
73 | 2676148.9324 | 1215899.3204 | 2676156.5103 | 1215913.7272
74 | 2676099.094 | 1215921.0593 | 2676104.8824 | 1215928.627 | 2676111.2564 | 1215932.4268
75 | 2676147.3452 | 1215953.7718 | 2676148.2451 | 1215955.707
76 | 2676139.7007 | 1215881.7697 | 2676148.9324 | 1215899.3204
77 | 2676099.094 | 1215921.0593 | 2676093.1768 | 1215911.0996 | 2676088.2157 | 1215902.3844
78 | 2676088.2157 | 1215902.3844 | 2676057.3885 | 1215848.2293
79 | 2676131.0427 | 1215865.3094 | 2676138.9714 | 1215880.3832
80 | 2676139.7007 | 1215881.7697 | 2676138.9714 | 1215880.3832
81 | 2676035.1653 | 1215813.2631 | 2676053.1972 | 1215840.8664 | 2676057.3885 | 1215848.2293
82 | 2676068.5925 | 1215787.6952 | 2676035.1653 | 1215813.2631

## bus_geodata
| x | y | coords
0 | 2676374.579 | 1215584.9312
1 | 2676399.1235 | 1215617.1334
2 | 2676352.842 | 1215556.4125
3 | 2676409.543 | 1215611.1631
4 | 2676382.3394 | 1215631.4721
5 | 2676306.284 | 1215481.6239
6 | 2676409.6099 | 1215711.3508
7 | 2676474.6078 | 1215779.795
8 | 2676369.4073 | 1215682.9953
9 | 2676368.1779 | 1215783.069
10 | 2676405.1658 | 1215603.7412
11 | 2676388.1597 | 1215666.0917
12 | 2676286.1797 | 1215495.8095
13 | 2676316.7434 | 1215474.2442
14 | 2676329.046 | 1215712.0416
15 | 2676294.8491 | 1215694.9438
16 | 2676295.1074 | 1215758.4483
17 | 2676356.6156 | 1215692.1707
18 | 2676487.8128 | 1215819.332
19 | 2676278.9147 | 1215500.936
20 | 2676348.8464 | 1215451.5938
21 | 2676150.1632 | 1215608.3096
22 | 2676174.7447 | 1215623.6966
23 | 2676069.0597 | 1215741.9035
24 | 2676260.4083 | 1215513.9949
25 | 2676316.4366 | 1215778.282
26 | 2676235.8057 | 1215763.8637
27 | 2676358.1683 | 1215691.0569
28 | 2676211.7541 | 1215646.1231
29 | 2676358.6084 | 1215455.4657
30 | 2676427.128 | 1215429.5936
31 | 2676459.1249 | 1215413.2946
32 | 2676496.3819 | 1215488.2389
33 | 2676463.2734 | 1215910.7723
34 | 2676499.5075 | 1215486.7042
35 | 2676192.5022 | 1215634.812
36 | 2676218.1422 | 1215764.5901
37 | 2676270.7436 | 1215798.9993
38 | 2676474.2288 | 1215929.4313
39 | 2676527.1775 | 1215937.1934
40 | 2676534.0176 | 1215894.9173
41 | 2676543.4567 | 1215933.1554
42 | 2676571.3132 | 1215926.3604
43 | 2676075.5661 | 1215749.6825
44 | 2676346.9952 | 1215931.7489
45 | 2676290.2598 | 1215901.6009
46 | 2676289.7695 | 1215884.7393
47 | 2676268.9857 | 1215893.2397
48 | 2676137.2856 | 1215793.34
49 | 2676157.5935 | 1215803.1852
50 | 2676120.0041 | 1215786.6349
51 | 2676163.5692 | 1215806.5176
52 | 2676108.4194 | 1215783.1005
53 | 2676181.6608 | 1215816.6065
54 | 2676105.4201 | 1215780.077
55 | 2676138.2513 | 1215810.1321
56 | 2676199.478 | 1215826.5424
57 | 2676095.2333 | 1215769.808
58 | 2676123.5379 | 1215825.5497
59 | 2676165.4394 | 1215833.3506
60 | 2676210.6033 | 1215882.014
61 | 2676220.2864 | 1215904.6078
62 | 2676197.5502 | 1215861.5872
63 | 2676210.9952 | 1215832.9651
64 | 2676115.046 | 1215835.6189
65 | 2676234.2783 | 1215937.3524
66 | 2676121.456 | 1215847.0835
67 | 2676241.9537 | 1215948.17
68 | 2676167.3052 | 1215934.25
69 | 2676139.2801 | 1215936.4267
70 | 2676156.5103 | 1215913.7272
71 | 2676247.36 | 1215955.7895
72 | 2676111.2564 | 1215932.4268
73 | 2676147.3452 | 1215953.7718
74 | 2676148.9324 | 1215899.3204
75 | 2676148.2451 | 1215955.707
76 | 2676099.094 | 1215921.0593
77 | 2676088.2157 | 1215902.3844
78 | 2676131.0427 | 1215865.3094
79 | 2676138.9714 | 1215880.3832
80 | 2676139.7007 | 1215881.7697
81 | 2676057.3885 | 1215848.2293
82 | 2676035.1653 | 1215813.2631
83 | 2676068.5925 | 1215787.6952
84 | 2676293.2638 | 1215745.861

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99109 | -0.16886 | 0.0041371 | 0.0010369
1 | 0.99184 | -0.15469 | 0 | 0
2 | 0.99046 | -0.1809 | 0 | 0
3 | 0.99159 | -0.15945 | 0 | 0
4 | 0.99234 | -0.14521 | 0 | 0
5 | 0.98891 | -0.21052 | 0 | 0
6 | 0.99135 | -0.16464 | 0 | 0
7 | 0.99038 | -0.18338 | 0 | 0
8 | 0.99398 | -0.11401 | 0 | 0
9 | 0.98753 | -0.23873 | 0.047001 | 0.01178
10 | 0.99142 | -0.16287 | 0.02239 | 0.0056114
11 | 0.9934 | -0.12496 | 0.00095557 | 0.00023949
12 | 0.98861 | -0.21643 | 0.0058667 | 0.0014703
13 | 0.98843 | -0.21977 | 0.00096143 | 0.00024096
14 | 0.99567 | -0.08165 | 0 | 0
15 | 0.99409 | -0.11158 | 0.0028907 | 0.00072449
16 | 1 | 0 | -0.44611 | -0.11442
17 | 0.9945 | -0.10396 | 0 | 0
18 | 0.98996 | -0.19166 | 0.0042767 | 0.0010718
19 | 0.98854 | -0.21763 | 0.0072286 | 0.0018116
20 | 0.98548 | -0.27609 | 0 | 0
21 | 0.98753 | -0.23695 | 0 | 0
22 | 0.98857 | -0.21705 | 0.013258 | 0.0033227
23 | 0.98194 | -0.34495 | 0.0029144 | 0.00073041
24 | 0.98854 | -0.21778 | 0.00037077 | 9.2923e-05
25 | 0.9996 | -0.0076864 | 0.015125 | 0.0037908
26 | 0.99914 | -0.016523 | 0.0040704 | 0.0010201
27 | 0.99444 | -0.10522 | 0.0062384 | 0.0015635
28 | 0.99022 | -0.18538 | 0.010728 | 0.0026887
29 | 0.98469 | -0.29124 | 0 | 0
30 | 0.97914 | -0.39881 | 0 | 0
31 | 0.97899 | -0.40171 | 0.0044361 | 0.0011118
32 | 0.97093 | -0.55987 | 0.068235 | 0.017101
33 | 0.98936 | -0.20329 | 0.0050417 | 0.0012636
34 | 0.97091 | -0.56035 | 0.0074247 | 0.0018608
35 | 0.98937 | -0.2017 | 0 | 0
36 | 0.99895 | -0.020178 | 0 | 0
37 | 0.99827 | -0.033198 | 0.011832 | 0.0029654
38 | 0.98932 | -0.204 | 0 | 0
39 | 0.98923 | -0.20577 | 0 | 0
40 | 0.98916 | -0.20718 | 0.0011124 | 0.00027879
41 | 0.9892 | -0.20632 | 0 | 0
42 | 0.98918 | -0.2067 | 0.00073832 | 0.00018504
43 | 0.98158 | -0.35189 | 0.0035906 | 0.00089988
44 | 0.97113 | -0.55682 | 0.050195 | 0.01258
45 | 0.97415 | -0.49717 | 0 | 0
46 | 0.97404 | -0.49947 | 0.0057216 | 0.001434
47 | 0.97536 | -0.4734 | 0.0013539 | 0.00033933
48 | 0.97921 | -0.39825 | 0.0019336 | 0.0004846
49 | 0.9787 | -0.40818 | 0.0020918 | 0.00052425
50 | 0.97966 | -0.38943 | 0.0020753 | 0.00052012
51 | 0.97856 | -0.41093 | 0.0039277 | 0.00098439
52 | 0.97997 | -0.38323 | 0 | 0
53 | 0.97821 | -0.41778 | 0.0048513 | 0.0012159
54 | 0.98012 | -0.38044 | 0.0029078 | 0.00072876
55 | 0.97883 | -0.40545 | 0 | 0
56 | 0.97796 | -0.42273 | 0.0090856 | 0.0022771
57 | 0.98061 | -0.37082 | 0.0024105 | 0.00060412
58 | 0.97777 | -0.4262 | 0.0041821 | 0.0010481
59 | 0.97818 | -0.41831 | 0.0051966 | 0.0013024
60 | 0.97703 | -0.44082 | 0 | 0
61 | 0.97631 | -0.45493 | 0.024601 | 0.0061655
62 | 0.97743 | -0.43294 | 0.0048151 | 0.0012068
63 | 0.97791 | -0.42375 | 0.0042294 | 0.00106
64 | 0.97717 | -0.43804 | 0.003095 | 0.00077568
65 | 0.97608 | -0.45938 | 0 | 0
66 | 0.97661 | -0.44911 | 0.0043507 | 0.0010904
67 | 0.976 | -0.46103 | 0.0028359 | 0.00071075
68 | 0.97385 | -0.50334 | 0 | 0
69 | 0.97333 | -0.51369 | 0 | 0
70 | 0.97428 | -0.49482 | 0.0035753 | 0.00089606
71 | 0.97597 | -0.46171 | 0.0039832 | 0.00099828
72 | 0.97292 | -0.5217 | 0.003497 | 0.00087644
73 | 0.97324 | -0.51539 | 0.0024366 | 0.00061067
74 | 0.97464 | -0.48777 | 0.0044143 | 0.0011063
75 | 0.97324 | -0.51549 | 0.0023942 | 0.00060004
76 | 0.97274 | -0.52534 | 0 | 0
77 | 0.9725 | -0.52999 | 0.0039396 | 0.00098735
78 | 0.9758 | -0.46486 | 0.0039316 | 0.00098534
79 | 0.9752 | -0.47668 | 0.0063129 | 0.0015822
80 | 0.97516 | -0.47759 | 0.0035705 | 0.00089486
81 | 0.97205 | -0.53888 | 0.0024333 | 0.00060983
82 | 0.97185 | -0.54294 | 0 | 0
83 | 0.97164 | -0.54705 | 0.0052992 | 0.0013281
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.10018 | -0.025688 | 0.10025 | 0.02573 | 6.8892e-05 | 4.148e-05 | 0.15062 | 0.15062 | 0.15062 | 0.99109 | -0.16886 | 0.99184 | -0.15469 | 8.2758
1 | 0.096045 | 0.024651 | -0.095989 | -0.024618 | 5.6084e-05 | 3.3585e-05 | 0.14441 | 0.14441 | 0.14441 | 0.99109 | -0.16886 | 0.99046 | -0.1809 | 7.9346
2 | 0.022398 | 0.0056167 | -0.022393 | -0.0056136 | 5.08e-06 | 3.0964e-06 | 0.033604 | 0.033604 | 0.033604 | 0.99184 | -0.15469 | 0.99159 | -0.15945 | 9.232
3 | -0.12265 | -0.031346 | 0.12271 | 0.031381 | 5.6267e-05 | 3.4584e-05 | 0.18422 | 0.18422 | 0.18422 | 0.99184 | -0.15469 | 0.99234 | -0.14521 | 10.1221
4 | 0.095989 | 0.024618 | -0.095851 | -0.024535 | 0.00013769 | 8.2467e-05 | 0.14441 | 0.14441 | 0.14441 | 0.99046 | -0.1809 | 0.98891 | -0.21052 | 7.9347
5 | 0.022393 | 0.0056136 | -0.02239 | -0.0056114 | 3.6488e-06 | 2.2241e-06 | 0.033604 | 0.033604 | 0.033604 | 0.99159 | -0.15945 | 0.99142 | -0.16287 | 9.232
6 | -0.12271 | -0.031381 | 0.12283 | 0.031455 | 0.00012034 | 7.3962e-05 | 0.18422 | 0.18422 | 0.18422 | 0.99234 | -0.14521 | 0.9934 | -0.12496 | 10.1221
7 | 0.01347 | 0.0033769 | -0.013467 | -0.0033748 | 3.7908e-06 | 2.1105e-06 | 0.020269 | 0.020269 | 0.020269 | 0.98891 | -0.21052 | 0.98861 | -0.21643 | 5.5685
8 | 0.082381 | 0.021158 | -0.082344 | -0.021135 | 3.6989e-05 | 2.3345e-05 | 0.12414 | 0.12414 | 0.12414 | 0.98891 | -0.21052 | 0.98843 | -0.21977 | 17.0526
9 | 0.011188 | 0.002806 | -0.011178 | -0.0028008 | 9.9825e-06 | 5.173e-06 | 0.016793 | 0.016794 | 0.016794 | 0.99135 | -0.16464 | 0.99038 | -0.18338 | 4.6137
10 | -0.058355 | -0.014691 | 0.058497 | 0.014781 | 0.00014162 | 8.9999e-05 | 0.087615 | 0.087614 | 0.087615 | 0.99135 | -0.16464 | 0.99398 | -0.11401 | 24.0699
11 | 0.047168 | 0.011885 | -0.047001 | -0.01178 | 0.00016653 | 0.00010544 | 0.070821 | 0.070822 | 0.070822 | 0.99135 | -0.16464 | 0.98753 | -0.23873 | 19.4565
12 | 0.011178 | 0.0028008 | -0.011173 | -0.0027986 | 4.4086e-06 | 2.2853e-06 | 0.016794 | 0.016794 | 0.016794 | 0.99038 | -0.18338 | 0.98996 | -0.19166 | 4.6137
13 | 0.12385 | 0.031735 | -0.12378 | -0.031694 | 6.5705e-05 | 4.0405e-05 | 0.18565 | 0.18565 | 0.18565 | 0.99398 | -0.11401 | 0.9934 | -0.12496 | 10.2007
14 | -0.18234 | -0.046516 | 0.18242 | 0.046564 | 7.7463e-05 | 4.8679e-05 | 0.27327 | 0.27327 | 0.27327 | 0.99398 | -0.11401 | 0.99444 | -0.10522 | 15.0146
15 | 0.0075998 | 0.0019044 | -0.0075993 | -0.0019043 | 4.3629e-07 | 1.6522e-07 | 0.011439 | 0.011439 | 0.011439 | 0.98861 | -0.21643 | 0.98854 | -0.21763 | 3.1425
16 | 0.081383 | 0.020894 | -0.081161 | -0.020753 | 0.0002218 | 0.00014145 | 0.1227 | 0.1227 | 0.1227 | 0.98843 | -0.21977 | 0.98548 | -0.27609 | 33.7076
17 | 0.22289 | 0.057321 | -0.22257 | -0.057117 | 0.00032369 | 0.00020464 | 0.33363 | 0.33363 | 0.33363 | 0.99567 | -0.08165 | 0.99409 | -0.11158 | 18.3315
18 | -0.41177 | -0.10558 | 0.41341 | 0.10663 | 0.0016374 | 0.0010442 | 0.61623 | 0.61623 | 0.61623 | 0.99567 | -0.08165 | 1 | 0 | 33.8589
19 | 0.18887 | 0.048263 | -0.18867 | -0.048135 | 0.00020356 | 0.00012807 | 0.2826 | 0.2826 | 0.2826 | 0.99567 | -0.08165 | 0.9945 | -0.10396 | 15.5275
20 | 0.21968 | 0.056392 | -0.2189 | -0.055897 | 0.00078384 | 0.00049544 | 0.32931 | 0.32931 | 0.32931 | 0.99409 | -0.11158 | 0.99022 | -0.18538 | 18.0939
21 | 0.015131 | 0.003794 | -0.015125 | -0.0037908 | 5.5406e-06 | 3.1638e-06 | 0.022516 | 0.022516 | 0.022516 | 1 | 0 | 0.9996 | -0.0076864 | 6.1857
22 | 0.015924 | 0.0039977 | -0.015912 | -0.0039905 | 1.2541e-05 | 7.2457e-06 | 0.023698 | 0.023698 | 0.023698 | 1 | 0 | 0.99914 | -0.016523 | 6.5105
23 | 0.18867 | 0.048135 | -0.18866 | -0.048128 | 1.1446e-05 | 7.2013e-06 | 0.2826 | 0.2826 | 0.2826 | 0.9945 | -0.10396 | 0.99444 | -0.10522 | 15.5275
24 | 0.0068965 | 0.0017267 | -0.0068927 | -0.0017255 | 3.8149e-06 | 1.225e-06 | 0.010366 | 0.010366 | 0.010366 | 0.98996 | -0.19166 | 0.98936 | -0.20329 | 2.8478
25 | 0.00037077 | 9.2634e-05 | -0.00037077 | -9.2923e-05 | 2.6451e-09 | -2.8869e-07 | 0.000558 | 0.0005581 | 0.0005581 | 0.98854 | -0.21763 | 0.98854 | -0.21778 | 0.15333
26 | 0.081161 | 0.020753 | -0.081101 | -0.020715 | 5.9474e-05 | 3.7929e-05 | 0.1227 | 0.1227 | 0.1227 | 0.98548 | -0.27609 | 0.98469 | -0.29124 | 33.7076
27 | -0.1944 | -0.049566 | 0.19459 | 0.049684 | 0.00018702 | 0.00011784 | 0.29323 | 0.29323 | 0.29323 | 0.98753 | -0.23695 | 0.98857 | -0.21705 | 16.1117
28 | 0.1944 | 0.049566 | -0.1934 | -0.048931 | 0.0010079 | 0.0006351 | 0.29323 | 0.29324 | 0.29324 | 0.98753 | -0.23695 | 0.98194 | -0.34495 | 16.1119
29 | -0.20785 | -0.053007 | 0.208 | 0.053104 | 0.00015412 | 9.729e-05 | 0.31319 | 0.31319 | 0.31319 | 0.98857 | -0.21705 | 0.98937 | -0.2017 | 17.2081
30 | 0.19048 | 0.048201 | -0.19042 | -0.048161 | 6.3447e-05 | 3.9965e-05 | 0.28882 | 0.28882 | 0.28882 | 0.98194 | -0.34495 | 0.98158 | -0.35189 | 15.8692
31 | 0.011841 | 0.0029703 | -0.011839 | -0.0029693 | 2.0627e-06 | 1.0886e-06 | 0.017636 | 0.017636 | 0.017636 | 0.99914 | -0.016523 | 0.99895 | -0.020178 | 4.8452
32 | 0.20817 | 0.053208 | -0.208 | -0.053104 | 0.00016426 | 0.00010369 | 0.31319 | 0.31319 | 0.31319 | 0.99022 | -0.18538 | 0.98937 | -0.2017 | 17.2081
33 | 0.081101 | 0.020715 | -0.080682 | -0.020447 | 0.00041937 | 0.00026746 | 0.1227 | 0.1227 | 0.1227 | 0.98469 | -0.29124 | 0.97914 | -0.39881 | 33.7077
34 | 0.0044367 | 0.0011117 | -0.0044361 | -0.0011118 | 6.1219e-07 | -5.978e-08 | 0.0067425 | 0.0067426 | 0.0067426 | 0.97914 | -0.39881 | 0.97899 | -0.40171 | 1.8524
35 | 0.076245 | 0.019335 | -0.07566 | -0.018962 | 0.00058541 | 0.00037321 | 0.11595 | 0.11595 | 0.11595 | 0.97914 | -0.39881 | 0.97093 | -0.55987 | 31.8555
36 | 0.0074248 | 0.0018609 | -0.0074247 | -0.0018608 | 1.6907e-07 | 6.5145e-08 | 0.011379 | 0.011379 | 0.011379 | 0.97093 | -0.55987 | 0.97091 | -0.56035 | 3.1261
37 | 0.001851 | 0.00046193 | -0.001851 | -0.00046217 | 6.2858e-08 | -2.3762e-07 | 0.0027833 | 0.0027834 | 0.0027834 | 0.98936 | -0.20329 | 0.98932 | -0.204 | 0.76466
38 | 0.011839 | 0.0029693 | -0.011832 | -0.0029654 | 7.3435e-06 | 3.8762e-06 | 0.017636 | 0.017637 | 0.017637 | 0.99895 | -0.020178 | 0.99827 | -0.033198 | 4.8452
39 | 0.001851 | 0.00046217 | -0.0018508 | -0.00046275 | 1.5548e-07 | -5.8759e-07 | 0.0027834 | 0.0027836 | 0.0027836 | 0.98932 | -0.204 | 0.98923 | -0.20577 | 0.76473
40 | 0.0018508 | 0.00046275 | -0.0018507 | -0.00046294 | 4.8605e-08 | -1.8363e-07 | 0.0027836 | 0.0027837 | 0.0027837 | 0.98923 | -0.20577 | 0.9892 | -0.20632 | 0.76475
41 | -0.0011124 | -0.00027879 | 0.0011124 | 0.00027826 | 4.558e-08 | -5.281e-07 | 0.0016734 | 0.0016732 | 0.0016734 | 0.98916 | -0.20718 | 0.9892 | -0.20632 | 0.45972
42 | 0.00073833 | 0.00018468 | -0.00073832 | -0.00018504 | 1.3272e-08 | -3.5988e-07 | 0.0011105 | 0.0011106 | 0.0011106 | 0.9892 | -0.20632 | 0.98918 | -0.2067 | 0.30512
43 | 0.18683 | 0.047261 | -0.18666 | -0.047154 | 0.00016953 | 0.00010672 | 0.28338 | 0.28338 | 0.28338 | 0.98158 | -0.35189 | 0.98061 | -0.37082 | 15.5702
44 | -0.050195 | -0.01258 | 0.050339 | 0.012671 | 0.00014308 | 9.0772e-05 | 0.076912 | 0.076912 | 0.076912 | 0.97113 | -0.55682 | 0.97415 | -0.49717 | 21.1296
45 | 0.0057223 | 0.0014341 | -0.0057216 | -0.001434 | 6.278e-07 | 1.2902e-07 | 0.0087407 | 0.0087408 | 0.0087408 | 0.97415 | -0.49717 | 0.97404 | -0.49947 | 2.4013
46 | -0.056061 | -0.014105 | 0.056125 | 0.014146 | 6.3737e-05 | 4.0503e-05 | 0.085652 | 0.085652 | 0.085652 | 0.97415 | -0.49717 | 0.97536 | -0.4734 | 23.5309
47 | -0.057478 | -0.014485 | 0.057568 | 0.014541 | 8.9736e-05 | 5.5876e-05 | 0.087718 | 0.087717 | 0.087718 | 0.97536 | -0.4734 | 0.97703 | -0.44082 | 12.0491
48 | 0.024209 | 0.0060756 | -0.024198 | -0.0060686 | 1.146e-05 | 7.0505e-06 | 0.036792 | 0.036792 | 0.036792 | 0.97921 | -0.39825 | 0.9787 | -0.40818 | 10.1077
49 | -0.026143 | -0.0065602 | 0.026154 | 0.006567 | 1.1001e-05 | 6.8068e-06 | 0.03973 | 0.03973 | 0.03973 | 0.97921 | -0.39825 | 0.97966 | -0.38943 | 10.9149
50 | 0.022106 | 0.0055443 | -0.022103 | -0.0055426 | 2.8987e-06 | 1.7692e-06 | 0.033612 | 0.033612 | 0.033612 | 0.9787 | -0.40818 | 0.97856 | -0.41093 | 9.234
51 | -0.028229 | -0.0070872 | 0.028238 | 0.0070923 | 8.3522e-06 | 5.1929e-06 | 0.042882 | 0.042882 | 0.042882 | 0.97966 | -0.38943 | 0.97997 | -0.38323 | 11.7809
52 | 0.018176 | 0.0045582 | -0.01817 | -0.0045546 | 5.9342e-06 | 3.5377e-06 | 0.027639 | 0.027639 | 0.027639 | 0.97856 | -0.41093 | 0.97821 | -0.41778 | 7.5932
53 | -0.18123 | -0.045753 | 0.18126 | 0.045768 | 2.4209e-05 | 1.5225e-05 | 0.27531 | 0.27531 | 0.27531 | 0.97997 | -0.38323 | 0.98012 | -0.38044 | 15.1267
54 | 0.15299 | 0.03866 | -0.15283 | -0.038559 | 0.00016285 | 0.0001017 | 0.23242 | 0.23242 | 0.23242 | 0.97997 | -0.38323 | 0.97883 | -0.40545 | 12.7706
55 | 0.013318 | 0.0033388 | -0.013315 | -0.003337 | 3.14e-06 | 1.7536e-06 | 0.02026 | 0.02026 | 0.02026 | 0.97821 | -0.41778 | 0.97796 | -0.42273 | 5.5659
56 | -0.18416 | -0.046497 | 0.18425 | 0.04655 | 8.4882e-05 | 5.3413e-05 | 0.27972 | 0.27972 | 0.27972 | 0.98012 | -0.38044 | 0.98061 | -0.37082 | 15.3693
57 | 0.053648 | 0.013524 | -0.053595 | -0.013491 | 5.3201e-05 | 3.3781e-05 | 0.081583 | 0.081583 | 0.081583 | 0.97883 | -0.40545 | 0.97777 | -0.4262 | 22.413
58 | 0.099183 | 0.025034 | -0.099122 | -0.024998 | 6.1058e-05 | 3.683e-05 | 0.15084 | 0.15084 | 0.15084 | 0.97883 | -0.40545 | 0.97818 | -0.41831 | 8.288
59 | 0.0042296 | 0.0010599 | -0.0042294 | -0.00106 | 2.0481e-07 | -3.4377e-08 | 0.0064355 | 0.0064355 | 0.0064355 | 0.97796 | -0.42273 | 0.97791 | -0.42375 | 1.768
60 | 0.049413 | 0.012442 | -0.049385 | -0.012425 | 2.7947e-05 | 1.7721e-05 | 0.075219 | 0.075219 | 0.075219 | 0.97777 | -0.4262 | 0.97717 | -0.43804 | 20.6646
61 | 0.093926 | 0.023695 | -0.09386 | -0.023656 | 6.5724e-05 | 3.9373e-05 | 0.14294 | 0.14294 | 0.14294 | 0.97818 | -0.41831 | 0.97743 | -0.43294 | 7.8537
62 | 0.031443 | 0.0078884 | -0.031422 | -0.0078751 | 2.1142e-05 | 1.3223e-05 | 0.047891 | 0.047891 | 0.047891 | 0.97703 | -0.44082 | 0.97631 | -0.45493 | 13.1568
63 | -0.089011 | -0.022429 | 0.089045 | 0.022449 | 3.3573e-05 | 1.9962e-05 | 0.13561 | 0.13561 | 0.13561 | 0.97703 | -0.44082 | 0.97743 | -0.43294 | 7.451
64 | 0.0068212 | 0.0017097 | -0.0068198 | -0.0017092 | 1.4433e-06 | 4.7854e-07 | 0.010396 | 0.010397 | 0.010397 | 0.97631 | -0.45493 | 0.97608 | -0.45938 | 2.8562
65 | 0.04629 | 0.011649 | -0.046265 | -0.011633 | 2.4489e-05 | 1.5508e-05 | 0.070506 | 0.070506 | 0.070506 | 0.97717 | -0.43804 | 0.97661 | -0.44911 | 19.3698
66 | 0.0068198 | 0.0017092 | -0.0068193 | -0.001709 | 5.3764e-07 | 1.7831e-07 | 0.010397 | 0.010397 | 0.010397 | 0.97608 | -0.45938 | 0.976 | -0.46103 | 2.8562
67 | 0.041914 | 0.010543 | -0.041883 | -0.010523 | 3.151e-05 | 1.9909e-05 | 0.063877 | 0.063877 | 0.063877 | 0.97661 | -0.44911 | 0.9758 | -0.46486 | 17.5487
68 | 0.0039833 | 0.00099825 | -0.0039832 | -0.00099828 | 1.2921e-07 | -3.4056e-08 | 0.006073 | 0.006073 | 0.006073 | 0.976 | -0.46103 | 0.97597 | -0.46171 | 1.6684
69 | 0.020026 | 0.0050258 | -0.020016 | -0.0050199 | 9.8823e-06 | 5.9747e-06 | 0.030601 | 0.030602 | 0.030602 | 0.97385 | -0.50334 | 0.97333 | -0.51369 | 8.407
70 | -0.020026 | -0.0050258 | 0.020034 | 0.0050308 | 8.1431e-06 | 4.923e-06 | 0.030601 | 0.030601 | 0.030601 | 0.97385 | -0.50334 | 0.97428 | -0.49482 | 8.407
71 | 0.015185 | 0.0038092 | -0.015179 | -0.0038058 | 5.7944e-06 | 3.3522e-06 | 0.023216 | 0.023216 | 0.023216 | 0.97333 | -0.51369 | 0.97292 | -0.5217 | 6.378
72 | 0.0048312 | 0.0012107 | -0.0048308 | -0.0012107 | 3.9131e-07 | 1.2716e-08 | 0.0073859 | 0.007386 | 0.007386 | 0.97333 | -0.51369 | 0.97324 | -0.51539 | 2.0291
73 | -0.023609 | -0.0059268 | 0.023617 | 0.0059317 | 7.9384e-06 | 4.8778e-06 | 0.036062 | 0.036062 | 0.036062 | 0.97428 | -0.49482 | 0.97464 | -0.48777 | 9.9071
74 | 0.011682 | 0.0029294 | -0.01168 | -0.0029283 | 2.029e-06 | 1.0881e-06 | 0.017867 | 0.017867 | 0.017867 | 0.97292 | -0.5217 | 0.97274 | -0.52534 | 4.9086
75 | 0.0023942 | 0.00060002 | -0.0023942 | -0.00060004 | 1.0724e-08 | -1.9657e-08 | 0.0036606 | 0.0036606 | 0.0036606 | 0.97324 | -0.51539 | 0.97324 | -0.51549 | 1.0057
76 | -0.028032 | -0.007038 | 0.028045 | 0.0070465 | 1.3623e-05 | 8.4716e-06 | 0.042801 | 0.042801 | 0.042801 | 0.97464 | -0.48777 | 0.97516 | -0.47759 | 11.7586
77 | 0.01168 | 0.0029283 | -0.011677 | -0.0029269 | 2.5875e-06 | 1.3878e-06 | 0.017867 | 0.017868 | 0.017868 | 0.97274 | -0.52534 | 0.9725 | -0.52999 | 4.9087
78 | 0.0077378 | 0.0019396 | -0.0077345 | -0.0019382 | 3.2757e-06 | 1.3237e-06 | 0.01184 | 0.01184 | 0.01184 | 0.9725 | -0.52999 | 0.97205 | -0.53888 | 3.2527
79 | 0.037951 | 0.0095378 | -0.03793 | -0.0095244 | 2.1398e-05 | 1.3482e-05 | 0.057882 | 0.057882 | 0.057882 | 0.9758 | -0.46486 | 0.9752 | -0.47668 | 15.9017
80 | 0.031617 | 0.0079422 | -0.031616 | -0.0079414 | 1.3677e-06 | 8.5577e-07 | 0.04825 | 0.04825 | 0.04825 | 0.9752 | -0.47668 | 0.97516 | -0.47759 | 13.2554
81 | 0.0053013 | 0.0013284 | -0.0053003 | -0.0013283 | 1.0235e-06 | 1.4141e-07 | 0.0081151 | 0.0081153 | 0.0081153 | 0.97205 | -0.53888 | 0.97185 | -0.54294 | 2.2295
82 | 0.0053003 | 0.0013283 | -0.0052992 | -0.0013281 | 1.0376e-06 | 1.436e-07 | 0.0081153 | 0.0081155 | 0.0081155 | 0.97185 | -0.54294 | 0.97164 | -0.54705 | 2.2295

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44611 | 0.11442

## res_load
| p_mw | q_mvar
0 | 0.0041371 | 0.0010369
1 | 0.047001 | 0.01178
2 | 0.02239 | 0.0056114
3 | 0.00095557 | 0.00023949
4 | 0.0058667 | 0.0014703
5 | 0.00096143 | 0.00024096
6 | 0.0028907 | 0.00072449
7 | 0.0042767 | 0.0010718
8 | 0.0072286 | 0.0018116
9 | 0.013258 | 0.0033227
10 | 0.0029144 | 0.00073041
11 | 0.00037077 | 9.2923e-05
12 | 0.015125 | 0.0037908
13 | 0.0040704 | 0.0010201
14 | 0.0062384 | 0.0015635
15 | 0.010728 | 0.0026887
16 | 0.0044361 | 0.0011118
17 | 0.068235 | 0.017101
18 | 0.0050417 | 0.0012636
19 | 0.0074247 | 0.0018608
20 | 0.011832 | 0.0029654
21 | 0.0011124 | 0.00027879
22 | 0.00073832 | 0.00018504
23 | 0.0035906 | 0.00089988
24 | 0.050195 | 0.01258
25 | 0.0057216 | 0.001434
26 | 0.0013539 | 0.00033933
27 | 0.0019336 | 0.0004846
28 | 0.0020918 | 0.00052425
29 | 0.0020753 | 0.00052012
30 | 0.0039277 | 0.00098439
31 | 0.0048513 | 0.0012159
32 | 0.0029078 | 0.00072876
33 | 0.0090856 | 0.0022771
34 | 0.0024105 | 0.00060412
35 | 0.0041821 | 0.0010481
36 | 0.0051966 | 0.0013024
37 | 0.024601 | 0.0061655
38 | 0.0048151 | 0.0012068
39 | 0.0042294 | 0.00106
40 | 0.003095 | 0.00077568
41 | 0.0043507 | 0.0010904
42 | 0.0028359 | 0.00071075
43 | 0.0035753 | 0.00089606
44 | 0.0039832 | 0.00099828
45 | 0.003497 | 0.00087644
46 | 0.0024366 | 0.00061067
47 | 0.0044143 | 0.0011063
48 | 0.0023942 | 0.00060004
49 | 0.0039396 | 0.00098735
50 | 0.0039316 | 0.00098534
51 | 0.0063129 | 0.0015822
52 | 0.0035705 | 0.00089486
53 | 0.0024333 | 0.00060983
54 | 0.0052992 | 0.0013281

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1