## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1331-17_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1331-17_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1331-17_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1331-17_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1331-17_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1331-17_0_7_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_1331-17_0_7_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_1331-17_0_7_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_1331-17_0_7_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1331-17_0_7_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1331-17_0_7_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1331-17_0_7_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1331-17_0_7_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1331-17_0_7_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1331-17_0_7_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1331-17_0_7_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1331-17_0_7_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1331-17_0_7_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_1331-17_0_7_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1331-17_0_7_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1331-17_0_7_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1331-17_0_7_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1331-17_0_7_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1331-17_0_7_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_1331-17_0_7_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1331-17_0_7_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_1331-17_0_7_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1331-17_0_7_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1331-17_0_7_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1331-17_0_7_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1331-17_0_7_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1331-17_0_7_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_1331-17_0_7_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_1331-17_0_7_node_79 | 0.4 | n |  | TRUE
34 | bus_LV_1331-17_0_7_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1331-17_0_7_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1331-17_0_7_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1331-17_0_7_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1331-17_0_7_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_1331-17_0_7_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1331-17_0_7_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1331-17_0_7_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1331-17_0_7_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1331-17_0_7_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1331-17_0_7_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1331-17_0_7_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_1331-17_0_7_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_1331-17_0_7_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_1331-17_0_7_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_1331-17_0_7_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_1331-17_0_7_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_1331-17_0_7_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_1331-17_0_7_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1331-17_0_7_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_1331-17_0_7_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_1331-17_0_7_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1331-17_0_7_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1331-17_0_7_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_1331-17_0_7_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_1331-17_0_7_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_1331-17_0_7_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_1331-17_0_7_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_1331-17_0_7_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_1331-17_0_7_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_1331-17_0_7_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_1331-17_0_7_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_1331-17_0_7_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_1331-17_0_7_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_1331-17_0_7_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_1331-17_0_7_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_1331-17_0_7_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_1331-17_0_7_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_1331-17_0_7_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_1331-17_0_7_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_1331-17_0_7_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_1331-17_0_7_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_1331-17_0_7_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_1331-17_0_7_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_1331-17_0_7_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_1331-17_0_7_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_1331-17_0_7_node_83 | 0.4 | n |  | TRUE
81 | bus_MV_4_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1331-17_0_7_load_0 | 0 | 0.029663 | 0.0074343 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1331-17_0_7_load_2 | 2 | 0.039925 | 0.010006 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1331-17_0_7_load_3 | 3 | 0.0023724 | 0.00059458 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1331-17_0_7_load_4 | 4 | 0.0031084 | 0.00077905 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1331-17_0_7_load_59 | 5 | 0.0027826 | 0.00069739 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1331-17_0_7_load_64 | 6 | 0.0049621 | 0.0012436 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1331-17_0_7_load_5 | 8 | 0.012757 | 0.0031972 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1331-17_0_7_load_6 | 9 | 0.023832 | 0.0059729 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1331-17_0_7_load_9 | 12 | 0.0023319 | 0.00058443 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1331-17_0_7_load_10 | 13 | 0.018596 | 0.0046606 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1331-17_0_7_load_13 | 15 | 0.016432 | 0.0041183 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1331-17_0_7_load_16 | 16 | 0.0059732 | 0.001497 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1331-17_0_7_load_24 | 17 | 0.0060028 | 0.0015045 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1331-17_0_7_load_20 | 18 | 0.0080966 | 0.0020292 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1331-17_0_7_load_12 | 19 | 0.017943 | 0.0044969 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1331-17_0_7_load_17 | 20 | 0.0044937 | 0.0011262 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1331-17_0_7_load_11 | 21 | 0.014938 | 0.0037439 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1331-17_0_7_load_31 | 22 | 0.0032381 | 0.00081154 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1331-17_0_7_load_29 | 23 | 0.0073463 | 0.0018412 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1331-17_0_7_load_34 | 26 | 0.0092203 | 0.0023108 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1331-17_0_7_load_19 | 28 | 0.013695 | 0.0034322 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1331-17_0_7_load_21 | 29 | 0.0022989 | 0.00057616 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1331-17_0_7_load_22 | 30 | 0.0066212 | 0.0016594 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1331-17_0_7_load_37 | 31 | 0.0070511 | 0.0017672 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1331-17_0_7_load_79 | 33 | 0.0098801 | 0.0024762 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1331-17_0_7_load_33 | 34 | 0.0029212 | 0.00073213 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1331-17_0_7_load_26 | 35 | 0.011943 | 0.0029933 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1331-17_0_7_load_27 | 36 | 0.0022575 | 0.00056578 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1331-17_0_7_load_41 | 37 | 0.025724 | 0.0064471 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1331-17_0_7_load_28 | 39 | 0.0044458 | 0.0011142 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1331-17_0_7_load_30 | 40 | 0.0019514 | 0.00048907 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1331-17_0_7_load_32 | 41 | 0.0023919 | 0.00059946 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1331-17_0_7_load_84 | 46 | 0.0025157 | 0.00063048 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1331-17_0_7_load_48 | 48 | 0.012245 | 0.003069 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1331-17_0_7_load_46 | 49 | 0.00273 | 0.00068419 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1331-17_0_7_load_66 | 50 | 0.0027469 | 0.00068843 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1331-17_0_7_load_65 | 51 | 0.0031513 | 0.0007898 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1331-17_0_7_load_44 | 53 | 0.0031699 | 0.00079445 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1331-17_0_7_load_43 | 54 | 0.0041599 | 0.0010426 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1331-17_0_7_load_50 | 56 | 0.0082672 | 0.002072 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1331-17_0_7_load_56 | 57 | 0.0051672 | 0.001295 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1331-17_0_7_load_53 | 58 | 0.044623 | 0.011184 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1331-17_0_7_load_63 | 59 | 0.0014352 | 0.0003597 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1331-17_0_7_load_51 | 61 | 0.014081 | 0.0035292 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1331-17_0_7_load_52 | 62 | 0.0045585 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1331-17_0_7_load_55 | 64 | 0.022095 | 0.0055375 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1331-17_0_7_load_57 | 65 | 0.024405 | 0.0061164 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1331-17_0_7_load_86 | 66 | 0.0060098 | 0.0015062 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1331-17_0_7_load_60 | 67 | 0.0092152 | 0.0023095 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1331-17_0_7_load_82 | 69 | 0.016774 | 0.004204 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1331-17_0_7_load_68 | 71 | 0.0025823 | 0.00064717 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1331-17_0_7_load_69 | 72 | 0.0024966 | 0.0006257 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1331-17_0_7_load_70 | 73 | 0.0025787 | 0.00064628 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1331-17_0_7_load_72 | 74 | 0.0079331 | 0.0019882 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1331-17_0_7_load_75 | 76 | 0.0057121 | 0.0014316 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1331-17_0_7_load_76 | 77 | 0.0037541 | 0.00094086 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1331-17_0_7_load_77 | 78 | 0.0036986 | 0.00092696 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1331-17_0_7_load_78 | 79 | 0.0025942 | 0.00065017 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1331-17_0_7_load_83 | 80 | 0.0025543 | 0.00064017 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1331-17_0_7_line_0 |  | 0 | 1 | 0.044733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1331-17_0_7_line_1 |  | 0 | 2 | 0.042147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1331-17_0_7_line_2 |  | 1 | 3 | 0.016947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1331-17_0_7_line_3 |  | 1 | 4 | 0.011657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1331-17_0_7_line_4 |  | 3 | 5 | 0.033045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1331-17_0_7_line_5 |  | 4 | 6 | 0.021177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1331-17_0_7_line_6 |  | 6 | 7 | 0.025236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1331-17_0_7_line_7 |  | 7 | 59 | 0.0020497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1331-17_0_7_line_8 |  | 7 | 67 | 0.032731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1331-17_0_7_line_9 |  | 8 | 9 | 0.020217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1331-17_0_7_line_10 |  | 8 | 10 | 0.039978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1331-17_0_7_line_11 |  | 9 | 11 | 0.0017444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1331-17_0_7_line_12 |  | 10 | 12 | 0.019271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1331-17_0_7_line_13 |  | 10 | 13 | 0.032996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1331-17_0_7_line_14 |  | 11 | 14 | 0.032171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1331-17_0_7_line_15 |  | 11 | 15 | 0.048841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1331-17_0_7_line_16 |  | 12 | 16 | 0.021667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1331-17_0_7_line_17 |  | 14 | 17 | 0.014861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1331-17_0_7_line_18 |  | 14 | 18 | 0.012392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1331-17_0_7_line_19 |  | 15 | 19 | 0.0087091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1331-17_0_7_line_20 |  | 16 | 20 | 0.020652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1331-17_0_7_line_21 |  | 17 | 27 | 0.015153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1331-17_0_7_line_22 |  | 18 | 28 | 0.0091443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1331-17_0_7_line_23 |  | 19 | 21 | 0.041023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1331-17_0_7_line_24 |  | 20 | 24 | 0.018197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1331-17_0_7_line_25 |  | 22 | 23 | 0.036322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1331-17_0_7_line_26 |  | 23 | 39 | 0.026376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1331-17_0_7_line_27 |  | 24 | 25 | 0.01397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1331-17_0_7_line_28 |  | 24 | 26 | 0.0025061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1331-17_0_7_line_29 |  | 25 | 32 | 0.034677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1331-17_0_7_line_30 |  | 25 | 33 | 0.033256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1331-17_0_7_line_31 |  | 26 | 34 | 0.050964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1331-17_0_7_line_32 |  | 27 | 35 | 0.027526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1331-17_0_7_line_33 |  | 27 | 36 | 0.038475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1331-17_0_7_line_34 |  | 28 | 29 | 0.013964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1331-17_0_7_line_35 |  | 29 | 30 | 0.02289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1331-17_0_7_line_36 |  | 30 | 31 | 0.027842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1331-17_0_7_line_37 |  | 32 | 69 | 0.024247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1331-17_0_7_line_38 |  | 32 | 70 | 0.034468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1331-17_0_7_line_39 |  | 33 | 45 | 0.024199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1331-17_0_7_line_40 |  | 36 | 37 | 0.03458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1331-17_0_7_line_41 |  | 37 | 38 | 0.01785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1331-17_0_7_line_42 |  | 38 | 53 | 0.030397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1331-17_0_7_line_43 |  | 38 | 48 | 0.018201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1331-17_0_7_line_44 |  | 39 | 40 | 0.030489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1331-17_0_7_line_45 |  | 40 | 41 | 0.02657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1331-17_0_7_line_46 |  | 41 | 42 | 0.024998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1331-17_0_7_line_47 |  | 42 | 43 | 0.016636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1331-17_0_7_line_48 |  | 43 | 48 | 0.021969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1331-17_0_7_line_49 |  | 43 | 49 | 0.031165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1331-17_0_7_line_50 |  | 44 | 45 | 0.000872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1331-17_0_7_line_51 |  | 44 | 46 | 0.022151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1331-17_0_7_line_52 |  | 45 | 47 | 0.034689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1331-17_0_7_line_53 |  | 47 | 80 | 0.0066623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1331-17_0_7_line_54 |  | 49 | 52 | 0.050553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1331-17_0_7_line_55 |  | 50 | 51 | 0.028507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1331-17_0_7_line_56 |  | 51 | 68 | 0.030056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1331-17_0_7_line_57 |  | 52 | 55 | 0.011844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1331-17_0_7_line_58 |  | 52 | 56 | 0.012494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_1331-17_0_7_line_59 |  | 53 | 54 | 0.0031218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1331-17_0_7_line_60 |  | 55 | 57 | 0.034384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1331-17_0_7_line_61 |  | 55 | 58 | 0.048185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1331-17_0_7_line_62 |  | 56 | 59 | 0.030075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_1331-17_0_7_line_63 |  | 57 | 60 | 0.042806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1331-17_0_7_line_64 |  | 58 | 61 | 0.0084725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1331-17_0_7_line_65 |  | 60 | 66 | 0.032889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1331-17_0_7_line_66 |  | 61 | 62 | 0.02648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1331-17_0_7_line_67 |  | 62 | 63 | 0.011121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1331-17_0_7_line_68 |  | 63 | 64 | 0.020441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1331-17_0_7_line_69 |  | 64 | 65 | 0.016476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1331-17_0_7_line_70 |  | 67 | 68 | 0.0034218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1331-17_0_7_line_71 |  | 70 | 74 | 0.026446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1331-17_0_7_line_72 |  | 70 | 73 | 0.041278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1331-17_0_7_line_73 |  | 71 | 72 | 0.026372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1331-17_0_7_line_74 |  | 72 | 73 | 0.026574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1331-17_0_7_line_75 |  | 74 | 75 | 0.026718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1331-17_0_7_line_76 |  | 75 | 76 | 0.019046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1331-17_0_7_line_77 |  | 76 | 77 | 0.055658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1331-17_0_7_line_78 |  | 77 | 78 | 0.014976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1331-17_0_7_line_79 |  | 78 | 79 | 0.053015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1331-17_0_7_trafo_18 | 0.63 MVA 20/0.4 kV | 81 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2675974.424 | 1214453.2693 | 2675946.9032 | 1214464.2035 | 2675933.7659 | 1214471.6883
1 | 2675895.3476 | 1214482.5479 | 2675906.8361 | 1214485.1958 | 2675911.5714 | 1214484.3333 | 2675933.7659 | 1214471.6883
2 | 2675974.424 | 1214453.2693 | 2675963.5885 | 1214440.2389
3 | 2675974.424 | 1214453.2693 | 2675981.9221 | 1214462.1948
4 | 2675942.4601 | 1214414.8306 | 2675963.5885 | 1214440.2389
5 | 2675995.5434 | 1214478.4092 | 2675981.9221 | 1214462.1948
6 | 2676008.5163 | 1214499.9892 | 2675998.0366 | 1214481.3771 | 2675995.5434 | 1214478.4092
7 | 2676008.5163 | 1214499.9892 | 2676009.3581 | 1214501.8581
8 | 2676008.5163 | 1214499.9892 | 2676023.3173 | 1214493.029 | 2676022.6088 | 1214482.4799 | 2676020.4966 | 1214477.0756
9 | 2676168.7404 | 1214515.2309 | 2676158.3394 | 1214519.213 | 2676149.7209 | 1214522.0687
10 | 2676206.1551 | 1214501.1456 | 2676179.9781 | 1214510.9285 | 2676168.7404 | 1214515.2309
11 | 2676148.065 | 1214522.6173 | 2676149.7209 | 1214522.0687
12 | 2676206.1551 | 1214501.1456 | 2676208.5541 | 1214520.2669
13 | 2676206.1551 | 1214501.1456 | 2676208.0805 | 1214483.0363 | 2676211.8777 | 1214468.7478
14 | 2676118.3442 | 1214535.1349 | 2676148.065 | 1214522.6173
15 | 2676148.065 | 1214522.6173 | 2676145.4372 | 1214516.0685 | 2676129.8002 | 1214477.3197
16 | 2676208.5541 | 1214520.2669 | 2676211.2515 | 1214541.7658
17 | 2676118.3442 | 1214535.1349 | 2676125.9281 | 1214547.9156
18 | 2676118.3442 | 1214535.1349 | 2676111.6984 | 1214524.6759
19 | 2676129.8002 | 1214477.3197 | 2676126.5411 | 1214469.2434
20 | 2676213.8223 | 1214562.257 | 2676211.2515 | 1214541.7658
21 | 2676133.6608 | 1214560.947 | 2676125.9281 | 1214547.9156
22 | 2676111.6984 | 1214524.6759 | 2676106.7942 | 1214516.9579
23 | 2676106.094 | 1214434.2734 | 2676113.2667 | 1214441.4654 | 2676119.9783 | 1214452.9807 | 2676126.5411 | 1214469.2434
24 | 2676216.0876 | 1214580.3123 | 2676213.8223 | 1214562.257
25 | 2676029.3835 | 1214480.0521 | 2676028.6844 | 1214478.3658 | 2676023.9358 | 1214465.9751 | 2676019.9806 | 1214453.3165 | 2676018.0766 | 1214445.9764 | 2676017.9945 | 1214445.6029
26 | 2676039.4847 | 1214504.4175 | 2676029.3835 | 1214480.0521
27 | 2676216.0876 | 1214580.3123 | 2676227.4355 | 1214579.668 | 2676229.8863 | 1214578.6765
28 | 2676216.0876 | 1214580.3123 | 2676216.1324 | 1214582.818
29 | 2676229.8863 | 1214578.6765 | 2676245.4535 | 1214572.3826 | 2676263.2093 | 1214569.5633
30 | 2676229.8863 | 1214578.6765 | 2676232.6272 | 1214603.6943 | 2676233.4321 | 1214611.7424
31 | 2676189.7738 | 1214623.6251 | 2676212.5072 | 1214600.7463 | 2676216.2957 | 1214591.9558 | 2676216.1324 | 1214582.818
32 | 2676133.6608 | 1214560.947 | 2676146.6574 | 1214585.2285
33 | 2676133.6608 | 1214560.947 | 2676108.728 | 1214575.0266 | 2676100.1544 | 1214579.858
34 | 2676099.3051 | 1214505.1718 | 2676106.7942 | 1214516.9579
35 | 2676099.3051 | 1214505.1718 | 2676090.1176 | 1214490.7128 | 2676086.6411 | 1214486.121
36 | 2676086.6411 | 1214486.121 | 2676069.835 | 1214463.9238
37 | 2676263.2093 | 1214569.5633 | 2676266.5527 | 1214593.5782
38 | 2676297.3007 | 1214564.5184 | 2676293.2254 | 1214564.255 | 2676263.2093 | 1214569.5633
39 | 2676235.8315 | 1214635.8226 | 2676235.6978 | 1214634.3977 | 2676233.4321 | 1214611.7424
40 | 2676100.1544 | 1214579.858 | 2676096.8241 | 1214581.7346 | 2676094.0914 | 1214585.7801 | 2676093.997 | 1214589.6036 | 2676107.2377 | 1214607.2363
41 | 2676109.6839 | 1214622.6917 | 2676112.7668 | 1214617.3943 | 2676111.1515 | 1214612.4483 | 2676107.2377 | 1214607.2363
42 | 2676109.6839 | 1214622.6917 | 2676120.1746 | 1214633.855 | 2676128.0111 | 1214644.0949 | 2676129.2286 | 1214645.9075
43 | 2676109.6839 | 1214622.6917 | 2676097.6551 | 1214609.0321
44 | 2676039.4847 | 1214504.4175 | 2676045.7647 | 1214519.5656 | 2676051.3074 | 1214532.5208
45 | 2676051.3074 | 1214532.5208 | 2676061.7587 | 1214556.9488
46 | 2676073.3279 | 1214579.0887 | 2676063.672 | 1214561.4208 | 2676061.7587 | 1214556.9488
47 | 2676083.1362 | 1214592.5447 | 2676073.3279 | 1214579.0887
48 | 2676083.1362 | 1214592.5447 | 2676097.6551 | 1214609.0321
49 | 2676083.1362 | 1214592.5447 | 2676078.1355 | 1214594.5711 | 2676072.8234 | 1214593.0245 | 2676065.3831 | 1214580.8885 | 2676062.4532 | 1214575.6514
50 | 2676235.8315 | 1214635.8226 | 2676235.9115 | 1214636.6908
51 | 2676235.9115 | 1214636.6908 | 2676238.014 | 1214658.7421
52 | 2676270.4421 | 1214632.3073 | 2676244.6541 | 1214634.8681 | 2676235.8315 | 1214635.8226
53 | 2676270.4421 | 1214632.3073 | 2676270.7837 | 1214638.9608
54 | 2676026.8414 | 1214540.6712 | 2676052.2476 | 1214560.9081 | 2676056.8879 | 1214565.7037 | 2676062.4532 | 1214575.6514
55 | 2676033.3719 | 1214502.3106 | 2676037.9589 | 1214512.8506 | 2676044.7224 | 1214528.4601
56 | 2676022.1035 | 1214474.4571 | 2676027.7168 | 1214489.316 | 2676033.3719 | 1214502.3106
57 | 2676029.3597 | 1214552.2441 | 2676026.8414 | 1214540.6712
58 | 2676026.8414 | 1214540.6712 | 2676021.7102 | 1214529.2798
59 | 2676130.9693 | 1214648.499 | 2676129.2286 | 1214645.9075
60 | 2676029.3597 | 1214552.2441 | 2675999.1573 | 1214568.678
61 | 2676029.3597 | 1214552.2441 | 2676045.6045 | 1214597.608
62 | 2676009.3581 | 1214501.8581 | 2676021.7102 | 1214529.2798
63 | 2675961.5574 | 1214589.1371 | 2675999.1573 | 1214568.678
64 | 2676048.4609 | 1214605.5844 | 2676045.6045 | 1214597.608
65 | 2675961.5574 | 1214589.1371 | 2675938.8162 | 1214565.3766
66 | 2676048.4609 | 1214605.5844 | 2676057.3881 | 1214630.5139
67 | 2676061.1375 | 1214640.9841 | 2676057.3881 | 1214630.5139
68 | 2676061.1375 | 1214640.9841 | 2676068.7475 | 1214659.9561
69 | 2676073.3002 | 1214675.5865 | 2676073.1063 | 1214670.8226 | 2676068.7475 | 1214659.9561
70 | 2676022.1035 | 1214474.4571 | 2676020.233 | 1214476.4012 | 2676020.4966 | 1214477.0756
71 | 2676297.3007 | 1214564.5184 | 2676323.6714 | 1214562.5277
72 | 2676297.3007 | 1214564.5184 | 2676300.7418 | 1214605.6529
73 | 2676305.3019 | 1214658.4015 | 2676303.0186 | 1214632.1289
74 | 2676303.0186 | 1214632.1289 | 2676301.3649 | 1214613.1016 | 2676300.7418 | 1214605.6529
75 | 2676350.3137 | 1214560.5165 | 2676323.6714 | 1214562.5277
76 | 2676350.3137 | 1214560.5165 | 2676369.3088 | 1214559.1236
77 | 2676369.3088 | 1214559.1236 | 2676389.1621 | 1214557.6677 | 2676390.5197 | 1214559.0082 | 2676394.6067 | 1214592.6041
78 | 2676396.4152 | 1214607.4705 | 2676394.6067 | 1214592.6041
79 | 2676396.4152 | 1214607.4705 | 2676357.0918 | 1214643.0265

## bus_geodata
| x | y | coords
0 | 2675933.7659 | 1214471.6883
1 | 2675974.424 | 1214453.2693
2 | 2675895.3476 | 1214482.5479
3 | 2675963.5885 | 1214440.2389
4 | 2675981.9221 | 1214462.1948
5 | 2675942.4601 | 1214414.8306
6 | 2675995.5434 | 1214478.4092
7 | 2676008.5163 | 1214499.9892
8 | 2676168.7404 | 1214515.2309
9 | 2676149.7209 | 1214522.0687
10 | 2676206.1551 | 1214501.1456
11 | 2676148.065 | 1214522.6173
12 | 2676208.5541 | 1214520.2669
13 | 2676211.8777 | 1214468.7478
14 | 2676118.3442 | 1214535.1349
15 | 2676129.8002 | 1214477.3197
16 | 2676211.2515 | 1214541.7658
17 | 2676125.9281 | 1214547.9156
18 | 2676111.6984 | 1214524.6759
19 | 2676126.5411 | 1214469.2434
20 | 2676213.8223 | 1214562.257
21 | 2676106.094 | 1214434.2734
22 | 2676017.9945 | 1214445.6029
23 | 2676029.3835 | 1214480.0521
24 | 2676216.0876 | 1214580.3123
25 | 2676229.8863 | 1214578.6765
26 | 2676216.1324 | 1214582.818
27 | 2676133.6608 | 1214560.947
28 | 2676106.7942 | 1214516.9579
29 | 2676099.3051 | 1214505.1718
30 | 2676086.6411 | 1214486.121
31 | 2676069.835 | 1214463.9238
32 | 2676263.2093 | 1214569.5633
33 | 2676233.4321 | 1214611.7424
34 | 2676189.7738 | 1214623.6251
35 | 2676146.6574 | 1214585.2285
36 | 2676100.1544 | 1214579.858
37 | 2676107.2377 | 1214607.2363
38 | 2676109.6839 | 1214622.6917
39 | 2676039.4848 | 1214504.4175
40 | 2676051.3074 | 1214532.5208
41 | 2676061.7587 | 1214556.9488
42 | 2676073.3279 | 1214579.0887
43 | 2676083.1362 | 1214592.5447
44 | 2676235.9115 | 1214636.6908
45 | 2676235.8315 | 1214635.8226
46 | 2676238.014 | 1214658.7421
47 | 2676270.4421 | 1214632.3073
48 | 2676097.6551 | 1214609.0321
49 | 2676062.4532 | 1214575.6514
50 | 2676044.7224 | 1214528.4601
51 | 2676033.3719 | 1214502.3106
52 | 2676026.8414 | 1214540.6712
53 | 2676129.2286 | 1214645.9075
54 | 2676130.9693 | 1214648.499
55 | 2676029.3597 | 1214552.2441
56 | 2676021.7102 | 1214529.2798
57 | 2675999.1573 | 1214568.678
58 | 2676045.6045 | 1214597.608
59 | 2676009.3581 | 1214501.8581
60 | 2675961.5574 | 1214589.1371
61 | 2676048.4609 | 1214605.5844
62 | 2676057.3881 | 1214630.5139
63 | 2676061.1375 | 1214640.9841
64 | 2676068.7475 | 1214659.9561
65 | 2676073.3002 | 1214675.5865
66 | 2675938.8162 | 1214565.3766
67 | 2676020.4966 | 1214477.0756
68 | 2676022.1035 | 1214474.4571
69 | 2676266.5527 | 1214593.5782
70 | 2676297.3007 | 1214564.5184
71 | 2676305.3019 | 1214658.4015
72 | 2676303.0186 | 1214632.1289
73 | 2676300.7418 | 1214605.6529
74 | 2676323.6714 | 1214562.5277
75 | 2676350.3137 | 1214560.5165
76 | 2676369.3088 | 1214559.1236
77 | 2676394.6067 | 1214592.6041
78 | 2676396.4152 | 1214607.4705
79 | 2676357.0918 | 1214643.0265
80 | 2676270.7837 | 1214638.9608
81 | 2676133.6608 | 1214560.947

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97218 | -0.53523 | 0.029663 | 0.0074343
1 | 0.97509 | -0.478 | 0 | 0
2 | 0.97061 | -0.56631 | 0.039925 | 0.010006
3 | 0.97501 | -0.4796 | 0.0023724 | 0.00059458
4 | 0.9759 | -0.46204 | 0.0031084 | 0.00077905
5 | 0.97492 | -0.48128 | 0.0027826 | 0.00069739
6 | 0.97744 | -0.43191 | 0.0049621 | 0.0012436
7 | 0.97842 | -0.41287 | 0 | 0
8 | 0.99577 | -0.080574 | 0.012757 | 0.0031972
9 | 0.99799 | -0.038241 | 0.023832 | 0.0059729
10 | 0.99185 | -0.15581 | 0 | 0
11 | 0.99811 | -0.036056 | 0 | 0
12 | 0.99028 | -0.18591 | 0.0023319 | 0.00058443
13 | 0.99129 | -0.16668 | 0.018596 | 0.0046606
14 | 1 | 0 | -0.55653 | -0.14232
15 | 0.99591 | -0.078289 | 0.016432 | 0.0041183
16 | 0.98857 | -0.21897 | 0.0059732 | 0.001497
17 | 0.99854 | -0.027344 | 0.0060028 | 0.0015045
18 | 0.99958 | -0.00816 | 0.0080966 | 0.0020292
19 | 0.99565 | -0.083323 | 0.017943 | 0.0044969
20 | 0.98705 | -0.24838 | 0.0044937 | 0.0011262
21 | 0.9951 | -0.094104 | 0.014938 | 0.0037439
22 | 0.98371 | -0.31049 | 0.0032381 | 0.00081154
23 | 0.98382 | -0.30837 | 0.0073463 | 0.0018412
24 | 0.98579 | -0.27291 | 0 | 0
25 | 0.98498 | -0.28873 | 0 | 0
26 | 0.98576 | -0.27345 | 0.0092203 | 0.0023108
27 | 0.99709 | -0.054774 | 0 | 0
28 | 0.99933 | -0.012894 | 0.013695 | 0.0034322
29 | 0.99913 | -0.016787 | 0.0022989 | 0.00057616
30 | 0.99884 | -0.022254 | 0.0066212 | 0.0016594
31 | 0.99866 | -0.025684 | 0.0070511 | 0.0017672
32 | 0.98344 | -0.31876 | 0 | 0
33 | 0.98452 | -0.29766 | 0.0098801 | 0.0024762
34 | 0.98562 | -0.27612 | 0.0029212 | 0.00073213
35 | 0.99679 | -0.06054 | 0.011943 | 0.0029933
36 | 0.99353 | -0.12208 | 0.0022575 | 0.00056578
37 | 0.99036 | -0.18252 | 0.025724 | 0.0064471
38 | 0.98886 | -0.21114 | 0 | 0
39 | 0.98408 | -0.30334 | 0.0044458 | 0.0011142
40 | 0.9845 | -0.2951 | 0.0019514 | 0.00048907
41 | 0.98492 | -0.28699 | 0.0023919 | 0.00059946
42 | 0.98536 | -0.27829 | 0 | 0
43 | 0.98566 | -0.2725 | 0 | 0
44 | 0.9844 | -0.29991 | 0 | 0
45 | 0.98441 | -0.29987 | 0 | 0
46 | 0.98435 | -0.30091 | 0.0025157 | 0.00063048
47 | 0.98432 | -0.30147 | 0 | 0
48 | 0.98737 | -0.23962 | 0.012245 | 0.003069
49 | 0.98342 | -0.31571 | 0.00273 | 0.00068419
50 | 0.9777 | -0.42691 | 0.0027469 | 0.00068843
51 | 0.97778 | -0.42548 | 0.0031513 | 0.0007898
52 | 0.97983 | -0.38539 | 0 | 0
53 | 0.98865 | -0.21511 | 0.0031699 | 0.00079445
54 | 0.98864 | -0.21535 | 0.0041599 | 0.0010426
55 | 0.97849 | -0.41143 | 0 | 0
56 | 0.97941 | -0.39353 | 0.0082672 | 0.002072
57 | 0.97813 | -0.41843 | 0.0051672 | 0.001295
58 | 0.97356 | -0.5082 | 0.044623 | 0.011184
59 | 0.97848 | -0.41165 | 0.0014352 | 0.0003597
60 | 0.9779 | -0.42312 | 0 | 0
61 | 0.97304 | -0.51835 | 0.014081 | 0.0035292
62 | 0.97178 | -0.54328 | 0.0045585 | 0.0011425
63 | 0.97129 | -0.55283 | 0 | 0
64 | 0.97041 | -0.5704 | 0.022095 | 0.0055375
65 | 0.97003 | -0.57785 | 0.024405 | 0.0061164
66 | 0.97771 | -0.42672 | 0.0060098 | 0.0015062
67 | 0.97796 | -0.42188 | 0.0092152 | 0.0023095
68 | 0.97794 | -0.42225 | 0 | 0
69 | 0.98306 | -0.32609 | 0.016774 | 0.004204
70 | 0.98244 | -0.33826 | 0 | 0
71 | 0.98196 | -0.34764 | 0.0025823 | 0.00064717
72 | 0.98202 | -0.34641 | 0.0024966 | 0.0006257
73 | 0.98215 | -0.34397 | 0.0025787 | 0.00064628
74 | 0.98186 | -0.34958 | 0.0079331 | 0.0019882
75 | 0.98147 | -0.3572 | 0 | 0
76 | 0.98119 | -0.36264 | 0.0057121 | 0.0014316
77 | 0.98067 | -0.37277 | 0.0037541 | 0.00094086
78 | 0.98059 | -0.37448 | 0.0036986 | 0.00092696
79 | 0.98046 | -0.37697 | 0.0025942 | 0.00065017
80 | 0.98431 | -0.30177 | 0.0025543 | 0.00064017
81 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.069647 | -0.017478 | 0.069838 | 0.017599 | 0.00019066 | 0.00012146 | 0.10661 | 0.10661 | 0.10661 | 0.97218 | -0.53523 | 0.97509 | -0.478 | 29.2883
1 | 0.039984 | 0.010043 | -0.039925 | -0.010006 | 5.9211e-05 | 3.7373e-05 | 0.061207 | 0.061208 | 0.061208 | 0.97218 | -0.53523 | 0.97061 | -0.56631 | 16.8153
2 | 0.0051556 | 0.0012917 | -0.0051552 | -0.0012917 | 3.9337e-07 | 4.0381e-08 | 0.0078675 | 0.0078676 | 0.0078676 | 0.97509 | -0.478 | 0.97501 | -0.4796 | 2.1614
3 | -0.074994 | -0.018891 | 0.075051 | 0.018928 | 5.7287e-05 | 3.6518e-05 | 0.11448 | 0.11448 | 0.11448 | 0.97509 | -0.478 | 0.9759 | -0.46204 | 31.4497
4 | 0.0027828 | 0.00069712 | -0.0027826 | -0.00069739 | 2.2352e-07 | -2.6905e-07 | 0.0042469 | 0.0042471 | 0.0042471 | 0.97501 | -0.4796 | 0.97492 | -0.48128 | 1.1668
5 | -0.078159 | -0.019707 | 0.078272 | 0.019779 | 0.00011287 | 7.1969e-05 | 0.11922 | 0.11922 | 0.11922 | 0.9759 | -0.46204 | 0.97744 | -0.43191 | 32.7518
6 | -0.083234 | -0.021022 | 0.08331 | 0.02107 | 7.6042e-05 | 4.8034e-05 | 0.12677 | 0.12677 | 0.12677 | 0.97744 | -0.43191 | 0.97842 | -0.41287 | 17.4135
7 | -0.098431 | -0.024862 | 0.098437 | 0.024865 | 5.7469e-06 | 3.6008e-06 | 0.14977 | 0.14977 | 0.14977 | 0.97842 | -0.41287 | 0.97848 | -0.41165 | 13.715
8 | 0.015121 | 0.0037915 | -0.015115 | -0.0037878 | 6.4916e-06 | 3.7437e-06 | 0.022997 | 0.022998 | 0.022998 | 0.97842 | -0.41287 | 0.97796 | -0.42188 | 6.318
9 | -0.12042 | -0.030582 | 0.12067 | 0.030739 | 0.00024589 | 0.0001571 | 0.18009 | 0.18009 | 0.18009 | 0.99577 | -0.080574 | 0.99799 | -0.038241 | 49.4763
10 | 0.10767 | 0.027385 | -0.10728 | -0.027137 | 0.00038875 | 0.00024828 | 0.16103 | 0.16103 | 0.16103 | 0.99577 | -0.080574 | 0.99185 | -0.15581 | 44.2392
11 | -0.1445 | -0.036712 | 0.14452 | 0.036722 | 1.5207e-05 | 9.6872e-06 | 0.21563 | 0.21563 | 0.21563 | 0.99799 | -0.038241 | 0.99811 | -0.036056 | 29.6191
12 | 0.088671 | 0.02247 | -0.088543 | -0.022389 | 0.00012806 | 8.1709e-05 | 0.13312 | 0.13312 | 0.13312 | 0.99185 | -0.15581 | 0.99028 | -0.18591 | 36.5705
13 | 0.018606 | 0.0046664 | -0.018596 | -0.0046606 | 9.6416e-06 | 5.745e-06 | 0.027914 | 0.027915 | 0.027915 | 0.99185 | -0.15581 | 0.99129 | -0.16668 | 7.6688
14 | -0.19394 | -0.049153 | 0.19428 | 0.049368 | 0.00033664 | 0.00021419 | 0.28933 | 0.28933 | 0.28933 | 0.99811 | -0.036056 | 1 | 0 | 26.4956
15 | 0.049428 | 0.012431 | -0.049329 | -0.012368 | 9.9497e-05 | 6.3041e-05 | 0.073705 | 0.073705 | 0.073705 | 0.99811 | -0.036056 | 0.99591 | -0.078289 | 20.2486
16 | 0.086211 | 0.021804 | -0.086075 | -0.021717 | 0.0001365 | 8.7082e-05 | 0.12961 | 0.12961 | 0.12961 | 0.99028 | -0.18591 | 0.98857 | -0.21897 | 35.6079
17 | 0.32281 | 0.083468 | -0.32238 | -0.083193 | 0.00043027 | 0.00027479 | 0.48126 | 0.48126 | 0.48126 | 1 | 0 | 0.99854 | -0.027344 | 44.0717
18 | 0.037791 | 0.0094816 | -0.037777 | -0.0094724 | 1.4697e-05 | 9.2435e-06 | 0.056238 | 0.056238 | 0.056238 | 1 | 0 | 0.99958 | -0.00816 | 15.45
19 | 0.032897 | 0.0082501 | -0.032889 | -0.0082451 | 7.8906e-06 | 4.9367e-06 | 0.049153 | 0.049153 | 0.049153 | 0.99591 | -0.078289 | 0.99565 | -0.083323 | 13.5037
20 | 0.080101 | 0.02022 | -0.079989 | -0.020148 | 0.00011268 | 7.185e-05 | 0.12062 | 0.12062 | 0.12062 | 0.98857 | -0.21897 | 0.98705 | -0.24838 | 33.1379
21 | 0.31638 | 0.081688 | -0.31596 | -0.081419 | 0.00042255 | 0.00026984 | 0.47232 | 0.47232 | 0.47232 | 0.99854 | -0.027344 | 0.99709 | -0.054774 | 43.2526
22 | 0.02968 | 0.0074432 | -0.029674 | -0.007439 | 6.6948e-06 | 4.1648e-06 | 0.044185 | 0.044185 | 0.044185 | 0.99958 | -0.00816 | 0.99933 | -0.012894 | 12.1388
23 | 0.014946 | 0.0037483 | -0.014938 | -0.0037439 | 7.6761e-06 | 4.3795e-06 | 0.022338 | 0.022338 | 0.022338 | 0.99565 | -0.083323 | 0.9951 | -0.094104 | 6.1368
24 | 0.075495 | 0.019022 | -0.075406 | -0.018966 | 8.8445e-05 | 5.6373e-05 | 0.11385 | 0.11385 | 0.11385 | 0.98705 | -0.24838 | 0.98579 | -0.27291 | 31.2768
25 | -0.0032381 | -0.00081154 | 0.0032384 | 0.00081129 | 3.2677e-07 | -2.5205e-07 | 0.0048981 | 0.0048979 | 0.0048981 | 0.98371 | -0.31049 | 0.98382 | -0.30837 | 1.3456
26 | -0.010585 | -0.0026525 | 0.010587 | 0.0026537 | 2.535e-06 | 1.2874e-06 | 0.016009 | 0.016009 | 0.016009 | 0.98382 | -0.30837 | 0.98408 | -0.30334 | 4.3981
27 | 0.063264 | 0.015923 | -0.063216 | -0.015893 | 4.7798e-05 | 3.0413e-05 | 0.095519 | 0.095519 | 0.095519 | 0.98579 | -0.27291 | 0.98498 | -0.28873 | 26.2416
28 | 0.012142 | 0.0030427 | -0.012142 | -0.0030425 | 3.1569e-07 | 1.7009e-07 | 0.018328 | 0.018328 | 0.018328 | 0.98579 | -0.27291 | 0.98576 | -0.27345 | 5.0352
29 | 0.048259 | 0.012143 | -0.04819 | -0.012099 | 6.9151e-05 | 4.3816e-05 | 0.072923 | 0.072923 | 0.072923 | 0.98498 | -0.28873 | 0.98344 | -0.31876 | 20.0338
30 | 0.014957 | 0.0037499 | -0.014951 | -0.0037463 | 6.3678e-06 | 3.6523e-06 | 0.022597 | 0.022597 | 0.022597 | 0.98498 | -0.28873 | 0.98452 | -0.29766 | 6.2079
31 | 0.0029216 | 0.00073172 | -0.0029212 | -0.00073213 | 3.717e-07 | -4.1173e-07 | 0.00441 | 0.0044102 | 0.0044102 | 0.98576 | -0.27345 | 0.98562 | -0.27612 | 1.2116
32 | 0.011947 | 0.002995 | -0.011943 | -0.0029933 | 3.2812e-06 | 1.7411e-06 | 0.017829 | 0.017829 | 0.017829 | 0.99709 | -0.054774 | 0.99679 | -0.06054 | 4.8981
33 | 0.30401 | 0.078424 | -0.30302 | -0.077789 | 0.00099342 | 0.00063429 | 0.45449 | 0.45449 | 0.45449 | 0.99709 | -0.054774 | 0.99353 | -0.12208 | 41.62
34 | 0.015979 | 0.0040068 | -0.015976 | -0.0040051 | 2.9646e-06 | 1.7144e-06 | 0.023794 | 0.023794 | 0.023794 | 0.99933 | -0.012894 | 0.99913 | -0.016787 | 6.5367
35 | 0.013677 | 0.003429 | -0.013673 | -0.003427 | 3.5617e-06 | 1.9798e-06 | 0.02037 | 0.02037 | 0.02037 | 0.99913 | -0.016787 | 0.99884 | -0.022254 | 5.5961
36 | 0.0070523 | 0.0017675 | -0.0070511 | -0.0017672 | 1.1524e-06 | 3.732e-07 | 0.010506 | 0.010506 | 0.010506 | 0.99884 | -0.022254 | 0.99866 | -0.025684 | 2.8863
37 | 0.01678 | 0.0042075 | -0.016774 | -0.004204 | 5.8617e-06 | 3.4439e-06 | 0.02539 | 0.025391 | 0.025391 | 0.98344 | -0.31876 | 0.98306 | -0.32609 | 6.9754
38 | 0.03141 | 0.0078914 | -0.031381 | -0.0078732 | 2.9203e-05 | 1.8253e-05 | 0.047533 | 0.047533 | 0.047533 | 0.98344 | -0.31876 | 0.98244 | -0.33826 | 13.0584
39 | 0.0050709 | 0.0012701 | -0.0050703 | -0.0012701 | 5.3302e-07 | 3.3442e-08 | 0.0076639 | 0.007664 | 0.007664 | 0.98452 | -0.29766 | 0.98441 | -0.29987 | 2.1055
40 | 0.30076 | 0.077223 | -0.29988 | -0.076662 | 0.00087962 | 0.00056162 | 0.45111 | 0.45111 | 0.45111 | 0.99353 | -0.12208 | 0.99036 | -0.18252 | 41.3104
41 | 0.27416 | 0.070215 | -0.27378 | -0.069972 | 0.00037959 | 0.00024225 | 0.41246 | 0.41246 | 0.41246 | 0.99036 | -0.18252 | 0.98886 | -0.21114 | 37.771
42 | 0.0073312 | 0.0018375 | -0.0073299 | -0.001837 | 1.3873e-06 | 4.9801e-07 | 0.011032 | 0.011032 | 0.011032 | 0.98886 | -0.21114 | 0.98865 | -0.21511 | 3.0308
43 | 0.26644 | 0.068135 | -0.26608 | -0.067901 | 0.00036662 | 0.00023394 | 0.40143 | 0.40143 | 0.40143 | 0.98886 | -0.21114 | 0.98737 | -0.23962 | 36.7608
44 | -0.015033 | -0.003768 | 0.015039 | 0.0037714 | 5.9079e-06 | 3.3935e-06 | 0.022732 | 0.022731 | 0.022732 | 0.98408 | -0.30334 | 0.9845 | -0.2951 | 6.2449
45 | -0.01699 | -0.0042604 | 0.016997 | 0.0042643 | 6.5711e-06 | 3.8675e-06 | 0.025681 | 0.025681 | 0.025681 | 0.9845 | -0.2951 | 0.98492 | -0.28699 | 7.0552
46 | -0.019389 | -0.0048638 | 0.019397 | 0.0048686 | 8.0447e-06 | 4.8303e-06 | 0.029294 | 0.029294 | 0.029294 | 0.98492 | -0.28699 | 0.98536 | -0.27829 | 8.0479
47 | -0.019397 | -0.0048686 | 0.019402 | 0.0048718 | 5.3536e-06 | 3.2143e-06 | 0.029294 | 0.029294 | 0.029294 | 0.98536 | -0.27829 | 0.98566 | -0.2725 | 8.0479
48 | -0.25343 | -0.064575 | 0.25383 | 0.064832 | 0.00040277 | 0.00025693 | 0.38297 | 0.38297 | 0.38297 | 0.98566 | -0.2725 | 0.98737 | -0.23962 | 35.0709
49 | 0.23403 | 0.059703 | -0.23354 | -0.059393 | 0.0004873 | 0.00031068 | 0.35368 | 0.35368 | 0.35368 | 0.98566 | -0.2725 | 0.98342 | -0.31571 | 32.3883
50 | -0.0025158 | -0.00063028 | 0.0025158 | 0.00063027 | 4.7289e-09 | -8.0597e-09 | 0.0038027 | 0.0038027 | 0.0038027 | 0.9844 | -0.29991 | 0.98441 | -0.29987 | 1.0447
51 | 0.0025158 | 0.00063028 | -0.0025157 | -0.00063048 | 1.2013e-07 | -2.0472e-07 | 0.0038027 | 0.0038028 | 0.0038028 | 0.9844 | -0.29991 | 0.98435 | -0.30091 | 1.0447
52 | 0.0025545 | 0.00063979 | -0.0025544 | -0.00064011 | 1.9396e-07 | -3.1684e-07 | 0.0038613 | 0.0038614 | 0.0038614 | 0.98441 | -0.29987 | 0.98432 | -0.30147 | 1.0608
53 | 0.0025544 | 0.00064011 | -0.0025543 | -0.00064017 | 3.7252e-08 | -6.0843e-08 | 0.0038614 | 0.0038615 | 0.0038615 | 0.98432 | -0.30147 | 0.98431 | -0.30177 | 1.0608
54 | 0.23081 | 0.058708 | -0.23004 | -0.058216 | 0.0007721 | 0.00049223 | 0.34955 | 0.34955 | 0.34955 | 0.98342 | -0.31571 | 0.97983 | -0.38539 | 32.0101
55 | -0.0027469 | -0.00068843 | 0.0027471 | 0.00068819 | 1.8683e-07 | -2.3795e-07 | 0.0041806 | 0.0041805 | 0.0041806 | 0.9777 | -0.42691 | 0.97778 | -0.42548 | 1.1485
56 | -0.0058984 | -0.001478 | 0.0058993 | 0.0014782 | 9.0812e-07 | 2.0415e-07 | 0.0089763 | 0.0089761 | 0.0089763 | 0.97778 | -0.42548 | 0.97794 | -0.42225 | 2.466
57 | 0.12177 | 0.030838 | -0.12162 | -0.030741 | 0.00015208 | 9.718e-05 | 0.18504 | 0.18504 | 0.18504 | 0.97983 | -0.38539 | 0.97849 | -0.41143 | 50.8353
58 | 0.10827 | 0.027378 | -0.10823 | -0.027351 | 4.2266e-05 | 2.6578e-05 | 0.16451 | 0.16451 | 0.16451 | 0.97983 | -0.38539 | 0.97941 | -0.39353 | 15.065
59 | 0.0041599 | 0.0010426 | -0.0041599 | -0.0010426 | 4.5893e-08 | -1.066e-08 | 0.0062611 | 0.0062611 | 0.0062611 | 0.98865 | -0.21511 | 0.98864 | -0.21535 | 1.7201
60 | 0.011183 | 0.0028037 | -0.011179 | -0.0028018 | 3.7294e-06 | 1.9551e-06 | 0.017007 | 0.017007 | 0.017007 | 0.97849 | -0.41143 | 0.97813 | -0.41843 | 4.6722
61 | 0.11043 | 0.027937 | -0.10992 | -0.027611 | 0.00051019 | 0.00032592 | 0.16803 | 0.16803 | 0.16803 | 0.97849 | -0.41143 | 0.97356 | -0.5082 | 46.1632
62 | 0.099959 | 0.025279 | -0.099872 | -0.025225 | 8.68e-05 | 5.4418e-05 | 0.15195 | 0.15195 | 0.15195 | 0.97941 | -0.39353 | 0.97848 | -0.41165 | 13.9148
63 | 0.0060122 | 0.0015068 | -0.0060108 | -0.0015064 | 1.3428e-06 | 3.2226e-07 | 0.0091462 | 0.0091464 | 0.0091464 | 0.97813 | -0.41843 | 0.9779 | -0.42312 | 2.5127
64 | 0.065301 | 0.016428 | -0.065269 | -0.016408 | 3.1664e-05 | 2.016e-05 | 0.099831 | 0.099831 | 0.099831 | 0.97356 | -0.5082 | 0.97304 | -0.51835 | 27.426
65 | 0.0060108 | 0.0015064 | -0.0060098 | -0.0015062 | 1.0318e-06 | 2.4781e-07 | 0.0091464 | 0.0091465 | 0.0091465 | 0.9779 | -0.42312 | 0.97771 | -0.42672 | 2.5128
66 | 0.051188 | 0.012878 | -0.051127 | -0.01284 | 6.0874e-05 | 3.8631e-05 | 0.078297 | 0.078297 | 0.078297 | 0.97304 | -0.51835 | 0.97178 | -0.54328 | 21.5101
67 | 0.046568 | 0.011697 | -0.046547 | -0.011684 | 2.1211e-05 | 1.3438e-05 | 0.071317 | 0.071317 | 0.071317 | 0.97178 | -0.54328 | 0.97129 | -0.55283 | 19.5925
68 | 0.046547 | 0.011684 | -0.046508 | -0.011659 | 3.8987e-05 | 2.4699e-05 | 0.071317 | 0.071317 | 0.071317 | 0.97129 | -0.55283 | 0.97041 | -0.5704 | 19.5925
69 | 0.024413 | 0.0061217 | -0.024405 | -0.0061164 | 8.6591e-06 | 5.3383e-06 | 0.037436 | 0.037436 | 0.037436 | 0.97041 | -0.5704 | 0.97003 | -0.57785 | 10.2847
70 | 0.0058994 | 0.0014782 | -0.0058993 | -0.0014782 | 1.0339e-07 | 2.3234e-08 | 0.0089761 | 0.0089761 | 0.0089761 | 0.97796 | -0.42188 | 0.97794 | -0.42225 | 2.466
71 | 0.02372 | 0.0059534 | -0.023707 | -0.0059455 | 1.2803e-05 | 7.8592e-06 | 0.03593 | 0.03593 | 0.03593 | 0.98244 | -0.33826 | 0.98186 | -0.34958 | 9.871
72 | 0.0076603 | 0.0019198 | -0.0076583 | -0.001919 | 2.0838e-06 | 8.1111e-07 | 0.011602 | 0.011603 | 0.011603 | 0.98244 | -0.33826 | 0.98215 | -0.34397 | 3.1875
73 | -0.0025823 | -0.00064717 | 0.0025824 | 0.00064694 | 1.5142e-07 | -2.3672e-07 | 0.003913 | 0.0039129 | 0.003913 | 0.98196 | -0.34764 | 0.98202 | -0.34641 | 1.075
74 | -0.005079 | -0.0012726 | 0.0050796 | 0.0012727 | 5.9019e-07 | 4.1475e-08 | 0.0076959 | 0.0076958 | 0.0076959 | 0.98202 | -0.34641 | 0.98215 | -0.34397 | 2.1143
75 | 0.015774 | 0.0039573 | -0.015769 | -0.003954 | 5.7268e-06 | 3.3274e-06 | 0.023908 | 0.023908 | 0.023908 | 0.98186 | -0.34958 | 0.98147 | -0.3572 | 6.5681
76 | 0.015769 | 0.003954 | -0.015765 | -0.0039516 | 4.0824e-06 | 2.3721e-06 | 0.023908 | 0.023908 | 0.023908 | 0.98147 | -0.3572 | 0.98119 | -0.36264 | 6.5681
77 | 0.010053 | 0.0025201 | -0.010048 | -0.0025177 | 4.8511e-06 | 2.4021e-06 | 0.015245 | 0.015246 | 0.015246 | 0.98119 | -0.36264 | 0.98067 | -0.37277 | 4.1883
78 | 0.0062936 | 0.0015768 | -0.0062931 | -0.0015767 | 5.1213e-07 | 1.3883e-07 | 0.0095494 | 0.0095495 | 0.0095495 | 0.98067 | -0.37277 | 0.98059 | -0.37448 | 2.6235
79 | 0.0025945 | 0.0006497 | -0.0025942 | -0.00065017 | 3.0815e-07 | -4.7147e-07 | 0.0039369 | 0.0039371 | 0.0039371 | 0.98059 | -0.37448 | 0.98046 | -0.37697 | 1.0816

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55653 | 0.14232

## res_load
| p_mw | q_mvar
0 | 0.029663 | 0.0074343
1 | 0.039925 | 0.010006
2 | 0.0023724 | 0.00059458
3 | 0.0031084 | 0.00077905
4 | 0.0027826 | 0.00069739
5 | 0.0049621 | 0.0012436
6 | 0.012757 | 0.0031972
7 | 0.023832 | 0.0059729
8 | 0.0023319 | 0.00058443
9 | 0.018596 | 0.0046606
10 | 0.016432 | 0.0041183
11 | 0.0059732 | 0.001497
12 | 0.0060028 | 0.0015045
13 | 0.0080966 | 0.0020292
14 | 0.017943 | 0.0044969
15 | 0.0044937 | 0.0011262
16 | 0.014938 | 0.0037439
17 | 0.0032381 | 0.00081154
18 | 0.0073463 | 0.0018412
19 | 0.0092203 | 0.0023108
20 | 0.013695 | 0.0034322
21 | 0.0022989 | 0.00057616
22 | 0.0066212 | 0.0016594
23 | 0.0070511 | 0.0017672
24 | 0.0098801 | 0.0024762
25 | 0.0029212 | 0.00073213
26 | 0.011943 | 0.0029933
27 | 0.0022575 | 0.00056578
28 | 0.025724 | 0.0064471
29 | 0.0044458 | 0.0011142
30 | 0.0019514 | 0.00048907
31 | 0.0023919 | 0.00059946
32 | 0.0025157 | 0.00063048
33 | 0.012245 | 0.003069
34 | 0.00273 | 0.00068419
35 | 0.0027469 | 0.00068843
36 | 0.0031513 | 0.0007898
37 | 0.0031699 | 0.00079445
38 | 0.0041599 | 0.0010426
39 | 0.0082672 | 0.002072
40 | 0.0051672 | 0.001295
41 | 0.044623 | 0.011184
42 | 0.0014352 | 0.0003597
43 | 0.014081 | 0.0035292
44 | 0.0045585 | 0.0011425
45 | 0.022095 | 0.0055375
46 | 0.024405 | 0.0061164
47 | 0.0060098 | 0.0015062
48 | 0.0092152 | 0.0023095
49 | 0.016774 | 0.004204
50 | 0.0025823 | 0.00064717
51 | 0.0024966 | 0.0006257
52 | 0.0025787 | 0.00064628
53 | 0.0079331 | 0.0019882
54 | 0.0057121 | 0.0014316
55 | 0.0037541 | 0.00094086
56 | 0.0036986 | 0.00092696
57 | 0.0025942 | 0.00065017
58 | 0.0025543 | 0.00064017

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1