## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1331-18_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1331-18_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1331-18_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1331-18_0_3_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_1331-18_0_3_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_1331-18_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1331-18_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1331-18_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1331-18_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1331-18_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1331-18_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1331-18_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1331-18_0_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1331-18_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_1331-18_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_1331-18_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1331-18_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1331-18_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1331-18_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1331-18_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1331-18_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1331-18_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1331-18_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_1331-18_0_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_1331-18_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1331-18_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_1331-18_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_1331-18_0_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1331-18_0_3_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_1331-18_0_3_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_1331-18_0_3_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_1331-18_0_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1331-18_0_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_1331-18_0_3_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_1331-18_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1331-18_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1331-18_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1331-18_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1331-18_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1331-18_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1331-18_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1331-18_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1331-18_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1331-18_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1331-18_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1331-18_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1331-18_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1331-18_0_3_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_1331-18_0_3_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_1331-18_0_3_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_1331-18_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1331-18_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_1331-18_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1331-18_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1331-18_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1331-18_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_1331-18_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_1331-18_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_1331-18_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_1331-18_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_1331-18_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_1331-18_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_MV_4_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1331-18_0_3_load_0 | 0 | 0.010941 | 0.002742 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1331-18_0_3_load_2 | 2 | 0.013017 | 0.0032624 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1331-18_0_3_load_13 | 3 | 0.0092445 | 0.0023169 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1331-18_0_3_load_11 | 4 | 0.0098262 | 0.0024627 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1331-18_0_3_load_3 | 5 | 0.0075943 | 0.0019033 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1331-18_0_3_load_4 | 6 | 0.003979 | 0.00099724 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1331-18_0_3_load_5 | 7 | 0.0025024 | 0.00062715 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1331-18_0_3_load_6 | 8 | 0.014745 | 0.0036954 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1331-18_0_3_load_7 | 9 | 0.029051 | 0.0072809 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1331-18_0_3_load_8 | 10 | 0.0039003 | 0.00097751 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1331-18_0_3_load_9 | 11 | 0.021992 | 0.0055118 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1331-18_0_3_load_18 | 12 | 0.0016724 | 0.00041913 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1331-18_0_3_load_15 | 14 | 0.0022885 | 0.00057356 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1331-18_0_3_load_22 | 15 | 0.003738 | 0.00093683 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1331-18_0_3_load_19 | 16 | 0.0053763 | 0.0013474 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1331-18_0_3_load_10 | 17 | 0.0051989 | 0.001303 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1331-18_0_3_load_12 | 18 | 0.015852 | 0.003973 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1331-18_0_3_load_16 | 20 | 0.0044319 | 0.0011107 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1331-18_0_3_load_23 | 22 | 0.0028147 | 0.00070544 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1331-18_0_3_load_24 | 23 | 0.0028686 | 0.00071894 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1331-18_0_3_load_25 | 24 | 0.008446 | 0.0021168 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1331-18_0_3_load_26 | 25 | 0.0038847 | 0.00097359 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1331-18_0_3_load_27 | 26 | 0.0047766 | 0.0011971 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1331-18_0_3_load_39 | 27 | 0.0037616 | 0.00094275 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1331-18_0_3_load_58 | 29 | 0.0028158 | 0.00070571 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1331-18_0_3_load_37 | 30 | 0.0038556 | 0.0009663 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1331-18_0_3_load_48 | 32 | 0.0031935 | 0.00080036 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1331-18_0_3_load_59 | 33 | 0.0027287 | 0.00068387 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1331-18_0_3_load_28 | 34 | 0.0027329 | 0.00068492 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1331-18_0_3_load_29 | 35 | 0.0049743 | 0.0012467 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1331-18_0_3_load_30 | 36 | 0.0069552 | 0.0017431 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1331-18_0_3_load_31 | 37 | 0.0041461 | 0.0010391 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1331-18_0_3_load_32 | 38 | 0.0033494 | 0.00083943 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1331-18_0_3_load_33 | 39 | 0.0071147 | 0.0017831 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1331-18_0_3_load_42 | 43 | 0.0042468 | 0.0010644 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1331-18_0_3_load_40 | 44 | 0.0071327 | 0.0017876 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1331-18_0_3_load_36 | 45 | 0.017247 | 0.0043224 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1331-18_0_3_load_35 | 46 | 0.0034646 | 0.00086831 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1331-18_0_3_load_60 | 48 | 0.0044364 | 0.0011119 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1331-18_0_3_load_62 | 49 | 0.0042782 | 0.0010722 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1331-18_0_3_load_43 | 50 | 0.0020381 | 0.00051079 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1331-18_0_3_load_46 | 53 | 0.007256 | 0.0018185 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1331-18_0_3_load_47 | 54 | 0.018616 | 0.0046657 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1331-18_0_3_load_51 | 55 | 0.0092997 | 0.0023307 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1331-18_0_3_load_57 | 56 | 0.006326 | 0.0015854 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1331-18_0_3_load_56 | 57 | 0.0023131 | 0.00057971 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1331-18_0_3_load_52 | 58 | 0.0089556 | 0.0022445 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1331-18_0_3_load_53 | 59 | 0.0083644 | 0.0020963 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1331-18_0_3_load_54 | 60 | 0.0037385 | 0.00093696 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1331-18_0_3_load_55 | 61 | 0.010989 | 0.0027542 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1331-18_0_3_line_0 |  | 0 | 1 | 0.0060775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1331-18_0_3_line_1 |  | 1 | 2 | 0.031881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1331-18_0_3_line_2 |  | 2 | 3 | 0.090246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1331-18_0_3_line_3 |  | 3 | 4 | 0.016921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1331-18_0_3_line_4 |  | 4 | 17 | 0.0057027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1331-18_0_3_line_5 |  | 5 | 6 | 0.0073006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1331-18_0_3_line_6 |  | 5 | 7 | 0.0154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1331-18_0_3_line_7 |  | 6 | 8 | 0.013828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1331-18_0_3_line_8 |  | 7 | 9 | 0.00016877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1331-18_0_3_line_9 |  | 8 | 10 | 0.010012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1331-18_0_3_line_10 |  | 9 | 11 | 0.026263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1331-18_0_3_line_11 |  | 10 | 12 | 0.0030392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1331-18_0_3_line_12 |  | 11 | 13 | 0.011074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1331-18_0_3_line_13 |  | 12 | 14 | 0.016141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1331-18_0_3_line_14 |  | 13 | 15 | 0.025144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1331-18_0_3_line_15 |  | 13 | 16 | 0.012799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1331-18_0_3_line_16 |  | 14 | 19 | 0.011708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1331-18_0_3_line_17 |  | 15 | 24 | 0.0084586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1331-18_0_3_line_18 |  | 16 | 21 | 0.057706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1331-18_0_3_line_19 |  | 17 | 18 | 0.037712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1331-18_0_3_line_20 |  | 18 | 19 | 0.030777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1331-18_0_3_line_21 |  | 19 | 20 | 0.013247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1331-18_0_3_line_22 |  | 21 | 22 | 0.0053026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1331-18_0_3_line_23 |  | 21 | 23 | 0.012431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1331-18_0_3_line_24 |  | 22 | 25 | 0.023761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1331-18_0_3_line_25 |  | 23 | 26 | 0.01594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1331-18_0_3_line_26 |  | 24 | 27 | 0.0019017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1331-18_0_3_line_27 |  | 25 | 28 | 0.014378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1331-18_0_3_line_28 |  | 26 | 29 | 4.4716e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1331-18_0_3_line_29 |  | 27 | 30 | 0.012568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1331-18_0_3_line_30 |  | 28 | 31 | 0.013626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1331-18_0_3_line_31 |  | 28 | 32 | 0.030081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1331-18_0_3_line_32 |  | 29 | 33 | 0.014652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1331-18_0_3_line_33 |  | 30 | 46 | 0.020878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1331-18_0_3_line_34 |  | 31 | 55 | 0.028262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1331-18_0_3_line_35 |  | 32 | 52 | 0.010129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1331-18_0_3_line_36 |  | 34 | 35 | 0.028688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1331-18_0_3_line_37 |  | 34 | 36 | 8.5099e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1331-18_0_3_line_38 |  | 35 | 37 | 0.013278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1331-18_0_3_line_39 |  | 36 | 38 | 0.024045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1331-18_0_3_line_40 |  | 37 | 39 | 0.014163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1331-18_0_3_line_41 |  | 38 | 40 | 0.0128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1331-18_0_3_line_42 |  | 40 | 41 | 0.009426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1331-18_0_3_line_43 |  | 40 | 42 | 0.052871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1331-18_0_3_line_44 |  | 41 | 43 | 0.035629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1331-18_0_3_line_45 |  | 42 | 44 | 0.033826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1331-18_0_3_line_46 |  | 42 | 45 | 0.02304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1331-18_0_3_line_47 |  | 43 | 49 | 0.04003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1331-18_0_3_line_48 |  | 44 | 47 | 0.044117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1331-18_0_3_line_49 |  | 45 | 46 | 0.0012963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1331-18_0_3_line_50 |  | 47 | 48 | 0.038351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1331-18_0_3_line_51 |  | 50 | 51 | 0.019177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1331-18_0_3_line_52 |  | 51 | 52 | 0.013741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1331-18_0_3_line_53 |  | 51 | 53 | 0.033306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1331-18_0_3_line_54 |  | 52 | 54 | 0.015392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1331-18_0_3_line_55 |  | 55 | 56 | 0.0050328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1331-18_0_3_line_56 |  | 56 | 57 | 0.012915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1331-18_0_3_line_57 |  | 57 | 60 | 0.0088397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1331-18_0_3_line_58 |  | 58 | 59 | 0.00043407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1331-18_0_3_line_59 |  | 58 | 60 | 0.0093197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1331-18_0_3_line_60 |  | 59 | 61 | 0.011877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1331-18_0_3_trafo_7 | 0.63 MVA 20/0.4 kV | 62 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2675922.0163 | 1214031.0643 | 2675923.4393 | 1214036.9728
1 | 2675922.0163 | 1214031.0643 | 2675916.0425 | 1214003.8931 | 2675915.2701 | 1213999.9068
2 | 2675825.175 | 1213994.6979 | 2675915.2701 | 1213999.9068
3 | 2675825.175 | 1213994.6979 | 2675810.1226 | 1214002.427
4 | 2675805.0496 | 1214005.0319 | 2675810.1226 | 1214002.427
5 | 2675777.4085 | 1214089.7143 | 2675774.6038 | 1214082.9739
6 | 2675783.3246 | 1214103.9324 | 2675777.4085 | 1214089.7143
7 | 2675774.6038 | 1214082.9739 | 2675769.2915 | 1214070.207
8 | 2675783.3895 | 1214104.0882 | 2675783.3246 | 1214103.9324
9 | 2675764.9396 | 1214061.2146 | 2675767.048 | 1214064.8152 | 2675769.2915 | 1214070.207
10 | 2675793.4791 | 1214128.3362 | 2675783.3895 | 1214104.0882
11 | 2675764.9396 | 1214061.2146 | 2675763.4039 | 1214058.592
12 | 2675791.8434 | 1214139.2891 | 2675793.4791 | 1214128.3362
13 | 2675755.2478 | 1214044.6634 | 2675763.4039 | 1214058.592
14 | 2675791.8434 | 1214139.2891 | 2675802.0983 | 1214162.2466
15 | 2675791.8434 | 1214139.2891 | 2675786.3556 | 1214134.7943 | 2675781.45 | 1214131.8811
16 | 2675749.3315 | 1214034.5597 | 2675755.2478 | 1214044.6634
17 | 2675802.0983 | 1214162.2466 | 2675805.5481 | 1214169.9697
18 | 2675730.2237 | 1214106.0184 | 2675746.5427 | 1214111.1511 | 2675781.45 | 1214131.8811
19 | 2675777.9641 | 1214023.2732 | 2675783.296 | 1214021.1715 | 2675780.5918 | 1214017.5904 | 2675805.0496 | 1214005.0319
20 | 2675749.3315 | 1214034.5597 | 2675777.9641 | 1214023.2732
21 | 2675749.3315 | 1214034.5597 | 2675742.6375 | 1214023.1288
22 | 2675730.2237 | 1214106.0184 | 2675724.9732 | 1214105.2769
23 | 2675730.2237 | 1214106.0184 | 2675729.879 | 1214093.5921
24 | 2675701.2951 | 1214103.9107 | 2675716.7274 | 1214104.1125 | 2675724.9732 | 1214105.2769
25 | 2675729.879 | 1214093.5921 | 2675729.8591 | 1214092.872 | 2675727.6003 | 1214084.1266 | 2675724.774 | 1214078.6229
26 | 2675806.3237 | 1214171.7061 | 2675805.5481 | 1214169.9697
27 | 2675686.9187 | 1214103.7228 | 2675701.2951 | 1214103.9107
28 | 2675724.774 | 1214078.6229 | 2675724.7536 | 1214078.5831
29 | 2675806.3237 | 1214171.7061 | 2675811.4497 | 1214183.1816
30 | 2675686.9187 | 1214103.7228 | 2675676.3795 | 1214112.3946
31 | 2675686.9187 | 1214103.7228 | 2675682.117 | 1214094.2335 | 2675670.216 | 1214078.8549
32 | 2675718.0604 | 1214065.5491 | 2675724.7536 | 1214078.5831
33 | 2675822.5098 | 1214200.8705 | 2675812.0722 | 1214184.5753 | 2675811.4497 | 1214183.1816
34 | 2675676.3795 | 1214112.3946 | 2675660.8576 | 1214136.0128
35 | 2675664.0168 | 1214070.8444 | 2675670.216 | 1214078.8549
36 | 2675745.6529 | 1214187.2725 | 2675762.0631 | 1214210.804
37 | 2675762.068 | 1214210.811 | 2675762.0631 | 1214210.804
38 | 2675738.0574 | 1214176.3809 | 2675745.6529 | 1214187.2725
39 | 2675775.8221 | 1214230.5337 | 2675762.068 | 1214210.811
40 | 2675729.9558 | 1214164.7638 | 2675738.0574 | 1214176.3809
41 | 2675783.1438 | 1214241.0327 | 2675775.8221 | 1214230.5337
42 | 2675776.2411 | 1214247.4714 | 2675783.1438 | 1214241.0327
43 | 2675783.1438 | 1214241.0327 | 2675832.9221 | 1214222.8204
44 | 2675776.2411 | 1214247.4714 | 2675768.1123 | 1214246.3896 | 2675742.1634 | 1214255.2761
45 | 2675832.9221 | 1214222.8204 | 2675864.8357 | 1214211.6077
46 | 2675832.9221 | 1214222.8204 | 2675824.8527 | 1214204.5283 | 2675823.2089 | 1214201.9621
47 | 2675742.1634 | 1214255.2761 | 2675704.2921 | 1214268.2456
48 | 2675906.4583 | 1214196.9838 | 2675864.8357 | 1214211.6077
49 | 2675822.5098 | 1214200.8705 | 2675823.2089 | 1214201.9621
50 | 2675906.4583 | 1214196.9838 | 2675901.5352 | 1214189.3162 | 2675901.9075 | 1214160.08
51 | 2675655.602 | 1214059.964 | 2675653.7594 | 1214057.9171 | 2675643.5542 | 1214045.0499
52 | 2675655.602 | 1214059.964 | 2675664.0168 | 1214070.8444
53 | 2675683.0887 | 1214041.0451 | 2675655.602 | 1214059.964
54 | 2675664.0168 | 1214070.8444 | 2675651.8949 | 1214080.3301
55 | 2675660.2531 | 1214141.0092 | 2675660.8576 | 1214136.0128 | 2675660.8576 | 1214136.0128
56 | 2675661.7386 | 1214153.741 | 2675659.9241 | 1214143.7281 | 2675660.2531 | 1214141.0092
57 | 2675661.7386 | 1214153.741 | 2675663.3147 | 1214162.4391
58 | 2675665.0539 | 1214172.0365 | 2675664.9765 | 1214171.6094
59 | 2675664.9765 | 1214171.6094 | 2675663.3147 | 1214162.4391
60 | 2675667.1717 | 1214183.7235 | 2675665.0539 | 1214172.0365

## bus_geodata
| x | y | coords
0 | 2675923.4393 | 1214036.9728
1 | 2675922.0163 | 1214031.0643
2 | 2675915.2701 | 1213999.9068
3 | 2675825.175 | 1213994.6979
4 | 2675810.1226 | 1214002.427
5 | 2675777.4085 | 1214089.7143
6 | 2675774.6038 | 1214082.9739
7 | 2675783.3246 | 1214103.9324
8 | 2675769.2915 | 1214070.207
9 | 2675783.3895 | 1214104.0882
10 | 2675764.9396 | 1214061.2146
11 | 2675793.4791 | 1214128.3362
12 | 2675763.4039 | 1214058.592
13 | 2675791.8434 | 1214139.2891
14 | 2675755.2478 | 1214044.6634
15 | 2675802.0983 | 1214162.2466
16 | 2675781.45 | 1214131.8811
17 | 2675805.0496 | 1214005.0319
18 | 2675777.9641 | 1214023.2732
19 | 2675749.3315 | 1214034.5597
20 | 2675742.6375 | 1214023.1288
21 | 2675730.2237 | 1214106.0184
22 | 2675724.9732 | 1214105.2769
23 | 2675729.879 | 1214093.5921
24 | 2675805.5481 | 1214169.9697
25 | 2675701.2951 | 1214103.9107
26 | 2675724.774 | 1214078.6229
27 | 2675806.3237 | 1214171.7061
28 | 2675686.9187 | 1214103.7228
29 | 2675724.7536 | 1214078.5831
30 | 2675811.4497 | 1214183.1816
31 | 2675676.3795 | 1214112.3946
32 | 2675670.216 | 1214078.8549
33 | 2675718.0604 | 1214065.5491
34 | 2675762.0631 | 1214210.804
35 | 2675745.6529 | 1214187.2725
36 | 2675762.068 | 1214210.811
37 | 2675738.0574 | 1214176.3809
38 | 2675775.8221 | 1214230.5337
39 | 2675729.9558 | 1214164.7638
40 | 2675783.1438 | 1214241.0327
41 | 2675776.2411 | 1214247.4714
42 | 2675832.9221 | 1214222.8204
43 | 2675742.1634 | 1214255.2761
44 | 2675864.8357 | 1214211.6077
45 | 2675823.2089 | 1214201.9621
46 | 2675822.5098 | 1214200.8705
47 | 2675906.4583 | 1214196.9838
48 | 2675901.9075 | 1214160.08
49 | 2675704.2921 | 1214268.2456
50 | 2675643.5542 | 1214045.0499
51 | 2675655.602 | 1214059.964
52 | 2675664.0168 | 1214070.8444
53 | 2675683.0887 | 1214041.0451
54 | 2675651.8949 | 1214080.3301
55 | 2675660.8576 | 1214136.0128
56 | 2675660.2531 | 1214141.0092
57 | 2675661.7386 | 1214153.741
58 | 2675664.9765 | 1214171.6094
59 | 2675665.0539 | 1214172.0365
60 | 2675663.3147 | 1214162.4391
61 | 2675667.1717 | 1214183.7235
62 | 2675791.8434 | 1214139.2891

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98749 | -0.24111 | 0.010941 | 0.002742
1 | 0.98755 | -0.23992 | 0 | 0
2 | 0.98787 | -0.23369 | 0.013017 | 0.0032624
3 | 0.98985 | -0.19514 | 0.0092445 | 0.0023169
4 | 0.99037 | -0.18515 | 0.0098262 | 0.0024627
5 | 0.99854 | -0.027916 | 0.0075943 | 0.0019033
6 | 0.9979 | -0.040061 | 0.003979 | 0.00099724
7 | 0.99998 | -0.00030946 | 0.0025024 | 0.00062715
8 | 0.99675 | -0.062142 | 0.014745 | 0.0036954
9 | 1 | 0 | -0.3281 | -0.082982
10 | 0.99605 | -0.075568 | 0.0039003 | 0.00097751
11 | 0.99737 | -0.050086 | 0.021992 | 0.0055118
12 | 0.99585 | -0.079439 | 0.0016724 | 0.00041913
13 | 0.99637 | -0.069146 | 0 | 0
14 | 0.9948 | -0.099546 | 0.0022885 | 0.00057356
15 | 0.9943 | -0.10891 | 0.003738 | 0.00093683
16 | 0.99512 | -0.093078 | 0.0053763 | 0.0013474
17 | 0.99059 | -0.18079 | 0.0051989 | 0.001303
18 | 0.99226 | -0.14854 | 0.015852 | 0.003973
19 | 0.99407 | -0.11369 | 0 | 0
20 | 0.99401 | -0.11472 | 0.0044319 | 0.0011107
21 | 0.98975 | -0.19621 | 0 | 0
22 | 0.98932 | -0.20449 | 0.0028147 | 0.00070544
23 | 0.9896 | -0.19912 | 0.0028686 | 0.00071894
24 | 0.99363 | -0.12177 | 0.008446 | 0.0021168
25 | 0.98746 | -0.24052 | 0.0038847 | 0.00097359
26 | 0.98945 | -0.20205 | 0.0047766 | 0.0011971
27 | 0.9935 | -0.12438 | 0.0037616 | 0.00094275
28 | 0.98639 | -0.26139 | 0 | 0
29 | 0.98945 | -0.20206 | 0.0028158 | 0.00070571
30 | 0.99264 | -0.1408 | 0.0038556 | 0.0009663
31 | 0.98576 | -0.2736 | 0 | 0
32 | 0.98553 | -0.27816 | 0.0031935 | 0.00080036
33 | 0.98941 | -0.20277 | 0.0027287 | 0.00068387
34 | 0.98743 | -0.24188 | 0.0027329 | 0.00068492
35 | 0.987 | -0.25021 | 0.0049743 | 0.0012467
36 | 0.98743 | -0.24188 | 0.0069552 | 0.0017431
37 | 0.98686 | -0.25289 | 0.0041461 | 0.0010391
38 | 0.988 | -0.23074 | 0.0033494 | 0.00083943
39 | 0.98677 | -0.25469 | 0.0071147 | 0.0017831
40 | 0.98834 | -0.22405 | 0 | 0
41 | 0.98827 | -0.22549 | 0 | 0
42 | 0.99018 | -0.18846 | 0 | 0
43 | 0.98799 | -0.23091 | 0.0042468 | 0.0010644
44 | 0.98982 | -0.19542 | 0.0071327 | 0.0017876
45 | 0.99122 | -0.16825 | 0.017247 | 0.0043224
46 | 0.9913 | -0.16672 | 0.0034646 | 0.00086831
47 | 0.98964 | -0.1989 | 0 | 0
48 | 0.98949 | -0.20193 | 0.0044364 | 0.0011119
49 | 0.98783 | -0.23397 | 0.0042782 | 0.0010722
50 | 0.98511 | -0.28623 | 0.0020381 | 0.00051079
51 | 0.98515 | -0.28553 | 0 | 0
52 | 0.98527 | -0.28324 | 0 | 0
53 | 0.98493 | -0.28987 | 0.007256 | 0.0018185
54 | 0.985 | -0.28838 | 0.018616 | 0.0046657
55 | 0.98446 | -0.29897 | 0.0092997 | 0.0023307
56 | 0.98427 | -0.30265 | 0.006326 | 0.0015854
57 | 0.98386 | -0.31064 | 0.0023131 | 0.00057971
58 | 0.98335 | -0.3205 | 0.0089556 | 0.0022445
59 | 0.98335 | -0.32065 | 0.0083644 | 0.0020963
60 | 0.9836 | -0.31574 | 0.0037385 | 0.00093696
61 | 0.98323 | -0.323 | 0.010989 | 0.0027542
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010941 | -0.002742 | 0.010941 | 0.0027423 | 6.1945e-07 | 3.1869e-07 | 0.016486 | 0.016486 | 0.016486 | 0.98749 | -0.24111 | 0.98755 | -0.23992 | 4.5292
1 | -0.010941 | -0.0027423 | 0.010945 | 0.002744 | 3.2494e-06 | 1.6716e-06 | 0.016486 | 0.016486 | 0.016486 | 0.98755 | -0.23992 | 0.98787 | -0.23369 | 4.5292
2 | -0.023962 | -0.0060064 | 0.024006 | 0.0060334 | 4.4087e-05 | 2.7058e-05 | 0.036094 | 0.036093 | 0.036094 | 0.98787 | -0.23369 | 0.98985 | -0.19514 | 9.9158
3 | -0.03325 | -0.0083503 | 0.033266 | 0.0083603 | 1.5857e-05 | 9.9309e-06 | 0.04999 | 0.04999 | 0.04999 | 0.98985 | -0.19514 | 0.99037 | -0.18515 | 13.7336
4 | -0.043092 | -0.010823 | 0.043101 | 0.010829 | 8.9669e-06 | 5.6654e-06 | 0.064754 | 0.064754 | 0.064754 | 0.99037 | -0.18515 | 0.99059 | -0.18079 | 17.7896
5 | 0.095682 | 0.024204 | -0.095626 | -0.024169 | 5.5721e-05 | 3.5566e-05 | 0.14266 | 0.14266 | 0.14266 | 0.99854 | -0.027916 | 0.9979 | -0.040061 | 39.1934
6 | -0.10328 | -0.026108 | 0.10341 | 0.026195 | 0.00013692 | 8.743e-05 | 0.15398 | 0.15398 | 0.15398 | 0.99854 | -0.027916 | 0.99998 | -0.00030946 | 42.3024
7 | 0.091647 | 0.023171 | -0.09155 | -0.02311 | 9.6945e-05 | 6.1864e-05 | 0.13673 | 0.13673 | 0.13673 | 0.9979 | -0.040061 | 0.99675 | -0.062142 | 37.5634
8 | -0.10592 | -0.026822 | 0.10592 | 0.026823 | 1.574e-06 | 1.0051e-06 | 0.1577 | 0.1577 | 0.1577 | 0.99998 | -0.00030946 | 1 | 0 | 43.3254
9 | 0.076805 | 0.019414 | -0.076756 | -0.019383 | 4.9412e-05 | 3.1494e-05 | 0.11472 | 0.11472 | 0.11472 | 0.99675 | -0.062142 | 0.99605 | -0.075568 | 31.5161
10 | 0.22054 | 0.056159 | -0.22 | -0.05582 | 0.00053132 | 0.00033936 | 0.32847 | 0.32848 | 0.32848 | 1 | 0 | 0.99737 | -0.050086 | 45.1202
11 | 0.072856 | 0.018405 | -0.072842 | -0.018397 | 1.3514e-05 | 8.6093e-06 | 0.10889 | 0.10889 | 0.10889 | 0.99605 | -0.075568 | 0.99585 | -0.079439 | 29.9154
12 | 0.19801 | 0.050308 | -0.19783 | -0.050192 | 0.00018152 | 0.00011588 | 0.29566 | 0.29566 | 0.29566 | 0.99737 | -0.050086 | 0.99637 | -0.069146 | 40.6132
13 | 0.07117 | 0.017977 | -0.071101 | -0.017934 | 6.8515e-05 | 4.364e-05 | 0.10639 | 0.10639 | 0.10639 | 0.99585 | -0.079439 | 0.9948 | -0.099546 | 29.2289
14 | 0.090417 | 0.022864 | -0.090245 | -0.022754 | 0.00017211 | 0.00010982 | 0.1351 | 0.1351 | 0.1351 | 0.99637 | -0.069146 | 0.9943 | -0.10891 | 37.1165
15 | 0.10741 | 0.027328 | -0.10729 | -0.027249 | 0.00012373 | 7.9023e-05 | 0.16056 | 0.16056 | 0.16056 | 0.99637 | -0.069146 | 0.99512 | -0.093078 | 44.11
16 | 0.068813 | 0.01736 | -0.068766 | -0.017331 | 4.6554e-05 | 2.9642e-05 | 0.10297 | 0.10297 | 0.10297 | 0.9948 | -0.099546 | 0.99407 | -0.11369 | 28.2885
17 | 0.086507 | 0.021818 | -0.086454 | -0.021784 | 5.3203e-05 | 3.394e-05 | 0.12951 | 0.12951 | 0.12951 | 0.9943 | -0.10891 | 0.99363 | -0.12177 | 35.5796
18 | 0.10191 | 0.025901 | -0.10141 | -0.02558 | 0.0005034 | 0.00032143 | 0.15252 | 0.15252 | 0.15252 | 0.99512 | -0.093078 | 0.98975 | -0.19621 | 41.9015
19 | -0.0483 | -0.012132 | 0.048375 | 0.012179 | 7.4464e-05 | 4.7171e-05 | 0.072563 | 0.072563 | 0.072563 | 0.99059 | -0.18079 | 0.99226 | -0.14854 | 19.935
20 | -0.064227 | -0.016152 | 0.064334 | 0.01622 | 0.00010711 | 6.8152e-05 | 0.096336 | 0.096336 | 0.096336 | 0.99226 | -0.14854 | 0.99407 | -0.11369 | 26.4659
21 | 0.0044321 | 0.0011107 | -0.0044319 | -0.0011107 | 2.1864e-07 | -3.179e-08 | 0.0066343 | 0.0066344 | 0.0066344 | 0.99407 | -0.11369 | 0.99401 | -0.11472 | 1.8226
22 | 0.088217 | 0.022273 | -0.088182 | -0.02225 | 3.5008e-05 | 2.2337e-05 | 0.13269 | 0.13269 | 0.13269 | 0.98975 | -0.19621 | 0.98932 | -0.20449 | 36.4523
23 | 0.013193 | 0.0033072 | -0.013191 | -0.0033062 | 1.834e-06 | 1.014e-06 | 0.019835 | 0.019835 | 0.019835 | 0.98975 | -0.19621 | 0.9896 | -0.19912 | 5.4492
24 | 0.085368 | 0.021545 | -0.085221 | -0.021451 | 0.00014702 | 9.3791e-05 | 0.12845 | 0.12845 | 0.12845 | 0.98932 | -0.20449 | 0.98746 | -0.24052 | 35.2893
25 | 0.010323 | 0.0025873 | -0.010321 | -0.0025866 | 1.4401e-06 | 7.169e-07 | 0.015522 | 0.015522 | 0.015522 | 0.9896 | -0.19912 | 0.98945 | -0.20205 | 4.2642
26 | 0.078008 | 0.019667 | -0.077998 | -0.019661 | 9.7392e-06 | 6.2085e-06 | 0.11686 | 0.11686 | 0.11686 | 0.99363 | -0.12177 | 0.9935 | -0.12438 | 32.1048
27 | 0.081336 | 0.020477 | -0.081255 | -0.020426 | 8.1039e-05 | 5.1681e-05 | 0.1226 | 0.1226 | 0.1226 | 0.98746 | -0.24052 | 0.98639 | -0.26139 | 33.6811
28 | 0.0055446 | 0.0013895 | -0.0055446 | -0.0013895 | 1.1711e-09 | 1.7381e-10 | 0.0083384 | 0.0083384 | 0.0083384 | 0.98945 | -0.20205 | 0.98945 | -0.20206 | 2.2908
29 | 0.074236 | 0.018718 | -0.074178 | -0.018681 | 5.8309e-05 | 3.7155e-05 | 0.11123 | 0.11123 | 0.11123 | 0.9935 | -0.12438 | 0.99264 | -0.1408 | 30.557
30 | 0.050112 | 0.012607 | -0.050083 | -0.012589 | 2.9215e-05 | 1.8524e-05 | 0.075614 | 0.075614 | 0.075614 | 0.98639 | -0.26139 | 0.98576 | -0.2736 | 20.7731
31 | 0.031143 | 0.0078186 | -0.031118 | -0.0078031 | 2.4902e-05 | 1.5554e-05 | 0.046985 | 0.046985 | 0.046985 | 0.98639 | -0.26139 | 0.98553 | -0.27816 | 12.908
32 | 0.0027288 | 0.00068375 | -0.0027287 | -0.00068387 | 9.2532e-08 | -1.2896e-07 | 0.0041037 | 0.0041038 | 0.0041038 | 0.98945 | -0.20206 | 0.98941 | -0.20277 | 1.1274
33 | 0.070322 | 0.017714 | -0.070235 | -0.017659 | 8.7055e-05 | 5.5446e-05 | 0.10545 | 0.10545 | 0.10545 | 0.99264 | -0.1408 | 0.9913 | -0.16672 | 28.9692
34 | 0.050083 | 0.012589 | -0.050023 | -0.01255 | 6.0596e-05 | 3.8422e-05 | 0.075614 | 0.075614 | 0.075614 | 0.98576 | -0.2736 | 0.98446 | -0.29897 | 20.7732
35 | 0.027924 | 0.0070027 | -0.027917 | -0.0069985 | 6.7526e-06 | 4.1926e-06 | 0.042163 | 0.042164 | 0.042164 | 0.98553 | -0.27816 | 0.98527 | -0.28324 | 11.5834
36 | 0.016244 | 0.0040736 | -0.016237 | -0.0040699 | 6.4468e-06 | 3.7591e-06 | 0.024479 | 0.02448 | 0.02448 | 0.98743 | -0.24188 | 0.987 | -0.25021 | 6.7251
37 | -0.018976 | -0.0047585 | 0.018976 | 0.0047585 | 2.6094e-09 | 1.5554e-09 | 0.028598 | 0.028598 | 0.028598 | 0.98743 | -0.24188 | 0.98743 | -0.24188 | 7.8565
38 | 0.011263 | 0.0028232 | -0.011261 | -0.0028224 | 1.4357e-06 | 7.4918e-07 | 0.01698 | 0.01698 | 0.01698 | 0.987 | -0.25021 | 0.98686 | -0.25289 | 4.6649
39 | -0.025932 | -0.0065017 | 0.025945 | 0.0065102 | 1.377e-05 | 8.5051e-06 | 0.039079 | 0.039079 | 0.039079 | 0.98743 | -0.24188 | 0.988 | -0.23074 | 10.736
40 | 0.0071153 | 0.0017833 | -0.0071147 | -0.0017831 | 6.1134e-07 | 2.1031e-07 | 0.010729 | 0.010729 | 0.010729 | 0.98686 | -0.25289 | 0.98677 | -0.25469 | 2.9474
41 | -0.029295 | -0.0073496 | 0.029304 | 0.0073554 | 9.3449e-06 | 5.8168e-06 | 0.044123 | 0.044123 | 0.044123 | 0.988 | -0.23074 | 0.98834 | -0.22405 | 12.1218
42 | 0.0085285 | 0.0021377 | -0.0085279 | -0.0021374 | 5.8278e-07 | 2.5219e-07 | 0.01284 | 0.01284 | 0.01284 | 0.98834 | -0.22405 | 0.98827 | -0.22549 | 3.5276
43 | -0.037833 | -0.0094931 | 0.037897 | 0.0095336 | 6.4334e-05 | 4.0495e-05 | 0.056963 | 0.056963 | 0.056963 | 0.98834 | -0.22405 | 0.99018 | -0.18846 | 15.6493
44 | 0.0085279 | 0.0021374 | -0.0085257 | -0.0021365 | 2.2029e-06 | 9.5344e-07 | 0.01284 | 0.01284 | 0.01284 | 0.98827 | -0.22549 | 0.98799 | -0.23091 | 3.5276
45 | 0.011574 | 0.0029013 | -0.011571 | -0.0028993 | 3.8378e-06 | 2.0212e-06 | 0.017394 | 0.017394 | 0.017394 | 0.99018 | -0.18846 | 0.98982 | -0.19542 | 4.7786
46 | -0.049471 | -0.012435 | 0.049519 | 0.012465 | 4.7771e-05 | 3.0277e-05 | 0.074357 | 0.074357 | 0.074357 | 0.99018 | -0.18846 | 0.99122 | -0.16825 | 20.4278
47 | 0.0042789 | 0.0010721 | -0.0042782 | -0.0010722 | 6.2343e-07 | -1.1356e-07 | 0.0064443 | 0.0064445 | 0.0064445 | 0.98799 | -0.23091 | 0.98783 | -0.23397 | 1.7705
48 | 0.0044378 | 0.0011117 | -0.0044371 | -0.0011118 | 7.3631e-07 | -9.5718e-08 | 0.0066712 | 0.0066714 | 0.0066714 | 0.98982 | -0.19542 | 0.98964 | -0.1989 | 1.8328
49 | -0.066766 | -0.016788 | 0.066771 | 0.016791 | 4.885e-06 | 3.1097e-06 | 0.10025 | 0.10025 | 0.10025 | 0.99122 | -0.16825 | 0.9913 | -0.16672 | 27.5405
50 | 0.0044371 | 0.0011118 | -0.0044364 | -0.0011119 | 6.4011e-07 | -8.3017e-08 | 0.0066714 | 0.0066716 | 0.0066716 | 0.98964 | -0.1989 | 0.98949 | -0.20193 | 1.8329
51 | -0.0020381 | -0.00051079 | 0.0020381 | 0.00051059 | 6.8153e-08 | -2.0054e-07 | 0.0030785 | 0.0030784 | 0.0030785 | 0.98511 | -0.28623 | 0.98515 | -0.28553 | 0.84575
52 | -0.0092956 | -0.0023296 | 0.0092966 | 0.0023301 | 1.0158e-06 | 4.7514e-07 | 0.014041 | 0.01404 | 0.014041 | 0.98515 | -0.28553 | 0.98527 | -0.28324 | 3.8573
53 | 0.0072575 | 0.0018191 | -0.007256 | -0.0018185 | 1.5009e-06 | 5.3659e-07 | 0.010962 | 0.010962 | 0.010962 | 0.98515 | -0.28553 | 0.98493 | -0.28987 | 3.0116
54 | 0.018621 | 0.0046684 | -0.018616 | -0.0046657 | 4.5652e-06 | 2.7257e-06 | 0.028123 | 0.028123 | 0.028123 | 0.98527 | -0.28324 | 0.985 | -0.28838 | 7.7261
55 | 0.040723 | 0.010219 | -0.040716 | -0.010215 | 7.1517e-06 | 4.5131e-06 | 0.061558 | 0.061558 | 0.061558 | 0.98446 | -0.29897 | 0.98427 | -0.30265 | 16.9114
56 | 0.03439 | 0.0086295 | -0.034377 | -0.0086213 | 1.3093e-05 | 8.2152e-06 | 0.051994 | 0.051994 | 0.051994 | 0.98427 | -0.30265 | 0.98386 | -0.31064 | 14.2841
57 | 0.032064 | 0.0080416 | -0.032056 | -0.0080367 | 7.7961e-06 | 4.8773e-06 | 0.048496 | 0.048496 | 0.048496 | 0.98386 | -0.31064 | 0.9836 | -0.31574 | 13.323
58 | 0.019355 | 0.0048512 | -0.019355 | -0.0048512 | 1.3963e-07 | 8.3858e-08 | 0.029288 | 0.029288 | 0.029288 | 0.98335 | -0.3205 | 0.98335 | -0.32065 | 8.0463
59 | -0.028311 | -0.0070957 | 0.028317 | 0.0070997 | 6.4141e-06 | 3.9867e-06 | 0.04284 | 0.04284 | 0.04284 | 0.98335 | -0.3205 | 0.9836 | -0.31574 | 11.7693
60 | 0.010991 | 0.0027548 | -0.010989 | -0.0027542 | 1.232e-06 | 6.3781e-07 | 0.016631 | 0.016631 | 0.016631 | 0.98335 | -0.32065 | 0.98323 | -0.323 | 4.5691

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35715 | 0.090263

## res_load
| p_mw | q_mvar
0 | 0.010941 | 0.002742
1 | 0.013017 | 0.0032624
2 | 0.0092445 | 0.0023169
3 | 0.0098262 | 0.0024627
4 | 0.0075943 | 0.0019033
5 | 0.003979 | 0.00099724
6 | 0.0025024 | 0.00062715
7 | 0.014745 | 0.0036954
8 | 0.029051 | 0.0072809
9 | 0.0039003 | 0.00097751
10 | 0.021992 | 0.0055118
11 | 0.0016724 | 0.00041913
12 | 0.0022885 | 0.00057356
13 | 0.003738 | 0.00093683
14 | 0.0053763 | 0.0013474
15 | 0.0051989 | 0.001303
16 | 0.015852 | 0.003973
17 | 0.0044319 | 0.0011107
18 | 0.0028147 | 0.00070544
19 | 0.0028686 | 0.00071894
20 | 0.008446 | 0.0021168
21 | 0.0038847 | 0.00097359
22 | 0.0047766 | 0.0011971
23 | 0.0037616 | 0.00094275
24 | 0.0028158 | 0.00070571
25 | 0.0038556 | 0.0009663
26 | 0.0031935 | 0.00080036
27 | 0.0027287 | 0.00068387
28 | 0.0027329 | 0.00068492
29 | 0.0049743 | 0.0012467
30 | 0.0069552 | 0.0017431
31 | 0.0041461 | 0.0010391
32 | 0.0033494 | 0.00083943
33 | 0.0071147 | 0.0017831
34 | 0.0042468 | 0.0010644
35 | 0.0071327 | 0.0017876
36 | 0.017247 | 0.0043224
37 | 0.0034646 | 0.00086831
38 | 0.0044364 | 0.0011119
39 | 0.0042782 | 0.0010722
40 | 0.0020381 | 0.00051079
41 | 0.007256 | 0.0018185
42 | 0.018616 | 0.0046657
43 | 0.0092997 | 0.0023307
44 | 0.006326 | 0.0015854
45 | 0.0023131 | 0.00057971
46 | 0.0089556 | 0.0022445
47 | 0.0083644 | 0.0020963
48 | 0.0037385 | 0.00093696
49 | 0.010989 | 0.0027542

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1