## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1331-27_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1331-27_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1331-27_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1331-27_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1331-27_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1331-27_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1331-27_0_6_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_1331-27_0_6_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1331-27_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1331-27_0_6_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1331-27_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1331-27_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1331-27_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1331-27_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1331-27_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1331-27_0_6_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_1331-27_0_6_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_1331-27_0_6_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1331-27_0_6_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1331-27_0_6_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_1331-27_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1331-27_0_6_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1331-27_0_6_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1331-27_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1331-27_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1331-27_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1331-27_0_6_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1331-27_0_6_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_1331-27_0_6_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_1331-27_0_6_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_1331-27_0_6_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_1331-27_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1331-27_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1331-27_0_6_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1331-27_0_6_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_1331-27_0_6_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1331-27_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1331-27_0_6_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1331-27_0_6_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1331-27_0_6_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1331-27_0_6_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1331-27_0_6_node_42 | 0.4 | n |  | TRUE
42 | bus_MV_4_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1331-27_0_6_load_0 | 0 | 0.014358 | 0.0035985 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1331-27_0_6_load_1 | 1 | 0.0090574 | 0.00227 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1331-27_0_6_load_5 | 5 | 0.0074945 | 0.0018783 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1331-27_0_6_load_24 | 6 | 0.009816 | 0.0024601 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1331-27_0_6_load_12 | 7 | 0.01945 | 0.0048745 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1331-27_0_6_load_18 | 9 | 0.0047311 | 0.0011857 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1331-27_0_6_load_6 | 11 | 0.017767 | 0.0044529 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1331-27_0_6_load_11 | 14 | 0.056378 | 0.01413 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1331-27_0_6_load_33 | 15 | 0.0097657 | 0.0024475 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1331-27_0_6_load_44 | 16 | 0.011602 | 0.0029078 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1331-27_0_6_load_16 | 17 | 0.021882 | 0.0054842 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1331-27_0_6_load_31 | 18 | 0.011463 | 0.002873 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1331-27_0_6_load_43 | 19 | 0.0067672 | 0.001696 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1331-27_0_6_load_14 | 20 | 0.0054649 | 0.0013696 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1331-27_0_6_load_17 | 23 | 0.010553 | 0.0026448 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1331-27_0_6_load_19 | 24 | 0.023757 | 0.005954 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1331-27_0_6_load_20 | 25 | 0.0018945 | 0.00047479 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1331-27_0_6_load_32 | 27 | 0.011417 | 0.0028614 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1331-27_0_6_load_30 | 29 | 0.0061919 | 0.0015518 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1331-27_0_6_load_35 | 30 | 0.0046775 | 0.0011723 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1331-27_0_6_load_25 | 31 | 0.013295 | 0.0033319 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1331-27_0_6_load_26 | 32 | 0.019446 | 0.0048736 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1331-27_0_6_load_28 | 33 | 0.032868 | 0.0082374 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1331-27_0_6_load_38 | 35 | 0.047836 | 0.011989 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1331-27_0_6_load_29 | 36 | 0.0083784 | 0.0020998 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1331-27_0_6_load_34 | 37 | 0.011573 | 0.0029004 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1331-27_0_6_load_39 | 38 | 0.053683 | 0.013454 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1331-27_0_6_load_40 | 39 | 0.046783 | 0.011725 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1331-27_0_6_load_41 | 40 | 0.034378 | 0.0086161 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1331-27_0_6_load_42 | 41 | 0.053535 | 0.013417 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1331-27_0_6_line_0 |  | 0 | 1 | 0.00282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1331-27_0_6_line_1 |  | 0 | 2 | 0.014437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1331-27_0_6_line_2 |  | 1 | 3 | 0.010563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1331-27_0_6_line_3 |  | 2 | 4 | 0.018171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1331-27_0_6_line_4 |  | 2 | 5 | 0.008343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1331-27_0_6_line_5 |  | 3 | 6 | 0.024308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1331-27_0_6_line_6 |  | 4 | 7 | 0.023482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1331-27_0_6_line_7 |  | 5 | 8 | 0.025838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1331-27_0_6_line_8 |  | 8 | 9 | 0.013188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1331-27_0_6_line_9 |  | 8 | 10 | 0.025983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1331-27_0_6_line_10 |  | 9 | 17 | 0.0053228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1331-27_0_6_line_11 |  | 10 | 13 | 0.009851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1331-27_0_6_line_12 |  | 10 | 11 | 0.021956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1331-27_0_6_line_13 |  | 11 | 12 | 0.010286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1331-27_0_6_line_14 |  | 12 | 14 | 0.003684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1331-27_0_6_line_15 |  | 13 | 15 | 0.017661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1331-27_0_6_line_16 |  | 13 | 16 | 0.020552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1331-27_0_6_line_17 |  | 15 | 18 | 0.00078169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1331-27_0_6_line_18 |  | 16 | 19 | 0.003836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1331-27_0_6_line_19 |  | 17 | 23 | 0.030134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1331-27_0_6_line_20 |  | 18 | 36 | 0.024635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1331-27_0_6_line_21 |  | 19 | 41 | 0.01301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1331-27_0_6_line_22 |  | 20 | 21 | 0.024418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1331-27_0_6_line_23 |  | 21 | 22 | 0.048101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1331-27_0_6_line_24 |  | 22 | 25 | 0.024308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1331-27_0_6_line_25 |  | 23 | 24 | 0.010334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1331-27_0_6_line_26 |  | 24 | 25 | 0.030735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1331-27_0_6_line_27 |  | 26 | 27 | 0.035032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1331-27_0_6_line_28 |  | 26 | 28 | 0.08496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1331-27_0_6_line_29 |  | 27 | 29 | 0.0022051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1331-27_0_6_line_30 |  | 28 | 30 | 0.029672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1331-27_0_6_line_31 |  | 29 | 36 | 0.033996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1331-27_0_6_line_32 |  | 30 | 37 | 0.050275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1331-27_0_6_line_33 |  | 31 | 32 | 0.022344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1331-27_0_6_line_34 |  | 32 | 33 | 0.046158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1331-27_0_6_line_35 |  | 33 | 34 | 0.020411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1331-27_0_6_line_36 |  | 34 | 35 | 0.021031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1331-27_0_6_line_37 |  | 35 | 38 | 0.017251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1331-27_0_6_line_38 |  | 38 | 39 | 0.0037639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1331-27_0_6_line_39 |  | 39 | 40 | 0.014238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1331-27_0_6_line_40 |  | 40 | 41 | 0.0025197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1331-27_0_6_trafo_44 | 0.63 MVA 20/0.4 kV | 42 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2675976.4724 | 1215067.9572 | 2675978.3661 | 1215070.0468
1 | 2675966.7777 | 1215057.26 | 2675976.4724 | 1215067.9572
2 | 2675983.1116 | 1215079.4602 | 2675978.7455 | 1215070.4654 | 2675978.3661 | 1215070.0468
3 | 2675966.7777 | 1215057.26 | 2675981.3914 | 1215046.4059
4 | 2675966.7777 | 1215057.26 | 2675959.5634 | 1215061.4504
5 | 2675983.1116 | 1215079.4602 | 2676001.061 | 1215063.0683
6 | 2675981.3914 | 1215046.4059 | 2675968.2455 | 1215026.9481
7 | 2675937.2209 | 1215074.4279 | 2675959.5634 | 1215061.4504
8 | 2675937.2209 | 1215074.4279 | 2675929.7665 | 1215063.549
9 | 2675937.2209 | 1215074.4279 | 2675931.1575 | 1215078.231 | 2675915.0083 | 1215088.0094
10 | 2675929.7665 | 1215063.549 | 2675926.7578 | 1215059.1581
11 | 2675906.7971 | 1215093.4862 | 2675915.0083 | 1215088.0094
12 | 2675915.0083 | 1215088.0094 | 2675927.2399 | 1215106.2431
13 | 2675934.7377 | 1215113.1434 | 2675928.6846 | 1215108.3966 | 2675927.2399 | 1215106.2431
14 | 2675934.7377 | 1215113.1434 | 2675937.1055 | 1215115.9658
15 | 2675906.7971 | 1215093.4862 | 2675897.0239 | 1215078.7753
16 | 2675906.7971 | 1215093.4862 | 2675890.2922 | 1215105.7325
17 | 2675896.5914 | 1215078.1242 | 2675897.0239 | 1215078.7753
18 | 2675890.2922 | 1215105.7325 | 2675887.2116 | 1215108.0183
19 | 2675909.7247 | 1215034.3 | 2675926.7578 | 1215059.1581
20 | 2675882.9594 | 1215057.605 | 2675896.5914 | 1215078.1242
21 | 2675876.7637 | 1215115.7704 | 2675887.2116 | 1215108.0183
22 | 2675909.149 | 1214948.8009 | 2675924.1948 | 1214968.0324
23 | 2675872.7706 | 1214980.3693 | 2675892.2609 | 1214964.0957 | 2675909.149 | 1214948.8009
24 | 2675872.7706 | 1214980.3693 | 2675886.5105 | 1215000.4213
25 | 2675909.7247 | 1215034.3 | 2675903.8835 | 1215025.7753
26 | 2675903.8835 | 1215025.7753 | 2675886.5105 | 1215000.4213
27 | 2675842.1902 | 1214999.1924 | 2675862.2525 | 1215027.9107
28 | 2675766.2097 | 1215037.0731 | 2675788.9884 | 1215027.3341 | 2675816.0614 | 1215013.158 | 2675842.1902 | 1214999.1924
29 | 2675863.5153 | 1215029.7184 | 2675862.2525 | 1215027.9107
30 | 2675766.2097 | 1215037.0731 | 2675770.4951 | 1215047.0673 | 2675779.2721 | 1215063.6897
31 | 2675882.9594 | 1215057.605 | 2675882.2362 | 1215056.5165 | 2675863.5153 | 1215029.7184
32 | 2675809.8686 | 1215103.1268 | 2675789.9558 | 1215075.4773 | 2675786.5216 | 1215073.1989 | 2675784.351 | 1215071.2923 | 2675781.4115 | 1215067.7415 | 2675779.2721 | 1215063.6897
33 | 2675895.2634 | 1215170.0955 | 2675917.51 | 1215168.01
34 | 2675895.2634 | 1215170.0955 | 2675893.4477 | 1215170.2656 | 2675859.8543 | 1215166.9249 | 2675854.7118 | 1215166.4147 | 2675849.6627 | 1215164.4776
35 | 2675832.2371 | 1215154.0876 | 2675836.0772 | 1215156.6826 | 2675844.1311 | 1215162.3553 | 2675849.6627 | 1215164.4776
36 | 2675832.2371 | 1215154.0876 | 2675838.3012 | 1215147.8274 | 2675847.8068 | 1215139.9974
37 | 2675860.9785 | 1215128.8604 | 2675855.355 | 1215133.7797 | 2675847.8068 | 1215139.9974
38 | 2675860.9785 | 1215128.8604 | 2675863.8114 | 1215126.3822
39 | 2675863.8114 | 1215126.3822 | 2675871.3526 | 1215119.7853 | 2675874.7402 | 1215117.2718
40 | 2675876.7637 | 1215115.7704 | 2675874.7402 | 1215117.2718

## bus_geodata
| x | y | coords
0 | 2675976.4724 | 1215067.9572
1 | 2675978.3661 | 1215070.0468
2 | 2675966.7777 | 1215057.26
3 | 2675983.1116 | 1215079.4602
4 | 2675981.3914 | 1215046.4059
5 | 2675959.5634 | 1215061.4504
6 | 2676001.061 | 1215063.0683
7 | 2675968.2455 | 1215026.9481
8 | 2675937.2209 | 1215074.4279
9 | 2675929.7665 | 1215063.549
10 | 2675915.0083 | 1215088.0094
11 | 2675927.2399 | 1215106.2431
12 | 2675934.7377 | 1215113.1434
13 | 2675906.7971 | 1215093.4862
14 | 2675937.1055 | 1215115.9658
15 | 2675897.0239 | 1215078.7753
16 | 2675890.2922 | 1215105.7325
17 | 2675926.7578 | 1215059.1581
18 | 2675896.5914 | 1215078.1242
19 | 2675887.2116 | 1215108.0183
20 | 2675924.1948 | 1214968.0324
21 | 2675909.149 | 1214948.8009
22 | 2675872.7706 | 1214980.3693
23 | 2675909.7247 | 1215034.3
24 | 2675903.8835 | 1215025.7753
25 | 2675886.5105 | 1215000.4213
26 | 2675842.1902 | 1214999.1924
27 | 2675862.2525 | 1215027.9107
28 | 2675766.2097 | 1215037.0731
29 | 2675863.5153 | 1215029.7184
30 | 2675779.2721 | 1215063.6897
31 | 2675917.51 | 1215168.01
32 | 2675895.2634 | 1215170.0955
33 | 2675849.6627 | 1215164.4776
34 | 2675832.2371 | 1215154.0876
35 | 2675847.8068 | 1215139.9974
36 | 2675882.9594 | 1215057.605
37 | 2675809.8686 | 1215103.1268
38 | 2675860.9785 | 1215128.8604
39 | 2675863.8114 | 1215126.3822
40 | 2675874.7402 | 1215117.2718
41 | 2675876.7637 | 1215115.7704
42 | 2675906.7971 | 1215093.4862

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99211 | -0.15167 | 0.014358 | 0.0035985
1 | 0.99206 | -0.15261 | 0.0090574 | 0.00227
2 | 0.99255 | -0.14317 | 0 | 0
3 | 0.99197 | -0.15445 | 0 | 0
4 | 0.99223 | -0.14943 | 0 | 0
5 | 0.99295 | -0.1354 | 0.0074945 | 0.0018783
6 | 0.99175 | -0.15867 | 0.009816 | 0.0024601
7 | 0.99181 | -0.15752 | 0.01945 | 0.0048745
8 | 0.99437 | -0.10795 | 0 | 0
9 | 0.99355 | -0.12384 | 0.0047311 | 0.0011857
10 | 0.99743 | -0.049294 | 0 | 0
11 | 0.99594 | -0.077857 | 0.017767 | 0.0044529
12 | 0.99541 | -0.088052 | 0 | 0
13 | 0.99834 | -0.031825 | 0 | 0
14 | 0.99522 | -0.091707 | 0.056378 | 0.01413
15 | 0.99732 | -0.05145 | 0.0097657 | 0.0024475
16 | 1 | 0 | -0.5789 | -0.14567
17 | 0.99324 | -0.12982 | 0.021882 | 0.0054842
18 | 0.99728 | -0.052186 | 0.011463 | 0.002873
19 | 0.99964 | -0.00688 | 0.0067672 | 0.001696
20 | 0.99111 | -0.17112 | 0.0054649 | 0.0013696
21 | 0.99123 | -0.16875 | 0 | 0
22 | 0.99147 | -0.16409 | 0 | 0
23 | 0.99209 | -0.15203 | 0.010553 | 0.0026448
24 | 0.9918 | -0.15772 | 0.023757 | 0.005954
25 | 0.99159 | -0.16174 | 0.0018945 | 0.00047479
26 | 0.9947 | -0.10178 | 0 | 0
27 | 0.99522 | -0.091752 | 0.011417 | 0.0028614
28 | 0.99344 | -0.12614 | 0 | 0
29 | 0.99528 | -0.090678 | 0.0061919 | 0.0015518
30 | 0.993 | -0.13466 | 0.0046775 | 0.0011723
31 | 0.99112 | -0.17104 | 0.013295 | 0.0033319
32 | 0.99139 | -0.16577 | 0.019446 | 0.0048736
33 | 0.99278 | -0.13901 | 0.032868 | 0.0082374
34 | 0.994 | -0.11536 | 0 | 0
35 | 0.99526 | -0.091044 | 0.047836 | 0.011989
36 | 0.99633 | -0.070441 | 0.0083784 | 0.0020998
37 | 0.99247 | -0.14495 | 0.011573 | 0.0029004
38 | 0.99705 | -0.05667 | 0.053683 | 0.013454
39 | 0.99733 | -0.051157 | 0.046783 | 0.011725
40 | 0.99826 | -0.033384 | 0.034378 | 0.0086161
41 | 0.99845 | -0.029737 | 0.053535 | 0.013417
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.018877 | 0.004732 | -0.018876 | -0.0047315 | 8.4774e-07 | 5.0614e-07 | 0.028313 | 0.028313 | 0.028313 | 0.99211 | -0.15167 | 0.99206 | -0.15261 | 7.7783
1 | -0.033235 | -0.0083305 | 0.033249 | 0.008339 | 1.3452e-05 | 8.423e-06 | 0.049848 | 0.049848 | 0.049848 | 0.99211 | -0.15167 | 0.99255 | -0.14317 | 13.6946
2 | 0.0098189 | 0.0024615 | -0.009818 | -0.0024611 | 8.5923e-07 | 4.1353e-07 | 0.014728 | 0.014728 | 0.014728 | 0.99206 | -0.15261 | 0.99197 | -0.15445 | 4.0461
3 | 0.019463 | 0.0048825 | -0.019457 | -0.004879 | 5.8021e-06 | 3.4786e-06 | 0.02918 | 0.02918 | 0.02918 | 0.99255 | -0.14317 | 0.99223 | -0.14943 | 8.0166
4 | -0.052712 | -0.013221 | 0.052731 | 0.013234 | 1.954e-05 | 1.2398e-05 | 0.079028 | 0.079028 | 0.079028 | 0.99255 | -0.14317 | 0.99295 | -0.1354 | 21.7111
5 | 0.009818 | 0.0024611 | -0.009816 | -0.0024601 | 1.9772e-06 | 9.517e-07 | 0.014728 | 0.014728 | 0.014728 | 0.99197 | -0.15445 | 0.99175 | -0.15867 | 4.0461
6 | 0.019457 | 0.004879 | -0.01945 | -0.0048745 | 7.4981e-06 | 4.4956e-06 | 0.02918 | 0.02918 | 0.02918 | 0.99223 | -0.14943 | 0.99181 | -0.15752 | 8.0166
7 | -0.060226 | -0.015112 | 0.060305 | 0.015162 | 7.8936e-05 | 5.0184e-05 | 0.09026 | 0.090259 | 0.09026 | 0.99295 | -0.1354 | 0.99437 | -0.10795 | 24.7966
8 | 0.068409 | 0.017192 | -0.068357 | -0.017159 | 5.1842e-05 | 3.3008e-05 | 0.10239 | 0.10239 | 0.10239 | 0.99437 | -0.10795 | 0.99355 | -0.12384 | 28.1279
9 | -0.12871 | -0.032354 | 0.12908 | 0.032585 | 0.00036161 | 0.00023109 | 0.19264 | 0.19264 | 0.19264 | 0.99437 | -0.10795 | 0.99743 | -0.049294 | 52.9244
10 | 0.063626 | 0.015973 | -0.063607 | -0.015961 | 1.8128e-05 | 1.1533e-05 | 0.0953 | 0.0953 | 0.0953 | 0.99355 | -0.12384 | 0.99324 | -0.12982 | 26.1813
11 | -0.20336 | -0.051256 | 0.20353 | 0.051364 | 0.00017012 | 0.00010862 | 0.30348 | 0.30348 | 0.30348 | 0.99743 | -0.049294 | 0.99834 | -0.031825 | 41.6874
12 | 0.074284 | 0.018671 | -0.074183 | -0.018606 | 0.00010115 | 6.4452e-05 | 0.11084 | 0.11084 | 0.11084 | 0.99743 | -0.049294 | 0.99594 | -0.077857 | 30.4505
13 | 0.056416 | 0.014153 | -0.056388 | -0.014136 | 2.7407e-05 | 1.7407e-05 | 0.084294 | 0.084294 | 0.084294 | 0.99594 | -0.077857 | 0.99541 | -0.088052 | 23.1578
14 | 0.056388 | 0.014136 | -0.056378 | -0.01413 | 9.8162e-06 | 6.2345e-06 | 0.084294 | 0.084294 | 0.084294 | 0.99541 | -0.088052 | 0.99522 | -0.091707 | 23.1578
15 | 0.063638 | 0.016012 | -0.063579 | -0.015974 | 5.9615e-05 | 3.7923e-05 | 0.094875 | 0.094875 | 0.094875 | 0.99834 | -0.031825 | 0.99732 | -0.05145 | 26.0645
16 | -0.26717 | -0.067377 | 0.26757 | 0.067637 | 0.00040767 | 0.0002601 | 0.39836 | 0.39836 | 0.39836 | 0.99834 | -0.031825 | 1 | 0 | 36.4798
17 | 0.053813 | 0.013527 | -0.053811 | -0.013526 | 1.8903e-06 | 1.1996e-06 | 0.080304 | 0.080304 | 0.080304 | 0.99732 | -0.05145 | 0.99728 | -0.052186 | 22.0615
18 | 0.30967 | 0.078031 | -0.30957 | -0.077966 | 0.00010188 | 6.5053e-05 | 0.46095 | 0.46095 | 0.46095 | 1 | 0 | 0.99964 | -0.00688 | 42.2114
19 | 0.041725 | 0.010477 | -0.041681 | -0.010449 | 4.4166e-05 | 2.7877e-05 | 0.062517 | 0.062517 | 0.062517 | 0.99324 | -0.12982 | 0.99209 | -0.15203 | 17.1751
20 | 0.042348 | 0.010653 | -0.042311 | -0.010629 | 3.6899e-05 | 2.3294e-05 | 0.0632 | 0.0632 | 0.0632 | 0.99728 | -0.052186 | 0.99633 | -0.070441 | 17.3626
21 | 0.30281 | 0.07627 | -0.30248 | -0.076059 | 0.00033059 | 0.00021107 | 0.45088 | 0.45088 | 0.45088 | 0.99964 | -0.00688 | 0.99845 | -0.029737 | 41.2889
22 | -0.0054649 | -0.0013696 | 0.0054655 | 0.0013697 | 6.1642e-07 | 7.9793e-08 | 0.0082048 | 0.0082047 | 0.0082048 | 0.99111 | -0.17112 | 0.99123 | -0.16875 | 2.2541
23 | -0.0054655 | -0.0013697 | 0.0054668 | 0.0013699 | 1.2142e-06 | 1.5693e-07 | 0.0082047 | 0.0082045 | 0.0082047 | 0.99123 | -0.16875 | 0.99147 | -0.16409 | 2.254
24 | -0.0054668 | -0.0013699 | 0.0054674 | 0.00137 | 6.1359e-07 | 7.9173e-08 | 0.0082045 | 0.0082044 | 0.0082045 | 0.99147 | -0.16409 | 0.99159 | -0.16174 | 2.254
25 | 0.031128 | 0.0078045 | -0.03112 | -0.0077992 | 8.4477e-06 | 5.2731e-06 | 0.04669 | 0.04669 | 0.04669 | 0.99209 | -0.15203 | 0.9918 | -0.15772 | 12.8268
26 | 0.0073632 | 0.0018453 | -0.0073618 | -0.0018448 | 1.4066e-06 | 5.0367e-07 | 0.011047 | 0.011047 | 0.011047 | 0.9918 | -0.15772 | 0.99159 | -0.16174 | 3.035
27 | -0.016281 | -0.0040905 | 0.016289 | 0.0040951 | 7.7954e-06 | 4.5341e-06 | 0.02436 | 0.02436 | 0.02436 | 0.9947 | -0.10178 | 0.99522 | -0.091752 | 6.6922
28 | 0.016281 | 0.0040905 | -0.016263 | -0.0040795 | 1.8906e-05 | 1.0998e-05 | 0.02436 | 0.02436 | 0.02436 | 0.9947 | -0.10178 | 0.99344 | -0.12614 | 6.6923
29 | -0.027706 | -0.0069564 | 0.027708 | 0.0069573 | 1.4193e-06 | 8.7972e-07 | 0.04143 | 0.04143 | 0.04143 | 0.99522 | -0.091752 | 0.99528 | -0.090678 | 11.3818
30 | 0.016263 | 0.0040795 | -0.016256 | -0.0040757 | 6.6029e-06 | 3.8418e-06 | 0.02436 | 0.02436 | 0.02436 | 0.99344 | -0.12614 | 0.993 | -0.13466 | 6.6924
31 | -0.0339 | -0.0085091 | 0.033932 | 0.0085297 | 3.2753e-05 | 2.052e-05 | 0.050687 | 0.050687 | 0.050687 | 0.99528 | -0.090678 | 0.99633 | -0.070441 | 13.925
32 | 0.011578 | 0.0029034 | -0.011573 | -0.0029004 | 5.676e-06 | 2.9826e-06 | 0.017351 | 0.017351 | 0.017351 | 0.993 | -0.13466 | 0.99247 | -0.14495 | 4.7668
33 | -0.013295 | -0.0033319 | 0.013298 | 0.0033338 | 3.3382e-06 | 1.8484e-06 | 0.01996 | 0.01996 | 0.01996 | 0.99112 | -0.17104 | 0.99139 | -0.16577 | 5.4835
34 | -0.032744 | -0.0082074 | 0.032786 | 0.0082336 | 4.1809e-05 | 2.6162e-05 | 0.049147 | 0.049147 | 0.049147 | 0.99139 | -0.16577 | 0.99278 | -0.13901 | 13.5019
35 | -0.065653 | -0.016471 | 0.065727 | 0.016518 | 7.4125e-05 | 4.7176e-05 | 0.09841 | 0.09841 | 0.09841 | 0.99278 | -0.13901 | 0.994 | -0.11536 | 27.0357
36 | -0.065727 | -0.016518 | 0.065804 | 0.016567 | 7.6378e-05 | 4.8609e-05 | 0.09841 | 0.09841 | 0.09841 | 0.994 | -0.11536 | 0.99526 | -0.091044 | 27.0356
37 | -0.11364 | -0.028556 | 0.11383 | 0.028675 | 0.0001868 | 0.00011933 | 0.16993 | 0.16993 | 0.16993 | 0.99526 | -0.091044 | 0.99705 | -0.05667 | 46.684
38 | -0.16751 | -0.042129 | 0.16755 | 0.042157 | 4.4125e-05 | 2.8142e-05 | 0.25005 | 0.25005 | 0.25005 | 0.99705 | -0.05667 | 0.99733 | -0.051157 | 34.3471
39 | -0.21434 | -0.053882 | 0.21452 | 0.053998 | 0.00018207 | 0.00011596 | 0.31985 | 0.31985 | 0.31985 | 0.99733 | -0.051157 | 0.99826 | -0.033384 | 29.29
40 | -0.2489 | -0.062614 | 0.24894 | 0.062642 | 4.3373e-05 | 2.766e-05 | 0.37109 | 0.37109 | 0.37109 | 0.99826 | -0.033384 | 0.99845 | -0.029737 | 33.9827

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5905 | 0.14858

## res_load
| p_mw | q_mvar
0 | 0.014358 | 0.0035985
1 | 0.0090574 | 0.00227
2 | 0.0074945 | 0.0018783
3 | 0.009816 | 0.0024601
4 | 0.01945 | 0.0048745
5 | 0.0047311 | 0.0011857
6 | 0.017767 | 0.0044529
7 | 0.056378 | 0.01413
8 | 0.0097657 | 0.0024475
9 | 0.011602 | 0.0029078
10 | 0.021882 | 0.0054842
11 | 0.011463 | 0.002873
12 | 0.0067672 | 0.001696
13 | 0.0054649 | 0.0013696
14 | 0.010553 | 0.0026448
15 | 0.023757 | 0.005954
16 | 0.0018945 | 0.00047479
17 | 0.011417 | 0.0028614
18 | 0.0061919 | 0.0015518
19 | 0.0046775 | 0.0011723
20 | 0.013295 | 0.0033319
21 | 0.019446 | 0.0048736
22 | 0.032868 | 0.0082374
23 | 0.047836 | 0.011989
24 | 0.0083784 | 0.0020998
25 | 0.011573 | 0.0029004
26 | 0.053683 | 0.013454
27 | 0.046783 | 0.011725
28 | 0.034378 | 0.0086161
29 | 0.053535 | 0.013417

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1