## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1331-28_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1331-28_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1331-28_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1331-28_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1331-28_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1331-28_0_5_node_68 | 0.4 | n |  | TRUE
6 | bus_LV_1331-28_0_5_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_1331-28_0_5_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_1331-28_0_5_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_1331-28_0_5_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_1331-28_0_5_node_77 | 0.4 | n |  | TRUE
11 | bus_LV_1331-28_0_5_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_1331-28_0_5_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1331-28_0_5_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_1331-28_0_5_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_1331-28_0_5_node_71 | 0.4 | n |  | TRUE
16 | bus_LV_1331-28_0_5_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_1331-28_0_5_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_1331-28_0_5_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_1331-28_0_5_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_1331-28_0_5_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1331-28_0_5_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_1331-28_0_5_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_1331-28_0_5_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_1331-28_0_5_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1331-28_0_5_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_1331-28_0_5_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_1331-28_0_5_node_7 | 0.4 | n |  | TRUE
28 | bus_LV_1331-28_0_5_node_8 | 0.4 | n |  | TRUE
29 | bus_LV_1331-28_0_5_node_10 | 0.4 | n |  | TRUE
30 | bus_LV_1331-28_0_5_node_9 | 0.4 | n |  | TRUE
31 | bus_LV_1331-28_0_5_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_1331-28_0_5_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_1331-28_0_5_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_1331-28_0_5_node_11 | 0.4 | n |  | TRUE
35 | bus_LV_1331-28_0_5_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_1331-28_0_5_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_1331-28_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1331-28_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1331-28_0_5_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1331-28_0_5_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_1331-28_0_5_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_1331-28_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_1331-28_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1331-28_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_1331-28_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_1331-28_0_5_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1331-28_0_5_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_1331-28_0_5_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_1331-28_0_5_node_20 | 0.4 | n |  | TRUE
50 | bus_LV_1331-28_0_5_node_22 | 0.4 | n |  | TRUE
51 | bus_LV_1331-28_0_5_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_1331-28_0_5_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_1331-28_0_5_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_1331-28_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_1331-28_0_5_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_1331-28_0_5_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_1331-28_0_5_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_1331-28_0_5_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_1331-28_0_5_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_1331-28_0_5_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_1331-28_0_5_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_1331-28_0_5_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_1331-28_0_5_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_1331-28_0_5_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_1331-28_0_5_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_1331-28_0_5_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_1331-28_0_5_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_1331-28_0_5_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_1331-28_0_5_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1331-28_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_1331-28_0_5_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_1331-28_0_5_node_50 | 0.4 | n |  | TRUE
73 | bus_MV_4_0_node_87 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1331-28_0_5_load_0 | 0 | 0.018921 | 0.0047422 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1331-28_0_5_load_1 | 1 | 0.021227 | 0.00532 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1331-28_0_5_load_2 | 2 | 0.0024224 | 0.00060711 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1331-28_0_5_load_4 | 4 | 0.0085748 | 0.002149 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1331-28_0_5_load_68 | 5 | 0.020437 | 0.005122 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1331-28_0_5_load_70 | 6 | 0.018235 | 0.0045701 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1331-28_0_5_load_66 | 7 | 0.004559 | 0.0011426 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1331-28_0_5_load_73 | 8 | 0.0030419 | 0.00076236 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1331-28_0_5_load_74 | 9 | 0.0022433 | 0.00056223 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1331-28_0_5_load_77 | 10 | 0.0057861 | 0.0014501 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1331-28_0_5_load_76 | 11 | 0.0049621 | 0.0012436 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1331-28_0_5_load_5 | 12 | 0.0027085 | 0.0006788 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1331-28_0_5_load_64 | 13 | 0.018706 | 0.0046881 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1331-28_0_5_load_63 | 14 | 0.027388 | 0.006864 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1331-28_0_5_load_71 | 15 | 0.0061243 | 0.0015349 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1331-28_0_5_load_72 | 16 | 0.0025059 | 0.00062803 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1331-28_0_5_load_75 | 17 | 0.0026524 | 0.00066476 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1331-28_0_5_load_28 | 20 | 0.0059652 | 0.001495 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1331-28_0_5_load_67 | 22 | 0.0028505 | 0.00071439 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1331-28_0_5_load_69 | 23 | 0.0022559 | 0.00056539 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1331-28_0_5_load_27 | 24 | 0.00087789 | 0.00022002 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1331-28_0_5_load_60 | 25 | 0.013085 | 0.0032794 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1331-28_0_5_load_7 | 27 | 0.0039195 | 0.00098232 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1331-28_0_5_load_8 | 28 | 0.003134 | 0.00078544 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1331-28_0_5_load_10 | 29 | 0.0059176 | 0.0014831 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1331-28_0_5_load_12 | 31 | 0.0030491 | 0.00076418 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1331-28_0_5_load_15 | 35 | 0.01021 | 0.002559 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1331-28_0_5_load_17 | 36 | 0.0015612 | 0.00039128 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1331-28_0_5_load_24 | 37 | 0.0076218 | 0.0019102 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1331-28_0_5_load_58 | 40 | 0.00094693 | 0.00023732 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1331-28_0_5_load_23 | 41 | 0.003014 | 0.00075537 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1331-28_0_5_load_32 | 43 | 0.00050686 | 0.00012703 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1331-28_0_5_load_29 | 44 | 0.0037882 | 0.00094941 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1331-28_0_5_load_38 | 45 | 0.013825 | 0.0034649 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1331-28_0_5_load_35 | 46 | 0.010528 | 0.0026385 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1331-28_0_5_load_19 | 47 | 0.0016427 | 0.0004117 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1331-28_0_5_load_21 | 48 | 0.0015513 | 0.0003888 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1331-28_0_5_load_20 | 49 | 0.0034258 | 0.00085859 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1331-28_0_5_load_22 | 50 | 0.0036614 | 0.00091764 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1331-28_0_5_load_56 | 52 | 0.016241 | 0.0040704 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1331-28_0_5_load_53 | 53 | 0.016939 | 0.0042453 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1331-28_0_5_load_45 | 54 | 0.018657 | 0.004676 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1331-28_0_5_load_30 | 55 | 0.0066815 | 0.0016745 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1331-28_0_5_load_31 | 56 | 0.013883 | 0.0034794 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1331-28_0_5_load_34 | 58 | 0.014495 | 0.0036327 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1331-28_0_5_load_36 | 59 | 0.019933 | 0.0049956 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1331-28_0_5_load_39 | 60 | 0.0034976 | 0.00087657 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1331-28_0_5_load_43 | 62 | 0.013347 | 0.0033451 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1331-28_0_5_load_44 | 64 | 0.016929 | 0.0042428 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1331-28_0_5_load_47 | 65 | 0.041302 | 0.010351 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1331-28_0_5_load_61 | 67 | 0.015742 | 0.0039452 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1331-28_0_5_load_57 | 68 | 0.01688 | 0.0042306 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1331-28_0_5_load_59 | 69 | 0.015369 | 0.0038519 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1331-28_0_5_load_62 | 70 | 0.01679 | 0.0042081 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1331-28_0_5_load_50 | 72 | 0.014576 | 0.003653 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1331-28_0_5_line_0 |  | 0 | 1 | 0.055935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1331-28_0_5_line_1 |  | 0 | 2 | 0.02981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1331-28_0_5_line_2 |  | 1 | 3 | 0.026417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1331-28_0_5_line_3 |  | 2 | 4 | 0.01301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1331-28_0_5_line_4 |  | 3 | 12 | 0.068383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1331-28_0_5_line_5 |  | 4 | 18 | 0.060841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1331-28_0_5_line_6 |  | 4 | 19 | 0.054855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1331-28_0_5_line_7 |  | 5 | 6 | 0.028427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1331-28_0_5_line_8 |  | 5 | 7 | 0.009784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1331-28_0_5_line_9 |  | 6 | 8 | 0.03673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1331-28_0_5_line_10 |  | 7 | 19 | 0.049175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1331-28_0_5_line_11 |  | 8 | 9 | 0.033634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1331-28_0_5_line_12 |  | 8 | 10 | 0.062204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1331-28_0_5_line_13 |  | 9 | 17 | 0.022055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1331-28_0_5_line_14 |  | 9 | 15 | 0.034668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1331-28_0_5_line_15 |  | 10 | 11 | 0.020117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1331-28_0_5_line_16 |  | 12 | 20 | 0.0043056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1331-28_0_5_line_17 |  | 13 | 14 | 0.054773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1331-28_0_5_line_18 |  | 14 | 19 | 0.025586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1331-28_0_5_line_19 |  | 15 | 16 | 0.018926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1331-28_0_5_line_20 |  | 18 | 21 | 0.029658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1331-28_0_5_line_21 |  | 19 | 22 | 0.012528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1331-28_0_5_line_22 |  | 20 | 24 | 0.02271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1331-28_0_5_line_23 |  | 21 | 25 | 0.029761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1331-28_0_5_line_24 |  | 21 | 26 | 0.028126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1331-28_0_5_line_25 |  | 22 | 23 | 0.0099622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1331-28_0_5_line_26 |  | 24 | 42 | 0.028002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1331-28_0_5_line_27 |  | 25 | 69 | 0.039594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1331-28_0_5_line_28 |  | 26 | 65 | 0.036571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1331-28_0_5_line_29 |  | 26 | 61 | 0.021575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1331-28_0_5_line_30 |  | 27 | 28 | 0.023837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1331-28_0_5_line_31 |  | 28 | 29 | 0.0045203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1331-28_0_5_line_32 |  | 29 | 33 | 0.029691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1331-28_0_5_line_33 |  | 30 | 31 | 0.012936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1331-28_0_5_line_34 |  | 30 | 32 | 0.021241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1331-28_0_5_line_35 |  | 32 | 36 | 0.0072804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1331-28_0_5_line_36 |  | 32 | 34 | 0.015393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1331-28_0_5_line_37 |  | 33 | 37 | 0.0096457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1331-28_0_5_line_38 |  | 33 | 38 | 0.022996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1331-28_0_5_line_39 |  | 34 | 35 | 0.013728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1331-28_0_5_line_40 |  | 35 | 39 | 0.013291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1331-28_0_5_line_41 |  | 36 | 40 | 0.01585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1331-28_0_5_line_42 |  | 37 | 41 | 0.0042597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1331-28_0_5_line_43 |  | 38 | 43 | 0.009152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1331-28_0_5_line_44 |  | 38 | 44 | 0.016035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1331-28_0_5_line_45 |  | 38 | 42 | 0.028341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1331-28_0_5_line_46 |  | 39 | 45 | 0.0053238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1331-28_0_5_line_47 |  | 39 | 46 | 0.015704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1331-28_0_5_line_48 |  | 41 | 50 | 0.045195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1331-28_0_5_line_49 |  | 44 | 55 | 0.01454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1331-28_0_5_line_50 |  | 46 | 57 | 0.016569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1331-28_0_5_line_51 |  | 47 | 48 | 0.0078726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1331-28_0_5_line_52 |  | 48 | 51 | 0.0487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1331-28_0_5_line_53 |  | 49 | 50 | 0.032046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1331-28_0_5_line_54 |  | 51 | 52 | 0.03354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1331-28_0_5_line_55 |  | 51 | 53 | 0.046108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1331-28_0_5_line_56 |  | 51 | 54 | 0.044485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1331-28_0_5_line_57 |  | 52 | 68 | 0.030369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1331-28_0_5_line_58 |  | 53 | 71 | 0.048009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1331-28_0_5_line_59 |  | 54 | 63 | 0.027993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1331-28_0_5_line_60 |  | 55 | 56 | 0.03114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_1331-28_0_5_line_61 |  | 56 | 57 | 0.013947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1331-28_0_5_line_62 |  | 57 | 58 | 0.015131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1331-28_0_5_line_63 |  | 58 | 59 | 0.0088829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1331-28_0_5_line_64 |  | 60 | 61 | 0.020256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1331-28_0_5_line_65 |  | 61 | 62 | 0.029481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1331-28_0_5_line_66 |  | 62 | 66 | 0.0048254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1331-28_0_5_line_67 |  | 63 | 64 | 0.0023812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1331-28_0_5_line_68 |  | 65 | 67 | 0.04652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1331-28_0_5_line_69 |  | 66 | 68 | 0.019832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1331-28_0_5_line_70 |  | 67 | 70 | 0.042025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1331-28_0_5_line_71 |  | 71 | 72 | 0.017435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1331-28_0_5_trafo_47 | 0.63 MVA 20/0.4 kV | 73 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2676080.5566 | 1215564.3019 | 2676127.8346 | 1215594.1927
1 | 2676080.5566 | 1215564.3019 | 2676055.3601 | 1215548.3718
2 | 2676150.1632 | 1215608.3096 | 2676127.8346 | 1215594.1927
3 | 2676055.3601 | 1215548.3718 | 2676044.3632 | 1215541.4192
4 | 2676150.1632 | 1215608.3096 | 2676198.5853 | 1215560.0235
5 | 2675992.938 | 1215508.9063 | 2676044.3632 | 1215541.4192
6 | 2676044.3632 | 1215541.4192 | 2676016.3064 | 1215588.5555
7 | 2676014.5809 | 1215641.65 | 2676022.692 | 1215649.3428 | 2676034.9674 | 1215661.4594
8 | 2676014.5809 | 1215641.65 | 2676011.6174 | 1215638.8393 | 2676008.2425 | 1215634.2463
9 | 2676034.9674 | 1215661.4594 | 2676015.6529 | 1215692.7009
10 | 2676016.3064 | 1215588.5555 | 2676010.2874 | 1215599.6304 | 2676004.7428 | 1215619.3613 | 2676004.6159 | 1215629.3105 | 2676008.2425 | 1215634.2463
11 | 2676015.6529 | 1215692.7009 | 2676017.2843 | 1215693.4578 | 2676037.8767 | 1215707.8964 | 2676042.7394 | 1215712.4846
12 | 2676015.6529 | 1215692.7009 | 2675972.4439 | 1215737.448
13 | 2676057.8481 | 1215728.4988 | 2676050.8727 | 1215720.1589 | 2676042.7394 | 1215712.4846
14 | 2676063.9847 | 1215685.0894 | 2676042.7394 | 1215712.4846
15 | 2675972.4439 | 1215737.448 | 2675985.8149 | 1215752.4789
16 | 2676198.5853 | 1215560.0235 | 2676201.6341 | 1215556.9833
17 | 2676073.0764 | 1215643.4705 | 2676045.5393 | 1215619.2036 | 2676031.2557 | 1215608.1376
18 | 2676016.3064 | 1215588.5555 | 2676017.9946 | 1215595.5149 | 2676023.2437 | 1215601.9304 | 2676031.2557 | 1215608.1376
19 | 2676063.9847 | 1215685.0894 | 2676080.9396 | 1215693.4982
20 | 2675992.938 | 1215508.9063 | 2676001.1708 | 1215505.2645 | 2676020.5241 | 1215497.8397
21 | 2676016.3064 | 1215588.5555 | 2676003.7801 | 1215588.7769
22 | 2676201.6341 | 1215556.9833 | 2676206.8457 | 1215551.7863 | 2676219.3868 | 1215542.9356
23 | 2676020.5241 | 1215497.8397 | 2676008.5061 | 1215470.6129
24 | 2676044.8841 | 1215483.6968 | 2676033.9438 | 1215490.6173 | 2676020.5241 | 1215497.8397
25 | 2675993.8251 | 1215588.7211 | 2675996.5729 | 1215588.9042 | 2676003.7801 | 1215588.7769
26 | 2676242.2651 | 1215526.7896 | 2676219.3868 | 1215542.9356
27 | 2675992.5174 | 1215434.3904 | 2676008.5061 | 1215470.6129
28 | 2676044.8841 | 1215483.6968 | 2676071.2489 | 1215509.0405
29 | 2676061.6733 | 1215470.1133 | 2676052.7943 | 1215476.7821 | 2676044.8841 | 1215483.6968
30 | 2676213.8744 | 1215429.8105 | 2676222.7471 | 1215451.9344
31 | 2676224.4297 | 1215456.1299 | 2676222.7471 | 1215451.9344
32 | 2676232.4299 | 1215484.7145 | 2676224.9127 | 1215457.3341 | 2676224.4297 | 1215456.1299
33 | 2676198.3303 | 1215391.0516 | 2676208.1076 | 1215382.5818
34 | 2676198.3303 | 1215391.0516 | 2676180.6662 | 1215402.9224
35 | 2676180.6662 | 1215402.9224 | 2676174.2976 | 1215406.45
36 | 2676187.8508 | 1215416.5452 | 2676180.6662 | 1215402.9224
37 | 2676232.4299 | 1215484.7145 | 2676241.2474 | 1215480.8042
38 | 2676227.8193 | 1215506.1583 | 2676229.0204 | 1215504.2835 | 2676233.0652 | 1215497.9756 | 2676232.4299 | 1215484.7145
39 | 2676187.8508 | 1215416.5452 | 2676181.4794 | 1215428.7051
40 | 2676175.3107 | 1215440.4782 | 2676181.4794 | 1215428.7051
41 | 2676174.2976 | 1215406.45 | 2676160.4323 | 1215414.13
42 | 2676245.1415 | 1215479.0773 | 2676241.2474 | 1215480.8042
43 | 2676227.8193 | 1215506.1583 | 2676226.8662 | 1215507.647 | 2676220.4105 | 1215511.2669
44 | 2676227.8193 | 1215506.1583 | 2676217.731 | 1215500.4923 | 2676213.6892 | 1215498.5962
45 | 2676227.8193 | 1215506.1583 | 2676229.0204 | 1215504.2835 | 2676242.2651 | 1215526.7896
46 | 2676175.3107 | 1215440.4782 | 2676170.6398 | 1215443.0327
47 | 2676175.3107 | 1215440.4782 | 2676168.9008 | 1215454.8145
48 | 2676278.7232 | 1215452.6608 | 2676278.4601 | 1215456.0514 | 2676273.6821 | 1215463.8619 | 2676268.2266 | 1215468.8398 | 2676245.1415 | 1215479.0773
49 | 2676213.6892 | 1215498.5962 | 2676201.9917 | 1215493.1086 | 2676200.5757 | 1215492.3236
50 | 2676162.138 | 1215469.94 | 2676168.9008 | 1215454.8145
51 | 2676149.994 | 1215356.6032 | 2676157.5013 | 1215354.2327
52 | 2676103.1264 | 1215369.2773 | 2676108.6737 | 1215369.0035 | 2676127.2932 | 1215363.7711 | 2676149.994 | 1215356.6032
53 | 2676270.0997 | 1215422.5578 | 2676279.3877 | 1215444.1 | 2676278.7232 | 1215452.6608
54 | 2676103.1264 | 1215369.2773 | 2676098.2223 | 1215402.4573
55 | 2676103.1264 | 1215369.2773 | 2676102.951 | 1215350.8965 | 2676097.8648 | 1215334.6878 | 2676087.2733 | 1215332.9199
56 | 2676103.1264 | 1215369.2773 | 2676090.124 | 1215368.7666 | 2676058.9752 | 1215364.2616
57 | 2676098.2223 | 1215402.4573 | 2676093.7819 | 1215432.5001
58 | 2676066.7895 | 1215293.5982 | 2676069.7456 | 1215303.5646 | 2676074.5411 | 1215318.7578 | 2676079.4727 | 1215331.6178 | 2676087.2733 | 1215332.9199
59 | 2676031.2709 | 1215360.2548 | 2676058.9752 | 1215364.2616
60 | 2676200.5757 | 1215492.3236 | 2676190.4546 | 1215486.7126 | 2676186.8122 | 1215481.7407 | 2676174.7202 | 1215475.9576
61 | 2676162.138 | 1215469.94 | 2676174.7202 | 1215475.9576
62 | 2676162.138 | 1215469.94 | 2676148.5082 | 1215463.3699
63 | 2676148.5082 | 1215463.3699 | 2676140.5065 | 1215459.5126
64 | 2676061.6733 | 1215470.1133 | 2676053.5583 | 1215451.5534
65 | 2676061.6733 | 1215470.1133 | 2676086.7739 | 1215454.6498
66 | 2676090.8822 | 1215452.1188 | 2676086.7739 | 1215454.6498
67 | 2676031.2709 | 1215360.2548 | 2676028.9073 | 1215359.966
68 | 2676106.4317 | 1215539.3752 | 2676102.1432 | 1215536.05 | 2676098.8346 | 1215533.4839 | 2676087.6455 | 1215524.8021 | 2676071.2489 | 1215509.0405
69 | 2676090.8822 | 1215452.1188 | 2676093.7819 | 1215432.5001
70 | 2676106.4317 | 1215539.3752 | 2676135.0636 | 1215561.5756 | 2676139.9087 | 1215564.7541
71 | 2676066.7895 | 1215293.5982 | 2676050.0801 | 1215298.5749

## bus_geodata
| x | y | coords
0 | 2676080.5566 | 1215564.3019
1 | 2676127.8346 | 1215594.1927
2 | 2676055.3601 | 1215548.3718
3 | 2676150.1632 | 1215608.3096
4 | 2676044.3632 | 1215541.4192
5 | 2676014.5809 | 1215641.65
6 | 2676034.9674 | 1215661.4594
7 | 2676008.2425 | 1215634.2463
8 | 2676015.6529 | 1215692.7009
9 | 2676042.7394 | 1215712.4846
10 | 2675972.4439 | 1215737.448
11 | 2675985.8149 | 1215752.4789
12 | 2676198.5853 | 1215560.0235
13 | 2676073.0764 | 1215643.4705
14 | 2676031.2557 | 1215608.1376
15 | 2676063.9847 | 1215685.0894
16 | 2676080.9396 | 1215693.4982
17 | 2676057.8481 | 1215728.4988
18 | 2675992.938 | 1215508.9063
19 | 2676016.3064 | 1215588.5555
20 | 2676201.6341 | 1215556.9833
21 | 2676020.5241 | 1215497.8397
22 | 2676003.7801 | 1215588.7769
23 | 2675993.8251 | 1215588.7211
24 | 2676219.3868 | 1215542.9356
25 | 2676008.5061 | 1215470.6129
26 | 2676044.8841 | 1215483.6968
27 | 2676213.8744 | 1215429.8105
28 | 2676222.7471 | 1215451.9344
29 | 2676224.4297 | 1215456.1299
30 | 2676198.3302 | 1215391.0516
31 | 2676208.1076 | 1215382.5818
32 | 2676180.6662 | 1215402.9224
33 | 2676232.4299 | 1215484.7145
34 | 2676187.8508 | 1215416.5452
35 | 2676181.4794 | 1215428.7051
36 | 2676174.2976 | 1215406.45
37 | 2676241.2474 | 1215480.8042
38 | 2676227.8193 | 1215506.1583
39 | 2676175.3107 | 1215440.4782
40 | 2676160.4323 | 1215414.13
41 | 2676245.1415 | 1215479.0773
42 | 2676242.2651 | 1215526.7896
43 | 2676220.4105 | 1215511.2669
44 | 2676213.6892 | 1215498.5962
45 | 2676170.6398 | 1215443.0327
46 | 2676168.9008 | 1215454.8145
47 | 2676157.5013 | 1215354.2327
48 | 2676149.994 | 1215356.6032
49 | 2676270.0997 | 1215422.5578
50 | 2676278.7232 | 1215452.6608
51 | 2676103.1264 | 1215369.2773
52 | 2676098.2223 | 1215402.4573
53 | 2676087.2733 | 1215332.9199
54 | 2676058.9752 | 1215364.2616
55 | 2676200.5757 | 1215492.3236
56 | 2676174.7202 | 1215475.9576
57 | 2676162.138 | 1215469.94
58 | 2676148.5082 | 1215463.3699
59 | 2676140.5065 | 1215459.5126
60 | 2676053.5583 | 1215451.5534
61 | 2676061.6733 | 1215470.1133
62 | 2676086.7739 | 1215454.6498
63 | 2676031.2709 | 1215360.2548
64 | 2676028.9073 | 1215359.966
65 | 2676071.2489 | 1215509.0405
66 | 2676090.8822 | 1215452.1188
67 | 2676106.4317 | 1215539.3752
68 | 2676093.7819 | 1215432.5001
69 | 2675992.5174 | 1215434.3904
70 | 2676139.9087 | 1215564.7541
71 | 2676066.7895 | 1215293.5982
72 | 2676050.0801 | 1215298.5749
73 | 2676044.8841 | 1215483.6968

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98551 | -0.27629 | 0.018921 | 0.0047422
1 | 0.98342 | -0.31676 | 0.021227 | 0.00532
2 | 0.98675 | -0.25227 | 0.0024224 | 0.00060711
3 | 0.98256 | -0.3334 | 0 | 0
4 | 0.9873 | -0.24166 | 0.0085748 | 0.002149
5 | 0.97728 | -0.43665 | 0.020437 | 0.005122
6 | 0.97608 | -0.46032 | 0.018235 | 0.0045701
7 | 0.97788 | -0.42488 | 0.004559 | 0.0011426
8 | 0.97515 | -0.47869 | 0.0030419 | 0.00076236
9 | 0.97472 | -0.48704 | 0.0022433 | 0.00056223
10 | 0.97452 | -0.49096 | 0.0057861 | 0.0014501
11 | 0.97443 | -0.49279 | 0.0049621 | 0.0012436
12 | 0.98034 | -0.37661 | 0.0027085 | 0.0006788
13 | 0.97907 | -0.40184 | 0.018706 | 0.0046881
14 | 0.98002 | -0.38322 | 0.027388 | 0.006864
15 | 0.97444 | -0.49253 | 0.0061243 | 0.0015349
16 | 0.9744 | -0.4934 | 0.0025059 | 0.00062803
17 | 0.97467 | -0.48811 | 0.0026524 | 0.00066476
18 | 0.99172 | -0.15702 | 0 | 0
19 | 0.98111 | -0.36184 | 0 | 0
20 | 0.98021 | -0.37929 | 0.0059652 | 0.001495
21 | 0.99387 | -0.11603 | 0 | 0
22 | 0.98105 | -0.363 | 0.0028505 | 0.00071439
23 | 0.98103 | -0.36341 | 0.0022559 | 0.00056539
24 | 0.97951 | -0.39279 | 0.00087789 | 0.00022002
25 | 0.9931 | -0.13099 | 0.013085 | 0.0032794
26 | 0.99609 | -0.073807 | 0 | 0
27 | 0.97668 | -0.44834 | 0.0039195 | 0.00098232
28 | 0.97677 | -0.44664 | 0.003134 | 0.00078544
29 | 0.9768 | -0.44605 | 0.0059176 | 0.0014831
30 | 0.97341 | -0.51266 | 0 | 0
31 | 0.97337 | -0.51339 | 0.0030491 | 0.00076418
32 | 0.97347 | -0.51147 | 0 | 0
33 | 0.97715 | -0.43902 | 0 | 0
34 | 0.97355 | -0.5099 | 0 | 0
35 | 0.97362 | -0.5085 | 0.01021 | 0.002559
36 | 0.97345 | -0.51181 | 0.0015612 | 0.00039128
37 | 0.977 | -0.44214 | 0.0076218 | 0.0019102
38 | 0.97781 | -0.42614 | 0 | 0
39 | 0.97382 | -0.50464 | 0 | 0
40 | 0.97344 | -0.51209 | 0.00094693 | 0.00023732
41 | 0.97696 | -0.44293 | 0.003014 | 0.00075537
42 | 0.97867 | -0.40935 | 0 | 0
43 | 0.9778 | -0.42623 | 0.00050686 | 0.00012703
44 | 0.97744 | -0.43337 | 0.0037882 | 0.00094941
45 | 0.97375 | -0.506 | 0.013825 | 0.0034649
46 | 0.97425 | -0.4961 | 0.010528 | 0.0026385
47 | 0.98342 | -0.31833 | 0.0016427 | 0.0004117
48 | 0.98343 | -0.31809 | 0.0015513 | 0.0003888
49 | 0.97656 | -0.45079 | 0.0034258 | 0.00085859
50 | 0.97666 | -0.44878 | 0.0036614 | 0.00091764
51 | 0.98357 | -0.31529 | 0 | 0
52 | 0.98575 | -0.2729 | 0.016241 | 0.0040704
53 | 0.98223 | -0.34151 | 0.016939 | 0.0042453
54 | 0.98211 | -0.34385 | 0.018657 | 0.004676
55 | 0.97712 | -0.43968 | 0.0066815 | 0.0016745
56 | 0.97584 | -0.46485 | 0.013883 | 0.0034794
57 | 0.97487 | -0.4839 | 0 | 0
58 | 0.97438 | -0.49346 | 0.014495 | 0.0036327
59 | 0.97422 | -0.49671 | 0.019933 | 0.0049956
60 | 0.99364 | -0.12075 | 0.0034976 | 0.00087657
61 | 0.9937 | -0.1195 | 0 | 0
62 | 0.99053 | -0.18046 | 0.013347 | 0.0033451
63 | 0.98167 | -0.35242 | 0 | 0
64 | 0.98164 | -0.35315 | 0.016929 | 0.0042428
65 | 1 | 0 | -0.50388 | -0.12912
66 | 0.99007 | -0.18933 | 0 | 0
67 | 0.99863 | -0.026415 | 0.015742 | 0.0039452
68 | 0.98818 | -0.22587 | 0.01688 | 0.0042306
69 | 0.99254 | -0.14175 | 0.015369 | 0.0038519
70 | 0.99798 | -0.038756 | 0.01679 | 0.0042081
71 | 0.98159 | -0.35416 | 0 | 0
72 | 0.98135 | -0.35876 | 0.014576 | 0.003653
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.16223 | 0.041169 | -0.16192 | -0.04097 | 0.00031512 | 0.00019883 | 0.24514 | 0.24514 | 0.24514 | 0.98551 | -0.27629 | 0.98342 | -0.31676 | 16.8366
1 | -0.18116 | -0.045911 | 0.18137 | 0.046043 | 0.00020937 | 0.00013247 | 0.27371 | 0.27371 | 0.27371 | 0.98551 | -0.27629 | 0.98675 | -0.25227 | 18.7987
2 | 0.14069 | 0.03565 | -0.14058 | -0.035579 | 0.00011238 | 7.0586e-05 | 0.21302 | 0.21302 | 0.21302 | 0.98342 | -0.31676 | 0.98256 | -0.3334 | 14.6306
3 | -0.18379 | -0.046651 | 0.18388 | 0.04671 | 9.3833e-05 | 5.9388e-05 | 0.27736 | 0.27736 | 0.27736 | 0.98675 | -0.25227 | 0.9873 | -0.24166 | 19.0495
4 | 0.14058 | 0.035579 | -0.14029 | -0.035397 | 0.00029092 | 0.00018273 | 0.21302 | 0.21302 | 0.21302 | 0.98256 | -0.3334 | 0.98034 | -0.37661 | 14.6307
5 | -0.31531 | -0.080077 | 0.3166 | 0.080899 | 0.0012902 | 0.0008226 | 0.4756 | 0.4756 | 0.4756 | 0.9873 | -0.24166 | 0.99172 | -0.15702 | 32.6649
6 | 0.12286 | 0.031218 | -0.12215 | -0.030766 | 0.00070644 | 0.00045143 | 0.18532 | 0.18532 | 0.18532 | 0.9873 | -0.24166 | 0.98111 | -0.36184 | 50.9114
7 | 0.045641 | 0.011471 | -0.045589 | -0.011438 | 5.1498e-05 | 3.2603e-05 | 0.069504 | 0.069504 | 0.069504 | 0.97728 | -0.43665 | 0.97608 | -0.46032 | 19.0946
8 | -0.066078 | -0.016592 | 0.066115 | 0.016616 | 3.7147e-05 | 2.3652e-05 | 0.10062 | 0.10062 | 0.10062 | 0.97728 | -0.43665 | 0.97788 | -0.42488 | 27.6433
9 | 0.027354 | 0.0068678 | -0.027331 | -0.006853 | 2.3958e-05 | 1.4874e-05 | 0.041706 | 0.041706 | 0.041706 | 0.97608 | -0.46032 | 0.97515 | -0.47869 | 11.4577
10 | -0.070674 | -0.017759 | 0.070887 | 0.017895 | 0.00021334 | 0.00013592 | 0.10756 | 0.10756 | 0.10756 | 0.97788 | -0.42488 | 0.98111 | -0.36184 | 29.5491
11 | 0.013534 | 0.0033936 | -0.013528 | -0.0033906 | 5.3796e-06 | 3.0235e-06 | 0.020652 | 0.020652 | 0.020652 | 0.97515 | -0.47869 | 0.97472 | -0.48704 | 5.6738
12 | 0.010755 | 0.002697 | -0.010749 | -0.0026938 | 6.2831e-06 | 3.2457e-06 | 0.016412 | 0.016412 | 0.016412 | 0.97515 | -0.47869 | 0.97452 | -0.49096 | 4.5089
13 | 0.0026526 | 0.00066457 | -0.0026524 | -0.00066476 | 1.3562e-07 | -1.8809e-07 | 0.0040493 | 0.0040494 | 0.0040494 | 0.97472 | -0.48704 | 0.97467 | -0.48811 | 1.1125
14 | 0.0086325 | 0.0021638 | -0.0086302 | -0.0021627 | 2.2578e-06 | 1.013e-06 | 0.013178 | 0.013179 | 0.013179 | 0.97472 | -0.48704 | 0.97444 | -0.49253 | 3.6205
15 | 0.0049626 | 0.0012437 | -0.0049621 | -0.0012436 | 4.3316e-07 | 2.6595e-08 | 0.0075774 | 0.0075775 | 0.0075775 | 0.97452 | -0.49096 | 0.97443 | -0.49279 | 2.0817
16 | 0.13758 | 0.034718 | -0.13756 | -0.034707 | 1.7617e-05 | 1.1058e-05 | 0.20891 | 0.20891 | 0.20891 | 0.98034 | -0.37661 | 0.98021 | -0.37929 | 14.3484
17 | -0.018706 | -0.0046881 | 0.018722 | 0.004698 | 1.6601e-05 | 9.935e-06 | 0.028429 | 0.028429 | 0.028429 | 0.97907 | -0.40184 | 0.98002 | -0.38322 | 7.8103
18 | -0.04611 | -0.011562 | 0.046157 | 0.011592 | 4.7032e-05 | 2.9778e-05 | 0.070014 | 0.070014 | 0.070014 | 0.98002 | -0.38322 | 0.98111 | -0.36184 | 19.2346
19 | 0.002506 | 0.00062786 | -0.0025059 | -0.00062803 | 1.0393e-07 | -1.6924e-07 | 0.0038266 | 0.0038267 | 0.0038267 | 0.97444 | -0.49253 | 0.9744 | -0.4934 | 1.0513
20 | -0.3166 | -0.080899 | 0.31723 | 0.0813 | 0.00062892 | 0.00040098 | 0.4756 | 0.4756 | 0.4756 | 0.99172 | -0.15702 | 0.99387 | -0.11603 | 32.6649
21 | 0.0051067 | 0.0012797 | -0.0051064 | -0.0012797 | 2.8183e-07 | 2.2169e-08 | 0.0077451 | 0.0077452 | 0.0077452 | 0.98111 | -0.36184 | 0.98105 | -0.363 | 2.1278
22 | 0.1316 | 0.033212 | -0.13151 | -0.033158 | 8.504e-05 | 5.3281e-05 | 0.19986 | 0.19986 | 0.19986 | 0.98021 | -0.37929 | 0.97951 | -0.39279 | 13.7265
23 | 0.028482 | 0.0071484 | -0.028462 | -0.0071358 | 2.0299e-05 | 1.2606e-05 | 0.042647 | 0.042647 | 0.042647 | 0.99387 | -0.11603 | 0.9931 | -0.13099 | 11.7163
24 | -0.34572 | -0.088449 | 0.34642 | 0.0889 | 0.00070819 | 0.00045178 | 0.51825 | 0.51825 | 0.51825 | 0.99387 | -0.11603 | 0.99609 | -0.073807 | 35.5939
25 | 0.002256 | 0.00056529 | -0.0022559 | -0.00056539 | 4.374e-08 | -9.7794e-08 | 0.0034217 | 0.0034218 | 0.0034218 | 0.98105 | -0.363 | 0.98103 | -0.36341 | 0.94004
26 | 0.13063 | 0.032938 | -0.13053 | -0.032874 | 0.00010346 | 6.4808e-05 | 0.19852 | 0.19852 | 0.19852 | 0.97951 | -0.39279 | 0.97867 | -0.40935 | 13.6349
27 | 0.015377 | 0.0038564 | -0.015369 | -0.0038519 | 7.8827e-06 | 4.5329e-06 | 0.023041 | 0.023041 | 0.023041 | 0.9931 | -0.13099 | 0.99254 | -0.14175 | 6.33
28 | -0.46797 | -0.11986 | 0.46965 | 0.12093 | 0.0016799 | 0.0010732 | 0.69999 | 0.69999 | 0.69999 | 0.99609 | -0.073807 | 1 | 0 | 48.0764
29 | 0.12155 | 0.030957 | -0.12128 | -0.030786 | 0.00026725 | 0.00017076 | 0.18175 | 0.18175 | 0.18175 | 0.99609 | -0.073807 | 0.9937 | -0.1195 | 49.9303
30 | -0.0039195 | -0.00098232 | 0.0039198 | 0.00098223 | 3.1875e-07 | -9.4335e-08 | 0.0059716 | 0.0059715 | 0.0059716 | 0.97668 | -0.44834 | 0.97677 | -0.44664 | 1.6405
31 | -0.0070538 | -0.0017677 | 0.007054 | 0.0017677 | 1.9574e-07 | 6.869e-08 | 0.010746 | 0.010746 | 0.010746 | 0.97677 | -0.44664 | 0.9768 | -0.44605 | 2.9521
32 | -0.012972 | -0.0032508 | 0.012976 | 0.0032533 | 4.3476e-06 | 2.4107e-06 | 0.01976 | 0.01976 | 0.01976 | 0.9768 | -0.44605 | 0.97715 | -0.43902 | 5.4287
33 | 0.0030492 | 0.00076408 | -0.0030491 | -0.00076418 | 1.0539e-07 | -9.3345e-08 | 0.0046612 | 0.0046612 | 0.0046612 | 0.97341 | -0.51266 | 0.97337 | -0.51339 | 1.2806
34 | -0.0030492 | -0.00076408 | 0.0030494 | 0.00076393 | 1.7306e-07 | -1.5331e-07 | 0.0046612 | 0.0046611 | 0.0046612 | 0.97341 | -0.51266 | 0.97347 | -0.51147 | 1.2805
35 | 0.0025082 | 0.00062835 | -0.0025082 | -0.00062842 | 4.013e-08 | -6.4828e-08 | 0.0038339 | 0.0038339 | 0.0038339 | 0.97347 | -0.51147 | 0.97345 | -0.51181 | 1.0533
36 | -0.0055576 | -0.0013923 | 0.005558 | 0.0013924 | 4.1656e-07 | 7.5207e-08 | 0.0084949 | 0.0084949 | 0.0084949 | 0.97347 | -0.51147 | 0.97355 | -0.5099 | 2.3338
37 | 0.017728 | 0.0044441 | -0.017726 | -0.0044425 | 2.6363e-06 | 1.5664e-06 | 0.026997 | 0.026997 | 0.026997 | 0.97715 | -0.43902 | 0.977 | -0.44214 | 7.4168
38 | -0.030704 | -0.0076973 | 0.030723 | 0.0077091 | 1.8853e-05 | 1.1778e-05 | 0.046757 | 0.046757 | 0.046757 | 0.97715 | -0.43902 | 0.97781 | -0.42614 | 12.8454
39 | -0.005558 | -0.0013924 | 0.0055584 | 0.0013924 | 3.7149e-07 | 6.7042e-08 | 0.0084949 | 0.0084948 | 0.0084949 | 0.97355 | -0.5099 | 0.97362 | -0.5085 | 2.3338
40 | -0.015769 | -0.0039514 | 0.015772 | 0.0039531 | 2.8949e-06 | 1.6874e-06 | 0.0241 | 0.0241 | 0.0241 | 0.97362 | -0.5085 | 0.97382 | -0.50464 | 6.6208
41 | 0.00094694 | 0.00023713 | -0.00094693 | -0.00023732 | 1.2453e-08 | -1.8908e-07 | 0.0014474 | 0.0014475 | 0.0014475 | 0.97345 | -0.51181 | 0.97344 | -0.51209 | 0.39766
42 | 0.010104 | 0.0025323 | -0.010104 | -0.0025321 | 3.7829e-07 | 1.8876e-07 | 0.015389 | 0.015389 | 0.015389 | 0.977 | -0.44214 | 0.97696 | -0.44293 | 4.2277
43 | 0.00050686 | 0.00012692 | -0.00050686 | -0.00012703 | 2.0418e-09 | -1.1349e-07 | 0.0007713 | 0.00077134 | 0.00077134 | 0.97781 | -0.42614 | 0.9778 | -0.42623 | 0.21191
44 | 0.099197 | 0.024972 | -0.099162 | -0.024951 | 3.4275e-05 | 2.1132e-05 | 0.151 | 0.151 | 0.151 | 0.97781 | -0.42614 | 0.97744 | -0.43337 | 10.3706
45 | -0.13043 | -0.032808 | 0.13053 | 0.032874 | 0.00010471 | 6.5594e-05 | 0.19852 | 0.19852 | 0.19852 | 0.97781 | -0.42614 | 0.97867 | -0.40935 | 13.6349
46 | 0.013826 | 0.0034654 | -0.013825 | -0.0034649 | 8.9106e-07 | 5.0405e-07 | 0.021126 | 0.021127 | 0.021127 | 0.97382 | -0.50464 | 0.97375 | -0.506 | 5.804
47 | -0.029598 | -0.0074185 | 0.02961 | 0.007426 | 1.2045e-05 | 7.5136e-06 | 0.045226 | 0.045226 | 0.045226 | 0.97382 | -0.50464 | 0.97425 | -0.4961 | 12.4248
48 | 0.0070896 | 0.0017767 | -0.0070876 | -0.001776 | 1.9762e-06 | 6.9903e-07 | 0.010798 | 0.010798 | 0.010798 | 0.97696 | -0.44293 | 0.97666 | -0.44878 | 2.9666
49 | 0.095374 | 0.024001 | -0.095346 | -0.023984 | 2.875e-05 | 1.7671e-05 | 0.14523 | 0.14523 | 0.14523 | 0.97744 | -0.43337 | 0.97712 | -0.43968 | 9.9746
50 | -0.040137 | -0.010064 | 0.040161 | 0.010079 | 2.3351e-05 | 1.4738e-05 | 0.061305 | 0.061305 | 0.061305 | 0.97425 | -0.4961 | 0.97487 | -0.4839 | 16.8421
51 | -0.0016427 | -0.0004117 | 0.0016427 | 0.00041161 | 1.8239e-08 | -8.8215e-08 | 0.0024856 | 0.0024855 | 0.0024856 | 0.98342 | -0.31833 | 0.98343 | -0.31809 | 0.68285
52 | -0.0031941 | -0.00080041 | 0.0031945 | 0.00080007 | 4.2653e-07 | -3.4503e-07 | 0.0048328 | 0.0048326 | 0.0048328 | 0.98343 | -0.31809 | 0.98357 | -0.31529 | 1.3277
53 | -0.0034258 | -0.00085859 | 0.0034261 | 0.0008584 | 3.2744e-07 | -1.9141e-07 | 0.0052201 | 0.0052199 | 0.0052201 | 0.97656 | -0.45079 | 0.97666 | -0.44878 | 1.4341
54 | -0.070403 | -0.017683 | 0.070545 | 0.017774 | 0.00014272 | 9.0916e-05 | 0.10652 | 0.10652 | 0.10652 | 0.98357 | -0.31529 | 0.98575 | -0.2729 | 29.2648
55 | 0.031566 | 0.0079298 | -0.031526 | -0.0079051 | 3.9443e-05 | 2.4659e-05 | 0.047762 | 0.047762 | 0.047762 | 0.98357 | -0.31529 | 0.98223 | -0.34151 | 13.1214
56 | 0.035642 | 0.0089536 | -0.035594 | -0.0089232 | 4.8518e-05 | 3.0488e-05 | 0.053929 | 0.05393 | 0.05393 | 0.98357 | -0.31529 | 0.98211 | -0.34385 | 14.8158
57 | -0.086786 | -0.021845 | 0.086982 | 0.02197 | 0.00019556 | 0.00012477 | 0.13104 | 0.13104 | 0.13104 | 0.98575 | -0.2729 | 0.98818 | -0.22587 | 36
58 | 0.014588 | 0.0036598 | -0.014579 | -0.0036548 | 8.7936e-06 | 5.0207e-06 | 0.022101 | 0.022101 | 0.022101 | 0.98223 | -0.34151 | 0.98159 | -0.35416 | 6.0717
59 | 0.016936 | 0.0042472 | -0.016929 | -0.0042431 | 6.9125e-06 | 4.0699e-06 | 0.025661 | 0.025662 | 0.025662 | 0.98211 | -0.34385 | 0.98167 | -0.35242 | 7.0499
60 | 0.088664 | 0.022309 | -0.088558 | -0.022242 | 0.0001065 | 6.7378e-05 | 0.13505 | 0.13505 | 0.13505 | 0.97712 | -0.43968 | 0.97584 | -0.46485 | 18.5515
61 | 0.074675 | 0.018762 | -0.074607 | -0.018719 | 6.7835e-05 | 4.324e-05 | 0.11389 | 0.11389 | 0.11389 | 0.97584 | -0.46485 | 0.97487 | -0.4839 | 31.2872
62 | 0.034446 | 0.00864 | -0.03443 | -0.0086301 | 1.5687e-05 | 9.8509e-06 | 0.05258 | 0.05258 | 0.05258 | 0.97487 | -0.4839 | 0.97438 | -0.49346 | 14.4451
63 | 0.019936 | 0.0049974 | -0.019933 | -0.0049956 | 3.0875e-06 | 1.8654e-06 | 0.030445 | 0.030445 | 0.030445 | 0.97438 | -0.49346 | 0.97422 | -0.49671 | 8.364
64 | -0.0034976 | -0.00087657 | 0.0034978 | 0.00087644 | 2.0839e-07 | -1.2903e-07 | 0.0052378 | 0.0052377 | 0.0052378 | 0.99364 | -0.12075 | 0.9937 | -0.1195 | 1.4389
65 | 0.11778 | 0.02991 | -0.11744 | -0.02969 | 0.00034444 | 0.00022006 | 0.17651 | 0.17651 | 0.17651 | 0.9937 | -0.1195 | 0.99053 | -0.18046 | 48.4914
66 | 0.10409 | 0.026345 | -0.10404 | -0.026316 | 4.4296e-05 | 2.8287e-05 | 0.15646 | 0.15646 | 0.15646 | 0.99053 | -0.18046 | 0.99007 | -0.18933 | 42.983
67 | 0.016929 | 0.0042431 | -0.016929 | -0.0042428 | 5.8803e-07 | 3.4624e-07 | 0.025662 | 0.025662 | 0.025662 | 0.98167 | -0.35242 | 0.98164 | -0.35315 | 7.0499
68 | 0.032583 | 0.0081847 | -0.032542 | -0.0081591 | 4.1019e-05 | 2.5643e-05 | 0.04849 | 0.048491 | 0.048491 | 1 | 0 | 0.99863 | -0.026415 | 13.3216
69 | 0.10404 | 0.026316 | -0.10386 | -0.0262 | 0.00018205 | 0.00011626 | 0.15646 | 0.15646 | 0.15646 | 0.99007 | -0.18933 | 0.98818 | -0.22587 | 42.9831
70 | 0.0168 | 0.0042138 | -0.01679 | -0.0042081 | 9.877e-06 | 5.7718e-06 | 0.025035 | 0.025035 | 0.025035 | 0.99863 | -0.026415 | 0.99798 | -0.038756 | 6.8777
71 | 0.014579 | 0.0036548 | -0.014576 | -0.003653 | 3.1935e-06 | 1.8235e-06 | 0.022101 | 0.022101 | 0.022101 | 0.98159 | -0.35416 | 0.98135 | -0.35876 | 6.0717

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54518 | 0.13947

## res_load
| p_mw | q_mvar
0 | 0.018921 | 0.0047422
1 | 0.021227 | 0.00532
2 | 0.0024224 | 0.00060711
3 | 0.0085748 | 0.002149
4 | 0.020437 | 0.005122
5 | 0.018235 | 0.0045701
6 | 0.004559 | 0.0011426
7 | 0.0030419 | 0.00076236
8 | 0.0022433 | 0.00056223
9 | 0.0057861 | 0.0014501
10 | 0.0049621 | 0.0012436
11 | 0.0027085 | 0.0006788
12 | 0.018706 | 0.0046881
13 | 0.027388 | 0.006864
14 | 0.0061243 | 0.0015349
15 | 0.0025059 | 0.00062803
16 | 0.0026524 | 0.00066476
17 | 0.0059652 | 0.001495
18 | 0.0028505 | 0.00071439
19 | 0.0022559 | 0.00056539
20 | 0.00087789 | 0.00022002
21 | 0.013085 | 0.0032794
22 | 0.0039195 | 0.00098232
23 | 0.003134 | 0.00078544
24 | 0.0059176 | 0.0014831
25 | 0.0030491 | 0.00076418
26 | 0.01021 | 0.002559
27 | 0.0015612 | 0.00039128
28 | 0.0076218 | 0.0019102
29 | 0.00094693 | 0.00023732
30 | 0.003014 | 0.00075537
31 | 0.00050686 | 0.00012703
32 | 0.0037882 | 0.00094941
33 | 0.013825 | 0.0034649
34 | 0.010528 | 0.0026385
35 | 0.0016427 | 0.0004117
36 | 0.0015513 | 0.0003888
37 | 0.0034258 | 0.00085859
38 | 0.0036614 | 0.00091764
39 | 0.016241 | 0.0040704
40 | 0.016939 | 0.0042453
41 | 0.018657 | 0.004676
42 | 0.0066815 | 0.0016745
43 | 0.013883 | 0.0034794
44 | 0.014495 | 0.0036327
45 | 0.019933 | 0.0049956
46 | 0.0034976 | 0.00087657
47 | 0.013347 | 0.0033451
48 | 0.016929 | 0.0042428
49 | 0.041302 | 0.010351
50 | 0.015742 | 0.0039452
51 | 0.01688 | 0.0042306
52 | 0.015369 | 0.0038519
53 | 0.01679 | 0.0042081
54 | 0.014576 | 0.003653

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1