## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1331-29_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1331-29_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1331-29_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1331-29_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1331-29_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1331-29_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1331-29_0_5_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_1331-29_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1331-29_0_5_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_1331-29_0_5_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_1331-29_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1331-29_0_5_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_1331-29_0_5_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_1331-29_0_5_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_1331-29_0_5_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_1331-29_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1331-29_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1331-29_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1331-29_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1331-29_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1331-29_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1331-29_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1331-29_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1331-29_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1331-29_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1331-29_0_5_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1331-29_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1331-29_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1331-29_0_5_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_1331-29_0_5_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_1331-29_0_5_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_1331-29_0_5_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1331-29_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1331-29_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1331-29_0_5_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1331-29_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1331-29_0_5_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_1331-29_0_5_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_1331-29_0_5_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_1331-29_0_5_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_1331-29_0_5_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1331-29_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1331-29_0_5_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1331-29_0_5_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_1331-29_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1331-29_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1331-29_0_5_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_1331-29_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1331-29_0_5_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_1331-29_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1331-29_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_1331-29_0_5_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_1331-29_0_5_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_1331-29_0_5_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_1331-29_0_5_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1331-29_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_1331-29_0_5_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_1331-29_0_5_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_1331-29_0_5_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_1331-29_0_5_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_1331-29_0_5_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_1331-29_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_1331-29_0_5_node_61 | 0.4 | n |  | TRUE
63 | bus_MV_4_0_node_85 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1331-29_0_5_load_0 | 0 | 0.0026062 | 0.00065318 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1331-29_0_5_load_1 | 1 | 0.0023757 | 0.00059541 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1331-29_0_5_load_3 | 3 | 0.0027073 | 0.00067851 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1331-29_0_5_load_4 | 4 | 0.019567 | 0.0049039 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1331-29_0_5_load_6 | 5 | 0.002968 | 0.00074385 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1331-29_0_5_load_25 | 6 | 0.0084585 | 0.0021199 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1331-29_0_5_load_58 | 9 | 0.0094398 | 0.0023658 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1331-29_0_5_load_7 | 10 | 0.0023922 | 0.00059953 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1331-29_0_5_load_23 | 11 | 0.0034617 | 0.00086758 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1331-29_0_5_load_26 | 12 | 0.0090419 | 0.0022661 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1331-29_0_5_load_8 | 15 | 0.0025396 | 0.0006365 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1331-29_0_5_load_9 | 16 | 0.0045157 | 0.0011317 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1331-29_0_5_load_10 | 17 | 0.0029901 | 0.00074938 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1331-29_0_5_load_11 | 18 | 0.0027771 | 0.000696 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1331-29_0_5_load_13 | 19 | 0.0030359 | 0.00076086 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1331-29_0_5_load_14 | 20 | 0.0029707 | 0.00074452 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1331-29_0_5_load_15 | 21 | 0.0028079 | 0.00070372 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1331-29_0_5_load_16 | 22 | 0.0026524 | 0.00066475 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1331-29_0_5_load_17 | 23 | 0.0025788 | 0.0006463 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1331-29_0_5_load_18 | 24 | 0.0024566 | 0.00061567 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1331-29_0_5_load_21 | 25 | 0.024235 | 0.0060739 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1331-29_0_5_load_22 | 26 | 0.0091937 | 0.0023041 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1331-29_0_5_load_24 | 27 | 0.0091052 | 0.002282 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1331-29_0_5_load_62 | 29 | 0.028088 | 0.0070395 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1331-29_0_5_load_57 | 30 | 0.024513 | 0.0061436 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1331-29_0_5_load_27 | 31 | 0.014708 | 0.0036862 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1331-29_0_5_load_29 | 32 | 0.0067519 | 0.0016922 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1331-29_0_5_load_30 | 34 | 0.0038315 | 0.00096027 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1331-29_0_5_load_31 | 35 | 0.067863 | 0.017008 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1331-29_0_5_load_59 | 36 | 0.0044505 | 0.0011154 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1331-29_0_5_load_64 | 39 | 0.035287 | 0.0088438 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1331-29_0_5_load_32 | 40 | 0.021454 | 0.0053768 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1331-29_0_5_load_33 | 41 | 0.0078582 | 0.0019695 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1331-29_0_5_load_34 | 42 | 0.020506 | 0.0051392 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1331-29_0_5_load_35 | 43 | 0.0084557 | 0.0021192 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1331-29_0_5_load_36 | 44 | 0.0044349 | 0.0011115 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1331-29_0_5_load_43 | 45 | 0.0073202 | 0.0018346 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1331-29_0_5_load_44 | 46 | 0.0096746 | 0.0024247 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1331-29_0_5_load_45 | 48 | 0.0047087 | 0.0011801 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1331-29_0_5_load_37 | 49 | 0.0065116 | 0.001632 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1331-29_0_5_load_38 | 50 | 0.0061817 | 0.0015493 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1331-29_0_5_load_39 | 51 | 0.0095173 | 0.0023853 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1331-29_0_5_load_40 | 52 | 0.0055001 | 0.0013784 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1331-29_0_5_load_47 | 53 | 0.0078959 | 0.0019789 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1331-29_0_5_load_48 | 54 | 0.014608 | 0.003661 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1331-29_0_5_load_46 | 55 | 0.0048827 | 0.0012237 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1331-29_0_5_load_55 | 56 | 0.010771 | 0.0026995 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1331-29_0_5_load_49 | 57 | 0.0069606 | 0.0017445 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1331-29_0_5_load_50 | 58 | 0.0048783 | 0.0012226 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1331-29_0_5_load_51 | 59 | 0.0032162 | 0.00080605 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1331-29_0_5_load_52 | 60 | 0.0066497 | 0.0016666 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1331-29_0_5_load_61 | 62 | 0.0097769 | 0.0024503 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1331-29_0_5_line_0 |  | 0 | 1 | 0.0060108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1331-29_0_5_line_1 |  | 0 | 2 | 0.011965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1331-29_0_5_line_2 |  | 1 | 3 | 0.0061338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1331-29_0_5_line_3 |  | 2 | 4 | 0.013751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1331-29_0_5_line_4 |  | 3 | 5 | 0.014922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1331-29_0_5_line_5 |  | 4 | 6 | 0.025439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1331-29_0_5_line_6 |  | 5 | 10 | 0.0065524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1331-29_0_5_line_7 |  | 6 | 11 | 0.0047907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1331-29_0_5_line_8 |  | 7 | 8 | 0.019538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1331-29_0_5_line_9 |  | 7 | 9 | 0.017986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1331-29_0_5_line_10 |  | 8 | 12 | 0.013361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1331-29_0_5_line_11 |  | 8 | 13 | 0.037509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1331-29_0_5_line_12 |  | 9 | 14 | 0.030109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1331-29_0_5_line_13 |  | 10 | 15 | 0.0060288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1331-29_0_5_line_14 |  | 11 | 25 | 0.0079514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1331-29_0_5_line_15 |  | 13 | 24 | 0.012942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1331-29_0_5_line_16 |  | 14 | 61 | 0.034179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1331-29_0_5_line_17 |  | 16 | 17 | 0.0031739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1331-29_0_5_line_18 |  | 16 | 18 | 0.020711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1331-29_0_5_line_19 |  | 18 | 19 | 0.0065722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1331-29_0_5_line_20 |  | 19 | 20 | 0.0067907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1331-29_0_5_line_21 |  | 20 | 21 | 0.014253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1331-29_0_5_line_22 |  | 21 | 22 | 0.0062212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1331-29_0_5_line_23 |  | 22 | 23 | 0.0059602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1331-29_0_5_line_24 |  | 23 | 24 | 0.005736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1331-29_0_5_line_25 |  | 25 | 26 | 0.018176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1331-29_0_5_line_26 |  | 26 | 27 | 0.004741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1331-29_0_5_line_27 |  | 27 | 28 | 0.015019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1331-29_0_5_line_28 |  | 28 | 29 | 0.042444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1331-29_0_5_line_29 |  | 28 | 30 | 0.0073398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1331-29_0_5_line_30 |  | 29 | 37 | 0.014204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1331-29_0_5_line_31 |  | 30 | 54 | 0.035697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1331-29_0_5_line_32 |  | 31 | 32 | 0.022172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1331-29_0_5_line_33 |  | 32 | 35 | 0.031366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1331-29_0_5_line_34 |  | 32 | 33 | 0.016784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1331-29_0_5_line_35 |  | 33 | 34 | 0.0030641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1331-29_0_5_line_36 |  | 34 | 36 | 0.0041561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1331-29_0_5_line_37 |  | 35 | 37 | 0.018645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1331-29_0_5_line_38 |  | 36 | 38 | 0.035695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1331-29_0_5_line_39 |  | 37 | 39 | 0.017701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1331-29_0_5_line_40 |  | 38 | 62 | 0.027194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1331-29_0_5_line_41 |  | 40 | 41 | 0.0032188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1331-29_0_5_line_42 |  | 40 | 42 | 0.024252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1331-29_0_5_line_43 |  | 41 | 43 | 0.017053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1331-29_0_5_line_44 |  | 42 | 44 | 0.01034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1331-29_0_5_line_45 |  | 43 | 45 | 0.0094035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1331-29_0_5_line_46 |  | 44 | 46 | 0.014589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1331-29_0_5_line_47 |  | 45 | 47 | 0.013881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1331-29_0_5_line_48 |  | 46 | 48 | 0.0045053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1331-29_0_5_line_49 |  | 47 | 51 | 0.019637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1331-29_0_5_line_50 |  | 48 | 55 | 0.024073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1331-29_0_5_line_51 |  | 48 | 56 | 0.053901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1331-29_0_5_line_52 |  | 49 | 50 | 0.002678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1331-29_0_5_line_53 |  | 49 | 51 | 0.017826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1331-29_0_5_line_54 |  | 50 | 52 | 0.0032916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_1331-29_0_5_line_55 |  | 52 | 53 | 0.015132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_1331-29_0_5_line_56 |  | 53 | 54 | 0.0066591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1331-29_0_5_line_57 |  | 55 | 57 | 0.0013651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1331-29_0_5_line_58 |  | 57 | 58 | 0.017747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1331-29_0_5_line_59 |  | 58 | 59 | 0.012514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1331-29_0_5_line_60 |  | 59 | 60 | 0.0013689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1331-29_0_5_line_61 |  | 60 | 61 | 0.017592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1331-29_0_5_trafo_21 | 0.63 MVA 20/0.4 kV | 63 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2675847.6299 | 1215272.4636 | 2675851.2948 | 1215277.2279
1 | 2675835.8222 | 1215273.3988 | 2675847.4713 | 1215272.2574 | 2675847.6299 | 1215272.4636
2 | 2675851.2948 | 1215277.2279 | 2675855.0346 | 1215282.0897
3 | 2675835.8222 | 1215273.3988 | 2675827.6011 | 1215262.3761
4 | 2675855.0346 | 1215282.0897 | 2675857.0412 | 1215284.6982 | 2675864.7681 | 1215293.3917
5 | 2675815.1189 | 1215240.2319 | 2675817.2308 | 1215244.7774 | 2675827.6011 | 1215262.3761 | 2675827.6011 | 1215262.3761
6 | 2675864.7681 | 1215293.3917 | 2675869.121 | 1215298.2893
7 | 2675815.1189 | 1215240.2319 | 2675813.1002 | 1215235.8873
8 | 2675875.4605 | 1215317.2647 | 2675867.3695 | 1215312.7366 | 2675859.8728 | 1215305.67
9 | 2675859.8728 | 1215305.67 | 2675846.7152 | 1215317.9327
10 | 2675875.4605 | 1215317.2647 | 2675882.2182 | 1215328.7902
11 | 2675875.4605 | 1215317.2647 | 2675884.3236 | 1215319.0119 | 2675891.4345 | 1215318.8023 | 2675912.5918 | 1215315.8586
12 | 2675854.9289 | 1215346.2332 | 2675847.3295 | 1215327.5467 | 2675845.7742 | 1215322.0567 | 2675846.7152 | 1215317.9327
13 | 2675869.121 | 1215298.2893 | 2675873.1261 | 1215302.7955
14 | 2675809.7497 | 1215228.6763 | 2675813.1002 | 1215235.8873
15 | 2675912.5918 | 1215315.8586 | 2675909.2261 | 1215309.4116 | 2675906.2621 | 1215304.5793
16 | 2675832.9295 | 1215372.4035 | 2675848.7475 | 1215354.5599 | 2675854.9289 | 1215346.2332
17 | 2675882.6207 | 1215251.0046 | 2675885.3971 | 1215249.4666
18 | 2675882.6207 | 1215251.0046 | 2675875.7393 | 1215254.8169 | 2675882.4549 | 1215265.7657
19 | 2675882.4549 | 1215265.7657 | 2675885.8912 | 1215271.368
20 | 2675889.4418 | 1215277.1566 | 2675885.8912 | 1215271.368
21 | 2675889.4418 | 1215277.1566 | 2675896.8939 | 1215289.306
22 | 2675896.8939 | 1215289.306 | 2675900.1467 | 1215294.6091
23 | 2675900.1467 | 1215294.6091 | 2675903.263 | 1215299.6898
24 | 2675903.263 | 1215299.6898 | 2675906.2621 | 1215304.5793
25 | 2675809.7497 | 1215228.6763 | 2675802.091 | 1215212.1931
26 | 2675802.091 | 1215212.1931 | 2675800.0932 | 1215207.8936
27 | 2675792.9659 | 1215194.6922 | 2675797.7381 | 1215202.8248 | 2675800.0932 | 1215207.8936
28 | 2675792.9659 | 1215194.6922 | 2675808.7661 | 1215181.2622 | 2675813.5265 | 1215175.9971 | 2675818.494 | 1215169.9675 | 2675822.9417 | 1215164.8283
29 | 2675792.9659 | 1215194.6922 | 2675786.9714 | 1215198.9276
30 | 2675832.2371 | 1215154.0876 | 2675822.9417 | 1215164.8283
31 | 2675757.8648 | 1215219.5929 | 2675762.2974 | 1215216.3609 | 2675786.9714 | 1215198.9276
32 | 2675783.0568 | 1215159.9217 | 2675783.9753 | 1215150.405 | 2675784.9478 | 1215137.8315
33 | 2675783.0568 | 1215159.9217 | 2675798.3782 | 1215160.8615 | 2675811.6212 | 1215159.2065 | 2675814.174 | 1215158.425
34 | 2675766.2353 | 1215159.3075 | 2675783.0568 | 1215159.9217
35 | 2675766.2353 | 1215159.3075 | 2675763.1806 | 1215159.0663
36 | 2675759.0374 | 1215158.7391 | 2675763.1806 | 1215159.0663
37 | 2675832.2371 | 1215154.0876 | 2675825.9166 | 1215154.8299 | 2675814.174 | 1215158.425
38 | 2675723.4529 | 1215155.9286 | 2675759.0374 | 1215158.7391
39 | 2675832.2371 | 1215154.0876 | 2675836.0772 | 1215156.6826 | 2675844.1311 | 1215162.3553 | 2675847.1328 | 1215163.5069
40 | 2675723.4529 | 1215155.9286 | 2675720.2391 | 1215182.9274
41 | 2675739.7181 | 1215286.6439 | 2675737.3191 | 1215284.4979
42 | 2675739.7181 | 1215286.6439 | 2675757.7939 | 1215302.8126
43 | 2675737.3191 | 1215284.4979 | 2675724.6088 | 1215273.1286
44 | 2675757.7939 | 1215302.8126 | 2675765.5007 | 1215309.7063
45 | 2675724.6088 | 1215273.1286 | 2675717.6001 | 1215266.8594
46 | 2675776.3747 | 1215319.433 | 2675765.5007 | 1215309.7063
47 | 2675706.1393 | 1215259.1974 | 2675713.3505 | 1215263.0581 | 2675717.6001 | 1215266.8594
48 | 2675776.3747 | 1215319.433 | 2675779.7326 | 1215322.4367
49 | 2675706.1393 | 1215259.1974 | 2675715.132 | 1215250.7506 | 2675721.0299 | 1215246.4503
50 | 2675779.7326 | 1215322.4367 | 2675797.6747 | 1215338.4858
51 | 2675779.7326 | 1215322.4367 | 2675752.5659 | 1215368.9912
52 | 2675735.4336 | 1215235.9481 | 2675737.5975 | 1215234.3703
53 | 2675735.4336 | 1215235.9481 | 2675721.0299 | 1215246.4503
54 | 2675740.2571 | 1215232.4311 | 2675737.5975 | 1215234.3703
55 | 2675740.2571 | 1215232.4311 | 2675752.4841 | 1215223.5161
56 | 2675752.4841 | 1215223.5161 | 2675757.8648 | 1215219.5929
57 | 2675798.6921 | 1215339.3959 | 2675797.6747 | 1215338.4858
58 | 2675798.6921 | 1215339.3959 | 2675806.0255 | 1215345.9555 | 2675807.6128 | 1215353.7029
59 | 2675807.6128 | 1215353.7029 | 2675807.6128 | 1215353.7029 | 2675817.6784 | 1215361.138
60 | 2675818.7794 | 1215361.9513 | 2675817.6784 | 1215361.138
61 | 2675832.9295 | 1215372.4035 | 2675818.7794 | 1215361.9513

## bus_geodata
| x | y | coords
0 | 2675847.6299 | 1215272.4636
1 | 2675851.2948 | 1215277.2279
2 | 2675835.8222 | 1215273.3988
3 | 2675855.0346 | 1215282.0897
4 | 2675827.6011 | 1215262.3761
5 | 2675864.7681 | 1215293.3917
6 | 2675815.1189 | 1215240.2319
7 | 2675859.8728 | 1215305.67
8 | 2675875.4605 | 1215317.2647
9 | 2675846.7152 | 1215317.9327
10 | 2675869.121 | 1215298.2893
11 | 2675813.1002 | 1215235.8873
12 | 2675882.2182 | 1215328.7902
13 | 2675912.5917 | 1215315.8586
14 | 2675854.9289 | 1215346.2332
15 | 2675873.1261 | 1215302.7955
16 | 2675882.6207 | 1215251.0046
17 | 2675885.3971 | 1215249.4666
18 | 2675882.4549 | 1215265.7657
19 | 2675885.8912 | 1215271.368
20 | 2675889.4418 | 1215277.1566
21 | 2675896.8939 | 1215289.306
22 | 2675900.1467 | 1215294.6091
23 | 2675903.263 | 1215299.6898
24 | 2675906.2621 | 1215304.5793
25 | 2675809.7497 | 1215228.6763
26 | 2675802.091 | 1215212.1931
27 | 2675800.0932 | 1215207.8936
28 | 2675792.9659 | 1215194.6922
29 | 2675822.9417 | 1215164.8283
30 | 2675786.9714 | 1215198.9276
31 | 2675784.9478 | 1215137.8315
32 | 2675783.0568 | 1215159.9217
33 | 2675766.2353 | 1215159.3075
34 | 2675763.1806 | 1215159.0663
35 | 2675814.174 | 1215158.425
36 | 2675759.0374 | 1215158.7391
37 | 2675832.2371 | 1215154.0876
38 | 2675723.4529 | 1215155.9286
39 | 2675847.1328 | 1215163.5069
40 | 2675739.7181 | 1215286.6439
41 | 2675737.3191 | 1215284.4979
42 | 2675757.7939 | 1215302.8126
43 | 2675724.6088 | 1215273.1286
44 | 2675765.5007 | 1215309.7063
45 | 2675717.6001 | 1215266.8593
46 | 2675776.3747 | 1215319.433
47 | 2675706.1393 | 1215259.1974
48 | 2675779.7326 | 1215322.4367
49 | 2675735.4336 | 1215235.9481
50 | 2675737.5975 | 1215234.3703
51 | 2675721.0299 | 1215246.4503
52 | 2675740.2571 | 1215232.4311
53 | 2675752.4841 | 1215223.5161
54 | 2675757.8648 | 1215219.5929
55 | 2675797.6747 | 1215338.4858
56 | 2675752.5659 | 1215368.9912
57 | 2675798.6921 | 1215339.3959
58 | 2675807.6128 | 1215353.7029
59 | 2675817.6784 | 1215361.138
60 | 2675818.7794 | 1215361.9513
61 | 2675832.9295 | 1215372.4035
62 | 2675720.2391 | 1215182.9274
63 | 2675792.9659 | 1215194.6922

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99829 | -0.032799 | 0.0026062 | 0.00065318
1 | 0.99822 | -0.034164 | 0.0023757 | 0.00059541
2 | 0.99846 | -0.029537 | 0 | 0
3 | 0.99816 | -0.035303 | 0.0027073 | 0.00067851
4 | 0.99866 | -0.02579 | 0.019567 | 0.0049039
5 | 0.99806 | -0.037365 | 0.002968 | 0.00074385
6 | 0.99947 | -0.010172 | 0.0084585 | 0.0021199
7 | 0.9769 | -0.44592 | 0 | 0
8 | 0.97625 | -0.45872 | 0 | 0
9 | 0.9775 | -0.43416 | 0.0094398 | 0.0023658
10 | 0.99803 | -0.037931 | 0.0023922 | 0.00059953
11 | 0.99966 | -0.0065268 | 0.0034617 | 0.00086758
12 | 0.97614 | -0.46093 | 0.0090419 | 0.0022661
13 | 0.97531 | -0.47711 | 0 | 0
14 | 0.97877 | -0.40933 | 0 | 0
15 | 0.99801 | -0.038199 | 0.0025396 | 0.0006365
16 | 0.97412 | -0.5006 | 0.0045157 | 0.0011317
17 | 0.97411 | -0.50077 | 0.0029901 | 0.00074938
18 | 0.97427 | -0.49774 | 0.0027771 | 0.000696
19 | 0.97433 | -0.4965 | 0.0030359 | 0.00076086
20 | 0.97441 | -0.49484 | 0.0029707 | 0.00074452
21 | 0.97463 | -0.49058 | 0.0028079 | 0.00070372
22 | 0.97474 | -0.4884 | 0.0026524 | 0.00066475
23 | 0.97486 | -0.48602 | 0.0025788 | 0.0006463
24 | 0.97499 | -0.48346 | 0.0024566 | 0.00061567
25 | 1 | 0 | -0.48384 | -0.1225
26 | 0.9982 | -0.034185 | 0.0091937 | 0.0023041
27 | 0.99775 | -0.042932 | 0.0091052 | 0.002282
28 | 0.99632 | -0.070091 | 0 | 0
29 | 0.99467 | -0.10196 | 0.028088 | 0.0070395
30 | 0.99592 | -0.077885 | 0.024513 | 0.0061436
31 | 0.99048 | -0.18301 | 0.014708 | 0.0036862
32 | 0.99078 | -0.17722 | 0.0067519 | 0.0016922
33 | 0.9905 | -0.1826 | 0 | 0
34 | 0.99045 | -0.18358 | 0.0038315 | 0.00096027
35 | 0.99191 | -0.15523 | 0.067863 | 0.017008
36 | 0.99039 | -0.18463 | 0.0044505 | 0.0011154
37 | 0.99374 | -0.11983 | 0 | 0
38 | 0.99007 | -0.19084 | 0 | 0
39 | 0.99317 | -0.13086 | 0.035287 | 0.0088438
40 | 0.98971 | -0.19688 | 0.021454 | 0.0053768
41 | 0.98993 | -0.19278 | 0.0078582 | 0.0019695
42 | 0.98698 | -0.24966 | 0.020506 | 0.0051392
43 | 0.99052 | -0.18131 | 0.0084557 | 0.0021192
44 | 0.98601 | -0.26845 | 0.0044349 | 0.0011115
45 | 0.99087 | -0.17464 | 0.0073202 | 0.0018346
46 | 0.9847 | -0.29386 | 0.0096746 | 0.0024247
47 | 0.9914 | -0.16436 | 0 | 0
48 | 0.98433 | -0.30093 | 0.0047087 | 0.0011801
49 | 0.99289 | -0.1359 | 0.0065116 | 0.001632
50 | 0.993 | -0.13374 | 0.0061817 | 0.0015493
51 | 0.99216 | -0.14983 | 0.0095173 | 0.0023853
52 | 0.99314 | -0.13098 | 0.0055001 | 0.0013784
53 | 0.99382 | -0.11797 | 0.0078959 | 0.0019789
54 | 0.99413 | -0.11202 | 0.014608 | 0.003661
55 | 0.98273 | -0.3321 | 0.0048827 | 0.0012237
56 | 0.9838 | -0.31138 | 0.010771 | 0.0026995
57 | 0.98264 | -0.33375 | 0.0069606 | 0.0017445
58 | 0.98165 | -0.353 | 0.0048783 | 0.0012226
59 | 0.98101 | -0.36549 | 0.0032162 | 0.00080605
60 | 0.98095 | -0.36678 | 0.0066497 | 0.0016666
61 | 0.98021 | -0.38121 | 0 | 0
62 | 0.98983 | -0.19557 | 0.0097769 | 0.0024503
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012985 | 0.0032548 | -0.012984 | -0.0032543 | 8.4444e-07 | 4.6186e-07 | 0.019355 | 0.019355 | 0.019355 | 0.99829 | -0.032799 | 0.99822 | -0.034164 | 5.3174
1 | -0.015591 | -0.003908 | 0.015594 | 0.0039094 | 2.4233e-06 | 1.3945e-06 | 0.02324 | 0.02324 | 0.02324 | 0.99829 | -0.032799 | 0.99846 | -0.029537 | 6.3846
2 | 0.010609 | 0.0026589 | -0.010608 | -0.0026586 | 5.7523e-07 | 2.8797e-07 | 0.015814 | 0.015814 | 0.015814 | 0.99822 | -0.034164 | 0.99816 | -0.035303 | 4.3445
3 | -0.015594 | -0.0039094 | 0.015597 | 0.003911 | 2.785e-06 | 1.6025e-06 | 0.02324 | 0.02324 | 0.02324 | 0.99846 | -0.029537 | 0.99866 | -0.02579 | 6.3846
4 | 0.0079007 | 0.0019801 | -0.0079 | -0.0019798 | 7.7626e-07 | 3.0178e-07 | 0.011778 | 0.011778 | 0.011778 | 0.99816 | -0.035303 | 0.99806 | -0.037365 | 3.2357
5 | -0.035163 | -0.0088149 | 0.03519 | 0.0088313 | 2.6188e-05 | 1.6427e-05 | 0.052395 | 0.052395 | 0.052395 | 0.99866 | -0.02579 | 0.99947 | -0.010172 | 14.3942
6 | 0.004932 | 0.001236 | -0.0049318 | -0.001236 | 1.3285e-07 | -6.0027e-10 | 0.0073531 | 0.0073531 | 0.0073531 | 0.99806 | -0.037365 | 0.99803 | -0.037931 | 2.0201
7 | -0.043648 | -0.010951 | 0.043656 | 0.010956 | 7.5874e-06 | 4.7932e-06 | 0.064988 | 0.064988 | 0.064988 | 0.99947 | -0.010172 | 0.99966 | -0.0065268 | 17.8538
8 | 0.035895 | 0.0090206 | -0.035873 | -0.0090069 | 2.1909e-05 | 1.3778e-05 | 0.054684 | 0.054684 | 0.054684 | 0.9769 | -0.44592 | 0.97625 | -0.45872 | 15.0231
9 | -0.035895 | -0.0090206 | 0.035915 | 0.0090333 | 2.0169e-05 | 1.2683e-05 | 0.054684 | 0.054684 | 0.054684 | 0.9769 | -0.44592 | 0.9775 | -0.43416 | 15.0231
10 | 0.0090429 | 0.0022666 | -0.0090419 | -0.0022661 | 9.5185e-07 | 4.4215e-07 | 0.013783 | 0.013783 | 0.013783 | 0.97625 | -0.45872 | 0.97614 | -0.46093 | 3.7867
11 | 0.02683 | 0.0067403 | -0.026807 | -0.0067257 | 2.353e-05 | 1.4591e-05 | 0.040901 | 0.040901 | 0.040901 | 0.97625 | -0.45872 | 0.97531 | -0.47711 | 11.2365
12 | -0.045355 | -0.011399 | 0.045409 | 0.011433 | 5.3839e-05 | 3.4079e-05 | 0.069054 | 0.069054 | 0.069054 | 0.9775 | -0.43416 | 0.97877 | -0.40933 | 18.9708
13 | 0.0025397 | 0.00063644 | -0.0025396 | -0.0006365 | 3.2415e-08 | -5.8036e-08 | 0.0037865 | 0.0037866 | 0.0037866 | 0.99803 | -0.037931 | 0.99801 | -0.038199 | 1.0403
14 | -0.047117 | -0.011824 | 0.047132 | 0.011833 | 1.4669e-05 | 9.2841e-06 | 0.07014 | 0.07014 | 0.07014 | 0.99966 | -0.0065268 | 1 | 0 | 19.2694
15 | 0.026807 | 0.0067257 | -0.026798 | -0.0067207 | 8.1186e-06 | 5.0345e-06 | 0.040901 | 0.040901 | 0.040901 | 0.97531 | -0.47711 | 0.97499 | -0.48346 | 11.2365
16 | -0.045409 | -0.011433 | 0.04547 | 0.011472 | 6.1117e-05 | 3.8685e-05 | 0.069054 | 0.069053 | 0.069054 | 0.97877 | -0.40933 | 0.98021 | -0.38121 | 18.9708
17 | 0.0029901 | 0.00074936 | -0.0029901 | -0.00074938 | 2.483e-08 | -2.3621e-08 | 0.0045675 | 0.0045675 | 0.0045675 | 0.97412 | -0.5006 | 0.97411 | -0.50077 | 1.2548
18 | -0.0075058 | -0.0018811 | 0.0075068 | 0.0018815 | 1.021e-06 | 3.9555e-07 | 0.011465 | 0.011465 | 0.011465 | 0.97412 | -0.5006 | 0.97427 | -0.49774 | 3.1499
19 | -0.010284 | -0.0025775 | 0.010285 | 0.0025778 | 6.0803e-07 | 3.0729e-07 | 0.015707 | 0.015707 | 0.015707 | 0.97427 | -0.49774 | 0.97433 | -0.4965 | 4.3151
20 | -0.01332 | -0.0033387 | 0.013321 | 0.0033393 | 1.0539e-06 | 5.8989e-07 | 0.020343 | 0.020343 | 0.020343 | 0.97433 | -0.4965 | 0.97441 | -0.49484 | 5.5888
21 | -0.016292 | -0.0040838 | 0.016295 | 0.0040857 | 3.3084e-06 | 1.9398e-06 | 0.02488 | 0.02488 | 0.02488 | 0.97441 | -0.49484 | 0.97463 | -0.49058 | 6.8351
22 | -0.019103 | -0.0047894 | 0.019105 | 0.0047906 | 1.9846e-06 | 1.1926e-06 | 0.029167 | 0.029167 | 0.029167 | 0.97463 | -0.49058 | 0.97474 | -0.4884 | 8.0128
23 | -0.021758 | -0.0054554 | 0.02176 | 0.0054569 | 2.4659e-06 | 1.5039e-06 | 0.033216 | 0.033216 | 0.033216 | 0.97474 | -0.4884 | 0.97486 | -0.48602 | 9.1252
24 | -0.024339 | -0.0061032 | 0.024342 | 0.006105 | 2.9689e-06 | 1.8286e-06 | 0.037152 | 0.037152 | 0.037152 | 0.97486 | -0.48602 | 0.97499 | -0.48346 | 10.2065
25 | 0.43505 | 0.11066 | -0.43434 | -0.11021 | 0.00071538 | 0.00045689 | 0.64794 | 0.64794 | 0.64794 | 1 | 0 | 0.9982 | -0.034185 | 44.5017
26 | 0.42515 | 0.1079 | -0.42497 | -0.10779 | 0.00017879 | 0.00011418 | 0.63424 | 0.63424 | 0.63424 | 0.9982 | -0.034185 | 0.99775 | -0.042932 | 43.5604
27 | 0.41586 | 0.10551 | -0.41532 | -0.10516 | 0.00054239 | 0.00034634 | 0.62066 | 0.62066 | 0.62066 | 0.99775 | -0.042932 | 0.99632 | -0.070091 | 42.6278
28 | 0.1714 | 0.043201 | -0.17114 | -0.043036 | 0.00026092 | 0.00016478 | 0.25607 | 0.25607 | 0.25607 | 0.99632 | -0.070091 | 0.99467 | -0.10196 | 17.5872
29 | 0.24392 | 0.06196 | -0.24383 | -0.061902 | 9.1468e-05 | 5.8157e-05 | 0.36459 | 0.36459 | 0.36459 | 0.99632 | -0.070091 | 0.99592 | -0.077885 | 25.0407
30 | 0.14305 | 0.035996 | -0.14293 | -0.035918 | 0.00012203 | 7.7729e-05 | 0.21405 | 0.21405 | 0.21405 | 0.99467 | -0.10196 | 0.99374 | -0.11983 | 29.4025
31 | 0.21932 | 0.055758 | -0.21896 | -0.05553 | 0.00035997 | 0.00022853 | 0.32797 | 0.32797 | 0.32797 | 0.99592 | -0.077885 | 0.99413 | -0.11202 | 22.5252
32 | -0.014708 | -0.0036862 | 0.014712 | 0.0036885 | 4.0594e-06 | 2.3126e-06 | 0.022096 | 0.022096 | 0.022096 | 0.99048 | -0.18301 | 0.99078 | -0.17722 | 6.0703
33 | -0.039534 | -0.0099127 | 0.039576 | 0.0099389 | 4.1469e-05 | 2.6135e-05 | 0.059377 | 0.059376 | 0.059377 | 0.99078 | -0.17722 | 0.99191 | -0.15523 | 16.3123
34 | 0.01807 | 0.0045321 | -0.018066 | -0.0045293 | 4.6361e-06 | 2.751e-06 | 0.02714 | 0.02714 | 0.02714 | 0.99078 | -0.17722 | 0.9905 | -0.1826 | 7.4561
35 | 0.018066 | 0.0045293 | -0.018065 | -0.0045288 | 8.4638e-07 | 5.0225e-07 | 0.02714 | 0.02714 | 0.02714 | 0.9905 | -0.1826 | 0.99045 | -0.18358 | 7.4561
36 | 0.014233 | 0.0035686 | -0.014232 | -0.0035682 | 7.1268e-07 | 4.0263e-07 | 0.021384 | 0.021384 | 0.021384 | 0.99045 | -0.18358 | 0.99039 | -0.18463 | 5.8747
37 | -0.10744 | -0.026947 | 0.10762 | 0.027063 | 0.00018164 | 0.00011601 | 0.16118 | 0.16118 | 0.16118 | 0.99191 | -0.15523 | 0.99374 | -0.11983 | 44.2807
38 | 0.009782 | 0.0024528 | -0.0097791 | -0.0024514 | 2.8915e-06 | 1.3914e-06 | 0.014697 | 0.014697 | 0.014697 | 0.99039 | -0.18463 | 0.99007 | -0.19084 | 4.0378
39 | 0.035306 | 0.0088554 | -0.035287 | -0.0088438 | 1.8553e-05 | 1.1645e-05 | 0.052869 | 0.052869 | 0.052869 | 0.99374 | -0.11983 | 0.99317 | -0.13086 | 14.5244
40 | 0.0097791 | 0.0024514 | -0.0097769 | -0.0024503 | 2.2029e-06 | 1.0602e-06 | 0.014697 | 0.014698 | 0.014698 | 0.99007 | -0.19084 | 0.98983 | -0.19557 | 4.0378
41 | -0.1444 | -0.036573 | 0.14443 | 0.036591 | 2.8482e-05 | 1.8146e-05 | 0.21724 | 0.21724 | 0.21724 | 0.98971 | -0.19688 | 0.98993 | -0.19278 | 29.8405
42 | 0.12295 | 0.031196 | -0.12263 | -0.030997 | 0.0003112 | 0.00019886 | 0.18498 | 0.18498 | 0.18498 | 0.98971 | -0.19688 | 0.98698 | -0.24966 | 50.8197
43 | -0.15229 | -0.038561 | 0.15237 | 0.038613 | 8.3877e-05 | 5.2804e-05 | 0.22905 | 0.22905 | 0.22905 | 0.98993 | -0.19278 | 0.99052 | -0.18131 | 15.7315
44 | 0.10213 | 0.025858 | -0.10204 | -0.025799 | 9.2043e-05 | 5.8775e-05 | 0.15407 | 0.15407 | 0.15407 | 0.98698 | -0.24966 | 0.98601 | -0.26845 | 42.3266
45 | -0.16083 | -0.040733 | 0.16088 | 0.040765 | 5.1523e-05 | 3.249e-05 | 0.24175 | 0.24175 | 0.24175 | 0.99052 | -0.18131 | 0.99087 | -0.17464 | 16.6039
46 | 0.097602 | 0.024688 | -0.097483 | -0.024612 | 0.00011883 | 7.5865e-05 | 0.14738 | 0.14738 | 0.14738 | 0.98601 | -0.26845 | 0.9847 | -0.29386 | 40.4879
47 | -0.1682 | -0.0426 | 0.16828 | 0.042652 | 8.3132e-05 | 5.2489e-05 | 0.25275 | 0.25275 | 0.25275 | 0.99087 | -0.17464 | 0.9914 | -0.16436 | 17.3589
48 | 0.087809 | 0.022187 | -0.087779 | -0.022168 | 2.9776e-05 | 1.8999e-05 | 0.13276 | 0.13276 | 0.13276 | 0.9847 | -0.29386 | 0.98433 | -0.30093 | 36.4715
49 | -0.16828 | -0.042652 | 0.1684 | 0.042726 | 0.0001176 | 7.4251e-05 | 0.25275 | 0.25275 | 0.25275 | 0.9914 | -0.16436 | 0.99216 | -0.14983 | 17.3589
50 | 0.072294 | 0.018286 | -0.072186 | -0.018217 | 0.00010794 | 6.8774e-05 | 0.10935 | 0.10935 | 0.10935 | 0.98433 | -0.30093 | 0.98273 | -0.3321 | 30.0403
51 | 0.010777 | 0.0027023 | -0.010771 | -0.0026995 | 5.3649e-06 | 2.7487e-06 | 0.016292 | 0.016292 | 0.016292 | 0.98433 | -0.30093 | 0.9838 | -0.31138 | 4.4758
52 | -0.18455 | -0.046819 | 0.18457 | 0.046831 | 1.9232e-05 | 1.217e-05 | 0.27678 | 0.27678 | 0.27678 | 0.99289 | -0.1359 | 0.993 | -0.13374 | 19.0094
53 | 0.17803 | 0.045187 | -0.17792 | -0.045112 | 0.00011915 | 7.5337e-05 | 0.26702 | 0.26702 | 0.26702 | 0.99289 | -0.1359 | 0.99216 | -0.14983 | 18.3392
54 | -0.19075 | -0.04838 | 0.19077 | 0.048396 | 2.5248e-05 | 1.5988e-05 | 0.28604 | 0.28604 | 0.28604 | 0.993 | -0.13374 | 0.99314 | -0.13098 | 19.6456
55 | -0.19627 | -0.049775 | 0.1964 | 0.049853 | 0.00012285 | 7.7843e-05 | 0.29428 | 0.29428 | 0.29428 | 0.99314 | -0.13098 | 0.99382 | -0.11797 | 20.2116
56 | -0.20429 | -0.051832 | 0.20435 | 0.051869 | 5.8495e-05 | 3.7092e-05 | 0.3061 | 0.3061 | 0.3061 | 0.99382 | -0.11797 | 0.99413 | -0.11202 | 21.0236
57 | 0.067303 | 0.016993 | -0.067298 | -0.01699 | 5.3212e-06 | 3.3883e-06 | 0.10195 | 0.10195 | 0.10195 | 0.98273 | -0.3321 | 0.98264 | -0.33375 | 28.0092
58 | 0.060337 | 0.015246 | -0.060282 | -0.01521 | 5.5614e-05 | 3.5368e-05 | 0.091413 | 0.091413 | 0.091413 | 0.98264 | -0.33375 | 0.98165 | -0.353 | 25.1135
59 | 0.055403 | 0.013988 | -0.05537 | -0.013967 | 3.3126e-05 | 2.1043e-05 | 0.084019 | 0.084019 | 0.084019 | 0.98165 | -0.353 | 0.98101 | -0.36549 | 23.0821
60 | 0.052154 | 0.01316 | -0.052151 | -0.013158 | 3.2151e-06 | 2.0404e-06 | 0.07914 | 0.07914 | 0.07914 | 0.98101 | -0.36549 | 0.98095 | -0.36678 | 21.7419
61 | 0.045501 | 0.011492 | -0.04547 | -0.011472 | 3.1457e-05 | 1.991e-05 | 0.069053 | 0.069053 | 0.069053 | 0.98095 | -0.36678 | 0.98021 | -0.38121 | 18.9707

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50807 | 0.12857

## res_load
| p_mw | q_mvar
0 | 0.0026062 | 0.00065318
1 | 0.0023757 | 0.00059541
2 | 0.0027073 | 0.00067851
3 | 0.019567 | 0.0049039
4 | 0.002968 | 0.00074385
5 | 0.0084585 | 0.0021199
6 | 0.0094398 | 0.0023658
7 | 0.0023922 | 0.00059953
8 | 0.0034617 | 0.00086758
9 | 0.0090419 | 0.0022661
10 | 0.0025396 | 0.0006365
11 | 0.0045157 | 0.0011317
12 | 0.0029901 | 0.00074938
13 | 0.0027771 | 0.000696
14 | 0.0030359 | 0.00076086
15 | 0.0029707 | 0.00074452
16 | 0.0028079 | 0.00070372
17 | 0.0026524 | 0.00066475
18 | 0.0025788 | 0.0006463
19 | 0.0024566 | 0.00061567
20 | 0.024235 | 0.0060739
21 | 0.0091937 | 0.0023041
22 | 0.0091052 | 0.002282
23 | 0.028088 | 0.0070395
24 | 0.024513 | 0.0061436
25 | 0.014708 | 0.0036862
26 | 0.0067519 | 0.0016922
27 | 0.0038315 | 0.00096027
28 | 0.067863 | 0.017008
29 | 0.0044505 | 0.0011154
30 | 0.035287 | 0.0088438
31 | 0.021454 | 0.0053768
32 | 0.0078582 | 0.0019695
33 | 0.020506 | 0.0051392
34 | 0.0084557 | 0.0021192
35 | 0.0044349 | 0.0011115
36 | 0.0073202 | 0.0018346
37 | 0.0096746 | 0.0024247
38 | 0.0047087 | 0.0011801
39 | 0.0065116 | 0.001632
40 | 0.0061817 | 0.0015493
41 | 0.0095173 | 0.0023853
42 | 0.0055001 | 0.0013784
43 | 0.0078959 | 0.0019789
44 | 0.014608 | 0.003661
45 | 0.0048827 | 0.0012237
46 | 0.010771 | 0.0026995
47 | 0.0069606 | 0.0017445
48 | 0.0048783 | 0.0012226
49 | 0.0032162 | 0.00080605
50 | 0.0066497 | 0.0016666
51 | 0.0097769 | 0.0024503

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1