## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1331-33_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1331-33_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1331-33_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1331-33_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1331-33_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1331-33_0_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_1331-33_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1331-33_0_4_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_1331-33_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1331-33_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1331-33_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1331-33_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1331-33_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1331-33_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1331-33_0_4_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_1331-33_0_4_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_1331-33_0_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1331-33_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1331-33_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1331-33_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1331-33_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1331-33_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1331-33_0_4_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_1331-33_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1331-33_0_4_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1331-33_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1331-33_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1331-33_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1331-33_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1331-33_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1331-33_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1331-33_0_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1331-33_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1331-33_0_4_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_1331-33_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_1331-33_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1331-33_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1331-33_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1331-33_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1331-33_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1331-33_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1331-33_0_4_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_1331-33_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1331-33_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1331-33_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1331-33_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1331-33_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_1331-33_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1331-33_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1331-33_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_1331-33_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_1331-33_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1331-33_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_MV_4_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1331-33_0_4_load_0 | 0 | 0.0078649 | 0.0019711 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1331-33_0_4_load_1 | 1 | 0.0034621 | 0.00086769 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1331-33_0_4_load_2 | 2 | 0.0031012 | 0.00077724 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1331-33_0_4_load_3 | 3 | 0.003102 | 0.00077745 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1331-33_0_4_load_4 | 4 | 0.0054023 | 0.0013539 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1331-33_0_4_load_22 | 5 | 0.0094382 | 0.0023654 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1331-33_0_4_load_20 | 6 | 0.0097587 | 0.0024458 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1331-33_0_4_load_21 | 7 | 0.0034621 | 0.00086769 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1331-33_0_4_load_5 | 9 | 0.018458 | 0.0046259 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1331-33_0_4_load_6 | 10 | 0.0057287 | 0.0014358 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1331-33_0_4_load_7 | 11 | 0.0021616 | 0.00054175 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1331-33_0_4_load_8 | 12 | 0.074192 | 0.018594 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1331-33_0_4_load_9 | 13 | 0.002189 | 0.0005486 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1331-33_0_4_load_19 | 14 | 0.0071395 | 0.0017893 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1331-33_0_4_load_23 | 15 | 0.0029377 | 0.00073627 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1331-33_0_4_load_10 | 17 | 0.012093 | 0.0030308 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1331-33_0_4_load_11 | 18 | 0.0033774 | 0.00084645 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1331-33_0_4_load_12 | 19 | 0.0056119 | 0.0014065 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1331-33_0_4_load_14 | 21 | 0.052426 | 0.013139 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1331-33_0_4_load_52 | 22 | 0.011487 | 0.0028789 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1331-33_0_4_load_28 | 23 | 0.0096313 | 0.0024138 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1331-33_0_4_load_27 | 24 | 0.0036073 | 0.00090408 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1331-33_0_4_load_15 | 25 | 0.053293 | 0.013356 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1331-33_0_4_load_16 | 26 | 0.0079779 | 0.0019994 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1331-33_0_4_load_18 | 27 | 0.0074258 | 0.0018611 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1331-33_0_4_load_25 | 28 | 0.0040375 | 0.0010119 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1331-33_0_4_load_26 | 29 | 0.00479 | 0.0012005 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1331-33_0_4_load_50 | 31 | 0.020145 | 0.0050488 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1331-33_0_4_load_30 | 32 | 0.0057444 | 0.0014397 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1331-33_0_4_load_49 | 33 | 0.013592 | 0.0034065 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1331-33_0_4_load_41 | 34 | 0.0066667 | 0.0016708 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1331-33_0_4_load_31 | 35 | 0.0030149 | 0.00075562 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1331-33_0_4_load_32 | 36 | 0.0036548 | 0.00091599 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1331-33_0_4_load_33 | 37 | 0.0056201 | 0.0014085 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1331-33_0_4_load_34 | 38 | 0.014589 | 0.0036564 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1331-33_0_4_load_35 | 39 | 0.0048101 | 0.0012055 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1331-33_0_4_load_37 | 40 | 0.0049052 | 0.0012294 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1331-33_0_4_load_51 | 41 | 0.0046684 | 0.00117 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1331-33_0_4_load_40 | 44 | 0.0062642 | 0.0015699 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1331-33_0_4_load_43 | 45 | 0.0033979 | 0.0008516 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1331-33_0_4_load_53 | 46 | 0.0066835 | 0.001675 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1331-33_0_4_load_42 | 47 | 0.010435 | 0.0026153 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1331-33_0_4_load_47 | 50 | 0.018491 | 0.0046342 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1331-33_0_4_load_46 | 51 | 0.018619 | 0.0046662 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1331-33_0_4_load_48 | 52 | 0.017701 | 0.0044363 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1331-33_0_4_line_0 |  | 0 | 1 | 0.0077892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1331-33_0_4_line_1 |  | 0 | 2 | 0.0038548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1331-33_0_4_line_2 |  | 1 | 3 | 0.02282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1331-33_0_4_line_3 |  | 2 | 4 | 0.025057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1331-33_0_4_line_4 |  | 3 | 5 | 0.0039493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1331-33_0_4_line_5 |  | 4 | 6 | 0.0090822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1331-33_0_4_line_6 |  | 5 | 7 | 0.0076934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1331-33_0_4_line_7 |  | 6 | 8 | 0.05008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1331-33_0_4_line_8 |  | 8 | 14 | 0.022915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1331-33_0_4_line_9 |  | 8 | 25 | 0.0042981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1331-33_0_4_line_10 |  | 9 | 10 | 0.0086335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1331-33_0_4_line_11 |  | 9 | 11 | 0.012245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1331-33_0_4_line_12 |  | 10 | 12 | 0.0067819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1331-33_0_4_line_13 |  | 11 | 13 | 0.014721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1331-33_0_4_line_14 |  | 12 | 14 | 0.022345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1331-33_0_4_line_15 |  | 13 | 15 | 0.0148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1331-33_0_4_line_16 |  | 15 | 16 | 0.019027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1331-33_0_4_line_17 |  | 16 | 28 | 0.0047037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1331-33_0_4_line_18 |  | 16 | 29 | 0.01202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1331-33_0_4_line_19 |  | 17 | 18 | 0.013428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1331-33_0_4_line_20 |  | 17 | 19 | 0.0086973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1331-33_0_4_line_21 |  | 18 | 20 | 0.014177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1331-33_0_4_line_22 |  | 19 | 21 | 0.01103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1331-33_0_4_line_23 |  | 20 | 22 | 0.016934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1331-33_0_4_line_24 |  | 20 | 23 | 0.026661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1331-33_0_4_line_25 |  | 23 | 24 | 0.020935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1331-33_0_4_line_26 |  | 24 | 30 | 0.013464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1331-33_0_4_line_27 |  | 25 | 26 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1331-33_0_4_line_28 |  | 26 | 27 | 0.032329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1331-33_0_4_line_29 |  | 28 | 30 | 0.034309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1331-33_0_4_line_30 |  | 29 | 31 | 0.034031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1331-33_0_4_line_31 |  | 30 | 32 | 0.006325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1331-33_0_4_line_32 |  | 31 | 33 | 0.027877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1331-33_0_4_line_33 |  | 32 | 34 | 0.034044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1331-33_0_4_line_34 |  | 33 | 49 | 0.0041816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1331-33_0_4_line_35 |  | 35 | 36 | 0.017654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1331-33_0_4_line_36 |  | 35 | 37 | 0.0097233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1331-33_0_4_line_37 |  | 36 | 38 | 0.0094665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1331-33_0_4_line_38 |  | 37 | 39 | 0.014636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1331-33_0_4_line_39 |  | 38 | 40 | 0.022633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1331-33_0_4_line_40 |  | 39 | 41 | 0.0078763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1331-33_0_4_line_41 |  | 40 | 42 | 0.016321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1331-33_0_4_line_42 |  | 42 | 43 | 0.009426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1331-33_0_4_line_43 |  | 42 | 44 | 0.050103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1331-33_0_4_line_44 |  | 43 | 45 | 0.009393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1331-33_0_4_line_45 |  | 44 | 46 | 0.032348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1331-33_0_4_line_46 |  | 45 | 47 | 0.027705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_1331-33_0_4_line_47 |  | 47 | 48 | 0.015907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1331-33_0_4_line_48 |  | 48 | 49 | 0.037727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_1331-33_0_4_line_49 |  | 49 | 50 | 0.018548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_1331-33_0_4_line_50 |  | 50 | 51 | 0.0065983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1331-33_0_4_line_51 |  | 51 | 52 | 0.0058199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1331-33_0_4_trafo_9 | 0.63 MVA 20/0.4 kV | 53 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2675741.7415 | 1214352.3427 | 2675739.0948 | 1214345.017
1 | 2675741.7415 | 1214352.3427 | 2675743.0514 | 1214355.9682
2 | 2675739.0948 | 1214345.017 | 2675731.3404 | 1214323.5545
3 | 2675743.0514 | 1214355.9682 | 2675751.5659 | 1214379.5344
4 | 2675729.9984 | 1214319.8402 | 2675731.3404 | 1214323.5545
5 | 2675754.652 | 1214388.0762 | 2675751.5659 | 1214379.5344
6 | 2675729.9984 | 1214319.8402 | 2675727.3842 | 1214312.6046
7 | 2675790.6639 | 1214422.5781 | 2675775.5334 | 1214410.0667 | 2675761.4562 | 1214397.1462 | 2675754.652 | 1214388.0762 | 2675754.652 | 1214388.0762
8 | 2675790.6639 | 1214422.5781 | 2675805.9136 | 1214405.4748
9 | 2675790.6639 | 1214422.5781 | 2675788.0401 | 1214425.9824
10 | 2675831.0436 | 1214377.2903 | 2675825.2979 | 1214383.7344
11 | 2675839.1926 | 1214368.1508 | 2675831.0436 | 1214377.2903
12 | 2675825.2979 | 1214383.7344 | 2675820.7845 | 1214388.7963
13 | 2675839.1926 | 1214368.1508 | 2675848.9896 | 1214357.163
14 | 2675805.9136 | 1214405.4748 | 2675820.7845 | 1214388.7963
15 | 2675848.9896 | 1214357.163 | 2675858.8392 | 1214346.1161
16 | 2675871.5018 | 1214331.9144 | 2675858.8392 | 1214346.1161
17 | 2675871.5018 | 1214331.9144 | 2675874.2915 | 1214335.7016
18 | 2675871.5018 | 1214331.9144 | 2675866.8151 | 1214320.8462
19 | 2675932.4457 | 1214299.1206 | 2675935.679 | 1214303.702 | 2675939.225 | 1214310.6726
20 | 2675927.4307 | 1214292.0147 | 2675932.4457 | 1214299.1206
21 | 2675945.6529 | 1214323.3083 | 2675939.225 | 1214310.6726
22 | 2675921.0706 | 1214283.0028 | 2675927.4307 | 1214292.0147
23 | 2675945.6529 | 1214323.3083 | 2675951.1886 | 1214333.552 | 2675952.889 | 1214338.5618
24 | 2675945.6529 | 1214323.3083 | 2675924.0307 | 1214338.906
25 | 2675924.0307 | 1214338.906 | 2675917.074 | 1214343.9243 | 2675907.7202 | 1214351.9992
26 | 2675897.5285 | 1214360.7975 | 2675907.7202 | 1214351.9992
27 | 2675779.715 | 1214436.7835 | 2675788.0401 | 1214425.9824
28 | 2675779.715 | 1214436.7835 | 2675765.3409 | 1214455.4329 | 2675759.9159 | 1214462.3406
29 | 2675897.5285 | 1214360.7975 | 2675881.0589 | 1214344.8888 | 2675874.2915 | 1214335.7016
30 | 2675855.0823 | 1214288.9492 | 2675859.7773 | 1214304.2253 | 2675866.8151 | 1214320.8462
31 | 2675897.5285 | 1214360.7975 | 2675901.5725 | 1214365.6607
32 | 2675846.8927 | 1214262.3023 | 2675855.0823 | 1214288.9492
33 | 2675901.5725 | 1214365.6607 | 2675923.3396 | 1214391.837
34 | 2675845.6642 | 1214258.3052 | 2675846.8927 | 1214262.3023
35 | 2675793.5341 | 1214310.2452 | 2675787.5589 | 1214293.6328
36 | 2675793.5341 | 1214310.2452 | 2675796.825 | 1214319.3947
37 | 2675787.5589 | 1214293.6328 | 2675784.355 | 1214284.7249
38 | 2675801.7786 | 1214333.1669 | 2675796.825 | 1214319.3947
39 | 2675776.6946 | 1214263.4272 | 2675784.355 | 1214284.7249
40 | 2675804.4444 | 1214340.5784 | 2675801.7786 | 1214333.1669
41 | 2675776.2411 | 1214247.4714 | 2675774.9968 | 1214258.7072 | 2675776.6946 | 1214263.4272
42 | 2675776.2411 | 1214247.4714 | 2675783.1438 | 1214241.0327
43 | 2675776.2411 | 1214247.4714 | 2675768.1123 | 1214246.3896 | 2675728.4695 | 1214259.9658
44 | 2675783.1438 | 1214241.0327 | 2675791.965 | 1214237.8053
45 | 2675697.866 | 1214270.4463 | 2675728.4695 | 1214259.9658
46 | 2675817.9835 | 1214228.286 | 2675791.965 | 1214237.8053
47 | 2675832.9221 | 1214222.8204 | 2675817.9835 | 1214228.286
48 | 2675845.6642 | 1214258.3052 | 2675837.3341 | 1214233.0498 | 2675832.9221 | 1214222.8204
49 | 2675845.6642 | 1214258.3052 | 2675863.2518 | 1214252.4147
50 | 2675868.999 | 1214249.274 | 2675865.2686 | 1214251.7393 | 2675863.2518 | 1214252.4147
51 | 2675871.7381 | 1214244.1389 | 2675868.999 | 1214249.274

## bus_geodata
| x | y | coords
0 | 2675741.7415 | 1214352.3427
1 | 2675739.0948 | 1214345.017
2 | 2675743.0514 | 1214355.9682
3 | 2675731.3404 | 1214323.5545
4 | 2675751.5659 | 1214379.5344
5 | 2675729.9984 | 1214319.8402
6 | 2675754.652 | 1214388.0762
7 | 2675727.3842 | 1214312.6046
8 | 2675790.6639 | 1214422.5781
9 | 2675831.0436 | 1214377.2903
10 | 2675825.2979 | 1214383.7344
11 | 2675839.1926 | 1214368.1508
12 | 2675820.7845 | 1214388.7963
13 | 2675848.9896 | 1214357.163
14 | 2675805.9136 | 1214405.4748
15 | 2675858.8392 | 1214346.1161
16 | 2675871.5018 | 1214331.9144
17 | 2675932.4457 | 1214299.1206
18 | 2675939.225 | 1214310.6726
19 | 2675927.4307 | 1214292.0147
20 | 2675945.6529 | 1214323.3083
21 | 2675921.0706 | 1214283.0028
22 | 2675952.889 | 1214338.5618
23 | 2675924.0306 | 1214338.906
24 | 2675907.7202 | 1214351.9992
25 | 2675788.0401 | 1214425.9824
26 | 2675779.715 | 1214436.7835
27 | 2675759.9159 | 1214462.3406
28 | 2675874.2915 | 1214335.7016
29 | 2675866.8151 | 1214320.8462
30 | 2675897.5285 | 1214360.7975
31 | 2675855.0823 | 1214288.9492
32 | 2675901.5725 | 1214365.6607
33 | 2675846.8927 | 1214262.3023
34 | 2675923.3396 | 1214391.837
35 | 2675793.5341 | 1214310.2452
36 | 2675787.5589 | 1214293.6328
37 | 2675796.825 | 1214319.3947
38 | 2675784.3549 | 1214284.7249
39 | 2675801.7786 | 1214333.1669
40 | 2675776.6946 | 1214263.4272
41 | 2675804.4444 | 1214340.5784
42 | 2675776.2411 | 1214247.4714
43 | 2675783.1438 | 1214241.0327
44 | 2675728.4695 | 1214259.9658
45 | 2675791.965 | 1214237.8053
46 | 2675697.866 | 1214270.4463
47 | 2675817.9835 | 1214228.286
48 | 2675832.9221 | 1214222.8204
49 | 2675845.6642 | 1214258.3052
50 | 2675863.2518 | 1214252.4147
51 | 2675868.999 | 1214249.274
52 | 2675871.7381 | 1214244.1389
53 | 2675871.5018 | 1214331.9144

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9878 | -0.23505 | 0.0078649 | 0.0019711
1 | 0.98766 | -0.23776 | 0.0034621 | 0.00086769
2 | 0.9879 | -0.23317 | 0.0031012 | 0.00077724
3 | 0.98732 | -0.24429 | 0.003102 | 0.00077745
4 | 0.9886 | -0.21956 | 0.0054023 | 0.0013539
5 | 0.98728 | -0.2452 | 0.0094382 | 0.0023654
6 | 0.98889 | -0.21376 | 0.0097587 | 0.0024458
7 | 0.98725 | -0.24567 | 0.0034621 | 0.00086769
8 | 0.99099 | -0.17315 | 0 | 0
9 | 0.99728 | -0.052076 | 0.018458 | 0.0046259
10 | 0.99648 | -0.067321 | 0.0057287 | 0.0014358
11 | 0.99851 | -0.02852 | 0.0021616 | 0.00054175
12 | 0.99588 | -0.078972 | 0.074192 | 0.018594
13 | 1 | 0 | -0.50728 | -0.12852
14 | 0.99339 | -0.12678 | 0.0071395 | 0.0017893
15 | 0.9981 | -0.036057 | 0.0029377 | 0.00073627
16 | 0.99569 | -0.082123 | 0 | 0
17 | 0.98474 | -0.29347 | 0.012093 | 0.0030308
18 | 0.98561 | -0.27656 | 0.0033774 | 0.00084645
19 | 0.98428 | -0.30255 | 0.0056119 | 0.0014065
20 | 0.98657 | -0.25788 | 0 | 0
21 | 0.98374 | -0.31296 | 0.052426 | 0.013139
22 | 0.98639 | -0.26136 | 0.011487 | 0.0028789
23 | 0.98866 | -0.21739 | 0.0096313 | 0.0024138
24 | 0.99048 | -0.18213 | 0.0036073 | 0.00090408
25 | 0.99072 | -0.17839 | 0.053293 | 0.013356
26 | 0.99053 | -0.18212 | 0.0079779 | 0.0019994
27 | 0.99031 | -0.18639 | 0.0074258 | 0.0018611
28 | 0.99519 | -0.091612 | 0.0040375 | 0.0010119
29 | 0.9948 | -0.099191 | 0.00479 | 0.0012005
30 | 0.9917 | -0.15866 | 0 | 0
31 | 0.99236 | -0.14624 | 0.020145 | 0.0050488
32 | 0.99163 | -0.16005 | 0.0057444 | 0.0014397
33 | 0.99061 | -0.17996 | 0.013592 | 0.0034065
34 | 0.99142 | -0.16407 | 0.0066667 | 0.0016708
35 | 0.98516 | -0.28574 | 0.0030149 | 0.00075562
36 | 0.98546 | -0.28 | 0.0036548 | 0.00091599
37 | 0.98503 | -0.28837 | 0.0056201 | 0.0014085
38 | 0.98565 | -0.2763 | 0.014589 | 0.0036564
39 | 0.9849 | -0.29087 | 0.0048101 | 0.0012055
40 | 0.9864 | -0.26155 | 0.0049052 | 0.0012294
41 | 0.98487 | -0.29153 | 0.0046684 | 0.00117
42 | 0.98702 | -0.24949 | 0 | 0
43 | 0.98749 | -0.24035 | 0 | 0
44 | 0.98643 | -0.2611 | 0.0062642 | 0.0015699
45 | 0.98796 | -0.23125 | 0.0033979 | 0.0008516
46 | 0.98623 | -0.26498 | 0.0066835 | 0.001675
47 | 0.9887 | -0.21701 | 0.010435 | 0.0026153
48 | 0.98919 | -0.20736 | 0 | 0
49 | 0.99037 | -0.18453 | 0 | 0
50 | 0.98991 | -0.19356 | 0.018491 | 0.0046342
51 | 0.98969 | -0.19783 | 0.018619 | 0.0046662
52 | 0.98959 | -0.19966 | 0.017701 | 0.0044363
53 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.019473 | 0.0048829 | -0.01947 | -0.0048814 | 2.5135e-06 | 1.5089e-06 | 0.029334 | 0.029334 | 0.029334 | 0.9878 | -0.23505 | 0.98766 | -0.23776 | 8.0589
1 | -0.027338 | -0.0068541 | 0.02734 | 0.0068556 | 2.4516e-06 | 1.5197e-06 | 0.041182 | 0.041182 | 0.041182 | 0.9878 | -0.23505 | 0.9879 | -0.23317 | 11.3138
2 | 0.016008 | 0.0040137 | -0.016003 | -0.0040108 | 4.978e-06 | 2.8939e-06 | 0.024118 | 0.024118 | 0.024118 | 0.98766 | -0.23776 | 0.98732 | -0.24429 | 6.626
3 | -0.030441 | -0.0076328 | 0.030461 | 0.0076451 | 1.9756e-05 | 1.2323e-05 | 0.045853 | 0.045853 | 0.045853 | 0.9879 | -0.23317 | 0.9886 | -0.21956 | 12.5971
4 | 0.012901 | 0.0032334 | -0.0129 | -0.0032331 | 5.5988e-07 | 3.0782e-07 | 0.019443 | 0.019443 | 0.019443 | 0.98732 | -0.24429 | 0.98728 | -0.2452 | 5.3416
5 | -0.035863 | -0.0089991 | 0.035873 | 0.0090053 | 9.9257e-06 | 6.236e-06 | 0.053985 | 0.053985 | 0.053985 | 0.9886 | -0.21956 | 0.98889 | -0.21376 | 14.8309
6 | 0.0034622 | 0.00086765 | -0.0034621 | -0.00086769 | 7.8558e-08 | -4.81e-08 | 0.0052182 | 0.0052182 | 0.0052182 | 0.98728 | -0.2452 | 0.98725 | -0.24567 | 1.4336
7 | -0.045632 | -0.011451 | 0.04572 | 0.011507 | 8.8554e-05 | 5.6031e-05 | 0.068669 | 0.068668 | 0.068669 | 0.98889 | -0.21376 | 0.99099 | -0.17315 | 18.865
8 | -0.11444 | -0.028737 | 0.11469 | 0.028899 | 0.00025378 | 0.00016212 | 0.17185 | 0.17185 | 0.17185 | 0.99099 | -0.17315 | 0.99339 | -0.12678 | 47.2126
9 | 0.068718 | 0.01723 | -0.068701 | -0.017219 | 1.7161e-05 | 1.0928e-05 | 0.10319 | 0.10319 | 0.10319 | 0.99099 | -0.17315 | 0.99072 | -0.17839 | 28.3477
10 | 0.20229 | 0.051061 | -0.20214 | -0.050967 | 0.0001476 | 9.4239e-05 | 0.30196 | 0.30196 | 0.30196 | 0.99728 | -0.052076 | 0.99648 | -0.067321 | 41.4779
11 | -0.22075 | -0.055687 | 0.221 | 0.055846 | 0.00024927 | 0.00015921 | 0.3295 | 0.3295 | 0.3295 | 0.99728 | -0.052076 | 0.99851 | -0.02852 | 45.2609
12 | 0.19641 | 0.049531 | -0.1963 | -0.049461 | 0.00010947 | 6.9883e-05 | 0.2934 | 0.2934 | 0.2934 | 0.99648 | -0.067321 | 0.99588 | -0.078972 | 40.3028
13 | -0.22316 | -0.056388 | 0.22346 | 0.056583 | 0.00030556 | 0.00019518 | 0.33272 | 0.33272 | 0.33272 | 0.99851 | -0.02852 | 1 | 0 | 45.7033
14 | 0.12211 | 0.030867 | -0.12183 | -0.030689 | 0.00027924 | 0.00017842 | 0.18255 | 0.18255 | 0.18255 | 0.99588 | -0.078972 | 0.99339 | -0.12678 | 50.1506
15 | 0.28216 | 0.071938 | -0.28167 | -0.071624 | 0.00049021 | 0.00031335 | 0.4203 | 0.4203 | 0.4203 | 1 | 0 | 0.9981 | -0.036057 | 57.733
16 | 0.27874 | 0.070888 | -0.27812 | -0.070494 | 0.00061714 | 0.00039448 | 0.41592 | 0.41592 | 0.41592 | 0.9981 | -0.036057 | 0.99569 | -0.082123 | 57.1314
17 | 0.11571 | 0.029396 | -0.11566 | -0.029362 | 5.283e-05 | 3.375e-05 | 0.17306 | 0.17306 | 0.17306 | 0.99569 | -0.082123 | 0.99519 | -0.091612 | 47.5445
18 | 0.16241 | 0.041098 | -0.16228 | -0.041013 | 0.00013292 | 8.4755e-05 | 0.24285 | 0.24285 | 0.24285 | 0.99569 | -0.082123 | 0.9948 | -0.099191 | 33.3592
19 | -0.070182 | -0.017609 | 0.070239 | 0.017645 | 5.6641e-05 | 3.6079e-05 | 0.10606 | 0.10606 | 0.10606 | 0.98474 | -0.29347 | 0.98561 | -0.27656 | 29.1366
20 | 0.058089 | 0.014578 | -0.058064 | -0.014562 | 2.5133e-05 | 1.5975e-05 | 0.087784 | 0.087784 | 0.087784 | 0.98474 | -0.29347 | 0.98428 | -0.30255 | 24.1165
21 | -0.073616 | -0.018491 | 0.073682 | 0.018533 | 6.5686e-05 | 4.1858e-05 | 0.11116 | 0.11116 | 0.11116 | 0.98561 | -0.27656 | 0.98657 | -0.25788 | 30.5375
22 | 0.052452 | 0.013156 | -0.052426 | -0.013139 | 2.6011e-05 | 1.6507e-05 | 0.0793 | 0.0793 | 0.0793 | 0.98428 | -0.30255 | 0.98374 | -0.31296 | 21.7857
23 | 0.011489 | 0.0028799 | -0.011487 | -0.0028789 | 1.9069e-06 | 1.0042e-06 | 0.017329 | 0.017329 | 0.017329 | 0.98657 | -0.25788 | 0.98639 | -0.26136 | 4.7606
24 | -0.085171 | -0.021413 | 0.085336 | 0.021519 | 0.00016505 | 0.00010529 | 0.12848 | 0.12848 | 0.12848 | 0.98657 | -0.25788 | 0.98866 | -0.21739 | 35.298
25 | -0.094967 | -0.023932 | 0.095127 | 0.024035 | 0.00016049 | 0.00010245 | 0.14298 | 0.14298 | 0.14298 | 0.98866 | -0.21739 | 0.99048 | -0.18213 | 39.2804
26 | -0.098735 | -0.024939 | 0.098846 | 0.02501 | 0.00011119 | 7.0989e-05 | 0.1484 | 0.1484 | 0.1484 | 0.99048 | -0.18213 | 0.9917 | -0.15866 | 40.7692
27 | 0.015408 | 0.0038626 | -0.015405 | -0.0038611 | 2.7388e-06 | 1.5773e-06 | 0.023142 | 0.023142 | 0.023142 | 0.99072 | -0.17839 | 0.99053 | -0.18212 | 6.3578
28 | 0.0074273 | 0.0018616 | -0.0074258 | -0.0018611 | 1.5093e-06 | 5.4992e-07 | 0.011158 | 0.011158 | 0.011158 | 0.99053 | -0.18212 | 0.99031 | -0.18639 | 3.0653
29 | 0.11162 | 0.02835 | -0.11126 | -0.028121 | 0.00035893 | 0.00022927 | 0.16703 | 0.16703 | 0.16703 | 0.99519 | -0.091612 | 0.9917 | -0.15866 | 45.8861
30 | 0.15749 | 0.039812 | -0.15713 | -0.039586 | 0.00035445 | 0.00022597 | 0.23569 | 0.23569 | 0.23569 | 0.9948 | -0.099191 | 0.99236 | -0.14624 | 32.3751
31 | 0.012413 | 0.0031113 | -0.012412 | -0.0031109 | 8.2285e-07 | 4.4502e-07 | 0.018626 | 0.018626 | 0.018626 | 0.9917 | -0.15866 | 0.99163 | -0.16005 | 5.117
32 | 0.13699 | 0.034538 | -0.13677 | -0.034397 | 0.0002207 | 0.00014053 | 0.20548 | 0.20548 | 0.20548 | 0.99236 | -0.14624 | 0.99061 | -0.17996 | 28.2258
33 | 0.006668 | 0.0016712 | -0.0066667 | -0.0016708 | 1.2782e-06 | 3.7893e-07 | 0.010006 | 0.010006 | 0.010006 | 0.99163 | -0.16005 | 0.99142 | -0.16407 | 2.7489
34 | 0.12318 | 0.03099 | -0.12315 | -0.030973 | 2.6854e-05 | 1.7079e-05 | 0.18507 | 0.18507 | 0.18507 | 0.99061 | -0.17996 | 0.99037 | -0.18453 | 25.4213
35 | -0.018117 | -0.0045413 | 0.018122 | 0.0045442 | 4.9573e-06 | 2.9478e-06 | 0.027364 | 0.027364 | 0.027364 | 0.98516 | -0.28574 | 0.98546 | -0.28 | 7.5176
36 | 0.015102 | 0.0037857 | -0.0151 | -0.0037846 | 1.8972e-06 | 1.0904e-06 | 0.02281 | 0.02281 | 0.02281 | 0.98516 | -0.28574 | 0.98503 | -0.28837 | 6.2666
37 | -0.021776 | -0.0054602 | 0.02178 | 0.0054626 | 3.8385e-06 | 2.336e-06 | 0.032883 | 0.032883 | 0.032883 | 0.98546 | -0.28 | 0.98565 | -0.2763 | 9.0337
38 | 0.0094798 | 0.0023761 | -0.0094786 | -0.0023755 | 1.1256e-06 | 5.3408e-07 | 0.014321 | 0.014321 | 0.014321 | 0.98503 | -0.28837 | 0.9849 | -0.29087 | 3.9342
39 | -0.03637 | -0.009119 | 0.036395 | 0.0091351 | 2.5589e-05 | 1.6088e-05 | 0.054908 | 0.054908 | 0.054908 | 0.98565 | -0.2763 | 0.9864 | -0.26155 | 15.0846
40 | 0.0046685 | 0.00117 | -0.0046684 | -0.00117 | 1.4694e-07 | -6.189e-09 | 0.0070533 | 0.0070533 | 0.0070533 | 0.9849 | -0.29087 | 0.98487 | -0.29153 | 1.9377
41 | -0.0413 | -0.010364 | 0.041324 | 0.010379 | 2.376e-05 | 1.4998e-05 | 0.062308 | 0.062307 | 0.062308 | 0.9864 | -0.26155 | 0.98702 | -0.24949 | 17.1174
42 | -0.05428 | -0.013629 | 0.054304 | 0.013644 | 2.3675e-05 | 1.5032e-05 | 0.08184 | 0.08184 | 0.08184 | 0.98702 | -0.24949 | 0.98749 | -0.24035 | 22.4836
43 | 0.012956 | 0.0032493 | -0.012949 | -0.0032454 | 7.1687e-06 | 3.948e-06 | 0.019533 | 0.019533 | 0.019533 | 0.98702 | -0.24949 | 0.98643 | -0.2611 | 5.3663
44 | -0.054304 | -0.013644 | 0.054327 | 0.013659 | 2.3592e-05 | 1.4979e-05 | 0.08184 | 0.08184 | 0.08184 | 0.98749 | -0.24035 | 0.98796 | -0.23125 | 22.4836
45 | 0.0066847 | 0.0016754 | -0.0066835 | -0.001675 | 1.2335e-06 | 3.7658e-07 | 0.010084 | 0.010084 | 0.010084 | 0.98643 | -0.2611 | 0.98623 | -0.26498 | 2.7703
46 | -0.057725 | -0.01451 | 0.057765 | 0.014535 | 3.9281e-05 | 2.443e-05 | 0.086958 | 0.086958 | 0.086958 | 0.98796 | -0.23125 | 0.9887 | -0.21701 | 11.9448
47 | -0.0682 | -0.01715 | 0.068231 | 0.01717 | 3.1435e-05 | 1.971e-05 | 0.10266 | 0.10266 | 0.10266 | 0.9887 | -0.21701 | 0.98919 | -0.20736 | 14.1021
48 | -0.068231 | -0.01717 | 0.068306 | 0.017217 | 7.4555e-05 | 4.6746e-05 | 0.10266 | 0.10266 | 0.10266 | 0.98919 | -0.20736 | 0.99037 | -0.18453 | 14.102
49 | 0.054843 | 0.013757 | -0.054819 | -0.013742 | 2.3615e-05 | 1.4637e-05 | 0.082404 | 0.082404 | 0.082404 | 0.99037 | -0.18453 | 0.98991 | -0.19356 | 11.3193
50 | 0.036328 | 0.0091081 | -0.036321 | -0.0091035 | 7.3791e-06 | 4.6378e-06 | 0.05461 | 0.05461 | 0.05461 | 0.98991 | -0.19356 | 0.98969 | -0.19783 | 15.0027
51 | 0.017703 | 0.0044372 | -0.017701 | -0.0044363 | 1.5461e-06 | 9.1475e-07 | 0.026616 | 0.026616 | 0.026616 | 0.98969 | -0.19783 | 0.98959 | -0.19966 | 7.3122

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50947 | 0.12907

## res_load
| p_mw | q_mvar
0 | 0.0078649 | 0.0019711
1 | 0.0034621 | 0.00086769
2 | 0.0031012 | 0.00077724
3 | 0.003102 | 0.00077745
4 | 0.0054023 | 0.0013539
5 | 0.0094382 | 0.0023654
6 | 0.0097587 | 0.0024458
7 | 0.0034621 | 0.00086769
8 | 0.018458 | 0.0046259
9 | 0.0057287 | 0.0014358
10 | 0.0021616 | 0.00054175
11 | 0.074192 | 0.018594
12 | 0.002189 | 0.0005486
13 | 0.0071395 | 0.0017893
14 | 0.0029377 | 0.00073627
15 | 0.012093 | 0.0030308
16 | 0.0033774 | 0.00084645
17 | 0.0056119 | 0.0014065
18 | 0.052426 | 0.013139
19 | 0.011487 | 0.0028789
20 | 0.0096313 | 0.0024138
21 | 0.0036073 | 0.00090408
22 | 0.053293 | 0.013356
23 | 0.0079779 | 0.0019994
24 | 0.0074258 | 0.0018611
25 | 0.0040375 | 0.0010119
26 | 0.00479 | 0.0012005
27 | 0.020145 | 0.0050488
28 | 0.0057444 | 0.0014397
29 | 0.013592 | 0.0034065
30 | 0.0066667 | 0.0016708
31 | 0.0030149 | 0.00075562
32 | 0.0036548 | 0.00091599
33 | 0.0056201 | 0.0014085
34 | 0.014589 | 0.0036564
35 | 0.0048101 | 0.0012055
36 | 0.0049052 | 0.0012294
37 | 0.0046684 | 0.00117
38 | 0.0062642 | 0.0015699
39 | 0.0033979 | 0.0008516
40 | 0.0066835 | 0.001675
41 | 0.010435 | 0.0026153
42 | 0.018491 | 0.0046342
43 | 0.018619 | 0.0046662
44 | 0.017701 | 0.0044363

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1