## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1331-4_1_3_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_1331-4_1_3_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_1331-4_1_3_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_1331-4_1_3_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_1331-4_1_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_1331-4_1_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1331-4_1_3_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_1331-4_1_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_1331-4_1_3_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_1331-4_1_3_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_1331-4_1_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1331-4_1_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1331-4_1_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_1331-4_1_3_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_1331-4_1_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1331-4_1_3_node_73 | 0.4 | n |  | TRUE
16 | bus_LV_1331-4_1_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1331-4_1_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1331-4_1_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1331-4_1_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1331-4_1_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1331-4_1_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1331-4_1_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_1331-4_1_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1331-4_1_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1331-4_1_3_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_1331-4_1_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_1331-4_1_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1331-4_1_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1331-4_1_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_1331-4_1_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1331-4_1_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1331-4_1_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1331-4_1_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1331-4_1_3_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_1331-4_1_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1331-4_1_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1331-4_1_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1331-4_1_3_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_1331-4_1_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1331-4_1_3_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_1331-4_1_3_node_49 | 0.4 | n |  | TRUE
42 | bus_MV_4_0_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1331-4_1_3_load_6 | 0 | 0.0023564 | 0.00059056 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1331-4_1_3_load_7 | 1 | 0.00099807 | 0.00025014 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1331-4_1_3_load_9 | 3 | 0.00086438 | 0.00021663 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1331-4_1_3_load_10 | 4 | 0.00041021 | 0.00010281 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1331-4_1_3_load_46 | 6 | 0.0072263 | 0.0018111 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1331-4_1_3_load_15 | 7 | 0.00044223 | 0.00011083 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1331-4_1_3_load_38 | 9 | 0.0052123 | 0.0013063 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1331-4_1_3_load_11 | 10 | 0.0010851 | 0.00027195 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1331-4_1_3_load_12 | 11 | 0.00065568 | 0.00016433 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1331-4_1_3_load_74 | 13 | 0.00025935 | 6.4999e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1331-4_1_3_load_73 | 15 | 0.00037687 | 9.4452e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1331-4_1_3_load_17 | 16 | 0.0060217 | 0.0015092 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1331-4_1_3_load_18 | 17 | 0.0090785 | 0.0022753 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1331-4_1_3_load_21 | 20 | 0.0064203 | 0.0016091 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1331-4_1_3_load_22 | 21 | 0.0029229 | 0.00073256 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1331-4_1_3_load_29 | 22 | 0.0095632 | 0.0023968 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1331-4_1_3_load_26 | 23 | 0.0062611 | 0.0015692 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1331-4_1_3_load_23 | 24 | 0.0058684 | 0.0014708 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1331-4_1_3_load_35 | 25 | 0.0011589 | 0.00029045 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1331-4_1_3_load_47 | 26 | 0.0084298 | 0.0021127 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1331-4_1_3_load_27 | 27 | 0.005203 | 0.001304 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1331-4_1_3_load_24 | 28 | 0.0059877 | 0.0015006 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1331-4_1_3_load_25 | 30 | 0.0055523 | 0.0013915 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1331-4_1_3_load_28 | 31 | 0.017184 | 0.0043066 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1331-4_1_3_load_34 | 32 | 0.0044974 | 0.0011271 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1331-4_1_3_load_32 | 33 | 0.017185 | 0.0043069 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1331-4_1_3_load_30 | 35 | 0.004339 | 0.0010875 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1331-4_1_3_load_31 | 36 | 0.011429 | 0.0028644 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1331-4_1_3_load_33 | 37 | 0.010586 | 0.002653 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1331-4_1_3_load_57 | 38 | 0.016306 | 0.0040868 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1331-4_1_3_load_37 | 39 | 0.0032353 | 0.00081085 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1331-4_1_3_load_71 | 40 | 0.0010116 | 0.00025354 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1331-4_1_3_load_49 | 41 | 0.010865 | 0.0027231 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1331-4_1_3_line_0 |  | 0 | 1 | 0.027851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1331-4_1_3_line_1 |  | 0 | 2 | 0.035583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1331-4_1_3_line_2 |  | 1 | 3 | 0.031956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1331-4_1_3_line_3 |  | 2 | 4 | 0.020949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1331-4_1_3_line_4 |  | 3 | 5 | 0.040077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1331-4_1_3_line_5 |  | 4 | 6 | 0.021803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1331-4_1_3_line_6 |  | 5 | 7 | 0.055526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1331-4_1_3_line_7 |  | 6 | 8 | 0.34246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1331-4_1_3_line_8 |  | 6 | 9 | 0.15316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1331-4_1_3_line_9 |  | 7 | 14 | 0.089233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1331-4_1_3_line_10 |  | 8 | 40 | 0.068439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1331-4_1_3_line_11 |  | 9 | 39 | 0.039181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1331-4_1_3_line_12 |  | 10 | 11 | 0.10693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1331-4_1_3_line_13 |  | 10 | 12 | 0.073096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1331-4_1_3_line_14 |  | 11 | 13 | 0.12535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1331-4_1_3_line_15 |  | 12 | 14 | 0.00572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1331-4_1_3_line_16 |  | 13 | 15 | 0.028208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1331-4_1_3_line_17 |  | 16 | 17 | 0.027593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1331-4_1_3_line_18 |  | 16 | 18 | 0.0074377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1331-4_1_3_line_19 |  | 17 | 19 | 0.039448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1331-4_1_3_line_20 |  | 18 | 20 | 0.017104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1331-4_1_3_line_21 |  | 18 | 21 | 0.078829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1331-4_1_3_line_22 |  | 19 | 22 | 0.019329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1331-4_1_3_line_23 |  | 19 | 23 | 0.025081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1331-4_1_3_line_24 |  | 20 | 24 | 0.026694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1331-4_1_3_line_25 |  | 21 | 25 | 0.015235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1331-4_1_3_line_26 |  | 22 | 26 | 0.00040835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1331-4_1_3_line_27 |  | 23 | 27 | 0.017692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1331-4_1_3_line_28 |  | 24 | 28 | 0.023573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1331-4_1_3_line_29 |  | 25 | 29 | 0.1334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1331-4_1_3_line_30 |  | 26 | 34 | 0.014546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1331-4_1_3_line_31 |  | 27 | 31 | 0.00060209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1331-4_1_3_line_32 |  | 28 | 30 | 0.0087919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1331-4_1_3_line_33 |  | 29 | 39 | 0.02258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1331-4_1_3_line_34 |  | 31 | 32 | 0.017135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1331-4_1_3_line_35 |  | 32 | 33 | 0.0026379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1331-4_1_3_line_36 |  | 33 | 35 | 0.01499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1331-4_1_3_line_37 |  | 34 | 41 | 0.020845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1331-4_1_3_line_38 |  | 35 | 36 | 0.0055429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1331-4_1_3_line_39 |  | 36 | 37 | 0.017484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1331-4_1_3_line_40 |  | 37 | 38 | 0.0050739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1331-4_1_3_trafo_19 | 0.63 MVA 20/0.4 kV | 42 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2676419.3895 | 1214046.8387 | 2676416.6236 | 1214037.7743 | 2676400.7666 | 1214028.4924
1 | 2676432.747 | 1214079.4521 | 2676426.552 | 1214070.3113 | 2676419.3895 | 1214046.8387
2 | 2676400.7666 | 1214028.4924 | 2676394.699 | 1214024.9407 | 2676377.3712 | 1214007.0233
3 | 2676432.747 | 1214079.4521 | 2676443.499 | 1214088.6291 | 2676447.0066 | 1214094.4697
4 | 2676354.4429 | 1213974.3483 | 2676370.5074 | 1213999.926 | 2676377.3712 | 1214007.0233
5 | 2676456.0082 | 1214114.1837 | 2676452.4755 | 1214103.576 | 2676447.0066 | 1214094.4697
6 | 2676354.4429 | 1213974.3483 | 2676375.3156 | 1213932.3553 | 2676380.3118 | 1213925.3166
7 | 2676456.0082 | 1214114.1837 | 2676618.6882 | 1214415.543
8 | 2676456.0082 | 1214114.1837 | 2676318.7327 | 1214182.1051
9 | 2676433.0035 | 1213853.3102 | 2676402.3521 | 1213894.266 | 2676380.3118 | 1213925.3166
10 | 2676618.6882 | 1214415.543 | 2676596.9427 | 1214428.5164 | 2676589.67 | 1214437.0952 | 2676587.4888 | 1214449.6086 | 2676571.507 | 1214460.1932
11 | 2676295.9911 | 1214150.2281 | 2676307.2116 | 1214167.112 | 2676318.7327 | 1214182.1051
12 | 2676481.3714 | 1213901.818 | 2676489.2279 | 1213915.0706 | 2676520.3603 | 1213894.0787 | 2676535.1347 | 1213928.9907 | 2676541.5445 | 1213943.7258
13 | 2676436.5704 | 1213848.8308 | 2676446.7854 | 1213850.1626 | 2676453.6355 | 1213855.0313 | 2676481.3714 | 1213901.818
14 | 2676541.5445 | 1213943.7258 | 2676664.3694 | 1213918.6687
15 | 2676433.0035 | 1213853.3102 | 2676436.5704 | 1213848.8308
16 | 2676683.4739 | 1213939.422 | 2676664.3694 | 1213918.6687
17 | 2676208.1473 | 1214299.9588 | 2676191.2758 | 1214278.1246
18 | 2676186.7281 | 1214272.2392 | 2676191.2758 | 1214278.1246
19 | 2676195.4824 | 1214331.3334 | 2676208.8462 | 1214319.7968 | 2676211.9879 | 1214314.0777 | 2676212.5962 | 1214308.682 | 2676209.4355 | 1214301.626 | 2676208.1473 | 1214299.9588
20 | 2676186.7281 | 1214272.2392 | 2676175.9538 | 1214258.9559
21 | 2676186.7281 | 1214272.2392 | 2676157.9622 | 1214212.3 | 2676154.8147 | 1214205.3887 | 2676154.8546 | 1214200.6382
22 | 2676195.4824 | 1214331.3334 | 2676207.8309 | 1214346.2033
23 | 2676195.4824 | 1214331.3334 | 2676179.9878 | 1214311.6112
24 | 2676159.1382 | 1214238.2244 | 2676175.9538 | 1214258.9559
25 | 2676154.9822 | 1214185.4034 | 2676154.8546 | 1214200.6382
26 | 2676208.0918 | 1214346.5175 | 2676207.8309 | 1214346.2033
27 | 2676169.0582 | 1214297.6996 | 2676179.9878 | 1214311.6112
28 | 2676144.2886 | 1214219.9166 | 2676159.1382 | 1214238.2244
29 | 2676154.9822 | 1214185.4034 | 2676278.7948 | 1214135.7395
30 | 2676217.3849 | 1214357.708 | 2676208.0918 | 1214346.5175
31 | 2676168.6862 | 1214297.2261 | 2676169.0582 | 1214297.6996
32 | 2676138.7502 | 1214213.0885 | 2676144.2886 | 1214219.9166
33 | 2676278.7948 | 1214135.7395 | 2676294.8186 | 1214148.4637 | 2676295.9911 | 1214150.2281
34 | 2676158.1003 | 1214283.7519 | 2676168.6862 | 1214297.2261
35 | 2676158.1003 | 1214283.7519 | 2676156.4707 | 1214281.6777
36 | 2676156.4707 | 1214281.6777 | 2676147.2099 | 1214269.8901
37 | 2676217.3849 | 1214357.708 | 2676200.8752 | 1214370.4339
38 | 2676143.7855 | 1214265.5315 | 2676147.2099 | 1214269.8901
39 | 2676143.7855 | 1214265.5315 | 2676142.3645 | 1214263.7227 | 2676132.8944 | 1214251.8539
40 | 2676129.7299 | 1214247.8878 | 2676132.8944 | 1214251.8539

## bus_geodata
| x | y | coords
0 | 2676419.3895 | 1214046.8387
1 | 2676400.7666 | 1214028.4924
2 | 2676432.747 | 1214079.4521
3 | 2676377.3712 | 1214007.0233
4 | 2676447.0066 | 1214094.4697
5 | 2676354.4429 | 1213974.3483
6 | 2676456.0082 | 1214114.1837
7 | 2676380.3118 | 1213925.3166
8 | 2676618.6882 | 1214415.543
9 | 2676318.7327 | 1214182.1051
10 | 2676481.3714 | 1213901.818
11 | 2676541.5445 | 1213943.7258
12 | 2676436.5704 | 1213848.8308
13 | 2676664.3694 | 1213918.6687
14 | 2676433.0035 | 1213853.3102
15 | 2676683.4739 | 1213939.422
16 | 2676191.2758 | 1214278.1246
17 | 2676208.1473 | 1214299.9588
18 | 2676186.7281 | 1214272.2392
19 | 2676195.4824 | 1214331.3334
20 | 2676175.9538 | 1214258.9559
21 | 2676154.8546 | 1214200.6382
22 | 2676207.8309 | 1214346.2033
23 | 2676179.9878 | 1214311.6112
24 | 2676159.1382 | 1214238.2244
25 | 2676154.9822 | 1214185.4034
26 | 2676208.0918 | 1214346.5175
27 | 2676169.0582 | 1214297.6996
28 | 2676144.2886 | 1214219.9166
29 | 2676278.7948 | 1214135.7395
30 | 2676138.7502 | 1214213.0885
31 | 2676168.6862 | 1214297.2261
32 | 2676158.1003 | 1214283.7519
33 | 2676156.4707 | 1214281.6777
34 | 2676217.3849 | 1214357.708
35 | 2676147.2099 | 1214269.8901
36 | 2676143.7855 | 1214265.5315
37 | 2676132.8944 | 1214251.8539
38 | 2676129.7299 | 1214247.8878
39 | 2676295.9911 | 1214150.2281
40 | 2676571.507 | 1214460.1932
41 | 2676200.8752 | 1214370.4339
42 | 2676195.4824 | 1214331.3334

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99072 | -0.17903 | 0.0023564 | 0.00059056
1 | 0.9906 | -0.18135 | 0.00099807 | 0.00025014
2 | 0.99095 | -0.17457 | 0 | 0
3 | 0.99049 | -0.18345 | 0.00086438 | 0.00021663
4 | 0.99108 | -0.17194 | 0.00041021 | 0.00010281
5 | 0.99039 | -0.18547 | 0 | 0
6 | 0.99123 | -0.16905 | 0.0072263 | 0.0018111
7 | 0.99024 | -0.18827 | 0.00044223 | 0.00011083
8 | 0.99091 | -0.17525 | 0 | 0
9 | 0.99343 | -0.12643 | 0.0052123 | 0.0013063
10 | 0.98988 | -0.1954 | 0.0010851 | 0.00027195
11 | 0.98975 | -0.19788 | 0.00065568 | 0.00016433
12 | 0.99004 | -0.1923 | 0 | 0
13 | 0.98968 | -0.1993 | 0.00025935 | 6.4999e-05
14 | 0.99005 | -0.19206 | 0 | 0
15 | 0.98967 | -0.19949 | 0.00037687 | 9.4452e-05
16 | 0.99906 | -0.017771 | 0.0060217 | 0.0015092
17 | 0.99575 | -0.081069 | 0.0090785 | 0.0022753
18 | 1 | 0 | -0.1923 | -0.048403
19 | 0.99133 | -0.16594 | 0 | 0
20 | 0.99963 | -0.0071067 | 0.0064203 | 0.0016091
21 | 0.99797 | -0.038913 | 0.0029229 | 0.00073256
22 | 0.99082 | -0.17584 | 0.0095632 | 0.0023968
23 | 0.98919 | -0.2074 | 0.0062611 | 0.0015692
24 | 0.99921 | -0.015216 | 0.0058684 | 0.0014708
25 | 0.99762 | -0.045672 | 0.0011589 | 0.00029045
26 | 0.99081 | -0.17598 | 0.0084298 | 0.0021127
27 | 0.98778 | -0.23477 | 0.005203 | 0.001304
28 | 0.99896 | -0.019967 | 0.0059877 | 0.0015006
29 | 0.99467 | -0.10233 | 0 | 0
30 | 0.99892 | -0.020819 | 0.0055523 | 0.0013915
31 | 0.98773 | -0.23565 | 0.017184 | 0.0043066
32 | 0.98672 | -0.25536 | 0.0044974 | 0.0011271
33 | 0.98657 | -0.25819 | 0.017185 | 0.0043069
34 | 0.99067 | -0.17879 | 0 | 0
35 | 0.98598 | -0.26965 | 0.004339 | 0.0010875
36 | 0.98579 | -0.27346 | 0.011429 | 0.0028644
37 | 0.98536 | -0.2819 | 0.010586 | 0.002653
38 | 0.98528 | -0.28338 | 0.016306 | 0.0040868
39 | 0.99417 | -0.11195 | 0.0032353 | 0.00081085
40 | 0.99085 | -0.17648 | 0.0010116 | 0.00025354
41 | 0.99046 | -0.18281 | 0.010865 | 0.0027231
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0046842 | 0.0011674 | -0.0046837 | -0.0011675 | 5.1663e-07 | -2.7944e-08 | 0.0070332 | 0.0070333 | 0.0070333 | 0.99072 | -0.17903 | 0.9906 | -0.18135 | 1.9322
1 | -0.0070406 | -0.001758 | 0.0070421 | 0.0017585 | 1.4915e-06 | 4.9623e-07 | 0.010572 | 0.010572 | 0.010572 | 0.99072 | -0.17903 | 0.99095 | -0.17457 | 2.9045
2 | 0.0036856 | 0.00091733 | -0.0036852 | -0.00091751 | 3.6702e-07 | -1.7646e-07 | 0.0055341 | 0.0055342 | 0.0055342 | 0.9906 | -0.18135 | 0.99049 | -0.18345 | 1.5204
3 | -0.0070421 | -0.0017585 | 0.0070429 | 0.0017588 | 8.7804e-07 | 2.9203e-07 | 0.010572 | 0.010572 | 0.010572 | 0.99095 | -0.17457 | 0.99108 | -0.17194 | 2.9044
4 | 0.0028209 | 0.00070088 | -0.0028206 | -0.00070122 | 2.6964e-07 | -3.4321e-07 | 0.0042357 | 0.0042358 | 0.0042358 | 0.99049 | -0.18345 | 0.99039 | -0.18547 | 1.1637
5 | -0.0074531 | -0.0018616 | 0.0074542 | 0.001862 | 1.0234e-06 | 3.7397e-07 | 0.011188 | 0.011188 | 0.011188 | 0.99108 | -0.17194 | 0.99123 | -0.16905 | 3.0736
6 | 0.0028206 | 0.00070122 | -0.0028202 | -0.0007017 | 3.7362e-07 | -4.753e-07 | 0.0042358 | 0.0042361 | 0.0042361 | 0.99039 | -0.18547 | 0.99024 | -0.18827 | 1.1638
7 | 0.001012 | 0.00024847 | -0.0010117 | -0.00025269 | 2.9598e-07 | -4.2236e-06 | 0.0015173 | 0.0015189 | 0.0015189 | 0.99123 | -0.16905 | 0.99091 | -0.17525 | 0.41728
8 | -0.015692 | -0.0039215 | 0.015724 | 0.0039399 | 3.1861e-05 | 1.8413e-05 | 0.023553 | 0.023553 | 0.023553 | 0.99123 | -0.16905 | 0.99343 | -0.12643 | 6.4707
9 | 0.002378 | 0.00059086 | -0.0023776 | -0.00059174 | 4.269e-07 | -8.745e-07 | 0.0035716 | 0.003572 | 0.003572 | 0.99024 | -0.18827 | 0.99005 | -0.19206 | 0.98131
10 | 0.0010117 | 0.00025269 | -0.0010116 | -0.00025354 | 5.9222e-08 | -8.4367e-07 | 0.0015189 | 0.0015192 | 0.0015192 | 0.99091 | -0.17525 | 0.99085 | -0.17648 | 0.41736
11 | -0.020937 | -0.0052463 | 0.020951 | 0.005255 | 1.4449e-05 | 8.7399e-06 | 0.03136 | 0.03136 | 0.03136 | 0.99343 | -0.12643 | 0.99417 | -0.11195 | 8.6153
12 | 0.0012921 | 0.00032056 | -0.0012919 | -0.00032184 | 1.5114e-07 | -1.2777e-06 | 0.0019412 | 0.0019416 | 0.0019416 | 0.98988 | -0.1954 | 0.98975 | -0.19788 | 0.53342
13 | -0.0023772 | -0.00059251 | 0.0023775 | 0.00059179 | 3.4977e-07 | -7.1594e-07 | 0.0035723 | 0.003572 | 0.0035723 | 0.98988 | -0.1954 | 0.99004 | -0.1923 | 0.98141
14 | 0.00063626 | 0.00015751 | -0.00063622 | -0.00015909 | 4.2977e-08 | -1.5834e-06 | 0.00095588 | 0.00095645 | 0.00095645 | 0.98975 | -0.19788 | 0.98968 | -0.1993 | 0.26276
15 | -0.0023775 | -0.00059179 | 0.0023776 | 0.00059174 | 2.7368e-08 | -5.604e-08 | 0.003572 | 0.003572 | 0.003572 | 0.99004 | -0.1923 | 0.99005 | -0.19206 | 0.98131
16 | 0.00037687 | 9.4092e-05 | -0.00037687 | -9.4452e-05 | 3.3956e-09 | -3.6029e-07 | 0.00056651 | 0.00056664 | 0.00056664 | 0.98968 | -0.1993 | 0.98967 | -0.19949 | 0.15567
17 | 0.13226 | 0.033662 | -0.13186 | -0.033405 | 0.00040226 | 0.00025709 | 0.19717 | 0.19717 | 0.19717 | 0.99906 | -0.017771 | 0.99575 | -0.081069 | 54.1672
18 | -0.13828 | -0.035172 | 0.1384 | 0.035247 | 0.00011852 | 7.5754e-05 | 0.20614 | 0.20614 | 0.20614 | 0.99906 | -0.017771 | 1 | 0 | 56.6311
19 | 0.12278 | 0.03113 | -0.12228 | -0.030811 | 0.00049867 | 0.00031864 | 0.1836 | 0.1836 | 0.1836 | 0.99575 | -0.081069 | 0.99133 | -0.16594 | 50.4401
20 | 0.023846 | 0.0059823 | -0.023838 | -0.0059774 | 8.0766e-06 | 4.9447e-06 | 0.035486 | 0.035486 | 0.035486 | 1 | 0 | 0.99963 | -0.0071067 | 9.7489
21 | 0.028406 | 0.0071738 | -0.028353 | -0.007141 | 5.2863e-05 | 3.28e-05 | 0.042288 | 0.042288 | 0.042288 | 1 | 0 | 0.99797 | -0.038913 | 11.6176
22 | 0.028875 | 0.0072429 | -0.028862 | -0.0072344 | 1.3618e-05 | 8.4665e-06 | 0.043345 | 0.043345 | 0.043345 | 0.99133 | -0.16594 | 0.99082 | -0.17584 | 11.908
23 | 0.093403 | 0.023568 | -0.093218 | -0.02345 | 0.00018502 | 0.00011809 | 0.14026 | 0.14026 | 0.14026 | 0.99133 | -0.16594 | 0.98919 | -0.2074 | 38.5322
24 | 0.017418 | 0.0043683 | -0.017411 | -0.0043643 | 6.7299e-06 | 3.9574e-06 | 0.025929 | 0.025929 | 0.025929 | 0.99963 | -0.0071067 | 0.99921 | -0.015216 | 7.1233
25 | 0.02543 | 0.0064084 | -0.025422 | -0.0064033 | 8.2195e-06 | 5.0615e-06 | 0.03793 | 0.03793 | 0.03793 | 0.99797 | -0.038913 | 0.99762 | -0.045672 | 10.4203
26 | 0.019299 | 0.0048377 | -0.019299 | -0.0048376 | 1.2863e-07 | 7.7067e-08 | 0.028983 | 0.028983 | 0.028983 | 0.99082 | -0.17584 | 0.99081 | -0.17598 | 7.9624
27 | 0.086957 | 0.021881 | -0.086843 | -0.021809 | 0.00011357 | 7.2459e-05 | 0.13084 | 0.13084 | 0.13084 | 0.98919 | -0.2074 | 0.98778 | -0.23477 | 35.9447
28 | 0.011543 | 0.0028936 | -0.01154 | -0.0028922 | 2.6121e-06 | 1.363e-06 | 0.01719 | 0.01719 | 0.01719 | 0.99921 | -0.015216 | 0.99896 | -0.019967 | 4.7225
29 | 0.024263 | 0.0061129 | -0.024198 | -0.0060727 | 6.5562e-05 | 4.0223e-05 | 0.036201 | 0.036202 | 0.036202 | 0.99762 | -0.045672 | 0.99467 | -0.10233 | 9.9456
30 | 0.010869 | 0.0027249 | -0.010867 | -0.0027242 | 1.4534e-06 | 7.4288e-07 | 0.016323 | 0.016323 | 0.016323 | 0.99081 | -0.17598 | 0.99067 | -0.17879 | 4.4844
31 | 0.08164 | 0.020505 | -0.081637 | -0.020502 | 3.4159e-06 | 2.1785e-06 | 0.123 | 0.123 | 0.123 | 0.98778 | -0.23477 | 0.98773 | -0.23565 | 33.7914
32 | 0.0055526 | 0.0013916 | -0.0055523 | -0.0013915 | 2.2554e-07 | 2.9245e-08 | 0.0082709 | 0.0082709 | 0.0082709 | 0.99896 | -0.019967 | 0.99892 | -0.020819 | 2.2722
33 | 0.024198 | 0.0060727 | -0.024186 | -0.0060659 | 1.1097e-05 | 6.8094e-06 | 0.036202 | 0.036202 | 0.036202 | 0.99467 | -0.10233 | 0.99417 | -0.11195 | 9.9456
34 | 0.064453 | 0.016196 | -0.064392 | -0.016157 | 6.0601e-05 | 3.8566e-05 | 0.097114 | 0.097114 | 0.097114 | 0.98773 | -0.23565 | 0.98672 | -0.25536 | 26.6796
35 | 0.059895 | 0.01503 | -0.059887 | -0.015025 | 8.0716e-06 | 5.1321e-06 | 0.090331 | 0.090331 | 0.090331 | 0.98672 | -0.25536 | 0.98657 | -0.25819 | 24.8163
36 | 0.042702 | 0.010718 | -0.042679 | -0.010703 | 2.3323e-05 | 1.4735e-05 | 0.064412 | 0.064412 | 0.064412 | 0.98657 | -0.25819 | 0.98598 | -0.26965 | 17.6957
37 | 0.010867 | 0.0027242 | -0.010865 | -0.0027231 | 2.0828e-06 | 1.0647e-06 | 0.016323 | 0.016323 | 0.016323 | 0.99067 | -0.17879 | 0.99046 | -0.18281 | 4.4845
38 | 0.03834 | 0.0096159 | -0.038333 | -0.0096115 | 6.9596e-06 | 4.3835e-06 | 0.057864 | 0.057864 | 0.057864 | 0.98598 | -0.26965 | 0.98579 | -0.27346 | 15.8967
39 | 0.026904 | 0.0067471 | -0.026893 | -0.0067404 | 1.0814e-05 | 6.6982e-06 | 0.040612 | 0.040612 | 0.040612 | 0.98579 | -0.27346 | 0.98536 | -0.2819 | 11.1572
40 | 0.016308 | 0.0040875 | -0.016306 | -0.0040868 | 1.154e-06 | 6.7391e-07 | 0.024627 | 0.024627 | 0.024627 | 0.98536 | -0.2819 | 0.98528 | -0.28338 | 6.7656

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.1923 | 0.048403

## res_load
| p_mw | q_mvar
0 | 0.0023564 | 0.00059056
1 | 0.00099807 | 0.00025014
2 | 0.00086438 | 0.00021663
3 | 0.00041021 | 0.00010281
4 | 0.0072263 | 0.0018111
5 | 0.00044223 | 0.00011083
6 | 0.0052123 | 0.0013063
7 | 0.0010851 | 0.00027195
8 | 0.00065568 | 0.00016433
9 | 0.00025935 | 6.4999e-05
10 | 0.00037687 | 9.4452e-05
11 | 0.0060217 | 0.0015092
12 | 0.0090785 | 0.0022753
13 | 0.0064203 | 0.0016091
14 | 0.0029229 | 0.00073256
15 | 0.0095632 | 0.0023968
16 | 0.0062611 | 0.0015692
17 | 0.0058684 | 0.0014708
18 | 0.0011589 | 0.00029045
19 | 0.0084298 | 0.0021127
20 | 0.005203 | 0.001304
21 | 0.0059877 | 0.0015006
22 | 0.0055523 | 0.0013915
23 | 0.017184 | 0.0043066
24 | 0.0044974 | 0.0011271
25 | 0.017185 | 0.0043069
26 | 0.004339 | 0.0010875
27 | 0.011429 | 0.0028644
28 | 0.010586 | 0.002653
29 | 0.016306 | 0.0040868
30 | 0.0032353 | 0.00081085
31 | 0.0010116 | 0.00025354
32 | 0.010865 | 0.0027231

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1