## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1342-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1342-1_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1342-1_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1342-1_0_4_node_161 | 0.4 | n |  | TRUE
4 | bus_LV_1342-1_0_4_node_158 | 0.4 | n |  | TRUE
5 | bus_LV_1342-1_0_4_node_143 | 0.4 | n |  | TRUE
6 | bus_LV_1342-1_0_4_node_144 | 0.4 | n |  | TRUE
7 | bus_LV_1342-1_0_4_node_145 | 0.4 | n |  | TRUE
8 | bus_LV_1342-1_0_4_node_146 | 0.4 | n |  | TRUE
9 | bus_LV_1342-1_0_4_node_150 | 0.4 | n |  | TRUE
10 | bus_LV_1342-1_0_4_node_166 | 0.4 | n |  | TRUE
11 | bus_LV_1342-1_0_4_node_147 | 0.4 | n |  | TRUE
12 | bus_LV_1342-1_0_4_node_148 | 0.4 | n |  | TRUE
13 | bus_LV_1342-1_0_4_node_149 | 0.4 | n |  | TRUE
14 | bus_LV_1342-1_0_4_node_151 | 0.4 | n |  | TRUE
15 | bus_LV_1342-1_0_4_node_154 | 0.4 | n |  | TRUE
16 | bus_LV_1342-1_0_4_node_152 | 0.4 | n |  | TRUE
17 | bus_LV_1342-1_0_4_node_153 | 0.4 | n |  | TRUE
18 | bus_LV_1342-1_0_4_node_155 | 0.4 | n |  | TRUE
19 | bus_LV_1342-1_0_4_node_156 | 0.4 | n |  | TRUE
20 | bus_LV_1342-1_0_4_node_157 | 0.4 | n |  | TRUE
21 | bus_LV_1342-1_0_4_node_159 | 0.4 | n |  | TRUE
22 | bus_LV_1342-1_0_4_node_185 | 0.4 | n |  | TRUE
23 | bus_LV_1342-1_0_4_node_167 | 0.4 | n |  | TRUE
24 | bus_LV_1342-1_0_4_node_160 | 0.4 | n |  | TRUE
25 | bus_LV_1342-1_0_4_node_162 | 0.4 | n |  | TRUE
26 | bus_LV_1342-1_0_4_node_165 | 0.4 | n |  | TRUE
27 | bus_LV_1342-1_0_4_node_176 | 0.4 | n |  | TRUE
28 | bus_LV_1342-1_0_4_node_163 | 0.4 | n |  | TRUE
29 | bus_LV_1342-1_0_4_node_164 | 0.4 | n |  | TRUE
30 | bus_LV_1342-1_0_4_node_168 | 0.4 | n |  | TRUE
31 | bus_LV_1342-1_0_4_node_169 | 0.4 | n |  | TRUE
32 | bus_LV_1342-1_0_4_node_170 | 0.4 | n |  | TRUE
33 | bus_LV_1342-1_0_4_node_171 | 0.4 | n |  | TRUE
34 | bus_LV_1342-1_0_4_node_172 | 0.4 | n |  | TRUE
35 | bus_LV_1342-1_0_4_node_174 | 0.4 | n |  | TRUE
36 | bus_LV_1342-1_0_4_node_173 | 0.4 | n |  | TRUE
37 | bus_LV_1342-1_0_4_node_182 | 0.4 | n |  | TRUE
38 | bus_LV_1342-1_0_4_node_179 | 0.4 | n |  | TRUE
39 | bus_LV_1342-1_0_4_node_175 | 0.4 | n |  | TRUE
40 | bus_LV_1342-1_0_4_node_177 | 0.4 | n |  | TRUE
41 | bus_LV_1342-1_0_4_node_178 | 0.4 | n |  | TRUE
42 | bus_LV_1342-1_0_4_node_180 | 0.4 | n |  | TRUE
43 | bus_LV_1342-1_0_4_node_184 | 0.4 | n |  | TRUE
44 | bus_LV_1342-1_0_4_node_181 | 0.4 | n |  | TRUE
45 | bus_LV_1342-1_0_4_node_183 | 0.4 | n |  | TRUE
46 | bus_MV_18_0_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1342-1_0_4_load_0 | 0 | 0.073343 | 0.018381 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1342-1_0_4_load_158 | 4 | 0.0026032 | 0.00065242 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1342-1_0_4_load_143 | 5 | 0.0011195 | 0.00028058 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1342-1_0_4_load_144 | 6 | 0.0010185 | 0.00025525 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1342-1_0_4_load_145 | 7 | 0.0033396 | 0.00083697 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1342-1_0_4_load_166 | 10 | 0.0010334 | 0.00025898 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1342-1_0_4_load_147 | 11 | 0.0050963 | 0.0012772 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1342-1_0_4_load_148 | 12 | 0.0029612 | 0.00074215 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1342-1_0_4_load_149 | 13 | 0.0015325 | 0.00038409 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1342-1_0_4_load_154 | 15 | 0.0014 | 0.00035087 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1342-1_0_4_load_152 | 16 | 0.00124 | 0.00031078 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1342-1_0_4_load_153 | 17 | 0.00070381 | 0.00017639 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1342-1_0_4_load_159 | 21 | 0.0058768 | 0.0014729 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1342-1_0_4_load_185 | 22 | 0.0011899 | 0.00029822 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1342-1_0_4_load_167 | 23 | 0.0085388 | 0.00214 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1342-1_0_4_load_165 | 26 | 0.0069128 | 0.0017325 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1342-1_0_4_load_176 | 27 | 0.010798 | 0.0027063 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1342-1_0_4_load_163 | 28 | 0.00095898 | 0.00024034 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1342-1_0_4_load_164 | 29 | 0.0010959 | 0.00027465 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1342-1_0_4_load_168 | 30 | 0.0084682 | 0.0021223 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1342-1_0_4_load_169 | 31 | 0.0014604 | 0.000366 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1342-1_0_4_load_171 | 33 | 0.0082231 | 0.0020609 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1342-1_0_4_load_172 | 34 | 0.0064796 | 0.0016239 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1342-1_0_4_load_182 | 37 | 0.0027481 | 0.00068874 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1342-1_0_4_load_179 | 38 | 0.0042745 | 0.0010713 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1342-1_0_4_load_175 | 39 | 0.0035777 | 0.00089667 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1342-1_0_4_load_177 | 40 | 0.0035254 | 0.00088354 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1342-1_0_4_load_180 | 42 | 0.0041312 | 0.0010354 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1342-1_0_4_load_181 | 44 | 0.0049033 | 0.0012289 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1342-1_0_4_line_0 |  | 0 | 1 | 0.011002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1342-1_0_4_line_1 |  | 1 | 2 | 0.10924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1342-1_0_4_line_2 |  | 2 | 3 | 0.042116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1342-1_0_4_line_3 |  | 2 | 4 | 0.023703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1342-1_0_4_line_4 |  | 3 | 27 | 0.032364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1342-1_0_4_line_5 |  | 3 | 24 | 0.046221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1342-1_0_4_line_6 |  | 4 | 19 | 0.010442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1342-1_0_4_line_7 |  | 5 | 6 | 0.061687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1342-1_0_4_line_8 |  | 5 | 7 | 0.066228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1342-1_0_4_line_9 |  | 6 | 8 | 0.016832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1342-1_0_4_line_10 |  | 8 | 9 | 0.042245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1342-1_0_4_line_11 |  | 8 | 10 | 0.027469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1342-1_0_4_line_12 |  | 9 | 14 | 0.069203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1342-1_0_4_line_13 |  | 9 | 13 | 0.026534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1342-1_0_4_line_14 |  | 10 | 26 | 0.043146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1342-1_0_4_line_15 |  | 11 | 12 | 0.014016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1342-1_0_4_line_16 |  | 12 | 13 | 0.024891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1342-1_0_4_line_17 |  | 14 | 15 | 0.007627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1342-1_0_4_line_18 |  | 15 | 17 | 0.05163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1342-1_0_4_line_19 |  | 16 | 17 | 0.045016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1342-1_0_4_line_20 |  | 18 | 19 | 0.036858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1342-1_0_4_line_21 |  | 18 | 20 | 0.00455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1342-1_0_4_line_22 |  | 19 | 21 | 0.014205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1342-1_0_4_line_23 |  | 20 | 22 | 0.11699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1342-1_0_4_line_24 |  | 21 | 23 | 0.025519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1342-1_0_4_line_25 |  | 23 | 30 | 0.01492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1342-1_0_4_line_26 |  | 24 | 25 | 0.021019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1342-1_0_4_line_27 |  | 24 | 26 | 0.051536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1342-1_0_4_line_28 |  | 25 | 28 | 0.035272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1342-1_0_4_line_29 |  | 27 | 39 | 0.0091667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1342-1_0_4_line_30 |  | 28 | 29 | 0.024323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1342-1_0_4_line_31 |  | 31 | 32 | 0.043566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1342-1_0_4_line_32 |  | 31 | 33 | 0.0029656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1342-1_0_4_line_33 |  | 32 | 34 | 0.056251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1342-1_0_4_line_34 |  | 34 | 35 | 0.036249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1342-1_0_4_line_35 |  | 35 | 38 | 0.014546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1342-1_0_4_line_36 |  | 35 | 36 | 0.031627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1342-1_0_4_line_37 |  | 36 | 37 | 0.021224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1342-1_0_4_line_38 |  | 37 | 44 | 0.023254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1342-1_0_4_line_39 |  | 39 | 40 | 0.033912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1342-1_0_4_line_40 |  | 40 | 41 | 0.0064359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1342-1_0_4_line_41 |  | 41 | 42 | 0.012612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1342-1_0_4_line_42 |  | 42 | 43 | 0.02082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1342-1_0_4_line_43 |  | 43 | 45 | 0.01569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1342-1_0_4_line_44 |  | 44 | 45 | 0.0016643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1342-1_0_4_trafo_160 | 0.63 MVA 20/0.4 kV | 46 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2709166.9096 | 1226625.7792 | 2709173.7532 | 1226621.357 | 2709176.0965 | 1226619.7277
1 | 2709071.8203 | 1226657.9264 | 2709081.579 | 1226654.525 | 2709100.9353 | 1226645.7621 | 2709117.0458 | 1226638.7077 | 2709132.4957 | 1226632.1306 | 2709139.5942 | 1226640.2558 | 2709146.3249 | 1226641.1577 | 2709150.15 | 1226638.448 | 2709154.2609 | 1226635.4545 | 2709166.9096 | 1226625.7792
2 | 2709053.3972 | 1226626.9765 | 2709055.3166 | 1226629.7916 | 2709057.9454 | 1226631.9637 | 2709061.082 | 1226633.311 | 2709064.4705 | 1226633.7401 | 2709067.8464 | 1226633.2016 | 2709070.9664 | 1226650.7498 | 2709071.8203 | 1226657.9264
3 | 2709071.8203 | 1226657.9264 | 2709075.3268 | 1226670.9338 | 2709077.6239 | 1226680.9036
4 | 2709053.3972 | 1226626.9765 | 2709024.0288 | 1226640.5757
5 | 2709053.3972 | 1226626.9765 | 2709055.3166 | 1226629.7916 | 2709057.9454 | 1226631.9637 | 2709061.082 | 1226633.311 | 2709064.4705 | 1226633.7401 | 2709067.8464 | 1226633.2016 | 2709071.4277 | 1226631.3881 | 2709074.2172 | 1226628.5149 | 2709075.9061 | 1226624.8875 | 2709076.3128 | 1226620.9031 | 2709075.3834 | 1226617.0165 | 2709083.3058 | 1226612.4694
6 | 2709079.9684 | 1226691.0785 | 2709077.6239 | 1226680.9036
7 | 2709139.0108 | 1226513.7011 | 2709159.4322 | 1226523.0758 | 2709176.8344 | 1226527.4539 | 2709185.4799 | 1226533.0834 | 2709189.8062 | 1226541.0688 | 2709190.1604 | 1226542.9083
8 | 2709109.6092 | 1226456.4785 | 2709115.1447 | 1226476.2505 | 2709126.0036 | 1226493.8851 | 2709133.217 | 1226511.0414 | 2709139.0108 | 1226513.7011
9 | 2709193.3429 | 1226559.4365 | 2709190.1604 | 1226542.9083
10 | 2709193.3429 | 1226559.4365 | 2709222.4933 | 1226545.3831 | 2709231.5468 | 1226541.1794
11 | 2709193.3429 | 1226559.4365 | 2709168.5982 | 1226571.3623
12 | 2709231.5468 | 1226541.1794 | 2709246.5495 | 1226534.2051 | 2709268.607 | 1226522.8794 | 2709271.147 | 1226521.625 | 2709276.6728 | 1226531.5785 | 2709277.962 | 1226534.4487 | 2709282.3895 | 1226536.098 | 2709288.151 | 1226535.7035
13 | 2709231.5468 | 1226541.1794 | 2709223.6809 | 1226523.2437 | 2709221.9446 | 1226516.5151
14 | 2709129.7308 | 1226590.0946 | 2709168.5982 | 1226571.3623
15 | 2709216.94 | 1226478.4119 | 2709215.9526 | 1226492.393
16 | 2709221.9446 | 1226516.5151 | 2709215.9027 | 1226493.1005 | 2709215.9526 | 1226492.393
17 | 2709288.151 | 1226535.7035 | 2709295.2012 | 1226538.6129 | 2709295.2012 | 1226538.6129
18 | 2709295.2012 | 1226538.6129 | 2709318.3493 | 1226580.959 | 2709315.5933 | 1226582.8984
19 | 2709303.3515 | 1226616.9596 | 2709296.5748 | 1226596.2816 | 2709315.5933 | 1226582.8984
20 | 2709088.8422 | 1226726.8126 | 2709085.937 | 1226711.6145 | 2709079.9684 | 1226691.0785
21 | 2709089.5482 | 1226731.3067 | 2709088.8422 | 1226726.8126
22 | 2709079.9684 | 1226691.0785 | 2709066.4426 | 1226695.4177
23 | 2709089.5482 | 1226731.3067 | 2709194.7149 | 1226783.197
24 | 2709042.1433 | 1226703.2132 | 2709066.4426 | 1226695.4177
25 | 2709027.9364 | 1226707.7709 | 2709042.1433 | 1226703.2132
26 | 2709079.8044 | 1226591.7451 | 2709083.3058 | 1226612.4694
27 | 2709083.3058 | 1226612.4694 | 2709129.7308 | 1226590.0946
28 | 2709079.8044 | 1226591.7451 | 2709075.7999 | 1226556.7009
29 | 2709015.7106 | 1226644.4275 | 2709024.0288 | 1226640.5757
30 | 2709075.7999 | 1226556.7009 | 2709075.7999 | 1226556.7009 | 2709051.5022 | 1226557.798
31 | 2708961.2491 | 1226547.4731 | 2708974.9902 | 1226548.0918 | 2708981.9519 | 1226548.3973 | 2709004.6129 | 1226551.2732
32 | 2709007.5549 | 1226551.6465 | 2709004.6129 | 1226551.2732
33 | 2708961.2491 | 1226547.4731 | 2708962.6197 | 1226551.7014 | 2708973.6313 | 1226557.2961 | 2708981.2227 | 1226596.014
34 | 2708964.1579 | 1226615.8667 | 2708984.239 | 1226611.3978 | 2708981.2227 | 1226596.014
35 | 2708964.1579 | 1226615.8667 | 2708966.1721 | 1226630.2725
36 | 2708935.4127 | 1226615.7181 | 2708957.5273 | 1226612.8097 | 2708962.8241 | 1226612.1173 | 2708964.1579 | 1226615.8667
37 | 2708935.4127 | 1226615.7181 | 2708938.6828 | 1226626.7529 | 2708940.4387 | 1226636.3079
38 | 2708944.6416 | 1226659.1786 | 2708940.4387 | 1226636.3079
39 | 2709015.7106 | 1226644.4275 | 2709001.6331 | 1226650.9462 | 2708994.1323 | 1226654.4225 | 2708984.9399 | 1226658.6806
40 | 2708979.1001 | 1226661.3858 | 2708984.9399 | 1226658.6806
41 | 2708979.1001 | 1226661.3858 | 2708967.7508 | 1226666.8859
42 | 2708949.0163 | 1226675.9681 | 2708959.3349 | 1226670.9644 | 2708967.7508 | 1226666.8859
43 | 2708949.0163 | 1226675.9681 | 2708944.9424 | 1226660.8154
44 | 2708944.9424 | 1226660.8154 | 2708944.6416 | 1226659.1786

## bus_geodata
| x | y | coords
0 | 2709176.0965 | 1226619.7277
1 | 2709166.9096 | 1226625.7792
2 | 2709071.8203 | 1226657.9264
3 | 2709053.3972 | 1226626.9765
4 | 2709077.6239 | 1226680.9036
5 | 2709139.0108 | 1226513.7011
6 | 2709190.1604 | 1226542.9083
7 | 2709109.6092 | 1226456.4785
8 | 2709193.3429 | 1226559.4365
9 | 2709231.5468 | 1226541.1794
10 | 2709168.5982 | 1226571.3623
11 | 2709216.94 | 1226478.4119
12 | 2709215.9526 | 1226492.393
13 | 2709221.9446 | 1226516.5151
14 | 2709288.151 | 1226535.7035
15 | 2709295.2012 | 1226538.6129
16 | 2709303.3515 | 1226616.9596
17 | 2709315.5933 | 1226582.8984
18 | 2709088.8422 | 1226726.8126
19 | 2709079.9684 | 1226691.0785
20 | 2709089.5482 | 1226731.3067
21 | 2709066.4426 | 1226695.4177
22 | 2709194.7149 | 1226783.197
23 | 2709042.1433 | 1226703.2132
24 | 2709083.3058 | 1226612.4694
25 | 2709079.8044 | 1226591.7451
26 | 2709129.7308 | 1226590.0946
27 | 2709024.0288 | 1226640.5757
28 | 2709075.7999 | 1226556.7009
29 | 2709051.5022 | 1226557.798
30 | 2709027.9364 | 1226707.7709
31 | 2709004.6129 | 1226551.2732
32 | 2708961.2491 | 1226547.4731
33 | 2709007.5549 | 1226551.6465
34 | 2708981.2227 | 1226596.014
35 | 2708964.1579 | 1226615.8667
36 | 2708935.4127 | 1226615.7181
37 | 2708940.4387 | 1226636.3079
38 | 2708966.1721 | 1226630.2725
39 | 2709015.7106 | 1226644.4275
40 | 2708984.9399 | 1226658.6806
41 | 2708979.1001 | 1226661.3858
42 | 2708967.7508 | 1226666.8859
43 | 2708949.0163 | 1226675.9681
44 | 2708944.6416 | 1226659.1785
45 | 2708944.9424 | 1226660.8154
46 | 2709075.3834 | 1226617.0165

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98482 | -0.29206 | 0.073343 | 0.018381
1 | 0.98556 | -0.27757 | 0 | 0
2 | 0.99294 | -0.13487 | 0 | 0
3 | 0.99681 | -0.060682 | 0 | 0
4 | 0.99236 | -0.14606 | 0.0026032 | 0.00065242
5 | 0.99721 | -0.053703 | 0.0011195 | 0.00028058
6 | 0.99746 | -0.04888 | 0.0010185 | 0.00025525
7 | 0.99701 | -0.057582 | 0.0033396 | 0.00083697
8 | 0.99754 | -0.047263 | 0 | 0
9 | 0.99705 | -0.056845 | 0 | 0
10 | 0.998 | -0.038402 | 0.0010334 | 0.00025898
11 | 0.99657 | -0.066081 | 0.0050963 | 0.0012772
12 | 0.99663 | -0.064827 | 0.0029612 | 0.00074215
13 | 0.99681 | -0.061308 | 0.0015325 | 0.00038409
14 | 0.99683 | -0.060908 | 0 | 0
15 | 0.99681 | -0.061356 | 0.0014 | 0.00035087
16 | 0.99667 | -0.064099 | 0.00124 | 0.00031078
17 | 0.99672 | -0.063119 | 0.00070381 | 0.00017639
18 | 0.99209 | -0.15129 | 0 | 0
19 | 0.99213 | -0.15051 | 0 | 0
20 | 0.99209 | -0.15138 | 0 | 0
21 | 0.99184 | -0.15627 | 0.0058768 | 0.0014729
22 | 0.99196 | -0.15385 | 0.0011899 | 0.00029822
23 | 0.99144 | -0.16396 | 0.0085388 | 0.00214
24 | 1 | 0 | -0.18186 | -0.045792
25 | 0.99996 | -0.00075368 | 0 | 0
26 | 0.99877 | -0.02372 | 0.0069128 | 0.0017325
27 | 0.99533 | -0.089185 | 0.010798 | 0.0027063
28 | 0.9999 | -0.002018 | 0.00095898 | 0.00024034
29 | 0.99987 | -0.0024828 | 0.0010959 | 0.00027465
30 | 0.99132 | -0.1662 | 0.0084682 | 0.0021223
31 | 0.98945 | -0.20302 | 0.0014604 | 0.000366
32 | 0.98983 | -0.19551 | 0 | 0
33 | 0.98942 | -0.20345 | 0.0082231 | 0.0020609
34 | 0.99033 | -0.18582 | 0.0064796 | 0.0016239
35 | 0.99087 | -0.17542 | 0 | 0
36 | 0.99146 | -0.16394 | 0 | 0
37 | 0.99186 | -0.15625 | 0.0027481 | 0.00068874
38 | 0.99081 | -0.17652 | 0.0042745 | 0.0010713
39 | 0.995 | -0.09553 | 0.0035777 | 0.00089667
40 | 0.99389 | -0.1169 | 0.0035254 | 0.00088354
41 | 0.9937 | -0.12056 | 0 | 0
42 | 0.99333 | -0.12774 | 0.0041312 | 0.0010354
43 | 0.9928 | -0.13808 | 0 | 0
44 | 0.99235 | -0.1467 | 0.0049033 | 0.0012289
45 | 0.99239 | -0.14588 | 0 | 0
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.073343 | -0.018381 | 0.073394 | 0.018414 | 5.0668e-05 | 3.2287e-05 | 0.11082 | 0.11082 | 0.11082 | 0.98482 | -0.29206 | 0.98556 | -0.27757 | 30.4445
1 | -0.073394 | -0.018414 | 0.073897 | 0.018734 | 0.00050307 | 0.00032056 | 0.11082 | 0.11082 | 0.11082 | 0.98556 | -0.27757 | 0.99294 | -0.13487 | 30.4444
2 | -0.10061 | -0.025438 | 0.10097 | 0.025668 | 0.00035938 | 0.00022946 | 0.15085 | 0.15085 | 0.15085 | 0.99294 | -0.13487 | 0.99681 | -0.060682 | 41.4417
3 | 0.02671 | 0.0067038 | -0.026696 | -0.006695 | 1.4243e-05 | 8.8094e-06 | 0.040031 | 0.040031 | 0.040031 | 0.99294 | -0.13487 | 0.99236 | -0.14606 | 10.9975
4 | 0.050327 | 0.012688 | -0.050258 | -0.012645 | 6.8547e-05 | 4.3449e-05 | 0.075153 | 0.075153 | 0.075153 | 0.99681 | -0.060682 | 0.99533 | -0.089185 | 20.6464
5 | -0.15129 | -0.038356 | 0.15174 | 0.038638 | 0.00044265 | 0.00028209 | 0.226 | 0.226 | 0.226 | 0.99681 | -0.060682 | 1 | 0 | 31.044
6 | 0.024092 | 0.0060425 | -0.024087 | -0.0060394 | 5.1106e-06 | 3.1359e-06 | 0.036127 | 0.036127 | 0.036127 | 0.99236 | -0.14606 | 0.99213 | -0.15051 | 9.9251
7 | -0.0044597 | -0.0011171 | 0.0044607 | 0.0011169 | 1.0243e-06 | -1.4942e-07 | 0.0066545 | 0.0066542 | 0.0066545 | 0.99721 | -0.053703 | 0.99746 | -0.04888 | 1.8282
8 | 0.0033402 | 0.0008365 | -0.0033396 | -0.00083697 | 6.1694e-07 | -4.6901e-07 | 0.0049839 | 0.0049842 | 0.0049842 | 0.99721 | -0.053703 | 0.99701 | -0.057582 | 1.3693
9 | -0.0054792 | -0.0013722 | 0.0054796 | 0.0013722 | 4.2168e-07 | 5.0154e-08 | 0.0081736 | 0.0081735 | 0.0081736 | 0.99746 | -0.04888 | 0.99754 | -0.047263 | 2.2455
10 | 0.012944 | 0.0032446 | -0.012938 | -0.0032414 | 5.9065e-06 | 3.2289e-06 | 0.019309 | 0.019309 | 0.019309 | 0.99754 | -0.047263 | 0.99705 | -0.056845 | 5.3047
11 | -0.018424 | -0.0046168 | 0.018432 | 0.0046215 | 7.78e-06 | 4.6204e-06 | 0.027483 | 0.027482 | 0.027483 | 0.99754 | -0.047263 | 0.998 | -0.038402 | 7.5501
12 | 0.0033448 | 0.00083638 | -0.0033441 | -0.00083687 | 6.4653e-07 | -4.8857e-07 | 0.0049912 | 0.0049915 | 0.0049915 | 0.99705 | -0.056845 | 0.99683 | -0.060908 | 1.3713
13 | 0.0095937 | 0.002405 | -0.0095917 | -0.002404 | 2.0399e-06 | 9.5955e-07 | 0.014318 | 0.014318 | 0.014318 | 0.99705 | -0.056845 | 0.99681 | -0.061308 | 3.9336
14 | -0.019465 | -0.0048804 | 0.019479 | 0.0048886 | 1.3629e-05 | 8.1582e-06 | 0.029023 | 0.029023 | 0.029023 | 0.998 | -0.038402 | 0.99877 | -0.02372 | 7.9734
15 | -0.0050963 | -0.0012772 | 0.0050966 | 0.0012773 | 3.0434e-07 | 1.2146e-08 | 0.0076095 | 0.0076094 | 0.0076095 | 0.99657 | -0.066081 | 0.99663 | -0.064827 | 2.0905
16 | -0.0080578 | -0.0020194 | 0.0080591 | 0.0020199 | 1.351e-06 | 5.402e-07 | 0.012031 | 0.01203 | 0.012031 | 0.99663 | -0.064827 | 0.99681 | -0.061308 | 3.3051
17 | 0.0033441 | 0.00083687 | -0.0033441 | -0.00083692 | 7.1259e-08 | -5.382e-08 | 0.0049915 | 0.0049915 | 0.0049915 | 0.99683 | -0.060908 | 0.99681 | -0.061356 | 1.3713
18 | 0.001944 | 0.00048605 | -0.0019439 | -0.00048662 | 1.6302e-07 | -5.6864e-07 | 0.0029016 | 0.0029018 | 0.0029018 | 0.99681 | -0.061356 | 0.99672 | -0.063119 | 0.79721
19 | -0.00124 | -0.00031078 | 0.0012401 | 0.00031023 | 5.7851e-08 | -5.4965e-07 | 0.0018513 | 0.0018511 | 0.0018513 | 0.99667 | -0.064099 | 0.99672 | -0.063119 | 0.50861
20 | -0.00119 | -0.00029674 | 0.0011901 | 0.00029629 | 4.4005e-08 | -4.4779e-07 | 0.0017844 | 0.0017842 | 0.0017844 | 0.99209 | -0.15129 | 0.99213 | -0.15051 | 0.49022
21 | 0.00119 | 0.00029674 | -0.00119 | -0.0002968 | 5.4328e-09 | -5.5275e-08 | 0.0017844 | 0.0017844 | 0.0017844 | 0.99209 | -0.15129 | 0.99209 | -0.15138 | 0.49022
22 | 0.022897 | 0.0057431 | -0.022891 | -0.0057393 | 6.2827e-06 | 3.8376e-06 | 0.034343 | 0.034343 | 0.034343 | 0.99213 | -0.15051 | 0.99184 | -0.15627 | 9.435
23 | 0.00119 | 0.0002968 | -0.0011899 | -0.00029822 | 1.3974e-07 | -1.4211e-06 | 0.0017844 | 0.0017849 | 0.0017849 | 0.99209 | -0.15138 | 0.99196 | -0.15385 | 0.49037
24 | 0.017014 | 0.0042664 | -0.017008 | -0.0042627 | 6.2356e-06 | 3.6616e-06 | 0.025527 | 0.025527 | 0.025527 | 0.99184 | -0.15627 | 0.99144 | -0.16396 | 7.0128
25 | 0.0084691 | 0.0021227 | -0.0084682 | -0.0021223 | 9.04e-07 | 3.8618e-07 | 0.012711 | 0.012711 | 0.012711 | 0.99144 | -0.16396 | 0.99132 | -0.1662 | 3.4921
26 | 0.0020551 | 0.00051408 | -0.002055 | -0.0005143 | 7.3693e-08 | -2.2858e-07 | 0.0030576 | 0.0030577 | 0.0030577 | 1 | 0 | 0.99996 | -0.00075368 | 0.84003
27 | 0.026421 | 0.0066396 | -0.026392 | -0.0066211 | 2.9882e-05 | 1.8449e-05 | 0.039322 | 0.039322 | 0.039322 | 1 | 0 | 0.99877 | -0.02372 | 10.8027
28 | 0.002055 | 0.0005143 | -0.0020549 | -0.00051469 | 1.2368e-07 | -3.8353e-07 | 0.0030577 | 0.0030579 | 0.0030579 | 0.99996 | -0.00075368 | 0.9999 | -0.002018 | 0.84008
29 | 0.03946 | 0.0099384 | -0.039448 | -0.0099309 | 1.197e-05 | 7.5416e-06 | 0.059009 | 0.059009 | 0.059009 | 0.99533 | -0.089185 | 0.995 | -0.09553 | 16.2114
30 | 0.0010959 | 0.00027435 | -0.0010959 | -0.00027465 | 2.4258e-08 | -3.0349e-07 | 0.0016308 | 0.0016309 | 0.0016309 | 0.9999 | -0.002018 | 0.99987 | -0.0024828 | 0.44804
31 | -0.0096836 | -0.002427 | 0.0096871 | 0.0024286 | 3.4648e-06 | 1.6577e-06 | 0.014563 | 0.014563 | 0.014563 | 0.98945 | -0.20302 | 0.98983 | -0.19551 | 4.0009
32 | 0.0082233 | 0.002061 | -0.0082231 | -0.0020609 | 1.7008e-07 | 7.0766e-08 | 0.012367 | 0.012367 | 0.012367 | 0.98945 | -0.20302 | 0.98942 | -0.20345 | 3.3975
33 | -0.0096871 | -0.0024286 | 0.0096916 | 0.0024308 | 4.4736e-06 | 2.1397e-06 | 0.014563 | 0.014563 | 0.014563 | 0.98983 | -0.19551 | 0.99033 | -0.18582 | 4.0008
34 | -0.016171 | -0.0040547 | 0.016179 | 0.0040594 | 8.0258e-06 | 4.6698e-06 | 0.024299 | 0.024298 | 0.024299 | 0.99033 | -0.18582 | 0.99087 | -0.17542 | 6.6754
35 | 0.0042748 | 0.0010713 | -0.0042745 | -0.0010713 | 2.2479e-07 | -4.3485e-08 | 0.0064195 | 0.0064196 | 0.0064196 | 0.99087 | -0.17542 | 0.99081 | -0.17652 | 1.7636
36 | -0.020454 | -0.0051306 | 0.020465 | 0.0051374 | 1.1191e-05 | 6.7546e-06 | 0.030718 | 0.030718 | 0.030718 | 0.99087 | -0.17542 | 0.99146 | -0.16394 | 8.439
37 | -0.020465 | -0.0051374 | 0.020473 | 0.0051419 | 7.51e-06 | 4.5326e-06 | 0.030718 | 0.030718 | 0.030718 | 0.99146 | -0.16394 | 0.99186 | -0.15625 | 8.439
38 | -0.023221 | -0.0058307 | 0.023231 | 0.0058372 | 1.0585e-05 | 6.4741e-06 | 0.034841 | 0.03484 | 0.034841 | 0.99186 | -0.15625 | 0.99235 | -0.1467 | 9.5716
39 | 0.03587 | 0.0090342 | -0.035833 | -0.0090112 | 3.6615e-05 | 2.2994e-05 | 0.053659 | 0.053659 | 0.053659 | 0.995 | -0.09553 | 0.99389 | -0.1169 | 14.7415
40 | 0.032308 | 0.0081277 | -0.032302 | -0.0081241 | 5.6492e-06 | 3.5321e-06 | 0.048381 | 0.048381 | 0.048381 | 0.99389 | -0.1169 | 0.9937 | -0.12056 | 13.2915
41 | 0.032302 | 0.0081241 | -0.032291 | -0.0081172 | 1.107e-05 | 6.9217e-06 | 0.048381 | 0.048381 | 0.048381 | 0.9937 | -0.12056 | 0.99333 | -0.12774 | 13.2915
42 | 0.02816 | 0.0070818 | -0.028146 | -0.0070732 | 1.3899e-05 | 8.626e-06 | 0.042193 | 0.042193 | 0.042193 | 0.99333 | -0.12774 | 0.9928 | -0.13808 | 11.5914
43 | 0.028146 | 0.0070732 | -0.028136 | -0.0070667 | 1.0474e-05 | 6.5008e-06 | 0.042193 | 0.042193 | 0.042193 | 0.9928 | -0.13808 | 0.99239 | -0.14588 | 11.5914
44 | -0.028135 | -0.007066 | 0.028136 | 0.0070667 | 1.111e-06 | 6.8957e-07 | 0.042193 | 0.042193 | 0.042193 | 0.99235 | -0.1467 | 0.99239 | -0.14588 | 11.5914

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.18186 | 0.045792

## res_load
| p_mw | q_mvar
0 | 0.073343 | 0.018381
1 | 0.0026032 | 0.00065242
2 | 0.0011195 | 0.00028058
3 | 0.0010185 | 0.00025525
4 | 0.0033396 | 0.00083697
5 | 0.0010334 | 0.00025898
6 | 0.0050963 | 0.0012772
7 | 0.0029612 | 0.00074215
8 | 0.0015325 | 0.00038409
9 | 0.0014 | 0.00035087
10 | 0.00124 | 0.00031078
11 | 0.00070381 | 0.00017639
12 | 0.0058768 | 0.0014729
13 | 0.0011899 | 0.00029822
14 | 0.0085388 | 0.00214
15 | 0.0069128 | 0.0017325
16 | 0.010798 | 0.0027063
17 | 0.00095898 | 0.00024034
18 | 0.0010959 | 0.00027465
19 | 0.0084682 | 0.0021223
20 | 0.0014604 | 0.000366
21 | 0.0082231 | 0.0020609
22 | 0.0064796 | 0.0016239
23 | 0.0027481 | 0.00068874
24 | 0.0042745 | 0.0010713
25 | 0.0035777 | 0.00089667
26 | 0.0035254 | 0.00088354
27 | 0.0041312 | 0.0010354
28 | 0.0049033 | 0.0012289

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1