## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1342-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1342-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1342-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1342-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1342-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1342-5_0_4_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_1342-5_0_4_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_1342-5_0_4_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_1342-5_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1342-5_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1342-5_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1342-5_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1342-5_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_1342-5_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1342-5_0_4_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1342-5_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1342-5_0_4_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_1342-5_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1342-5_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1342-5_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1342-5_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1342-5_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1342-5_0_4_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_1342-5_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1342-5_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1342-5_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1342-5_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1342-5_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1342-5_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1342-5_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1342-5_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1342-5_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1342-5_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1342-5_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1342-5_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1342-5_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1342-5_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_1342-5_0_4_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_1342-5_0_4_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_1342-5_0_4_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_1342-5_0_4_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_1342-5_0_4_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_1342-5_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_1342-5_0_4_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_1342-5_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1342-5_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1342-5_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1342-5_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1342-5_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_1342-5_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1342-5_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_1342-5_0_4_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_1342-5_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_1342-5_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_1342-5_0_4_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_1342-5_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_1342-5_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_1342-5_0_4_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_1342-5_0_4_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_1342-5_0_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_1342-5_0_4_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_1342-5_0_4_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_1342-5_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_1342-5_0_4_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_1342-5_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_1342-5_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_1342-5_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_1342-5_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_1342-5_0_4_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_1342-5_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_1342-5_0_4_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_1342-5_0_4_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_1342-5_0_4_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_1342-5_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_1342-5_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_1342-5_0_4_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_1342-5_0_4_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_1342-5_0_4_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_1342-5_0_4_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_1342-5_0_4_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_1342-5_0_4_node_87 | 0.4 | n |  | TRUE
81 | bus_MV_18_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1342-5_0_4_load_0 | 0 | 0.0014928 | 0.00037413 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1342-5_0_4_load_1 | 1 | 0.0021021 | 0.00052683 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1342-5_0_4_load_3 | 3 | 0.0027608 | 0.00069193 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1342-5_0_4_load_52 | 5 | 0.016273 | 0.0040784 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1342-5_0_4_load_39 | 6 | 0.0043541 | 0.0010913 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1342-5_0_4_load_38 | 7 | 0.0078709 | 0.0019726 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1342-5_0_4_load_5 | 8 | 0.00091682 | 0.00022978 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1342-5_0_4_load_6 | 9 | 0.00084098 | 0.00021077 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1342-5_0_4_load_14 | 11 | 0.0071742 | 0.001798 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1342-5_0_4_load_20 | 14 | 0.0057831 | 0.0014494 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1342-5_0_4_load_17 | 15 | 0.010583 | 0.0026523 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1342-5_0_4_load_42 | 16 | 0.0052822 | 0.0013239 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1342-5_0_4_load_12 | 17 | 0.0029086 | 0.00072896 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1342-5_0_4_load_8 | 18 | 0.0083792 | 0.0021 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1342-5_0_4_load_9 | 19 | 0.0051106 | 0.0012808 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1342-5_0_4_load_11 | 20 | 0.0062665 | 0.0015705 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1342-5_0_4_load_15 | 21 | 0.010499 | 0.0026313 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1342-5_0_4_load_40 | 22 | 0.0068999 | 0.0017293 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1342-5_0_4_load_19 | 23 | 0.0046469 | 0.0011646 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1342-5_0_4_load_16 | 24 | 0.0098672 | 0.0024729 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1342-5_0_4_load_18 | 25 | 0.017556 | 0.0043999 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1342-5_0_4_load_21 | 26 | 0.0034827 | 0.00087284 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1342-5_0_4_load_22 | 27 | 0.0053246 | 0.0013345 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1342-5_0_4_load_23 | 28 | 0.0059701 | 0.0014963 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1342-5_0_4_load_24 | 29 | 0.0057518 | 0.0014415 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1342-5_0_4_load_25 | 30 | 0.0085623 | 0.0021459 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1342-5_0_4_load_26 | 31 | 0.0059891 | 0.001501 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1342-5_0_4_load_27 | 32 | 0.039734 | 0.0099584 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1342-5_0_4_load_28 | 33 | 0.031939 | 0.0080047 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1342-5_0_4_load_31 | 35 | 0.042956 | 0.010766 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1342-5_0_4_load_61 | 38 | 0.0024045 | 0.00060261 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1342-5_0_4_load_54 | 39 | 0.0031614 | 0.00079231 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1342-5_0_4_load_60 | 40 | 0.015884 | 0.0039808 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1342-5_0_4_load_45 | 42 | 0.0056069 | 0.0014052 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1342-5_0_4_load_46 | 43 | 0.029329 | 0.0073505 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1342-5_0_4_load_32 | 44 | 0.0064684 | 0.0016211 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1342-5_0_4_load_35 | 47 | 0.0065523 | 0.0016422 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1342-5_0_4_load_36 | 48 | 0.001672 | 0.00041904 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1342-5_0_4_load_37 | 50 | 0.010265 | 0.0025726 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1342-5_0_4_load_50 | 52 | 0.0015927 | 0.00039916 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1342-5_0_4_load_43 | 53 | 0.011376 | 0.0028511 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1342-5_0_4_load_81 | 54 | 0.0098981 | 0.0024807 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1342-5_0_4_load_41 | 55 | 0.0032963 | 0.00082614 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1342-5_0_4_load_47 | 56 | 0.012393 | 0.0031061 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1342-5_0_4_load_71 | 59 | 0.0047741 | 0.0011965 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1342-5_0_4_load_68 | 60 | 0.0095661 | 0.0023975 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1342-5_0_4_load_74 | 61 | 0.0051894 | 0.0013006 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1342-5_0_4_load_63 | 62 | 0.005966 | 0.0014952 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1342-5_0_4_load_69 | 63 | 0.0030963 | 0.000776 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1342-5_0_4_load_53 | 64 | 0.021528 | 0.0053954 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1342-5_0_4_load_59 | 66 | 0.018673 | 0.0046799 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1342-5_0_4_load_62 | 67 | 0.0082503 | 0.0020677 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1342-5_0_4_load_66 | 69 | 0.0078739 | 0.0019734 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1342-5_0_4_load_67 | 70 | 0.0032804 | 0.00082216 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1342-5_0_4_load_82 | 71 | 0.0022766 | 0.00057056 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1342-5_0_4_load_70 | 73 | 0.010981 | 0.0027522 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1342-5_0_4_load_72 | 74 | 0.0039595 | 0.00099234 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1342-5_0_4_load_78 | 75 | 0.011093 | 0.0027801 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1342-5_0_4_load_75 | 76 | 0.0034634 | 0.00086801 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1342-5_0_4_load_87 | 80 | 0.011523 | 0.0028878 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1342-5_0_4_line_0 |  | 0 | 1 | 0.020319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1342-5_0_4_line_1 |  | 0 | 2 | 0.0095516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1342-5_0_4_line_2 |  | 1 | 3 | 0.046162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1342-5_0_4_line_3 |  | 2 | 4 | 0.026384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1342-5_0_4_line_4 |  | 3 | 5 | 0.098134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1342-5_0_4_line_5 |  | 4 | 6 | 0.047125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1342-5_0_4_line_6 |  | 6 | 7 | 0.030991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1342-5_0_4_line_7 |  | 7 | 31 | 0.030081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1342-5_0_4_line_8 |  | 8 | 9 | 0.014407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1342-5_0_4_line_9 |  | 9 | 10 | 0.029994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1342-5_0_4_line_10 |  | 10 | 11 | 0.020252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1342-5_0_4_line_11 |  | 10 | 12 | 0.053699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1342-5_0_4_line_12 |  | 10 | 13 | 0.040605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1342-5_0_4_line_13 |  | 11 | 14 | 0.0079586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1342-5_0_4_line_14 |  | 12 | 15 | 0.018455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1342-5_0_4_line_15 |  | 12 | 16 | 0.033559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1342-5_0_4_line_16 |  | 13 | 17 | 0.012917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1342-5_0_4_line_17 |  | 13 | 18 | 0.012531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1342-5_0_4_line_18 |  | 14 | 23 | 0.023027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1342-5_0_4_line_19 |  | 15 | 21 | 0.024476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1342-5_0_4_line_20 |  | 16 | 22 | 0.0038939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1342-5_0_4_line_21 |  | 18 | 19 | 0.020415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1342-5_0_4_line_22 |  | 19 | 20 | 0.0059874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1342-5_0_4_line_23 |  | 21 | 24 | 0.031319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1342-5_0_4_line_24 |  | 22 | 55 | 0.029039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1342-5_0_4_line_25 |  | 23 | 26 | 0.012694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1342-5_0_4_line_26 |  | 24 | 25 | 0.020075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1342-5_0_4_line_27 |  | 26 | 27 | 0.0018994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1342-5_0_4_line_28 |  | 28 | 29 | 0.023833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1342-5_0_4_line_29 |  | 28 | 30 | 0.02266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1342-5_0_4_line_30 |  | 29 | 31 | 0.021863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1342-5_0_4_line_31 |  | 30 | 32 | 0.01932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1342-5_0_4_line_32 |  | 32 | 33 | 0.0030666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1342-5_0_4_line_33 |  | 33 | 34 | 0.020265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1342-5_0_4_line_34 |  | 34 | 35 | 0.010977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1342-5_0_4_line_35 |  | 35 | 36 | 0.024689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1342-5_0_4_line_36 |  | 36 | 42 | 0.015104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1342-5_0_4_line_37 |  | 36 | 43 | 0.014578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1342-5_0_4_line_38 |  | 37 | 38 | 0.0063165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1342-5_0_4_line_39 |  | 37 | 39 | 0.0093295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1342-5_0_4_line_40 |  | 38 | 43 | 0.017052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1342-5_0_4_line_41 |  | 39 | 64 | 0.013368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1342-5_0_4_line_42 |  | 40 | 41 | 0.031828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1342-5_0_4_line_43 |  | 41 | 66 | 0.02526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1342-5_0_4_line_44 |  | 41 | 65 | 0.046192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1342-5_0_4_line_45 |  | 42 | 56 | 0.0080155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1342-5_0_4_line_46 |  | 44 | 45 | 0.0033568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1342-5_0_4_line_47 |  | 44 | 46 | 0.0062769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1342-5_0_4_line_48 |  | 45 | 47 | 0.030864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1342-5_0_4_line_49 |  | 46 | 48 | 0.019703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1342-5_0_4_line_50 |  | 48 | 49 | 0.01692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1342-5_0_4_line_51 |  | 49 | 52 | 0.0067468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_1342-5_0_4_line_52 |  | 49 | 53 | 0.010538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1342-5_0_4_line_53 |  | 50 | 51 | 0.0064107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1342-5_0_4_line_54 |  | 51 | 54 | 0.020083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1342-5_0_4_line_55 |  | 52 | 59 | 0.022967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_1342-5_0_4_line_56 |  | 53 | 55 | 0.0038295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1342-5_0_4_line_57 |  | 54 | 78 | 0.021102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1342-5_0_4_line_58 |  | 56 | 57 | 0.025366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_1342-5_0_4_line_59 |  | 57 | 58 | 0.010312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1342-5_0_4_line_60 |  | 57 | 59 | 0.015653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_1342-5_0_4_line_61 |  | 57 | 60 | 0.033544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1342-5_0_4_line_62 |  | 58 | 61 | 0.01814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1342-5_0_4_line_63 |  | 58 | 62 | 0.020022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1342-5_0_4_line_64 |  | 60 | 63 | 0.0040649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1342-5_0_4_line_65 |  | 61 | 72 | 0.022968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1342-5_0_4_line_66 |  | 62 | 67 | 0.02472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1342-5_0_4_line_67 |  | 63 | 73 | 0.023496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1342-5_0_4_line_68 |  | 64 | 65 | 0.026261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1342-5_0_4_line_69 |  | 67 | 68 | 0.0090586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1342-5_0_4_line_70 |  | 68 | 69 | 0.014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1342-5_0_4_line_71 |  | 68 | 70 | 0.013259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1342-5_0_4_line_72 |  | 69 | 71 | 0.021128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1342-5_0_4_line_73 |  | 72 | 75 | 0.02304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1342-5_0_4_line_74 |  | 73 | 74 | 0.020239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1342-5_0_4_line_75 |  | 75 | 77 | 0.018978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1342-5_0_4_line_76 |  | 76 | 77 | 0.013692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1342-5_0_4_line_77 |  | 76 | 78 | 0.0086129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1342-5_0_4_line_78 |  | 77 | 79 | 0.046143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1342-5_0_4_line_79 |  | 79 | 80 | 0.030755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1342-5_0_4_trafo_31 | 0.63 MVA 20/0.4 kV | 81 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2708778.1774 | 1226261.0585 | 2708758.7778 | 1226267.1025
1 | 2708787.2967 | 1226258.2173 | 2708778.1774 | 1226261.0585
2 | 2708714.1372 | 1226278.8516 | 2708757.8333 | 1226267.3968 | 2708758.7778 | 1226267.1025
3 | 2708813.2099 | 1226252.876 | 2708787.2967 | 1226258.2173
4 | 2708714.1372 | 1226278.8516 | 2708646.4562 | 1226349.9118
5 | 2708813.2099 | 1226252.876 | 2708819.5766 | 1226256.2949 | 2708823.3625 | 1226263.1916 | 2708829.9367 | 1226294.5406
6 | 2708836.298 | 1226324.8713 | 2708832.9296 | 1226308.812 | 2708829.9367 | 1226294.5406
7 | 2708836.298 | 1226324.8713 | 2708842.4731 | 1226354.3118
8 | 2708998.6118 | 1226360.7558 | 2708992.5762 | 1226373.8374
9 | 2708980.0122 | 1226401.0731 | 2708982.1123 | 1226396.5193 | 2708988.16 | 1226383.4091 | 2708992.5762 | 1226373.8374
10 | 2708980.0122 | 1226401.0731 | 2708976.1646 | 1226399.2124 | 2708971.9562 | 1226397.1782 | 2708963.5365 | 1226391.6199 | 2708962.9529 | 1226390.5547
11 | 2708958.098 | 1226450.0976 | 2708962.9914 | 1226439.1568 | 2708977.1582 | 1226407.459 | 2708980.0122 | 1226401.0731
12 | 2709008.021 | 1226420.7676 | 2708977.1582 | 1226407.459 | 2708980.0122 | 1226401.0731
13 | 2708962.9529 | 1226390.5547 | 2708959.1291 | 1226383.5749
14 | 2708958.098 | 1226450.0976 | 2708947.4854 | 1226444.6437 | 2708944.0537 | 1226439.0966
15 | 2708958.098 | 1226450.0976 | 2708952.6963 | 1226461.8854 | 2708944.1162 | 1226480.6057
16 | 2709008.021 | 1226420.7676 | 2709013.1211 | 1226408.8966
17 | 2709008.021 | 1226420.7676 | 2709003.098 | 1226432.2906
18 | 2708959.1291 | 1226383.5749 | 2708948.0655 | 1226363.3803
19 | 2708944.0537 | 1226439.0966 | 2708934.975 | 1226424.4216 | 2708931.309 | 1226418.2015
20 | 2708942.4938 | 1226484.1455 | 2708944.1162 | 1226480.6057
21 | 2709003.098 | 1226432.2906 | 2708995.0773 | 1226451.064
22 | 2708992.725 | 1226456.57 | 2708995.0773 | 1226451.064
23 | 2708931.309 | 1226418.2015 | 2708930.4236 | 1226416.6992 | 2708919.4651 | 1226389.2296
24 | 2708942.4938 | 1226484.1455 | 2708930.9795 | 1226509.2679 | 2708930.2824 | 1226510.4862
25 | 2708941.9665 | 1226352.2476 | 2708948.0655 | 1226363.3803
26 | 2708912.0265 | 1226370.5833 | 2708919.4651 | 1226389.2296
27 | 2708941.9665 | 1226352.2476 | 2708941.0539 | 1226350.5818
28 | 2708851.8538 | 1226399.0349 | 2708846.9612 | 1226375.7091
29 | 2708851.8538 | 1226399.0349 | 2708856.5055 | 1226421.2126
30 | 2708846.9612 | 1226375.7091 | 2708842.4731 | 1226354.3118
31 | 2708856.5055 | 1226421.2126 | 2708856.6726 | 1226422.0092 | 2708861.9617 | 1226439.7436
32 | 2708862.8381 | 1226442.6823 | 2708861.9617 | 1226439.7436
33 | 2708868.6299 | 1226462.1025 | 2708862.8381 | 1226442.6823
34 | 2708868.6299 | 1226462.1025 | 2708869.8278 | 1226473.0142
35 | 2708872.522 | 1226497.5559 | 2708869.8278 | 1226473.0142
36 | 2708872.522 | 1226497.5559 | 2708877.2868 | 1226511.8886
37 | 2708872.522 | 1226497.5559 | 2708859.3003 | 1226503.696
38 | 2708838.1058 | 1226513.5384 | 2708843.8348 | 1226510.878
39 | 2708838.1058 | 1226513.5384 | 2708829.5654 | 1226517.2936
40 | 2708859.3003 | 1226503.696 | 2708843.8348 | 1226510.878
41 | 2708817.3278 | 1226522.6746 | 2708829.5654 | 1226517.2936
42 | 2708774.8219 | 1226490.8865 | 2708804.1745 | 1226478.5792
43 | 2708774.8219 | 1226490.8865 | 2708751.6367 | 1226500.9119
44 | 2708793.2884 | 1226533.2448 | 2708774.8219 | 1226490.8865
45 | 2708877.2868 | 1226511.8886 | 2708879.8153 | 1226519.4948 | 2708879.8153 | 1226519.4948
46 | 2708961.2491 | 1226547.4731 | 2708957.9535 | 1226546.8354
47 | 2708951.7909 | 1226545.643 | 2708957.9535 | 1226546.8354
48 | 2708961.2491 | 1226547.4731 | 2708962.6197 | 1226551.7014 | 2708973.6313 | 1226557.2961 | 2708976.338 | 1226571.1008
49 | 2708951.7909 | 1226545.643 | 2708947.8839 | 1226543.303 | 2708935.7095 | 1226534.2874
50 | 2708923.1474 | 1226522.9571 | 2708935.2281 | 1226533.9309 | 2708935.7095 | 1226534.2874
51 | 2708923.1474 | 1226522.9571 | 2708919.7714 | 1226525.1525 | 2708917.1724 | 1226525.9539
52 | 2708923.1474 | 1226522.9571 | 2708928.3807 | 1226513.8101
53 | 2708948.9253 | 1226572.533 | 2708947.7063 | 1226566.2392
54 | 2708948.9253 | 1226572.533 | 2708953.1198 | 1226592.1728
55 | 2708917.1724 | 1226525.9539 | 2708909.2193 | 1226528.4062 | 2708898.39 | 1226531.477 | 2708895.3593 | 1226532.9907
56 | 2708928.3807 | 1226513.8101 | 2708930.2824 | 1226510.4862
57 | 2708957.5273 | 1226612.8097 | 2708953.1198 | 1226592.1728
58 | 2708885.5455 | 1226543.9959 | 2708884.0618 | 1226530.6253 | 2708879.8153 | 1226519.4948
59 | 2708883.4275 | 1226554.0869 | 2708885.5455 | 1226543.9959
60 | 2708885.5455 | 1226543.9959 | 2708889.0478 | 1226536.1429 | 2708895.3593 | 1226532.9907
61 | 2708885.5455 | 1226543.9959 | 2708873.4763 | 1226546.0543 | 2708853.9932 | 1226554.6627
62 | 2708883.4275 | 1226554.0869 | 2708894.7352 | 1226558.8307 | 2708899.0162 | 1226562.8584
63 | 2708883.4275 | 1226554.0869 | 2708881.5935 | 1226560.258 | 2708876.5333 | 1226572.8649
64 | 2708853.9932 | 1226554.6627 | 2708850.2751 | 1226556.3055
65 | 2708915.7448 | 1226578.5968 | 2708899.0162 | 1226562.8584
66 | 2708867.3251 | 1226595.8061 | 2708876.5333 | 1226572.8649
67 | 2708828.7836 | 1226565.8011 | 2708850.2751 | 1226556.3055
68 | 2708793.2884 | 1226533.2448 | 2708817.3278 | 1226522.6746
69 | 2708863.9508 | 1226604.2127 | 2708867.3251 | 1226595.8061
70 | 2708863.9508 | 1226604.2127 | 2708878.0797 | 1226609.1992
71 | 2708863.9508 | 1226604.2127 | 2708859.0761 | 1226616.5427
72 | 2708898.5123 | 1226608.4785 | 2708884.4543 | 1226611.4489 | 2708878.0797 | 1226609.1992
73 | 2708915.7448 | 1226578.5968 | 2708917.2858 | 1226581.3826 | 2708926.4809 | 1226597.9857 | 2708926.8754 | 1226598.7688
74 | 2708810.2708 | 1226573.9808 | 2708828.7836 | 1226565.8011
75 | 2708935.4127 | 1226615.7181 | 2708926.8754 | 1226598.7688
76 | 2708935.4127 | 1226615.7181 | 2708948.988 | 1226613.9327
77 | 2708957.5273 | 1226612.8097 | 2708948.988 | 1226613.9327
78 | 2708944.9424 | 1226660.8154 | 2708938.6828 | 1226626.7529 | 2708935.4127 | 1226615.7181
79 | 2708944.9424 | 1226660.8154 | 2708938.702 | 1226663.7701 | 2708928.8591 | 1226668.0486 | 2708929.8042 | 1226671.9133 | 2708921.4625 | 1226675.6481

## bus_geodata
| x | y | coords
0 | 2708778.1774 | 1226261.0585
1 | 2708758.7778 | 1226267.1025
2 | 2708787.2967 | 1226258.2173
3 | 2708714.1372 | 1226278.8516
4 | 2708813.2099 | 1226252.876
5 | 2708646.4562 | 1226349.9118
6 | 2708829.9367 | 1226294.5406
7 | 2708836.298 | 1226324.8713
8 | 2708998.6119 | 1226360.7558
9 | 2708992.5762 | 1226373.8374
10 | 2708980.0122 | 1226401.0731
11 | 2708962.9529 | 1226390.5547
12 | 2708958.098 | 1226450.0976
13 | 2709008.021 | 1226420.7676
14 | 2708959.1291 | 1226383.5749
15 | 2708944.0537 | 1226439.0966
16 | 2708944.1162 | 1226480.6057
17 | 2709013.1211 | 1226408.8966
18 | 2709003.098 | 1226432.2906
19 | 2708995.0773 | 1226451.064
20 | 2708992.725 | 1226456.57
21 | 2708931.309 | 1226418.2015
22 | 2708942.4938 | 1226484.1455
23 | 2708948.0655 | 1226363.3803
24 | 2708919.4651 | 1226389.2296
25 | 2708912.0265 | 1226370.5833
26 | 2708941.9665 | 1226352.2476
27 | 2708941.0539 | 1226350.5818
28 | 2708851.8538 | 1226399.0349
29 | 2708846.9612 | 1226375.7091
30 | 2708856.5055 | 1226421.2126
31 | 2708842.4731 | 1226354.3118
32 | 2708861.9617 | 1226439.7436
33 | 2708862.8381 | 1226442.6823
34 | 2708868.6299 | 1226462.1025
35 | 2708869.8278 | 1226473.0142
36 | 2708872.522 | 1226497.5559
37 | 2708838.1058 | 1226513.5384
38 | 2708843.8348 | 1226510.878
39 | 2708829.5654 | 1226517.2936
40 | 2708804.1745 | 1226478.5792
41 | 2708774.8219 | 1226490.8865
42 | 2708877.2868 | 1226511.8886
43 | 2708859.3003 | 1226503.696
44 | 2708957.9535 | 1226546.8354
45 | 2708961.2491 | 1226547.4731
46 | 2708951.7909 | 1226545.643
47 | 2708976.338 | 1226571.1008
48 | 2708935.7095 | 1226534.2874
49 | 2708923.1474 | 1226522.9571
50 | 2708947.7063 | 1226566.2392
51 | 2708948.9253 | 1226572.533
52 | 2708917.1724 | 1226525.9539
53 | 2708928.3807 | 1226513.8101
54 | 2708953.1198 | 1226592.1728
55 | 2708930.2824 | 1226510.4862
56 | 2708879.8153 | 1226519.4948
57 | 2708885.5455 | 1226543.9959
58 | 2708883.4275 | 1226554.0869
59 | 2708895.3593 | 1226532.9907
60 | 2708853.9932 | 1226554.6627
61 | 2708899.0162 | 1226562.8584
62 | 2708876.5333 | 1226572.8649
63 | 2708850.2751 | 1226556.3055
64 | 2708817.3278 | 1226522.6746
65 | 2708793.2884 | 1226533.2448
66 | 2708751.6367 | 1226500.9119
67 | 2708867.3251 | 1226595.8061
68 | 2708863.9508 | 1226604.2127
69 | 2708878.0797 | 1226609.1992
70 | 2708859.0761 | 1226616.5427
71 | 2708898.5123 | 1226608.4785
72 | 2708915.7448 | 1226578.5968
73 | 2708828.7836 | 1226565.8011
74 | 2708810.2708 | 1226573.9808
75 | 2708926.8754 | 1226598.7688
76 | 2708948.988 | 1226613.9327
77 | 2708935.4127 | 1226615.7181
78 | 2708957.5273 | 1226612.8097
79 | 2708944.9424 | 1226660.8154
80 | 2708921.4625 | 1226675.6481
81 | 2708868.6299 | 1226462.1025

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98846 | -0.22218 | 0.0014928 | 0.00037413
1 | 0.98806 | -0.22985 | 0.0021021 | 0.00052683
2 | 0.98866 | -0.21833 | 0 | 0
3 | 0.98726 | -0.24555 | 0.0027608 | 0.00069193
4 | 0.98921 | -0.20769 | 0 | 0
5 | 0.98579 | -0.27416 | 0.016273 | 0.0040784
6 | 0.99019 | -0.1887 | 0.0043541 | 0.0010913
7 | 0.99096 | -0.17385 | 0.0078709 | 0.0019726
8 | 0.98054 | -0.37498 | 0.00091682 | 0.00022978
9 | 0.98055 | -0.37474 | 0.00084098 | 0.00021077
10 | 0.9806 | -0.37379 | 0 | 0
11 | 0.9801 | -0.38349 | 0.0071742 | 0.001798
12 | 0.98312 | -0.32443 | 0 | 0
13 | 0.97974 | -0.39049 | 0 | 0
14 | 0.97996 | -0.38627 | 0.0057831 | 0.0014494
15 | 0.9823 | -0.34058 | 0.010583 | 0.0026523
16 | 0.98621 | -0.26449 | 0.0052822 | 0.0013239
17 | 0.97971 | -0.39117 | 0.0029086 | 0.00072896
18 | 0.97952 | -0.39498 | 0.0083792 | 0.0021
19 | 0.9793 | -0.3992 | 0.0051106 | 0.0012808
20 | 0.97927 | -0.39988 | 0.0062665 | 0.0015705
21 | 0.98144 | -0.35737 | 0.010499 | 0.0026313
22 | 0.98658 | -0.25719 | 0.0068999 | 0.0017293
23 | 0.97967 | -0.39189 | 0.0046469 | 0.0011646
24 | 0.98064 | -0.37292 | 0.0098672 | 0.0024729
25 | 0.98032 | -0.37931 | 0.017556 | 0.0043999
26 | 0.97957 | -0.39392 | 0.0034827 | 0.00087284
27 | 0.97956 | -0.39411 | 0.0053246 | 0.0013345
28 | 0.99376 | -0.11982 | 0.0059701 | 0.0014963
29 | 0.99274 | -0.13944 | 0.0057518 | 0.0014415
30 | 0.99485 | -0.098812 | 0.0085623 | 0.0021459
31 | 0.99192 | -0.15525 | 0.0059891 | 0.001501
32 | 0.99593 | -0.078032 | 0.039734 | 0.0099584
33 | 0.99621 | -0.072598 | 0.031939 | 0.0080047
34 | 0.99867 | -0.025445 | 0 | 0
35 | 1 | 0 | -0.50202 | -0.12719
36 | 0.99726 | -0.052206 | 0 | 0
37 | 0.99474 | -0.10056 | 0 | 0
38 | 0.99509 | -0.093967 | 0.0024045 | 0.00060261
39 | 0.99424 | -0.1103 | 0.0031614 | 0.00079231
40 | 0.9908 | -0.17681 | 0.015884 | 0.0039808
41 | 0.99126 | -0.16784 | 0 | 0
42 | 0.996 | -0.076234 | 0.0056069 | 0.0014052
43 | 0.99605 | -0.075479 | 0.029329 | 0.0073505
44 | 0.99068 | -0.17834 | 0.0064684 | 0.0016211
45 | 0.99066 | -0.17873 | 0 | 0
46 | 0.99075 | -0.17689 | 0 | 0
47 | 0.99047 | -0.18233 | 0.0065523 | 0.0016422
48 | 0.99099 | -0.17234 | 0.001672 | 0.00041904
49 | 0.99121 | -0.16793 | 0 | 0
50 | 0.98811 | -0.22849 | 0.010265 | 0.0025726
51 | 0.98817 | -0.22732 | 0 | 0
52 | 0.99165 | -0.1595 | 0.0015927 | 0.00039916
53 | 0.98999 | -0.19155 | 0.011376 | 0.0028511
54 | 0.98836 | -0.22364 | 0.0098981 | 0.0024807
55 | 0.98958 | -0.19937 | 0.0032963 | 0.00082614
56 | 0.99534 | -0.088746 | 0.012393 | 0.0031061
57 | 0.99337 | -0.1266 | 0 | 0
58 | 0.99262 | -0.14102 | 0 | 0
59 | 0.99266 | -0.14018 | 0.0047741 | 0.0011965
60 | 0.99252 | -0.14297 | 0.0095661 | 0.0023975
61 | 0.99177 | -0.15754 | 0.0051894 | 0.0013006
62 | 0.99212 | -0.15081 | 0.005966 | 0.0014952
63 | 0.99246 | -0.14427 | 0.0030963 | 0.000776
64 | 0.99355 | -0.12353 | 0.021528 | 0.0053954
65 | 0.99272 | -0.13957 | 0 | 0
66 | 0.99083 | -0.17621 | 0.018673 | 0.0046799
67 | 0.99163 | -0.16031 | 0.0082503 | 0.0020677
68 | 0.99152 | -0.16247 | 0 | 0
69 | 0.99138 | -0.16516 | 0.0078739 | 0.0019734
70 | 0.99148 | -0.16324 | 0.0032804 | 0.00082216
71 | 0.99133 | -0.16602 | 0.0022766 | 0.00057056
72 | 0.99079 | -0.17638 | 0 | 0
73 | 0.99214 | -0.15048 | 0.010981 | 0.0027522
74 | 0.99206 | -0.1519 | 0.0039595 | 0.00099234
75 | 0.98982 | -0.19531 | 0.011093 | 0.0027801
76 | 0.98891 | -0.21295 | 0.0034634 | 0.00086801
77 | 0.9892 | -0.20719 | 0 | 0
78 | 0.98875 | -0.21605 | 0 | 0
79 | 0.98872 | -0.21667 | 0 | 0
80 | 0.98839 | -0.22299 | 0.011523 | 0.0028878
81 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.02118 | 0.0053234 | -0.021172 | -0.0053187 | 7.749e-06 | 4.699e-06 | 0.03189 | 0.03189 | 0.03189 | 0.98846 | -0.22218 | 0.98806 | -0.22985 | 8.7609
1 | -0.022673 | -0.0056975 | 0.022677 | 0.0057 | 4.174e-06 | 2.5489e-06 | 0.034137 | 0.034137 | 0.034137 | 0.98846 | -0.22218 | 0.98866 | -0.21833 | 9.3783
2 | 0.01907 | 0.0047918 | -0.019056 | -0.0047833 | 1.4283e-05 | 8.5502e-06 | 0.028724 | 0.028724 | 0.028724 | 0.98806 | -0.22985 | 0.98726 | -0.24555 | 7.8913
3 | -0.022677 | -0.0057 | 0.022689 | 0.0057071 | 1.153e-05 | 7.0405e-06 | 0.034137 | 0.034137 | 0.034137 | 0.98866 | -0.21833 | 0.98921 | -0.20769 | 9.3783
4 | 0.016295 | 0.0040914 | -0.016273 | -0.0040784 | 2.2204e-05 | 1.2957e-05 | 0.024563 | 0.024564 | 0.024564 | 0.98726 | -0.24555 | 0.98579 | -0.27416 | 6.7483
5 | -0.022689 | -0.0057071 | 0.022709 | 0.0057197 | 2.0593e-05 | 1.2574e-05 | 0.034137 | 0.034137 | 0.034137 | 0.98921 | -0.20769 | 0.99019 | -0.1887 | 9.3783
6 | -0.027063 | -0.0068109 | 0.027083 | 0.0068228 | 1.9232e-05 | 1.1909e-05 | 0.04068 | 0.04068 | 0.04068 | 0.99019 | -0.1887 | 0.99096 | -0.17385 | 11.1758
7 | -0.034954 | -0.0087955 | 0.034985 | 0.008815 | 3.109e-05 | 1.951e-05 | 0.052499 | 0.052499 | 0.052499 | 0.99096 | -0.17385 | 0.99192 | -0.15525 | 14.4227
8 | -0.00091682 | -0.00022978 | 0.00091683 | 0.0002296 | 1.0458e-08 | -1.7503e-07 | 0.0013913 | 0.0013913 | 0.0013913 | 0.98054 | -0.37498 | 0.98055 | -0.37474 | 0.38223
9 | -0.0017578 | -0.00044037 | 0.0017579 | 0.00044004 | 8.0029e-08 | -3.2714e-07 | 0.0026675 | 0.0026673 | 0.0026675 | 0.98055 | -0.37474 | 0.9806 | -0.37379 | 0.73282
10 | 0.026431 | 0.0066308 | -0.026419 | -0.0066233 | 1.2218e-05 | 7.5641e-06 | 0.04011 | 0.04011 | 0.04011 | 0.9806 | -0.37379 | 0.9801 | -0.38349 | 11.0193
11 | -0.050878 | -0.012766 | 0.050998 | 0.012842 | 0.00012005 | 7.6153e-05 | 0.077211 | 0.077211 | 0.077211 | 0.9806 | -0.37379 | 0.98312 | -0.32443 | 21.2119
12 | 0.02269 | 0.0056951 | -0.022672 | -0.0056841 | 1.8054e-05 | 1.1043e-05 | 0.034434 | 0.034434 | 0.034434 | 0.9806 | -0.37379 | 0.97974 | -0.39049 | 9.4599
13 | 0.019244 | 0.0048253 | -0.019242 | -0.0048237 | 2.5479e-06 | 1.5303e-06 | 0.029218 | 0.029218 | 0.029218 | 0.9801 | -0.38349 | 0.97996 | -0.38627 | 8.027
14 | 0.048598 | 0.012215 | -0.048561 | -0.012191 | 3.7457e-05 | 2.3738e-05 | 0.073569 | 0.073569 | 0.073569 | 0.98312 | -0.32443 | 0.9823 | -0.34058 | 20.2112
15 | -0.099597 | -0.025057 | 0.099883 | 0.02524 | 0.00028611 | 0.00018268 | 0.15078 | 0.15078 | 0.15078 | 0.98312 | -0.32443 | 0.98621 | -0.26449 | 41.423
16 | 0.0029087 | 0.00072886 | -0.0029086 | -0.00072896 | 9.453e-08 | -1.0216e-07 | 0.0044176 | 0.0044177 | 0.0044177 | 0.97974 | -0.39049 | 0.97971 | -0.39117 | 1.2136
17 | 0.019763 | 0.0049552 | -0.019759 | -0.0049527 | 4.2337e-06 | 2.5518e-06 | 0.030016 | 0.030017 | 0.030017 | 0.97974 | -0.39049 | 0.97952 | -0.39498 | 8.2463
18 | 0.013459 | 0.0033744 | -0.013455 | -0.0033723 | 3.6065e-06 | 2.0182e-06 | 0.020437 | 0.020437 | 0.020437 | 0.97996 | -0.38627 | 0.97967 | -0.39189 | 5.6145
19 | 0.037978 | 0.009539 | -0.037947 | -0.0095199 | 3.0387e-05 | 1.9138e-05 | 0.057538 | 0.057538 | 0.057538 | 0.9823 | -0.34058 | 0.98144 | -0.35737 | 15.8071
20 | -0.10517 | -0.026564 | 0.1052 | 0.026587 | 3.68e-05 | 2.3502e-05 | 0.15875 | 0.15875 | 0.15875 | 0.98621 | -0.26449 | 0.98658 | -0.25719 | 43.6125
21 | 0.01138 | 0.0028526 | -0.011377 | -0.0028514 | 2.2879e-06 | 1.2074e-06 | 0.017287 | 0.017288 | 0.017288 | 0.97952 | -0.39498 | 0.9793 | -0.3992 | 4.7493
22 | 0.0062667 | 0.0015706 | -0.0062665 | -0.0015705 | 2.0358e-07 | 5.4961e-08 | 0.0095221 | 0.0095221 | 0.0095221 | 0.9793 | -0.3992 | 0.97927 | -0.39988 | 2.616
23 | 0.027449 | 0.0068886 | -0.027428 | -0.006876 | 2.0344e-05 | 1.2625e-05 | 0.04162 | 0.04162 | 0.04162 | 0.98144 | -0.35737 | 0.98064 | -0.37292 | 11.4341
24 | -0.1121 | -0.028317 | 0.11241 | 0.028516 | 0.00031159 | 0.00019905 | 0.16916 | 0.16916 | 0.16916 | 0.98658 | -0.25719 | 0.98958 | -0.19937 | 46.4716
25 | 0.0088082 | 0.0022077 | -0.0088074 | -0.0022073 | 8.5204e-07 | 3.8549e-07 | 0.013379 | 0.013379 | 0.013379 | 0.97967 | -0.39189 | 0.97957 | -0.39392 | 3.6755
26 | 0.017561 | 0.0044031 | -0.017556 | -0.0043999 | 5.3458e-06 | 3.1681e-06 | 0.026648 | 0.026648 | 0.026648 | 0.98064 | -0.37292 | 0.98032 | -0.37931 | 7.3208
27 | 0.0053247 | 0.0013345 | -0.0053246 | -0.0013345 | 4.6599e-08 | 5.9127e-09 | 0.0080884 | 0.0080884 | 0.0080884 | 0.97957 | -0.39392 | 0.97956 | -0.39411 | 2.2221
28 | 0.0468 | 0.011805 | -0.046757 | -0.011777 | 4.3924e-05 | 2.7803e-05 | 0.070104 | 0.070104 | 0.070104 | 0.99376 | -0.11982 | 0.99274 | -0.13944 | 19.2594
29 | -0.052771 | -0.013301 | 0.052824 | 0.013335 | 5.3092e-05 | 3.3685e-05 | 0.079044 | 0.079044 | 0.079044 | 0.99376 | -0.11982 | 0.99485 | -0.098812 | 21.7153
30 | 0.041005 | 0.010336 | -0.040974 | -0.010316 | 3.0992e-05 | 1.9552e-05 | 0.061483 | 0.061483 | 0.061483 | 0.99274 | -0.13944 | 0.99192 | -0.15525 | 16.891
31 | -0.061386 | -0.015481 | 0.061447 | 0.01552 | 6.1123e-05 | 3.8868e-05 | 0.09185 | 0.09185 | 0.09185 | 0.99485 | -0.098812 | 0.99593 | -0.078032 | 25.2336
32 | -0.10118 | -0.025478 | 0.10121 | 0.025495 | 2.6296e-05 | 1.679e-05 | 0.15122 | 0.15122 | 0.15122 | 0.99593 | -0.078032 | 0.99621 | -0.072598 | 41.5432
33 | -0.13315 | -0.033499 | 0.13345 | 0.033692 | 0.00030072 | 0.0001922 | 0.19892 | 0.19892 | 0.19892 | 0.99621 | -0.072598 | 0.99867 | -0.025445 | 54.6495
34 | -0.13345 | -0.033692 | 0.13361 | 0.033796 | 0.00016289 | 0.00010411 | 0.19892 | 0.19892 | 0.19892 | 0.99867 | -0.025445 | 1 | 0 | 54.6494
35 | 0.36676 | 0.093398 | -0.36584 | -0.09281 | 0.00092094 | 0.00058843 | 0.54627 | 0.54627 | 0.54627 | 1 | 0 | 0.99726 | -0.052206 | 50.0247
36 | 0.27454 | 0.069802 | -0.27422 | -0.0696 | 0.00031735 | 0.00020252 | 0.40999 | 0.40999 | 0.40999 | 0.99726 | -0.052206 | 0.996 | -0.076234 | 37.5448
37 | 0.091305 | 0.023007 | -0.091203 | -0.022943 | 0.00010153 | 6.4789e-05 | 0.13628 | 0.13628 | 0.13628 | 0.99726 | -0.052206 | 0.99605 | -0.075479 | 37.4397
38 | -0.059397 | -0.014943 | 0.059415 | 0.014955 | 1.8708e-05 | 1.1891e-05 | 0.08887 | 0.08887 | 0.08887 | 0.99474 | -0.10056 | 0.99509 | -0.093967 | 24.4148
39 | 0.059397 | 0.014943 | -0.059369 | -0.014925 | 2.7631e-05 | 1.7563e-05 | 0.08887 | 0.08887 | 0.08887 | 0.99474 | -0.10056 | 0.99424 | -0.1103 | 24.4149
40 | -0.06182 | -0.015557 | 0.061874 | 0.015592 | 5.4671e-05 | 3.4768e-05 | 0.092466 | 0.092465 | 0.092466 | 0.99509 | -0.093967 | 0.99605 | -0.075479 | 25.4026
41 | 0.056208 | 0.014133 | -0.056172 | -0.01411 | 3.549e-05 | 2.254e-05 | 0.084139 | 0.084139 | 0.084139 | 0.99424 | -0.1103 | 0.99355 | -0.12353 | 23.115
42 | -0.015884 | -0.0039808 | 0.015891 | 0.0039848 | 6.7919e-06 | 3.9367e-06 | 0.023855 | 0.023855 | 0.023855 | 0.9908 | -0.17681 | 0.99126 | -0.16784 | 6.5535
43 | 0.018681 | 0.0046844 | -0.018673 | -0.0046799 | 7.4492e-06 | 4.442e-06 | 0.028043 | 0.028043 | 0.028043 | 0.99126 | -0.16784 | 0.99083 | -0.17621 | 7.7041
44 | -0.034571 | -0.0086692 | 0.034618 | 0.0086984 | 4.6654e-05 | 2.9262e-05 | 0.051898 | 0.051897 | 0.051898 | 0.99126 | -0.16784 | 0.99272 | -0.13957 | 14.2576
45 | 0.26861 | 0.068194 | -0.26845 | -0.068091 | 0.0001616 | 0.00010311 | 0.40161 | 0.40161 | 0.40161 | 0.996 | -0.076234 | 0.99534 | -0.088746 | 36.7777
46 | 0.0065535 | 0.0016425 | -0.0065534 | -0.0016425 | 1.2197e-07 | 3.4842e-08 | 0.0098436 | 0.0098436 | 0.0098436 | 0.99068 | -0.17834 | 0.99066 | -0.17873 | 2.7043
47 | -0.013022 | -0.0032637 | 0.013023 | 0.0032641 | 9.0048e-07 | 4.9548e-07 | 0.019559 | 0.019559 | 0.019559 | 0.99068 | -0.17834 | 0.99075 | -0.17689 | 5.3734
48 | 0.0065534 | 0.0016425 | -0.0065523 | -0.0016422 | 1.1215e-06 | 3.2044e-07 | 0.0098436 | 0.0098437 | 0.0098437 | 0.99066 | -0.17873 | 0.99047 | -0.18233 | 2.7043
49 | -0.013023 | -0.0032641 | 0.013026 | 0.0032657 | 2.8266e-06 | 1.5553e-06 | 0.019559 | 0.019559 | 0.019559 | 0.99075 | -0.17689 | 0.99099 | -0.17234 | 5.3734
50 | -0.014698 | -0.0036847 | 0.014701 | 0.0036865 | 3.0904e-06 | 1.7598e-06 | 0.02207 | 0.02207 | 0.02207 | 0.99099 | -0.17234 | 0.99121 | -0.16793 | 6.0631
51 | -0.14197 | -0.036 | 0.14203 | 0.036036 | 5.7545e-05 | 3.6655e-05 | 0.21328 | 0.21328 | 0.21328 | 0.99121 | -0.16793 | 0.99165 | -0.1595 | 29.2969
52 | 0.12727 | 0.032313 | -0.12713 | -0.032221 | 0.00014449 | 9.2336e-05 | 0.19121 | 0.19121 | 0.19121 | 0.99121 | -0.16793 | 0.98999 | -0.19155 | 52.5307
53 | -0.010265 | -0.0025726 | 0.010265 | 0.0025729 | 5.7443e-07 | 2.8552e-07 | 0.015458 | 0.015458 | 0.015458 | 0.98811 | -0.22849 | 0.98817 | -0.22732 | 4.2467
54 | -0.010265 | -0.0025729 | 0.010267 | 0.0025738 | 1.7995e-06 | 8.9436e-07 | 0.015458 | 0.015458 | 0.015458 | 0.98817 | -0.22732 | 0.98836 | -0.22364 | 4.2467
55 | -0.14362 | -0.036435 | 0.14376 | 0.03652 | 0.00013353 | 8.4571e-05 | 0.21567 | 0.21567 | 0.21567 | 0.99165 | -0.1595 | 0.99266 | -0.14018 | 19.7501
56 | 0.11575 | 0.02937 | -0.11571 | -0.029342 | 4.3534e-05 | 2.7813e-05 | 0.17411 | 0.17411 | 0.17411 | 0.98999 | -0.19155 | 0.98958 | -0.19937 | 47.8332
57 | -0.020165 | -0.0050545 | 0.020173 | 0.0050589 | 7.2939e-06 | 4.3976e-06 | 0.03036 | 0.03036 | 0.03036 | 0.98836 | -0.22364 | 0.98875 | -0.21605 | 8.3406
58 | 0.25606 | 0.064985 | -0.25559 | -0.064688 | 0.00046532 | 0.00029681 | 0.38309 | 0.38309 | 0.38309 | 0.99534 | -0.088746 | 0.99337 | -0.1266 | 35.0811
59 | 0.07933 | 0.019976 | -0.079276 | -0.019941 | 5.4637e-05 | 3.4835e-05 | 0.11887 | 0.11887 | 0.11887 | 0.99337 | -0.1266 | 0.99262 | -0.14102 | 32.6555
60 | 0.14863 | 0.037778 | -0.14853 | -0.037716 | 9.7153e-05 | 6.157e-05 | 0.22283 | 0.22283 | 0.22283 | 0.99337 | -0.1266 | 0.99266 | -0.14018 | 20.4054
61 | 0.027631 | 0.0069345 | -0.027609 | -0.0069211 | 2.1552e-05 | 1.3359e-05 | 0.041393 | 0.041393 | 0.041393 | 0.99337 | -0.1266 | 0.99252 | -0.14297 | 11.3716
62 | 0.051603 | 0.012997 | -0.051562 | -0.012971 | 4.0731e-05 | 2.5834e-05 | 0.07738 | 0.07738 | 0.07738 | 0.99262 | -0.14102 | 0.99177 | -0.15754 | 21.2581
63 | 0.027673 | 0.0069441 | -0.02766 | -0.0069361 | 1.2923e-05 | 8.0121e-06 | 0.041487 | 0.041487 | 0.041487 | 0.99262 | -0.14102 | 0.99212 | -0.15081 | 11.3975
64 | 0.018043 | 0.0045236 | -0.018042 | -0.004523 | 1.1155e-06 | 6.6136e-07 | 0.027051 | 0.027051 | 0.027051 | 0.99252 | -0.14297 | 0.99246 | -0.14427 | 7.4316
65 | 0.046373 | 0.011671 | -0.046331 | -0.011644 | 4.1716e-05 | 2.6402e-05 | 0.069594 | 0.069594 | 0.069594 | 0.99177 | -0.15754 | 0.99079 | -0.17638 | 19.1191
66 | 0.021694 | 0.0054409 | -0.021684 | -0.0054349 | 9.8149e-06 | 5.9625e-06 | 0.032539 | 0.032539 | 0.032539 | 0.99212 | -0.15081 | 0.99163 | -0.16031 | 8.9392
67 | 0.014946 | 0.003747 | -0.014941 | -0.0037445 | 4.4245e-06 | 2.5281e-06 | 0.022409 | 0.022409 | 0.022409 | 0.99246 | -0.14427 | 0.99214 | -0.15048 | 6.1563
68 | 0.034644 | 0.008715 | -0.034618 | -0.0086984 | 2.6523e-05 | 1.6635e-05 | 0.051897 | 0.051897 | 0.051897 | 0.99355 | -0.12353 | 0.99272 | -0.13957 | 14.2575
69 | 0.013434 | 0.0033672 | -0.013432 | -0.0033664 | 1.3804e-06 | 7.6662e-07 | 0.020159 | 0.020159 | 0.020159 | 0.99163 | -0.16031 | 0.99152 | -0.16247 | 5.5381
70 | 0.010152 | 0.0025444 | -0.010151 | -0.0025437 | 1.3042e-06 | 6.4146e-07 | 0.015235 | 0.015235 | 0.015235 | 0.99152 | -0.16247 | 0.99138 | -0.16516 | 4.1856
71 | 0.0032806 | 0.00082206 | -0.0032804 | -0.00082216 | 1.2051e-07 | -9.3868e-08 | 0.0049233 | 0.0049233 | 0.0049233 | 0.99152 | -0.16247 | 0.99148 | -0.16324 | 1.3526
72 | 0.0022766 | 0.00057034 | -0.0022766 | -0.00057056 | 9.2516e-08 | -2.1321e-07 | 0.0034171 | 0.0034172 | 0.0034172 | 0.99138 | -0.16516 | 0.99133 | -0.16602 | 0.93878
73 | 0.046331 | 0.011644 | -0.046289 | -0.011618 | 4.1846e-05 | 2.6485e-05 | 0.069594 | 0.069594 | 0.069594 | 0.99079 | -0.17638 | 0.98982 | -0.19531 | 19.1192
74 | 0.0039597 | 0.00099225 | -0.0039595 | -0.00099234 | 2.6769e-07 | -9.0025e-08 | 0.0059388 | 0.0059389 | 0.0059389 | 0.99214 | -0.15048 | 0.99206 | -0.1519 | 1.6316
75 | 0.035197 | 0.0088376 | -0.035177 | -0.0088251 | 1.9929e-05 | 1.2511e-05 | 0.052918 | 0.052918 | 0.052918 | 0.98982 | -0.19531 | 0.9892 | -0.20719 | 14.5379
76 | -0.023639 | -0.0059287 | 0.023645 | 0.0059327 | 6.4968e-06 | 3.9822e-06 | 0.035571 | 0.035571 | 0.035571 | 0.98891 | -0.21295 | 0.9892 | -0.20719 | 9.7723
77 | 0.020176 | 0.0050607 | -0.020173 | -0.0050589 | 2.977e-06 | 1.7948e-06 | 0.03036 | 0.03036 | 0.03036 | 0.98891 | -0.21295 | 0.98875 | -0.21605 | 8.3406
78 | 0.011531 | 0.0028924 | -0.011526 | -0.0028897 | 5.2069e-06 | 2.7404e-06 | 0.017347 | 0.017347 | 0.017347 | 0.9892 | -0.20719 | 0.98872 | -0.21667 | 4.7657
79 | 0.011526 | 0.0028897 | -0.011523 | -0.0028878 | 3.4706e-06 | 1.8269e-06 | 0.017347 | 0.017347 | 0.017347 | 0.98872 | -0.21667 | 0.98839 | -0.22299 | 4.7657

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54498 | 0.13796

## res_load
| p_mw | q_mvar
0 | 0.0014928 | 0.00037413
1 | 0.0021021 | 0.00052683
2 | 0.0027608 | 0.00069193
3 | 0.016273 | 0.0040784
4 | 0.0043541 | 0.0010913
5 | 0.0078709 | 0.0019726
6 | 0.00091682 | 0.00022978
7 | 0.00084098 | 0.00021077
8 | 0.0071742 | 0.001798
9 | 0.0057831 | 0.0014494
10 | 0.010583 | 0.0026523
11 | 0.0052822 | 0.0013239
12 | 0.0029086 | 0.00072896
13 | 0.0083792 | 0.0021
14 | 0.0051106 | 0.0012808
15 | 0.0062665 | 0.0015705
16 | 0.010499 | 0.0026313
17 | 0.0068999 | 0.0017293
18 | 0.0046469 | 0.0011646
19 | 0.0098672 | 0.0024729
20 | 0.017556 | 0.0043999
21 | 0.0034827 | 0.00087284
22 | 0.0053246 | 0.0013345
23 | 0.0059701 | 0.0014963
24 | 0.0057518 | 0.0014415
25 | 0.0085623 | 0.0021459
26 | 0.0059891 | 0.001501
27 | 0.039734 | 0.0099584
28 | 0.031939 | 0.0080047
29 | 0.042956 | 0.010766
30 | 0.0024045 | 0.00060261
31 | 0.0031614 | 0.00079231
32 | 0.015884 | 0.0039808
33 | 0.0056069 | 0.0014052
34 | 0.029329 | 0.0073505
35 | 0.0064684 | 0.0016211
36 | 0.0065523 | 0.0016422
37 | 0.001672 | 0.00041904
38 | 0.010265 | 0.0025726
39 | 0.0015927 | 0.00039916
40 | 0.011376 | 0.0028511
41 | 0.0098981 | 0.0024807
42 | 0.0032963 | 0.00082614
43 | 0.012393 | 0.0031061
44 | 0.0047741 | 0.0011965
45 | 0.0095661 | 0.0023975
46 | 0.0051894 | 0.0013006
47 | 0.005966 | 0.0014952
48 | 0.0030963 | 0.000776
49 | 0.021528 | 0.0053954
50 | 0.018673 | 0.0046799
51 | 0.0082503 | 0.0020677
52 | 0.0078739 | 0.0019734
53 | 0.0032804 | 0.00082216
54 | 0.0022766 | 0.00057056
55 | 0.010981 | 0.0027522
56 | 0.0039595 | 0.00099234
57 | 0.011093 | 0.0027801
58 | 0.0034634 | 0.00086801
59 | 0.011523 | 0.0028878

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1