## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1345-2_1_2_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_1345-2_1_2_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_1345-2_1_2_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_1345-2_1_2_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_1345-2_1_2_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_1345-2_1_2_node_144 | 0.4 | n |  | TRUE
6 | bus_LV_1345-2_1_2_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_1345-2_1_2_node_139 | 0.4 | n |  | TRUE
8 | bus_LV_1345-2_1_2_node_150 | 0.4 | n |  | TRUE
9 | bus_LV_1345-2_1_2_node_146 | 0.4 | n |  | TRUE
10 | bus_LV_1345-2_1_2_node_145 | 0.4 | n |  | TRUE
11 | bus_LV_1345-2_1_2_node_147 | 0.4 | n |  | TRUE
12 | bus_LV_1345-2_1_2_node_148 | 0.4 | n |  | TRUE
13 | bus_LV_1345-2_1_2_node_149 | 0.4 | n |  | TRUE
14 | bus_LV_1345-2_1_2_node_153 | 0.4 | n |  | TRUE
15 | bus_LV_1345-2_1_2_node_158 | 0.4 | n |  | TRUE
16 | bus_LV_1345-2_1_2_node_151 | 0.4 | n |  | TRUE
17 | bus_LV_1345-2_1_2_node_152 | 0.4 | n |  | TRUE
18 | bus_LV_1345-2_1_2_node_154 | 0.4 | n |  | TRUE
19 | bus_LV_1345-2_1_2_node_155 | 0.4 | n |  | TRUE
20 | bus_LV_1345-2_1_2_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_1345-2_1_2_node_156 | 0.4 | n |  | TRUE
22 | bus_LV_1345-2_1_2_node_179 | 0.4 | n |  | TRUE
23 | bus_LV_1345-2_1_2_node_174 | 0.4 | n |  | TRUE
24 | bus_LV_1345-2_1_2_node_157 | 0.4 | n |  | TRUE
25 | bus_LV_1345-2_1_2_node_159 | 0.4 | n |  | TRUE
26 | bus_LV_1345-2_1_2_node_160 | 0.4 | n |  | TRUE
27 | bus_LV_1345-2_1_2_node_161 | 0.4 | n |  | TRUE
28 | bus_LV_1345-2_1_2_node_162 | 0.4 | n |  | TRUE
29 | bus_LV_1345-2_1_2_node_164 | 0.4 | n |  | TRUE
30 | bus_LV_1345-2_1_2_node_172 | 0.4 | n |  | TRUE
31 | bus_LV_1345-2_1_2_node_173 | 0.4 | n |  | TRUE
32 | bus_LV_1345-2_1_2_node_175 | 0.4 | n |  | TRUE
33 | bus_LV_1345-2_1_2_node_176 | 0.4 | n |  | TRUE
34 | bus_LV_1345-2_1_2_node_177 | 0.4 | n |  | TRUE
35 | bus_LV_1345-2_1_2_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_1345-2_1_2_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_1345-2_1_2_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_1345-2_1_2_node_178 | 0.4 | n |  | TRUE
39 | bus_MV_20_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1345-2_1_2_load_6 | 0 | 0.0013202 | 0.00033088 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1345-2_1_2_load_7 | 1 | 0.0060238 | 0.0015097 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1345-2_1_2_load_9 | 3 | 0.0050485 | 0.0012653 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1345-2_1_2_load_144 | 5 | 0.0018342 | 0.00045969 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1345-2_1_2_load_50 | 6 | 0.0083856 | 0.0021016 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1345-2_1_2_load_139 | 7 | 0.0020425 | 0.00051189 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1345-2_1_2_load_150 | 8 | 0.0040995 | 0.0010274 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1345-2_1_2_load_145 | 10 | 0.0017788 | 0.00044582 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1345-2_1_2_load_148 | 12 | 0.0020294 | 0.00050861 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1345-2_1_2_load_149 | 13 | 0.0031974 | 0.00080135 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1345-2_1_2_load_153 | 14 | 0.0018796 | 0.00047107 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1345-2_1_2_load_158 | 15 | 0.0087645 | 0.0021966 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1345-2_1_2_load_151 | 16 | 0.0030538 | 0.00076535 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1345-2_1_2_load_152 | 17 | 0.001567 | 0.00039273 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1345-2_1_2_load_154 | 18 | 0.0027967 | 0.00070092 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1345-2_1_2_load_52 | 20 | 0.0056086 | 0.0014057 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1345-2_1_2_load_179 | 22 | 0.0023469 | 0.00058819 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1345-2_1_2_load_174 | 23 | 0.0023389 | 0.00058618 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1345-2_1_2_load_157 | 24 | 0.0022498 | 0.00056387 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1345-2_1_2_load_159 | 25 | 0.0027661 | 0.00069325 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1345-2_1_2_load_160 | 26 | 0.00070062 | 0.00017559 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1345-2_1_2_load_161 | 27 | 0.00022398 | 5.6136e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1345-2_1_2_load_172 | 30 | 0.0023363 | 0.00058553 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1345-2_1_2_load_173 | 31 | 0.0021219 | 0.0005318 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1345-2_1_2_load_175 | 32 | 0.0063802 | 0.001599 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1345-2_1_2_load_176 | 33 | 0.0067233 | 0.001685 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1345-2_1_2_load_177 | 34 | 0.0063992 | 0.0016038 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1345-2_1_2_load_49 | 35 | 0.0012199 | 0.00030574 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1345-2_1_2_load_53 | 37 | 0.0061183 | 0.0015334 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1345-2_1_2_load_178 | 38 | 0.0058177 | 0.0014581 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1345-2_1_2_line_0 |  | 0 | 1 | 0.032223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1345-2_1_2_line_1 |  | 0 | 2 | 0.033199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1345-2_1_2_line_2 |  | 1 | 3 | 8.1509e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1345-2_1_2_line_3 |  | 2 | 4 | 0.029713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1345-2_1_2_line_4 |  | 3 | 5 | 0.020626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1345-2_1_2_line_5 |  | 4 | 6 | 0.039454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1345-2_1_2_line_6 |  | 5 | 9 | 0.023683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1345-2_1_2_line_7 |  | 6 | 35 | 0.052272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1345-2_1_2_line_8 |  | 7 | 8 | 0.02726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1345-2_1_2_line_9 |  | 8 | 11 | 0.03345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1345-2_1_2_line_10 |  | 9 | 12 | 0.018336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1345-2_1_2_line_11 |  | 9 | 10 | 0.042665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1345-2_1_2_line_12 |  | 10 | 11 | 0.0022923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1345-2_1_2_line_13 |  | 11 | 13 | 0.017749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1345-2_1_2_line_14 |  | 12 | 14 | 0.0067905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1345-2_1_2_line_15 |  | 13 | 15 | 0.014001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1345-2_1_2_line_16 |  | 14 | 16 | 0.0040868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1345-2_1_2_line_17 |  | 15 | 24 | 0.0060922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1345-2_1_2_line_18 |  | 16 | 17 | 0.0092546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1345-2_1_2_line_19 |  | 17 | 18 | 0.016524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1345-2_1_2_line_20 |  | 18 | 19 | 0.0082132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1345-2_1_2_line_21 |  | 19 | 20 | 0.021839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1345-2_1_2_line_22 |  | 19 | 21 | 0.02024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1345-2_1_2_line_23 |  | 20 | 36 | 0.047059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1345-2_1_2_line_24 |  | 21 | 22 | 0.0097062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1345-2_1_2_line_25 |  | 21 | 23 | 0.013115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1345-2_1_2_line_26 |  | 22 | 38 | 0.022042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1345-2_1_2_line_27 |  | 23 | 31 | 0.024898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1345-2_1_2_line_28 |  | 24 | 25 | 0.010761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1345-2_1_2_line_29 |  | 26 | 27 | 0.0017275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1345-2_1_2_line_30 |  | 26 | 28 | 0.05472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1345-2_1_2_line_31 |  | 28 | 29 | 0.26249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1345-2_1_2_line_32 |  | 29 | 30 | 0.039586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1345-2_1_2_line_33 |  | 30 | 31 | 0.026218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1345-2_1_2_line_34 |  | 32 | 33 | 0.0088396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1345-2_1_2_line_35 |  | 33 | 34 | 0.019805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1345-2_1_2_line_36 |  | 34 | 38 | 0.0044143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1345-2_1_2_line_37 |  | 36 | 37 | 0.018072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1345-2_1_2_trafo_154 | 0.63 MVA 20/0.4 kV | 39 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2716385.273 | 1225827.5346 | 2716374.3765 | 1225845.31 | 2716366.988 | 1225853.957
1 | 2716351.0218 | 1225882.5377 | 2716357.9946 | 1225864.4823 | 2716366.988 | 1225853.957
2 | 2716385.273 | 1225827.5346 | 2716385.3156 | 1225827.4651
3 | 2716351.0218 | 1225882.5377 | 2716357.5346 | 1225893.418 | 2716365.1598 | 1225908.6678
4 | 2716385.3156 | 1225827.4651 | 2716387.363 | 1225824.1253 | 2716397.5294 | 1225810.8657
5 | 2716365.1598 | 1225908.6678 | 2716370.2882 | 1225905.8214 | 2716402.0439 | 1225894.8783
6 | 2716410.4091 | 1225791.0616 | 2716404.0615 | 1225802.3462 | 2716397.5294 | 1225810.8657
7 | 2716451.4642 | 1225877.848 | 2716402.0439 | 1225894.8783
8 | 2716392.6821 | 1225718.2155 | 2716376.7845 | 1225696.071
9 | 2716409.4373 | 1225746.964 | 2716407.8972 | 1225741.9744 | 2716404.73 | 1225736.4304 | 2716395.4419 | 1225722.0598 | 2716392.6821 | 1225718.2155
10 | 2716410.4091 | 1225791.0616 | 2716428.5732 | 1225793.564
11 | 2716410.4091 | 1225791.0616 | 2716413.2881 | 1225781.4994 | 2716413.7507 | 1225774.9144 | 2716413.5543 | 1225767.516 | 2716412.1387 | 1225759.2597 | 2716410.4579 | 1225750.9982 | 2716409.9995 | 1225749.1862
12 | 2716409.4373 | 1225746.964 | 2716409.9995 | 1225749.1862
13 | 2716409.4373 | 1225746.964 | 2716425.8018 | 1225740.0909
14 | 2716435.3002 | 1225794.4907 | 2716428.5732 | 1225793.564
15 | 2716425.8018 | 1225740.0909 | 2716436.4032 | 1225735.6383 | 2716438.8839 | 1225735.9648 | 2716438.8839 | 1225735.9648
16 | 2716439.3487 | 1225795.0485 | 2716435.3002 | 1225794.4907
17 | 2716440.9157 | 1225741.4652 | 2716440.2576 | 1225737.4484 | 2716438.8839 | 1225735.9648
18 | 2716439.3487 | 1225795.0485 | 2716442.5863 | 1225795.4945 | 2716448.5611 | 1225795.1222
19 | 2716448.5611 | 1225795.1222 | 2716448.5611 | 1225795.1222 | 2716463.8874 | 1225788.9453
20 | 2716471.5052 | 1225785.8752 | 2716463.8874 | 1225788.9453
21 | 2716471.5052 | 1225785.8752 | 2716488.9177 | 1225799.0564
22 | 2716490.9605 | 1225780.9299 | 2716481.8308 | 1225781.7185 | 2716471.5052 | 1225785.8752
23 | 2716528.6022 | 1225822.6436 | 2716519.2218 | 1225816.8777 | 2716511.3299 | 1225816.0225 | 2716488.9177 | 1225799.0564
24 | 2716490.9605 | 1225780.9299 | 2716500.3507 | 1225783.3865
25 | 2716490.9605 | 1225780.9299 | 2716490.3583 | 1225767.8288
26 | 2716514.6523 | 1225772.8849 | 2716514.3871 | 1225774.9283 | 2716510.2048 | 1225783.2751 | 2716507.2253 | 1225785.1849 | 2716500.3507 | 1225783.3865
27 | 2716489.2151 | 1225742.9568 | 2716490.3583 | 1225767.8288
28 | 2716442.6553 | 1225752.0844 | 2716440.9157 | 1225741.4652
29 | 2716407.8892 | 1225642.1175 | 2716407.0494 | 1225643.6272
30 | 2716422.3654 | 1225592.4416 | 2716425.9841 | 1225606.3009 | 2716425.7009 | 1225609.5312 | 2716423.9875 | 1225613.3896 | 2716420.0542 | 1225620.2513 | 2716413.7509 | 1225631.5812 | 2716407.8892 | 1225642.1175
31 | 2716422.3654 | 1225592.4416 | 2716433.2898 | 1225597.993 | 2716466.0551 | 1225609.2317 | 2716478.4412 | 1225602.48 | 2716483.9637 | 1225592.3024 | 2716482.934 | 1225589.5134 | 2716500.0029 | 1225595.3298 | 2716520.9514 | 1225584.6427 | 2716526.963 | 1225646.6418 | 2716524.8052 | 1225648.0228 | 2716522.6537 | 1225648.6923 | 2716520.5342 | 1225648.5062 | 2716517.8093 | 1225646.3179 | 2716515.0093 | 1225644.4838 | 2716512.3313 | 1225643.3861 | 2716509.2305 | 1225643.3587 | 2716506.5423 | 1225644.3291 | 2716505.1154 | 1225646.336 | 2716504.6395 | 1225647.0161 | 2716504.1614 | 1225650.1314 | 2716504.5311 | 1225652.5516 | 2716505.9877 | 1225654.8375 | 2716507.7321 | 1225656.7509 | 2716510.4503 | 1225658.8946 | 2716511.5505 | 1225670.4696 | 2716514.6094 | 1225673.0203 | 2716514.6478 | 1225686.5427 | 2716511.6867 | 1225699.8951
32 | 2716511.6867 | 1225699.8951 | 2716504.6858 | 1225697.6785 | 2716491.4602 | 1225698.9095 | 2716488.0929 | 1225703.5805 | 2716487.7279 | 1225710.601 | 2716488.0113 | 1225716.7665
33 | 2716488.0113 | 1225716.7665 | 2716489.2151 | 1225742.9568
34 | 2716514.7155 | 1225748.7266 | 2716514.3891 | 1225739.893
35 | 2716514.7155 | 1225748.7266 | 2716515.3963 | 1225767.1531 | 2716515.2205 | 1225768.5073
36 | 2716515.2205 | 1225768.5073 | 2716514.6523 | 1225772.8849
37 | 2716528.6022 | 1225822.6436 | 2716535.7755 | 1225806.0562

## bus_geodata
| x | y | coords
0 | 2716366.988 | 1225853.957
1 | 2716385.273 | 1225827.5346
2 | 2716351.0218 | 1225882.5378
3 | 2716385.3156 | 1225827.4651
4 | 2716365.1598 | 1225908.6678
5 | 2716397.5294 | 1225810.8657
6 | 2716402.0439 | 1225894.8783
7 | 2716376.7845 | 1225696.071
8 | 2716392.6821 | 1225718.2155
9 | 2716410.4091 | 1225791.0616
10 | 2716409.9995 | 1225749.1862
11 | 2716409.4373 | 1225746.964
12 | 2716428.5732 | 1225793.564
13 | 2716425.8018 | 1225740.0909
14 | 2716435.3002 | 1225794.4907
15 | 2716438.8839 | 1225735.9648
16 | 2716439.3487 | 1225795.0485
17 | 2716448.5611 | 1225795.1222
18 | 2716463.8874 | 1225788.9453
19 | 2716471.5052 | 1225785.8752
20 | 2716488.9177 | 1225799.0564
21 | 2716490.9605 | 1225780.9299
22 | 2716500.3507 | 1225783.3865
23 | 2716490.3583 | 1225767.8288
24 | 2716440.9157 | 1225741.4652
25 | 2716442.6553 | 1225752.0844
26 | 2716407.8892 | 1225642.1175
27 | 2716407.0494 | 1225643.6272
28 | 2716422.3654 | 1225592.4416
29 | 2716511.6867 | 1225699.8951
30 | 2716488.0113 | 1225716.7665
31 | 2716489.2151 | 1225742.9568
32 | 2716514.3891 | 1225739.893
33 | 2716514.7155 | 1225748.7266
34 | 2716515.2205 | 1225768.5073
35 | 2716451.4642 | 1225877.848
36 | 2716528.6022 | 1225822.6436
37 | 2716535.7755 | 1225806.0562
38 | 2716514.6523 | 1225772.8849
39 | 2716471.5052 | 1225785.8752

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9961 | -0.075026 | 0.0013202 | 0.00033088
1 | 0.99642 | -0.068841 | 0.0060238 | 0.0015097
2 | 0.99581 | -0.080632 | 0 | 0
3 | 0.99642 | -0.068816 | 0.0050485 | 0.0012653
4 | 0.99555 | -0.085652 | 0 | 0
5 | 0.99683 | -0.060852 | 0.0018342 | 0.00045969
6 | 0.9952 | -0.09232 | 0.0083856 | 0.0021016
7 | 0.99609 | -0.075107 | 0.0020425 | 0.00051189
8 | 0.99614 | -0.074129 | 0.0040995 | 0.0010274
9 | 0.99735 | -0.050954 | 0 | 0
10 | 0.99638 | -0.069589 | 0.0017788 | 0.00044582
11 | 0.99633 | -0.07052 | 0 | 0
12 | 0.99816 | -0.035306 | 0.0020294 | 0.00050861
13 | 0.99606 | -0.075813 | 0.0031974 | 0.00080135
14 | 0.99847 | -0.029277 | 0.0018796 | 0.00047107
15 | 0.99588 | -0.079203 | 0.0087645 | 0.0021966
16 | 0.99867 | -0.025515 | 0.0030538 | 0.00076535
17 | 0.99914 | -0.01651 | 0.001567 | 0.00039273
18 | 1 | 0 | -0.10628 | -0.02631
19 | 0.99965 | -0.00675 | 0 | 0
20 | 0.99942 | -0.011219 | 0.0056086 | 0.0014057
21 | 0.999 | -0.019257 | 0 | 0
22 | 0.99875 | -0.023948 | 0.0023469 | 0.00058819
23 | 0.99891 | -0.021029 | 0.0023389 | 0.00058618
24 | 0.99585 | -0.07974 | 0.0022498 | 0.00056387
25 | 0.99583 | -0.080263 | 0.0027661 | 0.00069325
26 | 0.99841 | -0.03068 | 0.00070062 | 0.00017559
27 | 0.99841 | -0.030687 | 0.00022398 | 5.6136e-05
28 | 0.99845 | -0.029794 | 0 | 0
29 | 0.99867 | -0.025523 | 0 | 0
30 | 0.99871 | -0.024876 | 0.0023363 | 0.00058553
31 | 0.99878 | -0.023376 | 0.0021219 | 0.0005318
32 | 0.99788 | -0.04074 | 0.0063802 | 0.001599
33 | 0.99793 | -0.039753 | 0.0067233 | 0.001685
34 | 0.99817 | -0.035212 | 0.0063992 | 0.0016038
35 | 0.99514 | -0.093443 | 0.0012199 | 0.00030574
36 | 0.99916 | -0.016245 | 0 | 0
37 | 0.99905 | -0.018176 | 0.0061183 | 0.0015334
38 | 0.99825 | -0.033706 | 0.0058177 | 0.0014581
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010934 | -0.0027414 | 0.010937 | 0.002743 | 3.2238e-06 | 1.6436e-06 | 0.016334 | 0.016334 | 0.016334 | 0.9961 | -0.075026 | 0.99642 | -0.068841 | 4.4873
1 | 0.0096135 | 0.0024105 | -0.009611 | -0.0024093 | 2.5678e-06 | 1.2114e-06 | 0.014362 | 0.014362 | 0.014362 | 0.9961 | -0.075026 | 0.99581 | -0.080632 | 3.9455
2 | -0.016961 | -0.0042527 | 0.016961 | 0.0042527 | 1.9609e-08 | 1.1489e-08 | 0.025329 | 0.025329 | 0.025329 | 0.99642 | -0.068841 | 0.99642 | -0.068816 | 6.9586
3 | 0.009611 | 0.0024093 | -0.0096087 | -0.0024082 | 2.2982e-06 | 1.0844e-06 | 0.014362 | 0.014362 | 0.014362 | 0.99581 | -0.080632 | 0.99555 | -0.085652 | 3.9455
4 | -0.022009 | -0.005518 | 0.022018 | 0.0055231 | 8.3561e-06 | 5.0791e-06 | 0.032869 | 0.032868 | 0.032869 | 0.99642 | -0.068816 | 0.99683 | -0.060852 | 9.0298
5 | 0.0096087 | 0.0024082 | -0.0096056 | -0.0024067 | 3.0517e-06 | 1.4403e-06 | 0.014362 | 0.014362 | 0.014362 | 0.99555 | -0.085652 | 0.9952 | -0.09232 | 3.9456
6 | -0.023852 | -0.0059828 | 0.023863 | 0.0059897 | 1.126e-05 | 6.8972e-06 | 0.035606 | 0.035606 | 0.035606 | 0.99683 | -0.060852 | 0.99735 | -0.050954 | 9.782
7 | 0.00122 | 0.0003051 | -0.0012199 | -0.00030574 | 6.5214e-08 | -6.3743e-07 | 0.0018238 | 0.0018241 | 0.0018241 | 0.9952 | -0.09232 | 0.99514 | -0.093443 | 0.50112
8 | -0.0020425 | -0.00051189 | 0.0020426 | 0.0005116 | 9.5164e-08 | -2.9396e-07 | 0.0030512 | 0.003051 | 0.0030512 | 0.99609 | -0.075107 | 0.99614 | -0.074129 | 0.83823
9 | -0.0061421 | -0.001539 | 0.0061431 | 0.0015393 | 1.0559e-06 | 2.4021e-07 | 0.0091748 | 0.0091746 | 0.0091748 | 0.99614 | -0.074129 | 0.99633 | -0.07052 | 2.5205
10 | -0.048793 | -0.012248 | 0.048829 | 0.012271 | 3.6445e-05 | 2.3086e-05 | 0.072804 | 0.072804 | 0.072804 | 0.99735 | -0.050954 | 0.99816 | -0.035306 | 20.0012
11 | 0.02493 | 0.006258 | -0.024908 | -0.0062444 | 2.2138e-05 | 1.3612e-05 | 0.037198 | 0.037198 | 0.037198 | 0.99735 | -0.050954 | 0.99638 | -0.069589 | 10.2193
12 | 0.023129 | 0.0057986 | -0.023128 | -0.005798 | 1.0256e-06 | 6.2654e-07 | 0.034542 | 0.034542 | 0.034542 | 0.99638 | -0.069589 | 0.99633 | -0.07052 | 9.4895
13 | 0.016985 | 0.0042587 | -0.01698 | -0.0042562 | 4.283e-06 | 2.5101e-06 | 0.025367 | 0.025367 | 0.025367 | 0.99633 | -0.07052 | 0.99606 | -0.075813 | 6.969
14 | -0.050859 | -0.012779 | 0.050873 | 0.012789 | 1.4642e-05 | 9.2823e-06 | 0.07583 | 0.07583 | 0.07583 | 0.99816 | -0.035306 | 0.99847 | -0.029277 | 20.8323
15 | 0.013783 | 0.0034548 | -0.013781 | -0.0034536 | 2.2259e-06 | 1.2424e-06 | 0.02059 | 0.020591 | 0.020591 | 0.99606 | -0.075813 | 0.99588 | -0.079203 | 5.6567
16 | -0.052753 | -0.01326 | 0.052762 | 0.013266 | 9.4754e-06 | 6.0108e-06 | 0.078631 | 0.078631 | 0.078631 | 0.99847 | -0.029277 | 0.99867 | -0.025515 | 21.6018
17 | 0.0050161 | 0.001257 | -0.005016 | -0.001257 | 1.2833e-07 | 2.867e-09 | 0.0074949 | 0.0074949 | 0.0074949 | 0.99588 | -0.079203 | 0.99585 | -0.07974 | 2.059
18 | -0.055816 | -0.014031 | 0.05584 | 0.014046 | 2.4012e-05 | 1.5247e-05 | 0.083181 | 0.083181 | 0.083181 | 0.99867 | -0.025515 | 0.99914 | -0.01651 | 22.8519
19 | -0.057407 | -0.014439 | 0.057452 | 0.014468 | 4.5314e-05 | 2.8784e-05 | 0.085514 | 0.085514 | 0.085514 | 0.99914 | -0.01651 | 1 | 0 | 23.493
20 | 0.047181 | 0.011842 | -0.047166 | -0.011833 | 1.5183e-05 | 9.6097e-06 | 0.070212 | 0.070212 | 0.070212 | 1 | 0 | 0.99965 | -0.00675 | 19.2891
21 | 0.011731 | 0.0029408 | -0.011729 | -0.0029395 | 2.4975e-06 | 1.3121e-06 | 0.017463 | 0.017463 | 0.017463 | 0.99965 | -0.00675 | 0.99942 | -0.011219 | 4.7975
22 | 0.035434 | 0.0088917 | -0.035413 | -0.0088785 | 2.1119e-05 | 1.3251e-05 | 0.052749 | 0.052749 | 0.052749 | 0.99965 | -0.00675 | 0.999 | -0.019257 | 14.4916
23 | 0.0061203 | 0.0015338 | -0.0061189 | -0.0015335 | 1.4654e-06 | 3.2135e-07 | 0.0091124 | 0.0091126 | 0.0091126 | 0.99942 | -0.011219 | 0.99916 | -0.016245 | 2.5035
24 | 0.02769 | 0.0069477 | -0.027684 | -0.0069438 | 6.1925e-06 | 3.8362e-06 | 0.041247 | 0.041247 | 0.041247 | 0.999 | -0.019257 | 0.99875 | -0.023948 | 11.3316
25 | 0.0077234 | 0.0019308 | -0.0077228 | -0.0019306 | 6.5069e-07 | 2.4474e-07 | 0.011502 | 0.011502 | 0.011502 | 0.999 | -0.019257 | 0.99891 | -0.021029 | 3.16
26 | 0.025337 | 0.0063556 | -0.025325 | -0.0063484 | 1.1779e-05 | 7.2505e-06 | 0.037751 | 0.037751 | 0.037751 | 0.99875 | -0.023948 | 0.99825 | -0.033706 | 10.3711
27 | 0.0053839 | 0.0013444 | -0.0053833 | -0.0013443 | 6.0031e-07 | 5.8307e-08 | 0.0080184 | 0.0080185 | 0.0080185 | 0.99891 | -0.021029 | 0.99878 | -0.023376 | 2.2029
28 | 0.0027662 | 0.00069315 | -0.0027661 | -0.00069325 | 6.8937e-08 | -9.5883e-08 | 0.0041332 | 0.0041332 | 0.0041332 | 0.99585 | -0.07974 | 0.99583 | -0.080263 | 1.1355
29 | 0.00022398 | 5.6113e-05 | -0.00022398 | -5.6136e-05 | 7.2124e-11 | -2.2546e-08 | 0.00033382 | 0.00033382 | 0.00033382 | 0.99841 | -0.03068 | 0.99841 | -0.030687 | 0.09171
30 | -0.00092461 | -0.00023171 | 0.00092465 | 0.00023102 | 3.8959e-08 | -6.907e-07 | 0.001378 | 0.0013778 | 0.001378 | 0.99841 | -0.03068 | 0.99845 | -0.029794 | 0.37858
31 | -0.00092465 | -0.00023102 | 0.00092484 | 0.0002277 | 1.8669e-07 | -3.3144e-06 | 0.0013778 | 0.0013766 | 0.0013778 | 0.99845 | -0.029794 | 0.99867 | -0.025523 | 0.37851
32 | -0.00092484 | -0.0002277 | 0.00092486 | 0.0002272 | 2.8127e-08 | -4.9999e-07 | 0.0013766 | 0.0013764 | 0.0013766 | 0.99867 | -0.025523 | 0.99871 | -0.024876 | 0.37818
33 | -0.0032612 | -0.00081273 | 0.0032614 | 0.00081254 | 2.3196e-07 | -1.9464e-07 | 0.0048573 | 0.0048572 | 0.0048573 | 0.99871 | -0.024876 | 0.99878 | -0.023376 | 1.3344
34 | -0.0063802 | -0.001599 | 0.0063805 | 0.0015991 | 3.0005e-07 | 7.6545e-08 | 0.009514 | 0.0095139 | 0.009514 | 0.99788 | -0.04074 | 0.99793 | -0.039753 | 2.6137
35 | -0.013104 | -0.0032841 | 0.013107 | 0.0032857 | 2.8353e-06 | 1.5558e-06 | 0.019539 | 0.019539 | 0.019539 | 0.99793 | -0.039753 | 0.99817 | -0.035212 | 5.3679
36 | -0.019506 | -0.0048895 | 0.019507 | 0.0048903 | 1.3997e-06 | 8.381e-07 | 0.029079 | 0.029079 | 0.029079 | 0.99817 | -0.035212 | 0.99825 | -0.033706 | 7.9886
37 | 0.0061189 | 0.0015335 | -0.0061183 | -0.0015334 | 5.6277e-07 | 1.235e-07 | 0.0091126 | 0.0091127 | 0.0091127 | 0.99916 | -0.016245 | 0.99905 | -0.018176 | 2.5035

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.10908 | 0.027011

## res_load
| p_mw | q_mvar
0 | 0.0013202 | 0.00033088
1 | 0.0060238 | 0.0015097
2 | 0.0050485 | 0.0012653
3 | 0.0018342 | 0.00045969
4 | 0.0083856 | 0.0021016
5 | 0.0020425 | 0.00051189
6 | 0.0040995 | 0.0010274
7 | 0.0017788 | 0.00044582
8 | 0.0020294 | 0.00050861
9 | 0.0031974 | 0.00080135
10 | 0.0018796 | 0.00047107
11 | 0.0087645 | 0.0021966
12 | 0.0030538 | 0.00076535
13 | 0.001567 | 0.00039273
14 | 0.0027967 | 0.00070092
15 | 0.0056086 | 0.0014057
16 | 0.0023469 | 0.00058819
17 | 0.0023389 | 0.00058618
18 | 0.0022498 | 0.00056387
19 | 0.0027661 | 0.00069325
20 | 0.00070062 | 0.00017559
21 | 0.00022398 | 5.6136e-05
22 | 0.0023363 | 0.00058553
23 | 0.0021219 | 0.0005318
24 | 0.0063802 | 0.001599
25 | 0.0067233 | 0.001685
26 | 0.0063992 | 0.0016038
27 | 0.0012199 | 0.00030574
28 | 0.0061183 | 0.0015334
29 | 0.0058177 | 0.0014581

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1