## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1345-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1345-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1345-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1345-8_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1345-8_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1345-8_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1345-8_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1345-8_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1345-8_0_4_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_1345-8_0_4_node_62 | 0.4 | n |  | TRUE
10 | bus_LV_1345-8_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1345-8_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1345-8_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1345-8_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1345-8_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1345-8_0_4_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_1345-8_0_4_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_1345-8_0_4_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_1345-8_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1345-8_0_4_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_1345-8_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1345-8_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1345-8_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1345-8_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1345-8_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1345-8_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_1345-8_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1345-8_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1345-8_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1345-8_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1345-8_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1345-8_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1345-8_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1345-8_0_4_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_1345-8_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1345-8_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1345-8_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1345-8_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1345-8_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1345-8_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1345-8_0_4_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_1345-8_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1345-8_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1345-8_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1345-8_0_4_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_1345-8_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1345-8_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1345-8_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_1345-8_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_1345-8_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1345-8_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_1345-8_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_1345-8_0_4_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_1345-8_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_1345-8_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_1345-8_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_1345-8_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_1345-8_0_4_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_1345-8_0_4_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_1345-8_0_4_node_60 | 0.4 | n |  | TRUE
60 | bus_MV_20_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1345-8_0_4_load_0 | 0 | 0.0024447 | 0.00061271 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1345-8_0_4_load_3 | 3 | 0.0002179 | 5.4611e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1345-8_0_4_load_6 | 7 | 0.009555 | 0.0023947 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1345-8_0_4_load_62 | 9 | 0.0088293 | 0.0022128 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1345-8_0_4_load_13 | 14 | 0.016452 | 0.0041232 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1345-8_0_4_load_46 | 16 | 0.07871 | 0.019727 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1345-8_0_4_load_43 | 17 | 0.0035946 | 0.0009009 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1345-8_0_4_load_11 | 18 | 0.0029323 | 0.00073491 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1345-8_0_4_load_61 | 19 | 0.032446 | 0.0081316 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1345-8_0_4_load_17 | 22 | 0.02141 | 0.0053659 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1345-8_0_4_load_18 | 23 | 0.032273 | 0.0080885 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1345-8_0_4_load_19 | 24 | 0.019242 | 0.0048226 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1345-8_0_4_load_22 | 27 | 0.0054418 | 0.0013639 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1345-8_0_4_load_20 | 28 | 0.027258 | 0.0068316 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1345-8_0_4_load_21 | 29 | 0.010207 | 0.0025581 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1345-8_0_4_load_23 | 30 | 0.0076084 | 0.0019069 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1345-8_0_4_load_29 | 31 | 0.010175 | 0.00255 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1345-8_0_4_load_26 | 32 | 0.0083812 | 0.0021005 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1345-8_0_4_load_51 | 33 | 0.0018569 | 0.00046538 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1345-8_0_4_load_27 | 34 | 0.031312 | 0.0078476 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1345-8_0_4_load_32 | 36 | 0.018785 | 0.004708 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1345-8_0_4_load_33 | 37 | 0.010636 | 0.0026656 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1345-8_0_4_load_34 | 38 | 0.02636 | 0.0066063 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1345-8_0_4_load_39 | 41 | 0.011438 | 0.0028666 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1345-8_0_4_load_41 | 42 | 0.0087447 | 0.0021916 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1345-8_0_4_load_38 | 43 | 0.014058 | 0.0035233 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1345-8_0_4_load_50 | 44 | 0.0059874 | 0.0015006 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1345-8_0_4_load_49 | 45 | 0.0056867 | 0.0014252 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1345-8_0_4_load_48 | 46 | 0.00062979 | 0.00015784 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1345-8_0_4_load_35 | 48 | 0.011304 | 0.002833 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1345-8_0_4_load_37 | 49 | 0.010371 | 0.0025992 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1345-8_0_4_load_40 | 50 | 0.0088408 | 0.0022157 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1345-8_0_4_load_42 | 51 | 0.0086406 | 0.0021655 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1345-8_0_4_load_54 | 53 | 0.0020282 | 0.00050832 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1345-8_0_4_load_56 | 54 | 0.0029811 | 0.00074714 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1345-8_0_4_load_55 | 55 | 0.0022138 | 0.00055484 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1345-8_0_4_load_58 | 57 | 0.0024873 | 0.00062339 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1345-8_0_4_load_59 | 58 | 0.0093079 | 0.0023328 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1345-8_0_4_load_60 | 59 | 0.0087459 | 0.0021919 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1345-8_0_4_line_0 |  | 0 | 1 | 0.021433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1345-8_0_4_line_1 |  | 0 | 2 | 0.03506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1345-8_0_4_line_2 |  | 1 | 3 | 0.038811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1345-8_0_4_line_3 |  | 2 | 4 | 0.007538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1345-8_0_4_line_4 |  | 4 | 8 | 0.037834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1345-8_0_4_line_5 |  | 5 | 6 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1345-8_0_4_line_6 |  | 5 | 7 | 0.015312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1345-8_0_4_line_7 |  | 6 | 9 | 0.034236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1345-8_0_4_line_8 |  | 6 | 10 | 0.005896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1345-8_0_4_line_9 |  | 7 | 11 | 0.011367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1345-8_0_4_line_10 |  | 8 | 13 | 0.009832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1345-8_0_4_line_11 |  | 8 | 16 | 0.043305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1345-8_0_4_line_12 |  | 10 | 18 | 0.0055733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1345-8_0_4_line_13 |  | 11 | 12 | 0.026845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1345-8_0_4_line_14 |  | 12 | 13 | 0.013262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1345-8_0_4_line_15 |  | 12 | 14 | 0.050577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1345-8_0_4_line_16 |  | 13 | 19 | 0.02256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1345-8_0_4_line_17 |  | 14 | 20 | 0.017772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1345-8_0_4_line_18 |  | 15 | 16 | 0.025253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1345-8_0_4_line_19 |  | 15 | 17 | 0.018033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1345-8_0_4_line_20 |  | 20 | 21 | 0.05028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1345-8_0_4_line_21 |  | 21 | 22 | 0.033224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1345-8_0_4_line_22 |  | 22 | 23 | 0.024435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1345-8_0_4_line_23 |  | 23 | 24 | 0.021138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1345-8_0_4_line_24 |  | 24 | 25 | 0.011333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1345-8_0_4_line_25 |  | 25 | 26 | 0.008845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1345-8_0_4_line_26 |  | 25 | 27 | 0.021789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1345-8_0_4_line_27 |  | 26 | 31 | 0.02666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1345-8_0_4_line_28 |  | 26 | 32 | 0.012943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1345-8_0_4_line_29 |  | 27 | 28 | 0.0042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1345-8_0_4_line_30 |  | 28 | 29 | 0.017862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1345-8_0_4_line_31 |  | 29 | 30 | 0.023365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1345-8_0_4_line_32 |  | 31 | 33 | 0.017588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1345-8_0_4_line_33 |  | 32 | 34 | 0.031523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1345-8_0_4_line_34 |  | 33 | 40 | 0.04019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1345-8_0_4_line_35 |  | 34 | 35 | 0.034423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1345-8_0_4_line_36 |  | 35 | 36 | 0.019072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1345-8_0_4_line_37 |  | 35 | 37 | 0.014847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1345-8_0_4_line_38 |  | 36 | 38 | 0.034843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1345-8_0_4_line_39 |  | 37 | 39 | 0.042898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1345-8_0_4_line_40 |  | 38 | 48 | 0.0020353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1345-8_0_4_line_41 |  | 39 | 49 | 0.017069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1345-8_0_4_line_42 |  | 40 | 52 | 0.026161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1345-8_0_4_line_43 |  | 40 | 53 | 0.020392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1345-8_0_4_line_44 |  | 41 | 42 | 0.053396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1345-8_0_4_line_45 |  | 41 | 43 | 0.03062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1345-8_0_4_line_46 |  | 42 | 51 | 0.011289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1345-8_0_4_line_47 |  | 42 | 50 | 0.0097449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1345-8_0_4_line_48 |  | 43 | 49 | 0.033218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1345-8_0_4_line_49 |  | 44 | 45 | 0.010807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1345-8_0_4_line_50 |  | 45 | 47 | 0.012079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1345-8_0_4_line_51 |  | 46 | 47 | 0.020626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1345-8_0_4_line_52 |  | 47 | 51 | 0.0061652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1345-8_0_4_line_53 |  | 52 | 54 | 0.023249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1345-8_0_4_line_54 |  | 53 | 55 | 0.025124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1345-8_0_4_line_55 |  | 54 | 56 | 0.018058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1345-8_0_4_line_56 |  | 56 | 57 | 0.0022973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1345-8_0_4_line_57 |  | 56 | 58 | 0.023503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1345-8_0_4_line_58 |  | 57 | 59 | 0.014821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1345-8_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 60 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2716382.7208 | 1225637.4567 | 2716393.6314 | 1225619.0081
1 | 2716416.8577 | 1225597.6046 | 2716412.0841 | 1225602.0702 | 2716404.0442 | 1225601.4013 | 2716393.6314 | 1225619.0081
2 | 2716382.7208 | 1225637.4567 | 2716391.8788 | 1225645.6977 | 2716405.0978 | 1225647.1351 | 2716411.5123 | 1225635.6051
3 | 2716422.3654 | 1225592.4416 | 2716416.8577 | 1225597.6046
4 | 2716434.6501 | 1225556.7877 | 2716431.0958 | 1225571.7853 | 2716422.3654 | 1225592.4416
5 | 2716369.0018 | 1225550.7435 | 2716371.9456 | 1225554.1481 | 2716373.7852 | 1225558.5653 | 2716374.492 | 1225561.9706 | 2716379.9965 | 1225560.8441
6 | 2716379.9965 | 1225560.8441 | 2716385.6126 | 1225559.0525 | 2716393.7921 | 1225556.0768 | 2716394.4409 | 1225555.7803
7 | 2716369.0018 | 1225550.7435 | 2716376.7222 | 1225547.9812 | 2716383.4972 | 1225547.4132 | 2716401.2395 | 1225539.7543
8 | 2716365.1307 | 1225546.2866 | 2716369.0018 | 1225550.7435
9 | 2716404.7795 | 1225551.0545 | 2716394.4409 | 1225555.7803
10 | 2716434.6501 | 1225556.7877 | 2716434.6151 | 1225546.9572
11 | 2716434.6501 | 1225556.7877 | 2716441.9893 | 1225558.7773 | 2716465.7806 | 1225556.6522 | 2716471.2481 | 1225567.1264
12 | 2716365.1307 | 1225546.2866 | 2716359.6356 | 1225547.2166
13 | 2716404.7795 | 1225551.0545 | 2716414.0642 | 1225545.4651 | 2716421.5503 | 1225540.3409 | 2716427.0473 | 1225536.1118
14 | 2716427.0473 | 1225536.1118 | 2716432.553 | 1225543.0583 | 2716434.6151 | 1225546.9572
15 | 2716427.0473 | 1225536.1118 | 2716435.2865 | 1225528.1557 | 2716444.2219 | 1225514.0752 | 2716450.2716 | 1225501.7618 | 2716455.1952 | 1225494.5548
16 | 2716434.6151 | 1225546.9572 | 2716457.171 | 1225545.186
17 | 2716466.4987 | 1225480.8743 | 2716457.8129 | 1225490.7231 | 2716455.1952 | 1225494.5548
18 | 2716482.934 | 1225589.5134 | 2716471.2481 | 1225567.1264
19 | 2716482.934 | 1225589.5134 | 2716500.0029 | 1225595.3298
20 | 2716507.6859 | 1225452.0359 | 2716502.5249 | 1225455.7488 | 2716466.4987 | 1225480.8743
21 | 2716507.6859 | 1225452.0359 | 2716513.7591 | 1225460.2055 | 2716528.0941 | 1225478.2478
22 | 2716543.2945 | 1225497.3793 | 2716528.0941 | 1225478.2478
23 | 2716543.2945 | 1225497.3793 | 2716556.4451 | 1225513.9281
24 | 2716563.9528 | 1225522.4143 | 2716557.3332 | 1225515.0457 | 2716556.4451 | 1225513.9281
25 | 2716563.9528 | 1225522.4143 | 2716570.571 | 1225528.3041
26 | 2716563.9528 | 1225522.4143 | 2716554.8531 | 1225542.2119
27 | 2716570.571 | 1225528.3041 | 2716595.7595 | 1225537.0399
28 | 2716570.571 | 1225528.3041 | 2716573.0388 | 1225537.8042 | 2716574.1872 | 1225540.7135
29 | 2716554.8531 | 1225542.2119 | 2716553.0991 | 1225546.0281
30 | 2716553.0991 | 1225546.0281 | 2716545.6392 | 1225562.2582
31 | 2716535.8812 | 1225583.4882 | 2716545.6392 | 1225562.2582
32 | 2716595.7595 | 1225537.0399 | 2716600.3063 | 1225538.6168 | 2716612.2067 | 1225543.2651
33 | 2716574.1872 | 1225540.7135 | 2716585.7614 | 1225570.0345
34 | 2716649.6421 | 1225557.8874 | 2716612.2067 | 1225543.2651
35 | 2716600.3081 | 1225601.1764 | 2716591.3881 | 1225584.2886 | 2716585.7614 | 1225570.0345
36 | 2716600.3081 | 1225601.1764 | 2716584.2566 | 1225611.4772
37 | 2716600.3081 | 1225601.1764 | 2716609.1619 | 1225613.0951
38 | 2716584.2566 | 1225611.4772 | 2716566.7642 | 1225622.7026 | 2716563.1601 | 1225631.7168 | 2716564.4032 | 1225635.8857
39 | 2716634.7427 | 1225647.5315 | 2716609.1619 | 1225613.0951
40 | 2716564.4032 | 1225635.8857 | 2716564.9849 | 1225637.8361
41 | 2716634.7427 | 1225647.5315 | 2716620.4959 | 1225656.9322
42 | 2716649.6421 | 1225557.8874 | 2716674.0768 | 1225567.4182
43 | 2716649.6421 | 1225557.8874 | 2716634.0362 | 1225571.0137
44 | 2716567.2125 | 1225692.0909 | 2716514.6371 | 1225682.7652
45 | 2716567.2125 | 1225692.0909 | 2716592.77 | 1225675.2269
46 | 2716514.6371 | 1225682.7652 | 2716514.6478 | 1225686.5427 | 2716513.0215 | 1225693.8761
47 | 2716514.6094 | 1225673.0203 | 2716514.6371 | 1225682.7652
48 | 2716620.4959 | 1225656.9322 | 2716592.77 | 1225675.2269
49 | 2716513.3508 | 1225711.7888 | 2716513.7498 | 1225722.5882
50 | 2716511.6867 | 1225699.8951 | 2716513.117 | 1225705.4607 | 2716513.3508 | 1225711.7888
51 | 2716511.6867 | 1225699.8951 | 2716504.6858 | 1225697.6785 | 2716491.4602 | 1225698.9095
52 | 2716511.6867 | 1225699.8951 | 2716513.0215 | 1225693.8761
53 | 2716674.0768 | 1225567.4182 | 2716666.6743 | 1225585.665 | 2716663.884 | 1225587.8724
54 | 2716614.8091 | 1225587.1858 | 2716634.0362 | 1225571.0137
55 | 2716649.7213 | 1225599.0764 | 2716663.884 | 1225587.8724
56 | 2716649.7213 | 1225599.0764 | 2716647.9187 | 1225600.5005
57 | 2716649.7213 | 1225599.0764 | 2716663.8985 | 1225617.8219
58 | 2716636.2887 | 1225609.688 | 2716647.9187 | 1225600.5005

## bus_geodata
| x | y | coords
0 | 2716393.6314 | 1225619.0081
1 | 2716382.7208 | 1225637.4567
2 | 2716416.8577 | 1225597.6046
3 | 2716411.5123 | 1225635.6051
4 | 2716422.3654 | 1225592.4416
5 | 2716379.9965 | 1225560.8441
6 | 2716369.0018 | 1225550.7435
7 | 2716394.4409 | 1225555.7803
8 | 2716434.6501 | 1225556.7877
9 | 2716401.2395 | 1225539.7543
10 | 2716365.1307 | 1225546.2866
11 | 2716404.7795 | 1225551.0545
12 | 2716427.0473 | 1225536.1118
13 | 2716434.6151 | 1225546.9572
14 | 2716455.1952 | 1225494.5548
15 | 2716482.934 | 1225589.5134
16 | 2716471.2481 | 1225567.1264
17 | 2716500.0029 | 1225595.3298
18 | 2716359.6356 | 1225547.2166
19 | 2716457.171 | 1225545.186
20 | 2716466.4987 | 1225480.8743
21 | 2716507.6859 | 1225452.0359
22 | 2716528.0941 | 1225478.2478
23 | 2716543.2945 | 1225497.3793
24 | 2716556.4451 | 1225513.9281
25 | 2716563.9528 | 1225522.4143
26 | 2716570.571 | 1225528.3041
27 | 2716554.8531 | 1225542.2119
28 | 2716553.0991 | 1225546.0281
29 | 2716545.6392 | 1225562.2582
30 | 2716535.8812 | 1225583.4882
31 | 2716595.7595 | 1225537.0399
32 | 2716574.1872 | 1225540.7135
33 | 2716612.2067 | 1225543.2651
34 | 2716585.7614 | 1225570.0345
35 | 2716600.3081 | 1225601.1764
36 | 2716584.2566 | 1225611.4772
37 | 2716609.1619 | 1225613.0951
38 | 2716564.4032 | 1225635.8857
39 | 2716634.7427 | 1225647.5315
40 | 2716649.6421 | 1225557.8874
41 | 2716567.2125 | 1225692.0909
42 | 2716514.6371 | 1225682.7652
43 | 2716592.77 | 1225675.2269
44 | 2716513.7498 | 1225722.5882
45 | 2716513.3508 | 1225711.7888
46 | 2716491.4602 | 1225698.9095
47 | 2716511.6867 | 1225699.8951
48 | 2716564.9849 | 1225637.8361
49 | 2716620.4959 | 1225656.9322
50 | 2716514.6094 | 1225673.0203
51 | 2716513.0215 | 1225693.8761
52 | 2716674.0768 | 1225567.4182
53 | 2716634.0362 | 1225571.0137
54 | 2716663.884 | 1225587.8724
55 | 2716614.8091 | 1225587.1858
56 | 2716649.7213 | 1225599.0764
57 | 2716647.9187 | 1225600.5005
58 | 2716663.8985 | 1225617.8219
59 | 2716636.2887 | 1225609.688
60 | 2716563.9528 | 1225522.4143

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97679 | -0.44647 | 0.0024447 | 0.00061271
1 | 0.97679 | -0.44656 | 0 | 0
2 | 0.97688 | -0.44476 | 0 | 0
3 | 0.97678 | -0.44671 | 0.0002179 | 5.4611e-05
4 | 0.9769 | -0.4444 | 0 | 0
5 | 0.9783 | -0.41706 | 0 | 0
6 | 0.9781 | -0.421 | 0 | 0
7 | 0.97847 | -0.41378 | 0.009555 | 0.0023947
8 | 0.97699 | -0.44255 | 0 | 0
9 | 0.97782 | -0.42651 | 0.0088293 | 0.0022128
10 | 0.97808 | -0.42131 | 0 | 0
11 | 0.97869 | -0.40937 | 0 | 0
12 | 0.97922 | -0.39896 | 0 | 0
13 | 0.97777 | -0.42731 | 0 | 0
14 | 0.98575 | -0.27225 | 0.016452 | 0.0041232
15 | 0.97359 | -0.50953 | 0 | 0
16 | 0.97367 | -0.50786 | 0.07871 | 0.019727
17 | 0.97353 | -0.51072 | 0.0035946 | 0.0009009
18 | 0.97807 | -0.42161 | 0.0029323 | 0.00073491
19 | 0.97709 | -0.44066 | 0.032446 | 0.0081316
20 | 0.98703 | -0.24755 | 0 | 0
21 | 0.98884 | -0.21271 | 0 | 0
22 | 0.99004 | -0.18976 | 0.02141 | 0.0053659
23 | 0.99104 | -0.17059 | 0.032273 | 0.0080885
24 | 0.99207 | -0.15102 | 0.019242 | 0.0048226
25 | 0.99266 | -0.13958 | 0 | 0
26 | 0.99221 | -0.14823 | 0 | 0
27 | 0.99492 | -0.096408 | 0.0054418 | 0.0013639
28 | 0.99536 | -0.088008 | 0.027258 | 0.0068316
29 | 0.99735 | -0.050229 | 0.010207 | 0.0025581
30 | 1 | 0 | -0.50088 | -0.12791
31 | 0.99124 | -0.16704 | 0.010175 | 0.00255
32 | 0.99167 | -0.15862 | 0.0083812 | 0.0021005
33 | 0.99076 | -0.17629 | 0.0018569 | 0.00046538
34 | 0.99042 | -0.18279 | 0.031312 | 0.0078476
35 | 0.98817 | -0.22616 | 0 | 0
36 | 0.98718 | -0.24539 | 0.018785 | 0.004708
37 | 0.987 | -0.24872 | 0.010636 | 0.0026656
38 | 0.98597 | -0.26889 | 0.02636 | 0.0066063
39 | 0.98404 | -0.306 | 0 | 0
40 | 0.98974 | -0.19612 | 0 | 0
41 | 0.97948 | -0.39509 | 0.011438 | 0.0028666
42 | 0.97757 | -0.43255 | 0.0087447 | 0.0021916
43 | 0.9809 | -0.36734 | 0.014058 | 0.0035233
44 | 0.97709 | -0.442 | 0.0059874 | 0.0015006
45 | 0.97715 | -0.44082 | 0.0056867 | 0.0014252
46 | 0.97727 | -0.43848 | 0.00062979 | 0.00015784
47 | 0.97728 | -0.43825 | 0 | 0
48 | 0.98595 | -0.2693 | 0.011304 | 0.002833
49 | 0.98287 | -0.32888 | 0.010371 | 0.0025992
50 | 0.97749 | -0.43412 | 0.0088408 | 0.0022157
51 | 0.97735 | -0.43686 | 0.0086406 | 0.0021655
52 | 0.98918 | -0.20708 | 0 | 0
53 | 0.98966 | -0.19766 | 0.0020282 | 0.00050832
54 | 0.98867 | -0.21683 | 0.0029811 | 0.00074714
55 | 0.98961 | -0.19865 | 0.0022138 | 0.00055484
56 | 0.98833 | -0.22344 | 0 | 0
57 | 0.98831 | -0.22391 | 0.0024873 | 0.00062339
58 | 0.98813 | -0.22735 | 0.0093079 | 0.0023328
59 | 0.98819 | -0.22622 | 0.0087459 | 0.0021919
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0002179 | 5.3858e-05 | -0.0002179 | -5.4126e-05 | 8.8446e-10 | -2.6772e-07 | 0.00033168 | 0.00033177 | 0.00033177 | 0.97679 | -0.44647 | 0.97679 | -0.44656 | 0.091146
1 | -0.0026626 | -0.00066657 | 0.0026629 | 0.00066627 | 2.1627e-07 | -3.0049e-07 | 0.0040559 | 0.0040557 | 0.0040559 | 0.97679 | -0.44647 | 0.97688 | -0.44476 | 1.1143
2 | 0.0002179 | 5.4126e-05 | -0.0002179 | -5.4611e-05 | 1.6028e-09 | -4.8478e-07 | 0.00033177 | 0.00033194 | 0.00033194 | 0.97679 | -0.44656 | 0.97678 | -0.44671 | 0.091194
3 | -0.0026629 | -0.00066627 | 0.0026629 | 0.0006662 | 4.6497e-08 | -6.4617e-08 | 0.0040557 | 0.0040557 | 0.0040557 | 0.97688 | -0.44476 | 0.9769 | -0.4444 | 1.1142
4 | -0.0026629 | -0.0006662 | 0.0026631 | 0.00066588 | 2.3336e-07 | -3.2438e-07 | 0.0040557 | 0.0040555 | 0.0040557 | 0.9769 | -0.4444 | 0.97699 | -0.44255 | 1.1142
5 | 0.011766 | 0.0029499 | -0.011764 | -0.0029487 | 2.208e-06 | 1.1823e-06 | 0.017897 | 0.017897 | 0.017897 | 0.9783 | -0.41706 | 0.9781 | -0.421 | 4.9168
6 | -0.011766 | -0.0029499 | 0.011768 | 0.0029509 | 1.8392e-06 | 9.848e-07 | 0.017897 | 0.017897 | 0.017897 | 0.9783 | -0.41706 | 0.97847 | -0.41378 | 4.9168
7 | 0.0088316 | 0.0022139 | -0.0088293 | -0.0022128 | 2.3177e-06 | 1.0538e-06 | 0.013436 | 0.013436 | 0.013436 | 0.9781 | -0.421 | 0.97782 | -0.42651 | 3.6912
8 | 0.0029324 | 0.00073482 | -0.0029324 | -0.00073487 | 4.4003e-08 | -4.5837e-08 | 0.0044612 | 0.0044612 | 0.0044612 | 0.9781 | -0.421 | 0.97808 | -0.42131 | 1.2256
9 | -0.021323 | -0.0053456 | 0.021328 | 0.0053483 | 4.4826e-06 | 2.7261e-06 | 0.032428 | 0.032428 | 0.032428 | 0.97847 | -0.41378 | 0.97869 | -0.40937 | 8.9088
10 | -0.085226 | -0.021457 | 0.085288 | 0.021497 | 6.2156e-05 | 3.9656e-05 | 0.12984 | 0.12984 | 0.12984 | 0.97699 | -0.44255 | 0.97777 | -0.42731 | 35.6699
11 | 0.082563 | 0.020791 | -0.082306 | -0.020627 | 0.00025693 | 0.0001639 | 0.12578 | 0.12578 | 0.12578 | 0.97699 | -0.44255 | 0.97367 | -0.50786 | 34.5558
12 | 0.0029324 | 0.00073487 | -0.0029323 | -0.00073491 | 4.1595e-08 | -4.3325e-08 | 0.0044612 | 0.0044612 | 0.0044612 | 0.97808 | -0.42131 | 0.97807 | -0.42161 | 1.2256
13 | -0.021328 | -0.0053483 | 0.021338 | 0.0053547 | 1.0586e-05 | 6.4374e-06 | 0.032428 | 0.032428 | 0.032428 | 0.97869 | -0.40937 | 0.97922 | -0.39896 | 8.9088
14 | 0.11791 | 0.029743 | -0.11775 | -0.029641 | 0.00015979 | 0.0001021 | 0.17925 | 0.17925 | 0.17925 | 0.97922 | -0.39896 | 0.97777 | -0.42731 | 49.2445
15 | -0.13925 | -0.035098 | 0.1401 | 0.035641 | 0.00084984 | 0.00054326 | 0.21168 | 0.21168 | 0.21168 | 0.97922 | -0.39896 | 0.98575 | -0.27225 | 58.1532
16 | 0.032466 | 0.0081446 | -0.032446 | -0.0081316 | 2.0655e-05 | 1.2936e-05 | 0.049411 | 0.049411 | 0.049411 | 0.97777 | -0.42731 | 0.97709 | -0.44066 | 13.5746
17 | -0.15655 | -0.039765 | 0.15674 | 0.039884 | 0.0001864 | 0.00011884 | 0.23651 | 0.23651 | 0.23651 | 0.98575 | -0.27225 | 0.98703 | -0.24755 | 32.4879
18 | -0.0035948 | -0.00090081 | 0.0035951 | 0.00090068 | 2.8586e-07 | -1.3111e-07 | 0.0054942 | 0.0054941 | 0.0054942 | 0.97359 | -0.50953 | 0.97367 | -0.50786 | 1.5094
19 | 0.0035948 | 0.00090081 | -0.0035946 | -0.0009009 | 2.0413e-07 | -9.3586e-08 | 0.0054942 | 0.0054943 | 0.0054943 | 0.97359 | -0.50953 | 0.97353 | -0.51072 | 1.5094
20 | -0.15674 | -0.039884 | 0.157 | 0.04005 | 0.00026368 | 0.00016618 | 0.23651 | 0.23651 | 0.23651 | 0.98703 | -0.24755 | 0.98884 | -0.21271 | 16.2439
21 | -0.157 | -0.04005 | 0.15718 | 0.04016 | 0.00017423 | 0.0001098 | 0.23651 | 0.23651 | 0.23651 | 0.98884 | -0.21271 | 0.99004 | -0.18976 | 16.2439
22 | -0.17859 | -0.045525 | 0.17875 | 0.04563 | 0.00016538 | 0.00010458 | 0.26869 | 0.26869 | 0.26869 | 0.99004 | -0.18976 | 0.99104 | -0.17059 | 18.4539
23 | -0.21103 | -0.053719 | 0.21123 | 0.053845 | 0.00019932 | 0.00012647 | 0.31715 | 0.31715 | 0.31715 | 0.99104 | -0.17059 | 0.99207 | -0.15102 | 21.782
24 | -0.23047 | -0.058668 | 0.2306 | 0.058748 | 0.0001272 | 8.0821e-05 | 0.34601 | 0.34601 | 0.34601 | 0.99207 | -0.15102 | 0.99266 | -0.13958 | 23.7642
25 | 0.2225 | 0.056346 | -0.2224 | -0.056287 | 9.2356e-05 | 5.8651e-05 | 0.33373 | 0.33373 | 0.33373 | 0.99266 | -0.13958 | 0.99221 | -0.14823 | 22.9212
26 | -0.45309 | -0.11509 | 0.45404 | 0.1157 | 0.00094381 | 0.00060291 | 0.67974 | 0.67974 | 0.67974 | 0.99266 | -0.13958 | 0.99492 | -0.096408 | 46.6853
27 | 0.039904 | 0.01004 | -0.039868 | -0.010018 | 3.5822e-05 | 2.2582e-05 | 0.059858 | 0.059858 | 0.059858 | 0.99221 | -0.14823 | 0.99124 | -0.16704 | 16.4446
28 | 0.1825 | 0.046247 | -0.18241 | -0.04619 | 9.1015e-05 | 5.7581e-05 | 0.27387 | 0.27387 | 0.27387 | 0.99221 | -0.14823 | 0.99167 | -0.15862 | 18.8101
29 | -0.45948 | -0.11706 | 0.45966 | 0.11718 | 0.00018631 | 0.00011902 | 0.68788 | 0.68788 | 0.68788 | 0.99492 | -0.096408 | 0.99536 | -0.088008 | 47.2443
30 | -0.48692 | -0.12401 | 0.48781 | 0.12458 | 0.00088904 | 0.00056806 | 0.72863 | 0.72863 | 0.72863 | 0.99536 | -0.088008 | 0.99735 | -0.050229 | 50.043
31 | -0.49802 | -0.12714 | 0.49923 | 0.12791 | 0.001212 | 0.00077448 | 0.74385 | 0.74385 | 0.74385 | 0.99735 | -0.050229 | 1 | 0 | 51.0889
32 | 0.029694 | 0.0074675 | -0.029681 | -0.0074593 | 1.3111e-05 | 8.1642e-06 | 0.044584 | 0.044584 | 0.044584 | 0.99124 | -0.16704 | 0.99076 | -0.17629 | 12.2484
33 | 0.17403 | 0.044089 | -0.17383 | -0.043962 | 0.00020178 | 0.00012751 | 0.2613 | 0.2613 | 0.2613 | 0.99167 | -0.15862 | 0.99042 | -0.18279 | 17.9464
34 | 0.027824 | 0.0069939 | -0.027797 | -0.0069776 | 2.6327e-05 | 1.6332e-05 | 0.041795 | 0.041796 | 0.041796 | 0.99076 | -0.17629 | 0.98974 | -0.19612 | 11.4823
35 | 0.14251 | 0.036114 | -0.14222 | -0.035925 | 0.00029629 | 0.00018874 | 0.21426 | 0.21426 | 0.21426 | 0.99042 | -0.18279 | 0.98817 | -0.22616 | 29.4307
36 | 0.056543 | 0.014207 | -0.056491 | -0.014174 | 5.1866e-05 | 3.295e-05 | 0.085157 | 0.085157 | 0.085157 | 0.98817 | -0.22616 | 0.98718 | -0.24539 | 23.3948
37 | 0.085674 | 0.021718 | -0.085581 | -0.021659 | 9.2795e-05 | 5.9199e-05 | 0.1291 | 0.1291 | 0.1291 | 0.98817 | -0.22616 | 0.987 | -0.24872 | 35.4667
38 | 0.037706 | 0.0094661 | -0.037664 | -0.0094395 | 4.2216e-05 | 2.6573e-05 | 0.056841 | 0.056842 | 0.056842 | 0.98718 | -0.24539 | 0.98597 | -0.26889 | 15.6158
39 | 0.074945 | 0.018994 | -0.07474 | -0.018862 | 0.00020564 | 0.00013107 | 0.11306 | 0.11306 | 0.11306 | 0.987 | -0.24872 | 0.98404 | -0.306 | 31.0616
40 | 0.011304 | 0.0028331 | -0.011304 | -0.002833 | 2.2214e-07 | 1.1621e-07 | 0.01706 | 0.01706 | 0.01706 | 0.98597 | -0.26889 | 0.98595 | -0.2693 | 4.6868
41 | 0.07474 | 0.018862 | -0.074658 | -0.01881 | 8.1825e-05 | 5.2151e-05 | 0.11306 | 0.11306 | 0.11306 | 0.98404 | -0.306 | 0.98287 | -0.32888 | 31.0616
42 | 0.023555 | 0.0059148 | -0.023543 | -0.0059072 | 1.2306e-05 | 7.5399e-06 | 0.035417 | 0.035418 | 0.035418 | 0.98974 | -0.19612 | 0.98918 | -0.20708 | 9.7301
43 | 0.0042425 | 0.0010628 | -0.0042422 | -0.0010629 | 3.111e-07 | -6.2946e-08 | 0.0063782 | 0.0063783 | 0.0063783 | 0.98974 | -0.19612 | 0.98966 | -0.19766 | 1.7523
44 | 0.038606 | 0.0097039 | -0.038538 | -0.0096605 | 6.8903e-05 | 4.3427e-05 | 0.058661 | 0.058661 | 0.058661 | 0.97948 | -0.39509 | 0.97757 | -0.43255 | 16.1157
45 | -0.050044 | -0.012571 | 0.050111 | 0.012613 | 6.6388e-05 | 4.2102e-05 | 0.076037 | 0.076037 | 0.076037 | 0.97948 | -0.39509 | 0.9809 | -0.36734 | 20.8894
46 | 0.020951 | 0.0052528 | -0.020947 | -0.0052502 | 4.3058e-06 | 2.6142e-06 | 0.031892 | 0.031892 | 0.031892 | 0.97757 | -0.43255 | 0.97735 | -0.43686 | 8.7616
47 | 0.0088415 | 0.002216 | -0.0088408 | -0.0022157 | 6.6188e-07 | 3.0144e-07 | 0.013458 | 0.013458 | 0.013458 | 0.97757 | -0.43255 | 0.97749 | -0.43412 | 3.6973
48 | -0.064169 | -0.016136 | 0.064287 | 0.016211 | 0.00011808 | 7.5154e-05 | 0.097363 | 0.097363 | 0.097363 | 0.9809 | -0.36734 | 0.98287 | -0.32888 | 26.7482
49 | -0.0059874 | -0.0015006 | 0.0059877 | 0.0015007 | 3.3694e-07 | 8.0277e-08 | 0.0091183 | 0.0091182 | 0.0091183 | 0.97709 | -0.442 | 0.97715 | -0.44082 | 2.505
50 | -0.011674 | -0.0029259 | 0.011676 | 0.0029267 | 1.4316e-06 | 7.649e-07 | 0.017778 | 0.017778 | 0.017778 | 0.97715 | -0.44082 | 0.97728 | -0.43825 | 4.8841
51 | -0.00062979 | -0.00015784 | 0.00062979 | 0.00015759 | 7.1119e-09 | -2.5389e-07 | 0.00095893 | 0.00095884 | 0.00095893 | 0.97727 | -0.43848 | 0.97728 | -0.43825 | 0.26344
52 | -0.012306 | -0.0030842 | 0.012306 | 0.0030847 | 8.1164e-07 | 4.422e-07 | 0.018737 | 0.018737 | 0.018737 | 0.97728 | -0.43825 | 0.97735 | -0.43686 | 5.1475
53 | 0.023543 | 0.0059072 | -0.023532 | -0.0059005 | 1.0936e-05 | 6.7011e-06 | 0.035418 | 0.035418 | 0.035418 | 0.98918 | -0.20708 | 0.98867 | -0.21683 | 9.7301
54 | 0.0022139 | 0.00055458 | -0.0022138 | -0.00055484 | 1.044e-07 | -2.56e-07 | 0.0033287 | 0.0033288 | 0.0033288 | 0.98966 | -0.19766 | 0.98961 | -0.19865 | 0.91451
55 | 0.020551 | 0.0051534 | -0.020544 | -0.0051495 | 6.4789e-06 | 3.915e-06 | 0.030931 | 0.030931 | 0.030931 | 0.98867 | -0.21683 | 0.98833 | -0.22344 | 8.4975
56 | 0.011234 | 0.0028159 | -0.011234 | -0.0028157 | 2.4647e-07 | 1.283e-07 | 0.016914 | 0.016914 | 0.016914 | 0.98833 | -0.22344 | 0.98831 | -0.22391 | 4.6468
57 | 0.0093096 | 0.0023336 | -0.0093079 | -0.0023328 | 1.7316e-06 | 8.0707e-07 | 0.014017 | 0.014017 | 0.014017 | 0.98833 | -0.22344 | 0.98813 | -0.22735 | 3.8507
58 | 0.0087468 | 0.0021924 | -0.0087459 | -0.0021919 | 9.6395e-07 | 4.2702e-07 | 0.013169 | 0.01317 | 0.01317 | 0.98831 | -0.22391 | 0.98819 | -0.22622 | 3.618

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50849 | 0.12982

## res_load
| p_mw | q_mvar
0 | 0.0024447 | 0.00061271
1 | 0.0002179 | 5.4611e-05
2 | 0.009555 | 0.0023947
3 | 0.0088293 | 0.0022128
4 | 0.016452 | 0.0041232
5 | 0.07871 | 0.019727
6 | 0.0035946 | 0.0009009
7 | 0.0029323 | 0.00073491
8 | 0.032446 | 0.0081316
9 | 0.02141 | 0.0053659
10 | 0.032273 | 0.0080885
11 | 0.019242 | 0.0048226
12 | 0.0054418 | 0.0013639
13 | 0.027258 | 0.0068316
14 | 0.010207 | 0.0025581
15 | 0.0076084 | 0.0019069
16 | 0.010175 | 0.00255
17 | 0.0083812 | 0.0021005
18 | 0.0018569 | 0.00046538
19 | 0.031312 | 0.0078476
20 | 0.018785 | 0.004708
21 | 0.010636 | 0.0026656
22 | 0.02636 | 0.0066063
23 | 0.011438 | 0.0028666
24 | 0.0087447 | 0.0021916
25 | 0.014058 | 0.0035233
26 | 0.0059874 | 0.0015006
27 | 0.0056867 | 0.0014252
28 | 0.00062979 | 0.00015784
29 | 0.011304 | 0.002833
30 | 0.010371 | 0.0025992
31 | 0.0088408 | 0.0022157
32 | 0.0086406 | 0.0021655
33 | 0.0020282 | 0.00050832
34 | 0.0029811 | 0.00074714
35 | 0.0022138 | 0.00055484
36 | 0.0024873 | 0.00062339
37 | 0.0093079 | 0.0023328
38 | 0.0087459 | 0.0021919

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1