## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1347-1_1_4_node_10 | 0.4 | n |  | TRUE
1 | bus_LV_1347-1_1_4_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_1347-1_1_4_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_1347-1_1_4_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_1347-1_1_4_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_1347-1_1_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1347-1_1_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1347-1_1_4_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_1347-1_1_4_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_1347-1_1_4_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_1347-1_1_4_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_1347-1_1_4_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_1347-1_1_4_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_1347-1_1_4_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_1347-1_1_4_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_1347-1_1_4_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_1347-1_1_4_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_1347-1_1_4_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_1347-1_1_4_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_1347-1_1_4_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_1347-1_1_4_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_1347-1_1_4_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_1347-1_1_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1347-1_1_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1347-1_1_4_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1347-1_1_4_node_101 | 0.4 | n |  | TRUE
26 | bus_LV_1347-1_1_4_node_94 | 0.4 | n |  | TRUE
27 | bus_LV_1347-1_1_4_node_100 | 0.4 | n |  | TRUE
28 | bus_LV_1347-1_1_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1347-1_1_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1347-1_1_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1347-1_1_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1347-1_1_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1347-1_1_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1347-1_1_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1347-1_1_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1347-1_1_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1347-1_1_4_node_85 | 0.4 | n |  | TRUE
38 | bus_LV_1347-1_1_4_node_86 | 0.4 | n |  | TRUE
39 | bus_LV_1347-1_1_4_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_1347-1_1_4_node_106 | 0.4 | n |  | TRUE
41 | bus_LV_1347-1_1_4_node_107 | 0.4 | n |  | TRUE
42 | bus_LV_1347-1_1_4_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_1347-1_1_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1347-1_1_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1347-1_1_4_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_1347-1_1_4_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_1347-1_1_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_1347-1_1_4_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_1347-1_1_4_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_1347-1_1_4_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_1347-1_1_4_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_1347-1_1_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1347-1_1_4_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_1347-1_1_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_1347-1_1_4_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_1347-1_1_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_1347-1_1_4_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_1347-1_1_4_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_1347-1_1_4_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_1347-1_1_4_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_1347-1_1_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_1347-1_1_4_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_1347-1_1_4_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_1347-1_1_4_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_1347-1_1_4_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_1347-1_1_4_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_1347-1_1_4_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_1347-1_1_4_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_1347-1_1_4_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_1347-1_1_4_node_109 | 0.4 | n |  | TRUE
71 | bus_LV_1347-1_1_4_node_108 | 0.4 | n |  | TRUE
72 | bus_LV_1347-1_1_4_node_87 | 0.4 | n |  | TRUE
73 | bus_LV_1347-1_1_4_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_1347-1_1_4_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_1347-1_1_4_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_1347-1_1_4_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_1347-1_1_4_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_1347-1_1_4_node_89 | 0.4 | n |  | TRUE
79 | bus_LV_1347-1_1_4_node_105 | 0.4 | n |  | TRUE
80 | bus_LV_1347-1_1_4_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_1347-1_1_4_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_1347-1_1_4_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_1347-1_1_4_node_92 | 0.4 | n |  | TRUE
84 | bus_LV_1347-1_1_4_node_95 | 0.4 | n |  | TRUE
85 | bus_LV_1347-1_1_4_node_96 | 0.4 | n |  | TRUE
86 | bus_LV_1347-1_1_4_node_97 | 0.4 | n |  | TRUE
87 | bus_LV_1347-1_1_4_node_98 | 0.4 | n |  | TRUE
88 | bus_LV_1347-1_1_4_node_99 | 0.4 | n |  | TRUE
89 | bus_LV_1347-1_1_4_node_102 | 0.4 | n |  | TRUE
90 | bus_LV_1347-1_1_4_node_103 | 0.4 | n |  | TRUE
91 | bus_LV_1347-1_1_4_node_104 | 0.4 | n |  | TRUE
92 | bus_MV_21_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1347-1_1_4_load_10 | 0 | 0.0045676 | 0.0011448 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1347-1_1_4_load_18 | 3 | 0.0017072 | 0.00042787 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1347-1_1_4_load_19 | 4 | 0.0039892 | 0.00099979 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1347-1_1_4_load_20 | 6 | 0.00074195 | 0.00018595 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1347-1_1_4_load_51 | 9 | 0.0038567 | 0.00096659 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1347-1_1_4_load_50 | 10 | 0.008665 | 0.0021717 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1347-1_1_4_load_42 | 13 | 0.021851 | 0.0054764 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1347-1_1_4_load_39 | 14 | 0.0055171 | 0.0013827 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1347-1_1_4_load_56 | 15 | 0.0003134 | 7.8545e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1347-1_1_4_load_69 | 19 | 0.0068021 | 0.0017048 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1347-1_1_4_load_48 | 20 | 0.023005 | 0.0057656 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1347-1_1_4_load_22 | 22 | 0.00087195 | 0.00021853 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1347-1_1_4_load_23 | 23 | 0.00017756 | 4.4501e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1347-1_1_4_load_25 | 24 | 0.00011068 | 2.7738e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1347-1_1_4_load_94 | 26 | 0.011157 | 0.0027962 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1347-1_1_4_load_100 | 27 | 0.00028117 | 7.0467e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1347-1_1_4_load_34 | 28 | 0.0003412 | 8.5513e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1347-1_1_4_load_28 | 29 | 0.00060479 | 0.00015157 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1347-1_1_4_load_29 | 30 | 0.0039564 | 0.00099156 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1347-1_1_4_load_30 | 31 | 0.0010457 | 0.00026207 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1347-1_1_4_load_31 | 32 | 0.00057887 | 0.00014508 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1347-1_1_4_load_33 | 34 | 0.0011158 | 0.00027965 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1347-1_1_4_load_36 | 36 | 0.0017433 | 0.0004369 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1347-1_1_4_load_85 | 37 | 0.0078095 | 0.0019573 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1347-1_1_4_load_86 | 38 | 0.0049471 | 0.0012399 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1347-1_1_4_load_77 | 39 | 0.0086054 | 0.0021567 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1347-1_1_4_load_106 | 40 | 0.0037781 | 0.00094688 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1347-1_1_4_load_107 | 41 | 0.0054267 | 0.0013601 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1347-1_1_4_load_45 | 44 | 0.002686 | 0.00067318 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1347-1_1_4_load_64 | 45 | 0.0047759 | 0.001197 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1347-1_1_4_load_49 | 46 | 0.0093778 | 0.0023503 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1347-1_1_4_load_46 | 47 | 0.01119 | 0.0028045 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1347-1_1_4_load_59 | 48 | 0.010285 | 0.0025777 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1347-1_1_4_load_65 | 49 | 0.0027157 | 0.00068061 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1347-1_1_4_load_73 | 50 | 0.0043277 | 0.0010846 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1347-1_1_4_load_67 | 51 | 0.014377 | 0.0036033 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1347-1_1_4_load_47 | 52 | 0.0044499 | 0.0011152 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1347-1_1_4_load_57 | 53 | 0.018838 | 0.0047212 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1347-1_1_4_load_52 | 55 | 0.008267 | 0.0020719 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1347-1_1_4_load_53 | 56 | 0.0050247 | 0.0012593 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1347-1_1_4_load_58 | 57 | 0.0037455 | 0.00093871 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1347-1_1_4_load_60 | 58 | 0.0029722 | 0.0007449 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1347-1_1_4_load_63 | 61 | 0.0089072 | 0.0022324 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1347-1_1_4_load_68 | 62 | 0.0058749 | 0.0014724 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1347-1_1_4_load_66 | 63 | 0.0032671 | 0.00081882 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1347-1_1_4_load_79 | 64 | 0.0068138 | 0.0017077 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1347-1_1_4_load_71 | 65 | 0.0097671 | 0.0024479 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1347-1_1_4_load_80 | 66 | 0.0067823 | 0.0016998 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1347-1_1_4_load_72 | 67 | 0.005658 | 0.001418 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1347-1_1_4_load_74 | 68 | 0.0036071 | 0.00090403 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1347-1_1_4_load_78 | 69 | 0.0056043 | 0.0014046 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1347-1_1_4_load_109 | 70 | 0.0053196 | 0.0013332 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1347-1_1_4_load_108 | 71 | 0.0060413 | 0.0015141 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1347-1_1_4_load_87 | 72 | 0.0023522 | 0.00058952 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1347-1_1_4_load_82 | 74 | 0.010897 | 0.0027312 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1347-1_1_4_load_83 | 75 | 0.0016993 | 0.00042588 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1347-1_1_4_load_84 | 76 | 0.0041658 | 0.001044 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1347-1_1_4_load_88 | 77 | 0.007287 | 0.0018263 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1347-1_1_4_load_89 | 78 | 0.0023576 | 0.00059086 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1347-1_1_4_load_105 | 79 | 0.002601 | 0.00065188 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1347-1_1_4_load_93 | 80 | 0.0023094 | 0.00057878 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1347-1_1_4_load_90 | 81 | 0.0023091 | 0.00057871 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1347-1_1_4_load_91 | 82 | 0.0046116 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1347-1_1_4_load_92 | 83 | 0.0042033 | 0.0010535 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1347-1_1_4_load_95 | 84 | 0.0024571 | 0.00061581 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1347-1_1_4_load_96 | 85 | 0.0050234 | 0.001259 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1347-1_1_4_load_97 | 86 | 0.0042627 | 0.0010683 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1347-1_1_4_load_98 | 87 | 0.00030396 | 7.6179e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1347-1_1_4_load_99 | 88 | 0.0021681 | 0.00054338 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1347-1_1_4_load_102 | 89 | 0.0011134 | 0.00027904 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1347-1_1_4_load_103 | 90 | 0.0009485 | 0.00023772 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_1347-1_1_4_load_104 | 91 | 0.001119 | 0.00028044 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1347-1_1_4_line_0 |  | 0 | 1 | 0.023283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1347-1_1_4_line_1 |  | 1 | 2 | 0.023933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1347-1_1_4_line_2 |  | 1 | 3 | 0.14987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1347-1_1_4_line_3 |  | 2 | 4 | 0.030615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1347-1_1_4_line_4 |  | 3 | 7 | 0.02588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1347-1_1_4_line_5 |  | 4 | 5 | 0.01937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1347-1_1_4_line_6 |  | 5 | 6 | 0.0060129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1347-1_1_4_line_7 |  | 7 | 11 | 0.46843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1347-1_1_4_line_8 |  | 8 | 9 | 0.013981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1347-1_1_4_line_9 |  | 8 | 10 | 0.013445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1347-1_1_4_line_10 |  | 9 | 16 | 0.023739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1347-1_1_4_line_11 |  | 11 | 28 | 0.20166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1347-1_1_4_line_12 |  | 12 | 13 | 0.017853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1347-1_1_4_line_13 |  | 12 | 14 | 0.021732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1347-1_1_4_line_14 |  | 13 | 45 | 0.0055227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1347-1_1_4_line_15 |  | 14 | 43 | 0.014943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1347-1_1_4_line_16 |  | 15 | 16 | 0.03848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1347-1_1_4_line_17 |  | 16 | 55 | 0.028063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1347-1_1_4_line_18 |  | 17 | 18 | 0.094062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1347-1_1_4_line_19 |  | 17 | 19 | 0.08223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1347-1_1_4_line_20 |  | 18 | 50 | 0.099293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1347-1_1_4_line_21 |  | 19 | 51 | 0.0012078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1347-1_1_4_line_22 |  | 20 | 21 | 0.022542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1347-1_1_4_line_23 |  | 21 | 46 | 0.018513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1347-1_1_4_line_24 |  | 21 | 47 | 0.021056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1347-1_1_4_line_25 |  | 21 | 43 | 0.027948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1347-1_1_4_line_26 |  | 22 | 23 | 0.06067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1347-1_1_4_line_27 |  | 23 | 24 | 0.038789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1347-1_1_4_line_28 |  | 24 | 25 | 0.020455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1347-1_1_4_line_29 |  | 25 | 26 | 0.01125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1347-1_1_4_line_30 |  | 25 | 27 | 0.029667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1347-1_1_4_line_31 |  | 26 | 80 | 0.0055032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1347-1_1_4_line_32 |  | 27 | 88 | 0.0094102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1347-1_1_4_line_33 |  | 28 | 34 | 0.0061066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1347-1_1_4_line_34 |  | 29 | 30 | 0.01474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1347-1_1_4_line_35 |  | 29 | 31 | 0.29999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1347-1_1_4_line_36 |  | 30 | 32 | 0.013379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1347-1_1_4_line_37 |  | 31 | 33 | 0.026006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1347-1_1_4_line_38 |  | 32 | 34 | 0.04168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1347-1_1_4_line_39 |  | 33 | 35 | 0.028917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1347-1_1_4_line_40 |  | 33 | 36 | 0.016646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1347-1_1_4_line_41 |  | 35 | 37 | 0.011083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1347-1_1_4_line_42 |  | 35 | 38 | 0.012642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1347-1_1_4_line_43 |  | 35 | 39 | 0.04109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1347-1_1_4_line_44 |  | 37 | 40 | 0.027936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1347-1_1_4_line_45 |  | 38 | 41 | 0.033106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1347-1_1_4_line_46 |  | 39 | 42 | 0.0023515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1347-1_1_4_line_47 |  | 40 | 79 | 0.025216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1347-1_1_4_line_48 |  | 41 | 71 | 0.017932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1347-1_1_4_line_49 |  | 42 | 69 | 0.027643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1347-1_1_4_line_50 |  | 42 | 67 | 0.047251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_1347-1_1_4_line_51 |  | 43 | 44 | 0.026383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1347-1_1_4_line_52 |  | 44 | 48 | 0.019071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1347-1_1_4_line_53 |  | 45 | 49 | 0.030701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1347-1_1_4_line_54 |  | 47 | 52 | 0.025216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1347-1_1_4_line_55 |  | 49 | 63 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1347-1_1_4_line_56 |  | 50 | 68 | 0.004553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1347-1_1_4_line_57 |  | 51 | 60 | 0.049347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1347-1_1_4_line_58 |  | 53 | 54 | 0.023402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1347-1_1_4_line_59 |  | 54 | 57 | 0.025219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1347-1_1_4_line_60 |  | 54 | 56 | 0.0053682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1347-1_1_4_line_61 |  | 55 | 56 | 0.061742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1347-1_1_4_line_62 |  | 57 | 58 | 0.0099174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1347-1_1_4_line_63 |  | 58 | 59 | 0.0062484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1347-1_1_4_line_64 |  | 59 | 60 | 0.014163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_1347-1_1_4_line_65 |  | 59 | 61 | 0.017878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_1347-1_1_4_line_66 |  | 60 | 62 | 0.015497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_1347-1_1_4_line_67 |  | 60 | 63 | 0.02021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1347-1_1_4_line_68 |  | 61 | 64 | 0.05048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_1347-1_1_4_line_69 |  | 62 | 65 | 0.03246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_1347-1_1_4_line_70 |  | 64 | 66 | 0.0058239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1347-1_1_4_line_71 |  | 65 | 67 | 0.018455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_1347-1_1_4_line_72 |  | 66 | 73 | 0.020187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1347-1_1_4_line_73 |  | 69 | 72 | 0.0090138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1347-1_1_4_line_74 |  | 70 | 71 | 0.034804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1347-1_1_4_line_75 |  | 73 | 74 | 0.032862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1347-1_1_4_line_76 |  | 73 | 75 | 0.013536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1347-1_1_4_line_77 |  | 74 | 76 | 0.011446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1347-1_1_4_line_78 |  | 75 | 77 | 0.029623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1347-1_1_4_line_79 |  | 77 | 78 | 0.024014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1347-1_1_4_line_80 |  | 78 | 80 | 0.022989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1347-1_1_4_line_81 |  | 79 | 91 | 0.0095076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1347-1_1_4_line_82 |  | 81 | 82 | 0.0005453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1347-1_1_4_line_83 |  | 82 | 83 | 0.013588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1347-1_1_4_line_84 |  | 83 | 84 | 0.0059711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1347-1_1_4_line_85 |  | 84 | 85 | 0.012875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1347-1_1_4_line_86 |  | 85 | 86 | 0.012199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1347-1_1_4_line_87 |  | 86 | 87 | 0.0089821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1347-1_1_4_line_88 |  | 87 | 88 | 0.012096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_1347-1_1_4_line_89 |  | 89 | 90 | 0.00011417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_1347-1_1_4_line_90 |  | 90 | 91 | 0.039004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1347-1_1_4_trafo_79 | 0.63 MVA 20/0.4 kV | 92 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2714901.3052 | 1229627.2596 | 2714904.3091 | 1229610.6381 | 2714907.0705 | 1229604.8729
1 | 2714901.3052 | 1229627.2596 | 2714925.0807 | 1229630.5549
2 | 2714901.3052 | 1229627.2596 | 2714898.6391 | 1229671.8762 | 2714894.9839 | 1229741.3931 | 2714885.7005 | 1229764.1759 | 2714885.9264 | 1229775.1291
3 | 2714925.0807 | 1229630.5549 | 2714955.6705 | 1229631.7915
4 | 2714873.1343 | 1229796.8587 | 2714886.0056 | 1229778.9711 | 2714885.9264 | 1229775.1291
5 | 2714970.1428 | 1229618.9168 | 2714955.6705 | 1229631.7915
6 | 2714970.1428 | 1229618.9168 | 2714975.5411 | 1229621.5652
7 | 2714631.01 | 1229850.0395 | 2714651.7048 | 1229855.8763 | 2714652.8641 | 1229848.0258 | 2714644.2857 | 1229829.2125 | 2714621.9303 | 1229807.7204 | 2714596.3018 | 1229787.7666 | 2714575.7288 | 1229775.9944 | 2714602.273 | 1229778.719 | 2714628.4928 | 1229779.803 | 2714688.1352 | 1229786.458 | 2714722.0858 | 1229793.3292 | 2714737.5218 | 1229793.2936 | 2714775.781 | 1229807.3762 | 2714818.0447 | 1229822.0478 | 2714852.2041 | 1229836.919 | 2714869.1754 | 1229801.7416 | 2714873.1343 | 1229796.8587
8 | 2714299.2898 | 1229339.3917 | 2714295.1382 | 1229352.7425
9 | 2714299.2898 | 1229339.3917 | 2714302.5674 | 1229326.3518
10 | 2714294.0869 | 1229374.2966 | 2714295.0725 | 1229371.5134 | 2714296.6125 | 1229365.5161 | 2714292.642 | 1229360.7695 | 2714295.1382 | 1229352.7425
11 | 2714631.01 | 1229850.0395 | 2714621.075 | 1229842.2419 | 2714613.1023 | 1229834.0597 | 2714573.5797 | 1229817.8967 | 2714532.2485 | 1229811.4289 | 2714490.4582 | 1229786.3047 | 2714452.641 | 1229763.2034
12 | 2714165.1308 | 1229245.42 | 2714162.0836 | 1229263.0112
13 | 2714165.1308 | 1229245.42 | 2714185.9693 | 1229251.5858
14 | 2714161.141 | 1229268.4529 | 2714162.0836 | 1229263.0112
15 | 2714200.2979 | 1229255.8254 | 2714185.9693 | 1229251.5858
16 | 2714294.0869 | 1229374.2966 | 2714320.3338 | 1229384.3088 | 2714329.172 | 1229389.7683
17 | 2714294.0869 | 1229374.2966 | 2714267.3168 | 1229365.8768
18 | 2713992.2661 | 1229342.6577 | 2714004.1213 | 1229321.1571 | 2714012.1864 | 1229306.0333 | 2714026.0529 | 1229280.0345 | 2714038.5461 | 1229260.837
19 | 2714038.5461 | 1229260.837 | 2714062.4945 | 1229279.6997 | 2714093.5682 | 1229302.4021 | 2714105.3261 | 1229308.5367
20 | 2713992.2661 | 1229342.6577 | 2714082.6455 | 1229383.7746
21 | 2714105.3261 | 1229308.5367 | 2714106.3969 | 1229309.0954
22 | 2714227.8348 | 1229261.0471 | 2714229.8057 | 1229257.8603 | 2714248.382 | 1229260.7217
23 | 2714227.8348 | 1229261.0471 | 2714223.0477 | 1229278.9309
24 | 2714227.8348 | 1229261.0471 | 2714231.3581 | 1229240.2876
25 | 2714227.8348 | 1229261.0471 | 2714200.2979 | 1229255.8254
26 | 2714301.1821 | 1229504.9288 | 2714353.1687 | 1229536.2061
27 | 2714296.9238 | 1229471.8713 | 2714290.6429 | 1229495.4578 | 2714295.6549 | 1229501.6034 | 2714301.1821 | 1229504.9288
28 | 2714279.4101 | 1229461.3044 | 2714296.9238 | 1229471.8713 | 2714296.9238 | 1229471.8713
29 | 2714279.4101 | 1229461.3044 | 2714268.4506 | 1229458.7646
30 | 2714279.4101 | 1229461.3044 | 2714289.805 | 1229433.5181
31 | 2714263.1796 | 1229457.2459 | 2714264.7064 | 1229457.897 | 2714268.4506 | 1229458.7646
32 | 2714289.805 | 1229433.5181 | 2714293.1021 | 1229424.7044
33 | 2714447.4299 | 1229760.0201 | 2714452.641 | 1229763.2034
34 | 2714391.5424 | 1229719.0846 | 2714401.6899 | 1229729.7759
35 | 2714182.1056 | 1229525.2955 | 2714215.472 | 1229542.7394 | 2714303.4147 | 1229587.875 | 2714335.0119 | 1229612.7795 | 2714343.1869 | 1229645.1396 | 2714359.8798 | 1229685.7254 | 2714391.5424 | 1229719.0846
36 | 2714411.8609 | 1229738.2922 | 2714406.8921 | 1229735.2569 | 2714401.6899 | 1229729.7759
37 | 2714159.3756 | 1229512.6835 | 2714168.7922 | 1229518.3353 | 2714182.1056 | 1229525.2955
38 | 2714447.4299 | 1229760.0201 | 2714411.8609 | 1229738.2922
39 | 2714159.3756 | 1229512.6835 | 2714165.0545 | 1229493.978 | 2714163.8918 | 1229484.6818
40 | 2714159.3756 | 1229512.6835 | 2714144.4863 | 1229520.1258
41 | 2714163.8918 | 1229484.6818 | 2714174.8473 | 1229486.3601
42 | 2714163.8918 | 1229484.6818 | 2714151.4462 | 1229482.4634
43 | 2714163.8918 | 1229484.6818 | 2714161.1283 | 1229465.2248 | 2714157.471 | 1229444.1013
44 | 2714200.626 | 1229497.1254 | 2714174.8473 | 1229486.3601 | 2714174.8473 | 1229486.3601
45 | 2714151.4462 | 1229482.4634 | 2714151.4462 | 1229482.4634 | 2714121.3349 | 1229468.705
46 | 2714157.0698 | 1229441.7843 | 2714157.471 | 1229444.1013
47 | 2714223.8949 | 1229506.8427 | 2714200.626 | 1229497.1254
48 | 2714121.3349 | 1229468.705 | 2714105.0248 | 1229461.2526
49 | 2714157.0698 | 1229441.7843 | 2714132.5998 | 1229439.0792 | 2714129.9198 | 1229437.6786
50 | 2714157.0698 | 1229441.7843 | 2714149.4502 | 1229416.3405 | 2714142.7816 | 1229396.7537
51 | 2714200.2979 | 1229255.8254 | 2714192.2805 | 1229280.9608
52 | 2714186.4851 | 1229299.1302 | 2714192.2805 | 1229280.9608
53 | 2714161.141 | 1229268.4529 | 2714155.9009 | 1229298.7037
54 | 2714235.5774 | 1229215.4271 | 2714231.3581 | 1229240.2876
55 | 2714155.9009 | 1229298.7037 | 2714153.5962 | 1229312.0085
56 | 2714082.6455 | 1229383.7746 | 2714086.7897 | 1229385.6599
57 | 2714150.1471 | 1229331.9217 | 2714106.3969 | 1229309.0954
58 | 2714203.2988 | 1229345.7417 | 2714204.4254 | 1229341.1375 | 2714210.3313 | 1229323.4351
59 | 2714203.2988 | 1229345.7417 | 2714179.0193 | 1229338.9222
60 | 2714203.2988 | 1229345.7417 | 2714208.4197 | 1229347.3523
61 | 2714267.3168 | 1229365.8768 | 2714208.4197 | 1229347.3523
62 | 2714179.0193 | 1229338.9222 | 2714169.4714 | 1229336.2404
63 | 2714163.3061 | 1229337.2562 | 2714169.4714 | 1229336.2404 | 2714169.4714 | 1229336.2404
64 | 2714150.1471 | 1229331.9217 | 2714163.3061 | 1229337.2562
65 | 2714163.3061 | 1229337.2562 | 2714177.6511 | 1229347.9266
66 | 2714150.1471 | 1229331.9217 | 2714147.1911 | 1229347.1344
67 | 2714150.1471 | 1229331.9217 | 2714151.8688 | 1229321.9804 | 2714153.5962 | 1229312.0085
68 | 2714177.6511 | 1229347.9266 | 2714211.951 | 1229373.4404 | 2714210.8333 | 1229381.0909
69 | 2714147.1911 | 1229347.1344 | 2714140.9996 | 1229378.9988
70 | 2714209.9914 | 1229386.8536 | 2714210.8333 | 1229381.0909
71 | 2714140.9996 | 1229378.9988 | 2714139.4507 | 1229386.9703 | 2714142.7816 | 1229396.7537
72 | 2714207.0733 | 1229406.8282 | 2714209.9914 | 1229386.8536
73 | 2714121.9312 | 1229433.5035 | 2714129.9198 | 1229437.6786
74 | 2714105.0248 | 1229461.2526 | 2714073.3684 | 1229446.7881
75 | 2714207.0733 | 1229406.8282 | 2714175.4993 | 1229397.7188
76 | 2714207.0733 | 1229406.8282 | 2714205.1147 | 1229420.222
77 | 2714164.5017 | 1229394.5458 | 2714175.4993 | 1229397.7188
78 | 2714205.1147 | 1229420.222 | 2714203.4265 | 1229431.7664 | 2714219.9435 | 1229438.8095
79 | 2714242.0331 | 1229448.2288 | 2714219.9435 | 1229438.8095
80 | 2714242.0331 | 1229448.2288 | 2714263.1796 | 1229457.2459
81 | 2714223.8949 | 1229506.8427 | 2714232.6683 | 1229510.5065
82 | 2714251.4162 | 1229390.1258 | 2714251.923 | 1229390.3271
83 | 2714251.923 | 1229390.3271 | 2714264.5511 | 1229395.3445
84 | 2714270.1003 | 1229397.5492 | 2714264.5511 | 1229395.3445
85 | 2714270.1003 | 1229397.5492 | 2714282.065 | 1229402.303
86 | 2714282.065 | 1229402.303 | 2714283.053 | 1229402.6955 | 2714292.9198 | 1229407.8581
87 | 2714292.9198 | 1229407.8581 | 2714298.3429 | 1229410.6955 | 2714297.3402 | 1229413.3757
88 | 2714297.3402 | 1229413.3757 | 2714293.1021 | 1229424.7044
89 | 2714268.7654 | 1229525.5809 | 2714268.6601 | 1229525.5369
90 | 2714268.6601 | 1229525.5369 | 2714232.6683 | 1229510.5065

## bus_geodata
| x | y | coords
0 | 2714907.0705 | 1229604.8729
1 | 2714901.3052 | 1229627.2596
2 | 2714925.0807 | 1229630.5549
3 | 2714885.9264 | 1229775.1291
4 | 2714955.6705 | 1229631.7915
5 | 2714970.1428 | 1229618.9168
6 | 2714975.5411 | 1229621.5652
7 | 2714873.1343 | 1229796.8587
8 | 2714299.2898 | 1229339.3917
9 | 2714295.1382 | 1229352.7425
10 | 2714302.5674 | 1229326.3518
11 | 2714631.01 | 1229850.0395
12 | 2714165.1308 | 1229245.42
13 | 2714162.0836 | 1229263.0112
14 | 2714185.9693 | 1229251.5858
15 | 2714329.172 | 1229389.7683
16 | 2714294.0869 | 1229374.2966
17 | 2714038.5461 | 1229260.837
18 | 2713992.2661 | 1229342.6577
19 | 2714105.3261 | 1229308.5367
20 | 2714248.382 | 1229260.7217
21 | 2714227.8348 | 1229261.0471
22 | 2714353.1687 | 1229536.2061
23 | 2714301.1821 | 1229504.9288
24 | 2714296.9238 | 1229471.8713
25 | 2714279.4101 | 1229461.3044
26 | 2714268.4506 | 1229458.7646
27 | 2714289.805 | 1229433.5181
28 | 2714452.641 | 1229763.2034
29 | 2714391.5424 | 1229719.0846
30 | 2714401.6899 | 1229729.7759
31 | 2714182.1056 | 1229525.2955
32 | 2714411.8609 | 1229738.2922
33 | 2714159.3756 | 1229512.6835
34 | 2714447.4299 | 1229760.0201
35 | 2714163.8918 | 1229484.6818
36 | 2714144.4863 | 1229520.1258
37 | 2714174.8473 | 1229486.3601
38 | 2714151.4462 | 1229482.4634
39 | 2714157.471 | 1229444.1013
40 | 2714200.626 | 1229497.1254
41 | 2714121.3349 | 1229468.705
42 | 2714157.0698 | 1229441.7843
43 | 2714200.2979 | 1229255.8254
44 | 2714192.2805 | 1229280.9608
45 | 2714161.141 | 1229268.4529
46 | 2714223.0477 | 1229278.9309
47 | 2714231.3581 | 1229240.2876
48 | 2714186.4851 | 1229299.1302
49 | 2714155.9009 | 1229298.7037
50 | 2714082.6455 | 1229383.7746
51 | 2714106.3969 | 1229309.0954
52 | 2714235.5774 | 1229215.4271
53 | 2714210.3313 | 1229323.4351
54 | 2714203.2988 | 1229345.7417
55 | 2714267.3168 | 1229365.8768
56 | 2714208.4197 | 1229347.3523
57 | 2714179.0193 | 1229338.9222
58 | 2714169.4714 | 1229336.2404
59 | 2714163.3061 | 1229337.2562
60 | 2714150.1471 | 1229331.9217
61 | 2714177.6511 | 1229347.9266
62 | 2714147.1911 | 1229347.1344
63 | 2714153.5962 | 1229312.0085
64 | 2714210.8333 | 1229381.0909
65 | 2714140.9996 | 1229378.9988
66 | 2714209.9914 | 1229386.8536
67 | 2714142.7816 | 1229396.7537
68 | 2714086.7897 | 1229385.6599
69 | 2714129.9198 | 1229437.6786
70 | 2714073.3684 | 1229446.7881
71 | 2714105.0248 | 1229461.2526
72 | 2714121.9312 | 1229433.5035
73 | 2714207.0733 | 1229406.8282
74 | 2714175.4993 | 1229397.7188
75 | 2714205.1147 | 1229420.222
76 | 2714164.5017 | 1229394.5458
77 | 2714219.9435 | 1229438.8095
78 | 2714242.0331 | 1229448.2288
79 | 2714223.8949 | 1229506.8427
80 | 2714263.1796 | 1229457.2459
81 | 2714251.4162 | 1229390.1258
82 | 2714251.923 | 1229390.3271
83 | 2714264.5511 | 1229395.3445
84 | 2714270.1003 | 1229397.5492
85 | 2714282.065 | 1229402.303
86 | 2714292.9198 | 1229407.8581
87 | 2714297.3402 | 1229413.3757
88 | 2714293.1021 | 1229424.7044
89 | 2714268.7654 | 1229525.5809
90 | 2714268.6601 | 1229525.5369
91 | 2714232.6683 | 1229510.5065
92 | 2714207.0733 | 1229406.8282

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97178 | -0.54693 | 0.0045676 | 0.0011448
1 | 0.97188 | -0.54497 | 0 | 0
2 | 0.97177 | -0.54706 | 0 | 0
3 | 0.97318 | -0.51927 | 0.0017072 | 0.00042787
4 | 0.97164 | -0.54973 | 0.0039892 | 0.00099979
5 | 0.97163 | -0.55 | 0 | 0
6 | 0.97162 | -0.55008 | 0.00074195 | 0.00018595
7 | 0.97345 | -0.51403 | 0 | 0
8 | 0.99025 | -0.18715 | 0 | 0
9 | 0.99036 | -0.18499 | 0.0038567 | 0.00096659
10 | 0.99014 | -0.18922 | 0.008665 | 0.0021717
11 | 0.97825 | -0.41953 | 0 | 0
12 | 0.98585 | -0.27171 | 0 | 0
13 | 0.98695 | -0.25043 | 0.021851 | 0.0054764
14 | 0.98452 | -0.29767 | 0.0055171 | 0.0013827
15 | 0.99062 | -0.17993 | 0.0003134 | 7.8545e-05
16 | 0.99063 | -0.17971 | 0 | 0
17 | 0.99115 | -0.16959 | 0 | 0
18 | 0.99046 | -0.18285 | 0 | 0
19 | 0.99174 | -0.15801 | 0.0068021 | 0.0017048
20 | 0.98196 | -0.34765 | 0.023005 | 0.0057656
21 | 0.98244 | -0.33828 | 0 | 0
22 | 0.99405 | -0.11444 | 0.00087195 | 0.00021853
23 | 0.99409 | -0.11351 | 0.00017756 | 4.4501e-05
24 | 0.99413 | -0.11279 | 0.00011068 | 2.7738e-05
25 | 0.99415 | -0.11237 | 0 | 0
26 | 0.99443 | -0.10705 | 0.011157 | 0.0027962
27 | 0.99346 | -0.12578 | 0.00028117 | 7.0467e-05
28 | 0.98033 | -0.37909 | 0.0003412 | 8.5513e-05
29 | 0.98127 | -0.36068 | 0.00060479 | 0.00015157
30 | 0.98104 | -0.36522 | 0.0039564 | 0.00099156
31 | 0.98618 | -0.26536 | 0.0010457 | 0.00026207
32 | 0.98087 | -0.36839 | 0.00057887 | 0.00014508
33 | 0.98663 | -0.25666 | 0 | 0
34 | 0.98039 | -0.37783 | 0.0011158 | 0.00027965
35 | 0.98718 | -0.24608 | 0 | 0
36 | 0.98661 | -0.25718 | 0.0017433 | 0.0004369
37 | 0.987 | -0.24952 | 0.0078095 | 0.0019573
38 | 0.98693 | -0.251 | 0.0049471 | 0.0012399
39 | 0.98943 | -0.20242 | 0.0086054 | 0.0021567
40 | 0.98676 | -0.25431 | 0.0037781 | 0.00094688
41 | 0.98642 | -0.26095 | 0.0054267 | 0.0013601
42 | 0.98958 | -0.19957 | 0 | 0
43 | 0.98368 | -0.31407 | 0 | 0
44 | 0.98336 | -0.32024 | 0.002686 | 0.00067318
45 | 0.9874 | -0.24171 | 0.0047759 | 0.001197
46 | 0.98228 | -0.34141 | 0.0093778 | 0.0023503
47 | 0.98213 | -0.34423 | 0.01119 | 0.0028045
48 | 0.98318 | -0.32377 | 0.010285 | 0.0025777
49 | 0.99003 | -0.19072 | 0.0027157 | 0.00068061
50 | 0.98974 | -0.19686 | 0.0043277 | 0.0010846
51 | 0.99176 | -0.15769 | 0.014377 | 0.0036033
52 | 0.98203 | -0.34625 | 0.0044499 | 0.0011152
53 | 0.99188 | -0.15554 | 0.018838 | 0.0047212
54 | 0.99228 | -0.14773 | 0 | 0
55 | 0.99096 | -0.17332 | 0.008267 | 0.0020719
56 | 0.99215 | -0.15021 | 0.0050247 | 0.0012593
57 | 0.99332 | -0.12768 | 0.0037455 | 0.00093871
58 | 0.99376 | -0.11914 | 0.0029722 | 0.0007449
59 | 0.99405 | -0.11345 | 0 | 0
60 | 0.99307 | -0.13226 | 0 | 0
61 | 0.99557 | -0.084334 | 0.0089072 | 0.0022324
62 | 0.99261 | -0.14116 | 0.0058749 | 0.0014724
63 | 0.99123 | -0.16773 | 0.0032671 | 0.00081882
64 | 1 | 0 | -0.36497 | -0.092455
65 | 0.9917 | -0.15869 | 0.0097671 | 0.0024479
66 | 0.99961 | -0.0074586 | 0.0067823 | 0.0016998
67 | 0.99124 | -0.16761 | 0.005658 | 0.001418
68 | 0.98973 | -0.19715 | 0.0036071 | 0.00090403
69 | 0.98938 | -0.20348 | 0.0056043 | 0.0014046
70 | 0.98606 | -0.26792 | 0.0053196 | 0.0013332
71 | 0.98623 | -0.2646 | 0.0060413 | 0.0015141
72 | 0.98936 | -0.20386 | 0.0023522 | 0.00058952
73 | 0.99838 | -0.030962 | 0 | 0
74 | 0.99793 | -0.039622 | 0.010897 | 0.0027312
75 | 0.99775 | -0.043183 | 0.0016993 | 0.00042588
76 | 0.99789 | -0.040457 | 0.0041658 | 0.001044
77 | 0.9964 | -0.0691 | 0.007287 | 0.0018263
78 | 0.99546 | -0.087082 | 0.0023576 | 0.00059086
79 | 0.98662 | -0.25692 | 0.002601 | 0.00065188
80 | 0.99462 | -0.10337 | 0.0023094 | 0.00057878
81 | 0.99228 | -0.14855 | 0.0023091 | 0.00057871
82 | 0.99228 | -0.14853 | 0.0046116 | 0.0011558
83 | 0.99237 | -0.14686 | 0.0042033 | 0.0010535
84 | 0.99243 | -0.14569 | 0.0024571 | 0.00061581
85 | 0.99259 | -0.14259 | 0.0050234 | 0.001259
86 | 0.9928 | -0.13858 | 0.0042627 | 0.0010683
87 | 0.99299 | -0.13495 | 0.00030396 | 7.6179e-05
88 | 0.99324 | -0.12999 | 0.0021681 | 0.00054338
89 | 0.98652 | -0.2589 | 0.0011134 | 0.00027904
90 | 0.98652 | -0.2589 | 0.0009485 | 0.00023772
91 | 0.9866 | -0.25746 | 0.001119 | 0.00028044
92 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0045676 | -0.0011448 | 0.004568 | 0.0011447 | 4.271e-07 | -1.5151e-08 | 0.0069941 | 0.0069939 | 0.0069941 | 0.97178 | -0.54693 | 0.97188 | -0.54497 | 1.9214
1 | 0.0047322 | 0.0011854 | -0.0047318 | -0.0011854 | 4.7112e-07 | 4.9765e-09 | 0.0072452 | 0.0072453 | 0.0072453 | 0.97188 | -0.54497 | 0.97177 | -0.54706 | 1.9905
2 | -0.0093003 | -0.0023302 | 0.0093117 | 0.0023356 | 1.1394e-05 | 5.4326e-06 | 0.014239 | 0.014238 | 0.014239 | 0.97188 | -0.54497 | 0.97318 | -0.51927 | 3.9118
3 | 0.0047318 | 0.0011854 | -0.0047312 | -0.0011854 | 6.0267e-07 | 6.4729e-09 | 0.0072453 | 0.0072454 | 0.0072454 | 0.97177 | -0.54706 | 0.97164 | -0.54973 | 1.9905
4 | -0.011019 | -0.0027635 | 0.011022 | 0.0027649 | 2.7551e-06 | 1.4416e-06 | 0.016849 | 0.016849 | 0.016849 | 0.97318 | -0.51927 | 0.97345 | -0.51403 | 4.6288
5 | 0.00074197 | 0.00018564 | -0.00074196 | -0.00018588 | 9.3775e-09 | -2.3391e-07 | 0.0011362 | 0.0011363 | 0.0011363 | 0.97164 | -0.54973 | 0.97163 | -0.55 | 0.31216
6 | 0.00074196 | 0.00018588 | -0.00074195 | -0.00018595 | 2.9113e-09 | -7.2608e-08 | 0.0011363 | 0.0011363 | 0.0011363 | 0.97163 | -0.55 | 0.97162 | -0.55008 | 0.31217
7 | -0.011022 | -0.0027649 | 0.011071 | 0.002791 | 4.986e-05 | 2.6058e-05 | 0.016849 | 0.016847 | 0.016849 | 0.97345 | -0.51403 | 0.97825 | -0.41953 | 4.6288
8 | -0.0086659 | -0.002172 | 0.0086668 | 0.0021724 | 8.8907e-07 | 3.8912e-07 | 0.013022 | 0.013022 | 0.013022 | 0.99025 | -0.18715 | 0.99036 | -0.18499 | 3.5775
9 | 0.0086659 | 0.002172 | -0.008665 | -0.0021717 | 8.5501e-07 | 3.7425e-07 | 0.013022 | 0.013022 | 0.013022 | 0.99025 | -0.18715 | 0.99014 | -0.18922 | 3.5775
10 | -0.012524 | -0.003139 | 0.012527 | 0.0031407 | 3.1519e-06 | 1.7117e-06 | 0.018817 | 0.018817 | 0.018817 | 0.99036 | -0.18499 | 0.99063 | -0.17971 | 5.1694
11 | -0.011071 | -0.002791 | 0.011093 | 0.0028022 | 2.1462e-05 | 1.1198e-05 | 0.016847 | 0.016846 | 0.016847 | 0.97825 | -0.41953 | 0.98033 | -0.37909 | 4.6282
12 | -0.066719 | -0.0168 | 0.066787 | 0.016843 | 6.7933e-05 | 4.3249e-05 | 0.10073 | 0.10073 | 0.10073 | 0.98585 | -0.27171 | 0.98695 | -0.25043 | 27.6736
13 | 0.066719 | 0.0168 | -0.066636 | -0.016747 | 8.2691e-05 | 5.2645e-05 | 0.10073 | 0.10073 | 0.10073 | 0.98585 | -0.27171 | 0.98452 | -0.29767 | 27.6736
14 | -0.088638 | -0.02232 | 0.088675 | 0.022343 | 3.7008e-05 | 2.3614e-05 | 0.13368 | 0.13368 | 0.13368 | 0.98695 | -0.25043 | 0.9874 | -0.24171 | 36.7244
15 | 0.061119 | 0.015365 | -0.061072 | -0.015334 | 4.7835e-05 | 3.0424e-05 | 0.092393 | 0.092394 | 0.092394 | 0.98452 | -0.29767 | 0.98368 | -0.31407 | 25.3828
16 | -0.0003134 | -7.8545e-05 | 0.0003134 | 7.8052e-05 | 3.1967e-09 | -4.9336e-07 | 0.00047076 | 0.00047058 | 0.00047076 | 0.99062 | -0.17993 | 0.99063 | -0.17971 | 0.12933
17 | -0.01284 | -0.0032188 | 0.012844 | 0.0032209 | 3.9147e-06 | 2.144e-06 | 0.019287 | 0.019287 | 0.019287 | 0.99063 | -0.17971 | 0.99096 | -0.17332 | 5.2987
18 | 0.0079452 | 0.0019927 | -0.0079402 | -0.0019907 | 5.0194e-06 | 2.001e-06 | 0.011929 | 0.011929 | 0.011929 | 0.99115 | -0.16959 | 0.99046 | -0.18285 | 3.2772
19 | -0.0079452 | -0.0019927 | 0.0079496 | 0.0019945 | 4.3877e-06 | 1.7477e-06 | 0.011929 | 0.011928 | 0.011929 | 0.99115 | -0.16959 | 0.99174 | -0.15801 | 3.2771
20 | 0.0079402 | 0.0019907 | -0.0079349 | -0.0019886 | 5.2989e-06 | 2.1143e-06 | 0.011929 | 0.01193 | 0.01193 | 0.99046 | -0.18285 | 0.98974 | -0.19686 | 3.2774
21 | -0.014752 | -0.0036993 | 0.014752 | 0.0036994 | 2.219e-07 | 1.2643e-07 | 0.022134 | 0.022134 | 0.022134 | 0.99174 | -0.15801 | 0.99176 | -0.15769 | 6.0808
22 | -0.023005 | -0.0057656 | 0.023015 | 0.0057719 | 1.0273e-05 | 6.2895e-06 | 0.034861 | 0.034861 | 0.034861 | 0.98196 | -0.34765 | 0.98244 | -0.33828 | 9.5771
23 | 0.0093792 | 0.002351 | -0.0093778 | -0.0023503 | 1.4011e-06 | 6.6231e-07 | 0.014206 | 0.014206 | 0.014206 | 0.98244 | -0.33828 | 0.98228 | -0.34141 | 3.9028
24 | 0.015645 | 0.0039222 | -0.01564 | -0.0039197 | 4.4338e-06 | 2.5711e-06 | 0.023696 | 0.023696 | 0.023696 | 0.98244 | -0.33828 | 0.98213 | -0.34423 | 6.51
25 | -0.048039 | -0.012045 | 0.048095 | 0.01208 | 5.5488e-05 | 3.5158e-05 | 0.072763 | 0.072763 | 0.072763 | 0.98244 | -0.33828 | 0.98368 | -0.31407 | 19.9898
26 | -0.00087195 | -0.00021853 | 0.00087199 | 0.00021777 | 3.8753e-08 | -7.6174e-07 | 0.0013052 | 0.001305 | 0.0013052 | 0.99405 | -0.11444 | 0.99409 | -0.11351 | 0.35858
27 | -0.0010496 | -0.00026227 | 0.0010496 | 0.00026179 | 3.5885e-08 | -4.7995e-07 | 0.0015708 | 0.0015706 | 0.0015708 | 0.99409 | -0.11351 | 0.99413 | -0.11279 | 0.43153
28 | -0.0011603 | -0.00028953 | 0.0011603 | 0.00028928 | 2.3122e-08 | -2.5042e-07 | 0.0017362 | 0.0017361 | 0.0017362 | 0.99413 | -0.11279 | 0.99415 | -0.11237 | 0.47699
29 | -0.026818 | -0.0067331 | 0.026825 | 0.0067373 | 6.799e-06 | 4.2055e-06 | 0.040145 | 0.040145 | 0.040145 | 0.99415 | -0.11237 | 0.99443 | -0.10705 | 11.0289
30 | 0.025658 | 0.0064438 | -0.025642 | -0.0064337 | 1.6412e-05 | 1.0119e-05 | 0.038409 | 0.038409 | 0.038409 | 0.99415 | -0.11237 | 0.99346 | -0.12578 | 10.5519
31 | -0.037982 | -0.0095336 | 0.037989 | 0.0095377 | 6.6674e-06 | 4.1957e-06 | 0.05684 | 0.05684 | 0.05684 | 0.99443 | -0.10705 | 0.99462 | -0.10337 | 15.6154
32 | 0.025361 | 0.0063633 | -0.025355 | -0.0063601 | 5.0924e-06 | 3.1373e-06 | 0.037988 | 0.037988 | 0.037988 | 0.99346 | -0.12578 | 0.99324 | -0.12999 | 10.4363
33 | -0.011434 | -0.0028877 | 0.011435 | 0.0028881 | 6.9041e-07 | 3.6486e-07 | 0.017364 | 0.017364 | 0.017364 | 0.98033 | -0.37909 | 0.98039 | -0.37783 | 4.7702
34 | 0.017097 | 0.0043108 | -0.017094 | -0.0043086 | 3.7183e-06 | 2.1935e-06 | 0.025936 | 0.025936 | 0.025936 | 0.98127 | -0.36068 | 0.98104 | -0.36522 | 7.1253
35 | -0.017702 | -0.0044623 | 0.017783 | 0.0045104 | 8.1114e-05 | 4.8104e-05 | 0.026853 | 0.026852 | 0.026853 | 0.98127 | -0.36068 | 0.98618 | -0.26536 | 7.3772
36 | 0.013137 | 0.003317 | -0.013135 | -0.0033159 | 1.9939e-06 | 1.1072e-06 | 0.019935 | 0.019935 | 0.019935 | 0.98104 | -0.36522 | 0.98087 | -0.36839 | 5.4767
37 | -0.018829 | -0.0047725 | 0.018837 | 0.0047772 | 7.8819e-06 | 4.7125e-06 | 0.028429 | 0.028429 | 0.028429 | 0.98618 | -0.26536 | 0.98663 | -0.25666 | 7.8103
38 | 0.012556 | 0.0031708 | -0.012551 | -0.0031677 | 5.6764e-06 | 3.107e-06 | 0.019057 | 0.019057 | 0.019057 | 0.98087 | -0.36839 | 0.98039 | -0.37783 | 5.2355
39 | -0.02058 | -0.0052139 | 0.020591 | 0.0052203 | 1.046e-05 | 6.3251e-06 | 0.031058 | 0.031058 | 0.031058 | 0.98663 | -0.25666 | 0.98718 | -0.24608 | 8.5325
40 | 0.0017433 | 0.00043672 | -0.0017433 | -0.0004369 | 4.3149e-08 | -1.8496e-07 | 0.0026291 | 0.0026292 | 0.0026292 | 0.98663 | -0.25666 | 0.98661 | -0.25718 | 0.72231
41 | 0.017376 | 0.0043556 | -0.017373 | -0.0043539 | 2.8511e-06 | 1.683e-06 | 0.026191 | 0.026191 | 0.026191 | 0.98718 | -0.24608 | 0.987 | -0.24952 | 7.1954
42 | 0.021751 | 0.0054561 | -0.021746 | -0.005453 | 5.0963e-06 | 3.1e-06 | 0.032787 | 0.032787 | 0.032787 | 0.98718 | -0.24608 | 0.98693 | -0.251 | 9.0075
43 | -0.059717 | -0.015032 | 0.059842 | 0.015111 | 0.00012491 | 7.9418e-05 | 0.090037 | 0.090037 | 0.090037 | 0.98718 | -0.24608 | 0.98943 | -0.20242 | 24.7354
44 | 0.0095631 | 0.0023967 | -0.0095609 | -0.0023956 | 2.1776e-06 | 1.0367e-06 | 0.014417 | 0.014418 | 0.014418 | 0.987 | -0.24952 | 0.98676 | -0.25431 | 3.9609
45 | 0.016798 | 0.0042132 | -0.01679 | -0.0042085 | 7.9645e-06 | 4.6744e-06 | 0.025329 | 0.025329 | 0.025329 | 0.98693 | -0.251 | 0.98642 | -0.26095 | 6.9584
46 | -0.068447 | -0.017268 | 0.068456 | 0.017274 | 9.3512e-06 | 5.9546e-06 | 0.10298 | 0.10298 | 0.10298 | 0.98943 | -0.20242 | 0.98958 | -0.19957 | 28.2907
47 | 0.0057828 | 0.0014487 | -0.0057821 | -0.0014486 | 7.1908e-07 | 1.3814e-07 | 0.0087202 | 0.0087203 | 0.0087203 | 0.98676 | -0.25431 | 0.98662 | -0.25692 | 2.3957
48 | 0.011364 | 0.0028484 | -0.011362 | -0.0028474 | 1.9761e-06 | 1.0358e-06 | 0.017142 | 0.017143 | 0.017143 | 0.98642 | -0.26095 | 0.98623 | -0.2646 | 4.7095
49 | 0.007958 | 0.0019946 | -0.0079566 | -0.001994 | 1.4844e-06 | 5.9494e-07 | 0.011966 | 0.011967 | 0.011967 | 0.98958 | -0.19957 | 0.98938 | -0.20348 | 3.2875
50 | -0.076414 | -0.019269 | 0.076531 | 0.019342 | 0.00011705 | 7.3699e-05 | 0.11494 | 0.11494 | 0.11494 | 0.98958 | -0.19957 | 0.99124 | -0.16761 | 15.7891
51 | 0.012977 | 0.0032539 | -0.012973 | -0.0032518 | 3.8127e-06 | 2.1053e-06 | 0.019631 | 0.019631 | 0.019631 | 0.98368 | -0.31407 | 0.98336 | -0.32024 | 5.3931
52 | 0.010287 | 0.0025786 | -0.010285 | -0.0025777 | 1.733e-06 | 8.672e-07 | 0.015566 | 0.015567 | 0.015567 | 0.98336 | -0.32024 | 0.98318 | -0.32377 | 4.2765
53 | -0.093451 | -0.02354 | 0.09368 | 0.023686 | 0.00022848 | 0.00014583 | 0.14087 | 0.14087 | 0.14087 | 0.9874 | -0.24171 | 0.99003 | -0.19072 | 38.7016
54 | 0.0044503 | 0.0011152 | -0.0044499 | -0.0011152 | 4.299e-07 | -4.3933e-08 | 0.0067426 | 0.0067427 | 0.0067427 | 0.98213 | -0.34423 | 0.98203 | -0.34625 | 1.8524
55 | -0.096395 | -0.024367 | 0.096502 | 0.024434 | 0.0001064 | 6.792e-05 | 0.14496 | 0.14496 | 0.14496 | 0.99003 | -0.19072 | 0.99123 | -0.16773 | 39.8229
56 | 0.0036072 | 0.000904 | -0.0036071 | -0.00090403 | 5.0214e-08 | -2.6374e-08 | 0.0054231 | 0.0054232 | 0.0054232 | 0.98974 | -0.19686 | 0.98973 | -0.19715 | 1.4899
57 | -0.029129 | -0.0073027 | 0.029164 | 0.0073246 | 3.5348e-05 | 2.1985e-05 | 0.043706 | 0.043705 | 0.043706 | 0.99176 | -0.15769 | 0.99307 | -0.13226 | 12.007
58 | -0.018838 | -0.0047212 | 0.018845 | 0.0047254 | 7.0088e-06 | 4.1835e-06 | 0.028261 | 0.028261 | 0.028261 | 0.99188 | -0.15554 | 0.99228 | -0.14773 | 7.764
59 | -0.045007 | -0.011294 | 0.04505 | 0.011321 | 4.3085e-05 | 2.7248e-05 | 0.067497 | 0.067497 | 0.067497 | 0.99228 | -0.14773 | 0.99332 | -0.12768 | 18.5432
60 | 0.026162 | 0.0065681 | -0.026159 | -0.0065662 | 3.0991e-06 | 1.9141e-06 | 0.039236 | 0.039236 | 0.039236 | 0.99228 | -0.14773 | 0.99215 | -0.15021 | 10.7792
61 | -0.021111 | -0.0052928 | 0.021134 | 0.0053069 | 2.3267e-05 | 1.4095e-05 | 0.031701 | 0.0317 | 0.031701 | 0.99096 | -0.17332 | 0.99215 | -0.15021 | 8.709
62 | -0.048796 | -0.01226 | 0.048815 | 0.012272 | 1.9877e-05 | 1.2593e-05 | 0.073108 | 0.073108 | 0.073108 | 0.99332 | -0.12768 | 0.99376 | -0.11914 | 20.0846
63 | -0.051788 | -0.013017 | 0.051802 | 0.013026 | 1.4095e-05 | 8.9396e-06 | 0.077558 | 0.077558 | 0.077558 | 0.99376 | -0.11914 | 0.99405 | -0.11345 | 21.3072
64 | 0.22729 | 0.057594 | -0.22709 | -0.057463 | 0.00020521 | 0.00013079 | 0.34046 | 0.34046 | 0.34046 | 0.99405 | -0.11345 | 0.99307 | -0.13226 | 31.178
65 | -0.2791 | -0.07062 | 0.27949 | 0.070869 | 0.00039051 | 0.00024923 | 0.41802 | 0.41802 | 0.41802 | 0.99405 | -0.11345 | 0.99557 | -0.084334 | 38.2804
66 | 0.097986 | 0.024777 | -0.097944 | -0.024751 | 4.1802e-05 | 2.6152e-05 | 0.1469 | 0.1469 | 0.1469 | 0.99307 | -0.13226 | 0.99261 | -0.14116 | 13.4523
67 | 0.099939 | 0.025362 | -0.099769 | -0.025253 | 0.0001702 | 0.00010867 | 0.14986 | 0.14986 | 0.14986 | 0.99307 | -0.13226 | 0.99123 | -0.16773 | 41.1703
68 | -0.28839 | -0.073102 | 0.28957 | 0.073851 | 0.001174 | 0.00074937 | 0.43133 | 0.43133 | 0.43133 | 0.99557 | -0.084334 | 1 | 0 | 39.4995
69 | 0.092069 | 0.023278 | -0.091992 | -0.02323 | 7.7375e-05 | 4.8263e-05 | 0.13809 | 0.13809 | 0.13809 | 0.99261 | -0.14116 | 0.9917 | -0.15869 | 12.6458
70 | 0.073756 | 0.018604 | -0.07373 | -0.018587 | 2.6326e-05 | 1.6772e-05 | 0.10979 | 0.10979 | 0.10979 | 1 | 0 | 0.99961 | -0.0074586 | 30.1627
71 | 0.082225 | 0.020782 | -0.082189 | -0.02076 | 3.515e-05 | 2.1782e-05 | 0.12344 | 0.12344 | 0.12344 | 0.9917 | -0.15869 | 0.99124 | -0.16761 | 11.3038
72 | 0.066947 | 0.016888 | -0.066872 | -0.01684 | 7.524e-05 | 4.7889e-05 | 0.099696 | 0.099696 | 0.099696 | 0.99961 | -0.0074586 | 0.99838 | -0.030962 | 27.389
73 | 0.0023523 | 0.00058943 | -0.0023522 | -0.00058952 | 4.2305e-08 | -8.8679e-08 | 0.0035377 | 0.0035378 | 0.0035378 | 0.98938 | -0.20348 | 0.98936 | -0.20386 | 0.97191
74 | -0.0053196 | -0.0013332 | 0.0053204 | 0.0013333 | 8.4106e-07 | 9.4234e-08 | 0.0080276 | 0.0080274 | 0.0080276 | 0.98606 | -0.26792 | 0.98623 | -0.2646 | 2.2054
75 | 0.01507 | 0.0037787 | -0.015063 | -0.0037752 | 6.217e-06 | 3.5493e-06 | 0.022461 | 0.022461 | 0.022461 | 0.99838 | -0.030962 | 0.99793 | -0.039622 | 6.1706
76 | 0.051802 | 0.013061 | -0.051772 | -0.013042 | 3.028e-05 | 1.9202e-05 | 0.077235 | 0.077235 | 0.077235 | 0.99838 | -0.030962 | 0.99775 | -0.043183 | 21.2185
77 | 0.004166 | 0.001044 | -0.0041658 | -0.001044 | 1.6563e-07 | -4.3538e-08 | 0.0062118 | 0.0062119 | 0.0062119 | 0.99793 | -0.039622 | 0.99789 | -0.040457 | 1.7066
78 | 0.050073 | 0.012616 | -0.050011 | -0.012577 | 6.1989e-05 | 3.9287e-05 | 0.074701 | 0.074701 | 0.074701 | 0.99775 | -0.043183 | 0.9964 | -0.0691 | 20.5223
79 | 0.042724 | 0.01075 | -0.042687 | -0.010727 | 3.6677e-05 | 2.3161e-05 | 0.063819 | 0.063819 | 0.063819 | 0.9964 | -0.0691 | 0.99546 | -0.087082 | 17.5327
80 | 0.04033 | 0.010136 | -0.040298 | -0.010117 | 3.1341e-05 | 1.9759e-05 | 0.060295 | 0.060295 | 0.060295 | 0.99546 | -0.087082 | 0.99462 | -0.10337 | 16.5645
81 | 0.0031811 | 0.00079672 | -0.003181 | -0.00079679 | 8.2061e-08 | -6.8896e-08 | 0.0047975 | 0.0047976 | 0.0047976 | 0.98662 | -0.25692 | 0.9866 | -0.25746 | 1.318
82 | -0.0023091 | -0.00057871 | 0.0023091 | 0.0005787 | 2.4518e-09 | -5.4752e-09 | 0.0034626 | 0.0034626 | 0.0034626 | 0.99228 | -0.14855 | 0.99228 | -0.14853 | 0.95128
83 | -0.0069207 | -0.0017345 | 0.0069212 | 0.0017347 | 5.4883e-07 | 1.7571e-07 | 0.010378 | 0.010378 | 0.010378 | 0.99228 | -0.14853 | 0.99237 | -0.14686 | 2.8511
84 | -0.011125 | -0.0027881 | 0.011125 | 0.0027884 | 6.2305e-07 | 3.216e-07 | 0.016681 | 0.016681 | 0.016681 | 0.99237 | -0.14686 | 0.99243 | -0.14569 | 4.5826
85 | -0.013582 | -0.0034042 | 0.013584 | 0.0034054 | 2.0023e-06 | 1.1151e-06 | 0.020365 | 0.020365 | 0.020365 | 0.99243 | -0.14569 | 0.99259 | -0.14259 | 5.5947
86 | -0.018608 | -0.0046643 | 0.018611 | 0.0046665 | 3.5597e-06 | 2.1205e-06 | 0.027896 | 0.027895 | 0.027896 | 0.99259 | -0.14259 | 0.9928 | -0.13858 | 7.6636
87 | -0.022874 | -0.0057348 | 0.022878 | 0.0057372 | 3.9591e-06 | 2.4177e-06 | 0.034284 | 0.034284 | 0.034284 | 0.9928 | -0.13858 | 0.99299 | -0.13495 | 9.4188
88 | -0.023182 | -0.0058134 | 0.023187 | 0.0058167 | 5.4741e-06 | 3.3469e-06 | 0.03474 | 0.03474 | 0.03474 | 0.99299 | -0.13495 | 0.99324 | -0.12999 | 9.5439
89 | -0.0011134 | -0.00027904 | 0.0011134 | 0.00027904 | 1.2045e-10 | -1.3789e-09 | 0.0016794 | 0.0016794 | 0.0016794 | 0.98652 | -0.2589 | 0.98652 | -0.2589 | 0.46137
90 | -0.0020619 | -0.00051676 | 0.002062 | 0.00051635 | 1.4147e-07 | -4.075e-07 | 0.0031101 | 0.0031099 | 0.0031101 | 0.98652 | -0.2589 | 0.9866 | -0.25746 | 0.85441

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37179 | 0.094163

## res_load
| p_mw | q_mvar
0 | 0.0045676 | 0.0011448
1 | 0.0017072 | 0.00042787
2 | 0.0039892 | 0.00099979
3 | 0.00074195 | 0.00018595
4 | 0.0038567 | 0.00096659
5 | 0.008665 | 0.0021717
6 | 0.021851 | 0.0054764
7 | 0.0055171 | 0.0013827
8 | 0.0003134 | 7.8545e-05
9 | 0.0068021 | 0.0017048
10 | 0.023005 | 0.0057656
11 | 0.00087195 | 0.00021853
12 | 0.00017756 | 4.4501e-05
13 | 0.00011068 | 2.7738e-05
14 | 0.011157 | 0.0027962
15 | 0.00028117 | 7.0467e-05
16 | 0.0003412 | 8.5513e-05
17 | 0.00060479 | 0.00015157
18 | 0.0039564 | 0.00099156
19 | 0.0010457 | 0.00026207
20 | 0.00057887 | 0.00014508
21 | 0.0011158 | 0.00027965
22 | 0.0017433 | 0.0004369
23 | 0.0078095 | 0.0019573
24 | 0.0049471 | 0.0012399
25 | 0.0086054 | 0.0021567
26 | 0.0037781 | 0.00094688
27 | 0.0054267 | 0.0013601
28 | 0.002686 | 0.00067318
29 | 0.0047759 | 0.001197
30 | 0.0093778 | 0.0023503
31 | 0.01119 | 0.0028045
32 | 0.010285 | 0.0025777
33 | 0.0027157 | 0.00068061
34 | 0.0043277 | 0.0010846
35 | 0.014377 | 0.0036033
36 | 0.0044499 | 0.0011152
37 | 0.018838 | 0.0047212
38 | 0.008267 | 0.0020719
39 | 0.0050247 | 0.0012593
40 | 0.0037455 | 0.00093871
41 | 0.0029722 | 0.0007449
42 | 0.0089072 | 0.0022324
43 | 0.0058749 | 0.0014724
44 | 0.0032671 | 0.00081882
45 | 0.0068138 | 0.0017077
46 | 0.0097671 | 0.0024479
47 | 0.0067823 | 0.0016998
48 | 0.005658 | 0.001418
49 | 0.0036071 | 0.00090403
50 | 0.0056043 | 0.0014046
51 | 0.0053196 | 0.0013332
52 | 0.0060413 | 0.0015141
53 | 0.0023522 | 0.00058952
54 | 0.010897 | 0.0027312
55 | 0.0016993 | 0.00042588
56 | 0.0041658 | 0.001044
57 | 0.007287 | 0.0018263
58 | 0.0023576 | 0.00059086
59 | 0.002601 | 0.00065188
60 | 0.0023094 | 0.00057878
61 | 0.0023091 | 0.00057871
62 | 0.0046116 | 0.0011558
63 | 0.0042033 | 0.0010535
64 | 0.0024571 | 0.00061581
65 | 0.0050234 | 0.001259
66 | 0.0042627 | 0.0010683
67 | 0.00030396 | 7.6179e-05
68 | 0.0021681 | 0.00054338
69 | 0.0011134 | 0.00027904
70 | 0.0009485 | 0.00023772
71 | 0.001119 | 0.00028044

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1