## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1347-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1347-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1347-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1347-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1347-4_0_3_node_137 | 0.4 | n |  | TRUE
5 | bus_LV_1347-4_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1347-4_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1347-4_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1347-4_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1347-4_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1347-4_0_3_node_133 | 0.4 | n |  | TRUE
11 | bus_LV_1347-4_0_3_node_134 | 0.4 | n |  | TRUE
12 | bus_LV_1347-4_0_3_node_135 | 0.4 | n |  | TRUE
13 | bus_LV_1347-4_0_3_node_152 | 0.4 | n |  | TRUE
14 | bus_LV_1347-4_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1347-4_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1347-4_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1347-4_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1347-4_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1347-4_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_1347-4_0_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1347-4_0_3_node_136 | 0.4 | n |  | TRUE
22 | bus_LV_1347-4_0_3_node_138 | 0.4 | n |  | TRUE
23 | bus_LV_1347-4_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1347-4_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1347-4_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1347-4_0_3_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_1347-4_0_3_node_122 | 0.4 | n |  | TRUE
28 | bus_LV_1347-4_0_3_node_153 | 0.4 | n |  | TRUE
29 | bus_LV_1347-4_0_3_node_103 | 0.4 | n |  | TRUE
30 | bus_LV_1347-4_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1347-4_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1347-4_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1347-4_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1347-4_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1347-4_0_3_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_1347-4_0_3_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_1347-4_0_3_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_1347-4_0_3_node_83 | 0.4 | n |  | TRUE
39 | bus_LV_1347-4_0_3_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_1347-4_0_3_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_1347-4_0_3_node_84 | 0.4 | n |  | TRUE
42 | bus_LV_1347-4_0_3_node_85 | 0.4 | n |  | TRUE
43 | bus_LV_1347-4_0_3_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_1347-4_0_3_node_119 | 0.4 | n |  | TRUE
45 | bus_LV_1347-4_0_3_node_120 | 0.4 | n |  | TRUE
46 | bus_LV_1347-4_0_3_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_1347-4_0_3_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_1347-4_0_3_node_91 | 0.4 | n |  | TRUE
49 | bus_LV_1347-4_0_3_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_1347-4_0_3_node_93 | 0.4 | n |  | TRUE
51 | bus_LV_1347-4_0_3_node_92 | 0.4 | n |  | TRUE
52 | bus_LV_1347-4_0_3_node_94 | 0.4 | n |  | TRUE
53 | bus_LV_1347-4_0_3_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_1347-4_0_3_node_118 | 0.4 | n |  | TRUE
55 | bus_LV_1347-4_0_3_node_97 | 0.4 | n |  | TRUE
56 | bus_LV_1347-4_0_3_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_1347-4_0_3_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_1347-4_0_3_node_100 | 0.4 | n |  | TRUE
59 | bus_LV_1347-4_0_3_node_101 | 0.4 | n |  | TRUE
60 | bus_LV_1347-4_0_3_node_104 | 0.4 | n |  | TRUE
61 | bus_LV_1347-4_0_3_node_105 | 0.4 | n |  | TRUE
62 | bus_LV_1347-4_0_3_node_107 | 0.4 | n |  | TRUE
63 | bus_LV_1347-4_0_3_node_106 | 0.4 | n |  | TRUE
64 | bus_LV_1347-4_0_3_node_108 | 0.4 | n |  | TRUE
65 | bus_LV_1347-4_0_3_node_109 | 0.4 | n |  | TRUE
66 | bus_LV_1347-4_0_3_node_110 | 0.4 | n |  | TRUE
67 | bus_LV_1347-4_0_3_node_111 | 0.4 | n |  | TRUE
68 | bus_LV_1347-4_0_3_node_112 | 0.4 | n |  | TRUE
69 | bus_LV_1347-4_0_3_node_116 | 0.4 | n |  | TRUE
70 | bus_LV_1347-4_0_3_node_113 | 0.4 | n |  | TRUE
71 | bus_LV_1347-4_0_3_node_114 | 0.4 | n |  | TRUE
72 | bus_LV_1347-4_0_3_node_115 | 0.4 | n |  | TRUE
73 | bus_LV_1347-4_0_3_node_117 | 0.4 | n |  | TRUE
74 | bus_LV_1347-4_0_3_node_121 | 0.4 | n |  | TRUE
75 | bus_MV_19_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1347-4_0_3_load_0 | 0 | 0.00061224 | 0.00015344 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1347-4_0_3_load_2 | 2 | 0.0002279 | 5.7116e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1347-4_0_3_load_137 | 4 | 0.0013661 | 0.00034238 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1347-4_0_3_load_9 | 5 | 0.0007484 | 0.00018757 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1347-4_0_3_load_5 | 6 | 0.00044462 | 0.00011143 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1347-4_0_3_load_4 | 7 | 0.00033307 | 8.3476e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1347-4_0_3_load_133 | 10 | 0.0016259 | 0.00040749 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1347-4_0_3_load_134 | 11 | 0.00099377 | 0.00024906 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1347-4_0_3_load_135 | 12 | 0.0012341 | 0.00030929 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1347-4_0_3_load_152 | 13 | 0.00045806 | 0.0001148 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1347-4_0_3_load_10 | 14 | 0.00042399 | 0.00010626 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1347-4_0_3_load_11 | 15 | 0.00037372 | 9.3662e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1347-4_0_3_load_12 | 16 | 0.0003648 | 9.1428e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1347-4_0_3_load_13 | 17 | 0.0014006 | 0.00035103 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1347-4_0_3_load_14 | 18 | 0.00043279 | 0.00010847 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1347-4_0_3_load_18 | 19 | 0.00095797 | 0.00024009 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1347-4_0_3_load_29 | 20 | 0.00068182 | 0.00017088 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1347-4_0_3_load_136 | 21 | 0.00082022 | 0.00020557 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1347-4_0_3_load_138 | 22 | 0.00069004 | 0.00017294 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1347-4_0_3_load_19 | 23 | 0.0035589 | 0.00089194 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1347-4_0_3_load_20 | 24 | 0.0011083 | 0.00027778 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1347-4_0_3_load_21 | 25 | 0.00063482 | 0.0001591 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1347-4_0_3_load_80 | 26 | 0.0050209 | 0.0012584 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1347-4_0_3_load_122 | 27 | 0.00077125 | 0.00019329 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1347-4_0_3_load_153 | 28 | 0.0020937 | 0.00052474 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1347-4_0_3_load_103 | 29 | 0.0023692 | 0.00059378 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1347-4_0_3_load_27 | 30 | 0.0038913 | 0.00097525 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1347-4_0_3_load_28 | 31 | 0.00054718 | 0.00013714 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1347-4_0_3_load_30 | 32 | 0.00073667 | 0.00018463 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1347-4_0_3_load_31 | 33 | 0.0014551 | 0.00036469 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1347-4_0_3_load_32 | 34 | 0.0012401 | 0.0003108 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1347-4_0_3_load_72 | 35 | 0.00088442 | 0.00022166 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1347-4_0_3_load_81 | 37 | 0.0038212 | 0.00095769 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1347-4_0_3_load_86 | 39 | 0.005299 | 0.0013281 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1347-4_0_3_load_84 | 41 | 0.0053456 | 0.0013397 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1347-4_0_3_load_85 | 42 | 0.0079567 | 0.0019941 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1347-4_0_3_load_88 | 43 | 0.0060061 | 0.0015053 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1347-4_0_3_load_119 | 44 | 0.00030326 | 7.6005e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1347-4_0_3_load_120 | 45 | 0.0015349 | 0.00038469 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1347-4_0_3_load_89 | 46 | 0.0085021 | 0.0021308 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1347-4_0_3_load_93 | 50 | 0.010879 | 0.0027264 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1347-4_0_3_load_92 | 51 | 0.00039665 | 9.9411e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1347-4_0_3_load_96 | 53 | 0.0012422 | 0.00031132 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1347-4_0_3_load_97 | 55 | 0.0063573 | 0.0015933 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1347-4_0_3_load_98 | 56 | 0.00090561 | 0.00022697 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1347-4_0_3_load_99 | 57 | 0.0012728 | 0.00031901 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1347-4_0_3_load_101 | 59 | 0.00059732 | 0.0001497 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1347-4_0_3_load_104 | 60 | 0.0010435 | 0.00026153 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1347-4_0_3_load_107 | 62 | 0.0053231 | 0.0013341 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1347-4_0_3_load_106 | 63 | 0.0020514 | 0.00051413 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1347-4_0_3_load_108 | 64 | 0.0037265 | 0.00093395 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1347-4_0_3_load_109 | 65 | 0.0087437 | 0.0021914 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1347-4_0_3_load_110 | 66 | 0.0023282 | 0.0005835 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1347-4_0_3_load_111 | 67 | 0.00080475 | 0.00020169 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1347-4_0_3_load_116 | 69 | 0.0070879 | 0.0017764 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1347-4_0_3_load_113 | 70 | 0.036935 | 0.0092568 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1347-4_0_3_load_114 | 71 | 0.028018 | 0.007022 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1347-4_0_3_load_117 | 73 | 0.029953 | 0.007507 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1347-4_0_3_load_121 | 74 | 0.00037252 | 9.3362e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1347-4_0_3_line_0 |  | 0 | 1 | 0.037268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1347-4_0_3_line_1 |  | 0 | 2 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1347-4_0_3_line_2 |  | 1 | 3 | 0.033395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1347-4_0_3_line_3 |  | 2 | 4 | 0.25463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1347-4_0_3_line_4 |  | 3 | 5 | 0.082988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1347-4_0_3_line_5 |  | 3 | 6 | 0.11594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1347-4_0_3_line_6 |  | 4 | 12 | 0.069006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1347-4_0_3_line_7 |  | 6 | 7 | 0.011524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1347-4_0_3_line_8 |  | 7 | 8 | 0.082095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1347-4_0_3_line_9 |  | 8 | 9 | 0.017601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1347-4_0_3_line_10 |  | 9 | 13 | 0.005004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1347-4_0_3_line_11 |  | 10 | 11 | 0.021141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1347-4_0_3_line_12 |  | 10 | 12 | 0.077289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1347-4_0_3_line_13 |  | 11 | 21 | 0.013415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1347-4_0_3_line_14 |  | 14 | 15 | 0.039911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1347-4_0_3_line_15 |  | 14 | 16 | 0.25996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1347-4_0_3_line_16 |  | 15 | 17 | 0.025702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1347-4_0_3_line_17 |  | 16 | 18 | 0.009589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1347-4_0_3_line_18 |  | 18 | 19 | 0.19038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1347-4_0_3_line_19 |  | 18 | 20 | 0.26234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1347-4_0_3_line_20 |  | 19 | 23 | 0.008128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1347-4_0_3_line_21 |  | 20 | 30 | 0.022031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1347-4_0_3_line_22 |  | 21 | 22 | 0.036837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1347-4_0_3_line_23 |  | 22 | 36 | 0.011544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1347-4_0_3_line_24 |  | 23 | 24 | 0.020766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1347-4_0_3_line_25 |  | 24 | 25 | 0.026628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1347-4_0_3_line_26 |  | 25 | 26 | 0.25587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1347-4_0_3_line_27 |  | 25 | 27 | 0.12369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1347-4_0_3_line_28 |  | 26 | 37 | 0.022886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1347-4_0_3_line_29 |  | 27 | 74 | 0.053502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1347-4_0_3_line_30 |  | 28 | 29 | 0.15845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1347-4_0_3_line_31 |  | 29 | 58 | 0.10606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1347-4_0_3_line_32 |  | 30 | 31 | 0.0054493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1347-4_0_3_line_33 |  | 31 | 32 | 0.022155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1347-4_0_3_line_34 |  | 32 | 33 | 0.098178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1347-4_0_3_line_35 |  | 33 | 34 | 0.0075044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1347-4_0_3_line_36 |  | 34 | 35 | 0.013975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1347-4_0_3_line_37 |  | 36 | 58 | 0.080546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1347-4_0_3_line_38 |  | 38 | 39 | 0.022012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1347-4_0_3_line_39 |  | 38 | 40 | 0.21853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1347-4_0_3_line_40 |  | 38 | 41 | 0.017459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1347-4_0_3_line_41 |  | 39 | 43 | 0.025543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1347-4_0_3_line_42 |  | 40 | 44 | 0.036692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1347-4_0_3_line_43 |  | 40 | 45 | 0.10684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1347-4_0_3_line_44 |  | 41 | 42 | 0.015611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1347-4_0_3_line_45 |  | 44 | 73 | 0.10165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1347-4_0_3_line_46 |  | 45 | 74 | 0.084049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1347-4_0_3_line_47 |  | 46 | 47 | 0.022794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1347-4_0_3_line_48 |  | 47 | 48 | 0.068623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1347-4_0_3_line_49 |  | 48 | 49 | 0.073012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1347-4_0_3_line_50 |  | 48 | 50 | 0.078701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1347-4_0_3_line_51 |  | 49 | 54 | 0.13814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1347-4_0_3_line_52 |  | 49 | 51 | 0.036898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1347-4_0_3_line_53 |  | 50 | 52 | 0.13182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1347-4_0_3_line_54 |  | 52 | 53 | 0.071158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1347-4_0_3_line_55 |  | 54 | 62 | 0.052594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1347-4_0_3_line_56 |  | 54 | 69 | 0.044017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1347-4_0_3_line_57 |  | 55 | 56 | 0.011982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1347-4_0_3_line_58 |  | 55 | 57 | 0.0076595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1347-4_0_3_line_59 |  | 56 | 58 | 0.064993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1347-4_0_3_line_60 |  | 57 | 59 | 0.045773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1347-4_0_3_line_61 |  | 59 | 60 | 0.038726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1347-4_0_3_line_62 |  | 60 | 61 | 0.034602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1347-4_0_3_line_63 |  | 61 | 62 | 0.0040381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1347-4_0_3_line_64 |  | 61 | 63 | 0.11203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1347-4_0_3_line_65 |  | 64 | 65 | 0.05812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1347-4_0_3_line_66 |  | 64 | 66 | 0.018979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1347-4_0_3_line_67 |  | 65 | 67 | 0.01687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1347-4_0_3_line_68 |  | 66 | 68 | 0.061606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1347-4_0_3_line_69 |  | 68 | 69 | 0.045139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1347-4_0_3_line_70 |  | 68 | 70 | 0.16109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1347-4_0_3_line_71 |  | 70 | 71 | 0.023926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_1347-4_0_3_line_72 |  | 71 | 72 | 0.0070512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_1347-4_0_3_line_73 |  | 72 | 73 | 0.081364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1347-4_0_3_trafo_113 | 0.63 MVA 20/0.4 kV | 75 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2713049.8056 | 1227838.7557 | 2713031.3867 | 1227818.4234 | 2713027.8366 | 1227812.9851 | 2713026.6612 | 1227809.8601
1 | 2713027.9496 | 1227796.2744 | 2713025.7032 | 1227802.0028 | 2713025.8019 | 1227807.5756 | 2713026.6612 | 1227809.8601
2 | 2713083.2785 | 1227839.9372 | 2713049.8056 | 1227838.7557
3 | 2713027.9496 | 1227796.2744 | 2712854.6092 | 1227609.7518
4 | 2713083.2785 | 1227839.9372 | 2713083.08 | 1227858.7367 | 2713080.1692 | 1227868.311 | 2713071.808 | 1227881.8959 | 2713069.3181 | 1227894.0468 | 2713070.5076 | 1227909.2144 | 2713065.878 | 1227915.1087 | 2713062.7567 | 1227915.4274
5 | 2713083.2785 | 1227839.9372 | 2713199.1439 | 1227844.0135
6 | 2712854.6092 | 1227609.7518 | 2712860.5998 | 1227605.8846 | 2712883.3933 | 1227588.3146 | 2712901.1093 | 1227572.6832 | 2712909.0102 | 1227567.4622
7 | 2713210.661 | 1227844.4186 | 2713199.1439 | 1227844.0135
8 | 2713292.7055 | 1227847.3051 | 2713210.661 | 1227844.4186
9 | 2713292.7055 | 1227847.3051 | 2713310.347 | 1227847.9304
10 | 2713310.2289 | 1227852.932 | 2713310.347 | 1227847.9304
11 | 2712974.0524 | 1227525.7905 | 2712974.5954 | 1227525.4086 | 2712990.4032 | 1227512.3923
12 | 2712974.0524 | 1227525.7905 | 2712955.1268 | 1227539.105 | 2712921.9971 | 1227558.8802 | 2712909.0102 | 1227567.4622
13 | 2712990.4032 | 1227512.3923 | 2712993.1542 | 1227510.1271 | 2713000.3117 | 1227503.3583
14 | 2713468.6623 | 1227696.2551 | 2713463.7535 | 1227735.8631
15 | 2713468.6623 | 1227696.2551 | 2713478.9535 | 1227613.219 | 2713524.917 | 1227465.282 | 2713538.7715 | 1227450.3238 | 2713539.7146 | 1227450.0251
16 | 2713463.7535 | 1227735.8631 | 2713460.5923 | 1227761.3699
17 | 2713548.8563 | 1227447.1302 | 2713539.7146 | 1227450.0251
18 | 2713658.2695 | 1227303.1759 | 2713649.0668 | 1227309.8882 | 2713597.7286 | 1227358.434 | 2713576.0462 | 1227427.5955 | 2713568.2784 | 1227440.9797 | 2713548.8563 | 1227447.1302
19 | 2713548.8563 | 1227447.1302 | 2713792.8316 | 1227543.5604
20 | 2713664.8364 | 1227298.3861 | 2713658.2695 | 1227303.1759
21 | 2713792.8316 | 1227543.5604 | 2713794.5025 | 1227565.5278
22 | 2713025.3836 | 1227476.4207 | 2713019.1338 | 1227484.1005 | 2713005.1649 | 1227498.7687 | 2713000.3117 | 1227503.3583
23 | 2713032.67 | 1227467.4671 | 2713025.3836 | 1227476.4207
24 | 2713681.6138 | 1227286.1489 | 2713664.8364 | 1227298.3861
25 | 2713703.1272 | 1227270.4574 | 2713681.6138 | 1227286.1489
26 | 2713703.1272 | 1227270.4574 | 2713926.2898 | 1227145.2921
27 | 2713703.1272 | 1227270.4574 | 2713644.9479 | 1227161.3064
28 | 2713926.2898 | 1227145.2921 | 2713948.657 | 1227150.1367
29 | 2713644.9479 | 1227161.3064 | 2713644.7957 | 1227145.0799 | 2713607.5745 | 1227143.0786
30 | 2713171.7192 | 1227355.7802 | 2713269.1581 | 1227480.7304
31 | 2713171.7192 | 1227355.7802 | 2713156.7333 | 1227360.9213 | 2713085.9113 | 1227401.0612 | 2713076.9091 | 1227400.0894
32 | 2713794.5025 | 1227565.5278 | 2713794.9158 | 1227570.9614
33 | 2713796.5962 | 1227593.0521 | 2713794.9158 | 1227570.9614
34 | 2713796.5962 | 1227593.0521 | 2713802.5093 | 1227670.7879 | 2713808.8991 | 1227681.8854 | 2713815.1601 | 1227685.8527
35 | 2713815.1601 | 1227685.8527 | 2713815.1601 | 1227685.8527 | 2713822.6635 | 1227685.7351
36 | 2713822.6635 | 1227685.7351 | 2713823.1443 | 1227685.7275 | 2713833.1529 | 1227680.4261 | 2713835.2065 | 1227679.7294
37 | 2713032.67 | 1227467.4671 | 2713044.4154 | 1227449.343 | 2713076.9091 | 1227400.0894
38 | 2713849.7796 | 1227061.9235 | 2713869.9726 | 1227070.6857
39 | 2713678.4863 | 1227001.8578 | 2713721.781 | 1227003.4419 | 2713750.8012 | 1227004.6086 | 2713768.5915 | 1227006.3056 | 2713793.7057 | 1227009.9442 | 2713826.6268 | 1227019.2032 | 2713861.4206 | 1227032.8016 | 2713849.7796 | 1227061.9235
40 | 2713849.7796 | 1227061.9235 | 2713833.4102 | 1227055.8522
41 | 2713869.9726 | 1227070.6857 | 2713893.4043 | 1227080.8532
42 | 2713678.4863 | 1227001.8578 | 2713641.8044 | 1227000.9975
43 | 2713678.4863 | 1227001.8578 | 2713679.7033 | 1227032.5713 | 2713679.3601 | 1227036.2454 | 2713676.9842 | 1227042.7494 | 2713672.3609 | 1227049.0437 | 2713661.7114 | 1227055.3006 | 2713624.4897 | 1227076.3059 | 2713622.2405 | 1227077.5782
44 | 2713818.1635 | 1227053.8124 | 2713827.9351 | 1227053.8215 | 2713833.4102 | 1227055.8522
45 | 2713540.2132 | 1227002.756 | 2713546.6828 | 1227002.3304 | 2713611.8343 | 1227000.2947 | 2713641.8044 | 1227000.9975
46 | 2713622.2405 | 1227077.5782 | 2713608.4037 | 1227085.4057 | 2713599.4247 | 1227093.118 | 2713594.8365 | 1227101.9371 | 2713595.4734 | 1227116.6161 | 2713600.9951 | 1227140.6623 | 2713607.5745 | 1227143.0786
47 | 2713038.3763 | 1227117.4959 | 2713019.8843 | 1227130.8224
48 | 2713038.3763 | 1227117.4959 | 2713077.3882 | 1227174.025
49 | 2713137.8549 | 1227134.0215 | 2713134.0669 | 1227134.2942 | 2713124.2256 | 1227139.5555 | 2713079.6296 | 1227171.7659 | 2713077.3882 | 1227174.025
50 | 2713077.3882 | 1227174.025 | 2713074.6601 | 1227176.7641 | 2713070.7433 | 1227182.6164 | 2713068.5049 | 1227187.9113 | 2713065.3298 | 1227192.232 | 2713018.8764 | 1227224.7127
51 | 2713137.8549 | 1227134.0215 | 2713140.7318 | 1227133.8205 | 2713148.996 | 1227136.9467 | 2713208.2926 | 1227175.1595 | 2713232.9377 | 1227191.8636 | 2713252.9026 | 1227209.1123
52 | 2713137.8549 | 1227134.0215 | 2713136.4244 | 1227129.1239 | 2713131.2992 | 1227123.5778 | 2713111.4231 | 1227109.6956
53 | 2712915.2881 | 1227305.8698 | 2712983.8834 | 1227256.4452 | 2713015.338 | 1227227.1868 | 2713018.8764 | 1227224.7127
54 | 2712940.8845 | 1227367.4807 | 2712934.0371 | 1227358.8219 | 2712912.3416 | 1227318.1233 | 2712911.1642 | 1227311.4625 | 2712912.4137 | 1227307.9391 | 2712915.2881 | 1227305.8698
55 | 2713252.9026 | 1227209.1123 | 2713217.6903 | 1227248.1791
56 | 2713252.9026 | 1227209.1123 | 2713279.5048 | 1227177.1942 | 2713281.1328 | 1227175.3413
57 | 2713126.1508 | 1227341.2663 | 2713121.4611 | 1227345.4054 | 2713117.4098 | 1227349.4536
58 | 2713126.1508 | 1227341.2663 | 2713131.8935 | 1227336.1978
59 | 2713076.9091 | 1227400.0894 | 2713086.2989 | 1227385.868 | 2713108.0618 | 1227358.7943 | 2713117.4098 | 1227349.4536
60 | 2713131.8935 | 1227336.1978 | 2713164.3672 | 1227307.5367 | 2713166.0823 | 1227305.7733
61 | 2713166.0823 | 1227305.7733 | 2713181.8026 | 1227289.6101 | 2713192.5707 | 1227277.535
62 | 2713214.9867 | 1227251.1786 | 2713197.0233 | 1227272.5421 | 2713192.5707 | 1227277.535
63 | 2713214.9867 | 1227251.1786 | 2713217.6903 | 1227248.1791
64 | 2713214.9867 | 1227251.1786 | 2713223.4565 | 1227256.6328 | 2713233.4407 | 1227258.1907 | 2713265.715 | 1227247.2522 | 2713279.0099 | 1227245.7374 | 2713297.0568 | 1227247.8605 | 2713315.2267 | 1227245.5158 | 2713322.8207 | 1227247.6892
65 | 2713324.4622 | 1227053.7823 | 2713278.8009 | 1227089.7412
66 | 2713263.8906 | 1227101.4833 | 2713278.8009 | 1227089.7412
67 | 2713324.4622 | 1227053.7823 | 2713337.7154 | 1227043.3452
68 | 2713263.8906 | 1227101.4833 | 2713310.926 | 1227141.4318
69 | 2713310.926 | 1227141.4318 | 2713281.1328 | 1227175.3413
70 | 2713310.926 | 1227141.4318 | 2713334.215 | 1227118.7134 | 2713387.7445 | 1227074.8996 | 2713437.3284 | 1227042.2254
71 | 2713437.3284 | 1227042.2254 | 2713445.9466 | 1227036.5463 | 2713457.1193 | 1227028.7839
72 | 2713462.9101 | 1227024.7607 | 2713457.1193 | 1227028.7839
73 | 2713462.9101 | 1227024.7607 | 2713476.204 | 1227017.7644 | 2713493.3674 | 1227010.2081 | 2713509.2706 | 1227005.9193 | 2713527.9495 | 1227003.5627 | 2713540.2132 | 1227002.756

## bus_geodata
| x | y | coords
0 | 2713026.6612 | 1227809.8601
1 | 2713049.8056 | 1227838.7557
2 | 2713027.9496 | 1227796.2744
3 | 2713083.2785 | 1227839.9372
4 | 2712854.6092 | 1227609.7518
5 | 2713062.7567 | 1227915.4274
6 | 2713199.1439 | 1227844.0135
7 | 2713210.661 | 1227844.4186
8 | 2713292.7055 | 1227847.3051
9 | 2713310.347 | 1227847.9304
10 | 2712974.0524 | 1227525.7905
11 | 2712990.4032 | 1227512.3923
12 | 2712909.0102 | 1227567.4622
13 | 2713310.2289 | 1227852.932
14 | 2713468.6623 | 1227696.2551
15 | 2713463.7535 | 1227735.8631
16 | 2713539.7146 | 1227450.0251
17 | 2713460.5923 | 1227761.3699
18 | 2713548.8563 | 1227447.1302
19 | 2713658.2695 | 1227303.1759
20 | 2713792.8316 | 1227543.5604
21 | 2713000.3117 | 1227503.3583
22 | 2713025.3836 | 1227476.4207
23 | 2713664.8364 | 1227298.3861
24 | 2713681.6138 | 1227286.1489
25 | 2713703.1272 | 1227270.4574
26 | 2713926.2898 | 1227145.2921
27 | 2713644.9479 | 1227161.3064
28 | 2713269.1581 | 1227480.7304
29 | 2713171.7192 | 1227355.7802
30 | 2713794.5025 | 1227565.5278
31 | 2713794.9158 | 1227570.9614
32 | 2713796.5962 | 1227593.0521
33 | 2713815.1601 | 1227685.8527
34 | 2713822.6635 | 1227685.7351
35 | 2713835.2065 | 1227679.7294
36 | 2713032.67 | 1227467.4671
37 | 2713948.657 | 1227150.1367
38 | 2713849.7796 | 1227061.9235
39 | 2713869.9726 | 1227070.6857
40 | 2713678.4863 | 1227001.8578
41 | 2713833.4102 | 1227055.8522
42 | 2713818.1635 | 1227053.8124
43 | 2713893.4043 | 1227080.8532
44 | 2713641.8044 | 1227000.9975
45 | 2713622.2405 | 1227077.5782
46 | 2713019.8843 | 1227130.8224
47 | 2713038.3763 | 1227117.4959
48 | 2713077.3882 | 1227174.025
49 | 2713137.8549 | 1227134.0215
50 | 2713018.8764 | 1227224.7127
51 | 2713111.4231 | 1227109.6956
52 | 2712915.2881 | 1227305.8698
53 | 2712940.8845 | 1227367.4807
54 | 2713252.9026 | 1227209.1123
55 | 2713126.1508 | 1227341.2663
56 | 2713117.4098 | 1227349.4536
57 | 2713131.8935 | 1227336.1978
58 | 2713076.9091 | 1227400.0894
59 | 2713166.0823 | 1227305.7733
60 | 2713192.5707 | 1227277.535
61 | 2713214.9867 | 1227251.1786
62 | 2713217.6903 | 1227248.1791
63 | 2713322.8207 | 1227247.6892
64 | 2713278.8009 | 1227089.7412
65 | 2713324.4622 | 1227053.7823
66 | 2713263.8906 | 1227101.4833
67 | 2713337.7154 | 1227043.3452
68 | 2713310.926 | 1227141.4318
69 | 2713281.1328 | 1227175.3413
70 | 2713437.3284 | 1227042.2254
71 | 2713457.1193 | 1227028.7839
72 | 2713462.9101 | 1227024.7607
73 | 2713540.2132 | 1227002.756
74 | 2713607.5745 | 1227143.0786
75 | 2713462.9101 | 1227024.7607

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97608 | -0.46234 | 0.00061224 | 0.00015344
1 | 0.97601 | -0.4637 | 0 | 0
2 | 0.97611 | -0.46166 | 0.0002279 | 5.7116e-05
3 | 0.97595 | -0.46492 | 0 | 0
4 | 0.97678 | -0.44844 | 0.0013661 | 0.00034238
5 | 0.97589 | -0.46606 | 0.0007484 | 0.00018757
6 | 0.97581 | -0.46755 | 0.00044462 | 0.00011143
7 | 0.9758 | -0.46772 | 0.00033307 | 8.3476e-05
8 | 0.97577 | -0.46841 | 0 | 0
9 | 0.97576 | -0.46856 | 0 | 0
10 | 0.97743 | -0.43544 | 0.0016259 | 0.00040749
11 | 0.97757 | -0.43272 | 0.00099377 | 0.00024906
12 | 0.97705 | -0.44313 | 0.0012341 | 0.00030929
13 | 0.97576 | -0.4686 | 0.00045806 | 0.0001148
14 | 0.97478 | -0.48688 | 0.00042399 | 0.00010626
15 | 0.97472 | -0.48818 | 0.00037372 | 9.3662e-05
16 | 0.97531 | -0.47637 | 0.0003648 | 9.1428e-05
17 | 0.97468 | -0.48884 | 0.0014006 | 0.00035103
18 | 0.97534 | -0.47592 | 0.00043279 | 0.00010847
19 | 0.97754 | -0.43255 | 0.00095797 | 0.00024009
20 | 0.97303 | -0.52143 | 0.00068182 | 0.00017088
21 | 0.97767 | -0.43074 | 0.00082022 | 0.00020557
22 | 0.97798 | -0.42477 | 0.00069004 | 0.00017294
23 | 0.97764 | -0.43056 | 0.0035589 | 0.00089194
24 | 0.97797 | -0.42413 | 0.0011083 | 0.00027778
25 | 0.97842 | -0.41536 | 0.00063482 | 0.0001591
26 | 0.97631 | -0.45666 | 0.0050209 | 0.0012584
27 | 0.98158 | -0.35346 | 0.00077125 | 0.00019329
28 | 0.97805 | -0.42338 | 0.0020937 | 0.00052474
29 | 0.97835 | -0.41733 | 0.0023692 | 0.00059378
30 | 0.97285 | -0.52498 | 0.0038913 | 0.00097525
31 | 0.97282 | -0.52547 | 0.00054718 | 0.00013714
32 | 0.97273 | -0.52723 | 0.00073667 | 0.00018463
33 | 0.97241 | -0.53371 | 0.0014551 | 0.00036469
34 | 0.97239 | -0.53401 | 0.0012401 | 0.0003108
35 | 0.97238 | -0.53424 | 0.00088442 | 0.00022166
36 | 0.97808 | -0.42275 | 0 | 0
37 | 0.97623 | -0.45826 | 0.0038212 | 0.00095769
38 | 0.98327 | -0.3212 | 0 | 0
39 | 0.98304 | -0.32569 | 0.005299 | 0.0013281
40 | 0.98823 | -0.22472 | 0 | 0
41 | 0.98306 | -0.32539 | 0.0053456 | 0.0013397
42 | 0.98294 | -0.32763 | 0.0079567 | 0.0019941
43 | 0.9829 | -0.32846 | 0.0060061 | 0.0015053
44 | 0.9901 | -0.18885 | 0.00030326 | 7.6005e-05
45 | 0.98523 | -0.2826 | 0.0015349 | 0.00038469
46 | 0.97935 | -0.39767 | 0.0085021 | 0.0021308
47 | 0.97953 | -0.39415 | 0 | 0
48 | 0.98007 | -0.38355 | 0 | 0
49 | 0.98146 | -0.35625 | 0 | 0
50 | 0.97919 | -0.40089 | 0.010879 | 0.0027264
51 | 0.98145 | -0.35652 | 0.00039665 | 9.9411e-05
52 | 0.97903 | -0.40388 | 0 | 0
53 | 0.97895 | -0.40549 | 0.0012422 | 0.00031132
54 | 0.98415 | -0.30382 | 0 | 0
55 | 0.9798 | -0.38884 | 0.0063573 | 0.0015933
56 | 0.97964 | -0.39209 | 0.00090561 | 0.00022697
57 | 0.97995 | -0.38587 | 0.0012728 | 0.00031901
58 | 0.97879 | -0.4087 | 0 | 0
59 | 0.98091 | -0.36712 | 0.00059732 | 0.0001497
60 | 0.98174 | -0.35086 | 0.0010435 | 0.00026153
61 | 0.98252 | -0.3357 | 0 | 0
62 | 0.98261 | -0.33379 | 0.0053231 | 0.0013341
63 | 0.9823 | -0.33986 | 0.0020514 | 0.00051413
64 | 0.98767 | -0.23565 | 0.0037265 | 0.00093395
65 | 0.98716 | -0.24557 | 0.0087437 | 0.0021914
66 | 0.98791 | -0.23115 | 0.0023282 | 0.0005835
67 | 0.98715 | -0.24581 | 0.00080475 | 0.00020169
68 | 0.98879 | -0.21399 | 0 | 0
69 | 0.98629 | -0.26219 | 0.0070879 | 0.0017764
70 | 1 | 0 | -0.19254 | -0.048762
71 | 0.99876 | -0.023626 | 0.028018 | 0.007022
72 | 0.99848 | -0.028873 | 0 | 0
73 | 0.99529 | -0.089626 | 0.029953 | 0.007507
74 | 0.98299 | -0.32606 | 0.00037252 | 9.3362e-05
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0019846 | 0.00049275 | -0.0019845 | -0.00049314 | 1.278e-07 | -3.8399e-07 | 0.0030239 | 0.003024 | 0.003024 | 0.97608 | -0.46234 | 0.97601 | -0.4637 | 0.83078
1 | -0.0025969 | -0.00064619 | 0.0025969 | 0.00064607 | 8.3195e-08 | -1.2384e-07 | 0.0039572 | 0.0039572 | 0.0039572 | 0.97608 | -0.46234 | 0.97611 | -0.46166 | 1.0871
2 | 0.0019845 | 0.00049314 | -0.0019844 | -0.00049348 | 1.1453e-07 | -3.4402e-07 | 0.003024 | 0.0030242 | 0.0030242 | 0.97601 | -0.4637 | 0.97595 | -0.46492 | 0.83082
3 | -0.0028248 | -0.00070319 | 0.0028266 | 0.00070113 | 1.7688e-06 | -2.053e-06 | 0.0043046 | 0.0043034 | 0.0043046 | 0.97611 | -0.46166 | 0.97678 | -0.44844 | 1.1826
4 | 0.00074844 | 0.00018656 | -0.0007484 | -0.00018757 | 4.0513e-08 | -1.011e-06 | 0.0011408 | 0.0011412 | 0.0011412 | 0.97595 | -0.46492 | 0.97589 | -0.46606 | 0.3135
5 | 0.0012359 | 0.00030692 | -0.0012358 | -0.00030827 | 1.5426e-07 | -1.3498e-06 | 0.0018834 | 0.0018839 | 0.0018839 | 0.97595 | -0.46492 | 0.97581 | -0.46755 | 0.51756
6 | -0.0041927 | -0.0010435 | 0.0041938 | 0.0010433 | 1.0548e-06 | -1.8894e-07 | 0.0063845 | 0.0063842 | 0.0063845 | 0.97678 | -0.44844 | 0.97705 | -0.44313 | 1.754
7 | 0.00079116 | 0.00019684 | -0.00079115 | -0.00019698 | 6.2849e-09 | -1.3994e-07 | 0.0012059 | 0.001206 | 0.001206 | 0.97581 | -0.46755 | 0.9758 | -0.46772 | 0.33131
8 | 0.00045808 | 0.00011351 | -0.00045806 | -0.00011452 | 1.501e-08 | -1.0159e-06 | 0.00069807 | 0.00069843 | 0.00069843 | 0.9758 | -0.46772 | 0.97577 | -0.46841 | 0.19188
9 | 0.00045806 | 0.00011452 | -0.00045806 | -0.00011474 | 3.2201e-09 | -2.178e-07 | 0.00069843 | 0.00069851 | 0.00069851 | 0.97577 | -0.46841 | 0.97576 | -0.46856 | 0.1919
10 | 0.00045806 | 0.00011474 | -0.00045806 | -0.0001148 | 9.156e-10 | -6.1919e-08 | 0.00069851 | 0.00069853 | 0.00069853 | 0.97576 | -0.46856 | 0.97576 | -0.4686 | 0.1919
11 | -0.0070557 | -0.0017604 | 0.0070566 | 0.0017607 | 9.1421e-07 | 3.2008e-07 | 0.010739 | 0.010738 | 0.010739 | 0.97743 | -0.43544 | 0.97757 | -0.43272 | 2.9502
12 | 0.0054298 | 0.0013529 | -0.0054279 | -0.0013526 | 1.9792e-06 | 2.9832e-07 | 0.0082634 | 0.0082637 | 0.0082637 | 0.97743 | -0.43544 | 0.97705 | -0.44313 | 2.2703
13 | -0.0080504 | -0.0020098 | 0.0080512 | 0.0020101 | 7.5503e-07 | 3.1502e-07 | 0.012251 | 0.012251 | 0.012251 | 0.97757 | -0.43272 | 0.97767 | -0.43074 | 3.3657
14 | 0.0017745 | 0.00044397 | -0.0017744 | -0.0004444 | 1.098e-07 | -4.2722e-07 | 0.0027085 | 0.0027087 | 0.0027087 | 0.97478 | -0.48688 | 0.97472 | -0.48818 | 0.74415
15 | -0.0021985 | -0.00055023 | 0.0021996 | 0.00054769 | 1.0974e-06 | -2.5401e-06 | 0.0033557 | 0.0033546 | 0.0033557 | 0.97478 | -0.48688 | 0.97531 | -0.47637 | 0.92191
16 | 0.0014007 | 0.00035074 | -0.0014006 | -0.00035103 | 4.4067e-08 | -2.9214e-07 | 0.0021382 | 0.0021383 | 0.0021383 | 0.97472 | -0.48818 | 0.97468 | -0.48884 | 0.58744
17 | -0.0025644 | -0.00063912 | 0.0025644 | 0.00063904 | 5.5006e-08 | -8.4465e-08 | 0.0039112 | 0.0039111 | 0.0039112 | 0.97531 | -0.47637 | 0.97534 | -0.47592 | 1.0745
18 | -0.012457 | -0.0031223 | 0.012483 | 0.0031364 | 2.5786e-05 | 1.4122e-05 | 0.019006 | 0.019005 | 0.019006 | 0.97534 | -0.47592 | 0.97754 | -0.43255 | 5.2214
19 | 0.0094602 | 0.0023748 | -0.0094397 | -0.0023649 | 2.0499e-05 | 9.8529e-06 | 0.014434 | 0.014436 | 0.014436 | 0.97534 | -0.47592 | 0.97303 | -0.52143 | 3.9658
20 | -0.013441 | -0.0033765 | 0.013443 | 0.0033772 | 1.2763e-06 | 7.1494e-07 | 0.020463 | 0.020463 | 0.020463 | 0.97754 | -0.43255 | 0.97764 | -0.43056 | 5.6217
21 | 0.0087579 | 0.002194 | -0.0087564 | -0.0021934 | 1.4819e-06 | 6.748e-07 | 0.013393 | 0.013393 | 0.013393 | 0.97303 | -0.52143 | 0.97285 | -0.52498 | 3.6794
22 | -0.0088714 | -0.0022157 | 0.0088739 | 0.0022168 | 2.5173e-06 | 1.149e-06 | 0.013499 | 0.013499 | 0.013499 | 0.97767 | -0.43074 | 0.97798 | -0.42477 | 3.7086
23 | -0.0095639 | -0.0023898 | 0.0095649 | 0.0023902 | 9.1634e-07 | 4.4159e-07 | 0.014549 | 0.014549 | 0.014549 | 0.97798 | -0.42477 | 0.97808 | -0.42275 | 3.997
24 | -0.017001 | -0.0042692 | 0.017007 | 0.0042722 | 5.2156e-06 | 3.0775e-06 | 0.02588 | 0.02588 | 0.02588 | 0.97764 | -0.43056 | 0.97797 | -0.42413 | 7.1098
25 | -0.018115 | -0.00455 | 0.018123 | 0.0045545 | 7.5879e-06 | 4.522e-06 | 0.027566 | 0.027566 | 0.027566 | 0.97797 | -0.42413 | 0.97842 | -0.41536 | 7.5731
26 | 0.0088598 | 0.0022239 | -0.0088424 | -0.0022159 | 1.7425e-05 | 7.9457e-06 | 0.013476 | 0.013477 | 0.013477 | 0.97842 | -0.41536 | 0.97631 | -0.45666 | 3.7024
27 | -0.027617 | -0.0069375 | 0.027699 | 0.0069883 | 8.1846e-05 | 5.0823e-05 | 0.042007 | 0.042007 | 0.042007 | 0.97842 | -0.41536 | 0.98158 | -0.35346 | 11.5404
28 | 0.0038215 | 0.00095759 | -0.0038212 | -0.00095769 | 2.9114e-07 | -9.9837e-08 | 0.0058244 | 0.0058245 | 0.0058245 | 0.97631 | -0.45666 | 0.97623 | -0.45826 | 1.6001
29 | -0.02847 | -0.0071816 | 0.028508 | 0.0072049 | 3.7401e-05 | 2.3259e-05 | 0.043176 | 0.043175 | 0.043176 | 0.98158 | -0.35346 | 0.98299 | -0.32606 | 11.8615
30 | -0.0020937 | -0.00052474 | 0.0020943 | 0.00052314 | 6.028e-07 | -1.6033e-06 | 0.0031854 | 0.0031847 | 0.0031854 | 0.97805 | -0.42338 | 0.97835 | -0.41733 | 0.87512
31 | -0.0044635 | -0.0011169 | 0.0044654 | 0.0011168 | 1.8326e-06 | -1.5962e-07 | 0.0067881 | 0.0067877 | 0.0067881 | 0.97835 | -0.41733 | 0.97879 | -0.4087 | 1.8649
32 | 0.0048651 | 0.0012181 | -0.004865 | -0.0012181 | 1.1315e-07 | 4.7539e-09 | 0.007441 | 0.0074411 | 0.0074411 | 0.97285 | -0.52498 | 0.97282 | -0.52547 | 2.0442
33 | 0.0043178 | 0.001081 | -0.0043175 | -0.001081 | 3.6235e-07 | -4.314e-08 | 0.0066041 | 0.0066042 | 0.0066042 | 0.97282 | -0.52547 | 0.97273 | -0.52723 | 1.8143
34 | 0.0035808 | 0.0008964 | -0.0035797 | -0.00089691 | 1.1046e-06 | -5.1138e-07 | 0.0054773 | 0.0054777 | 0.0054777 | 0.97273 | -0.52723 | 0.97241 | -0.53371 | 1.5049
35 | 0.0021246 | 0.00053222 | -0.0021245 | -0.00053229 | 2.9743e-08 | -7.4057e-08 | 0.003251 | 0.0032511 | 0.0032511 | 0.97241 | -0.53371 | 0.97239 | -0.53401 | 0.89315
36 | 0.00088443 | 0.00022149 | -0.00088442 | -0.00022166 | 9.5991e-09 | -1.6722e-07 | 0.0013533 | 0.0013534 | 0.0013534 | 0.97239 | -0.53401 | 0.97238 | -0.53424 | 0.37182
37 | -0.0095649 | -0.0023902 | 0.0095712 | 0.0023933 | 6.3935e-06 | 3.0802e-06 | 0.014549 | 0.014549 | 0.014549 | 0.97808 | -0.42275 | 0.97879 | -0.4087 | 3.997
38 | 0.011308 | 0.0028348 | -0.011306 | -0.0028335 | 2.4176e-06 | 1.2681e-06 | 0.017114 | 0.017114 | 0.017114 | 0.98327 | -0.3212 | 0.98304 | -0.32569 | 4.7016
39 | -0.024614 | -0.0061705 | 0.024728 | 0.0062405 | 0.00011371 | 6.9986e-05 | 0.03725 | 0.037249 | 0.03725 | 0.98327 | -0.3212 | 0.98823 | -0.22472 | 10.2335
40 | 0.013306 | 0.0033357 | -0.013303 | -0.0033342 | 2.6547e-06 | 1.4776e-06 | 0.020136 | 0.020136 | 0.020136 | 0.98327 | -0.3212 | 0.98306 | -0.32539 | 5.532
41 | 0.0060069 | 0.0015055 | -0.0060061 | -0.0015053 | 7.9191e-07 | 1.8304e-07 | 0.0090926 | 0.0090927 | 0.0090927 | 0.98304 | -0.32569 | 0.9829 | -0.32846 | 2.498
42 | -0.055288 | -0.014014 | 0.055384 | 0.014075 | 9.5488e-05 | 6.0642e-05 | 0.083306 | 0.083305 | 0.083306 | 0.98823 | -0.22472 | 0.9901 | -0.18885 | 22.8862
43 | 0.03056 | 0.0077735 | -0.030475 | -0.0077205 | 8.4985e-05 | 5.3026e-05 | 0.046057 | 0.046057 | 0.046057 | 0.98823 | -0.22472 | 0.98523 | -0.2826 | 12.6531
44 | 0.0079576 | 0.0019945 | -0.0079567 | -0.0019941 | 8.4935e-07 | 3.4568e-07 | 0.012045 | 0.012045 | 0.012045 | 0.98306 | -0.32539 | 0.98294 | -0.32763 | 3.3091
45 | -0.055687 | -0.014151 | 0.055954 | 0.01432 | 0.00026743 | 0.00016984 | 0.083761 | 0.083761 | 0.083761 | 0.9901 | -0.18885 | 0.99529 | -0.089626 | 23.0113
46 | 0.02894 | 0.0073358 | -0.02888 | -0.0072983 | 6.0298e-05 | 3.7523e-05 | 0.043739 | 0.043739 | 0.043739 | 0.98523 | -0.2826 | 0.98299 | -0.32606 | 12.0163
47 | -0.0085021 | -0.0021308 | 0.0085036 | 0.0021315 | 1.4264e-06 | 6.2602e-07 | 0.012918 | 0.012918 | 0.012918 | 0.97935 | -0.39767 | 0.97953 | -0.39415 | 3.5489
48 | -0.0085036 | -0.0021315 | 0.0085079 | 0.0021333 | 4.2942e-06 | 1.884e-06 | 0.012918 | 0.012918 | 0.012918 | 0.97953 | -0.39415 | 0.98007 | -0.38355 | 3.5489
49 | -0.020639 | -0.0051741 | 0.020666 | 0.0051904 | 2.6885e-05 | 1.6285e-05 | 0.031336 | 0.031336 | 0.031336 | 0.98007 | -0.38355 | 0.98146 | -0.35625 | 8.6088
50 | 0.012131 | 0.0030408 | -0.012121 | -0.0030354 | 1.0012e-05 | 5.4169e-06 | 0.018418 | 0.018419 | 0.018419 | 0.98007 | -0.38355 | 0.97919 | -0.40089 | 5.0601
51 | -0.021062 | -0.0052894 | 0.021115 | 0.0053214 | 5.2835e-05 | 3.2064e-05 | 0.031937 | 0.031936 | 0.031937 | 0.98146 | -0.35625 | 0.98415 | -0.30382 | 8.7739
52 | 0.00039666 | 9.8947e-05 | -0.00039665 | -9.9411e-05 | 5.0028e-09 | -4.6309e-07 | 0.00060122 | 0.00060138 | 0.00060138 | 0.98146 | -0.35625 | 0.98145 | -0.35652 | 0.16521
53 | 0.0012425 | 0.00030895 | -0.0012423 | -0.00031049 | 1.7612e-07 | -1.5452e-06 | 0.0018872 | 0.0018878 | 0.0018878 | 0.97919 | -0.40089 | 0.97903 | -0.40388 | 0.51864
54 | 0.0012423 | 0.00031049 | -0.0012422 | -0.00031132 | 9.5117e-08 | -8.3386e-07 | 0.0018878 | 0.0018882 | 0.0018882 | 0.97903 | -0.40388 | 0.97895 | -0.40549 | 0.51872
55 | 0.031708 | 0.0079811 | -0.031663 | -0.0079527 | 4.5355e-05 | 2.836e-05 | 0.047954 | 0.047955 | 0.047955 | 0.98415 | -0.30382 | 0.98261 | -0.33379 | 13.1743
56 | -0.052823 | -0.013302 | 0.052929 | 0.013369 | 0.00010535 | 6.6865e-05 | 0.079891 | 0.07989 | 0.079891 | 0.98415 | -0.30382 | 0.98629 | -0.26219 | 21.948
57 | 0.014956 | 0.0037446 | -0.014953 | -0.0037433 | 2.3178e-06 | 1.3325e-06 | 0.022712 | 0.022712 | 0.022712 | 0.9798 | -0.38884 | 0.97964 | -0.39209 | 6.2395
58 | -0.021313 | -0.0053379 | 0.021316 | 0.0053397 | 3.009e-06 | 1.8293e-06 | 0.032367 | 0.032366 | 0.032367 | 0.9798 | -0.38884 | 0.97995 | -0.38587 | 8.8919
59 | 0.014048 | 0.0035163 | -0.014037 | -0.00351 | 1.1095e-05 | 6.2833e-06 | 0.021336 | 0.021336 | 0.021336 | 0.97964 | -0.39209 | 0.97879 | -0.4087 | 5.8617
60 | -0.022589 | -0.0056587 | 0.022609 | 0.0056711 | 2.0193e-05 | 1.2346e-05 | 0.034299 | 0.034299 | 0.034299 | 0.97995 | -0.38587 | 0.98091 | -0.36712 | 9.4229
61 | -0.023206 | -0.0058208 | 0.023224 | 0.0058318 | 1.7999e-05 | 1.103e-05 | 0.035205 | 0.035205 | 0.035205 | 0.98091 | -0.36712 | 0.98174 | -0.35086 | 9.6717
62 | -0.024268 | -0.0060934 | 0.024285 | 0.0061042 | 1.7559e-05 | 1.08e-05 | 0.036787 | 0.036786 | 0.036787 | 0.98174 | -0.35086 | 0.98252 | -0.3357 | 10.1062
63 | -0.026337 | -0.0066171 | 0.02634 | 0.0066186 | 2.41e-06 | 1.4912e-06 | 0.039893 | 0.039893 | 0.039893 | 0.98252 | -0.3357 | 0.98261 | -0.33379 | 10.9597
64 | 0.0020518 | 0.00051297 | -0.0020514 | -0.00051413 | 4.0561e-07 | -1.1589e-06 | 0.003107 | 0.0031075 | 0.0031075 | 0.98252 | -0.3357 | 0.9823 | -0.33986 | 0.85371
65 | 0.0095529 | 0.002395 | -0.0095484 | -0.0023928 | 4.5149e-06 | 2.1461e-06 | 0.014393 | 0.014393 | 0.014393 | 0.98767 | -0.23565 | 0.98716 | -0.24557 | 3.9541
66 | -0.013279 | -0.0033289 | 0.013282 | 0.0033305 | 2.8488e-06 | 1.5803e-06 | 0.020007 | 0.020007 | 0.020007 | 0.98767 | -0.23565 | 0.98791 | -0.23115 | 5.4964
67 | 0.00080475 | 0.00020148 | -0.00080475 | -0.00020169 | 9.3083e-09 | -2.0971e-07 | 0.001213 | 0.0012131 | 0.0012131 | 0.98716 | -0.24557 | 0.98715 | -0.24581 | 0.33326
68 | -0.015611 | -0.003914 | 0.015623 | 0.0039214 | 1.2773e-05 | 7.3852e-06 | 0.023514 | 0.023513 | 0.023514 | 0.98791 | -0.23115 | 0.98879 | -0.21399 | 6.4598
69 | 0.060156 | 0.015234 | -0.060017 | -0.015146 | 0.00013889 | 8.8314e-05 | 0.090584 | 0.090584 | 0.090584 | 0.98879 | -0.21399 | 0.98629 | -0.26219 | 24.8857
70 | -0.075779 | -0.019155 | 0.076565 | 0.019657 | 0.0007864 | 0.00050121 | 0.1141 | 0.1141 | 0.1141 | 0.98879 | -0.21399 | 1 | 0 | 31.3453
71 | 0.11433 | 0.029105 | -0.1142 | -0.029022 | 0.00013008 | 8.2625e-05 | 0.17028 | 0.17028 | 0.17028 | 1 | 0 | 0.99876 | -0.023626 | 23.3907
72 | 0.086181 | 0.022 | -0.08616 | -0.021987 | 2.1845e-05 | 1.3796e-05 | 0.12854 | 0.12854 | 0.12854 | 0.99876 | -0.023626 | 0.99848 | -0.028873 | 17.6568
73 | 0.08616 | 0.021987 | -0.085908 | -0.021827 | 0.00025207 | 0.0001592 | 0.12854 | 0.12854 | 0.12854 | 0.99848 | -0.028873 | 0.99529 | -0.089626 | 17.6569

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22948 | 0.058019

## res_load
| p_mw | q_mvar
0 | 0.00061224 | 0.00015344
1 | 0.0002279 | 5.7116e-05
2 | 0.0013661 | 0.00034238
3 | 0.0007484 | 0.00018757
4 | 0.00044462 | 0.00011143
5 | 0.00033307 | 8.3476e-05
6 | 0.0016259 | 0.00040749
7 | 0.00099377 | 0.00024906
8 | 0.0012341 | 0.00030929
9 | 0.00045806 | 0.0001148
10 | 0.00042399 | 0.00010626
11 | 0.00037372 | 9.3662e-05
12 | 0.0003648 | 9.1428e-05
13 | 0.0014006 | 0.00035103
14 | 0.00043279 | 0.00010847
15 | 0.00095797 | 0.00024009
16 | 0.00068182 | 0.00017088
17 | 0.00082022 | 0.00020557
18 | 0.00069004 | 0.00017294
19 | 0.0035589 | 0.00089194
20 | 0.0011083 | 0.00027778
21 | 0.00063482 | 0.0001591
22 | 0.0050209 | 0.0012584
23 | 0.00077125 | 0.00019329
24 | 0.0020937 | 0.00052474
25 | 0.0023692 | 0.00059378
26 | 0.0038913 | 0.00097525
27 | 0.00054718 | 0.00013714
28 | 0.00073667 | 0.00018463
29 | 0.0014551 | 0.00036469
30 | 0.0012401 | 0.0003108
31 | 0.00088442 | 0.00022166
32 | 0.0038212 | 0.00095769
33 | 0.005299 | 0.0013281
34 | 0.0053456 | 0.0013397
35 | 0.0079567 | 0.0019941
36 | 0.0060061 | 0.0015053
37 | 0.00030326 | 7.6005e-05
38 | 0.0015349 | 0.00038469
39 | 0.0085021 | 0.0021308
40 | 0.010879 | 0.0027264
41 | 0.00039665 | 9.9411e-05
42 | 0.0012422 | 0.00031132
43 | 0.0063573 | 0.0015933
44 | 0.00090561 | 0.00022697
45 | 0.0012728 | 0.00031901
46 | 0.00059732 | 0.0001497
47 | 0.0010435 | 0.00026153
48 | 0.0053231 | 0.0013341
49 | 0.0020514 | 0.00051413
50 | 0.0037265 | 0.00093395
51 | 0.0087437 | 0.0021914
52 | 0.0023282 | 0.0005835
53 | 0.00080475 | 0.00020169
54 | 0.0070879 | 0.0017764
55 | 0.036935 | 0.0092568
56 | 0.028018 | 0.007022
57 | 0.029953 | 0.007507
58 | 0.00037252 | 9.3362e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1